## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2773-8_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2773-8_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2773-8_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2773-8_0_5_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_2773-8_0_5_node_7 | 0.4 | n |  | TRUE
5 | bus_LV_2773-8_0_5_node_8 | 0.4 | n |  | TRUE
6 | bus_LV_2773-8_0_5_node_3 | 0.4 | n |  | TRUE
7 | bus_LV_2773-8_0_5_node_37 | 0.4 | n |  | TRUE
8 | bus_LV_2773-8_0_5_node_36 | 0.4 | n |  | TRUE
9 | bus_LV_2773-8_0_5_node_57 | 0.4 | n |  | TRUE
10 | bus_LV_2773-8_0_5_node_5 | 0.4 | n |  | TRUE
11 | bus_LV_2773-8_0_5_node_6 | 0.4 | n |  | TRUE
12 | bus_LV_2773-8_0_5_node_91 | 0.4 | n |  | TRUE
13 | bus_LV_2773-8_0_5_node_89 | 0.4 | n |  | TRUE
14 | bus_LV_2773-8_0_5_node_12 | 0.4 | n |  | TRUE
15 | bus_LV_2773-8_0_5_node_28 | 0.4 | n |  | TRUE
16 | bus_LV_2773-8_0_5_node_13 | 0.4 | n |  | TRUE
17 | bus_LV_2773-8_0_5_node_90 | 0.4 | n |  | TRUE
18 | bus_LV_2773-8_0_5_node_58 | 0.4 | n |  | TRUE
19 | bus_LV_2773-8_0_5_node_72 | 0.4 | n |  | TRUE
20 | bus_LV_2773-8_0_5_node_78 | 0.4 | n |  | TRUE
21 | bus_LV_2773-8_0_5_node_92 | 0.4 | n |  | TRUE
22 | bus_LV_2773-8_0_5_node_70 | 0.4 | n |  | TRUE
23 | bus_LV_2773-8_0_5_node_71 | 0.4 | n |  | TRUE
24 | bus_LV_2773-8_0_5_node_10 | 0.4 | n |  | TRUE
25 | bus_LV_2773-8_0_5_node_26 | 0.4 | n |  | TRUE
26 | bus_LV_2773-8_0_5_node_9 | 0.4 | n |  | TRUE
27 | bus_LV_2773-8_0_5_node_15 | 0.4 | n |  | TRUE
28 | bus_LV_2773-8_0_5_node_88 | 0.4 | n |  | TRUE
29 | bus_LV_2773-8_0_5_node_16 | 0.4 | n |  | TRUE
30 | bus_LV_2773-8_0_5_node_87 | 0.4 | n |  | TRUE
31 | bus_LV_2773-8_0_5_node_30 | 0.4 | n |  | TRUE
32 | bus_LV_2773-8_0_5_node_29 | 0.4 | n |  | TRUE
33 | bus_LV_2773-8_0_5_node_17 | 0.4 | n |  | TRUE
34 | bus_LV_2773-8_0_5_node_27 | 0.4 | n |  | TRUE
35 | bus_LV_2773-8_0_5_node_20 | 0.4 | n |  | TRUE
36 | bus_LV_2773-8_0_5_node_98 | 0.4 | n |  | TRUE
37 | bus_LV_2773-8_0_5_node_96 | 0.4 | n |  | TRUE
38 | bus_LV_2773-8_0_5_node_21 | 0.4 | n |  | TRUE
39 | bus_LV_2773-8_0_5_node_104 | 0.4 | n |  | TRUE
40 | bus_LV_2773-8_0_5_node_100 | 0.4 | n |  | TRUE
41 | bus_LV_2773-8_0_5_node_82 | 0.4 | n |  | TRUE
42 | bus_LV_2773-8_0_5_node_32 | 0.4 | n |  | TRUE
43 | bus_LV_2773-8_0_5_node_25 | 0.4 | n |  | TRUE
44 | bus_LV_2773-8_0_5_node_108 | 0.4 | n |  | TRUE
45 | bus_LV_2773-8_0_5_node_83 | 0.4 | n |  | TRUE
46 | bus_LV_2773-8_0_5_node_99 | 0.4 | n |  | TRUE
47 | bus_LV_2773-8_0_5_node_97 | 0.4 | n |  | TRUE
48 | bus_LV_2773-8_0_5_node_103 | 0.4 | n |  | TRUE
49 | bus_LV_2773-8_0_5_node_106 | 0.4 | n |  | TRUE
50 | bus_LV_2773-8_0_5_node_105 | 0.4 | n |  | TRUE
51 | bus_LV_2773-8_0_5_node_101 | 0.4 | n |  | TRUE
52 | bus_LV_2773-8_0_5_node_102 | 0.4 | n |  | TRUE
53 | bus_LV_2773-8_0_5_node_41 | 0.4 | n |  | TRUE
54 | bus_LV_2773-8_0_5_node_22 | 0.4 | n |  | TRUE
55 | bus_LV_2773-8_0_5_node_23 | 0.4 | n |  | TRUE
56 | bus_LV_2773-8_0_5_node_24 | 0.4 | n |  | TRUE
57 | bus_LV_2773-8_0_5_node_34 | 0.4 | n |  | TRUE
58 | bus_LV_2773-8_0_5_node_79 | 0.4 | n |  | TRUE
59 | bus_LV_2773-8_0_5_node_31 | 0.4 | n |  | TRUE
60 | bus_LV_2773-8_0_5_node_35 | 0.4 | n |  | TRUE
61 | bus_LV_2773-8_0_5_node_80 | 0.4 | n |  | TRUE
62 | bus_LV_2773-8_0_5_node_81 | 0.4 | n |  | TRUE
63 | bus_LV_2773-8_0_5_node_38 | 0.4 | n |  | TRUE
64 | bus_LV_2773-8_0_5_node_39 | 0.4 | n |  | TRUE
65 | bus_LV_2773-8_0_5_node_40 | 0.4 | n |  | TRUE
66 | bus_LV_2773-8_0_5_node_42 | 0.4 | n |  | TRUE
67 | bus_LV_2773-8_0_5_node_43 | 0.4 | n |  | TRUE
68 | bus_LV_2773-8_0_5_node_44 | 0.4 | n |  | TRUE
69 | bus_LV_2773-8_0_5_node_94 | 0.4 | n |  | TRUE
70 | bus_LV_2773-8_0_5_node_45 | 0.4 | n |  | TRUE
71 | bus_LV_2773-8_0_5_node_93 | 0.4 | n |  | TRUE
72 | bus_LV_2773-8_0_5_node_46 | 0.4 | n |  | TRUE
73 | bus_LV_2773-8_0_5_node_75 | 0.4 | n |  | TRUE
74 | bus_LV_2773-8_0_5_node_76 | 0.4 | n |  | TRUE
75 | bus_LV_2773-8_0_5_node_47 | 0.4 | n |  | TRUE
76 | bus_LV_2773-8_0_5_node_48 | 0.4 | n |  | TRUE
77 | bus_LV_2773-8_0_5_node_49 | 0.4 | n |  | TRUE
78 | bus_LV_2773-8_0_5_node_50 | 0.4 | n |  | TRUE
79 | bus_LV_2773-8_0_5_node_51 | 0.4 | n |  | TRUE
80 | bus_LV_2773-8_0_5_node_65 | 0.4 | n |  | TRUE
81 | bus_LV_2773-8_0_5_node_74 | 0.4 | n |  | TRUE
82 | bus_LV_2773-8_0_5_node_63 | 0.4 | n |  | TRUE
83 | bus_LV_2773-8_0_5_node_73 | 0.4 | n |  | TRUE
84 | bus_LV_2773-8_0_5_node_52 | 0.4 | n |  | TRUE
85 | bus_LV_2773-8_0_5_node_53 | 0.4 | n |  | TRUE
86 | bus_LV_2773-8_0_5_node_54 | 0.4 | n |  | TRUE
87 | bus_LV_2773-8_0_5_node_55 | 0.4 | n |  | TRUE
88 | bus_LV_2773-8_0_5_node_56 | 0.4 | n |  | TRUE
89 | bus_LV_2773-8_0_5_node_77 | 0.4 | n |  | TRUE
90 | bus_LV_2773-8_0_5_node_59 | 0.4 | n |  | TRUE
91 | bus_LV_2773-8_0_5_node_60 | 0.4 | n |  | TRUE
92 | bus_LV_2773-8_0_5_node_61 | 0.4 | n |  | TRUE
93 | bus_LV_2773-8_0_5_node_66 | 0.4 | n |  | TRUE
94 | bus_LV_2773-8_0_5_node_62 | 0.4 | n |  | TRUE
95 | bus_LV_2773-8_0_5_node_64 | 0.4 | n |  | TRUE
96 | bus_LV_2773-8_0_5_node_67 | 0.4 | n |  | TRUE
97 | bus_LV_2773-8_0_5_node_107 | 0.4 | n |  | TRUE
98 | bus_LV_2773-8_0_5_node_68 | 0.4 | n |  | TRUE
99 | bus_LV_2773-8_0_5_node_69 | 0.4 | n |  | TRUE
100 | bus_LV_2773-8_0_5_node_86 | 0.4 | n |  | TRUE
101 | bus_LV_2773-8_0_5_node_85 | 0.4 | n |  | TRUE
102 | bus_LV_2773-8_0_5_node_84 | 0.4 | n |  | TRUE
103 | bus_LV_2773-8_0_5_node_95 | 0.4 | n |  | TRUE
104 | bus_MV_573_0_node_136 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2773-8_0_5_load_0 | 0 | 0.020311 | 0.0050903 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2773-8_0_5_load_4 | 3 | 0.00441 | 0.0011053 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2773-8_0_5_load_8 | 5 | 0.0033296 | 0.00083448 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2773-8_0_5_load_36 | 8 | 0.0034679 | 0.00086915 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2773-8_0_5_load_57 | 9 | 0.0092265 | 0.0023124 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2773-8_0_5_load_91 | 12 | 0.00081042 | 0.00020311 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2773-8_0_5_load_89 | 13 | 0.00060113 | 0.00015066 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2773-8_0_5_load_12 | 14 | 0.0012902 | 0.00032335 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2773-8_0_5_load_28 | 15 | 0.0033147 | 0.00083073 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2773-8_0_5_load_90 | 17 | 0.011802 | 0.0029579 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2773-8_0_5_load_58 | 18 | 0.0095058 | 0.0023824 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2773-8_0_5_load_78 | 20 | 0.0098732 | 0.0024744 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2773-8_0_5_load_92 | 21 | 0.0011599 | 0.00029071 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2773-8_0_5_load_70 | 22 | 0.0092837 | 0.0023267 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2773-8_0_5_load_10 | 24 | 0.0081822 | 0.0020507 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2773-8_0_5_load_26 | 25 | 0.0014615 | 0.00036628 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2773-8_0_5_load_9 | 26 | 0.014227 | 0.0035657 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2773-8_0_5_load_88 | 28 | 0.0027167 | 0.00068087 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2773-8_0_5_load_87 | 30 | 0.030903 | 0.007745 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2773-8_0_5_load_30 | 31 | 0.0080782 | 0.0020246 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2773-8_0_5_load_29 | 32 | 0.0048693 | 0.0012204 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2773-8_0_5_load_98 | 36 | 0.0024664 | 0.00061814 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2773-8_0_5_load_96 | 37 | 0.0046761 | 0.0011719 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2773-8_0_5_load_104 | 39 | 0.0035072 | 0.00087897 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2773-8_0_5_load_100 | 40 | 0.0027361 | 0.00068573 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2773-8_0_5_load_32 | 42 | 0.01697 | 0.004253 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2773-8_0_5_load_25 | 43 | 0.0063986 | 0.0016036 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2773-8_0_5_load_108 | 44 | 0.019703 | 0.0049381 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2773-8_0_5_load_99 | 46 | 0.0034622 | 0.00086771 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2773-8_0_5_load_97 | 47 | 0.0035388 | 0.0008869 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2773-8_0_5_load_106 | 49 | 0.0089382 | 0.0022401 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2773-8_0_5_load_105 | 50 | 0.0058043 | 0.0014547 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2773-8_0_5_load_102 | 52 | 0.0048359 | 0.001212 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2773-8_0_5_load_41 | 53 | 0.024342 | 0.0061007 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2773-8_0_5_load_22 | 54 | 0.0039991 | 0.0010023 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2773-8_0_5_load_23 | 55 | 0.005776 | 0.0014476 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2773-8_0_5_load_24 | 56 | 0.0057379 | 0.0014381 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2773-8_0_5_load_79 | 58 | 0.010019 | 0.002511 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2773-8_0_5_load_31 | 59 | 0.032539 | 0.008155 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2773-8_0_5_load_80 | 61 | 0.0064575 | 0.0016184 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2773-8_0_5_load_81 | 62 | 0.01479 | 0.0037067 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2773-8_0_5_load_38 | 63 | 0.0094492 | 0.0023682 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2773-8_0_5_load_39 | 64 | 0.0054175 | 0.0013578 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2773-8_0_5_load_42 | 66 | 0.0027237 | 0.00068263 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2773-8_0_5_load_43 | 67 | 0.0037307 | 0.00093499 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2773-8_0_5_load_44 | 68 | 0.0094523 | 0.002369 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2773-8_0_5_load_94 | 69 | 0.0037266 | 0.00093397 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2773-8_0_5_load_45 | 70 | 0.0030736 | 0.00077031 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2773-8_0_5_load_93 | 71 | 0.0050996 | 0.0012781 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2773-8_0_5_load_46 | 72 | 0.0012928 | 0.00032402 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2773-8_0_5_load_76 | 74 | 0.013584 | 0.0034043 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2773-8_0_5_load_47 | 75 | 0.010182 | 0.002552 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2773-8_0_5_load_48 | 76 | 0.004029 | 0.0010098 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2773-8_0_5_load_49 | 77 | 0.0013927 | 0.00034903 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2773-8_0_5_load_50 | 78 | 0.0022434 | 0.00056226 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2773-8_0_5_load_51 | 79 | 0.010653 | 0.0026699 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_2773-8_0_5_load_65 | 80 | 0.00020523 | 5.1436e-05 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_2773-8_0_5_load_74 | 81 | 0.011424 | 0.0028631 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_2773-8_0_5_load_73 | 83 | 0.012692 | 0.0031808 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_2773-8_0_5_load_52 | 84 | 0.011786 | 0.0029537 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_2773-8_0_5_load_53 | 85 | 0.01063 | 0.0026641 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_2773-8_0_5_load_54 | 86 | 0.0055564 | 0.0013926 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_2773-8_0_5_load_56 | 88 | 0.0055552 | 0.0013923 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_2773-8_0_5_load_59 | 90 | 0.0028441 | 0.0007128 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_2773-8_0_5_load_61 | 92 | 0.0026231 | 0.00065741 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_2773-8_0_5_load_66 | 93 | 0.0014105 | 0.00035351 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_2773-8_0_5_load_62 | 94 | 0.00069537 | 0.00017428 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_2773-8_0_5_load_107 | 97 | 0.012243 | 0.0030683 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_2773-8_0_5_load_86 | 100 | 0.0055963 | 0.0014026 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_2773-8_0_5_load_85 | 101 | 0.0052481 | 0.0013153 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_2773-8_0_5_load_84 | 102 | 0.021286 | 0.0053348 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_2773-8_0_5_load_95 | 103 | 0.027796 | 0.0069663 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 10 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2773-8_0_5_line_0 |  | 0 | 1 | 0.029522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2773-8_0_5_line_1 |  | 0 | 2 | 0.031901 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2773-8_0_5_line_2 |  | 1 | 3 | 0.039823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2773-8_0_5_line_3 |  | 2 | 4 | 0.00915 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
4 | LV_2773-8_0_5_line_4 |  | 2 | 5 | 0.019621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
5 | LV_2773-8_0_5_line_5 |  | 3 | 9 | 0.0034511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2773-8_0_5_line_6 |  | 4 | 14 | 0.011253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2773-8_0_5_line_7 |  | 4 | 15 | 0.026098 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
8 | LV_2773-8_0_5_line_8 |  | 5 | 16 | 0.014372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
9 | LV_2773-8_0_5_line_9 |  | 6 | 7 | 0.026412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
10 | LV_2773-8_0_5_line_10 |  | 6 | 8 | 0.017376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
11 | LV_2773-8_0_5_line_11 |  | 7 | 17 | 0.024946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2773-8_0_5_line_12 |  | 7 | 13 | 0.0096965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
13 | LV_2773-8_0_5_line_13 |  | 8 | 16 | 0.027937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
14 | LV_2773-8_0_5_line_14 |  | 9 | 18 | 0.021216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2773-8_0_5_line_15 |  | 10 | 11 | 0.038634 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
16 | LV_2773-8_0_5_line_16 |  | 11 | 12 | 0.011054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
17 | LV_2773-8_0_5_line_17 |  | 11 | 13 | 0.006095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
18 | LV_2773-8_0_5_line_18 |  | 12 | 21 | 0.011542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
19 | LV_2773-8_0_5_line_19 |  | 14 | 24 | 0.0087351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2773-8_0_5_line_20 |  | 15 | 25 | 0.0023341 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
21 | LV_2773-8_0_5_line_21 |  | 17 | 47 | 0.011147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2773-8_0_5_line_22 |  | 18 | 58 | 0.0068224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2773-8_0_5_line_23 |  | 19 | 20 | 0.039393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
24 | LV_2773-8_0_5_line_24 |  | 19 | 21 | 0.021894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
25 | LV_2773-8_0_5_line_25 |  | 20 | 89 | 0.022603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
26 | LV_2773-8_0_5_line_26 |  | 22 | 23 | 0.029582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2773-8_0_5_line_27 |  | 23 | 57 | 0.006708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2773-8_0_5_line_28 |  | 24 | 26 | 0.032106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2773-8_0_5_line_29 |  | 25 | 56 | 0.0019521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
30 | LV_2773-8_0_5_line_30 |  | 27 | 28 | 0.0075788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2773-8_0_5_line_31 |  | 27 | 29 | 0.016946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2773-8_0_5_line_32 |  | 27 | 30 | 0.032298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2773-8_0_5_line_33 |  | 28 | 41 | 0.012095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2773-8_0_5_line_34 |  | 29 | 31 | 0.021064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2773-8_0_5_line_35 |  | 29 | 32 | 0.01769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2773-8_0_5_line_36 |  | 32 | 33 | 0.010664 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2773-8_0_5_line_37 |  | 33 | 34 | 0.032768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2773-8_0_5_line_38 |  | 34 | 42 | 0.016254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2773-8_0_5_line_39 |  | 34 | 43 | 0.017602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
40 | LV_2773-8_0_5_line_40 |  | 35 | 36 | 0.0070175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2773-8_0_5_line_41 |  | 35 | 37 | 0.014482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2773-8_0_5_line_42 |  | 36 | 46 | 0.0096639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2773-8_0_5_line_43 |  | 37 | 47 | 0.031592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2773-8_0_5_line_44 |  | 38 | 39 | 0.035767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2773-8_0_5_line_45 |  | 38 | 40 | 0.014021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2773-8_0_5_line_46 |  | 40 | 46 | 0.030029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2773-8_0_5_line_47 |  | 41 | 100 | 0.016953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2773-8_0_5_line_48 |  | 41 | 62 | 0.017465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2773-8_0_5_line_49 |  | 42 | 59 | 0.01093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2773-8_0_5_line_50 |  | 43 | 55 | 0.0068794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
51 | LV_2773-8_0_5_line_51 |  | 44 | 45 | 0.0099066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2773-8_0_5_line_52 |  | 45 | 60 | 0.0175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2773-8_0_5_line_53 |  | 48 | 49 | 0.011638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2773-8_0_5_line_54 |  | 48 | 50 | 0.018457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2773-8_0_5_line_55 |  | 49 | 98 | 0.023214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_2773-8_0_5_line_56 |  | 50 | 52 | 0.029843 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2773-8_0_5_line_57 |  | 51 | 52 | 0.028543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_2773-8_0_5_line_58 |  | 51 | 53 | 0.027956 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_2773-8_0_5_line_59 |  | 53 | 64 | 0.018799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_2773-8_0_5_line_60 |  | 54 | 55 | 0.010431 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
61 | LV_2773-8_0_5_line_61 |  | 54 | 56 | 0.010424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
62 | LV_2773-8_0_5_line_62 |  | 57 | 58 | 0.04013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_2773-8_0_5_line_63 |  | 60 | 61 | 0.03394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_2773-8_0_5_line_64 |  | 61 | 62 | 0.012027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_2773-8_0_5_line_65 |  | 63 | 64 | 0.03171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_2773-8_0_5_line_66 |  | 63 | 65 | 0.0084236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_2773-8_0_5_line_67 |  | 65 | 66 | 0.011747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_2773-8_0_5_line_68 |  | 65 | 67 | 0.032226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_2773-8_0_5_line_69 |  | 66 | 68 | 0.00117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_2773-8_0_5_line_70 |  | 67 | 69 | 0.0014651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_2773-8_0_5_line_71 |  | 68 | 70 | 0.0066662 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_2773-8_0_5_line_72 |  | 69 | 71 | 0.013529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_2773-8_0_5_line_73 |  | 70 | 72 | 0.02313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_2773-8_0_5_line_74 |  | 71 | 103 | 0.012971 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_2773-8_0_5_line_75 |  | 72 | 73 | 0.0093611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_2773-8_0_5_line_76 |  | 73 | 74 | 0.016357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_2773-8_0_5_line_77 |  | 74 | 89 | 0.015853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
78 | LV_2773-8_0_5_line_78 |  | 75 | 76 | 0.0096669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_2773-8_0_5_line_79 |  | 75 | 77 | 0.0065964 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_2773-8_0_5_line_80 |  | 76 | 78 | 0.0018847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_2773-8_0_5_line_81 |  | 77 | 79 | 0.0055063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_2773-8_0_5_line_82 |  | 78 | 80 | 0.020891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_2773-8_0_5_line_83 |  | 79 | 81 | 0.020169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_2773-8_0_5_line_84 |  | 80 | 82 | 0.018792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_2773-8_0_5_line_85 |  | 81 | 83 | 0.0036293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_2773-8_0_5_line_86 |  | 82 | 93 | 0.010747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_2773-8_0_5_line_87 |  | 84 | 85 | 0.021359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_2773-8_0_5_line_88 |  | 84 | 86 | 0.019031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_2773-8_0_5_line_89 |  | 85 | 87 | 0.012501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_2773-8_0_5_line_90 |  | 86 | 88 | 0.007188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_2773-8_0_5_line_91 |  | 87 | 89 | 0.022534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_2773-8_0_5_line_92 |  | 88 | 90 | 0.024555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_2773-8_0_5_line_93 |  | 90 | 91 | 0.037117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_2773-8_0_5_line_94 |  | 91 | 92 | 0.035049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_2773-8_0_5_line_95 |  | 92 | 93 | 0.0097106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_2773-8_0_5_line_96 |  | 94 | 95 | 0.039089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_2773-8_0_5_line_97 |  | 95 | 96 | 0.014586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_2773-8_0_5_line_98 |  | 96 | 97 | 0.0037334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_2773-8_0_5_line_99 |  | 97 | 99 | 0.0072701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_2773-8_0_5_line_100 |  | 98 | 99 | 0.019722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_2773-8_0_5_line_101 |  | 100 | 101 | 0.00010865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_2773-8_0_5_line_102 |  | 101 | 102 | 0.014968 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2773-8_0_5_trafo_5 | 0.63 MVA 20/0.4 kV | 104 | 10 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2611490.2047 | 1260202.6481 | 2611465.0038 | 1260203.1999 | 2611465.101 | 1260207.5141
1 | 2611433.208 | 1260208.231 | 2611465.101 | 1260207.5141
2 | 2611490.2047 | 1260202.6481 | 2611496.1951 | 1260222.462 | 2611499.7311 | 1260225.4375 | 2611502.5361 | 1260239.6658
3 | 2611433.208 | 1260208.231 | 2611432.0674 | 1260213.5324 | 2611432.4974 | 1260217.2357
4 | 2611433.208 | 1260208.231 | 2611435.3683 | 1260197.7725 | 2611435.6398 | 1260188.835
5 | 2611502.5361 | 1260239.6658 | 2611502.9326 | 1260241.6769 | 2611503.4013 | 1260242.9975
6 | 2611432.4974 | 1260217.2357 | 2611421.2867 | 1260218.2101
7 | 2611432.4974 | 1260217.2357 | 2611435.6171 | 1260243.1463
8 | 2611436.0762 | 1260174.4692 | 2611435.6398 | 1260188.835
9 | 2611480.9976 | 1260170.553 | 2611506.4978 | 1260163.3975
10 | 2611480.9976 | 1260170.553 | 2611469.8464 | 1260173.478 | 2611464.0015 | 1260173.6495
11 | 2611506.4978 | 1260163.3975 | 2611500.2098 | 1260139.2571
12 | 2611506.4978 | 1260163.3975 | 2611516.1339 | 1260162.3169
13 | 2611436.0762 | 1260174.4692 | 2611464.0015 | 1260173.6495
14 | 2611511.7913 | 1260262.2117 | 2611511.8856 | 1260260.9073 | 2611506.5227 | 1260251.7907 | 2611503.4013 | 1260242.9975
15 | 2611522.1909 | 1260161.6377 | 2611529.6359 | 1260192.9845 | 2611535.8784 | 1260191.5067
16 | 2611522.1909 | 1260161.6377 | 2611533.1304 | 1260160.0512
17 | 2611522.1909 | 1260161.6377 | 2611516.1339 | 1260162.3169
18 | 2611544.5529 | 1260158.3946 | 2611533.1304 | 1260160.0512
19 | 2611421.2867 | 1260218.2101 | 2611412.5844 | 1260218.9664
20 | 2611435.6171 | 1260243.1463 | 2611435.8962 | 1260245.4637
21 | 2611497.3999 | 1260128.4698 | 2611500.2098 | 1260139.2571
22 | 2611511.7913 | 1260262.2117 | 2611511.2994 | 1260269.0163
23 | 2611566.2205 | 1260155.2522 | 2611604.9302 | 1260147.9448
24 | 2611566.2205 | 1260155.2522 | 2611544.5529 | 1260158.3946
25 | 2611627.1406 | 1260143.752 | 2611604.9302 | 1260147.9448
26 | 2611531.1775 | 1260295.6682 | 2611531.1805 | 1260294.1227 | 2611531.2112 | 1260278.3232 | 2611538.9763 | 1260268.8651
27 | 2611524.4562 | 1260295.3661 | 2611531.1775 | 1260295.6682
28 | 2611384.0263 | 1260228.5897 | 2611395.2864 | 1260228.5609 | 2611404.8363 | 1260219.6398 | 2611412.5844 | 1260218.9664
29 | 2611436.1295 | 1260247.4017 | 2611435.8962 | 1260245.4637
30 | 2611378.7831 | 1260299.3884 | 2611379.288 | 1260306.9503
31 | 2611378.7831 | 1260299.3884 | 2611380.5896 | 1260288.6179 | 2611381.2258 | 1260286.9958 | 2611382.2032 | 1260284.1958 | 2611382.6351 | 1260282.9513
32 | 2611378.7831 | 1260299.3884 | 2611348.1822 | 1260309.7193
33 | 2611381.2401 | 1260318.873 | 2611379.4424 | 1260309.2631 | 2611379.288 | 1260306.9503
34 | 2611382.6351 | 1260282.9513 | 2611373.2496 | 1260276.9404 | 2611368.105 | 1260271.7938 | 2611366.7006 | 1260269.5565
35 | 2611382.6351 | 1260282.9513 | 2611389.7065 | 1260285.3887 | 2611396.071 | 1260287.0576 | 2611399.5734 | 1260288.0152
36 | 2611409.8617 | 1260290.8199 | 2611403.5651 | 1260289.1067 | 2611399.5734 | 1260288.0152
37 | 2611442.6998 | 1260292.1839 | 2611430.169 | 1260291.615 | 2611409.8617 | 1260290.8199
38 | 2611442.6998 | 1260292.1839 | 2611443.0367 | 1260293.3187 | 2611445.4101 | 1260301.3175 | 2611446.3129 | 1260307.9838
39 | 2611442.6998 | 1260292.1839 | 2611442.348 | 1260290.9268 | 2611440.6415 | 1260284.875 | 2611439.445 | 1260274.9378
40 | 2611486.4027 | 1260083.738 | 2611485.3561 | 1260076.799
41 | 2611486.4027 | 1260083.738 | 2611489.1208 | 1260096.6854 | 2611489.4366 | 1260097.8975
42 | 2611485.3561 | 1260076.799 | 2611484.5054 | 1260071.1592 | 2611484.5124 | 1260067.1989
43 | 2611489.4366 | 1260097.8975 | 2611497.3999 | 1260128.4698
44 | 2611484.5906 | 1260023.149 | 2611520.0925 | 1260018.8021
45 | 2611484.5906 | 1260023.149 | 2611484.5657 | 1260037.1701
46 | 2611484.5124 | 1260067.1989 | 2611484.5657 | 1260037.1701
47 | 2611381.2401 | 1260318.873 | 2611398.0403 | 1260316.599
48 | 2611381.2401 | 1260318.873 | 2611384.996 | 1260335.9296
49 | 2611446.3129 | 1260307.9838 | 2611447.7796 | 1260318.8153
50 | 2611438.6226 | 1260268.1077 | 2611439.445 | 1260274.9378
51 | 2611376.3068 | 1260392.3356 | 2611371.6687 | 1260390.381 | 2611366.9234 | 1260389.2711
52 | 2611376.3068 | 1260392.3356 | 2611389.2831 | 1260380.5524
53 | 2611654.1537 | 1259968.5084 | 2611665.6597 | 1259966.7638
54 | 2611654.1537 | 1259968.5084 | 2611635.8955 | 1259971.2074
55 | 2611688.6116 | 1259963.2836 | 2611665.6597 | 1259966.7638
56 | 2611606.3736 | 1259975.5714 | 2611635.8955 | 1259971.2074
57 | 2611578.1374 | 1259979.7454 | 2611606.3736 | 1259975.5714
58 | 2611578.1374 | 1259979.7454 | 2611586.2153 | 1260006.5094
59 | 2611586.2153 | 1260006.5094 | 2611591.6473 | 1260024.5069
60 | 2611437.3756 | 1260257.751 | 2611438.6226 | 1260268.1077
61 | 2611437.3756 | 1260257.751 | 2611436.1295 | 1260247.4017
62 | 2611524.4562 | 1260295.3661 | 2611524.527 | 1260293.843 | 2611524.7549 | 1260289.0401 | 2611509.9343 | 1260287.8996 | 2611511.2994 | 1260269.0163
63 | 2611389.2831 | 1260380.5524 | 2611391.9092 | 1260374.7091 | 2611392.1398 | 1260368.3719 | 2611387.5824 | 1260347.6751
64 | 2611387.5824 | 1260347.6751 | 2611384.996 | 1260335.9296
65 | 2611600.8097 | 1260054.8641 | 2611591.6473 | 1260024.5069
66 | 2611603.2437 | 1260062.9284 | 2611600.8097 | 1260054.8641
67 | 2611603.2437 | 1260062.9284 | 2611606.6388 | 1260074.1744
68 | 2611603.2437 | 1260062.9284 | 2611571.3327 | 1260067.4267
69 | 2611606.9769 | 1260075.2945 | 2611606.6388 | 1260074.1744
70 | 2611571.3327 | 1260067.4267 | 2611569.882 | 1260067.6312
71 | 2611606.9769 | 1260075.2945 | 2611608.9035 | 1260081.6762
72 | 2611556.4849 | 1260069.5196 | 2611569.882 | 1260067.6312
73 | 2611615.5882 | 1260103.8188 | 2611608.9035 | 1260081.6762
74 | 2611556.4849 | 1260069.5196 | 2611556.4849 | 1260069.5196 | 2611551.9733 | 1260057.3581
75 | 2611618.2936 | 1260112.7804 | 2611615.5882 | 1260103.8188
76 | 2611618.2936 | 1260112.7804 | 2611622.7862 | 1260128.5082
77 | 2611627.1406 | 1260143.752 | 2611622.7862 | 1260128.5082
78 | 2611692.7709 | 1260097.7664 | 2611702.2472 | 1260095.8561
79 | 2611692.7709 | 1260097.7664 | 2611686.3046 | 1260099.07
80 | 2611702.2472 | 1260095.8561 | 2611704.0948 | 1260095.4836
81 | 2611680.9069 | 1260100.1581 | 2611686.3046 | 1260099.07
82 | 2611724.5738 | 1260091.3552 | 2611704.0948 | 1260095.4836
83 | 2611680.9069 | 1260100.1581 | 2611661.1353 | 1260104.1439
84 | 2611742.9955 | 1260087.6416 | 2611724.5738 | 1260091.3552
85 | 2611657.5776 | 1260104.8611 | 2611661.1353 | 1260104.1439
86 | 2611742.9955 | 1260087.6416 | 2611745.21 | 1260098.1578
87 | 2611668.1204 | 1260158.538 | 2611647.1453 | 1260162.5675
88 | 2611668.1204 | 1260158.538 | 2611686.8098 | 1260154.9476
89 | 2611634.8687 | 1260164.9259 | 2611647.1453 | 1260162.5675
90 | 2611686.8098 | 1260154.9476 | 2611693.8688 | 1260153.5915
91 | 2611627.1406 | 1260143.752 | 2611634.8687 | 1260164.9259
92 | 2611717.9825 | 1260148.959 | 2611693.8688 | 1260153.5915
93 | 2611754.4333 | 1260141.9565 | 2611717.9825 | 1260148.959
94 | 2611754.4333 | 1260141.9565 | 2611747.211 | 1260107.66
95 | 2611747.211 | 1260107.66 | 2611745.21 | 1260098.1578
96 | 2611722.502 | 1259986.0324 | 2611730.2303 | 1260024.3499
97 | 2611716.0464 | 1259973.1109 | 2611717.2568 | 1259974.6365 | 2611720.5471 | 1259979.9466 | 2611722.502 | 1259986.0324
98 | 2611716.0464 | 1259973.1109 | 2611713.5089 | 1259972.0385 | 2611712.7114 | 1259971.4715
99 | 2611708.0872 | 1259966.0015 | 2611709.4315 | 1259968.4058 | 2611711.2663 | 1259970.4441 | 2611712.7114 | 1259971.4715
100 | 2611688.6116 | 1259963.2836 | 2611700.3211 | 1259964.1739 | 2611708.0872 | 1259966.0015
101 | 2611398.148 | 1260316.5844 | 2611398.0403 | 1260316.599
102 | 2611411.5917 | 1260320.8143 | 2611403.838 | 1260315.8142 | 2611398.148 | 1260316.5844

## bus_geodata
| x | y | coords
0 | 2611465.101 | 1260207.5141
1 | 2611490.2047 | 1260202.6481
2 | 2611433.208 | 1260208.231
3 | 2611502.5361 | 1260239.6658
4 | 2611432.4974 | 1260217.2357
5 | 2611435.6398 | 1260188.835
6 | 2611480.9976 | 1260170.553
7 | 2611506.4978 | 1260163.3975
8 | 2611464.0015 | 1260173.6495
9 | 2611503.4013 | 1260242.9975
10 | 2611535.8784 | 1260191.5067
11 | 2611522.1909 | 1260161.6377
12 | 2611533.1304 | 1260160.0512
13 | 2611516.1339 | 1260162.3169
14 | 2611421.2867 | 1260218.2101
15 | 2611435.6171 | 1260243.1463
16 | 2611436.0762 | 1260174.4692
17 | 2611500.2098 | 1260139.2571
18 | 2611511.7913 | 1260262.2117
19 | 2611566.2205 | 1260155.2522
20 | 2611604.9302 | 1260147.9448
21 | 2611544.5529 | 1260158.3946
22 | 2611538.9763 | 1260268.8651
23 | 2611531.1775 | 1260295.6682
24 | 2611412.5844 | 1260218.9664
25 | 2611435.8962 | 1260245.4637
26 | 2611384.0263 | 1260228.5897
27 | 2611378.7831 | 1260299.3884
28 | 2611379.288 | 1260306.9503
29 | 2611382.6351 | 1260282.9513
30 | 2611348.1822 | 1260309.7193
31 | 2611366.7006 | 1260269.5565
32 | 2611399.5734 | 1260288.0152
33 | 2611409.8617 | 1260290.8199
34 | 2611442.6998 | 1260292.1839
35 | 2611486.4027 | 1260083.738
36 | 2611485.3561 | 1260076.799
37 | 2611489.4366 | 1260097.8975
38 | 2611484.5906 | 1260023.149
39 | 2611520.0925 | 1260018.8021
40 | 2611484.5657 | 1260037.1701
41 | 2611381.2401 | 1260318.873
42 | 2611446.3129 | 1260307.9838
43 | 2611439.445 | 1260274.9378
44 | 2611366.9234 | 1260389.2711
45 | 2611376.3068 | 1260392.3356
46 | 2611484.5124 | 1260067.1989
47 | 2611497.3999 | 1260128.4698
48 | 2611654.1537 | 1259968.5084
49 | 2611665.6597 | 1259966.7638
50 | 2611635.8955 | 1259971.2074
51 | 2611578.1374 | 1259979.7454
52 | 2611606.3736 | 1259975.5714
53 | 2611586.2153 | 1260006.5094
54 | 2611437.3756 | 1260257.751
55 | 2611438.6227 | 1260268.1077
56 | 2611436.1295 | 1260247.4017
57 | 2611524.4562 | 1260295.3661
58 | 2611511.2994 | 1260269.0163
59 | 2611447.7796 | 1260318.8153
60 | 2611389.2831 | 1260380.5524
61 | 2611387.5824 | 1260347.6751
62 | 2611384.996 | 1260335.9296
63 | 2611600.8097 | 1260054.8641
64 | 2611591.6473 | 1260024.5069
65 | 2611603.2437 | 1260062.9284
66 | 2611606.6388 | 1260074.1744
67 | 2611571.3327 | 1260067.4267
68 | 2611606.9769 | 1260075.2945
69 | 2611569.882 | 1260067.6312
70 | 2611608.9035 | 1260081.6762
71 | 2611556.4849 | 1260069.5196
72 | 2611615.5882 | 1260103.8189
73 | 2611618.2936 | 1260112.7804
74 | 2611622.7862 | 1260128.5082
75 | 2611692.7709 | 1260097.7664
76 | 2611702.2472 | 1260095.8561
77 | 2611686.3046 | 1260099.07
78 | 2611704.0948 | 1260095.4836
79 | 2611680.9069 | 1260100.1581
80 | 2611724.5738 | 1260091.3552
81 | 2611661.1353 | 1260104.1439
82 | 2611742.9955 | 1260087.6416
83 | 2611657.5776 | 1260104.8611
84 | 2611668.1204 | 1260158.538
85 | 2611647.1453 | 1260162.5675
86 | 2611686.8098 | 1260154.9476
87 | 2611634.8687 | 1260164.9259
88 | 2611693.8688 | 1260153.5915
89 | 2611627.1406 | 1260143.752
90 | 2611717.9825 | 1260148.959
91 | 2611754.4333 | 1260141.9565
92 | 2611747.211 | 1260107.66
93 | 2611745.21 | 1260098.1578
94 | 2611730.2303 | 1260024.3499
95 | 2611722.502 | 1259986.0324
96 | 2611716.0464 | 1259973.1109
97 | 2611712.7114 | 1259971.4715
98 | 2611688.6116 | 1259963.2836
99 | 2611708.0872 | 1259966.0015
100 | 2611398.0403 | 1260316.599
101 | 2611398.148 | 1260316.5844
102 | 2611411.5917 | 1260320.8143
103 | 2611551.9733 | 1260057.3581
104 | 2611529.6359 | 1260192.9845

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1