## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2775-10_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2775-10_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2775-10_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2775-10_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2775-10_0_4_node_7 | 0.4 | n |  | TRUE
5 | bus_LV_2775-10_0_4_node_13 | 0.4 | n |  | TRUE
6 | bus_LV_2775-10_0_4_node_16 | 0.4 | n |  | TRUE
7 | bus_LV_2775-10_0_4_node_15 | 0.4 | n |  | TRUE
8 | bus_LV_2775-10_0_4_node_53 | 0.4 | n |  | TRUE
9 | bus_LV_2775-10_0_4_node_54 | 0.4 | n |  | TRUE
10 | bus_LV_2775-10_0_4_node_5 | 0.4 | n |  | TRUE
11 | bus_LV_2775-10_0_4_node_11 | 0.4 | n |  | TRUE
12 | bus_LV_2775-10_0_4_node_17 | 0.4 | n |  | TRUE
13 | bus_LV_2775-10_0_4_node_4 | 0.4 | n |  | TRUE
14 | bus_LV_2775-10_0_4_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_2775-10_0_4_node_6 | 0.4 | n |  | TRUE
16 | bus_LV_2775-10_0_4_node_9 | 0.4 | n |  | TRUE
17 | bus_LV_2775-10_0_4_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_2775-10_0_4_node_55 | 0.4 | n |  | TRUE
19 | bus_LV_2775-10_0_4_node_22 | 0.4 | n |  | TRUE
20 | bus_LV_2775-10_0_4_node_20 | 0.4 | n |  | TRUE
21 | bus_LV_2775-10_0_4_node_78 | 0.4 | n |  | TRUE
22 | bus_LV_2775-10_0_4_node_75 | 0.4 | n |  | TRUE
23 | bus_LV_2775-10_0_4_node_56 | 0.4 | n |  | TRUE
24 | bus_LV_2775-10_0_4_node_116 | 0.4 | n |  | TRUE
25 | bus_LV_2775-10_0_4_node_18 | 0.4 | n |  | TRUE
26 | bus_LV_2775-10_0_4_node_66 | 0.4 | n |  | TRUE
27 | bus_LV_2775-10_0_4_node_76 | 0.4 | n |  | TRUE
28 | bus_LV_2775-10_0_4_node_21 | 0.4 | n |  | TRUE
29 | bus_LV_2775-10_0_4_node_19 | 0.4 | n |  | TRUE
30 | bus_LV_2775-10_0_4_node_51 | 0.4 | n |  | TRUE
31 | bus_LV_2775-10_0_4_node_115 | 0.4 | n |  | TRUE
32 | bus_LV_2775-10_0_4_node_23 | 0.4 | n |  | TRUE
33 | bus_LV_2775-10_0_4_node_24 | 0.4 | n |  | TRUE
34 | bus_LV_2775-10_0_4_node_25 | 0.4 | n |  | TRUE
35 | bus_LV_2775-10_0_4_node_26 | 0.4 | n |  | TRUE
36 | bus_LV_2775-10_0_4_node_27 | 0.4 | n |  | TRUE
37 | bus_LV_2775-10_0_4_node_28 | 0.4 | n |  | TRUE
38 | bus_LV_2775-10_0_4_node_34 | 0.4 | n |  | TRUE
39 | bus_LV_2775-10_0_4_node_29 | 0.4 | n |  | TRUE
40 | bus_LV_2775-10_0_4_node_38 | 0.4 | n |  | TRUE
41 | bus_LV_2775-10_0_4_node_35 | 0.4 | n |  | TRUE
42 | bus_LV_2775-10_0_4_node_40 | 0.4 | n |  | TRUE
43 | bus_LV_2775-10_0_4_node_32 | 0.4 | n |  | TRUE
44 | bus_LV_2775-10_0_4_node_41 | 0.4 | n |  | TRUE
45 | bus_LV_2775-10_0_4_node_30 | 0.4 | n |  | TRUE
46 | bus_LV_2775-10_0_4_node_44 | 0.4 | n |  | TRUE
47 | bus_LV_2775-10_0_4_node_33 | 0.4 | n |  | TRUE
48 | bus_LV_2775-10_0_4_node_96 | 0.4 | n |  | TRUE
49 | bus_LV_2775-10_0_4_node_94 | 0.4 | n |  | TRUE
50 | bus_LV_2775-10_0_4_node_39 | 0.4 | n |  | TRUE
51 | bus_LV_2775-10_0_4_node_31 | 0.4 | n |  | TRUE
52 | bus_LV_2775-10_0_4_node_48 | 0.4 | n |  | TRUE
53 | bus_LV_2775-10_0_4_node_45 | 0.4 | n |  | TRUE
54 | bus_LV_2775-10_0_4_node_49 | 0.4 | n |  | TRUE
55 | bus_LV_2775-10_0_4_node_95 | 0.4 | n |  | TRUE
56 | bus_LV_2775-10_0_4_node_42 | 0.4 | n |  | TRUE
57 | bus_LV_2775-10_0_4_node_121 | 0.4 | n |  | TRUE
58 | bus_LV_2775-10_0_4_node_52 | 0.4 | n |  | TRUE
59 | bus_LV_2775-10_0_4_node_57 | 0.4 | n |  | TRUE
60 | bus_LV_2775-10_0_4_node_58 | 0.4 | n |  | TRUE
61 | bus_LV_2775-10_0_4_node_104 | 0.4 | n |  | TRUE
62 | bus_LV_2775-10_0_4_node_67 | 0.4 | n |  | TRUE
63 | bus_LV_2775-10_0_4_node_65 | 0.4 | n |  | TRUE
64 | bus_LV_2775-10_0_4_node_59 | 0.4 | n |  | TRUE
65 | bus_LV_2775-10_0_4_node_60 | 0.4 | n |  | TRUE
66 | bus_LV_2775-10_0_4_node_72 | 0.4 | n |  | TRUE
67 | bus_LV_2775-10_0_4_node_100 | 0.4 | n |  | TRUE
68 | bus_LV_2775-10_0_4_node_71 | 0.4 | n |  | TRUE
69 | bus_LV_2775-10_0_4_node_101 | 0.4 | n |  | TRUE
70 | bus_LV_2775-10_0_4_node_98 | 0.4 | n |  | TRUE
71 | bus_LV_2775-10_0_4_node_69 | 0.4 | n |  | TRUE
72 | bus_LV_2775-10_0_4_node_70 | 0.4 | n |  | TRUE
73 | bus_LV_2775-10_0_4_node_68 | 0.4 | n |  | TRUE
74 | bus_LV_2775-10_0_4_node_73 | 0.4 | n |  | TRUE
75 | bus_LV_2775-10_0_4_node_61 | 0.4 | n |  | TRUE
76 | bus_LV_2775-10_0_4_node_62 | 0.4 | n |  | TRUE
77 | bus_LV_2775-10_0_4_node_63 | 0.4 | n |  | TRUE
78 | bus_LV_2775-10_0_4_node_64 | 0.4 | n |  | TRUE
79 | bus_LV_2775-10_0_4_node_85 | 0.4 | n |  | TRUE
80 | bus_LV_2775-10_0_4_node_83 | 0.4 | n |  | TRUE
81 | bus_LV_2775-10_0_4_node_87 | 0.4 | n |  | TRUE
82 | bus_LV_2775-10_0_4_node_88 | 0.4 | n |  | TRUE
83 | bus_LV_2775-10_0_4_node_103 | 0.4 | n |  | TRUE
84 | bus_LV_2775-10_0_4_node_97 | 0.4 | n |  | TRUE
85 | bus_LV_2775-10_0_4_node_74 | 0.4 | n |  | TRUE
86 | bus_LV_2775-10_0_4_node_77 | 0.4 | n |  | TRUE
87 | bus_LV_2775-10_0_4_node_80 | 0.4 | n |  | TRUE
88 | bus_LV_2775-10_0_4_node_117 | 0.4 | n |  | TRUE
89 | bus_LV_2775-10_0_4_node_118 | 0.4 | n |  | TRUE
90 | bus_LV_2775-10_0_4_node_91 | 0.4 | n |  | TRUE
91 | bus_LV_2775-10_0_4_node_92 | 0.4 | n |  | TRUE
92 | bus_LV_2775-10_0_4_node_82 | 0.4 | n |  | TRUE
93 | bus_LV_2775-10_0_4_node_84 | 0.4 | n |  | TRUE
94 | bus_LV_2775-10_0_4_node_86 | 0.4 | n |  | TRUE
95 | bus_LV_2775-10_0_4_node_89 | 0.4 | n |  | TRUE
96 | bus_LV_2775-10_0_4_node_90 | 0.4 | n |  | TRUE
97 | bus_LV_2775-10_0_4_node_105 | 0.4 | n |  | TRUE
98 | bus_LV_2775-10_0_4_node_99 | 0.4 | n |  | TRUE
99 | bus_LV_2775-10_0_4_node_102 | 0.4 | n |  | TRUE
100 | bus_LV_2775-10_0_4_node_106 | 0.4 | n |  | TRUE
101 | bus_LV_2775-10_0_4_node_107 | 0.4 | n |  | TRUE
102 | bus_LV_2775-10_0_4_node_108 | 0.4 | n |  | TRUE
103 | bus_LV_2775-10_0_4_node_109 | 0.4 | n |  | TRUE
104 | bus_LV_2775-10_0_4_node_110 | 0.4 | n |  | TRUE
105 | bus_LV_2775-10_0_4_node_114 | 0.4 | n |  | TRUE
106 | bus_LV_2775-10_0_4_node_111 | 0.4 | n |  | TRUE
107 | bus_LV_2775-10_0_4_node_120 | 0.4 | n |  | TRUE
108 | bus_LV_2775-10_0_4_node_112 | 0.4 | n |  | TRUE
109 | bus_LV_2775-10_0_4_node_113 | 0.4 | n |  | TRUE
110 | bus_LV_2775-10_0_4_node_119 | 0.4 | n |  | TRUE
111 | bus_MV_399_0_node_162 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2775-10_0_4_load_0 | 0 | 0.001065 | 0.00026691 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2775-10_0_4_load_1 | 1 | 0.0010996 | 0.00027559 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2775-10_0_4_load_2 | 2 | 0.00066588 | 0.00016689 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2775-10_0_4_load_16 | 6 | 0.0044833 | 0.0011236 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2775-10_0_4_load_53 | 8 | 0.0033582 | 0.00084163 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2775-10_0_4_load_54 | 9 | 0.003705 | 0.00092855 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2775-10_0_4_load_11 | 11 | 0.002175 | 0.00054509 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2775-10_0_4_load_17 | 12 | 0.0033996 | 0.00085201 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2775-10_0_4_load_4 | 13 | 0.0075668 | 0.0018964 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2775-10_0_4_load_8 | 14 | 0.0022109 | 0.00055411 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2775-10_0_4_load_55 | 18 | 0.003678 | 0.0009218 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2775-10_0_4_load_22 | 19 | 0.0012231 | 0.00030654 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2775-10_0_4_load_20 | 20 | 0.0016434 | 0.00041189 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2775-10_0_4_load_78 | 21 | 0.001961 | 0.00049147 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2775-10_0_4_load_75 | 22 | 0.002551 | 0.00063933 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2775-10_0_4_load_56 | 23 | 0.0013063 | 0.0003274 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2775-10_0_4_load_116 | 24 | 0.0011741 | 0.00029426 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2775-10_0_4_load_18 | 25 | 0.0028452 | 0.00071307 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2775-10_0_4_load_66 | 26 | 0.0049831 | 0.0012489 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2775-10_0_4_load_76 | 27 | 0.0034162 | 0.00085617 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2775-10_0_4_load_21 | 28 | 0.0014299 | 0.00035838 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2775-10_0_4_load_19 | 29 | 0.0016527 | 0.0004142 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2775-10_0_4_load_51 | 30 | 0.0036825 | 0.00092292 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2775-10_0_4_load_115 | 31 | 0.0056298 | 0.001411 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2775-10_0_4_load_23 | 32 | 0.0044127 | 0.0011059 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2775-10_0_4_load_24 | 33 | 0.027945 | 0.0070036 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2775-10_0_4_load_29 | 39 | 0.015048 | 0.0037714 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2775-10_0_4_load_38 | 40 | 0.015138 | 0.0037941 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2775-10_0_4_load_40 | 42 | 0.0035815 | 0.0008976 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2775-10_0_4_load_41 | 44 | 0.01278 | 0.0032031 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2775-10_0_4_load_44 | 46 | 0.003232 | 0.00081002 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2775-10_0_4_load_96 | 48 | 0.0059424 | 0.0014893 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2775-10_0_4_load_94 | 49 | 0.0064803 | 0.0016241 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2775-10_0_4_load_39 | 50 | 0.0061688 | 0.001546 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2775-10_0_4_load_45 | 53 | 0.0072004 | 0.0018046 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2775-10_0_4_load_95 | 55 | 0.002113 | 0.00052957 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2775-10_0_4_load_42 | 56 | 0.0094839 | 0.0023769 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2775-10_0_4_load_121 | 57 | 0.018091 | 0.0045341 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2775-10_0_4_load_52 | 58 | 0.0036347 | 0.00091094 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2775-10_0_4_load_57 | 59 | 0.011011 | 0.0027595 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2775-10_0_4_load_104 | 61 | 0.0031242 | 0.00078299 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2775-10_0_4_load_67 | 62 | 0.0033785 | 0.00084674 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2775-10_0_4_load_65 | 63 | 0.0038673 | 0.00096924 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2775-10_0_4_load_72 | 66 | 0.00576 | 0.0014436 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2775-10_0_4_load_100 | 67 | 0.0026959 | 0.00067566 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2775-10_0_4_load_101 | 69 | 0.0032909 | 0.00082477 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2775-10_0_4_load_98 | 70 | 0.0041389 | 0.0010373 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2775-10_0_4_load_68 | 73 | 0.0031753 | 0.0007958 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2775-10_0_4_load_73 | 74 | 0.0028396 | 0.00071168 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2775-10_0_4_load_61 | 75 | 0.0052874 | 0.0013251 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2775-10_0_4_load_62 | 76 | 0.0012189 | 0.00030549 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2775-10_0_4_load_85 | 79 | 0.00096925 | 0.00024292 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2775-10_0_4_load_83 | 80 | 0.0042963 | 0.0010768 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2775-10_0_4_load_87 | 81 | 0.0068767 | 0.0017235 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2775-10_0_4_load_103 | 83 | 0.0011499 | 0.00028819 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2775-10_0_4_load_97 | 84 | 0.0020252 | 0.00050757 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_2775-10_0_4_load_74 | 85 | 0.01909 | 0.0047845 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_2775-10_0_4_load_77 | 86 | 0.0027793 | 0.00069655 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_2775-10_0_4_load_80 | 87 | 0.0019363 | 0.00048528 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_2775-10_0_4_load_117 | 88 | 0.0055464 | 0.0013901 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_2775-10_0_4_load_118 | 89 | 0.001938 | 0.0004857 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_2775-10_0_4_load_91 | 90 | 0.00095251 | 0.00023872 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_2775-10_0_4_load_92 | 91 | 0.0011684 | 0.00029283 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_2775-10_0_4_load_82 | 92 | 0.0022896 | 0.00057384 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_2775-10_0_4_load_84 | 93 | 0.0020523 | 0.00051435 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_2775-10_0_4_load_86 | 94 | 0.0013772 | 0.00034516 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_2775-10_0_4_load_89 | 95 | 0.0022552 | 0.00056521 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_2775-10_0_4_load_105 | 97 | 0.0014331 | 0.00035916 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_2775-10_0_4_load_99 | 98 | 0.0021622 | 0.00054189 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_2775-10_0_4_load_102 | 99 | 0.001741 | 0.00043632 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_2775-10_0_4_load_106 | 100 | 0.0031041 | 0.00077797 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_2775-10_0_4_load_107 | 101 | 0.0023593 | 0.0005913 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_2775-10_0_4_load_108 | 102 | 0.0013793 | 0.00034568 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_2775-10_0_4_load_110 | 104 | 0.002706 | 0.00067818 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_2775-10_0_4_load_114 | 105 | 0.0016484 | 0.00041313 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_2775-10_0_4_load_111 | 106 | 0.0020365 | 0.00051041 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_2775-10_0_4_load_120 | 107 | 0.0016089 | 0.00040322 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_2775-10_0_4_load_112 | 108 | 0.003371 | 0.00084485 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 64 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2775-10_0_4_line_0 |  | 0 | 1 | 0.0096863 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2775-10_0_4_line_1 |  | 0 | 2 | 0.003372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2775-10_0_4_line_2 |  | 1 | 3 | 0.0057143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2775-10_0_4_line_3 |  | 3 | 4 | 0.040789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2775-10_0_4_line_4 |  | 3 | 5 | 0.072652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2775-10_0_4_line_5 |  | 3 | 6 | 0.011877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2775-10_0_4_line_6 |  | 4 | 9 | 0.0051995 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2775-10_0_4_line_7 |  | 4 | 10 | 0.026734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2775-10_0_4_line_8 |  | 5 | 11 | 0.0061249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2775-10_0_4_line_9 |  | 6 | 12 | 0.0093414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2775-10_0_4_line_10 |  | 7 | 8 | 0.020618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2775-10_0_4_line_11 |  | 7 | 9 | 0.019347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2775-10_0_4_line_12 |  | 8 | 30 | 0.01553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2775-10_0_4_line_13 |  | 10 | 14 | 0.009367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2775-10_0_4_line_14 |  | 10 | 13 | 0.0063251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2775-10_0_4_line_15 |  | 14 | 18 | 0.0039437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2775-10_0_4_line_16 |  | 15 | 16 | 0.026696 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2775-10_0_4_line_17 |  | 15 | 17 | 0.004699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2775-10_0_4_line_18 |  | 16 | 19 | 0.018587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2775-10_0_4_line_19 |  | 16 | 20 | 0.0079909 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2775-10_0_4_line_20 |  | 17 | 21 | 0.019812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2775-10_0_4_line_21 |  | 17 | 22 | 0.012132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2775-10_0_4_line_22 |  | 18 | 23 | 0.0060348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2775-10_0_4_line_23 |  | 19 | 24 | 0.0011602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2775-10_0_4_line_24 |  | 20 | 25 | 0.0148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2775-10_0_4_line_25 |  | 21 | 26 | 0.001271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2775-10_0_4_line_26 |  | 22 | 27 | 0.0087038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2775-10_0_4_line_27 |  | 23 | 62 | 0.0059315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2775-10_0_4_line_28 |  | 24 | 31 | 0.0013421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2775-10_0_4_line_29 |  | 25 | 29 | 0.012752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2775-10_0_4_line_30 |  | 26 | 77 | 0.017532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2775-10_0_4_line_31 |  | 27 | 86 | 0.00049476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2775-10_0_4_line_32 |  | 28 | 29 | 0.020559 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2775-10_0_4_line_33 |  | 30 | 58 | 0.012709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2775-10_0_4_line_34 |  | 31 | 104 | 0.014959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2775-10_0_4_line_35 |  | 32 | 33 | 0.031882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2775-10_0_4_line_36 |  | 32 | 34 | 0.026996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2775-10_0_4_line_37 |  | 33 | 35 | 0.0053899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2775-10_0_4_line_38 |  | 34 | 36 | 0.030487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2775-10_0_4_line_39 |  | 34 | 37 | 0.027916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2775-10_0_4_line_40 |  | 35 | 38 | 0.045517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2775-10_0_4_line_41 |  | 36 | 39 | 0.014291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2775-10_0_4_line_42 |  | 37 | 40 | 0.014399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2775-10_0_4_line_43 |  | 38 | 41 | 0.005181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2775-10_0_4_line_44 |  | 38 | 42 | 0.01278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2775-10_0_4_line_45 |  | 39 | 45 | 0.029342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2775-10_0_4_line_46 |  | 40 | 50 | 0.016404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2775-10_0_4_line_47 |  | 41 | 46 | 0.015203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2775-10_0_4_line_48 |  | 43 | 44 | 0.017983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2775-10_0_4_line_49 |  | 43 | 45 | 0.026787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2775-10_0_4_line_50 |  | 44 | 56 | 0.0018817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_2775-10_0_4_line_51 |  | 45 | 51 | 0.009179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2775-10_0_4_line_52 |  | 47 | 48 | 0.016223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2775-10_0_4_line_53 |  | 47 | 49 | 0.00044073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2775-10_0_4_line_54 |  | 48 | 57 | 0.037513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2775-10_0_4_line_55 |  | 49 | 54 | 0.026286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_2775-10_0_4_line_56 |  | 51 | 52 | 0.021469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2775-10_0_4_line_57 |  | 51 | 53 | 0.039636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_2775-10_0_4_line_58 |  | 52 | 54 | 0.020771 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_2775-10_0_4_line_59 |  | 54 | 55 | 0.03411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_2775-10_0_4_line_60 |  | 55 | 61 | 0.0080904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_2775-10_0_4_line_61 |  | 59 | 60 | 0.01083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_2775-10_0_4_line_62 |  | 60 | 64 | 0.024189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
63 | LV_2775-10_0_4_line_63 |  | 60 | 65 | 0.011914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
64 | LV_2775-10_0_4_line_64 |  | 61 | 65 | 0.0033456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
65 | LV_2775-10_0_4_line_65 |  | 62 | 63 | 0.010645 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_2775-10_0_4_line_66 |  | 63 | 77 | 0.0024282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_2775-10_0_4_line_67 |  | 64 | 66 | 0.0097558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_2775-10_0_4_line_68 |  | 65 | 67 | 0.022682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
69 | LV_2775-10_0_4_line_69 |  | 66 | 74 | 0.0187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_2775-10_0_4_line_70 |  | 67 | 68 | 0.023579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
71 | LV_2775-10_0_4_line_71 |  | 68 | 69 | 0.021612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_2775-10_0_4_line_72 |  | 68 | 70 | 0.035714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_2775-10_0_4_line_73 |  | 68 | 71 | 0.021115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_2775-10_0_4_line_74 |  | 69 | 83 | 0.018122 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_2775-10_0_4_line_75 |  | 70 | 84 | 0.031577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_2775-10_0_4_line_76 |  | 71 | 72 | 0.02917 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_2775-10_0_4_line_77 |  | 71 | 73 | 0.014079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_2775-10_0_4_line_78 |  | 72 | 79 | 0.011429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_2775-10_0_4_line_79 |  | 73 | 78 | 0.0081612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_2775-10_0_4_line_80 |  | 74 | 85 | 0.0071042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_2775-10_0_4_line_81 |  | 75 | 76 | 0.00086743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_2775-10_0_4_line_82 |  | 75 | 77 | 0.01871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_2775-10_0_4_line_83 |  | 76 | 78 | 0.0049023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_2775-10_0_4_line_84 |  | 79 | 80 | 0.0036689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_2775-10_0_4_line_85 |  | 80 | 92 | 0.0011367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_2775-10_0_4_line_86 |  | 81 | 82 | 0.00095898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_2775-10_0_4_line_87 |  | 82 | 95 | 0.02636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_2775-10_0_4_line_88 |  | 82 | 96 | 0.010331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_2775-10_0_4_line_89 |  | 83 | 99 | 0.039644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_2775-10_0_4_line_90 |  | 84 | 98 | 5.4826e-06 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_2775-10_0_4_line_91 |  | 87 | 88 | 0.0037324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_2775-10_0_4_line_92 |  | 88 | 89 | 0.0056382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_2775-10_0_4_line_93 |  | 89 | 110 | 0.035815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_2775-10_0_4_line_94 |  | 90 | 91 | 0.0030622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_2775-10_0_4_line_95 |  | 91 | 95 | 0.0055007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_2775-10_0_4_line_96 |  | 92 | 93 | 0.0045051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_2775-10_0_4_line_97 |  | 93 | 94 | 0.013516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_2775-10_0_4_line_98 |  | 96 | 97 | 0.006328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_2775-10_0_4_line_99 |  | 96 | 98 | 0.005398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_2775-10_0_4_line_100 |  | 100 | 101 | 0.011664 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_2775-10_0_4_line_101 |  | 100 | 102 | 0.0092572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_2775-10_0_4_line_102 |  | 101 | 103 | 0.0064123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_2775-10_0_4_line_103 |  | 102 | 104 | 0.0029583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_2775-10_0_4_line_104 |  | 103 | 105 | 0.01164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_2775-10_0_4_line_105 |  | 103 | 106 | 0.0016907 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_2775-10_0_4_line_106 |  | 105 | 107 | 0.02131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_2775-10_0_4_line_107 |  | 106 | 108 | 0.013929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_2775-10_0_4_line_108 |  | 108 | 109 | 0.0091076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_2775-10_0_4_line_109 |  | 109 | 110 | 0.011942 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2775-10_0_4_trafo_59 | 0.63 MVA 20/0.4 kV | 111 | 64 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2608610.0257 | 1260720.4763 | 2608608.9387 | 1260730.1014
1 | 2608610.4041 | 1260717.1255 | 2608610.0257 | 1260720.4763
2 | 2608608.2975 | 1260735.7796 | 2608608.9387 | 1260730.1014
3 | 2608590.0663 | 1260769.6541 | 2608598.7538 | 1260759.5486 | 2608606.3054 | 1260753.3775 | 2608608.2975 | 1260735.7796
4 | 2608608.2975 | 1260735.7796 | 2608606.3054 | 1260753.3775 | 2608617.8982 | 1260750.7258 | 2608619.2947 | 1260743.8232 | 2608625.9755 | 1260735.3715 | 2608626.3932 | 1260727.9115 | 2608632.9652 | 1260711.4098
5 | 2608608.2975 | 1260735.7796 | 2608599.1135 | 1260728.2481
6 | 2608590.0663 | 1260769.6541 | 2608594.9626 | 1260771.4037
7 | 2608590.0663 | 1260769.6541 | 2608563.2558 | 1260770.1158
8 | 2608632.9652 | 1260711.4098 | 2608633.3817 | 1260705.2991
9 | 2608591.8903 | 1260722.3246 | 2608599.1135 | 1260728.2481
10 | 2608610.4457 | 1260782.192 | 2608614.4641 | 1260791.1038 | 2608616.3506 | 1260801.7804
11 | 2608610.4457 | 1260782.192 | 2608602.5004 | 1260774.0972 | 2608594.9626 | 1260771.4037
12 | 2608618.7635 | 1260817.1167 | 2608618.1488 | 1260811.9566 | 2608616.3506 | 1260801.7804
13 | 2608563.2558 | 1260770.1158 | 2608561.6375 | 1260779.342
14 | 2608563.2558 | 1260770.1158 | 2608557.0787 | 1260768.7556
15 | 2608561.6375 | 1260779.342 | 2608558.4057 | 1260781.6021
16 | 2608538.1919 | 1260755.8591 | 2608534.9089 | 1260743.6795 | 2608538.8767 | 1260730.1649
17 | 2608533.7964 | 1260757.5539 | 2608538.1919 | 1260755.8591
18 | 2608538.8767 | 1260730.1649 | 2608528.7105 | 1260714.6039
19 | 2608538.8767 | 1260730.1649 | 2608543.9944 | 1260724.0278
20 | 2608533.7964 | 1260757.5539 | 2608535.8945 | 1260777.255
21 | 2608533.7964 | 1260757.5539 | 2608521.9978 | 1260754.7312
22 | 2608558.4057 | 1260781.6021 | 2608553.4602 | 1260785.0607
23 | 2608528.7105 | 1260714.6039 | 2608528.076 | 1260713.6326
24 | 2608553.4729 | 1260712.6613 | 2608543.9944 | 1260724.0278
25 | 2608535.8945 | 1260777.255 | 2608536.0291 | 1260778.5189
26 | 2608521.9978 | 1260754.7312 | 2608515.0479 | 1260753.0685 | 2608513.6957 | 1260752.2949
27 | 2608548.5994 | 1260788.46 | 2608553.4602 | 1260785.0607
28 | 2608527.2935 | 1260712.5423 | 2608528.0723 | 1260713.6271 | 2608528.076 | 1260713.6326
29 | 2608553.4729 | 1260712.6613 | 2608561.6397 | 1260702.8679
30 | 2608537.8857 | 1260795.9525 | 2608536.0291 | 1260778.5189
31 | 2608513.6957 | 1260752.2949 | 2608513.2663 | 1260752.0493
32 | 2608561.6397 | 1260702.8679 | 2608574.8064 | 1260687.0785
33 | 2608618.7635 | 1260817.1167 | 2608620.2671 | 1260829.7365
34 | 2608527.2935 | 1260712.5423 | 2608518.5692 | 1260700.3914
35 | 2608502.3574 | 1261010.0989 | 2608501.9259 | 1261030.0823 | 2608490.0365 | 1261029.7429 | 2608490.0365 | 1261029.7429
36 | 2608491.046 | 1260992.8415 | 2608493.3137 | 1260998.3151 | 2608502.6116 | 1260998.3284 | 2608502.3574 | 1261010.0989
37 | 2608489.5692 | 1261035.1125 | 2608490.0365 | 1261029.7429
38 | 2608491.046 | 1260992.8415 | 2608501.5947 | 1260992.8899 | 2608502.5499 | 1260972.9444
39 | 2608491.046 | 1260992.8415 | 2608463.0468 | 1260992.7238
40 | 2608489.5692 | 1261035.1125 | 2608520.0381 | 1261036.3235 | 2608523.2927 | 1261036.6061 | 2608529.7416 | 1261037.1602 | 2608535.0233 | 1261037.3234
41 | 2608502.5499 | 1260972.9444 | 2608515.8225 | 1260967.6462
42 | 2608463.0468 | 1260992.7238 | 2608453.7267 | 1260981.7476
43 | 2608535.5053 | 1261032.165 | 2608535.0233 | 1261037.3234
44 | 2608535.0233 | 1261037.3234 | 2608534.0052 | 1261050.0624
45 | 2608535.897 | 1260953.401 | 2608526.2207 | 1260954.4434 | 2608525.1975 | 1260963.9039 | 2608515.8225 | 1260967.6462
46 | 2608453.7267 | 1260981.7476 | 2608453.7267 | 1260981.7476 | 2608437.3451 | 1260980.8843
47 | 2608535.5053 | 1261032.165 | 2608550.6837 | 1261031.2968
48 | 2608537.9082 | 1260980.1109 | 2608555.6937 | 1260977.4531
49 | 2608537.9082 | 1260980.1109 | 2608537.7381 | 1260977.8535 | 2608535.897 | 1260953.401
50 | 2608555.6937 | 1260977.4531 | 2608557.5548 | 1260977.175
51 | 2608535.2018 | 1260944.2493 | 2608535.897 | 1260953.401
52 | 2608492.3578 | 1260928.8332 | 2608487.8596 | 1260928.7935 | 2608476.2547 | 1260927.1217
53 | 2608492.7986 | 1260928.8366 | 2608492.3578 | 1260928.8332
54 | 2608476.2547 | 1260927.1217 | 2608439.1249 | 1260921.7731
55 | 2608519.0838 | 1260929.0382 | 2608492.7986 | 1260928.8366
56 | 2608535.2018 | 1260944.2493 | 2608534.0261 | 1260928.6482 | 2608539.8361 | 1260928.2562
57 | 2608535.2018 | 1260944.2493 | 2608557.3572 | 1260942.2909 | 2608556.8909 | 1260936.3973 | 2608568.2684 | 1260934.8502
58 | 2608519.0838 | 1260929.0382 | 2608525.677 | 1260928.9475 | 2608534.0261 | 1260928.6482 | 2608539.8361 | 1260928.2562
59 | 2608519.0838 | 1260929.0382 | 2608510.6271 | 1260895.9933
60 | 2608510.6271 | 1260895.9933 | 2608508.6212 | 1260888.1554
61 | 2608519.3996 | 1260882.0845 | 2608521.8161 | 1260892.6411
62 | 2608519.3996 | 1260882.0845 | 2608513.9931 | 1260858.5052
63 | 2608507.7917 | 1260884.9143 | 2608519.3996 | 1260882.0845
64 | 2608507.7917 | 1260884.9143 | 2608508.6212 | 1260888.1554
65 | 2608539.8756 | 1260794.5609 | 2608548.5994 | 1260788.46
66 | 2608537.8857 | 1260795.9525 | 2608539.8756 | 1260794.5609
67 | 2608513.9931 | 1260858.5052 | 2608523.6529 | 1260857.1403
68 | 2608507.7917 | 1260884.9143 | 2608502.1754 | 1260862.939
69 | 2608523.6529 | 1260857.1403 | 2608542.1694 | 1260854.524
70 | 2608494.6084 | 1260840.6544 | 2608499.909 | 1260854.071 | 2608502.1754 | 1260862.939
71 | 2608494.6084 | 1260840.6544 | 2608476.6484 | 1260852.6755
72 | 2608494.6084 | 1260840.6544 | 2608465.2069 | 1260820.3793
73 | 2608494.6084 | 1260840.6544 | 2608501.0753 | 1260834.0369 | 2608504.1365 | 1260832.707 | 2608501.3751 | 1260824.642
74 | 2608476.6484 | 1260852.6755 | 2608464.1078 | 1260861.0693 | 2608461.1532 | 1260861.7497
75 | 2608439.2118 | 1260802.4534 | 2608465.2069 | 1260820.3793
76 | 2608475.5463 | 1260813.0974 | 2608479.3858 | 1260815.4934 | 2608493.9003 | 1260824.6647 | 2608501.3751 | 1260824.642
77 | 2608501.3751 | 1260824.642 | 2608507.4438 | 1260817.2345 | 2608511.134 | 1260814.6544
78 | 2608475.5463 | 1260813.0974 | 2608474.7469 | 1260801.6965
79 | 2608517.8224 | 1260809.9778 | 2608511.134 | 1260814.6544
80 | 2608549.2037 | 1260853.53 | 2608542.1694 | 1260854.524
81 | 2608522.5513 | 1260806.6721 | 2608521.8403 | 1260807.1691
82 | 2608537.8857 | 1260795.9525 | 2608522.5513 | 1260806.6721
83 | 2608517.8224 | 1260809.9778 | 2608521.8403 | 1260807.1691
84 | 2608474.4902 | 1260798.0365 | 2608474.7469 | 1260801.6965
85 | 2608474.4107 | 1260796.9026 | 2608474.4902 | 1260798.0365
86 | 2608442.4494 | 1260792.1695 | 2608441.6389 | 1260791.657
87 | 2608441.6389 | 1260791.657 | 2608418.7595 | 1260778.5661
88 | 2608434.7635 | 1260799.3858 | 2608441.6389 | 1260791.657
89 | 2608422.2741 | 1260861.8496 | 2608429.0732 | 1260864.244 | 2608447.8872 | 1260864.8044 | 2608461.1532 | 1260861.7497
90 | 2608439.2073 | 1260802.4503 | 2608439.2118 | 1260802.4534
91 | 2608451.6863 | 1260677.7967 | 2608449.2411 | 1260680.6167
92 | 2608451.6863 | 1260677.7967 | 2608455.38 | 1260673.5369
93 | 2608478.8426 | 1260646.478 | 2608455.38 | 1260673.5369
94 | 2608411.3271 | 1260774.3135 | 2608411.3271 | 1260774.3135 | 2608413.9851 | 1260775.8343
95 | 2608418.7595 | 1260778.5661 | 2608413.9851 | 1260775.8343
96 | 2608474.4107 | 1260796.9026 | 2608474.3868 | 1260796.5623 | 2608474.6506 | 1260792.4067
97 | 2608474.6506 | 1260792.4067 | 2608475.5068 | 1260778.9176
98 | 2608428.829 | 1260797.1426 | 2608434.7635 | 1260799.3858
99 | 2608434.7635 | 1260799.3858 | 2608439.2073 | 1260802.4503
100 | 2608511.4447 | 1260690.4687 | 2608504.6416 | 1260680.9935
101 | 2608511.4447 | 1260690.4687 | 2608516.8438 | 1260697.9883
102 | 2608500.9018 | 1260675.7848 | 2608504.6416 | 1260680.9935
103 | 2608516.8438 | 1260697.9883 | 2608518.5692 | 1260700.3914
104 | 2608500.9018 | 1260675.7848 | 2608509.5256 | 1260667.9665
105 | 2608500.9018 | 1260675.7848 | 2608499.8851 | 1260674.4339
106 | 2608509.5256 | 1260667.9665 | 2608517.1386 | 1260661.0647 | 2608528.1635 | 1260660.6094
107 | 2608499.8851 | 1260674.4339 | 2608491.5094 | 1260663.305
108 | 2608486.0328 | 1260656.028 | 2608491.5094 | 1260663.305
109 | 2608478.8426 | 1260646.478 | 2608486.0328 | 1260656.028

## bus_geodata
| x | y | coords
0 | 2608610.0257 | 1260720.4763
1 | 2608608.9387 | 1260730.1014
2 | 2608610.4041 | 1260717.1255
3 | 2608608.2975 | 1260735.7796
4 | 2608590.0663 | 1260769.6541
5 | 2608632.9652 | 1260711.4098
6 | 2608599.1135 | 1260728.2481
7 | 2608610.4457 | 1260782.192
8 | 2608616.3506 | 1260801.7804
9 | 2608594.9626 | 1260771.4037
10 | 2608563.2558 | 1260770.1158
11 | 2608633.3817 | 1260705.2991
12 | 2608591.8903 | 1260722.3246
13 | 2608557.0787 | 1260768.7556
14 | 2608561.6375 | 1260779.342
15 | 2608538.1919 | 1260755.8591
16 | 2608538.8767 | 1260730.1649
17 | 2608533.7964 | 1260757.5539
18 | 2608558.4057 | 1260781.6021
19 | 2608528.7105 | 1260714.6039
20 | 2608543.9944 | 1260724.0278
21 | 2608535.8945 | 1260777.255
22 | 2608521.9978 | 1260754.7312
23 | 2608553.4602 | 1260785.0607
24 | 2608528.076 | 1260713.6326
25 | 2608553.4729 | 1260712.6613
26 | 2608536.0291 | 1260778.5189
27 | 2608513.6957 | 1260752.2949
28 | 2608574.8064 | 1260687.0785
29 | 2608561.6397 | 1260702.8679
30 | 2608618.7635 | 1260817.1167
31 | 2608527.2935 | 1260712.5423
32 | 2608502.3574 | 1261010.0989
33 | 2608490.0365 | 1261029.7429
34 | 2608491.046 | 1260992.8415
35 | 2608489.5692 | 1261035.1125
36 | 2608502.5499 | 1260972.9444
37 | 2608463.0468 | 1260992.7238
38 | 2608535.0233 | 1261037.3234
39 | 2608515.8225 | 1260967.6462
40 | 2608453.7267 | 1260981.7476
41 | 2608535.5053 | 1261032.165
42 | 2608534.0052 | 1261050.0624
43 | 2608537.9082 | 1260980.1109
44 | 2608555.6937 | 1260977.4531
45 | 2608535.897 | 1260953.401
46 | 2608550.6837 | 1261031.2968
47 | 2608492.3578 | 1260928.8332
48 | 2608476.2547 | 1260927.1217
49 | 2608492.7986 | 1260928.8366
50 | 2608437.3451 | 1260980.8843
51 | 2608535.2018 | 1260944.2493
52 | 2608539.8361 | 1260928.2562
53 | 2608568.2684 | 1260934.8502
54 | 2608519.0838 | 1260929.0382
55 | 2608510.6271 | 1260895.9933
56 | 2608557.5547 | 1260977.175
57 | 2608439.1249 | 1260921.7731
58 | 2608620.2671 | 1260829.7365
59 | 2608521.8161 | 1260892.6411
60 | 2608519.3996 | 1260882.0845
61 | 2608508.6212 | 1260888.1554
62 | 2608548.5994 | 1260788.46
63 | 2608539.8756 | 1260794.5609
64 | 2608513.9931 | 1260858.5052
65 | 2608507.7917 | 1260884.9143
66 | 2608523.6529 | 1260857.1403
67 | 2608502.1754 | 1260862.939
68 | 2608494.6084 | 1260840.6544
69 | 2608476.6484 | 1260852.6755
70 | 2608465.2069 | 1260820.3793
71 | 2608501.3751 | 1260824.642
72 | 2608475.5463 | 1260813.0974
73 | 2608511.134 | 1260814.6544
74 | 2608542.1694 | 1260854.524
75 | 2608522.5513 | 1260806.6721
76 | 2608521.8403 | 1260807.1691
77 | 2608537.8857 | 1260795.9525
78 | 2608517.8224 | 1260809.9778
79 | 2608474.7469 | 1260801.6965
80 | 2608474.4902 | 1260798.0365
81 | 2608442.4494 | 1260792.1695
82 | 2608441.6389 | 1260791.657
83 | 2608461.1532 | 1260861.7497
84 | 2608439.2118 | 1260802.4534
85 | 2608549.2037 | 1260853.53
86 | 2608513.2663 | 1260752.0493
87 | 2608449.2411 | 1260680.6167
88 | 2608451.6863 | 1260677.7967
89 | 2608455.38 | 1260673.5369
90 | 2608411.3271 | 1260774.3135
91 | 2608413.9851 | 1260775.8343
92 | 2608474.4107 | 1260796.9026
93 | 2608474.6506 | 1260792.4067
94 | 2608475.5068 | 1260778.9176
95 | 2608418.7595 | 1260778.5661
96 | 2608434.7635 | 1260799.3858
97 | 2608428.829 | 1260797.1426
98 | 2608439.2073 | 1260802.4503
99 | 2608422.2741 | 1260861.8496
100 | 2608511.4447 | 1260690.4687
101 | 2608504.6416 | 1260680.9935
102 | 2608516.8438 | 1260697.9883
103 | 2608500.9018 | 1260675.7848
104 | 2608518.5692 | 1260700.3914
105 | 2608509.5256 | 1260667.9665
106 | 2608499.8851 | 1260674.4339
107 | 2608528.1635 | 1260660.6094
108 | 2608491.5094 | 1260663.305
109 | 2608486.0328 | 1260656.028
110 | 2608478.8426 | 1260646.478
111 | 2608519.3996 | 1260882.0845

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1