## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2775-18_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2775-18_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2775-18_0_4_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_2775-18_0_4_node_21 | 0.4 | n |  | TRUE
4 | bus_LV_2775-18_0_4_node_17 | 0.4 | n |  | TRUE
5 | bus_LV_2775-18_0_4_node_22 | 0.4 | n |  | TRUE
6 | bus_LV_2775-18_0_4_node_20 | 0.4 | n |  | TRUE
7 | bus_LV_2775-18_0_4_node_15 | 0.4 | n |  | TRUE
8 | bus_LV_2775-18_0_4_node_68 | 0.4 | n |  | TRUE
9 | bus_LV_2775-18_0_4_node_66 | 0.4 | n |  | TRUE
10 | bus_LV_2775-18_0_4_node_9 | 0.4 | n |  | TRUE
11 | bus_LV_2775-18_0_4_node_123 | 0.4 | n |  | TRUE
12 | bus_LV_2775-18_0_4_node_11 | 0.4 | n |  | TRUE
13 | bus_LV_2775-18_0_4_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_2775-18_0_4_node_13 | 0.4 | n |  | TRUE
15 | bus_LV_2775-18_0_4_node_109 | 0.4 | n |  | TRUE
16 | bus_LV_2775-18_0_4_node_96 | 0.4 | n |  | TRUE
17 | bus_LV_2775-18_0_4_node_6 | 0.4 | n |  | TRUE
18 | bus_LV_2775-18_0_4_node_7 | 0.4 | n |  | TRUE
19 | bus_LV_2775-18_0_4_node_8 | 0.4 | n |  | TRUE
20 | bus_LV_2775-18_0_4_node_12 | 0.4 | n |  | TRUE
21 | bus_LV_2775-18_0_4_node_23 | 0.4 | n |  | TRUE
22 | bus_LV_2775-18_0_4_node_110 | 0.4 | n |  | TRUE
23 | bus_LV_2775-18_0_4_node_97 | 0.4 | n |  | TRUE
24 | bus_LV_2775-18_0_4_node_18 | 0.4 | n |  | TRUE
25 | bus_LV_2775-18_0_4_node_14 | 0.4 | n |  | TRUE
26 | bus_LV_2775-18_0_4_node_16 | 0.4 | n |  | TRUE
27 | bus_LV_2775-18_0_4_node_19 | 0.4 | n |  | TRUE
28 | bus_LV_2775-18_0_4_node_119 | 0.4 | n |  | TRUE
29 | bus_LV_2775-18_0_4_node_73 | 0.4 | n |  | TRUE
30 | bus_LV_2775-18_0_4_node_67 | 0.4 | n |  | TRUE
31 | bus_LV_2775-18_0_4_node_63 | 0.4 | n |  | TRUE
32 | bus_LV_2775-18_0_4_node_74 | 0.4 | n |  | TRUE
33 | bus_LV_2775-18_0_4_node_40 | 0.4 | n |  | TRUE
34 | bus_LV_2775-18_0_4_node_65 | 0.4 | n |  | TRUE
35 | bus_LV_2775-18_0_4_node_24 | 0.4 | n |  | TRUE
36 | bus_LV_2775-18_0_4_node_25 | 0.4 | n |  | TRUE
37 | bus_LV_2775-18_0_4_node_26 | 0.4 | n |  | TRUE
38 | bus_LV_2775-18_0_4_node_27 | 0.4 | n |  | TRUE
39 | bus_LV_2775-18_0_4_node_28 | 0.4 | n |  | TRUE
40 | bus_LV_2775-18_0_4_node_32 | 0.4 | n |  | TRUE
41 | bus_LV_2775-18_0_4_node_29 | 0.4 | n |  | TRUE
42 | bus_LV_2775-18_0_4_node_33 | 0.4 | n |  | TRUE
43 | bus_LV_2775-18_0_4_node_31 | 0.4 | n |  | TRUE
44 | bus_LV_2775-18_0_4_node_47 | 0.4 | n |  | TRUE
45 | bus_LV_2775-18_0_4_node_45 | 0.4 | n |  | TRUE
46 | bus_LV_2775-18_0_4_node_34 | 0.4 | n |  | TRUE
47 | bus_LV_2775-18_0_4_node_36 | 0.4 | n |  | TRUE
48 | bus_LV_2775-18_0_4_node_42 | 0.4 | n |  | TRUE
49 | bus_LV_2775-18_0_4_node_83 | 0.4 | n |  | TRUE
50 | bus_LV_2775-18_0_4_node_62 | 0.4 | n |  | TRUE
51 | bus_LV_2775-18_0_4_node_72 | 0.4 | n |  | TRUE
52 | bus_LV_2775-18_0_4_node_69 | 0.4 | n |  | TRUE
53 | bus_LV_2775-18_0_4_node_76 | 0.4 | n |  | TRUE
54 | bus_LV_2775-18_0_4_node_87 | 0.4 | n |  | TRUE
55 | bus_LV_2775-18_0_4_node_71 | 0.4 | n |  | TRUE
56 | bus_LV_2775-18_0_4_node_95 | 0.4 | n |  | TRUE
57 | bus_LV_2775-18_0_4_node_93 | 0.4 | n |  | TRUE
58 | bus_LV_2775-18_0_4_node_77 | 0.4 | n |  | TRUE
59 | bus_LV_2775-18_0_4_node_78 | 0.4 | n |  | TRUE
60 | bus_LV_2775-18_0_4_node_79 | 0.4 | n |  | TRUE
61 | bus_LV_2775-18_0_4_node_37 | 0.4 | n |  | TRUE
62 | bus_LV_2775-18_0_4_node_38 | 0.4 | n |  | TRUE
63 | bus_LV_2775-18_0_4_node_39 | 0.4 | n |  | TRUE
64 | bus_LV_2775-18_0_4_node_41 | 0.4 | n |  | TRUE
65 | bus_LV_2775-18_0_4_node_43 | 0.4 | n |  | TRUE
66 | bus_LV_2775-18_0_4_node_89 | 0.4 | n |  | TRUE
67 | bus_LV_2775-18_0_4_node_54 | 0.4 | n |  | TRUE
68 | bus_LV_2775-18_0_4_node_85 | 0.4 | n |  | TRUE
69 | bus_LV_2775-18_0_4_node_88 | 0.4 | n |  | TRUE
70 | bus_LV_2775-18_0_4_node_53 | 0.4 | n |  | TRUE
71 | bus_LV_2775-18_0_4_node_86 | 0.4 | n |  | TRUE
72 | bus_LV_2775-18_0_4_node_84 | 0.4 | n |  | TRUE
73 | bus_LV_2775-18_0_4_node_44 | 0.4 | n |  | TRUE
74 | bus_LV_2775-18_0_4_node_46 | 0.4 | n |  | TRUE
75 | bus_LV_2775-18_0_4_node_48 | 0.4 | n |  | TRUE
76 | bus_LV_2775-18_0_4_node_51 | 0.4 | n |  | TRUE
77 | bus_LV_2775-18_0_4_node_49 | 0.4 | n |  | TRUE
78 | bus_LV_2775-18_0_4_node_50 | 0.4 | n |  | TRUE
79 | bus_LV_2775-18_0_4_node_52 | 0.4 | n |  | TRUE
80 | bus_LV_2775-18_0_4_node_60 | 0.4 | n |  | TRUE
81 | bus_LV_2775-18_0_4_node_58 | 0.4 | n |  | TRUE
82 | bus_LV_2775-18_0_4_node_55 | 0.4 | n |  | TRUE
83 | bus_LV_2775-18_0_4_node_56 | 0.4 | n |  | TRUE
84 | bus_LV_2775-18_0_4_node_61 | 0.4 | n |  | TRUE
85 | bus_LV_2775-18_0_4_node_59 | 0.4 | n |  | TRUE
86 | bus_LV_2775-18_0_4_node_57 | 0.4 | n |  | TRUE
87 | bus_LV_2775-18_0_4_node_64 | 0.4 | n |  | TRUE
88 | bus_LV_2775-18_0_4_node_94 | 0.4 | n |  | TRUE
89 | bus_LV_2775-18_0_4_node_75 | 0.4 | n |  | TRUE
90 | bus_LV_2775-18_0_4_node_81 | 0.4 | n |  | TRUE
91 | bus_LV_2775-18_0_4_node_80 | 0.4 | n |  | TRUE
92 | bus_LV_2775-18_0_4_node_82 | 0.4 | n |  | TRUE
93 | bus_LV_2775-18_0_4_node_90 | 0.4 | n |  | TRUE
94 | bus_LV_2775-18_0_4_node_91 | 0.4 | n |  | TRUE
95 | bus_LV_2775-18_0_4_node_92 | 0.4 | n |  | TRUE
96 | bus_LV_2775-18_0_4_node_98 | 0.4 | n |  | TRUE
97 | bus_LV_2775-18_0_4_node_99 | 0.4 | n |  | TRUE
98 | bus_LV_2775-18_0_4_node_103 | 0.4 | n |  | TRUE
99 | bus_LV_2775-18_0_4_node_118 | 0.4 | n |  | TRUE
100 | bus_LV_2775-18_0_4_node_116 | 0.4 | n |  | TRUE
101 | bus_LV_2775-18_0_4_node_101 | 0.4 | n |  | TRUE
102 | bus_LV_2775-18_0_4_node_115 | 0.4 | n |  | TRUE
103 | bus_LV_2775-18_0_4_node_117 | 0.4 | n |  | TRUE
104 | bus_LV_2775-18_0_4_node_100 | 0.4 | n |  | TRUE
105 | bus_LV_2775-18_0_4_node_104 | 0.4 | n |  | TRUE
106 | bus_LV_2775-18_0_4_node_105 | 0.4 | n |  | TRUE
107 | bus_LV_2775-18_0_4_node_106 | 0.4 | n |  | TRUE
108 | bus_LV_2775-18_0_4_node_107 | 0.4 | n |  | TRUE
109 | bus_LV_2775-18_0_4_node_108 | 0.4 | n |  | TRUE
110 | bus_LV_2775-18_0_4_node_113 | 0.4 | n |  | TRUE
111 | bus_LV_2775-18_0_4_node_120 | 0.4 | n |  | TRUE
112 | bus_LV_2775-18_0_4_node_112 | 0.4 | n |  | TRUE
113 | bus_LV_2775-18_0_4_node_121 | 0.4 | n |  | TRUE
114 | bus_LV_2775-18_0_4_node_111 | 0.4 | n |  | TRUE
115 | bus_LV_2775-18_0_4_node_114 | 0.4 | n |  | TRUE
116 | bus_LV_2775-18_0_4_node_122 | 0.4 | n |  | TRUE
117 | bus_MV_399_0_node_79 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2775-18_0_4_load_0 | 0 | 0.072764 | 0.018236 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2775-18_0_4_load_1 | 1 | 0.0052758 | 0.0013222 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2775-18_0_4_load_21 | 3 | 0.0054833 | 0.0013742 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2775-18_0_4_load_22 | 5 | 0.0054639 | 0.0013694 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2775-18_0_4_load_15 | 7 | 0.021608 | 0.0054154 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2775-18_0_4_load_68 | 8 | 0.0036785 | 0.00092192 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2775-18_0_4_load_66 | 9 | 0.0019401 | 0.00048622 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2775-18_0_4_load_123 | 11 | 0.0026912 | 0.00067449 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2775-18_0_4_load_13 | 14 | 0.0041671 | 0.0010444 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2775-18_0_4_load_109 | 15 | 0.001898 | 0.00047567 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2775-18_0_4_load_96 | 16 | 0.001525 | 0.00038219 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2775-18_0_4_load_6 | 17 | 0.0022707 | 0.0005691 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2775-18_0_4_load_7 | 18 | 0.0028781 | 0.00072131 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2775-18_0_4_load_23 | 21 | 0.0074866 | 0.0018763 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2775-18_0_4_load_110 | 22 | 0.0050837 | 0.0012741 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2775-18_0_4_load_18 | 24 | 0.0056557 | 0.0014174 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2775-18_0_4_load_14 | 25 | 0.010941 | 0.0027421 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2775-18_0_4_load_19 | 27 | 0.0054388 | 0.0013631 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2775-18_0_4_load_119 | 28 | 0.0085299 | 0.0021378 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2775-18_0_4_load_67 | 30 | 0.0076904 | 0.0019274 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2775-18_0_4_load_63 | 31 | 0.0070077 | 0.0017563 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2775-18_0_4_load_74 | 32 | 0.01171 | 0.0029348 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2775-18_0_4_load_65 | 34 | 0.0078761 | 0.0019739 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2775-18_0_4_load_24 | 35 | 0.0042977 | 0.0010771 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2775-18_0_4_load_25 | 36 | 0.0014686 | 0.00036806 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2775-18_0_4_load_26 | 37 | 0.0014686 | 0.00036806 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2775-18_0_4_load_27 | 38 | 0.00096751 | 0.00024248 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2775-18_0_4_load_28 | 39 | 0.0010376 | 0.00026005 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2775-18_0_4_load_32 | 40 | 0.00096751 | 0.00024248 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2775-18_0_4_load_29 | 41 | 0.0010376 | 0.00026005 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2775-18_0_4_load_47 | 44 | 0.002037 | 0.00051051 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2775-18_0_4_load_45 | 45 | 0.0020956 | 0.00052521 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2775-18_0_4_load_42 | 48 | 0.0082433 | 0.002066 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2775-18_0_4_load_83 | 49 | 0.0022135 | 0.00055477 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2775-18_0_4_load_69 | 52 | 0.0077441 | 0.0019409 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2775-18_0_4_load_87 | 54 | 0.0019336 | 0.00048461 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2775-18_0_4_load_95 | 56 | 0.0026675 | 0.00066854 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2775-18_0_4_load_93 | 57 | 0.002651 | 0.00066441 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2775-18_0_4_load_77 | 58 | 0.0049147 | 0.0012317 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2775-18_0_4_load_37 | 61 | 0.0032747 | 0.00082072 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2775-18_0_4_load_39 | 63 | 0.0082444 | 0.0020663 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2775-18_0_4_load_41 | 64 | 0.0032747 | 0.00082072 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2775-18_0_4_load_43 | 65 | 0.0027553 | 0.00069054 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2775-18_0_4_load_89 | 66 | 0.0030265 | 0.00075852 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2775-18_0_4_load_54 | 67 | 0.0024699 | 0.000619 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2775-18_0_4_load_88 | 69 | 0.0034569 | 0.00086638 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2775-18_0_4_load_53 | 70 | 0.0032731 | 0.00082032 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2775-18_0_4_load_86 | 71 | 0.002657 | 0.00066592 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2775-18_0_4_load_84 | 72 | 0.0020958 | 0.00052526 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2775-18_0_4_load_44 | 73 | 0.0070937 | 0.0017779 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2775-18_0_4_load_46 | 74 | 0.0020965 | 0.00052543 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2775-18_0_4_load_48 | 75 | 0.0021 | 0.00052632 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2775-18_0_4_load_51 | 76 | 0.0020992 | 0.0005261 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2775-18_0_4_load_49 | 77 | 0.0070958 | 0.0017784 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2775-18_0_4_load_50 | 78 | 0.0020965 | 0.00052543 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2775-18_0_4_load_52 | 79 | 0.0021036 | 0.00052721 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_2775-18_0_4_load_60 | 80 | 0.0020984 | 0.00052592 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_2775-18_0_4_load_58 | 81 | 0.0028532 | 0.00071508 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_2775-18_0_4_load_55 | 82 | 0.0024205 | 0.00060663 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_2775-18_0_4_load_56 | 83 | 0.002853 | 0.00071503 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_2775-18_0_4_load_61 | 84 | 0.0021006 | 0.00052647 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_2775-18_0_4_load_59 | 85 | 0.0021056 | 0.00052771 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_2775-18_0_4_load_57 | 86 | 0.0028481 | 0.00071381 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_2775-18_0_4_load_64 | 87 | 0.0041347 | 0.0010362 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_2775-18_0_4_load_94 | 88 | 0.0027422 | 0.00068725 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_2775-18_0_4_load_75 | 89 | 0.0034481 | 0.00086418 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_2775-18_0_4_load_81 | 90 | 0.0020711 | 0.00051907 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_2775-18_0_4_load_82 | 92 | 0.0020712 | 0.0005191 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_2775-18_0_4_load_90 | 93 | 0.0027184 | 0.00068129 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_2775-18_0_4_load_91 | 94 | 0.0032136 | 0.00080541 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_2775-18_0_4_load_92 | 95 | 0.0033378 | 0.00083652 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_2775-18_0_4_load_98 | 96 | 0.0038615 | 0.00096778 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_2775-18_0_4_load_103 | 98 | 0.0032275 | 0.0008089 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_2775-18_0_4_load_118 | 99 | 0.0014792 | 0.00037073 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_2775-18_0_4_load_116 | 100 | 0.008354 | 0.0020937 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_2775-18_0_4_load_115 | 102 | 0.0014802 | 0.00037096 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_2775-18_0_4_load_117 | 103 | 0.016343 | 0.0040959 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_2775-18_0_4_load_100 | 104 | 0.0038534 | 0.00096576 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_2775-18_0_4_load_104 | 105 | 0.0053307 | 0.001336 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_2775-18_0_4_load_105 | 106 | 0.010941 | 0.002742 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_2775-18_0_4_load_106 | 107 | 0.0071478 | 0.0017914 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_2775-18_0_4_load_107 | 108 | 0.0027112 | 0.0006795 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_2775-18_0_4_load_113 | 110 | 0.0069697 | 0.0017468 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_2775-18_0_4_load_120 | 111 | 0.0070102 | 0.0017569 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_2775-18_0_4_load_112 | 112 | 0.0018074 | 0.00045297 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_2775-18_0_4_load_121 | 113 | 0.0022415 | 0.00056178 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_2775-18_0_4_load_111 | 114 | 0.0069767 | 0.0017485 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_2775-18_0_4_load_122 | 116 | 0.0024046 | 0.00060265 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 25 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2775-18_0_4_line_0 |  | 0 | 1 | 0.015914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2775-18_0_4_line_1 |  | 1 | 2 | 0.021356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2775-18_0_4_line_2 |  | 2 | 3 | 0.034546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
3 | LV_2775-18_0_4_line_3 |  | 2 | 4 | 0.020242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2775-18_0_4_line_4 |  | 3 | 5 | 0.01106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
5 | LV_2775-18_0_4_line_5 |  | 4 | 6 | 0.037683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2775-18_0_4_line_6 |  | 4 | 7 | 0.020214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2775-18_0_4_line_7 |  | 5 | 20 | 0.019359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
8 | LV_2775-18_0_4_line_8 |  | 6 | 29 | 0.031755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2775-18_0_4_line_9 |  | 6 | 30 | 0.018319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2775-18_0_4_line_10 |  | 8 | 9 | 0.008493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2775-18_0_4_line_11 |  | 9 | 87 | 0.0027606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2775-18_0_4_line_12 |  | 10 | 11 | 0.006328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2775-18_0_4_line_13 |  | 10 | 12 | 0.010331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2775-18_0_4_line_14 |  | 12 | 16 | 0.041506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2775-18_0_4_line_15 |  | 13 | 14 | 0.016582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2775-18_0_4_line_16 |  | 13 | 15 | 0.019548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2775-18_0_4_line_17 |  | 14 | 19 | 0.041975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2775-18_0_4_line_18 |  | 15 | 22 | 0.02283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2775-18_0_4_line_19 |  | 16 | 23 | 0.023774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2775-18_0_4_line_20 |  | 17 | 18 | 0.0023707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2775-18_0_4_line_21 |  | 18 | 19 | 0.02435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2775-18_0_4_line_22 |  | 19 | 20 | 0.009675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2775-18_0_4_line_23 |  | 20 | 21 | 0.0061777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
24 | LV_2775-18_0_4_line_24 |  | 21 | 24 | 0.026498 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
25 | LV_2775-18_0_4_line_25 |  | 22 | 114 | 0.026607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2775-18_0_4_line_26 |  | 23 | 96 | 0.013768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2775-18_0_4_line_27 |  | 23 | 97 | 0.009394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2775-18_0_4_line_28 |  | 24 | 26 | 0.0070556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
29 | LV_2775-18_0_4_line_29 |  | 25 | 26 | 0.036267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
30 | LV_2775-18_0_4_line_30 |  | 26 | 27 | 0.023408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
31 | LV_2775-18_0_4_line_31 |  | 27 | 28 | 0.036685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
32 | LV_2775-18_0_4_line_32 |  | 28 | 31 | 0.029509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
33 | LV_2775-18_0_4_line_33 |  | 29 | 32 | 0.030506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2775-18_0_4_line_34 |  | 29 | 33 | 0.053082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2775-18_0_4_line_35 |  | 30 | 34 | 0.0015432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2775-18_0_4_line_36 |  | 31 | 43 | 0.035733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2775-18_0_4_line_37 |  | 32 | 89 | 0.012912 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2775-18_0_4_line_38 |  | 33 | 66 | 0.018184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2775-18_0_4_line_39 |  | 34 | 87 | 0.022417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2775-18_0_4_line_40 |  | 35 | 36 | 0.004955 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2775-18_0_4_line_41 |  | 35 | 37 | 0.003805 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2775-18_0_4_line_42 |  | 36 | 38 | 0.015787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2775-18_0_4_line_43 |  | 37 | 39 | 0.019615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2775-18_0_4_line_44 |  | 38 | 40 | 0.0064857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2775-18_0_4_line_45 |  | 39 | 41 | 2.0356e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2775-18_0_4_line_46 |  | 40 | 42 | 0.060802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2775-18_0_4_line_47 |  | 42 | 46 | 0.14949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2775-18_0_4_line_48 |  | 43 | 44 | 0.018182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2775-18_0_4_line_49 |  | 44 | 45 | 0.0052812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2775-18_0_4_line_50 |  | 45 | 73 | 0.0048973 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_2775-18_0_4_line_51 |  | 46 | 47 | 0.022676 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2775-18_0_4_line_52 |  | 46 | 48 | 0.024098 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2775-18_0_4_line_53 |  | 47 | 49 | 0.017752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2775-18_0_4_line_54 |  | 49 | 60 | 0.0017353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2775-18_0_4_line_55 |  | 50 | 51 | 0.149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_2775-18_0_4_line_56 |  | 50 | 52 | 0.021542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2775-18_0_4_line_57 |  | 51 | 53 | 0.025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_2775-18_0_4_line_58 |  | 51 | 54 | 0.00517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_2775-18_0_4_line_59 |  | 53 | 88 | 0.0042253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_2775-18_0_4_line_60 |  | 53 | 89 | 0.0041933 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_2775-18_0_4_line_61 |  | 55 | 56 | 0.00054147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_2775-18_0_4_line_62 |  | 55 | 57 | 0.0066356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_2775-18_0_4_line_63 |  | 57 | 88 | 0.0073164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_2775-18_0_4_line_64 |  | 58 | 59 | 0.0041033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_2775-18_0_4_line_65 |  | 59 | 60 | 0.024015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_2775-18_0_4_line_66 |  | 60 | 90 | 0.010587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_2775-18_0_4_line_67 |  | 61 | 62 | 0.0074065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_2775-18_0_4_line_68 |  | 61 | 63 | 0.022782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_2775-18_0_4_line_69 |  | 62 | 64 | 0.010016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_2775-18_0_4_line_70 |  | 63 | 65 | 0.031744 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_2775-18_0_4_line_71 |  | 64 | 67 | 0.010142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_2775-18_0_4_line_72 |  | 65 | 68 | 0.0049233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_2775-18_0_4_line_73 |  | 66 | 69 | 0.0089223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_2775-18_0_4_line_74 |  | 67 | 70 | 0.0032752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_2775-18_0_4_line_75 |  | 68 | 71 | 0.0026818 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_2775-18_0_4_line_76 |  | 68 | 72 | 0.015074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_2775-18_0_4_line_77 |  | 70 | 82 | 0.0021421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_2775-18_0_4_line_78 |  | 71 | 93 | 0.0073785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_2775-18_0_4_line_79 |  | 72 | 91 | 0.010229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_2775-18_0_4_line_80 |  | 73 | 74 | 0.0059241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_2775-18_0_4_line_81 |  | 74 | 75 | 0.0053561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_2775-18_0_4_line_82 |  | 75 | 76 | 0.014856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_2775-18_0_4_line_83 |  | 76 | 77 | 0.0031058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_2775-18_0_4_line_84 |  | 77 | 78 | 0.0022481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_2775-18_0_4_line_85 |  | 78 | 79 | 0.010523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_2775-18_0_4_line_86 |  | 79 | 80 | 0.0053561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_2775-18_0_4_line_87 |  | 80 | 81 | 0.0029392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_2775-18_0_4_line_88 |  | 81 | 86 | 0.0065095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_2775-18_0_4_line_89 |  | 82 | 83 | 0.0043673 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_2775-18_0_4_line_90 |  | 83 | 84 | 0.0062007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_2775-18_0_4_line_91 |  | 84 | 85 | 0.0053567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_2775-18_0_4_line_92 |  | 85 | 86 | 0.0053982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_2775-18_0_4_line_93 |  | 90 | 92 | 0.0052217 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_2775-18_0_4_line_94 |  | 91 | 92 | 0.0017065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_2775-18_0_4_line_95 |  | 93 | 94 | 0.0076672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_2775-18_0_4_line_96 |  | 94 | 95 | 0.0033337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_2775-18_0_4_line_97 |  | 96 | 98 | 0.0078672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_2775-18_0_4_line_98 |  | 97 | 99 | 0.047814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_2775-18_0_4_line_99 |  | 97 | 100 | 0.018567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_2775-18_0_4_line_100 |  | 98 | 101 | 0.0088843 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_2775-18_0_4_line_101 |  | 99 | 102 | 4.607e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_2775-18_0_4_line_102 |  | 100 | 103 | 0.0079379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_2775-18_0_4_line_103 |  | 101 | 104 | 0.0082855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_2775-18_0_4_line_104 |  | 102 | 115 | 0.01936 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_2775-18_0_4_line_105 |  | 105 | 106 | 0.012138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_2775-18_0_4_line_106 |  | 105 | 107 | 0.022203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_2775-18_0_4_line_107 |  | 106 | 108 | 0.0077194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_2775-18_0_4_line_108 |  | 107 | 109 | 0.027257 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_2775-18_0_4_line_109 |  | 108 | 110 | 0.014136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
110 | LV_2775-18_0_4_line_110 |  | 109 | 111 | 0.047697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
111 | LV_2775-18_0_4_line_111 |  | 110 | 112 | 0.0053187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
112 | LV_2775-18_0_4_line_112 |  | 111 | 113 | 0.0068212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
113 | LV_2775-18_0_4_line_113 |  | 112 | 115 | 0.021764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
114 | LV_2775-18_0_4_line_114 |  | 113 | 116 | 4.0999e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
115 | LV_2775-18_0_4_line_115 |  | 114 | 115 | 0.003166 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2775-18_0_4_trafo_14 | 0.63 MVA 20/0.4 kV | 117 | 25 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2608428.9384 | 1260980.4413 | 2608413.046 | 1260979.6038
1 | 2608391.7196 | 1260978.48 | 2608413.046 | 1260979.6038
2 | 2608391.7196 | 1260978.48 | 2608393.0284 | 1260958.6795 | 2608390.205 | 1260951.8265 | 2608391.0235 | 1260944.5818
3 | 2608391.7196 | 1260978.48 | 2608391.198 | 1260985.0282 | 2608389.7548 | 1260998.6243
4 | 2608388.6175 | 1260934.1011 | 2608388.6175 | 1260934.1011 | 2608391.4334 | 1260940.9541 | 2608391.0235 | 1260944.5818
5 | 2608394.8418 | 1261030.0305 | 2608395.8126 | 1261014.8438 | 2608396.1216 | 1260998.7333 | 2608389.7548 | 1260998.6243
6 | 2608389.7548 | 1260998.6243 | 2608369.5738 | 1260997.4627
7 | 2608392.1103 | 1260915.0597 | 2608388.6175 | 1260934.1011
8 | 2608363.0554 | 1261028.0178 | 2608394.8418 | 1261030.0305
9 | 2608394.8418 | 1261030.0305 | 2608406.9847 | 1261032.2269 | 2608412.9605 | 1261032.4218
10 | 2608448.1557 | 1261033.5698 | 2608439.6672 | 1261033.2929
11 | 2608436.9081 | 1261033.2029 | 2608439.6672 | 1261033.2929
12 | 2608428.829 | 1260797.1426 | 2608434.7635 | 1260799.3858
13 | 2608434.7635 | 1260799.3858 | 2608441.6389 | 1260791.657
14 | 2608441.6389 | 1260791.657 | 2608411.3271 | 1260774.3135 | 2608405.2389 | 1260771.8094
15 | 2608415.5697 | 1260859.4884 | 2608411.6486 | 1260875.6003
16 | 2608415.5697 | 1260859.4884 | 2608398.5597 | 1260849.8558
17 | 2608401.723 | 1260916.3853 | 2608411.6486 | 1260875.6003
18 | 2608398.5597 | 1260849.8558 | 2608378.6937 | 1260838.606
19 | 2608383.2525 | 1260762.7661 | 2608405.2389 | 1260771.8094
20 | 2608428.1705 | 1260920.1951 | 2608425.824 | 1260919.8571
21 | 2608401.723 | 1260916.3853 | 2608425.824 | 1260919.8571
22 | 2608401.723 | 1260916.3853 | 2608392.1103 | 1260915.0597
23 | 2608392.1103 | 1260915.0597 | 2608385.9901 | 1260914.2196
24 | 2608359.738 | 1260910.6159 | 2608385.9901 | 1260914.2196
25 | 2608378.6937 | 1260838.606 | 2608368.8221 | 1260833.0158 | 2608354.8958 | 1260826.7713
26 | 2608383.2525 | 1260762.7661 | 2608380.3805 | 1260752.8443 | 2608380.9416 | 1260749.4515
27 | 2608373.8492 | 1260762.4194 | 2608382.9889 | 1260762.6768 | 2608383.2525 | 1260762.7661
28 | 2608352.748 | 1260909.6564 | 2608359.738 | 1260910.6159
29 | 2608352.748 | 1260909.6564 | 2608346.397 | 1260945.3632
30 | 2608352.748 | 1260909.6564 | 2608329.5814 | 1260906.306
31 | 2608293.2437 | 1260901.2747 | 2608311.5252 | 1260903.6947 | 2608329.5814 | 1260906.306
32 | 2608293.2437 | 1260901.2747 | 2608271.8837 | 1260898.4471 | 2608264.8316 | 1260897.9593 | 2608263.9396 | 1260897.8983
33 | 2608363.0554 | 1261028.0178 | 2608365.2882 | 1261058.4416
34 | 2608309.9327 | 1261024.4856 | 2608332.0527 | 1261025.9842 | 2608363.0554 | 1261028.0178
35 | 2608412.9605 | 1261032.4218 | 2608414.5029 | 1261032.4721
36 | 2608228.2744 | 1260896.3298 | 2608236.955 | 1260896.0527 | 2608263.9396 | 1260897.8983
37 | 2608365.2882 | 1261058.4416 | 2608352.4046 | 1261059.2964
38 | 2608309.9327 | 1261024.4856 | 2608310.8339 | 1261042.6475
39 | 2608436.9081 | 1261033.2029 | 2608414.5029 | 1261032.4721
40 | 2608175.7976 | 1261068.431 | 2608175.4816 | 1261063.4861
41 | 2608175.2391 | 1261059.6889 | 2608175.4816 | 1261063.4861
42 | 2608175.7976 | 1261068.431 | 2608176.8041 | 1261084.1857
43 | 2608173.9884 | 1261040.1134 | 2608175.2391 | 1261059.6889
44 | 2608177.2176 | 1261090.6582 | 2608176.8041 | 1261084.1857
45 | 2608173.9871 | 1261040.093 | 2608173.9884 | 1261040.1134
46 | 2608178.3225 | 1261150.9674 | 2608179.8339 | 1261147.6561 | 2608180.5636 | 1261143.0317 | 2608177.2176 | 1261090.6582
47 | 2608178.3225 | 1261150.9674 | 2608182.667 | 1261153.0859 | 2608185.0543 | 1261181.4307 | 2608191.092 | 1261179.6044 | 2608246.2395 | 1261167.272 | 2608242.674 | 1261113.9975
48 | 2608228.2744 | 1260896.3298 | 2608229.3759 | 1260914.4786
49 | 2608229.6959 | 1260919.7501 | 2608229.3759 | 1260914.4786
50 | 2608229.9926 | 1260924.6384 | 2608229.6959 | 1260919.7501
51 | 2608242.674 | 1261113.9975 | 2608265.363 | 1261112.4279
52 | 2608242.674 | 1261113.9975 | 2608241.0628 | 1261089.9531
53 | 2608265.363 | 1261112.4279 | 2608264.3704 | 1261094.7033
54 | 2608266.1035 | 1261094.6168 | 2608264.3704 | 1261094.7033
55 | 2608349.9034 | 1261084.5156 | 2608332.6248 | 1261085.6255 | 2608334.4771 | 1261113.4136 | 2608337.0414 | 1261149.3194 | 2608354.5117 | 1261145.7191 | 2608355.499 | 1261145.5204 | 2608403.4784 | 1261135.6033
56 | 2608403.4784 | 1261135.6033 | 2608424.5763 | 1261131.2513
57 | 2608349.9034 | 1261084.5156 | 2608348.2204 | 1261059.574
58 | 2608349.9034 | 1261084.5156 | 2608355.0651 | 1261084.2226
59 | 2608348.2204 | 1261059.574 | 2608344.0043 | 1261059.8524
60 | 2608348.2204 | 1261059.574 | 2608352.4046 | 1261059.2964
61 | 2608329.5424 | 1261060.8075 | 2608330.0827 | 1261060.7717
62 | 2608330.0827 | 1261060.7717 | 2608336.7039 | 1261060.3345
63 | 2608336.7039 | 1261060.3345 | 2608344.0043 | 1261059.8524
64 | 2608290.156 | 1261093.3382 | 2608290.4751 | 1261097.4291
65 | 2608290.156 | 1261093.3382 | 2608266.1035 | 1261094.6168
66 | 2608266.1035 | 1261094.6168 | 2608266.1071 | 1261092.0817 | 2608268.9369 | 1261088.9724 | 2608268.7792 | 1261085.1275
67 | 2608242.494 | 1261026.2043 | 2608239.2675 | 1261032.871
68 | 2608238.754 | 1261055.4968 | 2608237.8091 | 1261041.3303 | 2608239.2675 | 1261032.871
69 | 2608242.494 | 1261026.2043 | 2608237.2671 | 1261019.1923 | 2608236.9465 | 1261017.9631
70 | 2608238.754 | 1261055.4968 | 2608243.4937 | 1261055.1809 | 2608243.3461 | 1261052.9681 | 2608253.4513 | 1261052.1815 | 2608259.255 | 1261056.2145 | 2608266.8173 | 1261055.8073
71 | 2608236.9465 | 1261017.9631 | 2608235.2659 | 1261011.5177 | 2608235.055 | 1261008.043
72 | 2608271.7334 | 1261055.5425 | 2608266.8173 | 1261055.8073
73 | 2608311.2761 | 1261051.5589 | 2608310.8339 | 1261042.6475
74 | 2608234.8565 | 1261004.7737 | 2608235.055 | 1261008.043
75 | 2608271.7334 | 1261055.5425 | 2608274.4086 | 1261055.3537
76 | 2608271.7334 | 1261055.5425 | 2608272.5723 | 1261070.5933
77 | 2608234.8565 | 1261004.7737 | 2608234.7268 | 1261002.6355
78 | 2608274.4086 | 1261055.3537 | 2608281.7687 | 1261054.8341
79 | 2608270.2682 | 1261079.8014 | 2608270.1658 | 1261077.5886 | 2608272.7994 | 1261074.6681 | 2608272.5723 | 1261070.5933
80 | 2608229.9926 | 1260924.6384 | 2608230.3515 | 1260930.5516
81 | 2608230.676 | 1260935.8979 | 2608230.3515 | 1260930.5516
82 | 2608230.676 | 1260935.8979 | 2608231.576 | 1260950.7261
83 | 2608231.7642 | 1260953.8261 | 2608231.576 | 1260950.7261
84 | 2608231.7642 | 1260953.8261 | 2608231.9004 | 1260956.0701
85 | 2608231.9004 | 1260956.0701 | 2608232.538 | 1260966.5742
86 | 2608232.8625 | 1260971.9204 | 2608232.538 | 1260966.5742
87 | 2608233.0405 | 1260974.8542 | 2608232.8625 | 1260971.9204
88 | 2608233.4349 | 1260981.3517 | 2608233.0405 | 1260974.8542
89 | 2608234.4622 | 1260998.2762 | 2608234.7268 | 1261002.6355
90 | 2608234.4622 | 1260998.2762 | 2608234.0865 | 1260992.0869
91 | 2608234.0865 | 1260992.0869 | 2608233.762 | 1260986.7401
92 | 2608233.4349 | 1260981.3517 | 2608233.762 | 1260986.7401
93 | 2608268.7792 | 1261085.1275 | 2608268.5652 | 1261079.9102
94 | 2608270.2682 | 1261079.8014 | 2608268.5652 | 1261079.9102
95 | 2608281.7687 | 1261054.8341 | 2608289.4169 | 1261054.2943
96 | 2608292.7424 | 1261054.0595 | 2608289.4169 | 1261054.2943
97 | 2608380.9416 | 1260749.4515 | 2608382.2252 | 1260741.6898
98 | 2608373.8492 | 1260762.4194 | 2608374.0517 | 1260768.4682 | 2608372.877 | 1260773.292 | 2608369.6325 | 1260781.7488 | 2608359.2621 | 1260807.4768
99 | 2608373.8492 | 1260762.4194 | 2608362.0119 | 1260762.1915 | 2608355.342 | 1260761.3151
100 | 2608386.7656 | 1260734.7743 | 2608382.8733 | 1260737.7709 | 2608382.2252 | 1260741.6898
101 | 2608359.2449 | 1260807.5195 | 2608359.2621 | 1260807.4768
102 | 2608347.4718 | 1260760.2809 | 2608355.342 | 1260761.3151
103 | 2608386.7656 | 1260734.7743 | 2608387.4665 | 1260726.5185
104 | 2608352.007 | 1260825.476 | 2608359.2449 | 1260807.5195
105 | 2608294.9287 | 1260804.1374 | 2608294.9287 | 1260804.1374 | 2608306.5737 | 1260807.5626
106 | 2608294.9287 | 1260804.1374 | 2608278.769 | 1260801.969 | 2608272.9254 | 1260801.1657
107 | 2608313.9794 | 1260809.741 | 2608306.5737 | 1260807.5626
108 | 2608245.9224 | 1260797.4538 | 2608272.9254 | 1260801.1657
109 | 2608313.9794 | 1260809.741 | 2608322.5785 | 1260812.2703 | 2608327.298 | 1260814.3881
110 | 2608245.9224 | 1260797.4538 | 2608242.624 | 1260845.0371 | 2608242.624 | 1260845.0371
111 | 2608332.1505 | 1260816.5656 | 2608327.298 | 1260814.3881
112 | 2608235.8112 | 1260844.6976 | 2608242.624 | 1260845.0371
113 | 2608352.007 | 1260825.476 | 2608332.1505 | 1260816.5656
114 | 2608235.7703 | 1260844.6956 | 2608235.8112 | 1260844.6976
115 | 2608352.007 | 1260825.476 | 2608354.8958 | 1260826.7713

## bus_geodata
| x | y | coords
0 | 2608428.9384 | 1260980.4413
1 | 2608413.046 | 1260979.6038
2 | 2608391.7196 | 1260978.48
3 | 2608391.0235 | 1260944.5818
4 | 2608389.7548 | 1260998.6243
5 | 2608388.6175 | 1260934.1011
6 | 2608394.8418 | 1261030.0305
7 | 2608369.5738 | 1260997.4627
8 | 2608448.1557 | 1261033.5698
9 | 2608439.6672 | 1261033.2929
10 | 2608434.7635 | 1260799.3858
11 | 2608428.829 | 1260797.1426
12 | 2608441.6389 | 1260791.657
13 | 2608415.5697 | 1260859.4884
14 | 2608411.6486 | 1260875.6003
15 | 2608398.5597 | 1260849.8558
16 | 2608405.2389 | 1260771.8094
17 | 2608428.1705 | 1260920.1951
18 | 2608425.824 | 1260919.8571
19 | 2608401.723 | 1260916.3853
20 | 2608392.1103 | 1260915.0597
21 | 2608385.9901 | 1260914.2196
22 | 2608378.6937 | 1260838.606
23 | 2608383.2525 | 1260762.7661
24 | 2608359.738 | 1260910.6159
25 | 2608346.397 | 1260945.3632
26 | 2608352.748 | 1260909.6564
27 | 2608329.5814 | 1260906.306
28 | 2608293.2437 | 1260901.2747
29 | 2608363.0554 | 1261028.0178
30 | 2608412.9605 | 1261032.4218
31 | 2608263.9396 | 1260897.8983
32 | 2608365.2882 | 1261058.4416
33 | 2608309.9327 | 1261024.4856
34 | 2608414.5029 | 1261032.4721
35 | 2608175.4816 | 1261063.4861
36 | 2608175.7976 | 1261068.431
37 | 2608175.2391 | 1261059.6889
38 | 2608176.8041 | 1261084.1857
39 | 2608173.9884 | 1261040.1134
40 | 2608177.2176 | 1261090.6582
41 | 2608173.9871 | 1261040.093
42 | 2608178.3225 | 1261150.9674
43 | 2608228.2744 | 1260896.3298
44 | 2608229.3759 | 1260914.4786
45 | 2608229.6959 | 1260919.7501
46 | 2608242.674 | 1261113.9975
47 | 2608265.363 | 1261112.4279
48 | 2608241.0628 | 1261089.9531
49 | 2608264.3704 | 1261094.7033
50 | 2608403.4784 | 1261135.6033
51 | 2608349.9034 | 1261084.5156
52 | 2608424.5763 | 1261131.2513
53 | 2608348.2204 | 1261059.574
54 | 2608355.0651 | 1261084.2226
55 | 2608330.0827 | 1261060.7717
56 | 2608329.5424 | 1261060.8075
57 | 2608336.7039 | 1261060.3345
58 | 2608290.4751 | 1261097.4291
59 | 2608290.156 | 1261093.3382
60 | 2608266.1035 | 1261094.6168
61 | 2608239.2675 | 1261032.871
62 | 2608242.494 | 1261026.2043
63 | 2608238.754 | 1261055.4968
64 | 2608236.9465 | 1261017.9631
65 | 2608266.8173 | 1261055.8073
66 | 2608310.8339 | 1261042.6475
67 | 2608235.055 | 1261008.043
68 | 2608271.7334 | 1261055.5425
69 | 2608311.2761 | 1261051.5589
70 | 2608234.8565 | 1261004.7737
71 | 2608274.4086 | 1261055.3537
72 | 2608272.5723 | 1261070.5933
73 | 2608229.9926 | 1260924.6384
74 | 2608230.3515 | 1260930.5516
75 | 2608230.676 | 1260935.8979
76 | 2608231.576 | 1260950.7261
77 | 2608231.7642 | 1260953.8261
78 | 2608231.9004 | 1260956.0701
79 | 2608232.538 | 1260966.5742
80 | 2608232.8625 | 1260971.9204
81 | 2608233.0405 | 1260974.8542
82 | 2608234.7268 | 1261002.6355
83 | 2608234.4622 | 1260998.2762
84 | 2608234.0865 | 1260992.0869
85 | 2608233.762 | 1260986.7401
86 | 2608233.4349 | 1260981.3517
87 | 2608436.9081 | 1261033.2029
88 | 2608344.0043 | 1261059.8524
89 | 2608352.4046 | 1261059.2964
90 | 2608268.7792 | 1261085.1275
91 | 2608270.2682 | 1261079.8014
92 | 2608268.5652 | 1261079.9102
93 | 2608281.7687 | 1261054.8341
94 | 2608289.4169 | 1261054.2943
95 | 2608292.7424 | 1261054.0595
96 | 2608380.9416 | 1260749.4515
97 | 2608373.8492 | 1260762.4194
98 | 2608382.2252 | 1260741.6898
99 | 2608359.2621 | 1260807.4768
100 | 2608355.342 | 1260761.3151
101 | 2608386.7656 | 1260734.7743
102 | 2608359.2449 | 1260807.5195
103 | 2608347.4718 | 1260760.2809
104 | 2608387.4665 | 1260726.5185
105 | 2608294.9287 | 1260804.1374
106 | 2608306.5737 | 1260807.5626
107 | 2608272.9254 | 1260801.1657
108 | 2608313.9794 | 1260809.741
109 | 2608245.9224 | 1260797.4538
110 | 2608327.298 | 1260814.3881
111 | 2608242.624 | 1260845.0371
112 | 2608332.1505 | 1260816.5656
113 | 2608235.8112 | 1260844.6976
114 | 2608354.8958 | 1260826.7713
115 | 2608352.007 | 1260825.476
116 | 2608235.7703 | 1260844.6956
117 | 2608352.748 | 1260909.6564

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1