## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2775-5_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2775-5_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2775-5_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2775-5_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2775-5_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2775-5_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_2775-5_0_4_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_2775-5_0_4_node_27 | 0.4 | n |  | TRUE
8 | bus_LV_2775-5_0_4_node_23 | 0.4 | n |  | TRUE
9 | bus_LV_2775-5_0_4_node_10 | 0.4 | n |  | TRUE
10 | bus_LV_2775-5_0_4_node_45 | 0.4 | n |  | TRUE
11 | bus_LV_2775-5_0_4_node_46 | 0.4 | n |  | TRUE
12 | bus_LV_2775-5_0_4_node_17 | 0.4 | n |  | TRUE
13 | bus_LV_2775-5_0_4_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_2775-5_0_4_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_2775-5_0_4_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_2775-5_0_4_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_2775-5_0_4_node_12 | 0.4 | n |  | TRUE
18 | bus_LV_2775-5_0_4_node_21 | 0.4 | n |  | TRUE
19 | bus_LV_2775-5_0_4_node_35 | 0.4 | n |  | TRUE
20 | bus_LV_2775-5_0_4_node_69 | 0.4 | n |  | TRUE
21 | bus_LV_2775-5_0_4_node_19 | 0.4 | n |  | TRUE
22 | bus_LV_2775-5_0_4_node_33 | 0.4 | n |  | TRUE
23 | bus_LV_2775-5_0_4_node_68 | 0.4 | n |  | TRUE
24 | bus_LV_2775-5_0_4_node_13 | 0.4 | n |  | TRUE
25 | bus_LV_2775-5_0_4_node_14 | 0.4 | n |  | TRUE
26 | bus_LV_2775-5_0_4_node_15 | 0.4 | n |  | TRUE
27 | bus_LV_2775-5_0_4_node_16 | 0.4 | n |  | TRUE
28 | bus_LV_2775-5_0_4_node_32 | 0.4 | n |  | TRUE
29 | bus_LV_2775-5_0_4_node_42 | 0.4 | n |  | TRUE
30 | bus_LV_2775-5_0_4_node_103 | 0.4 | n |  | TRUE
31 | bus_LV_2775-5_0_4_node_30 | 0.4 | n |  | TRUE
32 | bus_LV_2775-5_0_4_node_43 | 0.4 | n |  | TRUE
33 | bus_LV_2775-5_0_4_node_18 | 0.4 | n |  | TRUE
34 | bus_LV_2775-5_0_4_node_20 | 0.4 | n |  | TRUE
35 | bus_LV_2775-5_0_4_node_22 | 0.4 | n |  | TRUE
36 | bus_LV_2775-5_0_4_node_24 | 0.4 | n |  | TRUE
37 | bus_LV_2775-5_0_4_node_25 | 0.4 | n |  | TRUE
38 | bus_LV_2775-5_0_4_node_26 | 0.4 | n |  | TRUE
39 | bus_LV_2775-5_0_4_node_38 | 0.4 | n |  | TRUE
40 | bus_LV_2775-5_0_4_node_40 | 0.4 | n |  | TRUE
41 | bus_LV_2775-5_0_4_node_37 | 0.4 | n |  | TRUE
42 | bus_LV_2775-5_0_4_node_28 | 0.4 | n |  | TRUE
43 | bus_LV_2775-5_0_4_node_29 | 0.4 | n |  | TRUE
44 | bus_LV_2775-5_0_4_node_102 | 0.4 | n |  | TRUE
45 | bus_LV_2775-5_0_4_node_34 | 0.4 | n |  | TRUE
46 | bus_LV_2775-5_0_4_node_36 | 0.4 | n |  | TRUE
47 | bus_LV_2775-5_0_4_node_72 | 0.4 | n |  | TRUE
48 | bus_LV_2775-5_0_4_node_39 | 0.4 | n |  | TRUE
49 | bus_LV_2775-5_0_4_node_41 | 0.4 | n |  | TRUE
50 | bus_LV_2775-5_0_4_node_44 | 0.4 | n |  | TRUE
51 | bus_LV_2775-5_0_4_node_57 | 0.4 | n |  | TRUE
52 | bus_LV_2775-5_0_4_node_54 | 0.4 | n |  | TRUE
53 | bus_LV_2775-5_0_4_node_62 | 0.4 | n |  | TRUE
54 | bus_LV_2775-5_0_4_node_55 | 0.4 | n |  | TRUE
55 | bus_LV_2775-5_0_4_node_47 | 0.4 | n |  | TRUE
56 | bus_LV_2775-5_0_4_node_48 | 0.4 | n |  | TRUE
57 | bus_LV_2775-5_0_4_node_49 | 0.4 | n |  | TRUE
58 | bus_LV_2775-5_0_4_node_53 | 0.4 | n |  | TRUE
59 | bus_LV_2775-5_0_4_node_50 | 0.4 | n |  | TRUE
60 | bus_LV_2775-5_0_4_node_64 | 0.4 | n |  | TRUE
61 | bus_LV_2775-5_0_4_node_79 | 0.4 | n |  | TRUE
62 | bus_LV_2775-5_0_4_node_67 | 0.4 | n |  | TRUE
63 | bus_LV_2775-5_0_4_node_51 | 0.4 | n |  | TRUE
64 | bus_LV_2775-5_0_4_node_65 | 0.4 | n |  | TRUE
65 | bus_LV_2775-5_0_4_node_80 | 0.4 | n |  | TRUE
66 | bus_LV_2775-5_0_4_node_52 | 0.4 | n |  | TRUE
67 | bus_LV_2775-5_0_4_node_58 | 0.4 | n |  | TRUE
68 | bus_LV_2775-5_0_4_node_56 | 0.4 | n |  | TRUE
69 | bus_LV_2775-5_0_4_node_66 | 0.4 | n |  | TRUE
70 | bus_LV_2775-5_0_4_node_60 | 0.4 | n |  | TRUE
71 | bus_LV_2775-5_0_4_node_59 | 0.4 | n |  | TRUE
72 | bus_LV_2775-5_0_4_node_61 | 0.4 | n |  | TRUE
73 | bus_LV_2775-5_0_4_node_93 | 0.4 | n |  | TRUE
74 | bus_LV_2775-5_0_4_node_94 | 0.4 | n |  | TRUE
75 | bus_LV_2775-5_0_4_node_70 | 0.4 | n |  | TRUE
76 | bus_LV_2775-5_0_4_node_71 | 0.4 | n |  | TRUE
77 | bus_LV_2775-5_0_4_node_73 | 0.4 | n |  | TRUE
78 | bus_LV_2775-5_0_4_node_81 | 0.4 | n |  | TRUE
79 | bus_LV_2775-5_0_4_node_74 | 0.4 | n |  | TRUE
80 | bus_LV_2775-5_0_4_node_75 | 0.4 | n |  | TRUE
81 | bus_LV_2775-5_0_4_node_76 | 0.4 | n |  | TRUE
82 | bus_LV_2775-5_0_4_node_77 | 0.4 | n |  | TRUE
83 | bus_LV_2775-5_0_4_node_78 | 0.4 | n |  | TRUE
84 | bus_LV_2775-5_0_4_node_82 | 0.4 | n |  | TRUE
85 | bus_LV_2775-5_0_4_node_84 | 0.4 | n |  | TRUE
86 | bus_LV_2775-5_0_4_node_85 | 0.4 | n |  | TRUE
87 | bus_LV_2775-5_0_4_node_86 | 0.4 | n |  | TRUE
88 | bus_LV_2775-5_0_4_node_87 | 0.4 | n |  | TRUE
89 | bus_LV_2775-5_0_4_node_88 | 0.4 | n |  | TRUE
90 | bus_LV_2775-5_0_4_node_90 | 0.4 | n |  | TRUE
91 | bus_LV_2775-5_0_4_node_123 | 0.4 | n |  | TRUE
92 | bus_LV_2775-5_0_4_node_92 | 0.4 | n |  | TRUE
93 | bus_LV_2775-5_0_4_node_89 | 0.4 | n |  | TRUE
94 | bus_LV_2775-5_0_4_node_112 | 0.4 | n |  | TRUE
95 | bus_LV_2775-5_0_4_node_121 | 0.4 | n |  | TRUE
96 | bus_LV_2775-5_0_4_node_122 | 0.4 | n |  | TRUE
97 | bus_LV_2775-5_0_4_node_95 | 0.4 | n |  | TRUE
98 | bus_LV_2775-5_0_4_node_105 | 0.4 | n |  | TRUE
99 | bus_LV_2775-5_0_4_node_104 | 0.4 | n |  | TRUE
100 | bus_LV_2775-5_0_4_node_96 | 0.4 | n |  | TRUE
101 | bus_LV_2775-5_0_4_node_97 | 0.4 | n |  | TRUE
102 | bus_LV_2775-5_0_4_node_98 | 0.4 | n |  | TRUE
103 | bus_LV_2775-5_0_4_node_99 | 0.4 | n |  | TRUE
104 | bus_LV_2775-5_0_4_node_100 | 0.4 | n |  | TRUE
105 | bus_LV_2775-5_0_4_node_101 | 0.4 | n |  | TRUE
106 | bus_LV_2775-5_0_4_node_114 | 0.4 | n |  | TRUE
107 | bus_LV_2775-5_0_4_node_113 | 0.4 | n |  | TRUE
108 | bus_LV_2775-5_0_4_node_115 | 0.4 | n |  | TRUE
109 | bus_LV_2775-5_0_4_node_110 | 0.4 | n |  | TRUE
110 | bus_LV_2775-5_0_4_node_106 | 0.4 | n |  | TRUE
111 | bus_LV_2775-5_0_4_node_107 | 0.4 | n |  | TRUE
112 | bus_LV_2775-5_0_4_node_108 | 0.4 | n |  | TRUE
113 | bus_LV_2775-5_0_4_node_109 | 0.4 | n |  | TRUE
114 | bus_LV_2775-5_0_4_node_111 | 0.4 | n |  | TRUE
115 | bus_LV_2775-5_0_4_node_116 | 0.4 | n |  | TRUE
116 | bus_LV_2775-5_0_4_node_118 | 0.4 | n |  | TRUE
117 | bus_LV_2775-5_0_4_node_117 | 0.4 | n |  | TRUE
118 | bus_LV_2775-5_0_4_node_119 | 0.4 | n |  | TRUE
119 | bus_LV_2775-5_0_4_node_120 | 0.4 | n |  | TRUE
120 | bus_MV_399_0_node_92 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2775-5_0_4_load_0 | 0 | 0.0012897 | 0.00032323 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2775-5_0_4_load_1 | 1 | 0.0014942 | 0.00037447 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2775-5_0_4_load_3 | 3 | 0.001249 | 0.00031304 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2775-5_0_4_load_4 | 4 | 0.0017929 | 0.00044935 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2775-5_0_4_load_5 | 5 | 0.001217 | 0.000305 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2775-5_0_4_load_6 | 6 | 0.0019327 | 0.00048439 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2775-5_0_4_load_27 | 7 | 0.0011461 | 0.00028723 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2775-5_0_4_load_23 | 8 | 0.002552 | 0.00063958 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2775-5_0_4_load_10 | 9 | 0.0011453 | 0.00028704 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2775-5_0_4_load_45 | 10 | 0.0037869 | 0.0009491 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2775-5_0_4_load_17 | 12 | 0.0029693 | 0.00074416 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2775-5_0_4_load_7 | 13 | 0.0011044 | 0.00027678 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2775-5_0_4_load_8 | 14 | 0.002238 | 0.00056089 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2775-5_0_4_load_12 | 17 | 0.0015154 | 0.0003798 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2775-5_0_4_load_21 | 18 | 0.0010689 | 0.00026789 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2775-5_0_4_load_35 | 19 | 0.0021201 | 0.00053135 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2775-5_0_4_load_69 | 20 | 0.0029942 | 0.00075041 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2775-5_0_4_load_19 | 21 | 0.0010675 | 0.00026753 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2775-5_0_4_load_33 | 22 | 0.001102 | 0.00027619 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2775-5_0_4_load_68 | 23 | 0.0026275 | 0.00065851 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2775-5_0_4_load_13 | 24 | 0.0037461 | 0.00093885 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2775-5_0_4_load_14 | 25 | 0.0026354 | 0.00066049 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2775-5_0_4_load_15 | 26 | 0.0017497 | 0.00043853 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2775-5_0_4_load_42 | 29 | 0.0045639 | 0.0011438 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2775-5_0_4_load_103 | 30 | 0.0062334 | 0.0015622 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2775-5_0_4_load_30 | 31 | 0.0010087 | 0.00025279 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2775-5_0_4_load_43 | 32 | 0.0089554 | 0.0022444 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2775-5_0_4_load_18 | 33 | 0.00098441 | 0.00024672 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2775-5_0_4_load_20 | 34 | 0.0014074 | 0.00035274 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2775-5_0_4_load_22 | 35 | 0.0013718 | 0.0003438 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2775-5_0_4_load_24 | 36 | 0.0028527 | 0.00071495 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2775-5_0_4_load_25 | 37 | 0.0013719 | 0.00034382 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2775-5_0_4_load_26 | 38 | 0.0013725 | 0.00034399 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2775-5_0_4_load_40 | 40 | 0.0082918 | 0.0020781 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2775-5_0_4_load_37 | 41 | 0.0070608 | 0.0017696 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2775-5_0_4_load_28 | 42 | 0.0015823 | 0.00039657 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2775-5_0_4_load_29 | 43 | 0.0065038 | 0.00163 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2775-5_0_4_load_102 | 44 | 0.0080837 | 0.002026 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2775-5_0_4_load_34 | 45 | 0.0034503 | 0.00086473 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2775-5_0_4_load_72 | 47 | 0.0028613 | 0.00071712 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2775-5_0_4_load_41 | 49 | 0.0029973 | 0.0007512 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2775-5_0_4_load_57 | 51 | 0.033196 | 0.0083196 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2775-5_0_4_load_54 | 52 | 0.0039154 | 0.00098128 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2775-5_0_4_load_62 | 53 | 0.017578 | 0.0044055 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2775-5_0_4_load_55 | 54 | 0.021868 | 0.0054808 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2775-5_0_4_load_48 | 56 | 0.0029497 | 0.00073926 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2775-5_0_4_load_49 | 57 | 0.0015945 | 0.00039963 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2775-5_0_4_load_53 | 58 | 0.0020524 | 0.00051437 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2775-5_0_4_load_50 | 59 | 0.0026927 | 0.00067487 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2775-5_0_4_load_64 | 60 | 0.0067634 | 0.0016951 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2775-5_0_4_load_79 | 61 | 0.0044301 | 0.0011103 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2775-5_0_4_load_67 | 62 | 0.0020537 | 0.0005147 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2775-5_0_4_load_51 | 63 | 0.0016602 | 0.00041608 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2775-5_0_4_load_65 | 64 | 0.0024376 | 0.00061092 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2775-5_0_4_load_80 | 65 | 0.0024576 | 0.00061594 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2775-5_0_4_load_58 | 67 | 0.0084607 | 0.0021205 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_2775-5_0_4_load_56 | 68 | 0.0028423 | 0.00071236 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_2775-5_0_4_load_66 | 69 | 0.0047753 | 0.0011968 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_2775-5_0_4_load_59 | 71 | 0.040147 | 0.010062 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_2775-5_0_4_load_61 | 72 | 0.0026888 | 0.00067388 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_2775-5_0_4_load_93 | 73 | 0.018506 | 0.0046382 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_2775-5_0_4_load_94 | 74 | 0.0049512 | 0.0012409 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_2775-5_0_4_load_70 | 75 | 0.004662 | 0.0011684 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_2775-5_0_4_load_73 | 77 | 0.0016025 | 0.00040161 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_2775-5_0_4_load_81 | 78 | 0.0018257 | 0.00045756 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_2775-5_0_4_load_74 | 79 | 0.0026545 | 0.00066529 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_2775-5_0_4_load_75 | 80 | 0.0052737 | 0.0013217 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_2775-5_0_4_load_76 | 81 | 0.0040157 | 0.0010064 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_2775-5_0_4_load_78 | 83 | 0.0015762 | 0.00039502 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_2775-5_0_4_load_82 | 84 | 0.001168 | 0.00029272 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_2775-5_0_4_load_84 | 85 | 0.0013978 | 0.00035032 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_2775-5_0_4_load_85 | 86 | 0.0034112 | 0.00085494 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_2775-5_0_4_load_87 | 88 | 0.0017883 | 0.00044819 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_2775-5_0_4_load_88 | 89 | 0.0020758 | 0.00052023 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_2775-5_0_4_load_123 | 91 | 0.001381 | 0.0003461 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_2775-5_0_4_load_92 | 92 | 0.0011111 | 0.00027848 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_2775-5_0_4_load_89 | 93 | 0.00097933 | 0.00024544 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_2775-5_0_4_load_112 | 94 | 0.016187 | 0.0040569 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_2775-5_0_4_load_121 | 95 | 0.0010127 | 0.00025381 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_2775-5_0_4_load_122 | 96 | 0.0017336 | 0.00043449 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_2775-5_0_4_load_95 | 97 | 0.0083995 | 0.0021051 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_2775-5_0_4_load_105 | 98 | 0.00057443 | 0.00014396 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_2775-5_0_4_load_104 | 99 | 0.0033791 | 0.00084689 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_2775-5_0_4_load_96 | 100 | 0.0079904 | 0.0020026 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_2775-5_0_4_load_97 | 101 | 0.0021107 | 0.00052899 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_2775-5_0_4_load_99 | 103 | 0.0021472 | 0.00053814 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_2775-5_0_4_load_100 | 104 | 0.0083999 | 0.0021052 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_2775-5_0_4_load_114 | 106 | 0.022162 | 0.0055543 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_2775-5_0_4_load_113 | 107 | 0.0021694 | 0.0005437 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_2775-5_0_4_load_115 | 108 | 0.0023634 | 0.00059232 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_2775-5_0_4_load_110 | 109 | 0.0022109 | 0.00055411 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_2775-5_0_4_load_106 | 110 | 0.0021287 | 0.0005335 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_2775-5_0_4_load_107 | 111 | 0.002632 | 0.00065964 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_2775-5_0_4_load_108 | 112 | 0.0021287 | 0.0005335 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_2775-5_0_4_load_109 | 113 | 0.0026295 | 0.00065901 | 0 | 0 |  | 1 | TRUE | wye
95 | LV_2775-5_0_4_load_116 | 115 | 0.0023848 | 0.00059768 | 0 | 0 |  | 1 | TRUE | wye
96 | LV_2775-5_0_4_load_118 | 116 | 0.004223 | 0.0010584 | 0 | 0 |  | 1 | TRUE | wye
97 | LV_2775-5_0_4_load_117 | 117 | 0.0023649 | 0.00059271 | 0 | 0 |  | 1 | TRUE | wye
98 | LV_2775-5_0_4_load_119 | 118 | 0.0023496 | 0.00058886 | 0 | 0 |  | 1 | TRUE | wye
99 | LV_2775-5_0_4_load_120 | 119 | 0.0090973 | 0.00228 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 29 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2775-5_0_4_line_0 |  | 0 | 1 | 0.00047704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2775-5_0_4_line_1 |  | 0 | 2 | 0.015951 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2775-5_0_4_line_2 |  | 1 | 3 | 0.0050373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2775-5_0_4_line_3 |  | 2 | 4 | 0.0082461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2775-5_0_4_line_4 |  | 2 | 5 | 0.015857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2775-5_0_4_line_5 |  | 3 | 6 | 0.023813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2775-5_0_4_line_6 |  | 4 | 7 | 0.023278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2775-5_0_4_line_7 |  | 6 | 8 | 0.019678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2775-5_0_4_line_8 |  | 7 | 9 | 0.0065936 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2775-5_0_4_line_9 |  | 8 | 12 | 0.0042388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2775-5_0_4_line_10 |  | 9 | 14 | 0.00074494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2775-5_0_4_line_11 |  | 10 | 11 | 0.0084758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2775-5_0_4_line_12 |  | 11 | 55 | 0.026586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2775-5_0_4_line_13 |  | 11 | 56 | 0.017476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2775-5_0_4_line_14 |  | 11 | 57 | 0.017748 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2775-5_0_4_line_15 |  | 12 | 26 | 0.020526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2775-5_0_4_line_16 |  | 13 | 14 | 0.013998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2775-5_0_4_line_17 |  | 13 | 15 | 0.0010232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2775-5_0_4_line_18 |  | 15 | 16 | 0.020391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2775-5_0_4_line_19 |  | 15 | 17 | 0.014326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2775-5_0_4_line_20 |  | 16 | 18 | 0.011746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2775-5_0_4_line_21 |  | 16 | 19 | 0.0096244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2775-5_0_4_line_22 |  | 17 | 20 | 0.018913 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2775-5_0_4_line_23 |  | 18 | 21 | 0.0078225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2775-5_0_4_line_24 |  | 19 | 22 | 0.0015751 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2775-5_0_4_line_25 |  | 20 | 23 | 0.014878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2775-5_0_4_line_26 |  | 21 | 33 | 0.028606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2775-5_0_4_line_27 |  | 22 | 45 | 0.024779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2775-5_0_4_line_28 |  | 23 | 75 | 0.00025104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2775-5_0_4_line_29 |  | 24 | 25 | 0.020783 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2775-5_0_4_line_30 |  | 24 | 26 | 0.006177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2775-5_0_4_line_31 |  | 25 | 27 | 0.013456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2775-5_0_4_line_32 |  | 27 | 28 | 0.014408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
33 | LV_2775-5_0_4_line_33 |  | 27 | 29 | 0.023038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
34 | LV_2775-5_0_4_line_34 |  | 28 | 30 | 0.022754 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
35 | LV_2775-5_0_4_line_35 |  | 28 | 31 | 0.0095337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2775-5_0_4_line_36 |  | 29 | 32 | 0.0063768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
37 | LV_2775-5_0_4_line_37 |  | 30 | 44 | 0.0066456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
38 | LV_2775-5_0_4_line_38 |  | 31 | 42 | 0.029347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2775-5_0_4_line_39 |  | 32 | 50 | 0.021901 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
40 | LV_2775-5_0_4_line_40 |  | 33 | 34 | 0.0021497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2775-5_0_4_line_41 |  | 34 | 35 | 0.0052803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2775-5_0_4_line_42 |  | 35 | 36 | 0.0095809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2775-5_0_4_line_43 |  | 36 | 37 | 0.00022344 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2775-5_0_4_line_44 |  | 37 | 38 | 0.0098034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2775-5_0_4_line_45 |  | 38 | 39 | 0.012003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2775-5_0_4_line_46 |  | 39 | 40 | 0.023286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2775-5_0_4_line_47 |  | 39 | 41 | 0.0052164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2775-5_0_4_line_48 |  | 41 | 48 | 0.024695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2775-5_0_4_line_49 |  | 42 | 43 | 0.011252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2775-5_0_4_line_50 |  | 44 | 103 | 0.021291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
51 | LV_2775-5_0_4_line_51 |  | 45 | 46 | 0.013737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2775-5_0_4_line_52 |  | 46 | 47 | 0.021793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2775-5_0_4_line_53 |  | 48 | 49 | 0.037157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2775-5_0_4_line_54 |  | 50 | 51 | 0.010837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2775-5_0_4_line_55 |  | 50 | 52 | 0.016494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_2775-5_0_4_line_56 |  | 51 | 53 | 0.0056761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2775-5_0_4_line_57 |  | 52 | 54 | 0.00060084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_2775-5_0_4_line_58 |  | 53 | 70 | 0.018345 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_2775-5_0_4_line_59 |  | 54 | 68 | 0.027159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_2775-5_0_4_line_60 |  | 55 | 58 | 0.035906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_2775-5_0_4_line_61 |  | 55 | 59 | 0.0045391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_2775-5_0_4_line_62 |  | 56 | 60 | 0.01997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_2775-5_0_4_line_63 |  | 57 | 61 | 0.0035135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_2775-5_0_4_line_64 |  | 58 | 62 | 0.00049934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_2775-5_0_4_line_65 |  | 59 | 63 | 0.012843 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_2775-5_0_4_line_66 |  | 60 | 64 | 0.013246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_2775-5_0_4_line_67 |  | 61 | 65 | 0.019713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_2775-5_0_4_line_68 |  | 63 | 66 | 0.020523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_2775-5_0_4_line_69 |  | 65 | 83 | 0.0080601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_2775-5_0_4_line_70 |  | 66 | 67 | 0.025596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_2775-5_0_4_line_71 |  | 66 | 68 | 0.014187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_2775-5_0_4_line_72 |  | 67 | 69 | 0.010035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_2775-5_0_4_line_73 |  | 70 | 71 | 0.025017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_2775-5_0_4_line_74 |  | 71 | 72 | 0.013946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_2775-5_0_4_line_75 |  | 73 | 74 | 0.015194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_2775-5_0_4_line_76 |  | 74 | 97 | 0.018211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_2775-5_0_4_line_77 |  | 75 | 76 | 0.015821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_2775-5_0_4_line_78 |  | 76 | 77 | 0.015034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_2775-5_0_4_line_79 |  | 77 | 78 | 0.012132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_2775-5_0_4_line_80 |  | 79 | 80 | 0.018359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_2775-5_0_4_line_81 |  | 79 | 81 | 0.02648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_2775-5_0_4_line_82 |  | 80 | 82 | 0.032109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_2775-5_0_4_line_83 |  | 81 | 83 | 0.0048785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_2775-5_0_4_line_84 |  | 82 | 84 | 0.018201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_2775-5_0_4_line_85 |  | 85 | 86 | 0.011788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_2775-5_0_4_line_86 |  | 85 | 87 | 0.0090684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_2775-5_0_4_line_87 |  | 86 | 88 | 0.0034221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_2775-5_0_4_line_88 |  | 87 | 89 | 0.048315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_2775-5_0_4_line_89 |  | 88 | 90 | 0.01303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_2775-5_0_4_line_90 |  | 89 | 91 | 0.023984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_2775-5_0_4_line_91 |  | 90 | 92 | 0.049632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_2775-5_0_4_line_92 |  | 90 | 93 | 0.017299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_2775-5_0_4_line_93 |  | 91 | 94 | 0.035475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_2775-5_0_4_line_94 |  | 92 | 95 | 0.01116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_2775-5_0_4_line_95 |  | 94 | 114 | 0.034674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_2775-5_0_4_line_96 |  | 95 | 96 | 0.043083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_2775-5_0_4_line_97 |  | 97 | 98 | 0.015394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_2775-5_0_4_line_98 |  | 98 | 99 | 0.0045682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_2775-5_0_4_line_99 |  | 99 | 104 | 0.003124 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_2775-5_0_4_line_100 |  | 100 | 101 | 0.0014732 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
101 | LV_2775-5_0_4_line_101 |  | 100 | 102 | 0.016703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_2775-5_0_4_line_102 |  | 101 | 103 | 1.8557e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
103 | LV_2775-5_0_4_line_103 |  | 102 | 104 | 0.039509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_2775-5_0_4_line_104 |  | 102 | 105 | 0.002253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_2775-5_0_4_line_105 |  | 105 | 106 | 0.025163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_2775-5_0_4_line_106 |  | 105 | 107 | 0.018689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_2775-5_0_4_line_107 |  | 106 | 108 | 0.0077646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_2775-5_0_4_line_108 |  | 107 | 109 | 0.0067693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_2775-5_0_4_line_109 |  | 108 | 115 | 0.0063229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
110 | LV_2775-5_0_4_line_110 |  | 109 | 112 | 0.0067072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
111 | LV_2775-5_0_4_line_111 |  | 110 | 111 | 0.019441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
112 | LV_2775-5_0_4_line_112 |  | 110 | 112 | 0.0065795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
113 | LV_2775-5_0_4_line_113 |  | 111 | 113 | 0.0018383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
114 | LV_2775-5_0_4_line_114 |  | 113 | 114 | 0.01131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
115 | LV_2775-5_0_4_line_115 |  | 115 | 116 | 0.0046322 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
116 | LV_2775-5_0_4_line_116 |  | 116 | 117 | 0.0016795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
117 | LV_2775-5_0_4_line_117 |  | 117 | 118 | 0.006264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
118 | LV_2775-5_0_4_line_118 |  | 118 | 119 | 0.0024245 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2775-5_0_4_trafo_42 | 0.63 MVA 20/0.4 kV | 120 | 29 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3
0 | 2609090.5795 | 1260684.2141 | 2609090.4505 | 1260683.7549
1 | 2609086.1361 | 1260668.3987 | 2609090.4505 | 1260683.7549
2 | 2609090.5795 | 1260684.2141 | 2609091.942 | 1260689.0637
3 | 2609086.1361 | 1260668.3987 | 2609092.3313 | 1260662.9563
4 | 2609086.1361 | 1260668.3987 | 2609072.6116 | 1260676.677
5 | 2609098.3829 | 1260711.9891 | 2609091.942 | 1260689.0637
6 | 2609092.3313 | 1260662.9563 | 2609109.8191 | 1260647.5934
7 | 2609098.3829 | 1260711.9891 | 2609100.593 | 1260719.8556 | 2609104.4206 | 1260730.7075
8 | 2609114.7727 | 1260643.2417 | 2609109.8191 | 1260647.5934
9 | 2609104.4206 | 1260730.7075 | 2609105.8305 | 1260734.7049
10 | 2609114.7727 | 1260643.2417 | 2609115.3323 | 1260642.7501
11 | 2609040.4377 | 1260696.3704 | 2609047.6668 | 1260691.9455
12 | 2609048.9066 | 1260721.5781 | 2609040.4377 | 1260696.3704
13 | 2609040.4377 | 1260696.3704 | 2609024.5333 | 1260703.613
14 | 2609040.4377 | 1260696.3704 | 2609034.5771 | 1260679.6179
15 | 2609112.658 | 1260754.0618 | 2609105.8305 | 1260734.7049
16 | 2609125.8485 | 1260633.5117 | 2609115.3323 | 1260642.7501
17 | 2609126.6172 | 1260632.8364 | 2609125.8485 | 1260633.5117
18 | 2609126.6172 | 1260632.8364 | 2609141.5509 | 1260618.9054
19 | 2609126.6172 | 1260632.8364 | 2609118.0739 | 1260621.3367
20 | 2609141.5509 | 1260618.9054 | 2609146.5215 | 1260629.548
21 | 2609141.5509 | 1260618.9054 | 2609147.8974 | 1260611.6701
22 | 2609106.795 | 1260606.1547 | 2609106.795 | 1260606.1547 | 2609118.0739 | 1260621.3367
23 | 2609146.5215 | 1260629.548 | 2609149.8317 | 1260636.6356
24 | 2609148.936 | 1260610.4859 | 2609147.8974 | 1260611.6701
25 | 2609096.1359 | 1260595.7748 | 2609106.795 | 1260606.1547
26 | 2609161.9368 | 1260662.5541 | 2609149.8317 | 1260636.6356
27 | 2609148.936 | 1260610.4859 | 2609165.2756 | 1260591.8578
28 | 2609095.9561 | 1260595.5996 | 2609096.1359 | 1260595.7748
29 | 2609114.7126 | 1260759.8872 | 2609121.6257 | 1260779.4868
30 | 2609112.658 | 1260754.0618 | 2609114.7126 | 1260759.8872
31 | 2609126.1017 | 1260792.1771 | 2609121.6257 | 1260779.4868
32 | 2609126.1017 | 1260792.1771 | 2609139.3121 | 1260786.3378
33 | 2609126.1017 | 1260792.1771 | 2609104.9912 | 1260801.4013
34 | 2609139.3121 | 1260786.3378 | 2609147.9706 | 1260807.3796
35 | 2609139.3121 | 1260786.3378 | 2609148.0224 | 1260782.4619
36 | 2609104.9912 | 1260801.4013 | 2609099.148 | 1260803.9545
37 | 2609150.4995 | 1260813.5252 | 2609147.9706 | 1260807.3796
38 | 2609148.0224 | 1260782.4619 | 2609152.7337 | 1260780.3654 | 2609174.8461 | 1260770.5569
39 | 2609079.2168 | 1260813.0307 | 2609091.0174 | 1260807.6339 | 2609097.6001 | 1260804.6308 | 2609099.148 | 1260803.9545
40 | 2609161.9368 | 1260662.5541 | 2609162.8465 | 1260664.5019
41 | 2609165.0809 | 1260669.286 | 2609162.8465 | 1260664.5019
42 | 2609165.0809 | 1260669.286 | 2609169.1353 | 1260677.9668
43 | 2609169.2298 | 1260678.1693 | 2609169.1353 | 1260677.9668
44 | 2609173.3783 | 1260687.0517 | 2609169.2298 | 1260678.1693
45 | 2609178.4575 | 1260697.9269 | 2609173.3783 | 1260687.0517
46 | 2609157.6892 | 1260708.5799 | 2609178.4575 | 1260697.9269
47 | 2609178.4575 | 1260697.9269 | 2609183.1249 | 1260695.5975
48 | 2609205.2206 | 1260684.5702 | 2609183.1249 | 1260695.5975
49 | 2609185.1316 | 1260765.9946 | 2609174.8461 | 1260770.5569
50 | 2609150.4995 | 1260813.5252 | 2609158.6015 | 1260833.2148
51 | 2609174.3342 | 1260581.5305 | 2609165.2756 | 1260591.8578
52 | 2609174.3342 | 1260581.5305 | 2609158.9739 | 1260566.0714
53 | 2609188.061 | 1260651.588 | 2609205.2206 | 1260684.5702
54 | 2609079.2168 | 1260813.0307 | 2609073.3494 | 1260816.4352 | 2609069.9656 | 1260818.6668
55 | 2609079.2168 | 1260813.0307 | 2609073.956 | 1260797.3987
56 | 2609069.9656 | 1260818.6668 | 2609066.8401 | 1260820.7282 | 2609065.3489 | 1260821.9566
57 | 2609073.7644 | 1260796.8292 | 2609073.956 | 1260797.3987
58 | 2609052.3363 | 1260834.8157 | 2609054.9633 | 1260831.662 | 2609060.05 | 1260826.3217 | 2609065.3489 | 1260821.9566
59 | 2609065.1016 | 1260771.0886 | 2609073.7644 | 1260796.8292
60 | 2609048.9066 | 1260721.5781 | 2609014.6002 | 1260732.1742
61 | 2609048.9066 | 1260721.5781 | 2609050.3041 | 1260725.8967
62 | 2609024.5333 | 1260703.613 | 2609006.3594 | 1260711.8891
63 | 2609034.5771 | 1260679.6179 | 2609033.4169 | 1260676.3015
64 | 2609014.1231 | 1260732.3216 | 2609014.6002 | 1260732.1742
65 | 2609054.2581 | 1260738.1164 | 2609050.3041 | 1260725.8967
66 | 2609006.3594 | 1260711.8891 | 2608994.3043 | 1260717.3788
67 | 2609033.4169 | 1260676.3015 | 2609026.9075 | 1260657.6945
68 | 2609060.5765 | 1260757.6425 | 2609054.2581 | 1260738.1164
69 | 2609024.0039 | 1260650.1788 | 2609025.7774 | 1260654.4642 | 2609026.9075 | 1260657.6945
70 | 2609060.5765 | 1260757.6425 | 2609035.8779 | 1260764.3622
71 | 2609060.5765 | 1260757.6425 | 2609065.1016 | 1260771.0886
72 | 2609026.1946 | 1260766.9967 | 2609035.8779 | 1260764.3622
73 | 2609052.3363 | 1260834.8157 | 2609045.3353 | 1260830.5022 | 2609041.135 | 1260827.6716 | 2609033.1071 | 1260819.1212
74 | 2609023.5616 | 1260808.9545 | 2609033.1071 | 1260819.1212
75 | 2609077.7801 | 1260890.1059 | 2609091.5995 | 1260883.7916
76 | 2609108.1631 | 1260876.2235 | 2609091.5995 | 1260883.7916
77 | 2609084.6213 | 1260584.5617 | 2609095.9561 | 1260595.5996
78 | 2609084.6213 | 1260584.5617 | 2609072.9597 | 1260594.0507
79 | 2609063.549 | 1260601.7079 | 2609072.9597 | 1260594.0507
80 | 2609012.0121 | 1260621.2034 | 2609004.9913 | 1260604.2393
81 | 2609012.0121 | 1260621.2034 | 2609022.1383 | 1260645.6711
82 | 2608992.7128 | 1260574.5711 | 2609004.9913 | 1260604.2393
83 | 2609024.0039 | 1260650.1788 | 2609022.1383 | 1260645.6711
84 | 2608992.7128 | 1260574.5711 | 2608975.8735 | 1260581.4779
85 | 2609241.1858 | 1260965.2429 | 2609236.0629 | 1260965.9089 | 2609229.9388 | 1260968.4284
86 | 2609250.1785 | 1260964.074 | 2609241.1858 | 1260965.2429
87 | 2609226.774 | 1260969.7304 | 2609226.774 | 1260969.7304 | 2609229.9388 | 1260968.4284
88 | 2609250.1785 | 1260964.074 | 2609244.8648 | 1260916.052
89 | 2609221.0226 | 1260980.9625 | 2609222.3205 | 1260974.8715 | 2609226.774 | 1260969.7304
90 | 2609241.0581 | 1260892.6189 | 2609241.7725 | 1260899.1057 | 2609243.2532 | 1260901.4874 | 2609244.8648 | 1260916.052
91 | 2609221.0226 | 1260980.9625 | 2609183.7134 | 1260983.7178 | 2609182.4432 | 1260971.5629
92 | 2609221.0226 | 1260980.9625 | 2609224.9906 | 1260987.6732 | 2609232.5798 | 1260993.3929
93 | 2609241.0581 | 1260892.6189 | 2609237.5818 | 1260861.0511 | 2609237.1798 | 1260857.3565
94 | 2609182.4432 | 1260971.5629 | 2609181.2833 | 1260960.4629
95 | 2609233.4289 | 1260822.8855 | 2609237.1798 | 1260857.3565
96 | 2609156.9011 | 1260941.7814 | 2609179.1245 | 1260939.8032 | 2609181.2833 | 1260960.4629
97 | 2609108.1631 | 1260876.2235 | 2609122.1644 | 1260869.8261
98 | 2609122.1644 | 1260869.8261 | 2609126.3195 | 1260867.9276
99 | 2609129.1609 | 1260866.6293 | 2609126.3195 | 1260867.9276
100 | 2609159.1692 | 1260834.5943 | 2609158.6086 | 1260833.2319
101 | 2609165.0968 | 1260850.2096 | 2609159.7763 | 1260836.0696 | 2609159.1692 | 1260834.5943
102 | 2609158.6086 | 1260833.2319 | 2609158.6015 | 1260833.2148
103 | 2609165.0968 | 1260850.2096 | 2609129.1609 | 1260866.6293
104 | 2609167.1929 | 1260849.3678 | 2609165.0968 | 1260850.2096
105 | 2609167.1929 | 1260849.3678 | 2609169.7539 | 1260874.3999
106 | 2609167.1929 | 1260849.3678 | 2609184.5466 | 1260842.4295
107 | 2609169.7539 | 1260874.3999 | 2609169.7539 | 1260874.3999 | 2609177.5179 | 1260874.305
108 | 2609184.5466 | 1260842.4295 | 2609190.8321 | 1260839.9164
109 | 2609177.5179 | 1260874.305 | 2609183.8404 | 1260874.2278
110 | 2609197.06 | 1260837.4264 | 2609190.8321 | 1260839.9164
111 | 2609203.1693 | 1260834.9838 | 2609221.2207 | 1260827.7665
112 | 2609203.1693 | 1260834.9838 | 2609197.06 | 1260837.4264
113 | 2609222.9277 | 1260827.0841 | 2609221.2207 | 1260827.7665
114 | 2609233.4289 | 1260822.8855 | 2609222.9277 | 1260827.0841
115 | 2609188.4723 | 1260874.1712 | 2609183.8404 | 1260874.2278
116 | 2609190.1517 | 1260874.1506 | 2609188.4723 | 1260874.1712
117 | 2609190.1517 | 1260874.1506 | 2609196.4151 | 1260874.0741
118 | 2609198.8394 | 1260874.0445 | 2609196.4151 | 1260874.0741

## bus_geodata
| x | y | coords
0 | 2609090.4505 | 1260683.7549
1 | 2609090.5795 | 1260684.2141
2 | 2609086.1361 | 1260668.3987
3 | 2609091.942 | 1260689.0637
4 | 2609092.3313 | 1260662.9563
5 | 2609072.6116 | 1260676.677
6 | 2609098.3829 | 1260711.9891
7 | 2609109.8191 | 1260647.5934
8 | 2609104.4206 | 1260730.7075
9 | 2609114.7727 | 1260643.2417
10 | 2609047.6668 | 1260691.9455
11 | 2609040.4377 | 1260696.3704
12 | 2609105.8305 | 1260734.7049
13 | 2609125.8485 | 1260633.5117
14 | 2609115.3323 | 1260642.7501
15 | 2609126.6172 | 1260632.8364
16 | 2609141.5509 | 1260618.9054
17 | 2609118.0739 | 1260621.3367
18 | 2609146.5215 | 1260629.548
19 | 2609147.8974 | 1260611.6701
20 | 2609106.795 | 1260606.1547
21 | 2609149.8317 | 1260636.6356
22 | 2609148.936 | 1260610.4859
23 | 2609096.1359 | 1260595.7748
24 | 2609114.7126 | 1260759.8872
25 | 2609121.6257 | 1260779.4868
26 | 2609112.658 | 1260754.0618
27 | 2609126.1017 | 1260792.1771
28 | 2609139.3121 | 1260786.3378
29 | 2609104.9912 | 1260801.4013
30 | 2609147.9706 | 1260807.3796
31 | 2609148.0224 | 1260782.4619
32 | 2609099.1479 | 1260803.9545
33 | 2609161.9368 | 1260662.5541
34 | 2609162.8465 | 1260664.5019
35 | 2609165.0809 | 1260669.286
36 | 2609169.1353 | 1260677.9668
37 | 2609169.2298 | 1260678.1693
38 | 2609173.3783 | 1260687.0517
39 | 2609178.4575 | 1260697.9269
40 | 2609157.6892 | 1260708.5799
41 | 2609183.1249 | 1260695.5975
42 | 2609174.8461 | 1260770.5569
43 | 2609185.1316 | 1260765.9946
44 | 2609150.4995 | 1260813.5252
45 | 2609165.2756 | 1260591.8578
46 | 2609174.3342 | 1260581.5305
47 | 2609158.9739 | 1260566.0714
48 | 2609205.2206 | 1260684.5702
49 | 2609188.061 | 1260651.588
50 | 2609079.2168 | 1260813.0307
51 | 2609069.9656 | 1260818.6668
52 | 2609073.956 | 1260797.3987
53 | 2609065.3489 | 1260821.9566
54 | 2609073.7644 | 1260796.8292
55 | 2609048.9066 | 1260721.5781
56 | 2609024.5333 | 1260703.613
57 | 2609034.5771 | 1260679.6179
58 | 2609014.6002 | 1260732.1742
59 | 2609050.3041 | 1260725.8967
60 | 2609006.3594 | 1260711.8891
61 | 2609033.4169 | 1260676.3015
62 | 2609014.1231 | 1260732.3216
63 | 2609054.2581 | 1260738.1164
64 | 2608994.3043 | 1260717.3788
65 | 2609026.9075 | 1260657.6945
66 | 2609060.5765 | 1260757.6425
67 | 2609035.8779 | 1260764.3622
68 | 2609065.1016 | 1260771.0886
69 | 2609026.1946 | 1260766.9967
70 | 2609052.3363 | 1260834.8157
71 | 2609033.1071 | 1260819.1212
72 | 2609023.5616 | 1260808.9545
73 | 2609077.7801 | 1260890.1059
74 | 2609091.5995 | 1260883.7916
75 | 2609095.9561 | 1260595.5996
76 | 2609084.6213 | 1260584.5617
77 | 2609072.9597 | 1260594.0507
78 | 2609063.549 | 1260601.708
79 | 2609012.0121 | 1260621.2034
80 | 2609004.9913 | 1260604.2393
81 | 2609022.1383 | 1260645.6711
82 | 2608992.7128 | 1260574.5711
83 | 2609024.0039 | 1260650.1788
84 | 2608975.8735 | 1260581.4779
85 | 2609241.1858 | 1260965.2429
86 | 2609229.9388 | 1260968.4284
87 | 2609250.1785 | 1260964.074
88 | 2609226.774 | 1260969.7304
89 | 2609244.8648 | 1260916.052
90 | 2609221.0226 | 1260980.9625
91 | 2609241.0581 | 1260892.6189
92 | 2609182.4432 | 1260971.5629
93 | 2609232.5798 | 1260993.3929
94 | 2609237.1798 | 1260857.3565
95 | 2609181.2833 | 1260960.4629
96 | 2609156.9011 | 1260941.7814
97 | 2609108.1631 | 1260876.2235
98 | 2609122.1644 | 1260869.8261
99 | 2609126.3195 | 1260867.9276
100 | 2609159.1692 | 1260834.5943
101 | 2609158.6086 | 1260833.2319
102 | 2609165.0968 | 1260850.2096
103 | 2609158.6015 | 1260833.2148
104 | 2609129.1609 | 1260866.6293
105 | 2609167.1929 | 1260849.3678
106 | 2609169.7539 | 1260874.3999
107 | 2609184.5466 | 1260842.4295
108 | 2609177.5179 | 1260874.305
109 | 2609190.8321 | 1260839.9164
110 | 2609203.1693 | 1260834.9838
111 | 2609221.2207 | 1260827.7665
112 | 2609197.06 | 1260837.4264
113 | 2609222.9277 | 1260827.0841
114 | 2609233.4289 | 1260822.8855
115 | 2609183.8404 | 1260874.2277
116 | 2609188.4723 | 1260874.1711
117 | 2609190.1517 | 1260874.1506
118 | 2609196.4151 | 1260874.0741
119 | 2609198.8394 | 1260874.0445
120 | 2609126.1017 | 1260792.1771

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1