## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2775-6_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2775-6_0_6_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_2775-6_0_6_node_1 | 0.4 | n |  | TRUE
3 | bus_LV_2775-6_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2775-6_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2775-6_0_6_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_2775-6_0_6_node_13 | 0.4 | n |  | TRUE
7 | bus_LV_2775-6_0_6_node_18 | 0.4 | n |  | TRUE
8 | bus_LV_2775-6_0_6_node_19 | 0.4 | n |  | TRUE
9 | bus_LV_2775-6_0_6_node_15 | 0.4 | n |  | TRUE
10 | bus_LV_2775-6_0_6_node_5 | 0.4 | n |  | TRUE
11 | bus_LV_2775-6_0_6_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_2775-6_0_6_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_2775-6_0_6_node_60 | 0.4 | n |  | TRUE
14 | bus_LV_2775-6_0_6_node_11 | 0.4 | n |  | TRUE
15 | bus_LV_2775-6_0_6_node_75 | 0.4 | n |  | TRUE
16 | bus_LV_2775-6_0_6_node_123 | 0.4 | n |  | TRUE
17 | bus_LV_2775-6_0_6_node_76 | 0.4 | n |  | TRUE
18 | bus_LV_2775-6_0_6_node_16 | 0.4 | n |  | TRUE
19 | bus_LV_2775-6_0_6_node_40 | 0.4 | n |  | TRUE
20 | bus_LV_2775-6_0_6_node_45 | 0.4 | n |  | TRUE
21 | bus_LV_2775-6_0_6_node_52 | 0.4 | n |  | TRUE
22 | bus_LV_2775-6_0_6_node_55 | 0.4 | n |  | TRUE
23 | bus_LV_2775-6_0_6_node_38 | 0.4 | n |  | TRUE
24 | bus_LV_2775-6_0_6_node_10 | 0.4 | n |  | TRUE
25 | bus_LV_2775-6_0_6_node_12 | 0.4 | n |  | TRUE
26 | bus_LV_2775-6_0_6_node_14 | 0.4 | n |  | TRUE
27 | bus_LV_2775-6_0_6_node_17 | 0.4 | n |  | TRUE
28 | bus_LV_2775-6_0_6_node_77 | 0.4 | n |  | TRUE
29 | bus_LV_2775-6_0_6_node_120 | 0.4 | n |  | TRUE
30 | bus_LV_2775-6_0_6_node_119 | 0.4 | n |  | TRUE
31 | bus_LV_2775-6_0_6_node_118 | 0.4 | n |  | TRUE
32 | bus_LV_2775-6_0_6_node_65 | 0.4 | n |  | TRUE
33 | bus_LV_2775-6_0_6_node_20 | 0.4 | n |  | TRUE
34 | bus_LV_2775-6_0_6_node_21 | 0.4 | n |  | TRUE
35 | bus_LV_2775-6_0_6_node_22 | 0.4 | n |  | TRUE
36 | bus_LV_2775-6_0_6_node_23 | 0.4 | n |  | TRUE
37 | bus_LV_2775-6_0_6_node_24 | 0.4 | n |  | TRUE
38 | bus_LV_2775-6_0_6_node_41 | 0.4 | n |  | TRUE
39 | bus_LV_2775-6_0_6_node_36 | 0.4 | n |  | TRUE
40 | bus_LV_2775-6_0_6_node_42 | 0.4 | n |  | TRUE
41 | bus_LV_2775-6_0_6_node_37 | 0.4 | n |  | TRUE
42 | bus_LV_2775-6_0_6_node_29 | 0.4 | n |  | TRUE
43 | bus_LV_2775-6_0_6_node_25 | 0.4 | n |  | TRUE
44 | bus_LV_2775-6_0_6_node_26 | 0.4 | n |  | TRUE
45 | bus_LV_2775-6_0_6_node_27 | 0.4 | n |  | TRUE
46 | bus_LV_2775-6_0_6_node_28 | 0.4 | n |  | TRUE
47 | bus_LV_2775-6_0_6_node_30 | 0.4 | n |  | TRUE
48 | bus_LV_2775-6_0_6_node_35 | 0.4 | n |  | TRUE
49 | bus_LV_2775-6_0_6_node_33 | 0.4 | n |  | TRUE
50 | bus_LV_2775-6_0_6_node_31 | 0.4 | n |  | TRUE
51 | bus_LV_2775-6_0_6_node_32 | 0.4 | n |  | TRUE
52 | bus_LV_2775-6_0_6_node_34 | 0.4 | n |  | TRUE
53 | bus_LV_2775-6_0_6_node_56 | 0.4 | n |  | TRUE
54 | bus_LV_2775-6_0_6_node_57 | 0.4 | n |  | TRUE
55 | bus_LV_2775-6_0_6_node_43 | 0.4 | n |  | TRUE
56 | bus_LV_2775-6_0_6_node_51 | 0.4 | n |  | TRUE
57 | bus_LV_2775-6_0_6_node_46 | 0.4 | n |  | TRUE
58 | bus_LV_2775-6_0_6_node_47 | 0.4 | n |  | TRUE
59 | bus_LV_2775-6_0_6_node_48 | 0.4 | n |  | TRUE
60 | bus_LV_2775-6_0_6_node_49 | 0.4 | n |  | TRUE
61 | bus_LV_2775-6_0_6_node_50 | 0.4 | n |  | TRUE
62 | bus_LV_2775-6_0_6_node_54 | 0.4 | n |  | TRUE
63 | bus_LV_2775-6_0_6_node_71 | 0.4 | n |  | TRUE
64 | bus_LV_2775-6_0_6_node_74 | 0.4 | n |  | TRUE
65 | bus_LV_2775-6_0_6_node_70 | 0.4 | n |  | TRUE
66 | bus_LV_2775-6_0_6_node_61 | 0.4 | n |  | TRUE
67 | bus_LV_2775-6_0_6_node_62 | 0.4 | n |  | TRUE
68 | bus_LV_2775-6_0_6_node_63 | 0.4 | n |  | TRUE
69 | bus_LV_2775-6_0_6_node_64 | 0.4 | n |  | TRUE
70 | bus_LV_2775-6_0_6_node_72 | 0.4 | n |  | TRUE
71 | bus_LV_2775-6_0_6_node_66 | 0.4 | n |  | TRUE
72 | bus_LV_2775-6_0_6_node_116 | 0.4 | n |  | TRUE
73 | bus_LV_2775-6_0_6_node_67 | 0.4 | n |  | TRUE
74 | bus_LV_2775-6_0_6_node_69 | 0.4 | n |  | TRUE
75 | bus_LV_2775-6_0_6_node_108 | 0.4 | n |  | TRUE
76 | bus_LV_2775-6_0_6_node_115 | 0.4 | n |  | TRUE
77 | bus_LV_2775-6_0_6_node_73 | 0.4 | n |  | TRUE
78 | bus_LV_2775-6_0_6_node_117 | 0.4 | n |  | TRUE
79 | bus_LV_2775-6_0_6_node_107 | 0.4 | n |  | TRUE
80 | bus_LV_2775-6_0_6_node_122 | 0.4 | n |  | TRUE
81 | bus_LV_2775-6_0_6_node_105 | 0.4 | n |  | TRUE
82 | bus_LV_2775-6_0_6_node_78 | 0.4 | n |  | TRUE
83 | bus_LV_2775-6_0_6_node_79 | 0.4 | n |  | TRUE
84 | bus_LV_2775-6_0_6_node_89 | 0.4 | n |  | TRUE
85 | bus_LV_2775-6_0_6_node_90 | 0.4 | n |  | TRUE
86 | bus_LV_2775-6_0_6_node_91 | 0.4 | n |  | TRUE
87 | bus_LV_2775-6_0_6_node_92 | 0.4 | n |  | TRUE
88 | bus_LV_2775-6_0_6_node_80 | 0.4 | n |  | TRUE
89 | bus_LV_2775-6_0_6_node_81 | 0.4 | n |  | TRUE
90 | bus_LV_2775-6_0_6_node_82 | 0.4 | n |  | TRUE
91 | bus_LV_2775-6_0_6_node_83 | 0.4 | n |  | TRUE
92 | bus_LV_2775-6_0_6_node_84 | 0.4 | n |  | TRUE
93 | bus_LV_2775-6_0_6_node_88 | 0.4 | n |  | TRUE
94 | bus_LV_2775-6_0_6_node_85 | 0.4 | n |  | TRUE
95 | bus_LV_2775-6_0_6_node_98 | 0.4 | n |  | TRUE
96 | bus_LV_2775-6_0_6_node_99 | 0.4 | n |  | TRUE
97 | bus_LV_2775-6_0_6_node_93 | 0.4 | n |  | TRUE
98 | bus_LV_2775-6_0_6_node_94 | 0.4 | n |  | TRUE
99 | bus_LV_2775-6_0_6_node_95 | 0.4 | n |  | TRUE
100 | bus_LV_2775-6_0_6_node_96 | 0.4 | n |  | TRUE
101 | bus_LV_2775-6_0_6_node_97 | 0.4 | n |  | TRUE
102 | bus_LV_2775-6_0_6_node_100 | 0.4 | n |  | TRUE
103 | bus_LV_2775-6_0_6_node_101 | 0.4 | n |  | TRUE
104 | bus_LV_2775-6_0_6_node_102 | 0.4 | n |  | TRUE
105 | bus_LV_2775-6_0_6_node_103 | 0.4 | n |  | TRUE
106 | bus_LV_2775-6_0_6_node_104 | 0.4 | n |  | TRUE
107 | bus_LV_2775-6_0_6_node_110 | 0.4 | n |  | TRUE
108 | bus_LV_2775-6_0_6_node_106 | 0.4 | n |  | TRUE
109 | bus_LV_2775-6_0_6_node_109 | 0.4 | n |  | TRUE
110 | bus_LV_2775-6_0_6_node_111 | 0.4 | n |  | TRUE
111 | bus_LV_2775-6_0_6_node_112 | 0.4 | n |  | TRUE
112 | bus_MV_399_0_node_93 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2775-6_0_6_load_0 | 0 | 0.0083448 | 0.0020914 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2775-6_0_6_load_1 | 2 | 0.00052247 | 0.00013094 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2775-6_0_6_load_15 | 9 | 0.0026091 | 0.00065389 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2775-6_0_6_load_7 | 12 | 0.057879 | 0.014506 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2775-6_0_6_load_60 | 13 | 0.027473 | 0.0068855 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2775-6_0_6_load_11 | 14 | 0.0020075 | 0.00050314 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2775-6_0_6_load_75 | 15 | 0.030002 | 0.0075193 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2775-6_0_6_load_123 | 16 | 0.014308 | 0.003586 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2775-6_0_6_load_16 | 18 | 0.0012384 | 0.00031038 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2775-6_0_6_load_40 | 19 | 0.0061527 | 0.001542 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2775-6_0_6_load_52 | 21 | 0.008561 | 0.0021456 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2775-6_0_6_load_55 | 22 | 0.0051017 | 0.0012786 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2775-6_0_6_load_10 | 24 | 0.00052993 | 0.00013281 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2775-6_0_6_load_14 | 26 | 0.0024389 | 0.00061125 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2775-6_0_6_load_17 | 27 | 0.0097305 | 0.0024387 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2775-6_0_6_load_120 | 29 | 0.042709 | 0.010704 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2775-6_0_6_load_119 | 30 | 0.0065979 | 0.0016536 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2775-6_0_6_load_118 | 31 | 0.0043726 | 0.0010959 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2775-6_0_6_load_65 | 32 | 0.010731 | 0.0026894 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2775-6_0_6_load_20 | 33 | 0.0017027 | 0.00042673 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2775-6_0_6_load_21 | 34 | 0.0021139 | 0.00052979 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2775-6_0_6_load_22 | 35 | 0.0025818 | 0.00064705 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2775-6_0_6_load_23 | 36 | 0.0016935 | 0.00042442 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2775-6_0_6_load_41 | 38 | 0.0017037 | 0.00042698 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2775-6_0_6_load_42 | 40 | 0.0012423 | 0.00031134 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2775-6_0_6_load_29 | 42 | 0.0018238 | 0.00045709 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2775-6_0_6_load_25 | 43 | 0.0016817 | 0.00042148 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2775-6_0_6_load_26 | 44 | 0.0061995 | 0.0015537 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2775-6_0_6_load_27 | 45 | 0.010224 | 0.0025625 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2775-6_0_6_load_28 | 46 | 0.0016817 | 0.00042148 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2775-6_0_6_load_30 | 47 | 0.010178 | 0.0025509 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2775-6_0_6_load_35 | 48 | 0.0045918 | 0.0011508 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2775-6_0_6_load_33 | 49 | 0.0061536 | 0.0015422 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2775-6_0_6_load_31 | 50 | 0.0070284 | 0.0017615 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2775-6_0_6_load_32 | 51 | 0.0044984 | 0.0011274 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2775-6_0_6_load_34 | 52 | 0.010932 | 0.0027399 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2775-6_0_6_load_56 | 53 | 0.013216 | 0.0033121 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2775-6_0_6_load_43 | 55 | 0.0017215 | 0.00043145 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2775-6_0_6_load_51 | 56 | 0.0066524 | 0.0016673 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2775-6_0_6_load_46 | 57 | 0.0070919 | 0.0017774 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2775-6_0_6_load_47 | 58 | 0.0088995 | 0.0022304 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2775-6_0_6_load_48 | 59 | 0.0088048 | 0.0022067 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2775-6_0_6_load_49 | 60 | 0.0088733 | 0.0022238 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2775-6_0_6_load_50 | 61 | 0.0070923 | 0.0017775 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2775-6_0_6_load_71 | 63 | 0.0026786 | 0.00067131 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2775-6_0_6_load_74 | 64 | 0.0083295 | 0.0020876 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2775-6_0_6_load_70 | 65 | 0.010188 | 0.0025532 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2775-6_0_6_load_61 | 66 | 0.010716 | 0.0026856 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2775-6_0_6_load_62 | 67 | 0.0067165 | 0.0016833 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2775-6_0_6_load_64 | 69 | 0.019974 | 0.005006 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2775-6_0_6_load_108 | 75 | 0.0039074 | 0.00097928 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2775-6_0_6_load_115 | 76 | 0.066479 | 0.016661 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2775-6_0_6_load_73 | 77 | 0.00621 | 0.0015564 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2775-6_0_6_load_117 | 78 | 0.0097615 | 0.0024465 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2775-6_0_6_load_107 | 79 | 0.0046845 | 0.0011741 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2775-6_0_6_load_122 | 80 | 0.0029504 | 0.00073943 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_2775-6_0_6_load_105 | 81 | 0.0014273 | 0.00035773 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_2775-6_0_6_load_78 | 82 | 0.0011771 | 0.00029501 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_2775-6_0_6_load_89 | 84 | 0.0011708 | 0.00029342 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_2775-6_0_6_load_90 | 85 | 0.0016877 | 0.00042298 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_2775-6_0_6_load_91 | 86 | 0.0011683 | 0.00029281 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_2775-6_0_6_load_92 | 87 | 0.00088233 | 0.00022113 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_2775-6_0_6_load_80 | 88 | 0.0029674 | 0.0007437 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_2775-6_0_6_load_81 | 89 | 0.0018205 | 0.00045627 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_2775-6_0_6_load_82 | 90 | 0.0016392 | 0.00041083 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_2775-6_0_6_load_83 | 91 | 0.0019498 | 0.00048865 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_2775-6_0_6_load_84 | 92 | 0.0028895 | 0.00072419 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_2775-6_0_6_load_88 | 93 | 0.0011762 | 0.00029479 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_2775-6_0_6_load_85 | 94 | 0.0021888 | 0.00054856 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_2775-6_0_6_load_98 | 95 | 0.00087874 | 0.00022023 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_2775-6_0_6_load_94 | 98 | 0.00087547 | 0.00021941 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_2775-6_0_6_load_95 | 99 | 0.00089075 | 0.00022324 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_2775-6_0_6_load_96 | 100 | 0.00089158 | 0.00022345 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_2775-6_0_6_load_97 | 101 | 0.00086984 | 0.000218 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_2775-6_0_6_load_100 | 102 | 0.0027134 | 0.00068005 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_2775-6_0_6_load_101 | 103 | 0.001425 | 0.00035714 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_2775-6_0_6_load_103 | 105 | 0.0014572 | 0.0003652 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_2775-6_0_6_load_104 | 106 | 0.0037471 | 0.00093911 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_2775-6_0_6_load_110 | 107 | 0.0014595 | 0.0003658 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_2775-6_0_6_load_106 | 108 | 0.0067507 | 0.0016919 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_2775-6_0_6_load_109 | 109 | 0.004434 | 0.0011113 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_2775-6_0_6_load_112 | 111 | 0.001942 | 0.0004867 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 67 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2775-6_0_6_line_0 |  | 0 | 1 | 0.01869 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2775-6_0_6_line_1 |  | 1 | 4 | 0.048621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2775-6_0_6_line_2 |  | 1 | 5 | 0.035675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2775-6_0_6_line_3 |  | 2 | 3 | 0.069967 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2775-6_0_6_line_4 |  | 3 | 6 | 0.009854 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2775-6_0_6_line_5 |  | 4 | 7 | 0.011481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
6 | LV_2775-6_0_6_line_6 |  | 4 | 8 | 0.014468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
7 | LV_2775-6_0_6_line_7 |  | 4 | 9 | 0.025682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2775-6_0_6_line_8 |  | 5 | 13 | 0.009284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2775-6_0_6_line_9 |  | 6 | 14 | 0.033883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2775-6_0_6_line_10 |  | 7 | 15 | 0.010348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
11 | LV_2775-6_0_6_line_11 |  | 8 | 16 | 0.018901 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2775-6_0_6_line_12 |  | 8 | 17 | 0.008188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
13 | LV_2775-6_0_6_line_13 |  | 9 | 18 | 0.032583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2775-6_0_6_line_14 |  | 10 | 11 | 0.035937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2775-6_0_6_line_15 |  | 10 | 12 | 0.030738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2775-6_0_6_line_16 |  | 11 | 19 | 0.031492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2775-6_0_6_line_17 |  | 14 | 24 | 0.017111 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2775-6_0_6_line_18 |  | 15 | 32 | 0.024388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
19 | LV_2775-6_0_6_line_19 |  | 17 | 28 | 0.023354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2775-6_0_6_line_20 |  | 17 | 29 | 0.024987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2775-6_0_6_line_21 |  | 18 | 27 | 0.02928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2775-6_0_6_line_22 |  | 19 | 23 | 0.021711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2775-6_0_6_line_23 |  | 20 | 21 | 0.017979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2775-6_0_6_line_24 |  | 20 | 22 | 0.023344 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2775-6_0_6_line_25 |  | 21 | 56 | 0.00065747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2775-6_0_6_line_26 |  | 22 | 41 | 0.048342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2775-6_0_6_line_27 |  | 23 | 52 | 0.015288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2775-6_0_6_line_28 |  | 24 | 25 | 0.048526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2775-6_0_6_line_29 |  | 25 | 26 | 0.035503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2775-6_0_6_line_30 |  | 26 | 27 | 0.026795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2775-6_0_6_line_31 |  | 28 | 30 | 0.010313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2775-6_0_6_line_32 |  | 28 | 31 | 0.0061153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2775-6_0_6_line_33 |  | 30 | 71 | 0.012366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2775-6_0_6_line_34 |  | 32 | 68 | 0.023801 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
35 | LV_2775-6_0_6_line_35 |  | 33 | 34 | 0.0019245 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2775-6_0_6_line_36 |  | 33 | 35 | 0.03072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2775-6_0_6_line_37 |  | 34 | 36 | 0.0068246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2775-6_0_6_line_38 |  | 35 | 37 | 0.03602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2775-6_0_6_line_39 |  | 36 | 38 | 0.0088042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2775-6_0_6_line_40 |  | 37 | 39 | 0.051485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2775-6_0_6_line_41 |  | 38 | 40 | 0.0021309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2775-6_0_6_line_42 |  | 39 | 41 | 0.046033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
43 | LV_2775-6_0_6_line_43 |  | 39 | 42 | 0.01897 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
44 | LV_2775-6_0_6_line_44 |  | 40 | 55 | 0.0066348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2775-6_0_6_line_45 |  | 41 | 53 | 0.041993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
46 | LV_2775-6_0_6_line_46 |  | 42 | 45 | 0.011219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
47 | LV_2775-6_0_6_line_47 |  | 43 | 44 | 0.019534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
48 | LV_2775-6_0_6_line_48 |  | 43 | 45 | 0.0070125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
49 | LV_2775-6_0_6_line_49 |  | 44 | 46 | 0.0028706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
50 | LV_2775-6_0_6_line_50 |  | 46 | 47 | 0.011774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
51 | LV_2775-6_0_6_line_51 |  | 47 | 48 | 0.023192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
52 | LV_2775-6_0_6_line_52 |  | 48 | 49 | 0.0086577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
53 | LV_2775-6_0_6_line_53 |  | 49 | 50 | 0.012813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
54 | LV_2775-6_0_6_line_54 |  | 50 | 51 | 0.0080097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
55 | LV_2775-6_0_6_line_55 |  | 51 | 52 | 0.020208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
56 | LV_2775-6_0_6_line_56 |  | 53 | 54 | 0.013377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
57 | LV_2775-6_0_6_line_57 |  | 54 | 62 | 0.011497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
58 | LV_2775-6_0_6_line_58 |  | 54 | 60 | 0.031439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_2775-6_0_6_line_59 |  | 57 | 58 | 0.033208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_2775-6_0_6_line_60 |  | 57 | 59 | 0.0098416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_2775-6_0_6_line_61 |  | 58 | 60 | 0.0039245 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_2775-6_0_6_line_62 |  | 59 | 61 | 0.025253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_2775-6_0_6_line_63 |  | 62 | 63 | 0.031446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
64 | LV_2775-6_0_6_line_64 |  | 62 | 64 | 0.045408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_2775-6_0_6_line_65 |  | 63 | 65 | 0.00391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
66 | LV_2775-6_0_6_line_66 |  | 65 | 70 | 0.024035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
67 | LV_2775-6_0_6_line_67 |  | 66 | 67 | 0.012727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
68 | LV_2775-6_0_6_line_68 |  | 66 | 68 | 0.0030881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
69 | LV_2775-6_0_6_line_69 |  | 67 | 69 | 0.03371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
70 | LV_2775-6_0_6_line_70 |  | 69 | 70 | 0.047035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
71 | LV_2775-6_0_6_line_71 |  | 70 | 77 | 0.035989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_2775-6_0_6_line_72 |  | 71 | 72 | 0.014113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_2775-6_0_6_line_73 |  | 72 | 78 | 0.0042318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_2775-6_0_6_line_74 |  | 72 | 76 | 0.0030572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_2775-6_0_6_line_75 |  | 73 | 74 | 0.074696 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_2775-6_0_6_line_76 |  | 73 | 75 | 0.018243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_2775-6_0_6_line_77 |  | 74 | 76 | 0.01602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_2775-6_0_6_line_78 |  | 75 | 79 | 0.010764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_2775-6_0_6_line_79 |  | 77 | 82 | 0.023527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_2775-6_0_6_line_80 |  | 79 | 108 | 0.01435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_2775-6_0_6_line_81 |  | 80 | 81 | 0.016541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_2775-6_0_6_line_82 |  | 81 | 104 | 0.01391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_2775-6_0_6_line_83 |  | 82 | 83 | 0.030635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_2775-6_0_6_line_84 |  | 83 | 84 | 0.019287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_2775-6_0_6_line_85 |  | 83 | 85 | 0.018968 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_2775-6_0_6_line_86 |  | 84 | 86 | 0.0025792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_2775-6_0_6_line_87 |  | 85 | 87 | 0.021322 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_2775-6_0_6_line_88 |  | 86 | 93 | 0.0026954 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_2775-6_0_6_line_89 |  | 87 | 97 | 0.014615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_2775-6_0_6_line_90 |  | 88 | 89 | 0.0098383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_2775-6_0_6_line_91 |  | 88 | 90 | 0.009909 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_2775-6_0_6_line_92 |  | 89 | 91 | 0.0063953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_2775-6_0_6_line_93 |  | 90 | 92 | 0.0068556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_2775-6_0_6_line_94 |  | 91 | 93 | 0.0086553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_2775-6_0_6_line_95 |  | 92 | 94 | 0.018642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_2775-6_0_6_line_96 |  | 95 | 96 | 0.0097099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_2775-6_0_6_line_97 |  | 96 | 101 | 0.0027844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_2775-6_0_6_line_98 |  | 97 | 98 | 0.017109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_2775-6_0_6_line_99 |  | 98 | 99 | 0.0067665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_2775-6_0_6_line_100 |  | 99 | 100 | 0.0068259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_2775-6_0_6_line_101 |  | 100 | 101 | 0.0067492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_2775-6_0_6_line_102 |  | 102 | 103 | 0.012229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_2775-6_0_6_line_103 |  | 102 | 104 | 0.0037864 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_2775-6_0_6_line_104 |  | 103 | 105 | 0.011873 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_2775-6_0_6_line_105 |  | 104 | 106 | 0.014756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_2775-6_0_6_line_106 |  | 105 | 107 | 0.0064096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_2775-6_0_6_line_107 |  | 106 | 108 | 0.010868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_2775-6_0_6_line_108 |  | 107 | 109 | 0.013205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_2775-6_0_6_line_109 |  | 109 | 110 | 0.038414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
110 | LV_2775-6_0_6_line_110 |  | 110 | 111 | 0.031184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2775-6_0_6_trafo_62 | 0.63 MVA 20/0.4 kV | 112 | 67 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2608973.7317 | 1260904.3329 | 2608966.8969 | 1260894.7717 | 2608963.3941 | 1260888.7836
1 | 2608927.5418 | 1260919.9186 | 2608935.0049 | 1260917.5837 | 2608947.8961 | 1260913.2334 | 2608964.3611 | 1260907.4876 | 2608973.7317 | 1260904.3329
2 | 2608988.97 | 1260927.5161 | 2608981.7007 | 1260901.3429 | 2608973.7317 | 1260904.3329
3 | 2608967.0334 | 1260734.0184 | 2608971.3484 | 1260750.7807 | 2608971.7535 | 1260766.9589 | 2608967.0993 | 1260775.3243 | 2608963.4217 | 1260795.677 | 2608961.3017 | 1260801.5245
4 | 2608967.0334 | 1260734.0184 | 2608959.7294 | 1260740.6563
5 | 2608932.8839 | 1260930.089 | 2608927.5418 | 1260919.9186
6 | 2608927.5418 | 1260919.9186 | 2608922.6339 | 1260921.7347 | 2608920.0255 | 1260922.6203 | 2608917.9071 | 1260923.3287 | 2608913.8889 | 1260924.7014
7 | 2608927.5418 | 1260919.9186 | 2608919.1182 | 1260895.6572
8 | 2608988.97 | 1260927.5161 | 2608995.7343 | 1260933.875
9 | 2608959.7294 | 1260740.6563 | 2608956.2431 | 1260744.0423 | 2608954.0024 | 1260750.8658 | 2608933.4868 | 1260758.3581
10 | 2608932.8839 | 1260930.089 | 2608935.752 | 1260940.0318
11 | 2608898.8907 | 1260922.1884 | 2608909.5206 | 1260918.4128 | 2608913.8889 | 1260924.7014
12 | 2608918.3619 | 1260931.5683 | 2608913.8889 | 1260924.7014
13 | 2608919.1182 | 1260895.6572 | 2608915.4177 | 1260884.9989 | 2608907.1929 | 1260865.3501
14 | 2609034.6092 | 1260887.6024 | 2609034.2761 | 1260893.6282 | 2609035.2094 | 1260899.2334 | 2609036.2577 | 1260903.6269 | 2609037.1824 | 1260909.9437 | 2609037.5113 | 1260916.6821 | 2609036.8307 | 1260923.2189
15 | 2609034.6092 | 1260887.6024 | 2609036.3477 | 1260879.0548 | 2609039.4611 | 1260863.2266 | 2609040.9937 | 1260857.5458
16 | 2609036.8307 | 1260923.2189 | 2609041.1842 | 1260924.3151 | 2609045.2591 | 1260925.3331 | 2609047.9096 | 1260926.4712 | 2609062.6777 | 1260939.8359
17 | 2608917.4143 | 1260764.2278 | 2608933.4868 | 1260758.3581
18 | 2608935.752 | 1260940.0318 | 2608940.0425 | 1260954.9055 | 2608941.7408 | 1260963.6503
19 | 2608918.3619 | 1260931.5683 | 2608920.2978 | 1260931.9937 | 2608920.8379 | 1260933.5956 | 2608921.2349 | 1260935.1528 | 2608926.099 | 1260952.5608
20 | 2608918.3619 | 1260931.5683 | 2608897.7512 | 1260938.4644 | 2608895.7657 | 1260941.041
21 | 2608895.887 | 1260838.3405 | 2608907.1929 | 1260865.3501
22 | 2609078.7752 | 1260954.4038 | 2609062.6777 | 1260939.8359
23 | 2609038.0409 | 1261019.475 | 2609029.1493 | 1261019.8506 | 2609020.073 | 1261020.0964
24 | 2609038.0409 | 1261019.475 | 2609045.1759 | 1261041.7016
25 | 2609020.073 | 1261020.0964 | 2609019.4158 | 1261020.1142
26 | 2609066.5206 | 1261085.0183 | 2609060.1407 | 1261073.8232 | 2609045.9077 | 1261043.9813 | 2609045.1759 | 1261041.7016
27 | 2609078.7752 | 1260954.4038 | 2609074.8094 | 1260969.1683
28 | 2608871.8323 | 1260780.8743 | 2608917.4143 | 1260764.2278
29 | 2608871.8323 | 1260780.8743 | 2608885.5409 | 1260813.6239
30 | 2608895.887 | 1260838.3405 | 2608885.5409 | 1260813.6239
31 | 2608926.099 | 1260952.5608 | 2608928.8319 | 1260962.5048
32 | 2608926.099 | 1260952.5608 | 2608924.8853 | 1260952.9481 | 2608920.2379 | 1260954.3048
33 | 2608932.1091 | 1260974.4291 | 2608928.8319 | 1260962.5048
34 | 2608946.2783 | 1260987.0145 | 2608941.7408 | 1260963.6503
35 | 2609133.2953 | 1261032.2205 | 2609132.864 | 1261030.345
36 | 2609133.2953 | 1261032.2205 | 2609140.1805 | 1261062.1594
37 | 2609131.3344 | 1261023.694 | 2609132.864 | 1261030.345
38 | 2609148.2533 | 1261097.2627 | 2609140.1805 | 1261062.1594
39 | 2609129.3612 | 1261015.1138 | 2609131.3344 | 1261023.694
40 | 2609097.56 | 1261107.0695 | 2609148.2533 | 1261097.2627
41 | 2609129.3612 | 1261015.1138 | 2609128.8836 | 1261013.0371
42 | 2609066.5206 | 1261085.0183 | 2609080.9261 | 1261110.2907 | 2609097.56 | 1261107.0695
43 | 2609097.56 | 1261107.0695 | 2609101.7776 | 1261088.5745
44 | 2609127.3966 | 1261006.5711 | 2609128.8836 | 1261013.0371
45 | 2609066.5206 | 1261085.0183 | 2609024.5567 | 1261083.4536
46 | 2609101.7776 | 1261088.5745 | 2609099.8901 | 1261077.5153
47 | 2609098.7103 | 1261070.6027 | 2609098.1407 | 1261067.2655 | 2609094.5367 | 1261058.9766 | 2609093.4327 | 1261051.9531
48 | 2609098.7103 | 1261070.6027 | 2609099.8901 | 1261077.5153
49 | 2609093.4327 | 1261051.9531 | 2609092.987 | 1261049.1174
50 | 2609091.1587 | 1261037.4858 | 2609092.987 | 1261049.1174
51 | 2609083.3058 | 1261016.1304 | 2609089.3728 | 1261026.1242 | 2609091.1587 | 1261037.4858
52 | 2609083.3058 | 1261016.1304 | 2609078.813 | 1261008.7296 | 2609078.813 | 1261008.7296
53 | 2609075.3806 | 1260996.3851 | 2609078.813 | 1261008.7296
54 | 2609075.3806 | 1260996.3851 | 2609073.235 | 1260988.6681
55 | 2609073.235 | 1260988.6681 | 2609071.3717 | 1260981.9668 | 2609074.8094 | 1260969.1683
56 | 2609011.1889 | 1261082.9552 | 2609024.5567 | 1261083.4536
57 | 2609011.1889 | 1261082.9552 | 2608999.8523 | 1261080.8477
58 | 2609011.1889 | 1261082.9552 | 2609020.665 | 1261089.6185 | 2609028.6579 | 1261100.4713 | 2609030.571 | 1261106.5533
59 | 2609041.7127 | 1261141.9749 | 2609041.7127 | 1261141.9749 | 2609031.7485 | 1261110.2969
60 | 2609041.7127 | 1261141.9749 | 2609045.3479 | 1261151.1206
61 | 2609031.7485 | 1261110.2969 | 2609030.571 | 1261106.5533
62 | 2609057.5306 | 1261173.1845 | 2609047.1696 | 1261155.7036 | 2609045.3479 | 1261151.1206
63 | 2608999.8523 | 1261080.8477 | 2608996.4174 | 1261080.2088 | 2608985.0762 | 1261081.2368 | 2608968.6289 | 1261083.2028
64 | 2608999.8523 | 1261080.8477 | 2608992.966 | 1261095.5473 | 2608991.3211 | 1261112.0672 | 2608993.3796 | 1261121.0208 | 2608994.8672 | 1261124.0629
65 | 2608964.7465 | 1261083.6668 | 2608968.6289 | 1261083.2028
66 | 2608941.4344 | 1261081.7382 | 2608951.179 | 1261085.2886 | 2608964.7465 | 1261083.6668
67 | 2608946.8179 | 1260990.055 | 2608949.0417 | 1261002.5859
68 | 2608946.2783 | 1260987.0145 | 2608946.8179 | 1260990.055
69 | 2608951.878 | 1261036.0288 | 2608952.0613 | 1261019.6008 | 2608949.0417 | 1261002.5859
70 | 2608941.4344 | 1261081.7382 | 2608947.5672 | 1261061.9562 | 2608951.8436 | 1261039.1138 | 2608951.878 | 1261036.0288
71 | 2608941.4344 | 1261081.7382 | 2608928.5734 | 1261115.3508
72 | 2608932.1091 | 1260974.4291 | 2608918.5929 | 1260978.6228
73 | 2608918.5929 | 1260978.6228 | 2608917.6772 | 1260974.4912
74 | 2608918.5929 | 1260978.6228 | 2608915.598 | 1260978.0089
75 | 2608899.2184 | 1261040.7249 | 2608895.0363 | 1261025.8308 | 2608893.6346 | 1261020.9587 | 2608896.1148 | 1261020.0952 | 2608887.4987 | 1260987.2822 | 2608899.9047 | 1260974.7923
76 | 2608899.2184 | 1261040.7249 | 2608899.5494 | 1261058.9646
77 | 2608899.9047 | 1260974.7923 | 2608915.598 | 1260978.0089
78 | 2608898.43 | 1261069.6137 | 2608899.6292 | 1261063.3631 | 2608899.5494 | 1261058.9646
79 | 2608928.5734 | 1261115.3508 | 2608920.1659 | 1261137.3239
80 | 2608895.7262 | 1261083.7071 | 2608898.43 | 1261069.6137
81 | 2608866.3529 | 1261090.2975 | 2608869.6314 | 1261100.1545 | 2608874.0931 | 1261104.3752 | 2608874.1045 | 1261104.3782
82 | 2608887.5447 | 1261107.9643 | 2608874.1045 | 1261104.3782
83 | 2608909.2181 | 1261165.9361 | 2608920.1659 | 1261137.3239
84 | 2608909.2181 | 1261165.9361 | 2608927.2492 | 1261172.7818
85 | 2608909.2181 | 1261165.9361 | 2608902.3538 | 1261183.6179
86 | 2608927.2492 | 1261172.7818 | 2608929.6605 | 1261173.6972
87 | 2608902.3538 | 1261183.6179 | 2608894.6376 | 1261203.4944
88 | 2608932.1804 | 1261174.654 | 2608929.6605 | 1261173.6972
89 | 2608889.3483 | 1261217.119 | 2608894.6376 | 1261203.4944
90 | 2608954.2148 | 1261185.9504 | 2608954.2148 | 1261185.9504 | 2608945.9119 | 1261180.6727
91 | 2608954.2148 | 1261185.9504 | 2608960.5311 | 1261193.5854
92 | 2608945.9119 | 1261180.6727 | 2608942.7656 | 1261178.6727 | 2608940.2722 | 1261177.7261
93 | 2608964.0257 | 1261199.4066 | 2608962.5404 | 1261196.0142 | 2608960.5311 | 1261193.5854
94 | 2608932.1804 | 1261174.654 | 2608940.2722 | 1261177.7261
95 | 2608969.4009 | 1261217.0452 | 2608968.615 | 1261209.8884 | 2608964.0257 | 1261199.4066
96 | 2608926.9392 | 1261231.4627 | 2608935.9805 | 1261235.0036
97 | 2608926.9392 | 1261231.4627 | 2608924.3378 | 1261230.47
98 | 2608889.3483 | 1261217.119 | 2608905.3328 | 1261223.2182
99 | 2608911.6546 | 1261225.6305 | 2608905.3328 | 1261223.2182
100 | 2608911.6546 | 1261225.6305 | 2608918.032 | 1261228.0639
101 | 2608918.032 | 1261228.0639 | 2608924.3378 | 1261230.47
102 | 2608886.1251 | 1261111.4746 | 2608881.5403 | 1261122.812
103 | 2608887.5447 | 1261107.9643 | 2608886.1251 | 1261111.4746
104 | 2608881.5403 | 1261122.812 | 2608877.089 | 1261133.8189
105 | 2608887.5447 | 1261107.9643 | 2608892.4574 | 1261094.0502
106 | 2608874.686 | 1261139.761 | 2608877.089 | 1261133.8189
107 | 2608895.7262 | 1261083.7071 | 2608895.2703 | 1261086.0832 | 2608892.4574 | 1261094.0502
108 | 2608869.7353 | 1261152.0031 | 2608874.686 | 1261139.761
109 | 2608852.093 | 1261184.7081 | 2608857.7334 | 1261181.6811 | 2608869.7353 | 1261152.0031
110 | 2608852.093 | 1261184.7081 | 2608846.5962 | 1261182.4095 | 2608832.1437 | 1261161.7339

## bus_geodata
| x | y | coords
0 | 2608963.3941 | 1260888.7836
1 | 2608973.7317 | 1260904.3329
2 | 2608961.3017 | 1260801.5245
3 | 2608967.0334 | 1260734.0184
4 | 2608927.5418 | 1260919.9186
5 | 2608988.97 | 1260927.5161
6 | 2608959.7294 | 1260740.6563
7 | 2608932.8839 | 1260930.089
8 | 2608913.8889 | 1260924.7014
9 | 2608919.1182 | 1260895.6572
10 | 2609034.6092 | 1260887.6024
11 | 2609036.8307 | 1260923.2189
12 | 2609040.9937 | 1260857.5458
13 | 2608995.7343 | 1260933.875
14 | 2608933.4868 | 1260758.3581
15 | 2608935.752 | 1260940.0318
16 | 2608898.8907 | 1260922.1884
17 | 2608918.3619 | 1260931.5683
18 | 2608907.1929 | 1260865.3501
19 | 2609062.6777 | 1260939.8359
20 | 2609038.0409 | 1261019.475
21 | 2609020.073 | 1261020.0964
22 | 2609045.1759 | 1261041.7016
23 | 2609078.7752 | 1260954.4038
24 | 2608917.4143 | 1260764.2278
25 | 2608871.8323 | 1260780.8743
26 | 2608885.5409 | 1260813.6239
27 | 2608895.887 | 1260838.3405
28 | 2608926.099 | 1260952.5608
29 | 2608895.7657 | 1260941.041
30 | 2608928.8319 | 1260962.5048
31 | 2608920.2379 | 1260954.3048
32 | 2608941.7408 | 1260963.6503
33 | 2609133.2953 | 1261032.2205
34 | 2609132.864 | 1261030.345
35 | 2609140.1805 | 1261062.1594
36 | 2609131.3344 | 1261023.694
37 | 2609148.2533 | 1261097.2627
38 | 2609129.3612 | 1261015.1138
39 | 2609097.56 | 1261107.0695
40 | 2609128.8836 | 1261013.0371
41 | 2609066.5206 | 1261085.0183
42 | 2609101.7776 | 1261088.5745
43 | 2609098.7103 | 1261070.6027
44 | 2609093.4327 | 1261051.9531
45 | 2609099.8901 | 1261077.5153
46 | 2609092.987 | 1261049.1174
47 | 2609091.1587 | 1261037.4858
48 | 2609083.3058 | 1261016.1304
49 | 2609078.813 | 1261008.7296
50 | 2609075.3806 | 1260996.3851
51 | 2609073.235 | 1260988.6681
52 | 2609074.8094 | 1260969.1683
53 | 2609024.5567 | 1261083.4536
54 | 2609011.1889 | 1261082.9552
55 | 2609127.3966 | 1261006.5711
56 | 2609019.4158 | 1261020.1142
57 | 2609041.7127 | 1261141.9749
58 | 2609031.7485 | 1261110.2969
59 | 2609045.3479 | 1261151.1206
60 | 2609030.571 | 1261106.5533
61 | 2609057.5306 | 1261173.1845
62 | 2608999.8523 | 1261080.8477
63 | 2608968.6289 | 1261083.2028
64 | 2608994.8672 | 1261124.0629
65 | 2608964.7465 | 1261083.6668
66 | 2608946.8179 | 1260990.055
67 | 2608949.0417 | 1261002.5859
68 | 2608946.2783 | 1260987.0145
69 | 2608951.878 | 1261036.0288
70 | 2608941.4344 | 1261081.7382
71 | 2608932.1091 | 1260974.4291
72 | 2608918.5929 | 1260978.6228
73 | 2608899.2184 | 1261040.7249
74 | 2608899.9047 | 1260974.7923
75 | 2608899.5494 | 1261058.9646
76 | 2608915.598 | 1260978.0089
77 | 2608928.5734 | 1261115.3508
78 | 2608917.6772 | 1260974.4912
79 | 2608898.43 | 1261069.6137
80 | 2608866.3529 | 1261090.2975
81 | 2608874.1045 | 1261104.3782
82 | 2608920.1659 | 1261137.3239
83 | 2608909.2181 | 1261165.9361
84 | 2608927.2492 | 1261172.7818
85 | 2608902.3538 | 1261183.6179
86 | 2608929.6605 | 1261173.6972
87 | 2608894.6376 | 1261203.4944
88 | 2608954.2148 | 1261185.9504
89 | 2608945.9119 | 1261180.6727
90 | 2608960.5311 | 1261193.5854
91 | 2608940.2722 | 1261177.7261
92 | 2608964.0257 | 1261199.4066
93 | 2608932.1804 | 1261174.654
94 | 2608969.4009 | 1261217.0452
95 | 2608935.9805 | 1261235.0036
96 | 2608926.9392 | 1261231.4627
97 | 2608889.3483 | 1261217.119
98 | 2608905.3328 | 1261223.2182
99 | 2608911.6546 | 1261225.6305
100 | 2608918.032 | 1261228.0639
101 | 2608924.3378 | 1261230.47
102 | 2608886.1251 | 1261111.4746
103 | 2608881.5403 | 1261122.812
104 | 2608887.5447 | 1261107.9643
105 | 2608877.089 | 1261133.8189
106 | 2608892.4574 | 1261094.0502
107 | 2608874.686 | 1261139.761
108 | 2608895.7262 | 1261083.7071
109 | 2608869.7353 | 1261152.0031
110 | 2608852.093 | 1261184.7081
111 | 2608832.1437 | 1261161.7339
112 | 2608946.2783 | 1260987.0145

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1