## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2822-1_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2822-1_0_3_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_2822-1_0_3_node_4 | 0.4 | n |  | TRUE
3 | bus_LV_2822-1_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2822-1_0_3_node_72 | 0.4 | n |  | TRUE
5 | bus_LV_2822-1_0_3_node_86 | 0.4 | n |  | TRUE
6 | bus_LV_2822-1_0_3_node_54 | 0.4 | n |  | TRUE
7 | bus_LV_2822-1_0_3_node_71 | 0.4 | n |  | TRUE
8 | bus_LV_2822-1_0_3_node_80 | 0.4 | n |  | TRUE
9 | bus_LV_2822-1_0_3_node_52 | 0.4 | n |  | TRUE
10 | bus_LV_2822-1_0_3_node_5 | 0.4 | n |  | TRUE
11 | bus_LV_2822-1_0_3_node_6 | 0.4 | n |  | TRUE
12 | bus_LV_2822-1_0_3_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_2822-1_0_3_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_2822-1_0_3_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_2822-1_0_3_node_47 | 0.4 | n |  | TRUE
16 | bus_LV_2822-1_0_3_node_41 | 0.4 | n |  | TRUE
17 | bus_LV_2822-1_0_3_node_16 | 0.4 | n |  | TRUE
18 | bus_LV_2822-1_0_3_node_15 | 0.4 | n |  | TRUE
19 | bus_LV_2822-1_0_3_node_92 | 0.4 | n |  | TRUE
20 | bus_LV_2822-1_0_3_node_90 | 0.4 | n |  | TRUE
21 | bus_LV_2822-1_0_3_node_11 | 0.4 | n |  | TRUE
22 | bus_LV_2822-1_0_3_node_12 | 0.4 | n |  | TRUE
23 | bus_LV_2822-1_0_3_node_14 | 0.4 | n |  | TRUE
24 | bus_LV_2822-1_0_3_node_17 | 0.4 | n |  | TRUE
25 | bus_LV_2822-1_0_3_node_18 | 0.4 | n |  | TRUE
26 | bus_LV_2822-1_0_3_node_19 | 0.4 | n |  | TRUE
27 | bus_LV_2822-1_0_3_node_20 | 0.4 | n |  | TRUE
28 | bus_LV_2822-1_0_3_node_21 | 0.4 | n |  | TRUE
29 | bus_LV_2822-1_0_3_node_30 | 0.4 | n |  | TRUE
30 | bus_LV_2822-1_0_3_node_83 | 0.4 | n |  | TRUE
31 | bus_LV_2822-1_0_3_node_78 | 0.4 | n |  | TRUE
32 | bus_LV_2822-1_0_3_node_28 | 0.4 | n |  | TRUE
33 | bus_LV_2822-1_0_3_node_22 | 0.4 | n |  | TRUE
34 | bus_LV_2822-1_0_3_node_24 | 0.4 | n |  | TRUE
35 | bus_LV_2822-1_0_3_node_23 | 0.4 | n |  | TRUE
36 | bus_LV_2822-1_0_3_node_25 | 0.4 | n |  | TRUE
37 | bus_LV_2822-1_0_3_node_26 | 0.4 | n |  | TRUE
38 | bus_LV_2822-1_0_3_node_27 | 0.4 | n |  | TRUE
39 | bus_LV_2822-1_0_3_node_64 | 0.4 | n |  | TRUE
40 | bus_LV_2822-1_0_3_node_39 | 0.4 | n |  | TRUE
41 | bus_LV_2822-1_0_3_node_99 | 0.4 | n |  | TRUE
42 | bus_LV_2822-1_0_3_node_62 | 0.4 | n |  | TRUE
43 | bus_LV_2822-1_0_3_node_37 | 0.4 | n |  | TRUE
44 | bus_LV_2822-1_0_3_node_98 | 0.4 | n |  | TRUE
45 | bus_LV_2822-1_0_3_node_29 | 0.4 | n |  | TRUE
46 | bus_LV_2822-1_0_3_node_31 | 0.4 | n |  | TRUE
47 | bus_LV_2822-1_0_3_node_50 | 0.4 | n |  | TRUE
48 | bus_LV_2822-1_0_3_node_51 | 0.4 | n |  | TRUE
49 | bus_LV_2822-1_0_3_node_58 | 0.4 | n |  | TRUE
50 | bus_LV_2822-1_0_3_node_55 | 0.4 | n |  | TRUE
51 | bus_LV_2822-1_0_3_node_32 | 0.4 | n |  | TRUE
52 | bus_LV_2822-1_0_3_node_33 | 0.4 | n |  | TRUE
53 | bus_LV_2822-1_0_3_node_34 | 0.4 | n |  | TRUE
54 | bus_LV_2822-1_0_3_node_35 | 0.4 | n |  | TRUE
55 | bus_LV_2822-1_0_3_node_36 | 0.4 | n |  | TRUE
56 | bus_LV_2822-1_0_3_node_69 | 0.4 | n |  | TRUE
57 | bus_LV_2822-1_0_3_node_91 | 0.4 | n |  | TRUE
58 | bus_LV_2822-1_0_3_node_93 | 0.4 | n |  | TRUE
59 | bus_LV_2822-1_0_3_node_67 | 0.4 | n |  | TRUE
60 | bus_LV_2822-1_0_3_node_89 | 0.4 | n |  | TRUE
61 | bus_LV_2822-1_0_3_node_45 | 0.4 | n |  | TRUE
62 | bus_LV_2822-1_0_3_node_85 | 0.4 | n |  | TRUE
63 | bus_LV_2822-1_0_3_node_38 | 0.4 | n |  | TRUE
64 | bus_LV_2822-1_0_3_node_40 | 0.4 | n |  | TRUE
65 | bus_LV_2822-1_0_3_node_48 | 0.4 | n |  | TRUE
66 | bus_LV_2822-1_0_3_node_49 | 0.4 | n |  | TRUE
67 | bus_LV_2822-1_0_3_node_42 | 0.4 | n |  | TRUE
68 | bus_LV_2822-1_0_3_node_43 | 0.4 | n |  | TRUE
69 | bus_LV_2822-1_0_3_node_44 | 0.4 | n |  | TRUE
70 | bus_LV_2822-1_0_3_node_46 | 0.4 | n |  | TRUE
71 | bus_LV_2822-1_0_3_node_61 | 0.4 | n |  | TRUE
72 | bus_LV_2822-1_0_3_node_56 | 0.4 | n |  | TRUE
73 | bus_LV_2822-1_0_3_node_81 | 0.4 | n |  | TRUE
74 | bus_LV_2822-1_0_3_node_53 | 0.4 | n |  | TRUE
75 | bus_LV_2822-1_0_3_node_107 | 0.4 | n |  | TRUE
76 | bus_LV_2822-1_0_3_node_57 | 0.4 | n |  | TRUE
77 | bus_LV_2822-1_0_3_node_59 | 0.4 | n |  | TRUE
78 | bus_LV_2822-1_0_3_node_84 | 0.4 | n |  | TRUE
79 | bus_LV_2822-1_0_3_node_60 | 0.4 | n |  | TRUE
80 | bus_LV_2822-1_0_3_node_68 | 0.4 | n |  | TRUE
81 | bus_LV_2822-1_0_3_node_87 | 0.4 | n |  | TRUE
82 | bus_LV_2822-1_0_3_node_70 | 0.4 | n |  | TRUE
83 | bus_LV_2822-1_0_3_node_66 | 0.4 | n |  | TRUE
84 | bus_LV_2822-1_0_3_node_65 | 0.4 | n |  | TRUE
85 | bus_LV_2822-1_0_3_node_63 | 0.4 | n |  | TRUE
86 | bus_LV_2822-1_0_3_node_94 | 0.4 | n |  | TRUE
87 | bus_LV_2822-1_0_3_node_95 | 0.4 | n |  | TRUE
88 | bus_LV_2822-1_0_3_node_73 | 0.4 | n |  | TRUE
89 | bus_LV_2822-1_0_3_node_74 | 0.4 | n |  | TRUE
90 | bus_LV_2822-1_0_3_node_75 | 0.4 | n |  | TRUE
91 | bus_LV_2822-1_0_3_node_82 | 0.4 | n |  | TRUE
92 | bus_LV_2822-1_0_3_node_79 | 0.4 | n |  | TRUE
93 | bus_LV_2822-1_0_3_node_76 | 0.4 | n |  | TRUE
94 | bus_LV_2822-1_0_3_node_77 | 0.4 | n |  | TRUE
95 | bus_LV_2822-1_0_3_node_106 | 0.4 | n |  | TRUE
96 | bus_LV_2822-1_0_3_node_88 | 0.4 | n |  | TRUE
97 | bus_LV_2822-1_0_3_node_96 | 0.4 | n |  | TRUE
98 | bus_LV_2822-1_0_3_node_97 | 0.4 | n |  | TRUE
99 | bus_LV_2822-1_0_3_node_109 | 0.4 | n |  | TRUE
100 | bus_LV_2822-1_0_3_node_105 | 0.4 | n |  | TRUE
101 | bus_LV_2822-1_0_3_node_103 | 0.4 | n |  | TRUE
102 | bus_LV_2822-1_0_3_node_100 | 0.4 | n |  | TRUE
103 | bus_LV_2822-1_0_3_node_101 | 0.4 | n |  | TRUE
104 | bus_LV_2822-1_0_3_node_102 | 0.4 | n |  | TRUE
105 | bus_LV_2822-1_0_3_node_104 | 0.4 | n |  | TRUE
106 | bus_LV_2822-1_0_3_node_110 | 0.4 | n |  | TRUE
107 | bus_LV_2822-1_0_3_node_108 | 0.4 | n |  | TRUE
108 | bus_LV_2822-1_0_3_node_111 | 0.4 | n |  | TRUE
109 | bus_MV_347_1_node_91 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2822-1_0_3_load_0 | 0 | 0.01373 | 0.003441 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2822-1_0_3_load_86 | 5 | 0.00037925 | 9.5048e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2822-1_0_3_load_54 | 6 | 0.00035188 | 8.8191e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2822-1_0_3_load_71 | 7 | 0.00094862 | 0.00023775 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2822-1_0_3_load_80 | 8 | 0.00044895 | 0.00011252 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2822-1_0_3_load_52 | 9 | 0.00025862 | 6.4816e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2822-1_0_3_load_5 | 10 | 0.0063875 | 0.0016009 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2822-1_0_3_load_6 | 11 | 0.001616 | 0.00040501 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2822-1_0_3_load_10 | 14 | 0.00037719 | 9.4532e-05 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2822-1_0_3_load_47 | 15 | 0.00090911 | 0.00022784 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2822-1_0_3_load_15 | 18 | 0.001087 | 0.00027243 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2822-1_0_3_load_92 | 19 | 0.00074216 | 0.000186 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2822-1_0_3_load_90 | 20 | 0.0018224 | 0.00045674 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2822-1_0_3_load_11 | 21 | 0.0057968 | 0.0014528 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2822-1_0_3_load_14 | 23 | 0.0010674 | 0.00026752 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2822-1_0_3_load_17 | 24 | 0.00042438 | 0.00010636 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2822-1_0_3_load_18 | 25 | 0.00039188 | 9.8215e-05 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2822-1_0_3_load_19 | 26 | 0.00060129 | 0.0001507 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2822-1_0_3_load_20 | 27 | 0.002039 | 0.00051102 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2822-1_0_3_load_30 | 29 | 0.001718 | 0.00043057 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2822-1_0_3_load_83 | 30 | 0.0021127 | 0.00052949 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2822-1_0_3_load_28 | 32 | 0.0036976 | 0.00092672 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2822-1_0_3_load_22 | 33 | 0.0010495 | 0.00026304 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2822-1_0_3_load_23 | 35 | 0.017003 | 0.0042614 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2822-1_0_3_load_26 | 37 | 0.00070248 | 0.00017606 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2822-1_0_3_load_27 | 38 | 0.00097405 | 0.00024412 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2822-1_0_3_load_64 | 39 | 0.0029583 | 0.00074141 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2822-1_0_3_load_99 | 41 | 0.0012861 | 0.00032233 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2822-1_0_3_load_62 | 42 | 0.0020105 | 0.00050388 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2822-1_0_3_load_37 | 43 | 0.00069757 | 0.00017483 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2822-1_0_3_load_98 | 44 | 0.0011786 | 0.00029537 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2822-1_0_3_load_29 | 45 | 0.0022133 | 0.0005547 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2822-1_0_3_load_50 | 47 | 0.00090697 | 0.00022731 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2822-1_0_3_load_51 | 48 | 0.00094235 | 0.00023617 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2822-1_0_3_load_32 | 51 | 0.000791 | 0.00019824 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2822-1_0_3_load_33 | 52 | 0.0040564 | 0.0010166 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2822-1_0_3_load_34 | 53 | 0.0011915 | 0.00029863 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2822-1_0_3_load_35 | 54 | 0.0016722 | 0.0004191 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2822-1_0_3_load_69 | 56 | 0.0011772 | 0.00029503 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2822-1_0_3_load_91 | 57 | 0.0014996 | 0.00037583 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2822-1_0_3_load_67 | 59 | 0.0032712 | 0.00081984 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2822-1_0_3_load_89 | 60 | 0.001432 | 0.00035889 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2822-1_0_3_load_45 | 61 | 0.0011354 | 0.00028456 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2822-1_0_3_load_85 | 62 | 0.00075024 | 0.00018803 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2822-1_0_3_load_38 | 63 | 0.0011329 | 0.00028392 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2822-1_0_3_load_40 | 64 | 0.00095606 | 0.00023961 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2822-1_0_3_load_48 | 65 | 0.00049939 | 0.00012516 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2822-1_0_3_load_49 | 66 | 0.0035285 | 0.00088431 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2822-1_0_3_load_42 | 67 | 0.0021428 | 0.00053703 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2822-1_0_3_load_43 | 68 | 0.0015007 | 0.00037612 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2822-1_0_3_load_44 | 69 | 0.0012477 | 0.00031271 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2822-1_0_3_load_46 | 70 | 0.0025685 | 0.00064372 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2822-1_0_3_load_61 | 71 | 0.0023285 | 0.00058358 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2822-1_0_3_load_56 | 72 | 0.002372 | 0.00059449 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2822-1_0_3_load_81 | 73 | 0.0008463 | 0.0002121 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2822-1_0_3_load_53 | 74 | 0.0011014 | 0.00027605 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_2822-1_0_3_load_107 | 75 | 0.0013349 | 0.00033455 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_2822-1_0_3_load_57 | 76 | 0.0016811 | 0.00042133 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_2822-1_0_3_load_59 | 77 | 0.00086166 | 0.00021595 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_2822-1_0_3_load_84 | 78 | 0.0036479 | 0.00091426 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_2822-1_0_3_load_60 | 79 | 0.0023922 | 0.00059953 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_2822-1_0_3_load_87 | 81 | 0.0023172 | 0.00058075 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_2822-1_0_3_load_70 | 82 | 0.0030265 | 0.00075851 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_2822-1_0_3_load_66 | 83 | 0.0019288 | 0.00048341 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_2822-1_0_3_load_65 | 84 | 0.0014922 | 0.00037397 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_2822-1_0_3_load_63 | 85 | 0.0016353 | 0.00040985 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_2822-1_0_3_load_94 | 86 | 0.0026625 | 0.0006673 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_2822-1_0_3_load_74 | 89 | 0.0012926 | 0.00032397 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_2822-1_0_3_load_75 | 90 | 0.00096633 | 0.00024218 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_2822-1_0_3_load_79 | 92 | 0.010149 | 0.0025436 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_2822-1_0_3_load_76 | 93 | 0.0077285 | 0.0019369 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_2822-1_0_3_load_77 | 94 | 0.0065419 | 0.0016396 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_2822-1_0_3_load_88 | 96 | 0.002474 | 0.00062006 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_2822-1_0_3_load_96 | 97 | 0.0007213 | 0.00018077 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_2822-1_0_3_load_97 | 98 | 0.0012533 | 0.0003141 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_2822-1_0_3_load_109 | 99 | 0.0010466 | 0.0002623 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_2822-1_0_3_load_105 | 100 | 0.0011846 | 0.0002969 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_2822-1_0_3_load_103 | 101 | 0.0015676 | 0.00039287 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_2822-1_0_3_load_100 | 102 | 0.0052938 | 0.0013267 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_2822-1_0_3_load_101 | 103 | 0.0011491 | 0.00028798 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_2822-1_0_3_load_110 | 106 | 0.00089734 | 0.0002249 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_2822-1_0_3_load_111 | 108 | 0.0091352 | 0.0022895 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 81 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2822-1_0_3_line_0 |  | 0 | 1 | 0.0071387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2822-1_0_3_line_1 |  | 1 | 2 | 0.042025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2822-1_0_3_line_2 |  | 2 | 6 | 0.00051263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2822-1_0_3_line_3 |  | 3 | 4 | 0.035759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2822-1_0_3_line_4 |  | 3 | 5 | 0.0075724 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2822-1_0_3_line_5 |  | 4 | 7 | 0.023876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2822-1_0_3_line_6 |  | 5 | 8 | 0.013878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2822-1_0_3_line_7 |  | 6 | 9 | 0.012123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2822-1_0_3_line_8 |  | 7 | 88 | 0.028238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2822-1_0_3_line_9 |  | 8 | 31 | 0.026087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2822-1_0_3_line_10 |  | 9 | 74 | 0.012429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2822-1_0_3_line_11 |  | 10 | 11 | 0.026474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2822-1_0_3_line_12 |  | 10 | 12 | 0.079917 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2822-1_0_3_line_13 |  | 12 | 13 | 0.077262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2822-1_0_3_line_14 |  | 12 | 14 | 0.078262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2822-1_0_3_line_15 |  | 12 | 15 | 0.11815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2822-1_0_3_line_16 |  | 13 | 17 | 0.10222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2822-1_0_3_line_17 |  | 15 | 16 | 0.0096521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2822-1_0_3_line_18 |  | 16 | 40 | 0.007511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2822-1_0_3_line_19 |  | 17 | 18 | 0.047038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2822-1_0_3_line_20 |  | 18 | 22 | 0.090603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2822-1_0_3_line_21 |  | 19 | 20 | 0.010732 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2822-1_0_3_line_22 |  | 20 | 96 | 0.019061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2822-1_0_3_line_23 |  | 21 | 22 | 0.039381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2822-1_0_3_line_24 |  | 22 | 23 | 0.068851 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2822-1_0_3_line_25 |  | 24 | 25 | 0.026092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2822-1_0_3_line_26 |  | 24 | 26 | 0.00060088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2822-1_0_3_line_27 |  | 25 | 27 | 0.0051142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2822-1_0_3_line_28 |  | 26 | 28 | 0.016138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2822-1_0_3_line_29 |  | 27 | 29 | 0.017578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2822-1_0_3_line_30 |  | 28 | 30 | 0.0095142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2822-1_0_3_line_31 |  | 28 | 31 | 0.015507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2822-1_0_3_line_32 |  | 29 | 32 | 0.003392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2822-1_0_3_line_33 |  | 32 | 45 | 0.013696 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2822-1_0_3_line_34 |  | 33 | 34 | 0.02045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2822-1_0_3_line_35 |  | 34 | 37 | 0.040432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2822-1_0_3_line_36 |  | 34 | 38 | 0.017738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2822-1_0_3_line_37 |  | 35 | 36 | 0.0034364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2822-1_0_3_line_38 |  | 36 | 39 | 0.016118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2822-1_0_3_line_39 |  | 37 | 40 | 0.021207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2822-1_0_3_line_40 |  | 38 | 41 | 0.019409 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2822-1_0_3_line_41 |  | 39 | 42 | 0.0051746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2822-1_0_3_line_42 |  | 40 | 43 | 0.033501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2822-1_0_3_line_43 |  | 41 | 44 | 0.0012671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2822-1_0_3_line_44 |  | 42 | 85 | 0.014227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2822-1_0_3_line_45 |  | 43 | 63 | 0.0032779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2822-1_0_3_line_46 |  | 44 | 70 | 0.020958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2822-1_0_3_line_47 |  | 45 | 46 | 0.0099288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2822-1_0_3_line_48 |  | 46 | 47 | 0.01696 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2822-1_0_3_line_49 |  | 46 | 48 | 0.016117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2822-1_0_3_line_50 |  | 47 | 49 | 0.012738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_2822-1_0_3_line_51 |  | 48 | 50 | 0.040335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2822-1_0_3_line_52 |  | 49 | 71 | 0.035387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
53 | LV_2822-1_0_3_line_53 |  | 49 | 72 | 0.017516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2822-1_0_3_line_54 |  | 50 | 73 | 0.0055756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2822-1_0_3_line_55 |  | 50 | 74 | 0.02649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_2822-1_0_3_line_56 |  | 51 | 52 | 0.029678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2822-1_0_3_line_57 |  | 51 | 53 | 0.015891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_2822-1_0_3_line_58 |  | 52 | 54 | 0.011058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_2822-1_0_3_line_59 |  | 53 | 55 | 0.019488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_2822-1_0_3_line_60 |  | 54 | 56 | 0.01711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_2822-1_0_3_line_61 |  | 55 | 57 | 0.024214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_2822-1_0_3_line_62 |  | 55 | 58 | 0.01515 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_2822-1_0_3_line_63 |  | 56 | 59 | 0.0011158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_2822-1_0_3_line_64 |  | 57 | 60 | 0.0096802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_2822-1_0_3_line_65 |  | 58 | 61 | 0.019008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_2822-1_0_3_line_66 |  | 58 | 62 | 0.0089393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_2822-1_0_3_line_67 |  | 59 | 83 | 0.021235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_2822-1_0_3_line_68 |  | 60 | 96 | 0.015871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_2822-1_0_3_line_69 |  | 61 | 68 | 0.021678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_2822-1_0_3_line_70 |  | 62 | 78 | 0.016549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_2822-1_0_3_line_71 |  | 63 | 64 | 0.017964 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_2822-1_0_3_line_72 |  | 64 | 65 | 0.0039568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_2822-1_0_3_line_73 |  | 65 | 66 | 0.0085747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_2822-1_0_3_line_74 |  | 67 | 68 | 0.010372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_2822-1_0_3_line_75 |  | 67 | 69 | 0.015414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_2822-1_0_3_line_76 |  | 69 | 70 | 0.0065038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_2822-1_0_3_line_77 |  | 71 | 81 | 0.019472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
78 | LV_2822-1_0_3_line_78 |  | 72 | 76 | 0.00071645 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_2822-1_0_3_line_79 |  | 73 | 75 | 0.013992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_2822-1_0_3_line_80 |  | 75 | 95 | 0.027331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_2822-1_0_3_line_81 |  | 76 | 77 | 0.019488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_2822-1_0_3_line_82 |  | 77 | 78 | 0.0060339 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_2822-1_0_3_line_83 |  | 79 | 80 | 0.01952 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_2822-1_0_3_line_84 |  | 80 | 82 | 0.012151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_2822-1_0_3_line_85 |  | 80 | 83 | 0.0082723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_2822-1_0_3_line_86 |  | 81 | 84 | 0.007701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_2822-1_0_3_line_87 |  | 82 | 86 | 0.026136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_2822-1_0_3_line_88 |  | 84 | 85 | 0.009675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_2822-1_0_3_line_89 |  | 86 | 87 | 0.029532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_2822-1_0_3_line_90 |  | 87 | 97 | 0.0091623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_2822-1_0_3_line_91 |  | 87 | 98 | 0.0088694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_2822-1_0_3_line_92 |  | 88 | 89 | 0.025822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_2822-1_0_3_line_93 |  | 88 | 90 | 0.010207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_2822-1_0_3_line_94 |  | 89 | 91 | 0.028324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_2822-1_0_3_line_95 |  | 91 | 92 | 0.073063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_2822-1_0_3_line_96 |  | 92 | 94 | 0.046283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_2822-1_0_3_line_97 |  | 93 | 94 | 0.044158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_2822-1_0_3_line_98 |  | 95 | 107 | 0.055743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_2822-1_0_3_line_99 |  | 95 | 100 | 0.011979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_2822-1_0_3_line_100 |  | 98 | 99 | 0.022099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_2822-1_0_3_line_101 |  | 99 | 101 | 0.007442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_2822-1_0_3_line_102 |  | 101 | 103 | 0.016563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_2822-1_0_3_line_103 |  | 102 | 103 | 0.0086216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_2822-1_0_3_line_104 |  | 102 | 104 | 0.03404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_2822-1_0_3_line_105 |  | 104 | 105 | 0.046747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_2822-1_0_3_line_106 |  | 105 | 106 | 0.027172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_2822-1_0_3_line_107 |  | 107 | 108 | 0.054153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2822-1_0_3_trafo_87 | 0.63 MVA 20/0.4 kV | 109 | 81 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2621366.797 | 1264753.5073 | 2621366.5942 | 1264757.5316 | 2621366.583 | 1264760.6408
1 | 2621393.6735 | 1264732.2339 | 2621389.4572 | 1264734.1644 | 2621363.9317 | 1264744.1349 | 2621366.4214 | 1264749.0695 | 2621366.8135 | 1264753.0959 | 2621366.797 | 1264753.5073
2 | 2621393.3733 | 1264731.8183 | 2621393.6735 | 1264732.2339
3 | 2621387.7107 | 1264800.7489 | 2621395.0254 | 1264793.6593 | 2621412.8778 | 1264775.2776
4 | 2621412.8778 | 1264775.2776 | 2621418.4579 | 1264770.1587
5 | 2621387.7107 | 1264800.7489 | 2621408.0857 | 1264813.1962
6 | 2621428.4393 | 1264760.5193 | 2621421.1961 | 1264767.6468 | 2621418.4579 | 1264770.1587
7 | 2621386.2753 | 1264721.9908 | 2621393.3733 | 1264731.8183
8 | 2621432.1828 | 1264827.9174 | 2621408.0857 | 1264813.1962
9 | 2621447.0335 | 1264742.2225 | 2621428.4393 | 1264760.5193
10 | 2621386.2753 | 1264721.9908 | 2621384.8246 | 1264719.9823 | 2621379.7652 | 1264711.4136
11 | 2621747.0204 | 1264565.6018 | 2621768.0576 | 1264581.6745
12 | 2621683.3916 | 1264517.248 | 2621707.355 | 1264535.2927 | 2621722.4263 | 1264546.8115 | 2621747.0204 | 1264565.6018
13 | 2621683.3916 | 1264517.248 | 2621658.1783 | 1264497.0529 | 2621625.6705 | 1264465.8125
14 | 2621683.3916 | 1264517.248 | 2621704.2421 | 1264486.7587 | 2621714.8218 | 1264468.4069 | 2621724.5495 | 1264450.7695
15 | 2621601.2647 | 1264602.1839 | 2621683.3916 | 1264517.248
16 | 2621625.6705 | 1264465.8125 | 2621629.7157 | 1264459.2672 | 2621671.3754 | 1264386.9246 | 2621675.1713 | 1264380.623 | 2621677.0733 | 1264377.3832
17 | 2621594.1617 | 1264608.7193 | 2621601.2647 | 1264602.1839
18 | 2621594.1617 | 1264608.7193 | 2621588.6159 | 1264613.8026
19 | 2621677.0733 | 1264377.3832 | 2621691.2149 | 1264379.6921 | 2621715.9128 | 1264380.3385 | 2621723.2672 | 1264383.4943
20 | 2621723.2672 | 1264383.4943 | 2621805.8033 | 1264346.1225
21 | 2621490.9273 | 1264508.3169 | 2621499.8923 | 1264502.4171
22 | 2621475.2644 | 1264519.1614 | 2621480.2885 | 1264515.3184 | 2621490.9273 | 1264508.3169
23 | 2621805.8033 | 1264346.1225 | 2621842.8531 | 1264359.4723
24 | 2621827.0867 | 1264290.4288 | 2621820.0403 | 1264287.7677 | 2621809.6301 | 1264317.1387 | 2621811.8094 | 1264328.6325 | 2621805.8033 | 1264346.1225
25 | 2621430.5542 | 1264698.6203 | 2621447.3649 | 1264718.5755
26 | 2621447.3649 | 1264718.5755 | 2621447.752 | 1264719.035
27 | 2621430.5542 | 1264698.6203 | 2621429.8224 | 1264697.7515 | 2621427.1595 | 1264694.7959
28 | 2621458.1496 | 1264731.3774 | 2621447.752 | 1264719.035
29 | 2621415.3933 | 1264681.7363 | 2621427.1595 | 1264694.7959
30 | 2621458.1496 | 1264731.3774 | 2621465.354 | 1264725.1632
31 | 2621458.1496 | 1264731.3774 | 2621447.0335 | 1264742.2225
32 | 2621415.3933 | 1264681.7363 | 2621413.1228 | 1264679.2163
33 | 2621403.9553 | 1264669.041 | 2621413.1228 | 1264679.2163
34 | 2621543.1698 | 1264655.444 | 2621528.0946 | 1264669.2627
35 | 2621543.1698 | 1264655.444 | 2621572.9799 | 1264628.1297
36 | 2621543.1698 | 1264655.444 | 2621529.3512 | 1264644.3231
37 | 2621495.0422 | 1264699.5556 | 2621497.5752 | 1264697.2335
38 | 2621495.0422 | 1264699.5556 | 2621482.1994 | 1264689.816
39 | 2621588.6159 | 1264613.8026 | 2621572.9799 | 1264628.1297
40 | 2621529.3512 | 1264644.3231 | 2621514.2307 | 1264632.1546
41 | 2621478.0763 | 1264686.6891 | 2621482.1994 | 1264689.816
42 | 2621588.6159 | 1264613.8026 | 2621562.5295 | 1264592.7838
43 | 2621513.2435 | 1264631.3602 | 2621514.2307 | 1264632.1546
44 | 2621478.0763 | 1264686.6891 | 2621466.7406 | 1264678.0925
45 | 2621562.5295 | 1264592.7838 | 2621559.9771 | 1264590.7272
46 | 2621496.9165 | 1264618.2206 | 2621513.2435 | 1264631.3602
47 | 2621397.3094 | 1264661.6645 | 2621403.9553 | 1264669.041
48 | 2621397.3094 | 1264661.6645 | 2621404.0915 | 1264646.1191
49 | 2621397.3094 | 1264661.6645 | 2621388.7285 | 1264675.3074
50 | 2621409.185 | 1264634.444 | 2621404.0915 | 1264646.1191
51 | 2621357.247 | 1264697.6117 | 2621367.2105 | 1264695.2238 | 2621375.4167 | 1264691.5397 | 2621384.4569 | 1264682.099 | 2621388.7285 | 1264675.3074
52 | 2621409.185 | 1264634.444 | 2621437.381 | 1264655.827
53 | 2621409.185 | 1264634.444 | 2621416.9967 | 1264618.7661
54 | 2621357.247 | 1264697.6117 | 2621351.8862 | 1264696.0792
55 | 2621357.247 | 1264697.6117 | 2621373.8409 | 1264706.7001 | 2621379.7652 | 1264711.4136
56 | 2621417.4145 | 1264538.4333 | 2621410.5659 | 1264533.6455 | 2621406.6593 | 1264533.1978 | 2621404.1642 | 1264533.9004 | 2621401.4522 | 1264536.27 | 2621395.9274 | 1264546.0083
57 | 2621417.4145 | 1264538.4333 | 2621430.4382 | 1264547.5379
58 | 2621395.9274 | 1264546.0083 | 2621390.4706 | 1264555.6265
59 | 2621446.4102 | 1264558.7037 | 2621430.4382 | 1264547.5379
60 | 2621382.0277 | 1264570.5083 | 2621390.4706 | 1264555.6265
61 | 2621446.4102 | 1264558.7037 | 2621454.1652 | 1264542.4315 | 2621457.7728 | 1264537.403
62 | 2621446.4102 | 1264558.7037 | 2621440.065 | 1264572.4681
63 | 2621382.0277 | 1264570.5083 | 2621381.4771 | 1264571.4787
64 | 2621463.4156 | 1264529.5377 | 2621457.7728 | 1264537.403
65 | 2621440.065 | 1264572.4681 | 2621454.8732 | 1264584.3852
66 | 2621440.065 | 1264572.4681 | 2621436.0784 | 1264580.4692
67 | 2621370.9987 | 1264589.9483 | 2621381.4771 | 1264571.4787
68 | 2621475.2644 | 1264519.1614 | 2621465.5029 | 1264526.6282 | 2621463.4156 | 1264529.5377
69 | 2621454.8732 | 1264584.3852 | 2621471.7615 | 1264597.9765
70 | 2621436.0784 | 1264580.4692 | 2621428.6979 | 1264595.2818
71 | 2621545.9887 | 1264579.4562 | 2621559.9771 | 1264590.7272
72 | 2621545.9887 | 1264579.4562 | 2621542.9076 | 1264576.9737
73 | 2621536.2306 | 1264571.5938 | 2621542.9076 | 1264576.9737
74 | 2621479.8415 | 1264604.4791 | 2621471.7615 | 1264597.9765
75 | 2621479.8415 | 1264604.4791 | 2621491.8497 | 1264614.143
76 | 2621496.9165 | 1264618.2206 | 2621491.8497 | 1264614.143
77 | 2621452.8956 | 1264667.5929 | 2621437.381 | 1264655.827
78 | 2621416.9967 | 1264618.7661 | 2621417.3162 | 1264618.1248
79 | 2621338.3279 | 1264692.6371 | 2621347.0842 | 1264694.7064 | 2621351.8862 | 1264696.0792
80 | 2621311.73 | 1264686.3512 | 2621338.3279 | 1264692.6371
81 | 2621426.007 | 1264600.6825 | 2621417.3162 | 1264618.1248
82 | 2621426.007 | 1264600.6825 | 2621428.6979 | 1264595.2818
83 | 2621366.9167 | 1264597.1433 | 2621366.513 | 1264600.522 | 2621368.4211 | 1264603.8645 | 2621371.8954 | 1264607.2683 | 2621377.8792 | 1264611.6292
84 | 2621366.9167 | 1264597.1433 | 2621356.5699 | 1264590.772
85 | 2621366.9167 | 1264597.1433 | 2621370.9987 | 1264589.9483
86 | 2621459.0317 | 1264672.2463 | 2621452.8956 | 1264667.5929
87 | 2621334.315 | 1264577.068 | 2621356.5699 | 1264590.772
88 | 2621459.0317 | 1264672.2463 | 2621466.7406 | 1264678.0925
89 | 2621307.9833 | 1264564.0082 | 2621321.0008 | 1264568.8695 | 2621334.315 | 1264577.068
90 | 2621307.9833 | 1264564.0082 | 2621309.2118 | 1264573.0877
91 | 2621307.9833 | 1264564.0082 | 2621307.266 | 1264555.1678
92 | 2621432.1828 | 1264827.9174 | 2621437.2542 | 1264831.0379 | 2621454.1755 | 1264841.4496
93 | 2621432.1828 | 1264827.9174 | 2621429.6978 | 1264837.8168
94 | 2621478.2991 | 1264856.2929 | 2621454.1755 | 1264841.4496
95 | 2621478.2991 | 1264856.2929 | 2621510.6653 | 1264872.2214 | 2621517.1374 | 1264873.2345 | 2621522.1943 | 1264872.052 | 2621536.7751 | 1264862.9876 | 2621543.8592 | 1264859.1078
96 | 2621550.2944 | 1264826.5198 | 2621562.939 | 1264836.8422 | 2621550.4089 | 1264855.5208 | 2621543.8592 | 1264859.1078
97 | 2621516.0872 | 1264798.5946 | 2621550.2944 | 1264826.5198
98 | 2621304.2497 | 1264741.585 | 2621308.92 | 1264709.724 | 2621311.73 | 1264686.3512
99 | 2621311.73 | 1264686.3512 | 2621312.0164 | 1264674.3758
100 | 2621305.4788 | 1264533.1414 | 2621307.266 | 1264555.1678
101 | 2621305.4788 | 1264533.1414 | 2621304.8769 | 1264525.7238
102 | 2621304.8769 | 1264525.7238 | 2621304.2697 | 1264518.2408 | 2621303.6877 | 1264509.2042
103 | 2621303.5671 | 1264500.5912 | 2621303.4567 | 1264505.618 | 2621303.6877 | 1264509.2042
104 | 2621312.6049 | 1264468.2915 | 2621306.8095 | 1264480.0011 | 2621304.5466 | 1264487.3091 | 2621303.6457 | 1264497.0126 | 2621303.5671 | 1264500.5912
105 | 2621312.6049 | 1264468.2915 | 2621306.7273 | 1264469.36 | 2621300.2417 | 1264471.9497 | 2621273.9391 | 1264488.3666 | 2621272.1012 | 1264490.5949
106 | 2621272.1012 | 1264490.5949 | 2621271.2835 | 1264496.018 | 2621273.0687 | 1264504.2746 | 2621275.0398 | 1264517.3685
107 | 2621251.7849 | 1264727.5758 | 2621286.4061 | 1264736.6063 | 2621304.2497 | 1264741.585

## bus_geodata
| x | y | coords
0 | 2621366.583 | 1264760.6408
1 | 2621366.797 | 1264753.5073
2 | 2621393.6735 | 1264732.2339
3 | 2621412.8778 | 1264775.2776
4 | 2621387.7107 | 1264800.7489
5 | 2621418.4579 | 1264770.1587
6 | 2621393.3733 | 1264731.8183
7 | 2621408.0857 | 1264813.1962
8 | 2621428.4393 | 1264760.5193
9 | 2621386.2753 | 1264721.9908
10 | 2621747.0204 | 1264565.6018
11 | 2621768.0576 | 1264581.6745
12 | 2621683.3916 | 1264517.248
13 | 2621625.6705 | 1264465.8125
14 | 2621724.5495 | 1264450.7695
15 | 2621601.2647 | 1264602.1839
16 | 2621594.1617 | 1264608.7193
17 | 2621677.0733 | 1264377.3832
18 | 2621723.2672 | 1264383.4943
19 | 2621499.8923 | 1264502.4171
20 | 2621490.9273 | 1264508.3169
21 | 2621842.8531 | 1264359.4723
22 | 2621805.8033 | 1264346.1225
23 | 2621827.0867 | 1264290.4288
24 | 2621447.3649 | 1264718.5755
25 | 2621430.5542 | 1264698.6203
26 | 2621447.752 | 1264719.035
27 | 2621427.1595 | 1264694.7959
28 | 2621458.1496 | 1264731.3774
29 | 2621415.3933 | 1264681.7363
30 | 2621465.354 | 1264725.1632
31 | 2621447.0335 | 1264742.2225
32 | 2621413.1228 | 1264679.2163
33 | 2621528.0946 | 1264669.2627
34 | 2621543.1698 | 1264655.444
35 | 2621497.5752 | 1264697.2335
36 | 2621495.0422 | 1264699.5556
37 | 2621572.9799 | 1264628.1296
38 | 2621529.3512 | 1264644.3231
39 | 2621482.1994 | 1264689.816
40 | 2621588.6159 | 1264613.8026
41 | 2621514.2307 | 1264632.1546
42 | 2621478.0763 | 1264686.6891
43 | 2621562.5295 | 1264592.7838
44 | 2621513.2435 | 1264631.3602
45 | 2621403.9553 | 1264669.041
46 | 2621397.3094 | 1264661.6645
47 | 2621404.0915 | 1264646.1191
48 | 2621388.7285 | 1264675.3074
49 | 2621409.185 | 1264634.444
50 | 2621357.247 | 1264697.6117
51 | 2621417.4145 | 1264538.4333
52 | 2621395.9274 | 1264546.0083
53 | 2621430.4382 | 1264547.5379
54 | 2621390.4706 | 1264555.6265
55 | 2621446.4102 | 1264558.7037
56 | 2621382.0277 | 1264570.5083
57 | 2621457.7728 | 1264537.403
58 | 2621440.065 | 1264572.4681
59 | 2621381.4771 | 1264571.4787
60 | 2621463.4156 | 1264529.5377
61 | 2621454.8732 | 1264584.3852
62 | 2621436.0784 | 1264580.4692
63 | 2621559.9771 | 1264590.7272
64 | 2621545.9887 | 1264579.4562
65 | 2621542.9076 | 1264576.9737
66 | 2621536.2306 | 1264571.5938
67 | 2621479.8415 | 1264604.4791
68 | 2621471.7615 | 1264597.9765
69 | 2621491.8497 | 1264614.143
70 | 2621496.9165 | 1264618.2206
71 | 2621437.381 | 1264655.827
72 | 2621416.9967 | 1264618.7661
73 | 2621351.8862 | 1264696.0792
74 | 2621379.7652 | 1264711.4136
75 | 2621338.328 | 1264692.6371
76 | 2621417.3162 | 1264618.1248
77 | 2621426.007 | 1264600.6825
78 | 2621428.6979 | 1264595.2818
79 | 2621377.8792 | 1264611.6292
80 | 2621366.9167 | 1264597.1433
81 | 2621452.8956 | 1264667.5929
82 | 2621356.5699 | 1264590.772
83 | 2621370.9987 | 1264589.9483
84 | 2621459.0317 | 1264672.2463
85 | 2621466.7406 | 1264678.0925
86 | 2621334.315 | 1264577.068
87 | 2621307.9833 | 1264564.0082
88 | 2621432.1828 | 1264827.9174
89 | 2621454.1755 | 1264841.4496
90 | 2621429.6978 | 1264837.8168
91 | 2621478.2991 | 1264856.2929
92 | 2621543.8592 | 1264859.1078
93 | 2621516.0872 | 1264798.5946
94 | 2621550.2944 | 1264826.5198
95 | 2621311.73 | 1264686.3512
96 | 2621475.2644 | 1264519.1614
97 | 2621309.2118 | 1264573.0877
98 | 2621307.266 | 1264555.1678
99 | 2621305.4788 | 1264533.1414
100 | 2621312.0164 | 1264674.3758
101 | 2621304.8769 | 1264525.7238
102 | 2621303.5671 | 1264500.5912
103 | 2621303.6877 | 1264509.2042
104 | 2621312.6049 | 1264468.2915
105 | 2621272.1012 | 1264490.5949
106 | 2621275.0398 | 1264517.3685
107 | 2621304.2497 | 1264741.585
108 | 2621251.7849 | 1264727.5758
109 | 2621495.0422 | 1264699.5556

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1