## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2822-4_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2822-4_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2822-4_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2822-4_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2822-4_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2822-4_0_5_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_2822-4_0_5_node_31 | 0.4 | n |  | TRUE
7 | bus_LV_2822-4_0_5_node_21 | 0.4 | n |  | TRUE
8 | bus_LV_2822-4_0_5_node_33 | 0.4 | n |  | TRUE
9 | bus_LV_2822-4_0_5_node_12 | 0.4 | n |  | TRUE
10 | bus_LV_2822-4_0_5_node_35 | 0.4 | n |  | TRUE
11 | bus_LV_2822-4_0_5_node_30 | 0.4 | n |  | TRUE
12 | bus_LV_2822-4_0_5_node_29 | 0.4 | n |  | TRUE
13 | bus_LV_2822-4_0_5_node_22 | 0.4 | n |  | TRUE
14 | bus_LV_2822-4_0_5_node_23 | 0.4 | n |  | TRUE
15 | bus_LV_2822-4_0_5_node_6 | 0.4 | n |  | TRUE
16 | bus_LV_2822-4_0_5_node_7 | 0.4 | n |  | TRUE
17 | bus_LV_2822-4_0_5_node_8 | 0.4 | n |  | TRUE
18 | bus_LV_2822-4_0_5_node_9 | 0.4 | n |  | TRUE
19 | bus_LV_2822-4_0_5_node_13 | 0.4 | n |  | TRUE
20 | bus_LV_2822-4_0_5_node_16 | 0.4 | n |  | TRUE
21 | bus_LV_2822-4_0_5_node_14 | 0.4 | n |  | TRUE
22 | bus_LV_2822-4_0_5_node_11 | 0.4 | n |  | TRUE
23 | bus_LV_2822-4_0_5_node_15 | 0.4 | n |  | TRUE
24 | bus_LV_2822-4_0_5_node_62 | 0.4 | n |  | TRUE
25 | bus_LV_2822-4_0_5_node_18 | 0.4 | n |  | TRUE
26 | bus_LV_2822-4_0_5_node_20 | 0.4 | n |  | TRUE
27 | bus_LV_2822-4_0_5_node_60 | 0.4 | n |  | TRUE
28 | bus_LV_2822-4_0_5_node_61 | 0.4 | n |  | TRUE
29 | bus_LV_2822-4_0_5_node_48 | 0.4 | n |  | TRUE
30 | bus_LV_2822-4_0_5_node_59 | 0.4 | n |  | TRUE
31 | bus_LV_2822-4_0_5_node_49 | 0.4 | n |  | TRUE
32 | bus_LV_2822-4_0_5_node_58 | 0.4 | n |  | TRUE
33 | bus_LV_2822-4_0_5_node_24 | 0.4 | n |  | TRUE
34 | bus_LV_2822-4_0_5_node_25 | 0.4 | n |  | TRUE
35 | bus_LV_2822-4_0_5_node_26 | 0.4 | n |  | TRUE
36 | bus_LV_2822-4_0_5_node_27 | 0.4 | n |  | TRUE
37 | bus_LV_2822-4_0_5_node_28 | 0.4 | n |  | TRUE
38 | bus_LV_2822-4_0_5_node_32 | 0.4 | n |  | TRUE
39 | bus_LV_2822-4_0_5_node_51 | 0.4 | n |  | TRUE
40 | bus_LV_2822-4_0_5_node_34 | 0.4 | n |  | TRUE
41 | bus_LV_2822-4_0_5_node_50 | 0.4 | n |  | TRUE
42 | bus_LV_2822-4_0_5_node_36 | 0.4 | n |  | TRUE
43 | bus_LV_2822-4_0_5_node_37 | 0.4 | n |  | TRUE
44 | bus_LV_2822-4_0_5_node_52 | 0.4 | n |  | TRUE
45 | bus_LV_2822-4_0_5_node_38 | 0.4 | n |  | TRUE
46 | bus_LV_2822-4_0_5_node_39 | 0.4 | n |  | TRUE
47 | bus_LV_2822-4_0_5_node_40 | 0.4 | n |  | TRUE
48 | bus_LV_2822-4_0_5_node_41 | 0.4 | n |  | TRUE
49 | bus_LV_2822-4_0_5_node_42 | 0.4 | n |  | TRUE
50 | bus_LV_2822-4_0_5_node_43 | 0.4 | n |  | TRUE
51 | bus_LV_2822-4_0_5_node_44 | 0.4 | n |  | TRUE
52 | bus_LV_2822-4_0_5_node_54 | 0.4 | n |  | TRUE
53 | bus_LV_2822-4_0_5_node_45 | 0.4 | n |  | TRUE
54 | bus_LV_2822-4_0_5_node_57 | 0.4 | n |  | TRUE
55 | bus_LV_2822-4_0_5_node_53 | 0.4 | n |  | TRUE
56 | bus_LV_2822-4_0_5_node_47 | 0.4 | n |  | TRUE
57 | bus_LV_2822-4_0_5_node_46 | 0.4 | n |  | TRUE
58 | bus_LV_2822-4_0_5_node_68 | 0.4 | n |  | TRUE
59 | bus_LV_2822-4_0_5_node_69 | 0.4 | n |  | TRUE
60 | bus_LV_2822-4_0_5_node_67 | 0.4 | n |  | TRUE
61 | bus_LV_2822-4_0_5_node_64 | 0.4 | n |  | TRUE
62 | bus_LV_2822-4_0_5_node_55 | 0.4 | n |  | TRUE
63 | bus_LV_2822-4_0_5_node_56 | 0.4 | n |  | TRUE
64 | bus_LV_2822-4_0_5_node_65 | 0.4 | n |  | TRUE
65 | bus_LV_2822-4_0_5_node_70 | 0.4 | n |  | TRUE
66 | bus_LV_2822-4_0_5_node_66 | 0.4 | n |  | TRUE
67 | bus_MV_347_1_node_136 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2822-4_0_5_load_0 | 0 | 0.0060849 | 0.001525 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2822-4_0_5_load_1 | 1 | 0.021343 | 0.0053492 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2822-4_0_5_load_3 | 3 | 0.0051858 | 0.0012997 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2822-4_0_5_load_5 | 5 | 0.073218 | 0.01835 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2822-4_0_5_load_31 | 6 | 0.0026897 | 0.0006741 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2822-4_0_5_load_33 | 8 | 0.0043719 | 0.0010957 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2822-4_0_5_load_35 | 10 | 0.0040158 | 0.0010065 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2822-4_0_5_load_30 | 11 | 0.0015015 | 0.00037632 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2822-4_0_5_load_22 | 13 | 0.043555 | 0.010916 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2822-4_0_5_load_23 | 14 | 0.041121 | 0.010306 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2822-4_0_5_load_6 | 15 | 0.027257 | 0.0068312 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2822-4_0_5_load_13 | 19 | 0.050483 | 0.012652 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2822-4_0_5_load_16 | 20 | 0.0025576 | 0.000641 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2822-4_0_5_load_14 | 21 | 0.019418 | 0.0048665 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2822-4_0_5_load_62 | 24 | 0.0010282 | 0.00025769 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2822-4_0_5_load_18 | 25 | 0.020055 | 0.0050263 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2822-4_0_5_load_60 | 27 | 0.00093492 | 0.00023431 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2822-4_0_5_load_48 | 29 | 0.027755 | 0.006956 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2822-4_0_5_load_59 | 30 | 0.021111 | 0.0052908 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2822-4_0_5_load_24 | 33 | 0.0015703 | 0.00039355 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2822-4_0_5_load_27 | 36 | 0.0041865 | 0.0010492 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2822-4_0_5_load_28 | 37 | 0.0043994 | 0.0011026 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2822-4_0_5_load_32 | 38 | 0.0012384 | 0.00031036 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2822-4_0_5_load_51 | 39 | 0.0066414 | 0.0016645 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2822-4_0_5_load_34 | 40 | 0.0033237 | 0.00083299 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2822-4_0_5_load_36 | 42 | 0.0025862 | 0.00064817 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2822-4_0_5_load_37 | 43 | 0.0032039 | 0.00080297 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2822-4_0_5_load_52 | 44 | 0.0068761 | 0.0017233 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2822-4_0_5_load_38 | 45 | 0.067579 | 0.016937 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2822-4_0_5_load_42 | 49 | 0.0020023 | 0.00050183 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2822-4_0_5_load_43 | 50 | 0.0021128 | 0.00052952 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2822-4_0_5_load_44 | 51 | 0.049754 | 0.012469 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2822-4_0_5_load_54 | 52 | 0.003726 | 0.00093382 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2822-4_0_5_load_45 | 53 | 0.0011495 | 0.00028809 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2822-4_0_5_load_57 | 54 | 0.0026896 | 0.00067407 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2822-4_0_5_load_53 | 55 | 0.0014554 | 0.00036476 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2822-4_0_5_load_47 | 56 | 0.0017909 | 0.00044883 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2822-4_0_5_load_46 | 57 | 0.0018746 | 0.00046983 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2822-4_0_5_load_68 | 58 | 0.024675 | 0.0061842 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2822-4_0_5_load_67 | 60 | 0.0017137 | 0.00042949 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2822-4_0_5_load_64 | 61 | 0.0013779 | 0.00034533 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2822-4_0_5_load_56 | 63 | 0.0018556 | 0.00046506 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2822-4_0_5_load_70 | 65 | 0.0043609 | 0.001093 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2822-4_0_5_load_66 | 66 | 0.0008982 | 0.00022511 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 7 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2822-4_0_5_line_0 |  | 0 | 1 | 0.0021382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2822-4_0_5_line_1 |  | 0 | 2 | 0.027247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2822-4_0_5_line_2 |  | 1 | 3 | 0.018443 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2822-4_0_5_line_3 |  | 2 | 4 | 0.030344 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2822-4_0_5_line_4 |  | 2 | 5 | 0.012358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2822-4_0_5_line_5 |  | 4 | 6 | 0.010045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2822-4_0_5_line_6 |  | 5 | 7 | 0.025717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2822-4_0_5_line_7 |  | 6 | 10 | 0.014235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2822-4_0_5_line_8 |  | 7 | 13 | 0.026131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
9 | LV_2822-4_0_5_line_9 |  | 7 | 14 | 0.015532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
10 | LV_2822-4_0_5_line_10 |  | 8 | 9 | 0.051348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2822-4_0_5_line_11 |  | 9 | 17 | 0.041718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2822-4_0_5_line_12 |  | 10 | 40 | 0.00029708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2822-4_0_5_line_13 |  | 11 | 12 | 0.0027836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2822-4_0_5_line_14 |  | 12 | 38 | 0.033245 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2822-4_0_5_line_15 |  | 12 | 37 | 0.015901 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2822-4_0_5_line_16 |  | 13 | 29 | 0.017873 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
17 | LV_2822-4_0_5_line_17 |  | 14 | 30 | 0.02059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
18 | LV_2822-4_0_5_line_18 |  | 15 | 16 | 0.0095887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2822-4_0_5_line_19 |  | 15 | 17 | 0.015372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2822-4_0_5_line_20 |  | 16 | 18 | 0.027759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2822-4_0_5_line_21 |  | 17 | 19 | 0.02947 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2822-4_0_5_line_22 |  | 18 | 20 | 0.0032734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2822-4_0_5_line_23 |  | 18 | 21 | 0.030005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2822-4_0_5_line_24 |  | 20 | 24 | 0.016883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2822-4_0_5_line_25 |  | 21 | 22 | 0.024486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2822-4_0_5_line_26 |  | 22 | 23 | 0.033833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2822-4_0_5_line_27 |  | 23 | 25 | 0.044292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2822-4_0_5_line_28 |  | 24 | 26 | 0.01347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2822-4_0_5_line_29 |  | 26 | 27 | 0.03032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2822-4_0_5_line_30 |  | 27 | 28 | 0.017308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2822-4_0_5_line_31 |  | 28 | 61 | 0.044879 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2822-4_0_5_line_32 |  | 28 | 64 | 0.027202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2822-4_0_5_line_33 |  | 29 | 31 | 0.022897 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
34 | LV_2822-4_0_5_line_34 |  | 30 | 32 | 0.024817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
35 | LV_2822-4_0_5_line_35 |  | 31 | 58 | 0.01362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2822-4_0_5_line_36 |  | 31 | 59 | 0.021113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
37 | LV_2822-4_0_5_line_37 |  | 32 | 54 | 0.056546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
38 | LV_2822-4_0_5_line_38 |  | 33 | 34 | 0.083317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2822-4_0_5_line_39 |  | 34 | 35 | 0.063757 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2822-4_0_5_line_40 |  | 35 | 36 | 0.063887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2822-4_0_5_line_41 |  | 36 | 37 | 0.004244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2822-4_0_5_line_42 |  | 38 | 39 | 0.0097565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2822-4_0_5_line_43 |  | 39 | 41 | 0.030693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2822-4_0_5_line_44 |  | 40 | 42 | 0.0083631 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2822-4_0_5_line_45 |  | 41 | 56 | 0.01238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2822-4_0_5_line_46 |  | 42 | 43 | 0.0019898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2822-4_0_5_line_47 |  | 43 | 44 | 0.0072883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2822-4_0_5_line_48 |  | 45 | 46 | 0.014172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2822-4_0_5_line_49 |  | 45 | 47 | 0.0052711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2822-4_0_5_line_50 |  | 46 | 48 | 0.044475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_2822-4_0_5_line_51 |  | 46 | 49 | 0.024701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2822-4_0_5_line_52 |  | 47 | 50 | 0.029697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2822-4_0_5_line_53 |  | 47 | 51 | 0.0075974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2822-4_0_5_line_54 |  | 48 | 52 | 0.025316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2822-4_0_5_line_55 |  | 50 | 53 | 0.00022898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_2822-4_0_5_line_56 |  | 51 | 54 | 0.012259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
57 | LV_2822-4_0_5_line_57 |  | 52 | 55 | 0.023394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_2822-4_0_5_line_58 |  | 53 | 57 | 0.020182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_2822-4_0_5_line_59 |  | 55 | 62 | 0.16367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_2822-4_0_5_line_60 |  | 56 | 57 | 0.0055549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_2822-4_0_5_line_61 |  | 58 | 60 | 0.027179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_2822-4_0_5_line_62 |  | 59 | 61 | 0.011587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_2822-4_0_5_line_63 |  | 60 | 66 | 0.0029446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_2822-4_0_5_line_64 |  | 62 | 63 | 0.10474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_2822-4_0_5_line_65 |  | 64 | 65 | 0.026704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2822-4_0_5_trafo_21 | 0.63 MVA 20/0.4 kV | 67 | 7 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2620804.8036 | 1265009.8767 | 2620804.3702 | 1265011.9706
1 | 2620805.4034 | 1264983.4817 | 2620808.3987 | 1264992.5096 | 2620804.8036 | 1265009.8767
2 | 2620800.6317 | 1265030.0307 | 2620800.6317 | 1265030.0307 | 2620804.3702 | 1265011.9706
3 | 2620805.4034 | 1264983.4817 | 2620835.8381 | 1264983.6998
4 | 2620805.4034 | 1264983.4817 | 2620793.0478 | 1264983.2195
5 | 2620835.8381 | 1264983.6998 | 2620837.301 | 1264973.7618
6 | 2620767.3353 | 1264982.7477 | 2620788.4476 | 1264983.1219 | 2620793.0478 | 1264983.2195
7 | 2620837.301 | 1264973.7618 | 2620839.3742 | 1264959.6783
8 | 2620767.3353 | 1264982.7477 | 2620741.2412 | 1264981.3514
9 | 2620767.3353 | 1264982.7477 | 2620762.9491 | 1264973.1034 | 2620761.092 | 1264968.5285
10 | 2620772.214 | 1265122.4955 | 2620790.4958 | 1265074.5121
11 | 2620772.214 | 1265122.4955 | 2620766.89 | 1265120.4976 | 2620733.2487 | 1265107.2929
12 | 2620839.4175 | 1264959.3843 | 2620839.4175 | 1264959.3843 | 2620839.3742 | 1264959.6783
13 | 2620895.8519 | 1264989.7486 | 2620893.0823 | 1264989.4694
14 | 2620895.8519 | 1264989.7486 | 2620900.1622 | 1264973.8861 | 2620903.7782 | 1264964.8703 | 2620897.8529 | 1264960.9706
15 | 2620895.8519 | 1264989.7486 | 2620911.6964 | 1264991.0866
16 | 2620741.2412 | 1264981.3514 | 2620729.9794 | 1264980.7489 | 2620723.425 | 1264980.0148
17 | 2620761.092 | 1264968.5285 | 2620754.013 | 1264951.0901 | 2620753.3102 | 1264949.4666
18 | 2620710.014 | 1265098.172 | 2620718.9396 | 1265101.6758
19 | 2620733.2487 | 1265107.2929 | 2620718.9396 | 1265101.6758
20 | 2620710.014 | 1265098.172 | 2620684.1098 | 1265087.9967
21 | 2620733.2487 | 1265107.2929 | 2620722.7289 | 1265134.8212
22 | 2620684.1098 | 1265087.9967 | 2620681.063 | 1265086.8
23 | 2620684.1098 | 1265087.9967 | 2620674.1392 | 1265116.2966
24 | 2620665.4368 | 1265080.4169 | 2620670.0862 | 1265082.4884 | 2620681.063 | 1265086.8
25 | 2620666.0024 | 1265139.3916 | 2620674.1392 | 1265116.2966
26 | 2620645.5919 | 1265162.5032 | 2620650.103 | 1265162.2632 | 2620654.5517 | 1265160.4664 | 2620660.0281 | 1265155.4486 | 2620666.0024 | 1265139.3916
27 | 2620645.5919 | 1265162.5032 | 2620686.824 | 1265178.6811
28 | 2620653.1331 | 1265074.9351 | 2620665.4368 | 1265080.4169
29 | 2620653.1331 | 1265074.9351 | 2620661.1777 | 1265045.7019
30 | 2620665.77 | 1265029.0139 | 2620661.1777 | 1265045.7019
31 | 2620665.77 | 1265029.0139 | 2620676.9494 | 1264985.5497
32 | 2620639.5399 | 1265021.5284 | 2620665.77 | 1265029.0139
33 | 2620700.6698 | 1264977.4664 | 2620723.425 | 1264980.0148
34 | 2620743.4513 | 1264926.6917 | 2620753.3102 | 1264949.4666
35 | 2620700.6698 | 1264977.4664 | 2620697.7822 | 1264990.7767
36 | 2620700.6698 | 1264977.4664 | 2620679.7329 | 1264974.3022
37 | 2620743.4513 | 1264926.6917 | 2620767.7407 | 1264914.357 | 2620795.7692 | 1264905.8046
38 | 2621022.4094 | 1265045.8574 | 2620999.7921 | 1265047.4339 | 2620991.3057 | 1265045.4246 | 2620968.573 | 1265028.5324 | 2620945.9701 | 1265021.7366
39 | 2620979.3935 | 1264998.6832 | 2621022.4094 | 1265045.8574
40 | 2620979.3935 | 1264998.6832 | 2620954.3532 | 1264995.4924 | 2620927.7311 | 1264992.4407 | 2620915.9254 | 1264991.4437
41 | 2620915.9254 | 1264991.4437 | 2620911.6964 | 1264991.0866
42 | 2620889.6643 | 1264955.6688 | 2620891.0222 | 1264956.4751 | 2620897.8529 | 1264960.9706
43 | 2620863.2725 | 1264939.9992 | 2620889.6643 | 1264955.6688
44 | 2620839.4175 | 1264959.3843 | 2620847.6038 | 1264961.0946
45 | 2620863.2725 | 1264939.9992 | 2620852.5349 | 1264933.8366
46 | 2620849.5515 | 1264961.5015 | 2620847.6038 | 1264961.0946
47 | 2620856.6858 | 1264962.992 | 2620849.5515 | 1264961.5015
48 | 2620826.999 | 1264882.7874 | 2620816.3895 | 1264892.1837
49 | 2620812.4435 | 1264895.6785 | 2620816.3895 | 1264892.1837
50 | 2620826.999 | 1264882.7874 | 2620848.8224 | 1264858.7807 | 2620854.8231 | 1264848.2945
51 | 2620826.999 | 1264882.7874 | 2620838.872 | 1264896.105 | 2620843.7124 | 1264900.9645
52 | 2620812.4435 | 1264895.6785 | 2620819.9542 | 1264901.1643 | 2620833.8305 | 1264916.1124
53 | 2620812.4435 | 1264895.6785 | 2620806.5673 | 1264900.4942
54 | 2620854.8231 | 1264848.2945 | 2620839.1709 | 1264832.5618 | 2620836.749 | 1264830.5887
55 | 2620833.8305 | 1264916.1124 | 2620833.9863 | 1264916.2802
56 | 2620795.7692 | 1264905.8046 | 2620802.649 | 1264903.7053 | 2620806.5673 | 1264900.4942
57 | 2620818.6126 | 1264815.8123 | 2620836.749 | 1264830.5887
58 | 2620833.9863 | 1264916.2802 | 2620847.7171 | 1264931.0716
59 | 2620783.5925 | 1264669.2642 | 2620792.2185 | 1264683.193 | 2620800.7627 | 1264698.9228 | 2620804.547 | 1264717.0487 | 2620803.5808 | 1264732.7229 | 2620791.9536 | 1264771.5425 | 2620792.1679 | 1264783.4293 | 2620796.4888 | 1264794.5299 | 2620805.0146 | 1264804.7336 | 2620818.6126 | 1264815.8123
60 | 2620847.7171 | 1264931.0716 | 2620847.7171 | 1264931.0716 | 2620852.5349 | 1264933.8366
61 | 2620697.7822 | 1264990.7767 | 2620692.0199 | 1265017.338
62 | 2620679.7329 | 1264974.3022 | 2620677.8765 | 1264981.9455 | 2620676.9494 | 1264985.5497
63 | 2620691.3956 | 1265020.2156 | 2620692.0199 | 1265017.338
64 | 2620783.5925 | 1264669.2642 | 2620792.4994 | 1264671.8083 | 2620823.3723 | 1264680.6228 | 2620884.2029 | 1264699.3832
65 | 2620639.5399 | 1265021.5284 | 2620645.3984 | 1264995.4751

## bus_geodata
| x | y | coords
0 | 2620804.8036 | 1265009.8767
1 | 2620804.3702 | 1265011.9706
2 | 2620805.4034 | 1264983.4817
3 | 2620800.6317 | 1265030.0307
4 | 2620835.8381 | 1264983.6998
5 | 2620793.0478 | 1264983.2195
6 | 2620837.301 | 1264973.7618
7 | 2620767.3353 | 1264982.7477
8 | 2620790.4958 | 1265074.5121
9 | 2620772.214 | 1265122.4955
10 | 2620839.3742 | 1264959.6783
11 | 2620893.0823 | 1264989.4694
12 | 2620895.8519 | 1264989.7486
13 | 2620741.2412 | 1264981.3514
14 | 2620761.092 | 1264968.5285
15 | 2620718.9396 | 1265101.6758
16 | 2620710.014 | 1265098.172
17 | 2620733.2487 | 1265107.2929
18 | 2620684.1098 | 1265087.9967
19 | 2620722.7289 | 1265134.8212
20 | 2620681.063 | 1265086.8
21 | 2620674.1392 | 1265116.2966
22 | 2620666.0024 | 1265139.3916
23 | 2620645.5919 | 1265162.5032
24 | 2620665.4368 | 1265080.4169
25 | 2620686.824 | 1265178.6811
26 | 2620653.1331 | 1265074.9351
27 | 2620661.1777 | 1265045.7019
28 | 2620665.77 | 1265029.0139
29 | 2620723.425 | 1264980.0148
30 | 2620753.3102 | 1264949.4666
31 | 2620700.6698 | 1264977.4664
32 | 2620743.4513 | 1264926.6917
33 | 2620945.9701 | 1265021.7366
34 | 2621022.4094 | 1265045.8574
35 | 2620979.3935 | 1264998.6832
36 | 2620915.9254 | 1264991.4437
37 | 2620911.6964 | 1264991.0866
38 | 2620897.8529 | 1264960.9706
39 | 2620889.6643 | 1264955.6688
40 | 2620839.4175 | 1264959.3843
41 | 2620863.2725 | 1264939.9992
42 | 2620847.6038 | 1264961.0946
43 | 2620849.5515 | 1264961.5015
44 | 2620856.6858 | 1264962.992
45 | 2620816.3895 | 1264892.1837
46 | 2620826.999 | 1264882.7874
47 | 2620812.4435 | 1264895.6785
48 | 2620854.8231 | 1264848.2945
49 | 2620843.7124 | 1264900.9645
50 | 2620833.8305 | 1264916.1124
51 | 2620806.5673 | 1264900.4942
52 | 2620836.749 | 1264830.5887
53 | 2620833.9863 | 1264916.2802
54 | 2620795.7692 | 1264905.8046
55 | 2620818.6126 | 1264815.8123
56 | 2620852.5349 | 1264933.8366
57 | 2620847.7171 | 1264931.0716
58 | 2620697.7822 | 1264990.7767
59 | 2620679.7329 | 1264974.3022
60 | 2620692.0199 | 1265017.338
61 | 2620676.9494 | 1264985.5497
62 | 2620783.5925 | 1264669.2642
63 | 2620884.2029 | 1264699.3832
64 | 2620639.5399 | 1265021.5284
65 | 2620645.3984 | 1264995.4751
66 | 2620691.3956 | 1265020.2156
67 | 2620805.4034 | 1264983.4817

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1