## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2831-23_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2831-23_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2831-23_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2831-23_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2831-23_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2831-23_0_6_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_2831-23_0_6_node_7 | 0.4 | n |  | TRUE
7 | bus_LV_2831-23_0_6_node_24 | 0.4 | n |  | TRUE
8 | bus_LV_2831-23_0_6_node_13 | 0.4 | n |  | TRUE
9 | bus_LV_2831-23_0_6_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_2831-23_0_6_node_10 | 0.4 | n |  | TRUE
11 | bus_LV_2831-23_0_6_node_15 | 0.4 | n |  | TRUE
12 | bus_LV_2831-23_0_6_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_2831-23_0_6_node_26 | 0.4 | n |  | TRUE
14 | bus_LV_2831-23_0_6_node_25 | 0.4 | n |  | TRUE
15 | bus_LV_2831-23_0_6_node_12 | 0.4 | n |  | TRUE
16 | bus_LV_2831-23_0_6_node_97 | 0.4 | n |  | TRUE
17 | bus_LV_2831-23_0_6_node_96 | 0.4 | n |  | TRUE
18 | bus_LV_2831-23_0_6_node_14 | 0.4 | n |  | TRUE
19 | bus_LV_2831-23_0_6_node_59 | 0.4 | n |  | TRUE
20 | bus_LV_2831-23_0_6_node_61 | 0.4 | n |  | TRUE
21 | bus_LV_2831-23_0_6_node_57 | 0.4 | n |  | TRUE
22 | bus_LV_2831-23_0_6_node_70 | 0.4 | n |  | TRUE
23 | bus_LV_2831-23_0_6_node_71 | 0.4 | n |  | TRUE
24 | bus_LV_2831-23_0_6_node_16 | 0.4 | n |  | TRUE
25 | bus_LV_2831-23_0_6_node_30 | 0.4 | n |  | TRUE
26 | bus_LV_2831-23_0_6_node_23 | 0.4 | n |  | TRUE
27 | bus_LV_2831-23_0_6_node_29 | 0.4 | n |  | TRUE
28 | bus_LV_2831-23_0_6_node_34 | 0.4 | n |  | TRUE
29 | bus_LV_2831-23_0_6_node_19 | 0.4 | n |  | TRUE
30 | bus_LV_2831-23_0_6_node_20 | 0.4 | n |  | TRUE
31 | bus_LV_2831-23_0_6_node_21 | 0.4 | n |  | TRUE
32 | bus_LV_2831-23_0_6_node_31 | 0.4 | n |  | TRUE
33 | bus_LV_2831-23_0_6_node_76 | 0.4 | n |  | TRUE
34 | bus_LV_2831-23_0_6_node_32 | 0.4 | n |  | TRUE
35 | bus_LV_2831-23_0_6_node_33 | 0.4 | n |  | TRUE
36 | bus_LV_2831-23_0_6_node_66 | 0.4 | n |  | TRUE
37 | bus_LV_2831-23_0_6_node_35 | 0.4 | n |  | TRUE
38 | bus_LV_2831-23_0_6_node_36 | 0.4 | n |  | TRUE
39 | bus_LV_2831-23_0_6_node_37 | 0.4 | n |  | TRUE
40 | bus_LV_2831-23_0_6_node_38 | 0.4 | n |  | TRUE
41 | bus_LV_2831-23_0_6_node_39 | 0.4 | n |  | TRUE
42 | bus_LV_2831-23_0_6_node_40 | 0.4 | n |  | TRUE
43 | bus_LV_2831-23_0_6_node_42 | 0.4 | n |  | TRUE
44 | bus_LV_2831-23_0_6_node_45 | 0.4 | n |  | TRUE
45 | bus_LV_2831-23_0_6_node_41 | 0.4 | n |  | TRUE
46 | bus_LV_2831-23_0_6_node_46 | 0.4 | n |  | TRUE
47 | bus_LV_2831-23_0_6_node_43 | 0.4 | n |  | TRUE
48 | bus_LV_2831-23_0_6_node_44 | 0.4 | n |  | TRUE
49 | bus_LV_2831-23_0_6_node_67 | 0.4 | n |  | TRUE
50 | bus_LV_2831-23_0_6_node_65 | 0.4 | n |  | TRUE
51 | bus_LV_2831-23_0_6_node_75 | 0.4 | n |  | TRUE
52 | bus_LV_2831-23_0_6_node_77 | 0.4 | n |  | TRUE
53 | bus_LV_2831-23_0_6_node_63 | 0.4 | n |  | TRUE
54 | bus_LV_2831-23_0_6_node_47 | 0.4 | n |  | TRUE
55 | bus_LV_2831-23_0_6_node_48 | 0.4 | n |  | TRUE
56 | bus_LV_2831-23_0_6_node_49 | 0.4 | n |  | TRUE
57 | bus_LV_2831-23_0_6_node_50 | 0.4 | n |  | TRUE
58 | bus_LV_2831-23_0_6_node_51 | 0.4 | n |  | TRUE
59 | bus_LV_2831-23_0_6_node_52 | 0.4 | n |  | TRUE
60 | bus_LV_2831-23_0_6_node_53 | 0.4 | n |  | TRUE
61 | bus_LV_2831-23_0_6_node_54 | 0.4 | n |  | TRUE
62 | bus_LV_2831-23_0_6_node_56 | 0.4 | n |  | TRUE
63 | bus_LV_2831-23_0_6_node_80 | 0.4 | n |  | TRUE
64 | bus_LV_2831-23_0_6_node_55 | 0.4 | n |  | TRUE
65 | bus_LV_2831-23_0_6_node_78 | 0.4 | n |  | TRUE
66 | bus_LV_2831-23_0_6_node_84 | 0.4 | n |  | TRUE
67 | bus_LV_2831-23_0_6_node_81 | 0.4 | n |  | TRUE
68 | bus_LV_2831-23_0_6_node_79 | 0.4 | n |  | TRUE
69 | bus_LV_2831-23_0_6_node_93 | 0.4 | n |  | TRUE
70 | bus_LV_2831-23_0_6_node_82 | 0.4 | n |  | TRUE
71 | bus_LV_2831-23_0_6_node_58 | 0.4 | n |  | TRUE
72 | bus_LV_2831-23_0_6_node_60 | 0.4 | n |  | TRUE
73 | bus_LV_2831-23_0_6_node_94 | 0.4 | n |  | TRUE
74 | bus_LV_2831-23_0_6_node_68 | 0.4 | n |  | TRUE
75 | bus_LV_2831-23_0_6_node_90 | 0.4 | n |  | TRUE
76 | bus_LV_2831-23_0_6_node_69 | 0.4 | n |  | TRUE
77 | bus_LV_2831-23_0_6_node_62 | 0.4 | n |  | TRUE
78 | bus_LV_2831-23_0_6_node_64 | 0.4 | n |  | TRUE
79 | bus_LV_2831-23_0_6_node_73 | 0.4 | n |  | TRUE
80 | bus_LV_2831-23_0_6_node_72 | 0.4 | n |  | TRUE
81 | bus_LV_2831-23_0_6_node_74 | 0.4 | n |  | TRUE
82 | bus_LV_2831-23_0_6_node_83 | 0.4 | n |  | TRUE
83 | bus_LV_2831-23_0_6_node_95 | 0.4 | n |  | TRUE
84 | bus_LV_2831-23_0_6_node_85 | 0.4 | n |  | TRUE
85 | bus_LV_2831-23_0_6_node_86 | 0.4 | n |  | TRUE
86 | bus_LV_2831-23_0_6_node_87 | 0.4 | n |  | TRUE
87 | bus_LV_2831-23_0_6_node_88 | 0.4 | n |  | TRUE
88 | bus_LV_2831-23_0_6_node_89 | 0.4 | n |  | TRUE
89 | bus_LV_2831-23_0_6_node_91 | 0.4 | n |  | TRUE
90 | bus_LV_2831-23_0_6_node_92 | 0.4 | n |  | TRUE
91 | bus_MV_577_0_node_28 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2831-23_0_6_load_0 | 0 | 0.019651 | 0.0049249 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2831-23_0_6_load_3 | 3 | 0.021833 | 0.0054718 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2831-23_0_6_load_4 | 4 | 0.027511 | 0.0068948 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2831-23_0_6_load_13 | 8 | 0.0090843 | 0.0022767 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2831-23_0_6_load_15 | 11 | 0.014067 | 0.0035254 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2831-23_0_6_load_26 | 13 | 0.0086287 | 0.0021626 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2831-23_0_6_load_25 | 14 | 0.033694 | 0.0084445 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2831-23_0_6_load_12 | 15 | 0.0088639 | 0.0022215 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2831-23_0_6_load_97 | 16 | 0.021462 | 0.0053788 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2831-23_0_6_load_96 | 17 | 0.0097024 | 0.0024316 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2831-23_0_6_load_61 | 20 | 0.008157 | 0.0020443 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2831-23_0_6_load_57 | 21 | 0.0028852 | 0.0007231 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2831-23_0_6_load_70 | 22 | 0.023702 | 0.0059404 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2831-23_0_6_load_71 | 23 | 0.031376 | 0.0078636 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2831-23_0_6_load_16 | 24 | 0.0026873 | 0.0006735 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2831-23_0_6_load_30 | 25 | 0.0021809 | 0.00054658 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2831-23_0_6_load_34 | 28 | 0.032614 | 0.0081737 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2831-23_0_6_load_19 | 29 | 0.013327 | 0.0033402 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2831-23_0_6_load_20 | 30 | 0.011987 | 0.0030042 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2831-23_0_6_load_21 | 31 | 0.012532 | 0.0031408 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2831-23_0_6_load_31 | 32 | 0.015859 | 0.0039747 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2831-23_0_6_load_76 | 33 | 0.033719 | 0.0084507 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2831-23_0_6_load_32 | 34 | 0.014449 | 0.0036213 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2831-23_0_6_load_33 | 35 | 0.02955 | 0.0074058 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2831-23_0_6_load_66 | 36 | 0.0046467 | 0.0011646 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2831-23_0_6_load_35 | 37 | 0.017971 | 0.0045041 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2831-23_0_6_load_36 | 38 | 0.0037769 | 0.00094658 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2831-23_0_6_load_38 | 40 | 0.013386 | 0.0033547 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2831-23_0_6_load_39 | 41 | 0.0020336 | 0.00050966 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2831-23_0_6_load_40 | 42 | 0.0016136 | 0.0004044 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2831-23_0_6_load_42 | 43 | 0.0055198 | 0.0013834 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2831-23_0_6_load_45 | 44 | 0.0099617 | 0.0024966 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2831-23_0_6_load_41 | 45 | 0.0025131 | 0.00062984 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2831-23_0_6_load_46 | 46 | 0.0026142 | 0.00065519 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2831-23_0_6_load_43 | 47 | 0.0016059 | 0.00040247 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2831-23_0_6_load_65 | 50 | 0.0094037 | 0.0023568 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2831-23_0_6_load_75 | 51 | 0.0017067 | 0.00042774 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2831-23_0_6_load_77 | 52 | 0.0019208 | 0.00048139 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2831-23_0_6_load_63 | 53 | 0.011708 | 0.0029342 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2831-23_0_6_load_47 | 54 | 0.0019792 | 0.00049602 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2831-23_0_6_load_48 | 55 | 0.0015418 | 0.00038641 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2831-23_0_6_load_49 | 56 | 0.0017174 | 0.00043042 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2831-23_0_6_load_50 | 57 | 0.0021841 | 0.00054738 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2831-23_0_6_load_51 | 58 | 0.0029201 | 0.00073184 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2831-23_0_6_load_53 | 60 | 0.0030547 | 0.00076559 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2831-23_0_6_load_56 | 62 | 0.0030856 | 0.00077333 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2831-23_0_6_load_80 | 63 | 0.0029175 | 0.00073119 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2831-23_0_6_load_78 | 65 | 0.0026796 | 0.00067158 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2831-23_0_6_load_84 | 66 | 0.0018199 | 0.00045611 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2831-23_0_6_load_81 | 67 | 0.0017224 | 0.00043167 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2831-23_0_6_load_79 | 68 | 0.0021373 | 0.00053566 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2831-23_0_6_load_93 | 69 | 0.0018169 | 0.00045536 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2831-23_0_6_load_82 | 70 | 0.0026793 | 0.0006715 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2831-23_0_6_load_58 | 71 | 0.0014234 | 0.00035675 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2831-23_0_6_load_94 | 73 | 0.0013428 | 0.00033654 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2831-23_0_6_load_68 | 74 | 0.0013447 | 0.00033702 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_2831-23_0_6_load_90 | 75 | 0.001693 | 0.00042431 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_2831-23_0_6_load_62 | 77 | 0.0039648 | 0.00099368 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_2831-23_0_6_load_64 | 78 | 0.0042085 | 0.0010547 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_2831-23_0_6_load_73 | 79 | 0.0015941 | 0.00039953 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_2831-23_0_6_load_72 | 80 | 0.002599 | 0.00065136 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_2831-23_0_6_load_74 | 81 | 0.0028952 | 0.00072562 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_2831-23_0_6_load_83 | 82 | 0.0017243 | 0.00043215 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_2831-23_0_6_load_95 | 83 | 0.0019013 | 0.00047652 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_2831-23_0_6_load_85 | 84 | 0.0018239 | 0.00045711 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_2831-23_0_6_load_86 | 85 | 0.0016343 | 0.0004096 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_2831-23_0_6_load_88 | 87 | 0.0020369 | 0.00051048 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_2831-23_0_6_load_89 | 88 | 0.0016154 | 0.00040486 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_2831-23_0_6_load_91 | 89 | 0.0021064 | 0.00052792 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_2831-23_0_6_load_92 | 90 | 0.0018186 | 0.0004558 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 33 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2831-23_0_6_line_0 |  | 0 | 1 | 0.019948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2831-23_0_6_line_1 |  | 0 | 2 | 0.026579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2831-23_0_6_line_2 |  | 1 | 3 | 0.01379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2831-23_0_6_line_3 |  | 1 | 4 | 0.035298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2831-23_0_6_line_4 |  | 2 | 5 | 0.013232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2831-23_0_6_line_5 |  | 3 | 6 | 0.032734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2831-23_0_6_line_6 |  | 5 | 7 | 0.004434 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2831-23_0_6_line_7 |  | 5 | 8 | 0.025175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2831-23_0_6_line_8 |  | 6 | 12 | 0.036833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2831-23_0_6_line_9 |  | 7 | 13 | 0.019547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2831-23_0_6_line_10 |  | 7 | 14 | 0.032517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2831-23_0_6_line_11 |  | 8 | 15 | 0.016467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2831-23_0_6_line_12 |  | 9 | 10 | 0.08507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2831-23_0_6_line_13 |  | 9 | 11 | 0.010079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2831-23_0_6_line_14 |  | 10 | 16 | 0.021396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2831-23_0_6_line_15 |  | 11 | 18 | 0.0086331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2831-23_0_6_line_16 |  | 12 | 17 | 0.035538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2831-23_0_6_line_17 |  | 15 | 18 | 0.015778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2831-23_0_6_line_18 |  | 18 | 24 | 0.018224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
19 | LV_2831-23_0_6_line_19 |  | 19 | 20 | 0.03663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2831-23_0_6_line_20 |  | 19 | 21 | 0.052821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2831-23_0_6_line_21 |  | 20 | 74 | 0.037547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2831-23_0_6_line_22 |  | 21 | 71 | 0.0038411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2831-23_0_6_line_23 |  | 22 | 23 | 0.020446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2831-23_0_6_line_24 |  | 23 | 76 | 0.011508 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2831-23_0_6_line_25 |  | 24 | 25 | 0.0051618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
26 | LV_2831-23_0_6_line_26 |  | 25 | 26 | 0.038004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
27 | LV_2831-23_0_6_line_27 |  | 26 | 32 | 0.031463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
28 | LV_2831-23_0_6_line_28 |  | 26 | 27 | 0.048517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2831-23_0_6_line_29 |  | 26 | 31 | 0.025978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2831-23_0_6_line_30 |  | 27 | 28 | 0.010307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2831-23_0_6_line_31 |  | 28 | 35 | 0.00063008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2831-23_0_6_line_32 |  | 29 | 30 | 0.017353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2831-23_0_6_line_33 |  | 29 | 31 | 0.017674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2831-23_0_6_line_34 |  | 32 | 33 | 0.0045808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
35 | LV_2831-23_0_6_line_35 |  | 33 | 36 | 0.006589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
36 | LV_2831-23_0_6_line_36 |  | 34 | 35 | 0.046729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2831-23_0_6_line_37 |  | 36 | 78 | 0.016238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
38 | LV_2831-23_0_6_line_38 |  | 37 | 38 | 0.014847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2831-23_0_6_line_39 |  | 37 | 39 | 0.03813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2831-23_0_6_line_40 |  | 38 | 40 | 0.0019095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2831-23_0_6_line_41 |  | 39 | 41 | 0.0056181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2831-23_0_6_line_42 |  | 39 | 42 | 0.013571 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2831-23_0_6_line_43 |  | 41 | 43 | 0.018619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2831-23_0_6_line_44 |  | 42 | 44 | 0.013987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2831-23_0_6_line_45 |  | 43 | 45 | 0.0068648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2831-23_0_6_line_46 |  | 44 | 46 | 0.0075532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2831-23_0_6_line_47 |  | 45 | 47 | 0.022145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2831-23_0_6_line_48 |  | 47 | 48 | 0.020854 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2831-23_0_6_line_49 |  | 48 | 49 | 0.02513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2831-23_0_6_line_50 |  | 48 | 50 | 0.033034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
51 | LV_2831-23_0_6_line_51 |  | 49 | 51 | 0.012336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2831-23_0_6_line_52 |  | 49 | 52 | 0.023506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2831-23_0_6_line_53 |  | 50 | 53 | 0.0014449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
54 | LV_2831-23_0_6_line_54 |  | 51 | 79 | 0.0011907 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2831-23_0_6_line_55 |  | 52 | 76 | 0.02402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_2831-23_0_6_line_56 |  | 53 | 77 | 0.0067153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
57 | LV_2831-23_0_6_line_57 |  | 54 | 55 | 0.0072537 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_2831-23_0_6_line_58 |  | 54 | 56 | 0.0073065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_2831-23_0_6_line_59 |  | 55 | 57 | 0.015616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_2831-23_0_6_line_60 |  | 57 | 58 | 0.01747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_2831-23_0_6_line_61 |  | 58 | 59 | 0.013215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_2831-23_0_6_line_62 |  | 59 | 60 | 0.020008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_2831-23_0_6_line_63 |  | 59 | 61 | 0.040095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_2831-23_0_6_line_64 |  | 60 | 62 | 0.0098565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_2831-23_0_6_line_65 |  | 61 | 63 | 0.022027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_2831-23_0_6_line_66 |  | 61 | 64 | 0.051166 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_2831-23_0_6_line_67 |  | 61 | 65 | 0.014106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_2831-23_0_6_line_68 |  | 64 | 66 | 0.012546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_2831-23_0_6_line_69 |  | 64 | 67 | 0.012124 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_2831-23_0_6_line_70 |  | 65 | 68 | 0.024595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_2831-23_0_6_line_71 |  | 66 | 69 | 0.013011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_2831-23_0_6_line_72 |  | 67 | 70 | 0.013591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_2831-23_0_6_line_73 |  | 69 | 72 | 0.019655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_2831-23_0_6_line_74 |  | 70 | 82 | 0.016624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_2831-23_0_6_line_75 |  | 71 | 72 | 0.018358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_2831-23_0_6_line_76 |  | 72 | 73 | 0.014868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_2831-23_0_6_line_77 |  | 73 | 75 | 0.0016396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_2831-23_0_6_line_78 |  | 74 | 76 | 0.016855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_2831-23_0_6_line_79 |  | 75 | 86 | 0.02044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_2831-23_0_6_line_80 |  | 77 | 78 | 0.017163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
81 | LV_2831-23_0_6_line_81 |  | 79 | 80 | 0.015769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_2831-23_0_6_line_82 |  | 80 | 81 | 0.018783 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_2831-23_0_6_line_83 |  | 82 | 83 | 0.018602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_2831-23_0_6_line_84 |  | 84 | 85 | 0.0075594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_2831-23_0_6_line_85 |  | 84 | 86 | 0.004544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_2831-23_0_6_line_86 |  | 85 | 87 | 0.0052565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_2831-23_0_6_line_87 |  | 86 | 88 | 0.0089286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_2831-23_0_6_line_88 |  | 88 | 89 | 0.0081466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_2831-23_0_6_line_89 |  | 89 | 90 | 0.01297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2831-23_0_6_trafo_76 | 0.63 MVA 20/0.4 kV | 91 | 33 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2618299.1046 | 1263260.9021 | 2618318.775 | 1263257.583
1 | 2618344.9833 | 1263253.1607 | 2618318.775 | 1263257.583
2 | 2618299.1046 | 1263260.9021 | 2618285.5126 | 1263263.2298
3 | 2618299.1046 | 1263260.9021 | 2618305.5398 | 1263295.6083
4 | 2618358.0657 | 1263250.933 | 2618344.9833 | 1263253.1607
5 | 2618253.2483 | 1263268.7552 | 2618285.5126 | 1263263.2298
6 | 2618358.7376 | 1263255.3158 | 2618358.0657 | 1263250.933
7 | 2618358.0657 | 1263250.933 | 2618361.3651 | 1263245.962 | 2618358.2238 | 1263227.0118
8 | 2618253.2483 | 1263268.7552 | 2618259.4644 | 1263282.7061 | 2618239.5247 | 1263290.906
9 | 2618358.7376 | 1263255.3158 | 2618378.0414 | 1263252.2403
10 | 2618358.7376 | 1263255.3158 | 2618363.1666 | 1263284.4274 | 2618360.1372 | 1263284.9295
11 | 2618355.531 | 1263210.7666 | 2618358.2238 | 1263227.0118
12 | 2618267.739 | 1263217.709 | 2618284.7926 | 1263214.904 | 2618287.2835 | 1263227.8206 | 2618304.8875 | 1263219.9695 | 2618319.0022 | 1263212.7525 | 2618327.6553 | 1263208.2873 | 2618336.331 | 1263203.7999
13 | 2618336.331 | 1263203.7999 | 2618342.5021 | 1263200.6057 | 2618345.2828 | 1263199.1673
14 | 2618264.1434 | 1263196.6167 | 2618267.739 | 1263217.709
15 | 2618352.9508 | 1263195.2009 | 2618345.2828 | 1263199.1673
16 | 2618239.5247 | 1263290.906 | 2618253.7502 | 1263323.4722
17 | 2618352.9508 | 1263195.2009 | 2618355.531 | 1263210.7666
18 | 2618352.9508 | 1263195.2009 | 2618359.8386 | 1263191.642 | 2618369.1336 | 1263186.8207
19 | 2618266.3743 | 1263000.5662 | 2618282.2964 | 1263033.5548
20 | 2618266.3743 | 1263000.5662 | 2618285.7664 | 1262989.5295 | 2618299.6981 | 1262985.6364 | 2618309.2081 | 1262984.2759 | 2618315.6187 | 1262983.7098
21 | 2618282.2964 | 1263033.5548 | 2618288.1841 | 1263045.7534 | 2618295.1564 | 1263061.2301 | 2618297.7401 | 1263067.7647
22 | 2618315.6187 | 1262983.7098 | 2618319.445 | 1262983.3718
23 | 2618277.0739 | 1263100.7305 | 2618289.1823 | 1263093.3115 | 2618294.3733 | 1263089.8385
24 | 2618303.9382 | 1263083.4391 | 2618294.3733 | 1263089.8385
25 | 2618369.1336 | 1263186.8207 | 2618373.7157 | 1263184.444
26 | 2618407.54 | 1263167.1173 | 2618375.9907 | 1263183.264 | 2618373.7157 | 1263184.444
27 | 2618407.54 | 1263167.1173 | 2618397.6624 | 1263137.2451
28 | 2618452.6011 | 1263148.8781 | 2618440.1141 | 1263153.309 | 2618417.0594 | 1263162.6438 | 2618407.54 | 1263167.1173
29 | 2618407.54 | 1263167.1173 | 2618410.9863 | 1263192.8662
30 | 2618452.6011 | 1263148.8781 | 2618462.5707 | 1263146.2639
31 | 2618462.5707 | 1263146.2639 | 2618463.1802 | 1263146.1041
32 | 2618413.331 | 1263210.3842 | 2618415.6331 | 1263227.5841
33 | 2618413.331 | 1263210.3842 | 2618410.9863 | 1263192.8662
34 | 2618397.6624 | 1263137.2451 | 2618396.2243 | 1263132.896
35 | 2618396.2243 | 1263132.896 | 2618394.1557 | 1263126.6401
36 | 2618463.1802 | 1263146.1041 | 2618489.4784 | 1263139.2085 | 2618508.5915 | 1263135.14
37 | 2618389.0577 | 1263111.2227 | 2618394.1557 | 1263126.6401
38 | 2618492.8021 | 1263020.4948 | 2618478.6018 | 1263024.8292
39 | 2618441.92 | 1263035.2332 | 2618472.2563 | 1263026.7662 | 2618478.6018 | 1263024.8292
40 | 2618494.6284 | 1263019.9373 | 2618492.8021 | 1263020.4948
41 | 2618441.92 | 1263035.2332 | 2618436.5283 | 1263036.8119
42 | 2618441.92 | 1263035.2332 | 2618438.384 | 1263022.1312
43 | 2618418.6594 | 1263042.044 | 2618436.5283 | 1263036.8119
44 | 2618434.7396 | 1263008.6272 | 2618438.384 | 1263022.1312
45 | 2618412.0712 | 1263043.973 | 2618418.6594 | 1263042.044
46 | 2618434.7396 | 1263008.6272 | 2618432.7715 | 1263001.3349
47 | 2618412.0712 | 1263043.973 | 2618392.584 | 1263049.6789 | 2618390.8134 | 1263050.1762
48 | 2618370.7366 | 1263055.8154 | 2618390.8134 | 1263050.1762
49 | 2618370.7366 | 1263055.8154 | 2618346.4767 | 1263062.6339
50 | 2618370.7366 | 1263055.8154 | 2618381.1075 | 1263087.1795
51 | 2618346.4767 | 1263062.6339 | 2618342.934 | 1263050.8179
52 | 2618346.4767 | 1263062.6339 | 2618335.8599 | 1263066.3259 | 2618327.5184 | 1263069.8247 | 2618324.6721 | 1263071.3297
53 | 2618381.5611 | 1263088.5514 | 2618381.1075 | 1263087.1795
54 | 2618342.5921 | 1263049.6774 | 2618342.934 | 1263050.8179
55 | 2618303.9382 | 1263083.4391 | 2618305.2289 | 1263082.5758 | 2618319.574 | 1263074.0253 | 2618324.6721 | 1263071.3297
56 | 2618383.6694 | 1263094.9271 | 2618381.5611 | 1263088.5514
57 | 2618476.7935 | 1262970.4862 | 2618469.9666 | 1262972.9378
58 | 2618483.6701 | 1262968.0168 | 2618476.7935 | 1262970.4862
59 | 2618469.9666 | 1262972.9378 | 2618455.2698 | 1262978.2154
60 | 2618438.8281 | 1262984.1197 | 2618455.2698 | 1262978.2154
61 | 2618426.3903 | 1262988.5861 | 2618438.8281 | 1262984.1197
62 | 2618426.3903 | 1262988.5861 | 2618407.3828 | 1262994.8346
63 | 2618428.7137 | 1262955.982 | 2618422.9648 | 1262958.9662 | 2618418.3553 | 1262961.2868 | 2618426.3903 | 1262988.5861
64 | 2618407.3828 | 1262994.8346 | 2618398.0192 | 1262997.9128
65 | 2618428.7137 | 1262955.982 | 2618432.7199 | 1262953.9041 | 2618444.1012 | 1262949.0806 | 2618448.9924 | 1262947.46
66 | 2618428.7137 | 1262955.982 | 2618422.9648 | 1262958.9662 | 2618418.3553 | 1262961.2868 | 2618412.0408 | 1262964.4805 | 2618402.978 | 1262969.7672 | 2618390.9002 | 1262975.7449 | 2618382.6834 | 1262977.8543
67 | 2618428.7137 | 1262955.982 | 2618426.8271 | 1262942.0024
68 | 2618382.6834 | 1262977.8543 | 2618380.2183 | 1262978.4915 | 2618371.3931 | 1262980.0764 | 2618370.3612 | 1262980.1409
69 | 2618382.6834 | 1262977.8543 | 2618384.8011 | 1262965.9164
70 | 2618423.5377 | 1262917.6284 | 2618426.8271 | 1262942.0024
71 | 2618357.3757 | 1262980.9524 | 2618370.3612 | 1262980.1409
72 | 2618384.8011 | 1262965.9164 | 2618387.175 | 1262952.5339
73 | 2618337.7477 | 1262981.9847 | 2618353.764 | 1262981.1781 | 2618357.3757 | 1262980.9524
74 | 2618390.0788 | 1262936.165 | 2618387.175 | 1262952.5339
75 | 2618337.7477 | 1262981.9847 | 2618331.9545 | 1262982.267 | 2618319.445 | 1262983.3718
76 | 2618337.7477 | 1262981.9847 | 2618339.8847 | 1262967.2706
77 | 2618339.8847 | 1262967.2706 | 2618340.1204 | 1262965.6481
78 | 2618303.9382 | 1263083.4391 | 2618301.3672 | 1263076.9378 | 2618297.7401 | 1263067.7647
79 | 2618343.0582 | 1262945.4204 | 2618340.1204 | 1262965.6481
80 | 2618383.6694 | 1263094.9271 | 2618389.0577 | 1263111.2227
81 | 2618338.0635 | 1263034.5731 | 2618342.5921 | 1263049.6774
82 | 2618332.6694 | 1263016.5817 | 2618338.0635 | 1263034.5731
83 | 2618405.299 | 1262928.179 | 2618390.6258 | 1262933.0814 | 2618390.0788 | 1262936.165
84 | 2618338.5397 | 1262945.9012 | 2618331.0227 | 1262946.701
85 | 2618343.0582 | 1262945.4204 | 2618338.5397 | 1262945.9012
86 | 2618325.7958 | 1262947.2572 | 2618331.0227 | 1262946.701
87 | 2618343.0582 | 1262945.4204 | 2618351.9703 | 1262945.9616
88 | 2618360.1019 | 1262946.4554 | 2618351.9703 | 1262945.9616
89 | 2618360.1019 | 1262946.4554 | 2618373.048 | 1262947.2416

## bus_geodata
| x | y | coords
0 | 2618318.775 | 1263257.583
1 | 2618299.1046 | 1263260.9021
2 | 2618344.9833 | 1263253.1607
3 | 2618285.5126 | 1263263.2298
4 | 2618305.5398 | 1263295.6083
5 | 2618358.0657 | 1263250.933
6 | 2618253.2483 | 1263268.7552
7 | 2618358.7375 | 1263255.3158
8 | 2618358.2238 | 1263227.0118
9 | 2618336.331 | 1263203.7999
10 | 2618267.739 | 1263217.709
11 | 2618345.2828 | 1263199.1673
12 | 2618239.5247 | 1263290.906
13 | 2618378.0414 | 1263252.2403
14 | 2618360.1372 | 1263284.9295
15 | 2618355.531 | 1263210.7666
16 | 2618264.1434 | 1263196.6167
17 | 2618253.7502 | 1263323.4722
18 | 2618352.9508 | 1263195.2009
19 | 2618266.3743 | 1263000.5662
20 | 2618282.2964 | 1263033.5548
21 | 2618315.6187 | 1262983.7098
22 | 2618277.0739 | 1263100.7305
23 | 2618294.3733 | 1263089.8385
24 | 2618369.1336 | 1263186.8207
25 | 2618373.7157 | 1263184.444
26 | 2618407.54 | 1263167.1173
27 | 2618452.6011 | 1263148.8781
28 | 2618462.5707 | 1263146.2639
29 | 2618413.331 | 1263210.3842
30 | 2618415.6331 | 1263227.5841
31 | 2618410.9863 | 1263192.8662
32 | 2618397.6624 | 1263137.2451
33 | 2618396.2243 | 1263132.896
34 | 2618508.5915 | 1263135.14
35 | 2618463.1802 | 1263146.1041
36 | 2618394.1557 | 1263126.6401
37 | 2618478.6018 | 1263024.8293
38 | 2618492.8021 | 1263020.4948
39 | 2618441.92 | 1263035.2332
40 | 2618494.6284 | 1263019.9373
41 | 2618436.5283 | 1263036.8119
42 | 2618438.384 | 1263022.1312
43 | 2618418.6594 | 1263042.044
44 | 2618434.7396 | 1263008.6272
45 | 2618412.0712 | 1263043.973
46 | 2618432.7715 | 1263001.3349
47 | 2618390.8134 | 1263050.1762
48 | 2618370.7366 | 1263055.8154
49 | 2618346.4767 | 1263062.6339
50 | 2618381.1075 | 1263087.1795
51 | 2618342.934 | 1263050.8179
52 | 2618324.6721 | 1263071.3297
53 | 2618381.5611 | 1263088.5514
54 | 2618476.7935 | 1262970.4862
55 | 2618469.9666 | 1262972.9378
56 | 2618483.6701 | 1262968.0168
57 | 2618455.2698 | 1262978.2154
58 | 2618438.8281 | 1262984.1197
59 | 2618426.3903 | 1262988.5861
60 | 2618407.3828 | 1262994.8346
61 | 2618428.7137 | 1262955.982
62 | 2618398.0192 | 1262997.9128
63 | 2618448.9924 | 1262947.46
64 | 2618382.6834 | 1262977.8543
65 | 2618426.8271 | 1262942.0024
66 | 2618370.3612 | 1262980.1409
67 | 2618384.8011 | 1262965.9164
68 | 2618423.5377 | 1262917.6284
69 | 2618357.3757 | 1262980.9524
70 | 2618387.175 | 1262952.5339
71 | 2618319.445 | 1262983.3718
72 | 2618337.7477 | 1262981.9847
73 | 2618339.8847 | 1262967.2706
74 | 2618297.7401 | 1263067.7647
75 | 2618340.1204 | 1262965.6481
76 | 2618303.9382 | 1263083.4391
77 | 2618383.6694 | 1263094.9271
78 | 2618389.0577 | 1263111.2227
79 | 2618342.5921 | 1263049.6774
80 | 2618338.0635 | 1263034.5731
81 | 2618332.6694 | 1263016.5817
82 | 2618390.0788 | 1262936.165
83 | 2618405.299 | 1262928.179
84 | 2618338.5397 | 1262945.9012
85 | 2618331.0227 | 1262946.701
86 | 2618343.0582 | 1262945.4204
87 | 2618325.7958 | 1262947.2572
88 | 2618351.9703 | 1262945.9616
89 | 2618360.1019 | 1262946.4554
90 | 2618373.048 | 1262947.2416
91 | 2618407.54 | 1263167.1173

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1