## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2831-24_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2831-24_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2831-24_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2831-24_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2831-24_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2831-24_0_4_node_19 | 0.4 | n |  | TRUE
6 | bus_LV_2831-24_0_4_node_53 | 0.4 | n |  | TRUE
7 | bus_LV_2831-24_0_4_node_17 | 0.4 | n |  | TRUE
8 | bus_LV_2831-24_0_4_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_2831-24_0_4_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_2831-24_0_4_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_2831-24_0_4_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_2831-24_0_4_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_2831-24_0_4_node_29 | 0.4 | n |  | TRUE
14 | bus_LV_2831-24_0_4_node_13 | 0.4 | n |  | TRUE
15 | bus_LV_2831-24_0_4_node_14 | 0.4 | n |  | TRUE
16 | bus_LV_2831-24_0_4_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_2831-24_0_4_node_43 | 0.4 | n |  | TRUE
18 | bus_LV_2831-24_0_4_node_31 | 0.4 | n |  | TRUE
19 | bus_LV_2831-24_0_4_node_49 | 0.4 | n |  | TRUE
20 | bus_LV_2831-24_0_4_node_11 | 0.4 | n |  | TRUE
21 | bus_LV_2831-24_0_4_node_12 | 0.4 | n |  | TRUE
22 | bus_LV_2831-24_0_4_node_22 | 0.4 | n |  | TRUE
23 | bus_LV_2831-24_0_4_node_24 | 0.4 | n |  | TRUE
24 | bus_LV_2831-24_0_4_node_20 | 0.4 | n |  | TRUE
25 | bus_LV_2831-24_0_4_node_30 | 0.4 | n |  | TRUE
26 | bus_LV_2831-24_0_4_node_50 | 0.4 | n |  | TRUE
27 | bus_LV_2831-24_0_4_node_15 | 0.4 | n |  | TRUE
28 | bus_LV_2831-24_0_4_node_16 | 0.4 | n |  | TRUE
29 | bus_LV_2831-24_0_4_node_18 | 0.4 | n |  | TRUE
30 | bus_LV_2831-24_0_4_node_25 | 0.4 | n |  | TRUE
31 | bus_LV_2831-24_0_4_node_107 | 0.4 | n |  | TRUE
32 | bus_LV_2831-24_0_4_node_21 | 0.4 | n |  | TRUE
33 | bus_LV_2831-24_0_4_node_23 | 0.4 | n |  | TRUE
34 | bus_LV_2831-24_0_4_node_26 | 0.4 | n |  | TRUE
35 | bus_LV_2831-24_0_4_node_41 | 0.4 | n |  | TRUE
36 | bus_LV_2831-24_0_4_node_27 | 0.4 | n |  | TRUE
37 | bus_LV_2831-24_0_4_node_40 | 0.4 | n |  | TRUE
38 | bus_LV_2831-24_0_4_node_28 | 0.4 | n |  | TRUE
39 | bus_LV_2831-24_0_4_node_59 | 0.4 | n |  | TRUE
40 | bus_LV_2831-24_0_4_node_60 | 0.4 | n |  | TRUE
41 | bus_LV_2831-24_0_4_node_42 | 0.4 | n |  | TRUE
42 | bus_LV_2831-24_0_4_node_32 | 0.4 | n |  | TRUE
43 | bus_LV_2831-24_0_4_node_33 | 0.4 | n |  | TRUE
44 | bus_LV_2831-24_0_4_node_34 | 0.4 | n |  | TRUE
45 | bus_LV_2831-24_0_4_node_65 | 0.4 | n |  | TRUE
46 | bus_LV_2831-24_0_4_node_84 | 0.4 | n |  | TRUE
47 | bus_LV_2831-24_0_4_node_64 | 0.4 | n |  | TRUE
48 | bus_LV_2831-24_0_4_node_85 | 0.4 | n |  | TRUE
49 | bus_LV_2831-24_0_4_node_35 | 0.4 | n |  | TRUE
50 | bus_LV_2831-24_0_4_node_36 | 0.4 | n |  | TRUE
51 | bus_LV_2831-24_0_4_node_37 | 0.4 | n |  | TRUE
52 | bus_LV_2831-24_0_4_node_38 | 0.4 | n |  | TRUE
53 | bus_LV_2831-24_0_4_node_39 | 0.4 | n |  | TRUE
54 | bus_LV_2831-24_0_4_node_46 | 0.4 | n |  | TRUE
55 | bus_LV_2831-24_0_4_node_47 | 0.4 | n |  | TRUE
56 | bus_LV_2831-24_0_4_node_44 | 0.4 | n |  | TRUE
57 | bus_LV_2831-24_0_4_node_45 | 0.4 | n |  | TRUE
58 | bus_LV_2831-24_0_4_node_108 | 0.4 | n |  | TRUE
59 | bus_LV_2831-24_0_4_node_48 | 0.4 | n |  | TRUE
60 | bus_LV_2831-24_0_4_node_68 | 0.4 | n |  | TRUE
61 | bus_LV_2831-24_0_4_node_69 | 0.4 | n |  | TRUE
62 | bus_LV_2831-24_0_4_node_51 | 0.4 | n |  | TRUE
63 | bus_LV_2831-24_0_4_node_52 | 0.4 | n |  | TRUE
64 | bus_LV_2831-24_0_4_node_109 | 0.4 | n |  | TRUE
65 | bus_LV_2831-24_0_4_node_54 | 0.4 | n |  | TRUE
66 | bus_LV_2831-24_0_4_node_55 | 0.4 | n |  | TRUE
67 | bus_LV_2831-24_0_4_node_56 | 0.4 | n |  | TRUE
68 | bus_LV_2831-24_0_4_node_57 | 0.4 | n |  | TRUE
69 | bus_LV_2831-24_0_4_node_58 | 0.4 | n |  | TRUE
70 | bus_LV_2831-24_0_4_node_67 | 0.4 | n |  | TRUE
71 | bus_LV_2831-24_0_4_node_87 | 0.4 | n |  | TRUE
72 | bus_LV_2831-24_0_4_node_66 | 0.4 | n |  | TRUE
73 | bus_LV_2831-24_0_4_node_61 | 0.4 | n |  | TRUE
74 | bus_LV_2831-24_0_4_node_62 | 0.4 | n |  | TRUE
75 | bus_LV_2831-24_0_4_node_70 | 0.4 | n |  | TRUE
76 | bus_LV_2831-24_0_4_node_71 | 0.4 | n |  | TRUE
77 | bus_LV_2831-24_0_4_node_72 | 0.4 | n |  | TRUE
78 | bus_LV_2831-24_0_4_node_74 | 0.4 | n |  | TRUE
79 | bus_LV_2831-24_0_4_node_75 | 0.4 | n |  | TRUE
80 | bus_LV_2831-24_0_4_node_76 | 0.4 | n |  | TRUE
81 | bus_LV_2831-24_0_4_node_77 | 0.4 | n |  | TRUE
82 | bus_LV_2831-24_0_4_node_78 | 0.4 | n |  | TRUE
83 | bus_LV_2831-24_0_4_node_86 | 0.4 | n |  | TRUE
84 | bus_LV_2831-24_0_4_node_88 | 0.4 | n |  | TRUE
85 | bus_LV_2831-24_0_4_node_89 | 0.4 | n |  | TRUE
86 | bus_LV_2831-24_0_4_node_79 | 0.4 | n |  | TRUE
87 | bus_LV_2831-24_0_4_node_80 | 0.4 | n |  | TRUE
88 | bus_LV_2831-24_0_4_node_81 | 0.4 | n |  | TRUE
89 | bus_LV_2831-24_0_4_node_82 | 0.4 | n |  | TRUE
90 | bus_LV_2831-24_0_4_node_83 | 0.4 | n |  | TRUE
91 | bus_LV_2831-24_0_4_node_96 | 0.4 | n |  | TRUE
92 | bus_LV_2831-24_0_4_node_97 | 0.4 | n |  | TRUE
93 | bus_LV_2831-24_0_4_node_94 | 0.4 | n |  | TRUE
94 | bus_LV_2831-24_0_4_node_91 | 0.4 | n |  | TRUE
95 | bus_LV_2831-24_0_4_node_95 | 0.4 | n |  | TRUE
96 | bus_LV_2831-24_0_4_node_92 | 0.4 | n |  | TRUE
97 | bus_LV_2831-24_0_4_node_120 | 0.4 | n |  | TRUE
98 | bus_LV_2831-24_0_4_node_93 | 0.4 | n |  | TRUE
99 | bus_LV_2831-24_0_4_node_110 | 0.4 | n |  | TRUE
100 | bus_LV_2831-24_0_4_node_105 | 0.4 | n |  | TRUE
101 | bus_LV_2831-24_0_4_node_98 | 0.4 | n |  | TRUE
102 | bus_LV_2831-24_0_4_node_99 | 0.4 | n |  | TRUE
103 | bus_LV_2831-24_0_4_node_100 | 0.4 | n |  | TRUE
104 | bus_LV_2831-24_0_4_node_106 | 0.4 | n |  | TRUE
105 | bus_LV_2831-24_0_4_node_111 | 0.4 | n |  | TRUE
106 | bus_LV_2831-24_0_4_node_103 | 0.4 | n |  | TRUE
107 | bus_LV_2831-24_0_4_node_101 | 0.4 | n |  | TRUE
108 | bus_LV_2831-24_0_4_node_102 | 0.4 | n |  | TRUE
109 | bus_LV_2831-24_0_4_node_104 | 0.4 | n |  | TRUE
110 | bus_LV_2831-24_0_4_node_112 | 0.4 | n |  | TRUE
111 | bus_LV_2831-24_0_4_node_115 | 0.4 | n |  | TRUE
112 | bus_LV_2831-24_0_4_node_114 | 0.4 | n |  | TRUE
113 | bus_LV_2831-24_0_4_node_113 | 0.4 | n |  | TRUE
114 | bus_LV_2831-24_0_4_node_117 | 0.4 | n |  | TRUE
115 | bus_LV_2831-24_0_4_node_116 | 0.4 | n |  | TRUE
116 | bus_LV_2831-24_0_4_node_118 | 0.4 | n |  | TRUE
117 | bus_MV_577_0_node_29 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2831-24_0_4_load_0 | 0 | 0.002203 | 0.00055211 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2831-24_0_4_load_1 | 1 | 0.0037096 | 0.00092972 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2831-24_0_4_load_2 | 2 | 0.0049829 | 0.0012488 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2831-24_0_4_load_3 | 3 | 0.0037326 | 0.00093547 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2831-24_0_4_load_4 | 4 | 0.0034346 | 0.00086079 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2831-24_0_4_load_19 | 5 | 0.003843 | 0.00096315 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2831-24_0_4_load_53 | 6 | 0.0019321 | 0.00048423 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2831-24_0_4_load_17 | 7 | 0.0028363 | 0.00071084 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2831-24_0_4_load_5 | 8 | 0.0022664 | 0.00056801 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2831-24_0_4_load_6 | 9 | 0.002009 | 0.00050349 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2831-24_0_4_load_7 | 10 | 0.001859 | 0.00046592 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2831-24_0_4_load_8 | 11 | 0.001943 | 0.00048697 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2831-24_0_4_load_29 | 13 | 0.003933 | 0.00098569 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2831-24_0_4_load_13 | 14 | 0.0014175 | 0.00035526 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2831-24_0_4_load_14 | 15 | 0.0033306 | 0.00083473 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2831-24_0_4_load_10 | 16 | 0.0052693 | 0.0013206 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2831-24_0_4_load_43 | 17 | 0.0015271 | 0.00038273 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2831-24_0_4_load_31 | 18 | 0.0019412 | 0.00048652 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2831-24_0_4_load_49 | 19 | 0.0047378 | 0.0011874 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2831-24_0_4_load_11 | 20 | 0.010294 | 0.0025798 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2831-24_0_4_load_12 | 21 | 0.0023977 | 0.00060093 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2831-24_0_4_load_24 | 23 | 0.0030558 | 0.00076585 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2831-24_0_4_load_20 | 24 | 0.0041561 | 0.0010416 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2831-24_0_4_load_30 | 25 | 0.0041466 | 0.0010392 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2831-24_0_4_load_50 | 26 | 0.0051041 | 0.0012792 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2831-24_0_4_load_15 | 27 | 0.0040337 | 0.0010109 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2831-24_0_4_load_16 | 28 | 0.0039664 | 0.00099407 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2831-24_0_4_load_18 | 29 | 0.0040061 | 0.001004 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2831-24_0_4_load_25 | 30 | 0.0040771 | 0.0010218 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2831-24_0_4_load_21 | 32 | 0.0035825 | 0.00089785 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2831-24_0_4_load_23 | 33 | 0.0040533 | 0.0010159 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2831-24_0_4_load_26 | 34 | 0.0042257 | 0.0010591 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2831-24_0_4_load_41 | 35 | 0.0087125 | 0.0021836 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2831-24_0_4_load_27 | 36 | 0.002086 | 0.0005228 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2831-24_0_4_load_40 | 37 | 0.0022672 | 0.00056821 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2831-24_0_4_load_28 | 38 | 0.01117 | 0.0027993 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2831-24_0_4_load_59 | 39 | 0.010781 | 0.0027019 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2831-24_0_4_load_60 | 40 | 0.010159 | 0.0025461 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2831-24_0_4_load_42 | 41 | 0.0020791 | 0.00052108 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2831-24_0_4_load_33 | 43 | 0.0014145 | 0.0003545 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2831-24_0_4_load_34 | 44 | 0.0073387 | 0.0018393 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2831-24_0_4_load_65 | 45 | 0.0026047 | 0.00065279 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2831-24_0_4_load_84 | 46 | 0.0030457 | 0.00076331 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2831-24_0_4_load_64 | 47 | 0.0056966 | 0.0014277 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2831-24_0_4_load_85 | 48 | 0.0017416 | 0.00043648 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2831-24_0_4_load_35 | 49 | 0.0026542 | 0.00066519 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2831-24_0_4_load_36 | 50 | 0.0057516 | 0.0014415 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2831-24_0_4_load_38 | 52 | 0.0041806 | 0.0010477 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2831-24_0_4_load_39 | 53 | 0.0050082 | 0.0012552 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2831-24_0_4_load_46 | 54 | 0.0031288 | 0.00078416 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2831-24_0_4_load_47 | 55 | 0.0031168 | 0.00078113 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2831-24_0_4_load_44 | 56 | 0.0016494 | 0.00041338 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2831-24_0_4_load_45 | 57 | 0.0012259 | 0.00030723 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2831-24_0_4_load_108 | 58 | 0.0022402 | 0.00056146 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2831-24_0_4_load_48 | 59 | 0.0083282 | 0.0020873 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2831-24_0_4_load_68 | 60 | 0.0032267 | 0.00080868 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_2831-24_0_4_load_69 | 61 | 0.0076525 | 0.0019179 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_2831-24_0_4_load_51 | 62 | 0.0023592 | 0.00059126 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_2831-24_0_4_load_52 | 63 | 0.024272 | 0.0060832 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_2831-24_0_4_load_109 | 64 | 0.0022401 | 0.00056143 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_2831-24_0_4_load_54 | 65 | 0.0061291 | 0.0015361 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_2831-24_0_4_load_55 | 66 | 0.0024749 | 0.00062027 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_2831-24_0_4_load_57 | 68 | 0.0053426 | 0.001339 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_2831-24_0_4_load_58 | 69 | 0.0026874 | 0.00067353 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_2831-24_0_4_load_67 | 70 | 0.0043179 | 0.0010822 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_2831-24_0_4_load_87 | 71 | 0.0033196 | 0.00083198 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_2831-24_0_4_load_66 | 72 | 0.0085127 | 0.0021335 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_2831-24_0_4_load_61 | 73 | 0.011073 | 0.0027751 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_2831-24_0_4_load_62 | 74 | 0.0058011 | 0.0014539 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_2831-24_0_4_load_70 | 75 | 0.010962 | 0.0027473 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_2831-24_0_4_load_71 | 76 | 0.0055131 | 0.0013817 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_2831-24_0_4_load_72 | 77 | 0.0107 | 0.0026817 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_2831-24_0_4_load_74 | 78 | 0.0024098 | 0.00060394 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_2831-24_0_4_load_75 | 79 | 0.0073075 | 0.0018314 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_2831-24_0_4_load_76 | 80 | 0.0020489 | 0.0005135 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_2831-24_0_4_load_77 | 81 | 0.0015786 | 0.00039564 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_2831-24_0_4_load_78 | 82 | 0.001969 | 0.00049349 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_2831-24_0_4_load_86 | 83 | 0.0013472 | 0.00033763 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_2831-24_0_4_load_88 | 84 | 0.0020203 | 0.00050633 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_2831-24_0_4_load_89 | 85 | 0.0016129 | 0.00040423 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_2831-24_0_4_load_79 | 86 | 0.0035348 | 0.0008859 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_2831-24_0_4_load_80 | 87 | 0.0048567 | 0.0012172 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_2831-24_0_4_load_81 | 88 | 0.0016627 | 0.00041672 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_2831-24_0_4_load_82 | 89 | 0.0018653 | 0.00046749 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_2831-24_0_4_load_83 | 90 | 0.0031097 | 0.00077937 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_2831-24_0_4_load_97 | 92 | 0.0014992 | 0.00037574 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_2831-24_0_4_load_94 | 93 | 0.0019601 | 0.00049125 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_2831-24_0_4_load_92 | 96 | 0.0032705 | 0.00081966 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_2831-24_0_4_load_120 | 97 | 0.0017315 | 0.00043396 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_2831-24_0_4_load_93 | 98 | 0.0017299 | 0.00043354 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_2831-24_0_4_load_110 | 99 | 0.0014761 | 0.00036994 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_2831-24_0_4_load_105 | 100 | 0.0018277 | 0.00045808 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_2831-24_0_4_load_98 | 101 | 0.00779 | 0.0019524 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_2831-24_0_4_load_99 | 102 | 0.0014806 | 0.00037107 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_2831-24_0_4_load_100 | 103 | 0.015999 | 0.0040098 | 0 | 0 |  | 1 | TRUE | wye
95 | LV_2831-24_0_4_load_101 | 107 | 0.0013657 | 0.00034227 | 0 | 0 |  | 1 | TRUE | wye
96 | LV_2831-24_0_4_load_102 | 108 | 0.0014977 | 0.00037536 | 0 | 0 |  | 1 | TRUE | wye
97 | LV_2831-24_0_4_load_104 | 109 | 0.0016425 | 0.00041166 | 0 | 0 |  | 1 | TRUE | wye
98 | LV_2831-24_0_4_load_112 | 110 | 0.0013036 | 0.0003267 | 0 | 0 |  | 1 | TRUE | wye
99 | LV_2831-24_0_4_load_115 | 111 | 0.0020602 | 0.00051633 | 0 | 0 |  | 1 | TRUE | wye
100 | LV_2831-24_0_4_load_114 | 112 | 0.0067248 | 0.0016854 | 0 | 0 |  | 1 | TRUE | wye
101 | LV_2831-24_0_4_load_113 | 113 | 0.0031364 | 0.00078605 | 0 | 0 |  | 1 | TRUE | wye
102 | LV_2831-24_0_4_load_117 | 114 | 0.0016739 | 0.00041951 | 0 | 0 |  | 1 | TRUE | wye
103 | LV_2831-24_0_4_load_116 | 115 | 0.0017158 | 0.00043003 | 0 | 0 |  | 1 | TRUE | wye
104 | LV_2831-24_0_4_load_118 | 116 | 0.00463 | 0.0011604 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 25 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2831-24_0_4_line_0 |  | 0 | 1 | 0.016026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2831-24_0_4_line_1 |  | 0 | 2 | 0.044613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2831-24_0_4_line_2 |  | 1 | 3 | 0.01199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2831-24_0_4_line_3 |  | 2 | 4 | 0.027816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2831-24_0_4_line_4 |  | 3 | 5 | 0.01249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2831-24_0_4_line_5 |  | 5 | 6 | 0.01877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2831-24_0_4_line_6 |  | 5 | 7 | 0.029076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2831-24_0_4_line_7 |  | 6 | 31 | 0.011698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2831-24_0_4_line_8 |  | 7 | 27 | 0.016872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2831-24_0_4_line_9 |  | 8 | 9 | 0.019909 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2831-24_0_4_line_10 |  | 8 | 10 | 0.0093023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2831-24_0_4_line_11 |  | 9 | 11 | 0.0015964 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2831-24_0_4_line_12 |  | 10 | 12 | 0.011508 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2831-24_0_4_line_13 |  | 11 | 13 | 0.015704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2831-24_0_4_line_14 |  | 12 | 14 | 0.023681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
15 | LV_2831-24_0_4_line_15 |  | 12 | 15 | 0.030766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2831-24_0_4_line_16 |  | 12 | 16 | 0.020032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
17 | LV_2831-24_0_4_line_17 |  | 13 | 17 | 0.00026115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2831-24_0_4_line_18 |  | 14 | 18 | 0.020197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
19 | LV_2831-24_0_4_line_19 |  | 15 | 19 | 0.012632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2831-24_0_4_line_20 |  | 16 | 20 | 0.0040339 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
21 | LV_2831-24_0_4_line_21 |  | 17 | 41 | 0.014574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2831-24_0_4_line_22 |  | 18 | 25 | 0.0018245 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
23 | LV_2831-24_0_4_line_23 |  | 19 | 26 | 0.00088921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2831-24_0_4_line_24 |  | 20 | 21 | 0.016835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
25 | LV_2831-24_0_4_line_25 |  | 21 | 22 | 0.014294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
26 | LV_2831-24_0_4_line_26 |  | 22 | 23 | 0.0047481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2831-24_0_4_line_27 |  | 22 | 24 | 0.016548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2831-24_0_4_line_28 |  | 23 | 35 | 0.018305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2831-24_0_4_line_29 |  | 24 | 32 | 0.026459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2831-24_0_4_line_30 |  | 25 | 42 | 0.012423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2831-24_0_4_line_31 |  | 26 | 62 | 0.0034525 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2831-24_0_4_line_32 |  | 27 | 28 | 0.017973 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2831-24_0_4_line_33 |  | 28 | 29 | 0.018374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2831-24_0_4_line_34 |  | 29 | 30 | 0.018653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2831-24_0_4_line_35 |  | 31 | 64 | 0.020917 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2831-24_0_4_line_36 |  | 31 | 58 | 0.015377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2831-24_0_4_line_37 |  | 32 | 33 | 0.006698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2831-24_0_4_line_38 |  | 33 | 34 | 0.006567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2831-24_0_4_line_39 |  | 34 | 36 | 0.011876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2831-24_0_4_line_40 |  | 35 | 37 | 0.0125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2831-24_0_4_line_41 |  | 36 | 38 | 0.029279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2831-24_0_4_line_42 |  | 37 | 52 | 0.00067289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2831-24_0_4_line_43 |  | 38 | 39 | 0.0069954 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2831-24_0_4_line_44 |  | 39 | 40 | 0.024206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2831-24_0_4_line_45 |  | 40 | 73 | 0.005442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2831-24_0_4_line_46 |  | 41 | 56 | 0.012839 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2831-24_0_4_line_47 |  | 42 | 43 | 0.0058024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2831-24_0_4_line_48 |  | 42 | 44 | 0.031023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2831-24_0_4_line_49 |  | 43 | 45 | 0.018888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2831-24_0_4_line_50 |  | 44 | 46 | 0.013373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_2831-24_0_4_line_51 |  | 45 | 47 | 0.025633 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2831-24_0_4_line_52 |  | 46 | 48 | 0.016511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2831-24_0_4_line_53 |  | 47 | 72 | 0.0040681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2831-24_0_4_line_54 |  | 48 | 83 | 0.0056691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2831-24_0_4_line_55 |  | 49 | 50 | 0.012969 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_2831-24_0_4_line_56 |  | 49 | 51 | 0.016222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2831-24_0_4_line_57 |  | 50 | 52 | 0.01475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_2831-24_0_4_line_58 |  | 51 | 53 | 0.018591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_2831-24_0_4_line_59 |  | 53 | 54 | 0.031468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_2831-24_0_4_line_60 |  | 54 | 55 | 0.0023838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_2831-24_0_4_line_61 |  | 55 | 59 | 0.016431 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_2831-24_0_4_line_62 |  | 56 | 57 | 0.020647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_2831-24_0_4_line_63 |  | 57 | 58 | 0.0071203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_2831-24_0_4_line_64 |  | 59 | 60 | 0.014361 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_2831-24_0_4_line_65 |  | 60 | 61 | 0.010215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_2831-24_0_4_line_66 |  | 61 | 75 | 0.022566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_2831-24_0_4_line_67 |  | 62 | 63 | 0.022201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_2831-24_0_4_line_68 |  | 64 | 114 | 0.0089613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_2831-24_0_4_line_69 |  | 65 | 66 | 0.0014896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_2831-24_0_4_line_70 |  | 65 | 67 | 0.016682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_2831-24_0_4_line_71 |  | 66 | 68 | 0.01568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_2831-24_0_4_line_72 |  | 67 | 69 | 0.017695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_2831-24_0_4_line_73 |  | 68 | 70 | 0.004552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_2831-24_0_4_line_74 |  | 69 | 71 | 0.02603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_2831-24_0_4_line_75 |  | 70 | 72 | 0.008472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_2831-24_0_4_line_76 |  | 73 | 74 | 0.017107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_2831-24_0_4_line_77 |  | 75 | 76 | 0.027302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_2831-24_0_4_line_78 |  | 76 | 77 | 0.0028501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_2831-24_0_4_line_79 |  | 78 | 79 | 0.00069448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_2831-24_0_4_line_80 |  | 78 | 80 | 0.0060277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_2831-24_0_4_line_81 |  | 79 | 81 | 0.0080419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_2831-24_0_4_line_82 |  | 80 | 82 | 0.010495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_2831-24_0_4_line_83 |  | 81 | 83 | 0.012528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_2831-24_0_4_line_84 |  | 82 | 84 | 0.012373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_2831-24_0_4_line_85 |  | 84 | 85 | 0.007591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_2831-24_0_4_line_86 |  | 85 | 89 | 0.0011759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_2831-24_0_4_line_87 |  | 86 | 87 | 0.00025563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_2831-24_0_4_line_88 |  | 86 | 88 | 0.010806 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_2831-24_0_4_line_89 |  | 87 | 89 | 0.0080624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_2831-24_0_4_line_90 |  | 88 | 90 | 0.0098269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_2831-24_0_4_line_91 |  | 91 | 92 | 0.0060412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_2831-24_0_4_line_92 |  | 91 | 93 | 0.01152 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_2831-24_0_4_line_93 |  | 92 | 99 | 0.0031908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_2831-24_0_4_line_94 |  | 93 | 98 | 0.003293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_2831-24_0_4_line_95 |  | 94 | 95 | 0.028006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_2831-24_0_4_line_96 |  | 94 | 96 | 0.011736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_2831-24_0_4_line_97 |  | 95 | 97 | 0.016077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_2831-24_0_4_line_98 |  | 96 | 98 | 0.026139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_2831-24_0_4_line_99 |  | 99 | 100 | 0.017266 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_2831-24_0_4_line_100 |  | 100 | 106 | 0.013737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_2831-24_0_4_line_101 |  | 101 | 102 | 0.018572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_2831-24_0_4_line_102 |  | 102 | 103 | 0.0091893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_2831-24_0_4_line_103 |  | 103 | 104 | 0.032392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_2831-24_0_4_line_104 |  | 104 | 105 | 0.012894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_2831-24_0_4_line_105 |  | 104 | 106 | 0.041141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_2831-24_0_4_line_106 |  | 105 | 112 | 0.043449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_2831-24_0_4_line_107 |  | 105 | 113 | 0.012563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_2831-24_0_4_line_108 |  | 106 | 107 | 0.030575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_2831-24_0_4_line_109 |  | 107 | 108 | 0.0014267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
110 | LV_2831-24_0_4_line_110 |  | 108 | 109 | 0.0071056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
111 | LV_2831-24_0_4_line_111 |  | 109 | 110 | 0.013327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
112 | LV_2831-24_0_4_line_112 |  | 110 | 111 | 0.0051964 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
113 | LV_2831-24_0_4_line_113 |  | 111 | 115 | 0.013467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
114 | LV_2831-24_0_4_line_114 |  | 112 | 116 | 0.020113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
115 | LV_2831-24_0_4_line_115 |  | 114 | 115 | 0.0098166 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2831-24_0_4_trafo_30 | 0.63 MVA 20/0.4 kV | 117 | 25 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2618545.2754 | 1262877.4195 | 2618553.856 | 1262867.0886 | 2618555.4678 | 1262865.053
1 | 2618545.2754 | 1262877.4195 | 2618516.7706 | 1262911.7386
2 | 2618563.879 | 1262856.8113 | 2618560.6093 | 1262858.5594 | 2618555.4678 | 1262865.053
3 | 2618495.8062 | 1262929.3756 | 2618502.8666 | 1262925.6808 | 2618508.4453 | 1262921.7622 | 2618516.7706 | 1262911.7386
4 | 2618575.1616 | 1262851.489 | 2618569.2107 | 1262853.9609 | 2618563.879 | 1262856.8113
5 | 2618575.1616 | 1262851.489 | 2618587.5437 | 1262851.928 | 2618593.8711 | 1262852.7447
6 | 2618575.1616 | 1262851.489 | 2618577.1564 | 1262880.496
7 | 2618605.2873 | 1262855.2748 | 2618594.9602 | 1262852.8853 | 2618593.8711 | 1262852.7447
8 | 2618577.1564 | 1262880.496 | 2618578.314 | 1262897.3278
9 | 2618608.9099 | 1262963.1216 | 2618607.8733 | 1262945.723 | 2618607.752 | 1262943.2461
10 | 2618608.9099 | 1262963.1216 | 2618609.4631 | 1262972.4075
11 | 2618607.752 | 1262943.2461 | 2618607.674 | 1262941.6516
12 | 2618609.7043 | 1262983.9106 | 2618609.6616 | 1262980.7194 | 2618609.5834 | 1262974.426 | 2618609.4631 | 1262972.4075
13 | 2618607.674 | 1262941.6516 | 2618606.9063 | 1262925.9663
14 | 2618609.7043 | 1262983.9106 | 2618632.4278 | 1262977.2462
15 | 2618609.7043 | 1262983.9106 | 2618584.2856 | 1262992.5703 | 2618580.5431 | 1262993.7127
16 | 2618609.7043 | 1262983.9106 | 2618609.7521 | 1262987.8691 | 2618609.801 | 1262991.494 | 2618610.9034 | 1263003.8936
17 | 2618606.9063 | 1262925.9663 | 2618606.8936 | 1262925.7055
18 | 2618651.8084 | 1262971.5621 | 2618632.4278 | 1262977.2462
19 | 2618580.5431 | 1262993.7127 | 2618568.4614 | 1262997.4005
20 | 2618611.2606 | 1263007.9116 | 2618610.9034 | 1263003.8936
21 | 2618606.1811 | 1262911.149 | 2618606.8936 | 1262925.7055
22 | 2618653.5592 | 1262971.0486 | 2618651.8084 | 1262971.5621
23 | 2618567.611 | 1262997.6601 | 2618568.4614 | 1262997.4005
24 | 2618611.2606 | 1263007.9116 | 2618611.5908 | 1263011.6246 | 2618612.7568 | 1263024.6804
25 | 2618614.0284 | 1263038.9177 | 2618612.7568 | 1263024.6804
26 | 2618614.0284 | 1263038.9177 | 2618614.4467 | 1263043.6473
27 | 2618614.0284 | 1263038.9177 | 2618630.5094 | 1263037.4327
28 | 2618614.4467 | 1263043.6473 | 2618616.0594 | 1263061.8807
29 | 2618656.8617 | 1263035.0582 | 2618630.5094 | 1263037.4327
30 | 2618665.48 | 1262967.5524 | 2618653.5592 | 1262971.0486
31 | 2618567.611 | 1262997.6601 | 2618564.3088 | 1262998.668
32 | 2618579.5471 | 1262915.2587 | 2618578.314 | 1262897.3278
33 | 2618579.5471 | 1262915.2587 | 2618580.8077 | 1262933.5897
34 | 2618582.0875 | 1262952.1989 | 2618580.8077 | 1262933.5897
35 | 2618605.2873 | 1262855.2748 | 2618615.1083 | 1262836.8067
36 | 2618605.2873 | 1262855.2748 | 2618604.0721 | 1262868.0576 | 2618604.1961 | 1262870.591
37 | 2618663.5327 | 1263034.4571 | 2618656.8617 | 1263035.0582
38 | 2618663.5327 | 1263034.4571 | 2618670.0732 | 1263033.8678
39 | 2618681.9016 | 1263032.802 | 2618670.0732 | 1263033.8678
40 | 2618616.0594 | 1263061.8807 | 2618617.1607 | 1263074.332
41 | 2618681.9016 | 1263032.802 | 2618682.3504 | 1263032.7615 | 2618711.1744 | 1263032.2599
42 | 2618617.22 | 1263075.0023 | 2618617.1607 | 1263074.332
43 | 2618711.1744 | 1263032.2599 | 2618718.1688 | 1263032.1381
44 | 2618742.3711 | 1263031.7169 | 2618718.1688 | 1263032.1381
45 | 2618747.8123 | 1263031.6222 | 2618742.3711 | 1263031.7169
46 | 2618606.1811 | 1262911.149 | 2618605.5535 | 1262898.3249
47 | 2618665.48 | 1262967.5524 | 2618671.1209 | 1262966.1928
48 | 2618665.48 | 1262967.5524 | 2618664.6418 | 1262946.702 | 2618666.5106 | 1262936.7197
49 | 2618671.1209 | 1262966.1928 | 2618689.4827 | 1262961.7672
50 | 2618668.9713 | 1262923.5755 | 2618666.5106 | 1262936.7197
51 | 2618714.4025 | 1262955.761 | 2618689.4827 | 1262961.7672
52 | 2618668.9713 | 1262923.5755 | 2618672.0096 | 1262907.3462
53 | 2618714.4025 | 1262955.761 | 2618718.3574 | 1262954.8078
54 | 2618672.0096 | 1262907.3462 | 2618673.0528 | 1262901.7739
55 | 2618619.6622 | 1263102.6138 | 2618618.5195 | 1263089.6947
56 | 2618621.0914 | 1263118.7727 | 2618619.6622 | 1263102.6138
57 | 2618617.22 | 1263075.0023 | 2618618.5195 | 1263089.6947
58 | 2618621.0914 | 1263118.7727 | 2618630.461 | 1263118.9022 | 2618639.6806 | 1263119.0038
59 | 2618671.1479 | 1263119.0851 | 2618648.8087 | 1263119.1044 | 2618639.6806 | 1263119.0038
60 | 2618673.5317 | 1263119.083 | 2618671.1479 | 1263119.0851
61 | 2618673.5317 | 1263119.083 | 2618673.7402 | 1263119.0828 | 2618689.9625 | 1263119.0661
62 | 2618604.5442 | 1262877.7028 | 2618605.5535 | 1262898.3249
63 | 2618604.1961 | 1262870.591 | 2618604.5442 | 1262877.7028
64 | 2618704.3238 | 1263119.0513 | 2618689.9625 | 1263119.0661
65 | 2618704.3238 | 1263119.0513 | 2618714.5392 | 1263119.0408
66 | 2618737.1054 | 1263119.0175 | 2618714.5392 | 1263119.0408
67 | 2618564.3088 | 1262998.668 | 2618543.0746 | 1263005.1495
68 | 2618619.614 | 1262829.0619 | 2618615.759 | 1262835.583 | 2618615.1083 | 1262836.8067
69 | 2618747.7101 | 1262947.7332 | 2618746.2619 | 1262948.0822
70 | 2618763.9277 | 1262943.8244 | 2618747.7101 | 1262947.7332
71 | 2618731.0189 | 1262951.7561 | 2618746.2619 | 1262948.0822
72 | 2618763.9277 | 1262943.8244 | 2618764.3933 | 1262930.0052 | 2618764.9756 | 1262926.1812
73 | 2618726.5936 | 1262952.8227 | 2618731.0189 | 1262951.7561
74 | 2618764.9756 | 1262926.1812 | 2618768.8941 | 1262900.4475
75 | 2618726.5936 | 1262952.8227 | 2618718.3574 | 1262954.8078
76 | 2618747.8123 | 1263031.6222 | 2618755.892 | 1263031.4816 | 2618764.9173 | 1263031.3899
77 | 2618737.1054 | 1263119.0175 | 2618748.0905 | 1263119.0062 | 2618764.3541 | 1263117.6856
78 | 2618767.1948 | 1263117.4549 | 2618764.3541 | 1263117.6856
79 | 2618676.838 | 1262881.5555 | 2618676.9658 | 1262880.8729
80 | 2618676.9658 | 1262880.8729 | 2618678.075 | 1262874.9481
81 | 2618676.838 | 1262881.5555 | 2618675.3582 | 1262889.46
82 | 2618680.0061 | 1262864.6327 | 2618678.075 | 1262874.9481
83 | 2618675.3582 | 1262889.46 | 2618673.0528 | 1262901.7739
84 | 2618680.0061 | 1262864.6327 | 2618682.283 | 1262852.4707
85 | 2618682.283 | 1262852.4707 | 2618683.6798 | 1262845.0094
86 | 2618683.8962 | 1262843.8535 | 2618683.6798 | 1262845.0094
87 | 2618685.3798 | 1262835.9288 | 2618685.4269 | 1262835.6775
88 | 2618687.4153 | 1262825.0564 | 2618685.4269 | 1262835.6775
89 | 2618685.3798 | 1262835.9288 | 2618683.8962 | 1262843.8535
90 | 2618687.4153 | 1262825.0564 | 2618689.2236 | 1262815.3973
91 | 2618696.1609 | 1262778.3409 | 2618690.8351 | 1262775.4894
92 | 2618696.1609 | 1262778.3409 | 2618707.1848 | 1262781.6843
93 | 2618690.8351 | 1262775.4894 | 2618688.0221 | 1262773.9833
94 | 2618710.336 | 1262782.64 | 2618707.1848 | 1262781.6843
95 | 2618754.3343 | 1262766.7165 | 2618746.581 | 1262793.6327
96 | 2618746.581 | 1262793.6327 | 2618735.3502 | 1262790.2266
97 | 2618754.3343 | 1262766.7165 | 2618739.067 | 1262761.5425
98 | 2618735.3502 | 1262790.2266 | 2618710.336 | 1262782.64
99 | 2618672.8001 | 1262765.8335 | 2618688.0221 | 1262773.9833
100 | 2618660.6894 | 1262759.3495 | 2618672.8001 | 1262765.8335
101 | 2618573.1327 | 1262770.7897 | 2618589.0004 | 1262761.1396
102 | 2618596.8517 | 1262756.3646 | 2618589.0004 | 1262761.1396
103 | 2618624.5273 | 1262739.5333 | 2618596.8517 | 1262756.3646
104 | 2618614.459 | 1262731.4406 | 2618624.5273 | 1262739.5333
105 | 2618660.6894 | 1262759.3495 | 2618624.5273 | 1262739.5333
106 | 2618614.459 | 1262731.4406 | 2618605.4948 | 1262726.7426 | 2618599.8543 | 1262723.8785 | 2618587.3252 | 1262722.1936 | 2618574.7349 | 1262723.2215 | 2618573.2703 | 1262724.1388
107 | 2618614.459 | 1262731.4406 | 2618610.8094 | 1262719.4189
108 | 2618660.6894 | 1262759.3495 | 2618659.561 | 1262761.2695 | 2618645.2065 | 1262785.714
109 | 2618645.2065 | 1262785.714 | 2618644.4841 | 1262786.9442
110 | 2618644.4841 | 1262786.9442 | 2618640.886 | 1262793.0715
111 | 2618634.1072 | 1262804.5456 | 2618640.257 | 1262794.1425 | 2618640.886 | 1262793.0715
112 | 2618634.1072 | 1262804.5456 | 2618631.4628 | 1262809.0188
113 | 2618631.4628 | 1262809.0188 | 2618624.6096 | 1262820.6115
114 | 2618556.0932 | 1262734.5516 | 2618557.5116 | 1262734.0084 | 2618573.2703 | 1262724.1388
115 | 2618624.6096 | 1262820.6115 | 2618619.614 | 1262829.0619

## bus_geodata
| x | y | coords
0 | 2618545.2754 | 1262877.4195
1 | 2618555.4678 | 1262865.053
2 | 2618516.7706 | 1262911.7386
3 | 2618563.879 | 1262856.8113
4 | 2618495.8062 | 1262929.3756
5 | 2618575.1616 | 1262851.489
6 | 2618593.8711 | 1262852.7447
7 | 2618577.1564 | 1262880.496
8 | 2618608.9099 | 1262963.1216
9 | 2618607.752 | 1262943.2461
10 | 2618609.4631 | 1262972.4075
11 | 2618607.674 | 1262941.6516
12 | 2618609.7043 | 1262983.9107
13 | 2618606.9063 | 1262925.9663
14 | 2618632.4278 | 1262977.2462
15 | 2618580.5431 | 1262993.7127
16 | 2618610.9034 | 1263003.8936
17 | 2618606.8936 | 1262925.7055
18 | 2618651.8084 | 1262971.5621
19 | 2618568.4614 | 1262997.4005
20 | 2618611.2606 | 1263007.9116
21 | 2618612.7568 | 1263024.6804
22 | 2618614.0284 | 1263038.9177
23 | 2618614.4467 | 1263043.6473
24 | 2618630.5094 | 1263037.4327
25 | 2618653.5591 | 1262971.0486
26 | 2618567.611 | 1262997.6601
27 | 2618578.314 | 1262897.3278
28 | 2618579.5471 | 1262915.2587
29 | 2618580.8077 | 1262933.5897
30 | 2618582.0875 | 1262952.1989
31 | 2618605.2873 | 1262855.2748
32 | 2618656.8617 | 1263035.0582
33 | 2618663.5327 | 1263034.4571
34 | 2618670.0732 | 1263033.8678
35 | 2618616.0594 | 1263061.8807
36 | 2618681.9016 | 1263032.802
37 | 2618617.1607 | 1263074.332
38 | 2618711.1744 | 1263032.2599
39 | 2618718.1688 | 1263032.1381
40 | 2618742.3711 | 1263031.7169
41 | 2618606.1811 | 1262911.149
42 | 2618665.48 | 1262967.5524
43 | 2618671.1209 | 1262966.1928
44 | 2618666.5106 | 1262936.7197
45 | 2618689.4827 | 1262961.7672
46 | 2618668.9713 | 1262923.5755
47 | 2618714.4025 | 1262955.761
48 | 2618672.0096 | 1262907.3462
49 | 2618619.6622 | 1263102.6138
50 | 2618618.5195 | 1263089.6947
51 | 2618621.0914 | 1263118.7727
52 | 2618617.22 | 1263075.0023
53 | 2618639.6806 | 1263119.0038
54 | 2618671.1479 | 1263119.0851
55 | 2618673.5317 | 1263119.083
56 | 2618605.5535 | 1262898.3249
57 | 2618604.5442 | 1262877.7028
58 | 2618604.1961 | 1262870.591
59 | 2618689.9625 | 1263119.0661
60 | 2618704.3238 | 1263119.0513
61 | 2618714.5392 | 1263119.0408
62 | 2618564.3088 | 1262998.668
63 | 2618543.0746 | 1263005.1495
64 | 2618615.1083 | 1262836.8067
65 | 2618747.7101 | 1262947.7332
66 | 2618746.2619 | 1262948.0822
67 | 2618763.9277 | 1262943.8244
68 | 2618731.0189 | 1262951.7561
69 | 2618764.9756 | 1262926.1812
70 | 2618726.5936 | 1262952.8227
71 | 2618768.8941 | 1262900.4475
72 | 2618718.3574 | 1262954.8078
73 | 2618747.8123 | 1263031.6222
74 | 2618764.9173 | 1263031.3899
75 | 2618737.1054 | 1263119.0175
76 | 2618764.3541 | 1263117.6856
77 | 2618767.1948 | 1263117.4549
78 | 2618676.9658 | 1262880.8729
79 | 2618676.838 | 1262881.5555
80 | 2618678.075 | 1262874.9481
81 | 2618675.3582 | 1262889.46
82 | 2618680.0061 | 1262864.6327
83 | 2618673.0528 | 1262901.7739
84 | 2618682.283 | 1262852.4707
85 | 2618683.6798 | 1262845.0094
86 | 2618685.4269 | 1262835.6775
87 | 2618685.3798 | 1262835.9288
88 | 2618687.4153 | 1262825.0564
89 | 2618683.8962 | 1262843.8535
90 | 2618689.2236 | 1262815.3973
91 | 2618696.1609 | 1262778.3409
92 | 2618690.8351 | 1262775.4894
93 | 2618707.1848 | 1262781.6843
94 | 2618746.581 | 1262793.6327
95 | 2618754.3343 | 1262766.7165
96 | 2618735.3502 | 1262790.2266
97 | 2618739.067 | 1262761.5425
98 | 2618710.336 | 1262782.64
99 | 2618688.0221 | 1262773.9833
100 | 2618672.8001 | 1262765.8335
101 | 2618573.1327 | 1262770.7897
102 | 2618589.0004 | 1262761.1396
103 | 2618596.8517 | 1262756.3646
104 | 2618624.5273 | 1262739.5333
105 | 2618614.459 | 1262731.4406
106 | 2618660.6894 | 1262759.3495
107 | 2618645.2065 | 1262785.714
108 | 2618644.4841 | 1262786.9442
109 | 2618640.886 | 1262793.0715
110 | 2618634.1072 | 1262804.5456
111 | 2618631.4628 | 1262809.0188
112 | 2618573.2703 | 1262724.1388
113 | 2618610.8094 | 1262719.4189
114 | 2618619.614 | 1262829.0619
115 | 2618624.6096 | 1262820.6115
116 | 2618556.0932 | 1262734.5516
117 | 2618665.48 | 1262967.5524

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1