## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2831-36_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2831-36_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2831-36_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2831-36_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2831-36_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2831-36_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_2831-36_0_3_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_2831-36_0_3_node_86 | 0.4 | n |  | TRUE
8 | bus_LV_2831-36_0_3_node_20 | 0.4 | n |  | TRUE
9 | bus_LV_2831-36_0_3_node_91 | 0.4 | n |  | TRUE
10 | bus_LV_2831-36_0_3_node_18 | 0.4 | n |  | TRUE
11 | bus_LV_2831-36_0_3_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_2831-36_0_3_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_2831-36_0_3_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_2831-36_0_3_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_2831-36_0_3_node_11 | 0.4 | n |  | TRUE
16 | bus_LV_2831-36_0_3_node_12 | 0.4 | n |  | TRUE
17 | bus_LV_2831-36_0_3_node_13 | 0.4 | n |  | TRUE
18 | bus_LV_2831-36_0_3_node_14 | 0.4 | n |  | TRUE
19 | bus_LV_2831-36_0_3_node_16 | 0.4 | n |  | TRUE
20 | bus_LV_2831-36_0_3_node_33 | 0.4 | n |  | TRUE
21 | bus_LV_2831-36_0_3_node_15 | 0.4 | n |  | TRUE
22 | bus_LV_2831-36_0_3_node_98 | 0.4 | n |  | TRUE
23 | bus_LV_2831-36_0_3_node_17 | 0.4 | n |  | TRUE
24 | bus_LV_2831-36_0_3_node_19 | 0.4 | n |  | TRUE
25 | bus_LV_2831-36_0_3_node_21 | 0.4 | n |  | TRUE
26 | bus_LV_2831-36_0_3_node_36 | 0.4 | n |  | TRUE
27 | bus_LV_2831-36_0_3_node_83 | 0.4 | n |  | TRUE
28 | bus_LV_2831-36_0_3_node_34 | 0.4 | n |  | TRUE
29 | bus_LV_2831-36_0_3_node_22 | 0.4 | n |  | TRUE
30 | bus_LV_2831-36_0_3_node_23 | 0.4 | n |  | TRUE
31 | bus_LV_2831-36_0_3_node_24 | 0.4 | n |  | TRUE
32 | bus_LV_2831-36_0_3_node_25 | 0.4 | n |  | TRUE
33 | bus_LV_2831-36_0_3_node_26 | 0.4 | n |  | TRUE
34 | bus_LV_2831-36_0_3_node_27 | 0.4 | n |  | TRUE
35 | bus_LV_2831-36_0_3_node_28 | 0.4 | n |  | TRUE
36 | bus_LV_2831-36_0_3_node_30 | 0.4 | n |  | TRUE
37 | bus_LV_2831-36_0_3_node_31 | 0.4 | n |  | TRUE
38 | bus_LV_2831-36_0_3_node_32 | 0.4 | n |  | TRUE
39 | bus_LV_2831-36_0_3_node_35 | 0.4 | n |  | TRUE
40 | bus_LV_2831-36_0_3_node_49 | 0.4 | n |  | TRUE
41 | bus_LV_2831-36_0_3_node_41 | 0.4 | n |  | TRUE
42 | bus_LV_2831-36_0_3_node_47 | 0.4 | n |  | TRUE
43 | bus_LV_2831-36_0_3_node_40 | 0.4 | n |  | TRUE
44 | bus_LV_2831-36_0_3_node_99 | 0.4 | n |  | TRUE
45 | bus_LV_2831-36_0_3_node_81 | 0.4 | n |  | TRUE
46 | bus_LV_2831-36_0_3_node_96 | 0.4 | n |  | TRUE
47 | bus_LV_2831-36_0_3_node_97 | 0.4 | n |  | TRUE
48 | bus_LV_2831-36_0_3_node_38 | 0.4 | n |  | TRUE
49 | bus_LV_2831-36_0_3_node_39 | 0.4 | n |  | TRUE
50 | bus_LV_2831-36_0_3_node_42 | 0.4 | n |  | TRUE
51 | bus_LV_2831-36_0_3_node_43 | 0.4 | n |  | TRUE
52 | bus_LV_2831-36_0_3_node_45 | 0.4 | n |  | TRUE
53 | bus_LV_2831-36_0_3_node_56 | 0.4 | n |  | TRUE
54 | bus_LV_2831-36_0_3_node_54 | 0.4 | n |  | TRUE
55 | bus_LV_2831-36_0_3_node_48 | 0.4 | n |  | TRUE
56 | bus_LV_2831-36_0_3_node_50 | 0.4 | n |  | TRUE
57 | bus_LV_2831-36_0_3_node_51 | 0.4 | n |  | TRUE
58 | bus_LV_2831-36_0_3_node_52 | 0.4 | n |  | TRUE
59 | bus_LV_2831-36_0_3_node_53 | 0.4 | n |  | TRUE
60 | bus_LV_2831-36_0_3_node_68 | 0.4 | n |  | TRUE
61 | bus_LV_2831-36_0_3_node_67 | 0.4 | n |  | TRUE
62 | bus_LV_2831-36_0_3_node_55 | 0.4 | n |  | TRUE
63 | bus_LV_2831-36_0_3_node_57 | 0.4 | n |  | TRUE
64 | bus_LV_2831-36_0_3_node_58 | 0.4 | n |  | TRUE
65 | bus_LV_2831-36_0_3_node_59 | 0.4 | n |  | TRUE
66 | bus_LV_2831-36_0_3_node_60 | 0.4 | n |  | TRUE
67 | bus_LV_2831-36_0_3_node_61 | 0.4 | n |  | TRUE
68 | bus_LV_2831-36_0_3_node_62 | 0.4 | n |  | TRUE
69 | bus_LV_2831-36_0_3_node_64 | 0.4 | n |  | TRUE
70 | bus_LV_2831-36_0_3_node_65 | 0.4 | n |  | TRUE
71 | bus_LV_2831-36_0_3_node_66 | 0.4 | n |  | TRUE
72 | bus_LV_2831-36_0_3_node_69 | 0.4 | n |  | TRUE
73 | bus_LV_2831-36_0_3_node_70 | 0.4 | n |  | TRUE
74 | bus_LV_2831-36_0_3_node_71 | 0.4 | n |  | TRUE
75 | bus_LV_2831-36_0_3_node_72 | 0.4 | n |  | TRUE
76 | bus_LV_2831-36_0_3_node_73 | 0.4 | n |  | TRUE
77 | bus_LV_2831-36_0_3_node_74 | 0.4 | n |  | TRUE
78 | bus_LV_2831-36_0_3_node_75 | 0.4 | n |  | TRUE
79 | bus_LV_2831-36_0_3_node_76 | 0.4 | n |  | TRUE
80 | bus_LV_2831-36_0_3_node_87 | 0.4 | n |  | TRUE
81 | bus_LV_2831-36_0_3_node_77 | 0.4 | n |  | TRUE
82 | bus_LV_2831-36_0_3_node_88 | 0.4 | n |  | TRUE
83 | bus_LV_2831-36_0_3_node_82 | 0.4 | n |  | TRUE
84 | bus_LV_2831-36_0_3_node_79 | 0.4 | n |  | TRUE
85 | bus_LV_2831-36_0_3_node_78 | 0.4 | n |  | TRUE
86 | bus_LV_2831-36_0_3_node_80 | 0.4 | n |  | TRUE
87 | bus_LV_2831-36_0_3_node_85 | 0.4 | n |  | TRUE
88 | bus_LV_2831-36_0_3_node_95 | 0.4 | n |  | TRUE
89 | bus_LV_2831-36_0_3_node_94 | 0.4 | n |  | TRUE
90 | bus_LV_2831-36_0_3_node_89 | 0.4 | n |  | TRUE
91 | bus_LV_2831-36_0_3_node_90 | 0.4 | n |  | TRUE
92 | bus_LV_2831-36_0_3_node_92 | 0.4 | n |  | TRUE
93 | bus_LV_2831-36_0_3_node_93 | 0.4 | n |  | TRUE
94 | bus_MV_577_0_node_50 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2831-36_0_3_load_0 | 0 | 0.020527 | 0.0051447 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2831-36_0_3_load_1 | 1 | 0.0016355 | 0.0004099 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2831-36_0_3_load_3 | 3 | 0.004847 | 0.0012148 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2831-36_0_3_load_4 | 4 | 0.0016381 | 0.00041056 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2831-36_0_3_load_6 | 6 | 0.0038477 | 0.00096433 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2831-36_0_3_load_86 | 7 | 0.01272 | 0.0031878 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2831-36_0_3_load_20 | 8 | 0.0022722 | 0.00056946 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2831-36_0_3_load_18 | 10 | 0.0021713 | 0.00054418 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2831-36_0_3_load_7 | 11 | 0.0034883 | 0.00087426 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2831-36_0_3_load_8 | 12 | 0.002629 | 0.00065888 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2831-36_0_3_load_9 | 13 | 0.00093992 | 0.00023557 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2831-36_0_3_load_10 | 14 | 0.0034646 | 0.00086831 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2831-36_0_3_load_11 | 15 | 0.0019588 | 0.00049093 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2831-36_0_3_load_12 | 16 | 0.0011691 | 0.00029301 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2831-36_0_3_load_13 | 17 | 0.0030749 | 0.00077065 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2831-36_0_3_load_14 | 18 | 0.0011504 | 0.00028832 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2831-36_0_3_load_16 | 19 | 0.0023013 | 0.00057676 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2831-36_0_3_load_33 | 20 | 0.00088671 | 0.00022223 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2831-36_0_3_load_15 | 21 | 0.0016998 | 0.00042602 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2831-36_0_3_load_19 | 24 | 0.0074236 | 0.0018605 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2831-36_0_3_load_21 | 25 | 0.001908 | 0.00047818 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2831-36_0_3_load_83 | 27 | 0.0011456 | 0.00028713 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2831-36_0_3_load_34 | 28 | 0.001167 | 0.00029247 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2831-36_0_3_load_22 | 29 | 0.0032319 | 0.00081 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2831-36_0_3_load_23 | 30 | 0.0021831 | 0.00054715 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2831-36_0_3_load_25 | 32 | 0.0027904 | 0.00069935 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2831-36_0_3_load_26 | 33 | 0.0028774 | 0.00072113 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2831-36_0_3_load_27 | 34 | 0.0014025 | 0.0003515 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2831-36_0_3_load_28 | 35 | 0.0024732 | 0.00061983 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2831-36_0_3_load_31 | 37 | 0.0020831 | 0.00052208 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2831-36_0_3_load_32 | 38 | 0.0023414 | 0.00058681 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2831-36_0_3_load_35 | 39 | 0.0025269 | 0.0006333 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2831-36_0_3_load_49 | 40 | 0.0023421 | 0.00058698 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2831-36_0_3_load_41 | 41 | 0.0024815 | 0.00062192 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2831-36_0_3_load_47 | 42 | 0.0019421 | 0.00048673 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2831-36_0_3_load_99 | 44 | 0.0012401 | 0.0003108 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2831-36_0_3_load_81 | 45 | 0.0017679 | 0.00044308 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2831-36_0_3_load_96 | 46 | 0.0013642 | 0.00034191 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2831-36_0_3_load_97 | 47 | 0.00099711 | 0.0002499 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2831-36_0_3_load_38 | 48 | 0.0016233 | 0.00040684 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2831-36_0_3_load_39 | 49 | 0.001084 | 0.00027167 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2831-36_0_3_load_42 | 50 | 0.0015076 | 0.00037783 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2831-36_0_3_load_43 | 51 | 0.0016371 | 0.0004103 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2831-36_0_3_load_45 | 52 | 0.0024433 | 0.00061234 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2831-36_0_3_load_56 | 53 | 0.0028444 | 0.00071287 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2831-36_0_3_load_54 | 54 | 0.0020466 | 0.00051293 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2831-36_0_3_load_48 | 55 | 0.001326 | 0.00033233 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2831-36_0_3_load_50 | 56 | 0.0023306 | 0.00058411 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2831-36_0_3_load_51 | 57 | 0.005534 | 0.001387 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2831-36_0_3_load_52 | 58 | 0.0058138 | 0.0014571 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2831-36_0_3_load_53 | 59 | 0.0043769 | 0.001097 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2831-36_0_3_load_68 | 60 | 0.0042538 | 0.0010661 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2831-36_0_3_load_67 | 61 | 0.0022732 | 0.00056973 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2831-36_0_3_load_55 | 62 | 0.0038211 | 0.00095767 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2831-36_0_3_load_57 | 63 | 0.0041548 | 0.0010413 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2831-36_0_3_load_59 | 65 | 0.0022242 | 0.00055744 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_2831-36_0_3_load_60 | 66 | 0.0022887 | 0.00057361 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_2831-36_0_3_load_61 | 67 | 0.0024366 | 0.00061068 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_2831-36_0_3_load_62 | 68 | 0.0022721 | 0.00056944 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_2831-36_0_3_load_64 | 69 | 0.0022193 | 0.0005562 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_2831-36_0_3_load_65 | 70 | 0.0024797 | 0.00062146 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_2831-36_0_3_load_66 | 71 | 0.0026753 | 0.00067049 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_2831-36_0_3_load_69 | 72 | 0.011538 | 0.0028917 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_2831-36_0_3_load_70 | 73 | 0.0112 | 0.0028071 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_2831-36_0_3_load_71 | 74 | 0.0085187 | 0.002135 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_2831-36_0_3_load_72 | 75 | 0.0050953 | 0.001277 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_2831-36_0_3_load_73 | 76 | 0.013209 | 0.0033104 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_2831-36_0_3_load_74 | 77 | 0.0032654 | 0.00081838 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_2831-36_0_3_load_75 | 78 | 0.01127 | 0.0028245 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_2831-36_0_3_load_76 | 79 | 0.002906 | 0.0007283 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_2831-36_0_3_load_87 | 80 | 0.017306 | 0.0043372 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_2831-36_0_3_load_88 | 82 | 0.01535 | 0.003847 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_2831-36_0_3_load_82 | 83 | 0.0033086 | 0.0008292 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_2831-36_0_3_load_79 | 84 | 0.014842 | 0.0037197 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_2831-36_0_3_load_78 | 85 | 0.0034098 | 0.00085457 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_2831-36_0_3_load_80 | 86 | 0.0013211 | 0.0003311 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_2831-36_0_3_load_85 | 87 | 0.0054254 | 0.0013597 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_2831-36_0_3_load_94 | 89 | 0.0047755 | 0.0011969 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_2831-36_0_3_load_90 | 91 | 0.0056771 | 0.0014228 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_2831-36_0_3_load_93 | 93 | 0.0064383 | 0.0016136 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 79 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2831-36_0_3_line_0 |  | 0 | 1 | 0.011696 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2831-36_0_3_line_1 |  | 0 | 2 | 0.027909 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2831-36_0_3_line_2 |  | 1 | 3 | 0.0070569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2831-36_0_3_line_3 |  | 2 | 4 | 0.012793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2831-36_0_3_line_4 |  | 3 | 5 | 0.024763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2831-36_0_3_line_5 |  | 4 | 6 | 0.013377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2831-36_0_3_line_6 |  | 5 | 7 | 0.019677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2831-36_0_3_line_7 |  | 6 | 8 | 0.0023192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2831-36_0_3_line_8 |  | 7 | 9 | 0.025976 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2831-36_0_3_line_9 |  | 8 | 10 | 0.010626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2831-36_0_3_line_10 |  | 9 | 90 | 0.008893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2831-36_0_3_line_11 |  | 10 | 23 | 0.0051292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2831-36_0_3_line_12 |  | 11 | 12 | 0.0063312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2831-36_0_3_line_13 |  | 11 | 13 | 0.015139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2831-36_0_3_line_14 |  | 12 | 14 | 0.023555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2831-36_0_3_line_15 |  | 13 | 15 | 0.0077776 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2831-36_0_3_line_16 |  | 14 | 16 | 0.0067533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2831-36_0_3_line_17 |  | 15 | 17 | 0.002221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2831-36_0_3_line_18 |  | 16 | 18 | 0.00098365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2831-36_0_3_line_19 |  | 17 | 19 | 0.01473 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2831-36_0_3_line_20 |  | 18 | 20 | 0.00098153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2831-36_0_3_line_21 |  | 19 | 21 | 0.0044837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2831-36_0_3_line_22 |  | 20 | 22 | 0.015584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2831-36_0_3_line_23 |  | 21 | 23 | 0.011146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2831-36_0_3_line_24 |  | 22 | 44 | 0.014621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2831-36_0_3_line_25 |  | 23 | 24 | 0.022203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2831-36_0_3_line_26 |  | 24 | 25 | 0.01575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2831-36_0_3_line_27 |  | 26 | 27 | 0.0056299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2831-36_0_3_line_28 |  | 26 | 28 | 0.0060832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2831-36_0_3_line_29 |  | 27 | 45 | 0.017931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2831-36_0_3_line_30 |  | 28 | 36 | 0.0079648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2831-36_0_3_line_31 |  | 29 | 30 | 0.010948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2831-36_0_3_line_32 |  | 29 | 31 | 0.02825 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2831-36_0_3_line_33 |  | 30 | 32 | 0.001321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2831-36_0_3_line_34 |  | 31 | 33 | 0.011948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2831-36_0_3_line_35 |  | 31 | 34 | 0.016549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2831-36_0_3_line_36 |  | 31 | 35 | 0.020709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2831-36_0_3_line_37 |  | 33 | 36 | 0.023409 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2831-36_0_3_line_38 |  | 34 | 37 | 0.017791 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2831-36_0_3_line_39 |  | 35 | 38 | 0.003463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2831-36_0_3_line_40 |  | 36 | 39 | 0.057016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2831-36_0_3_line_41 |  | 37 | 40 | 0.0072982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2831-36_0_3_line_42 |  | 38 | 41 | 0.030528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2831-36_0_3_line_43 |  | 40 | 42 | 0.014194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2831-36_0_3_line_44 |  | 41 | 43 | 0.012533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2831-36_0_3_line_45 |  | 42 | 55 | 0.0068339 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2831-36_0_3_line_46 |  | 43 | 50 | 0.019969 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2831-36_0_3_line_47 |  | 43 | 51 | 0.01506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2831-36_0_3_line_48 |  | 43 | 48 | 0.024773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2831-36_0_3_line_49 |  | 44 | 47 | 0.0049368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2831-36_0_3_line_50 |  | 45 | 86 | 0.0078459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_2831-36_0_3_line_51 |  | 46 | 47 | 0.0058603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2831-36_0_3_line_52 |  | 48 | 49 | 0.0035301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2831-36_0_3_line_53 |  | 50 | 52 | 0.0082518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2831-36_0_3_line_54 |  | 52 | 53 | 0.025172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2831-36_0_3_line_55 |  | 53 | 54 | 0.0022838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_2831-36_0_3_line_56 |  | 54 | 62 | 0.02524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2831-36_0_3_line_57 |  | 55 | 56 | 0.017796 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_2831-36_0_3_line_58 |  | 56 | 57 | 0.013217 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_2831-36_0_3_line_59 |  | 57 | 58 | 0.010006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_2831-36_0_3_line_60 |  | 58 | 59 | 0.002598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_2831-36_0_3_line_61 |  | 59 | 60 | 0.0094627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_2831-36_0_3_line_62 |  | 60 | 61 | 0.0014585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_2831-36_0_3_line_63 |  | 61 | 68 | 0.0036171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_2831-36_0_3_line_64 |  | 62 | 63 | 0.00054291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_2831-36_0_3_line_65 |  | 64 | 65 | 0.0078895 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_2831-36_0_3_line_66 |  | 64 | 66 | 0.0051736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_2831-36_0_3_line_67 |  | 65 | 67 | 0.014741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_2831-36_0_3_line_68 |  | 66 | 68 | 0.0020172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_2831-36_0_3_line_69 |  | 67 | 69 | 0.0072525 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_2831-36_0_3_line_70 |  | 69 | 70 | 0.00012921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_2831-36_0_3_line_71 |  | 70 | 71 | 0.0065242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_2831-36_0_3_line_72 |  | 72 | 73 | 0.002711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
73 | LV_2831-36_0_3_line_73 |  | 72 | 74 | 0.00046097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
74 | LV_2831-36_0_3_line_74 |  | 73 | 75 | 0.023483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
75 | LV_2831-36_0_3_line_75 |  | 74 | 76 | 0.0098444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
76 | LV_2831-36_0_3_line_76 |  | 75 | 77 | 0.0008084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
77 | LV_2831-36_0_3_line_77 |  | 76 | 78 | 0.0064718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
78 | LV_2831-36_0_3_line_78 |  | 77 | 79 | 0.0058554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
79 | LV_2831-36_0_3_line_79 |  | 78 | 80 | 0.021006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
80 | LV_2831-36_0_3_line_80 |  | 79 | 81 | 0.012768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_2831-36_0_3_line_81 |  | 80 | 82 | 0.0011033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_2831-36_0_3_line_82 |  | 81 | 83 | 0.011855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_2831-36_0_3_line_83 |  | 81 | 84 | 0.0015474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_2831-36_0_3_line_84 |  | 82 | 90 | 0.022213 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_2831-36_0_3_line_85 |  | 84 | 85 | 0.019946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_2831-36_0_3_line_86 |  | 85 | 86 | 0.010342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_2831-36_0_3_line_87 |  | 87 | 88 | 0.015416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_2831-36_0_3_line_88 |  | 88 | 89 | 0.02617 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_2831-36_0_3_line_89 |  | 89 | 93 | 0.018412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_2831-36_0_3_line_90 |  | 90 | 91 | 0.043151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_2831-36_0_3_line_91 |  | 91 | 92 | 0.018571 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_2831-36_0_3_line_92 |  | 92 | 93 | 0.0052016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2831-36_0_3_trafo_76 | 0.63 MVA 20/0.4 kV | 94 | 79 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2619377.5775 | 1262894.6138 | 2619385.6777 | 1262901.2276 | 2619386.4796 | 1262902.1721
1 | 2619353.9066 | 1262880.2094 | 2619368.2865 | 1262887.0277 | 2619377.5775 | 1262894.6138
2 | 2619386.4796 | 1262902.1721 | 2619391.0469 | 1262907.5517
3 | 2619353.9066 | 1262880.2094 | 2619356.9829 | 1262867.7918
4 | 2619404.1108 | 1262928.4622 | 2619395.7024 | 1262913.0352 | 2619391.0469 | 1262907.5517
5 | 2619359.5656 | 1262854.667 | 2619357.0057 | 1262867.6997 | 2619356.9829 | 1262867.7918
6 | 2619404.1108 | 1262928.4622 | 2619413.3542 | 1262923.5335 | 2619420.6246 | 1262923.0458 | 2619422.5338 | 1262923.191
7 | 2619359.5656 | 1262854.667 | 2619360.0126 | 1262852.3913
8 | 2619448.4349 | 1262925.1606 | 2619422.5338 | 1262923.191
9 | 2619362.0607 | 1262841.9646 | 2619360.0126 | 1262852.3913
10 | 2619448.4349 | 1262925.1606 | 2619457.3443 | 1262925.579
11 | 2619363.0493 | 1262836.9316 | 2619362.0607 | 1262841.9646
12 | 2619352.8713 | 1262790.5566 | 2619347.0919 | 1262787.9714
13 | 2619352.8713 | 1262790.5566 | 2619366.6908 | 1262796.738
14 | 2619347.0919 | 1262787.9714 | 2619337.0933 | 1262783.499 | 2619325.0444 | 1262779.8073
15 | 2619366.6908 | 1262796.738 | 2619366.6908 | 1262796.738 | 2619365.989 | 1262804.4839
16 | 2619318.5874 | 1262777.8289 | 2619325.0444 | 1262779.8073
17 | 2619365.989 | 1262804.4839 | 2619365.7886 | 1262806.6959
18 | 2619318.5874 | 1262777.8289 | 2619317.6469 | 1262777.5407
19 | 2619365.7886 | 1262806.6959 | 2619364.4596 | 1262821.3654
20 | 2619317.6469 | 1262777.5407 | 2619316.7084 | 1262777.2532
21 | 2619364.055 | 1262825.8308 | 2619364.4596 | 1262821.3654
22 | 2619301.8081 | 1262772.6878 | 2619316.7084 | 1262777.2532
23 | 2619363.0493 | 1262836.9316 | 2619364.055 | 1262825.8308
24 | 2619301.8081 | 1262772.6878 | 2619303.4674 | 1262758.1609 | 2619303.4674 | 1262758.1609
25 | 2619363.0493 | 1262836.9316 | 2619385.12 | 1262834.5131
26 | 2619385.12 | 1262834.5131 | 2619385.12 | 1262834.5131 | 2619388.5362 | 1262819.1379
27 | 2619398.2748 | 1262787.5571 | 2619401.4015 | 1262792.2389
28 | 2619398.2748 | 1262787.5571 | 2619397.2311 | 1262781.5642
29 | 2619414.1658 | 1262804.5734 | 2619404.4664 | 1262796.8282 | 2619401.4015 | 1262792.2389
30 | 2619395.8645 | 1262773.7175 | 2619397.2311 | 1262781.5642
31 | 2619403.674 | 1262728.8309 | 2619397.2172 | 1262719.9896
32 | 2619422.1626 | 1262750.1873 | 2619404.002 | 1262729.2802 | 2619403.674 | 1262728.8309
33 | 2619396.4381 | 1262718.9228 | 2619397.2172 | 1262719.9896
34 | 2619422.1626 | 1262750.1873 | 2619413.7122 | 1262758.6345
35 | 2619422.1626 | 1262750.1873 | 2619434.9715 | 1262760.6662
36 | 2619422.1626 | 1262750.1873 | 2619435.2223 | 1262734.1157
37 | 2619395.8645 | 1262773.7175 | 2619400.1 | 1262770.7404 | 2619409.3906 | 1262762.9543 | 2619413.7122 | 1262758.6345
38 | 2619448.7417 | 1262771.9316 | 2619434.9715 | 1262760.6662
39 | 2619435.2223 | 1262734.1157 | 2619437.4061 | 1262731.4282
40 | 2619395.8645 | 1262773.7175 | 2619388.9058 | 1262768.6579 | 2619369.0378 | 1262758.5194 | 2619361.6831 | 1262752.4578 | 2619351.5236 | 1262739.3603
41 | 2619448.7417 | 1262771.9316 | 2619453.6023 | 1262775.9081 | 2619454.428 | 1262776.5039
42 | 2619459.6065 | 1262710.6202 | 2619453.9388 | 1262714.6892 | 2619440.0495 | 1262728.1752 | 2619437.4061 | 1262731.4282
43 | 2619465.9384 | 1262784.81 | 2619454.428 | 1262776.5039
44 | 2619469.7873 | 1262703.3112 | 2619459.6065 | 1262710.6202
45 | 2619465.9384 | 1262784.81 | 2619471.4801 | 1262788.8091
46 | 2619469.7873 | 1262703.3112 | 2619480.9029 | 1262719.9001
47 | 2619469.7873 | 1262703.3112 | 2619475.2085 | 1262699.4485 | 2619483.3237 | 1262697.2682
48 | 2619469.7873 | 1262703.3112 | 2619455.795 | 1262682.8678
49 | 2619303.4674 | 1262758.1609 | 2619303.2444 | 1262753.2292
50 | 2619414.1658 | 1262804.5734 | 2619420.2968 | 1262809.4693
51 | 2619303.2444 | 1262753.2292 | 2619302.9798 | 1262747.3749
52 | 2619455.795 | 1262682.8678 | 2619453.8011 | 1262679.9547
53 | 2619485.4963 | 1262726.7552 | 2619480.9029 | 1262719.9001
54 | 2619485.4963 | 1262726.7552 | 2619499.5082 | 1262747.6666
55 | 2619500.7795 | 1262749.5638 | 2619499.5082 | 1262747.6666
56 | 2619500.7795 | 1262749.5638 | 2619514.8296 | 1262770.5323
57 | 2619485.9112 | 1262799.2229 | 2619471.4801 | 1262788.8091
58 | 2619485.9112 | 1262799.2229 | 2619494.2798 | 1262805.2618 | 2619496.6673 | 1262806.9035
59 | 2619504.9125 | 1262812.5729 | 2619496.6673 | 1262806.9035
60 | 2619504.9125 | 1262812.5729 | 2619507.0532 | 1262814.0448
61 | 2619507.0532 | 1262814.0448 | 2619514.8505 | 1262819.4063
62 | 2619516.0524 | 1262820.2326 | 2619516.0524 | 1262820.2326 | 2619514.8505 | 1262819.4063
63 | 2619516.0524 | 1262820.2326 | 2619519.3649 | 1262821.6854
64 | 2619515.1319 | 1262770.9833 | 2619514.8296 | 1262770.5323
65 | 2619526.3707 | 1262822.8906 | 2619533.0147 | 1262827.1452
66 | 2619526.3707 | 1262822.8906 | 2619521.2122 | 1262822.4956
67 | 2619545.4287 | 1262835.0949 | 2619533.0147 | 1262827.1452
68 | 2619521.2122 | 1262822.4956 | 2619519.3649 | 1262821.6854
69 | 2619545.4287 | 1262835.0949 | 2619551.5363 | 1262839.006
70 | 2619551.5363 | 1262839.006 | 2619551.6451 | 1262839.0757
71 | 2619551.6451 | 1262839.0757 | 2619557.1393 | 1262842.594
72 | 2619466.062 | 1262865.1039 | 2619466.4488 | 1262862.4207
73 | 2619466.062 | 1262865.1039 | 2619465.9962 | 1262865.5601
74 | 2619459.0967 | 1262842.9398 | 2619468.0508 | 1262851.3074 | 2619466.4488 | 1262862.4207
75 | 2619464.5916 | 1262875.3039 | 2619465.9962 | 1262865.5601
76 | 2619458.506 | 1262842.3878 | 2619459.0967 | 1262842.9398
77 | 2619463.6682 | 1262881.7095 | 2619464.5916 | 1262875.3039
78 | 2619454.2279 | 1262838.3899 | 2619458.506 | 1262842.3878
79 | 2619463.6682 | 1262881.7095 | 2619460.6711 | 1262902.501
80 | 2619444.899 | 1262829.6721 | 2619454.2279 | 1262838.3899
81 | 2619460.5137 | 1262903.5929 | 2619460.6711 | 1262902.501
82 | 2619444.899 | 1262829.6721 | 2619448.5742 | 1262818.3986
83 | 2619444.899 | 1262829.6721 | 2619443.7069 | 1262828.6855
84 | 2619457.3443 | 1262925.579 | 2619460.5137 | 1262903.5929
85 | 2619428.3418 | 1262815.9679 | 2619443.7069 | 1262828.6855
86 | 2619428.3418 | 1262815.9679 | 2619425.7881 | 1262813.8542 | 2619420.2968 | 1262809.4693
87 | 2619568.4799 | 1262934.006 | 2619574.4247 | 1262919.7821
88 | 2619568.4799 | 1262934.006 | 2619552.4287 | 1262931.6403 | 2619542.5112 | 1262930.9025
89 | 2619524.1501 | 1262929.5365 | 2619542.5112 | 1262930.9025
90 | 2619457.3443 | 1262925.579 | 2619500.423 | 1262928.076
91 | 2619518.9628 | 1262929.1506 | 2619500.423 | 1262928.076
92 | 2619518.9628 | 1262929.1506 | 2619524.1501 | 1262929.5365

## bus_geodata
| x | y | coords
0 | 2619377.5775 | 1262894.6138
1 | 2619386.4796 | 1262902.1721
2 | 2619353.9066 | 1262880.2094
3 | 2619391.0469 | 1262907.5517
4 | 2619356.9829 | 1262867.7918
5 | 2619404.1108 | 1262928.4622
6 | 2619359.5656 | 1262854.667
7 | 2619422.5338 | 1262923.191
8 | 2619360.0126 | 1262852.3913
9 | 2619448.4349 | 1262925.1606
10 | 2619362.0607 | 1262841.9646
11 | 2619352.8713 | 1262790.5566
12 | 2619347.0919 | 1262787.9714
13 | 2619366.6908 | 1262796.738
14 | 2619325.0444 | 1262779.8073
15 | 2619365.989 | 1262804.4839
16 | 2619318.5874 | 1262777.8289
17 | 2619365.7886 | 1262806.6959
18 | 2619317.6469 | 1262777.5407
19 | 2619364.4596 | 1262821.3654
20 | 2619316.7084 | 1262777.2532
21 | 2619364.055 | 1262825.8308
22 | 2619301.8081 | 1262772.6878
23 | 2619363.0493 | 1262836.9316
24 | 2619385.12 | 1262834.5131
25 | 2619388.5362 | 1262819.1379
26 | 2619398.2748 | 1262787.5571
27 | 2619401.4015 | 1262792.2389
28 | 2619397.2311 | 1262781.5642
29 | 2619403.674 | 1262728.8309
30 | 2619397.2172 | 1262719.9896
31 | 2619422.1626 | 1262750.1873
32 | 2619396.4381 | 1262718.9228
33 | 2619413.7122 | 1262758.6345
34 | 2619434.9715 | 1262760.6662
35 | 2619435.2223 | 1262734.1157
36 | 2619395.8645 | 1262773.7175
37 | 2619448.7417 | 1262771.9316
38 | 2619437.4061 | 1262731.4282
39 | 2619351.5236 | 1262739.3603
40 | 2619454.428 | 1262776.5039
41 | 2619459.6065 | 1262710.6202
42 | 2619465.9384 | 1262784.81
43 | 2619469.7873 | 1262703.3112
44 | 2619303.4674 | 1262758.1609
45 | 2619414.1658 | 1262804.5734
46 | 2619302.9798 | 1262747.3749
47 | 2619303.2444 | 1262753.2292
48 | 2619455.795 | 1262682.8678
49 | 2619453.8011 | 1262679.9547
50 | 2619480.9029 | 1262719.9001
51 | 2619483.3237 | 1262697.2682
52 | 2619485.4963 | 1262726.7552
53 | 2619499.5082 | 1262747.6666
54 | 2619500.7795 | 1262749.5638
55 | 2619471.4801 | 1262788.8091
56 | 2619485.9112 | 1262799.2229
57 | 2619496.6673 | 1262806.9035
58 | 2619504.9125 | 1262812.5729
59 | 2619507.0532 | 1262814.0448
60 | 2619514.8505 | 1262819.4063
61 | 2619516.0524 | 1262820.2326
62 | 2619514.8296 | 1262770.5323
63 | 2619515.1319 | 1262770.9833
64 | 2619526.3707 | 1262822.8906
65 | 2619533.0147 | 1262827.1452
66 | 2619521.2122 | 1262822.4956
67 | 2619545.4287 | 1262835.0949
68 | 2619519.3649 | 1262821.6854
69 | 2619551.5363 | 1262839.006
70 | 2619551.6451 | 1262839.0757
71 | 2619557.1393 | 1262842.594
72 | 2619466.062 | 1262865.1039
73 | 2619466.4488 | 1262862.4207
74 | 2619465.9962 | 1262865.5601
75 | 2619459.0966 | 1262842.9398
76 | 2619464.5916 | 1262875.3039
77 | 2619458.506 | 1262842.3878
78 | 2619463.6682 | 1262881.7095
79 | 2619454.2279 | 1262838.3899
80 | 2619460.6711 | 1262902.501
81 | 2619444.899 | 1262829.6721
82 | 2619460.5137 | 1262903.5929
83 | 2619448.5742 | 1262818.3986
84 | 2619443.7069 | 1262828.6855
85 | 2619428.3418 | 1262815.9679
86 | 2619420.2968 | 1262809.4693
87 | 2619574.4247 | 1262919.7821
88 | 2619568.4799 | 1262934.006
89 | 2619542.5112 | 1262930.9025
90 | 2619457.3443 | 1262925.579
91 | 2619500.423 | 1262928.076
92 | 2619518.9628 | 1262929.1506
93 | 2619524.1501 | 1262929.5365
94 | 2619454.2279 | 1262838.3899

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1