## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2831-37_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2831-37_0_4_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_2831-37_0_4_node_1 | 0.4 | n |  | TRUE
3 | bus_LV_2831-37_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2831-37_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2831-37_0_4_node_20 | 0.4 | n |  | TRUE
6 | bus_LV_2831-37_0_4_node_21 | 0.4 | n |  | TRUE
7 | bus_LV_2831-37_0_4_node_38 | 0.4 | n |  | TRUE
8 | bus_LV_2831-37_0_4_node_9 | 0.4 | n |  | TRUE
9 | bus_LV_2831-37_0_4_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_2831-37_0_4_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_2831-37_0_4_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_2831-37_0_4_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_2831-37_0_4_node_15 | 0.4 | n |  | TRUE
14 | bus_LV_2831-37_0_4_node_17 | 0.4 | n |  | TRUE
15 | bus_LV_2831-37_0_4_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_2831-37_0_4_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_2831-37_0_4_node_12 | 0.4 | n |  | TRUE
18 | bus_LV_2831-37_0_4_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_2831-37_0_4_node_14 | 0.4 | n |  | TRUE
20 | bus_LV_2831-37_0_4_node_40 | 0.4 | n |  | TRUE
21 | bus_LV_2831-37_0_4_node_47 | 0.4 | n |  | TRUE
22 | bus_LV_2831-37_0_4_node_84 | 0.4 | n |  | TRUE
23 | bus_LV_2831-37_0_4_node_82 | 0.4 | n |  | TRUE
24 | bus_LV_2831-37_0_4_node_24 | 0.4 | n |  | TRUE
25 | bus_LV_2831-37_0_4_node_16 | 0.4 | n |  | TRUE
26 | bus_LV_2831-37_0_4_node_94 | 0.4 | n |  | TRUE
27 | bus_LV_2831-37_0_4_node_95 | 0.4 | n |  | TRUE
28 | bus_LV_2831-37_0_4_node_90 | 0.4 | n |  | TRUE
29 | bus_LV_2831-37_0_4_node_91 | 0.4 | n |  | TRUE
30 | bus_LV_2831-37_0_4_node_92 | 0.4 | n |  | TRUE
31 | bus_LV_2831-37_0_4_node_36 | 0.4 | n |  | TRUE
32 | bus_LV_2831-37_0_4_node_22 | 0.4 | n |  | TRUE
33 | bus_LV_2831-37_0_4_node_23 | 0.4 | n |  | TRUE
34 | bus_LV_2831-37_0_4_node_41 | 0.4 | n |  | TRUE
35 | bus_LV_2831-37_0_4_node_31 | 0.4 | n |  | TRUE
36 | bus_LV_2831-37_0_4_node_51 | 0.4 | n |  | TRUE
37 | bus_LV_2831-37_0_4_node_30 | 0.4 | n |  | TRUE
38 | bus_LV_2831-37_0_4_node_25 | 0.4 | n |  | TRUE
39 | bus_LV_2831-37_0_4_node_26 | 0.4 | n |  | TRUE
40 | bus_LV_2831-37_0_4_node_27 | 0.4 | n |  | TRUE
41 | bus_LV_2831-37_0_4_node_28 | 0.4 | n |  | TRUE
42 | bus_LV_2831-37_0_4_node_29 | 0.4 | n |  | TRUE
43 | bus_LV_2831-37_0_4_node_56 | 0.4 | n |  | TRUE
44 | bus_LV_2831-37_0_4_node_71 | 0.4 | n |  | TRUE
45 | bus_LV_2831-37_0_4_node_57 | 0.4 | n |  | TRUE
46 | bus_LV_2831-37_0_4_node_72 | 0.4 | n |  | TRUE
47 | bus_LV_2831-37_0_4_node_32 | 0.4 | n |  | TRUE
48 | bus_LV_2831-37_0_4_node_33 | 0.4 | n |  | TRUE
49 | bus_LV_2831-37_0_4_node_37 | 0.4 | n |  | TRUE
50 | bus_LV_2831-37_0_4_node_35 | 0.4 | n |  | TRUE
51 | bus_LV_2831-37_0_4_node_34 | 0.4 | n |  | TRUE
52 | bus_LV_2831-37_0_4_node_39 | 0.4 | n |  | TRUE
53 | bus_LV_2831-37_0_4_node_74 | 0.4 | n |  | TRUE
54 | bus_LV_2831-37_0_4_node_75 | 0.4 | n |  | TRUE
55 | bus_LV_2831-37_0_4_node_89 | 0.4 | n |  | TRUE
56 | bus_LV_2831-37_0_4_node_49 | 0.4 | n |  | TRUE
57 | bus_LV_2831-37_0_4_node_42 | 0.4 | n |  | TRUE
58 | bus_LV_2831-37_0_4_node_43 | 0.4 | n |  | TRUE
59 | bus_LV_2831-37_0_4_node_44 | 0.4 | n |  | TRUE
60 | bus_LV_2831-37_0_4_node_45 | 0.4 | n |  | TRUE
61 | bus_LV_2831-37_0_4_node_46 | 0.4 | n |  | TRUE
62 | bus_LV_2831-37_0_4_node_77 | 0.4 | n |  | TRUE
63 | bus_LV_2831-37_0_4_node_48 | 0.4 | n |  | TRUE
64 | bus_LV_2831-37_0_4_node_50 | 0.4 | n |  | TRUE
65 | bus_LV_2831-37_0_4_node_52 | 0.4 | n |  | TRUE
66 | bus_LV_2831-37_0_4_node_67 | 0.4 | n |  | TRUE
67 | bus_LV_2831-37_0_4_node_66 | 0.4 | n |  | TRUE
68 | bus_LV_2831-37_0_4_node_53 | 0.4 | n |  | TRUE
69 | bus_LV_2831-37_0_4_node_54 | 0.4 | n |  | TRUE
70 | bus_LV_2831-37_0_4_node_55 | 0.4 | n |  | TRUE
71 | bus_LV_2831-37_0_4_node_64 | 0.4 | n |  | TRUE
72 | bus_LV_2831-37_0_4_node_65 | 0.4 | n |  | TRUE
73 | bus_LV_2831-37_0_4_node_63 | 0.4 | n |  | TRUE
74 | bus_LV_2831-37_0_4_node_58 | 0.4 | n |  | TRUE
75 | bus_LV_2831-37_0_4_node_59 | 0.4 | n |  | TRUE
76 | bus_LV_2831-37_0_4_node_60 | 0.4 | n |  | TRUE
77 | bus_LV_2831-37_0_4_node_61 | 0.4 | n |  | TRUE
78 | bus_LV_2831-37_0_4_node_62 | 0.4 | n |  | TRUE
79 | bus_LV_2831-37_0_4_node_68 | 0.4 | n |  | TRUE
80 | bus_LV_2831-37_0_4_node_69 | 0.4 | n |  | TRUE
81 | bus_LV_2831-37_0_4_node_70 | 0.4 | n |  | TRUE
82 | bus_LV_2831-37_0_4_node_78 | 0.4 | n |  | TRUE
83 | bus_LV_2831-37_0_4_node_79 | 0.4 | n |  | TRUE
84 | bus_LV_2831-37_0_4_node_73 | 0.4 | n |  | TRUE
85 | bus_LV_2831-37_0_4_node_81 | 0.4 | n |  | TRUE
86 | bus_LV_2831-37_0_4_node_80 | 0.4 | n |  | TRUE
87 | bus_LV_2831-37_0_4_node_87 | 0.4 | n |  | TRUE
88 | bus_LV_2831-37_0_4_node_85 | 0.4 | n |  | TRUE
89 | bus_LV_2831-37_0_4_node_86 | 0.4 | n |  | TRUE
90 | bus_LV_2831-37_0_4_node_88 | 0.4 | n |  | TRUE
91 | bus_MV_577_0_node_51 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2831-37_0_4_load_0 | 0 | 0.0077175 | 0.0019342 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2831-37_0_4_load_1 | 2 | 0.009027 | 0.0022624 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2831-37_0_4_load_4 | 4 | 0.033151 | 0.0083084 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2831-37_0_4_load_21 | 6 | 0.056668 | 0.014202 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2831-37_0_4_load_38 | 7 | 0.0012197 | 0.00030567 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2831-37_0_4_load_5 | 9 | 0.00062167 | 0.0001558 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2831-37_0_4_load_6 | 10 | 0.00088435 | 0.00022164 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2831-37_0_4_load_7 | 11 | 0.0011926 | 0.0002989 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2831-37_0_4_load_8 | 12 | 0.0010361 | 0.00025968 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2831-37_0_4_load_15 | 13 | 0.0059402 | 0.0014888 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2831-37_0_4_load_17 | 14 | 0.0036479 | 0.00091425 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2831-37_0_4_load_10 | 15 | 0.015711 | 0.0039376 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2831-37_0_4_load_11 | 16 | 0.0090741 | 0.0022742 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2831-37_0_4_load_12 | 17 | 0.0042628 | 0.0010684 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2831-37_0_4_load_14 | 19 | 0.0049775 | 0.0012475 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2831-37_0_4_load_47 | 21 | 0.0064768 | 0.0016232 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2831-37_0_4_load_82 | 23 | 0.0058346 | 0.0014623 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2831-37_0_4_load_24 | 24 | 0.0052857 | 0.0013247 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2831-37_0_4_load_16 | 25 | 0.0017938 | 0.00044958 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2831-37_0_4_load_95 | 27 | 0.00093092 | 0.00023331 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2831-37_0_4_load_91 | 29 | 0.0045213 | 0.0011331 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2831-37_0_4_load_92 | 30 | 0.0029824 | 0.00074747 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2831-37_0_4_load_41 | 34 | 0.0029841 | 0.00074789 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2831-37_0_4_load_31 | 35 | 0.0042788 | 0.0010724 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2831-37_0_4_load_51 | 36 | 0.0033569 | 0.00084131 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2831-37_0_4_load_30 | 37 | 0.0061236 | 0.0015347 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2831-37_0_4_load_25 | 38 | 0.0035739 | 0.0008957 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2831-37_0_4_load_26 | 39 | 0.0035064 | 0.00087877 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2831-37_0_4_load_27 | 40 | 0.0062588 | 0.0015686 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2831-37_0_4_load_28 | 41 | 0.0056481 | 0.0014155 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2831-37_0_4_load_29 | 42 | 0.0040178 | 0.0010069 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2831-37_0_4_load_56 | 43 | 0.0034601 | 0.00086719 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2831-37_0_4_load_71 | 44 | 0.0030236 | 0.00075778 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2831-37_0_4_load_57 | 45 | 0.0038582 | 0.00096696 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2831-37_0_4_load_72 | 46 | 0.0021736 | 0.00054476 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2831-37_0_4_load_32 | 47 | 0.0014861 | 0.00037244 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2831-37_0_4_load_33 | 48 | 0.0032295 | 0.00080939 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2831-37_0_4_load_37 | 49 | 0.0038266 | 0.00095905 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2831-37_0_4_load_35 | 50 | 0.0011676 | 0.00029262 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2831-37_0_4_load_34 | 51 | 0.0016547 | 0.0004147 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2831-37_0_4_load_39 | 52 | 0.0028837 | 0.00072273 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2831-37_0_4_load_74 | 53 | 0.004141 | 0.0010378 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2831-37_0_4_load_75 | 54 | 0.010133 | 0.0025395 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2831-37_0_4_load_89 | 55 | 0.0020003 | 0.00050133 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2831-37_0_4_load_49 | 56 | 0.0025083 | 0.00062865 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2831-37_0_4_load_42 | 57 | 0.0041341 | 0.0010361 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2831-37_0_4_load_43 | 58 | 0.0058587 | 0.0014683 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2831-37_0_4_load_44 | 59 | 0.0033696 | 0.00084451 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2831-37_0_4_load_46 | 61 | 0.0044413 | 0.0011131 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2831-37_0_4_load_77 | 62 | 0.0028839 | 0.00072278 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2831-37_0_4_load_48 | 63 | 0.0029122 | 0.00072985 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2831-37_0_4_load_50 | 64 | 0.0069697 | 0.0017468 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2831-37_0_4_load_52 | 65 | 0.0043953 | 0.0011016 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2831-37_0_4_load_67 | 66 | 0.013077 | 0.0032775 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2831-37_0_4_load_66 | 67 | 0.0026025 | 0.00065224 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2831-37_0_4_load_53 | 68 | 0.0090972 | 0.00228 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_2831-37_0_4_load_54 | 69 | 0.008806 | 0.002207 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_2831-37_0_4_load_55 | 70 | 0.0027547 | 0.0006904 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_2831-37_0_4_load_64 | 71 | 0.0085199 | 0.0021353 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_2831-37_0_4_load_63 | 73 | 0.0030999 | 0.0007769 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_2831-37_0_4_load_58 | 74 | 0.007701 | 0.00193 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_2831-37_0_4_load_59 | 75 | 0.0035107 | 0.00087987 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_2831-37_0_4_load_60 | 76 | 0.015165 | 0.0038007 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_2831-37_0_4_load_61 | 77 | 0.0032377 | 0.00081144 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_2831-37_0_4_load_62 | 78 | 0.0035922 | 0.00090029 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_2831-37_0_4_load_69 | 80 | 0.0041968 | 0.0010518 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_2831-37_0_4_load_70 | 81 | 0.012082 | 0.003028 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_2831-37_0_4_load_79 | 83 | 0.002786 | 0.00069825 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_2831-37_0_4_load_73 | 84 | 0.0026031 | 0.0006524 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_2831-37_0_4_load_81 | 85 | 0.012821 | 0.0032131 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_2831-37_0_4_load_80 | 86 | 0.0024739 | 0.00062002 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_2831-37_0_4_load_85 | 88 | 0.0027312 | 0.0006845 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_2831-37_0_4_load_86 | 89 | 0.0032499 | 0.0008145 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_2831-37_0_4_load_88 | 90 | 0.0049164 | 0.0012322 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 56 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2831-37_0_4_line_0 |  | 0 | 1 | 0.023493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2831-37_0_4_line_1 |  | 1 | 3 | 0.021742 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2831-37_0_4_line_2 |  | 1 | 4 | 0.010585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2831-37_0_4_line_3 |  | 2 | 3 | 0.01992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2831-37_0_4_line_4 |  | 3 | 5 | 0.028459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2831-37_0_4_line_5 |  | 4 | 6 | 0.03911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2831-37_0_4_line_6 |  | 5 | 7 | 0.026732 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2831-37_0_4_line_7 |  | 5 | 8 | 0.065174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2831-37_0_4_line_8 |  | 7 | 31 | 0.042661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2831-37_0_4_line_9 |  | 8 | 11 | 0.03267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2831-37_0_4_line_10 |  | 9 | 10 | 0.024314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2831-37_0_4_line_11 |  | 9 | 11 | 0.0565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2831-37_0_4_line_12 |  | 10 | 12 | 0.00056757 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2831-37_0_4_line_13 |  | 12 | 13 | 0.016125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2831-37_0_4_line_14 |  | 13 | 14 | 0.010853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2831-37_0_4_line_15 |  | 14 | 25 | 0.0087478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2831-37_0_4_line_16 |  | 15 | 16 | 0.012244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2831-37_0_4_line_17 |  | 15 | 17 | 0.02179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2831-37_0_4_line_18 |  | 16 | 18 | 0.022701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2831-37_0_4_line_19 |  | 17 | 19 | 1.1849e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2831-37_0_4_line_20 |  | 18 | 20 | 0.054691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2831-37_0_4_line_21 |  | 19 | 21 | 0.0014509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2831-37_0_4_line_22 |  | 20 | 22 | 0.010967 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2831-37_0_4_line_23 |  | 20 | 23 | 0.013364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2831-37_0_4_line_24 |  | 21 | 24 | 0.026749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2831-37_0_4_line_25 |  | 22 | 55 | 0.023216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2831-37_0_4_line_26 |  | 22 | 30 | 0.046326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2831-37_0_4_line_27 |  | 24 | 32 | 0.0073736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2831-37_0_4_line_28 |  | 26 | 27 | 0.0087816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2831-37_0_4_line_29 |  | 26 | 28 | 0.075353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2831-37_0_4_line_30 |  | 28 | 90 | 0.053055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2831-37_0_4_line_31 |  | 29 | 30 | 0.021257 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2831-37_0_4_line_32 |  | 31 | 52 | 0.036548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2831-37_0_4_line_33 |  | 31 | 51 | 0.027964 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
34 | LV_2831-37_0_4_line_34 |  | 32 | 33 | 0.019139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2831-37_0_4_line_35 |  | 33 | 34 | 0.028368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
36 | LV_2831-37_0_4_line_36 |  | 33 | 35 | 0.014272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
37 | LV_2831-37_0_4_line_37 |  | 34 | 36 | 0.0063599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
38 | LV_2831-37_0_4_line_38 |  | 35 | 37 | 0.019453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
39 | LV_2831-37_0_4_line_39 |  | 36 | 56 | 0.0025917 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
40 | LV_2831-37_0_4_line_40 |  | 37 | 47 | 0.0039476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
41 | LV_2831-37_0_4_line_41 |  | 38 | 39 | 0.0010802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2831-37_0_4_line_42 |  | 38 | 40 | 0.0071066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2831-37_0_4_line_43 |  | 39 | 41 | 0.0078413 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2831-37_0_4_line_44 |  | 40 | 42 | 0.0047014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2831-37_0_4_line_45 |  | 41 | 43 | 0.012614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2831-37_0_4_line_46 |  | 42 | 44 | 0.00036016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2831-37_0_4_line_47 |  | 43 | 45 | 0.0036427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2831-37_0_4_line_48 |  | 44 | 46 | 0.014707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2831-37_0_4_line_49 |  | 45 | 73 | 0.0079947 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2831-37_0_4_line_50 |  | 46 | 84 | 0.0020273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_2831-37_0_4_line_51 |  | 47 | 48 | 0.0035381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
52 | LV_2831-37_0_4_line_52 |  | 48 | 49 | 0.012809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
53 | LV_2831-37_0_4_line_53 |  | 49 | 50 | 0.0041816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
54 | LV_2831-37_0_4_line_54 |  | 50 | 51 | 0.001758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
55 | LV_2831-37_0_4_line_55 |  | 52 | 53 | 0.014615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_2831-37_0_4_line_56 |  | 53 | 54 | 0.027265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2831-37_0_4_line_57 |  | 54 | 60 | 0.015007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_2831-37_0_4_line_58 |  | 55 | 87 | 0.0029963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_2831-37_0_4_line_59 |  | 56 | 63 | 0.014867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
60 | LV_2831-37_0_4_line_60 |  | 57 | 58 | 0.0052668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_2831-37_0_4_line_61 |  | 57 | 59 | 0.020037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_2831-37_0_4_line_62 |  | 58 | 60 | 0.0054641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_2831-37_0_4_line_63 |  | 59 | 61 | 0.011473 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_2831-37_0_4_line_64 |  | 61 | 62 | 0.018937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_2831-37_0_4_line_65 |  | 63 | 64 | 0.014099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
66 | LV_2831-37_0_4_line_66 |  | 64 | 65 | 0.0041745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
67 | LV_2831-37_0_4_line_67 |  | 65 | 66 | 0.011555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
68 | LV_2831-37_0_4_line_68 |  | 66 | 67 | 0.0037088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
69 | LV_2831-37_0_4_line_69 |  | 67 | 73 | 0.0064563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_2831-37_0_4_line_70 |  | 68 | 69 | 0.031382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_2831-37_0_4_line_71 |  | 69 | 70 | 0.020168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_2831-37_0_4_line_72 |  | 70 | 71 | 0.018346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_2831-37_0_4_line_73 |  | 71 | 72 | 0.056609 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_2831-37_0_4_line_74 |  | 72 | 82 | 0.011607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_2831-37_0_4_line_75 |  | 74 | 75 | 0.02802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_2831-37_0_4_line_76 |  | 74 | 76 | 0.034902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_2831-37_0_4_line_77 |  | 75 | 77 | 0.018739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_2831-37_0_4_line_78 |  | 76 | 78 | 0.0043438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_2831-37_0_4_line_79 |  | 78 | 79 | 0.022895 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_2831-37_0_4_line_80 |  | 79 | 80 | 0.038684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_2831-37_0_4_line_81 |  | 79 | 81 | 0.019908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_2831-37_0_4_line_82 |  | 80 | 84 | 0.0021449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_2831-37_0_4_line_83 |  | 81 | 85 | 0.0020961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_2831-37_0_4_line_84 |  | 82 | 83 | 0.0501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_2831-37_0_4_line_85 |  | 83 | 86 | 0.010371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_2831-37_0_4_line_86 |  | 85 | 86 | 0.020371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_2831-37_0_4_line_87 |  | 87 | 88 | 0.0078902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_2831-37_0_4_line_88 |  | 88 | 89 | 0.023399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_2831-37_0_4_line_89 |  | 89 | 90 | 0.020663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2831-37_0_4_trafo_49 | 0.63 MVA 20/0.4 kV | 91 | 56 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2619600.0817 | 1263406.7811 | 2619576.5944 | 1263406.2434
1 | 2619600.0817 | 1263406.7811 | 2619599.7921 | 1263385.0429
2 | 2619600.0817 | 1263406.7811 | 2619600.2176 | 1263417.3657
3 | 2619599.7921 | 1263385.0429 | 2619579.8723 | 1263385.2133
4 | 2619599.4267 | 1263356.5887 | 2619599.7921 | 1263385.0429
5 | 2619608.7964 | 1263448.1069 | 2619600.6148 | 1263448.2893 | 2619600.2176 | 1263417.3657
6 | 2619599.4267 | 1263356.5887 | 2619622.0636 | 1263350.9374 | 2619625.3624 | 1263350.1128
7 | 2619599.4267 | 1263356.5887 | 2619553.4615 | 1263367.4556 | 2619535.8232 | 1263371.6337
8 | 2619666.7497 | 1263339.7666 | 2619625.3624 | 1263350.1128
9 | 2619535.8232 | 1263371.6337 | 2619534.8812 | 1263404.2905
10 | 2619533.2521 | 1263460.7671 | 2619532.551 | 1263485.0714
11 | 2619533.2521 | 1263460.7671 | 2619534.8812 | 1263404.2905
12 | 2619532.551 | 1263485.0714 | 2619532.5346 | 1263485.6387
13 | 2619532.0697 | 1263501.7573 | 2619532.5346 | 1263485.6387
14 | 2619532.0697 | 1263501.7573 | 2619531.7567 | 1263512.6057
15 | 2619531.5045 | 1263521.3499 | 2619531.7567 | 1263512.6057
16 | 2619668.7027 | 1263516.4157 | 2619668.4676 | 1263504.1738
17 | 2619668.0493 | 1263482.3883 | 2619668.4676 | 1263504.1738
18 | 2619669.1385 | 1263539.1123 | 2619668.7027 | 1263516.4157
19 | 2619668.049 | 1263482.3765 | 2619668.0493 | 1263482.3883
20 | 2619677.6886 | 1263568.1051 | 2619672.6631 | 1263566.4095 | 2619660.415 | 1263566.9026 | 2619659.4119 | 1263544.6394 | 2619659.603 | 1263539.2586 | 2619669.1385 | 1263539.1123
21 | 2619668.049 | 1263482.3765 | 2619668.0212 | 1263480.9258
22 | 2619666.815 | 1263569.7591 | 2619677.6886 | 1263568.1051
23 | 2619677.6886 | 1263568.1051 | 2619691.0447 | 1263567.654
24 | 2619668.0212 | 1263480.9258 | 2619667.5076 | 1263454.1815
25 | 2619666.815 | 1263569.7591 | 2619665.4176 | 1263589.1234 | 2619664.6134 | 1263592.8392
26 | 2619666.815 | 1263569.7591 | 2619640.9782 | 1263568.4948 | 2619620.5336 | 1263569.2508
27 | 2619667.3661 | 1263446.8093 | 2619667.5076 | 1263454.1815
28 | 2619560.5207 | 1263674.9804 | 2619551.7636 | 1263675.6362
29 | 2619560.5207 | 1263674.9804 | 2619561.0854 | 1263656.7807 | 2619571.7086 | 1263662.4642 | 2619587.0358 | 1263671.3765 | 2619601.4652 | 1263678.4958 | 2619597.8628 | 1263667.8098
30 | 2619597.8628 | 1263667.8098 | 2619604.2979 | 1263666.8526 | 2619609.2306 | 1263664.6897 | 2619640.5111 | 1263643.5452 | 2619643.1693 | 1263641.4153
31 | 2619599.2907 | 1263570.0362 | 2619620.5336 | 1263569.2508
32 | 2619666.7497 | 1263339.7666 | 2619679.0589 | 1263336.861 | 2619702.2936 | 1263331.2608
33 | 2619666.7497 | 1263339.7666 | 2619666.7601 | 1263367.7309
34 | 2619667.7384 | 1263427.6751 | 2619667.3661 | 1263446.8093
35 | 2619667.7384 | 1263427.6751 | 2619696.1039 | 1263428.0333
36 | 2619667.7384 | 1263427.6751 | 2619667.3178 | 1263413.4092
37 | 2619702.4632 | 1263428.1136 | 2619696.1039 | 1263428.0333
38 | 2619666.7699 | 1263393.9648 | 2619666.7703 | 1263394.8381 | 2619667.3178 | 1263413.4092
39 | 2619702.4632 | 1263428.1136 | 2619705.0547 | 1263428.1463
40 | 2619666.7699 | 1263393.9648 | 2619666.7685 | 1263390.0172
41 | 2619793.0802 | 1263428.9866 | 2619792.0001 | 1263428.9951
42 | 2619793.0802 | 1263428.9866 | 2619800.1866 | 1263428.9306
43 | 2619784.1591 | 1263429.057 | 2619792.0001 | 1263428.9951
44 | 2619804.8879 | 1263428.8935 | 2619800.1866 | 1263428.9306
45 | 2619784.1591 | 1263429.057 | 2619773.6906 | 1263429.1395 | 2619771.5459 | 1263429.1065
46 | 2619804.8879 | 1263428.8935 | 2619805.248 | 1263428.8907
47 | 2619771.5459 | 1263429.1065 | 2619767.9036 | 1263429.0506
48 | 2619805.248 | 1263428.8907 | 2619819.9545 | 1263428.7747
49 | 2619767.9036 | 1263429.0506 | 2619759.9098 | 1263428.9278
50 | 2619821.9817 | 1263428.7587 | 2619819.9545 | 1263428.7747
51 | 2619666.7685 | 1263390.0172 | 2619666.7671 | 1263386.4791
52 | 2619666.7671 | 1263386.4791 | 2619666.7623 | 1263373.6704
53 | 2619666.7608 | 1263369.4888 | 2619666.7623 | 1263373.6704
54 | 2619666.7601 | 1263367.7309 | 2619666.7608 | 1263369.4888
55 | 2619716.5016 | 1263327.8363 | 2619702.2936 | 1263331.2608
56 | 2619716.5016 | 1263327.8363 | 2619743.0079 | 1263321.4476
57 | 2619757.5968 | 1263317.9312 | 2619743.0079 | 1263321.4476
58 | 2619663.9796 | 1263595.7677 | 2619664.6134 | 1263592.8392
59 | 2619719.9204 | 1263428.334 | 2619705.0547 | 1263428.1463
60 | 2619768.0366 | 1263315.4488 | 2619762.9127 | 1263316.6672
61 | 2619768.0366 | 1263315.4488 | 2619787.5303 | 1263310.8133
62 | 2619757.5968 | 1263317.9312 | 2619762.9127 | 1263316.6672
63 | 2619787.5303 | 1263310.8133 | 2619798.6925 | 1263308.1591
64 | 2619817.1156 | 1263303.7782 | 2619798.6925 | 1263308.1591
65 | 2619719.9204 | 1263428.334 | 2619727.4855 | 1263428.4296 | 2619734.018 | 1263428.5299
66 | 2619734.018 | 1263428.5299 | 2619738.192 | 1263428.5941
67 | 2619738.192 | 1263428.5941 | 2619749.7459 | 1263428.7716
68 | 2619753.4543 | 1263428.8286 | 2619749.7459 | 1263428.7716
69 | 2619753.4543 | 1263428.8286 | 2619759.9098 | 1263428.9278
70 | 2619731.3392 | 1263547.4941 | 2619762.6998 | 1263546.3239
71 | 2619782.854 | 1263545.5718 | 2619762.6998 | 1263546.3239
72 | 2619782.854 | 1263545.5718 | 2619801.1868 | 1263544.8877
73 | 2619857.7561 | 1263542.7767 | 2619801.1868 | 1263544.8877
74 | 2619858.2694 | 1263531.1815 | 2619857.7561 | 1263542.7767
75 | 2619867.3718 | 1263366.4633 | 2619869.4292 | 1263338.519
76 | 2619867.3718 | 1263366.4633 | 2619864.809 | 1263401.2711
77 | 2619870.8052 | 1263319.8301 | 2619869.4292 | 1263338.519
78 | 2619864.4901 | 1263405.6031 | 2619864.809 | 1263401.2711
79 | 2619862.8089 | 1263428.4368 | 2619864.4901 | 1263405.6031
80 | 2619862.8089 | 1263428.4368 | 2619824.1266 | 1263428.7418
81 | 2619862.8089 | 1263428.4368 | 2619861.9302 | 1263448.3253
82 | 2619821.9817 | 1263428.7587 | 2619824.1266 | 1263428.7418
83 | 2619861.9302 | 1263448.3253 | 2619861.8377 | 1263450.4193
84 | 2619858.2694 | 1263531.1815 | 2619860.4808 | 1263481.1308
85 | 2619860.4808 | 1263481.1308 | 2619860.9385 | 1263470.7703
86 | 2619860.9385 | 1263470.7703 | 2619861.8377 | 1263450.4193
87 | 2619663.9796 | 1263595.7677 | 2619662.5417 | 1263602.4009 | 2619662.4279 | 1263603.498
88 | 2619662.4279 | 1263603.498 | 2619661.289 | 1263614.4828 | 2619656.2041 | 1263625.7432
89 | 2619656.2041 | 1263625.7432 | 2619655.0371 | 1263628.3272 | 2619648.9689 | 1263636.7685 | 2619643.1693 | 1263641.4153

## bus_geodata
| x | y | coords
0 | 2619576.5944 | 1263406.2434
1 | 2619600.0817 | 1263406.7811
2 | 2619579.8723 | 1263385.2133
3 | 2619599.7921 | 1263385.0429
4 | 2619600.2176 | 1263417.3657
5 | 2619599.4267 | 1263356.5887
6 | 2619608.7964 | 1263448.1069
7 | 2619625.3624 | 1263350.1128
8 | 2619535.8232 | 1263371.6337
9 | 2619533.2521 | 1263460.7671
10 | 2619532.551 | 1263485.0714
11 | 2619534.8812 | 1263404.2905
12 | 2619532.5346 | 1263485.6387
13 | 2619532.0697 | 1263501.7573
14 | 2619531.7567 | 1263512.6057
15 | 2619668.4676 | 1263504.1738
16 | 2619668.7027 | 1263516.4157
17 | 2619668.0493 | 1263482.3883
18 | 2619669.1385 | 1263539.1123
19 | 2619668.049 | 1263482.3765
20 | 2619677.6886 | 1263568.1051
21 | 2619668.0212 | 1263480.9258
22 | 2619666.815 | 1263569.7591
23 | 2619691.0447 | 1263567.654
24 | 2619667.5076 | 1263454.1815
25 | 2619531.5045 | 1263521.3499
26 | 2619560.5207 | 1263674.9804
27 | 2619551.7636 | 1263675.6362
28 | 2619597.8628 | 1263667.8098
29 | 2619599.2907 | 1263570.0362
30 | 2619620.5336 | 1263569.2508
31 | 2619666.7497 | 1263339.7666
32 | 2619667.3661 | 1263446.8093
33 | 2619667.7384 | 1263427.6751
34 | 2619696.1039 | 1263428.0333
35 | 2619667.3178 | 1263413.4092
36 | 2619702.4632 | 1263428.1136
37 | 2619666.7699 | 1263393.9648
38 | 2619793.0802 | 1263428.9866
39 | 2619792.0001 | 1263428.9951
40 | 2619800.1866 | 1263428.9306
41 | 2619784.1591 | 1263429.057
42 | 2619804.8879 | 1263428.8935
43 | 2619771.5459 | 1263429.1065
44 | 2619805.248 | 1263428.8907
45 | 2619767.9036 | 1263429.0506
46 | 2619819.9545 | 1263428.7747
47 | 2619666.7685 | 1263390.0172
48 | 2619666.7671 | 1263386.4791
49 | 2619666.7623 | 1263373.6704
50 | 2619666.7608 | 1263369.4888
51 | 2619666.7601 | 1263367.7309
52 | 2619702.2936 | 1263331.2608
53 | 2619716.5016 | 1263327.8363
54 | 2619743.0079 | 1263321.4476
55 | 2619664.6134 | 1263592.8392
56 | 2619705.0547 | 1263428.1463
57 | 2619768.0366 | 1263315.4488
58 | 2619762.9127 | 1263316.6672
59 | 2619787.5303 | 1263310.8133
60 | 2619757.5968 | 1263317.9312
61 | 2619798.6925 | 1263308.1591
62 | 2619817.1156 | 1263303.7782
63 | 2619719.9204 | 1263428.334
64 | 2619734.018 | 1263428.5299
65 | 2619738.192 | 1263428.5941
66 | 2619749.7459 | 1263428.7716
67 | 2619753.4543 | 1263428.8286
68 | 2619731.3392 | 1263547.4941
69 | 2619762.6998 | 1263546.3239
70 | 2619782.854 | 1263545.5718
71 | 2619801.1868 | 1263544.8877
72 | 2619857.7561 | 1263542.7767
73 | 2619759.9098 | 1263428.9278
74 | 2619867.3718 | 1263366.4633
75 | 2619869.4292 | 1263338.519
76 | 2619864.809 | 1263401.2711
77 | 2619870.8052 | 1263319.8301
78 | 2619864.4901 | 1263405.6031
79 | 2619862.8089 | 1263428.4368
80 | 2619824.1266 | 1263428.7418
81 | 2619861.9302 | 1263448.3253
82 | 2619858.2694 | 1263531.1815
83 | 2619860.4808 | 1263481.1308
84 | 2619821.9817 | 1263428.7587
85 | 2619861.8377 | 1263450.4193
86 | 2619860.9385 | 1263470.7703
87 | 2619663.9796 | 1263595.7677
88 | 2619662.4279 | 1263603.498
89 | 2619656.2041 | 1263625.7432
90 | 2619643.1693 | 1263641.4153
91 | 2619667.7384 | 1263427.6751

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1