## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2831-7_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2831-7_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2831-7_0_4_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_2831-7_0_4_node_5 | 0.4 | n |  | TRUE
4 | bus_LV_2831-7_0_4_node_17 | 0.4 | n |  | TRUE
5 | bus_LV_2831-7_0_4_node_4 | 0.4 | n |  | TRUE
6 | bus_LV_2831-7_0_4_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_2831-7_0_4_node_11 | 0.4 | n |  | TRUE
8 | bus_LV_2831-7_0_4_node_8 | 0.4 | n |  | TRUE
9 | bus_LV_2831-7_0_4_node_9 | 0.4 | n |  | TRUE
10 | bus_LV_2831-7_0_4_node_42 | 0.4 | n |  | TRUE
11 | bus_LV_2831-7_0_4_node_47 | 0.4 | n |  | TRUE
12 | bus_LV_2831-7_0_4_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_2831-7_0_4_node_41 | 0.4 | n |  | TRUE
14 | bus_LV_2831-7_0_4_node_40 | 0.4 | n |  | TRUE
15 | bus_LV_2831-7_0_4_node_36 | 0.4 | n |  | TRUE
16 | bus_LV_2831-7_0_4_node_15 | 0.4 | n |  | TRUE
17 | bus_LV_2831-7_0_4_node_13 | 0.4 | n |  | TRUE
18 | bus_LV_2831-7_0_4_node_10 | 0.4 | n |  | TRUE
19 | bus_LV_2831-7_0_4_node_30 | 0.4 | n |  | TRUE
20 | bus_LV_2831-7_0_4_node_22 | 0.4 | n |  | TRUE
21 | bus_LV_2831-7_0_4_node_39 | 0.4 | n |  | TRUE
22 | bus_LV_2831-7_0_4_node_48 | 0.4 | n |  | TRUE
23 | bus_LV_2831-7_0_4_node_12 | 0.4 | n |  | TRUE
24 | bus_LV_2831-7_0_4_node_44 | 0.4 | n |  | TRUE
25 | bus_LV_2831-7_0_4_node_43 | 0.4 | n |  | TRUE
26 | bus_LV_2831-7_0_4_node_49 | 0.4 | n |  | TRUE
27 | bus_LV_2831-7_0_4_node_37 | 0.4 | n |  | TRUE
28 | bus_LV_2831-7_0_4_node_46 | 0.4 | n |  | TRUE
29 | bus_LV_2831-7_0_4_node_23 | 0.4 | n |  | TRUE
30 | bus_LV_2831-7_0_4_node_14 | 0.4 | n |  | TRUE
31 | bus_LV_2831-7_0_4_node_33 | 0.4 | n |  | TRUE
32 | bus_LV_2831-7_0_4_node_20 | 0.4 | n |  | TRUE
33 | bus_LV_2831-7_0_4_node_16 | 0.4 | n |  | TRUE
34 | bus_LV_2831-7_0_4_node_18 | 0.4 | n |  | TRUE
35 | bus_LV_2831-7_0_4_node_19 | 0.4 | n |  | TRUE
36 | bus_LV_2831-7_0_4_node_21 | 0.4 | n |  | TRUE
37 | bus_LV_2831-7_0_4_node_24 | 0.4 | n |  | TRUE
38 | bus_LV_2831-7_0_4_node_25 | 0.4 | n |  | TRUE
39 | bus_LV_2831-7_0_4_node_31 | 0.4 | n |  | TRUE
40 | bus_LV_2831-7_0_4_node_29 | 0.4 | n |  | TRUE
41 | bus_LV_2831-7_0_4_node_34 | 0.4 | n |  | TRUE
42 | bus_LV_2831-7_0_4_node_27 | 0.4 | n |  | TRUE
43 | bus_LV_2831-7_0_4_node_32 | 0.4 | n |  | TRUE
44 | bus_LV_2831-7_0_4_node_26 | 0.4 | n |  | TRUE
45 | bus_LV_2831-7_0_4_node_35 | 0.4 | n |  | TRUE
46 | bus_LV_2831-7_0_4_node_45 | 0.4 | n |  | TRUE
47 | bus_MV_577_0_node_138 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2831-7_0_4_load_0 | 0 | 0.00071705 | 0.00017971 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2831-7_0_4_load_17 | 4 | 0.00035663 | 8.938e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2831-7_0_4_load_42 | 10 | 0.024977 | 0.0062598 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2831-7_0_4_load_47 | 11 | 0.0021383 | 0.00053591 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2831-7_0_4_load_40 | 14 | 0.0007987 | 0.00020017 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2831-7_0_4_load_36 | 15 | 0.0002655 | 6.654e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2831-7_0_4_load_13 | 17 | 0.0039073 | 0.00097925 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2831-7_0_4_load_30 | 19 | 0.015657 | 0.0039241 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2831-7_0_4_load_22 | 20 | 0.0042603 | 0.0010677 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2831-7_0_4_load_48 | 22 | 0.0028026 | 0.0007024 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2831-7_0_4_load_44 | 24 | 0.00091863 | 0.00023023 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2831-7_0_4_load_43 | 25 | 0.0016566 | 0.00041518 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2831-7_0_4_load_49 | 26 | 0.0007992 | 0.0002003 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2831-7_0_4_load_46 | 28 | 0.00033258 | 8.3352e-05 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2831-7_0_4_load_23 | 29 | 0.0022483 | 0.00056347 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2831-7_0_4_load_16 | 33 | 0.0034004 | 0.00085221 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2831-7_0_4_load_18 | 34 | 0.024933 | 0.0062488 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2831-7_0_4_load_19 | 35 | 0.0035196 | 0.0008821 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2831-7_0_4_load_25 | 38 | 0.0018408 | 0.00046134 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2831-7_0_4_load_31 | 39 | 0.0084909 | 0.002128 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2831-7_0_4_load_34 | 41 | 0.0055885 | 0.0014006 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2831-7_0_4_load_32 | 43 | 0.012413 | 0.0031109 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2831-7_0_4_load_26 | 44 | 0.0047392 | 0.0011878 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2831-7_0_4_load_35 | 45 | 0.0025288 | 0.00063377 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2831-7_0_4_load_45 | 46 | 0.0015763 | 0.00039506 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 18 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2831-7_0_4_line_0 |  | 0 | 1 | 0.11278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2831-7_0_4_line_1 |  | 1 | 2 | 0.061966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
2 | LV_2831-7_0_4_line_2 |  | 1 | 3 | 0.53878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
3 | LV_2831-7_0_4_line_3 |  | 2 | 4 | 0.0017441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2831-7_0_4_line_4 |  | 3 | 7 | 0.25575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2831-7_0_4_line_5 |  | 3 | 8 | 0.62483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2831-7_0_4_line_6 |  | 3 | 9 | 0.78753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
7 | LV_2831-7_0_4_line_7 |  | 3 | 10 | 0.059944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2831-7_0_4_line_8 |  | 4 | 5 | 0.085625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2831-7_0_4_line_9 |  | 5 | 6 | 0.39895 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2831-7_0_4_line_10 |  | 6 | 11 | 0.18399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2831-7_0_4_line_11 |  | 7 | 21 | 0.10634 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2831-7_0_4_line_12 |  | 7 | 22 | 0.070881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2831-7_0_4_line_13 |  | 8 | 15 | 0.12471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2831-7_0_4_line_14 |  | 9 | 16 | 0.5852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
15 | LV_2831-7_0_4_line_15 |  | 9 | 17 | 0.15552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2831-7_0_4_line_16 |  | 11 | 24 | 0.03647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2831-7_0_4_line_17 |  | 12 | 13 | 0.13948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2831-7_0_4_line_18 |  | 12 | 14 | 0.089428 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2831-7_0_4_line_19 |  | 13 | 26 | 0.039883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2831-7_0_4_line_20 |  | 14 | 27 | 0.042564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2831-7_0_4_line_21 |  | 15 | 27 | 0.028022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2831-7_0_4_line_22 |  | 16 | 29 | 0.40595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
23 | LV_2831-7_0_4_line_23 |  | 17 | 30 | 0.054121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2831-7_0_4_line_24 |  | 18 | 19 | 0.062811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2831-7_0_4_line_25 |  | 18 | 20 | 0.064996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
26 | LV_2831-7_0_4_line_26 |  | 19 | 31 | 0.043152 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2831-7_0_4_line_27 |  | 20 | 32 | 0.027806 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
28 | LV_2831-7_0_4_line_28 |  | 21 | 28 | 0.037542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2831-7_0_4_line_29 |  | 23 | 24 | 0.13939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2831-7_0_4_line_30 |  | 23 | 25 | 0.096554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2831-7_0_4_line_31 |  | 28 | 46 | 0.0094845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2831-7_0_4_line_32 |  | 29 | 32 | 0.016278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
33 | LV_2831-7_0_4_line_33 |  | 30 | 33 | 0.043727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2831-7_0_4_line_34 |  | 31 | 45 | 0.058669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2831-7_0_4_line_35 |  | 31 | 43 | 0.030167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2831-7_0_4_line_36 |  | 32 | 34 | 0.0065439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2831-7_0_4_line_37 |  | 34 | 35 | 0.037685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2831-7_0_4_line_38 |  | 36 | 37 | 0.062469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2831-7_0_4_line_39 |  | 36 | 38 | 0.064579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2831-7_0_4_line_40 |  | 37 | 39 | 0.084914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2831-7_0_4_line_41 |  | 39 | 43 | 0.030028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2831-7_0_4_line_42 |  | 40 | 41 | 0.047754 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2831-7_0_4_line_43 |  | 40 | 42 | 0.16084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2831-7_0_4_line_44 |  | 41 | 45 | 0.031743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2831-7_0_4_line_45 |  | 42 | 44 | 0.015457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2831-7_0_4_trafo_10 | 0.63 MVA 20/0.4 kV | 47 | 18 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27 | x28 | y28 | x29 | y29
0 | 2618715.2456 | 1262333.0392 | 2618746.8994 | 1262421.3776 | 2618750.1346 | 1262440.0371
1 | 2618775.93 | 1262319.6551 | 2618715.2456 | 1262333.0392
2 | 2618459.2065 | 1262096.4524 | 2618472.7311 | 1262134.4984 | 2618477.8949 | 1262145.4998 | 2618459.9318 | 1262151.448 | 2618425.1584 | 1262156.0542 | 2618401.3015 | 1262155.6132 | 2618409.5001 | 1262169.437 | 2618451.6241 | 1262216.2778 | 2618469.2517 | 1262242.9954 | 2618486.1801 | 1262281.3078 | 2618491.8186 | 1262292.2329 | 2618497.9464 | 1262300.8134 | 2618521.3237 | 1262312.3276 | 2618570.2932 | 1262332.7613 | 2618615.1168 | 1262356.3513 | 2618619.6242 | 1262355.5427 | 2618632.0187 | 1262352.3572 | 2618715.2456 | 1262333.0392
3 | 2618775.93 | 1262319.6551 | 2618777.538 | 1262318.9797
4 | 2618492.9413 | 1261908.0838 | 2618467.6234 | 1261914.3982 | 2618452.9455 | 1261927.2391 | 2618434.7858 | 1261945.3395 | 2618418.2711 | 1261955.3284 | 2618409.6344 | 1261963.6184 | 2618404.7412 | 1261972.1535 | 2618405.1006 | 1261980.1268 | 2618408.4888 | 1261988.0539 | 2618415.5527 | 1261996.1591 | 2618433.3548 | 1262010.6354 | 2618440.3681 | 1262015.6273 | 2618443.8261 | 1262020.4414 | 2618444.6829 | 1262025.9367 | 2618443.4088 | 1262038.3412 | 2618445.195 | 1262055.0471 | 2618448.1672 | 1262065.886 | 2618459.2065 | 1262096.4524
5 | 2618217.6187 | 1261590.3034 | 2618226.2771 | 1261619.1942 | 2618231.3963 | 1261630.2619 | 2618245.2039 | 1261655.5328 | 2618273.2291 | 1261704.875 | 2618293.8113 | 1261741.6859 | 2618303.11 | 1261770.4009 | 2618305.17 | 1261825.4783 | 2618307.9176 | 1261850.6151 | 2618315.2846 | 1261897.2921 | 2618315.9745 | 1261900.7633 | 2618319.5281 | 1261918.5642 | 2618318.7023 | 1261932.2822 | 2618316.441 | 1261944.8616 | 2618313.5312 | 1261957.6281 | 2618314.7544 | 1261966.4935 | 2618317.091 | 1261975.8849 | 2618322.7507 | 1261982.5514 | 2618325.0655 | 1261984.3487 | 2618329.2291 | 1261987.586 | 2618341.5085 | 1261992.6051 | 2618402.9024 | 1262006.3046 | 2618433.3548 | 1262010.6354 | 2618440.3681 | 1262015.6273 | 2618443.8261 | 1262020.4414 | 2618444.6829 | 1262025.9367 | 2618443.4088 | 1262038.3412 | 2618445.195 | 1262055.0471 | 2618448.1672 | 1262065.886 | 2618459.2065 | 1262096.4524
6 | 2617837.1873 | 1262255.4592 | 2617842.6481 | 1262248.204 | 2617877.0085 | 1262202.8429 | 2617895.7108 | 1262178.8606 | 2617927.3541 | 1262152.8605 | 2617940.5494 | 1262146.4627 | 2617964.2143 | 1262138.1841 | 2617978.613 | 1262127.4648 | 2617990.5058 | 1262115.8596 | 2618007.8806 | 1262105.0493 | 2618031.2252 | 1262095.6582 | 2618057.1408 | 1262085.5968 | 2618064.9095 | 1262082.585 | 2618096.5624 | 1262078.5676 | 2618140.8767 | 1262072.8657 | 2618222.0818 | 1262062.5518 | 2618249.1522 | 1262066.6601 | 2618289.5143 | 1262082.0949 | 2618323.3851 | 1262106.3716 | 2618355.4669 | 1262131.7549 | 2618359.4123 | 1262134.8692 | 2618385.5566 | 1262150.7944 | 2618401.3015 | 1262155.6132 | 2618425.1584 | 1262156.0542 | 2618459.9318 | 1262151.448 | 2618477.8949 | 1262145.4998 | 2618472.7311 | 1262134.4984 | 2618459.2065 | 1262096.4524
7 | 2618459.2065 | 1262096.4524 | 2618471.853 | 1262058.488 | 2618480.8416 | 1262040.7018
8 | 2618852.5316 | 1262351.4865 | 2618841.5738 | 1262345.8367 | 2618805.8407 | 1262320.7839 | 2618794.4475 | 1262316.9674 | 2618785.2308 | 1262315.7485 | 2618777.538 | 1262318.9797
9 | 2618852.5316 | 1262351.4865 | 2618845.7587 | 1262332.741 | 2618827.9309 | 1262298.5165 | 2618810.2856 | 1262256.565 | 2618800.2768 | 1262227.1242 | 2618789.5826 | 1262183.3714 | 2618805.0344 | 1262183.0868 | 2618826.4822 | 1262185.3675 | 2618845.7153 | 1262192.3444 | 2618867.9769 | 1262204.001 | 2618885.9797 | 1262214.0429 | 2618913.2869 | 1262223.8255 | 2618938.2176 | 1262232.3442 | 2618953.7007 | 1262236.3631 | 2618974.0841 | 1262236.9064 | 2618991.3691 | 1262240.453 | 2618997.5254 | 1262239.9724
10 | 2618997.5254 | 1262239.9724 | 2618974.1143 | 1262210.9665 | 2618942.6975 | 1262164.701 | 2618916.2169 | 1262117.7064 | 2618897.8228 | 1262085.7757
11 | 2618492.9413 | 1261908.0838 | 2618504.5284 | 1261905.5738 | 2618514.7407 | 1261899.4459 | 2618531.8138 | 1261884.4333 | 2618551.2735 | 1261865.1476 | 2618558.9251 | 1261861.2021 | 2618569.8894 | 1261855.5437 | 2618581.6033 | 1261855.9028
12 | 2618492.9413 | 1261908.0838 | 2618493.4033 | 1261892.7859 | 2618495.1178 | 1261872.077 | 2618495.7901 | 1261842.5144 | 2618495.6538 | 1261837.2901
13 | 2618217.6187 | 1261590.3034 | 2618197.2537 | 1261546.233 | 2618180.0547 | 1261513.7691 | 2618162.9733 | 1261499.4626 | 2618156.2276 | 1261495.3836 | 2618148.7624 | 1261489.9021
14 | 2617837.1873 | 1262255.4592 | 2617848.4273 | 1262315.4008 | 2617850.1603 | 1262335.2864 | 2617847.7782 | 1262345.842 | 2617836.0614 | 1262364.2972 | 2617834.6206 | 1262367.4618 | 2617837.0878 | 1262381.1786 | 2617834.0761 | 1262395.7017 | 2617831.4931 | 1262415.4742 | 2617835.5162 | 1262437.8684 | 2617840.8257 | 1262455.8189 | 2617842.5116 | 1262471.3457 | 2617840.2313 | 1262493.1427 | 2617839.5655 | 1262514.1441 | 2617865.4406 | 1262546.811 | 2617895.7153 | 1262574.2656 | 2617918.2288 | 1262589.9332 | 2617937.9509 | 1262602.0233 | 2617936.2573 | 1262621.5316 | 2617941.7058 | 1262638.204 | 2617952.8359 | 1262649.2563 | 2617958.0418 | 1262678.8258 | 2617952.1555 | 1262692.3395 | 2617957.9898 | 1262703.4759 | 2617984.4316 | 1262722.6581 | 2617999.2493 | 1262739.7036 | 2618002.3278 | 1262760.3383
15 | 2617837.1873 | 1262255.4592 | 2617830.4547 | 1262262.2437 | 2617819.1072 | 1262273.0948 | 2617808.9716 | 1262281.7259 | 2617801.5287 | 1262286.7959 | 2617786.9172 | 1262293.3455 | 2617772.1564 | 1262296.9259 | 2617755.5775 | 1262298.8888 | 2617736.9866 | 1262301.0458 | 2617711.8102 | 1262306.2408 | 2617698.341 | 1262314.1552
16 | 2618877.8642 | 1262055.5353 | 2618883.6641 | 1262061.1973 | 2618897.8228 | 1262085.7757
17 | 2618081.1149 | 1261360.7511 | 2618219.3581 | 1261382.1663
18 | 2618081.1149 | 1261360.7511 | 2618084.7095 | 1261372.8592 | 2618091.4396 | 1261387.0783 | 2618100.4969 | 1261399.0919 | 2618119.4522 | 1261421.643 | 2618121.3068 | 1261428.6757 | 2618120.7533 | 1261434.7559 | 2618120.0894 | 1261437.8686
19 | 2618187.3712 | 1261405.4174 | 2618195.5441 | 1261396.2028 | 2618207.1303 | 1261389.3782 | 2618219.3581 | 1261382.1663
20 | 2618125.3407 | 1261474.5194 | 2618119.3393 | 1261468.4747 | 2618114.5793 | 1261460.5214 | 2618112.8222 | 1261453.6669 | 2618114.0521 | 1261448.1335 | 2618119.6679 | 1261439.845 | 2618120.0894 | 1261437.8686
21 | 2618125.3407 | 1261474.5194 | 2618148.2141 | 1261489.4995 | 2618148.7624 | 1261489.9021
22 | 2618002.3278 | 1262760.3383 | 2618003.677 | 1262760.0533 | 2618033.6691 | 1262741.1758 | 2618072.1923 | 1262713.5629 | 2618084.0882 | 1262703.0919 | 2618091.8795 | 1262697.3228 | 2618101.8874 | 1262686.0122 | 2618144.6027 | 1262637.6428 | 2618153.3206 | 1262629.4638 | 2618203.9606 | 1262596.0626 | 2618215.7402 | 1262586.8147 | 2618222.8953 | 1262577.3857 | 2618226.6762 | 1262570.2257 | 2618230.6303 | 1262565.5235 | 2618233.9084 | 1262562.665 | 2618237.7027 | 1262560.9532 | 2618275.2015 | 1262546.2252 | 2618288.9525 | 1262545.1001 | 2618296.4599 | 1262548.4811 | 2618302.841 | 1262555.5723 | 2618303.006 | 1262568.0036 | 2618304.918 | 1262577.909
23 | 2617657.0309 | 1262348.551 | 2617662.875 | 1262341.4969 | 2617679.5314 | 1262326.136 | 2617697.2758 | 1262314.7811 | 2617698.341 | 1262314.1552
24 | 2618391.9122 | 1262554.7917 | 2618442.0428 | 1262592.6345
25 | 2618391.9122 | 1262554.7917 | 2618343.0705 | 1262581.0808 | 2618334.1208 | 1262584.3505
26 | 2618474.0386 | 1262621.5483 | 2618446.9011 | 1262596.302 | 2618442.0428 | 1262592.6345
27 | 2618308.0032 | 1262593.8924 | 2618334.1208 | 1262584.3505
28 | 2618581.6033 | 1261855.9028 | 2618585.9486 | 1261839.6052 | 2618588.6119 | 1261831.1745 | 2618586.5202 | 1261819.5267
29 | 2618797.3592 | 1261942.6864 | 2618826.6576 | 1261985.4086 | 2618853.8486 | 1262032.0936 | 2618864.0099 | 1262042.0105 | 2618877.8642 | 1262055.5353
30 | 2618797.3592 | 1261942.6864 | 2618846.6868 | 1261912.7556 | 2618859.8532 | 1261908.8059 | 2618884.9613 | 1261908.4735
31 | 2618584.8438 | 1261810.1916 | 2618586.5202 | 1261819.5267
32 | 2618308.0032 | 1262593.8924 | 2618304.918 | 1262577.909
33 | 2617657.0309 | 1262348.551 | 2617649.7959 | 1262334.4309 | 2617644.378 | 1262324.8416 | 2617640.7236 | 1262308.3954
34 | 2618474.0386 | 1262621.5483 | 2618500.6716 | 1262651.4518 | 2618510.21 | 1262667.4484
35 | 2618474.0386 | 1262621.5483 | 2618460.9367 | 1262641.6547 | 2618458.0189 | 1262647.0898
36 | 2618308.0032 | 1262593.8924 | 2618302.3754 | 1262597.2316
37 | 2618302.3754 | 1262597.2316 | 2618296.1097 | 1262600.9494 | 2618290.4423 | 1262606.6915 | 2618285.3726 | 1262614.0809 | 2618279.7446 | 1262626.2086
38 | 2618344.4729 | 1262682.9107 | 2618383.4613 | 1262731.8095
39 | 2618344.4729 | 1262682.9107 | 2618400.8635 | 1262651.1412
40 | 2618383.4613 | 1262731.8095 | 2618388.9919 | 1262726.4229 | 2618416.1272 | 1262706.1709 | 2618432.3278 | 1262692.345 | 2618442.4875 | 1262676.0209 | 2618443.8158 | 1262673.5466
41 | 2618458.0189 | 1262647.0898 | 2618443.8158 | 1262673.5466
42 | 2618545.6183 | 1262738.5632 | 2618537.2107 | 1262722.07 | 2618524.8511 | 1262695.5686
43 | 2618545.6183 | 1262738.5632 | 2618557.5116 | 1262734.0084 | 2618574.7349 | 1262723.2215 | 2618587.3252 | 1262722.1936 | 2618599.8543 | 1262723.8785 | 2618605.4948 | 1262726.7426 | 2618614.459 | 1262731.4406 | 2618597.1768 | 1262674.5139 | 2618585.7118 | 1262650.5503
44 | 2618524.8511 | 1262695.5686 | 2618517.2173 | 1262679.2003 | 2618510.21 | 1262667.4484
45 | 2618585.7118 | 1262650.5503 | 2618578.4209 | 1262636.9211

## bus_geodata
| x | y | coords
0 | 2618750.1346 | 1262440.0371
1 | 2618715.2456 | 1262333.0392
2 | 2618775.93 | 1262319.6551
3 | 2618459.2065 | 1262096.4524
4 | 2618777.538 | 1262318.9797
5 | 2618852.5316 | 1262351.4865
6 | 2618997.5254 | 1262239.9724
7 | 2618492.9413 | 1261908.0838
8 | 2618217.6187 | 1261590.3034
9 | 2617837.1873 | 1262255.4592
10 | 2618480.8416 | 1262040.7018
11 | 2618897.8228 | 1262085.7757
12 | 2618081.1149 | 1261360.7511
13 | 2618219.3581 | 1261382.1663
14 | 2618120.0894 | 1261437.8686
15 | 2618148.7624 | 1261489.9021
16 | 2618002.3278 | 1262760.3383
17 | 2617698.341 | 1262314.1552
18 | 2618391.9122 | 1262554.7917
19 | 2618442.0428 | 1262592.6345
20 | 2618334.1208 | 1262584.3505
21 | 2618581.6033 | 1261855.9028
22 | 2618495.6538 | 1261837.2901
23 | 2618797.3592 | 1261942.6864
24 | 2618877.8642 | 1262055.5353
25 | 2618884.9613 | 1261908.4735
26 | 2618187.3712 | 1261405.4174
27 | 2618125.3407 | 1261474.5194
28 | 2618586.5202 | 1261819.5267
29 | 2618304.918 | 1262577.909
30 | 2617657.0309 | 1262348.551
31 | 2618474.0386 | 1262621.5483
32 | 2618308.0032 | 1262593.8924
33 | 2617640.7236 | 1262308.3954
34 | 2618302.3754 | 1262597.2316
35 | 2618279.7446 | 1262626.2086
36 | 2618344.4729 | 1262682.9107
37 | 2618383.4613 | 1262731.8095
38 | 2618400.8635 | 1262651.1412
39 | 2618443.8158 | 1262673.5466
40 | 2618545.6183 | 1262738.5632
41 | 2618524.8511 | 1262695.5686
42 | 2618585.7118 | 1262650.5503
43 | 2618458.0189 | 1262647.0898
44 | 2618578.4209 | 1262636.9211
45 | 2618510.21 | 1262667.4484
46 | 2618584.8438 | 1261810.1916
47 | 2618308.0032 | 1262593.8924

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1