## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_293-17_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_293-17_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_293-17_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_293-17_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_293-17_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_293-17_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_293-17_0_3_node_9 | 0.4 | n |  | TRUE
7 | bus_LV_293-17_0_3_node_10 | 0.4 | n |  | TRUE
8 | bus_LV_293-17_0_3_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_293-17_0_3_node_37 | 0.4 | n |  | TRUE
10 | bus_LV_293-17_0_3_node_57 | 0.4 | n |  | TRUE
11 | bus_LV_293-17_0_3_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_293-17_0_3_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_293-17_0_3_node_14 | 0.4 | n |  | TRUE
14 | bus_LV_293-17_0_3_node_42 | 0.4 | n |  | TRUE
15 | bus_LV_293-17_0_3_node_40 | 0.4 | n |  | TRUE
16 | bus_LV_293-17_0_3_node_52 | 0.4 | n |  | TRUE
17 | bus_LV_293-17_0_3_node_72 | 0.4 | n |  | TRUE
18 | bus_LV_293-17_0_3_node_43 | 0.4 | n |  | TRUE
19 | bus_LV_293-17_0_3_node_141 | 0.4 | n |  | TRUE
20 | bus_LV_293-17_0_3_node_139 | 0.4 | n |  | TRUE
21 | bus_LV_293-17_0_3_node_44 | 0.4 | n |  | TRUE
22 | bus_LV_293-17_0_3_node_70 | 0.4 | n |  | TRUE
23 | bus_LV_293-17_0_3_node_69 | 0.4 | n |  | TRUE
24 | bus_LV_293-17_0_3_node_45 | 0.4 | n |  | TRUE
25 | bus_LV_293-17_0_3_node_46 | 0.4 | n |  | TRUE
26 | bus_LV_293-17_0_3_node_68 | 0.4 | n |  | TRUE
27 | bus_LV_293-17_0_3_node_64 | 0.4 | n |  | TRUE
28 | bus_LV_293-17_0_3_node_39 | 0.4 | n |  | TRUE
29 | bus_LV_293-17_0_3_node_35 | 0.4 | n |  | TRUE
30 | bus_LV_293-17_0_3_node_58 | 0.4 | n |  | TRUE
31 | bus_LV_293-17_0_3_node_25 | 0.4 | n |  | TRUE
32 | bus_LV_293-17_0_3_node_12 | 0.4 | n |  | TRUE
33 | bus_LV_293-17_0_3_node_11 | 0.4 | n |  | TRUE
34 | bus_LV_293-17_0_3_node_26 | 0.4 | n |  | TRUE
35 | bus_LV_293-17_0_3_node_27 | 0.4 | n |  | TRUE
36 | bus_LV_293-17_0_3_node_24 | 0.4 | n |  | TRUE
37 | bus_LV_293-17_0_3_node_32 | 0.4 | n |  | TRUE
38 | bus_LV_293-17_0_3_node_15 | 0.4 | n |  | TRUE
39 | bus_LV_293-17_0_3_node_16 | 0.4 | n |  | TRUE
40 | bus_LV_293-17_0_3_node_18 | 0.4 | n |  | TRUE
41 | bus_LV_293-17_0_3_node_17 | 0.4 | n |  | TRUE
42 | bus_LV_293-17_0_3_node_21 | 0.4 | n |  | TRUE
43 | bus_LV_293-17_0_3_node_20 | 0.4 | n |  | TRUE
44 | bus_LV_293-17_0_3_node_23 | 0.4 | n |  | TRUE
45 | bus_LV_293-17_0_3_node_19 | 0.4 | n |  | TRUE
46 | bus_LV_293-17_0_3_node_22 | 0.4 | n |  | TRUE
47 | bus_LV_293-17_0_3_node_28 | 0.4 | n |  | TRUE
48 | bus_LV_293-17_0_3_node_29 | 0.4 | n |  | TRUE
49 | bus_LV_293-17_0_3_node_81 | 0.4 | n |  | TRUE
50 | bus_LV_293-17_0_3_node_31 | 0.4 | n |  | TRUE
51 | bus_LV_293-17_0_3_node_82 | 0.4 | n |  | TRUE
52 | bus_LV_293-17_0_3_node_80 | 0.4 | n |  | TRUE
53 | bus_LV_293-17_0_3_node_30 | 0.4 | n |  | TRUE
54 | bus_LV_293-17_0_3_node_79 | 0.4 | n |  | TRUE
55 | bus_LV_293-17_0_3_node_142 | 0.4 | n |  | TRUE
56 | bus_LV_293-17_0_3_node_75 | 0.4 | n |  | TRUE
57 | bus_LV_293-17_0_3_node_34 | 0.4 | n |  | TRUE
58 | bus_LV_293-17_0_3_node_36 | 0.4 | n |  | TRUE
59 | bus_LV_293-17_0_3_node_38 | 0.4 | n |  | TRUE
60 | bus_LV_293-17_0_3_node_41 | 0.4 | n |  | TRUE
61 | bus_LV_293-17_0_3_node_49 | 0.4 | n |  | TRUE
62 | bus_LV_293-17_0_3_node_76 | 0.4 | n |  | TRUE
63 | bus_LV_293-17_0_3_node_73 | 0.4 | n |  | TRUE
64 | bus_LV_293-17_0_3_node_71 | 0.4 | n |  | TRUE
65 | bus_LV_293-17_0_3_node_143 | 0.4 | n |  | TRUE
66 | bus_LV_293-17_0_3_node_140 | 0.4 | n |  | TRUE
67 | bus_LV_293-17_0_3_node_65 | 0.4 | n |  | TRUE
68 | bus_LV_293-17_0_3_node_85 | 0.4 | n |  | TRUE
69 | bus_LV_293-17_0_3_node_63 | 0.4 | n |  | TRUE
70 | bus_LV_293-17_0_3_node_66 | 0.4 | n |  | TRUE
71 | bus_LV_293-17_0_3_node_61 | 0.4 | n |  | TRUE
72 | bus_LV_293-17_0_3_node_105 | 0.4 | n |  | TRUE
73 | bus_LV_293-17_0_3_node_62 | 0.4 | n |  | TRUE
74 | bus_LV_293-17_0_3_node_47 | 0.4 | n |  | TRUE
75 | bus_LV_293-17_0_3_node_48 | 0.4 | n |  | TRUE
76 | bus_LV_293-17_0_3_node_50 | 0.4 | n |  | TRUE
77 | bus_LV_293-17_0_3_node_51 | 0.4 | n |  | TRUE
78 | bus_LV_293-17_0_3_node_56 | 0.4 | n |  | TRUE
79 | bus_LV_293-17_0_3_node_53 | 0.4 | n |  | TRUE
80 | bus_LV_293-17_0_3_node_144 | 0.4 | n |  | TRUE
81 | bus_LV_293-17_0_3_node_100 | 0.4 | n |  | TRUE
82 | bus_LV_293-17_0_3_node_54 | 0.4 | n |  | TRUE
83 | bus_LV_293-17_0_3_node_55 | 0.4 | n |  | TRUE
84 | bus_LV_293-17_0_3_node_98 | 0.4 | n |  | TRUE
85 | bus_LV_293-17_0_3_node_59 | 0.4 | n |  | TRUE
86 | bus_LV_293-17_0_3_node_60 | 0.4 | n |  | TRUE
87 | bus_LV_293-17_0_3_node_67 | 0.4 | n |  | TRUE
88 | bus_LV_293-17_0_3_node_95 | 0.4 | n |  | TRUE
89 | bus_LV_293-17_0_3_node_102 | 0.4 | n |  | TRUE
90 | bus_LV_293-17_0_3_node_94 | 0.4 | n |  | TRUE
91 | bus_LV_293-17_0_3_node_103 | 0.4 | n |  | TRUE
92 | bus_LV_293-17_0_3_node_124 | 0.4 | n |  | TRUE
93 | bus_LV_293-17_0_3_node_126 | 0.4 | n |  | TRUE
94 | bus_LV_293-17_0_3_node_74 | 0.4 | n |  | TRUE
95 | bus_LV_293-17_0_3_node_77 | 0.4 | n |  | TRUE
96 | bus_LV_293-17_0_3_node_134 | 0.4 | n |  | TRUE
97 | bus_LV_293-17_0_3_node_123 | 0.4 | n |  | TRUE
98 | bus_LV_293-17_0_3_node_127 | 0.4 | n |  | TRUE
99 | bus_LV_293-17_0_3_node_125 | 0.4 | n |  | TRUE
100 | bus_LV_293-17_0_3_node_135 | 0.4 | n |  | TRUE
101 | bus_LV_293-17_0_3_node_133 | 0.4 | n |  | TRUE
102 | bus_LV_293-17_0_3_node_112 | 0.4 | n |  | TRUE
103 | bus_LV_293-17_0_3_node_110 | 0.4 | n |  | TRUE
104 | bus_LV_293-17_0_3_node_87 | 0.4 | n |  | TRUE
105 | bus_LV_293-17_0_3_node_88 | 0.4 | n |  | TRUE
106 | bus_LV_293-17_0_3_node_89 | 0.4 | n |  | TRUE
107 | bus_LV_293-17_0_3_node_91 | 0.4 | n |  | TRUE
108 | bus_LV_293-17_0_3_node_92 | 0.4 | n |  | TRUE
109 | bus_LV_293-17_0_3_node_93 | 0.4 | n |  | TRUE
110 | bus_LV_293-17_0_3_node_90 | 0.4 | n |  | TRUE
111 | bus_LV_293-17_0_3_node_107 | 0.4 | n |  | TRUE
112 | bus_LV_293-17_0_3_node_108 | 0.4 | n |  | TRUE
113 | bus_LV_293-17_0_3_node_101 | 0.4 | n |  | TRUE
114 | bus_LV_293-17_0_3_node_104 | 0.4 | n |  | TRUE
115 | bus_LV_293-17_0_3_node_106 | 0.4 | n |  | TRUE
116 | bus_LV_293-17_0_3_node_96 | 0.4 | n |  | TRUE
117 | bus_LV_293-17_0_3_node_97 | 0.4 | n |  | TRUE
118 | bus_LV_293-17_0_3_node_109 | 0.4 | n |  | TRUE
119 | bus_LV_293-17_0_3_node_111 | 0.4 | n |  | TRUE
120 | bus_LV_293-17_0_3_node_138 | 0.4 | n |  | TRUE
121 | bus_LV_293-17_0_3_node_137 | 0.4 | n |  | TRUE
122 | bus_LV_293-17_0_3_node_136 | 0.4 | n |  | TRUE
123 | bus_LV_293-17_0_3_node_113 | 0.4 | n |  | TRUE
124 | bus_LV_293-17_0_3_node_114 | 0.4 | n |  | TRUE
125 | bus_LV_293-17_0_3_node_116 | 0.4 | n |  | TRUE
126 | bus_LV_293-17_0_3_node_119 | 0.4 | n |  | TRUE
127 | bus_LV_293-17_0_3_node_117 | 0.4 | n |  | TRUE
128 | bus_LV_293-17_0_3_node_128 | 0.4 | n |  | TRUE
129 | bus_LV_293-17_0_3_node_118 | 0.4 | n |  | TRUE
130 | bus_LV_293-17_0_3_node_120 | 0.4 | n |  | TRUE
131 | bus_LV_293-17_0_3_node_121 | 0.4 | n |  | TRUE
132 | bus_LV_293-17_0_3_node_129 | 0.4 | n |  | TRUE
133 | bus_LV_293-17_0_3_node_145 | 0.4 | n |  | TRUE
134 | bus_LV_293-17_0_3_node_130 | 0.4 | n |  | TRUE
135 | bus_LV_293-17_0_3_node_132 | 0.4 | n |  | TRUE
136 | bus_LV_293-17_0_3_node_131 | 0.4 | n |  | TRUE
137 | bus_MV_578_1_node_25 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_293-17_0_3_load_0 | 0 | 0.00079011 | 0.00019802 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_293-17_0_3_load_1 | 1 | 0.00017984 | 4.5073e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_293-17_0_3_load_3 | 3 | 0.0010575 | 0.00026504 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_293-17_0_3_load_10 | 7 | 9.575e-05 | 2.3997e-05 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_293-17_0_3_load_6 | 8 | 0.0010696 | 0.00026808 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_293-17_0_3_load_37 | 9 | 0.00012083 | 3.0283e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_293-17_0_3_load_57 | 10 | 0.0001239 | 3.1053e-05 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_293-17_0_3_load_40 | 15 | 0.00039422 | 9.8801e-05 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_293-17_0_3_load_52 | 16 | 0.00010863 | 2.7225e-05 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_293-17_0_3_load_72 | 17 | 0.005691 | 0.0014263 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_293-17_0_3_load_141 | 19 | 0.0034545 | 0.00086577 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_293-17_0_3_load_139 | 20 | 0.0063033 | 0.0015797 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_293-17_0_3_load_70 | 22 | 0.01068 | 0.0026767 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_293-17_0_3_load_69 | 23 | 0.004165 | 0.0010438 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_293-17_0_3_load_64 | 27 | 0.0042352 | 0.0010614 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_293-17_0_3_load_39 | 28 | 0.00079091 | 0.00019822 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_293-17_0_3_load_35 | 29 | 0.00014329 | 3.5911e-05 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_293-17_0_3_load_58 | 30 | 0.007851 | 0.0019677 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_293-17_0_3_load_11 | 33 | 0.002422 | 0.00060701 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_293-17_0_3_load_26 | 34 | 0.00016586 | 4.157e-05 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_293-17_0_3_load_24 | 36 | 0.00023025 | 5.7706e-05 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_293-17_0_3_load_32 | 37 | 0.00011896 | 2.9813e-05 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_293-17_0_3_load_15 | 38 | 0.0037138 | 0.00093076 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_293-17_0_3_load_18 | 40 | 0.00014227 | 3.5656e-05 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_293-17_0_3_load_17 | 41 | 0.00018197 | 4.5605e-05 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_293-17_0_3_load_23 | 44 | 0.0002614 | 6.5514e-05 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_293-17_0_3_load_19 | 45 | 0.00023201 | 5.8147e-05 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_293-17_0_3_load_22 | 46 | 0.00025619 | 6.4208e-05 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_293-17_0_3_load_28 | 47 | 0.00012306 | 3.0842e-05 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_293-17_0_3_load_82 | 51 | 0.00069868 | 0.0001751 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_293-17_0_3_load_80 | 52 | 0.00040908 | 0.00010253 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_293-17_0_3_load_30 | 53 | 0.00058845 | 0.00014748 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_293-17_0_3_load_142 | 55 | 0.0023043 | 0.00057752 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_293-17_0_3_load_34 | 57 | 0.00029282 | 7.3388e-05 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_293-17_0_3_load_36 | 58 | 0.00030938 | 7.7537e-05 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_293-17_0_3_load_38 | 59 | 0.00029157 | 7.3075e-05 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_293-17_0_3_load_41 | 60 | 0.0006907 | 0.00017311 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_293-17_0_3_load_73 | 63 | 0.0042035 | 0.0010535 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_293-17_0_3_load_71 | 64 | 0.0032152 | 0.00080582 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_293-17_0_3_load_143 | 65 | 0.00062683 | 0.0001571 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_293-17_0_3_load_140 | 66 | 0.0015848 | 0.00039718 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_293-17_0_3_load_85 | 68 | 0.0092076 | 0.0023077 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_293-17_0_3_load_61 | 71 | 0.0091766 | 0.0022999 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_293-17_0_3_load_105 | 72 | 0.004225 | 0.0010589 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_293-17_0_3_load_62 | 73 | 0.0035092 | 0.0008795 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_293-17_0_3_load_47 | 74 | 0.00042145 | 0.00010563 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_293-17_0_3_load_48 | 75 | 0.00027341 | 6.8524e-05 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_293-17_0_3_load_51 | 77 | 0.00064699 | 0.00016215 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_293-17_0_3_load_56 | 78 | 6.7383e-05 | 1.6888e-05 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_293-17_0_3_load_53 | 79 | 0.00022041 | 5.5241e-05 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_293-17_0_3_load_144 | 80 | 0.00019631 | 4.92e-05 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_293-17_0_3_load_55 | 83 | 0.00094873 | 0.00023778 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_293-17_0_3_load_59 | 85 | 5.594e-05 | 1.402e-05 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_293-17_0_3_load_60 | 86 | 0.00018373 | 4.6046e-05 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_293-17_0_3_load_95 | 88 | 0.00013969 | 3.501e-05 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_293-17_0_3_load_102 | 89 | 0.00048154 | 0.00012069 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_293-17_0_3_load_94 | 90 | 0.00081281 | 0.00020371 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_293-17_0_3_load_124 | 92 | 0.0012337 | 0.00030919 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_293-17_0_3_load_74 | 94 | 0.00092707 | 0.00023235 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_293-17_0_3_load_77 | 95 | 0.0010641 | 0.00026669 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_293-17_0_3_load_123 | 97 | 0.014486 | 0.0036304 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_293-17_0_3_load_127 | 98 | 0.001006 | 0.00025213 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_293-17_0_3_load_125 | 99 | 0.0026868 | 0.00067339 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_293-17_0_3_load_135 | 100 | 0.0015864 | 0.00039759 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_293-17_0_3_load_112 | 102 | 0.00016087 | 4.0318e-05 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_293-17_0_3_load_87 | 104 | 0.00023505 | 5.891e-05 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_293-17_0_3_load_92 | 108 | 0.00030579 | 7.6638e-05 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_293-17_0_3_load_93 | 109 | 0.00011346 | 2.8436e-05 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_293-17_0_3_load_90 | 110 | 9.6834e-05 | 2.4269e-05 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_293-17_0_3_load_108 | 112 | 0.00034297 | 8.5956e-05 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_293-17_0_3_load_101 | 113 | 0.00032942 | 8.2561e-05 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_293-17_0_3_load_104 | 114 | 0.00047589 | 0.00011927 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_293-17_0_3_load_106 | 115 | 0.00030875 | 7.7379e-05 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_293-17_0_3_load_96 | 116 | 0.0020424 | 0.00051188 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_293-17_0_3_load_97 | 117 | 0.0059794 | 0.0014986 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_293-17_0_3_load_109 | 118 | 0.00041241 | 0.00010336 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_293-17_0_3_load_138 | 120 | 0.0010206 | 0.00025578 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_293-17_0_3_load_137 | 121 | 0.0042306 | 0.0010603 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_293-17_0_3_load_136 | 122 | 0.00047002 | 0.0001178 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_293-17_0_3_load_113 | 123 | 0.00069062 | 0.00017309 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_293-17_0_3_load_119 | 126 | 0.00025626 | 6.4225e-05 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_293-17_0_3_load_118 | 129 | 0.00095307 | 0.00023886 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_293-17_0_3_load_145 | 133 | 0.0033662 | 0.00084364 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_293-17_0_3_load_130 | 134 | 0.0038942 | 0.00097598 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_293-17_0_3_load_132 | 135 | 0.00087753 | 0.00021993 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_293-17_0_3_load_131 | 136 | 0.0016091 | 0.00040328 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 94 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_293-17_0_3_line_0 |  | 0 | 1 | 0.032899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_293-17_0_3_line_1 |  | 0 | 2 | 0.013065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_293-17_0_3_line_2 |  | 1 | 3 | 0.023014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_293-17_0_3_line_3 |  | 2 | 4 | 0.035613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_293-17_0_3_line_4 |  | 2 | 5 | 0.010767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_293-17_0_3_line_5 |  | 4 | 6 | 0.28074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_293-17_0_3_line_6 |  | 5 | 7 | 0.031165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_293-17_0_3_line_7 |  | 5 | 8 | 0.017144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_293-17_0_3_line_8 |  | 6 | 9 | 0.025881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_293-17_0_3_line_9 |  | 6 | 10 | 0.011057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_293-17_0_3_line_10 |  | 7 | 13 | 0.066788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_293-17_0_3_line_11 |  | 8 | 11 | 0.026035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_293-17_0_3_line_12 |  | 9 | 29 | 0.0014978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_293-17_0_3_line_13 |  | 10 | 30 | 0.0052223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_293-17_0_3_line_14 |  | 11 | 12 | 0.20123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_293-17_0_3_line_15 |  | 12 | 14 | 0.18252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
16 | LV_293-17_0_3_line_16 |  | 12 | 15 | 0.13936 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_293-17_0_3_line_17 |  | 13 | 31 | 0.11869 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_293-17_0_3_line_18 |  | 13 | 32 | 0.023996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_293-17_0_3_line_19 |  | 14 | 16 | 0.016629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_293-17_0_3_line_20 |  | 14 | 17 | 0.12743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
21 | LV_293-17_0_3_line_21 |  | 15 | 28 | 0.019957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_293-17_0_3_line_22 |  | 16 | 61 | 0.017788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_293-17_0_3_line_23 |  | 17 | 64 | 0.033815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
24 | LV_293-17_0_3_line_24 |  | 18 | 19 | 0.0027948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_293-17_0_3_line_25 |  | 18 | 20 | 0.038934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_293-17_0_3_line_26 |  | 19 | 65 | 0.013645 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_293-17_0_3_line_27 |  | 20 | 66 | 0.040038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_293-17_0_3_line_28 |  | 21 | 22 | 0.057883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
29 | LV_293-17_0_3_line_29 |  | 21 | 23 | 0.017744 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
30 | LV_293-17_0_3_line_30 |  | 22 | 64 | 0.052788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
31 | LV_293-17_0_3_line_31 |  | 23 | 24 | 0.02665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
32 | LV_293-17_0_3_line_32 |  | 24 | 25 | 0.018517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
33 | LV_293-17_0_3_line_33 |  | 25 | 26 | 0.18479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
34 | LV_293-17_0_3_line_34 |  | 25 | 27 | 0.011407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_293-17_0_3_line_35 |  | 26 | 62 | 0.2531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_293-17_0_3_line_36 |  | 26 | 63 | 0.029975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
37 | LV_293-17_0_3_line_37 |  | 27 | 73 | 0.039201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_293-17_0_3_line_38 |  | 28 | 60 | 0.05783 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_293-17_0_3_line_39 |  | 29 | 57 | 0.01214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_293-17_0_3_line_40 |  | 30 | 85 | 0.0060638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_293-17_0_3_line_41 |  | 31 | 34 | 0.017728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_293-17_0_3_line_42 |  | 31 | 35 | 0.088985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_293-17_0_3_line_43 |  | 31 | 36 | 0.027445 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_293-17_0_3_line_44 |  | 32 | 33 | 0.048191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_293-17_0_3_line_45 |  | 34 | 47 | 0.011435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_293-17_0_3_line_46 |  | 35 | 37 | 0.093136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_293-17_0_3_line_47 |  | 36 | 44 | 0.024132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_293-17_0_3_line_48 |  | 37 | 50 | 0.0084875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_293-17_0_3_line_49 |  | 38 | 39 | 0.0090849 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_293-17_0_3_line_50 |  | 39 | 40 | 0.046997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_293-17_0_3_line_51 |  | 40 | 43 | 0.01095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_293-17_0_3_line_52 |  | 41 | 42 | 0.017749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_293-17_0_3_line_53 |  | 42 | 44 | 0.0067029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_293-17_0_3_line_54 |  | 42 | 45 | 0.014903 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_293-17_0_3_line_55 |  | 43 | 46 | 0.19279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_293-17_0_3_line_56 |  | 43 | 45 | 0.021154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_293-17_0_3_line_57 |  | 47 | 48 | 0.031138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_293-17_0_3_line_58 |  | 48 | 49 | 0.024574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_293-17_0_3_line_59 |  | 49 | 51 | 0.040262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_293-17_0_3_line_60 |  | 49 | 52 | 0.18444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_293-17_0_3_line_61 |  | 50 | 53 | 0.024345 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_293-17_0_3_line_62 |  | 54 | 55 | 0.044118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_293-17_0_3_line_63 |  | 54 | 56 | 0.1351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_293-17_0_3_line_64 |  | 55 | 66 | 0.026402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_293-17_0_3_line_65 |  | 56 | 94 | 0.1368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_293-17_0_3_line_66 |  | 57 | 58 | 0.017898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_293-17_0_3_line_67 |  | 58 | 59 | 0.007796 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_293-17_0_3_line_68 |  | 61 | 77 | 0.018691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_293-17_0_3_line_69 |  | 61 | 74 | 0.10118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_293-17_0_3_line_70 |  | 62 | 92 | 0.035868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_293-17_0_3_line_71 |  | 62 | 93 | 0.048776 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_293-17_0_3_line_72 |  | 63 | 94 | 0.019124 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
73 | LV_293-17_0_3_line_73 |  | 67 | 68 | 0.024516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_293-17_0_3_line_74 |  | 67 | 69 | 0.087826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_293-17_0_3_line_75 |  | 69 | 70 | 0.16534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_293-17_0_3_line_76 |  | 69 | 71 | 0.25308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_293-17_0_3_line_77 |  | 70 | 72 | 0.15225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_293-17_0_3_line_78 |  | 71 | 73 | 0.040457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_293-17_0_3_line_79 |  | 74 | 75 | 0.0035679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_293-17_0_3_line_80 |  | 75 | 76 | 0.019351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_293-17_0_3_line_81 |  | 76 | 78 | 0.027072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_293-17_0_3_line_82 |  | 76 | 79 | 0.0063303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_293-17_0_3_line_83 |  | 77 | 80 | 0.03234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_293-17_0_3_line_84 |  | 78 | 81 | 0.065373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_293-17_0_3_line_85 |  | 79 | 82 | 0.0095179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_293-17_0_3_line_86 |  | 81 | 84 | 0.35214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_293-17_0_3_line_87 |  | 82 | 83 | 0.013808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_293-17_0_3_line_88 |  | 84 | 117 | 0.11037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_293-17_0_3_line_89 |  | 85 | 86 | 0.0098913 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_293-17_0_3_line_90 |  | 87 | 88 | 0.026575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_293-17_0_3_line_91 |  | 87 | 89 | 0.035334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_293-17_0_3_line_92 |  | 88 | 90 | 0.042138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_293-17_0_3_line_93 |  | 89 | 91 | 0.16153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_293-17_0_3_line_94 |  | 90 | 116 | 0.0097279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_293-17_0_3_line_95 |  | 91 | 114 | 0.076159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_293-17_0_3_line_96 |  | 91 | 107 | 0.077189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_293-17_0_3_line_97 |  | 92 | 97 | 0.027788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_293-17_0_3_line_98 |  | 93 | 98 | 0.033253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_293-17_0_3_line_99 |  | 93 | 99 | 0.014647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_293-17_0_3_line_100 |  | 95 | 96 | 0.022227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_293-17_0_3_line_101 |  | 96 | 100 | 0.01035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_293-17_0_3_line_102 |  | 96 | 101 | 0.007107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_293-17_0_3_line_103 |  | 98 | 127 | 0.032154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_293-17_0_3_line_104 |  | 100 | 122 | 0.012089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_293-17_0_3_line_105 |  | 101 | 135 | 0.014789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_293-17_0_3_line_106 |  | 102 | 103 | 0.025702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_293-17_0_3_line_107 |  | 103 | 119 | 0.22537 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_293-17_0_3_line_108 |  | 103 | 118 | 0.035187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_293-17_0_3_line_109 |  | 104 | 105 | 0.028693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
110 | LV_293-17_0_3_line_110 |  | 104 | 106 | 0.036202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
111 | LV_293-17_0_3_line_111 |  | 105 | 107 | 0.053578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
112 | LV_293-17_0_3_line_112 |  | 106 | 108 | 0.04431 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
113 | LV_293-17_0_3_line_113 |  | 106 | 109 | 0.029467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
114 | LV_293-17_0_3_line_114 |  | 107 | 111 | 0.066216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
115 | LV_293-17_0_3_line_115 |  | 107 | 112 | 0.045875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
116 | LV_293-17_0_3_line_116 |  | 108 | 110 | 0.03833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
117 | LV_293-17_0_3_line_117 |  | 109 | 113 | 0.0090784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
118 | LV_293-17_0_3_line_118 |  | 111 | 115 | 0.16215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
119 | LV_293-17_0_3_line_119 |  | 116 | 117 | 0.016501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
120 | LV_293-17_0_3_line_120 |  | 119 | 120 | 0.046754 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
121 | LV_293-17_0_3_line_121 |  | 119 | 121 | 0.038186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
122 | LV_293-17_0_3_line_122 |  | 121 | 122 | 0.031783 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
123 | LV_293-17_0_3_line_123 |  | 123 | 124 | 0.068958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
124 | LV_293-17_0_3_line_124 |  | 124 | 125 | 0.18165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
125 | LV_293-17_0_3_line_125 |  | 125 | 126 | 0.016155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
126 | LV_293-17_0_3_line_126 |  | 126 | 130 | 0.16016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
127 | LV_293-17_0_3_line_127 |  | 127 | 128 | 0.21625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
128 | LV_293-17_0_3_line_128 |  | 128 | 132 | 0.052289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
129 | LV_293-17_0_3_line_129 |  | 128 | 129 | 0.0053023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
130 | LV_293-17_0_3_line_130 |  | 130 | 131 | 0.030519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
131 | LV_293-17_0_3_line_131 |  | 131 | 133 | 0.037771 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
132 | LV_293-17_0_3_line_132 |  | 131 | 132 | 0.10242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
133 | LV_293-17_0_3_line_133 |  | 132 | 134 | 0.019686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
134 | LV_293-17_0_3_line_134 |  | 134 | 136 | 0.00026134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
135 | LV_293-17_0_3_line_135 |  | 135 | 136 | 0.0026471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_293-17_0_3_trafo_74 | 0.63 MVA 20/0.4 kV | 137 | 94 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24
0 | 2689864.5835 | 1231207.8286 | 2689858.4361 | 1231208.7647 | 2689831.8099 | 1231210.4734
1 | 2689877.4997 | 1231205.8618 | 2689864.5835 | 1231207.8286
2 | 2689831.8099 | 1231210.4734 | 2689830.3907 | 1231210.5644 | 2689823.8463 | 1231215.5802 | 2689817.6384 | 1231227.3949
3 | 2689881.0563 | 1231239.6396 | 2689883.2282 | 1231215.2328 | 2689881.5076 | 1231210.8037 | 2689877.4997 | 1231205.8618
4 | 2689887.0366 | 1231200.8135 | 2689877.4997 | 1231205.8618
5 | 2689783.1505 | 1231491.6507 | 2689792.2384 | 1231475.1874 | 2689820.9961 | 1231399.1232 | 2689861.9646 | 1231299.0043 | 2689872.7577 | 1231275.4952 | 2689885.8271 | 1231257.7357 | 2689891.67 | 1231252.5314 | 2689881.0563 | 1231239.6396
6 | 2689887.0366 | 1231200.8135 | 2689879.6025 | 1231190.5271 | 2689874.3903 | 1231183.5768 | 2689868.6222 | 1231176.8181 | 2689867.9555 | 1231176.2123
7 | 2689887.0366 | 1231200.8135 | 2689891.4516 | 1231207.3849 | 2689896.993 | 1231214.7633
8 | 2689783.1505 | 1231491.6507 | 2689773.0269 | 1231505.4855 | 2689767.2593 | 1231512.0491
9 | 2689783.1505 | 1231491.6507 | 2689793.1656 | 1231496.3371
10 | 2689806.9835 | 1231154.56 | 2689821.0258 | 1231154.6277 | 2689828.9782 | 1231155.693 | 2689836.3407 | 1231157.1942 | 2689844.9397 | 1231160.582 | 2689854.0095 | 1231165.3892 | 2689861.7406 | 1231170.5652 | 2689867.9555 | 1231176.2123
11 | 2689912.6276 | 1231235.5806 | 2689896.993 | 1231214.7633
12 | 2689766.2706 | 1231513.1742 | 2689767.2593 | 1231512.0491
13 | 2689793.1656 | 1231496.3371 | 2689797.8957 | 1231498.5504
14 | 2689912.6276 | 1231235.5806 | 2689933.4051 | 1231266.061 | 2689945.8742 | 1231284.9741 | 2689954.3577 | 1231299.9798 | 2689960.4313 | 1231311.5577 | 2689966.2777 | 1231324.1328 | 2689976.5548 | 1231349.7288 | 2689990.0248 | 1231384.5574 | 2689996.396 | 1231402.978 | 2689999.451 | 1231415.8112
15 | 2689980.4766 | 1231594.4289 | 2689979.2222 | 1231583.2353 | 2689980.0414 | 1231568.148 | 2689981.5694 | 1231557.2745 | 2689984.781 | 1231543.2576 | 2689989.9187 | 1231535.5966 | 2689996.3564 | 1231511.6103 | 2689999.5029 | 1231498.3929 | 2690001.2639 | 1231489.1463 | 2690002.3475 | 1231480.6122 | 2690003.3231 | 1231467.2063 | 2690003.5402 | 1231451.8765 | 2690002.617 | 1231437.3188 | 2690000.5406 | 1231420.3865 | 2689999.451 | 1231415.8112
16 | 2689999.451 | 1231415.8112 | 2689987.1646 | 1231421.3736 | 2689970.7061 | 1231440.3603 | 2689938.4609 | 1231486.5053 | 2689908.5542 | 1231519.3924
17 | 2689806.9835 | 1231154.56 | 2689805.3157 | 1231143.627 | 2689805.0413 | 1231138.7305 | 2689806.2567 | 1231133.9899 | 2689811.727 | 1231127.8793 | 2689819.6948 | 1231122.9184 | 2689837.7144 | 1231112.4276 | 2689849.9815 | 1231103.6622 | 2689877.5698 | 1231080.5294 | 2689884.5685 | 1231076.0431
18 | 2689806.9835 | 1231154.56 | 2689795.4234 | 1231156.6536 | 2689783.6149 | 1231160.1444
19 | 2689980.4766 | 1231594.4289 | 2689964.3878 | 1231598.6336
20 | 2689980.4766 | 1231594.4289 | 2689982.0251 | 1231604.7041 | 2689984.6964 | 1231616.8643 | 2689993.2826 | 1231638.543 | 2690002.872 | 1231653.9991 | 2690013.1663 | 1231666.9086 | 2690023.9919 | 1231677.2465 | 2690037.0789 | 1231686.7959 | 2690050.6547 | 1231694.0733 | 2690050.6547 | 1231694.0733
21 | 2689892.2713 | 1231530.7161 | 2689905.8955 | 1231522.3161 | 2689908.5542 | 1231519.3924
22 | 2689947.1781 | 1231603.1313 | 2689964.3878 | 1231598.6336
23 | 2690050.6547 | 1231694.0733 | 2690069.8611 | 1231702.1367 | 2690082.5526 | 1231704.8792
24 | 2690180.4748 | 1231406.9141 | 2690182.8559 | 1231408.3774
25 | 2690180.4748 | 1231406.9141 | 2690182.8058 | 1231401.5457 | 2690185.757 | 1231394.7411 | 2690188.3012 | 1231387.3078 | 2690190.5179 | 1231382.9828 | 2690192.5743 | 1231380.2453 | 2690198.4944 | 1231374.4532 | 2690199.4711 | 1231373.6866
26 | 2690182.8559 | 1231408.3774 | 2690190.1403 | 1231412.8538 | 2690195.0585 | 1231414.185
27 | 2690231.6342 | 1231368.8298 | 2690228.5387 | 1231371.1623 | 2690222.6847 | 1231372.5967 | 2690213.5123 | 1231363.6067 | 2690203.6917 | 1231370.3736 | 2690199.4711 | 1231373.6866
28 | 2690192.632 | 1231705.7669 | 2690163.9886 | 1231709.1905 | 2690146.2372 | 1231710.0664 | 2690134.9776 | 1231709.8251
29 | 2690192.632 | 1231705.7669 | 2690197.8136 | 1231710.1931 | 2690208.7421 | 1231710.096
30 | 2690134.9776 | 1231709.8251 | 2690116.0651 | 1231709.4197 | 2690093.6561 | 1231707.2786 | 2690082.5526 | 1231704.8792
31 | 2690235.2829 | 1231708.6161 | 2690227.3785 | 1231709.9304 | 2690208.7421 | 1231710.096
32 | 2690235.2829 | 1231708.6161 | 2690243.2686 | 1231706.9361 | 2690253.2934 | 1231704.1418
33 | 2690253.2934 | 1231704.1418 | 2690251.5906 | 1231695.5765 | 2690288.0857 | 1231689.3372 | 2690315.5994 | 1231686.5086 | 2690337.719 | 1231685.266 | 2690351.6195 | 1231682.6198 | 2690369.7775 | 1231685.3977 | 2690384.8328 | 1231688.4954 | 2690386.5504 | 1231682.6284 | 2690396.4563 | 1231648.8327
34 | 2690253.2934 | 1231704.1418 | 2690264.0435 | 1231700.3255
35 | 2690396.4563 | 1231648.8327 | 2690402.797 | 1231650.7416 | 2690413.4085 | 1231650.714 | 2690420.7777 | 1231650.2368 | 2690425.7491 | 1231648.5557 | 2690430.2239 | 1231645.6661 | 2690435.5865 | 1231640.1771 | 2690447.4917 | 1231629.306 | 2690458.9588 | 1231623.3317 | 2690473.2634 | 1231617.0449 | 2690489.979 | 1231614.0749 | 2690510.975 | 1231616.0181 | 2690529.7768 | 1231622.2755 | 2690538.1336 | 1231627.0728 | 2690546.2677 | 1231633.0676 | 2690555.7927 | 1231641.2185 | 2690564.4569 | 1231652.6808 | 2690577.0116 | 1231668.7724 | 2690587.4113 | 1231679.6608 | 2690599.4733 | 1231681.3681 | 2690608.3392 | 1231670.6511
36 | 2690396.4563 | 1231648.8327 | 2690384.1781 | 1231621.4872
37 | 2690302.2293 | 1231692.2875 | 2690284.4363 | 1231694.7412 | 2690276.4964 | 1231695.8993 | 2690270.5642 | 1231698.0107 | 2690264.0435 | 1231700.3255
38 | 2689877.6756 | 1231561.7842 | 2689867.5371 | 1231557.5724 | 2689863.7992 | 1231545.3072 | 2689867.8377 | 1231537.6962 | 2689875.0849 | 1231535.771 | 2689892.2713 | 1231530.7161
39 | 2689758.2575 | 1231522.2933 | 2689766.2706 | 1231513.1742
40 | 2689797.8957 | 1231498.5504 | 2689803.388 | 1231501.1204
41 | 2689884.5685 | 1231076.0431 | 2689897.0829 | 1231070.4728 | 2689900.8098 | 1231068.9409
42 | 2689884.5685 | 1231076.0431 | 2689877.5698 | 1231080.5294 | 2689849.9815 | 1231103.6622 | 2689857.1663 | 1231111.4096 | 2689862.3965 | 1231113.6681 | 2689876.5902 | 1231112.7486 | 2689890.6332 | 1231110.7705
43 | 2689884.5685 | 1231076.0431 | 2689875.6611 | 1231066.5017 | 2689864.6903 | 1231057.1864
44 | 2689783.6149 | 1231160.1444 | 2689786.9117 | 1231176.061 | 2689782.5274 | 1231199.5337 | 2689779.4228 | 1231206.969
45 | 2689911.3859 | 1231064.5939 | 2689900.8098 | 1231068.9409
46 | 2689890.6332 | 1231110.7705 | 2689916.6768 | 1231107.1395 | 2689927.5794 | 1231105.9591 | 2689935.3642 | 1231107.5891 | 2689941.7184 | 1231112.1551 | 2689968.6467 | 1231137.6472 | 2689971.0654 | 1231139.4471
47 | 2689850.6729 | 1231037.7307 | 2689852.626 | 1231041.4803 | 2689861.9153 | 1231054.8301 | 2689864.6903 | 1231057.1864
48 | 2689977.8746 | 1231144.5139 | 2689971.0654 | 1231139.4471
49 | 2689783.8471 | 1231023.9512 | 2689775.8216 | 1231019.6937
50 | 2689783.8471 | 1231023.9512 | 2689793.6357 | 1231020.3075 | 2689808.6401 | 1231013.874 | 2689821.1425 | 1231007.5917 | 2689826.2884 | 1231004.0709
51 | 2689835.3253 | 1230997.8879 | 2689826.2884 | 1231004.0709
52 | 2689847.5763 | 1231031.786 | 2689829.83 | 1231031.4738
53 | 2689847.5763 | 1231031.786 | 2689850.6729 | 1231037.7307
54 | 2689847.5763 | 1231031.786 | 2689843.3879 | 1231021.2374 | 2689842.1478 | 1231017.908
55 | 2689835.3253 | 1230997.8879 | 2689832.5068 | 1230989.9175 | 2689827.4754 | 1230983.0143 | 2689817.3204 | 1230974.8107 | 2689811.6536 | 1230969.3545 | 2689808.2475 | 1230960.1632 | 2689803.8616 | 1230936.1022 | 2689798.0305 | 1230904.9253 | 2689810.3325 | 1230884.352 | 2689822.1115 | 1230857.7889 | 2689831.3738 | 1230836.8695 | 2689833.4528 | 1230824.0451
56 | 2689835.3253 | 1230997.8879 | 2689840.2141 | 1231012.7167 | 2689842.1478 | 1231017.908
57 | 2689940.186 | 1231052.7564 | 2689911.3859 | 1231064.5939
58 | 2689940.186 | 1231052.7564 | 2689963.2387 | 1231044.0656
59 | 2689932.9568 | 1231020.9133 | 2689941.5051 | 1231023.1553 | 2689949.5643 | 1231026.6797 | 2689958.2762 | 1231033.6275 | 2689963.2387 | 1231044.0656
60 | 2689963.2387 | 1231044.0656 | 2690047.0476 | 1231009.9432 | 2690085.698 | 1230991.7045 | 2690117.9122 | 1230969.8215 | 2690127.1312 | 1230961.7199
61 | 2689977.8746 | 1231144.5139 | 2689983.3232 | 1231159.3625 | 2689989.302 | 1231165.4434
62 | 2690291.7545 | 1231348.2055 | 2690287.5135 | 1231346.173 | 2690282.6204 | 1231343.6858 | 2690278.7535 | 1231342.4484 | 2690274.4541 | 1231341.7604 | 2690269.661 | 1231342.1657 | 2690264.5728 | 1231343.545 | 2690257.7912 | 1231346.6999 | 2690251.3875 | 1231351.4124
63 | 2690320.3101 | 1231479.2436 | 2690309.8307 | 1231446.1386 | 2690294.6605 | 1231364.8281 | 2690290.5748 | 1231356.5602 | 2690291.7545 | 1231348.2055
64 | 2690231.6342 | 1231368.8298 | 2690237.243 | 1231364.5897 | 2690241.1845 | 1231360.9135 | 2690245.7054 | 1231355.9897 | 2690250.9815 | 1231351.7112 | 2690251.3875 | 1231351.4124
65 | 2690320.3101 | 1231479.2436 | 2690376.3447 | 1231604.0412
66 | 2689758.2575 | 1231522.2933 | 2689746.443 | 1231535.7384
67 | 2689741.2969 | 1231541.5946 | 2689746.443 | 1231535.7384
68 | 2689947.1781 | 1231603.1313 | 2689930.8625 | 1231612.2499
69 | 2689947.1781 | 1231603.1313 | 2689940.8635 | 1231601.9905 | 2689934.4755 | 1231603.1947 | 2689914.5169 | 1231614.2785 | 2689891.0496 | 1231622.9855 | 2689877.7813 | 1231625.3977 | 2689865.7702 | 1231625.3161 | 2689856.7064 | 1231623.1665 | 2689852.5203 | 1231619.4623
70 | 2690608.3392 | 1231670.6511 | 2690601.9969 | 1231657.9231 | 2690601.9331 | 1231636.2757
71 | 2690608.3392 | 1231670.6511 | 2690612.7142 | 1231665.3695 | 2690633.5301 | 1231628.9497
72 | 2690384.1781 | 1231621.4872 | 2690376.3447 | 1231604.0412
73 | 2690589.852 | 1231853.3998 | 2690592.6591 | 1231877.7542
74 | 2690508.3861 | 1231853.0923 | 2690514.6956 | 1231850.5643 | 2690522.1008 | 1231847.7083 | 2690528.7953 | 1231845.7644 | 2690546.2543 | 1231854.114 | 2690550.0571 | 1231855.5507 | 2690551.1521 | 1231858.7475 | 2690573.1366 | 1231854.9018 | 2690577.517 | 1231855.7135 | 2690589.852 | 1231853.3998
75 | 2690508.3861 | 1231853.0923 | 2690503.381 | 1231861.4665 | 2690500.0725 | 1231865.3634 | 2690502.309 | 1231871.6797 | 2690503.2148 | 1231875.3628 | 2690504.7831 | 1231881.7912 | 2690506.4576 | 1231886.2199 | 2690526.7189 | 1231896.0465 | 2690532.5059 | 1231916.3824 | 2690538.6836 | 1231930.9536 | 2690543.4287 | 1231939.632 | 2690551.5539 | 1231960.0926 | 2690565.3256 | 1231994.6826
76 | 2690508.3861 | 1231853.0923 | 2690498.9874 | 1231827.7089 | 2690491.5054 | 1231806.7689 | 2690491.1326 | 1231799.9139 | 2690488.2521 | 1231792.6204 | 2690486.0396 | 1231787.7055 | 2690482.6897 | 1231780.3937 | 2690479.5876 | 1231774.7203 | 2690474.8601 | 1231766.8538 | 2690468.4085 | 1231757.3155 | 2690462.7289 | 1231749.8015 | 2690457.1373 | 1231742.9782 | 2690450.9061 | 1231736.3676 | 2690442.9936 | 1231728.7641 | 2690436.9551 | 1231723.424 | 2690429.775 | 1231717.9553 | 2690422.5337 | 1231713.0194 | 2690413.2561 | 1231707.5189 | 2690401.2632 | 1231701.7658 | 2690390.3684 | 1231697.5193 | 2690377.2915 | 1231693.8179 | 2690365.5634 | 1231691.5714 | 2690354.0907 | 1231690.4518 | 2690344.7871 | 1231690.1435 | 2690342.6084 | 1231690.1728
77 | 2690565.3256 | 1231994.6826 | 2690559.3949 | 1231995.7152 | 2690553.8163 | 1231993.0284 | 2690551.7029 | 1231986.5916 | 2690551.8463 | 1231977.187 | 2690545.0241 | 1231963.6624 | 2690539.4302 | 1231961.976 | 2690438.2298 | 1231974.0555 | 2690437.8252 | 1231973.198
78 | 2690342.6084 | 1231690.1728 | 2690330.0452 | 1231690.3419 | 2690316.7354 | 1231690.9957 | 2690304.481 | 1231691.977 | 2690302.2293 | 1231692.2875
79 | 2689852.5203 | 1231619.4623 | 2689849.8483 | 1231617.0979
80 | 2689833.1863 | 1231610.3242 | 2689841.3583 | 1231609.8473 | 2689848.1412 | 1231615.5872 | 2689849.8483 | 1231617.0979
81 | 2689833.1863 | 1231610.3242 | 2689833.3484 | 1231611.1272 | 2689832.7284 | 1231614.5648 | 2689825.7922 | 1231624.9785 | 2689821.3848 | 1231634.2298
82 | 2689833.1863 | 1231610.3242 | 2689832.6722 | 1231607.7591 | 2689830.2098 | 1231604.9784
83 | 2689930.8625 | 1231612.2499 | 2689926.3552 | 1231614.769 | 2689903.138 | 1231628.8934
84 | 2689820.5318 | 1231697.395 | 2689814.4629 | 1231677.5003 | 2689812.9093 | 1231667.036 | 2689814.0478 | 1231657.8578 | 2689821.1693 | 1231634.6822 | 2689821.3848 | 1231634.2298
85 | 2689823.8998 | 1231597.8528 | 2689830.2098 | 1231604.9784
86 | 2689820.5318 | 1231697.395 | 2689823.0788 | 1231708.7749 | 2689828.3402 | 1231716.9491 | 2689870.2056 | 1231742.6889 | 2689879.8406 | 1231750.1288 | 2689906.4818 | 1231761.8732 | 2689967.8179 | 1231768.161 | 2689984.7517 | 1231772.7428 | 2689996.3608 | 1231781.3468 | 2690002.9786 | 1231795.9574 | 2690009.9453 | 1231832.033 | 2690028.2871 | 1231924.1208
87 | 2689823.8998 | 1231597.8528 | 2689822.1145 | 1231593.2003 | 2689822.563 | 1231588.5816 | 2689823.5032 | 1231584.504
88 | 2690028.2871 | 1231924.1208 | 2690043.5425 | 1231928.9774 | 2690075.5965 | 1231949.8 | 2690126.394 | 1231973.6879
89 | 2689812.3469 | 1231505.3125 | 2689803.388 | 1231501.1204
90 | 2690201.2354 | 1232023.0904 | 2690183.774 | 1232003.0573
91 | 2690201.2354 | 1232023.0904 | 2690175.8207 | 1232047.638
92 | 2690146.0453 | 1231990.5804 | 2690151.1491 | 1231995.8224 | 2690179.8045 | 1231998.5033 | 2690183.774 | 1232003.0573
93 | 2690065.8237 | 1232165.8171 | 2690144.873 | 1232077.5299 | 2690175.8207 | 1232047.638
94 | 2690146.0453 | 1231990.5804 | 2690139.2592 | 1231983.6105
95 | 2690056.8226 | 1232093.1289 | 2690051.7951 | 1232109.0419 | 2690061.6871 | 1232161.9184 | 2690065.8237 | 1232165.8171
96 | 2690033.7314 | 1232234.0575 | 2690035.8326 | 1232215.3427 | 2690041.5108 | 1232199.9621 | 2690059.1676 | 1232173.255 | 2690065.8237 | 1232165.8171
97 | 2690598.2889 | 1231608.8138 | 2690601.911 | 1231628.7899 | 2690601.9331 | 1231636.2757
98 | 2690633.5301 | 1231628.9497 | 2690633.9232 | 1231623.0403 | 2690634.5611 | 1231618.9583 | 2690634.9564 | 1231605.4547 | 2690632.341 | 1231596.1249
99 | 2690633.5301 | 1231628.9497 | 2690647.3839 | 1231633.7034
100 | 2690649.8068 | 1231327.0825 | 2690629.9921 | 1231337.1536
101 | 2690649.8068 | 1231327.0825 | 2690642.7959 | 1231319.4685
102 | 2690655.8925 | 1231323.3838 | 2690649.8068 | 1231327.0825
103 | 2690623.3296 | 1231565.271 | 2690624.9143 | 1231569.6316 | 2690632.341 | 1231596.1249
104 | 2690642.7959 | 1231319.4685 | 2690638.3323 | 1231314.6209 | 2690634.9457 | 1231310.2881
105 | 2690655.8925 | 1231323.3838 | 2690669.7969 | 1231328.4213
106 | 2690437.4923 | 1231115.8325 | 2690414.5489 | 1231104.2491
107 | 2690437.4923 | 1231115.8325 | 2690458.097 | 1231124.6856 | 2690505.523 | 1231133.0687 | 2690531.2132 | 1231146.1914 | 2690560.7569 | 1231177.3301 | 2690580.9936 | 1231208.8051 | 2690593.4253 | 1231231.0437 | 2690601.0889 | 1231250.0407
108 | 2690437.4923 | 1231115.8325 | 2690451.9976 | 1231083.7745
109 | 2689988.3324 | 1232205.3942 | 2689980.3921 | 1232193.1208 | 2689976.7393 | 1232179.528
110 | 2689967.344 | 1232144.5665 | 2689976.7393 | 1232179.528
111 | 2690033.7314 | 1232234.0575 | 2689988.3324 | 1232205.3942
112 | 2689967.344 | 1232144.5665 | 2689937.3924 | 1232157.5115 | 2689927.7747 | 1232164.1404
113 | 2689967.344 | 1232144.5665 | 2689961.1644 | 1232121.5455 | 2689961.2496 | 1232115.915
114 | 2690033.7314 | 1232234.0575 | 2690062.5092 | 1232252.0729 | 2690077.1354 | 1232252.9173 | 2690093.6462 | 1232246.3406
115 | 2690033.7314 | 1232234.0575 | 2690037.2728 | 1232279.7955
116 | 2689927.7747 | 1232164.1404 | 2689917.4866 | 1232171.2313 | 2689911.7632 | 1232177.6049 | 2689914.1893 | 1232184.9357 | 2689923.1286 | 1232188.2865
117 | 2689961.2496 | 1232115.915 | 2689961.3851 | 1232106.9718 | 2689961.4036 | 1232106.839
118 | 2690093.6462 | 1232246.3406 | 2690118.4304 | 1232229.5598 | 2690142.4789 | 1232208.3648 | 2690176.3987 | 1232164.5145 | 2690184.9673 | 1232158.3178 | 2690193.7028 | 1232160.0849 | 2690202.9719 | 1232171.6005 | 2690208.2097 | 1232180.6521
119 | 2690126.394 | 1231973.6879 | 2690132.3044 | 1231976.4673 | 2690139.2592 | 1231983.6105
120 | 2690601.0889 | 1231250.0407 | 2690645.6976 | 1231236.0413
121 | 2690601.0889 | 1231250.0407 | 2690614.8692 | 1231285.6538
122 | 2690634.9457 | 1231310.2881 | 2690628.2877 | 1231301.7698 | 2690614.8692 | 1231285.6538 | 2690614.8692 | 1231285.6538
123 | 2691041.0732 | 1231456.4414 | 2690976.3898 | 1231480.3432
124 | 2691041.0732 | 1231456.4414 | 2691038.9057 | 1231453.5617 | 2691016.0351 | 1231423.1565 | 2690982.6836 | 1231352.5402 | 2690956.1907 | 1231296.4726
125 | 2690956.1907 | 1231296.4726 | 2690949.8243 | 1231294.2515 | 2690940.9603 | 1231291.9031 | 2690940.7234 | 1231291.8518
126 | 2690786.957 | 1231247.2402 | 2690922.8869 | 1231287.9906 | 2690940.7234 | 1231291.8518
127 | 2690712.3297 | 1231383.8987 | 2690687.4758 | 1231404.9013 | 2690664.3978 | 1231433.1361 | 2690644.1996 | 1231465.7515 | 2690632.3761 | 1231484.6291 | 2690618.6423 | 1231506.6022 | 2690613.8168 | 1231524.0299 | 2690614.8822 | 1231542.0813 | 2690623.3296 | 1231565.271
128 | 2690691.0403 | 1231336.1177 | 2690712.3297 | 1231383.8987
129 | 2690712.3297 | 1231383.8987 | 2690716.4244 | 1231387.2673
130 | 2690786.957 | 1231247.2402 | 2690758.9333 | 1231259.51
131 | 2690758.9333 | 1231259.51 | 2690733.9621 | 1231231.1087
132 | 2690758.9333 | 1231259.51 | 2690730.8476 | 1231286.7564 | 2690691.0403 | 1231336.1177
133 | 2690691.0403 | 1231336.1177 | 2690672.5314 | 1231329.412
134 | 2690672.2857 | 1231329.3229 | 2690672.5314 | 1231329.412
135 | 2690669.7969 | 1231328.4213 | 2690672.2857 | 1231329.3229

## bus_geodata
| x | y | coords
0 | 2689864.5835 | 1231207.8286
1 | 2689831.8099 | 1231210.4734
2 | 2689877.4997 | 1231205.8618
3 | 2689817.6384 | 1231227.3949
4 | 2689881.0563 | 1231239.6396
5 | 2689887.0366 | 1231200.8135
6 | 2689783.1505 | 1231491.6507
7 | 2689867.9555 | 1231176.2123
8 | 2689896.993 | 1231214.7633
9 | 2689767.2593 | 1231512.0491
10 | 2689793.1656 | 1231496.3371
11 | 2689912.6276 | 1231235.5806
12 | 2689999.451 | 1231415.8112
13 | 2689806.9835 | 1231154.56
14 | 2689980.4766 | 1231594.4289
15 | 2689908.5542 | 1231519.3924
16 | 2689964.3878 | 1231598.6336
17 | 2690050.6547 | 1231694.0733
18 | 2690180.4748 | 1231406.9141
19 | 2690182.8559 | 1231408.3774
20 | 2690199.4711 | 1231373.6866
21 | 2690192.632 | 1231705.7669
22 | 2690134.9776 | 1231709.8251
23 | 2690208.7421 | 1231710.096
24 | 2690235.2829 | 1231708.6161
25 | 2690253.2934 | 1231704.1418
26 | 2690396.4563 | 1231648.8327
27 | 2690264.0435 | 1231700.3255
28 | 2689892.2713 | 1231530.7161
29 | 2689766.2706 | 1231513.1742
30 | 2689797.8957 | 1231498.5504
31 | 2689884.5685 | 1231076.0431
32 | 2689783.6149 | 1231160.1444
33 | 2689779.4228 | 1231206.969
34 | 2689900.8098 | 1231068.9409
35 | 2689890.6332 | 1231110.7705
36 | 2689864.6903 | 1231057.1864
37 | 2689971.0654 | 1231139.4471
38 | 2689775.8216 | 1231019.6937
39 | 2689783.8471 | 1231023.9512
40 | 2689826.2884 | 1231004.0709
41 | 2689829.83 | 1231031.4738
42 | 2689847.5763 | 1231031.786
43 | 2689835.3253 | 1230997.8879
44 | 2689850.6729 | 1231037.7307
45 | 2689842.1478 | 1231017.908
46 | 2689833.4528 | 1230824.0451
47 | 2689911.3859 | 1231064.5939
48 | 2689940.186 | 1231052.7564
49 | 2689963.2387 | 1231044.0656
50 | 2689977.8746 | 1231144.5139
51 | 2689932.9568 | 1231020.9133
52 | 2690127.1312 | 1230961.7199
53 | 2689989.302 | 1231165.4434
54 | 2690291.7545 | 1231348.2055
55 | 2690251.3875 | 1231351.4124
56 | 2690320.3101 | 1231479.2436
57 | 2689758.2575 | 1231522.2933
58 | 2689746.443 | 1231535.7384
59 | 2689741.2969 | 1231541.5946
60 | 2689877.6756 | 1231561.7842
61 | 2689947.1781 | 1231603.1313
62 | 2690608.3392 | 1231670.6511
63 | 2690384.1781 | 1231621.4872
64 | 2690082.5526 | 1231704.8792
65 | 2690195.0585 | 1231414.185
66 | 2690231.6342 | 1231368.8298
67 | 2690589.852 | 1231853.3998
68 | 2690592.6591 | 1231877.7542
69 | 2690508.3861 | 1231853.0923
70 | 2690565.3256 | 1231994.6826
71 | 2690342.6084 | 1231690.1728
72 | 2690437.8252 | 1231973.198
73 | 2690302.2293 | 1231692.2875
74 | 2689852.5203 | 1231619.4623
75 | 2689849.8483 | 1231617.0979
76 | 2689833.1863 | 1231610.3242
77 | 2689930.8625 | 1231612.2499
78 | 2689821.3848 | 1231634.2298
79 | 2689830.2098 | 1231604.9784
80 | 2689903.138 | 1231628.8934
81 | 2689820.5318 | 1231697.395
82 | 2689823.8998 | 1231597.8528
83 | 2689823.5032 | 1231584.504
84 | 2690028.2871 | 1231924.1207
85 | 2689803.388 | 1231501.1204
86 | 2689812.3469 | 1231505.3125
87 | 2690201.2354 | 1232023.0904
88 | 2690183.774 | 1232003.0573
89 | 2690175.8207 | 1232047.638
90 | 2690146.0453 | 1231990.5804
91 | 2690065.8237 | 1232165.8171
92 | 2690601.9331 | 1231636.2757
93 | 2690633.5301 | 1231628.9497
94 | 2690376.3447 | 1231604.0412
95 | 2690629.9921 | 1231337.1536
96 | 2690649.8068 | 1231327.0825
97 | 2690598.2889 | 1231608.8138
98 | 2690632.341 | 1231596.1249
99 | 2690647.3839 | 1231633.7034
100 | 2690642.7959 | 1231319.4685
101 | 2690655.8925 | 1231323.3838
102 | 2690414.5489 | 1231104.2491
103 | 2690437.4923 | 1231115.8325
104 | 2689976.7393 | 1232179.528
105 | 2689988.3324 | 1232205.3942
106 | 2689967.344 | 1232144.5665
107 | 2690033.7314 | 1232234.0575
108 | 2689927.7747 | 1232164.1404
109 | 2689961.2496 | 1232115.915
110 | 2689923.1286 | 1232188.2865
111 | 2690093.6462 | 1232246.3406
112 | 2690037.2728 | 1232279.7955
113 | 2689961.4036 | 1232106.839
114 | 2690056.8226 | 1232093.1289
115 | 2690208.2097 | 1232180.6521
116 | 2690139.2592 | 1231983.6105
117 | 2690126.394 | 1231973.6879
118 | 2690451.9976 | 1231083.7745
119 | 2690601.0889 | 1231250.0407
120 | 2690645.6976 | 1231236.0413
121 | 2690614.8692 | 1231285.6538
122 | 2690634.9457 | 1231310.2881
123 | 2690976.3898 | 1231480.3432
124 | 2691041.0732 | 1231456.4414
125 | 2690956.1907 | 1231296.4726
126 | 2690940.7234 | 1231291.8518
127 | 2690623.3296 | 1231565.271
128 | 2690712.3297 | 1231383.8987
129 | 2690716.4244 | 1231387.2673
130 | 2690786.957 | 1231247.2402
131 | 2690758.9333 | 1231259.51
132 | 2690691.0403 | 1231336.1177
133 | 2690733.9621 | 1231231.1087
134 | 2690672.5314 | 1231329.412
135 | 2690669.7969 | 1231328.4213
136 | 2690672.2857 | 1231329.3229
137 | 2690396.4563 | 1231648.8327

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1