## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_293-19_0_10_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_293-19_0_10_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_293-19_0_10_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_293-19_0_10_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_293-19_0_10_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_293-19_0_10_node_9 | 0.4 | n |  | TRUE
6 | bus_LV_293-19_0_10_node_31 | 0.4 | n |  | TRUE
7 | bus_LV_293-19_0_10_node_4 | 0.4 | n |  | TRUE
8 | bus_LV_293-19_0_10_node_29 | 0.4 | n |  | TRUE
9 | bus_LV_293-19_0_10_node_26 | 0.4 | n |  | TRUE
10 | bus_LV_293-19_0_10_node_153 | 0.4 | n |  | TRUE
11 | bus_LV_293-19_0_10_node_6 | 0.4 | n |  | TRUE
12 | bus_LV_293-19_0_10_node_27 | 0.4 | n |  | TRUE
13 | bus_LV_293-19_0_10_node_28 | 0.4 | n |  | TRUE
14 | bus_LV_293-19_0_10_node_11 | 0.4 | n |  | TRUE
15 | bus_LV_293-19_0_10_node_13 | 0.4 | n |  | TRUE
16 | bus_LV_293-19_0_10_node_8 | 0.4 | n |  | TRUE
17 | bus_LV_293-19_0_10_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_293-19_0_10_node_7 | 0.4 | n |  | TRUE
19 | bus_LV_293-19_0_10_node_30 | 0.4 | n |  | TRUE
20 | bus_LV_293-19_0_10_node_53 | 0.4 | n |  | TRUE
21 | bus_LV_293-19_0_10_node_55 | 0.4 | n |  | TRUE
22 | bus_LV_293-19_0_10_node_154 | 0.4 | n |  | TRUE
23 | bus_LV_293-19_0_10_node_58 | 0.4 | n |  | TRUE
24 | bus_LV_293-19_0_10_node_152 | 0.4 | n |  | TRUE
25 | bus_LV_293-19_0_10_node_12 | 0.4 | n |  | TRUE
26 | bus_LV_293-19_0_10_node_135 | 0.4 | n |  | TRUE
27 | bus_LV_293-19_0_10_node_134 | 0.4 | n |  | TRUE
28 | bus_LV_293-19_0_10_node_63 | 0.4 | n |  | TRUE
29 | bus_LV_293-19_0_10_node_117 | 0.4 | n |  | TRUE
30 | bus_LV_293-19_0_10_node_17 | 0.4 | n |  | TRUE
31 | bus_LV_293-19_0_10_node_61 | 0.4 | n |  | TRUE
32 | bus_LV_293-19_0_10_node_133 | 0.4 | n |  | TRUE
33 | bus_LV_293-19_0_10_node_115 | 0.4 | n |  | TRUE
34 | bus_LV_293-19_0_10_node_14 | 0.4 | n |  | TRUE
35 | bus_LV_293-19_0_10_node_16 | 0.4 | n |  | TRUE
36 | bus_LV_293-19_0_10_node_25 | 0.4 | n |  | TRUE
37 | bus_LV_293-19_0_10_node_21 | 0.4 | n |  | TRUE
38 | bus_LV_293-19_0_10_node_18 | 0.4 | n |  | TRUE
39 | bus_LV_293-19_0_10_node_20 | 0.4 | n |  | TRUE
40 | bus_LV_293-19_0_10_node_19 | 0.4 | n |  | TRUE
41 | bus_LV_293-19_0_10_node_22 | 0.4 | n |  | TRUE
42 | bus_LV_293-19_0_10_node_23 | 0.4 | n |  | TRUE
43 | bus_LV_293-19_0_10_node_24 | 0.4 | n |  | TRUE
44 | bus_LV_293-19_0_10_node_142 | 0.4 | n |  | TRUE
45 | bus_LV_293-19_0_10_node_143 | 0.4 | n |  | TRUE
46 | bus_LV_293-19_0_10_node_141 | 0.4 | n |  | TRUE
47 | bus_LV_293-19_0_10_node_144 | 0.4 | n |  | TRUE
48 | bus_LV_293-19_0_10_node_151 | 0.4 | n |  | TRUE
49 | bus_LV_293-19_0_10_node_48 | 0.4 | n |  | TRUE
50 | bus_LV_293-19_0_10_node_56 | 0.4 | n |  | TRUE
51 | bus_LV_293-19_0_10_node_32 | 0.4 | n |  | TRUE
52 | bus_LV_293-19_0_10_node_33 | 0.4 | n |  | TRUE
53 | bus_LV_293-19_0_10_node_34 | 0.4 | n |  | TRUE
54 | bus_LV_293-19_0_10_node_35 | 0.4 | n |  | TRUE
55 | bus_LV_293-19_0_10_node_36 | 0.4 | n |  | TRUE
56 | bus_LV_293-19_0_10_node_38 | 0.4 | n |  | TRUE
57 | bus_LV_293-19_0_10_node_39 | 0.4 | n |  | TRUE
58 | bus_LV_293-19_0_10_node_47 | 0.4 | n |  | TRUE
59 | bus_LV_293-19_0_10_node_49 | 0.4 | n |  | TRUE
60 | bus_LV_293-19_0_10_node_41 | 0.4 | n |  | TRUE
61 | bus_LV_293-19_0_10_node_40 | 0.4 | n |  | TRUE
62 | bus_LV_293-19_0_10_node_42 | 0.4 | n |  | TRUE
63 | bus_LV_293-19_0_10_node_46 | 0.4 | n |  | TRUE
64 | bus_LV_293-19_0_10_node_96 | 0.4 | n |  | TRUE
65 | bus_LV_293-19_0_10_node_94 | 0.4 | n |  | TRUE
66 | bus_LV_293-19_0_10_node_43 | 0.4 | n |  | TRUE
67 | bus_LV_293-19_0_10_node_44 | 0.4 | n |  | TRUE
68 | bus_LV_293-19_0_10_node_45 | 0.4 | n |  | TRUE
69 | bus_LV_293-19_0_10_node_104 | 0.4 | n |  | TRUE
70 | bus_LV_293-19_0_10_node_103 | 0.4 | n |  | TRUE
71 | bus_LV_293-19_0_10_node_51 | 0.4 | n |  | TRUE
72 | bus_LV_293-19_0_10_node_123 | 0.4 | n |  | TRUE
73 | bus_LV_293-19_0_10_node_130 | 0.4 | n |  | TRUE
74 | bus_LV_293-19_0_10_node_50 | 0.4 | n |  | TRUE
75 | bus_LV_293-19_0_10_node_68 | 0.4 | n |  | TRUE
76 | bus_LV_293-19_0_10_node_155 | 0.4 | n |  | TRUE
77 | bus_LV_293-19_0_10_node_113 | 0.4 | n |  | TRUE
78 | bus_LV_293-19_0_10_node_122 | 0.4 | n |  | TRUE
79 | bus_LV_293-19_0_10_node_86 | 0.4 | n |  | TRUE
80 | bus_LV_293-19_0_10_node_85 | 0.4 | n |  | TRUE
81 | bus_LV_293-19_0_10_node_57 | 0.4 | n |  | TRUE
82 | bus_LV_293-19_0_10_node_60 | 0.4 | n |  | TRUE
83 | bus_LV_293-19_0_10_node_59 | 0.4 | n |  | TRUE
84 | bus_LV_293-19_0_10_node_62 | 0.4 | n |  | TRUE
85 | bus_LV_293-19_0_10_node_64 | 0.4 | n |  | TRUE
86 | bus_LV_293-19_0_10_node_65 | 0.4 | n |  | TRUE
87 | bus_LV_293-19_0_10_node_66 | 0.4 | n |  | TRUE
88 | bus_LV_293-19_0_10_node_67 | 0.4 | n |  | TRUE
89 | bus_LV_293-19_0_10_node_69 | 0.4 | n |  | TRUE
90 | bus_LV_293-19_0_10_node_70 | 0.4 | n |  | TRUE
91 | bus_LV_293-19_0_10_node_72 | 0.4 | n |  | TRUE
92 | bus_LV_293-19_0_10_node_75 | 0.4 | n |  | TRUE
93 | bus_LV_293-19_0_10_node_82 | 0.4 | n |  | TRUE
94 | bus_LV_293-19_0_10_node_79 | 0.4 | n |  | TRUE
95 | bus_LV_293-19_0_10_node_71 | 0.4 | n |  | TRUE
96 | bus_LV_293-19_0_10_node_76 | 0.4 | n |  | TRUE
97 | bus_LV_293-19_0_10_node_90 | 0.4 | n |  | TRUE
98 | bus_LV_293-19_0_10_node_80 | 0.4 | n |  | TRUE
99 | bus_LV_293-19_0_10_node_73 | 0.4 | n |  | TRUE
100 | bus_LV_293-19_0_10_node_74 | 0.4 | n |  | TRUE
101 | bus_LV_293-19_0_10_node_77 | 0.4 | n |  | TRUE
102 | bus_LV_293-19_0_10_node_78 | 0.4 | n |  | TRUE
103 | bus_LV_293-19_0_10_node_87 | 0.4 | n |  | TRUE
104 | bus_LV_293-19_0_10_node_131 | 0.4 | n |  | TRUE
105 | bus_LV_293-19_0_10_node_88 | 0.4 | n |  | TRUE
106 | bus_LV_293-19_0_10_node_148 | 0.4 | n |  | TRUE
107 | bus_LV_293-19_0_10_node_121 | 0.4 | n |  | TRUE
108 | bus_LV_293-19_0_10_node_81 | 0.4 | n |  | TRUE
109 | bus_LV_293-19_0_10_node_83 | 0.4 | n |  | TRUE
110 | bus_LV_293-19_0_10_node_84 | 0.4 | n |  | TRUE
111 | bus_LV_293-19_0_10_node_91 | 0.4 | n |  | TRUE
112 | bus_LV_293-19_0_10_node_93 | 0.4 | n |  | TRUE
113 | bus_LV_293-19_0_10_node_89 | 0.4 | n |  | TRUE
114 | bus_LV_293-19_0_10_node_92 | 0.4 | n |  | TRUE
115 | bus_LV_293-19_0_10_node_95 | 0.4 | n |  | TRUE
116 | bus_LV_293-19_0_10_node_150 | 0.4 | n |  | TRUE
117 | bus_LV_293-19_0_10_node_138 | 0.4 | n |  | TRUE
118 | bus_LV_293-19_0_10_node_149 | 0.4 | n |  | TRUE
119 | bus_LV_293-19_0_10_node_137 | 0.4 | n |  | TRUE
120 | bus_LV_293-19_0_10_node_97 | 0.4 | n |  | TRUE
121 | bus_LV_293-19_0_10_node_98 | 0.4 | n |  | TRUE
122 | bus_LV_293-19_0_10_node_99 | 0.4 | n |  | TRUE
123 | bus_LV_293-19_0_10_node_100 | 0.4 | n |  | TRUE
124 | bus_LV_293-19_0_10_node_101 | 0.4 | n |  | TRUE
125 | bus_LV_293-19_0_10_node_102 | 0.4 | n |  | TRUE
126 | bus_LV_293-19_0_10_node_112 | 0.4 | n |  | TRUE
127 | bus_LV_293-19_0_10_node_127 | 0.4 | n |  | TRUE
128 | bus_LV_293-19_0_10_node_110 | 0.4 | n |  | TRUE
129 | bus_LV_293-19_0_10_node_132 | 0.4 | n |  | TRUE
130 | bus_LV_293-19_0_10_node_125 | 0.4 | n |  | TRUE
131 | bus_LV_293-19_0_10_node_105 | 0.4 | n |  | TRUE
132 | bus_LV_293-19_0_10_node_106 | 0.4 | n |  | TRUE
133 | bus_LV_293-19_0_10_node_107 | 0.4 | n |  | TRUE
134 | bus_LV_293-19_0_10_node_108 | 0.4 | n |  | TRUE
135 | bus_LV_293-19_0_10_node_109 | 0.4 | n |  | TRUE
136 | bus_LV_293-19_0_10_node_129 | 0.4 | n |  | TRUE
137 | bus_LV_293-19_0_10_node_128 | 0.4 | n |  | TRUE
138 | bus_LV_293-19_0_10_node_120 | 0.4 | n |  | TRUE
139 | bus_LV_293-19_0_10_node_111 | 0.4 | n |  | TRUE
140 | bus_LV_293-19_0_10_node_114 | 0.4 | n |  | TRUE
141 | bus_LV_293-19_0_10_node_116 | 0.4 | n |  | TRUE
142 | bus_LV_293-19_0_10_node_119 | 0.4 | n |  | TRUE
143 | bus_LV_293-19_0_10_node_118 | 0.4 | n |  | TRUE
144 | bus_LV_293-19_0_10_node_124 | 0.4 | n |  | TRUE
145 | bus_LV_293-19_0_10_node_126 | 0.4 | n |  | TRUE
146 | bus_LV_293-19_0_10_node_147 | 0.4 | n |  | TRUE
147 | bus_LV_293-19_0_10_node_136 | 0.4 | n |  | TRUE
148 | bus_LV_293-19_0_10_node_140 | 0.4 | n |  | TRUE
149 | bus_LV_293-19_0_10_node_145 | 0.4 | n |  | TRUE
150 | bus_LV_293-19_0_10_node_146 | 0.4 | n |  | TRUE
151 | bus_LV_293-19_0_10_node_156 | 0.4 | n |  | TRUE
152 | bus_LV_293-19_0_10_node_157 | 0.4 | n |  | TRUE
153 | bus_LV_293-19_0_10_node_158 | 0.4 | n |  | TRUE
154 | bus_LV_293-19_0_10_node_159 | 0.4 | n |  | TRUE
155 | bus_LV_293-19_0_10_node_160 | 0.4 | n |  | TRUE
156 | bus_LV_293-19_0_10_node_161 | 0.4 | n |  | TRUE
157 | bus_LV_293-19_0_10_node_162 | 0.4 | n |  | TRUE
158 | bus_LV_293-19_0_10_node_163 | 0.4 | n |  | TRUE
159 | bus_LV_293-19_0_10_node_164 | 0.4 | n |  | TRUE
160 | bus_LV_293-19_0_10_node_165 | 0.4 | n |  | TRUE
161 | bus_LV_293-19_0_10_node_166 | 0.4 | n |  | TRUE
162 | bus_LV_293-19_0_10_node_167 | 0.4 | n |  | TRUE
163 | bus_MV_578_1_node_175 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_293-19_0_10_load_0 | 0 | 0.061257 | 0.015352 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_293-19_0_10_load_1 | 1 | 0.010418 | 0.0026109 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_293-19_0_10_load_26 | 9 | 0.0078837 | 0.0019758 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_293-19_0_10_load_153 | 10 | 0.00073627 | 0.00018453 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_293-19_0_10_load_27 | 12 | 0.0015799 | 0.00039595 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_293-19_0_10_load_7 | 18 | 0.032876 | 0.0082396 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_293-19_0_10_load_30 | 19 | 0.036471 | 0.0091404 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_293-19_0_10_load_55 | 21 | 0.0035899 | 0.00089971 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_293-19_0_10_load_154 | 22 | 0.00066853 | 0.00016755 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_293-19_0_10_load_58 | 23 | 0.0012151 | 0.00030453 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_293-19_0_10_load_152 | 24 | 0.0098343 | 0.0024647 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_293-19_0_10_load_135 | 26 | 0.0027524 | 0.00068982 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_293-19_0_10_load_134 | 27 | 0.0020455 | 0.00051266 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_293-19_0_10_load_63 | 28 | 0.0039075 | 0.00097932 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_293-19_0_10_load_61 | 31 | 0.0039996 | 0.0010024 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_293-19_0_10_load_133 | 32 | 0.0030791 | 0.00077169 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_293-19_0_10_load_14 | 34 | 0.01408 | 0.0035289 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_293-19_0_10_load_25 | 36 | 0.0047941 | 0.0012015 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_293-19_0_10_load_18 | 38 | 0.0049361 | 0.0012371 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_293-19_0_10_load_19 | 40 | 0.010726 | 0.0026883 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_293-19_0_10_load_22 | 41 | 0.027926 | 0.0069989 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_293-19_0_10_load_23 | 42 | 0.009106 | 0.0022822 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_293-19_0_10_load_143 | 45 | 0.0099745 | 0.0024998 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_293-19_0_10_load_141 | 46 | 0.0097362 | 0.0024401 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_293-19_0_10_load_32 | 51 | 0.0035794 | 0.00089709 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_293-19_0_10_load_33 | 52 | 0.0065343 | 0.0016376 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_293-19_0_10_load_35 | 54 | 0.0029575 | 0.00074123 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_293-19_0_10_load_36 | 55 | 0.011734 | 0.0029409 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_293-19_0_10_load_38 | 56 | 0.0021676 | 0.00054324 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_293-19_0_10_load_41 | 60 | 0.0065721 | 0.0016471 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_293-19_0_10_load_42 | 62 | 0.00062184 | 0.00015585 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_293-19_0_10_load_46 | 63 | 0.0013424 | 0.00033645 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_293-19_0_10_load_96 | 64 | 0.0015732 | 0.00039428 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_293-19_0_10_load_94 | 65 | 0.004444 | 0.0011138 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_293-19_0_10_load_45 | 68 | 0.00088413 | 0.00022158 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_293-19_0_10_load_103 | 70 | 0.0029027 | 0.00072749 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_293-19_0_10_load_123 | 72 | 0.0021413 | 0.00053667 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_293-19_0_10_load_130 | 73 | 0.0029268 | 0.00073352 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_293-19_0_10_load_50 | 74 | 0.029354 | 0.0073569 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_293-19_0_10_load_68 | 75 | 0.0027166 | 0.00068085 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_293-19_0_10_load_155 | 76 | 0.0035053 | 0.00087852 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_293-19_0_10_load_113 | 77 | 0.0053673 | 0.0013452 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_293-19_0_10_load_122 | 78 | 0.0034301 | 0.00085966 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_293-19_0_10_load_86 | 79 | 0.0007688 | 0.00019268 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_293-19_0_10_load_85 | 80 | 0.0016816 | 0.00042144 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_293-19_0_10_load_57 | 81 | 0.002956 | 0.00074084 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_293-19_0_10_load_60 | 82 | 0.00095311 | 0.00023887 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_293-19_0_10_load_59 | 83 | 0.0018177 | 0.00045557 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_293-19_0_10_load_62 | 84 | 0.0053051 | 0.0013296 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_293-19_0_10_load_64 | 85 | 0.0033525 | 0.00084021 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_293-19_0_10_load_67 | 88 | 0.0028809 | 0.00072201 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_293-19_0_10_load_69 | 89 | 0.0017029 | 0.00042678 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_293-19_0_10_load_72 | 91 | 0.0011752 | 0.00029454 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_293-19_0_10_load_75 | 92 | 0.0015069 | 0.00037765 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_293-19_0_10_load_82 | 93 | 0.001318 | 0.00033033 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_293-19_0_10_load_79 | 94 | 0.0011973 | 0.00030007 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_293-19_0_10_load_71 | 95 | 0.0011752 | 0.00029453 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_293-19_0_10_load_90 | 97 | 0.0011973 | 0.00030007 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_293-19_0_10_load_80 | 98 | 0.0013179 | 0.00033031 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_293-19_0_10_load_73 | 99 | 0.00076882 | 0.00019268 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_293-19_0_10_load_74 | 100 | 0.00076815 | 0.00019252 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_293-19_0_10_load_77 | 101 | 0.0018456 | 0.00046254 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_293-19_0_10_load_87 | 103 | 0.0018194 | 0.00045599 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_293-19_0_10_load_88 | 105 | 0.00081187 | 0.00020347 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_293-19_0_10_load_148 | 106 | 0.0031155 | 0.00078083 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_293-19_0_10_load_81 | 108 | 0.0014844 | 0.00037202 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_293-19_0_10_load_83 | 109 | 0.0011667 | 0.00029241 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_293-19_0_10_load_84 | 110 | 0.0013168 | 0.00033002 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_293-19_0_10_load_91 | 111 | 0.0013168 | 0.00033002 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_293-19_0_10_load_93 | 112 | 0.00096568 | 0.00024202 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_293-19_0_10_load_89 | 113 | 0.0013895 | 0.00034824 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_293-19_0_10_load_92 | 114 | 0.0013848 | 0.00034706 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_293-19_0_10_load_95 | 115 | 0.0040627 | 0.0010182 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_293-19_0_10_load_150 | 116 | 0.0020093 | 0.00050359 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_293-19_0_10_load_149 | 118 | 0.00081247 | 0.00020362 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_293-19_0_10_load_137 | 119 | 0.0037493 | 0.00093967 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_293-19_0_10_load_97 | 120 | 0.0018597 | 0.00046609 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_293-19_0_10_load_98 | 121 | 0.0021989 | 0.00055109 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_293-19_0_10_load_100 | 123 | 0.025604 | 0.006417 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_293-19_0_10_load_101 | 124 | 0.0027648 | 0.00069294 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_293-19_0_10_load_102 | 125 | 0.0014625 | 0.00036654 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_293-19_0_10_load_112 | 126 | 0.0022909 | 0.00057415 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_293-19_0_10_load_127 | 127 | 0.0016161 | 0.00040503 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_293-19_0_10_load_110 | 128 | 0.0076688 | 0.001922 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_293-19_0_10_load_132 | 129 | 0.012694 | 0.0031815 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_293-19_0_10_load_125 | 130 | 0.001441 | 0.00036115 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_293-19_0_10_load_105 | 131 | 0.0044465 | 0.0011144 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_293-19_0_10_load_106 | 132 | 0.0022981 | 0.00057595 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_293-19_0_10_load_107 | 133 | 0.0022995 | 0.00057632 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_293-19_0_10_load_108 | 134 | 0.0028382 | 0.00071133 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_293-19_0_10_load_109 | 135 | 0.0019255 | 0.00048258 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_293-19_0_10_load_129 | 136 | 0.0023 | 0.00057643 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_293-19_0_10_load_128 | 137 | 0.0014267 | 0.00035755 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_293-19_0_10_load_120 | 138 | 0.0046483 | 0.001165 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_293-19_0_10_load_111 | 139 | 0.0023941 | 0.00060002 | 0 | 0 |  | 1 | TRUE | wye
95 | LV_293-19_0_10_load_114 | 140 | 0.0027816 | 0.00069713 | 0 | 0 |  | 1 | TRUE | wye
96 | LV_293-19_0_10_load_116 | 141 | 0.003279 | 0.0008218 | 0 | 0 |  | 1 | TRUE | wye
97 | LV_293-19_0_10_load_119 | 142 | 0.0037729 | 0.00094557 | 0 | 0 |  | 1 | TRUE | wye
98 | LV_293-19_0_10_load_118 | 143 | 0.002904 | 0.00072781 | 0 | 0 |  | 1 | TRUE | wye
99 | LV_293-19_0_10_load_124 | 144 | 0.0021173 | 0.00053064 | 0 | 0 |  | 1 | TRUE | wye
100 | LV_293-19_0_10_load_126 | 145 | 0.0022996 | 0.00057632 | 0 | 0 |  | 1 | TRUE | wye
101 | LV_293-19_0_10_load_147 | 146 | 0.0021174 | 0.00053066 | 0 | 0 |  | 1 | TRUE | wye
102 | LV_293-19_0_10_load_136 | 147 | 0.00097293 | 0.00024384 | 0 | 0 |  | 1 | TRUE | wye
103 | LV_293-19_0_10_load_140 | 148 | 0.0030797 | 0.00077183 | 0 | 0 |  | 1 | TRUE | wye
104 | LV_293-19_0_10_load_145 | 149 | 0.00079011 | 0.00019802 | 0 | 0 |  | 1 | TRUE | wye
105 | LV_293-19_0_10_load_146 | 150 | 0.00061216 | 0.00015342 | 0 | 0 |  | 1 | TRUE | wye
106 | LV_293-19_0_10_load_156 | 151 | 0.0049104 | 0.0012307 | 0 | 0 |  | 1 | TRUE | wye
107 | LV_293-19_0_10_load_158 | 153 | 0.0046269 | 0.0011596 | 0 | 0 |  | 1 | TRUE | wye
108 | LV_293-19_0_10_load_161 | 156 | 0.0037234 | 0.00093317 | 0 | 0 |  | 1 | TRUE | wye
109 | LV_293-19_0_10_load_163 | 158 | 0.0037229 | 0.00093305 | 0 | 0 |  | 1 | TRUE | wye
110 | LV_293-19_0_10_load_165 | 160 | 0.0072048 | 0.0018057 | 0 | 0 |  | 1 | TRUE | wye
111 | LV_293-19_0_10_load_166 | 161 | 0.0039182 | 0.000982 | 0 | 0 |  | 1 | TRUE | wye
112 | LV_293-19_0_10_load_167 | 162 | 0.003819 | 0.00095713 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 29 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_293-19_0_10_line_0 |  | 0 | 1 | 0.022269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_293-19_0_10_line_1 |  | 0 | 2 | 0.063436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_293-19_0_10_line_2 |  | 1 | 3 | 0.046554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_293-19_0_10_line_3 |  | 2 | 4 | 0.044459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_293-19_0_10_line_4 |  | 3 | 5 | 0.048682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_293-19_0_10_line_5 |  | 3 | 6 | 0.062497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_293-19_0_10_line_6 |  | 4 | 10 | 0.041485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_293-19_0_10_line_7 |  | 5 | 17 | 0.008215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_293-19_0_10_line_8 |  | 5 | 18 | 0.023967 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
9 | LV_293-19_0_10_line_9 |  | 6 | 19 | 0.055763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_293-19_0_10_line_10 |  | 7 | 8 | 0.022041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_293-19_0_10_line_11 |  | 7 | 9 | 0.036891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_293-19_0_10_line_12 |  | 8 | 20 | 0.053091 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_293-19_0_10_line_13 |  | 8 | 21 | 0.03258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_293-19_0_10_line_14 |  | 9 | 11 | 0.032187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_293-19_0_10_line_15 |  | 10 | 22 | 0.0094692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_293-19_0_10_line_16 |  | 11 | 12 | 0.024046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_293-19_0_10_line_17 |  | 11 | 13 | 0.006528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_293-19_0_10_line_18 |  | 12 | 23 | 0.015205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_293-19_0_10_line_19 |  | 13 | 22 | 0.0066166 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_293-19_0_10_line_20 |  | 14 | 15 | 0.006628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
21 | LV_293-19_0_10_line_21 |  | 14 | 16 | 0.026642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
22 | LV_293-19_0_10_line_22 |  | 15 | 28 | 0.022215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_293-19_0_10_line_23 |  | 15 | 29 | 0.004864 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
24 | LV_293-19_0_10_line_24 |  | 16 | 18 | 0.014428 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
25 | LV_293-19_0_10_line_25 |  | 17 | 24 | 0.017707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_293-19_0_10_line_26 |  | 20 | 49 | 0.004972 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_293-19_0_10_line_27 |  | 21 | 50 | 0.10014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_293-19_0_10_line_28 |  | 25 | 26 | 0.021007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
29 | LV_293-19_0_10_line_29 |  | 25 | 27 | 0.045267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
30 | LV_293-19_0_10_line_30 |  | 26 | 29 | 0.04601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
31 | LV_293-19_0_10_line_31 |  | 27 | 30 | 0.011509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
32 | LV_293-19_0_10_line_32 |  | 28 | 31 | 0.072257 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_293-19_0_10_line_33 |  | 29 | 32 | 0.050092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_293-19_0_10_line_34 |  | 29 | 33 | 0.010365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
35 | LV_293-19_0_10_line_35 |  | 30 | 36 | 0.026856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_293-19_0_10_line_36 |  | 30 | 35 | 0.026681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_293-19_0_10_line_37 |  | 31 | 84 | 0.024333 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_293-19_0_10_line_38 |  | 32 | 129 | 0.011997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_293-19_0_10_line_39 |  | 33 | 77 | 0.02791 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
40 | LV_293-19_0_10_line_40 |  | 34 | 35 | 0.043488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_293-19_0_10_line_41 |  | 36 | 37 | 0.012894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_293-19_0_10_line_42 |  | 37 | 41 | 0.030919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_293-19_0_10_line_43 |  | 37 | 39 | 0.021529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_293-19_0_10_line_44 |  | 38 | 39 | 0.020582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_293-19_0_10_line_45 |  | 39 | 40 | 0.039782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_293-19_0_10_line_46 |  | 41 | 42 | 0.06774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_293-19_0_10_line_47 |  | 42 | 43 | 0.066848 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_293-19_0_10_line_48 |  | 43 | 44 | 0.045868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_293-19_0_10_line_49 |  | 44 | 45 | 0.03752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_293-19_0_10_line_50 |  | 44 | 46 | 0.058598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_293-19_0_10_line_51 |  | 45 | 47 | 0.071116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_293-19_0_10_line_52 |  | 47 | 48 | 0.11759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_293-19_0_10_line_53 |  | 48 | 151 | 0.042755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_293-19_0_10_line_54 |  | 48 | 152 | 0.019411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_293-19_0_10_line_55 |  | 49 | 58 | 0.016716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_293-19_0_10_line_56 |  | 50 | 81 | 0.055185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_293-19_0_10_line_57 |  | 51 | 52 | 0.023817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_293-19_0_10_line_58 |  | 51 | 53 | 0.031935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_293-19_0_10_line_59 |  | 52 | 54 | 0.012172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_293-19_0_10_line_60 |  | 53 | 55 | 0.028294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_293-19_0_10_line_61 |  | 54 | 56 | 0.014238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_293-19_0_10_line_62 |  | 56 | 57 | 0.026743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_293-19_0_10_line_63 |  | 57 | 61 | 0.048923 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_293-19_0_10_line_64 |  | 57 | 60 | 0.072404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_293-19_0_10_line_65 |  | 58 | 59 | 0.0099564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_293-19_0_10_line_66 |  | 59 | 76 | 0.03205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_293-19_0_10_line_67 |  | 61 | 62 | 0.0062318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_293-19_0_10_line_68 |  | 62 | 66 | 0.010386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_293-19_0_10_line_69 |  | 63 | 64 | 0.02068 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_293-19_0_10_line_70 |  | 63 | 65 | 0.028395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_293-19_0_10_line_71 |  | 64 | 70 | 0.026635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_293-19_0_10_line_72 |  | 65 | 75 | 0.022035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
73 | LV_293-19_0_10_line_73 |  | 66 | 67 | 0.030148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_293-19_0_10_line_74 |  | 66 | 68 | 0.037537 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_293-19_0_10_line_75 |  | 67 | 69 | 0.003993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_293-19_0_10_line_76 |  | 67 | 70 | 0.012266 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_293-19_0_10_line_77 |  | 68 | 71 | 0.013082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_293-19_0_10_line_78 |  | 69 | 72 | 0.019375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_293-19_0_10_line_79 |  | 69 | 73 | 0.035874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_293-19_0_10_line_80 |  | 71 | 74 | 0.082897 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_293-19_0_10_line_81 |  | 72 | 78 | 0.023122 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_293-19_0_10_line_82 |  | 75 | 86 | 0.0056613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
83 | LV_293-19_0_10_line_83 |  | 77 | 140 | 0.027442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
84 | LV_293-19_0_10_line_84 |  | 79 | 80 | 0.037134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_293-19_0_10_line_85 |  | 80 | 100 | 0.0001906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_293-19_0_10_line_86 |  | 81 | 82 | 0.005834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_293-19_0_10_line_87 |  | 82 | 83 | 0.010122 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_293-19_0_10_line_88 |  | 85 | 86 | 0.012608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
89 | LV_293-19_0_10_line_89 |  | 85 | 87 | 0.043745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
90 | LV_293-19_0_10_line_90 |  | 86 | 88 | 0.023992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_293-19_0_10_line_91 |  | 87 | 89 | 0.037194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
92 | LV_293-19_0_10_line_92 |  | 87 | 90 | 0.022036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_293-19_0_10_line_93 |  | 88 | 91 | 0.014399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_293-19_0_10_line_94 |  | 89 | 92 | 0.020667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
95 | LV_293-19_0_10_line_95 |  | 90 | 93 | 0.013027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_293-19_0_10_line_96 |  | 90 | 94 | 0.0063792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_293-19_0_10_line_97 |  | 91 | 95 | 0.0047105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_293-19_0_10_line_98 |  | 92 | 96 | 0.035704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
99 | LV_293-19_0_10_line_99 |  | 93 | 97 | 0.015234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_293-19_0_10_line_100 |  | 94 | 98 | 0.0083133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_293-19_0_10_line_101 |  | 95 | 99 | 0.026372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_293-19_0_10_line_102 |  | 96 | 101 | 0.018703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_293-19_0_10_line_103 |  | 96 | 102 | 0.014648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
104 | LV_293-19_0_10_line_104 |  | 97 | 111 | 0.01411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_293-19_0_10_line_105 |  | 98 | 108 | 0.013976 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_293-19_0_10_line_106 |  | 99 | 100 | 0.0075457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_293-19_0_10_line_107 |  | 101 | 103 | 0.00071405 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_293-19_0_10_line_108 |  | 102 | 104 | 0.023978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
109 | LV_293-19_0_10_line_109 |  | 103 | 105 | 0.01546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
110 | LV_293-19_0_10_line_110 |  | 104 | 106 | 0.078047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
111 | LV_293-19_0_10_line_111 |  | 104 | 107 | 0.025694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
112 | LV_293-19_0_10_line_112 |  | 105 | 113 | 0.0052909 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
113 | LV_293-19_0_10_line_113 |  | 106 | 146 | 0.0088691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
114 | LV_293-19_0_10_line_114 |  | 107 | 138 | 0.013514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
115 | LV_293-19_0_10_line_115 |  | 107 | 135 | 0.014911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
116 | LV_293-19_0_10_line_116 |  | 108 | 109 | 0.015082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
117 | LV_293-19_0_10_line_117 |  | 109 | 110 | 0.0016186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
118 | LV_293-19_0_10_line_118 |  | 110 | 112 | 0.0019347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
119 | LV_293-19_0_10_line_119 |  | 111 | 114 | 0.025604 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
120 | LV_293-19_0_10_line_120 |  | 114 | 115 | 0.0038347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
121 | LV_293-19_0_10_line_121 |  | 115 | 116 | 0.12511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
122 | LV_293-19_0_10_line_122 |  | 116 | 118 | 0.003954 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
123 | LV_293-19_0_10_line_123 |  | 117 | 118 | 0.088018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
124 | LV_293-19_0_10_line_124 |  | 117 | 119 | 0.062809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
125 | LV_293-19_0_10_line_125 |  | 119 | 147 | 0.0017893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
126 | LV_293-19_0_10_line_126 |  | 120 | 121 | 0.019934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
127 | LV_293-19_0_10_line_127 |  | 120 | 122 | 0.024374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
128 | LV_293-19_0_10_line_128 |  | 121 | 123 | 0.0051711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
129 | LV_293-19_0_10_line_129 |  | 122 | 124 | 0.028286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
130 | LV_293-19_0_10_line_130 |  | 122 | 125 | 0.018296 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
131 | LV_293-19_0_10_line_131 |  | 123 | 126 | 0.0225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
132 | LV_293-19_0_10_line_132 |  | 125 | 127 | 0.011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
133 | LV_293-19_0_10_line_133 |  | 126 | 128 | 0.023782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
134 | LV_293-19_0_10_line_134 |  | 127 | 130 | 0.018316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
135 | LV_293-19_0_10_line_135 |  | 128 | 139 | 0.006178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
136 | LV_293-19_0_10_line_136 |  | 130 | 144 | 0.0011885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
137 | LV_293-19_0_10_line_137 |  | 131 | 132 | 0.014192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
138 | LV_293-19_0_10_line_138 |  | 131 | 133 | 0.0051557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
139 | LV_293-19_0_10_line_139 |  | 132 | 134 | 0.011698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
140 | LV_293-19_0_10_line_140 |  | 133 | 135 | 0.023243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
141 | LV_293-19_0_10_line_141 |  | 134 | 136 | 0.0073748 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
142 | LV_293-19_0_10_line_142 |  | 136 | 137 | 0.016329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
143 | LV_293-19_0_10_line_143 |  | 137 | 145 | 0.002982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
144 | LV_293-19_0_10_line_144 |  | 138 | 143 | 0.0083549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
145 | LV_293-19_0_10_line_145 |  | 140 | 141 | 0.00061368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
146 | LV_293-19_0_10_line_146 |  | 141 | 142 | 0.0019024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
147 | LV_293-19_0_10_line_147 |  | 142 | 143 | 0.022535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
148 | LV_293-19_0_10_line_148 |  | 144 | 145 | 0.016838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
149 | LV_293-19_0_10_line_149 |  | 146 | 150 | 0.020337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
150 | LV_293-19_0_10_line_150 |  | 148 | 149 | 0.035871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
151 | LV_293-19_0_10_line_151 |  | 149 | 150 | 0.0030842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
152 | LV_293-19_0_10_line_152 |  | 152 | 153 | 0.006508 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
153 | LV_293-19_0_10_line_153 |  | 152 | 154 | 0.035788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
154 | LV_293-19_0_10_line_154 |  | 154 | 155 | 0.020865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
155 | LV_293-19_0_10_line_155 |  | 154 | 156 | 0.046564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
156 | LV_293-19_0_10_line_156 |  | 155 | 157 | 0.014761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
157 | LV_293-19_0_10_line_157 |  | 155 | 158 | 0.035684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
158 | LV_293-19_0_10_line_158 |  | 157 | 159 | 0.022103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
159 | LV_293-19_0_10_line_159 |  | 157 | 160 | 0.017598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
160 | LV_293-19_0_10_line_160 |  | 159 | 161 | 0.034758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
161 | LV_293-19_0_10_line_161 |  | 159 | 162 | 0.031049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_293-19_0_10_trafo_117 | 0.63 MVA 20/0.4 kV | 163 | 29 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2692358.1845 | 1232789.9846 | 2692363.0691 | 1232768.2574
1 | 2692374.6575 | 1232841.0497 | 2692370.4467 | 1232831.822 | 2692367.9156 | 1232829.0251 | 2692353.9148 | 1232822.1471 | 2692352.0325 | 1232820.9614 | 2692351.7563 | 1232819.2448 | 2692353.3457 | 1232811.5084 | 2692358.1845 | 1232789.9846
2 | 2692400.3738 | 1232764.1272 | 2692377.3436 | 1232758.8877 | 2692367.9938 | 1232756.7854 | 2692366.084 | 1232757.3673 | 2692365.0685 | 1232759.364 | 2692363.0691 | 1232768.2574
3 | 2692374.6575 | 1232841.0497 | 2692374.9061 | 1232848.4366 | 2692379.4102 | 1232848.0508 | 2692385.8483 | 1232849.4185 | 2692398.1205 | 1232852.0333 | 2692395.2059 | 1232865.1308
4 | 2692415.264 | 1232719.1929 | 2692411.6633 | 1232737.439 | 2692408.2004 | 1232754.1305 | 2692406.2822 | 1232758.6596 | 2692403.5357 | 1232761.9192 | 2692400.3738 | 1232764.1272
5 | 2692400.3738 | 1232764.1272 | 2692461.773 | 1232775.7903
6 | 2692395.2059 | 1232865.1308 | 2692389.4351 | 1232890.4816 | 2692386.1208 | 1232905.608
7 | 2692415.264 | 1232719.1929 | 2692415.9962 | 1232715.4461 | 2692415.8526 | 1232711.0518
8 | 2692415.264 | 1232719.1929 | 2692412.874 | 1232715.1084 | 2692409.0435 | 1232711.613 | 2692404.5781 | 1232709.998 | 2692395.4668 | 1232708.1328
9 | 2692461.773 | 1232775.7903 | 2692482.6386 | 1232724.0779
10 | 2692285.9608 | 1232907.3087 | 2692307.8675 | 1232910.2621
11 | 2692307.8675 | 1232910.2621 | 2692312.7188 | 1232910.9157 | 2692344.366 | 1232915.6234
12 | 2692285.9608 | 1232907.3087 | 2692241.14 | 1232898.4956 | 2692233.8886 | 1232896.3482
13 | 2692285.9608 | 1232907.3087 | 2692287.5885 | 1232939.8481
14 | 2692376.2034 | 1232920.3531 | 2692374.8207 | 1232920.1537 | 2692344.366 | 1232915.6234
15 | 2692386.1208 | 1232905.608 | 2692384.0941 | 1232914.8578
16 | 2692376.2034 | 1232920.3531 | 2692372.4768 | 1232938.4304 | 2692371.2627 | 1232943.8853
17 | 2692382.6779 | 1232921.3211 | 2692376.2034 | 1232920.3531
18 | 2692368.0122 | 1232958.7387 | 2692369.2041 | 1232953.1346 | 2692371.2627 | 1232943.8853
19 | 2692382.6779 | 1232921.3211 | 2692384.0941 | 1232914.8578
20 | 2692389.994 | 1232671.955 | 2692386.6603 | 1232666.2213
21 | 2692386.6868 | 1232698.1114 | 2692386.3622 | 1232695.1264 | 2692387.9803 | 1232687.9797 | 2692389.8709 | 1232680.3592 | 2692390.414 | 1232676.109 | 2692389.994 | 1232671.955
22 | 2692386.6603 | 1232666.2213 | 2692370.8046 | 1232678.7729 | 2692369.2335 | 1232679.998
23 | 2692383.4764 | 1232662.5358 | 2692386.6603 | 1232666.2213
24 | 2692386.6868 | 1232698.1114 | 2692388.4764 | 1232703.7988 | 2692391.061 | 1232706.5743 | 2692395.4668 | 1232708.1328
25 | 2692415.8526 | 1232711.0518 | 2692417.996 | 1232706.6486 | 2692420.7255 | 1232694.1333
26 | 2692229.1097 | 1232894.9286 | 2692233.8886 | 1232896.3482
27 | 2692298.1578 | 1233036.1132 | 2692298.9469 | 1233032.1114 | 2692297.163 | 1233027.0356 | 2692291.4897 | 1233019.8313 | 2692290.3409 | 1233016.2775 | 2692295.7231 | 1232995.4349 | 2692292.1432 | 1232964.1235 | 2692287.7693 | 1232943.4629 | 2692287.5885 | 1232939.8481
28 | 2692445.1898 | 1232646.2946 | 2692433.5376 | 1232644.2008 | 2692424.3722 | 1232644.4111
29 | 2692445.1898 | 1232646.2946 | 2692452.4987 | 1232625.7823 | 2692455.6015 | 1232619.1036 | 2692461.3713 | 1232609.4197 | 2692464.2249 | 1232605.4924
30 | 2692383.4764 | 1232662.5358 | 2692402.7504 | 1232648.8255 | 2692409.3688 | 1232645.9152 | 2692416.5003 | 1232644.5917 | 2692424.3722 | 1232644.4111
31 | 2692470.9904 | 1232596.182 | 2692464.2249 | 1232605.4924
32 | 2692369.2335 | 1232679.998 | 2692353.5109 | 1232692.2583 | 2692343.6454 | 1232700.4221 | 2692335.2996 | 1232710.2106 | 2692327.6979 | 1232721.3339 | 2692321.6289 | 1232733.031
33 | 2692383.4764 | 1232662.5358 | 2692371.4377 | 1232644.3913 | 2692369.061 | 1232633.1129 | 2692371.4166 | 1232621.3966 | 2692374.6922 | 1232617.8335
34 | 2692375.4454 | 1232669.1158 | 2692383.4764 | 1232662.5358
35 | 2692470.9904 | 1232596.182 | 2692490.4147 | 1232577.6356
36 | 2692481.0702 | 1232618.5326 | 2692475.5158 | 1232607.0824 | 2692476.9535 | 1232600.8336 | 2692470.9904 | 1232596.182
37 | 2692321.6289 | 1232733.031 | 2692319.3996 | 1232737.3277 | 2692310.3679 | 1232754.6013
38 | 2692382.8113 | 1232609.0017 | 2692374.6922 | 1232617.8335
39 | 2692375.4454 | 1232669.1158 | 2692356.6583 | 1232648.4757
40 | 2692481.0702 | 1232618.5326 | 2692487.5091 | 1232617.432 | 2692501.0997 | 1232624.4152 | 2692501.777 | 1232630.519 | 2692494.0172 | 1232643.9766
41 | 2692499.7403 | 1232568.7317 | 2692490.4147 | 1232577.6356
42 | 2692499.7403 | 1232568.7317 | 2692523.7734 | 1232549.2799
43 | 2692514.459 | 1232584.4831 | 2692499.7403 | 1232568.7317
44 | 2692514.459 | 1232584.4831 | 2692506.5919 | 1232591.2211 | 2692498.6591 | 1232597.6707
45 | 2692514.459 | 1232584.4831 | 2692527.1721 | 1232599.6697 | 2692528.4162 | 1232605.8491 | 2692518.0986 | 1232614.821
46 | 2692579.2624 | 1232510.6726 | 2692547.077 | 1232530.4185 | 2692523.7734 | 1232549.2799
47 | 2692639.8659 | 1232482.4958 | 2692625.3731 | 1232489.1748 | 2692607.3488 | 1232497.4667 | 2692581.0484 | 1232509.5769 | 2692579.2624 | 1232510.6726
48 | 2692615.0225 | 1232477.4051 | 2692620.1287 | 1232474.8495 | 2692619.4416 | 1232473.2598 | 2692618.0599 | 1232470.5697 | 2692632.8624 | 1232464.4292 | 2692639.8659 | 1232482.4958
49 | 2692615.0225 | 1232477.4051 | 2692609.6457 | 1232465.257 | 2692606.7016 | 1232462.2312 | 2692593.0265 | 1232447.618
50 | 2692615.0225 | 1232477.4051 | 2692590.0228 | 1232488.6571 | 2692585.6768 | 1232482.2849 | 2692572.5876 | 1232462.8049
51 | 2692599.2894 | 1232393.1215 | 2692588.2476 | 1232410.1396 | 2692573.4716 | 1232426.7214 | 2692593.0265 | 1232447.618
52 | 2692544.1015 | 1232377.7289 | 2692550.3366 | 1232372.7112 | 2692555.7029 | 1232370.9602 | 2692562.1721 | 1232370.8497 | 2692570.1496 | 1232372.6085 | 2692573.0552 | 1232370.8191 | 2692577.2419 | 1232365.5583 | 2692583.1002 | 1232352.1621 | 2692599.9516 | 1232358.8961 | 2692613.8007 | 1232365.839 | 2692599.2894 | 1232393.1215
53 | 2692544.1015 | 1232377.7289 | 2692544.1245 | 1232383.0553 | 2692545.1905 | 1232387.0637 | 2692548.6423 | 1232395.9127 | 2692549.4799 | 1232401.4519 | 2692548.9914 | 1232406.5591 | 2692545.1073 | 1232412.3361 | 2692544.0234 | 1232415.7995 | 2692544.2957 | 1232418.25
54 | 2692544.1015 | 1232377.7289 | 2692530.0312 | 1232384.9818 | 2692527.5292 | 1232387.6003
55 | 2692220.3918 | 1232909.2037 | 2692229.1097 | 1232894.9286
56 | 2692298.1578 | 1233036.1132 | 2692305.8177 | 1233026.0916 | 2692311.6719 | 1233001.676 | 2692322.2758 | 1232987.8009
57 | 2692182.1727 | 1232764.4075 | 2692168.7159 | 1232764.8316 | 2692164.8337 | 1232766.6171 | 2692161.7391 | 1232771.8511
58 | 2692145.4854 | 1232799.3408 | 2692161.7391 | 1232771.8511
59 | 2692182.1727 | 1232764.4075 | 2692182.6639 | 1232764.392 | 2692188.5473 | 1232764.9169 | 2692191.3939 | 1232765.9396 | 2692193.5869 | 1232767.597
60 | 2692145.4854 | 1232799.3408 | 2692151.01 | 1232814.2038 | 2692159.448 | 1232823.3411
61 | 2692203.8322 | 1232758.3604 | 2692203.8322 | 1232758.3604 | 2692203.1556 | 1232760.4847 | 2692201.6198 | 1232762.34 | 2692199.126 | 1232763.9581 | 2692193.5869 | 1232767.597 | 2692193.5869 | 1232767.597
62 | 2692206.3355 | 1232731.7356 | 2692205.5407 | 1232741.4747 | 2692204.21 | 1232754.5079 | 2692203.8322 | 1232758.3604
63 | 2692254.5151 | 1232727.202 | 2692237.1033 | 1232732.2243 | 2692226.914 | 1232733.456 | 2692216.9684 | 1232733.1459 | 2692206.3355 | 1232731.7356
64 | 2692206.3355 | 1232731.7356 | 2692187.7133 | 1232730.3346 | 2692172.5709 | 1232731.1226 | 2692161.6868 | 1232733.2109 | 2692147.0835 | 1232737.8101 | 2692135.8512 | 1232742.5026
65 | 2692220.3918 | 1232909.2037 | 2692217.4963 | 1232913.7732 | 2692221.3123 | 1232916.2453
66 | 2692248.2795 | 1232933.6873 | 2692221.3123 | 1232916.2453
67 | 2692254.5151 | 1232727.202 | 2692260.6227 | 1232725.9641
68 | 2692270.8316 | 1232725.9098 | 2692267.8293 | 1232725.1627 | 2692264.8085 | 1232725.1158 | 2692260.6227 | 1232725.9641
69 | 2692214.5838 | 1232697.4833 | 2692235.1904 | 1232699.2279
70 | 2692214.5838 | 1232697.4833 | 2692186.268 | 1232695.3665
71 | 2692235.1904 | 1232699.2279 | 2692247.8751 | 1232700.3018 | 2692254.5719 | 1232700.6282 | 2692261.7059 | 1232699.6527
72 | 2692164.2939 | 1232693.7238 | 2692186.268 | 1232695.3665
73 | 2692270.8316 | 1232725.9098 | 2692274.1714 | 1232720.0463 | 2692273.5806 | 1232696.6537
74 | 2692270.8316 | 1232725.9098 | 2692274.3488 | 1232729.5893 | 2692277.3756 | 1232735.0958 | 2692282.1587 | 1232744.5435 | 2692289.1486 | 1232742.0836 | 2692295.812 | 1232741.1419 | 2692297.2445 | 1232741.2075
75 | 2692277.4724 | 1232695.7134 | 2692273.5806 | 1232696.6537
76 | 2692273.5806 | 1232696.6537 | 2692264.0655 | 1232699.3301 | 2692261.7059 | 1232699.6527
77 | 2692309.9945 | 1232743.6528 | 2692302.8042 | 1232741.4618 | 2692297.2445 | 1232741.2075
78 | 2692277.4724 | 1232695.7134 | 2692296.6385 | 1232698.5498
79 | 2692277.4724 | 1232695.7134 | 2692274.9453 | 1232673.636 | 2692274.0574 | 1232660.0125
80 | 2692309.9945 | 1232743.6528 | 2692305.3205 | 1232752.0419 | 2692294.9886 | 1232772.2071 | 2692283.6421 | 1232795.7813 | 2692272.509 | 1232817.5751
81 | 2692319.5112 | 1232701.9347 | 2692296.6385 | 1232698.5498
82 | 2692158.6484 | 1232693.3018 | 2692164.2939 | 1232693.7238
83 | 2692356.6583 | 1232648.4757 | 2692338.1865 | 1232628.1821
84 | 2692086.8041 | 1232720.7777 | 2692077.5066 | 1232722.1319 | 2692064.624 | 1232723.1998 | 2692053.5897 | 1232722.7731 | 2692049.8518 | 1232722.2882
85 | 2692086.9927 | 1232720.7502 | 2692086.8041 | 1232720.7777
86 | 2692325.8183 | 1232983.1656 | 2692322.2758 | 1232987.8009
87 | 2692325.8183 | 1232983.1656 | 2692329.9291 | 1232977.7867 | 2692329.8889 | 1232974.4345
88 | 2692158.6484 | 1232693.3018 | 2692159.7671 | 1232680.7434
89 | 2692191.5872 | 1232651.9827 | 2692165.1658 | 1232671.0201 | 2692161.9748 | 1232675.5961 | 2692159.7671 | 1232680.7434
90 | 2692158.6484 | 1232693.3018 | 2692143.6701 | 1232697.1724 | 2692135.9456 | 1232700.7712
91 | 2692191.5872 | 1232651.9827 | 2692212.3151 | 1232637.7606 | 2692222.2057 | 1232630.8667
92 | 2692180.3559 | 1232633.006 | 2692191.5872 | 1232651.9827
93 | 2692122.8686 | 1232706.7977 | 2692129.6272 | 1232703.715 | 2692135.9456 | 1232700.7712
94 | 2692239.1605 | 1232619.049 | 2692222.2057 | 1232630.8667
95 | 2692180.3559 | 1232633.006 | 2692168.8098 | 1232639.039
96 | 2692180.3559 | 1232633.006 | 2692185.033 | 1232628.668
97 | 2692118.5829 | 1232708.7526 | 2692122.8686 | 1232706.7977
98 | 2692269.8035 | 1232600.9817 | 2692264.8736 | 1232602.9288 | 2692254.2298 | 1232608.5454 | 2692239.1605 | 1232619.049
99 | 2692155.308 | 1232646.0937 | 2692168.8098 | 1232639.039
100 | 2692185.033 | 1232628.668 | 2692191.1281 | 1232623.0146
101 | 2692118.5829 | 1232708.7526 | 2692100.6994 | 1232716.9096 | 2692094.2891 | 1232718.9132
102 | 2692269.8035 | 1232600.9817 | 2692268.3418 | 1232597.5788 | 2692262.0418 | 1232583.9668
103 | 2692284.1753 | 1232599.1257 | 2692278.8413 | 1232598.8093 | 2692272.935 | 1232599.7516 | 2692269.8035 | 1232600.9817
104 | 2692155.308 | 1232646.0937 | 2692149.7485 | 1232648.9986 | 2692141.9159 | 1232648.7158
105 | 2692198.2109 | 1232612.9897 | 2692199.4569 | 1232615.2895 | 2692191.1281 | 1232623.0146
106 | 2692086.9927 | 1232720.7502 | 2692089.6503 | 1232720.3631 | 2692094.2891 | 1232718.9132
107 | 2692261.7419 | 1232583.3187 | 2692262.0418 | 1232583.9668
108 | 2692284.1753 | 1232599.1257 | 2692286.0006 | 1232595.696 | 2692287.9772 | 1232575.7011
109 | 2692261.7419 | 1232583.3187 | 2692255.2484 | 1232569.2885
110 | 2692287.9772 | 1232575.7011 | 2692284.52 | 1232566.6965 | 2692278.8205 | 1232551.8863 | 2692274.0879 | 1232541.1273 | 2692271.1188 | 1232531.4076 | 2692269.5057 | 1232510.9345 | 2692268.9611 | 1232504.0655 | 2692267.4535 | 1232501.2566
111 | 2692306.357 | 1232593.7106 | 2692287.9772 | 1232575.7011
112 | 2692258.6048 | 1232565.2822 | 2692257.6305 | 1232567.0684 | 2692255.2484 | 1232569.2885
113 | 2692263.259 | 1232493.442 | 2692267.4535 | 1232501.2566
114 | 2692306.357 | 1232593.7106 | 2692315.5962 | 1232603.5733
115 | 2692306.357 | 1232593.7106 | 2692319.2222 | 1232586.1716
116 | 2692198.2109 | 1232612.9897 | 2692191.0266 | 1232599.7289
117 | 2692190.2556 | 1232598.3058 | 2692191.0266 | 1232599.7289
118 | 2692190.2556 | 1232598.3058 | 2692189.334 | 1232596.6047
119 | 2692116.3283 | 1232647.792 | 2692141.9159 | 1232648.7158
120 | 2692112.4961 | 1232647.6536 | 2692116.3283 | 1232647.792
121 | 2692112.4961 | 1232647.6536 | 2692009.6324 | 1232576.4428
122 | 2692010.4255 | 1232572.5692 | 2692009.6324 | 1232576.4428
123 | 2692032.8498 | 1232488.5167 | 2692029.5554 | 1232498.3061 | 2692026.2241 | 1232526.6082 | 2692023.8953 | 1232542.0166 | 2692020.0046 | 1232551.6744 | 2692016.3978 | 1232560.6139 | 2692011.2299 | 1232568.6397 | 2692010.4255 | 1232572.5692
124 | 2692032.8498 | 1232488.5167 | 2692050.5944 | 1232487.4685 | 2692056.6715 | 1232485.2832 | 2692062.5506 | 1232481.2158 | 2692067.0644 | 1232477.7721 | 2692074.0082 | 1232476.8345 | 2692085.8208 | 1232476.9175 | 2692092.7502 | 1232476.9686
125 | 2692094.5386 | 1232476.9501 | 2692094.029 | 1232476.9781 | 2692092.7502 | 1232476.9686
126 | 2692468.6291 | 1232519.8967 | 2692484.8447 | 1232508.3025
127 | 2692450.1743 | 1232535.7258 | 2692460.8606 | 1232525.4512 | 2692468.6291 | 1232519.8967
128 | 2692489.0512 | 1232505.2949 | 2692484.8447 | 1232508.3025
129 | 2692450.1743 | 1232535.7258 | 2692431.0307 | 1232556.5497
130 | 2692450.1743 | 1232535.7258 | 2692443.5198 | 1232530.2406 | 2692433.9633 | 1232528.7464
131 | 2692489.0512 | 1232505.2949 | 2692507.3538 | 1232492.2084
132 | 2692424.1166 | 1232533.6506 | 2692433.9633 | 1232528.7464
133 | 2692526.6997 | 1232478.3761 | 2692507.3538 | 1232492.2084
134 | 2692407.7218 | 1232541.8161 | 2692424.1166 | 1232533.6506
135 | 2692526.6997 | 1232478.3761 | 2692531.7253 | 1232474.7828
136 | 2692406.658 | 1232542.3459 | 2692407.7218 | 1232541.8161
137 | 2692344.5237 | 1232573.2922 | 2692357.2272 | 1232566.9652
138 | 2692344.5237 | 1232573.2922 | 2692339.9087 | 1232575.5907
139 | 2692357.2272 | 1232566.9652 | 2692367.6986 | 1232561.7498
140 | 2692339.9087 | 1232575.5907 | 2692322.3832 | 1232584.3193 | 2692319.2222 | 1232586.1716
141 | 2692374.2999 | 1232558.462 | 2692367.6986 | 1232561.7498
142 | 2692374.2999 | 1232558.462 | 2692388.9168 | 1232551.182
143 | 2692391.5861 | 1232549.8526 | 2692388.9168 | 1232551.182
144 | 2692321.3081 | 1232609.6708 | 2692315.5962 | 1232603.5733
145 | 2692337.7734 | 1232627.7282 | 2692338.1865 | 1232628.1821
146 | 2692337.7734 | 1232627.7282 | 2692336.4928 | 1232626.3214
147 | 2692321.3081 | 1232609.6708 | 2692322.3282 | 1232610.7597 | 2692336.4928 | 1232626.3214
148 | 2692406.658 | 1232542.3459 | 2692391.5861 | 1232549.8526
149 | 2692253.6412 | 1232475.5232 | 2692263.259 | 1232493.442
150 | 2692252.1826 | 1232472.8057 | 2692247.4698 | 1232464.0254 | 2692245.512 | 1232460.3813 | 2692242.1171 | 1232443.939 | 2692239.3484 | 1232439.7993
151 | 2692252.1826 | 1232472.8057 | 2692253.6412 | 1232475.5232
152 | 2692527.5292 | 1232387.6003 | 2692526.03 | 1232391.4686 | 2692525.8873 | 1232393.8236
153 | 2692527.5292 | 1232387.6003 | 2692522.2599 | 1232387.0067 | 2692516.853 | 1232386.9892 | 2692511.0341 | 1232388.6221 | 2692507.9118 | 1232391.1976 | 2692499.2907 | 1232403.539
154 | 2692499.2907 | 1232403.539 | 2692496.7068 | 1232407.5239 | 2692491.3786 | 1232412.1777 | 2692486.8891 | 1232414.0425 | 2692482.8345 | 1232415.2025
155 | 2692499.2907 | 1232403.539 | 2692503.0554 | 1232406.3996 | 2692511.5789 | 1232418.8079 | 2692512.1978 | 1232420.3964 | 2692512.0194 | 1232422.6175 | 2692506.0686 | 1232435.1561 | 2692504.32 | 1232436.5632 | 2692502.2236 | 1232436.9643 | 2692498.0052 | 1232435.0306
156 | 2692482.8345 | 1232415.2025 | 2692477.1631 | 1232414.1802 | 2692469.1709 | 1232409.964
157 | 2692482.8345 | 1232415.2025 | 2692482.434 | 1232418.065 | 2692474.1617 | 1232440.6081 | 2692472.5591 | 1232441.8841 | 2692470.3155 | 1232442.4941 | 2692466.0957 | 1232441.1386
158 | 2692469.1709 | 1232409.964 | 2692466.3083 | 1232413.3663 | 2692462.0752 | 1232417.2477 | 2692456.6903 | 1232420.6776 | 2692451.2708 | 1232421.9609
159 | 2692469.1709 | 1232409.964 | 2692470.4781 | 1232404.3136 | 2692470.234 | 1232401.5077 | 2692468.975 | 1232399.1976 | 2692462.9644 | 1232397.0915
160 | 2692451.2708 | 1232421.9609 | 2692446.8448 | 1232419.7349 | 2692442.3633 | 1232416.2182 | 2692439.7025 | 1232411.5179 | 2692438.96 | 1232403.7563 | 2692437.3019 | 1232399.3496 | 2692434.9591 | 1232397.0893 | 2692432.013 | 1232396.6099
161 | 2692451.2708 | 1232421.9609 | 2692445.0456 | 1232442.8903 | 2692443.7231 | 1232444.6599 | 2692440.9007 | 1232445.4832 | 2692436.9567 | 1232444.41

## bus_geodata
| x | y | coords
0 | 2692358.1845 | 1232789.9846
1 | 2692363.0691 | 1232768.2574
2 | 2692374.6575 | 1232841.0497
3 | 2692400.3738 | 1232764.1272
4 | 2692395.2059 | 1232865.1308
5 | 2692415.264 | 1232719.1929
6 | 2692461.773 | 1232775.7903
7 | 2692307.8675 | 1232910.2621
8 | 2692285.9608 | 1232907.3087
9 | 2692344.366 | 1232915.6234
10 | 2692386.1208 | 1232905.608
11 | 2692376.2034 | 1232920.3531
12 | 2692371.2627 | 1232943.8853
13 | 2692382.6779 | 1232921.3211
14 | 2692389.994 | 1232671.955
15 | 2692386.6603 | 1232666.2213
16 | 2692386.6868 | 1232698.1114
17 | 2692415.8526 | 1232711.0518
18 | 2692395.4668 | 1232708.1328
19 | 2692482.6386 | 1232724.0779
20 | 2692233.8886 | 1232896.3482
21 | 2692287.5885 | 1232939.8481
22 | 2692384.0941 | 1232914.8578
23 | 2692368.0122 | 1232958.7387
24 | 2692420.7255 | 1232694.1333
25 | 2692445.1898 | 1232646.2946
26 | 2692424.3722 | 1232644.4111
27 | 2692464.2249 | 1232605.4924
28 | 2692369.2335 | 1232679.998
29 | 2692383.4764 | 1232662.5358
30 | 2692470.9904 | 1232596.182
31 | 2692321.6289 | 1232733.031
32 | 2692374.6922 | 1232617.8335
33 | 2692375.4454 | 1232669.1158
34 | 2692494.0172 | 1232643.9766
35 | 2692481.0702 | 1232618.5326
36 | 2692490.4147 | 1232577.6356
37 | 2692499.7403 | 1232568.7317
38 | 2692498.6591 | 1232597.6707
39 | 2692514.459 | 1232584.4831
40 | 2692518.0986 | 1232614.821
41 | 2692523.7734 | 1232549.2799
42 | 2692579.2624 | 1232510.6726
43 | 2692639.8659 | 1232482.4958
44 | 2692615.0225 | 1232477.4051
45 | 2692593.0265 | 1232447.618
46 | 2692572.5876 | 1232462.8049
47 | 2692599.2894 | 1232393.1215
48 | 2692544.1015 | 1232377.7289
49 | 2692229.1097 | 1232894.9286
50 | 2692298.1578 | 1233036.1132
51 | 2692161.7391 | 1232771.8511
52 | 2692182.1727 | 1232764.4075
53 | 2692145.4854 | 1232799.3408
54 | 2692193.5869 | 1232767.597
55 | 2692159.448 | 1232823.3411
56 | 2692203.8322 | 1232758.3604
57 | 2692206.3355 | 1232731.7356
58 | 2692220.3918 | 1232909.2037
59 | 2692221.3123 | 1232916.2453
60 | 2692135.8512 | 1232742.5026
61 | 2692254.5151 | 1232727.202
62 | 2692260.6227 | 1232725.9641
63 | 2692214.5837 | 1232697.4833
64 | 2692235.1904 | 1232699.2279
65 | 2692186.268 | 1232695.3665
66 | 2692270.8316 | 1232725.9098
67 | 2692273.5806 | 1232696.6537
68 | 2692297.2445 | 1232741.2075
69 | 2692277.4724 | 1232695.7134
70 | 2692261.7059 | 1232699.6527
71 | 2692309.9945 | 1232743.6528
72 | 2692296.6385 | 1232698.5498
73 | 2692274.0574 | 1232660.0125
74 | 2692272.509 | 1232817.5751
75 | 2692164.2939 | 1232693.7238
76 | 2692248.2795 | 1232933.6873
77 | 2692356.6583 | 1232648.4757
78 | 2692319.5112 | 1232701.9347
79 | 2692049.8518 | 1232722.2882
80 | 2692086.8041 | 1232720.7777
81 | 2692322.2758 | 1232987.8009
82 | 2692325.8183 | 1232983.1656
83 | 2692329.8889 | 1232974.4346
84 | 2692310.3679 | 1232754.6013
85 | 2692159.7671 | 1232680.7434
86 | 2692158.6484 | 1232693.3018
87 | 2692191.5872 | 1232651.9827
88 | 2692135.9456 | 1232700.7712
89 | 2692222.2057 | 1232630.8667
90 | 2692180.3559 | 1232633.006
91 | 2692122.8686 | 1232706.7977
92 | 2692239.1605 | 1232619.049
93 | 2692168.8098 | 1232639.039
94 | 2692185.033 | 1232628.668
95 | 2692118.5829 | 1232708.7526
96 | 2692269.8035 | 1232600.9817
97 | 2692155.308 | 1232646.0937
98 | 2692191.1281 | 1232623.0146
99 | 2692094.2891 | 1232718.9132
100 | 2692086.9927 | 1232720.7502
101 | 2692262.0418 | 1232583.9668
102 | 2692284.1753 | 1232599.1257
103 | 2692261.7419 | 1232583.3187
104 | 2692287.9772 | 1232575.7011
105 | 2692255.2484 | 1232569.2885
106 | 2692267.4535 | 1232501.2566
107 | 2692306.357 | 1232593.7106
108 | 2692198.2109 | 1232612.9897
109 | 2692191.0266 | 1232599.7289
110 | 2692190.2556 | 1232598.3058
111 | 2692141.9159 | 1232648.7158
112 | 2692189.334 | 1232596.6047
113 | 2692258.6048 | 1232565.2822
114 | 2692116.3283 | 1232647.792
115 | 2692112.4961 | 1232647.6536
116 | 2692009.6324 | 1232576.4428
117 | 2692032.8498 | 1232488.5167
118 | 2692010.4255 | 1232572.5692
119 | 2692092.7502 | 1232476.9686
120 | 2692468.6291 | 1232519.8967
121 | 2692484.8447 | 1232508.3025
122 | 2692450.1743 | 1232535.7258
123 | 2692489.0512 | 1232505.2949
124 | 2692431.0307 | 1232556.5497
125 | 2692433.9633 | 1232528.7464
126 | 2692507.3538 | 1232492.2084
127 | 2692424.1166 | 1232533.6506
128 | 2692526.6997 | 1232478.3761
129 | 2692382.8113 | 1232609.0017
130 | 2692407.7218 | 1232541.8161
131 | 2692344.5237 | 1232573.2922
132 | 2692357.2272 | 1232566.9652
133 | 2692339.9087 | 1232575.5907
134 | 2692367.6986 | 1232561.7498
135 | 2692319.2222 | 1232586.1716
136 | 2692374.2999 | 1232558.462
137 | 2692388.9168 | 1232551.182
138 | 2692315.5962 | 1232603.5733
139 | 2692531.7253 | 1232474.7828
140 | 2692338.1865 | 1232628.1821
141 | 2692337.7734 | 1232627.7282
142 | 2692336.4928 | 1232626.3214
143 | 2692321.3081 | 1232609.6708
144 | 2692406.658 | 1232542.3459
145 | 2692391.5861 | 1232549.8526
146 | 2692263.259 | 1232493.442
147 | 2692094.5386 | 1232476.9501
148 | 2692239.3484 | 1232439.7993
149 | 2692252.1826 | 1232472.8057
150 | 2692253.6412 | 1232475.5232
151 | 2692544.2957 | 1232418.25
152 | 2692527.5292 | 1232387.6003
153 | 2692525.8873 | 1232393.8236
154 | 2692499.2907 | 1232403.539
155 | 2692482.8345 | 1232415.2025
156 | 2692498.0052 | 1232435.0306
157 | 2692469.1709 | 1232409.964
158 | 2692466.0957 | 1232441.1386
159 | 2692451.2708 | 1232421.9609
160 | 2692462.9644 | 1232397.0915
161 | 2692432.013 | 1232396.6099
162 | 2692436.9567 | 1232444.41
163 | 2692386.6603 | 1232666.2213

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1