## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_293-21_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_293-21_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_293-21_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_293-21_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_293-21_0_6_node_9 | 0.4 | n |  | TRUE
5 | bus_LV_293-21_0_6_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_293-21_0_6_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_293-21_0_6_node_25 | 0.4 | n |  | TRUE
8 | bus_LV_293-21_0_6_node_35 | 0.4 | n |  | TRUE
9 | bus_LV_293-21_0_6_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_293-21_0_6_node_99 | 0.4 | n |  | TRUE
11 | bus_LV_293-21_0_6_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_293-21_0_6_node_15 | 0.4 | n |  | TRUE
13 | bus_LV_293-21_0_6_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_293-21_0_6_node_11 | 0.4 | n |  | TRUE
15 | bus_LV_293-21_0_6_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_293-21_0_6_node_12 | 0.4 | n |  | TRUE
17 | bus_LV_293-21_0_6_node_21 | 0.4 | n |  | TRUE
18 | bus_LV_293-21_0_6_node_108 | 0.4 | n |  | TRUE
19 | bus_LV_293-21_0_6_node_14 | 0.4 | n |  | TRUE
20 | bus_LV_293-21_0_6_node_38 | 0.4 | n |  | TRUE
21 | bus_LV_293-21_0_6_node_40 | 0.4 | n |  | TRUE
22 | bus_LV_293-21_0_6_node_39 | 0.4 | n |  | TRUE
23 | bus_LV_293-21_0_6_node_24 | 0.4 | n |  | TRUE
24 | bus_LV_293-21_0_6_node_16 | 0.4 | n |  | TRUE
25 | bus_LV_293-21_0_6_node_17 | 0.4 | n |  | TRUE
26 | bus_LV_293-21_0_6_node_18 | 0.4 | n |  | TRUE
27 | bus_LV_293-21_0_6_node_32 | 0.4 | n |  | TRUE
28 | bus_LV_293-21_0_6_node_31 | 0.4 | n |  | TRUE
29 | bus_LV_293-21_0_6_node_33 | 0.4 | n |  | TRUE
30 | bus_LV_293-21_0_6_node_30 | 0.4 | n |  | TRUE
31 | bus_LV_293-21_0_6_node_19 | 0.4 | n |  | TRUE
32 | bus_LV_293-21_0_6_node_20 | 0.4 | n |  | TRUE
33 | bus_LV_293-21_0_6_node_22 | 0.4 | n |  | TRUE
34 | bus_LV_293-21_0_6_node_23 | 0.4 | n |  | TRUE
35 | bus_LV_293-21_0_6_node_41 | 0.4 | n |  | TRUE
36 | bus_LV_293-21_0_6_node_42 | 0.4 | n |  | TRUE
37 | bus_LV_293-21_0_6_node_54 | 0.4 | n |  | TRUE
38 | bus_LV_293-21_0_6_node_57 | 0.4 | n |  | TRUE
39 | bus_LV_293-21_0_6_node_26 | 0.4 | n |  | TRUE
40 | bus_LV_293-21_0_6_node_27 | 0.4 | n |  | TRUE
41 | bus_LV_293-21_0_6_node_29 | 0.4 | n |  | TRUE
42 | bus_LV_293-21_0_6_node_43 | 0.4 | n |  | TRUE
43 | bus_LV_293-21_0_6_node_44 | 0.4 | n |  | TRUE
44 | bus_LV_293-21_0_6_node_55 | 0.4 | n |  | TRUE
45 | bus_LV_293-21_0_6_node_46 | 0.4 | n |  | TRUE
46 | bus_LV_293-21_0_6_node_53 | 0.4 | n |  | TRUE
47 | bus_LV_293-21_0_6_node_45 | 0.4 | n |  | TRUE
48 | bus_LV_293-21_0_6_node_65 | 0.4 | n |  | TRUE
49 | bus_LV_293-21_0_6_node_64 | 0.4 | n |  | TRUE
50 | bus_LV_293-21_0_6_node_89 | 0.4 | n |  | TRUE
51 | bus_LV_293-21_0_6_node_95 | 0.4 | n |  | TRUE
52 | bus_LV_293-21_0_6_node_66 | 0.4 | n |  | TRUE
53 | bus_LV_293-21_0_6_node_67 | 0.4 | n |  | TRUE
54 | bus_LV_293-21_0_6_node_63 | 0.4 | n |  | TRUE
55 | bus_LV_293-21_0_6_node_94 | 0.4 | n |  | TRUE
56 | bus_LV_293-21_0_6_node_105 | 0.4 | n |  | TRUE
57 | bus_LV_293-21_0_6_node_93 | 0.4 | n |  | TRUE
58 | bus_LV_293-21_0_6_node_49 | 0.4 | n |  | TRUE
59 | bus_LV_293-21_0_6_node_50 | 0.4 | n |  | TRUE
60 | bus_LV_293-21_0_6_node_51 | 0.4 | n |  | TRUE
61 | bus_LV_293-21_0_6_node_58 | 0.4 | n |  | TRUE
62 | bus_LV_293-21_0_6_node_60 | 0.4 | n |  | TRUE
63 | bus_LV_293-21_0_6_node_56 | 0.4 | n |  | TRUE
64 | bus_LV_293-21_0_6_node_62 | 0.4 | n |  | TRUE
65 | bus_LV_293-21_0_6_node_100 | 0.4 | n |  | TRUE
66 | bus_LV_293-21_0_6_node_106 | 0.4 | n |  | TRUE
67 | bus_LV_293-21_0_6_node_107 | 0.4 | n |  | TRUE
68 | bus_LV_293-21_0_6_node_59 | 0.4 | n |  | TRUE
69 | bus_LV_293-21_0_6_node_68 | 0.4 | n |  | TRUE
70 | bus_LV_293-21_0_6_node_61 | 0.4 | n |  | TRUE
71 | bus_LV_293-21_0_6_node_91 | 0.4 | n |  | TRUE
72 | bus_LV_293-21_0_6_node_102 | 0.4 | n |  | TRUE
73 | bus_LV_293-21_0_6_node_86 | 0.4 | n |  | TRUE
74 | bus_LV_293-21_0_6_node_97 | 0.4 | n |  | TRUE
75 | bus_LV_293-21_0_6_node_104 | 0.4 | n |  | TRUE
76 | bus_LV_293-21_0_6_node_103 | 0.4 | n |  | TRUE
77 | bus_LV_293-21_0_6_node_84 | 0.4 | n |  | TRUE
78 | bus_LV_293-21_0_6_node_73 | 0.4 | n |  | TRUE
79 | bus_LV_293-21_0_6_node_88 | 0.4 | n |  | TRUE
80 | bus_LV_293-21_0_6_node_83 | 0.4 | n |  | TRUE
81 | bus_LV_293-21_0_6_node_101 | 0.4 | n |  | TRUE
82 | bus_LV_293-21_0_6_node_81 | 0.4 | n |  | TRUE
83 | bus_LV_293-21_0_6_node_69 | 0.4 | n |  | TRUE
84 | bus_LV_293-21_0_6_node_70 | 0.4 | n |  | TRUE
85 | bus_LV_293-21_0_6_node_71 | 0.4 | n |  | TRUE
86 | bus_LV_293-21_0_6_node_72 | 0.4 | n |  | TRUE
87 | bus_LV_293-21_0_6_node_74 | 0.4 | n |  | TRUE
88 | bus_LV_293-21_0_6_node_75 | 0.4 | n |  | TRUE
89 | bus_LV_293-21_0_6_node_85 | 0.4 | n |  | TRUE
90 | bus_LV_293-21_0_6_node_76 | 0.4 | n |  | TRUE
91 | bus_LV_293-21_0_6_node_96 | 0.4 | n |  | TRUE
92 | bus_LV_293-21_0_6_node_82 | 0.4 | n |  | TRUE
93 | bus_LV_293-21_0_6_node_92 | 0.4 | n |  | TRUE
94 | bus_LV_293-21_0_6_node_78 | 0.4 | n |  | TRUE
95 | bus_LV_293-21_0_6_node_79 | 0.4 | n |  | TRUE
96 | bus_LV_293-21_0_6_node_80 | 0.4 | n |  | TRUE
97 | bus_LV_293-21_0_6_node_87 | 0.4 | n |  | TRUE
98 | bus_LV_293-21_0_6_node_90 | 0.4 | n |  | TRUE
99 | bus_MV_578_1_node_192 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_293-21_0_6_load_0 | 0 | 0.014966 | 0.0037509 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_293-21_0_6_load_3 | 3 | 0.0079212 | 0.0019852 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_293-21_0_6_load_9 | 4 | 0.0015424 | 0.00038657 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_293-21_0_6_load_4 | 6 | 0.025981 | 0.0065115 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_293-21_0_6_load_25 | 7 | 0.0047002 | 0.001178 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_293-21_0_6_load_99 | 10 | 0.0061018 | 0.0015293 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_293-21_0_6_load_15 | 12 | 0.019327 | 0.0048439 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_293-21_0_6_load_11 | 14 | 0.0072859 | 0.001826 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_293-21_0_6_load_12 | 16 | 0.0053236 | 0.0013342 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_293-21_0_6_load_108 | 18 | 0.0014724 | 0.00036901 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_293-21_0_6_load_14 | 19 | 0.009428 | 0.0023629 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_293-21_0_6_load_40 | 21 | 0.0078764 | 0.001974 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_293-21_0_6_load_39 | 22 | 0.018818 | 0.0047161 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_293-21_0_6_load_24 | 23 | 0.0073201 | 0.0018346 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_293-21_0_6_load_17 | 25 | 0.0014564 | 0.00036502 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_293-21_0_6_load_18 | 26 | 0.0020049 | 0.00050248 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_293-21_0_6_load_32 | 27 | 0.0015089 | 0.00037816 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_293-21_0_6_load_31 | 28 | 0.0012011 | 0.00030103 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_293-21_0_6_load_30 | 30 | 0.0027748 | 0.00069542 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_293-21_0_6_load_19 | 31 | 0.0026412 | 0.00066196 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_293-21_0_6_load_20 | 32 | 0.0040761 | 0.0010216 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_293-21_0_6_load_22 | 33 | 0.0037524 | 0.00094044 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_293-21_0_6_load_41 | 35 | 0.015601 | 0.0039101 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_293-21_0_6_load_42 | 36 | 0.011536 | 0.0028913 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_293-21_0_6_load_54 | 37 | 0.0056241 | 0.0014095 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_293-21_0_6_load_57 | 38 | 0.011233 | 0.0028152 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_293-21_0_6_load_26 | 39 | 0.0010316 | 0.00025853 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_293-21_0_6_load_27 | 40 | 0.0028942 | 0.00072534 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_293-21_0_6_load_29 | 41 | 0.0018828 | 0.00047188 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_293-21_0_6_load_43 | 42 | 0.012925 | 0.0032392 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_293-21_0_6_load_55 | 44 | 0.01553 | 0.0038921 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_293-21_0_6_load_45 | 47 | 0.0076214 | 0.0019101 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_293-21_0_6_load_95 | 51 | 0.026528 | 0.0066486 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_293-21_0_6_load_63 | 54 | 0.016682 | 0.0041809 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_293-21_0_6_load_105 | 56 | 0.017954 | 0.0044997 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_293-21_0_6_load_49 | 58 | 0.0050205 | 0.0012583 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_293-21_0_6_load_50 | 59 | 0.0037486 | 0.00093948 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_293-21_0_6_load_51 | 60 | 0.0051231 | 0.001284 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_293-21_0_6_load_100 | 65 | 0.011765 | 0.0029487 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_293-21_0_6_load_106 | 66 | 0.011892 | 0.0029805 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_293-21_0_6_load_107 | 67 | 0.013523 | 0.0033893 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_293-21_0_6_load_91 | 71 | 0.009628 | 0.002413 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_293-21_0_6_load_102 | 72 | 0.011588 | 0.0029042 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_293-21_0_6_load_86 | 73 | 0.004021 | 0.0010078 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_293-21_0_6_load_97 | 74 | 0.0040412 | 0.0010128 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_293-21_0_6_load_104 | 75 | 0.025439 | 0.0063756 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_293-21_0_6_load_103 | 76 | 0.025341 | 0.006351 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_293-21_0_6_load_84 | 77 | 0.0041214 | 0.0010329 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_293-21_0_6_load_73 | 78 | 0.025612 | 0.0064189 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_293-21_0_6_load_88 | 79 | 0.02492 | 0.0062457 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_293-21_0_6_load_101 | 81 | 0.0096364 | 0.0024151 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_293-21_0_6_load_69 | 83 | 0.0052085 | 0.0013054 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_293-21_0_6_load_72 | 86 | 0.0065532 | 0.0016424 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_293-21_0_6_load_74 | 87 | 0.0077257 | 0.0019362 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_293-21_0_6_load_75 | 88 | 0.007347 | 0.0018413 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_293-21_0_6_load_85 | 89 | 0.0079562 | 0.001994 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_293-21_0_6_load_76 | 90 | 0.0079621 | 0.0019955 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_293-21_0_6_load_96 | 91 | 0.0043131 | 0.001081 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_293-21_0_6_load_92 | 93 | 0.0085483 | 0.0021424 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_293-21_0_6_load_78 | 94 | 0.003438 | 0.00086165 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_293-21_0_6_load_79 | 95 | 0.0035766 | 0.00089638 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_293-21_0_6_load_80 | 96 | 0.0035194 | 0.00088205 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_293-21_0_6_load_90 | 98 | 0.02192 | 0.0054936 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 68 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_293-21_0_6_line_0 |  | 0 | 1 | 0.022607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_293-21_0_6_line_1 |  | 0 | 2 | 0.019462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_293-21_0_6_line_2 |  | 1 | 3 | 0.018136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_293-21_0_6_line_3 |  | 2 | 4 | 0.01355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_293-21_0_6_line_4 |  | 3 | 5 | 0.0043979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_293-21_0_6_line_5 |  | 4 | 13 | 0.0058849 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_293-21_0_6_line_6 |  | 5 | 8 | 0.009428 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_293-21_0_6_line_7 |  | 5 | 9 | 0.031809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_293-21_0_6_line_8 |  | 6 | 7 | 0.020302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_293-21_0_6_line_9 |  | 7 | 17 | 0.021857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_293-21_0_6_line_10 |  | 8 | 18 | 0.028441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_293-21_0_6_line_11 |  | 8 | 11 | 0.003533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_293-21_0_6_line_12 |  | 9 | 10 | 0.079301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_293-21_0_6_line_13 |  | 11 | 12 | 0.021952 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_293-21_0_6_line_14 |  | 12 | 19 | 0.0068823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_293-21_0_6_line_15 |  | 13 | 14 | 0.040107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_293-21_0_6_line_16 |  | 14 | 15 | 0.0339 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_293-21_0_6_line_17 |  | 15 | 16 | 0.012645 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_293-21_0_6_line_18 |  | 17 | 34 | 0.003275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
19 | LV_293-21_0_6_line_19 |  | 17 | 23 | 0.067947 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_293-21_0_6_line_20 |  | 17 | 31 | 0.042177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
21 | LV_293-21_0_6_line_21 |  | 19 | 24 | 0.019814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_293-21_0_6_line_22 |  | 20 | 21 | 0.031724 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_293-21_0_6_line_23 |  | 20 | 22 | 0.036235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_293-21_0_6_line_24 |  | 21 | 44 | 0.01848 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_293-21_0_6_line_25 |  | 24 | 25 | 0.045351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_293-21_0_6_line_26 |  | 24 | 26 | 0.011569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_293-21_0_6_line_27 |  | 25 | 27 | 0.023473 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
28 | LV_293-21_0_6_line_28 |  | 26 | 28 | 0.0090231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_293-21_0_6_line_29 |  | 27 | 29 | 0.015408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
30 | LV_293-21_0_6_line_30 |  | 28 | 30 | 0.014911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_293-21_0_6_line_31 |  | 29 | 33 | 0.027181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
32 | LV_293-21_0_6_line_32 |  | 30 | 41 | 0.012962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_293-21_0_6_line_33 |  | 31 | 32 | 0.031546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
34 | LV_293-21_0_6_line_34 |  | 32 | 33 | 0.032631 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
35 | LV_293-21_0_6_line_35 |  | 34 | 35 | 0.021771 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_293-21_0_6_line_36 |  | 34 | 36 | 0.031041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
37 | LV_293-21_0_6_line_37 |  | 35 | 37 | 0.053607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_293-21_0_6_line_38 |  | 36 | 38 | 0.021942 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
39 | LV_293-21_0_6_line_39 |  | 38 | 46 | 0.026415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
40 | LV_293-21_0_6_line_40 |  | 39 | 40 | 0.0084871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_293-21_0_6_line_41 |  | 40 | 41 | 0.017208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_293-21_0_6_line_42 |  | 42 | 43 | 0.023571 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_293-21_0_6_line_43 |  | 43 | 47 | 0.024374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_293-21_0_6_line_44 |  | 43 | 45 | 0.038957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_293-21_0_6_line_45 |  | 44 | 45 | 0.037675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_293-21_0_6_line_46 |  | 45 | 48 | 0.0083273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_293-21_0_6_line_47 |  | 45 | 49 | 0.033252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
48 | LV_293-21_0_6_line_48 |  | 46 | 61 | 0.064678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_293-21_0_6_line_49 |  | 46 | 62 | 0.04729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
50 | LV_293-21_0_6_line_50 |  | 46 | 63 | 0.043385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
51 | LV_293-21_0_6_line_51 |  | 46 | 60 | 0.032383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_293-21_0_6_line_52 |  | 48 | 50 | 0.030944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_293-21_0_6_line_53 |  | 48 | 51 | 0.064862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_293-21_0_6_line_54 |  | 49 | 52 | 0.011806 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_293-21_0_6_line_55 |  | 49 | 53 | 0.031317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_293-21_0_6_line_56 |  | 49 | 54 | 0.043255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
57 | LV_293-21_0_6_line_57 |  | 50 | 78 | 0.0022816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_293-21_0_6_line_58 |  | 50 | 79 | 0.035442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_293-21_0_6_line_59 |  | 52 | 76 | 0.001247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_293-21_0_6_line_60 |  | 53 | 75 | 0.036155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_293-21_0_6_line_61 |  | 54 | 68 | 0.014596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
62 | LV_293-21_0_6_line_62 |  | 55 | 56 | 0.019961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_293-21_0_6_line_63 |  | 55 | 57 | 0.060299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_293-21_0_6_line_64 |  | 57 | 93 | 0.023609 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_293-21_0_6_line_65 |  | 58 | 59 | 0.030603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_293-21_0_6_line_66 |  | 58 | 60 | 0.030055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_293-21_0_6_line_67 |  | 61 | 66 | 0.005637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_293-21_0_6_line_68 |  | 61 | 67 | 0.032199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_293-21_0_6_line_69 |  | 62 | 70 | 0.037915 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_293-21_0_6_line_70 |  | 62 | 69 | 0.028763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
71 | LV_293-21_0_6_line_71 |  | 62 | 71 | 0.0077014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_293-21_0_6_line_72 |  | 63 | 64 | 0.057589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
73 | LV_293-21_0_6_line_73 |  | 63 | 65 | 0.003894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_293-21_0_6_line_74 |  | 64 | 73 | 0.0035362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
75 | LV_293-21_0_6_line_75 |  | 64 | 74 | 0.031867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_293-21_0_6_line_76 |  | 68 | 69 | 0.0091159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
77 | LV_293-21_0_6_line_77 |  | 70 | 72 | 0.021631 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_293-21_0_6_line_78 |  | 73 | 77 | 0.027382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
79 | LV_293-21_0_6_line_79 |  | 77 | 82 | 0.026463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
80 | LV_293-21_0_6_line_80 |  | 79 | 97 | 0.01952 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_293-21_0_6_line_81 |  | 80 | 81 | 0.011808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_293-21_0_6_line_82 |  | 80 | 82 | 0.054582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_293-21_0_6_line_83 |  | 82 | 95 | 0.0017763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_293-21_0_6_line_84 |  | 83 | 84 | 0.025847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_293-21_0_6_line_85 |  | 83 | 85 | 0.017569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_293-21_0_6_line_86 |  | 84 | 86 | 0.015064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_293-21_0_6_line_87 |  | 85 | 87 | 0.017059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_293-21_0_6_line_88 |  | 86 | 88 | 0.02978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_293-21_0_6_line_89 |  | 87 | 89 | 0.027748 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_293-21_0_6_line_90 |  | 88 | 90 | 0.024632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_293-21_0_6_line_91 |  | 88 | 91 | 0.12089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_293-21_0_6_line_92 |  | 89 | 92 | 0.019423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_293-21_0_6_line_93 |  | 90 | 93 | 0.013279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_293-21_0_6_line_94 |  | 92 | 96 | 0.0067454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_293-21_0_6_line_95 |  | 94 | 95 | 0.027555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_293-21_0_6_line_96 |  | 94 | 96 | 0.027407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_293-21_0_6_line_97 |  | 97 | 98 | 0.013991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_293-21_0_6_trafo_59 | 0.63 MVA 20/0.4 kV | 99 | 68 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14
0 | 2691361.6183 | 1233072.5943 | 2691377.9676 | 1233056.9805
1 | 2691391.3174 | 1233043.0073 | 2691390.1839 | 1233045.3138 | 2691377.9676 | 1233056.9805
2 | 2691361.6183 | 1233072.5943 | 2691357.5918 | 1233078.381 | 2691348.957 | 1233085.3334
3 | 2691391.3174 | 1233043.0073 | 2691393.8781 | 1233042.9244 | 2691400.653 | 1233037.6581 | 2691402.6038 | 1233036.2485
4 | 2691345.5314 | 1233088.0915 | 2691348.957 | 1233085.3334
5 | 2691406.6947 | 1233032.3027 | 2691406.2582 | 1233033.608 | 2691402.6038 | 1233036.2485
6 | 2691345.5314 | 1233088.0915 | 2691343.731 | 1233089.943 | 2691340.4891 | 1233092.962 | 2691338.6177 | 1233094.5121
7 | 2691345.5314 | 1233088.0915 | 2691346.8111 | 1233085.6316 | 2691347.967 | 1233082.8474 | 2691348.7793 | 1233080.2469 | 2691349.3317 | 1233077.8092 | 2691345.8867 | 1233079.2684 | 2691347.2533 | 1233072.6291 | 2691349.2182 | 1233062.5409
8 | 2691406.355 | 1233130.6571 | 2691408.7318 | 1233129.2371 | 2691400.0254 | 1233114.0181
9 | 2691418.1264 | 1233149.0736 | 2691406.355 | 1233130.6571
10 | 2691338.6177 | 1233094.5121 | 2691353.7166 | 1233118.6393
11 | 2691338.6177 | 1233094.5121 | 2691336.5032 | 1233091.6776
12 | 2691349.2182 | 1233062.5409 | 2691308.5305 | 1233058.2461 | 2691302.7164 | 1233058.1567 | 2691297.6287 | 1233059.0903 | 2691280.6633 | 1233064.2557 | 2691277.5947 | 1233064.8646 | 2691275.138 | 1233065.0826 | 2691270.8486 | 1233064.8166
13 | 2691336.5032 | 1233091.6776 | 2691333.1331 | 1233094.6613 | 2691318.1024 | 1233103.5286
14 | 2691318.1024 | 1233103.5286 | 2691312.1748 | 1233107.0256
15 | 2691406.6947 | 1233032.3027 | 2691426.2068 | 1233034.8713 | 2691433.2001 | 1233035.5905 | 2691440.0047 | 1233035.773 | 2691446.5918 | 1233035.6014
16 | 2691480.1274 | 1233031.0314 | 2691473.1904 | 1233032.5591 | 2691467.7463 | 1233033.5204 | 2691459.885 | 1233034.5891 | 2691454.2956 | 1233035.148 | 2691447.2467 | 1233035.5843 | 2691446.5918 | 1233035.6014
17 | 2691480.1274 | 1233031.0314 | 2691490.8852 | 1233028.7286 | 2691492.4893 | 1233028.372
18 | 2691418.1264 | 1233149.0736 | 2691418.766 | 1233152.2857
19 | 2691418.1264 | 1233149.0736 | 2691445.6744 | 1233129.8501 | 2691473.5631 | 1233109.788
20 | 2691418.1264 | 1233149.0736 | 2691411.9765 | 1233152.6038 | 2691401.3362 | 1233158.6111 | 2691388.8026 | 1233165.1231 | 2691380.9983 | 1233169.0641
21 | 2691295.1092 | 1233117.0933 | 2691312.1748 | 1233107.0256
22 | 2691544.6663 | 1233063.9263 | 2691553.3715 | 1233071.4769 | 2691561.9348 | 1233078.9031 | 2691568.856 | 1233084.4442
23 | 2691544.6663 | 1233063.9263 | 2691539.5821 | 1233067.5729 | 2691530.8482 | 1233073.6761 | 2691521.2394 | 1233080.5331 | 2691515.1175 | 1233084.8983
24 | 2691568.856 | 1233084.4442 | 2691578.6449 | 1233092.2812 | 2691583.1856 | 1233096.1116
25 | 2691295.1092 | 1233117.0933 | 2691298.6655 | 1233128.1003 | 2691300.1259 | 1233150.3387 | 2691299.0358 | 1233161.7845
26 | 2691295.1092 | 1233117.0933 | 2691285.1452 | 1233122.9723
27 | 2691299.0358 | 1233161.7845 | 2691296.8103 | 1233185.1522
28 | 2691285.1452 | 1233122.9723 | 2691277.374 | 1233127.5575
29 | 2691295.3495 | 1233200.4903 | 2691296.8103 | 1233185.1522
30 | 2691277.374 | 1233127.5575 | 2691269.5792 | 1233132.1566 | 2691264.4652 | 1233135.0189
31 | 2691295.3495 | 1233200.4903 | 2691321.318 | 1233192.4623
32 | 2691253.154 | 1233141.3498 | 2691264.4652 | 1233135.0189
33 | 2691352.1377 | 1233181.7802 | 2691364.4095 | 1233176.6676 | 2691377.264 | 1233170.9499 | 2691380.9983 | 1233169.0641
34 | 2691321.318 | 1233192.4623 | 2691329.7842 | 1233189.845 | 2691348.2455 | 1233183.4018 | 2691352.1377 | 1233181.7802
35 | 2691418.766 | 1233152.2857 | 2691410.0849 | 1233157.4337 | 2691400.4952 | 1233163.0681 | 2691400.006 | 1233163.331
36 | 2691418.766 | 1233152.2857 | 2691428.0213 | 1233168.3841 | 2691431.9619 | 1233166.2098 | 2691438.8389 | 1233162.1793 | 2691438.8389 | 1233162.1793
37 | 2691351.4705 | 1233185.9959 | 2691354.2346 | 1233184.906 | 2691363.4013 | 1233181.1664 | 2691372.6565 | 1233177.0946 | 2691381.52 | 1233172.8834 | 2691390.9435 | 1233168.2027 | 2691400.006 | 1233163.331
38 | 2691450.9508 | 1233178.3003 | 2691450.2399 | 1233177.0988 | 2691448.6499 | 1233178.075 | 2691438.8389 | 1233162.1793
39 | 2691464.4022 | 1233201.0339 | 2691450.9508 | 1233178.3003
40 | 2691238.1376 | 1233149.7545 | 2691230.7316 | 1233153.8996
41 | 2691238.1376 | 1233149.7545 | 2691253.154 | 1233141.3498
42 | 2691647.6217 | 1233104.4419 | 2691641.9904 | 1233081.5539
43 | 2691647.6217 | 1233104.4419 | 2691669.8645 | 1233094.4749
44 | 2691611.9832 | 1233120.404 | 2691647.6217 | 1233104.4419
45 | 2691611.9832 | 1233120.404 | 2691583.1856 | 1233096.1116
46 | 2691611.9832 | 1233120.404 | 2691608.2156 | 1233122.1472 | 2691610.9382 | 1233125.3137
47 | 2691611.9832 | 1233120.404 | 2691608.2156 | 1233122.1472 | 2691581.8855 | 1233134.5393
48 | 2691464.4022 | 1233201.0339 | 2691490.1107 | 1233186.1966 | 2691496.0088 | 1233182.7849 | 2691481.6699 | 1233158.5246
49 | 2691464.4022 | 1233201.0339 | 2691466.4748 | 1233204.6128 | 2691477.0718 | 1233198.4715 | 2691492.0842 | 1233189.8185 | 2691503.8496 | 1233183.0391
50 | 2691439.4199 | 1233228.2247 | 2691441.7905 | 1233226.7156 | 2691444.5922 | 1233225.7247 | 2691449.5188 | 1233224.9221 | 2691452.4526 | 1233222.2431 | 2691454.3911 | 1233220.2715 | 2691456.2001 | 1233217.8531 | 2691457.6619 | 1233215.3738 | 2691458.7459 | 1233212.8331 | 2691458.9518 | 1233211.7577 | 2691458.8992 | 1233210.7451 | 2691458.2999 | 1233209.346 | 2691464.8703 | 1233205.5443 | 2691466.4748 | 1233204.6128 | 2691464.4022 | 1233201.0339
51 | 2691464.4022 | 1233201.0339 | 2691456.4268 | 1233205.5922 | 2691436.3106 | 1233217.1442
52 | 2691629.5861 | 1233150.0077 | 2691618.6481 | 1233135.5287 | 2691610.9382 | 1233125.3137
53 | 2691610.9382 | 1233125.3137 | 2691624.1275 | 1233119.5128 | 2691636.5557 | 1233113.967 | 2691650.7143 | 1233107.6697 | 2691666.6194 | 1233100.5765 | 2691670.2162 | 1233098.9848
54 | 2691581.8855 | 1233134.5393 | 2691583.5489 | 1233138.1342 | 2691584.1507 | 1233139.3777 | 2691588.9067 | 1233143.7541
55 | 2691568.831 | 1233157.1434 | 2691570.8248 | 1233155.5174 | 2691572.7116 | 1233151.4991 | 2691572.8114 | 1233145.0293 | 2691572.338 | 1233143.81 | 2691583.5489 | 1233138.1342 | 2691581.8855 | 1233134.5393
56 | 2691581.8855 | 1233134.5393 | 2691560.6748 | 1233145.4204 | 2691543.8702 | 1233155.1458
57 | 2691629.5861 | 1233150.0077 | 2691631.0752 | 1233151.7364
58 | 2691629.5861 | 1233150.0077 | 2691625.9243 | 1233152.7533 | 2691620.5071 | 1233154.9158 | 2691616.639 | 1233157.7805 | 2691613.5401 | 1233161.8356 | 2691608.0221 | 1233175.9076
59 | 2691588.9067 | 1233143.7541 | 2691588.9556 | 1233145.0002
60 | 2691568.831 | 1233157.1434 | 2691570.6831 | 1233164.2214 | 2691570.3621 | 1233166.3736 | 2691568.5743 | 1233167.9027 | 2691560.8239 | 1233168.6616 | 2691558.456 | 1233169.5036 | 2691556.8573 | 1233171.536 | 2691556.517 | 1233174.455 | 2691557.3756 | 1233176.2251 | 2691563.3064 | 1233179.0518
61 | 2691531.2369 | 1233162.4571 | 2691543.8702 | 1233155.1458
62 | 2691745.3758 | 1233108.0524 | 2691733.1963 | 1233105.3291 | 2691726.1727 | 1233108.056
63 | 2691759.2633 | 1233153.1436 | 2691740.8966 | 1233146.5554 | 2691743.4801 | 1233139.1121 | 2691740.0473 | 1233135.3565 | 2691745.3758 | 1233108.0524
64 | 2691759.2633 | 1233153.1436 | 2691744.0522 | 1233171.1996
65 | 2691410.4233 | 1233232.4131 | 2691399.7321 | 1233238.7441 | 2691388.9663 | 1233244.0602 | 2691383.2644 | 1233246.4207
66 | 2691410.4233 | 1233232.4131 | 2691432.9122 | 1233219.0958 | 2691436.3106 | 1233217.1442
67 | 2691481.6699 | 1233158.5246 | 2691486.4932 | 1233155.5856
68 | 2691476.6368 | 1233133.7849 | 2691469.4712 | 1233137.8776 | 2691481.6699 | 1233158.5246
69 | 2691477.7132 | 1233206.9763 | 2691482.5419 | 1233204.1708 | 2691489.7238 | 1233199.0221 | 2691492.2395 | 1233193.9905 | 2691492.4968 | 1233190.5587 | 2691492.0842 | 1233189.8185 | 2691503.8496 | 1233183.0391
70 | 2691528.7506 | 1233168.5232 | 2691518.2841 | 1233174.5441 | 2691503.8496 | 1233183.0391
71 | 2691503.8496 | 1233183.0391 | 2691505.3593 | 1233185.3085 | 2691509.5741 | 1233187.953
72 | 2691439.4199 | 1233228.2247 | 2691441.7905 | 1233226.7156 | 2691444.5922 | 1233225.7247 | 2691449.5188 | 1233224.9221 | 2691452.5714 | 1233224.3575 | 2691455.8172 | 1233225.0191 | 2691459.4318 | 1233227.2985 | 2691462.342 | 1233230.579 | 2691464.7397 | 1233240.0894 | 2691464.9357 | 1233250.9669 | 2691466.175 | 1233261.9494
73 | 2691437.1002 | 1233231.3468 | 2691438.5647 | 1233229.1789 | 2691439.4199 | 1233228.2247
74 | 2691466.175 | 1233261.9494 | 2691469.6683 | 1233261.4002
75 | 2691466.175 | 1233261.9494 | 2691462.1899 | 1233293.5664
76 | 2691531.2369 | 1233162.4571 | 2691533.1664 | 1233165.9893 | 2691528.7506 | 1233168.5232
77 | 2691485.3859 | 1233226.4973 | 2691483.5355 | 1233221.2762 | 2691480.5737 | 1233218.3952 | 2691478.7904 | 1233215.2099 | 2691478.101 | 1233211.7858 | 2691477.7132 | 1233206.9763
78 | 2691496.7181 | 1233257.1476 | 2691469.6683 | 1233261.4002
79 | 2691522.8598 | 1233253.0377 | 2691496.7181 | 1233257.1476
80 | 2691597.9687 | 1233191.9951 | 2691600.558 | 1233190.5451 | 2691604.3653 | 1233185.2333 | 2691608.0221 | 1233175.9076
81 | 2691537.799 | 1233203.4321 | 2691539.7333 | 1233206.1527 | 2691541.2252 | 1233214.4928
82 | 2691522.8598 | 1233253.0377 | 2691521.0587 | 1233234.7858 | 2691521.6478 | 1233229.4799 | 2691523.8489 | 1233225.2107 | 2691527.9737 | 1233220.9156 | 2691530.7505 | 1233215.6434 | 2691534.0606 | 1233208.2002 | 2691537.799 | 1233203.4321
83 | 2691522.8598 | 1233253.0377 | 2691524.6191 | 1233252.7926
84 | 2691686.5464 | 1233213.1092 | 2691680.8328 | 1233212.8987 | 2691674.2924 | 1233215.2329 | 2691665.0865 | 1233219.5385 | 2691662.3624 | 1233220.847
85 | 2691648.6609 | 1233231.4382 | 2691651.9678 | 1233227.642 | 2691656.4967 | 1233223.6645 | 2691662.3624 | 1233220.847
86 | 2691686.5464 | 1233213.1092 | 2691700.9591 | 1233208.7274
87 | 2691648.6609 | 1233231.4382 | 2691631.9728 | 1233234.975
88 | 2691729.7107 | 1233203.0679 | 2691722.5007 | 1233202.1782 | 2691700.9591 | 1233208.7274
89 | 2691631.9728 | 1233234.975 | 2691629.099 | 1233235.5841 | 2691606.4861 | 1233239.6941 | 2691604.7024 | 1233240.0881
90 | 2691729.7107 | 1233203.0679 | 2691731.1633 | 1233182.0641 | 2691733.8992 | 1233179.7579
91 | 2691729.7107 | 1233203.0679 | 2691777.2429 | 1233314.2167
92 | 2691585.7363 | 1233244.2776 | 2691604.7024 | 1233240.0881
93 | 2691744.0522 | 1233171.1996 | 2691733.8992 | 1233179.7579
94 | 2691585.7363 | 1233244.2776 | 2691579.0555 | 1233245.2084
95 | 2691551.911 | 1233248.9903 | 2691524.6191 | 1233252.7926
96 | 2691551.911 | 1233248.9903 | 2691579.0555 | 1233245.2084
97 | 2691597.9687 | 1233191.9951 | 2691598.0483 | 1233205.9842

## bus_geodata
| x | y | coords
0 | 2691377.9676 | 1233056.9805
1 | 2691361.6183 | 1233072.5943
2 | 2691391.3174 | 1233043.0073
3 | 2691348.957 | 1233085.3334
4 | 2691402.6038 | 1233036.2485
5 | 2691345.5314 | 1233088.0915
6 | 2691400.0254 | 1233114.0181
7 | 2691406.355 | 1233130.6571
8 | 2691338.6177 | 1233094.5121
9 | 2691349.2182 | 1233062.5409
10 | 2691270.8486 | 1233064.8166
11 | 2691336.5032 | 1233091.6776
12 | 2691318.1024 | 1233103.5286
13 | 2691406.6948 | 1233032.3027
14 | 2691446.5918 | 1233035.6014
15 | 2691480.1274 | 1233031.0314
16 | 2691492.4893 | 1233028.372
17 | 2691418.1264 | 1233149.0736
18 | 2691353.7166 | 1233118.6393
19 | 2691312.1748 | 1233107.0256
20 | 2691544.6663 | 1233063.9263
21 | 2691568.856 | 1233084.4442
22 | 2691515.1175 | 1233084.8983
23 | 2691473.5631 | 1233109.788
24 | 2691295.1092 | 1233117.0933
25 | 2691299.0358 | 1233161.7845
26 | 2691285.1452 | 1233122.9723
27 | 2691296.8103 | 1233185.1522
28 | 2691277.374 | 1233127.5575
29 | 2691295.3495 | 1233200.4903
30 | 2691264.4652 | 1233135.0189
31 | 2691380.9983 | 1233169.0641
32 | 2691352.1377 | 1233181.7802
33 | 2691321.318 | 1233192.4623
34 | 2691418.766 | 1233152.2857
35 | 2691400.006 | 1233163.331
36 | 2691438.8389 | 1233162.1793
37 | 2691351.4705 | 1233185.9959
38 | 2691450.9508 | 1233178.3003
39 | 2691230.7316 | 1233153.8996
40 | 2691238.1376 | 1233149.7545
41 | 2691253.154 | 1233141.3498
42 | 2691641.9904 | 1233081.5539
43 | 2691647.6217 | 1233104.4419
44 | 2691583.1856 | 1233096.1116
45 | 2691611.9832 | 1233120.404
46 | 2691464.4022 | 1233201.0339
47 | 2691669.8645 | 1233094.4749
48 | 2691610.9382 | 1233125.3137
49 | 2691581.8855 | 1233134.5393
50 | 2691629.5861 | 1233150.0077
51 | 2691670.2162 | 1233098.9848
52 | 2691588.9067 | 1233143.7541
53 | 2691568.831 | 1233157.1434
54 | 2691543.8702 | 1233155.1458
55 | 2691745.3758 | 1233108.0524
56 | 2691726.1727 | 1233108.056
57 | 2691759.2633 | 1233153.1436
58 | 2691410.4233 | 1233232.4131
59 | 2691383.2644 | 1233246.4207
60 | 2691436.3106 | 1233217.1442
61 | 2691481.6699 | 1233158.5246
62 | 2691503.8496 | 1233183.0391
63 | 2691439.4199 | 1233228.2247
64 | 2691466.175 | 1233261.9494
65 | 2691437.1002 | 1233231.3468
66 | 2691486.4932 | 1233155.5856
67 | 2691476.6368 | 1233133.7849
68 | 2691531.2369 | 1233162.4571
69 | 2691528.7506 | 1233168.5232
70 | 2691477.7132 | 1233206.9763
71 | 2691509.5741 | 1233187.953
72 | 2691485.3859 | 1233226.4973
73 | 2691469.6683 | 1233261.4002
74 | 2691462.1899 | 1233293.5664
75 | 2691563.3064 | 1233179.0518
76 | 2691588.9556 | 1233145.0002
77 | 2691496.7181 | 1233257.1476
78 | 2691631.0752 | 1233151.7364
79 | 2691608.0221 | 1233175.9076
80 | 2691537.799 | 1233203.4321
81 | 2691541.2252 | 1233214.4928
82 | 2691522.8598 | 1233253.0377
83 | 2691662.3624 | 1233220.847
84 | 2691686.5464 | 1233213.1092
85 | 2691648.6609 | 1233231.4382
86 | 2691700.9591 | 1233208.7274
87 | 2691631.9728 | 1233234.975
88 | 2691729.7107 | 1233203.0679
89 | 2691604.7024 | 1233240.0881
90 | 2691733.8992 | 1233179.7579
91 | 2691777.2429 | 1233314.2167
92 | 2691585.7363 | 1233244.2776
93 | 2691744.0522 | 1233171.1996
94 | 2691551.911 | 1233248.9902
95 | 2691524.6191 | 1233252.7926
96 | 2691579.0555 | 1233245.2084
97 | 2691597.9687 | 1233191.9951
98 | 2691598.0483 | 1233205.9842
99 | 2691533.1664 | 1233165.9893

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1