## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_293-24_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_293-24_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_293-24_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_293-24_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_293-24_0_4_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_293-24_0_4_node_10 | 0.4 | n |  | TRUE
6 | bus_LV_293-24_0_4_node_8 | 0.4 | n |  | TRUE
7 | bus_LV_293-24_0_4_node_11 | 0.4 | n |  | TRUE
8 | bus_LV_293-24_0_4_node_104 | 0.4 | n |  | TRUE
9 | bus_LV_293-24_0_4_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_293-24_0_4_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_293-24_0_4_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_293-24_0_4_node_145 | 0.4 | n |  | TRUE
13 | bus_LV_293-24_0_4_node_12 | 0.4 | n |  | TRUE
14 | bus_LV_293-24_0_4_node_103 | 0.4 | n |  | TRUE
15 | bus_LV_293-24_0_4_node_13 | 0.4 | n |  | TRUE
16 | bus_LV_293-24_0_4_node_14 | 0.4 | n |  | TRUE
17 | bus_LV_293-24_0_4_node_15 | 0.4 | n |  | TRUE
18 | bus_LV_293-24_0_4_node_17 | 0.4 | n |  | TRUE
19 | bus_LV_293-24_0_4_node_18 | 0.4 | n |  | TRUE
20 | bus_LV_293-24_0_4_node_16 | 0.4 | n |  | TRUE
21 | bus_LV_293-24_0_4_node_19 | 0.4 | n |  | TRUE
22 | bus_LV_293-24_0_4_node_20 | 0.4 | n |  | TRUE
23 | bus_LV_293-24_0_4_node_92 | 0.4 | n |  | TRUE
24 | bus_LV_293-24_0_4_node_21 | 0.4 | n |  | TRUE
25 | bus_LV_293-24_0_4_node_91 | 0.4 | n |  | TRUE
26 | bus_LV_293-24_0_4_node_24 | 0.4 | n |  | TRUE
27 | bus_LV_293-24_0_4_node_26 | 0.4 | n |  | TRUE
28 | bus_LV_293-24_0_4_node_22 | 0.4 | n |  | TRUE
29 | bus_LV_293-24_0_4_node_23 | 0.4 | n |  | TRUE
30 | bus_LV_293-24_0_4_node_25 | 0.4 | n |  | TRUE
31 | bus_LV_293-24_0_4_node_113 | 0.4 | n |  | TRUE
32 | bus_LV_293-24_0_4_node_27 | 0.4 | n |  | TRUE
33 | bus_LV_293-24_0_4_node_111 | 0.4 | n |  | TRUE
34 | bus_LV_293-24_0_4_node_28 | 0.4 | n |  | TRUE
35 | bus_LV_293-24_0_4_node_29 | 0.4 | n |  | TRUE
36 | bus_LV_293-24_0_4_node_30 | 0.4 | n |  | TRUE
37 | bus_LV_293-24_0_4_node_31 | 0.4 | n |  | TRUE
38 | bus_LV_293-24_0_4_node_32 | 0.4 | n |  | TRUE
39 | bus_LV_293-24_0_4_node_33 | 0.4 | n |  | TRUE
40 | bus_LV_293-24_0_4_node_51 | 0.4 | n |  | TRUE
41 | bus_LV_293-24_0_4_node_42 | 0.4 | n |  | TRUE
42 | bus_LV_293-24_0_4_node_52 | 0.4 | n |  | TRUE
43 | bus_LV_293-24_0_4_node_147 | 0.4 | n |  | TRUE
44 | bus_LV_293-24_0_4_node_36 | 0.4 | n |  | TRUE
45 | bus_LV_293-24_0_4_node_34 | 0.4 | n |  | TRUE
46 | bus_LV_293-24_0_4_node_35 | 0.4 | n |  | TRUE
47 | bus_LV_293-24_0_4_node_37 | 0.4 | n |  | TRUE
48 | bus_LV_293-24_0_4_node_38 | 0.4 | n |  | TRUE
49 | bus_LV_293-24_0_4_node_41 | 0.4 | n |  | TRUE
50 | bus_LV_293-24_0_4_node_43 | 0.4 | n |  | TRUE
51 | bus_LV_293-24_0_4_node_44 | 0.4 | n |  | TRUE
52 | bus_LV_293-24_0_4_node_39 | 0.4 | n |  | TRUE
53 | bus_LV_293-24_0_4_node_99 | 0.4 | n |  | TRUE
54 | bus_LV_293-24_0_4_node_94 | 0.4 | n |  | TRUE
55 | bus_LV_293-24_0_4_node_40 | 0.4 | n |  | TRUE
56 | bus_LV_293-24_0_4_node_110 | 0.4 | n |  | TRUE
57 | bus_LV_293-24_0_4_node_96 | 0.4 | n |  | TRUE
58 | bus_LV_293-24_0_4_node_45 | 0.4 | n |  | TRUE
59 | bus_LV_293-24_0_4_node_148 | 0.4 | n |  | TRUE
60 | bus_LV_293-24_0_4_node_54 | 0.4 | n |  | TRUE
61 | bus_LV_293-24_0_4_node_53 | 0.4 | n |  | TRUE
62 | bus_LV_293-24_0_4_node_150 | 0.4 | n |  | TRUE
63 | bus_LV_293-24_0_4_node_95 | 0.4 | n |  | TRUE
64 | bus_LV_293-24_0_4_node_146 | 0.4 | n |  | TRUE
65 | bus_LV_293-24_0_4_node_100 | 0.4 | n |  | TRUE
66 | bus_LV_293-24_0_4_node_48 | 0.4 | n |  | TRUE
67 | bus_LV_293-24_0_4_node_55 | 0.4 | n |  | TRUE
68 | bus_LV_293-24_0_4_node_56 | 0.4 | n |  | TRUE
69 | bus_LV_293-24_0_4_node_46 | 0.4 | n |  | TRUE
70 | bus_LV_293-24_0_4_node_47 | 0.4 | n |  | TRUE
71 | bus_LV_293-24_0_4_node_49 | 0.4 | n |  | TRUE
72 | bus_LV_293-24_0_4_node_50 | 0.4 | n |  | TRUE
73 | bus_LV_293-24_0_4_node_115 | 0.4 | n |  | TRUE
74 | bus_LV_293-24_0_4_node_72 | 0.4 | n |  | TRUE
75 | bus_LV_293-24_0_4_node_61 | 0.4 | n |  | TRUE
76 | bus_LV_293-24_0_4_node_75 | 0.4 | n |  | TRUE
77 | bus_LV_293-24_0_4_node_64 | 0.4 | n |  | TRUE
78 | bus_LV_293-24_0_4_node_59 | 0.4 | n |  | TRUE
79 | bus_LV_293-24_0_4_node_57 | 0.4 | n |  | TRUE
80 | bus_LV_293-24_0_4_node_58 | 0.4 | n |  | TRUE
81 | bus_LV_293-24_0_4_node_60 | 0.4 | n |  | TRUE
82 | bus_LV_293-24_0_4_node_62 | 0.4 | n |  | TRUE
83 | bus_LV_293-24_0_4_node_63 | 0.4 | n |  | TRUE
84 | bus_LV_293-24_0_4_node_65 | 0.4 | n |  | TRUE
85 | bus_LV_293-24_0_4_node_71 | 0.4 | n |  | TRUE
86 | bus_LV_293-24_0_4_node_131 | 0.4 | n |  | TRUE
87 | bus_LV_293-24_0_4_node_73 | 0.4 | n |  | TRUE
88 | bus_LV_293-24_0_4_node_129 | 0.4 | n |  | TRUE
89 | bus_LV_293-24_0_4_node_67 | 0.4 | n |  | TRUE
90 | bus_LV_293-24_0_4_node_69 | 0.4 | n |  | TRUE
91 | bus_LV_293-24_0_4_node_68 | 0.4 | n |  | TRUE
92 | bus_LV_293-24_0_4_node_70 | 0.4 | n |  | TRUE
93 | bus_LV_293-24_0_4_node_137 | 0.4 | n |  | TRUE
94 | bus_LV_293-24_0_4_node_136 | 0.4 | n |  | TRUE
95 | bus_LV_293-24_0_4_node_149 | 0.4 | n |  | TRUE
96 | bus_LV_293-24_0_4_node_132 | 0.4 | n |  | TRUE
97 | bus_LV_293-24_0_4_node_135 | 0.4 | n |  | TRUE
98 | bus_LV_293-24_0_4_node_74 | 0.4 | n |  | TRUE
99 | bus_LV_293-24_0_4_node_76 | 0.4 | n |  | TRUE
100 | bus_LV_293-24_0_4_node_77 | 0.4 | n |  | TRUE
101 | bus_LV_293-24_0_4_node_88 | 0.4 | n |  | TRUE
102 | bus_LV_293-24_0_4_node_87 | 0.4 | n |  | TRUE
103 | bus_LV_293-24_0_4_node_78 | 0.4 | n |  | TRUE
104 | bus_LV_293-24_0_4_node_79 | 0.4 | n |  | TRUE
105 | bus_LV_293-24_0_4_node_127 | 0.4 | n |  | TRUE
106 | bus_LV_293-24_0_4_node_116 | 0.4 | n |  | TRUE
107 | bus_LV_293-24_0_4_node_126 | 0.4 | n |  | TRUE
108 | bus_LV_293-24_0_4_node_117 | 0.4 | n |  | TRUE
109 | bus_LV_293-24_0_4_node_80 | 0.4 | n |  | TRUE
110 | bus_LV_293-24_0_4_node_81 | 0.4 | n |  | TRUE
111 | bus_LV_293-24_0_4_node_82 | 0.4 | n |  | TRUE
112 | bus_LV_293-24_0_4_node_83 | 0.4 | n |  | TRUE
113 | bus_LV_293-24_0_4_node_84 | 0.4 | n |  | TRUE
114 | bus_LV_293-24_0_4_node_85 | 0.4 | n |  | TRUE
115 | bus_LV_293-24_0_4_node_86 | 0.4 | n |  | TRUE
116 | bus_LV_293-24_0_4_node_89 | 0.4 | n |  | TRUE
117 | bus_LV_293-24_0_4_node_90 | 0.4 | n |  | TRUE
118 | bus_LV_293-24_0_4_node_93 | 0.4 | n |  | TRUE
119 | bus_LV_293-24_0_4_node_109 | 0.4 | n |  | TRUE
120 | bus_LV_293-24_0_4_node_108 | 0.4 | n |  | TRUE
121 | bus_LV_293-24_0_4_node_98 | 0.4 | n |  | TRUE
122 | bus_LV_293-24_0_4_node_97 | 0.4 | n |  | TRUE
123 | bus_LV_293-24_0_4_node_101 | 0.4 | n |  | TRUE
124 | bus_LV_293-24_0_4_node_102 | 0.4 | n |  | TRUE
125 | bus_LV_293-24_0_4_node_105 | 0.4 | n |  | TRUE
126 | bus_LV_293-24_0_4_node_107 | 0.4 | n |  | TRUE
127 | bus_LV_293-24_0_4_node_106 | 0.4 | n |  | TRUE
128 | bus_LV_293-24_0_4_node_112 | 0.4 | n |  | TRUE
129 | bus_LV_293-24_0_4_node_118 | 0.4 | n |  | TRUE
130 | bus_LV_293-24_0_4_node_119 | 0.4 | n |  | TRUE
131 | bus_LV_293-24_0_4_node_120 | 0.4 | n |  | TRUE
132 | bus_LV_293-24_0_4_node_121 | 0.4 | n |  | TRUE
133 | bus_LV_293-24_0_4_node_122 | 0.4 | n |  | TRUE
134 | bus_LV_293-24_0_4_node_123 | 0.4 | n |  | TRUE
135 | bus_LV_293-24_0_4_node_124 | 0.4 | n |  | TRUE
136 | bus_LV_293-24_0_4_node_125 | 0.4 | n |  | TRUE
137 | bus_LV_293-24_0_4_node_128 | 0.4 | n |  | TRUE
138 | bus_LV_293-24_0_4_node_130 | 0.4 | n |  | TRUE
139 | bus_LV_293-24_0_4_node_133 | 0.4 | n |  | TRUE
140 | bus_LV_293-24_0_4_node_134 | 0.4 | n |  | TRUE
141 | bus_LV_293-24_0_4_node_140 | 0.4 | n |  | TRUE
142 | bus_LV_293-24_0_4_node_139 | 0.4 | n |  | TRUE
143 | bus_LV_293-24_0_4_node_138 | 0.4 | n |  | TRUE
144 | bus_LV_293-24_0_4_node_144 | 0.4 | n |  | TRUE
145 | bus_LV_293-24_0_4_node_143 | 0.4 | n |  | TRUE
146 | bus_LV_293-24_0_4_node_141 | 0.4 | n |  | TRUE
147 | bus_LV_293-24_0_4_node_142 | 0.4 | n |  | TRUE
148 | bus_MV_578_0_node_177 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_293-24_0_4_load_0 | 0 | 0.0008776 | 0.00021995 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_293-24_0_4_load_1 | 1 | 0.00047441 | 0.0001189 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_293-24_0_4_load_2 | 2 | 8.1785e-05 | 2.0497e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_293-24_0_4_load_10 | 5 | 0.0010431 | 0.00026142 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_293-24_0_4_load_104 | 8 | 0.00014407 | 3.6106e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_293-24_0_4_load_6 | 9 | 0.00085011 | 0.00021306 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_293-24_0_4_load_145 | 12 | 0.00099714 | 0.00024991 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_293-24_0_4_load_12 | 13 | 0.00035636 | 8.9312e-05 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_293-24_0_4_load_103 | 14 | 0.0002172 | 5.4435e-05 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_293-24_0_4_load_13 | 15 | 0.0028853 | 0.00072313 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_293-24_0_4_load_14 | 16 | 0.0033856 | 0.00084851 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_293-24_0_4_load_17 | 18 | 0.0018606 | 0.00046631 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_293-24_0_4_load_16 | 20 | 0.00082293 | 0.00020624 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_293-24_0_4_load_19 | 21 | 0.002233 | 0.00055964 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_293-24_0_4_load_21 | 24 | 0.0012668 | 0.00031748 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_293-24_0_4_load_24 | 26 | 0.0022239 | 0.00055735 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_293-24_0_4_load_26 | 27 | 0.0014738 | 0.00036937 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_293-24_0_4_load_22 | 28 | 0.00030966 | 7.7609e-05 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_293-24_0_4_load_23 | 29 | 0.00021593 | 5.4117e-05 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_293-24_0_4_load_27 | 32 | 0.0015337 | 0.00038439 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_293-24_0_4_load_111 | 33 | 0.00025338 | 6.3504e-05 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_293-24_0_4_load_28 | 34 | 0.00047867 | 0.00011996 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_293-24_0_4_load_29 | 35 | 0.00049101 | 0.00012306 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_293-24_0_4_load_30 | 36 | 0.0007795 | 0.00019536 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_293-24_0_4_load_33 | 39 | 0.00015624 | 3.9157e-05 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_293-24_0_4_load_51 | 40 | 0.00029511 | 7.3961e-05 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_293-24_0_4_load_42 | 41 | 0.00027448 | 6.879e-05 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_293-24_0_4_load_52 | 42 | 0.00018649 | 4.6738e-05 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_293-24_0_4_load_147 | 43 | 0.00034499 | 8.6463e-05 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_293-24_0_4_load_34 | 45 | 0.0018205 | 0.00045627 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_293-24_0_4_load_37 | 47 | 0.0016938 | 0.00042451 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_293-24_0_4_load_38 | 48 | 0.0023537 | 0.00058989 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_293-24_0_4_load_41 | 49 | 0.00062638 | 0.00015699 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_293-24_0_4_load_43 | 50 | 0.0035533 | 0.00089053 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_293-24_0_4_load_99 | 53 | 0.0019886 | 0.00049839 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_293-24_0_4_load_94 | 54 | 0.00020071 | 5.0304e-05 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_293-24_0_4_load_110 | 56 | 0.00020427 | 5.1195e-05 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_293-24_0_4_load_45 | 58 | 0.00080718 | 0.0002023 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_293-24_0_4_load_148 | 59 | 0.00084644 | 0.00021214 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_293-24_0_4_load_53 | 61 | 0.0043122 | 0.0010807 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_293-24_0_4_load_150 | 62 | 0.00041743 | 0.00010462 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_293-24_0_4_load_146 | 64 | 0.00031171 | 7.8122e-05 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_293-24_0_4_load_100 | 65 | 0.00067877 | 0.00017012 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_293-24_0_4_load_48 | 66 | 0.00056373 | 0.00014128 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_293-24_0_4_load_55 | 67 | 0.0015167 | 0.00038011 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_293-24_0_4_load_56 | 68 | 0.0057064 | 0.0014302 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_293-24_0_4_load_46 | 69 | 0.0014646 | 0.00036707 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_293-24_0_4_load_47 | 70 | 0.00059499 | 0.00014912 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_293-24_0_4_load_49 | 71 | 0.00052231 | 0.0001309 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_293-24_0_4_load_50 | 72 | 0.00017085 | 4.2819e-05 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_293-24_0_4_load_115 | 73 | 0.00018362 | 4.6019e-05 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_293-24_0_4_load_72 | 74 | 0.003068 | 0.00076892 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_293-24_0_4_load_64 | 77 | 0.0025575 | 0.00064097 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_293-24_0_4_load_57 | 79 | 0.0030259 | 0.00075836 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_293-24_0_4_load_58 | 80 | 0.0019228 | 0.0004819 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_293-24_0_4_load_60 | 81 | 0.0020154 | 0.00050511 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_293-24_0_4_load_62 | 82 | 0.0012279 | 0.00030775 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_293-24_0_4_load_63 | 83 | 0.0010943 | 0.00027426 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_293-24_0_4_load_65 | 84 | 0.0020968 | 0.00052551 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_293-24_0_4_load_71 | 85 | 0.00097288 | 0.00024383 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_293-24_0_4_load_131 | 86 | 0.0010231 | 0.00025641 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_293-24_0_4_load_73 | 87 | 0.00045042 | 0.00011289 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_293-24_0_4_load_67 | 89 | 0.00029065 | 7.2844e-05 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_293-24_0_4_load_69 | 90 | 0.0012001 | 0.00030078 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_293-24_0_4_load_68 | 91 | 0.0041517 | 0.0010405 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_293-24_0_4_load_137 | 93 | 0.00050641 | 0.00012692 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_293-24_0_4_load_136 | 94 | 0.00061027 | 0.00015295 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_293-24_0_4_load_135 | 97 | 0.00034884 | 8.7428e-05 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_293-24_0_4_load_74 | 98 | 0.00068905 | 0.00017269 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_293-24_0_4_load_76 | 99 | 0.0031365 | 0.00078609 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_293-24_0_4_load_77 | 100 | 0.0023323 | 0.00058454 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_293-24_0_4_load_88 | 101 | 0.00052736 | 0.00013217 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_293-24_0_4_load_87 | 102 | 0.00046371 | 0.00011622 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_293-24_0_4_load_78 | 103 | 0.0030794 | 0.00077177 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_293-24_0_4_load_79 | 104 | 0.0033804 | 0.00084721 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_293-24_0_4_load_127 | 105 | 0.0036085 | 0.00090438 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_293-24_0_4_load_126 | 107 | 0.008738 | 0.00219 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_293-24_0_4_load_117 | 108 | 0.0011967 | 0.00029993 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_293-24_0_4_load_80 | 109 | 0.00054294 | 0.00013607 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_293-24_0_4_load_81 | 110 | 0.00030416 | 7.623e-05 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_293-24_0_4_load_83 | 112 | 0.00086876 | 0.00021773 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_293-24_0_4_load_84 | 113 | 0.00023269 | 5.8318e-05 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_293-24_0_4_load_85 | 114 | 0.00033823 | 8.4768e-05 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_293-24_0_4_load_86 | 115 | 0.000406 | 0.00010175 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_293-24_0_4_load_89 | 116 | 0.0053034 | 0.0013292 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_293-24_0_4_load_93 | 118 | 0.00062423 | 0.00015645 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_293-24_0_4_load_109 | 119 | 0.0025792 | 0.00064642 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_293-24_0_4_load_97 | 122 | 0.00015722 | 3.9402e-05 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_293-24_0_4_load_101 | 123 | 0.000142 | 3.5588e-05 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_293-24_0_4_load_102 | 124 | 0.00063861 | 0.00016005 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_293-24_0_4_load_105 | 125 | 0.00012345 | 3.094e-05 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_293-24_0_4_load_107 | 126 | 0.0015616 | 0.00039138 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_293-24_0_4_load_106 | 127 | 0.0018491 | 0.00046343 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_293-24_0_4_load_112 | 128 | 0.00024088 | 6.0369e-05 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_293-24_0_4_load_118 | 129 | 0.00033875 | 8.4898e-05 | 0 | 0 |  | 1 | TRUE | wye
95 | LV_293-24_0_4_load_119 | 130 | 0.00098438 | 0.00024671 | 0 | 0 |  | 1 | TRUE | wye
96 | LV_293-24_0_4_load_120 | 131 | 0.0023045 | 0.00057755 | 0 | 0 |  | 1 | TRUE | wye
97 | LV_293-24_0_4_load_122 | 133 | 0.00055617 | 0.00013939 | 0 | 0 |  | 1 | TRUE | wye
98 | LV_293-24_0_4_load_123 | 134 | 0.00061434 | 0.00015397 | 0 | 0 |  | 1 | TRUE | wye
99 | LV_293-24_0_4_load_124 | 135 | 0.0001729 | 4.3334e-05 | 0 | 0 |  | 1 | TRUE | wye
100 | LV_293-24_0_4_load_125 | 136 | 0.00029377 | 7.3626e-05 | 0 | 0 |  | 1 | TRUE | wye
101 | LV_293-24_0_4_load_128 | 137 | 0.00072295 | 0.00018119 | 0 | 0 |  | 1 | TRUE | wye
102 | LV_293-24_0_4_load_130 | 138 | 0.0061008 | 0.001529 | 0 | 0 |  | 1 | TRUE | wye
103 | LV_293-24_0_4_load_133 | 139 | 0.00057226 | 0.00014342 | 0 | 0 |  | 1 | TRUE | wye
104 | LV_293-24_0_4_load_138 | 143 | 0.00040664 | 0.00010191 | 0 | 0 |  | 1 | TRUE | wye
105 | LV_293-24_0_4_load_143 | 145 | 0.00033966 | 8.5128e-05 | 0 | 0 |  | 1 | TRUE | wye
106 | LV_293-24_0_4_load_141 | 146 | 0.0015986 | 0.00040065 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 46 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_293-24_0_4_line_0 |  | 0 | 1 | 0.033151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_293-24_0_4_line_1 |  | 0 | 2 | 0.07334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_293-24_0_4_line_2 |  | 1 | 3 | 0.072253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_293-24_0_4_line_3 |  | 3 | 4 | 0.11464 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_293-24_0_4_line_4 |  | 4 | 5 | 0.086607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_293-24_0_4_line_5 |  | 4 | 6 | 0.038879 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_293-24_0_4_line_6 |  | 5 | 7 | 0.12952 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_293-24_0_4_line_7 |  | 6 | 9 | 0.11409 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_293-24_0_4_line_8 |  | 7 | 8 | 0.052571 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_293-24_0_4_line_9 |  | 8 | 14 | 0.017388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_293-24_0_4_line_10 |  | 9 | 10 | 0.097689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_293-24_0_4_line_11 |  | 10 | 11 | 0.11491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_293-24_0_4_line_12 |  | 10 | 12 | 0.24116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_293-24_0_4_line_13 |  | 11 | 13 | 0.082383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_293-24_0_4_line_14 |  | 14 | 124 | 0.013463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_293-24_0_4_line_15 |  | 15 | 16 | 0.010148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_293-24_0_4_line_16 |  | 15 | 17 | 0.038084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_293-24_0_4_line_17 |  | 17 | 18 | 0.026503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_293-24_0_4_line_18 |  | 17 | 19 | 0.054108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_293-24_0_4_line_19 |  | 18 | 21 | 0.086826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_293-24_0_4_line_20 |  | 19 | 22 | 0.06128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_293-24_0_4_line_21 |  | 19 | 20 | 0.025719 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_293-24_0_4_line_22 |  | 21 | 23 | 0.13369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_293-24_0_4_line_23 |  | 22 | 24 | 0.026705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_293-24_0_4_line_24 |  | 23 | 25 | 0.013282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_293-24_0_4_line_25 |  | 24 | 28 | 0.012776 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_293-24_0_4_line_26 |  | 25 | 118 | 0.019075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_293-24_0_4_line_27 |  | 25 | 117 | 0.018289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_293-24_0_4_line_28 |  | 26 | 27 | 0.003483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_293-24_0_4_line_29 |  | 27 | 32 | 0.043385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_293-24_0_4_line_30 |  | 28 | 29 | 0.010066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_293-24_0_4_line_31 |  | 29 | 30 | 0.25457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_293-24_0_4_line_32 |  | 30 | 31 | 0.040644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_293-24_0_4_line_33 |  | 31 | 33 | 0.14266 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_293-24_0_4_line_34 |  | 32 | 34 | 0.0082676 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_293-24_0_4_line_35 |  | 33 | 128 | 0.012927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_293-24_0_4_line_36 |  | 34 | 35 | 0.054699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_293-24_0_4_line_37 |  | 35 | 36 | 0.0035928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_293-24_0_4_line_38 |  | 36 | 37 | 0.019781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_293-24_0_4_line_39 |  | 37 | 38 | 0.021275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_293-24_0_4_line_40 |  | 37 | 39 | 0.034186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_293-24_0_4_line_41 |  | 38 | 40 | 0.010779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_293-24_0_4_line_42 |  | 38 | 41 | 0.012539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_293-24_0_4_line_43 |  | 39 | 42 | 0.010308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_293-24_0_4_line_44 |  | 40 | 43 | 0.021309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_293-24_0_4_line_45 |  | 41 | 44 | 0.0040402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_293-24_0_4_line_46 |  | 43 | 64 | 0.019697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_293-24_0_4_line_47 |  | 44 | 49 | 0.016767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_293-24_0_4_line_48 |  | 44 | 45 | 0.045522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_293-24_0_4_line_49 |  | 45 | 46 | 0.088636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_293-24_0_4_line_50 |  | 46 | 47 | 0.065032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_293-24_0_4_line_51 |  | 46 | 48 | 0.15075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
52 | LV_293-24_0_4_line_52 |  | 47 | 50 | 0.013811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_293-24_0_4_line_53 |  | 48 | 51 | 0.14105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_293-24_0_4_line_54 |  | 49 | 58 | 0.011913 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_293-24_0_4_line_55 |  | 50 | 59 | 0.004206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_293-24_0_4_line_56 |  | 51 | 60 | 0.00932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_293-24_0_4_line_57 |  | 51 | 61 | 0.033779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_293-24_0_4_line_58 |  | 52 | 53 | 0.041535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_293-24_0_4_line_59 |  | 52 | 54 | 0.061118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_293-24_0_4_line_60 |  | 53 | 62 | 0.18973 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_293-24_0_4_line_61 |  | 54 | 63 | 0.11809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_293-24_0_4_line_62 |  | 55 | 56 | 0.032504 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_293-24_0_4_line_63 |  | 55 | 57 | 0.065218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_293-24_0_4_line_64 |  | 56 | 64 | 0.041695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_293-24_0_4_line_65 |  | 57 | 65 | 0.10377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_293-24_0_4_line_66 |  | 57 | 63 | 0.083697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_293-24_0_4_line_67 |  | 58 | 66 | 0.013273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_293-24_0_4_line_68 |  | 60 | 67 | 0.098632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_293-24_0_4_line_69 |  | 60 | 68 | 0.023409 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_293-24_0_4_line_70 |  | 62 | 95 | 0.049097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_293-24_0_4_line_71 |  | 63 | 121 | 0.24267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_293-24_0_4_line_72 |  | 65 | 120 | 0.060563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_293-24_0_4_line_73 |  | 66 | 69 | 0.031701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_293-24_0_4_line_74 |  | 67 | 74 | 0.039658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_293-24_0_4_line_75 |  | 68 | 75 | 0.021127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_293-24_0_4_line_76 |  | 69 | 70 | 0.0035148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_293-24_0_4_line_77 |  | 70 | 71 | 0.0068268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_293-24_0_4_line_78 |  | 71 | 72 | 0.008164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_293-24_0_4_line_79 |  | 72 | 73 | 0.0091999 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_293-24_0_4_line_80 |  | 74 | 76 | 0.1665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_293-24_0_4_line_81 |  | 75 | 77 | 0.0093303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_293-24_0_4_line_82 |  | 75 | 78 | 0.017907 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_293-24_0_4_line_83 |  | 76 | 99 | 0.067143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_293-24_0_4_line_84 |  | 76 | 100 | 0.047568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_293-24_0_4_line_85 |  | 77 | 85 | 0.13846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_293-24_0_4_line_86 |  | 78 | 82 | 0.16266 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_293-24_0_4_line_87 |  | 78 | 79 | 0.020105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_293-24_0_4_line_88 |  | 79 | 80 | 0.011695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_293-24_0_4_line_89 |  | 80 | 81 | 0.054963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_293-24_0_4_line_90 |  | 81 | 83 | 0.038875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_293-24_0_4_line_91 |  | 82 | 84 | 0.015084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_293-24_0_4_line_92 |  | 84 | 86 | 0.0016356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_293-24_0_4_line_93 |  | 85 | 87 | 0.019358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_293-24_0_4_line_94 |  | 86 | 88 | 0.055996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_293-24_0_4_line_95 |  | 87 | 98 | 0.0095641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_293-24_0_4_line_96 |  | 88 | 96 | 0.15541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_293-24_0_4_line_97 |  | 88 | 137 | 0.17539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_293-24_0_4_line_98 |  | 89 | 90 | 0.018077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_293-24_0_4_line_99 |  | 90 | 93 | 0.0047569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_293-24_0_4_line_100 |  | 91 | 92 | 0.041774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_293-24_0_4_line_101 |  | 92 | 94 | 0.044079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_293-24_0_4_line_102 |  | 92 | 95 | 0.15636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_293-24_0_4_line_103 |  | 93 | 96 | 0.020481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_293-24_0_4_line_104 |  | 94 | 97 | 0.0035659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_293-24_0_4_line_105 |  | 97 | 140 | 0.057201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_293-24_0_4_line_106 |  | 98 | 101 | 0.0067776 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_293-24_0_4_line_107 |  | 99 | 103 | 0.06096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_293-24_0_4_line_108 |  | 100 | 104 | 0.022419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_293-24_0_4_line_109 |  | 101 | 102 | 0.0027814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
110 | LV_293-24_0_4_line_110 |  | 102 | 114 | 0.0090565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
111 | LV_293-24_0_4_line_111 |  | 103 | 105 | 0.047913 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
112 | LV_293-24_0_4_line_112 |  | 104 | 106 | 0.036312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
113 | LV_293-24_0_4_line_113 |  | 105 | 107 | 0.033598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
114 | LV_293-24_0_4_line_114 |  | 106 | 108 | 0.015353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
115 | LV_293-24_0_4_line_115 |  | 107 | 136 | 0.026133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
116 | LV_293-24_0_4_line_116 |  | 109 | 110 | 0.05651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
117 | LV_293-24_0_4_line_117 |  | 109 | 111 | 0.018062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
118 | LV_293-24_0_4_line_118 |  | 110 | 112 | 0.010701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
119 | LV_293-24_0_4_line_119 |  | 111 | 113 | 0.027275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
120 | LV_293-24_0_4_line_120 |  | 111 | 114 | 0.030724 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
121 | LV_293-24_0_4_line_121 |  | 113 | 115 | 0.011348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
122 | LV_293-24_0_4_line_122 |  | 116 | 117 | 0.02799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
123 | LV_293-24_0_4_line_123 |  | 118 | 119 | 0.022664 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
124 | LV_293-24_0_4_line_124 |  | 119 | 120 | 0.02565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
125 | LV_293-24_0_4_line_125 |  | 120 | 126 | 0.011375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
126 | LV_293-24_0_4_line_126 |  | 121 | 124 | 0.025745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
127 | LV_293-24_0_4_line_127 |  | 122 | 123 | 0.029357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
128 | LV_293-24_0_4_line_128 |  | 123 | 125 | 0.0044941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
129 | LV_293-24_0_4_line_129 |  | 125 | 127 | 0.0055515 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
130 | LV_293-24_0_4_line_130 |  | 126 | 127 | 0.0023964 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
131 | LV_293-24_0_4_line_131 |  | 129 | 130 | 0.012863 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
132 | LV_293-24_0_4_line_132 |  | 130 | 131 | 0.0025252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
133 | LV_293-24_0_4_line_133 |  | 131 | 132 | 0.041536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
134 | LV_293-24_0_4_line_134 |  | 132 | 133 | 0.017639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
135 | LV_293-24_0_4_line_135 |  | 132 | 134 | 0.044494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
136 | LV_293-24_0_4_line_136 |  | 133 | 135 | 0.021546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
137 | LV_293-24_0_4_line_137 |  | 134 | 136 | 0.038127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
138 | LV_293-24_0_4_line_138 |  | 137 | 138 | 0.00074742 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
139 | LV_293-24_0_4_line_139 |  | 139 | 140 | 0.15126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
140 | LV_293-24_0_4_line_140 |  | 140 | 141 | 0.20646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
141 | LV_293-24_0_4_line_141 |  | 141 | 142 | 0.097851 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
142 | LV_293-24_0_4_line_142 |  | 142 | 143 | 0.20036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
143 | LV_293-24_0_4_line_143 |  | 143 | 144 | 0.077801 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
144 | LV_293-24_0_4_line_144 |  | 144 | 145 | 0.063502 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
145 | LV_293-24_0_4_line_145 |  | 145 | 147 | 0.022742 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
146 | LV_293-24_0_4_line_146 |  | 146 | 147 | 0.012497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_293-24_0_4_trafo_35 | 0.63 MVA 20/0.4 kV | 148 | 46 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14
0 | 2693192.4026 | 1228978.4977 | 2693193.5159 | 1228977.9327 | 2693219.0341 | 1228958.7858
1 | 2693192.4026 | 1228978.4977 | 2693164.5058 | 1228992.6554 | 2693156.1679 | 1228996.6944 | 2693148.2922 | 1228999.284 | 2693143.662 | 1228998.8223 | 2693140.5877 | 1228996.2723 | 2693136.2915 | 1228988.9999 | 2693132.187 | 1228982.8335
2 | 2693274.8811 | 1228913.3507 | 2693264.1603 | 1228925.3356 | 2693230.8501 | 1228949.9199 | 2693219.0341 | 1228958.7858
3 | 2693274.8811 | 1228913.3507 | 2693302.2901 | 1228944.6807 | 2693332.6864 | 1228976.836 | 2693342.2793 | 1228988.9174 | 2693342.6798 | 1228989.4685 | 2693350.1346 | 1228999.6928
4 | 2693350.1346 | 1228999.6928 | 2693346.5819 | 1229003.4842 | 2693290.9269 | 1229062.9005
5 | 2693374.6968 | 1229029.8554 | 2693369.6334 | 1229022.7264 | 2693350.1346 | 1228999.6928
6 | 2693187.1238 | 1229138.6806 | 2693214.8963 | 1229124.072 | 2693250.8812 | 1229100.875 | 2693268.6454 | 1229086.6878 | 2693290.9269 | 1229062.9005
7 | 2693374.6968 | 1229029.8554 | 2693382.4873 | 1229027.3871 | 2693388.4337 | 1229024.1337 | 2693432.3181 | 1228992.0999 | 2693461.166 | 1228967.0129 | 2693467.744 | 1228967.1893
8 | 2693187.1238 | 1229138.6806 | 2693146.7951 | 1229159.6195 | 2693140.4698 | 1229162.9106
9 | 2693125.0452 | 1229170.936 | 2693140.4698 | 1229162.9106
10 | 2693557.6242 | 1228993.248 | 2693548.6561 | 1228985.3124 | 2693535.3944 | 1228977.198 | 2693523.612 | 1228969.9298 | 2693507.4696 | 1228971.9997 | 2693486.7279 | 1228968.7603 | 2693471.1869 | 1228967.2817 | 2693467.744 | 1228967.1893
11 | 2693539.8378 | 1228879.7316 | 2693545.1724 | 1228914.4069 | 2693550.1124 | 1228945.2622 | 2693555.0099 | 1228978.3295 | 2693557.6242 | 1228993.248
12 | 2693557.6242 | 1228993.248 | 2693798.7762 | 1228991.4555
13 | 2693539.8378 | 1228879.7316 | 2693527.2027 | 1228891.4969 | 2693497.1804 | 1228921.3462 | 2693485.3681 | 1228936.6938 | 2693483.4878 | 1228939.545
14 | 2693125.0452 | 1229170.936 | 2693113.1016 | 1229177.1502
15 | 2692494.538 | 1229247.2261 | 2692487.4917 | 1229251.0971 | 2692485.4092 | 1229250.7653
16 | 2692521.5423 | 1229273.5537 | 2692504.0956 | 1229260.1951 | 2692494.538 | 1229247.2261
17 | 2692521.5423 | 1229273.5537 | 2692534.1969 | 1229265.7116 | 2692543.9643 | 1229259.4249
18 | 2692475.9047 | 1229302.8204 | 2692521.5423 | 1229273.5537
19 | 2692543.9643 | 1229259.4249 | 2692552.0762 | 1229254.2038 | 2692602.8996 | 1229221.8718 | 2692617.3435 | 1229213.0141
20 | 2692424.0069 | 1229335.6372 | 2692475.9047 | 1229302.8204
21 | 2692475.9047 | 1229302.8204 | 2692463.0468 | 1229280.5462
22 | 2692738.5884 | 1229156.995 | 2692710.7238 | 1229168.8469 | 2692690.3815 | 1229177.9141 | 2692666.8097 | 1229188.0652 | 2692642.6607 | 1229198.7856 | 2692626.9827 | 1229207.1029 | 2692617.3435 | 1229213.0141
23 | 2692424.0069 | 1229335.6372 | 2692408.1047 | 1229345.7418 | 2692401.4701 | 1229349.9631
24 | 2692738.5884 | 1229156.995 | 2692741.0696 | 1229159.2019 | 2692744.1251 | 1229160.5394 | 2692747.4388 | 1229160.8691 | 2692750.6929 | 1229160.1638
25 | 2692401.4701 | 1229349.9631 | 2692390.6914 | 1229356.8212
26 | 2692750.6929 | 1229160.1638 | 2692757.5153 | 1229177.9772
27 | 2692750.6929 | 1229160.1638 | 2692753.3532 | 1229158.6597 | 2692755.4712 | 1229156.469 | 2692756.8774 | 1229153.7556 | 2692757.4545 | 1229150.7625 | 2692757.1532 | 1229147.7334 | 2692755.9925 | 1229144.9133
28 | 2692662.7214 | 1229447.521 | 2692666.1978 | 1229447.7352
29 | 2692692.6926 | 1229473.9159 | 2692691.3733 | 1229469.5042 | 2692682.2565 | 1229448.7251 | 2692666.1978 | 1229447.7352
30 | 2692390.6914 | 1229356.8212 | 2692382.1985 | 1229362.2249
31 | 2692172.4167 | 1229506.366 | 2692257.9019 | 1229446.0706 | 2692301.4553 | 1229415.2354 | 2692369.2445 | 1229370.4669 | 2692382.1985 | 1229362.2249
32 | 2692200.0325 | 1229536.2598 | 2692172.4167 | 1229506.366
33 | 2692200.0325 | 1229536.2598 | 2692288.2642 | 1229602.5976 | 2692314.5142 | 1229621.3631
34 | 2692692.6926 | 1229473.9159 | 2692695.0615 | 1229481.8368
35 | 2692325.2551 | 1229628.443 | 2692323.6558 | 1229627.8982 | 2692314.5142 | 1229621.3631
36 | 2692726.1667 | 1229514.1303 | 2692722.8465 | 1229515.2274 | 2692715.5037 | 1229515.2796 | 2692712.5876 | 1229505.9942 | 2692711.4971 | 1229492.3564 | 2692696.0037 | 1229484.9874 | 2692695.0615 | 1229481.8368
37 | 2692729.578 | 1229513.0031 | 2692726.1667 | 1229514.1303
38 | 2692748.3603 | 1229506.7969 | 2692729.578 | 1229513.0031
39 | 2692759.9009 | 1229524.6897 | 2692748.3603 | 1229506.7969
40 | 2692748.3603 | 1229506.7969 | 2692740.2575 | 1229496.3187 | 2692731.4128 | 1229479.9691 | 2692731.6168 | 1229477.626
41 | 2692759.9009 | 1229524.6897 | 2692769.4174 | 1229519.6281
42 | 2692759.9009 | 1229524.6897 | 2692765.4967 | 1229533.1608 | 2692766.7763 | 1229535.1749
43 | 2692732.5108 | 1229467.3565 | 2692731.6168 | 1229477.626
44 | 2692788.2311 | 1229509.6216 | 2692769.4174 | 1229519.6281
45 | 2692768.9428 | 1229538.5851 | 2692766.7763 | 1229535.1749
46 | 2692788.2311 | 1229509.6216 | 2692805.6216 | 1229500.3721
47 | 2692768.9428 | 1229538.5851 | 2692754.2178 | 1229546.6044
48 | 2692768.9428 | 1229538.5851 | 2692781.8005 | 1229556.0648 | 2692789.8787 | 1229566.6539 | 2692790.3794 | 1229577.1455
49 | 2692852.074 | 1229635.6627 | 2692809.2198 | 1229609.0193 | 2692797.3081 | 1229596.9581 | 2692790.5923 | 1229581.6091 | 2692790.3794 | 1229577.1455
50 | 2692852.074 | 1229635.6627 | 2692871.9141 | 1229645.0792 | 2692902.1011 | 1229634.7877 | 2692912.9939 | 1229637.2937
51 | 2692852.074 | 1229635.6627 | 2692831.7582 | 1229738.1966 | 2692830.1064 | 1229750.3351 | 2692828.8423 | 1229764.3253 | 2692828.3355 | 1229775.9146 | 2692829.0742 | 1229784.2041
52 | 2692912.9939 | 1229637.2937 | 2692920.2501 | 1229638.9631 | 2692924.899 | 1229643.3108
53 | 2692873.5954 | 1229917.6114 | 2692869.4323 | 1229907.1833 | 2692864.416 | 1229894.6294 | 2692854.0324 | 1229869.1824 | 2692844.431 | 1229843.1361 | 2692834.8471 | 1229813.0428 | 2692831.5333 | 1229801.1047 | 2692829.5023 | 1229789.0088 | 2692829.0742 | 1229784.2041
54 | 2692743.7558 | 1229552.3021 | 2692743.7558 | 1229552.3021 | 2692754.2178 | 1229546.6044
55 | 2692924.899 | 1229643.3108 | 2692927.971 | 1229646.1837
56 | 2692873.5954 | 1229917.6114 | 2692877.2572 | 1229926.1858
57 | 2692873.5954 | 1229917.6114 | 2692882.8912 | 1229905.5145 | 2692890.9723 | 1229888.8468
58 | 2692971.9821 | 1229481.6257 | 2692999.0443 | 1229465.793 | 2693007.3992 | 1229471.7612
59 | 2692971.9821 | 1229481.6257 | 2692959.3412 | 1229459.0342 | 2692948.6317 | 1229425.471
60 | 2693007.3992 | 1229471.7612 | 2693197.0286 | 1229477.8449
61 | 2692890.6509 | 1229323.6533 | 2692917.6955 | 1229359.3901 | 2692932.2654 | 1229383.1791 | 2692944.7075 | 1229413.1727 | 2692948.6317 | 1229425.471
62 | 2692848.5385 | 1229440.5014 | 2692831.7768 | 1229468.3507
63 | 2692848.5385 | 1229440.5014 | 2692827.4842 | 1229378.7621
64 | 2692831.7768 | 1229468.3507 | 2692825.1945 | 1229479.287 | 2692807.9733 | 1229499.1213 | 2692805.6216 | 1229500.3721
65 | 2692827.4842 | 1229378.7621 | 2692793.881 | 1229280.5885
66 | 2692890.6509 | 1229323.6533 | 2692827.4842 | 1229378.7621
67 | 2692743.7558 | 1229552.3021 | 2692736.5078 | 1229541.1826
68 | 2692877.2572 | 1229926.1858 | 2692866.9239 | 1229930.9834 | 2692856.1225 | 1229935.1956 | 2692848.4607 | 1229937.7667 | 2692841.7775 | 1229938.7964 | 2692834.585 | 1229938.962 | 2692823.73 | 1229937.3915 | 2692804.1151 | 1229933.9941 | 2692781.4077 | 1229935.0517
69 | 2692877.2572 | 1229926.1858 | 2692881.9286 | 1229936.5662 | 2692885.8086 | 1229942.809 | 2692888.5667 | 1229946.5838
70 | 2693164.5293 | 1229514.7176 | 2693180.1711 | 1229496.6275 | 2693197.0286 | 1229477.8449
71 | 2692890.6509 | 1229323.6533 | 2692915.6673 | 1229300.5831 | 2692944.399 | 1229273.0012 | 2692954.4685 | 1229263.3405 | 2692984.3362 | 1229245.0165 | 2693058.7162 | 1229205.1623 | 2693074.7438 | 1229197.3075 | 2693090.2627 | 1229189.0333
72 | 2692774.2731 | 1229223.2876 | 2692776.8237 | 1229230.7549 | 2692793.881 | 1229280.5885
73 | 2692710.37 | 1229540.7677 | 2692722.9058 | 1229532.7964 | 2692733.2631 | 1229536.2048 | 2692736.5078 | 1229541.1826
74 | 2692781.4077 | 1229935.0517 | 2692781.4077 | 1229935.0517 | 2692761.0795 | 1229937.5475 | 2692749.8017 | 1229938.7947 | 2692742.0345 | 1229937.7993
75 | 2692902.4263 | 1229962.4937 | 2692891.8243 | 1229951.0422 | 2692888.5667 | 1229946.5838
76 | 2692710.37 | 1229540.7677 | 2692707.4041 | 1229542.6537
77 | 2692701.6434 | 1229546.3169 | 2692707.4041 | 1229542.6537
78 | 2692701.6434 | 1229546.3169 | 2692694.7542 | 1229550.6976
79 | 2692694.7542 | 1229550.6976 | 2692690.0682 | 1229553.6773 | 2692687.1539 | 1229555.8695
80 | 2692588.054 | 1229876.6857 | 2692669.8909 | 1229903.5795 | 2692717.4197 | 1229929.1496 | 2692733.1067 | 1229936.6551 | 2692742.0345 | 1229937.7993
81 | 2692902.4263 | 1229962.4937 | 2692899.4631 | 1229971.341
82 | 2692919.9249 | 1229966.5255 | 2692902.4263 | 1229962.4937
83 | 2692588.054 | 1229876.6857 | 2692572.1908 | 1229881.4422 | 2692522.7475 | 1229892.1163
84 | 2692588.054 | 1229876.6857 | 2692571.921 | 1229831.9366
85 | 2692899.4631 | 1229971.341 | 2692895.5282 | 1229983.0896 | 2692888.4003 | 1230003.8487 | 2692882.5732 | 1230019.4244 | 2692875.6651 | 1230034.8498 | 2692868.58 | 1230049.0048 | 2692859.1335 | 1230066.4031 | 2692852.9334 | 1230075.3127 | 2692846.0399 | 1230084.4783 | 2692838.8652 | 1230094.8804
86 | 2692919.9249 | 1229966.5255 | 2692931.3164 | 1229967.2151 | 2692940.0385 | 1229966.1284 | 2692948.7943 | 1229963.8525 | 2692970.8981 | 1229953.9131 | 2692989.0555 | 1229945.3797 | 2693000.0049 | 1229941.4036 | 2693013.0588 | 1229938.4946 | 2693025.6122 | 1229937.5569 | 2693042.5734 | 1229939.1456 | 2693076.5076 | 1229945.1609
87 | 2692919.9249 | 1229966.5255 | 2692932.811 | 1229951.0936
88 | 2692932.811 | 1229951.0936 | 2692943.5099 | 1229946.3705
89 | 2692943.5099 | 1229946.3705 | 2692949.8387 | 1229943.5765 | 2692980.7529 | 1229906.7978
90 | 2693006.1235 | 1229877.3438 | 2692986.9408 | 1229899.436 | 2692980.7529 | 1229906.7978
91 | 2693091.3599 | 1229947.7937 | 2693076.5076 | 1229945.1609
92 | 2693091.3599 | 1229947.7937 | 2693092.9704 | 1229948.0792
93 | 2692838.8652 | 1230094.8804 | 2692827.8744 | 1230110.8153
94 | 2693148.1887 | 1229957.3785 | 2693103.809 | 1229950.0005 | 2693092.9704 | 1229948.0792
95 | 2692822.4441 | 1230118.6884 | 2692827.8744 | 1230110.8153
96 | 2693294.4814 | 1229921.0009 | 2693282.9732 | 1229924.3673 | 2693267.2735 | 1229931.7152 | 2693243.7816 | 1229944.1335 | 2693226.7267 | 1229952.8724 | 2693216.4679 | 1229956.77 | 2693209.5973 | 1229959.1195 | 2693198.2997 | 1229961.6221 | 2693184.6549 | 1229962.5867 | 2693170.6213 | 1229961.2882 | 2693148.1887 | 1229957.3785
97 | 2693148.1887 | 1229957.3785 | 2693145.025 | 1229967.8142 | 2693117.7641 | 1230018.6904 | 2693091.8533 | 1230067.075 | 2693062.3418 | 1230109.745
98 | 2693265.1364 | 1229889.2216 | 2693275.4642 | 1229898.8423 | 2693278.045 | 1229901.8495
99 | 2693278.045 | 1229901.8495 | 2693281.143 | 1229905.4592
100 | 2693192.1507 | 1229668.616 | 2693164.7062 | 1229700.11
101 | 2693192.1507 | 1229668.616 | 2693210.714 | 1229690.3224 | 2693208.5377 | 1229699.6172 | 2693213.3936 | 1229703.0931
102 | 2693192.1507 | 1229668.616 | 2693164.5293 | 1229514.7176
103 | 2693294.4814 | 1229921.0009 | 2693281.143 | 1229905.4592
104 | 2693213.3936 | 1229703.0931 | 2693216.2931 | 1229705.1686
105 | 2693267.0179 | 1229712.8767 | 2693256.346 | 1229709.2735 | 2693243.4673 | 1229700.9656 | 2693223.0057 | 1229709.9735 | 2693216.2931 | 1229705.1686
106 | 2692818.596 | 1230124.2675 | 2692822.4441 | 1230118.6884
107 | 2692469.9547 | 1229918.8776 | 2692483.1342 | 1229906.0744 | 2692491.2252 | 1229900.2627 | 2692499.9883 | 1229897.03 | 2692510.9882 | 1229894.6549 | 2692522.7475 | 1229892.1163
108 | 2692564.3176 | 1229810.8465 | 2692571.921 | 1229831.9366
109 | 2692818.596 | 1230124.2675 | 2692817.0167 | 1230126.5572
110 | 2692811.8747 | 1230134.0123 | 2692817.0167 | 1230126.5572
111 | 2692435.515 | 1229952.1806 | 2692436.3714 | 1229951.5021 | 2692469.9547 | 1229918.8776
112 | 2692552.0022 | 1229776.6866 | 2692564.3176 | 1229810.8465
113 | 2692409.1807 | 1229973.045 | 2692435.515 | 1229952.1806
114 | 2692552.0022 | 1229776.6866 | 2692539.76 | 1229780.0095 | 2692537.0966 | 1229780.171
115 | 2692409.1807 | 1229973.045 | 2692408.1278 | 1229973.8792 | 2692392.3511 | 1229988.211 | 2692389.9051 | 1229990.6799
116 | 2692809.0624 | 1230169.893 | 2692818.8967 | 1230177.0097 | 2692829.2664 | 1230189.7362 | 2692825.7419 | 1230207.3049 | 2692820.7953 | 1230216.0364
117 | 2692794.4301 | 1230159.3041 | 2692809.0624 | 1230169.893
118 | 2692815.5205 | 1230225.3472 | 2692820.7953 | 1230216.0364
119 | 2692794.4301 | 1230159.3041 | 2692778.7664 | 1230181.6329
120 | 2692794.4301 | 1230159.3041 | 2692811.8747 | 1230134.0123
121 | 2692778.7664 | 1230181.6329 | 2692772.2492 | 1230190.9233
122 | 2692755.9925 | 1229144.9133 | 2692778.3586 | 1229128.085
123 | 2692765.6211 | 1229199.1416 | 2692757.5153 | 1229177.9772
124 | 2692774.2731 | 1229223.2876 | 2692766.317 | 1229200.9587 | 2692765.6211 | 1229199.1416
125 | 2692774.2731 | 1229223.2876 | 2692785.6437 | 1229222.9759
126 | 2693090.2627 | 1229189.0333 | 2693113.1016 | 1229177.1502
127 | 2692796.2509 | 1229229.4792 | 2692796.9768 | 1229229.9243 | 2692818.4688 | 1229248.6506
128 | 2692792.4196 | 1229227.1302 | 2692796.2509 | 1229229.4792
129 | 2692792.4196 | 1229227.1302 | 2692787.6868 | 1229224.2285
130 | 2692785.6437 | 1229222.9759 | 2692787.6868 | 1229224.2285
131 | 2692296.519 | 1230012.1691 | 2692305.246 | 1230021.6184
132 | 2692306.9593 | 1230023.4735 | 2692305.246 | 1230021.6184
133 | 2692336.2057 | 1230052.9631 | 2692309.5358 | 1230026.2633 | 2692306.9593 | 1230023.4735
134 | 2692336.2057 | 1230052.9631 | 2692332.462 | 1230060.8328 | 2692325.5283 | 1230066.4506
135 | 2692336.2057 | 1230052.9631 | 2692340.2198 | 1230044.7528 | 2692363.2143 | 1230017.897
136 | 2692325.5283 | 1230066.4506 | 2692310.2037 | 1230078.8668 | 2692308.6138 | 1230079.7589
137 | 2692363.2143 | 1230017.897 | 2692364.9578 | 1230015.8608 | 2692389.9051 | 1229990.6799
138 | 2693061.9166 | 1230110.3597 | 2693062.3418 | 1230109.745
139 | 2693267.0179 | 1229712.8767 | 2693268.6948 | 1229715.6161 | 2693270.9215 | 1229724.3573 | 2693274.4485 | 1229731.829 | 2693276.3627 | 1229737.7967 | 2693275.9262 | 1229747.2633 | 2693266.4996 | 1229769.5647 | 2693261.6602 | 1229782.954 | 2693260.2236 | 1229801.6004 | 2693259.1632 | 1229813.1698 | 2693260.2281 | 1229819.6578 | 2693264.5596 | 1229831.3897 | 2693270.5783 | 1229845.6832 | 2693275.2097 | 1229851.8158 | 2693278.5811 | 1229853.9246
140 | 2693267.0179 | 1229712.8767 | 2693467.1834 | 1229662.2826
141 | 2693467.1834 | 1229662.2826 | 2693483.4964 | 1229648.7626 | 2693490.6632 | 1229645.4396 | 2693498.0735 | 1229640.597 | 2693520.0551 | 1229602.4486 | 2693532.537 | 1229592.6267
142 | 2693532.537 | 1229592.6267 | 2693581.1025 | 1229506.0953 | 2693618.107 | 1229438.7961 | 2693629.5682 | 1229417.3389
143 | 2693644.6967 | 1229341.0225 | 2693629.5682 | 1229417.3389
144 | 2693644.6967 | 1229341.0225 | 2693695.6441 | 1229370.3902 | 2693699.6159 | 1229372.8965
145 | 2693718.849 | 1229385.033 | 2693699.6159 | 1229372.8965
146 | 2693718.849 | 1229385.033 | 2693727.0307 | 1229394.4791

## bus_geodata
| x | y | coords
0 | 2693192.4026 | 1228978.4977
1 | 2693219.0341 | 1228958.7858
2 | 2693132.187 | 1228982.8335
3 | 2693274.8811 | 1228913.3507
4 | 2693350.1346 | 1228999.6928
5 | 2693290.9269 | 1229062.9005
6 | 2693374.6968 | 1229029.8554
7 | 2693187.1238 | 1229138.6806
8 | 2693140.4698 | 1229162.9106
9 | 2693467.744 | 1228967.1893
10 | 2693557.6242 | 1228993.248
11 | 2693539.8378 | 1228879.7316
12 | 2693798.7762 | 1228991.4555
13 | 2693483.4878 | 1228939.545
14 | 2693125.0452 | 1229170.936
15 | 2692494.538 | 1229247.2261
16 | 2692485.4092 | 1229250.7653
17 | 2692521.5423 | 1229273.5537
18 | 2692543.9643 | 1229259.4249
19 | 2692475.9047 | 1229302.8204
20 | 2692463.0468 | 1229280.5462
21 | 2692617.3435 | 1229213.0141
22 | 2692424.0069 | 1229335.6372
23 | 2692738.5884 | 1229156.995
24 | 2692401.4701 | 1229349.9631
25 | 2692750.6929 | 1229160.1638
26 | 2692662.7214 | 1229447.521
27 | 2692666.1978 | 1229447.7352
28 | 2692390.6914 | 1229356.8212
29 | 2692382.1985 | 1229362.2249
30 | 2692172.4167 | 1229506.366
31 | 2692200.0325 | 1229536.2598
32 | 2692692.6926 | 1229473.9159
33 | 2692314.5142 | 1229621.3631
34 | 2692695.0615 | 1229481.8368
35 | 2692726.1667 | 1229514.1303
36 | 2692729.578 | 1229513.0031
37 | 2692748.3603 | 1229506.7969
38 | 2692759.9009 | 1229524.6897
39 | 2692731.6168 | 1229477.626
40 | 2692769.4174 | 1229519.6281
41 | 2692766.7763 | 1229535.1749
42 | 2692732.5108 | 1229467.3565
43 | 2692788.2311 | 1229509.6216
44 | 2692768.9428 | 1229538.5851
45 | 2692790.3794 | 1229577.1455
46 | 2692852.074 | 1229635.6627
47 | 2692912.9939 | 1229637.2937
48 | 2692829.0742 | 1229784.2041
49 | 2692754.2178 | 1229546.6044
50 | 2692924.899 | 1229643.3108
51 | 2692873.5955 | 1229917.6114
52 | 2692971.9821 | 1229481.6257
53 | 2693007.3992 | 1229471.7612
54 | 2692948.6317 | 1229425.471
55 | 2692848.5385 | 1229440.5014
56 | 2692831.7768 | 1229468.3507
57 | 2692827.4842 | 1229378.7621
58 | 2692743.7558 | 1229552.3021
59 | 2692927.971 | 1229646.1837
60 | 2692877.2572 | 1229926.1858
61 | 2692890.9723 | 1229888.8468
62 | 2693197.0286 | 1229477.8449
63 | 2692890.6509 | 1229323.6533
64 | 2692805.6216 | 1229500.3721
65 | 2692793.881 | 1229280.5885
66 | 2692736.5078 | 1229541.1826
67 | 2692781.4077 | 1229935.0517
68 | 2692888.5667 | 1229946.5838
69 | 2692710.37 | 1229540.7677
70 | 2692707.4041 | 1229542.6537
71 | 2692701.6434 | 1229546.3169
72 | 2692694.7542 | 1229550.6976
73 | 2692687.1539 | 1229555.8695
74 | 2692742.0345 | 1229937.7993
75 | 2692902.4263 | 1229962.4937
76 | 2692588.054 | 1229876.6857
77 | 2692899.4631 | 1229971.341
78 | 2692919.9249 | 1229966.5255
79 | 2692932.811 | 1229951.0936
80 | 2692943.5099 | 1229946.3705
81 | 2692980.7529 | 1229906.7978
82 | 2693076.5076 | 1229945.1609
83 | 2693006.1235 | 1229877.3438
84 | 2693091.3599 | 1229947.7937
85 | 2692838.8652 | 1230094.8804
86 | 2693092.9704 | 1229948.0792
87 | 2692827.8744 | 1230110.8153
88 | 2693148.1887 | 1229957.3785
89 | 2693265.1364 | 1229889.2216
90 | 2693278.045 | 1229901.8495
91 | 2693164.7062 | 1229700.11
92 | 2693192.1507 | 1229668.616
93 | 2693281.143 | 1229905.4592
94 | 2693213.3936 | 1229703.0931
95 | 2693164.5293 | 1229514.7176
96 | 2693294.4814 | 1229921.0009
97 | 2693216.2931 | 1229705.1686
98 | 2692822.4441 | 1230118.6884
99 | 2692522.7475 | 1229892.1163
100 | 2692571.921 | 1229831.9366
101 | 2692818.596 | 1230124.2675
102 | 2692817.0167 | 1230126.5572
103 | 2692469.9547 | 1229918.8776
104 | 2692564.3176 | 1229810.8465
105 | 2692435.515 | 1229952.1806
106 | 2692552.0022 | 1229776.6866
107 | 2692409.1807 | 1229973.045
108 | 2692537.0966 | 1229780.171
109 | 2692809.0624 | 1230169.893
110 | 2692820.7953 | 1230216.0364
111 | 2692794.4301 | 1230159.3041
112 | 2692815.5205 | 1230225.3472
113 | 2692778.7664 | 1230181.6329
114 | 2692811.8747 | 1230134.0123
115 | 2692772.2492 | 1230190.9233
116 | 2692778.3586 | 1229128.085
117 | 2692755.9925 | 1229144.9133
118 | 2692757.5153 | 1229177.9772
119 | 2692765.6211 | 1229199.1416
120 | 2692774.2731 | 1229223.2876
121 | 2693090.2627 | 1229189.0333
122 | 2692818.4688 | 1229248.6506
123 | 2692796.2509 | 1229229.4792
124 | 2693113.1016 | 1229177.1502
125 | 2692792.4196 | 1229227.1302
126 | 2692785.6437 | 1229222.9759
127 | 2692787.6868 | 1229224.2285
128 | 2692325.2551 | 1229628.443
129 | 2692296.519 | 1230012.1691
130 | 2692305.246 | 1230021.6184
131 | 2692306.9593 | 1230023.4735
132 | 2692336.2057 | 1230052.9631
133 | 2692325.5283 | 1230066.4506
134 | 2692363.2143 | 1230017.897
135 | 2692308.6138 | 1230079.7589
136 | 2692389.9051 | 1229990.6799
137 | 2693062.3418 | 1230109.745
138 | 2693061.9166 | 1230110.3597
139 | 2693278.5811 | 1229853.9246
140 | 2693267.0179 | 1229712.8767
141 | 2693467.1834 | 1229662.2826
142 | 2693532.537 | 1229592.6267
143 | 2693629.5682 | 1229417.3389
144 | 2693644.6967 | 1229341.0225
145 | 2693699.6159 | 1229372.8965
146 | 2693727.0307 | 1229394.4791
147 | 2693718.849 | 1229385.033
148 | 2692934.3487 | 1229652.1483

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1