## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_293-28_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_293-28_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_293-28_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_293-28_0_2_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_293-28_0_2_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_293-28_0_2_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_293-28_0_2_node_3 | 0.4 | n |  | TRUE
7 | bus_LV_293-28_0_2_node_75 | 0.4 | n |  | TRUE
8 | bus_LV_293-28_0_2_node_35 | 0.4 | n |  | TRUE
9 | bus_LV_293-28_0_2_node_85 | 0.4 | n |  | TRUE
10 | bus_LV_293-28_0_2_node_74 | 0.4 | n |  | TRUE
11 | bus_LV_293-28_0_2_node_36 | 0.4 | n |  | TRUE
12 | bus_LV_293-28_0_2_node_84 | 0.4 | n |  | TRUE
13 | bus_LV_293-28_0_2_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_293-28_0_2_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_293-28_0_2_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_293-28_0_2_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_293-28_0_2_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_293-28_0_2_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_293-28_0_2_node_13 | 0.4 | n |  | TRUE
20 | bus_LV_293-28_0_2_node_14 | 0.4 | n |  | TRUE
21 | bus_LV_293-28_0_2_node_17 | 0.4 | n |  | TRUE
22 | bus_LV_293-28_0_2_node_65 | 0.4 | n |  | TRUE
23 | bus_LV_293-28_0_2_node_18 | 0.4 | n |  | TRUE
24 | bus_LV_293-28_0_2_node_15 | 0.4 | n |  | TRUE
25 | bus_LV_293-28_0_2_node_16 | 0.4 | n |  | TRUE
26 | bus_LV_293-28_0_2_node_80 | 0.4 | n |  | TRUE
27 | bus_LV_293-28_0_2_node_81 | 0.4 | n |  | TRUE
28 | bus_LV_293-28_0_2_node_19 | 0.4 | n |  | TRUE
29 | bus_LV_293-28_0_2_node_33 | 0.4 | n |  | TRUE
30 | bus_LV_293-28_0_2_node_34 | 0.4 | n |  | TRUE
31 | bus_LV_293-28_0_2_node_20 | 0.4 | n |  | TRUE
32 | bus_LV_293-28_0_2_node_21 | 0.4 | n |  | TRUE
33 | bus_LV_293-28_0_2_node_22 | 0.4 | n |  | TRUE
34 | bus_LV_293-28_0_2_node_23 | 0.4 | n |  | TRUE
35 | bus_LV_293-28_0_2_node_24 | 0.4 | n |  | TRUE
36 | bus_LV_293-28_0_2_node_59 | 0.4 | n |  | TRUE
37 | bus_LV_293-28_0_2_node_60 | 0.4 | n |  | TRUE
38 | bus_LV_293-28_0_2_node_58 | 0.4 | n |  | TRUE
39 | bus_LV_293-28_0_2_node_30 | 0.4 | n |  | TRUE
40 | bus_LV_293-28_0_2_node_27 | 0.4 | n |  | TRUE
41 | bus_LV_293-28_0_2_node_31 | 0.4 | n |  | TRUE
42 | bus_LV_293-28_0_2_node_25 | 0.4 | n |  | TRUE
43 | bus_LV_293-28_0_2_node_26 | 0.4 | n |  | TRUE
44 | bus_LV_293-28_0_2_node_28 | 0.4 | n |  | TRUE
45 | bus_LV_293-28_0_2_node_29 | 0.4 | n |  | TRUE
46 | bus_LV_293-28_0_2_node_77 | 0.4 | n |  | TRUE
47 | bus_LV_293-28_0_2_node_78 | 0.4 | n |  | TRUE
48 | bus_LV_293-28_0_2_node_79 | 0.4 | n |  | TRUE
49 | bus_LV_293-28_0_2_node_37 | 0.4 | n |  | TRUE
50 | bus_LV_293-28_0_2_node_38 | 0.4 | n |  | TRUE
51 | bus_LV_293-28_0_2_node_39 | 0.4 | n |  | TRUE
52 | bus_LV_293-28_0_2_node_40 | 0.4 | n |  | TRUE
53 | bus_LV_293-28_0_2_node_41 | 0.4 | n |  | TRUE
54 | bus_LV_293-28_0_2_node_42 | 0.4 | n |  | TRUE
55 | bus_LV_293-28_0_2_node_43 | 0.4 | n |  | TRUE
56 | bus_LV_293-28_0_2_node_44 | 0.4 | n |  | TRUE
57 | bus_LV_293-28_0_2_node_47 | 0.4 | n |  | TRUE
58 | bus_LV_293-28_0_2_node_45 | 0.4 | n |  | TRUE
59 | bus_LV_293-28_0_2_node_48 | 0.4 | n |  | TRUE
60 | bus_LV_293-28_0_2_node_46 | 0.4 | n |  | TRUE
61 | bus_LV_293-28_0_2_node_49 | 0.4 | n |  | TRUE
62 | bus_LV_293-28_0_2_node_50 | 0.4 | n |  | TRUE
63 | bus_LV_293-28_0_2_node_51 | 0.4 | n |  | TRUE
64 | bus_LV_293-28_0_2_node_52 | 0.4 | n |  | TRUE
65 | bus_LV_293-28_0_2_node_53 | 0.4 | n |  | TRUE
66 | bus_LV_293-28_0_2_node_56 | 0.4 | n |  | TRUE
67 | bus_LV_293-28_0_2_node_54 | 0.4 | n |  | TRUE
68 | bus_LV_293-28_0_2_node_57 | 0.4 | n |  | TRUE
69 | bus_LV_293-28_0_2_node_55 | 0.4 | n |  | TRUE
70 | bus_LV_293-28_0_2_node_62 | 0.4 | n |  | TRUE
71 | bus_LV_293-28_0_2_node_63 | 0.4 | n |  | TRUE
72 | bus_LV_293-28_0_2_node_61 | 0.4 | n |  | TRUE
73 | bus_LV_293-28_0_2_node_64 | 0.4 | n |  | TRUE
74 | bus_LV_293-28_0_2_node_91 | 0.4 | n |  | TRUE
75 | bus_LV_293-28_0_2_node_94 | 0.4 | n |  | TRUE
76 | bus_LV_293-28_0_2_node_86 | 0.4 | n |  | TRUE
77 | bus_LV_293-28_0_2_node_87 | 0.4 | n |  | TRUE
78 | bus_LV_293-28_0_2_node_88 | 0.4 | n |  | TRUE
79 | bus_LV_293-28_0_2_node_92 | 0.4 | n |  | TRUE
80 | bus_LV_293-28_0_2_node_93 | 0.4 | n |  | TRUE
81 | bus_LV_293-28_0_2_node_89 | 0.4 | n |  | TRUE
82 | bus_LV_293-28_0_2_node_90 | 0.4 | n |  | TRUE
83 | bus_LV_293-28_0_2_node_95 | 0.4 | n |  | TRUE
84 | bus_LV_293-28_0_2_node_68 | 0.4 | n |  | TRUE
85 | bus_LV_293-28_0_2_node_69 | 0.4 | n |  | TRUE
86 | bus_LV_293-28_0_2_node_70 | 0.4 | n |  | TRUE
87 | bus_LV_293-28_0_2_node_71 | 0.4 | n |  | TRUE
88 | bus_LV_293-28_0_2_node_72 | 0.4 | n |  | TRUE
89 | bus_LV_293-28_0_2_node_73 | 0.4 | n |  | TRUE
90 | bus_LV_293-28_0_2_node_76 | 0.4 | n |  | TRUE
91 | bus_LV_293-28_0_2_node_96 | 0.4 | n |  | TRUE
92 | bus_LV_293-28_0_2_node_82 | 0.4 | n |  | TRUE
93 | bus_LV_293-28_0_2_node_83 | 0.4 | n |  | TRUE
94 | bus_MV_0_node_84 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_293-28_0_2_load_0 | 0 | 0.01073 | 0.0026892 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_293-28_0_2_load_4 | 3 | 0.0039904 | 0.0010001 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_293-28_0_2_load_5 | 4 | 0.0010964 | 0.00027477 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_293-28_0_2_load_75 | 7 | 0.0011463 | 0.00028729 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_293-28_0_2_load_35 | 8 | 0.0028885 | 0.00072391 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_293-28_0_2_load_85 | 9 | 0.0033741 | 0.00084563 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_293-28_0_2_load_74 | 10 | 0.0004279 | 0.00010724 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_293-28_0_2_load_36 | 11 | 0.00037879 | 9.4935e-05 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_293-28_0_2_load_84 | 12 | 0.0037425 | 0.00093797 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_293-28_0_2_load_7 | 13 | 0.00023994 | 6.0134e-05 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_293-28_0_2_load_10 | 16 | 0.00034476 | 8.6404e-05 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_293-28_0_2_load_11 | 17 | 0.00016699 | 4.1853e-05 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_293-28_0_2_load_12 | 18 | 0.00042257 | 0.00010591 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_293-28_0_2_load_13 | 19 | 0.00032089 | 8.0421e-05 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_293-28_0_2_load_14 | 20 | 5.3382e-05 | 1.3379e-05 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_293-28_0_2_load_17 | 21 | 0.0001292 | 3.2381e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_293-28_0_2_load_65 | 22 | 0.0008002 | 0.00020055 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_293-28_0_2_load_15 | 24 | 0.00011996 | 3.0064e-05 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_293-28_0_2_load_16 | 25 | 7.4003e-05 | 1.8547e-05 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_293-28_0_2_load_80 | 26 | 0.00012691 | 3.1807e-05 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_293-28_0_2_load_81 | 27 | 4.2032e-05 | 1.0534e-05 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_293-28_0_2_load_33 | 29 | 0.00011072 | 2.7749e-05 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_293-28_0_2_load_34 | 30 | 5.3296e-05 | 1.3357e-05 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_293-28_0_2_load_20 | 31 | 0.00078819 | 0.00019754 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_293-28_0_2_load_21 | 32 | 0.00043759 | 0.00010967 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_293-28_0_2_load_22 | 33 | 0.00014111 | 3.5365e-05 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_293-28_0_2_load_24 | 35 | 0.00021044 | 5.2742e-05 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_293-28_0_2_load_59 | 36 | 0.00012913 | 3.2362e-05 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_293-28_0_2_load_60 | 37 | 0.00033525 | 8.4021e-05 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_293-28_0_2_load_58 | 38 | 0.00011594 | 2.9057e-05 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_293-28_0_2_load_30 | 39 | 0.0002416 | 6.0551e-05 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_293-28_0_2_load_27 | 40 | 0.0016018 | 0.00040146 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_293-28_0_2_load_25 | 42 | 0.00018703 | 4.6875e-05 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_293-28_0_2_load_26 | 43 | 0.00017047 | 4.2724e-05 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_293-28_0_2_load_28 | 44 | 0.00079767 | 0.00019991 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_293-28_0_2_load_29 | 45 | 0.0024957 | 0.00062547 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_293-28_0_2_load_77 | 46 | 0.00027953 | 7.0057e-05 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_293-28_0_2_load_78 | 47 | 0.00011487 | 2.8789e-05 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_293-28_0_2_load_37 | 49 | 0.00030911 | 7.747e-05 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_293-28_0_2_load_38 | 50 | 0.00096951 | 0.00024298 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_293-28_0_2_load_40 | 52 | 0.00039262 | 9.8399e-05 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_293-28_0_2_load_41 | 53 | 9.3567e-05 | 2.345e-05 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_293-28_0_2_load_42 | 54 | 0.0001947 | 4.8796e-05 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_293-28_0_2_load_43 | 55 | 0.00018043 | 4.5221e-05 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_293-28_0_2_load_47 | 57 | 0.00023917 | 5.9941e-05 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_293-28_0_2_load_45 | 58 | 0.00027468 | 6.8841e-05 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_293-28_0_2_load_48 | 59 | 0.00095153 | 0.00023848 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_293-28_0_2_load_46 | 60 | 0.00067535 | 0.00016926 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_293-28_0_2_load_49 | 61 | 0.00020939 | 5.2477e-05 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_293-28_0_2_load_51 | 63 | 0.00023046 | 5.7758e-05 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_293-28_0_2_load_52 | 64 | 0.00054702 | 0.0001371 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_293-28_0_2_load_53 | 65 | 0.00038948 | 9.7613e-05 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_293-28_0_2_load_56 | 66 | 0.00024325 | 6.0964e-05 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_293-28_0_2_load_54 | 67 | 0.00015905 | 3.9862e-05 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_293-28_0_2_load_55 | 69 | 0.0001261 | 3.1605e-05 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_293-28_0_2_load_62 | 70 | 0.00029058 | 7.2826e-05 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_293-28_0_2_load_64 | 73 | 0.00089605 | 0.00022457 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_293-28_0_2_load_91 | 74 | 0.00037233 | 9.3316e-05 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_293-28_0_2_load_94 | 75 | 0.00091763 | 0.00022998 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_293-28_0_2_load_86 | 76 | 0.00029328 | 7.3502e-05 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_293-28_0_2_load_87 | 77 | 0.00023044 | 5.7755e-05 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_293-28_0_2_load_92 | 79 | 0.00014365 | 3.6002e-05 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_293-28_0_2_load_89 | 81 | 0.00041606 | 0.00010427 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_293-28_0_2_load_90 | 82 | 0.00027645 | 6.9284e-05 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_293-28_0_2_load_95 | 83 | 0.0009088 | 0.00022777 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_293-28_0_2_load_68 | 84 | 0.00016833 | 4.2188e-05 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_293-28_0_2_load_69 | 85 | 0.0034672 | 0.00086895 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_293-28_0_2_load_70 | 86 | 0.00015823 | 3.9656e-05 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_293-28_0_2_load_96 | 91 | 0.00013231 | 3.3159e-05 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_293-28_0_2_load_82 | 92 | 7.3946e-05 | 1.8532e-05 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_293-28_0_2_load_83 | 93 | 8.9005e-05 | 2.2307e-05 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 12 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_293-28_0_2_line_0 |  | 0 | 1 | 0.071637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
1 | LV_293-28_0_2_line_1 |  | 0 | 2 | 0.0050041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
2 | LV_293-28_0_2_line_2 |  | 1 | 3 | 0.071303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
3 | LV_293-28_0_2_line_3 |  | 2 | 4 | 0.030512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_293-28_0_2_line_4 |  | 2 | 5 | 0.022416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
5 | LV_293-28_0_2_line_5 |  | 3 | 8 | 0.40026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
6 | LV_293-28_0_2_line_6 |  | 4 | 6 | 0.072146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_293-28_0_2_line_7 |  | 5 | 9 | 0.043799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
8 | LV_293-28_0_2_line_8 |  | 6 | 7 | 0.079842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_293-28_0_2_line_9 |  | 7 | 10 | 0.052562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_293-28_0_2_line_10 |  | 8 | 11 | 0.23359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
11 | LV_293-28_0_2_line_11 |  | 9 | 12 | 0.29881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
12 | LV_293-28_0_2_line_12 |  | 10 | 88 | 0.023241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_293-28_0_2_line_13 |  | 11 | 46 | 0.014814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
14 | LV_293-28_0_2_line_14 |  | 11 | 30 | 0.46411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_293-28_0_2_line_15 |  | 13 | 14 | 0.011665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_293-28_0_2_line_16 |  | 13 | 15 | 0.0095694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_293-28_0_2_line_17 |  | 14 | 16 | 0.03919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_293-28_0_2_line_18 |  | 14 | 17 | 0.016679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_293-28_0_2_line_19 |  | 14 | 18 | 0.059724 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_293-28_0_2_line_20 |  | 15 | 19 | 0.020273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_293-28_0_2_line_21 |  | 15 | 20 | 0.10851 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_293-28_0_2_line_22 |  | 17 | 21 | 0.022127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_293-28_0_2_line_23 |  | 20 | 22 | 0.02399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_293-28_0_2_line_24 |  | 21 | 23 | 0.070911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_293-28_0_2_line_25 |  | 23 | 28 | 0.19879 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_293-28_0_2_line_26 |  | 24 | 25 | 0.0034211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_293-28_0_2_line_27 |  | 25 | 26 | 0.0085697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_293-28_0_2_line_28 |  | 26 | 27 | 0.0053782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_293-28_0_2_line_29 |  | 27 | 93 | 0.0079256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_293-28_0_2_line_30 |  | 28 | 29 | 0.07715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_293-28_0_2_line_31 |  | 29 | 30 | 0.12501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_293-28_0_2_line_32 |  | 31 | 32 | 0.12232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_293-28_0_2_line_33 |  | 31 | 33 | 0.02248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_293-28_0_2_line_34 |  | 32 | 34 | 0.048289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_293-28_0_2_line_35 |  | 33 | 35 | 0.021543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_293-28_0_2_line_36 |  | 34 | 39 | 0.030978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_293-28_0_2_line_37 |  | 36 | 37 | 0.12891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_293-28_0_2_line_38 |  | 36 | 38 | 0.1103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_293-28_0_2_line_39 |  | 37 | 40 | 0.22201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_293-28_0_2_line_40 |  | 38 | 68 | 0.017556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_293-28_0_2_line_41 |  | 39 | 41 | 0.025774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_293-28_0_2_line_42 |  | 40 | 45 | 0.022393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_293-28_0_2_line_43 |  | 40 | 42 | 0.015182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_293-28_0_2_line_44 |  | 41 | 44 | 0.026603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_293-28_0_2_line_45 |  | 42 | 43 | 0.0023217 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_293-28_0_2_line_46 |  | 43 | 44 | 0.007813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_293-28_0_2_line_47 |  | 46 | 47 | 0.014843 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
48 | LV_293-28_0_2_line_48 |  | 47 | 48 | 0.16523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
49 | LV_293-28_0_2_line_49 |  | 48 | 75 | 0.095456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
50 | LV_293-28_0_2_line_50 |  | 49 | 50 | 0.043825 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_293-28_0_2_line_51 |  | 49 | 51 | 0.16973 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_293-28_0_2_line_52 |  | 50 | 52 | 0.0025688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_293-28_0_2_line_53 |  | 51 | 53 | 0.16443 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_293-28_0_2_line_54 |  | 51 | 54 | 0.11569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_293-28_0_2_line_55 |  | 52 | 55 | 0.0017119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_293-28_0_2_line_56 |  | 55 | 56 | 0.056916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_293-28_0_2_line_57 |  | 56 | 57 | 0.12232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_293-28_0_2_line_58 |  | 56 | 58 | 0.058151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_293-28_0_2_line_59 |  | 57 | 59 | 0.023445 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_293-28_0_2_line_60 |  | 58 | 60 | 0.0038291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_293-28_0_2_line_61 |  | 59 | 61 | 0.042657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_293-28_0_2_line_62 |  | 61 | 62 | 0.01475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_293-28_0_2_line_63 |  | 62 | 63 | 0.031831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
64 | LV_293-28_0_2_line_64 |  | 62 | 64 | 0.017333 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_293-28_0_2_line_65 |  | 63 | 65 | 0.0030029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
66 | LV_293-28_0_2_line_66 |  | 64 | 66 | 0.011542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_293-28_0_2_line_67 |  | 65 | 67 | 0.0062258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
68 | LV_293-28_0_2_line_68 |  | 66 | 68 | 0.001738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_293-28_0_2_line_69 |  | 67 | 69 | 0.0042111 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
70 | LV_293-28_0_2_line_70 |  | 69 | 70 | 0.024679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
71 | LV_293-28_0_2_line_71 |  | 70 | 71 | 0.021563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
72 | LV_293-28_0_2_line_72 |  | 71 | 73 | 0.14471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
73 | LV_293-28_0_2_line_73 |  | 72 | 73 | 0.11085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
74 | LV_293-28_0_2_line_74 |  | 72 | 74 | 0.29287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
75 | LV_293-28_0_2_line_75 |  | 74 | 81 | 0.063244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
76 | LV_293-28_0_2_line_76 |  | 75 | 83 | 0.019137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
77 | LV_293-28_0_2_line_77 |  | 76 | 77 | 0.054141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_293-28_0_2_line_78 |  | 77 | 78 | 0.028723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_293-28_0_2_line_79 |  | 78 | 79 | 0.037939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
80 | LV_293-28_0_2_line_80 |  | 78 | 80 | 0.056587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
81 | LV_293-28_0_2_line_81 |  | 79 | 82 | 0.012023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
82 | LV_293-28_0_2_line_82 |  | 80 | 83 | 0.040423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
83 | LV_293-28_0_2_line_83 |  | 81 | 82 | 0.0098555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
84 | LV_293-28_0_2_line_84 |  | 84 | 85 | 0.013127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_293-28_0_2_line_85 |  | 85 | 86 | 0.050929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_293-28_0_2_line_86 |  | 86 | 87 | 0.018965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_293-28_0_2_line_87 |  | 87 | 88 | 0.005315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_293-28_0_2_line_88 |  | 87 | 89 | 0.049391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_293-28_0_2_line_89 |  | 88 | 90 | 0.1752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_293-28_0_2_line_90 |  | 89 | 91 | 0.066797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_293-28_0_2_line_91 |  | 90 | 92 | 0.0033747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_293-28_0_2_line_92 |  | 92 | 93 | 0.00096896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_293-28_0_2_trafo_84 | 0.63 MVA 20/0.4 kV | 94 | 12 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2689912.1434 | 1228923.414 | 2689917.8469 | 1228977.1715 | 2689921.5091 | 1228994.3639
1 | 2689922.5517 | 1228999.2582 | 2689921.5091 | 1228994.3639
2 | 2689912.1434 | 1228923.414 | 2689952.6676 | 1228911.396 | 2689978.8244 | 1228898.7935
3 | 2689922.5517 | 1228999.2582 | 2689910.1645 | 1228987.1179 | 2689898.5815 | 1228980.8556
4 | 2689934.9428 | 1229017.6474 | 2689923.1953 | 1229002.2923 | 2689922.5517 | 1228999.2582
5 | 2689978.8244 | 1228898.7935 | 2690356.2808 | 1228765.6355
6 | 2689833.6359 | 1228950.8361 | 2689842.7069 | 1228951.7849 | 2689852.1715 | 1228955.764 | 2689898.5815 | 1228980.8556
7 | 2689934.9428 | 1229017.6474 | 2689941.8889 | 1229025.8137 | 2689957.8336 | 1229039.6979 | 2689967.2718 | 1229032.3911 | 2689967.2718 | 1229032.3911
8 | 2689833.6359 | 1228950.8361 | 2689813.7508 | 1228959.9979 | 2689803.2773 | 1228962.6083 | 2689791.59 | 1228960.7973 | 2689757.5883 | 1228951.2125
9 | 2689706.1174 | 1228941.5677 | 2689712.7728 | 1228941.5278 | 2689740.3273 | 1228946.3468 | 2689757.5883 | 1228951.2125
10 | 2690356.2808 | 1228765.6355 | 2690377.7414 | 1228758.3418 | 2690505.6822 | 1228713.0883 | 2690551.952 | 1228691.6884 | 2690575.5193 | 1228686.0495
11 | 2689967.2718 | 1229032.3911 | 2690236.1754 | 1229162.6876
12 | 2689682.9793 | 1228943.48 | 2689700.1174 | 1228941.6037 | 2689706.1174 | 1228941.5677
13 | 2690589.8961 | 1228682.4846 | 2690586.9905 | 1228683.3048 | 2690575.5193 | 1228686.0495
14 | 2690226.3413 | 1228380.3234 | 2690575.5193 | 1228686.0495
15 | 2689732.8667 | 1228399.9384 | 2689721.2809 | 1228398.5847
16 | 2689711.7761 | 1228397.4741 | 2689721.2809 | 1228398.5847
17 | 2689732.8667 | 1228399.9384 | 2689732.637 | 1228406.117 | 2689732.7526 | 1228410.5107 | 2689734.5839 | 1228439.0639
18 | 2689732.8667 | 1228399.9384 | 2689749.4117 | 1228402.0487
19 | 2689732.8667 | 1228399.9384 | 2689734.1263 | 1228391.7961 | 2689735.4369 | 1228386.3009 | 2689739.8409 | 1228373.6806 | 2689750.673 | 1228343.0722
20 | 2689711.7761 | 1228397.4741 | 2689700.7294 | 1228399.8425 | 2689691.8476 | 1228398.5507
21 | 2689711.7761 | 1228397.4741 | 2689707.2105 | 1228390.1779 | 2689703.4112 | 1228380.3137 | 2689699.8761 | 1228362.9815 | 2689697.2593 | 1228348.0649 | 2689695.137 | 1228324.483 | 2689693.63 | 1228309.85 | 2689690.9748 | 1228300.4922 | 2689687.2816 | 1228292.9606
22 | 2689749.4117 | 1228402.0487 | 2689768.3624 | 1228404.4659 | 2689771.3804 | 1228404.6271
23 | 2689678.0589 | 1228270.8378 | 2689683.8506 | 1228285.9635 | 2689687.2816 | 1228292.9606
24 | 2689839.5682 | 1228388.2849 | 2689818.1854 | 1228396.1343 | 2689792.9199 | 1228404.1696 | 2689783.4609 | 1228405.2721 | 2689771.3804 | 1228404.6271
25 | 2689839.5682 | 1228388.2849 | 2689864.6099 | 1228377.5222 | 2689873.5616 | 1228376.39 | 2689892.0131 | 1228377.4806 | 2689916.9055 | 1228380.6035 | 2689941.6266 | 1228388.0379 | 2689953.5163 | 1228391.5646 | 2689968.8557 | 1228392.4861 | 2689988.548 | 1228388.6924 | 2690029.7644 | 1228376.2517 | 2690032.4368 | 1228375.4249
26 | 2689723.6668 | 1228747.0215 | 2689724.7119 | 1228743.764
27 | 2689723.6668 | 1228747.0215 | 2689721.0487 | 1228755.1814
28 | 2689721.0487 | 1228755.1814 | 2689719.4057 | 1228760.3025
29 | 2689719.4057 | 1228760.3025 | 2689716.9844 | 1228767.8492
30 | 2690032.4368 | 1228375.4249 | 2690054.9817 | 1228368.4278 | 2690074.8646 | 1228370.5748 | 2690092.595 | 1228375.7358 | 2690107.4134 | 1228378.5288
31 | 2690107.4134 | 1228378.5288 | 2690107.4134 | 1228378.5288 | 2690119.9209 | 1228376.2945 | 2690140.852 | 1228367.7834 | 2690161.3633 | 1228361.9679 | 2690178.2376 | 1228362.1237 | 2690201.0607 | 1228370.2643 | 2690220.2931 | 1228378.8176 | 2690226.3413 | 1228380.3234
32 | 2690895.1482 | 1229613.8466 | 2690915.899 | 1229533.28 | 2690936.7065 | 1229500.1509
33 | 2690948.6631 | 1229481.1139 | 2690936.7065 | 1229500.1509
34 | 2690886.4602 | 1229661.332 | 2690893.7801 | 1229619.1584 | 2690895.1482 | 1229613.8466
35 | 2690948.6631 | 1229481.1139 | 2690960.1211 | 1229462.8709
36 | 2690886.4602 | 1229661.332 | 2690873.1891 | 1229674.5164 | 2690862.1921 | 1229679.9609
37 | 2690639.9795 | 1229512.8323 | 2690639.9795 | 1229512.8323 | 2690659.7741 | 1229494.1763 | 2690670.9947 | 1229463.9147 | 2690675.2769 | 1229429.5557 | 2690680.8004 | 1229411.6828 | 2690679.1143 | 1229395.6684
38 | 2690605.3003 | 1229340.156 | 2690626.3228 | 1229342.6036 | 2690652.5381 | 1229345.6497 | 2690670.4149 | 1229354.4061 | 2690675.7773 | 1229363.9724 | 2690679.1143 | 1229395.6684
39 | 2690639.9795 | 1229512.8323 | 2690793.1428 | 1229673.5488
40 | 2690587.8624 | 1229338.1257 | 2690605.3003 | 1229340.156
41 | 2690839.0944 | 1229691.3964 | 2690862.1921 | 1229679.9609
42 | 2690779.745 | 1229691.4911 | 2690793.1428 | 1229673.5488 | 2690793.1428 | 1229673.5488
43 | 2690793.1428 | 1229673.5488 | 2690808.1903 | 1229671.5327 | 2690808.1903 | 1229671.5327
44 | 2690839.0944 | 1229691.3964 | 2690816.7158 | 1229677.0125
45 | 2690810.1433 | 1229672.788 | 2690808.1903 | 1229671.5327
46 | 2690816.7158 | 1229677.0125 | 2690810.1433 | 1229672.788
47 | 2690589.8961 | 1228682.4846 | 2690604.1809 | 1228678.4522
48 | 2690761.7357 | 1228648.4548 | 2690751.4226 | 1228649.9207 | 2690744.0958 | 1228653.3336 | 2690737.094 | 1228659.2866 | 2690722.7576 | 1228668.6634 | 2690709.5626 | 1228671.2863 | 2690690.441 | 1228669.4824 | 2690667.8007 | 1228666.8576 | 2690647.4863 | 1228667.7376 | 2690618.7188 | 1228674.3484 | 2690604.1809 | 1228678.4522
49 | 2690761.7357 | 1228648.4548 | 2690757.1573 | 1228668.8994 | 2690755.1751 | 1228696.9779 | 2690758.0108 | 1228743.248
50 | 2690335.143 | 1229558.106 | 2690370.4164 | 1229532.0975
51 | 2690186.3012 | 1229630.1859 | 2690192.7538 | 1229621.8667 | 2690208.5398 | 1229604.1269 | 2690221.856 | 1229597.3685 | 2690304.8628 | 1229573.5891 | 2690327.6685 | 1229563.6173 | 2690335.143 | 1229558.106
52 | 2690370.4164 | 1229532.0975 | 2690372.4839 | 1229530.5731
53 | 2690186.3012 | 1229630.1859 | 2690172.7002 | 1229647.7366 | 2690145.2019 | 1229694.3972 | 2690126.313 | 1229733.9167 | 2690122.1506 | 1229752.0998 | 2690121.111 | 1229777.6911
54 | 2690290.4324 | 1229630.2435 | 2690281.1716 | 1229638.8757 | 2690268.0614 | 1229643.5467 | 2690260.5821 | 1229642.1322 | 2690240.6142 | 1229625.9066 | 2690225.6605 | 1229622.7553 | 2690198.1471 | 1229631.4331 | 2690186.3012 | 1229630.1859
55 | 2690372.4839 | 1229530.5731 | 2690373.8617 | 1229529.5571
56 | 2690417.3006 | 1229492.8623 | 2690387.582 | 1229519.4406 | 2690373.8617 | 1229529.5571
57 | 2690417.3006 | 1229492.8623 | 2690514.7343 | 1229418.9114
58 | 2690417.3006 | 1229492.8623 | 2690423.0564 | 1229506.4706 | 2690424.4231 | 1229523.7147 | 2690433.7432 | 1229532.6293 | 2690445.6309 | 1229538.3223
59 | 2690514.7343 | 1229418.9114 | 2690533.4094 | 1229404.7373
60 | 2690445.6309 | 1229538.3223 | 2690449.0844 | 1229539.9762
61 | 2690533.4094 | 1229404.7373 | 2690560.2139 | 1229384.393 | 2690566.4282 | 1229377.8738
62 | 2690574.8999 | 1229365.859 | 2690568.8224 | 1229375.3621 | 2690566.4282 | 1229377.8738
63 | 2690574.8999 | 1229365.859 | 2690570.487 | 1229360.0989 | 2690565.3223 | 1229350.469 | 2690565.0921 | 1229339.2242 | 2690563.3815 | 1229337.5411
64 | 2690574.8999 | 1229365.859 | 2690582.2392 | 1229350.1566
65 | 2690561.241 | 1229335.435 | 2690563.3815 | 1229337.5411
66 | 2690582.2392 | 1229350.1566 | 2690587.1265 | 1229339.7001
67 | 2690561.241 | 1229335.435 | 2690556.8032 | 1229331.0685
68 | 2690587.8624 | 1229338.1257 | 2690587.1265 | 1229339.7001
69 | 2690556.8032 | 1229331.0685 | 2690554.7157 | 1229329.0145 | 2690553.8427 | 1229328.075
70 | 2690535.683 | 1229311.828 | 2690541.3121 | 1229314.5892 | 2690553.8427 | 1229328.075
71 | 2690519.8642 | 1229297.5062 | 2690531.5802 | 1229309.8154 | 2690535.683 | 1229311.828
72 | 2690519.8642 | 1229297.5062 | 2690538.5899 | 1229276.4207 | 2690550.1059 | 1229278.4752 | 2690552.3859 | 1229173.6867
73 | 2690655.6322 | 1229162.1447 | 2690556.097 | 1229163.2405 | 2690552.456 | 1229170.4679 | 2690552.3859 | 1229173.6867
74 | 2690655.6322 | 1229162.1447 | 2690825.0254 | 1228923.2373
75 | 2690825.0254 | 1228923.2373 | 2690812.4953 | 1228910.6371 | 2690810.4153 | 1228904.9347 | 2690812.0149 | 1228897.943 | 2690834.4183 | 1228875.3469 | 2690834.6195 | 1228874.9867
76 | 2690758.0108 | 1228743.248 | 2690759.1814 | 1228762.3491
77 | 2690895.6424 | 1228824.1903 | 2690852.5016 | 1228826.544 | 2690841.5665 | 1228826.3683
78 | 2690812.8843 | 1228825.1604 | 2690824.1834 | 1228826.0891 | 2690841.5665 | 1228826.3683
79 | 2690812.8843 | 1228825.1604 | 2690836.159 | 1228855.1215
80 | 2690761.6541 | 1228802.6959 | 2690780.7465 | 1228815.8077 | 2690808.8354 | 1228824.8205 | 2690812.8843 | 1228825.1604
81 | 2690836.159 | 1228855.1215 | 2690838.0768 | 1228857.5902 | 2690839.4276 | 1228866.3837
82 | 2690761.6541 | 1228802.6959 | 2690759.1814 | 1228762.3491
83 | 2690834.6195 | 1228874.9867 | 2690839.4276 | 1228866.3837 | 2690839.4276 | 1228866.3837
84 | 2689672.3983 | 1229031.1783 | 2689672.7382 | 1229028.6412 | 2689674.0049 | 1229018.1501
85 | 2689674.0049 | 1229018.1501 | 2689680.1099 | 1228967.5887
86 | 2689682.3012 | 1228948.7512 | 2689681.7611 | 1228953.9134 | 2689680.1099 | 1228967.5887
87 | 2689682.9793 | 1228943.48 | 2689682.3012 | 1228948.7512
88 | 2689633.2544 | 1228955.6724 | 2689682.3012 | 1228948.7512
89 | 2689715.6574 | 1228771.9852 | 2689702.5045 | 1228813.038 | 2689699.7121 | 1228822.3358 | 2689696.9981 | 1228832.9579 | 2689691.7029 | 1228876.5532 | 2689682.9793 | 1228943.48
90 | 2689633.2544 | 1228955.6724 | 2689627.4814 | 1229005.8653 | 2689624.8899 | 1229011.8971 | 2689629.1275 | 1229013.7845 | 2689634.1971 | 1229014.2613
91 | 2689715.6574 | 1228771.9852 | 2689716.6883 | 1228768.7718
92 | 2689716.9844 | 1228767.8492 | 2689716.6883 | 1228768.7718

## bus_geodata
| x | y | coords
0 | 2689921.5091 | 1228994.3639
1 | 2689912.1434 | 1228923.414
2 | 2689922.5517 | 1228999.2582
3 | 2689978.8244 | 1228898.7935
4 | 2689898.5815 | 1228980.8556
5 | 2689934.9428 | 1229017.6474
6 | 2689833.6359 | 1228950.8361
7 | 2689757.5883 | 1228951.2125
8 | 2690356.2808 | 1228765.6355
9 | 2689967.2718 | 1229032.3911
10 | 2689706.1174 | 1228941.5677
11 | 2690575.5193 | 1228686.0495
12 | 2690236.1754 | 1229162.6876
13 | 2689721.2809 | 1228398.5847
14 | 2689732.8667 | 1228399.9384
15 | 2689711.7761 | 1228397.4741
16 | 2689734.5839 | 1228439.0639
17 | 2689749.4117 | 1228402.0487
18 | 2689750.673 | 1228343.0722
19 | 2689691.8476 | 1228398.5507
20 | 2689687.2817 | 1228292.9606
21 | 2689771.3804 | 1228404.6271
22 | 2689678.0589 | 1228270.8378
23 | 2689839.5682 | 1228388.2849
24 | 2689724.7119 | 1228743.764
25 | 2689723.6668 | 1228747.0215
26 | 2689721.0487 | 1228755.1814
27 | 2689719.4057 | 1228760.3025
28 | 2690032.4368 | 1228375.4249
29 | 2690107.4134 | 1228378.5288
30 | 2690226.3413 | 1228380.3234
31 | 2690936.7065 | 1229500.1509
32 | 2690895.1482 | 1229613.8466
33 | 2690948.6631 | 1229481.1139
34 | 2690886.4602 | 1229661.332
35 | 2690960.1211 | 1229462.8709
36 | 2690679.1143 | 1229395.6684
37 | 2690639.9795 | 1229512.8323
38 | 2690605.3003 | 1229340.156
39 | 2690862.1921 | 1229679.9609
40 | 2690793.1428 | 1229673.5488
41 | 2690839.0944 | 1229691.3964
42 | 2690808.1903 | 1229671.5327
43 | 2690810.1433 | 1229672.788
44 | 2690816.7158 | 1229677.0125
45 | 2690779.745 | 1229691.4911
46 | 2690589.8961 | 1228682.4846
47 | 2690604.1809 | 1228678.4522
48 | 2690761.7357 | 1228648.4548
49 | 2690335.143 | 1229558.106
50 | 2690370.4164 | 1229532.0975
51 | 2690186.3012 | 1229630.1859
52 | 2690372.4839 | 1229530.5731
53 | 2690121.111 | 1229777.6911
54 | 2690290.4324 | 1229630.2435
55 | 2690373.8617 | 1229529.5571
56 | 2690417.3006 | 1229492.8623
57 | 2690514.7343 | 1229418.9114
58 | 2690445.6309 | 1229538.3223
59 | 2690533.4094 | 1229404.7373
60 | 2690449.0844 | 1229539.9762
61 | 2690566.4282 | 1229377.8738
62 | 2690574.8999 | 1229365.859
63 | 2690563.3815 | 1229337.5411
64 | 2690582.2392 | 1229350.1566
65 | 2690561.241 | 1229335.435
66 | 2690587.1265 | 1229339.7001
67 | 2690556.8032 | 1229331.0685
68 | 2690587.8624 | 1229338.1257
69 | 2690553.8427 | 1229328.075
70 | 2690535.683 | 1229311.828
71 | 2690519.8642 | 1229297.5062
72 | 2690655.6322 | 1229162.1447
73 | 2690552.3859 | 1229173.6867
74 | 2690825.0254 | 1228923.2373
75 | 2690758.0108 | 1228743.248
76 | 2690895.6424 | 1228824.1903
77 | 2690841.5665 | 1228826.3683
78 | 2690812.8843 | 1228825.1603
79 | 2690836.159 | 1228855.1215
80 | 2690761.6541 | 1228802.6959
81 | 2690834.6195 | 1228874.9867
82 | 2690839.4276 | 1228866.3837
83 | 2690759.1814 | 1228762.3491
84 | 2689672.3983 | 1229031.1783
85 | 2689674.0049 | 1229018.1501
86 | 2689680.1099 | 1228967.5887
87 | 2689682.3012 | 1228948.7512
88 | 2689682.9793 | 1228943.48
89 | 2689633.2544 | 1228955.6724
90 | 2689715.6574 | 1228771.9852
91 | 2689634.1971 | 1229014.2613
92 | 2689716.6883 | 1228768.7718
93 | 2689716.9844 | 1228767.8492
94 | 2690236.1754 | 1229162.6876

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1