## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_293-48_0_8_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_293-48_0_8_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_293-48_0_8_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_293-48_0_8_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_293-48_0_8_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_293-48_0_8_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_293-48_0_8_node_11 | 0.4 | n |  | TRUE
7 | bus_LV_293-48_0_8_node_9 | 0.4 | n |  | TRUE
8 | bus_LV_293-48_0_8_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_293-48_0_8_node_21 | 0.4 | n |  | TRUE
10 | bus_LV_293-48_0_8_node_22 | 0.4 | n |  | TRUE
11 | bus_LV_293-48_0_8_node_28 | 0.4 | n |  | TRUE
12 | bus_LV_293-48_0_8_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_293-48_0_8_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_293-48_0_8_node_12 | 0.4 | n |  | TRUE
15 | bus_LV_293-48_0_8_node_13 | 0.4 | n |  | TRUE
16 | bus_LV_293-48_0_8_node_14 | 0.4 | n |  | TRUE
17 | bus_LV_293-48_0_8_node_15 | 0.4 | n |  | TRUE
18 | bus_LV_293-48_0_8_node_16 | 0.4 | n |  | TRUE
19 | bus_LV_293-48_0_8_node_29 | 0.4 | n |  | TRUE
20 | bus_LV_293-48_0_8_node_26 | 0.4 | n |  | TRUE
21 | bus_LV_293-48_0_8_node_24 | 0.4 | n |  | TRUE
22 | bus_LV_293-48_0_8_node_17 | 0.4 | n |  | TRUE
23 | bus_LV_293-48_0_8_node_18 | 0.4 | n |  | TRUE
24 | bus_LV_293-48_0_8_node_20 | 0.4 | n |  | TRUE
25 | bus_LV_293-48_0_8_node_23 | 0.4 | n |  | TRUE
26 | bus_LV_293-48_0_8_node_25 | 0.4 | n |  | TRUE
27 | bus_LV_293-48_0_8_node_70 | 0.4 | n |  | TRUE
28 | bus_LV_293-48_0_8_node_27 | 0.4 | n |  | TRUE
29 | bus_LV_293-48_0_8_node_68 | 0.4 | n |  | TRUE
30 | bus_LV_293-48_0_8_node_139 | 0.4 | n |  | TRUE
31 | bus_LV_293-48_0_8_node_143 | 0.4 | n |  | TRUE
32 | bus_LV_293-48_0_8_node_138 | 0.4 | n |  | TRUE
33 | bus_LV_293-48_0_8_node_30 | 0.4 | n |  | TRUE
34 | bus_LV_293-48_0_8_node_31 | 0.4 | n |  | TRUE
35 | bus_LV_293-48_0_8_node_32 | 0.4 | n |  | TRUE
36 | bus_LV_293-48_0_8_node_33 | 0.4 | n |  | TRUE
37 | bus_LV_293-48_0_8_node_34 | 0.4 | n |  | TRUE
38 | bus_LV_293-48_0_8_node_35 | 0.4 | n |  | TRUE
39 | bus_LV_293-48_0_8_node_36 | 0.4 | n |  | TRUE
40 | bus_LV_293-48_0_8_node_66 | 0.4 | n |  | TRUE
41 | bus_LV_293-48_0_8_node_37 | 0.4 | n |  | TRUE
42 | bus_LV_293-48_0_8_node_141 | 0.4 | n |  | TRUE
43 | bus_LV_293-48_0_8_node_38 | 0.4 | n |  | TRUE
44 | bus_LV_293-48_0_8_node_39 | 0.4 | n |  | TRUE
45 | bus_LV_293-48_0_8_node_64 | 0.4 | n |  | TRUE
46 | bus_LV_293-48_0_8_node_61 | 0.4 | n |  | TRUE
47 | bus_LV_293-48_0_8_node_65 | 0.4 | n |  | TRUE
48 | bus_LV_293-48_0_8_node_53 | 0.4 | n |  | TRUE
49 | bus_LV_293-48_0_8_node_124 | 0.4 | n |  | TRUE
50 | bus_LV_293-48_0_8_node_59 | 0.4 | n |  | TRUE
51 | bus_LV_293-48_0_8_node_62 | 0.4 | n |  | TRUE
52 | bus_LV_293-48_0_8_node_163 | 0.4 | n |  | TRUE
53 | bus_LV_293-48_0_8_node_57 | 0.4 | n |  | TRUE
54 | bus_LV_293-48_0_8_node_121 | 0.4 | n |  | TRUE
55 | bus_LV_293-48_0_8_node_40 | 0.4 | n |  | TRUE
56 | bus_LV_293-48_0_8_node_41 | 0.4 | n |  | TRUE
57 | bus_LV_293-48_0_8_node_42 | 0.4 | n |  | TRUE
58 | bus_LV_293-48_0_8_node_43 | 0.4 | n |  | TRUE
59 | bus_LV_293-48_0_8_node_44 | 0.4 | n |  | TRUE
60 | bus_LV_293-48_0_8_node_45 | 0.4 | n |  | TRUE
61 | bus_LV_293-48_0_8_node_56 | 0.4 | n |  | TRUE
62 | bus_LV_293-48_0_8_node_55 | 0.4 | n |  | TRUE
63 | bus_LV_293-48_0_8_node_73 | 0.4 | n |  | TRUE
64 | bus_LV_293-48_0_8_node_54 | 0.4 | n |  | TRUE
65 | bus_LV_293-48_0_8_node_46 | 0.4 | n |  | TRUE
66 | bus_LV_293-48_0_8_node_47 | 0.4 | n |  | TRUE
67 | bus_LV_293-48_0_8_node_49 | 0.4 | n |  | TRUE
68 | bus_LV_293-48_0_8_node_51 | 0.4 | n |  | TRUE
69 | bus_LV_293-48_0_8_node_50 | 0.4 | n |  | TRUE
70 | bus_LV_293-48_0_8_node_52 | 0.4 | n |  | TRUE
71 | bus_LV_293-48_0_8_node_72 | 0.4 | n |  | TRUE
72 | bus_LV_293-48_0_8_node_69 | 0.4 | n |  | TRUE
73 | bus_LV_293-48_0_8_node_142 | 0.4 | n |  | TRUE
74 | bus_LV_293-48_0_8_node_58 | 0.4 | n |  | TRUE
75 | bus_LV_293-48_0_8_node_60 | 0.4 | n |  | TRUE
76 | bus_LV_293-48_0_8_node_63 | 0.4 | n |  | TRUE
77 | bus_LV_293-48_0_8_node_149 | 0.4 | n |  | TRUE
78 | bus_LV_293-48_0_8_node_123 | 0.4 | n |  | TRUE
79 | bus_LV_293-48_0_8_node_148 | 0.4 | n |  | TRUE
80 | bus_LV_293-48_0_8_node_130 | 0.4 | n |  | TRUE
81 | bus_LV_293-48_0_8_node_67 | 0.4 | n |  | TRUE
82 | bus_LV_293-48_0_8_node_71 | 0.4 | n |  | TRUE
83 | bus_LV_293-48_0_8_node_140 | 0.4 | n |  | TRUE
84 | bus_LV_293-48_0_8_node_137 | 0.4 | n |  | TRUE
85 | bus_LV_293-48_0_8_node_135 | 0.4 | n |  | TRUE
86 | bus_LV_293-48_0_8_node_74 | 0.4 | n |  | TRUE
87 | bus_LV_293-48_0_8_node_75 | 0.4 | n |  | TRUE
88 | bus_LV_293-48_0_8_node_76 | 0.4 | n |  | TRUE
89 | bus_LV_293-48_0_8_node_77 | 0.4 | n |  | TRUE
90 | bus_LV_293-48_0_8_node_78 | 0.4 | n |  | TRUE
91 | bus_LV_293-48_0_8_node_79 | 0.4 | n |  | TRUE
92 | bus_LV_293-48_0_8_node_80 | 0.4 | n |  | TRUE
93 | bus_LV_293-48_0_8_node_84 | 0.4 | n |  | TRUE
94 | bus_LV_293-48_0_8_node_94 | 0.4 | n |  | TRUE
95 | bus_LV_293-48_0_8_node_95 | 0.4 | n |  | TRUE
96 | bus_LV_293-48_0_8_node_96 | 0.4 | n |  | TRUE
97 | bus_LV_293-48_0_8_node_82 | 0.4 | n |  | TRUE
98 | bus_LV_293-48_0_8_node_97 | 0.4 | n |  | TRUE
99 | bus_LV_293-48_0_8_node_98 | 0.4 | n |  | TRUE
100 | bus_LV_293-48_0_8_node_99 | 0.4 | n |  | TRUE
101 | bus_LV_293-48_0_8_node_100 | 0.4 | n |  | TRUE
102 | bus_LV_293-48_0_8_node_81 | 0.4 | n |  | TRUE
103 | bus_LV_293-48_0_8_node_83 | 0.4 | n |  | TRUE
104 | bus_LV_293-48_0_8_node_85 | 0.4 | n |  | TRUE
105 | bus_LV_293-48_0_8_node_86 | 0.4 | n |  | TRUE
106 | bus_LV_293-48_0_8_node_87 | 0.4 | n |  | TRUE
107 | bus_LV_293-48_0_8_node_88 | 0.4 | n |  | TRUE
108 | bus_LV_293-48_0_8_node_89 | 0.4 | n |  | TRUE
109 | bus_LV_293-48_0_8_node_90 | 0.4 | n |  | TRUE
110 | bus_LV_293-48_0_8_node_91 | 0.4 | n |  | TRUE
111 | bus_LV_293-48_0_8_node_92 | 0.4 | n |  | TRUE
112 | bus_LV_293-48_0_8_node_93 | 0.4 | n |  | TRUE
113 | bus_LV_293-48_0_8_node_101 | 0.4 | n |  | TRUE
114 | bus_LV_293-48_0_8_node_122 | 0.4 | n |  | TRUE
115 | bus_LV_293-48_0_8_node_102 | 0.4 | n |  | TRUE
116 | bus_LV_293-48_0_8_node_103 | 0.4 | n |  | TRUE
117 | bus_LV_293-48_0_8_node_107 | 0.4 | n |  | TRUE
118 | bus_LV_293-48_0_8_node_113 | 0.4 | n |  | TRUE
119 | bus_LV_293-48_0_8_node_104 | 0.4 | n |  | TRUE
120 | bus_LV_293-48_0_8_node_110 | 0.4 | n |  | TRUE
121 | bus_LV_293-48_0_8_node_112 | 0.4 | n |  | TRUE
122 | bus_LV_293-48_0_8_node_108 | 0.4 | n |  | TRUE
123 | bus_LV_293-48_0_8_node_114 | 0.4 | n |  | TRUE
124 | bus_LV_293-48_0_8_node_105 | 0.4 | n |  | TRUE
125 | bus_LV_293-48_0_8_node_106 | 0.4 | n |  | TRUE
126 | bus_LV_293-48_0_8_node_116 | 0.4 | n |  | TRUE
127 | bus_LV_293-48_0_8_node_117 | 0.4 | n |  | TRUE
128 | bus_LV_293-48_0_8_node_109 | 0.4 | n |  | TRUE
129 | bus_LV_293-48_0_8_node_111 | 0.4 | n |  | TRUE
130 | bus_LV_293-48_0_8_node_133 | 0.4 | n |  | TRUE
131 | bus_LV_293-48_0_8_node_129 | 0.4 | n |  | TRUE
132 | bus_LV_293-48_0_8_node_132 | 0.4 | n |  | TRUE
133 | bus_LV_293-48_0_8_node_131 | 0.4 | n |  | TRUE
134 | bus_LV_293-48_0_8_node_127 | 0.4 | n |  | TRUE
135 | bus_LV_293-48_0_8_node_115 | 0.4 | n |  | TRUE
136 | bus_LV_293-48_0_8_node_118 | 0.4 | n |  | TRUE
137 | bus_LV_293-48_0_8_node_119 | 0.4 | n |  | TRUE
138 | bus_LV_293-48_0_8_node_120 | 0.4 | n |  | TRUE
139 | bus_LV_293-48_0_8_node_150 | 0.4 | n |  | TRUE
140 | bus_LV_293-48_0_8_node_153 | 0.4 | n |  | TRUE
141 | bus_LV_293-48_0_8_node_154 | 0.4 | n |  | TRUE
142 | bus_LV_293-48_0_8_node_125 | 0.4 | n |  | TRUE
143 | bus_LV_293-48_0_8_node_126 | 0.4 | n |  | TRUE
144 | bus_LV_293-48_0_8_node_128 | 0.4 | n |  | TRUE
145 | bus_LV_293-48_0_8_node_144 | 0.4 | n |  | TRUE
146 | bus_LV_293-48_0_8_node_145 | 0.4 | n |  | TRUE
147 | bus_LV_293-48_0_8_node_158 | 0.4 | n |  | TRUE
148 | bus_LV_293-48_0_8_node_159 | 0.4 | n |  | TRUE
149 | bus_LV_293-48_0_8_node_156 | 0.4 | n |  | TRUE
150 | bus_LV_293-48_0_8_node_136 | 0.4 | n |  | TRUE
151 | bus_LV_293-48_0_8_node_146 | 0.4 | n |  | TRUE
152 | bus_LV_293-48_0_8_node_152 | 0.4 | n |  | TRUE
153 | bus_LV_293-48_0_8_node_157 | 0.4 | n |  | TRUE
154 | bus_LV_293-48_0_8_node_155 | 0.4 | n |  | TRUE
155 | bus_LV_293-48_0_8_node_160 | 0.4 | n |  | TRUE
156 | bus_LV_293-48_0_8_node_162 | 0.4 | n |  | TRUE
157 | bus_LV_293-48_0_8_node_161 | 0.4 | n |  | TRUE
158 | bus_MV_578_1_node_108 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_293-48_0_8_load_0 | 0 | 0.0033756 | 0.00084602 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_293-48_0_8_load_2 | 2 | 0.001326 | 0.00033232 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_293-48_0_8_load_3 | 3 | 0.0017708 | 0.00044381 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_293-48_0_8_load_4 | 4 | 0.0032931 | 0.00082532 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_293-48_0_8_load_5 | 5 | 0.0017708 | 0.00044381 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_293-48_0_8_load_11 | 6 | 0.00177 | 0.0004436 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_293-48_0_8_load_9 | 7 | 0.001916 | 0.0004802 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_293-48_0_8_load_7 | 8 | 0.0029674 | 0.00074369 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_293-48_0_8_load_28 | 11 | 0.0039174 | 0.00098178 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_293-48_0_8_load_8 | 12 | 0.0045856 | 0.0011493 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_293-48_0_8_load_13 | 15 | 0.00042164 | 0.00010567 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_293-48_0_8_load_14 | 16 | 0.0051173 | 0.0012825 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_293-48_0_8_load_15 | 17 | 0.0031348 | 0.00078566 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_293-48_0_8_load_16 | 18 | 0.0018281 | 0.00045816 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_293-48_0_8_load_29 | 19 | 0.0043109 | 0.0010804 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_293-48_0_8_load_26 | 20 | 0.0022636 | 0.0005673 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_293-48_0_8_load_24 | 21 | 0.0015518 | 0.00038892 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_293-48_0_8_load_17 | 22 | 0.010043 | 0.002517 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_293-48_0_8_load_18 | 23 | 0.0072593 | 0.0018194 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_293-48_0_8_load_25 | 26 | 0.0074824 | 0.0018753 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_293-48_0_8_load_70 | 27 | 0.015384 | 0.0038555 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_293-48_0_8_load_27 | 28 | 0.0014885 | 0.00037306 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_293-48_0_8_load_68 | 29 | 0.001562 | 0.00039148 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_293-48_0_8_load_143 | 31 | 0.0035149 | 0.00088092 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_293-48_0_8_load_138 | 32 | 0.002113 | 0.00052958 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_293-48_0_8_load_30 | 33 | 0.0059631 | 0.0014945 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_293-48_0_8_load_31 | 34 | 0.0048305 | 0.0012106 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_293-48_0_8_load_32 | 35 | 0.016999 | 0.0042603 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_293-48_0_8_load_33 | 36 | 0.0012001 | 0.00030078 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_293-48_0_8_load_34 | 37 | 0.0021433 | 0.00053716 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_293-48_0_8_load_35 | 38 | 0.0043114 | 0.0010805 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_293-48_0_8_load_36 | 39 | 0.0034773 | 0.00087148 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_293-48_0_8_load_66 | 40 | 0.0020134 | 0.00050461 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_293-48_0_8_load_141 | 42 | 0.0018915 | 0.00047405 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_293-48_0_8_load_64 | 45 | 0.028135 | 0.0070514 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_293-48_0_8_load_65 | 47 | 0.0053547 | 0.001342 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_293-48_0_8_load_124 | 49 | 0.00093445 | 0.00023419 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_293-48_0_8_load_163 | 52 | 0.057309 | 0.014363 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_293-48_0_8_load_57 | 53 | 0.0036906 | 0.00092494 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_293-48_0_8_load_121 | 54 | 0.00092557 | 0.00023197 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_293-48_0_8_load_40 | 55 | 0.016683 | 0.0041811 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_293-48_0_8_load_43 | 58 | 0.01058 | 0.0026515 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_293-48_0_8_load_44 | 59 | 0.0034747 | 0.00087084 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_293-48_0_8_load_45 | 60 | 0.010988 | 0.0027539 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_293-48_0_8_load_55 | 62 | 0.0046647 | 0.0011691 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_293-48_0_8_load_73 | 63 | 0.0067028 | 0.0016799 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_293-48_0_8_load_54 | 64 | 0.0081913 | 0.0020529 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_293-48_0_8_load_46 | 65 | 0.027609 | 0.0069195 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_293-48_0_8_load_47 | 66 | 0.017677 | 0.0044302 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_293-48_0_8_load_51 | 68 | 0.023112 | 0.0057923 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_293-48_0_8_load_52 | 70 | 0.017541 | 0.0043962 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_293-48_0_8_load_72 | 71 | 0.03147 | 0.0078871 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_293-48_0_8_load_142 | 73 | 0.0068077 | 0.0017062 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_293-48_0_8_load_58 | 74 | 0.00023648 | 5.9267e-05 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_293-48_0_8_load_63 | 76 | 0.0001764 | 4.4209e-05 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_293-48_0_8_load_149 | 77 | 7.99e-05 | 2.0025e-05 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_293-48_0_8_load_123 | 78 | 0.00093537 | 0.00023443 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_293-48_0_8_load_148 | 79 | 0.00060553 | 0.00015176 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_293-48_0_8_load_130 | 80 | 0.0037802 | 0.00094741 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_293-48_0_8_load_140 | 83 | 0.0054116 | 0.0013563 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_293-48_0_8_load_137 | 84 | 0.0026004 | 0.00065172 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_293-48_0_8_load_135 | 85 | 0.002974 | 0.00074535 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_293-48_0_8_load_74 | 86 | 0.0012319 | 0.00030874 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_293-48_0_8_load_75 | 87 | 0.0013043 | 0.00032689 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_293-48_0_8_load_76 | 88 | 0.0017184 | 0.00043067 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_293-48_0_8_load_77 | 89 | 0.0030217 | 0.00075732 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_293-48_0_8_load_78 | 90 | 0.0010654 | 0.00026702 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_293-48_0_8_load_79 | 91 | 0.0085762 | 0.0021494 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_293-48_0_8_load_84 | 93 | 0.0034686 | 0.00086932 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_293-48_0_8_load_94 | 94 | 0.0021159 | 0.0005303 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_293-48_0_8_load_96 | 96 | 0.00072375 | 0.00018139 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_293-48_0_8_load_82 | 97 | 0.0016221 | 0.00040654 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_293-48_0_8_load_97 | 98 | 0.0013717 | 0.00034378 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_293-48_0_8_load_99 | 100 | 0.0018465 | 0.00046278 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_293-48_0_8_load_100 | 101 | 0.0027678 | 0.00069368 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_293-48_0_8_load_81 | 102 | 0.0048424 | 0.0012136 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_293-48_0_8_load_83 | 103 | 0.0014193 | 0.00035571 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_293-48_0_8_load_85 | 104 | 0.0014843 | 0.000372 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_293-48_0_8_load_86 | 105 | 0.0014854 | 0.00037229 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_293-48_0_8_load_87 | 106 | 0.0010603 | 0.00026573 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_293-48_0_8_load_88 | 107 | 0.0021132 | 0.00052961 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_293-48_0_8_load_89 | 108 | 0.0022379 | 0.00056087 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_293-48_0_8_load_90 | 109 | 0.00099473 | 0.0002493 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_293-48_0_8_load_91 | 110 | 0.00098168 | 0.00024603 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_293-48_0_8_load_92 | 111 | 0.0020685 | 0.00051843 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_293-48_0_8_load_93 | 112 | 0.00098206 | 0.00024613 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_293-48_0_8_load_101 | 113 | 0.0011865 | 0.00029737 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_293-48_0_8_load_122 | 114 | 0.00093494 | 0.00023432 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_293-48_0_8_load_102 | 115 | 0.0014682 | 0.00036798 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_293-48_0_8_load_103 | 116 | 0.0010741 | 0.0002692 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_293-48_0_8_load_107 | 117 | 0.0025144 | 0.00063016 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_293-48_0_8_load_113 | 118 | 0.0016717 | 0.00041896 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_293-48_0_8_load_104 | 119 | 0.0009988 | 0.00025032 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_293-48_0_8_load_110 | 120 | 0.0031996 | 0.0008019 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_293-48_0_8_load_112 | 121 | 0.0028554 | 0.00071563 | 0 | 0 |  | 1 | TRUE | wye
95 | LV_293-48_0_8_load_108 | 122 | 0.0023867 | 0.00059816 | 0 | 0 |  | 1 | TRUE | wye
96 | LV_293-48_0_8_load_114 | 123 | 0.0016321 | 0.00040905 | 0 | 0 |  | 1 | TRUE | wye
97 | LV_293-48_0_8_load_105 | 124 | 0.001006 | 0.00025212 | 0 | 0 |  | 1 | TRUE | wye
98 | LV_293-48_0_8_load_106 | 125 | 0.0010588 | 0.00026535 | 0 | 0 |  | 1 | TRUE | wye
99 | LV_293-48_0_8_load_116 | 126 | 0.00064459 | 0.00016155 | 0 | 0 |  | 1 | TRUE | wye
100 | LV_293-48_0_8_load_117 | 127 | 0.00086043 | 0.00021564 | 0 | 0 |  | 1 | TRUE | wye
101 | LV_293-48_0_8_load_109 | 128 | 0.002486 | 0.00062306 | 0 | 0 |  | 1 | TRUE | wye
102 | LV_293-48_0_8_load_111 | 129 | 0.015525 | 0.003891 | 0 | 0 |  | 1 | TRUE | wye
103 | LV_293-48_0_8_load_133 | 130 | 0.0050159 | 0.0012571 | 0 | 0 |  | 1 | TRUE | wye
104 | LV_293-48_0_8_load_132 | 132 | 0.003202 | 0.0008025 | 0 | 0 |  | 1 | TRUE | wye
105 | LV_293-48_0_8_load_127 | 134 | 0.0030149 | 0.0007556 | 0 | 0 |  | 1 | TRUE | wye
106 | LV_293-48_0_8_load_115 | 135 | 0.0013861 | 0.00034739 | 0 | 0 |  | 1 | TRUE | wye
107 | LV_293-48_0_8_load_118 | 136 | 6.2667e-05 | 1.5706e-05 | 0 | 0 |  | 1 | TRUE | wye
108 | LV_293-48_0_8_load_150 | 139 | 0.00020059 | 5.0274e-05 | 0 | 0 |  | 1 | TRUE | wye
109 | LV_293-48_0_8_load_153 | 140 | 0.00014351 | 3.5968e-05 | 0 | 0 |  | 1 | TRUE | wye
110 | LV_293-48_0_8_load_154 | 141 | 0.00021103 | 5.289e-05 | 0 | 0 |  | 1 | TRUE | wye
111 | LV_293-48_0_8_load_125 | 142 | 0.0026726 | 0.00066981 | 0 | 0 |  | 1 | TRUE | wye
112 | LV_293-48_0_8_load_126 | 143 | 0.0030092 | 0.00075419 | 0 | 0 |  | 1 | TRUE | wye
113 | LV_293-48_0_8_load_128 | 144 | 0.0017013 | 0.00042638 | 0 | 0 |  | 1 | TRUE | wye
114 | LV_293-48_0_8_load_144 | 145 | 0.0024506 | 0.00061417 | 0 | 0 |  | 1 | TRUE | wye
115 | LV_293-48_0_8_load_145 | 146 | 0.017896 | 0.004485 | 0 | 0 |  | 1 | TRUE | wye
116 | LV_293-48_0_8_load_156 | 149 | 0.00022943 | 5.7501e-05 | 0 | 0 |  | 1 | TRUE | wye
117 | LV_293-48_0_8_load_136 | 150 | 0.00821 | 0.0020576 | 0 | 0 |  | 1 | TRUE | wye
118 | LV_293-48_0_8_load_146 | 151 | 0.019883 | 0.0049833 | 0 | 0 |  | 1 | TRUE | wye
119 | LV_293-48_0_8_load_155 | 154 | 0.00052104 | 0.00013058 | 0 | 0 |  | 1 | TRUE | wye
120 | LV_293-48_0_8_load_160 | 155 | 0.00013583 | 3.4043e-05 | 0 | 0 |  | 1 | TRUE | wye
121 | LV_293-48_0_8_load_162 | 156 | 0.00017346 | 4.3473e-05 | 0 | 0 |  | 1 | TRUE | wye
122 | LV_293-48_0_8_load_161 | 157 | 0.00027937 | 7.0016e-05 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 36 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_293-48_0_8_line_0 |  | 0 | 1 | 0.032939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_293-48_0_8_line_1 |  | 1 | 2 | 0.064372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_293-48_0_8_line_2 |  | 2 | 3 | 0.10577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_293-48_0_8_line_3 |  | 3 | 4 | 0.015653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_293-48_0_8_line_4 |  | 4 | 5 | 0.0038535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_293-48_0_8_line_5 |  | 5 | 6 | 0.01675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_293-48_0_8_line_6 |  | 6 | 7 | 0.028328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_293-48_0_8_line_7 |  | 7 | 12 | 0.01885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
8 | LV_293-48_0_8_line_8 |  | 8 | 9 | 0.048955 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_293-48_0_8_line_9 |  | 9 | 10 | 0.053319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_293-48_0_8_line_10 |  | 9 | 11 | 0.034929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_293-48_0_8_line_11 |  | 10 | 26 | 0.044891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
12 | LV_293-48_0_8_line_12 |  | 10 | 24 | 0.016372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
13 | LV_293-48_0_8_line_13 |  | 11 | 28 | 0.016337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_293-48_0_8_line_14 |  | 12 | 13 | 0.047328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
15 | LV_293-48_0_8_line_15 |  | 13 | 14 | 0.029027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_293-48_0_8_line_16 |  | 13 | 15 | 0.011812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
17 | LV_293-48_0_8_line_17 |  | 14 | 16 | 0.007694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_293-48_0_8_line_18 |  | 14 | 17 | 0.019855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_293-48_0_8_line_19 |  | 15 | 18 | 0.0095411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
20 | LV_293-48_0_8_line_20 |  | 17 | 19 | 0.011726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_293-48_0_8_line_21 |  | 18 | 20 | 0.0087034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
22 | LV_293-48_0_8_line_22 |  | 20 | 21 | 0.0086609 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
23 | LV_293-48_0_8_line_23 |  | 21 | 26 | 0.014125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
24 | LV_293-48_0_8_line_24 |  | 22 | 23 | 0.036126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_293-48_0_8_line_25 |  | 23 | 24 | 0.016403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_293-48_0_8_line_26 |  | 24 | 25 | 0.014518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
27 | LV_293-48_0_8_line_27 |  | 25 | 27 | 0.020141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
28 | LV_293-48_0_8_line_28 |  | 27 | 29 | 0.041037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
29 | LV_293-48_0_8_line_29 |  | 29 | 81 | 0.025009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
30 | LV_293-48_0_8_line_30 |  | 30 | 31 | 0.056929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
31 | LV_293-48_0_8_line_31 |  | 30 | 32 | 0.028771 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
32 | LV_293-48_0_8_line_32 |  | 31 | 133 | 0.019963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
33 | LV_293-48_0_8_line_33 |  | 32 | 150 | 0.00072175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
34 | LV_293-48_0_8_line_34 |  | 33 | 34 | 0.039762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
35 | LV_293-48_0_8_line_35 |  | 33 | 35 | 0.0045877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
36 | LV_293-48_0_8_line_36 |  | 34 | 36 | 0.026011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
37 | LV_293-48_0_8_line_37 |  | 35 | 37 | 0.035158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
38 | LV_293-48_0_8_line_38 |  | 36 | 38 | 0.010495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
39 | LV_293-48_0_8_line_39 |  | 37 | 39 | 0.015798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
40 | LV_293-48_0_8_line_40 |  | 38 | 40 | 0.022877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
41 | LV_293-48_0_8_line_41 |  | 39 | 41 | 0.039483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
42 | LV_293-48_0_8_line_42 |  | 40 | 42 | 0.021926 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
43 | LV_293-48_0_8_line_43 |  | 41 | 43 | 0.064421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_293-48_0_8_line_44 |  | 41 | 44 | 0.025606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
45 | LV_293-48_0_8_line_45 |  | 42 | 80 | 0.00086927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
46 | LV_293-48_0_8_line_46 |  | 43 | 45 | 0.019164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_293-48_0_8_line_47 |  | 44 | 46 | 0.008625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
48 | LV_293-48_0_8_line_48 |  | 44 | 47 | 0.030317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_293-48_0_8_line_49 |  | 45 | 48 | 0.080423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_293-48_0_8_line_50 |  | 46 | 49 | 0.016825 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
51 | LV_293-48_0_8_line_51 |  | 46 | 50 | 0.035128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_293-48_0_8_line_52 |  | 47 | 54 | 0.039198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_293-48_0_8_line_53 |  | 48 | 69 | 0.072552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_293-48_0_8_line_54 |  | 49 | 78 | 0.0017493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
55 | LV_293-48_0_8_line_55 |  | 50 | 53 | 0.024036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_293-48_0_8_line_56 |  | 50 | 51 | 0.13783 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_293-48_0_8_line_57 |  | 51 | 52 | 0.010903 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_293-48_0_8_line_58 |  | 53 | 74 | 0.12737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_293-48_0_8_line_59 |  | 55 | 56 | 0.068662 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_293-48_0_8_line_60 |  | 56 | 57 | 0.03086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_293-48_0_8_line_61 |  | 56 | 58 | 0.029641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_293-48_0_8_line_62 |  | 57 | 59 | 0.047738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
63 | LV_293-48_0_8_line_63 |  | 57 | 60 | 0.027031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_293-48_0_8_line_64 |  | 59 | 61 | 0.010581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
65 | LV_293-48_0_8_line_65 |  | 59 | 62 | 0.029137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
66 | LV_293-48_0_8_line_66 |  | 61 | 63 | 0.030164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
67 | LV_293-48_0_8_line_67 |  | 62 | 64 | 0.0382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
68 | LV_293-48_0_8_line_68 |  | 63 | 73 | 0.033909 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
69 | LV_293-48_0_8_line_69 |  | 64 | 68 | 0.037201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
70 | LV_293-48_0_8_line_70 |  | 65 | 66 | 0.044682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
71 | LV_293-48_0_8_line_71 |  | 66 | 67 | 0.016471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
72 | LV_293-48_0_8_line_72 |  | 67 | 68 | 0.020689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
73 | LV_293-48_0_8_line_73 |  | 69 | 70 | 0.046913 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_293-48_0_8_line_74 |  | 71 | 72 | 0.054568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_293-48_0_8_line_75 |  | 72 | 82 | 0.050839 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
76 | LV_293-48_0_8_line_76 |  | 72 | 81 | 0.008094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
77 | LV_293-48_0_8_line_77 |  | 73 | 83 | 0.040524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
78 | LV_293-48_0_8_line_78 |  | 74 | 75 | 0.0081278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_293-48_0_8_line_79 |  | 75 | 76 | 0.014547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_293-48_0_8_line_80 |  | 76 | 77 | 0.015754 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_293-48_0_8_line_81 |  | 77 | 79 | 0.011869 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_293-48_0_8_line_82 |  | 78 | 114 | 0.0017924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
83 | LV_293-48_0_8_line_83 |  | 79 | 139 | 0.0048323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_293-48_0_8_line_84 |  | 80 | 144 | 0.028683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
85 | LV_293-48_0_8_line_85 |  | 82 | 83 | 0.0088054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
86 | LV_293-48_0_8_line_86 |  | 82 | 84 | 0.022227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
87 | LV_293-48_0_8_line_87 |  | 84 | 85 | 0.0011805 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
88 | LV_293-48_0_8_line_88 |  | 85 | 150 | 0.030495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
89 | LV_293-48_0_8_line_89 |  | 86 | 87 | 0.019479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_293-48_0_8_line_90 |  | 86 | 88 | 0.010432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_293-48_0_8_line_91 |  | 87 | 89 | 0.021317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_293-48_0_8_line_92 |  | 88 | 90 | 0.0098485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_293-48_0_8_line_93 |  | 89 | 91 | 0.024925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_293-48_0_8_line_94 |  | 90 | 92 | 0.022365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_293-48_0_8_line_95 |  | 91 | 93 | 0.0044718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_293-48_0_8_line_96 |  | 92 | 94 | 0.01833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_293-48_0_8_line_97 |  | 92 | 95 | 0.043908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_293-48_0_8_line_98 |  | 92 | 96 | 0.032526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_293-48_0_8_line_99 |  | 93 | 97 | 0.020757 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_293-48_0_8_line_100 |  | 94 | 98 | 0.019154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_293-48_0_8_line_101 |  | 95 | 99 | 0.004595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_293-48_0_8_line_102 |  | 95 | 100 | 0.032516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_293-48_0_8_line_103 |  | 96 | 101 | 0.045719 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_293-48_0_8_line_104 |  | 97 | 102 | 0.0088834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_293-48_0_8_line_105 |  | 98 | 116 | 0.0029512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_293-48_0_8_line_106 |  | 99 | 117 | 0.030338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_293-48_0_8_line_107 |  | 100 | 118 | 0.023479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_293-48_0_8_line_108 |  | 101 | 115 | 0.0087619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_293-48_0_8_line_109 |  | 102 | 103 | 0.011399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
110 | LV_293-48_0_8_line_110 |  | 103 | 104 | 0.020267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
111 | LV_293-48_0_8_line_111 |  | 104 | 105 | 0.022908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
112 | LV_293-48_0_8_line_112 |  | 106 | 107 | 0.012414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
113 | LV_293-48_0_8_line_113 |  | 106 | 108 | 0.0067723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
114 | LV_293-48_0_8_line_114 |  | 107 | 109 | 0.0066902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
115 | LV_293-48_0_8_line_115 |  | 108 | 110 | 0.015736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
116 | LV_293-48_0_8_line_116 |  | 109 | 111 | 0.013462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
117 | LV_293-48_0_8_line_117 |  | 110 | 112 | 0.005725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
118 | LV_293-48_0_8_line_118 |  | 111 | 113 | 0.007032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
119 | LV_293-48_0_8_line_119 |  | 112 | 114 | 0.0016625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
120 | LV_293-48_0_8_line_120 |  | 113 | 115 | 0.010249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
121 | LV_293-48_0_8_line_121 |  | 116 | 119 | 0.013354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
122 | LV_293-48_0_8_line_122 |  | 117 | 122 | 0.069981 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
123 | LV_293-48_0_8_line_123 |  | 118 | 123 | 0.024416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
124 | LV_293-48_0_8_line_124 |  | 119 | 124 | 0.0053089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
125 | LV_293-48_0_8_line_125 |  | 120 | 121 | 0.022181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
126 | LV_293-48_0_8_line_126 |  | 121 | 131 | 0.016114 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
127 | LV_293-48_0_8_line_127 |  | 122 | 128 | 0.024035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
128 | LV_293-48_0_8_line_128 |  | 123 | 135 | 0.0075751 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
129 | LV_293-48_0_8_line_129 |  | 124 | 125 | 0.0090841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
130 | LV_293-48_0_8_line_130 |  | 125 | 126 | 0.0041602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
131 | LV_293-48_0_8_line_131 |  | 126 | 127 | 0.0010493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
132 | LV_293-48_0_8_line_132 |  | 128 | 129 | 0.026146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
133 | LV_293-48_0_8_line_133 |  | 129 | 130 | 0.010544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
134 | LV_293-48_0_8_line_134 |  | 130 | 132 | 0.040038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
135 | LV_293-48_0_8_line_135 |  | 131 | 133 | 0.006648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
136 | LV_293-48_0_8_line_136 |  | 131 | 134 | 0.033383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
137 | LV_293-48_0_8_line_137 |  | 133 | 145 | 0.02997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
138 | LV_293-48_0_8_line_138 |  | 134 | 142 | 0.019406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
139 | LV_293-48_0_8_line_139 |  | 136 | 137 | 0.0095586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
140 | LV_293-48_0_8_line_140 |  | 137 | 138 | 0.065175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
141 | LV_293-48_0_8_line_141 |  | 137 | 139 | 0.17856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
142 | LV_293-48_0_8_line_142 |  | 138 | 140 | 0.06125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
143 | LV_293-48_0_8_line_143 |  | 140 | 141 | 0.028679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
144 | LV_293-48_0_8_line_144 |  | 141 | 152 | 0.040079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
145 | LV_293-48_0_8_line_145 |  | 142 | 143 | 0.015659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
146 | LV_293-48_0_8_line_146 |  | 143 | 144 | 0.0086324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
147 | LV_293-48_0_8_line_147 |  | 145 | 146 | 0.029221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
148 | LV_293-48_0_8_line_148 |  | 146 | 151 | 0.026756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
149 | LV_293-48_0_8_line_149 |  | 147 | 148 | 0.089483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
150 | LV_293-48_0_8_line_150 |  | 147 | 149 | 0.10173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
151 | LV_293-48_0_8_line_151 |  | 148 | 155 | 0.03504 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
152 | LV_293-48_0_8_line_152 |  | 149 | 154 | 0.030904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
153 | LV_293-48_0_8_line_153 |  | 152 | 153 | 0.47034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
154 | LV_293-48_0_8_line_154 |  | 153 | 154 | 0.14596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
155 | LV_293-48_0_8_line_155 |  | 155 | 156 | 0.00029218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
156 | LV_293-48_0_8_line_156 |  | 156 | 157 | 0.017963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_293-48_0_8_trafo_33 | 0.63 MVA 20/0.4 kV | 158 | 36 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2691999.8738 | 1232486.2825 | 2692021.0725 | 1232484.198 | 2692032.7089 | 1232484.4116
1 | 2691999.8738 | 1232486.2825 | 2691993.3008 | 1232487.2371 | 2691987.3251 | 1232489.2349 | 2691981.8002 | 1232490.4837 | 2691977.0945 | 1232490.1773 | 2691973.045 | 1232487.6017 | 2691963.0361 | 1232474.2261 | 2691960.0863 | 1232469.099 | 2691956.7087 | 1232463.2315 | 2691954.0083 | 1232456.927
2 | 2691954.0083 | 1232456.927 | 2691951.037 | 1232449.9898 | 2691944.75 | 1232431.9685 | 2691938.088 | 1232413.719 | 2691936.9667 | 1232409.8322 | 2691939.7906 | 1232404.0161 | 2691944.1802 | 1232394.8997 | 2691930.932 | 1232394.5946 | 2691940.5729 | 1232376.464 | 2691945.3699 | 1232374.2162
3 | 2691959.2612 | 1232367.011 | 2691948.7964 | 1232372.6106 | 2691945.3699 | 1232374.2162
4 | 2691962.6589 | 1232365.1929 | 2691959.2612 | 1232367.011
5 | 2691962.6589 | 1232365.1929 | 2691976.9289 | 1232357.5572 | 2691977.2139 | 1232357.0681
6 | 2691977.2139 | 1232357.0681 | 2691981.27 | 1232350.1079 | 2691977.4038 | 1232342.0423 | 2691971.5052 | 1232332.3713
7 | 2691961.6909 | 1232316.2782 | 2691969.6193 | 1232329.2793 | 2691971.5052 | 1232332.3713
8 | 2691930.763 | 1232232.7535 | 2691917.5426 | 1232243.8459 | 2691894.2851 | 1232263.4227 | 2691893.3304 | 1232264.3016
9 | 2691973.8192 | 1232201.8083 | 2691966.096 | 1232207.0815 | 2691960.9369 | 1232212.5723 | 2691949.8865 | 1232220.9518 | 2691939.9654 | 1232225.3571 | 2691930.763 | 1232232.7535
10 | 2691930.763 | 1232232.7535 | 2691944.0851 | 1232246.4137 | 2691952.1382 | 1232260.0636
11 | 2691973.8192 | 1232201.8083 | 2691992.995 | 1232225.7666 | 2691997.5688 | 1232231.6638 | 2692000.2372 | 1232237.854
12 | 2691973.8192 | 1232201.8083 | 2691987.1819 | 1232192.2971
13 | 2691960.4877 | 1232274.1049 | 2691957.7072 | 1232269.5522 | 2691953.2875 | 1232262.0117 | 2691952.1382 | 1232260.0636
14 | 2691980.8367 | 1232283.1975 | 2691971.0343 | 1232289.7284 | 2691957.0379 | 1232300.5641 | 2691955.2626 | 1232303.7056 | 2691956.1477 | 1232307.1884 | 2691961.6909 | 1232316.2782
15 | 2691980.8367 | 1232283.1975 | 2691998.2892 | 1232306.4287
16 | 2691980.8367 | 1232283.1975 | 2691989.1182 | 1232274.7748
17 | 2692002.9196 | 1232312.5826 | 2691998.2892 | 1232306.4287
18 | 2691998.2892 | 1232306.4287 | 2692015.4282 | 1232296.4039
19 | 2691989.1182 | 1232274.7748 | 2691990.2162 | 1232273.658 | 2691995.0792 | 1232267.3374
20 | 2692015.4282 | 1232296.4039 | 2692025.5499 | 1232290.4836
21 | 2691999.5605 | 1232259.9414 | 2691997.7827 | 1232263.8236 | 2691995.0792 | 1232267.3374
22 | 2691999.5605 | 1232259.9414 | 2692000.9729 | 1232256.8568 | 2692002.1871 | 1232251.7303
23 | 2692000.2372 | 1232237.854 | 2692001.7269 | 1232243.8703 | 2692002.4396 | 1232250.664 | 2692002.1871 | 1232251.7303
24 | 2692001.0313 | 1232183.5107 | 2692004.5361 | 1232181.3021 | 2692031.698 | 1232164.4145
25 | 2691987.1819 | 1232192.2971 | 2691987.917 | 1232191.7747 | 2692001.0313 | 1232183.5107
26 | 2691979.0372 | 1232180.2847 | 2691983.27 | 1232186.1988 | 2691987.1819 | 1232192.2971
27 | 2691979.0372 | 1232180.2847 | 2691962.5673 | 1232191.8783
28 | 2691962.5673 | 1232191.8783 | 2691957.4144 | 1232195.5056 | 2691932.876 | 1232213.1721 | 2691929.3377 | 1232215.9501
29 | 2691909.9447 | 1232231.7309 | 2691917.0295 | 1232225.6138 | 2691929.3377 | 1232215.9501
30 | 2691930.9504 | 1232128.626 | 2691914.8147 | 1232116.668 | 2691885.2047 | 1232094.7405
31 | 2691930.9504 | 1232128.626 | 2691910.9249 | 1232149.2844
32 | 2691869.1621 | 1232082.8603 | 2691885.2047 | 1232094.7405
33 | 2691910.4225 | 1232149.8026 | 2691910.9249 | 1232149.2844
34 | 2691704.1799 | 1232247.5923 | 2691719.903 | 1232238.4231 | 2691736.9169 | 1232225.1798
35 | 2691704.1799 | 1232247.5923 | 2691700.2168 | 1232249.9034
36 | 2691736.9169 | 1232225.1798 | 2691743.9111 | 1232219.7356 | 2691755.9303 | 1232207.5049
37 | 2691669.8457 | 1232267.6147 | 2691700.2168 | 1232249.9034
38 | 2691755.9303 | 1232207.5049 | 2691761.4232 | 1232201.9153 | 2691763.1874 | 1232199.9263
39 | 2691669.8457 | 1232267.6147 | 2691669.1369 | 1232268.028 | 2691659.3004 | 1232271.3899 | 2691654.7322 | 1232271.0238
40 | 2691763.1874 | 1232199.9263 | 2691778.3677 | 1232182.8114
41 | 2691625.3271 | 1232248.2941 | 2691631.0677 | 1232258.6011 | 2691638.3618 | 1232265.8965 | 2691648.9908 | 1232270.5637 | 2691654.7322 | 1232271.0238
42 | 2691792.9169 | 1232166.4079 | 2691778.3677 | 1232182.8114
43 | 2691625.3271 | 1232248.2941 | 2691622.4191 | 1232251.2292 | 2691621.6705 | 1232260.9802 | 2691623.3119 | 1232273.381 | 2691625.906 | 1232284.4178 | 2691630.1033 | 1232294.1228 | 2691628.878 | 1232301.3869 | 2691623.0522 | 1232307.9018
44 | 2691625.3271 | 1232248.2941 | 2691622.7047 | 1232234.6772 | 2691619.7597 | 1232223.3126
45 | 2691792.9169 | 1232166.4079 | 2691793.4938 | 1232165.7576
46 | 2691623.0522 | 1232307.9018 | 2691610.8823 | 1232322.7059
47 | 2691619.7597 | 1232223.3126 | 2691617.6966 | 1232219.5892 | 2691613.9914 | 1232217.2527
48 | 2691619.7597 | 1232223.3126 | 2691635.6456 | 1232218.0981 | 2691647.6591 | 1232211.7292
49 | 2691564.304 | 1232388.1877 | 2691567.9957 | 1232381.562 | 2691606.065 | 1232328.566 | 2691610.8823 | 1232322.7059
50 | 2691613.9914 | 1232217.2527 | 2691609.9496 | 1232204.3367 | 2691609.9246 | 1232201.0451
51 | 2691581.133 | 1232224.9742 | 2691583.0814 | 1232221.8909 | 2691586.4283 | 1232220.4526 | 2691601.8175 | 1232217.9767 | 2691610.2929 | 1232216.9399 | 2691613.9914 | 1232217.2527
52 | 2691679.5628 | 1232189.1084 | 2691665.2457 | 1232200.6864 | 2691652.3374 | 1232209.2491 | 2691647.6591 | 1232211.7292
53 | 2691573.9165 | 1232447.4894 | 2691562.5539 | 1232449.1601 | 2691564.59 | 1232427.12 | 2691564.304 | 1232388.1877
54 | 2691610.8119 | 1232199.5375 | 2691609.9246 | 1232201.0451 | 2691609.9246 | 1232201.0451
55 | 2691581.133 | 1232224.9742 | 2691557.1202 | 1232226.036
56 | 2691526.8404 | 1232312.9457 | 2691524.857 | 1232308.4675 | 2691524.7827 | 1232303.952 | 2691525.7911 | 1232301.9105 | 2691530.2912 | 1232295.9088 | 2691543.7128 | 1232292.3463 | 2691564.05 | 1232291.1586 | 2691580.8977 | 1232292.3189 | 2691579.3752 | 1232272.1921 | 2691580.028 | 1232232.2958 | 2691581.133 | 1232224.9742
57 | 2691526.8404 | 1232312.9457 | 2691530.4646 | 1232316.6041 | 2691535.6353 | 1232319.1745
58 | 2691431.5004 | 1232239.6931 | 2691441.6288 | 1232234.5894 | 2691463.4548 | 1232230.1775 | 2691557.1202 | 1232226.036
59 | 2691733.5961 | 1232319.3146 | 2691724.1352 | 1232324.8393 | 2691704.6351 | 1232339.0153 | 2691702.7059 | 1232342.8105 | 2691703.1958 | 1232347.3769 | 2691714.2526 | 1232361.1129 | 2691719.3026 | 1232366.1245
60 | 2691733.5961 | 1232319.3146 | 2691760.3051 | 1232303.7267
61 | 2691733.5961 | 1232319.3146 | 2691752.229 | 1232342.3666
62 | 2691781.8446 | 1232272.2699 | 2691786.9757 | 1232280.3438 | 2691787.4712 | 1232284.5434 | 2691785.249 | 1232289.168 | 2691760.3051 | 1232303.7267
63 | 2691760.3051 | 1232303.7267 | 2691763.917 | 1232309.153 | 2691766.9627 | 1232311.524 | 2691771.5491 | 1232311.2279 | 2691775.0147 | 1232310.4364 | 2691777.5201 | 1232311.498 | 2691781.1431 | 1232316.0026
64 | 2691790.7488 | 1232266.5144 | 2691781.8446 | 1232272.2699
65 | 2691781.8446 | 1232272.2699 | 2691757.3652 | 1232288.0717
66 | 2691790.7488 | 1232266.5144 | 2691795.8665 | 1232263.2021 | 2691813.1457 | 1232246.4483
67 | 2691725.2707 | 1232308.789 | 2691757.3652 | 1232288.0717
68 | 2691813.1457 | 1232246.4483 | 2691837.4903 | 1232222.8437
69 | 2691694.016 | 1232328.9642 | 2691725.2707 | 1232308.789
70 | 2691624.595 | 1232372.3026 | 2691662.6177 | 1232348.8352
71 | 2691676.6342 | 1232340.1843 | 2691662.6177 | 1232348.8352
72 | 2691676.6342 | 1232340.1843 | 2691694.016 | 1232328.9642
73 | 2691573.9165 | 1232447.4894 | 2691582.8239 | 1232445.4251 | 2691589.6899 | 1232448.055 | 2691598.5226 | 1232447.891 | 2691604.4255 | 1232447.1703 | 2691619.6015 | 1232443.4067
74 | 2691907.1084 | 1232224.1483 | 2691867.364 | 1232261.5381
75 | 2691907.1084 | 1232224.1483 | 2691902.6061 | 1232213.1263 | 2691897.766 | 1232207.7921 | 2691884.4756 | 1232200.3925 | 2691876.5304 | 1232192.1193 | 2691872.9056 | 1232188.5051
76 | 2691907.1084 | 1232224.1483 | 2691909.9447 | 1232231.7309
77 | 2691866.5839 | 1232194.6347 | 2691837.4903 | 1232222.8437
78 | 2691424.2421 | 1232243.3505 | 2691431.5004 | 1232239.6931
79 | 2691424.2421 | 1232243.3505 | 2691414.1894 | 1232232.8352
80 | 2691401.7106 | 1232223.5831 | 2691408.8361 | 1232227.2354 | 2691414.1894 | 1232232.8352
81 | 2691391.1854 | 1232218.0973 | 2691392.0883 | 1232218.5829 | 2691400.3602 | 1232222.8909 | 2691401.7106 | 1232223.5831
82 | 2691611.7211 | 1232197.9928 | 2691610.8119 | 1232199.5375
83 | 2691391.1854 | 1232218.0973 | 2691386.9296 | 1232215.8084
84 | 2691812.5266 | 1232144.2992 | 2691793.4938 | 1232165.7576
85 | 2691872.9056 | 1232188.5051 | 2691866.5839 | 1232194.6347
86 | 2691872.9056 | 1232188.5051 | 2691888.376 | 1232172.5459
87 | 2691888.376 | 1232172.5459 | 2691889.1976 | 1232171.6983
88 | 2691889.1976 | 1232171.6983 | 2691910.4225 | 1232149.8026
89 | 2691771.4114 | 1232063.5002 | 2691785.7753 | 1232050.3431
90 | 2691771.4114 | 1232063.5002 | 2691763.7187 | 1232070.5466
91 | 2691785.7753 | 1232050.3431 | 2691801.4947 | 1232035.9444
92 | 2691756.4563 | 1232077.1988 | 2691763.7187 | 1232070.5466
93 | 2691819.8745 | 1232019.1088 | 2691801.4947 | 1232035.9444
94 | 2691739.964 | 1232092.3055 | 2691756.4563 | 1232077.1988
95 | 2691819.8745 | 1232019.1088 | 2691819.8745 | 1232019.1088 | 2691822.7072 | 1232015.6485
96 | 2691739.964 | 1232092.3055 | 2691721.7893 | 1232089.9258
97 | 2691783.0578 | 1232101.088 | 2691762.8416 | 1232095.8611 | 2691739.964 | 1232092.3055
98 | 2691739.964 | 1232092.3055 | 2691732.7127 | 1232101.3668 | 2691726.7624 | 1232107.5794 | 2691717.1806 | 1232115.3209
99 | 2691822.7072 | 1232015.6485 | 2691835.8559 | 1231999.5868
100 | 2691702.7979 | 1232087.4391 | 2691721.7893 | 1232089.9258
101 | 2691785.6535 | 1232097.292 | 2691783.0578 | 1232101.088
102 | 2691783.0578 | 1232101.088 | 2691778.425 | 1232108.2995 | 2691770.2381 | 1232115.6561 | 2691760.1844 | 1232123.8003
103 | 2691717.1806 | 1232115.3209 | 2691710.0438 | 1232121.0868 | 2691692.5917 | 1232131.5807 | 2691680.3866 | 1232142.2026
104 | 2691841.483 | 1231992.7129 | 2691835.8559 | 1231999.5868
105 | 2691702.7979 | 1232087.4391 | 2691699.8717 | 1232087.056
106 | 2691785.6535 | 1232097.292 | 2691788.384 | 1232093.5982 | 2691791.5201 | 1232090.6111 | 2691809.0977 | 1232078.3808
107 | 2691760.1844 | 1232123.8003 | 2691741.9404 | 1232138.5792
108 | 2691680.3866 | 1232142.2026 | 2691673.7771 | 1232147.9547
109 | 2691841.483 | 1231992.7129 | 2691848.7037 | 1231983.8925
110 | 2691861.5418 | 1231968.2102 | 2691848.7037 | 1231983.8925
111 | 2691861.5418 | 1231968.2102 | 2691876.0526 | 1231950.4845
112 | 2691635.3127 | 1232179.6299 | 2691645.1087 | 1232172.005
113 | 2691635.3127 | 1232179.6299 | 2691629.9685 | 1232183.7896
114 | 2691650.3881 | 1232167.8957 | 2691645.1087 | 1232172.005
115 | 2691617.5508 | 1232193.4552 | 2691629.9685 | 1232183.7896
116 | 2691650.3881 | 1232167.8957 | 2691654.8925 | 1232164.3896 | 2691660.7415 | 1232159.2993
117 | 2691613.033 | 1232196.9716 | 2691617.5508 | 1232193.4552
118 | 2691666.0461 | 1232154.6829 | 2691660.7415 | 1232159.2993
119 | 2691613.033 | 1232196.9716 | 2691611.7211 | 1232197.9928 | 2691611.7211 | 1232197.9928
120 | 2691666.0461 | 1232154.6829 | 2691673.7771 | 1232147.9547
121 | 2691686.6307 | 1232085.3223 | 2691699.8717 | 1232087.056
122 | 2691809.0977 | 1232078.3808 | 2691838.0292 | 1232058.2506 | 2691845.2054 | 1232052.6018 | 2691850.7694 | 1232046.8837 | 2691856.2192 | 1232039.7405 | 2691861.0632 | 1232032.5868
123 | 2691722.9678 | 1232153.9482 | 2691741.9404 | 1232138.5792
124 | 2691686.6307 | 1232085.3223 | 2691681.3666 | 1232084.633
125 | 2691828.4295 | 1232080.624 | 2691835.1896 | 1232077.8208 | 2691839.5636 | 1232076.5763 | 2691842.8781 | 1232076.7499 | 2691847.2671 | 1232077.963 | 2691849.4269 | 1232079.1045
126 | 2691863.6736 | 1232086.6338 | 2691849.4269 | 1232079.1045
127 | 2691861.0632 | 1232032.5868 | 2691874.5393 | 1232012.6846
128 | 2691722.9678 | 1232153.9482 | 2691717.0817 | 1232158.7164
129 | 2691672.3594 | 1232083.4537 | 2691681.3666 | 1232084.633
130 | 2691668.2344 | 1232082.9136 | 2691672.3594 | 1232083.4537
131 | 2691668.2344 | 1232082.9136 | 2691667.194 | 1232082.7773
132 | 2691890.5058 | 1231991.9912 | 2691885.1882 | 1231998.592 | 2691876.6497 | 1232009.5679 | 2691874.5393 | 1232012.6846
133 | 2691897.1207 | 1231983.7801 | 2691890.5058 | 1231991.9912
134 | 2691916.7039 | 1231949.173 | 2691914.6142 | 1231954.8599 | 2691908.7098 | 1231967.3887 | 2691904.4311 | 1231974.7056 | 2691897.1207 | 1231983.7801
135 | 2691869.1621 | 1232082.8603 | 2691863.6736 | 1232086.6338
136 | 2691863.6736 | 1232086.6338 | 2691841.5222 | 1232111.6083
137 | 2691869.1621 | 1232082.8603 | 2691892.9813 | 1232064.6711
138 | 2691828.6452 | 1232126.1264 | 2691841.5222 | 1232111.6083
139 | 2691433.4684 | 1232043.4158 | 2691442.8851 | 1232045.0569
140 | 2691433.4684 | 1232043.4158 | 2691369.0767 | 1232032.1956
141 | 2691386.9296 | 1232215.8084 | 2691433.4684 | 1232043.4158
142 | 2691369.0767 | 1232032.1956 | 2691362.3467 | 1232031.0247 | 2691331.4153 | 1232024.2001 | 2691311.5598 | 1232014.188 | 2691311.1435 | 1232013.8985
143 | 2691311.1435 | 1232013.8985 | 2691296.0933 | 1232003.4317 | 2691288.0087 | 1231996.9737
144 | 2691256.6943 | 1231971.9599 | 2691288.0087 | 1231996.9737
145 | 2691828.6452 | 1232126.1264 | 2691818.2547 | 1232137.841
146 | 2691812.5266 | 1232144.2992 | 2691818.2547 | 1232137.841
147 | 2691892.9813 | 1232064.6711 | 2691916.2056 | 1232046.9362
148 | 2691937.4708 | 1232030.6973 | 2691916.2056 | 1232046.9362
149 | 2691452.069 | 1231285.6039 | 2691536.3144 | 1231316.4556
150 | 2691536.3144 | 1231316.4556 | 2691530.0032 | 1231322.4627 | 2691463.0431 | 1231387.0292
151 | 2691452.069 | 1231285.6039 | 2691425.648 | 1231299.9524 | 2691421.9812 | 1231303.313
152 | 2691440.6019 | 1231408.2748 | 2691454.5709 | 1231395.1985 | 2691463.0431 | 1231387.0292
153 | 2691256.6943 | 1231971.9599 | 2691334.0405 | 1231508.0266
154 | 2691334.0405 | 1231508.0266 | 2691440.6019 | 1231408.2748
155 | 2691421.9812 | 1231303.313 | 2691421.7658 | 1231303.5104
156 | 2691408.523 | 1231315.647 | 2691421.7658 | 1231303.5104

## bus_geodata
| x | y | coords
0 | 2692032.7089 | 1232484.4116
1 | 2691999.8738 | 1232486.2825
2 | 2691954.0083 | 1232456.927
3 | 2691945.3699 | 1232374.2162
4 | 2691959.2612 | 1232367.011
5 | 2691962.6589 | 1232365.1929
6 | 2691977.2139 | 1232357.0681
7 | 2691971.5052 | 1232332.3713
8 | 2691893.3304 | 1232264.3016
9 | 2691930.763 | 1232232.7535
10 | 2691973.8192 | 1232201.8083
11 | 2691952.1382 | 1232260.0636
12 | 2691961.6909 | 1232316.2782
13 | 2691980.8367 | 1232283.1975
14 | 2691998.2892 | 1232306.4287
15 | 2691989.1182 | 1232274.7748
16 | 2692002.9196 | 1232312.5826
17 | 2692015.4282 | 1232296.4039
18 | 2691995.0792 | 1232267.3374
19 | 2692025.5499 | 1232290.4836
20 | 2691999.5605 | 1232259.9414
21 | 2692002.1871 | 1232251.7303
22 | 2692031.698 | 1232164.4145
23 | 2692001.0313 | 1232183.5107
24 | 2691987.1819 | 1232192.2971
25 | 2691979.0372 | 1232180.2847
26 | 2692000.2372 | 1232237.854
27 | 2691962.5673 | 1232191.8783
28 | 2691960.4877 | 1232274.1049
29 | 2691929.3377 | 1232215.9501
30 | 2691930.9504 | 1232128.626
31 | 2691885.2047 | 1232094.7405
32 | 2691910.9249 | 1232149.2844
33 | 2691704.1799 | 1232247.5923
34 | 2691736.9168 | 1232225.1798
35 | 2691700.2168 | 1232249.9034
36 | 2691755.9303 | 1232207.5049
37 | 2691669.8457 | 1232267.6147
38 | 2691763.1874 | 1232199.9263
39 | 2691654.7322 | 1232271.0238
40 | 2691778.3677 | 1232182.8114
41 | 2691625.3271 | 1232248.2941
42 | 2691792.9169 | 1232166.4079
43 | 2691623.0522 | 1232307.9018
44 | 2691619.7597 | 1232223.3126
45 | 2691610.8823 | 1232322.7059
46 | 2691613.9914 | 1232217.2527
47 | 2691647.6591 | 1232211.7292
48 | 2691564.304 | 1232388.1877
49 | 2691609.9246 | 1232201.0451
50 | 2691581.133 | 1232224.9742
51 | 2691526.8404 | 1232312.9457
52 | 2691535.6353 | 1232319.1745
53 | 2691557.1202 | 1232226.036
54 | 2691679.5628 | 1232189.1084
55 | 2691719.3026 | 1232366.1245
56 | 2691733.5961 | 1232319.3146
57 | 2691760.3051 | 1232303.7267
58 | 2691752.229 | 1232342.3666
59 | 2691781.8446 | 1232272.2699
60 | 2691781.1431 | 1232316.0026
61 | 2691790.7488 | 1232266.5144
62 | 2691757.3652 | 1232288.0717
63 | 2691813.1457 | 1232246.4483
64 | 2691725.2707 | 1232308.789
65 | 2691624.595 | 1232372.3026
66 | 2691662.6177 | 1232348.8352
67 | 2691676.6342 | 1232340.1843
68 | 2691694.016 | 1232328.9642
69 | 2691573.9165 | 1232447.4894
70 | 2691619.6015 | 1232443.4067
71 | 2691867.364 | 1232261.5381
72 | 2691907.1084 | 1232224.1483
73 | 2691837.4903 | 1232222.8437
74 | 2691431.5004 | 1232239.6931
75 | 2691424.2421 | 1232243.3505
76 | 2691414.1894 | 1232232.8352
77 | 2691401.7106 | 1232223.5831
78 | 2691610.8119 | 1232199.5375
79 | 2691391.1854 | 1232218.0973
80 | 2691793.4938 | 1232165.7576
81 | 2691909.9447 | 1232231.7309
82 | 2691872.9056 | 1232188.5051
83 | 2691866.5839 | 1232194.6347
84 | 2691888.376 | 1232172.5459
85 | 2691889.1976 | 1232171.6983
86 | 2691771.4114 | 1232063.5002
87 | 2691785.7753 | 1232050.3431
88 | 2691763.7187 | 1232070.5466
89 | 2691801.4947 | 1232035.9444
90 | 2691756.4563 | 1232077.1988
91 | 2691819.8745 | 1232019.1088
92 | 2691739.964 | 1232092.3055
93 | 2691822.7072 | 1232015.6485
94 | 2691721.7893 | 1232089.9258
95 | 2691783.0578 | 1232101.088
96 | 2691717.1806 | 1232115.3209
97 | 2691835.8559 | 1231999.5868
98 | 2691702.7979 | 1232087.4391
99 | 2691785.6535 | 1232097.292
100 | 2691760.1844 | 1232123.8003
101 | 2691680.3866 | 1232142.2026
102 | 2691841.483 | 1231992.7129
103 | 2691848.7037 | 1231983.8925
104 | 2691861.5418 | 1231968.2102
105 | 2691876.0526 | 1231950.4845
106 | 2691635.3127 | 1232179.6299
107 | 2691645.1087 | 1232172.005
108 | 2691629.9685 | 1232183.7896
109 | 2691650.3881 | 1232167.8957
110 | 2691617.5508 | 1232193.4552
111 | 2691660.7415 | 1232159.2993
112 | 2691613.033 | 1232196.9716
113 | 2691666.0461 | 1232154.6829
114 | 2691611.7211 | 1232197.9928
115 | 2691673.7771 | 1232147.9547
116 | 2691699.8717 | 1232087.056
117 | 2691809.0977 | 1232078.3808
118 | 2691741.9404 | 1232138.5792
119 | 2691686.6307 | 1232085.3223
120 | 2691828.4295 | 1232080.624
121 | 2691849.4269 | 1232079.1045
122 | 2691861.0632 | 1232032.5868
123 | 2691722.9678 | 1232153.9482
124 | 2691681.3666 | 1232084.633
125 | 2691672.3594 | 1232083.4537
126 | 2691668.2344 | 1232082.9136
127 | 2691667.194 | 1232082.7773
128 | 2691874.5393 | 1232012.6846
129 | 2691890.5058 | 1231991.9912
130 | 2691897.1207 | 1231983.7801
131 | 2691863.6736 | 1232086.6338
132 | 2691916.7039 | 1231949.173
133 | 2691869.1621 | 1232082.8603
134 | 2691841.5222 | 1232111.6083
135 | 2691717.0817 | 1232158.7164
136 | 2691442.8851 | 1232045.0569
137 | 2691433.4684 | 1232043.4158
138 | 2691369.0767 | 1232032.1956
139 | 2691386.9296 | 1232215.8084
140 | 2691311.1435 | 1232013.8985
141 | 2691288.0087 | 1231996.9737
142 | 2691828.6452 | 1232126.1264
143 | 2691818.2547 | 1232137.841
144 | 2691812.5266 | 1232144.2992
145 | 2691892.9813 | 1232064.6711
146 | 2691916.2056 | 1232046.9362
147 | 2691536.3144 | 1231316.4556
148 | 2691452.069 | 1231285.6039
149 | 2691463.0431 | 1231387.0292
150 | 2691910.4225 | 1232149.8026
151 | 2691937.4708 | 1232030.6973
152 | 2691256.6943 | 1231971.9599
153 | 2691334.0405 | 1231508.0266
154 | 2691440.6019 | 1231408.2748
155 | 2691421.9812 | 1231303.313
156 | 2691421.7658 | 1231303.5104
157 | 2691408.523 | 1231315.647
158 | 2691625.3271 | 1232248.2941

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1