## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_293-49_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_293-49_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_293-49_0_6_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_293-49_0_6_node_2 | 0.4 | n |  | TRUE
4 | bus_LV_293-49_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_293-49_0_6_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_293-49_0_6_node_7 | 0.4 | n |  | TRUE
7 | bus_LV_293-49_0_6_node_12 | 0.4 | n |  | TRUE
8 | bus_LV_293-49_0_6_node_18 | 0.4 | n |  | TRUE
9 | bus_LV_293-49_0_6_node_14 | 0.4 | n |  | TRUE
10 | bus_LV_293-49_0_6_node_9 | 0.4 | n |  | TRUE
11 | bus_LV_293-49_0_6_node_15 | 0.4 | n |  | TRUE
12 | bus_LV_293-49_0_6_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_293-49_0_6_node_6 | 0.4 | n |  | TRUE
14 | bus_LV_293-49_0_6_node_13 | 0.4 | n |  | TRUE
15 | bus_LV_293-49_0_6_node_22 | 0.4 | n |  | TRUE
16 | bus_LV_293-49_0_6_node_21 | 0.4 | n |  | TRUE
17 | bus_LV_293-49_0_6_node_19 | 0.4 | n |  | TRUE
18 | bus_LV_293-49_0_6_node_16 | 0.4 | n |  | TRUE
19 | bus_LV_293-49_0_6_node_17 | 0.4 | n |  | TRUE
20 | bus_LV_293-49_0_6_node_51 | 0.4 | n |  | TRUE
21 | bus_LV_293-49_0_6_node_39 | 0.4 | n |  | TRUE
22 | bus_LV_293-49_0_6_node_48 | 0.4 | n |  | TRUE
23 | bus_LV_293-49_0_6_node_40 | 0.4 | n |  | TRUE
24 | bus_LV_293-49_0_6_node_38 | 0.4 | n |  | TRUE
25 | bus_LV_293-49_0_6_node_31 | 0.4 | n |  | TRUE
26 | bus_LV_293-49_0_6_node_75 | 0.4 | n |  | TRUE
27 | bus_LV_293-49_0_6_node_76 | 0.4 | n |  | TRUE
28 | bus_LV_293-49_0_6_node_74 | 0.4 | n |  | TRUE
29 | bus_LV_293-49_0_6_node_80 | 0.4 | n |  | TRUE
30 | bus_LV_293-49_0_6_node_79 | 0.4 | n |  | TRUE
31 | bus_LV_293-49_0_6_node_52 | 0.4 | n |  | TRUE
32 | bus_LV_293-49_0_6_node_53 | 0.4 | n |  | TRUE
33 | bus_LV_293-49_0_6_node_50 | 0.4 | n |  | TRUE
34 | bus_LV_293-49_0_6_node_57 | 0.4 | n |  | TRUE
35 | bus_LV_293-49_0_6_node_56 | 0.4 | n |  | TRUE
36 | bus_LV_293-49_0_6_node_54 | 0.4 | n |  | TRUE
37 | bus_LV_293-49_0_6_node_55 | 0.4 | n |  | TRUE
38 | bus_LV_293-49_0_6_node_23 | 0.4 | n |  | TRUE
39 | bus_LV_293-49_0_6_node_24 | 0.4 | n |  | TRUE
40 | bus_LV_293-49_0_6_node_25 | 0.4 | n |  | TRUE
41 | bus_LV_293-49_0_6_node_26 | 0.4 | n |  | TRUE
42 | bus_LV_293-49_0_6_node_27 | 0.4 | n |  | TRUE
43 | bus_LV_293-49_0_6_node_36 | 0.4 | n |  | TRUE
44 | bus_LV_293-49_0_6_node_37 | 0.4 | n |  | TRUE
45 | bus_LV_293-49_0_6_node_64 | 0.4 | n |  | TRUE
46 | bus_LV_293-49_0_6_node_28 | 0.4 | n |  | TRUE
47 | bus_LV_293-49_0_6_node_29 | 0.4 | n |  | TRUE
48 | bus_LV_293-49_0_6_node_30 | 0.4 | n |  | TRUE
49 | bus_LV_293-49_0_6_node_32 | 0.4 | n |  | TRUE
50 | bus_LV_293-49_0_6_node_33 | 0.4 | n |  | TRUE
51 | bus_LV_293-49_0_6_node_49 | 0.4 | n |  | TRUE
52 | bus_LV_293-49_0_6_node_43 | 0.4 | n |  | TRUE
53 | bus_LV_293-49_0_6_node_34 | 0.4 | n |  | TRUE
54 | bus_LV_293-49_0_6_node_46 | 0.4 | n |  | TRUE
55 | bus_LV_293-49_0_6_node_42 | 0.4 | n |  | TRUE
56 | bus_LV_293-49_0_6_node_35 | 0.4 | n |  | TRUE
57 | bus_LV_293-49_0_6_node_41 | 0.4 | n |  | TRUE
58 | bus_LV_293-49_0_6_node_45 | 0.4 | n |  | TRUE
59 | bus_LV_293-49_0_6_node_60 | 0.4 | n |  | TRUE
60 | bus_LV_293-49_0_6_node_61 | 0.4 | n |  | TRUE
61 | bus_LV_293-49_0_6_node_62 | 0.4 | n |  | TRUE
62 | bus_LV_293-49_0_6_node_63 | 0.4 | n |  | TRUE
63 | bus_LV_293-49_0_6_node_66 | 0.4 | n |  | TRUE
64 | bus_LV_293-49_0_6_node_65 | 0.4 | n |  | TRUE
65 | bus_LV_293-49_0_6_node_68 | 0.4 | n |  | TRUE
66 | bus_LV_293-49_0_6_node_81 | 0.4 | n |  | TRUE
67 | bus_LV_293-49_0_6_node_44 | 0.4 | n |  | TRUE
68 | bus_LV_293-49_0_6_node_47 | 0.4 | n |  | TRUE
69 | bus_LV_293-49_0_6_node_77 | 0.4 | n |  | TRUE
70 | bus_LV_293-49_0_6_node_72 | 0.4 | n |  | TRUE
71 | bus_LV_293-49_0_6_node_78 | 0.4 | n |  | TRUE
72 | bus_LV_293-49_0_6_node_71 | 0.4 | n |  | TRUE
73 | bus_LV_293-49_0_6_node_73 | 0.4 | n |  | TRUE
74 | bus_LV_293-49_0_6_node_70 | 0.4 | n |  | TRUE
75 | bus_LV_293-49_0_6_node_69 | 0.4 | n |  | TRUE
76 | bus_LV_293-49_0_6_node_59 | 0.4 | n |  | TRUE
77 | bus_LV_293-49_0_6_node_58 | 0.4 | n |  | TRUE
78 | bus_MV_578_1_node_187 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_293-49_0_6_load_0 | 0 | 0.0062457 | 0.0015653 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_293-49_0_6_load_1 | 1 | 0.0077417 | 0.0019403 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_293-49_0_6_load_4 | 4 | 0.0032185 | 0.00080664 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_293-49_0_6_load_7 | 6 | 0.006235 | 0.0015626 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_293-49_0_6_load_12 | 7 | 0.0086571 | 0.0021697 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_293-49_0_6_load_14 | 9 | 0.0036713 | 0.00092012 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_293-49_0_6_load_15 | 11 | 0.010872 | 0.0027249 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_293-49_0_6_load_8 | 12 | 0.0015841 | 0.00039702 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_293-49_0_6_load_6 | 13 | 0.001957 | 0.00049048 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_293-49_0_6_load_13 | 14 | 0.015573 | 0.0039031 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_293-49_0_6_load_22 | 15 | 0.010828 | 0.0027137 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_293-49_0_6_load_21 | 16 | 0.0014654 | 0.00036727 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_293-49_0_6_load_19 | 17 | 0.012577 | 0.0031521 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_293-49_0_6_load_48 | 22 | 0.018642 | 0.004672 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_293-49_0_6_load_40 | 23 | 0.020268 | 0.0050797 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_293-49_0_6_load_38 | 24 | 0.0041497 | 0.00104 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_293-49_0_6_load_76 | 27 | 0.0058768 | 0.0014729 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_293-49_0_6_load_74 | 28 | 0.013232 | 0.0033163 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_293-49_0_6_load_80 | 29 | 0.0089636 | 0.0022465 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_293-49_0_6_load_79 | 30 | 0.026579 | 0.0066612 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_293-49_0_6_load_50 | 33 | 0.0069658 | 0.0017458 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_293-49_0_6_load_56 | 35 | 0.023917 | 0.0059942 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_293-49_0_6_load_55 | 37 | 0.012873 | 0.0032262 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_293-49_0_6_load_23 | 38 | 0.010827 | 0.0027135 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_293-49_0_6_load_24 | 39 | 0.010403 | 0.0026073 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_293-49_0_6_load_25 | 40 | 0.010359 | 0.0025962 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_293-49_0_6_load_27 | 42 | 0.016998 | 0.0042601 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_293-49_0_6_load_36 | 43 | 0.026537 | 0.0066507 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_293-49_0_6_load_28 | 46 | 0.012236 | 0.0030666 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_293-49_0_6_load_29 | 47 | 0.010747 | 0.0026934 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_293-49_0_6_load_33 | 50 | 0.025732 | 0.0064489 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_293-49_0_6_load_49 | 51 | 0.03115 | 0.007807 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_293-49_0_6_load_43 | 52 | 0.0040346 | 0.0010112 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_293-49_0_6_load_34 | 53 | 0.0099853 | 0.0025026 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_293-49_0_6_load_42 | 55 | 0.012143 | 0.0030434 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_293-49_0_6_load_45 | 58 | 0.012094 | 0.0030311 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_293-49_0_6_load_60 | 59 | 0.00053423 | 0.00013389 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_293-49_0_6_load_61 | 60 | 0.00025144 | 6.3016e-05 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_293-49_0_6_load_63 | 62 | 0.00066489 | 0.00016664 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_293-49_0_6_load_65 | 64 | 8.1411e-05 | 2.0403e-05 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_293-49_0_6_load_81 | 66 | 0.00029311 | 7.3461e-05 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_293-49_0_6_load_77 | 69 | 0.0099732 | 0.0024995 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_293-49_0_6_load_78 | 71 | 0.018649 | 0.004674 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_293-49_0_6_load_73 | 73 | 0.014967 | 0.003751 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_293-49_0_6_load_70 | 74 | 0.013558 | 0.003398 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_293-49_0_6_load_69 | 75 | 0.013308 | 0.0033353 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_293-49_0_6_load_59 | 76 | 0.012421 | 0.003113 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_293-49_0_6_load_58 | 77 | 0.035704 | 0.0089482 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 67 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_293-49_0_6_line_0 |  | 0 | 1 | 0.015531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_293-49_0_6_line_1 |  | 1 | 2 | 0.03856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_293-49_0_6_line_2 |  | 2 | 6 | 0.025362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_293-49_0_6_line_3 |  | 3 | 4 | 0.022185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_293-49_0_6_line_4 |  | 3 | 5 | 0.028752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_293-49_0_6_line_5 |  | 4 | 7 | 0.019426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_293-49_0_6_line_6 |  | 5 | 8 | 0.003935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_293-49_0_6_line_7 |  | 5 | 9 | 0.017374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_293-49_0_6_line_8 |  | 6 | 13 | 0.030598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_293-49_0_6_line_9 |  | 7 | 14 | 0.038701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_293-49_0_6_line_10 |  | 8 | 15 | 0.048831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_293-49_0_6_line_11 |  | 8 | 16 | 0.030232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_293-49_0_6_line_12 |  | 9 | 10 | 0.01829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_293-49_0_6_line_13 |  | 10 | 11 | 0.07136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_293-49_0_6_line_14 |  | 10 | 12 | 0.021688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_293-49_0_6_line_15 |  | 11 | 17 | 0.063375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_293-49_0_6_line_16 |  | 12 | 13 | 0.02919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_293-49_0_6_line_17 |  | 15 | 38 | 0.0088656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_293-49_0_6_line_18 |  | 17 | 19 | 0.028498 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
19 | LV_293-49_0_6_line_19 |  | 18 | 19 | 0.076102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
20 | LV_293-49_0_6_line_20 |  | 18 | 20 | 0.13374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
21 | LV_293-49_0_6_line_21 |  | 20 | 31 | 0.008922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
22 | LV_293-49_0_6_line_22 |  | 20 | 32 | 0.081448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_293-49_0_6_line_23 |  | 20 | 33 | 0.045466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_293-49_0_6_line_24 |  | 21 | 22 | 0.052241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_293-49_0_6_line_25 |  | 21 | 23 | 0.048819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_293-49_0_6_line_26 |  | 22 | 54 | 0.028048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_293-49_0_6_line_27 |  | 23 | 25 | 0.042212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_293-49_0_6_line_28 |  | 24 | 25 | 0.034171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_293-49_0_6_line_29 |  | 25 | 47 | 0.019427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_293-49_0_6_line_30 |  | 26 | 27 | 0.040846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_293-49_0_6_line_31 |  | 26 | 28 | 0.072068 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_293-49_0_6_line_32 |  | 27 | 70 | 0.0093112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_293-49_0_6_line_33 |  | 29 | 30 | 0.038914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_293-49_0_6_line_34 |  | 30 | 71 | 0.012068 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_293-49_0_6_line_35 |  | 31 | 57 | 0.001962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
36 | LV_293-49_0_6_line_36 |  | 32 | 34 | 0.039132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_293-49_0_6_line_37 |  | 32 | 35 | 0.0010273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_293-49_0_6_line_38 |  | 34 | 76 | 0.02422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_293-49_0_6_line_39 |  | 34 | 77 | 0.031956 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_293-49_0_6_line_40 |  | 35 | 36 | 0.018408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_293-49_0_6_line_41 |  | 36 | 37 | 0.025522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_293-49_0_6_line_42 |  | 38 | 39 | 0.029207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_293-49_0_6_line_43 |  | 40 | 41 | 0.031142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_293-49_0_6_line_44 |  | 41 | 42 | 0.029782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_293-49_0_6_line_45 |  | 42 | 43 | 0.10892 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_293-49_0_6_line_46 |  | 43 | 44 | 0.094313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_293-49_0_6_line_47 |  | 43 | 45 | 0.30856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_293-49_0_6_line_48 |  | 44 | 56 | 0.080141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_293-49_0_6_line_49 |  | 45 | 62 | 0.02436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_293-49_0_6_line_50 |  | 46 | 47 | 0.0017504 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_293-49_0_6_line_51 |  | 48 | 49 | 0.024824 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
52 | LV_293-49_0_6_line_52 |  | 48 | 50 | 0.047428 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
53 | LV_293-49_0_6_line_53 |  | 49 | 51 | 0.055843 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
54 | LV_293-49_0_6_line_54 |  | 49 | 52 | 0.015687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
55 | LV_293-49_0_6_line_55 |  | 50 | 53 | 0.0028316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_293-49_0_6_line_56 |  | 51 | 54 | 0.060094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
57 | LV_293-49_0_6_line_57 |  | 52 | 55 | 0.05542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
58 | LV_293-49_0_6_line_58 |  | 53 | 56 | 0.028677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_293-49_0_6_line_59 |  | 54 | 68 | 0.07079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
60 | LV_293-49_0_6_line_60 |  | 55 | 67 | 0.051045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
61 | LV_293-49_0_6_line_61 |  | 57 | 58 | 0.022102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
62 | LV_293-49_0_6_line_62 |  | 58 | 67 | 0.035995 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
63 | LV_293-49_0_6_line_63 |  | 59 | 60 | 0.082709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_293-49_0_6_line_64 |  | 59 | 61 | 0.047269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_293-49_0_6_line_65 |  | 60 | 62 | 0.081131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_293-49_0_6_line_66 |  | 61 | 63 | 0.31552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_293-49_0_6_line_67 |  | 63 | 65 | 0.003665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_293-49_0_6_line_68 |  | 63 | 64 | 0.01464 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_293-49_0_6_line_69 |  | 65 | 66 | 0.1228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_293-49_0_6_line_70 |  | 68 | 69 | 0.021254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_293-49_0_6_line_71 |  | 68 | 70 | 0.024006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_293-49_0_6_line_72 |  | 69 | 71 | 0.033026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_293-49_0_6_line_73 |  | 70 | 72 | 0.007784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_293-49_0_6_line_74 |  | 72 | 73 | 0.011386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_293-49_0_6_line_75 |  | 72 | 75 | 0.059056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_293-49_0_6_line_76 |  | 74 | 75 | 0.01028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_293-49_0_6_trafo_44 | 0.63 MVA 20/0.4 kV | 78 | 67 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15
0 | 2692088.6847 | 1232172.0938 | 2692087.2609 | 1232172.9435 | 2692075.3882 | 1232180.1204
1 | 2692045.5242 | 1232155.8183 | 2692064.7035 | 1232172.7051 | 2692075.3882 | 1232180.1204 | 2692075.3882 | 1232180.1204
2 | 2692045.5242 | 1232155.8183 | 2692067.2227 | 1232142.6881
3 | 2692140.7323 | 1232139.0365 | 2692147.3272 | 1232154.2719 | 2692150.9057 | 1232158.5585
4 | 2692162.2499 | 1232119.9007 | 2692140.7323 | 1232139.0365
5 | 2692163.9333 | 1232172.9136 | 2692159.7218 | 1232169.1191 | 2692150.9057 | 1232158.5585
6 | 2692164.9227 | 1232117.0067 | 2692162.2499 | 1232119.9007
7 | 2692162.2499 | 1232119.9007 | 2692148.7922 | 1232108.9125
8 | 2692093.3767 | 1232126.8096 | 2692092.5187 | 1232127.3811 | 2692067.2227 | 1232142.6881
9 | 2692156.2836 | 1232205.2362 | 2692166.147 | 1232198.2174 | 2692167.5665 | 1232178.4808 | 2692166.0256 | 1232174.7987 | 2692163.9333 | 1232172.9136
10 | 2692164.9227 | 1232117.0067 | 2692199.7082 | 1232082.7368
11 | 2692164.9227 | 1232117.0067 | 2692188.2193 | 1232136.2752
12 | 2692134.7312 | 1232097.2246 | 2692136.1939 | 1232098.626 | 2692148.7922 | 1232108.9125
13 | 2692134.7312 | 1232097.2246 | 2692151.2169 | 1232081.7134 | 2692170.7205 | 1232062.0682 | 2692183.7694 | 1232045.5605
14 | 2692134.7312 | 1232097.2246 | 2692128.7648 | 1232102.0133 | 2692117.5318 | 1232110.4312
15 | 2692183.7694 | 1232045.5605 | 2692192.7836 | 1232034.1569 | 2692214.366 | 1232005.0263 | 2692222.161 | 1231995.1475
16 | 2692093.3767 | 1232126.8096 | 2692114.0681 | 1232113.0269 | 2692117.5318 | 1232110.4312
17 | 2692199.7082 | 1232082.7368 | 2692206.0237 | 1232076.5149
18 | 2692239.8141 | 1231972.7756 | 2692222.161 | 1231995.1475
19 | 2692239.8141 | 1231972.7756 | 2692260.4907 | 1231951.7702 | 2692274.1523 | 1231940.6409 | 2692286.9981 | 1231930.8332 | 2692282.8913 | 1231926.0772 | 2692278.8055 | 1231920.9434
20 | 2692168.4881 | 1231902.797 | 2692173.4586 | 1231899.7274 | 2692178.2456 | 1231896.7773 | 2692192.3566 | 1231888.8904 | 2692196.845 | 1231887.1254 | 2692203.2003 | 1231884.6222 | 2692214.9838 | 1231881.2914 | 2692224.9087 | 1231880.1 | 2692232.9704 | 1231880.3808 | 2692244.912 | 1231881.5002 | 2692248.1934 | 1231886.2546 | 2692255.6137 | 1231895.165 | 2692268.0743 | 1231908.2122 | 2692272.5397 | 1231912.3177 | 2692275.7745 | 1231917.1381 | 2692278.8055 | 1231920.9434
21 | 2692168.4881 | 1231902.797 | 2692160.9164 | 1231907.5497
22 | 2692168.4881 | 1231902.797 | 2692173.4586 | 1231899.7274 | 2692173.7454 | 1231824.122
23 | 2692168.4881 | 1231902.797 | 2692196.8124 | 1231938.3623
24 | 2692018.6142 | 1232053.7284 | 2692027.3792 | 1232046.2364 | 2692046.4903 | 1232029.9095 | 2692057.8927 | 1232019.2999
25 | 2692018.6142 | 1232053.7284 | 2692008.342 | 1232044.107 | 2691999.2723 | 1232043.8887 | 2691996.8194 | 1232043.8284 | 2691993.2989 | 1232043.7517 | 2691993.2478 | 1232024.0543
26 | 2692078.4266 | 1232000.1937 | 2692057.8927 | 1232019.2999
27 | 2691988.1074 | 1231983.8172 | 2691993.1576 | 1231989.2882 | 2691993.2478 | 1232024.0543
28 | 2691988.1074 | 1231983.8172 | 2691970.1948 | 1232003.4542 | 2691964.5164 | 1232008.4931
29 | 2691988.1074 | 1231983.8172 | 2691999.2537 | 1231967.9063
30 | 2692134.147 | 1232078.2463 | 2692125.9543 | 1232062.9862 | 2692128.7589 | 1232052.5777 | 2692132.9413 | 1232040.5373
31 | 2692134.147 | 1232078.2463 | 2692151.3187 | 1232061.9674 | 2692162.9276 | 1232048.382 | 2692181.5228 | 1232024.1597
32 | 2692135.9966 | 1232031.7416 | 2692132.9413 | 1232040.5373
33 | 2692065.5468 | 1232079.691 | 2692048.4553 | 1232097.633 | 2692038.7545 | 1232107.9129
34 | 2692073.8705 | 1232070.9531 | 2692065.5468 | 1232079.691
35 | 2692159.2935 | 1231908.6587 | 2692160.9164 | 1231907.5497
36 | 2692173.7454 | 1231824.122 | 2692134.4976 | 1231824.1359
37 | 2692173.7454 | 1231824.122 | 2692173.7494 | 1231823.0947
38 | 2692134.4976 | 1231824.1359 | 2692134.5839 | 1231799.9163
39 | 2692134.4976 | 1231824.1359 | 2692134.3887 | 1231856.0918
40 | 2692173.8197 | 1231804.687 | 2692173.7494 | 1231823.0947
41 | 2692173.8197 | 1231804.687 | 2692173.9197 | 1231779.1651
42 | 2692222.7295 | 1232052.5577 | 2692206.0237 | 1232076.5149 | 2692206.0237 | 1232076.5149
43 | 2691930.3058 | 1231908.9139 | 2691920.6076 | 1231938.5077
44 | 2691930.3058 | 1231908.9139 | 2691940.0267 | 1231880.7625
45 | 2691940.0267 | 1231880.7625 | 2691945.4027 | 1231865.1938 | 2691950.7002 | 1231845.3948 | 2691965.2145 | 1231822.2138 | 2691976.8583 | 1231812.7315 | 2691997.5439 | 1231802.8556 | 2692003.9256 | 1231800.9307
46 | 2692094.9947 | 1231776.6009 | 2692066.1033 | 1231784.2256 | 2692042.4242 | 1231789.3183 | 2692003.9256 | 1231800.9307
47 | 2692003.9256 | 1231800.9307 | 2691782.0779 | 1231586.4706
48 | 2692094.9947 | 1231776.6009 | 2692094.7904 | 1231792.2201 | 2692113.6166 | 1231815.3394 | 2692116.8876 | 1231835.4267 | 2692114.7434 | 1231849.6482
49 | 2691782.0779 | 1231586.4706 | 2691798.2769 | 1231568.2765
50 | 2692000.258 | 1231966.4727 | 2691999.2537 | 1231967.9063
51 | 2692047.5577 | 1231882.3089 | 2692052.1786 | 1231886.161 | 2692052.2733 | 1231904.976
52 | 2692047.5577 | 1231882.3089 | 2692053.9112 | 1231873.5677 | 2692060.1626 | 1231867.5045 | 2692068.9952 | 1231861.0478 | 2692080.437 | 1231855.3209 | 2692084.3662 | 1231853.9029
53 | 2692052.2733 | 1231904.976 | 2692052.3272 | 1231916.1626 | 2692053.7808 | 1231918.1532 | 2692053.9898 | 1231952.0808 | 2692062.2486 | 1231952.3422
54 | 2692052.2733 | 1231904.976 | 2692067.9598 | 1231904.9296
55 | 2692084.3662 | 1231853.9029 | 2692087.0297 | 1231852.9416
56 | 2692078.4266 | 1232000.1937 | 2692073.3147 | 1231994.3103 | 2692069.7427 | 1231994.1327 | 2692069.7663 | 1231984.793 | 2692062.1284 | 1231984.052 | 2692062.2486 | 1231952.3422
57 | 2692109.2307 | 1231915.993 | 2692109.2389 | 1231904.7469 | 2692087.2784 | 1231905.018 | 2692087.3861 | 1231906.3762 | 2692079.7328 | 1231906.6246 | 2692079.3885 | 1231904.8958 | 2692067.9598 | 1231904.9296
58 | 2692114.7434 | 1231849.6482 | 2692109.7554 | 1231847.9808 | 2692104.2999 | 1231848.1297 | 2692093.5829 | 1231850.5766 | 2692087.0297 | 1231852.9416
59 | 2692078.4266 | 1232000.1937 | 2692089.3252 | 1231989.4326 | 2692092.3641 | 1232011.2953 | 2692095.8391 | 1232016.2639 | 2692109.9974 | 1232020.4529 | 2692112.7088 | 1232025.3317 | 2692111.9346 | 1232032.2802
60 | 2692126.5619 | 1231955.4183 | 2692118.1958 | 1231947.4274 | 2692117.4736 | 1231938.3208 | 2692109.2145 | 1231938.0705 | 2692109.2307 | 1231915.993
61 | 2692159.2935 | 1231908.6587 | 2692152.1341 | 1231927.8504 | 2692151.0429 | 1231929.0459
62 | 2692126.5619 | 1231955.4183 | 2692129.2746 | 1231952.8919 | 2692135.7618 | 1231945.7873 | 2692151.0429 | 1231929.0459
63 | 2691880.4952 | 1231445.1006 | 2691879.1312 | 1231446.9695 | 2691821.677 | 1231503.2041
64 | 2691893.0399 | 1231400.7847 | 2691888.6725 | 1231433.8965 | 2691880.4952 | 1231445.1006
65 | 2691798.2769 | 1231568.2765 | 2691805.2709 | 1231560.4211 | 2691808.4307 | 1231554.9437 | 2691810.6742 | 1231549.4522 | 2691809.5062 | 1231545.1422 | 2691800.4386 | 1231533.9497 | 2691799.622 | 1231527.4881 | 2691804.0555 | 1231520.4515 | 2691821.677 | 1231503.2041
66 | 2691893.0399 | 1231400.7847 | 2691628.1804 | 1231229.3193
67 | 2691625.4163 | 1231231.734 | 2691628.1804 | 1231229.3193
68 | 2691628.1804 | 1231229.3193 | 2691621.9574 | 1231222.2294 | 2691617.9511 | 1231218.9039
69 | 2691625.4163 | 1231231.734 | 2691611.182 | 1231244.1235 | 2691579.4162 | 1231274.4781 | 2691536.3144 | 1231316.4556
70 | 2692111.9346 | 1232032.2802 | 2692099.8831 | 1232043.6462 | 2692096.6497 | 1232047.0405
71 | 2692111.9346 | 1232032.2802 | 2692132.8406 | 1232031.6037 | 2692135.9966 | 1232031.7416
72 | 2692073.8705 | 1232070.9531 | 2692096.6497 | 1232047.0405
73 | 2692135.9966 | 1232031.7416 | 2692138.6172 | 1232024.4103
74 | 2692138.6172 | 1232024.4103 | 2692138.3877 | 1232021.6269 | 2692137.8292 | 1232016.6147 | 2692135.1618 | 1232014.2717
75 | 2692138.6172 | 1232024.4103 | 2692170.3797 | 1231986.3975 | 2692174.9213 | 1231978.0314
76 | 2692174.9213 | 1231978.0314 | 2692179.8258 | 1231968.9968

## bus_geodata
| x | y | coords
0 | 2692088.6847 | 1232172.0938
1 | 2692075.3882 | 1232180.1204
2 | 2692045.5242 | 1232155.8183
3 | 2692140.7323 | 1232139.0365
4 | 2692150.9057 | 1232158.5585
5 | 2692162.2499 | 1232119.9007
6 | 2692067.2227 | 1232142.6881
7 | 2692163.9333 | 1232172.9136
8 | 2692164.9227 | 1232117.0067
9 | 2692148.7922 | 1232108.9125
10 | 2692134.7312 | 1232097.2246
11 | 2692183.7694 | 1232045.5605
12 | 2692117.5318 | 1232110.4312
13 | 2692093.3767 | 1232126.8096
14 | 2692156.2836 | 1232205.2362
15 | 2692199.7082 | 1232082.7368
16 | 2692188.2193 | 1232136.2752
17 | 2692222.161 | 1231995.1475
18 | 2692278.8055 | 1231920.9434
19 | 2692239.8141 | 1231972.7756
20 | 2692168.4881 | 1231902.797
21 | 2692018.6142 | 1232053.7284
22 | 2692057.8927 | 1232019.2999
23 | 2691993.2478 | 1232024.0542
24 | 2691964.5164 | 1232008.4931
25 | 2691988.1074 | 1231983.8172
26 | 2692134.147 | 1232078.2463
27 | 2692132.9413 | 1232040.5373
28 | 2692181.5228 | 1232024.1597
29 | 2692038.7545 | 1232107.9129
30 | 2692065.5468 | 1232079.691
31 | 2692160.9164 | 1231907.5497
32 | 2692173.7454 | 1231824.122
33 | 2692196.8124 | 1231938.3623
34 | 2692134.4976 | 1231824.1359
35 | 2692173.7494 | 1231823.0947
36 | 2692173.8197 | 1231804.687
37 | 2692173.9197 | 1231779.1651
38 | 2692206.0237 | 1232076.5149
39 | 2692222.7295 | 1232052.5577
40 | 2691920.6076 | 1231938.5077
41 | 2691930.3058 | 1231908.9139
42 | 2691940.0267 | 1231880.7625
43 | 2692003.9256 | 1231800.9307
44 | 2692094.9947 | 1231776.6009
45 | 2691782.0779 | 1231586.4706
46 | 2692000.258 | 1231966.4727
47 | 2691999.2537 | 1231967.9063
48 | 2692047.5577 | 1231882.3089
49 | 2692052.2733 | 1231904.976
50 | 2692084.3662 | 1231853.9029
51 | 2692062.2486 | 1231952.3422
52 | 2692067.9598 | 1231904.9296
53 | 2692087.0297 | 1231852.9416
54 | 2692078.4266 | 1232000.1937
55 | 2692109.2307 | 1231915.993
56 | 2692114.7434 | 1231849.6482
57 | 2692159.2935 | 1231908.6587
58 | 2692151.0429 | 1231929.0459
59 | 2691880.4952 | 1231445.1006
60 | 2691821.677 | 1231503.2041
61 | 2691893.0399 | 1231400.7847
62 | 2691798.2769 | 1231568.2765
63 | 2691628.1804 | 1231229.3193
64 | 2691617.9511 | 1231218.9039
65 | 2691625.4163 | 1231231.734
66 | 2691536.3144 | 1231316.4556
67 | 2692126.5619 | 1231955.4183
68 | 2692111.9346 | 1232032.2802
69 | 2692096.6497 | 1232047.0405
70 | 2692135.9966 | 1232031.7416
71 | 2692073.8705 | 1232070.9531
72 | 2692138.6172 | 1232024.4103
73 | 2692135.1618 | 1232014.2717
74 | 2692179.8258 | 1231968.9968
75 | 2692174.9213 | 1231978.0313
76 | 2692134.5839 | 1231799.9163
77 | 2692134.3887 | 1231856.0918
78 | 2692089.3252 | 1231989.4326

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1