## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_293-53_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_293-53_0_4_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_293-53_0_4_node_1 | 0.4 | n |  | TRUE
3 | bus_LV_293-53_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_293-53_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_293-53_0_4_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_293-53_0_4_node_64 | 0.4 | n |  | TRUE
7 | bus_LV_293-53_0_4_node_62 | 0.4 | n |  | TRUE
8 | bus_LV_293-53_0_4_node_54 | 0.4 | n |  | TRUE
9 | bus_LV_293-53_0_4_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_293-53_0_4_node_48 | 0.4 | n |  | TRUE
11 | bus_LV_293-53_0_4_node_105 | 0.4 | n |  | TRUE
12 | bus_LV_293-53_0_4_node_60 | 0.4 | n |  | TRUE
13 | bus_LV_293-53_0_4_node_71 | 0.4 | n |  | TRUE
14 | bus_LV_293-53_0_4_node_59 | 0.4 | n |  | TRUE
15 | bus_LV_293-53_0_4_node_63 | 0.4 | n |  | TRUE
16 | bus_LV_293-53_0_4_node_55 | 0.4 | n |  | TRUE
17 | bus_LV_293-53_0_4_node_17 | 0.4 | n |  | TRUE
18 | bus_LV_293-53_0_4_node_24 | 0.4 | n |  | TRUE
19 | bus_LV_293-53_0_4_node_106 | 0.4 | n |  | TRUE
20 | bus_LV_293-53_0_4_node_51 | 0.4 | n |  | TRUE
21 | bus_LV_293-53_0_4_node_7 | 0.4 | n |  | TRUE
22 | bus_LV_293-53_0_4_node_8 | 0.4 | n |  | TRUE
23 | bus_LV_293-53_0_4_node_9 | 0.4 | n |  | TRUE
24 | bus_LV_293-53_0_4_node_10 | 0.4 | n |  | TRUE
25 | bus_LV_293-53_0_4_node_11 | 0.4 | n |  | TRUE
26 | bus_LV_293-53_0_4_node_61 | 0.4 | n |  | TRUE
27 | bus_LV_293-53_0_4_node_12 | 0.4 | n |  | TRUE
28 | bus_LV_293-53_0_4_node_76 | 0.4 | n |  | TRUE
29 | bus_LV_293-53_0_4_node_13 | 0.4 | n |  | TRUE
30 | bus_LV_293-53_0_4_node_36 | 0.4 | n |  | TRUE
31 | bus_LV_293-53_0_4_node_14 | 0.4 | n |  | TRUE
32 | bus_LV_293-53_0_4_node_15 | 0.4 | n |  | TRUE
33 | bus_LV_293-53_0_4_node_16 | 0.4 | n |  | TRUE
34 | bus_LV_293-53_0_4_node_18 | 0.4 | n |  | TRUE
35 | bus_LV_293-53_0_4_node_65 | 0.4 | n |  | TRUE
36 | bus_LV_293-53_0_4_node_66 | 0.4 | n |  | TRUE
37 | bus_LV_293-53_0_4_node_19 | 0.4 | n |  | TRUE
38 | bus_LV_293-53_0_4_node_20 | 0.4 | n |  | TRUE
39 | bus_LV_293-53_0_4_node_21 | 0.4 | n |  | TRUE
40 | bus_LV_293-53_0_4_node_22 | 0.4 | n |  | TRUE
41 | bus_LV_293-53_0_4_node_57 | 0.4 | n |  | TRUE
42 | bus_LV_293-53_0_4_node_25 | 0.4 | n |  | TRUE
43 | bus_LV_293-53_0_4_node_102 | 0.4 | n |  | TRUE
44 | bus_LV_293-53_0_4_node_101 | 0.4 | n |  | TRUE
45 | bus_LV_293-53_0_4_node_35 | 0.4 | n |  | TRUE
46 | bus_LV_293-53_0_4_node_49 | 0.4 | n |  | TRUE
47 | bus_LV_293-53_0_4_node_98 | 0.4 | n |  | TRUE
48 | bus_LV_293-53_0_4_node_103 | 0.4 | n |  | TRUE
49 | bus_LV_293-53_0_4_node_100 | 0.4 | n |  | TRUE
50 | bus_LV_293-53_0_4_node_97 | 0.4 | n |  | TRUE
51 | bus_LV_293-53_0_4_node_26 | 0.4 | n |  | TRUE
52 | bus_LV_293-53_0_4_node_27 | 0.4 | n |  | TRUE
53 | bus_LV_293-53_0_4_node_28 | 0.4 | n |  | TRUE
54 | bus_LV_293-53_0_4_node_29 | 0.4 | n |  | TRUE
55 | bus_LV_293-53_0_4_node_30 | 0.4 | n |  | TRUE
56 | bus_LV_293-53_0_4_node_56 | 0.4 | n |  | TRUE
57 | bus_LV_293-53_0_4_node_31 | 0.4 | n |  | TRUE
58 | bus_LV_293-53_0_4_node_32 | 0.4 | n |  | TRUE
59 | bus_LV_293-53_0_4_node_33 | 0.4 | n |  | TRUE
60 | bus_LV_293-53_0_4_node_34 | 0.4 | n |  | TRUE
61 | bus_LV_293-53_0_4_node_39 | 0.4 | n |  | TRUE
62 | bus_LV_293-53_0_4_node_41 | 0.4 | n |  | TRUE
63 | bus_LV_293-53_0_4_node_38 | 0.4 | n |  | TRUE
64 | bus_LV_293-53_0_4_node_70 | 0.4 | n |  | TRUE
65 | bus_LV_293-53_0_4_node_43 | 0.4 | n |  | TRUE
66 | bus_LV_293-53_0_4_node_40 | 0.4 | n |  | TRUE
67 | bus_LV_293-53_0_4_node_42 | 0.4 | n |  | TRUE
68 | bus_LV_293-53_0_4_node_58 | 0.4 | n |  | TRUE
69 | bus_LV_293-53_0_4_node_44 | 0.4 | n |  | TRUE
70 | bus_LV_293-53_0_4_node_45 | 0.4 | n |  | TRUE
71 | bus_LV_293-53_0_4_node_46 | 0.4 | n |  | TRUE
72 | bus_LV_293-53_0_4_node_47 | 0.4 | n |  | TRUE
73 | bus_LV_293-53_0_4_node_52 | 0.4 | n |  | TRUE
74 | bus_LV_293-53_0_4_node_53 | 0.4 | n |  | TRUE
75 | bus_LV_293-53_0_4_node_50 | 0.4 | n |  | TRUE
76 | bus_LV_293-53_0_4_node_99 | 0.4 | n |  | TRUE
77 | bus_LV_293-53_0_4_node_82 | 0.4 | n |  | TRUE
78 | bus_LV_293-53_0_4_node_68 | 0.4 | n |  | TRUE
79 | bus_LV_293-53_0_4_node_81 | 0.4 | n |  | TRUE
80 | bus_LV_293-53_0_4_node_89 | 0.4 | n |  | TRUE
81 | bus_LV_293-53_0_4_node_88 | 0.4 | n |  | TRUE
82 | bus_LV_293-53_0_4_node_104 | 0.4 | n |  | TRUE
83 | bus_LV_293-53_0_4_node_80 | 0.4 | n |  | TRUE
84 | bus_LV_293-53_0_4_node_79 | 0.4 | n |  | TRUE
85 | bus_LV_293-53_0_4_node_74 | 0.4 | n |  | TRUE
86 | bus_LV_293-53_0_4_node_72 | 0.4 | n |  | TRUE
87 | bus_LV_293-53_0_4_node_73 | 0.4 | n |  | TRUE
88 | bus_LV_293-53_0_4_node_77 | 0.4 | n |  | TRUE
89 | bus_LV_293-53_0_4_node_78 | 0.4 | n |  | TRUE
90 | bus_LV_293-53_0_4_node_83 | 0.4 | n |  | TRUE
91 | bus_LV_293-53_0_4_node_84 | 0.4 | n |  | TRUE
92 | bus_LV_293-53_0_4_node_85 | 0.4 | n |  | TRUE
93 | bus_LV_293-53_0_4_node_86 | 0.4 | n |  | TRUE
94 | bus_LV_293-53_0_4_node_94 | 0.4 | n |  | TRUE
95 | bus_LV_293-53_0_4_node_87 | 0.4 | n |  | TRUE
96 | bus_LV_293-53_0_4_node_92 | 0.4 | n |  | TRUE
97 | bus_LV_293-53_0_4_node_93 | 0.4 | n |  | TRUE
98 | bus_LV_293-53_0_4_node_95 | 0.4 | n |  | TRUE
99 | bus_LV_293-53_0_4_node_96 | 0.4 | n |  | TRUE
100 | bus_MV_578_0_node_61 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_293-53_0_4_load_0 | 0 | 0.0020778 | 0.00052074 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_293-53_0_4_load_4 | 4 | 0.010778 | 0.0027011 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_293-53_0_4_load_6 | 5 | 0.0030976 | 0.00077632 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_293-53_0_4_load_62 | 7 | 0.010637 | 0.0026659 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_293-53_0_4_load_105 | 11 | 0.0017574 | 0.00044045 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_293-53_0_4_load_60 | 12 | 0.0028525 | 0.00071491 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_293-53_0_4_load_71 | 13 | 0.0035718 | 0.00089517 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_293-53_0_4_load_59 | 14 | 0.0035725 | 0.00089536 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_293-53_0_4_load_63 | 15 | 0.0074033 | 0.0018555 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_293-53_0_4_load_55 | 16 | 0.0043092 | 0.00108 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_293-53_0_4_load_17 | 17 | 0.0026557 | 0.00066558 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_293-53_0_4_load_24 | 18 | 0.0012635 | 0.00031667 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_293-53_0_4_load_106 | 19 | 0.0018336 | 0.00045954 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_293-53_0_4_load_7 | 21 | 0.0040438 | 0.0010135 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_293-53_0_4_load_8 | 22 | 0.0034232 | 0.00085794 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_293-53_0_4_load_9 | 23 | 0.0012708 | 0.00031849 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_293-53_0_4_load_10 | 24 | 0.00046985 | 0.00011776 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_293-53_0_4_load_11 | 25 | 0.0036327 | 0.00091045 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_293-53_0_4_load_61 | 26 | 0.0010308 | 0.00025835 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_293-53_0_4_load_12 | 27 | 0.0054144 | 0.001357 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_293-53_0_4_load_36 | 30 | 0.0016256 | 0.00040741 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_293-53_0_4_load_14 | 31 | 0.0026557 | 0.00066558 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_293-53_0_4_load_15 | 32 | 0.018455 | 0.0046252 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_293-53_0_4_load_16 | 33 | 0.0026566 | 0.00066582 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_293-53_0_4_load_18 | 34 | 0.0011666 | 0.00029239 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_293-53_0_4_load_65 | 35 | 0.0011661 | 0.00029225 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_293-53_0_4_load_66 | 36 | 0.0017765 | 0.00044524 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_293-53_0_4_load_19 | 37 | 0.0019298 | 0.00048365 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_293-53_0_4_load_20 | 38 | 0.00060764 | 0.00015229 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_293-53_0_4_load_22 | 40 | 0.00094084 | 0.0002358 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_293-53_0_4_load_57 | 41 | 0.0019552 | 0.00049003 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_293-53_0_4_load_102 | 43 | 0.0012136 | 0.00030416 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_293-53_0_4_load_101 | 44 | 0.0019766 | 0.00049538 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_293-53_0_4_load_35 | 45 | 0.0021069 | 0.00052804 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_293-53_0_4_load_103 | 48 | 0.0010232 | 0.00025644 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_293-53_0_4_load_100 | 49 | 0.0018224 | 0.00045674 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_293-53_0_4_load_97 | 50 | 0.002262 | 0.00056691 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_293-53_0_4_load_26 | 51 | 0.00077346 | 0.00019385 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_293-53_0_4_load_27 | 52 | 0.0058834 | 0.0014745 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_293-53_0_4_load_28 | 53 | 0.00076115 | 0.00019076 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_293-53_0_4_load_29 | 54 | 0.00067966 | 0.00017034 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_293-53_0_4_load_30 | 55 | 0.0023808 | 0.00059667 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_293-53_0_4_load_56 | 56 | 0.00049998 | 0.00012531 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_293-53_0_4_load_31 | 57 | 0.00093526 | 0.0002344 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_293-53_0_4_load_32 | 58 | 0.0012866 | 0.00032245 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_293-53_0_4_load_33 | 59 | 0.0019545 | 0.00048985 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_293-53_0_4_load_34 | 60 | 0.0042362 | 0.0010617 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_293-53_0_4_load_41 | 62 | 0.0054514 | 0.0013662 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_293-53_0_4_load_38 | 63 | 0.0074485 | 0.0018668 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_293-53_0_4_load_43 | 65 | 0.0089198 | 0.0022355 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_293-53_0_4_load_42 | 67 | 0.011836 | 0.0029663 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_293-53_0_4_load_58 | 68 | 0.0075325 | 0.0018878 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_293-53_0_4_load_44 | 69 | 0.00059932 | 0.0001502 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_293-53_0_4_load_53 | 74 | 0.004056 | 0.0010165 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_293-53_0_4_load_99 | 76 | 0.00040921 | 0.00010256 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_293-53_0_4_load_82 | 77 | 0.0012327 | 0.00030895 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_293-53_0_4_load_81 | 79 | 0.00076312 | 0.00019126 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_293-53_0_4_load_88 | 81 | 0.0074616 | 0.0018701 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_293-53_0_4_load_104 | 82 | 0.0038301 | 0.0009599 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_293-53_0_4_load_80 | 83 | 0.0044697 | 0.0011202 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_293-53_0_4_load_79 | 84 | 0.0013466 | 0.00033749 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_293-53_0_4_load_74 | 85 | 0.0014045 | 0.000352 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_293-53_0_4_load_72 | 86 | 0.0036964 | 0.0009264 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_293-53_0_4_load_73 | 87 | 0.074429 | 0.018654 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_293-53_0_4_load_77 | 88 | 0.0036645 | 0.00091841 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_293-53_0_4_load_78 | 89 | 0.0014044 | 0.00035197 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_293-53_0_4_load_84 | 91 | 0.0019927 | 0.00049942 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_293-53_0_4_load_85 | 92 | 0.0022406 | 0.00056153 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_293-53_0_4_load_86 | 93 | 0.003773 | 0.00094561 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_293-53_0_4_load_94 | 94 | 0.00061992 | 0.00015537 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_293-53_0_4_load_87 | 95 | 0.0044514 | 0.0011156 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_293-53_0_4_load_92 | 96 | 0.00070167 | 0.00017585 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_293-53_0_4_load_93 | 97 | 0.001 | 0.00025063 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_293-53_0_4_load_95 | 98 | 0.00097257 | 0.00024375 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_293-53_0_4_load_96 | 99 | 0.0013833 | 0.0003467 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 4 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_293-53_0_4_line_0 |  | 0 | 1 | 0.014079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_293-53_0_4_line_1 |  | 1 | 5 | 0.024983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_293-53_0_4_line_2 |  | 2 | 3 | 0.01379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
3 | LV_293-53_0_4_line_3 |  | 2 | 4 | 0.042879 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
4 | LV_293-53_0_4_line_4 |  | 3 | 6 | 0.048156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
5 | LV_293-53_0_4_line_5 |  | 3 | 7 | 0.030438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_293-53_0_4_line_6 |  | 4 | 8 | 0.031657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
7 | LV_293-53_0_4_line_7 |  | 5 | 12 | 0.033211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_293-53_0_4_line_8 |  | 6 | 13 | 0.026884 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_293-53_0_4_line_9 |  | 6 | 14 | 0.020691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
10 | LV_293-53_0_4_line_10 |  | 7 | 15 | 0.019835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_293-53_0_4_line_11 |  | 8 | 16 | 0.028252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_293-53_0_4_line_12 |  | 8 | 17 | 0.029663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_293-53_0_4_line_13 |  | 9 | 10 | 0.005603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
14 | LV_293-53_0_4_line_14 |  | 9 | 11 | 0.020801 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
15 | LV_293-53_0_4_line_15 |  | 10 | 18 | 0.057971 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
16 | LV_293-53_0_4_line_16 |  | 11 | 19 | 0.026876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
17 | LV_293-53_0_4_line_17 |  | 12 | 20 | 0.011678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_293-53_0_4_line_18 |  | 13 | 86 | 0.011303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_293-53_0_4_line_19 |  | 14 | 68 | 0.042049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
20 | LV_293-53_0_4_line_20 |  | 16 | 82 | 0.014735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_293-53_0_4_line_21 |  | 17 | 32 | 0.0065748 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_293-53_0_4_line_22 |  | 18 | 39 | 0.043701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
23 | LV_293-53_0_4_line_23 |  | 19 | 75 | 0.016666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
24 | LV_293-53_0_4_line_24 |  | 20 | 56 | 0.013444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_293-53_0_4_line_25 |  | 20 | 75 | 0.031908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_293-53_0_4_line_26 |  | 21 | 22 | 0.0035752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_293-53_0_4_line_27 |  | 21 | 23 | 0.036842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_293-53_0_4_line_28 |  | 22 | 24 | 0.020478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_293-53_0_4_line_29 |  | 23 | 25 | 0.0041426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_293-53_0_4_line_30 |  | 24 | 26 | 0.012296 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_293-53_0_4_line_31 |  | 25 | 27 | 0.029377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_293-53_0_4_line_32 |  | 26 | 28 | 0.019611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_293-53_0_4_line_33 |  | 27 | 29 | 0.026088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_293-53_0_4_line_34 |  | 28 | 84 | 0.018912 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_293-53_0_4_line_35 |  | 28 | 85 | 0.019644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_293-53_0_4_line_36 |  | 29 | 30 | 0.11251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_293-53_0_4_line_37 |  | 31 | 32 | 0.00084466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_293-53_0_4_line_38 |  | 31 | 33 | 0.0091027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_293-53_0_4_line_39 |  | 33 | 34 | 0.012215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_293-53_0_4_line_40 |  | 34 | 35 | 0.0040336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_293-53_0_4_line_41 |  | 35 | 36 | 0.0069315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_293-53_0_4_line_42 |  | 37 | 38 | 0.0037377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
43 | LV_293-53_0_4_line_43 |  | 37 | 39 | 0.047353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
44 | LV_293-53_0_4_line_44 |  | 38 | 40 | 0.035054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
45 | LV_293-53_0_4_line_45 |  | 40 | 41 | 0.0034594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
46 | LV_293-53_0_4_line_46 |  | 41 | 45 | 0.013965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
47 | LV_293-53_0_4_line_47 |  | 42 | 43 | 0.063346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_293-53_0_4_line_48 |  | 42 | 44 | 0.060894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_293-53_0_4_line_49 |  | 44 | 47 | 0.019283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_293-53_0_4_line_50 |  | 45 | 59 | 0.014081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
51 | LV_293-53_0_4_line_51 |  | 46 | 47 | 0.028119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_293-53_0_4_line_52 |  | 46 | 48 | 0.046167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_293-53_0_4_line_53 |  | 47 | 49 | 0.027062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_293-53_0_4_line_54 |  | 47 | 50 | 0.015219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_293-53_0_4_line_55 |  | 50 | 99 | 0.017986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_293-53_0_4_line_56 |  | 51 | 52 | 0.040737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_293-53_0_4_line_57 |  | 51 | 53 | 0.0065333 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_293-53_0_4_line_58 |  | 52 | 54 | 0.0082793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_293-53_0_4_line_59 |  | 53 | 55 | 0.022716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_293-53_0_4_line_60 |  | 54 | 56 | 0.015038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_293-53_0_4_line_61 |  | 57 | 58 | 0.00059355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
62 | LV_293-53_0_4_line_62 |  | 57 | 59 | 0.020934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
63 | LV_293-53_0_4_line_63 |  | 58 | 60 | 0.026671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
64 | LV_293-53_0_4_line_64 |  | 60 | 61 | 0.03948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
65 | LV_293-53_0_4_line_65 |  | 61 | 62 | 0.011096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_293-53_0_4_line_66 |  | 61 | 63 | 0.023497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
67 | LV_293-53_0_4_line_67 |  | 62 | 64 | 0.018356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_293-53_0_4_line_68 |  | 63 | 66 | 0.0063565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
69 | LV_293-53_0_4_line_69 |  | 64 | 65 | 0.01353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_293-53_0_4_line_70 |  | 66 | 67 | 0.04425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
71 | LV_293-53_0_4_line_71 |  | 67 | 68 | 0.0010339 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
72 | LV_293-53_0_4_line_72 |  | 69 | 70 | 0.028909 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_293-53_0_4_line_73 |  | 69 | 71 | 0.0062028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_293-53_0_4_line_74 |  | 70 | 72 | 0.011974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
75 | LV_293-53_0_4_line_75 |  | 71 | 73 | 0.005178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_293-53_0_4_line_76 |  | 71 | 74 | 0.02382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_293-53_0_4_line_77 |  | 72 | 75 | 0.011446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
78 | LV_293-53_0_4_line_78 |  | 72 | 76 | 0.013287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_293-53_0_4_line_79 |  | 73 | 77 | 0.019251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_293-53_0_4_line_80 |  | 74 | 78 | 0.09426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_293-53_0_4_line_81 |  | 77 | 79 | 0.0040672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_293-53_0_4_line_82 |  | 78 | 80 | 0.008151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_293-53_0_4_line_83 |  | 79 | 90 | 0.015442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_293-53_0_4_line_84 |  | 80 | 81 | 0.037467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_293-53_0_4_line_85 |  | 82 | 83 | 0.020524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_293-53_0_4_line_86 |  | 83 | 89 | 0.021391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_293-53_0_4_line_87 |  | 84 | 88 | 0.0037218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_293-53_0_4_line_88 |  | 85 | 87 | 0.027547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_293-53_0_4_line_89 |  | 88 | 89 | 0.0075196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_293-53_0_4_line_90 |  | 90 | 91 | 0.0021842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_293-53_0_4_line_91 |  | 90 | 92 | 0.018042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_293-53_0_4_line_92 |  | 91 | 93 | 0.032577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_293-53_0_4_line_93 |  | 92 | 94 | 0.021243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_293-53_0_4_line_94 |  | 93 | 95 | 0.010972 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_293-53_0_4_line_95 |  | 94 | 96 | 0.0042049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_293-53_0_4_line_96 |  | 96 | 97 | 0.020618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_293-53_0_4_line_97 |  | 97 | 98 | 0.0013971 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_293-53_0_4_line_98 |  | 98 | 99 | 0.023023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_293-53_0_4_trafo_4 | 0.63 MVA 20/0.4 kV | 100 | 4 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2692779.0014 | 1231371.5771 | 2692770.9235 | 1231360.0456
1 | 2692779.0014 | 1231371.5771 | 2692760.154 | 1231387.9766
2 | 2692723.7073 | 1231307.0682 | 2692713.5627 | 1231316.439
3 | 2692713.5627 | 1231316.439 | 2692681.1755 | 1231344.5401
4 | 2692723.7073 | 1231307.0682 | 2692706.4261 | 1231286.9176 | 2692703.526 | 1231278.5998 | 2692705.1638 | 1231265.8717
5 | 2692723.7073 | 1231307.0682 | 2692746.6875 | 1231287.1095
6 | 2692655.0164 | 1231362.2927 | 2692657.3298 | 1231361.1168 | 2692678.8179 | 1231346.5857 | 2692681.1755 | 1231344.5401
7 | 2692760.154 | 1231387.9766 | 2692735.0999 | 1231409.7767
8 | 2692705.1638 | 1231265.8717 | 2692693.1587 | 1231261.4592 | 2692681.6905 | 1231269.6523
9 | 2692705.1638 | 1231265.8717 | 2692710.0417 | 1231255.6849 | 2692717.1883 | 1231249.5837
10 | 2692761.6627 | 1231274.1032 | 2692746.6875 | 1231287.1095
11 | 2692655.0164 | 1231362.2927 | 2692651.3764 | 1231352.3622 | 2692650.5316 | 1231346.3113 | 2692645.7017 | 1231335.8024
12 | 2692655.0164 | 1231362.2927 | 2692628.5553 | 1231375.6978
13 | 2692807.3643 | 1231398.4612 | 2692803.5659 | 1231394.3323
14 | 2692803.5659 | 1231394.3323 | 2692787.1381 | 1231407.0916
15 | 2692807.3643 | 1231398.4612 | 2692844.8529 | 1231368.2247 | 2692852.5411 | 1231362.1348
16 | 2692787.1381 | 1231407.0916 | 2692780.1573 | 1231412.5134 | 2692774.0649 | 1231415.1091 | 2692768.4026 | 1231419.2571 | 2692765.1154 | 1231422.175
17 | 2692729.3961 | 1231419.6489 | 2692730.3667 | 1231416.1838 | 2692732.8293 | 1231411.7523 | 2692735.0999 | 1231409.7767
18 | 2692681.6905 | 1231269.6523 | 2692681.3088 | 1231269.925 | 2692672.4932 | 1231276.2231
19 | 2692748.4844 | 1231221.5012 | 2692717.8183 | 1231249.0459 | 2692717.1883 | 1231249.5837
20 | 2692645.7017 | 1231335.8024 | 2692639.5485 | 1231322.4142
21 | 2692628.5553 | 1231375.6978 | 2692626.7602 | 1231376.6072 | 2692622.5257 | 1231378.3059
22 | 2692886.7969 | 1231335.0004 | 2692852.5411 | 1231362.1348
23 | 2692752.6123 | 1231433.1874 | 2692753.0026 | 1231432.9267 | 2692765.1154 | 1231422.175
24 | 2692729.3961 | 1231419.6489 | 2692725.7301 | 1231418.6799 | 2692721.8672 | 1231418.6753 | 2692716.4435 | 1231420.6994
25 | 2692729.3961 | 1231419.6489 | 2692733.4448 | 1231422.7921 | 2692746.6713 | 1231437.2421 | 2692752.6123 | 1231433.1874
26 | 2692644.9674 | 1231215.2082 | 2692642.0443 | 1231217.2668
27 | 2692644.9674 | 1231215.2082 | 2692660.0433 | 1231204.5912 | 2692667.5377 | 1231187.7839
28 | 2692642.0443 | 1231217.2668 | 2692628.9489 | 1231226.4891 | 2692627.375 | 1231230.6633
29 | 2692669.1704 | 1231183.9768 | 2692667.7983 | 1231187.1995 | 2692667.5377 | 1231187.7839
30 | 2692620.9721 | 1231241.0563 | 2692626.1439 | 1231233.9285 | 2692627.375 | 1231230.6633
31 | 2692669.1704 | 1231183.9768 | 2692680.6779 | 1231156.9479
32 | 2692609.4546 | 1231256.9295 | 2692620.9721 | 1231241.0563
33 | 2692687.0397 | 1231131.7263 | 2692682.6824 | 1231152.2397 | 2692680.6779 | 1231156.9479
34 | 2692609.4546 | 1231256.9295 | 2692617.351 | 1231274.1139
35 | 2692609.4546 | 1231256.9295 | 2692594.7678 | 1231269.9752
36 | 2692687.0397 | 1231131.7263 | 2692625.1983 | 1231178.941 | 2692608.3877 | 1231182.0147 | 2692591.5643 | 1231187.237
37 | 2692622.5257 | 1231378.3059 | 2692621.7417 | 1231378.6204
38 | 2692613.2935 | 1231382.0094 | 2692621.7417 | 1231378.6204
39 | 2692601.9563 | 1231386.5574 | 2692613.2935 | 1231382.0094
40 | 2692601.9563 | 1231386.5574 | 2692601.2263 | 1231386.8502 | 2692598.0608 | 1231387.5733
41 | 2692591.3034 | 1231389.1169 | 2692598.0608 | 1231387.5733
42 | 2692856.084 | 1231294.1783 | 2692858.3729 | 1231297.1332
43 | 2692886.7969 | 1231335.0004 | 2692872.6337 | 1231315.5429 | 2692858.3729 | 1231297.1332
44 | 2692843.5404 | 1231261.5927 | 2692845.0199 | 1231266.3986 | 2692854.3243 | 1231291.9067 | 2692856.084 | 1231294.1783
45 | 2692843.5404 | 1231261.5927 | 2692842.5226 | 1231258.2865
46 | 2692839.2176 | 1231244.8291 | 2692839.152 | 1231247.3378 | 2692842.5226 | 1231258.2865
47 | 2692918.0173 | 1231424.7082 | 2692872.71 | 1231468.9792
48 | 2692918.0173 | 1231424.7082 | 2692891.9277 | 1231421.5427 | 2692857.4113 | 1231418.961
49 | 2692838.1821 | 1231417.5227 | 2692857.4113 | 1231418.961
50 | 2692839.2176 | 1231244.8291 | 2692839.5852 | 1231230.7526
51 | 2692815.4043 | 1231413.264 | 2692839.7873 | 1231414.1675 | 2692838.1821 | 1231417.5227
52 | 2692815.4043 | 1231413.264 | 2692816.5279 | 1231407.7665 | 2692811.5562 | 1231407.9557 | 2692808.5997 | 1231406.1749 | 2692808.847 | 1231402.465 | 2692812.8402 | 1231398.4912 | 2692822.4917 | 1231391.1032 | 2692830.8702 | 1231384.5722
53 | 2692838.1821 | 1231417.5227 | 2692811.1232 | 1231417.0898
54 | 2692838.1821 | 1231417.5227 | 2692836.3892 | 1231421.264 | 2692828.8386 | 1231429.3599
55 | 2692816.5715 | 1231442.5128 | 2692828.8386 | 1231429.3599
56 | 2692659.219 | 1231448.6825 | 2692678.0146 | 1231442.7645 | 2692696.1497 | 1231432.1137
57 | 2692659.219 | 1231448.6825 | 2692652.9873 | 1231450.6447
58 | 2692703.2888 | 1231427.9209 | 2692696.1497 | 1231432.1137
59 | 2692631.2439 | 1231457.22 | 2692647.1263 | 1231452.4901 | 2692652.9873 | 1231450.6447
60 | 2692703.2888 | 1231427.9209 | 2692714.0885 | 1231421.5783 | 2692716.4435 | 1231420.6994
61 | 2692840.1472 | 1231209.2328 | 2692840.1317 | 1231209.8262
62 | 2692840.1317 | 1231209.8262 | 2692839.5852 | 1231230.7526
63 | 2692840.6715 | 1231182.5705 | 2692840.7546 | 1231185.9743 | 2692840.1472 | 1231209.2328
64 | 2692807.6317 | 1231183.4776 | 2692813.2113 | 1231190.4586 | 2692820.7217 | 1231191.1764 | 2692822.9842 | 1231189.3882 | 2692827.314 | 1231185.2083 | 2692831.6186 | 1231182.6404 | 2692835.9024 | 1231181.8956 | 2692840.6715 | 1231182.5705
65 | 2692807.6317 | 1231183.4776 | 2692804.229 | 1231180.1888 | 2692805.3495 | 1231173.9241
66 | 2692807.6317 | 1231183.4776 | 2692795.4934 | 1231193.4176 | 2692787.6858 | 1231193.2956
67 | 2692793.1948 | 1231160.1689 | 2692805.3495 | 1231173.9241
68 | 2692782.1732 | 1231191.2415 | 2692784.119 | 1231193.2399 | 2692787.6858 | 1231193.2956
69 | 2692793.1948 | 1231160.1689 | 2692782.8703 | 1231168.9141
70 | 2692782.1732 | 1231191.2415 | 2692749.2536 | 1231220.8103
71 | 2692749.2536 | 1231220.8103 | 2692748.4844 | 1231221.5012
72 | 2692751.8025 | 1231442.8484 | 2692730.5 | 1231462.391
73 | 2692725.9293 | 1231466.5841 | 2692730.5 | 1231462.391
74 | 2692751.8025 | 1231442.8484 | 2692757.3989 | 1231438.0656 | 2692760.7734 | 1231441.2094
75 | 2692725.9293 | 1231466.5841 | 2692729.2683 | 1231470.5502
76 | 2692725.9293 | 1231466.5841 | 2692708.1278 | 1231482.4116
77 | 2692752.6123 | 1231433.1874 | 2692757.3989 | 1231438.0656 | 2692760.7734 | 1231441.2094
78 | 2692760.7734 | 1231441.2094 | 2692755.8384 | 1231446.325 | 2692751.2723 | 1231450.4881
79 | 2692729.2683 | 1231470.5502 | 2692741.6801 | 1231485.2654
80 | 2692637.6848 | 1231545.0428 | 2692708.1278 | 1231482.4116
81 | 2692742.8387 | 1231489.1641 | 2692741.6801 | 1231485.2654
82 | 2692637.6848 | 1231545.0428 | 2692637.1193 | 1231552.6506 | 2692637.385 | 1231553.0995
83 | 2692751.7464 | 1231501.7565 | 2692746.8205 | 1231494.1631 | 2692742.8387 | 1231489.1641 | 2692742.8387 | 1231489.1641
84 | 2692637.385 | 1231553.0995 | 2692641.0283 | 1231559.4052 | 2692666.6778 | 1231570.3683 | 2692668.7278 | 1231571.3884
85 | 2692630.9777 | 1231303.7655 | 2692639.5485 | 1231322.4142
86 | 2692630.9777 | 1231303.7655 | 2692622.495 | 1231285.3085 | 2692622.0447 | 1231284.3286
87 | 2692618.905 | 1231277.4958 | 2692617.351 | 1231274.1139
88 | 2692572.1202 | 1231285.4871 | 2692588.4551 | 1231275.5826 | 2692594.7678 | 1231269.9752
89 | 2692618.905 | 1231277.4958 | 2692622.0447 | 1231284.3286
90 | 2692751.7464 | 1231501.7565 | 2692749.8052 | 1231502.7576
91 | 2692751.7464 | 1231501.7565 | 2692758.7636 | 1231498.1412 | 2692767.2029 | 1231492.5046
92 | 2692722.27 | 1231519.9625 | 2692735.4441 | 1231510.1638 | 2692749.8052 | 1231502.7576
93 | 2692767.2029 | 1231492.5046 | 2692775.1127 | 1231487.2217 | 2692783.0672 | 1231478.5993
94 | 2692713.4661 | 1231526.5106 | 2692722.27 | 1231519.9625
95 | 2692785.9184 | 1231475.5087 | 2692783.0672 | 1231478.5993
96 | 2692785.9184 | 1231475.5087 | 2692796.894 | 1231463.6113 | 2692799.916 | 1231460.3711
97 | 2692800.8689 | 1231459.3494 | 2692799.916 | 1231460.3711
98 | 2692816.5715 | 1231442.5128 | 2692800.8689 | 1231459.3494

## bus_geodata
| x | y | coords
0 | 2692770.9235 | 1231360.0456
1 | 2692779.0014 | 1231371.5771
2 | 2692713.5627 | 1231316.439
3 | 2692723.7073 | 1231307.0682
4 | 2692681.1755 | 1231344.5401
5 | 2692760.154 | 1231387.9766
6 | 2692705.1638 | 1231265.8717
7 | 2692746.6875 | 1231287.1095
8 | 2692655.0164 | 1231362.2927
9 | 2692803.5659 | 1231394.3323
10 | 2692807.3643 | 1231398.4612
11 | 2692787.1381 | 1231407.0916
12 | 2692735.0999 | 1231409.7767
13 | 2692681.6905 | 1231269.6523
14 | 2692717.1883 | 1231249.5837
15 | 2692761.6627 | 1231274.1032
16 | 2692645.7017 | 1231335.8024
17 | 2692628.5553 | 1231375.6978
18 | 2692852.5411 | 1231362.1348
19 | 2692765.1154 | 1231422.175
20 | 2692729.3961 | 1231419.6489
21 | 2692644.9674 | 1231215.2082
22 | 2692642.0443 | 1231217.2668
23 | 2692667.5377 | 1231187.7839
24 | 2692627.375 | 1231230.6633
25 | 2692669.1704 | 1231183.9768
26 | 2692620.9721 | 1231241.0563
27 | 2692680.6779 | 1231156.9479
28 | 2692609.4546 | 1231256.9295
29 | 2692687.0397 | 1231131.7263
30 | 2692591.5643 | 1231187.237
31 | 2692621.7417 | 1231378.6204
32 | 2692622.5257 | 1231378.3059
33 | 2692613.2935 | 1231382.0094
34 | 2692601.9563 | 1231386.5574
35 | 2692598.0608 | 1231387.5733
36 | 2692591.3034 | 1231389.1169
37 | 2692858.3729 | 1231297.1332
38 | 2692856.084 | 1231294.1783
39 | 2692886.7969 | 1231335.0004
40 | 2692843.5404 | 1231261.5927
41 | 2692842.5226 | 1231258.2865
42 | 2692918.0173 | 1231424.7082
43 | 2692872.71 | 1231468.9792
44 | 2692857.4113 | 1231418.961
45 | 2692839.2176 | 1231244.8291
46 | 2692815.4043 | 1231413.264
47 | 2692838.1821 | 1231417.5227
48 | 2692830.8702 | 1231384.5722
49 | 2692811.1232 | 1231417.0898
50 | 2692828.8386 | 1231429.3599
51 | 2692659.219 | 1231448.6825
52 | 2692696.1497 | 1231432.1137
53 | 2692652.9873 | 1231450.6447
54 | 2692703.2888 | 1231427.9209
55 | 2692631.2439 | 1231457.22
56 | 2692716.4435 | 1231420.6994
57 | 2692840.1317 | 1231209.8262
58 | 2692840.1472 | 1231209.2328
59 | 2692839.5852 | 1231230.7526
60 | 2692840.6715 | 1231182.5705
61 | 2692807.6317 | 1231183.4776
62 | 2692805.3495 | 1231173.9241
63 | 2692787.6858 | 1231193.2956
64 | 2692793.1948 | 1231160.1689
65 | 2692782.8703 | 1231168.9141
66 | 2692782.1732 | 1231191.2415
67 | 2692749.2536 | 1231220.8103
68 | 2692748.4844 | 1231221.5012
69 | 2692730.5 | 1231462.391
70 | 2692751.8025 | 1231442.8484
71 | 2692725.9293 | 1231466.5841
72 | 2692760.7734 | 1231441.2094
73 | 2692729.2683 | 1231470.5502
74 | 2692708.1278 | 1231482.4116
75 | 2692752.6123 | 1231433.1874
76 | 2692751.2723 | 1231450.4881
77 | 2692741.6801 | 1231485.2654
78 | 2692637.6848 | 1231545.0428
79 | 2692742.8387 | 1231489.1641
80 | 2692637.385 | 1231553.0995
81 | 2692668.7278 | 1231571.3884
82 | 2692639.5485 | 1231322.4142
83 | 2692630.9777 | 1231303.7655
84 | 2692617.351 | 1231274.1139
85 | 2692594.7678 | 1231269.9752
86 | 2692672.4932 | 1231276.2231
87 | 2692572.1202 | 1231285.4871
88 | 2692618.905 | 1231277.4958
89 | 2692622.0447 | 1231284.3286
90 | 2692751.7464 | 1231501.7565
91 | 2692749.8052 | 1231502.7576
92 | 2692767.2029 | 1231492.5046
93 | 2692722.27 | 1231519.9625
94 | 2692783.0672 | 1231478.5993
95 | 2692713.4661 | 1231526.5106
96 | 2692785.9184 | 1231475.5087
97 | 2692799.916 | 1231460.3711
98 | 2692800.8689 | 1231459.3494
99 | 2692816.5715 | 1231442.5128
100 | 2692655.0164 | 1231362.2927

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1