## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_293-58_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_293-58_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_293-58_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_293-58_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_293-58_0_3_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_293-58_0_3_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_293-58_0_3_node_21 | 0.4 | n |  | TRUE
7 | bus_LV_293-58_0_3_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_293-58_0_3_node_22 | 0.4 | n |  | TRUE
9 | bus_LV_293-58_0_3_node_8 | 0.4 | n |  | TRUE
10 | bus_LV_293-58_0_3_node_9 | 0.4 | n |  | TRUE
11 | bus_LV_293-58_0_3_node_10 | 0.4 | n |  | TRUE
12 | bus_LV_293-58_0_3_node_11 | 0.4 | n |  | TRUE
13 | bus_LV_293-58_0_3_node_12 | 0.4 | n |  | TRUE
14 | bus_LV_293-58_0_3_node_17 | 0.4 | n |  | TRUE
15 | bus_LV_293-58_0_3_node_15 | 0.4 | n |  | TRUE
16 | bus_LV_293-58_0_3_node_18 | 0.4 | n |  | TRUE
17 | bus_LV_293-58_0_3_node_84 | 0.4 | n |  | TRUE
18 | bus_LV_293-58_0_3_node_14 | 0.4 | n |  | TRUE
19 | bus_LV_293-58_0_3_node_13 | 0.4 | n |  | TRUE
20 | bus_LV_293-58_0_3_node_16 | 0.4 | n |  | TRUE
21 | bus_LV_293-58_0_3_node_91 | 0.4 | n |  | TRUE
22 | bus_LV_293-58_0_3_node_85 | 0.4 | n |  | TRUE
23 | bus_LV_293-58_0_3_node_92 | 0.4 | n |  | TRUE
24 | bus_LV_293-58_0_3_node_19 | 0.4 | n |  | TRUE
25 | bus_LV_293-58_0_3_node_20 | 0.4 | n |  | TRUE
26 | bus_LV_293-58_0_3_node_25 | 0.4 | n |  | TRUE
27 | bus_LV_293-58_0_3_node_81 | 0.4 | n |  | TRUE
28 | bus_LV_293-58_0_3_node_83 | 0.4 | n |  | TRUE
29 | bus_LV_293-58_0_3_node_72 | 0.4 | n |  | TRUE
30 | bus_LV_293-58_0_3_node_79 | 0.4 | n |  | TRUE
31 | bus_LV_293-58_0_3_node_23 | 0.4 | n |  | TRUE
32 | bus_LV_293-58_0_3_node_24 | 0.4 | n |  | TRUE
33 | bus_LV_293-58_0_3_node_64 | 0.4 | n |  | TRUE
34 | bus_LV_293-58_0_3_node_57 | 0.4 | n |  | TRUE
35 | bus_LV_293-58_0_3_node_60 | 0.4 | n |  | TRUE
36 | bus_LV_293-58_0_3_node_65 | 0.4 | n |  | TRUE
37 | bus_LV_293-58_0_3_node_56 | 0.4 | n |  | TRUE
38 | bus_LV_293-58_0_3_node_61 | 0.4 | n |  | TRUE
39 | bus_LV_293-58_0_3_node_71 | 0.4 | n |  | TRUE
40 | bus_LV_293-58_0_3_node_26 | 0.4 | n |  | TRUE
41 | bus_LV_293-58_0_3_node_27 | 0.4 | n |  | TRUE
42 | bus_LV_293-58_0_3_node_28 | 0.4 | n |  | TRUE
43 | bus_LV_293-58_0_3_node_29 | 0.4 | n |  | TRUE
44 | bus_LV_293-58_0_3_node_30 | 0.4 | n |  | TRUE
45 | bus_LV_293-58_0_3_node_46 | 0.4 | n |  | TRUE
46 | bus_LV_293-58_0_3_node_44 | 0.4 | n |  | TRUE
47 | bus_LV_293-58_0_3_node_34 | 0.4 | n |  | TRUE
48 | bus_LV_293-58_0_3_node_32 | 0.4 | n |  | TRUE
49 | bus_LV_293-58_0_3_node_102 | 0.4 | n |  | TRUE
50 | bus_LV_293-58_0_3_node_33 | 0.4 | n |  | TRUE
51 | bus_LV_293-58_0_3_node_101 | 0.4 | n |  | TRUE
52 | bus_LV_293-58_0_3_node_50 | 0.4 | n |  | TRUE
53 | bus_LV_293-58_0_3_node_51 | 0.4 | n |  | TRUE
54 | bus_LV_293-58_0_3_node_49 | 0.4 | n |  | TRUE
55 | bus_LV_293-58_0_3_node_35 | 0.4 | n |  | TRUE
56 | bus_LV_293-58_0_3_node_36 | 0.4 | n |  | TRUE
57 | bus_LV_293-58_0_3_node_37 | 0.4 | n |  | TRUE
58 | bus_LV_293-58_0_3_node_38 | 0.4 | n |  | TRUE
59 | bus_LV_293-58_0_3_node_39 | 0.4 | n |  | TRUE
60 | bus_LV_293-58_0_3_node_40 | 0.4 | n |  | TRUE
61 | bus_LV_293-58_0_3_node_41 | 0.4 | n |  | TRUE
62 | bus_LV_293-58_0_3_node_42 | 0.4 | n |  | TRUE
63 | bus_LV_293-58_0_3_node_43 | 0.4 | n |  | TRUE
64 | bus_LV_293-58_0_3_node_48 | 0.4 | n |  | TRUE
65 | bus_LV_293-58_0_3_node_73 | 0.4 | n |  | TRUE
66 | bus_LV_293-58_0_3_node_45 | 0.4 | n |  | TRUE
67 | bus_LV_293-58_0_3_node_74 | 0.4 | n |  | TRUE
68 | bus_LV_293-58_0_3_node_47 | 0.4 | n |  | TRUE
69 | bus_LV_293-58_0_3_node_52 | 0.4 | n |  | TRUE
70 | bus_LV_293-58_0_3_node_53 | 0.4 | n |  | TRUE
71 | bus_LV_293-58_0_3_node_54 | 0.4 | n |  | TRUE
72 | bus_LV_293-58_0_3_node_55 | 0.4 | n |  | TRUE
73 | bus_LV_293-58_0_3_node_58 | 0.4 | n |  | TRUE
74 | bus_LV_293-58_0_3_node_59 | 0.4 | n |  | TRUE
75 | bus_LV_293-58_0_3_node_62 | 0.4 | n |  | TRUE
76 | bus_LV_293-58_0_3_node_63 | 0.4 | n |  | TRUE
77 | bus_LV_293-58_0_3_node_66 | 0.4 | n |  | TRUE
78 | bus_LV_293-58_0_3_node_67 | 0.4 | n |  | TRUE
79 | bus_LV_293-58_0_3_node_68 | 0.4 | n |  | TRUE
80 | bus_LV_293-58_0_3_node_69 | 0.4 | n |  | TRUE
81 | bus_LV_293-58_0_3_node_70 | 0.4 | n |  | TRUE
82 | bus_LV_293-58_0_3_node_75 | 0.4 | n |  | TRUE
83 | bus_LV_293-58_0_3_node_76 | 0.4 | n |  | TRUE
84 | bus_LV_293-58_0_3_node_77 | 0.4 | n |  | TRUE
85 | bus_LV_293-58_0_3_node_78 | 0.4 | n |  | TRUE
86 | bus_LV_293-58_0_3_node_80 | 0.4 | n |  | TRUE
87 | bus_LV_293-58_0_3_node_82 | 0.4 | n |  | TRUE
88 | bus_LV_293-58_0_3_node_86 | 0.4 | n |  | TRUE
89 | bus_LV_293-58_0_3_node_87 | 0.4 | n |  | TRUE
90 | bus_LV_293-58_0_3_node_88 | 0.4 | n |  | TRUE
91 | bus_LV_293-58_0_3_node_89 | 0.4 | n |  | TRUE
92 | bus_LV_293-58_0_3_node_90 | 0.4 | n |  | TRUE
93 | bus_LV_293-58_0_3_node_93 | 0.4 | n |  | TRUE
94 | bus_LV_293-58_0_3_node_94 | 0.4 | n |  | TRUE
95 | bus_LV_293-58_0_3_node_95 | 0.4 | n |  | TRUE
96 | bus_LV_293-58_0_3_node_96 | 0.4 | n |  | TRUE
97 | bus_LV_293-58_0_3_node_97 | 0.4 | n |  | TRUE
98 | bus_LV_293-58_0_3_node_99 | 0.4 | n |  | TRUE
99 | bus_LV_293-58_0_3_node_98 | 0.4 | n |  | TRUE
100 | bus_MV_578_0_node_126 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_293-58_0_3_load_0 | 0 | 0.011553 | 0.0028953 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_293-58_0_3_load_5 | 4 | 0.0060996 | 0.0015287 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_293-58_0_3_load_6 | 5 | 0.0035914 | 0.00090008 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_293-58_0_3_load_21 | 6 | 0.016663 | 0.0041762 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_293-58_0_3_load_7 | 7 | 0.0034654 | 0.00086851 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_293-58_0_3_load_8 | 9 | 0.0032409 | 0.00081226 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_293-58_0_3_load_9 | 10 | 0.0049196 | 0.001233 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_293-58_0_3_load_10 | 11 | 0.0034586 | 0.0008668 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_293-58_0_3_load_11 | 12 | 0.0016226 | 0.00040666 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_293-58_0_3_load_17 | 14 | 0.0020249 | 0.00050749 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_293-58_0_3_load_84 | 17 | 0.0011146 | 0.00027934 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_293-58_0_3_load_13 | 19 | 0.0016843 | 0.00042213 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_293-58_0_3_load_16 | 20 | 0.00097701 | 0.00024486 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_293-58_0_3_load_91 | 21 | 0.00083502 | 0.00020928 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_293-58_0_3_load_85 | 22 | 0.0012562 | 0.00031483 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_293-58_0_3_load_92 | 23 | 0.0013012 | 0.0003261 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_293-58_0_3_load_20 | 25 | 0.0010637 | 0.00026658 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_293-58_0_3_load_81 | 27 | 0.0091764 | 0.0022998 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_293-58_0_3_load_83 | 28 | 0.0043739 | 0.0010962 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_293-58_0_3_load_72 | 29 | 0.0068271 | 0.001711 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_293-58_0_3_load_23 | 31 | 0.012631 | 0.0031657 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_293-58_0_3_load_64 | 33 | 0.0019126 | 0.00047933 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_293-58_0_3_load_57 | 34 | 0.0063302 | 0.0015865 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_293-58_0_3_load_60 | 35 | 0.0027462 | 0.00068827 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_293-58_0_3_load_65 | 36 | 0.0048177 | 0.0012074 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_293-58_0_3_load_56 | 37 | 0.0063819 | 0.0015995 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_293-58_0_3_load_61 | 38 | 0.0019374 | 0.00048556 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_293-58_0_3_load_71 | 39 | 0.012586 | 0.0031543 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_293-58_0_3_load_26 | 40 | 0.0028424 | 0.00071236 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_293-58_0_3_load_27 | 41 | 0.0021725 | 0.00054447 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_293-58_0_3_load_28 | 42 | 0.0019036 | 0.00047709 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_293-58_0_3_load_29 | 43 | 0.0032666 | 0.00081869 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_293-58_0_3_load_30 | 44 | 0.0019511 | 0.000489 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_293-58_0_3_load_46 | 45 | 0.0059471 | 0.0014905 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_293-58_0_3_load_44 | 46 | 0.0028074 | 0.00070361 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_293-58_0_3_load_34 | 47 | 0.0031602 | 0.00079203 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_293-58_0_3_load_32 | 48 | 0.0020784 | 0.00052089 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_293-58_0_3_load_102 | 49 | 0.01052 | 0.0026366 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_293-58_0_3_load_33 | 50 | 0.0023212 | 0.00058174 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_293-58_0_3_load_101 | 51 | 0.0062833 | 0.0015747 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_293-58_0_3_load_50 | 52 | 0.0036359 | 0.00091123 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_293-58_0_3_load_51 | 53 | 0.00082134 | 0.00020585 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_293-58_0_3_load_49 | 54 | 0.0031231 | 0.00078273 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_293-58_0_3_load_36 | 56 | 0.0030818 | 0.00077238 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_293-58_0_3_load_37 | 57 | 0.0010485 | 0.00026278 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_293-58_0_3_load_38 | 58 | 0.003112 | 0.00077995 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_293-58_0_3_load_39 | 59 | 0.0029929 | 0.00075009 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_293-58_0_3_load_41 | 61 | 0.0056987 | 0.0014282 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_293-58_0_3_load_42 | 62 | 0.0046301 | 0.0011604 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_293-58_0_3_load_43 | 63 | 0.0056543 | 0.0014171 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_293-58_0_3_load_48 | 64 | 0.0051995 | 0.0013031 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_293-58_0_3_load_73 | 65 | 0.0041886 | 0.0010498 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_293-58_0_3_load_74 | 67 | 0.0012117 | 0.00030367 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_293-58_0_3_load_47 | 68 | 0.0063747 | 0.0015977 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_293-58_0_3_load_52 | 69 | 0.0037523 | 0.00094042 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_293-58_0_3_load_53 | 70 | 0.0031799 | 0.00079695 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_293-58_0_3_load_54 | 71 | 0.0032303 | 0.0008096 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_293-58_0_3_load_55 | 72 | 0.0037565 | 0.00094148 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_293-58_0_3_load_58 | 73 | 0.0023568 | 0.00059068 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_293-58_0_3_load_59 | 74 | 0.0055561 | 0.0013925 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_293-58_0_3_load_63 | 76 | 0.00098363 | 0.00024652 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_293-58_0_3_load_66 | 77 | 0.0047096 | 0.0011803 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_293-58_0_3_load_67 | 78 | 0.0043111 | 0.0010805 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_293-58_0_3_load_68 | 79 | 0.0058351 | 0.0014624 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_293-58_0_3_load_69 | 80 | 0.0063679 | 0.0015959 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_293-58_0_3_load_70 | 81 | 0.0047291 | 0.0011852 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_293-58_0_3_load_75 | 82 | 0.0011135 | 0.00027907 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_293-58_0_3_load_76 | 83 | 0.0013729 | 0.00034407 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_293-58_0_3_load_77 | 84 | 0.0011381 | 0.00028524 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_293-58_0_3_load_78 | 85 | 0.001146 | 0.00028721 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_293-58_0_3_load_80 | 86 | 0.0017252 | 0.00043237 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_293-58_0_3_load_82 | 87 | 0.0085781 | 0.0021499 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_293-58_0_3_load_86 | 88 | 0.0010151 | 0.0002544 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_293-58_0_3_load_87 | 89 | 0.001179 | 0.00029549 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_293-58_0_3_load_88 | 90 | 0.00097733 | 0.00024494 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_293-58_0_3_load_89 | 91 | 0.001169 | 0.00029297 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_293-58_0_3_load_90 | 92 | 0.0018731 | 0.00046943 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_293-58_0_3_load_93 | 93 | 0.001143 | 0.00028647 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_293-58_0_3_load_94 | 94 | 0.0032849 | 0.00082327 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_293-58_0_3_load_96 | 96 | 0.00054825 | 0.0001374 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_293-58_0_3_load_97 | 97 | 0.00070719 | 0.00017724 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_293-58_0_3_load_99 | 98 | 0.00079238 | 0.00019859 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_293-58_0_3_load_98 | 99 | 0.0026112 | 0.00065444 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 34 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_293-58_0_3_line_0 |  | 0 | 1 | 0.031177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_293-58_0_3_line_1 |  | 0 | 2 | 0.0068707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_293-58_0_3_line_2 |  | 1 | 3 | 0.026979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_293-58_0_3_line_3 |  | 2 | 4 | 0.028815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_293-58_0_3_line_4 |  | 3 | 5 | 0.037419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_293-58_0_3_line_5 |  | 4 | 6 | 0.037205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_293-58_0_3_line_6 |  | 5 | 7 | 0.022595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_293-58_0_3_line_7 |  | 6 | 8 | 0.038061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_293-58_0_3_line_8 |  | 7 | 9 | 0.020577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_293-58_0_3_line_9 |  | 8 | 31 | 0.053026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_293-58_0_3_line_10 |  | 8 | 32 | 0.028585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
11 | LV_293-58_0_3_line_11 |  | 8 | 26 | 0.024899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_293-58_0_3_line_12 |  | 9 | 10 | 0.0051367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_293-58_0_3_line_13 |  | 10 | 11 | 0.017081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_293-58_0_3_line_14 |  | 12 | 13 | 0.034942 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_293-58_0_3_line_15 |  | 13 | 14 | 0.025058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_293-58_0_3_line_16 |  | 13 | 15 | 0.013733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_293-58_0_3_line_17 |  | 14 | 16 | 0.0059175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_293-58_0_3_line_18 |  | 15 | 17 | 0.023773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_293-58_0_3_line_19 |  | 15 | 18 | 0.059012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_293-58_0_3_line_20 |  | 16 | 24 | 0.030214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_293-58_0_3_line_21 |  | 16 | 25 | 0.033815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_293-58_0_3_line_22 |  | 17 | 22 | 0.0084039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_293-58_0_3_line_23 |  | 18 | 20 | 0.018743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_293-58_0_3_line_24 |  | 18 | 19 | 0.059247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_293-58_0_3_line_25 |  | 20 | 21 | 0.033118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_293-58_0_3_line_26 |  | 21 | 23 | 0.043759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_293-58_0_3_line_27 |  | 22 | 88 | 0.015465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_293-58_0_3_line_28 |  | 23 | 94 | 0.054517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_293-58_0_3_line_29 |  | 24 | 26 | 0.028397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_293-58_0_3_line_30 |  | 24 | 27 | 0.029859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_293-58_0_3_line_31 |  | 25 | 28 | 0.048237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_293-58_0_3_line_32 |  | 26 | 29 | 0.01914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_293-58_0_3_line_33 |  | 27 | 30 | 0.011336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_293-58_0_3_line_34 |  | 29 | 39 | 0.008546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_293-58_0_3_line_35 |  | 30 | 86 | 0.023487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_293-58_0_3_line_36 |  | 30 | 85 | 0.026951 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_293-58_0_3_line_37 |  | 31 | 33 | 0.0038854 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_293-58_0_3_line_38 |  | 32 | 34 | 0.016928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
39 | LV_293-58_0_3_line_39 |  | 32 | 35 | 0.012774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_293-58_0_3_line_40 |  | 33 | 36 | 0.0638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_293-58_0_3_line_41 |  | 34 | 37 | 0.025512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_293-58_0_3_line_42 |  | 35 | 38 | 0.0074135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_293-58_0_3_line_43 |  | 37 | 62 | 0.00046239 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_293-58_0_3_line_44 |  | 38 | 75 | 0.013965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_293-58_0_3_line_45 |  | 39 | 81 | 0.018587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_293-58_0_3_line_46 |  | 40 | 41 | 0.011868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_293-58_0_3_line_47 |  | 40 | 42 | 0.018635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_293-58_0_3_line_48 |  | 41 | 43 | 0.02104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_293-58_0_3_line_49 |  | 42 | 44 | 0.031569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_293-58_0_3_line_50 |  | 43 | 47 | 0.07112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_293-58_0_3_line_51 |  | 44 | 48 | 0.028392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_293-58_0_3_line_52 |  | 44 | 49 | 0.036629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_293-58_0_3_line_53 |  | 45 | 46 | 0.005765 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_293-58_0_3_line_54 |  | 46 | 66 | 0.039565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_293-58_0_3_line_55 |  | 47 | 50 | 0.025957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_293-58_0_3_line_56 |  | 48 | 51 | 0.040492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_293-58_0_3_line_57 |  | 50 | 55 | 0.021394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_293-58_0_3_line_58 |  | 52 | 53 | 0.012965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_293-58_0_3_line_59 |  | 52 | 54 | 0.015814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_293-58_0_3_line_60 |  | 53 | 69 | 0.010281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_293-58_0_3_line_61 |  | 54 | 68 | 0.0068872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_293-58_0_3_line_62 |  | 55 | 56 | 0.03127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_293-58_0_3_line_63 |  | 56 | 57 | 0.001511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_293-58_0_3_line_64 |  | 57 | 58 | 0.020812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_293-58_0_3_line_65 |  | 58 | 59 | 0.035413 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_293-58_0_3_line_66 |  | 59 | 60 | 0.055159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_293-58_0_3_line_67 |  | 60 | 61 | 0.0077346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_293-58_0_3_line_68 |  | 60 | 62 | 0.040575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_293-58_0_3_line_69 |  | 60 | 63 | 0.010412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_293-58_0_3_line_70 |  | 61 | 64 | 0.025138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_293-58_0_3_line_71 |  | 63 | 65 | 0.075815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_293-58_0_3_line_72 |  | 64 | 66 | 0.0034296 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_293-58_0_3_line_73 |  | 65 | 67 | 0.0049011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_293-58_0_3_line_74 |  | 66 | 68 | 0.028278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_293-58_0_3_line_75 |  | 69 | 70 | 0.00015678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_293-58_0_3_line_76 |  | 70 | 71 | 0.020969 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_293-58_0_3_line_77 |  | 71 | 72 | 0.011132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_293-58_0_3_line_78 |  | 72 | 73 | 0.0058142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_293-58_0_3_line_79 |  | 73 | 74 | 0.0094326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_293-58_0_3_line_80 |  | 75 | 76 | 0.012035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_293-58_0_3_line_81 |  | 77 | 78 | 0.0060116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_293-58_0_3_line_82 |  | 77 | 79 | 0.018508 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_293-58_0_3_line_83 |  | 79 | 80 | 0.0075887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_293-58_0_3_line_84 |  | 80 | 81 | 0.010062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_293-58_0_3_line_85 |  | 82 | 83 | 0.018403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_293-58_0_3_line_86 |  | 83 | 84 | 0.021926 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_293-58_0_3_line_87 |  | 84 | 85 | 0.021596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_293-58_0_3_line_88 |  | 86 | 87 | 0.010063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_293-58_0_3_line_89 |  | 88 | 89 | 0.012985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_293-58_0_3_line_90 |  | 89 | 90 | 0.0081748 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_293-58_0_3_line_91 |  | 90 | 91 | 0.023478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_293-58_0_3_line_92 |  | 91 | 92 | 0.0052036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_293-58_0_3_line_93 |  | 92 | 93 | 0.015352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_293-58_0_3_line_94 |  | 94 | 95 | 0.033318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_293-58_0_3_line_95 |  | 95 | 96 | 0.0077693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_293-58_0_3_line_96 |  | 95 | 97 | 0.014362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_293-58_0_3_line_97 |  | 97 | 98 | 0.036815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_293-58_0_3_line_98 |  | 98 | 99 | 0.002428 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_293-58_0_3_trafo_57 | 0.63 MVA 20/0.4 kV | 100 | 34 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2691295.448 | 1227663.5473 | 2691292.8925 | 1227664.62 | 2691278.2151 | 1227670.8214 | 2691266.8808 | 1227676.0244
1 | 2691260.6366 | 1227678.8908 | 2691266.8808 | 1227676.0244
2 | 2691285.3703 | 1227643.6342 | 2691284.6969 | 1227651.9519 | 2691283.2004 | 1227653.1632 | 2691288.084 | 1227660.3988 | 2691295.448 | 1227663.5473
3 | 2691260.6366 | 1227678.8908 | 2691247.6684 | 1227684.8405 | 2691234.6795 | 1227691.39
4 | 2691285.3703 | 1227643.6342 | 2691273.392 | 1227642.3717 | 2691251.1281 | 1227640.162 | 2691248.1319 | 1227639.9978
5 | 2691204.6843 | 1227712.5438 | 2691212.9003 | 1227703.3093 | 2691222.5236 | 1227697.5194 | 2691234.6795 | 1227691.39
6 | 2691248.1319 | 1227639.9978 | 2691225.5708 | 1227638.7615
7 | 2691185.4078 | 1227745.0396 | 2691197.4609 | 1227720.6627 | 2691204.6843 | 1227712.5438
8 | 2691225.5708 | 1227638.7615 | 2691213.0825 | 1227638.0772 | 2691205.059 | 1227638.9438
9 | 2691185.4078 | 1227745.0396 | 2691233.9082 | 1227766.4741
10 | 2691177.4525 | 1227772.0479 | 2691181.6407 | 1227750.4968 | 2691185.4078 | 1227745.0396
11 | 2691168.2805 | 1227738.0389 | 2691181.6407 | 1227750.4968 | 2691185.4078 | 1227745.0396
12 | 2691205.059 | 1227638.9438 | 2691199.952 | 1227639.4955
13 | 2691183.1779 | 1227642.4426 | 2691190.277 | 1227640.5405 | 2691199.952 | 1227639.4955
14 | 2691106.1822 | 1227673.4754 | 2691114.5623 | 1227668.1889 | 2691137.0251 | 1227657.1379
15 | 2691106.1822 | 1227673.4754 | 2691122.4939 | 1227692.4976
16 | 2691106.1822 | 1227673.4754 | 2691097.9686 | 1227662.453
17 | 2691126.3459 | 1227696.9897 | 2691122.4939 | 1227692.4976
18 | 2691097.9686 | 1227662.453 | 2691084.7958 | 1227662.4736 | 2691075.0323 | 1227658.3452
19 | 2691095.2596 | 1227605.2823 | 2691092.5045 | 1227614.9358 | 2691090.2994 | 1227628.7563 | 2691090.6307 | 1227641.2702 | 2691094.0473 | 1227653.242 | 2691097.9686 | 1227662.453
20 | 2691126.3459 | 1227696.9897 | 2691147.4933 | 1227718.6289
21 | 2691126.3459 | 1227696.9897 | 2691093.4547 | 1227704.8398
22 | 2691075.0323 | 1227658.3452 | 2691070.9626 | 1227656.6244 | 2691067.2764 | 1227655.1095
23 | 2691095.2596 | 1227605.2823 | 2691080.2834 | 1227600.3162 | 2691077.6366 | 1227598.9805
24 | 2691095.2596 | 1227605.2823 | 2691106.4616 | 1227606.766 | 2691154.4083 | 1227606.8638
25 | 2691077.6366 | 1227598.9805 | 2691064.3087 | 1227592.2549 | 2691049.3575 | 1227581.8963
26 | 2691013.2665 | 1227557.1564 | 2691020.0309 | 1227561.578 | 2691049.3575 | 1227581.8963
27 | 2691052.972 | 1227649.231 | 2691067.2764 | 1227655.1095
28 | 2691013.2665 | 1227557.1564 | 2691007.1763 | 1227553.1755 | 2690991.2686 | 1227545.6713 | 2690973.2489 | 1227539.9807 | 2690962.7333 | 1227537.7223
29 | 2691168.2805 | 1227738.0389 | 2691147.4933 | 1227718.6289
30 | 2691147.4933 | 1227718.6289 | 2691121.2365 | 1227732.8459
31 | 2691046.1179 | 1227714.0624 | 2691084.3637 | 1227707.0095 | 2691093.4547 | 1227704.8398
32 | 2691168.2805 | 1227738.0389 | 2691152.94 | 1227749.4855
33 | 2691111.2681 | 1227738.2435 | 2691121.2365 | 1227732.8459
34 | 2691152.94 | 1227749.4855 | 2691146.0907 | 1227754.5964
35 | 2691111.2681 | 1227738.2435 | 2691100.7386 | 1227742.3518 | 2691090.6789 | 1227744.9774 | 2691088.8988 | 1227745.1397
36 | 2691111.2681 | 1227738.2435 | 2691104.8539 | 1227764.4196
37 | 2691237.4621 | 1227768.0447 | 2691233.9082 | 1227766.4741
38 | 2691177.4525 | 1227772.0479 | 2691173.7285 | 1227788.5613
39 | 2691177.4525 | 1227772.0479 | 2691189.4319 | 1227776.4818
40 | 2691237.4621 | 1227768.0447 | 2691258.0222 | 1227777.1311 | 2691269.8488 | 1227784.8068 | 2691294.7499 | 1227795.8072
41 | 2691168.1162 | 1227813.448 | 2691173.7285 | 1227788.5613
42 | 2691189.4319 | 1227776.4818 | 2691196.3844 | 1227779.0552
43 | 2691168.0144 | 1227813.899 | 2691168.1162 | 1227813.448
44 | 2691209.4812 | 1227783.9027 | 2691196.3844 | 1227779.0552
45 | 2691134.0762 | 1227767.609 | 2691135.2524 | 1227762.6836 | 2691146.0907 | 1227754.5964
46 | 2691227.1485 | 1227997.1898 | 2691215.6456 | 1228000.1121
47 | 2691227.1485 | 1227997.1898 | 2691245.2096 | 1227992.6014
48 | 2691215.6456 | 1228000.1121 | 2691207.2914 | 1228002.2344 | 2691200.856 | 1228001.8133 | 2691195.1814 | 1228003.672
49 | 2691245.2096 | 1227992.6014 | 2691275.8069 | 1227984.8283
50 | 2691124.0985 | 1228001.3702 | 2691195.1814 | 1228003.672
51 | 2691275.8069 | 1227984.8283 | 2691299.497 | 1227978.8099 | 2691303.2021 | 1227977.4429
52 | 2691275.8069 | 1227984.8283 | 2691259.1929 | 1227952.1838
53 | 2691182.588 | 1227926.9248 | 2691181.0708 | 1227921.363
54 | 2691167.9208 | 1227884.0698 | 2691179.2801 | 1227914.7989 | 2691181.0708 | 1227921.363
55 | 2691124.0985 | 1228001.3702 | 2691118.6766 | 1228002.0654 | 2691113.2933 | 1228000.2483 | 2691101.9847 | 1227990.6863
56 | 2691303.2021 | 1227977.4429 | 2691308.3804 | 1227937.2835
57 | 2691084.9811 | 1227977.8768 | 2691089.6286 | 1227980.2385 | 2691101.9847 | 1227990.6863
58 | 2691220.4961 | 1227875.1414 | 2691217.4657 | 1227880.4711 | 2691212.9959 | 1227885.6405
59 | 2691199.9254 | 1227894.0006 | 2691209.7423 | 1227889.4034 | 2691212.9959 | 1227885.6405
60 | 2691220.4961 | 1227875.1414 | 2691225.5778 | 1227866.2043
61 | 2691199.9254 | 1227894.0006 | 2691199.9254 | 1227894.0006 | 2691193.0594 | 1227894.5402
62 | 2691084.9811 | 1227977.8768 | 2691092.7079 | 1227962.7733 | 2691099.1591 | 1227950.0061
63 | 2691099.1591 | 1227950.0061 | 2691099.8405 | 1227948.6575
64 | 2691108.3863 | 1227929.7104 | 2691105.174 | 1227938.1023 | 2691099.8405 | 1227948.6575
65 | 2691108.3863 | 1227929.7104 | 2691115.4056 | 1227911.3735 | 2691123.5547 | 1227897.8622
66 | 2691153.0765 | 1227851.2747 | 2691131.114 | 1227885.329 | 2691123.5547 | 1227897.8622
67 | 2691153.0765 | 1227851.2747 | 2691156.8983 | 1227855.5919 | 2691157.609 | 1227857.428
68 | 2691153.0765 | 1227851.2747 | 2691164.531 | 1227829.3459 | 2691168.0144 | 1227813.899
69 | 2691153.0765 | 1227851.2747 | 2691142.6789 | 1227851.8275
70 | 2691166.6829 | 1227880.8714 | 2691157.609 | 1227857.428
71 | 2691067.2602 | 1227849.6968 | 2691075.8274 | 1227852.1257 | 2691101.2054 | 1227853.3484 | 2691136.1922 | 1227852.1723 | 2691142.6789 | 1227851.8275
72 | 2691167.9208 | 1227884.0698 | 2691166.6829 | 1227880.8714
73 | 2691067.2602 | 1227849.6968 | 2691062.5449 | 1227848.36
74 | 2691167.9208 | 1227884.0698 | 2691177.9403 | 1227891.9622 | 2691188.6801 | 1227894.8844 | 2691193.0594 | 1227894.5402
75 | 2691225.5778 | 1227866.2043 | 2691225.6553 | 1227866.068
76 | 2691225.6553 | 1227866.068 | 2691226.61 | 1227864.3888 | 2691238.3947 | 1227849.4379
77 | 2691238.3947 | 1227849.4379 | 2691240.7856 | 1227846.4046 | 2691246.0121 | 1227841.3519
78 | 2691246.0121 | 1227841.3519 | 2691250.1922 | 1227837.3107
79 | 2691250.1922 | 1227837.3107 | 2691253.1714 | 1227834.4305 | 2691258.2239 | 1227832.8671
80 | 2691209.4812 | 1227783.9027 | 2691205.1725 | 1227795.1403
81 | 2691125.6782 | 1227802.7784 | 2691124.2819 | 1227808.6256
82 | 2691125.6782 | 1227802.7784 | 2691129.9768 | 1227784.7767
83 | 2691131.7393 | 1227777.3955 | 2691129.9768 | 1227784.7767
84 | 2691131.7393 | 1227777.3955 | 2691134.0762 | 1227767.609
85 | 2691089.8698 | 1227824.504 | 2691094.3673 | 1227806.6587
86 | 2691094.3673 | 1227806.6587 | 2691099.2868 | 1227787.139 | 2691099.7142 | 1227785.3947
87 | 2691099.7142 | 1227785.3947 | 2691104.8539 | 1227764.4196
88 | 2691078.8771 | 1227746.0531 | 2691088.8988 | 1227745.1397
89 | 2691052.972 | 1227649.231 | 2691044.6016 | 1227645.7911 | 2691041.1276 | 1227643.9427
90 | 2691033.9108 | 1227640.1028 | 2691041.1276 | 1227643.9427
91 | 2691033.9108 | 1227640.1028 | 2691015.8984 | 1227630.519 | 2691013.4388 | 1227628.6745
92 | 2691009.2757 | 1227625.5526 | 2691013.4388 | 1227628.6745
93 | 2690996.9932 | 1227616.342 | 2691009.2757 | 1227625.5526
94 | 2690930.1584 | 1227530.7266 | 2690962.7333 | 1227537.7223
95 | 2690930.1584 | 1227530.7266 | 2690930.1623 | 1227524.5223 | 2690929.3566 | 1227523.1806
96 | 2690930.1584 | 1227530.7266 | 2690916.0393 | 1227528.0976
97 | 2690916.0393 | 1227528.0976 | 2690910.5763 | 1227527.0803 | 2690900.6523 | 1227525.7722 | 2690895.1195 | 1227525.7655 | 2690889.5692 | 1227526.9037 | 2690882.0044 | 1227529.4344 | 2690880.2395 | 1227530.5214
98 | 2690878.1722 | 1227531.7947 | 2690880.2395 | 1227530.5214

## bus_geodata
| x | y | coords
0 | 2691266.8808 | 1227676.0244
1 | 2691295.448 | 1227663.5473
2 | 2691260.6366 | 1227678.8908
3 | 2691285.3703 | 1227643.6342
4 | 2691234.6794 | 1227691.39
5 | 2691248.1319 | 1227639.9978
6 | 2691204.6843 | 1227712.5438
7 | 2691225.5708 | 1227638.7615
8 | 2691185.4078 | 1227745.0396
9 | 2691205.059 | 1227638.9438
10 | 2691199.952 | 1227639.4955
11 | 2691183.1779 | 1227642.4426
12 | 2691137.0251 | 1227657.1379
13 | 2691106.1822 | 1227673.4754
14 | 2691122.4939 | 1227692.4976
15 | 2691097.9686 | 1227662.453
16 | 2691126.3459 | 1227696.9897
17 | 2691075.0323 | 1227658.3452
18 | 2691095.2596 | 1227605.2823
19 | 2691154.4083 | 1227606.8638
20 | 2691077.6366 | 1227598.9805
21 | 2691049.3575 | 1227581.8963
22 | 2691067.2764 | 1227655.1095
23 | 2691013.2665 | 1227557.1564
24 | 2691147.4933 | 1227718.6289
25 | 2691093.4547 | 1227704.8398
26 | 2691168.2805 | 1227738.0389
27 | 2691121.2365 | 1227732.8459
28 | 2691046.1179 | 1227714.0624
29 | 2691152.94 | 1227749.4855
30 | 2691111.2681 | 1227738.2435
31 | 2691233.9082 | 1227766.4741
32 | 2691177.4525 | 1227772.0479
33 | 2691237.4621 | 1227768.0447
34 | 2691173.7285 | 1227788.5613
35 | 2691189.4319 | 1227776.4818
36 | 2691294.7499 | 1227795.8072
37 | 2691168.1162 | 1227813.448
38 | 2691196.3844 | 1227779.0552
39 | 2691146.0907 | 1227754.5964
40 | 2691227.1485 | 1227997.1898
41 | 2691215.6456 | 1228000.1121
42 | 2691245.2096 | 1227992.6014
43 | 2691195.1814 | 1228003.672
44 | 2691275.8069 | 1227984.8283
45 | 2691182.588 | 1227926.9248
46 | 2691181.0708 | 1227921.363
47 | 2691124.0985 | 1228001.3702
48 | 2691303.2021 | 1227977.4429
49 | 2691259.1929 | 1227952.1838
50 | 2691101.9847 | 1227990.6863
51 | 2691308.3804 | 1227937.2835
52 | 2691212.9959 | 1227885.6405
53 | 2691220.4961 | 1227875.1414
54 | 2691199.9254 | 1227894.0006
55 | 2691084.9811 | 1227977.8768
56 | 2691099.1591 | 1227950.0061
57 | 2691099.8405 | 1227948.6575
58 | 2691108.3863 | 1227929.7104
59 | 2691123.5547 | 1227897.8622
60 | 2691153.0765 | 1227851.2747
61 | 2691157.609 | 1227857.428
62 | 2691168.0144 | 1227813.899
63 | 2691142.6789 | 1227851.8275
64 | 2691166.6829 | 1227880.8714
65 | 2691067.2602 | 1227849.6968
66 | 2691167.9208 | 1227884.0698
67 | 2691062.5449 | 1227848.36
68 | 2691193.0594 | 1227894.5402
69 | 2691225.5778 | 1227866.2043
70 | 2691225.6553 | 1227866.068
71 | 2691238.3947 | 1227849.4379
72 | 2691246.0121 | 1227841.3519
73 | 2691250.1922 | 1227837.3107
74 | 2691258.2239 | 1227832.8671
75 | 2691209.4812 | 1227783.9027
76 | 2691205.1725 | 1227795.1403
77 | 2691125.6782 | 1227802.7784
78 | 2691124.2819 | 1227808.6256
79 | 2691129.9768 | 1227784.7767
80 | 2691131.7393 | 1227777.3955
81 | 2691134.0762 | 1227767.609
82 | 2691089.8698 | 1227824.504
83 | 2691094.3673 | 1227806.6587
84 | 2691099.7142 | 1227785.3947
85 | 2691104.8539 | 1227764.4196
86 | 2691088.8988 | 1227745.1397
87 | 2691078.8771 | 1227746.0531
88 | 2691052.972 | 1227649.231
89 | 2691041.1276 | 1227643.9427
90 | 2691033.9108 | 1227640.1028
91 | 2691013.4388 | 1227628.6745
92 | 2691009.2757 | 1227625.5526
93 | 2690996.9932 | 1227616.342
94 | 2690962.7333 | 1227537.7223
95 | 2690930.1584 | 1227530.7266
96 | 2690929.3566 | 1227523.1806
97 | 2690916.0393 | 1227528.0976
98 | 2690880.2395 | 1227530.5214
99 | 2690878.1722 | 1227531.7947
100 | 2691173.7285 | 1227788.5613

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1