## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_293-7_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_293-7_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_293-7_0_3_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_293-7_0_3_node_12 | 0.4 | n |  | TRUE
4 | bus_LV_293-7_0_3_node_41 | 0.4 | n |  | TRUE
5 | bus_LV_293-7_0_3_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_293-7_0_3_node_35 | 0.4 | n |  | TRUE
7 | bus_LV_293-7_0_3_node_34 | 0.4 | n |  | TRUE
8 | bus_LV_293-7_0_3_node_29 | 0.4 | n |  | TRUE
9 | bus_LV_293-7_0_3_node_15 | 0.4 | n |  | TRUE
10 | bus_LV_293-7_0_3_node_36 | 0.4 | n |  | TRUE
11 | bus_LV_293-7_0_3_node_79 | 0.4 | n |  | TRUE
12 | bus_LV_293-7_0_3_node_32 | 0.4 | n |  | TRUE
13 | bus_LV_293-7_0_3_node_44 | 0.4 | n |  | TRUE
14 | bus_LV_293-7_0_3_node_43 | 0.4 | n |  | TRUE
15 | bus_LV_293-7_0_3_node_45 | 0.4 | n |  | TRUE
16 | bus_LV_293-7_0_3_node_7 | 0.4 | n |  | TRUE
17 | bus_LV_293-7_0_3_node_8 | 0.4 | n |  | TRUE
18 | bus_LV_293-7_0_3_node_9 | 0.4 | n |  | TRUE
19 | bus_LV_293-7_0_3_node_13 | 0.4 | n |  | TRUE
20 | bus_LV_293-7_0_3_node_10 | 0.4 | n |  | TRUE
21 | bus_LV_293-7_0_3_node_40 | 0.4 | n |  | TRUE
22 | bus_LV_293-7_0_3_node_11 | 0.4 | n |  | TRUE
23 | bus_LV_293-7_0_3_node_38 | 0.4 | n |  | TRUE
24 | bus_LV_293-7_0_3_node_55 | 0.4 | n |  | TRUE
25 | bus_LV_293-7_0_3_node_30 | 0.4 | n |  | TRUE
26 | bus_LV_293-7_0_3_node_42 | 0.4 | n |  | TRUE
27 | bus_LV_293-7_0_3_node_16 | 0.4 | n |  | TRUE
28 | bus_LV_293-7_0_3_node_27 | 0.4 | n |  | TRUE
29 | bus_LV_293-7_0_3_node_54 | 0.4 | n |  | TRUE
30 | bus_LV_293-7_0_3_node_39 | 0.4 | n |  | TRUE
31 | bus_LV_293-7_0_3_node_49 | 0.4 | n |  | TRUE
32 | bus_LV_293-7_0_3_node_56 | 0.4 | n |  | TRUE
33 | bus_LV_293-7_0_3_node_37 | 0.4 | n |  | TRUE
34 | bus_LV_293-7_0_3_node_53 | 0.4 | n |  | TRUE
35 | bus_LV_293-7_0_3_node_66 | 0.4 | n |  | TRUE
36 | bus_LV_293-7_0_3_node_31 | 0.4 | n |  | TRUE
37 | bus_LV_293-7_0_3_node_25 | 0.4 | n |  | TRUE
38 | bus_LV_293-7_0_3_node_52 | 0.4 | n |  | TRUE
39 | bus_LV_293-7_0_3_node_17 | 0.4 | n |  | TRUE
40 | bus_LV_293-7_0_3_node_18 | 0.4 | n |  | TRUE
41 | bus_LV_293-7_0_3_node_19 | 0.4 | n |  | TRUE
42 | bus_LV_293-7_0_3_node_20 | 0.4 | n |  | TRUE
43 | bus_LV_293-7_0_3_node_21 | 0.4 | n |  | TRUE
44 | bus_LV_293-7_0_3_node_22 | 0.4 | n |  | TRUE
45 | bus_LV_293-7_0_3_node_23 | 0.4 | n |  | TRUE
46 | bus_LV_293-7_0_3_node_24 | 0.4 | n |  | TRUE
47 | bus_LV_293-7_0_3_node_26 | 0.4 | n |  | TRUE
48 | bus_LV_293-7_0_3_node_28 | 0.4 | n |  | TRUE
49 | bus_LV_293-7_0_3_node_74 | 0.4 | n |  | TRUE
50 | bus_LV_293-7_0_3_node_33 | 0.4 | n |  | TRUE
51 | bus_LV_293-7_0_3_node_46 | 0.4 | n |  | TRUE
52 | bus_LV_293-7_0_3_node_51 | 0.4 | n |  | TRUE
53 | bus_LV_293-7_0_3_node_60 | 0.4 | n |  | TRUE
54 | bus_LV_293-7_0_3_node_65 | 0.4 | n |  | TRUE
55 | bus_LV_293-7_0_3_node_47 | 0.4 | n |  | TRUE
56 | bus_LV_293-7_0_3_node_78 | 0.4 | n |  | TRUE
57 | bus_LV_293-7_0_3_node_50 | 0.4 | n |  | TRUE
58 | bus_LV_293-7_0_3_node_48 | 0.4 | n |  | TRUE
59 | bus_LV_293-7_0_3_node_57 | 0.4 | n |  | TRUE
60 | bus_LV_293-7_0_3_node_77 | 0.4 | n |  | TRUE
61 | bus_LV_293-7_0_3_node_75 | 0.4 | n |  | TRUE
62 | bus_LV_293-7_0_3_node_62 | 0.4 | n |  | TRUE
63 | bus_LV_293-7_0_3_node_68 | 0.4 | n |  | TRUE
64 | bus_LV_293-7_0_3_node_76 | 0.4 | n |  | TRUE
65 | bus_LV_293-7_0_3_node_58 | 0.4 | n |  | TRUE
66 | bus_LV_293-7_0_3_node_59 | 0.4 | n |  | TRUE
67 | bus_LV_293-7_0_3_node_61 | 0.4 | n |  | TRUE
68 | bus_LV_293-7_0_3_node_64 | 0.4 | n |  | TRUE
69 | bus_LV_293-7_0_3_node_63 | 0.4 | n |  | TRUE
70 | bus_LV_293-7_0_3_node_67 | 0.4 | n |  | TRUE
71 | bus_LV_293-7_0_3_node_69 | 0.4 | n |  | TRUE
72 | bus_LV_293-7_0_3_node_70 | 0.4 | n |  | TRUE
73 | bus_LV_293-7_0_3_node_73 | 0.4 | n |  | TRUE
74 | bus_LV_293-7_0_3_node_72 | 0.4 | n |  | TRUE
75 | bus_LV_293-7_0_3_node_71 | 0.4 | n |  | TRUE
76 | bus_MV_578_0_node_129 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_293-7_0_3_load_0 | 0 | 0.017429 | 0.004368 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_293-7_0_3_load_41 | 4 | 0.040025 | 0.010031 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_293-7_0_3_load_35 | 6 | 0.0031259 | 0.00078343 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_293-7_0_3_load_34 | 7 | 0.0073953 | 0.0018534 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_293-7_0_3_load_29 | 8 | 0.0078405 | 0.001965 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_293-7_0_3_load_79 | 11 | 0.0014004 | 0.00035098 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_293-7_0_3_load_44 | 13 | 0.0017281 | 0.00043311 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_293-7_0_3_load_43 | 14 | 0.011515 | 0.002886 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_293-7_0_3_load_7 | 16 | 0.031859 | 0.0079846 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_293-7_0_3_load_40 | 21 | 0.0031466 | 0.0007886 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_293-7_0_3_load_55 | 24 | 0.0063891 | 0.0016013 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_293-7_0_3_load_30 | 25 | 0.010701 | 0.0026818 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_293-7_0_3_load_42 | 26 | 0.032584 | 0.0081664 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_293-7_0_3_load_54 | 29 | 0.0019176 | 0.00048059 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_293-7_0_3_load_56 | 32 | 0.0051284 | 0.0012853 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_293-7_0_3_load_37 | 33 | 0.0058355 | 0.0014625 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_293-7_0_3_load_53 | 34 | 0.0092559 | 0.0023198 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_293-7_0_3_load_66 | 35 | 0.046431 | 0.011637 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_293-7_0_3_load_31 | 36 | 0.021038 | 0.0052727 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_293-7_0_3_load_52 | 38 | 0.0064191 | 0.0016088 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_293-7_0_3_load_17 | 39 | 0.0015607 | 0.00039115 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_293-7_0_3_load_18 | 40 | 0.00093993 | 0.00023557 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_293-7_0_3_load_20 | 42 | 0.0015023 | 0.00037652 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_293-7_0_3_load_21 | 43 | 0.020632 | 0.0051708 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_293-7_0_3_load_22 | 44 | 0.002993 | 0.00075012 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_293-7_0_3_load_23 | 45 | 0.0030419 | 0.00076238 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_293-7_0_3_load_24 | 46 | 0.0023402 | 0.00058651 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_293-7_0_3_load_26 | 47 | 0.013928 | 0.0034908 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_293-7_0_3_load_28 | 48 | 0.0028836 | 0.00072269 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_293-7_0_3_load_74 | 49 | 0.0022267 | 0.00055807 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_293-7_0_3_load_33 | 50 | 0.013888 | 0.0034807 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_293-7_0_3_load_51 | 52 | 0.0020567 | 0.00051546 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_293-7_0_3_load_65 | 54 | 0.00068978 | 0.00017287 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_293-7_0_3_load_78 | 56 | 0.00066674 | 0.0001671 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_293-7_0_3_load_50 | 57 | 0.004048 | 0.0010145 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_293-7_0_3_load_48 | 58 | 0.0062586 | 0.0015685 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_293-7_0_3_load_57 | 59 | 0.0037567 | 0.00094151 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_293-7_0_3_load_77 | 60 | 0.0012237 | 0.00030668 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_293-7_0_3_load_75 | 61 | 0.00093272 | 0.00023376 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_293-7_0_3_load_68 | 63 | 0.0012368 | 0.00030997 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_293-7_0_3_load_76 | 64 | 0.00063946 | 0.00016026 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_293-7_0_3_load_58 | 65 | 0.0054526 | 0.0013665 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_293-7_0_3_load_64 | 68 | 0.003237 | 0.00081126 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_293-7_0_3_load_63 | 69 | 0.02315 | 0.0058021 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_293-7_0_3_load_67 | 70 | 0.0039996 | 0.0010024 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_293-7_0_3_load_73 | 73 | 0.0040197 | 0.0010074 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_293-7_0_3_load_72 | 74 | 0.003059 | 0.00076666 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_293-7_0_3_load_71 | 75 | 0.0045005 | 0.0011279 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 44 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_293-7_0_3_line_0 |  | 0 | 1 | 0.026959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_293-7_0_3_line_1 |  | 1 | 2 | 0.12092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_293-7_0_3_line_2 |  | 2 | 3 | 0.016223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_293-7_0_3_line_3 |  | 2 | 4 | 0.048454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_293-7_0_3_line_4 |  | 3 | 8 | 0.0042031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_293-7_0_3_line_5 |  | 4 | 9 | 0.013714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_293-7_0_3_line_6 |  | 5 | 6 | 0.0021757 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_293-7_0_3_line_7 |  | 5 | 7 | 0.023851 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_293-7_0_3_line_8 |  | 6 | 15 | 0.031894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_293-7_0_3_line_9 |  | 9 | 26 | 0.016355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_293-7_0_3_line_10 |  | 9 | 18 | 0.039169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_293-7_0_3_line_11 |  | 10 | 11 | 0.016404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_293-7_0_3_line_12 |  | 10 | 12 | 0.013189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_293-7_0_3_line_13 |  | 11 | 56 | 0.014071 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_293-7_0_3_line_14 |  | 12 | 36 | 0.012384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_293-7_0_3_line_15 |  | 13 | 14 | 0.0078766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_293-7_0_3_line_16 |  | 14 | 15 | 0.013953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_293-7_0_3_line_17 |  | 15 | 55 | 0.006153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_293-7_0_3_line_18 |  | 16 | 17 | 0.01987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_293-7_0_3_line_19 |  | 16 | 18 | 0.026192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_293-7_0_3_line_20 |  | 17 | 19 | 0.033928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_293-7_0_3_line_21 |  | 18 | 20 | 0.041907 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_293-7_0_3_line_22 |  | 19 | 25 | 0.012006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_293-7_0_3_line_23 |  | 20 | 21 | 0.011694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_293-7_0_3_line_24 |  | 22 | 23 | 0.029855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_293-7_0_3_line_25 |  | 22 | 24 | 0.044501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_293-7_0_3_line_26 |  | 23 | 33 | 0.031245 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_293-7_0_3_line_27 |  | 24 | 34 | 0.013551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_293-7_0_3_line_28 |  | 26 | 35 | 0.021628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
29 | LV_293-7_0_3_line_29 |  | 27 | 28 | 0.023673 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_293-7_0_3_line_30 |  | 27 | 29 | 0.0025844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_293-7_0_3_line_31 |  | 28 | 35 | 0.031107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_293-7_0_3_line_32 |  | 28 | 37 | 0.006385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_293-7_0_3_line_33 |  | 29 | 38 | 0.023179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_293-7_0_3_line_34 |  | 30 | 31 | 0.004831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_293-7_0_3_line_35 |  | 30 | 32 | 0.0057762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_293-7_0_3_line_36 |  | 31 | 57 | 0.010672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_293-7_0_3_line_37 |  | 31 | 52 | 0.022661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_293-7_0_3_line_38 |  | 31 | 58 | 0.033898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_293-7_0_3_line_39 |  | 32 | 59 | 0.017452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_293-7_0_3_line_40 |  | 34 | 38 | 0.0031212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_293-7_0_3_line_41 |  | 35 | 44 | 0.011355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
42 | LV_293-7_0_3_line_42 |  | 36 | 43 | 0.00013638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_293-7_0_3_line_43 |  | 37 | 48 | 0.0076444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_293-7_0_3_line_44 |  | 37 | 45 | 0.0080677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_293-7_0_3_line_45 |  | 39 | 40 | 0.0054115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_293-7_0_3_line_46 |  | 39 | 41 | 0.02164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_293-7_0_3_line_47 |  | 40 | 42 | 0.0051391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_293-7_0_3_line_48 |  | 41 | 43 | 0.021162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_293-7_0_3_line_49 |  | 41 | 44 | 0.021365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_293-7_0_3_line_50 |  | 45 | 46 | 0.012855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_293-7_0_3_line_51 |  | 46 | 47 | 0.0062995 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_293-7_0_3_line_52 |  | 48 | 49 | 0.0049279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_293-7_0_3_line_53 |  | 49 | 52 | 0.0031303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_293-7_0_3_line_54 |  | 50 | 51 | 0.033216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_293-7_0_3_line_55 |  | 51 | 53 | 0.036326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_293-7_0_3_line_56 |  | 51 | 54 | 0.016284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_293-7_0_3_line_57 |  | 53 | 62 | 0.013067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_293-7_0_3_line_58 |  | 53 | 63 | 0.027443 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_293-7_0_3_line_59 |  | 54 | 64 | 0.0027841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_293-7_0_3_line_60 |  | 55 | 60 | 0.0069878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_293-7_0_3_line_61 |  | 55 | 61 | 0.0036205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_293-7_0_3_line_62 |  | 56 | 60 | 0.013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_293-7_0_3_line_63 |  | 59 | 65 | 0.035794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_293-7_0_3_line_64 |  | 61 | 64 | 0.0078417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_293-7_0_3_line_65 |  | 62 | 69 | 0.0095202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_293-7_0_3_line_66 |  | 63 | 70 | 0.01439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_293-7_0_3_line_67 |  | 65 | 66 | 0.025207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_293-7_0_3_line_68 |  | 66 | 67 | 0.011618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_293-7_0_3_line_69 |  | 67 | 68 | 0.012803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_293-7_0_3_line_70 |  | 70 | 71 | 0.076543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_293-7_0_3_line_71 |  | 71 | 72 | 0.024637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_293-7_0_3_line_72 |  | 72 | 73 | 0.19842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_293-7_0_3_line_73 |  | 73 | 74 | 0.008032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_293-7_0_3_line_74 |  | 74 | 75 | 0.022622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_293-7_0_3_trafo_22 | 0.63 MVA 20/0.4 kV | 76 | 44 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12
0 | 2693173.1618 | 1231811.4903 | 2693153.6609 | 1231830.1052
1 | 2693173.1618 | 1231811.4903 | 2693182.7774 | 1231802.5234 | 2693200.8698 | 1231821.9432 | 2693203.6058 | 1231823.7541 | 2693211.8485 | 1231816.3669 | 2693216.9192 | 1231811.2983 | 2693231.0772 | 1231797.6326 | 2693235.6456 | 1231792.2337 | 2693239.3802 | 1231790.7468 | 2693243.1968 | 1231791.7518 | 2693249.5029 | 1231800.1456 | 2693257.0453 | 1231807.9473 | 2693260.4803 | 1231806.7225
2 | 2693275.2062 | 1231799.8263 | 2693260.4803 | 1231806.7225
3 | 2693260.4803 | 1231806.7225 | 2693280.3926 | 1231836.6009 | 2693282.1556 | 1231839.1192 | 2693287.5163 | 1231846.931
4 | 2693275.2062 | 1231799.8263 | 2693278.5456 | 1231797.274
5 | 2693295.2763 | 1231858.2389 | 2693287.5163 | 1231846.931
6 | 2693211.1056 | 1231964.6176 | 2693212.3316 | 1231962.8203
7 | 2693211.1056 | 1231964.6176 | 2693205.2506 | 1231968.9957 | 2693195.5791 | 1231976.7163 | 2693191.6355 | 1231978.0546
8 | 2693224.4388 | 1231933.5042 | 2693223.628 | 1231935.4596 | 2693220.282 | 1231946.4595 | 2693215.5707 | 1231958.0718 | 2693212.3316 | 1231962.8203
9 | 2693295.2763 | 1231858.2389 | 2693303.8267 | 1231872.1811
10 | 2693295.2763 | 1231858.2389 | 2693318.2105 | 1231846.6237 | 2693328.1238 | 1231837.5172
11 | 2693250.6099 | 1231888.3821 | 2693237.9429 | 1231898.8059
12 | 2693250.6099 | 1231888.3821 | 2693260.9781 | 1231880.1944
13 | 2693228.0103 | 1231908.5786 | 2693230.2307 | 1231905.1524 | 2693237.9429 | 1231898.8059
14 | 2693260.9781 | 1231880.1944 | 2693268.3929 | 1231890.1136
15 | 2693220.6866 | 1231920.1914 | 2693220.9575 | 1231914.9919 | 2693221.7273 | 1231912.4352
16 | 2693224.4388 | 1231933.5042 | 2693222.606 | 1231929.6394 | 2693221.2682 | 1231925.1152 | 2693220.6866 | 1231920.1914 | 2693220.6866 | 1231920.1914
17 | 2693226.785 | 1231927.8147 | 2693224.4388 | 1231933.5042
18 | 2693350.3797 | 1231797.2598 | 2693341.1975 | 1231814.8809
19 | 2693328.1238 | 1231837.5172 | 2693333.0352 | 1231830.5448 | 2693341.1975 | 1231814.8809
20 | 2693347.0296 | 1231765.1174 | 2693345.2619 | 1231786.5162 | 2693346.5245 | 1231793.4076 | 2693350.3797 | 1231797.2598
21 | 2693328.1238 | 1231837.5172 | 2693337.3509 | 1231846.0571 | 2693364.9214 | 1231856.075
22 | 2693347.0296 | 1231765.1174 | 2693335.1022 | 1231763.7458
23 | 2693364.9214 | 1231856.075 | 2693372.919 | 1231864.6061
24 | 2693433.1457 | 1231888.8815 | 2693438.8165 | 1231884.1894 | 2693444.7359 | 1231879.101 | 2693438.5344 | 1231873.2326 | 2693436.1969 | 1231870.1604 | 2693435.1993 | 1231868.0988
25 | 2693435.1993 | 1231868.0988 | 2693413.115 | 1231879.1152 | 2693402.5331 | 1231883.0518 | 2693394.5879 | 1231886.1576
26 | 2693433.1457 | 1231888.8815 | 2693429.7663 | 1231884.6364 | 2693410.2096 | 1231901.4942
27 | 2693394.5879 | 1231886.1576 | 2693384.2665 | 1231890.1923 | 2693381.9101 | 1231890.9283
28 | 2693315.1338 | 1231890.6183 | 2693303.8267 | 1231872.1811
29 | 2693354.3394 | 1231899.5402 | 2693339.5471 | 1231906.3351 | 2693335.1509 | 1231912.337
30 | 2693354.3394 | 1231899.5402 | 2693356.8063 | 1231898.7696
31 | 2693315.1338 | 1231890.6183 | 2693324.4547 | 1231907.1654 | 2693328.209 | 1231910.2043 | 2693331.3443 | 1231911.6657 | 2693335.1509 | 1231912.337
32 | 2693331.3739 | 1231917.4926 | 2693335.1509 | 1231912.337
33 | 2693378.9309 | 1231891.8589 | 2693356.8063 | 1231898.7696
34 | 2693356.6743 | 1231951.4587 | 2693354.0418 | 1231947.4034
35 | 2693356.6743 | 1231951.4587 | 2693351.5681 | 1231954.159
36 | 2693354.0418 | 1231947.4034 | 2693346.2898 | 1231951.5179 | 2693344.5852 | 1231952.3472
37 | 2693354.0418 | 1231947.4034 | 2693352.0969 | 1231944.4151 | 2693347.8859 | 1231938.1445 | 2693343.3942 | 1231935.283 | 2693339.4793 | 1231930.4538
38 | 2693354.0418 | 1231947.4034 | 2693360.3414 | 1231943.177 | 2693367.8481 | 1231937.8021 | 2693374.8033 | 1231932.3407 | 2693381.0916 | 1231927.0214
39 | 2693351.5681 | 1231954.159 | 2693342.2783 | 1231959.0715 | 2693335.7634 | 1231961.4732
40 | 2693378.9309 | 1231891.8589 | 2693381.9101 | 1231890.9283
41 | 2693315.1338 | 1231890.6183 | 2693304.6337 | 1231894.9412
42 | 2693268.4745 | 1231890.2229 | 2693268.3929 | 1231890.1136
43 | 2693331.3739 | 1231917.4926 | 2693331.8261 | 1231921.0133 | 2693334.4047 | 1231924.1942
44 | 2693331.3739 | 1231917.4926 | 2693324.4951 | 1231921.7079
45 | 2693280.1207 | 1231919.9601 | 2693285.0209 | 1231917.6639
46 | 2693284.8778 | 1231903.0747 | 2693292.4159 | 1231910.654 | 2693290.7117 | 1231914.9971 | 2693285.0209 | 1231917.6639
47 | 2693275.4672 | 1231922.1408 | 2693280.1207 | 1231919.9601
48 | 2693284.8778 | 1231903.0747 | 2693272.3574 | 1231895.4172 | 2693268.4745 | 1231890.2229
49 | 2693284.8778 | 1231903.0747 | 2693304.6337 | 1231894.9412
50 | 2693324.4951 | 1231921.7079 | 2693313.5344 | 1231928.4246
51 | 2693308.0448 | 1231931.4592 | 2693309.189 | 1231931.0875 | 2693313.5344 | 1231928.4246
52 | 2693337.508 | 1231928.0222 | 2693334.4047 | 1231924.1942
53 | 2693337.508 | 1231928.0222 | 2693339.4793 | 1231930.4538
54 | 2693239.7003 | 1231955.1925 | 2693243.0961 | 1231954.5342 | 2693250.3519 | 1231946.798 | 2693265.5635 | 1231943.6788 | 2693269.1515 | 1231943.1835
55 | 2693239.7003 | 1231955.1925 | 2693239.3624 | 1231963.6934 | 2693237.1692 | 1231973.1436 | 2693236.3047 | 1231981.903 | 2693238.8147 | 1231990.871
56 | 2693239.7003 | 1231955.1925 | 2693237.6276 | 1231947.3099 | 2693234.0565 | 1231940.0019
57 | 2693238.8147 | 1231990.871 | 2693240.9724 | 1231996.231 | 2693245.8404 | 1232001.6557
58 | 2693238.8147 | 1231990.871 | 2693216.6543 | 1232002.9323 | 2693214.9879 | 1232004.3885
59 | 2693232.4132 | 1231937.755 | 2693234.0466 | 1231939.9818 | 2693234.0565 | 1231940.0019
60 | 2693226.785 | 1231927.8147 | 2693225.2869 | 1231922.4095 | 2693225.2651 | 1231921.0308
61 | 2693226.785 | 1231927.8147 | 2693228.3827 | 1231931.0636
62 | 2693225.2651 | 1231921.0308 | 2693225.1957 | 1231916.6373 | 2693226.9708 | 1231910.1827 | 2693228.0103 | 1231908.5786
63 | 2693301.6212 | 1231972.1777 | 2693328.132 | 1231964.2865 | 2693335.7634 | 1231961.4732
64 | 2693228.3827 | 1231931.0636 | 2693230.1685 | 1231934.6949 | 2693232.4132 | 1231937.755
65 | 2693245.8404 | 1232001.6557 | 2693237.2536 | 1232005.7667
66 | 2693205.1632 | 1232014.884 | 2693213.2295 | 1232005.9252 | 2693214.9879 | 1232004.3885
67 | 2693277.4619 | 1231979.3689 | 2693301.6212 | 1231972.1777
68 | 2693277.4619 | 1231979.3689 | 2693279.8291 | 1231983.4423 | 2693283.3026 | 1231989.4123
69 | 2693283.3026 | 1231989.4123 | 2693289.7403 | 1232000.479
70 | 2693151.4508 | 1232069.2359 | 2693160.2148 | 1232061.9013 | 2693174.6206 | 1232048.8065 | 2693205.1632 | 1232014.884
71 | 2693156.8763 | 1232092.2375 | 2693157.6442 | 1232085.289 | 2693157.5327 | 1232080.8062 | 2693155.6683 | 1232075.5732 | 2693151.4508 | 1232069.2359
72 | 2693156.8763 | 1232092.2375 | 2693177.4209 | 1232079.3501 | 2693199.2882 | 1232067.6066 | 2693226.4817 | 1232055.7466 | 2693239.9503 | 1232049.7758 | 2693287.3604 | 1232031.9622 | 2693330.1831 | 1232014.5105 | 2693337.4256 | 1232010.9883
73 | 2693344.6487 | 1232007.4754 | 2693337.4256 | 1232010.9883
74 | 2693364.7845 | 1231997.1998 | 2693360.6805 | 1231999.6786 | 2693344.6487 | 1232007.4754

## bus_geodata
| x | y | coords
0 | 2693153.6609 | 1231830.1052
1 | 2693173.1618 | 1231811.4903
2 | 2693260.4803 | 1231806.7225
3 | 2693275.2062 | 1231799.8263
4 | 2693287.5163 | 1231846.931
5 | 2693211.1056 | 1231964.6176
6 | 2693212.3316 | 1231962.8203
7 | 2693191.6355 | 1231978.0546
8 | 2693278.5456 | 1231797.274
9 | 2693295.2763 | 1231858.2389
10 | 2693250.6098 | 1231888.3821
11 | 2693237.9429 | 1231898.8059
12 | 2693260.9781 | 1231880.1944
13 | 2693221.7273 | 1231912.4352
14 | 2693220.6866 | 1231920.1914
15 | 2693224.4388 | 1231933.5042
16 | 2693341.1975 | 1231814.8809
17 | 2693350.3797 | 1231797.2598
18 | 2693328.1238 | 1231837.5172
19 | 2693347.0296 | 1231765.1174
20 | 2693364.9214 | 1231856.075
21 | 2693372.919 | 1231864.6061
22 | 2693435.1993 | 1231868.0988
23 | 2693433.1457 | 1231888.8815
24 | 2693394.5879 | 1231886.1576
25 | 2693335.1022 | 1231763.7458
26 | 2693303.8267 | 1231872.1811
27 | 2693354.3394 | 1231899.5402
28 | 2693335.1509 | 1231912.337
29 | 2693356.8063 | 1231898.7696
30 | 2693356.6743 | 1231951.4587
31 | 2693354.0418 | 1231947.4034
32 | 2693351.5681 | 1231954.159
33 | 2693410.2096 | 1231901.4942
34 | 2693381.9101 | 1231890.9283
35 | 2693315.1338 | 1231890.6183
36 | 2693268.3929 | 1231890.1136
37 | 2693331.3739 | 1231917.4926
38 | 2693378.9309 | 1231891.8589
39 | 2693285.0209 | 1231917.6639
40 | 2693280.1208 | 1231919.9601
41 | 2693284.8778 | 1231903.0747
42 | 2693275.4672 | 1231922.1408
43 | 2693268.4745 | 1231890.2229
44 | 2693304.6337 | 1231894.9412
45 | 2693324.4951 | 1231921.7079
46 | 2693313.5344 | 1231928.4246
47 | 2693308.0448 | 1231931.4592
48 | 2693334.4047 | 1231924.1942
49 | 2693337.508 | 1231928.0222
50 | 2693269.1515 | 1231943.1835
51 | 2693239.7003 | 1231955.1925
52 | 2693339.4793 | 1231930.4538
53 | 2693238.8147 | 1231990.871
54 | 2693234.0565 | 1231940.0019
55 | 2693226.785 | 1231927.8147
56 | 2693228.0103 | 1231908.5786
57 | 2693344.5852 | 1231952.3472
58 | 2693381.0916 | 1231927.0214
59 | 2693335.7634 | 1231961.4732
60 | 2693225.2651 | 1231921.0308
61 | 2693228.3827 | 1231931.0636
62 | 2693245.8404 | 1232001.6557
63 | 2693214.9879 | 1232004.3885
64 | 2693232.4132 | 1231937.755
65 | 2693301.6212 | 1231972.1777
66 | 2693277.4619 | 1231979.3689
67 | 2693283.3026 | 1231989.4123
68 | 2693289.7403 | 1232000.479
69 | 2693237.2536 | 1232005.7667
70 | 2693205.1632 | 1232014.884
71 | 2693151.4508 | 1232069.2359
72 | 2693156.8763 | 1232092.2375
73 | 2693337.4256 | 1232010.9883
74 | 2693344.6487 | 1232007.4754
75 | 2693364.7845 | 1231997.1998
76 | 2693304.6337 | 1231894.9412

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1