## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_293-9_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_293-9_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_293-9_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_293-9_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_293-9_0_4_node_103 | 0.4 | n |  | TRUE
5 | bus_LV_293-9_0_4_node_4 | 0.4 | n |  | TRUE
6 | bus_LV_293-9_0_4_node_101 | 0.4 | n |  | TRUE
7 | bus_LV_293-9_0_4_node_15 | 0.4 | n |  | TRUE
8 | bus_LV_293-9_0_4_node_13 | 0.4 | n |  | TRUE
9 | bus_LV_293-9_0_4_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_293-9_0_4_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_293-9_0_4_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_293-9_0_4_node_46 | 0.4 | n |  | TRUE
13 | bus_LV_293-9_0_4_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_293-9_0_4_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_293-9_0_4_node_83 | 0.4 | n |  | TRUE
16 | bus_LV_293-9_0_4_node_85 | 0.4 | n |  | TRUE
17 | bus_LV_293-9_0_4_node_88 | 0.4 | n |  | TRUE
18 | bus_LV_293-9_0_4_node_80 | 0.4 | n |  | TRUE
19 | bus_LV_293-9_0_4_node_97 | 0.4 | n |  | TRUE
20 | bus_LV_293-9_0_4_node_98 | 0.4 | n |  | TRUE
21 | bus_LV_293-9_0_4_node_89 | 0.4 | n |  | TRUE
22 | bus_LV_293-9_0_4_node_96 | 0.4 | n |  | TRUE
23 | bus_LV_293-9_0_4_node_90 | 0.4 | n |  | TRUE
24 | bus_LV_293-9_0_4_node_99 | 0.4 | n |  | TRUE
25 | bus_LV_293-9_0_4_node_92 | 0.4 | n |  | TRUE
26 | bus_LV_293-9_0_4_node_93 | 0.4 | n |  | TRUE
27 | bus_LV_293-9_0_4_node_86 | 0.4 | n |  | TRUE
28 | bus_LV_293-9_0_4_node_11 | 0.4 | n |  | TRUE
29 | bus_LV_293-9_0_4_node_12 | 0.4 | n |  | TRUE
30 | bus_LV_293-9_0_4_node_16 | 0.4 | n |  | TRUE
31 | bus_LV_293-9_0_4_node_14 | 0.4 | n |  | TRUE
32 | bus_LV_293-9_0_4_node_24 | 0.4 | n |  | TRUE
33 | bus_LV_293-9_0_4_node_50 | 0.4 | n |  | TRUE
34 | bus_LV_293-9_0_4_node_38 | 0.4 | n |  | TRUE
35 | bus_LV_293-9_0_4_node_61 | 0.4 | n |  | TRUE
36 | bus_LV_293-9_0_4_node_19 | 0.4 | n |  | TRUE
37 | bus_LV_293-9_0_4_node_51 | 0.4 | n |  | TRUE
38 | bus_LV_293-9_0_4_node_35 | 0.4 | n |  | TRUE
39 | bus_LV_293-9_0_4_node_17 | 0.4 | n |  | TRUE
40 | bus_LV_293-9_0_4_node_18 | 0.4 | n |  | TRUE
41 | bus_LV_293-9_0_4_node_20 | 0.4 | n |  | TRUE
42 | bus_LV_293-9_0_4_node_23 | 0.4 | n |  | TRUE
43 | bus_LV_293-9_0_4_node_36 | 0.4 | n |  | TRUE
44 | bus_LV_293-9_0_4_node_21 | 0.4 | n |  | TRUE
45 | bus_LV_293-9_0_4_node_40 | 0.4 | n |  | TRUE
46 | bus_LV_293-9_0_4_node_45 | 0.4 | n |  | TRUE
47 | bus_LV_293-9_0_4_node_76 | 0.4 | n |  | TRUE
48 | bus_LV_293-9_0_4_node_75 | 0.4 | n |  | TRUE
49 | bus_LV_293-9_0_4_node_37 | 0.4 | n |  | TRUE
50 | bus_LV_293-9_0_4_node_34 | 0.4 | n |  | TRUE
51 | bus_LV_293-9_0_4_node_39 | 0.4 | n |  | TRUE
52 | bus_LV_293-9_0_4_node_47 | 0.4 | n |  | TRUE
53 | bus_LV_293-9_0_4_node_43 | 0.4 | n |  | TRUE
54 | bus_LV_293-9_0_4_node_60 | 0.4 | n |  | TRUE
55 | bus_LV_293-9_0_4_node_27 | 0.4 | n |  | TRUE
56 | bus_LV_293-9_0_4_node_28 | 0.4 | n |  | TRUE
57 | bus_LV_293-9_0_4_node_29 | 0.4 | n |  | TRUE
58 | bus_LV_293-9_0_4_node_33 | 0.4 | n |  | TRUE
59 | bus_LV_293-9_0_4_node_31 | 0.4 | n |  | TRUE
60 | bus_LV_293-9_0_4_node_30 | 0.4 | n |  | TRUE
61 | bus_LV_293-9_0_4_node_32 | 0.4 | n |  | TRUE
62 | bus_LV_293-9_0_4_node_48 | 0.4 | n |  | TRUE
63 | bus_LV_293-9_0_4_node_49 | 0.4 | n |  | TRUE
64 | bus_LV_293-9_0_4_node_41 | 0.4 | n |  | TRUE
65 | bus_LV_293-9_0_4_node_42 | 0.4 | n |  | TRUE
66 | bus_LV_293-9_0_4_node_84 | 0.4 | n |  | TRUE
67 | bus_LV_293-9_0_4_node_82 | 0.4 | n |  | TRUE
68 | bus_LV_293-9_0_4_node_54 | 0.4 | n |  | TRUE
69 | bus_LV_293-9_0_4_node_55 | 0.4 | n |  | TRUE
70 | bus_LV_293-9_0_4_node_57 | 0.4 | n |  | TRUE
71 | bus_LV_293-9_0_4_node_58 | 0.4 | n |  | TRUE
72 | bus_LV_293-9_0_4_node_59 | 0.4 | n |  | TRUE
73 | bus_LV_293-9_0_4_node_66 | 0.4 | n |  | TRUE
74 | bus_LV_293-9_0_4_node_62 | 0.4 | n |  | TRUE
75 | bus_LV_293-9_0_4_node_63 | 0.4 | n |  | TRUE
76 | bus_LV_293-9_0_4_node_64 | 0.4 | n |  | TRUE
77 | bus_LV_293-9_0_4_node_67 | 0.4 | n |  | TRUE
78 | bus_LV_293-9_0_4_node_68 | 0.4 | n |  | TRUE
79 | bus_LV_293-9_0_4_node_94 | 0.4 | n |  | TRUE
80 | bus_LV_293-9_0_4_node_95 | 0.4 | n |  | TRUE
81 | bus_LV_293-9_0_4_node_69 | 0.4 | n |  | TRUE
82 | bus_LV_293-9_0_4_node_70 | 0.4 | n |  | TRUE
83 | bus_LV_293-9_0_4_node_71 | 0.4 | n |  | TRUE
84 | bus_LV_293-9_0_4_node_72 | 0.4 | n |  | TRUE
85 | bus_LV_293-9_0_4_node_73 | 0.4 | n |  | TRUE
86 | bus_LV_293-9_0_4_node_74 | 0.4 | n |  | TRUE
87 | bus_LV_293-9_0_4_node_87 | 0.4 | n |  | TRUE
88 | bus_LV_293-9_0_4_node_81 | 0.4 | n |  | TRUE
89 | bus_LV_293-9_0_4_node_78 | 0.4 | n |  | TRUE
90 | bus_LV_293-9_0_4_node_79 | 0.4 | n |  | TRUE
91 | bus_LV_293-9_0_4_node_100 | 0.4 | n |  | TRUE
92 | bus_MV_578_0_node_182 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_293-9_0_4_load_0 | 0 | 0.011112 | 0.0027849 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_293-9_0_4_load_1 | 1 | 0.0062776 | 0.0015733 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_293-9_0_4_load_2 | 2 | 0.0062739 | 0.0015724 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_293-9_0_4_load_3 | 3 | 0.0062721 | 0.0015719 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_293-9_0_4_load_4 | 5 | 0.0027185 | 0.00068133 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_293-9_0_4_load_101 | 6 | 0.012512 | 0.0031359 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_293-9_0_4_load_15 | 7 | 0.052559 | 0.013172 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_293-9_0_4_load_5 | 9 | 0.0027612 | 0.00069202 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_293-9_0_4_load_6 | 10 | 0.0036303 | 0.00090983 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_293-9_0_4_load_46 | 12 | 0.0017807 | 0.00044629 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_293-9_0_4_load_10 | 14 | 0.0035747 | 0.0008959 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_293-9_0_4_load_85 | 16 | 0.01129 | 0.0028295 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_293-9_0_4_load_88 | 17 | 0.002085 | 0.00052256 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_293-9_0_4_load_97 | 19 | 0.0036656 | 0.00091869 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_293-9_0_4_load_98 | 20 | 0.0014766 | 0.00037007 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_293-9_0_4_load_89 | 21 | 0.0018829 | 0.0004719 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_293-9_0_4_load_96 | 22 | 0.0030491 | 0.00076417 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_293-9_0_4_load_90 | 23 | 0.0028474 | 0.00071363 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_293-9_0_4_load_99 | 24 | 0.0040338 | 0.001011 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_293-9_0_4_load_92 | 25 | 0.0041544 | 0.0010412 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_293-9_0_4_load_93 | 26 | 0.0036828 | 0.00092301 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_293-9_0_4_load_11 | 28 | 0.029523 | 0.0073992 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_293-9_0_4_load_12 | 29 | 0.027561 | 0.0069074 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_293-9_0_4_load_16 | 30 | 0.0062721 | 0.0015719 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_293-9_0_4_load_50 | 33 | 0.0048189 | 0.0012077 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_293-9_0_4_load_38 | 34 | 0.0056246 | 0.0014097 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_293-9_0_4_load_61 | 35 | 0.0030683 | 0.00076898 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_293-9_0_4_load_51 | 37 | 0.0032959 | 0.00082602 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_293-9_0_4_load_35 | 38 | 0.0077865 | 0.0019515 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_293-9_0_4_load_17 | 39 | 0.0023415 | 0.00058683 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_293-9_0_4_load_20 | 41 | 0.040106 | 0.010052 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_293-9_0_4_load_40 | 45 | 0.0073928 | 0.0018528 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_293-9_0_4_load_76 | 47 | 0.0066136 | 0.0016575 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_293-9_0_4_load_75 | 48 | 0.0085591 | 0.0021451 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_293-9_0_4_load_37 | 49 | 0.012954 | 0.0032466 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_293-9_0_4_load_39 | 51 | 0.0073904 | 0.0018522 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_293-9_0_4_load_43 | 53 | 0.0033704 | 0.0008447 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_293-9_0_4_load_60 | 54 | 0.0031821 | 0.0007975 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_293-9_0_4_load_27 | 55 | 0.00051157 | 0.00012821 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_293-9_0_4_load_28 | 56 | 0.00051119 | 0.00012812 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_293-9_0_4_load_29 | 57 | 0.0094752 | 0.0023747 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_293-9_0_4_load_31 | 59 | 0.040974 | 0.010269 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_293-9_0_4_load_30 | 60 | 0.0011329 | 0.00028394 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_293-9_0_4_load_48 | 62 | 0.0073923 | 0.0018527 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_293-9_0_4_load_49 | 63 | 0.011465 | 0.0028733 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_293-9_0_4_load_41 | 64 | 0.0015643 | 0.00039205 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_293-9_0_4_load_42 | 65 | 0.0036307 | 0.00090994 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_293-9_0_4_load_84 | 66 | 0.0066829 | 0.0016749 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_293-9_0_4_load_82 | 67 | 0.020283 | 0.0050833 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_293-9_0_4_load_54 | 68 | 0.0053106 | 0.001331 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_293-9_0_4_load_57 | 70 | 0.0047777 | 0.0011974 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_293-9_0_4_load_58 | 71 | 0.0018459 | 0.00046264 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_293-9_0_4_load_59 | 72 | 0.0041247 | 0.0010337 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_293-9_0_4_load_66 | 73 | 0.0020302 | 0.00050882 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_293-9_0_4_load_62 | 74 | 0.0023883 | 0.00059856 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_293-9_0_4_load_63 | 75 | 0.0060976 | 0.0015282 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_293-9_0_4_load_67 | 77 | 0.0023706 | 0.00059412 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_293-9_0_4_load_68 | 78 | 0.0022612 | 0.00056671 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_293-9_0_4_load_95 | 80 | 0.003652 | 0.00091528 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_293-9_0_4_load_69 | 81 | 0.0020028 | 0.00050195 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_293-9_0_4_load_70 | 82 | 0.0015272 | 0.00038276 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_293-9_0_4_load_71 | 83 | 0.0022405 | 0.00056152 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_293-9_0_4_load_72 | 84 | 0.0022655 | 0.00056778 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_293-9_0_4_load_73 | 85 | 0.0012071 | 0.00030253 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_293-9_0_4_load_74 | 86 | 0.0048154 | 0.0012069 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_293-9_0_4_load_87 | 87 | 0.0016248 | 0.00040722 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_293-9_0_4_load_81 | 88 | 0.0013217 | 0.00033126 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_293-9_0_4_load_78 | 89 | 0.0067733 | 0.0016975 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_293-9_0_4_load_79 | 90 | 0.0014149 | 0.0003546 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_293-9_0_4_load_100 | 91 | 0.0014715 | 0.00036878 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 40 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_293-9_0_4_line_0 |  | 0 | 1 | 0.0065408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_293-9_0_4_line_1 |  | 0 | 2 | 0.015197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_293-9_0_4_line_2 |  | 1 | 3 | 0.020531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_293-9_0_4_line_3 |  | 1 | 4 | 0.087352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_293-9_0_4_line_4 |  | 2 | 5 | 0.020298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_293-9_0_4_line_5 |  | 3 | 7 | 0.010007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_293-9_0_4_line_6 |  | 4 | 6 | 0.0087854 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_293-9_0_4_line_7 |  | 7 | 8 | 0.03652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_293-9_0_4_line_8 |  | 8 | 30 | 0.02725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
9 | LV_293-9_0_4_line_9 |  | 8 | 28 | 0.01103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_293-9_0_4_line_10 |  | 9 | 10 | 0.043521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_293-9_0_4_line_11 |  | 9 | 11 | 0.0080366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_293-9_0_4_line_12 |  | 10 | 12 | 0.051471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_293-9_0_4_line_13 |  | 11 | 13 | 0.024637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_293-9_0_4_line_14 |  | 11 | 14 | 0.045487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_293-9_0_4_line_15 |  | 12 | 16 | 0.026253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_293-9_0_4_line_16 |  | 13 | 19 | 0.053875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_293-9_0_4_line_17 |  | 14 | 20 | 0.016483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_293-9_0_4_line_18 |  | 15 | 16 | 0.010982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_293-9_0_4_line_19 |  | 15 | 17 | 0.030904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_293-9_0_4_line_20 |  | 15 | 18 | 0.022545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_293-9_0_4_line_21 |  | 17 | 21 | 0.026116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_293-9_0_4_line_22 |  | 18 | 67 | 0.01788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_293-9_0_4_line_23 |  | 18 | 89 | 0.024652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_293-9_0_4_line_24 |  | 19 | 22 | 0.023926 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_293-9_0_4_line_25 |  | 20 | 24 | 0.019452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_293-9_0_4_line_26 |  | 21 | 23 | 0.0018267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_293-9_0_4_line_27 |  | 23 | 27 | 0.017194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_293-9_0_4_line_28 |  | 24 | 91 | 0.020677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_293-9_0_4_line_29 |  | 25 | 26 | 0.0091831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_293-9_0_4_line_30 |  | 25 | 27 | 0.017322 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_293-9_0_4_line_31 |  | 26 | 79 | 0.036134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_293-9_0_4_line_32 |  | 28 | 29 | 0.00044461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_293-9_0_4_line_33 |  | 30 | 34 | 0.0077114 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
34 | LV_293-9_0_4_line_34 |  | 31 | 32 | 0.023485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_293-9_0_4_line_35 |  | 31 | 33 | 0.028448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_293-9_0_4_line_36 |  | 32 | 35 | 0.012622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_293-9_0_4_line_37 |  | 32 | 36 | 0.031633 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_293-9_0_4_line_38 |  | 33 | 37 | 0.02394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_293-9_0_4_line_39 |  | 34 | 38 | 0.02242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
40 | LV_293-9_0_4_line_40 |  | 35 | 54 | 0.023712 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_293-9_0_4_line_41 |  | 36 | 42 | 0.024703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_293-9_0_4_line_42 |  | 36 | 39 | 0.010199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_293-9_0_4_line_43 |  | 38 | 58 | 0.0097028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
44 | LV_293-9_0_4_line_44 |  | 39 | 40 | 0.01592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_293-9_0_4_line_45 |  | 40 | 41 | 0.023972 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
46 | LV_293-9_0_4_line_46 |  | 41 | 43 | 0.0032772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
47 | LV_293-9_0_4_line_47 |  | 42 | 47 | 0.01536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_293-9_0_4_line_48 |  | 42 | 48 | 0.0060274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_293-9_0_4_line_49 |  | 43 | 49 | 0.011772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_293-9_0_4_line_50 |  | 43 | 50 | 0.022447 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
51 | LV_293-9_0_4_line_51 |  | 44 | 45 | 0.016214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_293-9_0_4_line_52 |  | 44 | 46 | 0.007197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_293-9_0_4_line_53 |  | 45 | 51 | 0.013076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_293-9_0_4_line_54 |  | 46 | 52 | 0.030034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_293-9_0_4_line_55 |  | 46 | 53 | 0.019896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_293-9_0_4_line_56 |  | 49 | 64 | 0.01039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_293-9_0_4_line_57 |  | 50 | 62 | 0.046372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_293-9_0_4_line_58 |  | 50 | 61 | 0.031953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
59 | LV_293-9_0_4_line_59 |  | 51 | 64 | 0.00065598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_293-9_0_4_line_60 |  | 52 | 66 | 0.043842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_293-9_0_4_line_61 |  | 52 | 67 | 0.0042182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_293-9_0_4_line_62 |  | 53 | 65 | 0.019337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_293-9_0_4_line_63 |  | 54 | 72 | 0.02617 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_293-9_0_4_line_64 |  | 55 | 56 | 0.021517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_293-9_0_4_line_65 |  | 56 | 57 | 0.017883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_293-9_0_4_line_66 |  | 57 | 58 | 0.020525 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_293-9_0_4_line_67 |  | 58 | 59 | 0.0014824 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
68 | LV_293-9_0_4_line_68 |  | 59 | 60 | 0.023697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
69 | LV_293-9_0_4_line_69 |  | 60 | 61 | 0.0086305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
70 | LV_293-9_0_4_line_70 |  | 62 | 63 | 0.0080803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_293-9_0_4_line_71 |  | 68 | 69 | 0.0033753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_293-9_0_4_line_72 |  | 69 | 70 | 0.015005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_293-9_0_4_line_73 |  | 69 | 71 | 0.013095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_293-9_0_4_line_74 |  | 70 | 72 | 0.0052733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_293-9_0_4_line_75 |  | 71 | 73 | 0.0089193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_293-9_0_4_line_76 |  | 73 | 76 | 0.020655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_293-9_0_4_line_77 |  | 74 | 75 | 0.0055005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_293-9_0_4_line_78 |  | 75 | 76 | 0.020926 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_293-9_0_4_line_79 |  | 76 | 77 | 0.013666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_293-9_0_4_line_80 |  | 77 | 78 | 0.0066978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_293-9_0_4_line_81 |  | 78 | 81 | 0.0010992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_293-9_0_4_line_82 |  | 79 | 80 | 0.005442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_293-9_0_4_line_83 |  | 81 | 82 | 0.012839 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_293-9_0_4_line_84 |  | 82 | 83 | 0.0010297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_293-9_0_4_line_85 |  | 83 | 84 | 0.007605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_293-9_0_4_line_86 |  | 84 | 85 | 0.01928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_293-9_0_4_line_87 |  | 85 | 86 | 0.012438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_293-9_0_4_line_88 |  | 87 | 88 | 0.0095947 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_293-9_0_4_line_89 |  | 88 | 90 | 0.0071906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_293-9_0_4_line_90 |  | 89 | 90 | 0.010391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_293-9_0_4_trafo_18 | 0.63 MVA 20/0.4 kV | 92 | 40 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2693074.2095 | 1231809.5933 | 2693069.4953 | 1231814.1275
1 | 2693074.2095 | 1231809.5933 | 2693085.1621 | 1231799.0589
2 | 2693069.4953 | 1231814.1275 | 2693054.6981 | 1231828.3597
3 | 2693069.4953 | 1231814.1275 | 2693009.742 | 1231750.4099
4 | 2693099.7917 | 1231784.9879 | 2693085.1621 | 1231799.0589
5 | 2693054.6981 | 1231828.3597 | 2693047.4861 | 1231835.2963
6 | 2693009.742 | 1231750.4099 | 2693008.9909 | 1231747.585 | 2693009.1957 | 1231744.6639 | 2693010.3287 | 1231741.9575
7 | 2693021.165 | 1231860.6124 | 2693047.4861 | 1231835.2963
8 | 2693021.165 | 1231860.6124 | 2693048.413 | 1231860.2759
9 | 2693021.165 | 1231860.6124 | 2693013.3484 | 1231868.3947
10 | 2693157.6139 | 1232064.078 | 2693160.2148 | 1232061.9013 | 2693174.6206 | 1232048.8065 | 2693188.4455 | 1232033.4517
11 | 2693151.4508 | 1232069.2359 | 2693157.6139 | 1232064.078
12 | 2693169.6907 | 1231985.5195 | 2693188.4455 | 1232033.4517
13 | 2693156.8763 | 1232092.2375 | 2693157.6442 | 1232085.289 | 2693157.5327 | 1232080.8062 | 2693155.6683 | 1232075.5732 | 2693151.4508 | 1232069.2359
14 | 2693151.4508 | 1232069.2359 | 2693116.9892 | 1232098.9254
15 | 2693169.6907 | 1231985.5195 | 2693145.8674 | 1231996.5508
16 | 2693156.8763 | 1232092.2375 | 2693114.6515 | 1232123.7988 | 2693113.779 | 1232124.5614
17 | 2693116.9892 | 1232098.9254 | 2693104.5015 | 1232109.6839
18 | 2693135.9015 | 1232001.1655 | 2693145.8674 | 1231996.5508
19 | 2693135.9015 | 1232001.1655 | 2693109.2987 | 1232016.8935
20 | 2693135.9015 | 1232001.1655 | 2693120.3799 | 1231987.3568 | 2693118.646 | 1231986.8404
21 | 2693109.2987 | 1232016.8935 | 2693091.2296 | 1232035.75
22 | 2693118.646 | 1231986.8404 | 2693121.0256 | 1231978.0491 | 2693119.7398 | 1231969.3715
23 | 2693118.646 | 1231986.8404 | 2693104.8812 | 1231982.7108 | 2693094.9583 | 1231980.0204
24 | 2693095.7636 | 1232140.3062 | 2693113.779 | 1232124.5614
25 | 2693104.5015 | 1232109.6839 | 2693098.3015 | 1232115.0253 | 2693089.7714 | 1232122.3888
26 | 2693091.2296 | 1232035.75 | 2693089.9658 | 1232037.0689
27 | 2693078.0695 | 1232049.4835 | 2693089.9658 | 1232037.0689
28 | 2693089.7714 | 1232122.3888 | 2693074.1194 | 1232135.8999
29 | 2693066.2938 | 1232062.1841 | 2693059.9221 | 1232068.797
30 | 2693078.0695 | 1232049.4835 | 2693071.5795 | 1232056.6982 | 2693066.2938 | 1232062.1841
31 | 2693034.8268 | 1232094.7949 | 2693046.1122 | 1232083.1298 | 2693059.9221 | 1232068.797
32 | 2693013.0334 | 1231868.7084 | 2693013.3484 | 1231868.3947
33 | 2693048.413 | 1231860.2759 | 2693056.1238 | 1231860.1806
34 | 2693007.1719 | 1231902.4904 | 2692984.166 | 1231897.4491
35 | 2692984.166 | 1231897.4491 | 2692969.0009 | 1231921.5183
36 | 2693007.1719 | 1231902.4904 | 2693000.8065 | 1231913.3898
37 | 2693007.1719 | 1231902.4904 | 2693017.8598 | 1231904.8259 | 2693037.9372 | 1231910.1883
38 | 2692969.0009 | 1231921.5183 | 2692956.2388 | 1231941.7734
39 | 2693078.5421 | 1231859.9037 | 2693056.1238 | 1231860.1806
40 | 2692989.1143 | 1231934.0092 | 2692990.3711 | 1231932.1489 | 2692999.8876 | 1231914.9632 | 2693000.8065 | 1231913.3898
41 | 2693032.1007 | 1231934.1921 | 2693037.9372 | 1231910.1883
42 | 2693037.9372 | 1231910.1883 | 2693047.7919 | 1231912.8176
43 | 2693088.2442 | 1231859.7839 | 2693078.5421 | 1231859.9037
44 | 2693063.1735 | 1231916.9215 | 2693047.7919 | 1231912.8176
45 | 2693063.1735 | 1231916.9215 | 2693080.6999 | 1231900.5669
46 | 2693083.0959 | 1231898.3311 | 2693080.6999 | 1231900.5669
47 | 2693032.1007 | 1231934.1921 | 2693046.8613 | 1231938.4417
48 | 2693032.1007 | 1231934.1921 | 2693028.2787 | 1231934.4992 | 2693027.6614 | 1231936.6036
49 | 2693083.0959 | 1231898.3311 | 2693092.8334 | 1231904.9457
50 | 2693098.4701 | 1231881.9377 | 2693083.0959 | 1231898.3311
51 | 2693119.4792 | 1231933.6818 | 2693118.31 | 1231929.5161 | 2693114.4358 | 1231922.0389 | 2693111.808 | 1231919.7782
52 | 2693126.2409 | 1231936.2006 | 2693119.4792 | 1231933.6818
53 | 2693101.8959 | 1231911.2506 | 2693111.808 | 1231919.7782
54 | 2693126.2409 | 1231936.2006 | 2693118.7998 | 1231963.0145 | 2693119.1215 | 1231965.1989
55 | 2693126.2409 | 1231936.2006 | 2693145.2803 | 1231941.9742
56 | 2693092.8334 | 1231904.9457 | 2693101.0741 | 1231910.5436 | 2693101.3986 | 1231910.8228
57 | 2693098.4701 | 1231881.9377 | 2693137.7307 | 1231906.6141
58 | 2693098.4701 | 1231881.9377 | 2693122.0382 | 1231860.2912
59 | 2693101.3986 | 1231910.8228 | 2693101.8959 | 1231911.2506
60 | 2693119.1215 | 1231965.1989 | 2693112.1698 | 1231963.2108 | 2693112.9574 | 1231960.31 | 2693099.9143 | 1231956.5252 | 2693100.9448 | 1231953.1056 | 2693085.1479 | 1231948.1546
61 | 2693119.1215 | 1231965.1989 | 2693119.7398 | 1231969.3715
62 | 2693163.7853 | 1231947.5858 | 2693145.2803 | 1231941.9742
63 | 2692974.463 | 1231955.6938 | 2692989.1143 | 1231934.0092
64 | 2693131.6353 | 1231818.4528 | 2693116.0549 | 1231833.2935
65 | 2693103.1062 | 1231845.6274 | 2693116.0549 | 1231833.2935
66 | 2693088.2442 | 1231859.7839 | 2693103.1062 | 1231845.6274
67 | 2693088.2442 | 1231859.7839 | 2693089.7264 | 1231859.7662
68 | 2693113.4153 | 1231859.9289 | 2693105.1597 | 1231859.5819 | 2693089.7264 | 1231859.7662
69 | 2693122.0382 | 1231860.2912 | 2693113.4153 | 1231859.9289
70 | 2693144.5719 | 1231910.914 | 2693137.7307 | 1231906.6141
71 | 2692963.1106 | 1231972.4961 | 2692961.2212 | 1231975.293
72 | 2692963.1106 | 1231972.4961 | 2692971.5108 | 1231960.0633
73 | 2692963.1106 | 1231972.4961 | 2692972.7386 | 1231981.3725
74 | 2692974.463 | 1231955.6938 | 2692971.5108 | 1231960.0633
75 | 2692979.2963 | 1231987.4182 | 2692972.7386 | 1231981.3725
76 | 2692994.4825 | 1232001.4187 | 2692979.2963 | 1231987.4182
77 | 2692977.2467 | 1232021.4512 | 2692980.8341 | 1232017.2817
78 | 2692994.4825 | 1232001.4187 | 2692980.8341 | 1232017.2817
79 | 2692994.4825 | 1232001.4187 | 2692997.7839 | 1231997.5898 | 2693005.53 | 1231993.8305
80 | 2693005.53 | 1231993.8305 | 2693012.2256 | 1231994.002
81 | 2693012.2256 | 1231994.002 | 2693013.3244 | 1231994.0301
82 | 2693034.8268 | 1232094.7949 | 2693030.3552 | 1232097.8967
83 | 2693025.8039 | 1231996.8196 | 2693015.5762 | 1231994.0878 | 2693013.3244 | 1231994.0301
84 | 2693026.7987 | 1231997.0853 | 2693025.8039 | 1231996.8196
85 | 2693026.7987 | 1231997.0853 | 2693034.0167 | 1231999.0132 | 2693034.1389 | 1231999.0681
86 | 2693034.1389 | 1231999.0681 | 2693047.7947 | 1232005.2 | 2693050.1809 | 1232008.7904
87 | 2693050.1809 | 1232008.7904 | 2693057.0655 | 1232019.1497
88 | 2693077.989 | 1231975.4197 | 2693068.7286 | 1231972.909
89 | 2693077.989 | 1231975.4197 | 2693084.9291 | 1231977.3013
90 | 2693094.9583 | 1231980.0204 | 2693084.9291 | 1231977.3013

## bus_geodata
| x | y | coords
0 | 2693074.2095 | 1231809.5933
1 | 2693069.4953 | 1231814.1275
2 | 2693085.1621 | 1231799.0589
3 | 2693054.6981 | 1231828.3597
4 | 2693009.742 | 1231750.4099
5 | 2693099.7917 | 1231784.9879
6 | 2693010.3287 | 1231741.9575
7 | 2693047.4861 | 1231835.2963
8 | 2693021.165 | 1231860.6124
9 | 2693157.6139 | 1232064.078
10 | 2693188.4455 | 1232033.4517
11 | 2693151.4508 | 1232069.2359
12 | 2693169.6907 | 1231985.5195
13 | 2693156.8763 | 1232092.2375
14 | 2693116.9892 | 1232098.9254
15 | 2693135.9015 | 1232001.1655
16 | 2693145.8674 | 1231996.5508
17 | 2693109.2987 | 1232016.8935
18 | 2693118.646 | 1231986.8404
19 | 2693113.779 | 1232124.5614
20 | 2693104.5015 | 1232109.6839
21 | 2693091.2296 | 1232035.75
22 | 2693095.7636 | 1232140.3062
23 | 2693089.9658 | 1232037.0689
24 | 2693089.7714 | 1232122.3888
25 | 2693066.2938 | 1232062.1841
26 | 2693059.9221 | 1232068.797
27 | 2693078.0695 | 1232049.4835
28 | 2693013.3484 | 1231868.3947
29 | 2693013.0334 | 1231868.7084
30 | 2693048.413 | 1231860.2759
31 | 2692984.166 | 1231897.4491
32 | 2693007.1719 | 1231902.4904
33 | 2692969.0009 | 1231921.5183
34 | 2693056.1238 | 1231860.1806
35 | 2693000.8065 | 1231913.3898
36 | 2693037.9372 | 1231910.1883
37 | 2692956.2388 | 1231941.7734
38 | 2693078.5421 | 1231859.9037
39 | 2693047.7919 | 1231912.8176
40 | 2693063.1735 | 1231916.9215
41 | 2693080.6999 | 1231900.5669
42 | 2693032.1007 | 1231934.1921
43 | 2693083.0959 | 1231898.3311
44 | 2693119.4792 | 1231933.6818
45 | 2693111.808 | 1231919.7782
46 | 2693126.2409 | 1231936.2006
47 | 2693046.8613 | 1231938.4417
48 | 2693027.6614 | 1231936.6036
49 | 2693092.8334 | 1231904.9457
50 | 2693098.4701 | 1231881.9377
51 | 2693101.8959 | 1231911.2506
52 | 2693119.1215 | 1231965.1989
53 | 2693145.2803 | 1231941.9742
54 | 2692989.1143 | 1231934.0092
55 | 2693131.6353 | 1231818.4528
56 | 2693116.0549 | 1231833.2935
57 | 2693103.1062 | 1231845.6274
58 | 2693088.2442 | 1231859.7839
59 | 2693089.7264 | 1231859.7662
60 | 2693113.4153 | 1231859.9289
61 | 2693122.0382 | 1231860.2912
62 | 2693137.7307 | 1231906.6141
63 | 2693144.5719 | 1231910.914
64 | 2693101.3986 | 1231910.8228
65 | 2693163.7853 | 1231947.5858
66 | 2693085.1479 | 1231948.1546
67 | 2693119.7398 | 1231969.3715
68 | 2692961.2212 | 1231975.293
69 | 2692963.1106 | 1231972.4961
70 | 2692971.5108 | 1231960.0633
71 | 2692972.7386 | 1231981.3725
72 | 2692974.463 | 1231955.6938
73 | 2692979.2963 | 1231987.4182
74 | 2692977.2467 | 1232021.4512
75 | 2692980.8341 | 1232017.2817
76 | 2692994.4825 | 1232001.4187
77 | 2693005.53 | 1231993.8305
78 | 2693012.2256 | 1231994.002
79 | 2693034.8268 | 1232094.7949
80 | 2693030.3552 | 1232097.8967
81 | 2693013.3244 | 1231994.0301
82 | 2693025.8039 | 1231996.8196
83 | 2693026.7987 | 1231997.0853
84 | 2693034.1389 | 1231999.0681
85 | 2693050.1809 | 1232008.7904
86 | 2693057.0655 | 1232019.1497
87 | 2693068.7286 | 1231972.909
88 | 2693077.989 | 1231975.4197
89 | 2693094.9583 | 1231980.0204
90 | 2693084.9291 | 1231977.3013
91 | 2693074.1194 | 1232135.8999
92 | 2693071.1947 | 1231919.3043

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1