## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2937-12_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2937-12_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2937-12_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2937-12_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2937-12_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2937-12_0_6_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_2937-12_0_6_node_11 | 0.4 | n |  | TRUE
7 | bus_LV_2937-12_0_6_node_17 | 0.4 | n |  | TRUE
8 | bus_LV_2937-12_0_6_node_14 | 0.4 | n |  | TRUE
9 | bus_LV_2937-12_0_6_node_13 | 0.4 | n |  | TRUE
10 | bus_LV_2937-12_0_6_node_12 | 0.4 | n |  | TRUE
11 | bus_LV_2937-12_0_6_node_15 | 0.4 | n |  | TRUE
12 | bus_LV_2937-12_0_6_node_24 | 0.4 | n |  | TRUE
13 | bus_LV_2937-12_0_6_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_2937-12_0_6_node_6 | 0.4 | n |  | TRUE
15 | bus_LV_2937-12_0_6_node_7 | 0.4 | n |  | TRUE
16 | bus_LV_2937-12_0_6_node_8 | 0.4 | n |  | TRUE
17 | bus_LV_2937-12_0_6_node_9 | 0.4 | n |  | TRUE
18 | bus_LV_2937-12_0_6_node_18 | 0.4 | n |  | TRUE
19 | bus_LV_2937-12_0_6_node_19 | 0.4 | n |  | TRUE
20 | bus_LV_2937-12_0_6_node_21 | 0.4 | n |  | TRUE
21 | bus_LV_2937-12_0_6_node_22 | 0.4 | n |  | TRUE
22 | bus_LV_2937-12_0_6_node_23 | 0.4 | n |  | TRUE
23 | bus_LV_2937-12_0_6_node_26 | 0.4 | n |  | TRUE
24 | bus_LV_2937-12_0_6_node_25 | 0.4 | n |  | TRUE
25 | bus_LV_2937-12_0_6_node_20 | 0.4 | n |  | TRUE
26 | bus_LV_2937-12_0_6_node_48 | 0.4 | n |  | TRUE
27 | bus_LV_2937-12_0_6_node_47 | 0.4 | n |  | TRUE
28 | bus_LV_2937-12_0_6_node_27 | 0.4 | n |  | TRUE
29 | bus_LV_2937-12_0_6_node_30 | 0.4 | n |  | TRUE
30 | bus_LV_2937-12_0_6_node_28 | 0.4 | n |  | TRUE
31 | bus_LV_2937-12_0_6_node_31 | 0.4 | n |  | TRUE
32 | bus_LV_2937-12_0_6_node_53 | 0.4 | n |  | TRUE
33 | bus_LV_2937-12_0_6_node_52 | 0.4 | n |  | TRUE
34 | bus_LV_2937-12_0_6_node_54 | 0.4 | n |  | TRUE
35 | bus_LV_2937-12_0_6_node_51 | 0.4 | n |  | TRUE
36 | bus_LV_2937-12_0_6_node_34 | 0.4 | n |  | TRUE
37 | bus_LV_2937-12_0_6_node_29 | 0.4 | n |  | TRUE
38 | bus_LV_2937-12_0_6_node_35 | 0.4 | n |  | TRUE
39 | bus_LV_2937-12_0_6_node_32 | 0.4 | n |  | TRUE
40 | bus_LV_2937-12_0_6_node_37 | 0.4 | n |  | TRUE
41 | bus_LV_2937-12_0_6_node_45 | 0.4 | n |  | TRUE
42 | bus_LV_2937-12_0_6_node_38 | 0.4 | n |  | TRUE
43 | bus_LV_2937-12_0_6_node_36 | 0.4 | n |  | TRUE
44 | bus_LV_2937-12_0_6_node_39 | 0.4 | n |  | TRUE
45 | bus_LV_2937-12_0_6_node_46 | 0.4 | n |  | TRUE
46 | bus_LV_2937-12_0_6_node_40 | 0.4 | n |  | TRUE
47 | bus_LV_2937-12_0_6_node_41 | 0.4 | n |  | TRUE
48 | bus_LV_2937-12_0_6_node_43 | 0.4 | n |  | TRUE
49 | bus_LV_2937-12_0_6_node_44 | 0.4 | n |  | TRUE
50 | bus_LV_2937-12_0_6_node_50 | 0.4 | n |  | TRUE
51 | bus_MV_400_1_node_142 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2937-12_0_6_load_0 | 0 | 0.0095942 | 0.0024045 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2937-12_0_6_load_1 | 1 | 0.0062928 | 0.0015771 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2937-12_0_6_load_3 | 3 | 0.040333 | 0.010109 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2937-12_0_6_load_5 | 5 | 0.071279 | 0.017864 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2937-12_0_6_load_11 | 6 | 0.001186 | 0.00029724 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2937-12_0_6_load_17 | 7 | 0.028879 | 0.0072377 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2937-12_0_6_load_14 | 8 | 0.027213 | 0.0068201 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2937-12_0_6_load_12 | 10 | 0.0011858 | 0.0002972 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2937-12_0_6_load_15 | 11 | 0.084317 | 0.021132 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2937-12_0_6_load_10 | 13 | 0.0070386 | 0.001764 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2937-12_0_6_load_6 | 14 | 0.0034732 | 0.00087046 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2937-12_0_6_load_7 | 15 | 0.01203 | 0.0030149 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2937-12_0_6_load_8 | 16 | 0.0019649 | 0.00049245 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2937-12_0_6_load_9 | 17 | 0.0055397 | 0.0013884 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2937-12_0_6_load_18 | 18 | 0.0020762 | 0.00052035 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2937-12_0_6_load_22 | 21 | 0.0070981 | 0.0017789 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2937-12_0_6_load_25 | 24 | 0.035442 | 0.0088827 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2937-12_0_6_load_20 | 25 | 0.0043269 | 0.0010844 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2937-12_0_6_load_47 | 27 | 0.00044272 | 0.00011096 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2937-12_0_6_load_30 | 29 | 0.0049055 | 0.0012294 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2937-12_0_6_load_31 | 31 | 0.0044979 | 0.0011273 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2937-12_0_6_load_52 | 33 | 0.0047442 | 0.001189 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2937-12_0_6_load_54 | 34 | 0.00084491 | 0.00021175 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2937-12_0_6_load_34 | 36 | 0.0029621 | 0.00074237 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2937-12_0_6_load_32 | 39 | 0.0085785 | 0.00215 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2937-12_0_6_load_45 | 41 | 0.0020577 | 0.0005157 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2937-12_0_6_load_36 | 43 | 0.0056956 | 0.0014275 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2937-12_0_6_load_39 | 44 | 0.0054311 | 0.0013612 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2937-12_0_6_load_46 | 45 | 0.0034312 | 0.00085995 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2937-12_0_6_load_41 | 47 | 0.023291 | 0.0058372 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2937-12_0_6_load_43 | 48 | 0.024837 | 0.0062247 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2937-12_0_6_load_44 | 49 | 0.033326 | 0.0083523 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2937-12_0_6_load_50 | 50 | 0.036628 | 0.0091799 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 11 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2937-12_0_6_line_0 |  | 0 | 1 | 0.01352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
1 | LV_2937-12_0_6_line_1 |  | 0 | 2 | 0.058579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
2 | LV_2937-12_0_6_line_2 |  | 1 | 3 | 0.042781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
3 | LV_2937-12_0_6_line_3 |  | 2 | 4 | 0.014418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
4 | LV_2937-12_0_6_line_4 |  | 2 | 5 | 0.032672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
5 | LV_2937-12_0_6_line_5 |  | 3 | 6 | 0.0093743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
6 | LV_2937-12_0_6_line_6 |  | 4 | 7 | 0.053047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2937-12_0_6_line_7 |  | 4 | 8 | 0.030919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
8 | LV_2937-12_0_6_line_8 |  | 5 | 9 | 0.035634 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2937-12_0_6_line_9 |  | 6 | 10 | 0.000339 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
10 | LV_2937-12_0_6_line_10 |  | 8 | 11 | 0.055055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
11 | LV_2937-12_0_6_line_11 |  | 9 | 12 | 0.12285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2937-12_0_6_line_12 |  | 9 | 13 | 0.020797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2937-12_0_6_line_13 |  | 10 | 20 | 0.035492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
14 | LV_2937-12_0_6_line_14 |  | 12 | 23 | 0.050767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2937-12_0_6_line_15 |  | 12 | 24 | 0.029363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2937-12_0_6_line_16 |  | 13 | 16 | 0.018813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2937-12_0_6_line_17 |  | 14 | 15 | 0.025457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2937-12_0_6_line_18 |  | 14 | 16 | 0.036282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2937-12_0_6_line_19 |  | 15 | 17 | 0.012124 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2937-12_0_6_line_20 |  | 17 | 18 | 0.021133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2937-12_0_6_line_21 |  | 18 | 19 | 0.048801 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2937-12_0_6_line_22 |  | 19 | 25 | 0.031821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2937-12_0_6_line_23 |  | 19 | 26 | 0.26766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2937-12_0_6_line_24 |  | 20 | 21 | 0.062856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
25 | LV_2937-12_0_6_line_25 |  | 20 | 22 | 0.026361 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2937-12_0_6_line_26 |  | 21 | 28 | 0.012829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
27 | LV_2937-12_0_6_line_27 |  | 22 | 29 | 0.050271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2937-12_0_6_line_28 |  | 23 | 32 | 0.056402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2937-12_0_6_line_29 |  | 23 | 33 | 0.040766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2937-12_0_6_line_30 |  | 26 | 27 | 0.11784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2937-12_0_6_line_31 |  | 28 | 30 | 0.11701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
32 | LV_2937-12_0_6_line_32 |  | 29 | 31 | 0.0092014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2937-12_0_6_line_33 |  | 30 | 36 | 0.052139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
34 | LV_2937-12_0_6_line_34 |  | 32 | 34 | 0.12399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2937-12_0_6_line_35 |  | 33 | 35 | 0.023396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2937-12_0_6_line_36 |  | 35 | 50 | 0.01845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2937-12_0_6_line_37 |  | 36 | 37 | 0.087237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
38 | LV_2937-12_0_6_line_38 |  | 37 | 38 | 0.24327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
39 | LV_2937-12_0_6_line_39 |  | 37 | 39 | 0.047635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2937-12_0_6_line_40 |  | 38 | 40 | 0.053197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
41 | LV_2937-12_0_6_line_41 |  | 38 | 41 | 0.18265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2937-12_0_6_line_42 |  | 40 | 42 | 0.021427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
43 | LV_2937-12_0_6_line_43 |  | 40 | 43 | 0.1046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2937-12_0_6_line_44 |  | 41 | 45 | 0.026187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2937-12_0_6_line_45 |  | 42 | 44 | 0.068033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
46 | LV_2937-12_0_6_line_46 |  | 44 | 46 | 0.019951 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
47 | LV_2937-12_0_6_line_47 |  | 46 | 47 | 0.024218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
48 | LV_2937-12_0_6_line_48 |  | 47 | 48 | 0.061557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
49 | LV_2937-12_0_6_line_49 |  | 48 | 49 | 0.038792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2937-12_0_6_trafo_15 | 0.63 MVA 20/0.4 kV | 51 | 11 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15
0 | 2687498.9945 | 1281258.3327 | 2687512.2273 | 1281261.1026
1 | 2687441.6583 | 1281246.3311 | 2687498.9945 | 1281258.3327
2 | 2687554.1004 | 1281269.8675 | 2687512.2273 | 1281261.1026
3 | 2687441.6583 | 1281246.3311 | 2687438.5877 | 1281260.4198
4 | 2687441.6583 | 1281246.3311 | 2687448.6094 | 1281214.4075
5 | 2687563.2758 | 1281271.7881 | 2687554.1004 | 1281269.8675
6 | 2687438.5877 | 1281260.4198 | 2687427.3003 | 1281312.2525
7 | 2687438.5877 | 1281260.4198 | 2687408.4988 | 1281253.3038
8 | 2687456.1906 | 1281179.5896 | 2687448.6094 | 1281214.4075
9 | 2687563.2758 | 1281271.7881 | 2687563.6076 | 1281271.8576
10 | 2687354.9222 | 1281240.6329 | 2687408.4988 | 1281253.3038
11 | 2687355.3545 | 1281124.6926 | 2687359.3933 | 1281133.9492 | 2687374.395 | 1281153.5215 | 2687425.6879 | 1281179.7041 | 2687456.1906 | 1281179.5896
12 | 2687456.1906 | 1281179.5896 | 2687474.4718 | 1281169.6736
13 | 2687594.6543 | 1281285.9467 | 2687585.0782 | 1281276.3518 | 2687563.6076 | 1281271.8576
14 | 2687355.3545 | 1281124.6926 | 2687349.5359 | 1281111.3728 | 2687344.6002 | 1281075.4691
15 | 2687355.3545 | 1281124.6926 | 2687350.2938 | 1281127.6312 | 2687334.6807 | 1281145.2091
16 | 2687474.4718 | 1281169.6736 | 2687488.4991 | 1281162.065 | 2687491.0021 | 1281160.6917
17 | 2687524.0685 | 1281149.1737 | 2687527.2318 | 1281149.4401 | 2687548.8924 | 1281154.6661
18 | 2687524.0685 | 1281149.1737 | 2687513.6018 | 1281148.2924 | 2687491.0021 | 1281160.6917
19 | 2687548.8924 | 1281154.6661 | 2687560.6777 | 1281157.5095
20 | 2687560.6777 | 1281157.5095 | 2687581.2211 | 1281162.466
21 | 2687628.6611 | 1281173.9118 | 2687581.2211 | 1281162.466
22 | 2687628.6611 | 1281173.9118 | 2687619.4185 | 1281204.3614
23 | 2687628.6611 | 1281173.9118 | 2687872.7675 | 1281064.1282
24 | 2687594.6543 | 1281285.9467 | 2687588.1888 | 1281307.091 | 2687574.6364 | 1281345.5159
25 | 2687616.5422 | 1281271.1593 | 2687594.6543 | 1281285.9467
26 | 2687568.4203 | 1281356.662 | 2687573.4948 | 1281348.7528 | 2687574.6364 | 1281345.5159
27 | 2687616.5422 | 1281271.1593 | 2687617.6879 | 1281300.1789 | 2687621.5275 | 1281312.691 | 2687619.5205 | 1281320.5801
28 | 2687344.6002 | 1281075.4691 | 2687342.3863 | 1281019.1104
29 | 2687344.6002 | 1281075.4691 | 2687336.2389 | 1281074.0663 | 2687329.1329 | 1281074.1166 | 2687324.3291 | 1281076.9479 | 2687311.2336 | 1281091.5387
30 | 2687872.7675 | 1281064.1282 | 2687880.8424 | 1281059.5446 | 2687881.763 | 1281054.2204 | 2687878.8447 | 1281023.2727 | 2687865.4875 | 1280952.451
31 | 2687544.5901 | 1281443.0487 | 2687558.7391 | 1281448.1409 | 2687561.8972 | 1281440.3144 | 2687576.2679 | 1281418.865 | 2687577.1562 | 1281397.5044 | 2687570.3608 | 1281373.1493 | 2687575.2655 | 1281370.5978 | 2687568.4203 | 1281356.662
32 | 2687617.2519 | 1281329.4974 | 2687619.5205 | 1281320.5801
33 | 2687544.5901 | 1281443.0487 | 2687499.9334 | 1281416.1362
34 | 2687274.401 | 1280918.9741 | 2687303.3566 | 1280948.8503 | 2687327.3835 | 1280974.7504 | 2687339.3741 | 1281001.3951 | 2687342.3863 | 1281019.1104
35 | 2687295.6067 | 1281108.95 | 2687311.2336 | 1281091.5387
36 | 2687295.6067 | 1281108.95 | 2687283.1989 | 1281122.6045
37 | 2687414.1359 | 1281412.098 | 2687491.3896 | 1281410.9872 | 2687499.9334 | 1281416.1362
38 | 2687224.7084 | 1281328.377 | 2687232.5915 | 1281325.5356 | 2687235.4477 | 1281323.8654 | 2687246.9184 | 1281317.1293 | 2687262.6933 | 1281310.8574 | 2687273.0072 | 1281309.709 | 2687283.2892 | 1281313.2531 | 2687291.0609 | 1281322.9987 | 2687307.0672 | 1281357.3761 | 2687324.8466 | 1281376.4891 | 2687343.6454 | 1281390.6685 | 2687361.4921 | 1281398.1392 | 2687383.2453 | 1281402.9991 | 2687411.3757 | 1281402.2375 | 2687412.5764 | 1281406.3477 | 2687414.1359 | 1281412.098
39 | 2687414.1359 | 1281412.098 | 2687402.1974 | 1281420.4949 | 2687403.1434 | 1281431.1513 | 2687410.2239 | 1281441.3984 | 2687418.5755 | 1281446.6869
40 | 2687214.1191 | 1281288.2639 | 2687229.2498 | 1281312.8198 | 2687233.2236 | 1281319.8735 | 2687235.4477 | 1281323.8654 | 2687232.5915 | 1281325.5356 | 2687224.7084 | 1281328.377
41 | 2687224.7084 | 1281328.377 | 2687208.5318 | 1281326.2804 | 2687080.7585 | 1281219.7727
42 | 2687222.4835 | 1281268.6376 | 2687218.7863 | 1281274.8548 | 2687215.4061 | 1281285.0358 | 2687214.1191 | 1281288.2639
43 | 2687214.1191 | 1281288.2639 | 2687210.7965 | 1281282.8769 | 2687208.7362 | 1281277.9644 | 2687195.8536 | 1281247.1365 | 2687191.525 | 1281240.1999 | 2687178.7978 | 1281224.2426 | 2687155.3143 | 1281244.3942
44 | 2687080.7585 | 1281219.7727 | 2687060.6438 | 1281203.0057
45 | 2687222.4835 | 1281268.6376 | 2687225.4702 | 1281262.2096 | 2687225.5799 | 1281251.7578 | 2687213.2551 | 1281223.8406 | 2687212.3618 | 1281221.7812 | 2687213.9983 | 1281218.7917 | 2687208.3583 | 1281205.6262
46 | 2687200.5022 | 1281187.2875 | 2687208.3583 | 1281205.6262
47 | 2687200.5022 | 1281187.2875 | 2687191.2105 | 1281164.9234
48 | 2687191.2105 | 1281164.9234 | 2687167.5923 | 1281108.0776
49 | 2687167.5923 | 1281108.0776 | 2687152.7084 | 1281072.2542

## bus_geodata
| x | y | coords
0 | 2687498.9945 | 1281258.3327
1 | 2687512.2273 | 1281261.1026
2 | 2687441.6583 | 1281246.3311
3 | 2687554.1004 | 1281269.8675
4 | 2687438.5877 | 1281260.4198
5 | 2687448.6094 | 1281214.4075
6 | 2687563.2758 | 1281271.7881
7 | 2687427.3003 | 1281312.2525
8 | 2687408.4988 | 1281253.3038
9 | 2687456.1906 | 1281179.5896
10 | 2687563.6076 | 1281271.8576
11 | 2687354.9222 | 1281240.6329
12 | 2687355.3545 | 1281124.6926
13 | 2687474.4718 | 1281169.6736
14 | 2687524.0685 | 1281149.1737
15 | 2687548.8924 | 1281154.6661
16 | 2687491.0021 | 1281160.6917
17 | 2687560.6777 | 1281157.5095
18 | 2687581.2211 | 1281162.466
19 | 2687628.6611 | 1281173.9118
20 | 2687594.6543 | 1281285.9467
21 | 2687574.6364 | 1281345.5159
22 | 2687616.5422 | 1281271.1592
23 | 2687344.6002 | 1281075.4691
24 | 2687334.6807 | 1281145.2091
25 | 2687619.4185 | 1281204.3614
26 | 2687872.7675 | 1281064.1282
27 | 2687865.4875 | 1280952.451
28 | 2687568.4203 | 1281356.662
29 | 2687619.5205 | 1281320.5801
30 | 2687544.5901 | 1281443.0487
31 | 2687617.2519 | 1281329.4974
32 | 2687342.3863 | 1281019.1104
33 | 2687311.2336 | 1281091.5387
34 | 2687274.401 | 1280918.9741
35 | 2687295.6067 | 1281108.9499
36 | 2687499.9334 | 1281416.1362
37 | 2687414.1359 | 1281412.098
38 | 2687224.7084 | 1281328.377
39 | 2687418.5755 | 1281446.6869
40 | 2687214.1191 | 1281288.2639
41 | 2687080.7585 | 1281219.7727
42 | 2687222.4835 | 1281268.6376
43 | 2687155.3143 | 1281244.3942
44 | 2687208.3583 | 1281205.6262
45 | 2687060.6438 | 1281203.0057
46 | 2687200.5022 | 1281187.2875
47 | 2687191.2105 | 1281164.9234
48 | 2687167.5923 | 1281108.0776
49 | 2687152.7084 | 1281072.2542
50 | 2687283.1989 | 1281122.6045
51 | 2687347.0314 | 1281238.7667

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1