## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2937-13_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2937-13_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2937-13_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2937-13_0_5_node_57 | 0.4 | n |  | TRUE
4 | bus_LV_2937-13_0_5_node_58 | 0.4 | n |  | TRUE
5 | bus_LV_2937-13_0_5_node_3 | 0.4 | n |  | TRUE
6 | bus_LV_2937-13_0_5_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_2937-13_0_5_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_2937-13_0_5_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_2937-13_0_5_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_2937-13_0_5_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_2937-13_0_5_node_24 | 0.4 | n |  | TRUE
12 | bus_LV_2937-13_0_5_node_12 | 0.4 | n |  | TRUE
13 | bus_LV_2937-13_0_5_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_2937-13_0_5_node_25 | 0.4 | n |  | TRUE
15 | bus_LV_2937-13_0_5_node_26 | 0.4 | n |  | TRUE
16 | bus_LV_2937-13_0_5_node_13 | 0.4 | n |  | TRUE
17 | bus_LV_2937-13_0_5_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_2937-13_0_5_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_2937-13_0_5_node_22 | 0.4 | n |  | TRUE
20 | bus_LV_2937-13_0_5_node_23 | 0.4 | n |  | TRUE
21 | bus_LV_2937-13_0_5_node_15 | 0.4 | n |  | TRUE
22 | bus_LV_2937-13_0_5_node_16 | 0.4 | n |  | TRUE
23 | bus_LV_2937-13_0_5_node_18 | 0.4 | n |  | TRUE
24 | bus_LV_2937-13_0_5_node_19 | 0.4 | n |  | TRUE
25 | bus_LV_2937-13_0_5_node_17 | 0.4 | n |  | TRUE
26 | bus_LV_2937-13_0_5_node_20 | 0.4 | n |  | TRUE
27 | bus_LV_2937-13_0_5_node_56 | 0.4 | n |  | TRUE
28 | bus_LV_2937-13_0_5_node_21 | 0.4 | n |  | TRUE
29 | bus_LV_2937-13_0_5_node_44 | 0.4 | n |  | TRUE
30 | bus_LV_2937-13_0_5_node_42 | 0.4 | n |  | TRUE
31 | bus_LV_2937-13_0_5_node_46 | 0.4 | n |  | TRUE
32 | bus_LV_2937-13_0_5_node_45 | 0.4 | n |  | TRUE
33 | bus_LV_2937-13_0_5_node_50 | 0.4 | n |  | TRUE
34 | bus_LV_2937-13_0_5_node_48 | 0.4 | n |  | TRUE
35 | bus_LV_2937-13_0_5_node_71 | 0.4 | n |  | TRUE
36 | bus_LV_2937-13_0_5_node_64 | 0.4 | n |  | TRUE
37 | bus_LV_2937-13_0_5_node_43 | 0.4 | n |  | TRUE
38 | bus_LV_2937-13_0_5_node_27 | 0.4 | n |  | TRUE
39 | bus_LV_2937-13_0_5_node_39 | 0.4 | n |  | TRUE
40 | bus_LV_2937-13_0_5_node_28 | 0.4 | n |  | TRUE
41 | bus_LV_2937-13_0_5_node_40 | 0.4 | n |  | TRUE
42 | bus_LV_2937-13_0_5_node_29 | 0.4 | n |  | TRUE
43 | bus_LV_2937-13_0_5_node_34 | 0.4 | n |  | TRUE
44 | bus_LV_2937-13_0_5_node_35 | 0.4 | n |  | TRUE
45 | bus_LV_2937-13_0_5_node_30 | 0.4 | n |  | TRUE
46 | bus_LV_2937-13_0_5_node_31 | 0.4 | n |  | TRUE
47 | bus_LV_2937-13_0_5_node_32 | 0.4 | n |  | TRUE
48 | bus_LV_2937-13_0_5_node_33 | 0.4 | n |  | TRUE
49 | bus_LV_2937-13_0_5_node_53 | 0.4 | n |  | TRUE
50 | bus_LV_2937-13_0_5_node_76 | 0.4 | n |  | TRUE
51 | bus_LV_2937-13_0_5_node_55 | 0.4 | n |  | TRUE
52 | bus_LV_2937-13_0_5_node_36 | 0.4 | n |  | TRUE
53 | bus_LV_2937-13_0_5_node_54 | 0.4 | n |  | TRUE
54 | bus_LV_2937-13_0_5_node_52 | 0.4 | n |  | TRUE
55 | bus_LV_2937-13_0_5_node_75 | 0.4 | n |  | TRUE
56 | bus_LV_2937-13_0_5_node_37 | 0.4 | n |  | TRUE
57 | bus_LV_2937-13_0_5_node_38 | 0.4 | n |  | TRUE
58 | bus_LV_2937-13_0_5_node_62 | 0.4 | n |  | TRUE
59 | bus_LV_2937-13_0_5_node_47 | 0.4 | n |  | TRUE
60 | bus_LV_2937-13_0_5_node_73 | 0.4 | n |  | TRUE
61 | bus_LV_2937-13_0_5_node_49 | 0.4 | n |  | TRUE
62 | bus_LV_2937-13_0_5_node_60 | 0.4 | n |  | TRUE
63 | bus_LV_2937-13_0_5_node_63 | 0.4 | n |  | TRUE
64 | bus_LV_2937-13_0_5_node_65 | 0.4 | n |  | TRUE
65 | bus_LV_2937-13_0_5_node_59 | 0.4 | n |  | TRUE
66 | bus_LV_2937-13_0_5_node_66 | 0.4 | n |  | TRUE
67 | bus_LV_2937-13_0_5_node_67 | 0.4 | n |  | TRUE
68 | bus_LV_2937-13_0_5_node_68 | 0.4 | n |  | TRUE
69 | bus_LV_2937-13_0_5_node_69 | 0.4 | n |  | TRUE
70 | bus_LV_2937-13_0_5_node_70 | 0.4 | n |  | TRUE
71 | bus_LV_2937-13_0_5_node_72 | 0.4 | n |  | TRUE
72 | bus_LV_2937-13_0_5_node_74 | 0.4 | n |  | TRUE
73 | bus_MV_391_0_node_41 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2937-13_0_5_load_0 | 0 | 0.0032878 | 0.00082399 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2937-13_0_5_load_2 | 2 | 0.0016224 | 0.00040661 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2937-13_0_5_load_57 | 3 | 0.0012818 | 0.00032124 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2937-13_0_5_load_3 | 5 | 0.0093846 | 0.002352 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2937-13_0_5_load_4 | 6 | 0.0080043 | 0.0020061 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2937-13_0_5_load_6 | 8 | 0.010764 | 0.0026976 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2937-13_0_5_load_8 | 10 | 0.0048197 | 0.0012079 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2937-13_0_5_load_12 | 12 | 0.010421 | 0.0026119 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2937-13_0_5_load_9 | 13 | 0.0070587 | 0.0017691 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2937-13_0_5_load_25 | 14 | 0.007729 | 0.0019371 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2937-13_0_5_load_10 | 17 | 0.0066797 | 0.0016741 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2937-13_0_5_load_11 | 18 | 0.0056315 | 0.0014114 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2937-13_0_5_load_22 | 19 | 0.0046144 | 0.0011565 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2937-13_0_5_load_23 | 20 | 0.0053076 | 0.0013302 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2937-13_0_5_load_18 | 23 | 0.0024063 | 0.00060308 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2937-13_0_5_load_17 | 25 | 0.0014957 | 0.00037485 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2937-13_0_5_load_20 | 26 | 0.011502 | 0.0028827 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2937-13_0_5_load_56 | 27 | 0.0028403 | 0.00071186 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2937-13_0_5_load_42 | 30 | 0.033927 | 0.008503 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2937-13_0_5_load_50 | 33 | 0.021675 | 0.0054322 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2937-13_0_5_load_48 | 34 | 0.034122 | 0.0085518 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2937-13_0_5_load_71 | 35 | 0.00095811 | 0.00024013 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2937-13_0_5_load_64 | 36 | 0.00099341 | 0.00024897 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2937-13_0_5_load_43 | 37 | 0.00080117 | 0.00020079 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2937-13_0_5_load_27 | 38 | 0.0055695 | 0.0013959 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2937-13_0_5_load_39 | 39 | 0.0026469 | 0.00066338 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2937-13_0_5_load_28 | 40 | 0.013153 | 0.0032964 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2937-13_0_5_load_40 | 41 | 0.0025535 | 0.00063998 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2937-13_0_5_load_29 | 42 | 0.0033308 | 0.00083477 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2937-13_0_5_load_34 | 43 | 0.0035442 | 0.00088826 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2937-13_0_5_load_30 | 45 | 0.0044959 | 0.0011268 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2937-13_0_5_load_31 | 46 | 0.0061546 | 0.0015425 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2937-13_0_5_load_32 | 47 | 0.0042592 | 0.0010674 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2937-13_0_5_load_33 | 48 | 0.0063627 | 0.0015946 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2937-13_0_5_load_53 | 49 | 0.0078597 | 0.0019698 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2937-13_0_5_load_76 | 50 | 0.00044376 | 0.00011122 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2937-13_0_5_load_36 | 52 | 0.0022328 | 0.00055959 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2937-13_0_5_load_75 | 55 | 0.0021838 | 0.00054731 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2937-13_0_5_load_37 | 56 | 0.0052025 | 0.0013039 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2937-13_0_5_load_62 | 58 | 0.0015364 | 0.00038505 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2937-13_0_5_load_47 | 59 | 0.058582 | 0.014682 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2937-13_0_5_load_73 | 60 | 0.027416 | 0.006871 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2937-13_0_5_load_49 | 61 | 0.094563 | 0.0237 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2937-13_0_5_load_60 | 62 | 0.0028605 | 0.00071691 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2937-13_0_5_load_63 | 63 | 0.0013025 | 0.00032644 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2937-13_0_5_load_65 | 64 | 0.0021124 | 0.00052941 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2937-13_0_5_load_59 | 65 | 0.0013941 | 0.00034939 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2937-13_0_5_load_66 | 66 | 0.0020404 | 0.00051137 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2937-13_0_5_load_67 | 67 | 0.0012736 | 0.00031918 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2937-13_0_5_load_68 | 68 | 0.00098783 | 0.00024757 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2937-13_0_5_load_69 | 69 | 0.0012862 | 0.00032234 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2937-13_0_5_load_70 | 70 | 0.0012967 | 0.00032499 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2937-13_0_5_load_72 | 71 | 0.0009872 | 0.00024742 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2937-13_0_5_load_74 | 72 | 0.0089616 | 0.002246 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 30 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2937-13_0_5_line_0 |  | 0 | 1 | 0.028234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2937-13_0_5_line_1 |  | 1 | 2 | 0.030664 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2937-13_0_5_line_2 |  | 2 | 3 | 0.024189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2937-13_0_5_line_3 |  | 3 | 4 | 0.016839 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2937-13_0_5_line_4 |  | 4 | 63 | 0.025294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2937-13_0_5_line_5 |  | 5 | 6 | 0.0011811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2937-13_0_5_line_6 |  | 5 | 7 | 0.021069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2937-13_0_5_line_7 |  | 6 | 8 | 0.017309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2937-13_0_5_line_8 |  | 7 | 9 | 0.049804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
9 | LV_2937-13_0_5_line_9 |  | 7 | 10 | 0.013627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2937-13_0_5_line_10 |  | 8 | 11 | 0.0047329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2937-13_0_5_line_11 |  | 9 | 12 | 0.035746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
12 | LV_2937-13_0_5_line_12 |  | 10 | 13 | 0.012972 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2937-13_0_5_line_13 |  | 11 | 14 | 0.014509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2937-13_0_5_line_14 |  | 11 | 15 | 0.077835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2937-13_0_5_line_15 |  | 12 | 16 | 0.036992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
16 | LV_2937-13_0_5_line_16 |  | 13 | 17 | 0.011813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2937-13_0_5_line_17 |  | 14 | 38 | 0.0027518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2937-13_0_5_line_18 |  | 15 | 39 | 0.04485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2937-13_0_5_line_19 |  | 16 | 21 | 0.004488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
20 | LV_2937-13_0_5_line_20 |  | 16 | 22 | 0.002764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2937-13_0_5_line_21 |  | 17 | 18 | 0.00097752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2937-13_0_5_line_22 |  | 18 | 19 | 0.01734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2937-13_0_5_line_23 |  | 19 | 20 | 0.0029391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2937-13_0_5_line_24 |  | 21 | 23 | 0.030869 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2937-13_0_5_line_25 |  | 21 | 24 | 0.0056743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
26 | LV_2937-13_0_5_line_26 |  | 21 | 25 | 0.014592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2937-13_0_5_line_27 |  | 22 | 26 | 0.022856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2937-13_0_5_line_28 |  | 24 | 27 | 0.014864 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
29 | LV_2937-13_0_5_line_29 |  | 27 | 29 | 0.038128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
30 | LV_2937-13_0_5_line_30 |  | 28 | 29 | 0.004153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
31 | LV_2937-13_0_5_line_31 |  | 28 | 30 | 0.067562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
32 | LV_2937-13_0_5_line_32 |  | 29 | 31 | 0.034452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
33 | LV_2937-13_0_5_line_33 |  | 30 | 37 | 0.034248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2937-13_0_5_line_34 |  | 31 | 35 | 0.012207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2937-13_0_5_line_35 |  | 31 | 36 | 0.026116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2937-13_0_5_line_36 |  | 31 | 32 | 0.11201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
37 | LV_2937-13_0_5_line_37 |  | 32 | 33 | 0.026483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2937-13_0_5_line_38 |  | 32 | 34 | 0.028851 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
39 | LV_2937-13_0_5_line_39 |  | 33 | 58 | 0.064111 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2937-13_0_5_line_40 |  | 34 | 59 | 0.041942 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
41 | LV_2937-13_0_5_line_41 |  | 35 | 60 | 0.01689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2937-13_0_5_line_42 |  | 38 | 40 | 0.0040499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2937-13_0_5_line_43 |  | 39 | 41 | 0.022658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2937-13_0_5_line_44 |  | 40 | 42 | 0.0175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2937-13_0_5_line_45 |  | 42 | 43 | 0.028693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2937-13_0_5_line_46 |  | 43 | 44 | 6.3307e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2937-13_0_5_line_47 |  | 44 | 57 | 0.007462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2937-13_0_5_line_48 |  | 45 | 46 | 0.0039608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2937-13_0_5_line_49 |  | 45 | 47 | 0.0016559 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2937-13_0_5_line_50 |  | 46 | 48 | 0.017667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_2937-13_0_5_line_51 |  | 47 | 49 | 0.11371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2937-13_0_5_line_52 |  | 48 | 52 | 0.00018407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2937-13_0_5_line_53 |  | 49 | 53 | 0.096054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2937-13_0_5_line_54 |  | 50 | 51 | 0.047603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2937-13_0_5_line_55 |  | 51 | 53 | 0.043608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_2937-13_0_5_line_56 |  | 52 | 56 | 0.022287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2937-13_0_5_line_57 |  | 53 | 54 | 0.12394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_2937-13_0_5_line_58 |  | 54 | 55 | 0.012631 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_2937-13_0_5_line_59 |  | 56 | 57 | 0.011944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_2937-13_0_5_line_60 |  | 58 | 62 | 0.027643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_2937-13_0_5_line_61 |  | 59 | 61 | 0.052136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_2937-13_0_5_line_62 |  | 60 | 72 | 0.01448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_2937-13_0_5_line_63 |  | 62 | 65 | 0.042855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_2937-13_0_5_line_64 |  | 63 | 64 | 0.0020486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_2937-13_0_5_line_65 |  | 64 | 66 | 0.0053225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_2937-13_0_5_line_66 |  | 66 | 67 | 0.0064037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_2937-13_0_5_line_67 |  | 67 | 68 | 0.014826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_2937-13_0_5_line_68 |  | 68 | 69 | 0.014793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_2937-13_0_5_line_69 |  | 69 | 70 | 0.0068137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_2937-13_0_5_line_70 |  | 70 | 71 | 0.010204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_2937-13_0_5_line_71 |  | 71 | 72 | 0.0070872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2937-13_0_5_trafo_42 | 0.63 MVA 20/0.4 kV | 73 | 30 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2689125.058 | 1281827.8666 | 2689153.1109 | 1281824.6768
1 | 2689125.058 | 1281827.8666 | 2689124.5844 | 1281808.0424 | 2689124.2432 | 1281797.2132
2 | 2689124.2432 | 1281797.2132 | 2689124.0466 | 1281790.9751 | 2689123.481 | 1281773.0367
3 | 2689122.9504 | 1281756.2064 | 2689123.481 | 1281773.0367
4 | 2689122.9504 | 1281756.2064 | 2689146.4428 | 1281746.832
5 | 2688928.4725 | 1281697.9299 | 2688929.2972 | 1281698.7753
6 | 2688944.0096 | 1281713.8569 | 2688929.2972 | 1281698.7753
7 | 2688916.3859 | 1281685.54 | 2688928.4725 | 1281697.9299
8 | 2688944.0096 | 1281713.8569 | 2688979.3232 | 1281749.0867
9 | 2688944.0096 | 1281713.8569 | 2688955.316 | 1281706.2504
10 | 2688913.0809 | 1281682.1521 | 2688916.3859 | 1281685.54
11 | 2688979.3232 | 1281749.0867 | 2688982.0556 | 1281747.1818 | 2688983.247 | 1281748.3564 | 2688987.007 | 1281749.5141 | 2688990.5412 | 1281749.2228 | 2688994.8994 | 1281747.0756 | 2689011.1655 | 1281738.4673
12 | 2688966.0792 | 1281699.0094 | 2688955.316 | 1281706.2504
13 | 2688913.0809 | 1281682.1521 | 2688902.8357 | 1281671.8781
14 | 2688913.0809 | 1281682.1521 | 2688906.523 | 1281688.2251 | 2688857.6187 | 1281736.9187
15 | 2689042.8634 | 1281719.4315 | 2689036.2287 | 1281723.6238 | 2689018.9663 | 1281734.339 | 2689011.1655 | 1281738.4673
16 | 2688966.0792 | 1281699.0094 | 2688975.8809 | 1281692.4152
17 | 2688900.8926 | 1281669.9295 | 2688902.8357 | 1281671.8781
18 | 2688857.6187 | 1281736.9187 | 2688827.5429 | 1281703.6479
19 | 2689042.8634 | 1281719.4315 | 2689044.9663 | 1281723.4
20 | 2689042.8634 | 1281719.4315 | 2689045.2063 | 1281717.9545
21 | 2688976.6919 | 1281691.8696 | 2688975.8809 | 1281692.4152
22 | 2688976.6919 | 1281691.8696 | 2688991.0789 | 1281682.1906
23 | 2688993.5175 | 1281680.55 | 2688991.0789 | 1281682.1906
24 | 2689044.9663 | 1281723.4 | 2689047.8137 | 1281728.7921 | 2689051.2457 | 1281735.2606 | 2689056.1057 | 1281746.1211 | 2689058.3746 | 1281751.1865
25 | 2689044.9663 | 1281723.4 | 2689047.4677 | 1281721.8698 | 2689049.9123 | 1281720.6279
26 | 2689044.9663 | 1281723.4 | 2689043.2758 | 1281724.442 | 2689032.5186 | 1281731.0142
27 | 2689045.2063 | 1281717.9545 | 2689044.6426 | 1281716.9896 | 2689036.2703 | 1281702.484 | 2689040.5227 | 1281699.8718
28 | 2689049.9123 | 1281720.6279 | 2689062.9337 | 1281713.4601
29 | 2689096.3356 | 1281695.0738 | 2689062.9337 | 1281713.4601
30 | 2689096.3356 | 1281695.0738 | 2689095.2471 | 1281691.065
31 | 2689095.2471 | 1281691.065 | 2689094.2581 | 1281687.4359 | 2689089.9168 | 1281672.0682 | 2689073.3391 | 1281629.5367 | 2689072.1362 | 1281627.7153
32 | 2689096.3356 | 1281695.0738 | 2689108.2452 | 1281688.715 | 2689111.9087 | 1281688.3145 | 2689115.2385 | 1281689.121 | 2689118.3835 | 1281691.7152 | 2689120.6527 | 1281695.1191 | 2689122.0264 | 1281700.6224
33 | 2689072.1362 | 1281627.7153 | 2689053.2633 | 1281599.1369
34 | 2689122.0264 | 1281700.6224 | 2689133.7796 | 1281697.3246
35 | 2689122.0264 | 1281700.6224 | 2689123.087 | 1281726.7168
36 | 2689122.0264 | 1281700.6224 | 2689120.6527 | 1281695.1191 | 2689118.3835 | 1281691.7152 | 2689115.2385 | 1281689.121 | 2689117.7783 | 1281680.5854 | 2689128.2776 | 1281645.336 | 2689179.0455 | 1281632.0033
37 | 2689179.0455 | 1281632.0033 | 2689185.7793 | 1281657.6156
38 | 2689179.0455 | 1281632.0033 | 2689175.8844 | 1281619.0554 | 2689171.8679 | 1281604.0614
39 | 2689192.7503 | 1281720.7092 | 2689194.0851 | 1281707.1287 | 2689194.0737 | 1281695.9745 | 2689192.716 | 1281684.9556 | 2689190.4644 | 1281675.4356 | 2689185.7793 | 1281657.6156
40 | 2689159.6467 | 1281563.959 | 2689167.1266 | 1281586.3616 | 2689171.8679 | 1281604.0614
41 | 2689133.7796 | 1281697.3246 | 2689150.0412 | 1281692.7618
42 | 2688900.8926 | 1281669.9295 | 2688898.0329 | 1281667.0618
43 | 2688827.5429 | 1281703.6479 | 2688812.3488 | 1281686.8396
44 | 2688885.6757 | 1281654.6698 | 2688898.0329 | 1281667.0618
45 | 2688885.6757 | 1281654.6698 | 2688869.0023 | 1281637.9496 | 2688865.2336 | 1281634.5427
46 | 2688865.2336 | 1281634.5427 | 2688865.1866 | 1281634.5003
47 | 2688865.1866 | 1281634.5003 | 2688870.5301 | 1281629.2763
48 | 2688910.6015 | 1281590.0959 | 2688907.7694 | 1281592.865
49 | 2688910.6015 | 1281590.0959 | 2688911.7855 | 1281588.9383
50 | 2688907.7694 | 1281592.865 | 2688895.1373 | 1281605.2162
51 | 2688911.7855 | 1281588.9383 | 2688849.9948 | 1281493.4836
52 | 2688895.1373 | 1281605.2162 | 2688895.0057 | 1281605.3449
53 | 2688769.0946 | 1281442.0432 | 2688771.7661 | 1281443.1844 | 2688776.9649 | 1281445.0754 | 2688849.9948 | 1281493.4836
54 | 2688783.9336 | 1281475.5398 | 2688824.0094 | 1281501.4211
55 | 2688769.0946 | 1281442.0432 | 2688765.4303 | 1281447.4705 | 2688768.2532 | 1281448.5361 | 2688776.122 | 1281454.1594 | 2688784.4339 | 1281464.271 | 2688784.1652 | 1281470.1387 | 2688784.0089 | 1281472.5384 | 2688783.9336 | 1281475.5398
56 | 2688879.0704 | 1281620.9258 | 2688895.0057 | 1281605.3449
57 | 2688769.0946 | 1281442.0432 | 2688785.0045 | 1281418.4291 | 2688790.0619 | 1281411.2658 | 2688796.2315 | 1281402.0619 | 2688809.3049 | 1281392.7508 | 2688816.4108 | 1281381.7262 | 2688821.9354 | 1281374.9591 | 2688838.1211 | 1281359.979 | 2688845.1151 | 1281356.3813 | 2688852.7406 | 1281354.7392
58 | 2688865.2203 | 1281356.918 | 2688852.7406 | 1281354.7392
59 | 2688870.5301 | 1281629.2763 | 2688879.0704 | 1281620.9258
60 | 2689191.2786 | 1281748.2937 | 2689191.6349 | 1281732.0575 | 2689192.7503 | 1281720.7092
61 | 2689159.6467 | 1281563.959 | 2689156.6586 | 1281555.0096 | 2689143.1811 | 1281514.491
62 | 2689160.4887 | 1281694.3332 | 2689159.7823 | 1281690.0285 | 2689150.0412 | 1281692.7618
63 | 2689190.3383 | 1281791.1388 | 2689191.2786 | 1281748.2937
64 | 2689148.3456 | 1281746.0728 | 2689146.4428 | 1281746.832
65 | 2689148.3456 | 1281746.0728 | 2689153.289 | 1281744.1001
66 | 2689153.289 | 1281744.1001 | 2689159.2367 | 1281741.7268
67 | 2689159.2367 | 1281741.7268 | 2689167.7102 | 1281738.3455 | 2689166.7868 | 1281732.7178
68 | 2689166.7868 | 1281732.7178 | 2689164.3916 | 1281718.12
69 | 2689164.3916 | 1281718.12 | 2689163.2884 | 1281711.3962
70 | 2689161.6362 | 1281701.3269 | 2689163.2884 | 1281711.3962
71 | 2689161.6362 | 1281701.3269 | 2689160.4887 | 1281694.3332

## bus_geodata
| x | y | coords
0 | 2689153.1109 | 1281824.6768
1 | 2689125.058 | 1281827.8666
2 | 2689124.2432 | 1281797.2132
3 | 2689123.481 | 1281773.0367
4 | 2689122.9504 | 1281756.2064
5 | 2688929.2972 | 1281698.7753
6 | 2688928.4725 | 1281697.9299
7 | 2688944.0096 | 1281713.8569
8 | 2688916.3859 | 1281685.54
9 | 2688979.3232 | 1281749.0867
10 | 2688955.316 | 1281706.2504
11 | 2688913.0809 | 1281682.1521
12 | 2689011.1655 | 1281738.4673
13 | 2688966.0792 | 1281699.0094
14 | 2688902.8357 | 1281671.8781
15 | 2688857.6187 | 1281736.9187
16 | 2689042.8634 | 1281719.4315
17 | 2688975.8809 | 1281692.4152
18 | 2688976.6919 | 1281691.8696
19 | 2688991.0789 | 1281682.1906
20 | 2688993.5175 | 1281680.55
21 | 2689044.9663 | 1281723.4
22 | 2689045.2063 | 1281717.9545
23 | 2689058.3746 | 1281751.1865
24 | 2689049.9123 | 1281720.6279
25 | 2689032.5186 | 1281731.0142
26 | 2689040.5227 | 1281699.8718
27 | 2689062.9337 | 1281713.4601
28 | 2689095.2471 | 1281691.065
29 | 2689096.3356 | 1281695.0738
30 | 2689072.1362 | 1281627.7153
31 | 2689122.0264 | 1281700.6224
32 | 2689179.0455 | 1281632.0033
33 | 2689185.7793 | 1281657.6156
34 | 2689171.8679 | 1281604.0614
35 | 2689133.7796 | 1281697.3246
36 | 2689123.087 | 1281726.7168
37 | 2689053.2633 | 1281599.1369
38 | 2688900.8926 | 1281669.9295
39 | 2688827.5429 | 1281703.6479
40 | 2688898.0329 | 1281667.0618
41 | 2688812.3488 | 1281686.8396
42 | 2688885.6757 | 1281654.6698
43 | 2688865.2336 | 1281634.5427
44 | 2688865.1866 | 1281634.5003
45 | 2688910.6015 | 1281590.0959
46 | 2688907.7694 | 1281592.865
47 | 2688911.7855 | 1281588.9383
48 | 2688895.1373 | 1281605.2162
49 | 2688849.9948 | 1281493.4836
50 | 2688824.0094 | 1281501.4211
51 | 2688783.9336 | 1281475.5398
52 | 2688895.0057 | 1281605.3449
53 | 2688769.0946 | 1281442.0432
54 | 2688852.7406 | 1281354.7392
55 | 2688865.2203 | 1281356.918
56 | 2688879.0704 | 1281620.9258
57 | 2688870.5301 | 1281629.2763
58 | 2689192.7503 | 1281720.7092
59 | 2689159.6467 | 1281563.959
60 | 2689150.0412 | 1281692.7618
61 | 2689143.1811 | 1281514.491
62 | 2689191.2786 | 1281748.2937
63 | 2689146.4428 | 1281746.832
64 | 2689148.3456 | 1281746.0728
65 | 2689190.3383 | 1281791.1388
66 | 2689153.289 | 1281744.1001
67 | 2689159.2367 | 1281741.7268
68 | 2689166.7868 | 1281732.7178
69 | 2689164.3916 | 1281718.12
70 | 2689163.2884 | 1281711.3962
71 | 2689161.6362 | 1281701.3269
72 | 2689160.4887 | 1281694.3332
73 | 2689049.5988 | 1281594.9647

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1