## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2937-14_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2937-14_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2937-14_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2937-14_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2937-14_0_4_node_7 | 0.4 | n |  | TRUE
5 | bus_LV_2937-14_0_4_node_10 | 0.4 | n |  | TRUE
6 | bus_LV_2937-14_0_4_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_2937-14_0_4_node_28 | 0.4 | n |  | TRUE
8 | bus_LV_2937-14_0_4_node_31 | 0.4 | n |  | TRUE
9 | bus_LV_2937-14_0_4_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_2937-14_0_4_node_30 | 0.4 | n |  | TRUE
11 | bus_LV_2937-14_0_4_node_29 | 0.4 | n |  | TRUE
12 | bus_LV_2937-14_0_4_node_6 | 0.4 | n |  | TRUE
13 | bus_LV_2937-14_0_4_node_27 | 0.4 | n |  | TRUE
14 | bus_LV_2937-14_0_4_node_23 | 0.4 | n |  | TRUE
15 | bus_LV_2937-14_0_4_node_60 | 0.4 | n |  | TRUE
16 | bus_LV_2937-14_0_4_node_9 | 0.4 | n |  | TRUE
17 | bus_LV_2937-14_0_4_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_2937-14_0_4_node_25 | 0.4 | n |  | TRUE
19 | bus_LV_2937-14_0_4_node_24 | 0.4 | n |  | TRUE
20 | bus_LV_2937-14_0_4_node_12 | 0.4 | n |  | TRUE
21 | bus_LV_2937-14_0_4_node_15 | 0.4 | n |  | TRUE
22 | bus_LV_2937-14_0_4_node_14 | 0.4 | n |  | TRUE
23 | bus_LV_2937-14_0_4_node_18 | 0.4 | n |  | TRUE
24 | bus_LV_2937-14_0_4_node_48 | 0.4 | n |  | TRUE
25 | bus_LV_2937-14_0_4_node_20 | 0.4 | n |  | TRUE
26 | bus_LV_2937-14_0_4_node_34 | 0.4 | n |  | TRUE
27 | bus_LV_2937-14_0_4_node_16 | 0.4 | n |  | TRUE
28 | bus_LV_2937-14_0_4_node_17 | 0.4 | n |  | TRUE
29 | bus_LV_2937-14_0_4_node_58 | 0.4 | n |  | TRUE
30 | bus_LV_2937-14_0_4_node_57 | 0.4 | n |  | TRUE
31 | bus_LV_2937-14_0_4_node_61 | 0.4 | n |  | TRUE
32 | bus_LV_2937-14_0_4_node_21 | 0.4 | n |  | TRUE
33 | bus_LV_2937-14_0_4_node_19 | 0.4 | n |  | TRUE
34 | bus_LV_2937-14_0_4_node_22 | 0.4 | n |  | TRUE
35 | bus_LV_2937-14_0_4_node_52 | 0.4 | n |  | TRUE
36 | bus_LV_2937-14_0_4_node_35 | 0.4 | n |  | TRUE
37 | bus_LV_2937-14_0_4_node_51 | 0.4 | n |  | TRUE
38 | bus_LV_2937-14_0_4_node_47 | 0.4 | n |  | TRUE
39 | bus_LV_2937-14_0_4_node_49 | 0.4 | n |  | TRUE
40 | bus_LV_2937-14_0_4_node_32 | 0.4 | n |  | TRUE
41 | bus_LV_2937-14_0_4_node_33 | 0.4 | n |  | TRUE
42 | bus_LV_2937-14_0_4_node_26 | 0.4 | n |  | TRUE
43 | bus_LV_2937-14_0_4_node_62 | 0.4 | n |  | TRUE
44 | bus_LV_2937-14_0_4_node_36 | 0.4 | n |  | TRUE
45 | bus_LV_2937-14_0_4_node_38 | 0.4 | n |  | TRUE
46 | bus_LV_2937-14_0_4_node_41 | 0.4 | n |  | TRUE
47 | bus_LV_2937-14_0_4_node_39 | 0.4 | n |  | TRUE
48 | bus_LV_2937-14_0_4_node_43 | 0.4 | n |  | TRUE
49 | bus_LV_2937-14_0_4_node_54 | 0.4 | n |  | TRUE
50 | bus_LV_2937-14_0_4_node_42 | 0.4 | n |  | TRUE
51 | bus_LV_2937-14_0_4_node_53 | 0.4 | n |  | TRUE
52 | bus_LV_2937-14_0_4_node_44 | 0.4 | n |  | TRUE
53 | bus_LV_2937-14_0_4_node_45 | 0.4 | n |  | TRUE
54 | bus_LV_2937-14_0_4_node_46 | 0.4 | n |  | TRUE
55 | bus_LV_2937-14_0_4_node_55 | 0.4 | n |  | TRUE
56 | bus_LV_2937-14_0_4_node_56 | 0.4 | n |  | TRUE
57 | bus_LV_2937-14_0_4_node_50 | 0.4 | n |  | TRUE
58 | bus_LV_2937-14_0_4_node_59 | 0.4 | n |  | TRUE
59 | bus_MV_554_0_node_0 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2937-14_0_4_load_0 | 0 | 0.0059916 | 0.0015016 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2937-14_0_4_load_10 | 5 | 0.00049256 | 0.00012345 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2937-14_0_4_load_28 | 7 | 0.0042579 | 0.0010671 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2937-14_0_4_load_31 | 8 | 0.001043 | 0.0002614 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2937-14_0_4_load_30 | 10 | 0.0058272 | 0.0014604 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2937-14_0_4_load_29 | 11 | 0.0056807 | 0.0014237 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2937-14_0_4_load_27 | 13 | 0.0062944 | 0.0015775 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2937-14_0_4_load_23 | 14 | 0.002425 | 0.00060775 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2937-14_0_4_load_60 | 15 | 0.00047457 | 0.00011894 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2937-14_0_4_load_11 | 17 | 0.0047193 | 0.0011828 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2937-14_0_4_load_25 | 18 | 0.00098977 | 0.00024806 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2937-14_0_4_load_48 | 24 | 0.029427 | 0.007375 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2937-14_0_4_load_34 | 26 | 0.0013133 | 0.00032914 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2937-14_0_4_load_58 | 29 | 0.00070063 | 0.00017559 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2937-14_0_4_load_57 | 30 | 0.0037493 | 0.00093967 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2937-14_0_4_load_61 | 31 | 0.0096718 | 0.002424 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2937-14_0_4_load_52 | 35 | 0.0042881 | 0.0010747 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2937-14_0_4_load_51 | 37 | 0.00515 | 0.0012907 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2937-14_0_4_load_47 | 38 | 0.02776 | 0.0069572 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2937-14_0_4_load_49 | 39 | 0.096339 | 0.024145 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2937-14_0_4_load_32 | 40 | 0.0056365 | 0.0014126 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2937-14_0_4_load_33 | 41 | 0.0036479 | 0.00091426 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2937-14_0_4_load_62 | 43 | 0.0035831 | 0.00089802 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2937-14_0_4_load_36 | 44 | 0.0035225 | 0.00088281 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2937-14_0_4_load_41 | 46 | 0.047507 | 0.011906 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2937-14_0_4_load_39 | 47 | 0.0012905 | 0.00032343 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2937-14_0_4_load_43 | 48 | 0.00085051 | 0.00021316 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2937-14_0_4_load_54 | 49 | 0.011599 | 0.0029071 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2937-14_0_4_load_42 | 50 | 0.001001 | 0.00025088 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2937-14_0_4_load_53 | 51 | 0.018899 | 0.0047364 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2937-14_0_4_load_45 | 53 | 0.002492 | 0.00062456 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2937-14_0_4_load_46 | 54 | 0.019147 | 0.0047988 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2937-14_0_4_load_56 | 56 | 0.0073716 | 0.0018475 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2937-14_0_4_load_59 | 58 | 0.08685 | 0.021767 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 39 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2937-14_0_4_line_0 |  | 0 | 1 | 0.038793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2937-14_0_4_line_1 |  | 0 | 2 | 0.018111 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2937-14_0_4_line_2 |  | 1 | 3 | 0.10137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2937-14_0_4_line_3 |  | 1 | 4 | 0.20248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
4 | LV_2937-14_0_4_line_4 |  | 2 | 5 | 0.004948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2937-14_0_4_line_5 |  | 3 | 6 | 0.080207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2937-14_0_4_line_6 |  | 3 | 7 | 0.032856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2937-14_0_4_line_7 |  | 4 | 15 | 0.12145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
8 | LV_2937-14_0_4_line_8 |  | 5 | 16 | 0.010155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2937-14_0_4_line_9 |  | 6 | 8 | 0.034126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2937-14_0_4_line_10 |  | 8 | 18 | 0.016715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2937-14_0_4_line_11 |  | 9 | 10 | 0.00132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2937-14_0_4_line_12 |  | 9 | 11 | 0.012001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2937-14_0_4_line_13 |  | 11 | 13 | 0.027369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2937-14_0_4_line_14 |  | 12 | 13 | 0.0085344 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2937-14_0_4_line_15 |  | 12 | 14 | 0.01143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2937-14_0_4_line_16 |  | 14 | 19 | 0.010781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2937-14_0_4_line_17 |  | 15 | 20 | 0.019002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
18 | LV_2937-14_0_4_line_18 |  | 16 | 17 | 0.017769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2937-14_0_4_line_19 |  | 18 | 19 | 0.0094599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2937-14_0_4_line_20 |  | 19 | 42 | 0.007832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2937-14_0_4_line_21 |  | 20 | 21 | 0.42119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
22 | LV_2937-14_0_4_line_22 |  | 21 | 25 | 0.17066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2937-14_0_4_line_23 |  | 21 | 26 | 0.017866 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
24 | LV_2937-14_0_4_line_24 |  | 22 | 23 | 0.022023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
25 | LV_2937-14_0_4_line_25 |  | 22 | 24 | 0.029683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
26 | LV_2937-14_0_4_line_26 |  | 23 | 31 | 0.049395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2937-14_0_4_line_27 |  | 23 | 32 | 0.054636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
28 | LV_2937-14_0_4_line_28 |  | 24 | 39 | 0.034927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
29 | LV_2937-14_0_4_line_29 |  | 25 | 30 | 0.0043568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2937-14_0_4_line_30 |  | 26 | 40 | 0.00062318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
31 | LV_2937-14_0_4_line_31 |  | 27 | 28 | 0.10678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2937-14_0_4_line_32 |  | 27 | 29 | 0.093364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2937-14_0_4_line_33 |  | 28 | 30 | 0.20175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2937-14_0_4_line_34 |  | 32 | 36 | 0.002299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
35 | LV_2937-14_0_4_line_35 |  | 32 | 37 | 0.022273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2937-14_0_4_line_36 |  | 33 | 34 | 0.037716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2937-14_0_4_line_37 |  | 33 | 35 | 0.0093632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2937-14_0_4_line_38 |  | 34 | 38 | 0.044275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2937-14_0_4_line_39 |  | 35 | 37 | 0.011084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2937-14_0_4_line_40 |  | 36 | 41 | 0.0068998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
41 | LV_2937-14_0_4_line_41 |  | 39 | 57 | 0.06694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
42 | LV_2937-14_0_4_line_42 |  | 40 | 41 | 0.0055665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
43 | LV_2937-14_0_4_line_43 |  | 42 | 43 | 0.009183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2937-14_0_4_line_44 |  | 44 | 45 | 0.17532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2937-14_0_4_line_45 |  | 45 | 46 | 0.015728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2937-14_0_4_line_46 |  | 46 | 49 | 0.017271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2937-14_0_4_line_47 |  | 47 | 48 | 0.022124 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2937-14_0_4_line_48 |  | 48 | 50 | 0.022279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2937-14_0_4_line_49 |  | 49 | 51 | 0.0074878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2937-14_0_4_line_50 |  | 50 | 52 | 0.016445 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_2937-14_0_4_line_51 |  | 51 | 57 | 0.020935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2937-14_0_4_line_52 |  | 52 | 53 | 0.04463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2937-14_0_4_line_53 |  | 52 | 54 | 0.036955 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2937-14_0_4_line_54 |  | 54 | 55 | 0.036449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2937-14_0_4_line_55 |  | 55 | 56 | 0.045938 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_2937-14_0_4_line_56 |  | 55 | 57 | 0.020473 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2937-14_0_4_line_57 |  | 56 | 58 | 0.0095301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2937-14_0_4_trafo_49 | 0.63 MVA 20/0.4 kV | 59 | 39 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27 | x28 | y28 | x29 | y29
0 | 2688745.8185 | 1282811.4602 | 2688750.3755 | 1282821.4819 | 2688755.2159 | 1282828.1383 | 2688768.6042 | 1282834.0895 | 2688772.444 | 1282837.1378
1 | 2688784.8642 | 1282850.2816 | 2688774.273 | 1282838.5898 | 2688772.444 | 1282837.1378
2 | 2688702.7314 | 1282878.9256 | 2688711.4926 | 1282882.5049 | 2688714.0064 | 1282878.6172 | 2688718.9274 | 1282873.4423 | 2688725.8642 | 1282864.0497 | 2688729.9026 | 1282853.1678 | 2688732.6375 | 1282829.6219 | 2688732.4676 | 1282816.4747 | 2688733.7179 | 1282811.7339 | 2688737.2381 | 1282808.3395 | 2688741.4035 | 1282807.4681 | 2688745.8185 | 1282811.4602
3 | 2688745.8185 | 1282811.4602 | 2688761.5469 | 1282810.1181 | 2688761.3627 | 1282806.401 | 2688772.6673 | 1282805.1368 | 2688784.2987 | 1282803.6106 | 2688800.3458 | 1282802.051 | 2688800.1786 | 1282795.2092 | 2688800.8717 | 1282787.0904 | 2688802.3765 | 1282769.4534 | 2688807.1897 | 1282746.5395 | 2688813.8237 | 1282724.3758 | 2688819.4726 | 1282714.7638 | 2688827.0245 | 1282709.9178 | 2688833.7025 | 1282704.7584 | 2688841.1229 | 1282696.1851 | 2688843.0505 | 1282692.8446 | 2688852.1024 | 1282674.176
4 | 2688784.8642 | 1282850.2816 | 2688788.8815 | 1282853.1702
5 | 2688702.7314 | 1282878.9256 | 2688711.4926 | 1282882.5049 | 2688711.1354 | 1282888.7716 | 2688712.0955 | 1282902.2977 | 2688712.048 | 1282915.4195 | 2688710.6624 | 1282927.6536 | 2688705.8157 | 1282945.3515 | 2688702.7679 | 1282951.789
6 | 2688702.7314 | 1282878.9256 | 2688697.1567 | 1282865.1854 | 2688695.4177 | 1282847.241
7 | 2688852.1024 | 1282674.176 | 2688854.9597 | 1282677.3996 | 2688853.4848 | 1282702.9995 | 2688854.0903 | 1282709.6477 | 2688854.2658 | 1282720.4152 | 2688852.4422 | 1282735.7787 | 2688853.9324 | 1282759.4438 | 2688853.0714 | 1282771.2188 | 2688849.414 | 1282785.6984 | 2688845.4911 | 1282792.8192
8 | 2688797.7904 | 1282857.9941 | 2688790.725 | 1282854.4958 | 2688788.8815 | 1282853.1702
9 | 2688702.7679 | 1282951.789 | 2688699.6272 | 1282958.4141 | 2688692.0812 | 1282970.3776 | 2688687.4454 | 1282982.1468
10 | 2688687.4454 | 1282982.1468 | 2688682.0571 | 1282995.8266 | 2688680.9533 | 1282997.5088
11 | 2688733.2963 | 1283022.1425 | 2688732.9903 | 1283023.4265
12 | 2688733.2963 | 1283022.1425 | 2688725.6483 | 1283019.4473 | 2688721.9025 | 1283018.39
13 | 2688721.9025 | 1283018.39 | 2688717.264 | 1283027.7505 | 2688702.1916 | 1283020.0571
14 | 2688694.5901 | 1283016.1771 | 2688702.1916 | 1283020.0571
15 | 2688694.5901 | 1283016.1771 | 2688689.6302 | 1283015.4686 | 2688685.6511 | 1283013.4514 | 2688684.1308 | 1283012.2162
16 | 2688675.7633 | 1283005.4179 | 2688684.1308 | 1283012.2162
17 | 2688837.9537 | 1282810.2246 | 2688842.852 | 1282797.6098 | 2688845.4911 | 1282792.8192
18 | 2688797.7904 | 1282857.9941 | 2688796.2858 | 1282861.1742 | 2688787.2852 | 1282872.2225
19 | 2688675.7633 | 1283005.4179 | 2688680.9533 | 1282997.5088
20 | 2688670.8244 | 1282999.3273 | 2688675.7633 | 1283005.4179
21 | 2688837.9537 | 1282810.2246 | 2688836.6003 | 1282817.3215 | 2688836.7816 | 1282824.219 | 2688838.6661 | 1282831.6983 | 2688844.3877 | 1282844.6402 | 2688846.6464 | 1282851.2021 | 2688846.3809 | 1282856.3581 | 2688845.6937 | 1282872.5506 | 2688845.3539 | 1282880.6414 | 2688842.6164 | 1282888.8961 | 2688834.0417 | 1282901.8337 | 2688820.4655 | 1282920.3006 | 2688813.0866 | 1282933.612 | 2688803.7745 | 1282958.1151 | 2688798.4977 | 1282983.9024 | 2688797.5742 | 1283000.8364 | 2688799.2788 | 1283018.7554 | 2688807.7564 | 1283054.5696 | 2688813.9783 | 1283074.158 | 2688822.8849 | 1283095.9555 | 2688832.9561 | 1283115.2016 | 2688836.3783 | 1283112.3174 | 2688838.2014 | 1283114.9027 | 2688842.5698 | 1283115.4912 | 2688857.2741 | 1283117.7815 | 2688871.5284 | 1283120.5321 | 2688887.0839 | 1283121.6342 | 2688911.9051 | 1283125.2005 | 2688923.2219 | 1283127.0728 | 2688923.6391 | 1283129.7703
22 | 2688923.6391 | 1283129.7703 | 2688923.2219 | 1283127.0728 | 2688911.9051 | 1283125.2005 | 2688887.0839 | 1283121.6342 | 2688871.5284 | 1283120.5321 | 2688870.5487 | 1283122.7637 | 2688869.5847 | 1283126.4412 | 2688869.2654 | 1283130.6845 | 2688869.8923 | 1283135.4092 | 2688871.0593 | 1283140.1753 | 2688873.942 | 1283146.1795 | 2688877.2845 | 1283151.0675 | 2688882.6614 | 1283157.9656 | 2688889.6223 | 1283165.377 | 2688902.5804 | 1283177.3939 | 2688912.9253 | 1283186.4355 | 2688925.2309 | 1283194.4169 | 2688940.8928 | 1283203.3832
23 | 2688923.6391 | 1283129.7703 | 2688925.4748 | 1283134.5021 | 2688937.9664 | 1283137.2538
24 | 2688951.522 | 1283084.7187 | 2688955.6666 | 1283082.7351 | 2688965.51 | 1283097.1517
25 | 2688951.522 | 1283084.7187 | 2688937.0476 | 1283058.8038
26 | 2688998.8086 | 1283100.1902 | 2688989.3901 | 1283081.5097 | 2688965.51 | 1283097.1517
27 | 2688951.0145 | 1283132.7415 | 2688956.3865 | 1283125.0492 | 2688966.9314 | 1283127.3214 | 2688964.629 | 1283111.2394 | 2688959.8224 | 1283100.8802 | 2688965.51 | 1283097.1517
28 | 2688937.0476 | 1283058.8038 | 2688921.5041 | 1283030.975 | 2688920.3614 | 1283028.1459
29 | 2688940.8928 | 1283203.3832 | 2688937.8641 | 1283200.2513
30 | 2688938.575 | 1283137.3878 | 2688937.9664 | 1283137.2538
31 | 2688797.1245 | 1282930.5578 | 2688812.7407 | 1282952.5676 | 2688815.8948 | 1282959.51 | 2688830.5653 | 1282988.9565 | 2688833.3931 | 1282996.1164 | 2688837.1637 | 1283002.0006 | 2688839.6591 | 1283006.3086 | 2688842.9819 | 1283013.0089 | 2688846.6217 | 1283024.5737
32 | 2688797.1245 | 1282930.5578 | 2688763.2257 | 1282884.0739 | 2688762.8719 | 1282883.6348 | 2688762.3337 | 1282882.9706 | 2688750.8645 | 1282867.7626 | 2688743.3504 | 1282857.663 | 2688741.4599 | 1282855.6289
33 | 2688846.6217 | 1283024.5737 | 2688853.9539 | 1283061.6385 | 2688859.5755 | 1283079.2051 | 2688864.8823 | 1283093.2416 | 2688872.0784 | 1283110.4539 | 2688879.9481 | 1283125.808 | 2688885.3973 | 1283135.3874 | 2688891.7623 | 1283144.9694 | 2688920.6366 | 1283182.4373 | 2688937.8641 | 1283200.2513
34 | 2688949.6278 | 1283134.5777 | 2688951.0145 | 1283132.7415
35 | 2688951.0145 | 1283132.7415 | 2688972.8263 | 1283137.2512
36 | 2688992.5017 | 1283142.4204 | 2688993.3798 | 1283133.0033 | 2689008.3327 | 1283136.2208 | 2689014.1132 | 1283137.2756 | 2689014.9479 | 1283130.2377
37 | 2688992.5017 | 1283142.4204 | 2688988.4989 | 1283140.4917 | 2688983.6808 | 1283139.4955
38 | 2689014.9479 | 1283130.2377 | 2689015.2848 | 1283127.318 | 2689019.2933 | 1283088.634 | 2689019.6907 | 1283086.2212
39 | 2688972.8263 | 1283137.2512 | 2688983.6808 | 1283139.4955
40 | 2688949.6278 | 1283134.5777 | 2688944.0111 | 1283138.5853
41 | 2688895.2352 | 1282966.1005 | 2688897.2786 | 1282971.0022 | 2688920.3614 | 1283028.1459
42 | 2688944.0111 | 1283138.5853 | 2688938.575 | 1283137.3878
43 | 2688670.8244 | 1282999.3273 | 2688667.4819 | 1283007.8844
44 | 2688950.6792 | 1282939.6695 | 2688940.4676 | 1282895.4106 | 2688937.3495 | 1282871.1759 | 2688934.0957 | 1282820.1272 | 2688938.5121 | 1282784.7299 | 2688942.9681 | 1282766.6266
45 | 2688950.6792 | 1282939.6695 | 2688936.4815 | 1282946.4378
46 | 2688936.4815 | 1282946.4378 | 2688920.8915 | 1282953.8698
47 | 2688900.5373 | 1282836.6755 | 2688904.341 | 1282814.8809
48 | 2688896.707 | 1282858.6229 | 2688900.5373 | 1282836.6755
49 | 2688914.1324 | 1282957.0919 | 2688920.8915 | 1282953.8698
50 | 2688893.8797 | 1282874.8234 | 2688896.707 | 1282858.6229
51 | 2688895.2352 | 1282966.1005 | 2688914.1324 | 1282957.0919
52 | 2688893.8797 | 1282874.8234 | 2688923.8861 | 1282879.1686 | 2688924.5105 | 1282893.4652
53 | 2688893.8797 | 1282874.8234 | 2688890.4059 | 1282904.4967 | 2688889.0064 | 1282911.4361
54 | 2688887.6532 | 1282947.092 | 2688884.5544 | 1282933.5113 | 2688889.0064 | 1282911.4361
55 | 2688887.6532 | 1282947.092 | 2688880.8869 | 1282946.6674 | 2688876.4118 | 1282949.1576 | 2688873.3665 | 1282955.4171 | 2688872.5219 | 1282973.0752 | 2688872.5441 | 1282982.4732
56 | 2688887.6532 | 1282947.092 | 2688890.0806 | 1282953.9122 | 2688895.2352 | 1282966.1005
57 | 2688872.5667 | 1282992.0033 | 2688872.5441 | 1282982.4732

## bus_geodata
| x | y | coords
0 | 2688772.444 | 1282837.1378
1 | 2688745.8185 | 1282811.4602
2 | 2688784.8642 | 1282850.2816
3 | 2688702.7314 | 1282878.9256
4 | 2688852.1024 | 1282674.176
5 | 2688788.8815 | 1282853.1702
6 | 2688702.7679 | 1282951.789
7 | 2688695.4177 | 1282847.241
8 | 2688687.4454 | 1282982.1468
9 | 2688733.2963 | 1283022.1425
10 | 2688732.9903 | 1283023.4265
11 | 2688721.9025 | 1283018.39
12 | 2688694.5901 | 1283016.1771
13 | 2688702.1916 | 1283020.0571
14 | 2688684.1308 | 1283012.2162
15 | 2688845.4911 | 1282792.8192
16 | 2688797.7904 | 1282857.9941
17 | 2688787.2852 | 1282872.2225
18 | 2688680.9533 | 1282997.5088
19 | 2688675.7633 | 1283005.4179
20 | 2688837.9537 | 1282810.2246
21 | 2688923.6391 | 1283129.7703
22 | 2688951.522 | 1283084.7187
23 | 2688965.51 | 1283097.1517
24 | 2688937.0476 | 1283058.8038
25 | 2688940.8928 | 1283203.3832
26 | 2688937.9664 | 1283137.2538
27 | 2688797.1245 | 1282930.5578
28 | 2688846.6217 | 1283024.5737
29 | 2688741.4599 | 1282855.6289
30 | 2688937.8641 | 1283200.2513
31 | 2688998.8086 | 1283100.1903
32 | 2688951.0145 | 1283132.7415
33 | 2688992.5017 | 1283142.4204
34 | 2689014.9479 | 1283130.2377
35 | 2688983.6808 | 1283139.4955
36 | 2688949.6278 | 1283134.5777
37 | 2688972.8263 | 1283137.2512
38 | 2689019.6907 | 1283086.2212
39 | 2688920.3614 | 1283028.1459
40 | 2688938.575 | 1283137.3878
41 | 2688944.0111 | 1283138.5853
42 | 2688670.8244 | 1282999.3273
43 | 2688667.4819 | 1283007.8844
44 | 2688942.9681 | 1282766.6266
45 | 2688950.6792 | 1282939.6695
46 | 2688936.4815 | 1282946.4378
47 | 2688904.341 | 1282814.8809
48 | 2688900.5373 | 1282836.6755
49 | 2688920.8915 | 1282953.8698
50 | 2688896.707 | 1282858.6229
51 | 2688914.1324 | 1282957.0919
52 | 2688893.8797 | 1282874.8234
53 | 2688924.5105 | 1282893.4652
54 | 2688889.0064 | 1282911.4361
55 | 2688887.6532 | 1282947.092
56 | 2688872.5441 | 1282982.4732
57 | 2688895.2352 | 1282966.1005
58 | 2688872.5667 | 1282992.0033
59 | 2688938.8607 | 1283062.0501

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1