## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2937-20_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2937-20_0_4_node_16 | 0.4 | n |  | TRUE
2 | bus_LV_2937-20_0_4_node_110 | 0.4 | n |  | TRUE
3 | bus_LV_2937-20_0_4_node_14 | 0.4 | n |  | TRUE
4 | bus_LV_2937-20_0_4_node_1 | 0.4 | n |  | TRUE
5 | bus_LV_2937-20_0_4_node_2 | 0.4 | n |  | TRUE
6 | bus_LV_2937-20_0_4_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_2937-20_0_4_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_2937-20_0_4_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_2937-20_0_4_node_8 | 0.4 | n |  | TRUE
10 | bus_LV_2937-20_0_4_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_2937-20_0_4_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_2937-20_0_4_node_79 | 0.4 | n |  | TRUE
13 | bus_LV_2937-20_0_4_node_87 | 0.4 | n |  | TRUE
14 | bus_LV_2937-20_0_4_node_34 | 0.4 | n |  | TRUE
15 | bus_LV_2937-20_0_4_node_80 | 0.4 | n |  | TRUE
16 | bus_LV_2937-20_0_4_node_88 | 0.4 | n |  | TRUE
17 | bus_LV_2937-20_0_4_node_33 | 0.4 | n |  | TRUE
18 | bus_LV_2937-20_0_4_node_10 | 0.4 | n |  | TRUE
19 | bus_LV_2937-20_0_4_node_11 | 0.4 | n |  | TRUE
20 | bus_LV_2937-20_0_4_node_12 | 0.4 | n |  | TRUE
21 | bus_LV_2937-20_0_4_node_13 | 0.4 | n |  | TRUE
22 | bus_LV_2937-20_0_4_node_15 | 0.4 | n |  | TRUE
23 | bus_LV_2937-20_0_4_node_17 | 0.4 | n |  | TRUE
24 | bus_LV_2937-20_0_4_node_90 | 0.4 | n |  | TRUE
25 | bus_LV_2937-20_0_4_node_113 | 0.4 | n |  | TRUE
26 | bus_LV_2937-20_0_4_node_89 | 0.4 | n |  | TRUE
27 | bus_LV_2937-20_0_4_node_111 | 0.4 | n |  | TRUE
28 | bus_LV_2937-20_0_4_node_18 | 0.4 | n |  | TRUE
29 | bus_LV_2937-20_0_4_node_19 | 0.4 | n |  | TRUE
30 | bus_LV_2937-20_0_4_node_20 | 0.4 | n |  | TRUE
31 | bus_LV_2937-20_0_4_node_21 | 0.4 | n |  | TRUE
32 | bus_LV_2937-20_0_4_node_22 | 0.4 | n |  | TRUE
33 | bus_LV_2937-20_0_4_node_24 | 0.4 | n |  | TRUE
34 | bus_LV_2937-20_0_4_node_60 | 0.4 | n |  | TRUE
35 | bus_LV_2937-20_0_4_node_57 | 0.4 | n |  | TRUE
36 | bus_LV_2937-20_0_4_node_61 | 0.4 | n |  | TRUE
37 | bus_LV_2937-20_0_4_node_62 | 0.4 | n |  | TRUE
38 | bus_LV_2937-20_0_4_node_56 | 0.4 | n |  | TRUE
39 | bus_LV_2937-20_0_4_node_25 | 0.4 | n |  | TRUE
40 | bus_LV_2937-20_0_4_node_26 | 0.4 | n |  | TRUE
41 | bus_LV_2937-20_0_4_node_27 | 0.4 | n |  | TRUE
42 | bus_LV_2937-20_0_4_node_28 | 0.4 | n |  | TRUE
43 | bus_LV_2937-20_0_4_node_29 | 0.4 | n |  | TRUE
44 | bus_LV_2937-20_0_4_node_30 | 0.4 | n |  | TRUE
45 | bus_LV_2937-20_0_4_node_31 | 0.4 | n |  | TRUE
46 | bus_LV_2937-20_0_4_node_35 | 0.4 | n |  | TRUE
47 | bus_LV_2937-20_0_4_node_36 | 0.4 | n |  | TRUE
48 | bus_LV_2937-20_0_4_node_32 | 0.4 | n |  | TRUE
49 | bus_LV_2937-20_0_4_node_37 | 0.4 | n |  | TRUE
50 | bus_LV_2937-20_0_4_node_38 | 0.4 | n |  | TRUE
51 | bus_LV_2937-20_0_4_node_39 | 0.4 | n |  | TRUE
52 | bus_LV_2937-20_0_4_node_40 | 0.4 | n |  | TRUE
53 | bus_LV_2937-20_0_4_node_41 | 0.4 | n |  | TRUE
54 | bus_LV_2937-20_0_4_node_45 | 0.4 | n |  | TRUE
55 | bus_LV_2937-20_0_4_node_42 | 0.4 | n |  | TRUE
56 | bus_LV_2937-20_0_4_node_43 | 0.4 | n |  | TRUE
57 | bus_LV_2937-20_0_4_node_44 | 0.4 | n |  | TRUE
58 | bus_LV_2937-20_0_4_node_46 | 0.4 | n |  | TRUE
59 | bus_LV_2937-20_0_4_node_85 | 0.4 | n |  | TRUE
60 | bus_LV_2937-20_0_4_node_86 | 0.4 | n |  | TRUE
61 | bus_LV_2937-20_0_4_node_55 | 0.4 | n |  | TRUE
62 | bus_LV_2937-20_0_4_node_84 | 0.4 | n |  | TRUE
63 | bus_LV_2937-20_0_4_node_69 | 0.4 | n |  | TRUE
64 | bus_LV_2937-20_0_4_node_54 | 0.4 | n |  | TRUE
65 | bus_LV_2937-20_0_4_node_47 | 0.4 | n |  | TRUE
66 | bus_LV_2937-20_0_4_node_48 | 0.4 | n |  | TRUE
67 | bus_LV_2937-20_0_4_node_49 | 0.4 | n |  | TRUE
68 | bus_LV_2937-20_0_4_node_50 | 0.4 | n |  | TRUE
69 | bus_LV_2937-20_0_4_node_51 | 0.4 | n |  | TRUE
70 | bus_LV_2937-20_0_4_node_52 | 0.4 | n |  | TRUE
71 | bus_LV_2937-20_0_4_node_53 | 0.4 | n |  | TRUE
72 | bus_LV_2937-20_0_4_node_99 | 0.4 | n |  | TRUE
73 | bus_LV_2937-20_0_4_node_101 | 0.4 | n |  | TRUE
74 | bus_LV_2937-20_0_4_node_63 | 0.4 | n |  | TRUE
75 | bus_LV_2937-20_0_4_node_109 | 0.4 | n |  | TRUE
76 | bus_LV_2937-20_0_4_node_108 | 0.4 | n |  | TRUE
77 | bus_LV_2937-20_0_4_node_64 | 0.4 | n |  | TRUE
78 | bus_LV_2937-20_0_4_node_65 | 0.4 | n |  | TRUE
79 | bus_LV_2937-20_0_4_node_66 | 0.4 | n |  | TRUE
80 | bus_LV_2937-20_0_4_node_67 | 0.4 | n |  | TRUE
81 | bus_LV_2937-20_0_4_node_68 | 0.4 | n |  | TRUE
82 | bus_LV_2937-20_0_4_node_71 | 0.4 | n |  | TRUE
83 | bus_LV_2937-20_0_4_node_70 | 0.4 | n |  | TRUE
84 | bus_LV_2937-20_0_4_node_75 | 0.4 | n |  | TRUE
85 | bus_LV_2937-20_0_4_node_72 | 0.4 | n |  | TRUE
86 | bus_LV_2937-20_0_4_node_98 | 0.4 | n |  | TRUE
87 | bus_LV_2937-20_0_4_node_77 | 0.4 | n |  | TRUE
88 | bus_LV_2937-20_0_4_node_73 | 0.4 | n |  | TRUE
89 | bus_LV_2937-20_0_4_node_74 | 0.4 | n |  | TRUE
90 | bus_LV_2937-20_0_4_node_76 | 0.4 | n |  | TRUE
91 | bus_LV_2937-20_0_4_node_92 | 0.4 | n |  | TRUE
92 | bus_LV_2937-20_0_4_node_91 | 0.4 | n |  | TRUE
93 | bus_LV_2937-20_0_4_node_81 | 0.4 | n |  | TRUE
94 | bus_LV_2937-20_0_4_node_82 | 0.4 | n |  | TRUE
95 | bus_LV_2937-20_0_4_node_83 | 0.4 | n |  | TRUE
96 | bus_LV_2937-20_0_4_node_93 | 0.4 | n |  | TRUE
97 | bus_LV_2937-20_0_4_node_94 | 0.4 | n |  | TRUE
98 | bus_LV_2937-20_0_4_node_95 | 0.4 | n |  | TRUE
99 | bus_LV_2937-20_0_4_node_96 | 0.4 | n |  | TRUE
100 | bus_LV_2937-20_0_4_node_97 | 0.4 | n |  | TRUE
101 | bus_LV_2937-20_0_4_node_100 | 0.4 | n |  | TRUE
102 | bus_LV_2937-20_0_4_node_103 | 0.4 | n |  | TRUE
103 | bus_LV_2937-20_0_4_node_102 | 0.4 | n |  | TRUE
104 | bus_LV_2937-20_0_4_node_104 | 0.4 | n |  | TRUE
105 | bus_LV_2937-20_0_4_node_105 | 0.4 | n |  | TRUE
106 | bus_LV_2937-20_0_4_node_106 | 0.4 | n |  | TRUE
107 | bus_LV_2937-20_0_4_node_107 | 0.4 | n |  | TRUE
108 | bus_LV_2937-20_0_4_node_112 | 0.4 | n |  | TRUE
109 | bus_LV_2937-20_0_4_node_114 | 0.4 | n |  | TRUE
110 | bus_LV_2937-20_0_4_node_115 | 0.4 | n |  | TRUE
111 | bus_LV_2937-20_0_4_node_116 | 0.4 | n |  | TRUE
112 | bus_MV_391_0_node_59 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2937-20_0_4_load_0 | 0 | 0.0098932 | 0.0024795 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2937-20_0_4_load_110 | 2 | 0.0077596 | 0.0019447 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2937-20_0_4_load_14 | 3 | 0.002714 | 0.0006802 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2937-20_0_4_load_1 | 4 | 0.0054496 | 0.0013658 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2937-20_0_4_load_4 | 6 | 0.0048367 | 0.0012122 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2937-20_0_4_load_5 | 7 | 0.0057774 | 0.0014479 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2937-20_0_4_load_7 | 8 | 0.0069143 | 0.0017329 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2937-20_0_4_load_8 | 9 | 0.012619 | 0.0031627 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2937-20_0_4_load_6 | 10 | 0.0018244 | 0.00045725 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2937-20_0_4_load_9 | 11 | 0.0019185 | 0.00048083 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2937-20_0_4_load_79 | 12 | 0.0048639 | 0.001219 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2937-20_0_4_load_87 | 13 | 0.0048361 | 0.001212 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2937-20_0_4_load_34 | 14 | 0.0021072 | 0.00052812 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2937-20_0_4_load_80 | 15 | 0.012757 | 0.0031971 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2937-20_0_4_load_88 | 16 | 0.0054502 | 0.001366 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2937-20_0_4_load_33 | 17 | 0.0029109 | 0.00072954 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2937-20_0_4_load_10 | 18 | 0.00062911 | 0.00015767 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2937-20_0_4_load_11 | 19 | 0.0026714 | 0.00066952 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2937-20_0_4_load_13 | 21 | 0.09385 | 0.023521 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2937-20_0_4_load_15 | 22 | 0.0017515 | 0.00043896 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2937-20_0_4_load_90 | 24 | 0.0023794 | 0.00059633 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2937-20_0_4_load_113 | 25 | 0.0013887 | 0.00034803 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2937-20_0_4_load_111 | 27 | 0.001384 | 0.00034685 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2937-20_0_4_load_18 | 28 | 0.0076327 | 0.0019129 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2937-20_0_4_load_19 | 29 | 0.0038587 | 0.00096707 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2937-20_0_4_load_20 | 30 | 0.0029713 | 0.00074468 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2937-20_0_4_load_21 | 31 | 0.0017885 | 0.00044824 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2937-20_0_4_load_22 | 32 | 0.0049276 | 0.001235 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2937-20_0_4_load_61 | 36 | 0.0012663 | 0.00031735 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2937-20_0_4_load_62 | 37 | 0.0028257 | 0.00070819 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2937-20_0_4_load_56 | 38 | 0.00515 | 0.0012907 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2937-20_0_4_load_25 | 39 | 0.010603 | 0.0026573 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2937-20_0_4_load_26 | 40 | 0.0027899 | 0.00069922 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2937-20_0_4_load_27 | 41 | 0.0020096 | 0.00050366 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2937-20_0_4_load_28 | 42 | 0.0046586 | 0.0011676 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2937-20_0_4_load_29 | 43 | 0.0093071 | 0.0023326 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2937-20_0_4_load_31 | 45 | 0.006924 | 0.0017353 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2937-20_0_4_load_35 | 46 | 0.0035896 | 0.00089964 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2937-20_0_4_load_36 | 47 | 0.0030299 | 0.00075938 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2937-20_0_4_load_32 | 48 | 0.0036162 | 0.00090631 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2937-20_0_4_load_38 | 50 | 0.010245 | 0.0025676 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2937-20_0_4_load_39 | 51 | 0.0053819 | 0.0013488 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2937-20_0_4_load_40 | 52 | 0.0049 | 0.0012281 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2937-20_0_4_load_41 | 53 | 0.0038331 | 0.00096066 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2937-20_0_4_load_45 | 54 | 0.00328 | 0.00082204 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2937-20_0_4_load_42 | 55 | 0.007413 | 0.0018579 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2937-20_0_4_load_43 | 56 | 0.0078428 | 0.0019656 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2937-20_0_4_load_44 | 57 | 0.0027659 | 0.0006932 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2937-20_0_4_load_46 | 58 | 0.0028386 | 0.00071142 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2937-20_0_4_load_85 | 59 | 0.0049304 | 0.0012357 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2937-20_0_4_load_86 | 60 | 0.0057259 | 0.001435 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2937-20_0_4_load_55 | 61 | 0.0071894 | 0.0018018 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2937-20_0_4_load_84 | 62 | 0.0012584 | 0.0003154 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2937-20_0_4_load_69 | 63 | 0.0077321 | 0.0019378 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2937-20_0_4_load_54 | 64 | 0.0029838 | 0.00074782 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2937-20_0_4_load_47 | 65 | 0.0051746 | 0.0012969 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_2937-20_0_4_load_48 | 66 | 0.0033055 | 0.00082843 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_2937-20_0_4_load_49 | 67 | 0.0033414 | 0.00083744 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_2937-20_0_4_load_50 | 68 | 0.0042034 | 0.0010535 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_2937-20_0_4_load_51 | 69 | 0.0015659 | 0.00039246 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_2937-20_0_4_load_52 | 70 | 0.0034615 | 0.00086753 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_2937-20_0_4_load_53 | 71 | 0.0020478 | 0.00051322 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_2937-20_0_4_load_99 | 72 | 0.0017264 | 0.00043269 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_2937-20_0_4_load_101 | 73 | 0.0020228 | 0.00050696 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_2937-20_0_4_load_63 | 74 | 0.0010477 | 0.00026258 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_2937-20_0_4_load_109 | 75 | 0.0025342 | 0.00063514 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_2937-20_0_4_load_108 | 76 | 0.0014028 | 0.00035157 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_2937-20_0_4_load_64 | 77 | 0.011722 | 0.0029379 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_2937-20_0_4_load_65 | 78 | 0.0060916 | 0.0015267 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_2937-20_0_4_load_66 | 79 | 0.0066163 | 0.0016582 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_2937-20_0_4_load_67 | 80 | 0.0052615 | 0.0013187 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_2937-20_0_4_load_71 | 82 | 0.00083907 | 0.00021029 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_2937-20_0_4_load_72 | 85 | 0.0020092 | 0.00050354 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_2937-20_0_4_load_98 | 86 | 0.0013105 | 0.00032844 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_2937-20_0_4_load_77 | 87 | 0.0010854 | 0.00027203 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_2937-20_0_4_load_73 | 88 | 0.0019852 | 0.00049754 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_2937-20_0_4_load_74 | 89 | 0.0019347 | 0.00048489 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_2937-20_0_4_load_76 | 90 | 0.0066963 | 0.0016783 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_2937-20_0_4_load_92 | 91 | 0.0025533 | 0.00063992 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_2937-20_0_4_load_91 | 92 | 0.001827 | 0.00045789 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_2937-20_0_4_load_81 | 93 | 0.0043194 | 0.0010826 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_2937-20_0_4_load_82 | 94 | 0.0019717 | 0.00049416 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_2937-20_0_4_load_83 | 95 | 0.023842 | 0.0059753 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_2937-20_0_4_load_93 | 96 | 0.0046396 | 0.0011628 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_2937-20_0_4_load_94 | 97 | 0.0035018 | 0.00087764 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_2937-20_0_4_load_95 | 98 | 0.0099337 | 0.0024896 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_2937-20_0_4_load_97 | 100 | 0.0040935 | 0.0010259 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_2937-20_0_4_load_100 | 101 | 0.0019239 | 0.00048218 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_2937-20_0_4_load_102 | 103 | 0.0021882 | 0.0005484 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_2937-20_0_4_load_105 | 105 | 0.0010214 | 0.00025598 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_2937-20_0_4_load_106 | 106 | 0.0021211 | 0.0005316 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_2937-20_0_4_load_112 | 108 | 0.00097205 | 0.00024362 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_2937-20_0_4_load_114 | 109 | 0.0020161 | 0.00050529 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_2937-20_0_4_load_115 | 110 | 0.00094659 | 0.00023724 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_2937-20_0_4_load_116 | 111 | 0.0062454 | 0.0015653 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 95 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2937-20_0_4_line_0 |  | 0 | 1 | 0.065154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2937-20_0_4_line_1 |  | 1 | 2 | 0.010297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2937-20_0_4_line_2 |  | 1 | 3 | 0.049322 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2937-20_0_4_line_3 |  | 3 | 20 | 0.0038112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2937-20_0_4_line_4 |  | 4 | 5 | 0.027111 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2937-20_0_4_line_5 |  | 5 | 6 | 0.02769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
6 | LV_2937-20_0_4_line_6 |  | 5 | 7 | 0.047809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
7 | LV_2937-20_0_4_line_7 |  | 6 | 8 | 0.0061393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
8 | LV_2937-20_0_4_line_8 |  | 7 | 9 | 0.020146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
9 | LV_2937-20_0_4_line_9 |  | 8 | 12 | 0.016911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
10 | LV_2937-20_0_4_line_10 |  | 9 | 13 | 0.027411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
11 | LV_2937-20_0_4_line_11 |  | 10 | 11 | 0.027665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2937-20_0_4_line_12 |  | 11 | 14 | 0.018586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2937-20_0_4_line_13 |  | 12 | 15 | 0.012182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
14 | LV_2937-20_0_4_line_14 |  | 13 | 16 | 0.0017311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
15 | LV_2937-20_0_4_line_15 |  | 14 | 17 | 0.0039165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2937-20_0_4_line_16 |  | 15 | 93 | 0.0078632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
17 | LV_2937-20_0_4_line_17 |  | 16 | 26 | 0.0066284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
18 | LV_2937-20_0_4_line_18 |  | 17 | 48 | 0.02903 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2937-20_0_4_line_19 |  | 18 | 19 | 0.0072812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2937-20_0_4_line_20 |  | 18 | 20 | 0.011292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2937-20_0_4_line_21 |  | 19 | 21 | 0.019883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2937-20_0_4_line_22 |  | 20 | 22 | 0.022106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
23 | LV_2937-20_0_4_line_23 |  | 22 | 23 | 0.01882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
24 | LV_2937-20_0_4_line_24 |  | 23 | 24 | 0.031072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
25 | LV_2937-20_0_4_line_25 |  | 23 | 25 | 0.014353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2937-20_0_4_line_26 |  | 24 | 26 | 0.043578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
27 | LV_2937-20_0_4_line_27 |  | 25 | 27 | 0.019129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2937-20_0_4_line_28 |  | 26 | 92 | 0.0040581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2937-20_0_4_line_29 |  | 27 | 108 | 0.0047274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2937-20_0_4_line_30 |  | 28 | 29 | 0.026154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2937-20_0_4_line_31 |  | 28 | 30 | 0.029522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2937-20_0_4_line_32 |  | 29 | 31 | 0.055898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2937-20_0_4_line_33 |  | 30 | 32 | 0.053261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2937-20_0_4_line_34 |  | 32 | 33 | 0.019644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2937-20_0_4_line_35 |  | 33 | 34 | 0.027426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2937-20_0_4_line_36 |  | 33 | 35 | 0.0106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2937-20_0_4_line_37 |  | 34 | 36 | 0.018373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2937-20_0_4_line_38 |  | 34 | 37 | 0.0042957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2937-20_0_4_line_39 |  | 35 | 38 | 0.059451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2937-20_0_4_line_40 |  | 36 | 58 | 0.013192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2937-20_0_4_line_41 |  | 37 | 74 | 0.0034549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2937-20_0_4_line_42 |  | 39 | 40 | 0.019679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2937-20_0_4_line_43 |  | 39 | 41 | 0.013315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2937-20_0_4_line_44 |  | 40 | 42 | 0.0043579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2937-20_0_4_line_45 |  | 41 | 43 | 0.037675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2937-20_0_4_line_46 |  | 42 | 44 | 0.018098 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2937-20_0_4_line_47 |  | 43 | 45 | 0.0017421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2937-20_0_4_line_48 |  | 44 | 46 | 0.0058043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2937-20_0_4_line_49 |  | 44 | 47 | 0.021044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2937-20_0_4_line_50 |  | 45 | 48 | 0.0086238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_2937-20_0_4_line_51 |  | 46 | 49 | 0.042025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2937-20_0_4_line_52 |  | 47 | 50 | 0.015435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2937-20_0_4_line_53 |  | 49 | 51 | 0.009809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
54 | LV_2937-20_0_4_line_54 |  | 49 | 52 | 0.032632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2937-20_0_4_line_55 |  | 49 | 53 | 0.011766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_2937-20_0_4_line_56 |  | 50 | 54 | 0.0071396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2937-20_0_4_line_57 |  | 51 | 55 | 0.0090836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
58 | LV_2937-20_0_4_line_58 |  | 52 | 56 | 0.0045696 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_2937-20_0_4_line_59 |  | 53 | 57 | 0.0053615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_2937-20_0_4_line_60 |  | 54 | 58 | 0.024683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_2937-20_0_4_line_61 |  | 55 | 59 | 0.019318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
62 | LV_2937-20_0_4_line_62 |  | 56 | 60 | 0.0069794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_2937-20_0_4_line_63 |  | 57 | 61 | 0.010482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_2937-20_0_4_line_64 |  | 59 | 62 | 0.01889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
65 | LV_2937-20_0_4_line_65 |  | 60 | 63 | 0.014612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_2937-20_0_4_line_66 |  | 61 | 64 | 0.006025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_2937-20_0_4_line_67 |  | 62 | 95 | 0.010327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
68 | LV_2937-20_0_4_line_68 |  | 63 | 80 | 0.0071195 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_2937-20_0_4_line_69 |  | 64 | 70 | 0.018263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_2937-20_0_4_line_70 |  | 65 | 66 | 0.013259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_2937-20_0_4_line_71 |  | 65 | 67 | 0.011945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_2937-20_0_4_line_72 |  | 66 | 68 | 0.01008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_2937-20_0_4_line_73 |  | 67 | 69 | 0.013763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_2937-20_0_4_line_74 |  | 68 | 70 | 0.01516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_2937-20_0_4_line_75 |  | 69 | 71 | 0.011714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_2937-20_0_4_line_76 |  | 71 | 72 | 0.007573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_2937-20_0_4_line_77 |  | 72 | 73 | 0.018477 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_2937-20_0_4_line_78 |  | 73 | 103 | 0.001564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_2937-20_0_4_line_79 |  | 75 | 76 | 0.031921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_2937-20_0_4_line_80 |  | 76 | 107 | 0.0072011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_2937-20_0_4_line_81 |  | 77 | 78 | 0.0047135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_2937-20_0_4_line_82 |  | 77 | 79 | 0.015098 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_2937-20_0_4_line_83 |  | 78 | 80 | 0.0094245 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_2937-20_0_4_line_84 |  | 79 | 81 | 0.026406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_2937-20_0_4_line_85 |  | 81 | 82 | 0.043979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_2937-20_0_4_line_86 |  | 82 | 86 | 0.0033195 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_2937-20_0_4_line_87 |  | 83 | 84 | 0.018725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_2937-20_0_4_line_88 |  | 83 | 85 | 0.043683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_2937-20_0_4_line_89 |  | 84 | 87 | 0.084758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_2937-20_0_4_line_90 |  | 85 | 88 | 0.014802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_2937-20_0_4_line_91 |  | 88 | 89 | 0.0032751 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_2937-20_0_4_line_92 |  | 89 | 90 | 0.017981 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_2937-20_0_4_line_93 |  | 90 | 91 | 0.0067111 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_2937-20_0_4_line_94 |  | 91 | 92 | 0.0046923 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_2937-20_0_4_line_95 |  | 93 | 94 | 0.030198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
96 | LV_2937-20_0_4_line_96 |  | 94 | 95 | 0.01502 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
97 | LV_2937-20_0_4_line_97 |  | 96 | 97 | 0.032279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_2937-20_0_4_line_98 |  | 96 | 98 | 0.041198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_2937-20_0_4_line_99 |  | 97 | 99 | 0.046411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_2937-20_0_4_line_100 |  | 99 | 100 | 0.016935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_2937-20_0_4_line_101 |  | 100 | 101 | 0.01408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_2937-20_0_4_line_102 |  | 101 | 102 | 0.016239 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_2937-20_0_4_line_103 |  | 102 | 104 | 0.025184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_2937-20_0_4_line_104 |  | 103 | 105 | 0.018213 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_2937-20_0_4_line_105 |  | 104 | 107 | 0.013245 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_2937-20_0_4_line_106 |  | 104 | 106 | 0.020375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_2937-20_0_4_line_107 |  | 105 | 106 | 0.0060609 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_2937-20_0_4_line_108 |  | 108 | 109 | 0.030873 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_2937-20_0_4_line_109 |  | 109 | 110 | 0.028328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
110 | LV_2937-20_0_4_line_110 |  | 110 | 111 | 0.0052238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2937-20_0_4_trafo_83 | 0.63 MVA 20/0.4 kV | 112 | 95 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2688235.7912 | 1281936.185 | 2688268.0397 | 1281879.5719
1 | 2688235.7912 | 1281936.185 | 2688229.0265 | 1281940.0871 | 2688226.5534 | 1281939.8183
2 | 2688235.7912 | 1281936.185 | 2688241.3216 | 1281939.9822 | 2688247.9954 | 1281943.1514 | 2688281.4275 | 1281954.2493
3 | 2688285.0445 | 1281955.4499 | 2688281.4275 | 1281954.2493
4 | 2688293.7542 | 1282044.2455 | 2688268.8938 | 1282055.0593
5 | 2688293.7542 | 1282044.2455 | 2688301.8132 | 1282060.2021 | 2688310.8112 | 1282064.1197
6 | 2688293.7542 | 1282044.2455 | 2688337.2267 | 1282024.3502
7 | 2688310.8112 | 1282064.1197 | 2688316.4401 | 1282066.5705
8 | 2688337.2267 | 1282024.3502 | 2688340.5526 | 1282022.8281 | 2688351.6349 | 1282017.4562 | 2688355.4599 | 1282015.7899
9 | 2688316.4401 | 1282066.5705 | 2688331.9449 | 1282073.321
10 | 2688380.5934 | 1282004.8492 | 2688373.8812 | 1282007.7702 | 2688366.3675 | 1282011.0381 | 2688355.4599 | 1282015.7899
11 | 2688290.0981 | 1282104.3877 | 2688315.6773 | 1282114.9273
12 | 2688315.6773 | 1282114.9273 | 2688332.8615 | 1282122.0078
13 | 2688343.1139 | 1282078.1838 | 2688331.9449 | 1282073.321
14 | 2688380.5934 | 1282004.8492 | 2688382.1806 | 1282004.1585
15 | 2688336.4827 | 1282123.4999 | 2688332.8615 | 1282122.0078
16 | 2688343.1139 | 1282078.1838 | 2688350.3234 | 1282081.3228
17 | 2688388.2585 | 1282001.5136 | 2688382.1806 | 1282004.1585
18 | 2688336.4827 | 1282123.4999 | 2688363.3232 | 1282134.5592
19 | 2688280.9519 | 1281965.9702 | 2688278.6928 | 1281972.892
20 | 2688285.0445 | 1281955.4499 | 2688281.5028 | 1281964.2823 | 2688280.9519 | 1281965.9702
21 | 2688283.4169 | 1281990.9005 | 2688283.4169 | 1281990.9005 | 2688285.1319 | 1281984.6986 | 2688278.6928 | 1281972.892 | 2688278.6928 | 1281972.892
22 | 2688285.0445 | 1281955.4499 | 2688306.0717 | 1281962.2704
23 | 2688323.9736 | 1281968.0771 | 2688306.0717 | 1281962.2704
24 | 2688323.9736 | 1281968.0771 | 2688353.3941 | 1281978.0723
25 | 2688323.9736 | 1281968.0771 | 2688326.834 | 1281956.1097 | 2688327.7378 | 1281954.2719
26 | 2688388.2585 | 1282001.5136 | 2688385.1795 | 1281996.0072 | 2688380.2267 | 1281990.2614 | 2688373.658 | 1281985.6033 | 2688365.4787 | 1281982.1778 | 2688353.3941 | 1281978.0723
27 | 2688336.5848 | 1281937.407 | 2688335.5636 | 1281938.3586 | 2688327.7378 | 1281954.2719
28 | 2688388.2585 | 1282001.5136 | 2688391.983 | 1281999.9024
29 | 2688336.5848 | 1281937.407 | 2688340.0433 | 1281934.1841
30 | 2688397.7056 | 1282203.1481 | 2688373.8317 | 1282192.4667
31 | 2688397.7056 | 1282203.1481 | 2688408.1793 | 1282207.8341 | 2688423.0878 | 1282218.0053
32 | 2688373.8317 | 1282192.4667 | 2688372.2251 | 1282191.7479 | 2688321.1907 | 1282173.6803
33 | 2688459.0139 | 1282257.0516 | 2688453.7935 | 1282250.2214 | 2688437.9289 | 1282231.534 | 2688427.3796 | 1282220.9333 | 2688423.0878 | 1282218.0053
34 | 2688469.9141 | 1282273.3609 | 2688463.9052 | 1282263.4511 | 2688459.0139 | 1282257.0516
35 | 2688469.9141 | 1282273.3609 | 2688475.1505 | 1282282.2027 | 2688479.1401 | 1282279.0599 | 2688480.8195 | 1282277.7395 | 2688482.5426 | 1282274.507 | 2688484.8082 | 1282268.6582
36 | 2688460.0557 | 1282275.2702 | 2688464.2146 | 1282275.8554 | 2688465.9188 | 1282275.8809 | 2688469.9141 | 1282273.3609
37 | 2688484.8082 | 1282268.6582 | 2688486.1287 | 1282259.2366 | 2688485.4759 | 1282250.4009
38 | 2688484.8082 | 1282268.6582 | 2688486.1286 | 1282272.7459
39 | 2688460.0557 | 1282275.2702 | 2688447.0206 | 1282267.6904 | 2688432.3526 | 1282260.8311 | 2688419.7673 | 1282257.306 | 2688404.7542 | 1282255.5972
40 | 2688485.4759 | 1282250.4009 | 2688484.9804 | 1282243.6949 | 2688483.0029 | 1282237.5374
41 | 2688486.1286 | 1282272.7459 | 2688487.1905 | 1282276.0336 | 2688487.1905 | 1282276.0336
42 | 2688420.0526 | 1282157.9339 | 2688429.0208 | 1282161.6291 | 2688437.9847 | 1282166.0144
43 | 2688420.0526 | 1282157.9339 | 2688407.7413 | 1282152.8612
44 | 2688441.8993 | 1282167.9295 | 2688437.9847 | 1282166.0144
45 | 2688372.9075 | 1282138.5083 | 2688407.7413 | 1282152.8612
46 | 2688458.7552 | 1282173.8412 | 2688452.4957 | 1282173.1134 | 2688441.8993 | 1282167.9295
47 | 2688372.9075 | 1282138.5083 | 2688371.2967 | 1282137.8446
48 | 2688458.7552 | 1282173.8412 | 2688458.1302 | 1282168.0707
49 | 2688458.7552 | 1282173.8412 | 2688462.1845 | 1282186.5147 | 2688465.3995 | 1282193.7466
50 | 2688363.3232 | 1282134.5592 | 2688371.2967 | 1282137.8446
51 | 2688453.6043 | 1282126.2897 | 2688458.1302 | 1282168.0707
52 | 2688465.3995 | 1282193.7466 | 2688471.6698 | 1282207.851
53 | 2688453.6043 | 1282126.2897 | 2688444.6107 | 1282122.3741
54 | 2688453.6043 | 1282126.2897 | 2688455.2565 | 1282093.7001
55 | 2688453.6043 | 1282126.2897 | 2688463.9213 | 1282127.3677 | 2688465.1682 | 1282127.9878
56 | 2688471.6698 | 1282207.851 | 2688474.5701 | 1282214.375
57 | 2688436.2822 | 1282118.748 | 2688444.6107 | 1282122.3741
58 | 2688455.4879 | 1282089.1363 | 2688455.2565 | 1282093.7001
59 | 2688469.9689 | 1282130.375 | 2688465.1682 | 1282127.9878
60 | 2688483.0029 | 1282237.5374 | 2688478.1509 | 1282222.4296 | 2688474.5701 | 1282214.375
61 | 2688418.57 | 1282111.0363 | 2688436.2822 | 1282118.748
62 | 2688455.4879 | 1282089.1363 | 2688455.8413 | 1282082.1658
63 | 2688469.9689 | 1282130.375 | 2688479.3544 | 1282135.0421
64 | 2688401.2508 | 1282103.4958 | 2688418.57 | 1282111.0363
65 | 2688456.5811 | 1282067.5728 | 2688455.8413 | 1282082.1658
66 | 2688484.7492 | 1282137.7247 | 2688479.3544 | 1282135.0421
67 | 2688401.2508 | 1282103.4958 | 2688391.7822 | 1282099.3733
68 | 2688459.6604 | 1282061.1536 | 2688456.5811 | 1282067.5728 | 2688456.5811 | 1282067.5728
69 | 2688498.0579 | 1282149.5331 | 2688491.7316 | 1282141.1969 | 2688484.7492 | 1282137.7247
70 | 2688521.0783 | 1282180.3885 | 2688513.2851 | 1282169.6615
71 | 2688521.0783 | 1282180.3885 | 2688528.0993 | 1282190.0527
72 | 2688507.2223 | 1282161.6089 | 2688512.2028 | 1282168.1718 | 2688513.2851 | 1282169.6615
73 | 2688528.0993 | 1282190.0527 | 2688536.1885 | 1282201.1871
74 | 2688507.2223 | 1282161.6089 | 2688498.0579 | 1282149.5331
75 | 2688543.0734 | 1282210.664 | 2688536.1885 | 1282201.1871
76 | 2688543.0734 | 1282210.664 | 2688547.5246 | 1282216.7908
77 | 2688558.3846 | 1282231.7391 | 2688547.5246 | 1282216.7908
78 | 2688558.3846 | 1282231.7391 | 2688559.3038 | 1282233.0044
79 | 2688571.4316 | 1282283.886 | 2688564.7053 | 1282289.8094 | 2688545.3729 | 1282302.1934
80 | 2688576.8358 | 1282279.1268 | 2688571.4316 | 1282283.886
81 | 2688466.5916 | 1282048.9058 | 2688463.7365 | 1282052.6562
82 | 2688466.5916 | 1282048.9058 | 2688473.2282 | 1282040.1879 | 2688476.5698 | 1282037.7414
83 | 2688459.6604 | 1282061.1536 | 2688463.7365 | 1282052.6562 | 2688463.7365 | 1282052.6562
84 | 2688497.8757 | 1282022.1423 | 2688476.5698 | 1282037.7414
85 | 2688497.8757 | 1282022.1423 | 2688522.7404 | 1282058.4171
86 | 2688524.6171 | 1282061.1551 | 2688522.7404 | 1282058.4171
87 | 2688492.5818 | 1281955.6168 | 2688475.464 | 1281963.3221
88 | 2688475.464 | 1281963.3221 | 2688435.5178 | 1281980.9998
89 | 2688492.5818 | 1281955.6168 | 2688489.8249 | 1281951.672 | 2688467.1961 | 1281938.7992 | 2688431.3251 | 1281925.5719 | 2688416.1075 | 1281921.7976
90 | 2688435.5178 | 1281980.9998 | 2688428.5317 | 1281984.0914 | 2688421.958 | 1281986.9352
91 | 2688418.9521 | 1281988.2356 | 2688421.958 | 1281986.9352
92 | 2688402.449 | 1281995.3748 | 2688418.9521 | 1281988.2356
93 | 2688396.2896 | 1281998.0394 | 2688402.449 | 1281995.3748
94 | 2688396.2896 | 1281998.0394 | 2688391.983 | 1281999.9024
95 | 2688350.3234 | 1282081.3228 | 2688378.0113 | 1282093.3777
96 | 2688391.7822 | 1282099.3733 | 2688378.0113 | 1282093.3777
97 | 2688605.5111 | 1282147.3351 | 2688618.986 | 1282176.6665
98 | 2688579.8394 | 1282115.8315 | 2688594.9667 | 1282129.1146 | 2688604.2704 | 1282144.6344 | 2688605.5111 | 1282147.3351
99 | 2688635.4801 | 1282218.9897 | 2688636.4122 | 1282212.4426 | 2688623.5105 | 1282186.5152 | 2688618.986 | 1282176.6665
100 | 2688635.4801 | 1282218.9897 | 2688629.2108 | 1282219.9185 | 2688621.0467 | 1282226.6752
101 | 2688621.0467 | 1282226.6752 | 2688615.9872 | 1282230.8625 | 2688611.108 | 1282236.5755
102 | 2688600.5616 | 1282248.924 | 2688611.108 | 1282236.5755
103 | 2688585.5469 | 1282269.1269 | 2688593.3086 | 1282259.3351 | 2688596.024 | 1282255.5393 | 2688600.5616 | 1282248.924
104 | 2688570.009 | 1282247.7396 | 2688559.3038 | 1282233.0044
105 | 2688576.8358 | 1282279.1268 | 2688585.5469 | 1282269.1269
106 | 2688585.5469 | 1282269.1269 | 2688573.5714 | 1282252.6431
107 | 2688573.5714 | 1282252.6431 | 2688570.009 | 1282247.7396
108 | 2688367.6656 | 1281929.0653 | 2688363.9371 | 1281926.7404 | 2688356.893 | 1281926.2344 | 2688346.5919 | 1281928.0817 | 2688340.0433 | 1281934.1841
109 | 2688367.6656 | 1281929.0653 | 2688373.5127 | 1281932.7113 | 2688376.0608 | 1281937.5648 | 2688375.3442 | 1281944.7824 | 2688374.6322 | 1281952.2004 | 2688375.1607 | 1281953.334
110 | 2688377.3678 | 1281958.0686 | 2688375.1607 | 1281953.334

## bus_geodata
| x | y | coords
0 | 2688268.0397 | 1281879.5719
1 | 2688235.7912 | 1281936.185
2 | 2688226.5534 | 1281939.8183
3 | 2688281.4275 | 1281954.2493
4 | 2688268.8938 | 1282055.0593
5 | 2688293.7542 | 1282044.2455
6 | 2688310.8112 | 1282064.1197
7 | 2688337.2267 | 1282024.3502
8 | 2688316.4401 | 1282066.5705
9 | 2688355.4599 | 1282015.7899
10 | 2688290.0981 | 1282104.3877
11 | 2688315.6773 | 1282114.9273
12 | 2688331.9449 | 1282073.321
13 | 2688380.5934 | 1282004.8492
14 | 2688332.8615 | 1282122.0078
15 | 2688343.1139 | 1282078.1838
16 | 2688382.1806 | 1282004.1585
17 | 2688336.4827 | 1282123.4999
18 | 2688280.9519 | 1281965.9702
19 | 2688278.6928 | 1281972.892
20 | 2688285.0445 | 1281955.4499
21 | 2688283.4169 | 1281990.9005
22 | 2688306.0717 | 1281962.2704
23 | 2688323.9736 | 1281968.0771
24 | 2688353.3941 | 1281978.0723
25 | 2688327.7378 | 1281954.2719
26 | 2688388.2585 | 1282001.5136
27 | 2688336.5848 | 1281937.407
28 | 2688397.7056 | 1282203.1481
29 | 2688373.8317 | 1282192.4667
30 | 2688423.0878 | 1282218.0053
31 | 2688321.1907 | 1282173.6803
32 | 2688459.0139 | 1282257.0516
33 | 2688469.9141 | 1282273.3609
34 | 2688484.8082 | 1282268.6582
35 | 2688460.0557 | 1282275.2702
36 | 2688485.4759 | 1282250.4009
37 | 2688486.1286 | 1282272.7459
38 | 2688404.7542 | 1282255.5972
39 | 2688420.0526 | 1282157.9339
40 | 2688437.9847 | 1282166.0144
41 | 2688407.7413 | 1282152.8612
42 | 2688441.8993 | 1282167.9295
43 | 2688372.9075 | 1282138.5083
44 | 2688458.7552 | 1282173.8412
45 | 2688371.2967 | 1282137.8446
46 | 2688458.1302 | 1282168.0707
47 | 2688465.3995 | 1282193.7466
48 | 2688363.3232 | 1282134.5592
49 | 2688453.6043 | 1282126.2897
50 | 2688471.6698 | 1282207.851
51 | 2688444.6107 | 1282122.3741
52 | 2688455.2565 | 1282093.7001
53 | 2688465.1682 | 1282127.9878
54 | 2688474.5701 | 1282214.375
55 | 2688436.2822 | 1282118.748
56 | 2688455.4879 | 1282089.1363
57 | 2688469.9689 | 1282130.375
58 | 2688483.0029 | 1282237.5374
59 | 2688418.57 | 1282111.0363
60 | 2688455.8413 | 1282082.1658
61 | 2688479.3544 | 1282135.0421
62 | 2688401.2508 | 1282103.4958
63 | 2688456.5811 | 1282067.5728
64 | 2688484.7492 | 1282137.7247
65 | 2688521.0783 | 1282180.3885
66 | 2688513.2851 | 1282169.6615
67 | 2688528.0993 | 1282190.0527
68 | 2688507.2223 | 1282161.6089
69 | 2688536.1885 | 1282201.1871
70 | 2688498.0579 | 1282149.5331
71 | 2688543.0734 | 1282210.664
72 | 2688547.5246 | 1282216.7908
73 | 2688558.3846 | 1282231.7391
74 | 2688487.1905 | 1282276.0336
75 | 2688545.3729 | 1282302.1934
76 | 2688571.4316 | 1282283.886
77 | 2688466.5916 | 1282048.9058
78 | 2688463.7365 | 1282052.6562
79 | 2688476.5698 | 1282037.7414
80 | 2688459.6604 | 1282061.1536
81 | 2688497.8757 | 1282022.1423
82 | 2688522.7404 | 1282058.4171
83 | 2688475.464 | 1281963.3221
84 | 2688492.5818 | 1281955.6168
85 | 2688435.5178 | 1281980.9998
86 | 2688524.6171 | 1282061.1551
87 | 2688416.1075 | 1281921.7976
88 | 2688421.958 | 1281986.9352
89 | 2688418.9521 | 1281988.2356
90 | 2688402.449 | 1281995.3748
91 | 2688396.2896 | 1281998.0394
92 | 2688391.983 | 1281999.9024
93 | 2688350.3234 | 1282081.3228
94 | 2688378.0113 | 1282093.3777
95 | 2688391.7822 | 1282099.3733
96 | 2688605.5111 | 1282147.3351
97 | 2688618.986 | 1282176.6665
98 | 2688579.8394 | 1282115.8315
99 | 2688635.4801 | 1282218.9897
100 | 2688621.0467 | 1282226.6752
101 | 2688611.108 | 1282236.5755
102 | 2688600.5616 | 1282248.924
103 | 2688559.3038 | 1282233.0044
104 | 2688585.5469 | 1282269.1269
105 | 2688570.009 | 1282247.7396
106 | 2688573.5714 | 1282252.6431
107 | 2688576.8358 | 1282279.1268
108 | 2688340.0433 | 1281934.1841
109 | 2688367.6656 | 1281929.0653
110 | 2688375.1607 | 1281953.334
111 | 2688377.3678 | 1281958.0686
112 | 2688453.6043 | 1282126.2897

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1