## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2937-21_0_7_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2937-21_0_7_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2937-21_0_7_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2937-21_0_7_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2937-21_0_7_node_16 | 0.4 | n |  | TRUE
5 | bus_LV_2937-21_0_7_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_2937-21_0_7_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_2937-21_0_7_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_2937-21_0_7_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_2937-21_0_7_node_24 | 0.4 | n |  | TRUE
10 | bus_LV_2937-21_0_7_node_15 | 0.4 | n |  | TRUE
11 | bus_LV_2937-21_0_7_node_25 | 0.4 | n |  | TRUE
12 | bus_LV_2937-21_0_7_node_13 | 0.4 | n |  | TRUE
13 | bus_LV_2937-21_0_7_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_2937-21_0_7_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_2937-21_0_7_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_2937-21_0_7_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_2937-21_0_7_node_12 | 0.4 | n |  | TRUE
18 | bus_LV_2937-21_0_7_node_23 | 0.4 | n |  | TRUE
19 | bus_LV_2937-21_0_7_node_22 | 0.4 | n |  | TRUE
20 | bus_LV_2937-21_0_7_node_20 | 0.4 | n |  | TRUE
21 | bus_LV_2937-21_0_7_node_17 | 0.4 | n |  | TRUE
22 | bus_LV_2937-21_0_7_node_18 | 0.4 | n |  | TRUE
23 | bus_LV_2937-21_0_7_node_21 | 0.4 | n |  | TRUE
24 | bus_LV_2937-21_0_7_node_154 | 0.4 | n |  | TRUE
25 | bus_LV_2937-21_0_7_node_155 | 0.4 | n |  | TRUE
26 | bus_LV_2937-21_0_7_node_26 | 0.4 | n |  | TRUE
27 | bus_LV_2937-21_0_7_node_27 | 0.4 | n |  | TRUE
28 | bus_LV_2937-21_0_7_node_28 | 0.4 | n |  | TRUE
29 | bus_LV_2937-21_0_7_node_29 | 0.4 | n |  | TRUE
30 | bus_LV_2937-21_0_7_node_30 | 0.4 | n |  | TRUE
31 | bus_LV_2937-21_0_7_node_31 | 0.4 | n |  | TRUE
32 | bus_LV_2937-21_0_7_node_38 | 0.4 | n |  | TRUE
33 | bus_LV_2937-21_0_7_node_97 | 0.4 | n |  | TRUE
34 | bus_LV_2937-21_0_7_node_63 | 0.4 | n |  | TRUE
35 | bus_LV_2937-21_0_7_node_61 | 0.4 | n |  | TRUE
36 | bus_LV_2937-21_0_7_node_32 | 0.4 | n |  | TRUE
37 | bus_LV_2937-21_0_7_node_33 | 0.4 | n |  | TRUE
38 | bus_LV_2937-21_0_7_node_118 | 0.4 | n |  | TRUE
39 | bus_LV_2937-21_0_7_node_95 | 0.4 | n |  | TRUE
40 | bus_LV_2937-21_0_7_node_50 | 0.4 | n |  | TRUE
41 | bus_LV_2937-21_0_7_node_47 | 0.4 | n |  | TRUE
42 | bus_LV_2937-21_0_7_node_34 | 0.4 | n |  | TRUE
43 | bus_LV_2937-21_0_7_node_35 | 0.4 | n |  | TRUE
44 | bus_LV_2937-21_0_7_node_36 | 0.4 | n |  | TRUE
45 | bus_LV_2937-21_0_7_node_37 | 0.4 | n |  | TRUE
46 | bus_LV_2937-21_0_7_node_159 | 0.4 | n |  | TRUE
47 | bus_LV_2937-21_0_7_node_57 | 0.4 | n |  | TRUE
48 | bus_LV_2937-21_0_7_node_56 | 0.4 | n |  | TRUE
49 | bus_LV_2937-21_0_7_node_135 | 0.4 | n |  | TRUE
50 | bus_LV_2937-21_0_7_node_64 | 0.4 | n |  | TRUE
51 | bus_LV_2937-21_0_7_node_65 | 0.4 | n |  | TRUE
52 | bus_LV_2937-21_0_7_node_137 | 0.4 | n |  | TRUE
53 | bus_LV_2937-21_0_7_node_62 | 0.4 | n |  | TRUE
54 | bus_LV_2937-21_0_7_node_60 | 0.4 | n |  | TRUE
55 | bus_LV_2937-21_0_7_node_136 | 0.4 | n |  | TRUE
56 | bus_LV_2937-21_0_7_node_134 | 0.4 | n |  | TRUE
57 | bus_LV_2937-21_0_7_node_39 | 0.4 | n |  | TRUE
58 | bus_LV_2937-21_0_7_node_40 | 0.4 | n |  | TRUE
59 | bus_LV_2937-21_0_7_node_41 | 0.4 | n |  | TRUE
60 | bus_LV_2937-21_0_7_node_42 | 0.4 | n |  | TRUE
61 | bus_LV_2937-21_0_7_node_43 | 0.4 | n |  | TRUE
62 | bus_LV_2937-21_0_7_node_55 | 0.4 | n |  | TRUE
63 | bus_LV_2937-21_0_7_node_156 | 0.4 | n |  | TRUE
64 | bus_LV_2937-21_0_7_node_58 | 0.4 | n |  | TRUE
65 | bus_LV_2937-21_0_7_node_44 | 0.4 | n |  | TRUE
66 | bus_LV_2937-21_0_7_node_45 | 0.4 | n |  | TRUE
67 | bus_LV_2937-21_0_7_node_46 | 0.4 | n |  | TRUE
68 | bus_LV_2937-21_0_7_node_48 | 0.4 | n |  | TRUE
69 | bus_LV_2937-21_0_7_node_49 | 0.4 | n |  | TRUE
70 | bus_LV_2937-21_0_7_node_51 | 0.4 | n |  | TRUE
71 | bus_LV_2937-21_0_7_node_86 | 0.4 | n |  | TRUE
72 | bus_LV_2937-21_0_7_node_52 | 0.4 | n |  | TRUE
73 | bus_LV_2937-21_0_7_node_85 | 0.4 | n |  | TRUE
74 | bus_LV_2937-21_0_7_node_53 | 0.4 | n |  | TRUE
75 | bus_LV_2937-21_0_7_node_54 | 0.4 | n |  | TRUE
76 | bus_LV_2937-21_0_7_node_67 | 0.4 | n |  | TRUE
77 | bus_LV_2937-21_0_7_node_90 | 0.4 | n |  | TRUE
78 | bus_LV_2937-21_0_7_node_83 | 0.4 | n |  | TRUE
79 | bus_LV_2937-21_0_7_node_66 | 0.4 | n |  | TRUE
80 | bus_LV_2937-21_0_7_node_88 | 0.4 | n |  | TRUE
81 | bus_LV_2937-21_0_7_node_81 | 0.4 | n |  | TRUE
82 | bus_LV_2937-21_0_7_node_59 | 0.4 | n |  | TRUE
83 | bus_LV_2937-21_0_7_node_144 | 0.4 | n |  | TRUE
84 | bus_LV_2937-21_0_7_node_140 | 0.4 | n |  | TRUE
85 | bus_LV_2937-21_0_7_node_158 | 0.4 | n |  | TRUE
86 | bus_LV_2937-21_0_7_node_153 | 0.4 | n |  | TRUE
87 | bus_LV_2937-21_0_7_node_138 | 0.4 | n |  | TRUE
88 | bus_LV_2937-21_0_7_node_133 | 0.4 | n |  | TRUE
89 | bus_LV_2937-21_0_7_node_69 | 0.4 | n |  | TRUE
90 | bus_LV_2937-21_0_7_node_70 | 0.4 | n |  | TRUE
91 | bus_LV_2937-21_0_7_node_71 | 0.4 | n |  | TRUE
92 | bus_LV_2937-21_0_7_node_72 | 0.4 | n |  | TRUE
93 | bus_LV_2937-21_0_7_node_73 | 0.4 | n |  | TRUE
94 | bus_LV_2937-21_0_7_node_105 | 0.4 | n |  | TRUE
95 | bus_LV_2937-21_0_7_node_74 | 0.4 | n |  | TRUE
96 | bus_LV_2937-21_0_7_node_106 | 0.4 | n |  | TRUE
97 | bus_LV_2937-21_0_7_node_104 | 0.4 | n |  | TRUE
98 | bus_LV_2937-21_0_7_node_75 | 0.4 | n |  | TRUE
99 | bus_LV_2937-21_0_7_node_76 | 0.4 | n |  | TRUE
100 | bus_LV_2937-21_0_7_node_77 | 0.4 | n |  | TRUE
101 | bus_LV_2937-21_0_7_node_78 | 0.4 | n |  | TRUE
102 | bus_LV_2937-21_0_7_node_79 | 0.4 | n |  | TRUE
103 | bus_LV_2937-21_0_7_node_80 | 0.4 | n |  | TRUE
104 | bus_LV_2937-21_0_7_node_82 | 0.4 | n |  | TRUE
105 | bus_LV_2937-21_0_7_node_84 | 0.4 | n |  | TRUE
106 | bus_LV_2937-21_0_7_node_91 | 0.4 | n |  | TRUE
107 | bus_LV_2937-21_0_7_node_87 | 0.4 | n |  | TRUE
108 | bus_LV_2937-21_0_7_node_93 | 0.4 | n |  | TRUE
109 | bus_LV_2937-21_0_7_node_94 | 0.4 | n |  | TRUE
110 | bus_LV_2937-21_0_7_node_96 | 0.4 | n |  | TRUE
111 | bus_LV_2937-21_0_7_node_98 | 0.4 | n |  | TRUE
112 | bus_LV_2937-21_0_7_node_99 | 0.4 | n |  | TRUE
113 | bus_LV_2937-21_0_7_node_117 | 0.4 | n |  | TRUE
114 | bus_LV_2937-21_0_7_node_100 | 0.4 | n |  | TRUE
115 | bus_LV_2937-21_0_7_node_101 | 0.4 | n |  | TRUE
116 | bus_LV_2937-21_0_7_node_102 | 0.4 | n |  | TRUE
117 | bus_LV_2937-21_0_7_node_103 | 0.4 | n |  | TRUE
118 | bus_LV_2937-21_0_7_node_112 | 0.4 | n |  | TRUE
119 | bus_LV_2937-21_0_7_node_113 | 0.4 | n |  | TRUE
120 | bus_LV_2937-21_0_7_node_107 | 0.4 | n |  | TRUE
121 | bus_LV_2937-21_0_7_node_108 | 0.4 | n |  | TRUE
122 | bus_LV_2937-21_0_7_node_109 | 0.4 | n |  | TRUE
123 | bus_LV_2937-21_0_7_node_110 | 0.4 | n |  | TRUE
124 | bus_LV_2937-21_0_7_node_111 | 0.4 | n |  | TRUE
125 | bus_LV_2937-21_0_7_node_115 | 0.4 | n |  | TRUE
126 | bus_LV_2937-21_0_7_node_116 | 0.4 | n |  | TRUE
127 | bus_LV_2937-21_0_7_node_114 | 0.4 | n |  | TRUE
128 | bus_LV_2937-21_0_7_node_119 | 0.4 | n |  | TRUE
129 | bus_LV_2937-21_0_7_node_121 | 0.4 | n |  | TRUE
130 | bus_LV_2937-21_0_7_node_122 | 0.4 | n |  | TRUE
131 | bus_LV_2937-21_0_7_node_123 | 0.4 | n |  | TRUE
132 | bus_LV_2937-21_0_7_node_124 | 0.4 | n |  | TRUE
133 | bus_LV_2937-21_0_7_node_125 | 0.4 | n |  | TRUE
134 | bus_LV_2937-21_0_7_node_131 | 0.4 | n |  | TRUE
135 | bus_LV_2937-21_0_7_node_145 | 0.4 | n |  | TRUE
136 | bus_LV_2937-21_0_7_node_130 | 0.4 | n |  | TRUE
137 | bus_LV_2937-21_0_7_node_146 | 0.4 | n |  | TRUE
138 | bus_LV_2937-21_0_7_node_126 | 0.4 | n |  | TRUE
139 | bus_LV_2937-21_0_7_node_127 | 0.4 | n |  | TRUE
140 | bus_LV_2937-21_0_7_node_128 | 0.4 | n |  | TRUE
141 | bus_LV_2937-21_0_7_node_129 | 0.4 | n |  | TRUE
142 | bus_LV_2937-21_0_7_node_132 | 0.4 | n |  | TRUE
143 | bus_LV_2937-21_0_7_node_139 | 0.4 | n |  | TRUE
144 | bus_LV_2937-21_0_7_node_141 | 0.4 | n |  | TRUE
145 | bus_LV_2937-21_0_7_node_142 | 0.4 | n |  | TRUE
146 | bus_LV_2937-21_0_7_node_143 | 0.4 | n |  | TRUE
147 | bus_LV_2937-21_0_7_node_148 | 0.4 | n |  | TRUE
148 | bus_LV_2937-21_0_7_node_147 | 0.4 | n |  | TRUE
149 | bus_LV_2937-21_0_7_node_150 | 0.4 | n |  | TRUE
150 | bus_LV_2937-21_0_7_node_149 | 0.4 | n |  | TRUE
151 | bus_LV_2937-21_0_7_node_151 | 0.4 | n |  | TRUE
152 | bus_LV_2937-21_0_7_node_152 | 0.4 | n |  | TRUE
153 | bus_LV_2937-21_0_7_node_157 | 0.4 | n |  | TRUE
154 | bus_MV_391_0_node_175 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2937-21_0_7_load_0 | 0 | 0.0047385 | 0.0011876 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2937-21_0_7_load_1 | 1 | 0.0031235 | 0.00078283 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2937-21_0_7_load_2 | 2 | 0.0026542 | 0.00066521 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2937-21_0_7_load_16 | 4 | 0.0069695 | 0.0017467 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2937-21_0_7_load_5 | 5 | 0.0050268 | 0.0012598 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2937-21_0_7_load_4 | 6 | 0.0038657 | 0.00096884 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2937-21_0_7_load_6 | 7 | 0.004446 | 0.0011143 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2937-21_0_7_load_24 | 9 | 0.0021368 | 0.00053552 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2937-21_0_7_load_25 | 11 | 0.005737 | 0.0014378 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2937-21_0_7_load_13 | 12 | 0.0032348 | 0.00081072 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2937-21_0_7_load_8 | 13 | 0.0051986 | 0.0013029 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2937-21_0_7_load_9 | 14 | 0.0019397 | 0.00048614 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2937-21_0_7_load_11 | 16 | 0.01005 | 0.0025189 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2937-21_0_7_load_23 | 18 | 0.011156 | 0.0027961 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2937-21_0_7_load_22 | 19 | 0.011415 | 0.0028609 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2937-21_0_7_load_17 | 21 | 0.0002842 | 7.1227e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2937-21_0_7_load_154 | 24 | 0.00047917 | 0.00012009 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2937-21_0_7_load_26 | 26 | 0.0052452 | 0.0013146 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2937-21_0_7_load_27 | 27 | 0.0025302 | 0.00063414 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2937-21_0_7_load_29 | 29 | 0.0036303 | 0.00090983 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2937-21_0_7_load_30 | 30 | 0.020007 | 0.0050142 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2937-21_0_7_load_31 | 31 | 0.0069115 | 0.0017322 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2937-21_0_7_load_63 | 34 | 0.0028402 | 0.00071181 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2937-21_0_7_load_61 | 35 | 0.0089634 | 0.0022464 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2937-21_0_7_load_32 | 36 | 0.0064254 | 0.0016103 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2937-21_0_7_load_33 | 37 | 0.0025078 | 0.00062851 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2937-21_0_7_load_118 | 38 | 0.004109 | 0.0010298 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2937-21_0_7_load_95 | 39 | 0.0030081 | 0.00075389 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2937-21_0_7_load_50 | 40 | 0.0069682 | 0.0017464 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2937-21_0_7_load_47 | 41 | 0.0060986 | 0.0015284 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2937-21_0_7_load_34 | 42 | 0.0026041 | 0.00065264 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2937-21_0_7_load_35 | 43 | 0.0019257 | 0.00048262 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2937-21_0_7_load_36 | 44 | 0.0019143 | 0.00047976 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2937-21_0_7_load_37 | 45 | 0.018306 | 0.004588 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2937-21_0_7_load_159 | 46 | 0.0070438 | 0.0017653 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2937-21_0_7_load_135 | 49 | 0.004928 | 0.0012351 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2937-21_0_7_load_137 | 52 | 0.0024786 | 0.00062121 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2937-21_0_7_load_136 | 55 | 0.0048841 | 0.0012241 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2937-21_0_7_load_134 | 56 | 0.0040112 | 0.0010053 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2937-21_0_7_load_39 | 57 | 0.00022292 | 5.587e-05 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2937-21_0_7_load_40 | 58 | 0.012756 | 0.0031968 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2937-21_0_7_load_43 | 61 | 0.0004577 | 0.00011471 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2937-21_0_7_load_55 | 62 | 0.0059361 | 0.0014877 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2937-21_0_7_load_44 | 65 | 0.0022257 | 0.00055782 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2937-21_0_7_load_45 | 66 | 0.0026572 | 0.00066595 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2937-21_0_7_load_48 | 68 | 0.0026078 | 0.00065357 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2937-21_0_7_load_49 | 69 | 0.0039489 | 0.00098969 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2937-21_0_7_load_51 | 70 | 0.0030038 | 0.00075283 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2937-21_0_7_load_86 | 71 | 0.0039438 | 0.00098842 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2937-21_0_7_load_85 | 73 | 0.0048576 | 0.0012174 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2937-21_0_7_load_53 | 74 | 0.0031084 | 0.00077903 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2937-21_0_7_load_54 | 75 | 0.003421 | 0.00085738 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2937-21_0_7_load_90 | 77 | 0.0069054 | 0.0017306 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2937-21_0_7_load_83 | 78 | 0.0039844 | 0.0009986 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2937-21_0_7_load_66 | 79 | 0.021127 | 0.005295 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2937-21_0_7_load_88 | 80 | 0.0032338 | 0.00081047 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_2937-21_0_7_load_81 | 81 | 0.0039594 | 0.00099231 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_2937-21_0_7_load_59 | 82 | 0.0097172 | 0.0024354 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_2937-21_0_7_load_140 | 84 | 0.0022891 | 0.0005737 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_2937-21_0_7_load_158 | 85 | 0.015476 | 0.0038785 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_2937-21_0_7_load_133 | 88 | 0.0043883 | 0.0010998 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_2937-21_0_7_load_69 | 89 | 0.0050646 | 0.0012693 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_2937-21_0_7_load_70 | 90 | 0.00094339 | 0.00023643 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_2937-21_0_7_load_73 | 93 | 0.0041756 | 0.0010465 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_2937-21_0_7_load_74 | 95 | 0.0066136 | 0.0016575 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_2937-21_0_7_load_106 | 96 | 0.0057465 | 0.0014402 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_2937-21_0_7_load_104 | 97 | 0.003677 | 0.00092155 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_2937-21_0_7_load_75 | 98 | 0.0013635 | 0.00034172 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_2937-21_0_7_load_76 | 99 | 0.0022832 | 0.00057221 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_2937-21_0_7_load_77 | 100 | 0.0092141 | 0.0023093 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_2937-21_0_7_load_78 | 101 | 0.0023486 | 0.00058861 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_2937-21_0_7_load_79 | 102 | 0.0079424 | 0.0019905 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_2937-21_0_7_load_80 | 103 | 0.0071946 | 0.0018031 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_2937-21_0_7_load_82 | 104 | 0.0015911 | 0.00039876 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_2937-21_0_7_load_84 | 105 | 0.003069 | 0.00076916 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_2937-21_0_7_load_91 | 106 | 0.0051296 | 0.0012856 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_2937-21_0_7_load_87 | 107 | 0.0012876 | 0.00032271 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_2937-21_0_7_load_93 | 108 | 0.0025476 | 0.00063848 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_2937-21_0_7_load_94 | 109 | 0.0028596 | 0.00071669 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_2937-21_0_7_load_96 | 110 | 0.0031842 | 0.00079803 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_2937-21_0_7_load_98 | 111 | 0.00284 | 0.00071176 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_2937-21_0_7_load_99 | 112 | 0.002471 | 0.00061929 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_2937-21_0_7_load_117 | 113 | 0.0032737 | 0.00082048 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_2937-21_0_7_load_100 | 114 | 0.0051691 | 0.0012955 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_2937-21_0_7_load_101 | 115 | 0.002255 | 0.00056515 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_2937-21_0_7_load_102 | 116 | 0.0035162 | 0.00088123 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_2937-21_0_7_load_103 | 117 | 0.0056936 | 0.001427 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_2937-21_0_7_load_112 | 118 | 0.0086579 | 0.0021699 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_2937-21_0_7_load_113 | 119 | 0.006471 | 0.0016218 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_2937-21_0_7_load_107 | 120 | 0.0047063 | 0.0011795 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_2937-21_0_7_load_108 | 121 | 0.0025336 | 0.00063498 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_2937-21_0_7_load_109 | 122 | 0.0040985 | 0.0010272 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_2937-21_0_7_load_110 | 123 | 0.016899 | 0.0042353 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_2937-21_0_7_load_111 | 124 | 0.002102 | 0.00052681 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_2937-21_0_7_load_115 | 125 | 0.0048753 | 0.0012219 | 0 | 0 |  | 1 | TRUE | wye
95 | LV_2937-21_0_7_load_116 | 126 | 0.0039903 | 0.0010001 | 0 | 0 |  | 1 | TRUE | wye
96 | LV_2937-21_0_7_load_114 | 127 | 0.0065024 | 0.0016296 | 0 | 0 |  | 1 | TRUE | wye
97 | LV_2937-21_0_7_load_119 | 128 | 0.0072632 | 0.0018203 | 0 | 0 |  | 1 | TRUE | wye
98 | LV_2937-21_0_7_load_121 | 129 | 0.0047663 | 0.0011946 | 0 | 0 |  | 1 | TRUE | wye
99 | LV_2937-21_0_7_load_122 | 130 | 0.013069 | 0.0032754 | 0 | 0 |  | 1 | TRUE | wye
100 | LV_2937-21_0_7_load_124 | 132 | 0.0023652 | 0.00059278 | 0 | 0 |  | 1 | TRUE | wye
101 | LV_2937-21_0_7_load_125 | 133 | 0.0045495 | 0.0011402 | 0 | 0 |  | 1 | TRUE | wye
102 | LV_2937-21_0_7_load_131 | 134 | 0.0070722 | 0.0017725 | 0 | 0 |  | 1 | TRUE | wye
103 | LV_2937-21_0_7_load_130 | 136 | 0.0023518 | 0.00058943 | 0 | 0 |  | 1 | TRUE | wye
104 | LV_2937-21_0_7_load_146 | 137 | 0.0034437 | 0.00086308 | 0 | 0 |  | 1 | TRUE | wye
105 | LV_2937-21_0_7_load_126 | 138 | 0.0028096 | 0.00070415 | 0 | 0 |  | 1 | TRUE | wye
106 | LV_2937-21_0_7_load_127 | 139 | 0.0067185 | 0.0016838 | 0 | 0 |  | 1 | TRUE | wye
107 | LV_2937-21_0_7_load_128 | 140 | 0.0063713 | 0.0015968 | 0 | 0 |  | 1 | TRUE | wye
108 | LV_2937-21_0_7_load_129 | 141 | 0.0030903 | 0.00077451 | 0 | 0 |  | 1 | TRUE | wye
109 | LV_2937-21_0_7_load_132 | 142 | 0.0020127 | 0.00050443 | 0 | 0 |  | 1 | TRUE | wye
110 | LV_2937-21_0_7_load_139 | 143 | 0.0019802 | 0.00049629 | 0 | 0 |  | 1 | TRUE | wye
111 | LV_2937-21_0_7_load_141 | 144 | 0.006843 | 0.001715 | 0 | 0 |  | 1 | TRUE | wye
112 | LV_2937-21_0_7_load_142 | 145 | 0.0031209 | 0.00078216 | 0 | 0 |  | 1 | TRUE | wye
113 | LV_2937-21_0_7_load_143 | 146 | 0.0025182 | 0.00063113 | 0 | 0 |  | 1 | TRUE | wye
114 | LV_2937-21_0_7_load_148 | 147 | 0.0029391 | 0.00073661 | 0 | 0 |  | 1 | TRUE | wye
115 | LV_2937-21_0_7_load_150 | 149 | 0.0029347 | 0.00073551 | 0 | 0 |  | 1 | TRUE | wye
116 | LV_2937-21_0_7_load_149 | 150 | 0.0023491 | 0.00058874 | 0 | 0 |  | 1 | TRUE | wye
117 | LV_2937-21_0_7_load_151 | 151 | 0.00070302 | 0.00017619 | 0 | 0 |  | 1 | TRUE | wye
118 | LV_2937-21_0_7_load_157 | 153 | 0.00042168 | 0.00010568 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 33 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2937-21_0_7_line_0 |  | 0 | 1 | 0.023209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2937-21_0_7_line_1 |  | 1 | 2 | 0.028024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2937-21_0_7_line_2 |  | 2 | 3 | 0.006447 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2937-21_0_7_line_3 |  | 3 | 4 | 0.029331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2937-21_0_7_line_4 |  | 3 | 5 | 0.015534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2937-21_0_7_line_5 |  | 5 | 6 | 0.019861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2937-21_0_7_line_6 |  | 6 | 7 | 0.0068051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2937-21_0_7_line_7 |  | 7 | 8 | 0.022926 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2937-21_0_7_line_8 |  | 8 | 9 | 0.010502 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2937-21_0_7_line_9 |  | 8 | 10 | 0.015271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2937-21_0_7_line_10 |  | 9 | 11 | 0.0097471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2937-21_0_7_line_11 |  | 10 | 12 | 0.013727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2937-21_0_7_line_12 |  | 11 | 16 | 0.0076294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2937-21_0_7_line_13 |  | 13 | 14 | 0.020774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2937-21_0_7_line_14 |  | 13 | 15 | 0.011312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2937-21_0_7_line_15 |  | 14 | 16 | 0.0062815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2937-21_0_7_line_16 |  | 15 | 17 | 0.025023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2937-21_0_7_line_17 |  | 17 | 18 | 0.035346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2937-21_0_7_line_18 |  | 17 | 19 | 0.0022472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2937-21_0_7_line_19 |  | 19 | 20 | 0.036902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2937-21_0_7_line_20 |  | 20 | 22 | 0.004803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2937-21_0_7_line_21 |  | 21 | 22 | 0.0070447 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2937-21_0_7_line_22 |  | 22 | 23 | 0.011411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2937-21_0_7_line_23 |  | 23 | 24 | 0.0092113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2937-21_0_7_line_24 |  | 24 | 25 | 0.011113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2937-21_0_7_line_25 |  | 25 | 63 | 0.015245 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2937-21_0_7_line_26 |  | 26 | 27 | 0.00010956 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
27 | LV_2937-21_0_7_line_27 |  | 26 | 28 | 0.0058071 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
28 | LV_2937-21_0_7_line_28 |  | 27 | 29 | 0.028154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
29 | LV_2937-21_0_7_line_29 |  | 28 | 30 | 0.0071374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2937-21_0_7_line_30 |  | 28 | 31 | 0.019204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
31 | LV_2937-21_0_7_line_31 |  | 29 | 32 | 0.020273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
32 | LV_2937-21_0_7_line_32 |  | 31 | 33 | 0.01314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
33 | LV_2937-21_0_7_line_33 |  | 32 | 34 | 0.0074519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2937-21_0_7_line_34 |  | 32 | 35 | 0.0094487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
35 | LV_2937-21_0_7_line_35 |  | 33 | 38 | 0.016319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2937-21_0_7_line_36 |  | 33 | 39 | 0.028651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
37 | LV_2937-21_0_7_line_37 |  | 34 | 49 | 0.016964 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2937-21_0_7_line_38 |  | 35 | 53 | 0.020194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
39 | LV_2937-21_0_7_line_39 |  | 36 | 37 | 0.015678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2937-21_0_7_line_40 |  | 37 | 40 | 0.0076306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2937-21_0_7_line_41 |  | 38 | 113 | 0.004747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2937-21_0_7_line_42 |  | 39 | 108 | 0.020232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
43 | LV_2937-21_0_7_line_43 |  | 40 | 41 | 0.027795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2937-21_0_7_line_44 |  | 41 | 66 | 0.0012206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2937-21_0_7_line_45 |  | 42 | 43 | 0.0040927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2937-21_0_7_line_46 |  | 42 | 44 | 0.037139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2937-21_0_7_line_47 |  | 44 | 45 | 0.00069155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2937-21_0_7_line_48 |  | 44 | 46 | 0.08595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2937-21_0_7_line_49 |  | 46 | 47 | 0.079333 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2937-21_0_7_line_50 |  | 47 | 48 | 0.052993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_2937-21_0_7_line_51 |  | 48 | 83 | 0.089222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2937-21_0_7_line_52 |  | 49 | 56 | 0.0027224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2937-21_0_7_line_53 |  | 50 | 51 | 0.021474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2937-21_0_7_line_54 |  | 50 | 52 | 0.036682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2937-21_0_7_line_55 |  | 51 | 55 | 0.01445 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_2937-21_0_7_line_56 |  | 51 | 56 | 0.0054029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2937-21_0_7_line_57 |  | 52 | 87 | 0.059157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_2937-21_0_7_line_58 |  | 53 | 54 | 0.029704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
59 | LV_2937-21_0_7_line_59 |  | 54 | 85 | 0.015454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_2937-21_0_7_line_60 |  | 54 | 64 | 0.0107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
61 | LV_2937-21_0_7_line_61 |  | 55 | 88 | 0.0091364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_2937-21_0_7_line_62 |  | 57 | 58 | 0.018117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_2937-21_0_7_line_63 |  | 57 | 59 | 0.0074623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_2937-21_0_7_line_64 |  | 58 | 60 | 0.0053429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_2937-21_0_7_line_65 |  | 59 | 61 | 0.009128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_2937-21_0_7_line_66 |  | 60 | 62 | 0.021663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
67 | LV_2937-21_0_7_line_67 |  | 61 | 63 | 0.011343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_2937-21_0_7_line_68 |  | 62 | 64 | 0.027518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
69 | LV_2937-21_0_7_line_69 |  | 64 | 82 | 0.028249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_2937-21_0_7_line_70 |  | 65 | 66 | 0.010687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_2937-21_0_7_line_71 |  | 65 | 67 | 0.0019682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_2937-21_0_7_line_72 |  | 67 | 68 | 0.024168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_2937-21_0_7_line_73 |  | 67 | 69 | 0.023984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_2937-21_0_7_line_74 |  | 68 | 70 | 0.0048785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_2937-21_0_7_line_75 |  | 69 | 71 | 0.002354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_2937-21_0_7_line_76 |  | 70 | 72 | 0.02085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_2937-21_0_7_line_77 |  | 71 | 73 | 0.020129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_2937-21_0_7_line_78 |  | 72 | 74 | 0.035099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_2937-21_0_7_line_79 |  | 72 | 75 | 0.019241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_2937-21_0_7_line_80 |  | 72 | 76 | 0.031701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_2937-21_0_7_line_81 |  | 73 | 102 | 0.0016561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_2937-21_0_7_line_82 |  | 74 | 77 | 0.023092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_2937-21_0_7_line_83 |  | 75 | 78 | 0.01841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_2937-21_0_7_line_84 |  | 76 | 79 | 0.019826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_2937-21_0_7_line_85 |  | 77 | 80 | 0.029338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_2937-21_0_7_line_86 |  | 78 | 81 | 0.0059888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_2937-21_0_7_line_87 |  | 80 | 107 | 0.024008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_2937-21_0_7_line_88 |  | 81 | 103 | 0.010725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_2937-21_0_7_line_89 |  | 83 | 84 | 0.02705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_2937-21_0_7_line_90 |  | 84 | 87 | 0.023134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_2937-21_0_7_line_91 |  | 85 | 86 | 0.046081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_2937-21_0_7_line_92 |  | 86 | 153 | 0.010837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_2937-21_0_7_line_93 |  | 86 | 152 | 0.01472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_2937-21_0_7_line_94 |  | 87 | 143 | 0.019867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_2937-21_0_7_line_95 |  | 88 | 142 | 0.00037308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_2937-21_0_7_line_96 |  | 89 | 90 | 0.008707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
97 | LV_2937-21_0_7_line_97 |  | 89 | 91 | 0.013466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
98 | LV_2937-21_0_7_line_98 |  | 90 | 92 | 0.017605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
99 | LV_2937-21_0_7_line_99 |  | 91 | 93 | 0.012956 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
100 | LV_2937-21_0_7_line_100 |  | 92 | 94 | 0.022962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
101 | LV_2937-21_0_7_line_101 |  | 93 | 95 | 0.013713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
102 | LV_2937-21_0_7_line_102 |  | 94 | 96 | 0.012542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_2937-21_0_7_line_103 |  | 94 | 97 | 0.023677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
104 | LV_2937-21_0_7_line_104 |  | 95 | 98 | 0.0051394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
105 | LV_2937-21_0_7_line_105 |  | 96 | 118 | 0.037464 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_2937-21_0_7_line_106 |  | 97 | 117 | 0.0095503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
107 | LV_2937-21_0_7_line_107 |  | 98 | 99 | 0.0020525 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
108 | LV_2937-21_0_7_line_108 |  | 99 | 100 | 0.018676 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
109 | LV_2937-21_0_7_line_109 |  | 100 | 101 | 0.0038906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
110 | LV_2937-21_0_7_line_110 |  | 101 | 102 | 0.025749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
111 | LV_2937-21_0_7_line_111 |  | 103 | 104 | 0.01358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
112 | LV_2937-21_0_7_line_112 |  | 104 | 105 | 0.0027646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
113 | LV_2937-21_0_7_line_113 |  | 105 | 106 | 0.014636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
114 | LV_2937-21_0_7_line_114 |  | 108 | 109 | 0.013721 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
115 | LV_2937-21_0_7_line_115 |  | 109 | 110 | 0.0077882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
116 | LV_2937-21_0_7_line_116 |  | 110 | 111 | 0.0098615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
117 | LV_2937-21_0_7_line_117 |  | 111 | 112 | 0.018085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
118 | LV_2937-21_0_7_line_118 |  | 112 | 114 | 0.0014446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
119 | LV_2937-21_0_7_line_119 |  | 113 | 126 | 0.01775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
120 | LV_2937-21_0_7_line_120 |  | 114 | 115 | 0.016652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
121 | LV_2937-21_0_7_line_121 |  | 115 | 116 | 0.017656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
122 | LV_2937-21_0_7_line_122 |  | 116 | 117 | 0.0086072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
123 | LV_2937-21_0_7_line_123 |  | 118 | 119 | 0.022906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
124 | LV_2937-21_0_7_line_124 |  | 119 | 127 | 0.024924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
125 | LV_2937-21_0_7_line_125 |  | 120 | 121 | 0.0089671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
126 | LV_2937-21_0_7_line_126 |  | 120 | 122 | 0.0013323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
127 | LV_2937-21_0_7_line_127 |  | 121 | 123 | 0.0077253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
128 | LV_2937-21_0_7_line_128 |  | 122 | 124 | 0.017925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
129 | LV_2937-21_0_7_line_129 |  | 124 | 125 | 0.010965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
130 | LV_2937-21_0_7_line_130 |  | 125 | 126 | 0.0066493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
131 | LV_2937-21_0_7_line_131 |  | 127 | 128 | 0.02639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
132 | LV_2937-21_0_7_line_132 |  | 129 | 130 | 0.023499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
133 | LV_2937-21_0_7_line_133 |  | 129 | 131 | 0.028966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
134 | LV_2937-21_0_7_line_134 |  | 131 | 132 | 0.010966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
135 | LV_2937-21_0_7_line_135 |  | 131 | 133 | 0.0050447 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
136 | LV_2937-21_0_7_line_136 |  | 132 | 134 | 0.020322 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
137 | LV_2937-21_0_7_line_137 |  | 133 | 135 | 0.0035998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
138 | LV_2937-21_0_7_line_138 |  | 134 | 136 | 0.0088137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
139 | LV_2937-21_0_7_line_139 |  | 135 | 137 | 0.011629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
140 | LV_2937-21_0_7_line_140 |  | 136 | 140 | 0.00033343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
141 | LV_2937-21_0_7_line_141 |  | 137 | 147 | 0.015469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
142 | LV_2937-21_0_7_line_142 |  | 138 | 139 | 0.0087696 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
143 | LV_2937-21_0_7_line_143 |  | 138 | 140 | 0.009845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
144 | LV_2937-21_0_7_line_144 |  | 139 | 141 | 0.0020546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
145 | LV_2937-21_0_7_line_145 |  | 141 | 142 | 0.014454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
146 | LV_2937-21_0_7_line_146 |  | 143 | 144 | 0.016768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
147 | LV_2937-21_0_7_line_147 |  | 144 | 145 | 0.018156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
148 | LV_2937-21_0_7_line_148 |  | 145 | 146 | 0.026133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
149 | LV_2937-21_0_7_line_149 |  | 147 | 150 | 0.014005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
150 | LV_2937-21_0_7_line_150 |  | 148 | 149 | 0.02638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
151 | LV_2937-21_0_7_line_151 |  | 148 | 150 | 0.0066808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
152 | LV_2937-21_0_7_line_152 |  | 151 | 152 | 0.015942 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2937-21_0_7_trafo_97 | 0.63 MVA 20/0.4 kV | 154 | 33 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2687959.8728 | 1282289.2966 | 2687959.3119 | 1282277.6472 | 2687960.1772 | 1282266.1332
1 | 2687960.1772 | 1282266.1332 | 2687962.2774 | 1282238.1881
2 | 2687962.7605 | 1282231.7592 | 2687962.2774 | 1282238.1881
3 | 2687962.7605 | 1282231.7592 | 2687968.7066 | 1282206.2038 | 2687969.6826 | 1282203.2693
4 | 2687962.7605 | 1282231.7592 | 2687953.5824 | 1282229.854 | 2687948.5363 | 1282226.3201
5 | 2687938.4018 | 1282209.2397 | 2687948.5363 | 1282226.3201
6 | 2687938.4018 | 1282209.2397 | 2687934.9293 | 1282203.3872
7 | 2687924.2267 | 1282183.165 | 2687927.5791 | 1282190.9995 | 2687934.9293 | 1282203.3872
8 | 2687924.2267 | 1282183.165 | 2687927.2552 | 1282181.5087 | 2687931.925 | 1282176.2267
9 | 2687911.5068 | 1282176.5474 | 2687916.1799 | 1282181.9328 | 2687921.5618 | 1282183.1029 | 2687924.2267 | 1282183.165
10 | 2687938.3811 | 1282168.9243 | 2687931.925 | 1282176.2267
11 | 2687911.5068 | 1282176.5474 | 2687904.6613 | 1282164.6492
12 | 2687938.3811 | 1282168.9243 | 2687943.4346 | 1282163.2084
13 | 2687962.3385 | 1282143.907 | 2687952.844 | 1282152.5655 | 2687947.5951 | 1282158.5024
14 | 2687970.6969 | 1282136.2845 | 2687962.3385 | 1282143.907
15 | 2687943.4346 | 1282163.2084 | 2687947.5951 | 1282158.5024
16 | 2687993.3561 | 1282125.5245 | 2687970.6969 | 1282136.2845
17 | 2687993.3561 | 1282125.5245 | 2687995.6739 | 1282135.2564 | 2687993.7621 | 1282141.0773 | 2687986.0431 | 1282158.674
18 | 2687993.3561 | 1282125.5245 | 2687995.2992 | 1282124.3957
19 | 2688017.8362 | 1282096.4427 | 2688015.048 | 1282103.6184 | 2688010.5357 | 1282111.6023 | 2688000.8026 | 1282121.1986 | 2687995.2992 | 1282124.3957
20 | 2688019.7195 | 1282092.0226 | 2688017.8362 | 1282096.4427
21 | 2688019.7195 | 1282092.0226 | 2688022.5014 | 1282085.5505
22 | 2688027.0687 | 1282088.685 | 2688024.3637 | 1282094.3161 | 2688019.7195 | 1282092.0226
23 | 2688027.0687 | 1282088.685 | 2688031.1976 | 1282080.4509
24 | 2688036.179 | 1282070.5165 | 2688031.1976 | 1282080.4509
25 | 2688049.6948 | 1282077.6467 | 2688043.1686 | 1282074.1574 | 2688036.179 | 1282070.5165
26 | 2688119.1838 | 1282174.4759 | 2688119.2302 | 1282174.3767
27 | 2688116.7229 | 1282179.7358 | 2688119.1838 | 1282174.4759
28 | 2688119.2302 | 1282174.3767 | 2688122.2928 | 1282167.831 | 2688123.3943 | 1282165.4788 | 2688127.3001 | 1282156.8853 | 2688130.9815 | 1282148.7923
29 | 2688116.7229 | 1282179.7358 | 2688113.6166 | 1282186.1617
30 | 2688116.7229 | 1282179.7358 | 2688133.9445 | 1282188.2337
31 | 2688139.3597 | 1282130.3317 | 2688135.6707 | 1282138.4835 | 2688130.9815 | 1282148.7923
32 | 2688145.7281 | 1282194.0483 | 2688133.9445 | 1282188.2337
33 | 2688139.3597 | 1282130.3317 | 2688146.2173 | 1282133.2478
34 | 2688139.3597 | 1282130.3317 | 2688131.8081 | 1282127.116 | 2688131.5896 | 1282125.8944
35 | 2688145.7281 | 1282194.0483 | 2688161.3903 | 1282198.6332
36 | 2688145.7281 | 1282194.0483 | 2688134.8912 | 1282220.5707
37 | 2688146.2173 | 1282133.2478 | 2688150.88 | 1282126.7675 | 2688155.8648 | 1282123.8618 | 2688159.0701 | 1282123.669
38 | 2688131.8698 | 1282107.4334 | 2688127.9261 | 1282117.0493 | 2688130.727 | 1282121.0724 | 2688131.5896 | 1282125.8944
39 | 2688092.5796 | 1282229.743 | 2688099.3925 | 1282215.6222
40 | 2688092.5796 | 1282229.743 | 2688089.2638 | 1282236.6155
41 | 2688161.3903 | 1282198.6332 | 2688165.9461 | 1282199.9668
42 | 2688127.2387 | 1282239.2997 | 2688134.8912 | 1282220.5707
43 | 2688077.1855 | 1282261.6495 | 2688089.2638 | 1282236.6155
44 | 2688076.6551 | 1282262.7489 | 2688077.1855 | 1282261.6495
45 | 2688184.4072 | 1282054.2721 | 2688180.7919 | 1282056.1905
46 | 2688184.4072 | 1282054.2721 | 2688201.0372 | 1282045.4477 | 2688209.0462 | 1282036.1707 | 2688214.3783 | 1282033.2972
47 | 2688214.9871 | 1282032.9691 | 2688214.3783 | 1282033.2972
48 | 2688214.3783 | 1282033.2972 | 2688162.9213 | 1281964.4526
49 | 2688162.9213 | 1281964.4526 | 2688190.7399 | 1281950.7457 | 2688218.8224 | 1281938.9779 | 2688229.0265 | 1281940.0871 | 2688235.7912 | 1281936.185
50 | 2688285.0445 | 1281955.4499 | 2688247.9954 | 1281943.1514 | 2688241.3216 | 1281939.9822 | 2688235.7912 | 1281936.185
51 | 2688293.7542 | 1282044.2455 | 2688285.0445 | 1281955.4499
52 | 2688161.7876 | 1282123.5056 | 2688159.0701 | 1282123.669
53 | 2688164.8729 | 1282119.0701 | 2688168.3456 | 1282113.8286 | 2688167.5686 | 1282109.5467 | 2688159.7284 | 1282102.0341
54 | 2688159.7284 | 1282102.0341 | 2688170.8389 | 1282096.262 | 2688193.0476 | 1282086.7449
55 | 2688164.8729 | 1282119.0701 | 2688177.897 | 1282123.4131 | 2688178.5779 | 1282123.6488
56 | 2688164.8729 | 1282119.0701 | 2688161.7876 | 1282123.5056 | 2688161.7876 | 1282123.5056
57 | 2688247.7357 | 1282064.2627 | 2688237.3123 | 1282067.7764 | 2688193.0476 | 1282086.7449
58 | 2688104.0637 | 1282096.7642 | 2688112.1277 | 1282099.8651 | 2688119.8186 | 1282102.8048 | 2688131.8698 | 1282107.4334
59 | 2688104.0637 | 1282096.7642 | 2688104.4638 | 1282088.5965 | 2688097.7011 | 1282085.9094
60 | 2688100.3914 | 1282106.818 | 2688104.0637 | 1282096.7642
61 | 2688187.2117 | 1282126.6373 | 2688186.9292 | 1282126.5397 | 2688178.5779 | 1282123.6488
62 | 2688045.2921 | 1282098.3877 | 2688048.2785 | 1282102.5692 | 2688045.037 | 1282112.4404 | 2688047.6238 | 1282112.352
63 | 2688038.6906 | 1282094.9083 | 2688045.2921 | 1282098.3877
64 | 2688052.9637 | 1282112.1696 | 2688047.6238 | 1282112.352
65 | 2688038.6906 | 1282094.9083 | 2688043.5975 | 1282087.2113
66 | 2688052.9637 | 1282112.1696 | 2688074.6206 | 1282111.6543
67 | 2688049.6948 | 1282077.6467 | 2688043.5975 | 1282087.2113
68 | 2688100.3914 | 1282106.818 | 2688097.3639 | 1282110.4091 | 2688092.8611 | 1282111.2203 | 2688074.6206 | 1282111.6543
69 | 2688100.3914 | 1282106.818 | 2688104.5113 | 1282111.528 | 2688105.7034 | 1282118.6853 | 2688101.1537 | 1282126.6464 | 2688101.0778 | 1282132.2278
70 | 2688072.011 | 1282272.3745 | 2688076.6551 | 1282262.7489
71 | 2688071.1557 | 1282274.1472 | 2688072.011 | 1282272.3745
72 | 2688071.1557 | 1282274.1472 | 2688060.9928 | 1282296.0744
73 | 2688071.1557 | 1282274.1472 | 2688093.265 | 1282283.4442
74 | 2688058.9413 | 1282300.5006 | 2688060.9928 | 1282296.0744
75 | 2688095.435 | 1282284.3567 | 2688093.265 | 1282283.4442
76 | 2688050.1738 | 1282319.4171 | 2688058.9413 | 1282300.5006
77 | 2688095.435 | 1282284.3567 | 2688113.9902 | 1282292.1592
78 | 2688050.1738 | 1282319.4171 | 2688045.2379 | 1282337.6591 | 2688042.7131 | 1282353.6618
79 | 2688050.1738 | 1282319.4171 | 2688067.5712 | 1282327.6369
80 | 2688050.1738 | 1282319.4171 | 2688020.4829 | 1282308.3087
81 | 2688115.5169 | 1282292.8012 | 2688113.9902 | 1282292.1592
82 | 2688040.1208 | 1282376.6005 | 2688041.8369 | 1282359.2157 | 2688042.7131 | 1282353.6618
83 | 2688084.2165 | 1282335.5013 | 2688067.5712 | 1282327.6369
84 | 2688020.4829 | 1282308.3087 | 2688025.2079 | 1282302.1628 | 2688014.3069 | 1282296.9734
85 | 2688039.1634 | 1282405.8988 | 2688038.9331 | 1282400.2632 | 2688039.7751 | 1282380.1029 | 2688040.1208 | 1282376.6005
86 | 2688089.6314 | 1282338.0597 | 2688084.2165 | 1282335.5013
87 | 2688041.2962 | 1282429.8094 | 2688039.23 | 1282407.5294 | 2688039.1634 | 1282405.8988
88 | 2688094.1279 | 1282346.9585 | 2688092.1023 | 1282339.2271 | 2688089.6314 | 1282338.0597
89 | 2688293.7542 | 1282044.2455 | 2688268.9494 | 1282055.0351
90 | 2688247.7357 | 1282064.2627 | 2688268.9494 | 1282055.0351
91 | 2688055.1434 | 1282068.3312 | 2688059.3289 | 1282070.6624 | 2688097.7011 | 1282085.9094
92 | 2688055.1434 | 1282068.3312 | 2688061.5817 | 1282059.6145
93 | 2688055.1434 | 1282068.3312 | 2688048.6416 | 1282064.7088 | 2688042.2515 | 1282061.1547
94 | 2688247.7357 | 1282064.2627 | 2688255.0337 | 1282082.7404
95 | 2688187.2117 | 1282126.6373 | 2688187.5643 | 1282126.7592
96 | 2688202.0596 | 1282316.5963 | 2688209.0363 | 1282311.3868
97 | 2688191.27 | 1282324.6527 | 2688202.0596 | 1282316.5963
98 | 2688223.1429 | 1282300.8535 | 2688209.0363 | 1282311.3868
99 | 2688191.27 | 1282324.6527 | 2688179.3258 | 1282319.6323
100 | 2688243.3795 | 1282289.8914 | 2688233.0445 | 1282295.5527 | 2688223.1429 | 1282300.8535
101 | 2688166.6842 | 1282314.3172 | 2688175.3305 | 1282317.953 | 2688179.3258 | 1282319.6323
102 | 2688243.3795 | 1282289.8914 | 2688254.9848 | 1282285.136
103 | 2688243.3795 | 1282289.8914 | 2688237.8274 | 1282285.0597 | 2688222.7503 | 1282278.821
104 | 2688166.6842 | 1282314.3172 | 2688161.9466 | 1282312.325
105 | 2688254.9848 | 1282285.136 | 2688289.6515 | 1282270.9308
106 | 2688222.7503 | 1282278.821 | 2688213.9256 | 1282275.1695
107 | 2688160.0546 | 1282311.5294 | 2688161.9466 | 1282312.325
108 | 2688142.8389 | 1282304.2902 | 2688160.0546 | 1282311.5294
109 | 2688142.8389 | 1282304.2902 | 2688139.2524 | 1282302.782
110 | 2688115.5169 | 1282292.8012 | 2688139.2524 | 1282302.782
111 | 2688097.5696 | 1282360.095 | 2688094.1279 | 1282346.9585
112 | 2688097.5696 | 1282360.095 | 2688098.2703 | 1282362.7693
113 | 2688101.9798 | 1282376.9279 | 2688098.2703 | 1282362.7693
114 | 2688127.2387 | 1282239.2997 | 2688127.2387 | 1282239.2997 | 2688139.9173 | 1282244.5459
115 | 2688147.1137 | 1282247.5237 | 2688139.9173 | 1282244.5459
116 | 2688147.1137 | 1282247.5237 | 2688156.226 | 1282251.2942
117 | 2688156.226 | 1282251.2942 | 2688172.9366 | 1282258.2088
118 | 2688174.2714 | 1282258.7611 | 2688172.9366 | 1282258.2088
119 | 2688165.9461 | 1282199.9668 | 2688182.9808 | 1282204.9535
120 | 2688174.2714 | 1282258.7611 | 2688189.6578 | 1282265.1278
121 | 2688189.6578 | 1282265.1278 | 2688205.9724 | 1282271.8786
122 | 2688205.9724 | 1282271.8786 | 2688213.9256 | 1282275.1695
123 | 2688289.6515 | 1282270.9308 | 2688295.2195 | 1282268.6492 | 2688311.8161 | 1282265.5244
124 | 2688311.8161 | 1282265.5244 | 2688334.8832 | 1282261.1814 | 2688336.3217 | 1282260.9835
125 | 2688218.367 | 1282215.3153 | 2688226.9725 | 1282217.8361
126 | 2688218.367 | 1282215.3153 | 2688217.0884 | 1282214.9408
127 | 2688234.3863 | 1282220.0078 | 2688226.9725 | 1282217.8361
128 | 2688199.8857 | 1282209.9022 | 2688203.0592 | 1282210.8312 | 2688217.0884 | 1282214.9408
129 | 2688189.3623 | 1282206.8216 | 2688199.8857 | 1282209.9022
130 | 2688189.3623 | 1282206.8216 | 2688182.9808 | 1282204.9535
131 | 2688336.3217 | 1282260.9835 | 2688362.465 | 1282257.3871
132 | 2688286.2151 | 1282183.6201 | 2688263.0124 | 1282179.9018
133 | 2688258.8057 | 1282151.9259 | 2688257.1551 | 1282157.8396 | 2688263.0124 | 1282179.9018 | 2688263.0124 | 1282179.9018
134 | 2688258.8057 | 1282151.9259 | 2688254.3226 | 1282150.4131 | 2688248.4601 | 1282148.2907
135 | 2688258.8057 | 1282151.9259 | 2688263.5845 | 1282153.5421
136 | 2688229.3515 | 1282141.3729 | 2688248.4601 | 1282148.2907
137 | 2688266.9946 | 1282154.6953 | 2688263.5845 | 1282153.5421
138 | 2688229.3515 | 1282141.3729 | 2688221.0642 | 1282138.3727
139 | 2688266.9946 | 1282154.6953 | 2688278.0119 | 1282158.4165
140 | 2688220.7507 | 1282138.2592 | 2688221.0642 | 1282138.3727
141 | 2688278.0119 | 1282158.4165 | 2688279.8459 | 1282159.0359 | 2688292.6024 | 1282163.5549
142 | 2688211.4554 | 1282135.0161 | 2688203.1668 | 1282132.1515
143 | 2688220.7507 | 1282138.2592 | 2688218.8821 | 1282137.5828 | 2688211.4554 | 1282135.0161
144 | 2688201.225 | 1282131.4804 | 2688203.1668 | 1282132.1515
145 | 2688187.5643 | 1282126.7592 | 2688201.225 | 1282131.4804
146 | 2688266.6487 | 1282093.8964 | 2688256.9171 | 1282087.509 | 2688255.0337 | 1282082.7404
147 | 2688266.6487 | 1282093.8964 | 2688270.0425 | 1282096.124 | 2688283.0756 | 1282101.4941
148 | 2688307.2381 | 1282111.45 | 2688283.0756 | 1282101.4941
149 | 2688292.6024 | 1282163.5549 | 2688305.8033 | 1282168.2313
150 | 2688312.1006 | 1282170.4621 | 2688336.9686 | 1282179.2661
151 | 2688312.1006 | 1282170.4621 | 2688305.8033 | 1282168.2313
152 | 2688042.2515 | 1282061.1547 | 2688051.2893 | 1282048.8458 | 2688051.86 | 1282049.1999

## bus_geodata
| x | y | coords
0 | 2687959.8728 | 1282289.2966
1 | 2687960.1772 | 1282266.1332
2 | 2687962.2774 | 1282238.1881
3 | 2687962.7605 | 1282231.7592
4 | 2687969.6826 | 1282203.2693
5 | 2687948.5363 | 1282226.3201
6 | 2687938.4018 | 1282209.2397
7 | 2687934.9293 | 1282203.3872
8 | 2687924.2267 | 1282183.165
9 | 2687931.925 | 1282176.2267
10 | 2687911.5068 | 1282176.5474
11 | 2687938.3811 | 1282168.9243
12 | 2687904.6613 | 1282164.6492
13 | 2687962.3385 | 1282143.907
14 | 2687947.5951 | 1282158.5024
15 | 2687970.6969 | 1282136.2845
16 | 2687943.4346 | 1282163.2084
17 | 2687993.3561 | 1282125.5245
18 | 2687986.0431 | 1282158.674
19 | 2687995.2992 | 1282124.3957
20 | 2688017.8362 | 1282096.4427
21 | 2688022.5014 | 1282085.5505
22 | 2688019.7195 | 1282092.0226
23 | 2688027.0687 | 1282088.685
24 | 2688031.1976 | 1282080.4509
25 | 2688036.179 | 1282070.5165
26 | 2688119.1838 | 1282174.4759
27 | 2688119.2302 | 1282174.3767
28 | 2688116.7229 | 1282179.7358
29 | 2688130.9815 | 1282148.7923
30 | 2688113.6166 | 1282186.1617
31 | 2688133.9445 | 1282188.2337
32 | 2688139.3597 | 1282130.3317
33 | 2688145.7281 | 1282194.0483
34 | 2688146.2173 | 1282133.2478
35 | 2688131.5896 | 1282125.8944
36 | 2688099.3925 | 1282215.6222
37 | 2688092.5796 | 1282229.743
38 | 2688161.3903 | 1282198.6332
39 | 2688134.8912 | 1282220.5707
40 | 2688089.2638 | 1282236.6155
41 | 2688077.1855 | 1282261.6495
42 | 2688184.4072 | 1282054.2721
43 | 2688180.7919 | 1282056.1905
44 | 2688214.3783 | 1282033.2972
45 | 2688214.9871 | 1282032.9691
46 | 2688162.9213 | 1281964.4526
47 | 2688235.7912 | 1281936.185
48 | 2688285.0445 | 1281955.4499
49 | 2688159.0701 | 1282123.669
50 | 2688159.7284 | 1282102.0341
51 | 2688164.8729 | 1282119.0701
52 | 2688193.0476 | 1282086.7449
53 | 2688131.8698 | 1282107.4334
54 | 2688104.0637 | 1282096.7642
55 | 2688178.5779 | 1282123.6488
56 | 2688161.7876 | 1282123.5056
57 | 2688045.2921 | 1282098.3877
58 | 2688047.6238 | 1282112.352
59 | 2688038.6906 | 1282094.9083
60 | 2688052.9637 | 1282112.1696
61 | 2688043.5975 | 1282087.2113
62 | 2688074.6206 | 1282111.6543
63 | 2688049.6948 | 1282077.6467
64 | 2688100.3914 | 1282106.818
65 | 2688072.011 | 1282272.3745
66 | 2688076.6551 | 1282262.7489
67 | 2688071.1557 | 1282274.1472
68 | 2688060.9928 | 1282296.0744
69 | 2688093.265 | 1282283.4442
70 | 2688058.9413 | 1282300.5006
71 | 2688095.435 | 1282284.3567
72 | 2688050.1738 | 1282319.4171
73 | 2688113.9902 | 1282292.1592
74 | 2688042.7131 | 1282353.6618
75 | 2688067.5712 | 1282327.6369
76 | 2688020.4829 | 1282308.3087
77 | 2688040.1208 | 1282376.6005
78 | 2688084.2165 | 1282335.5013
79 | 2688014.3069 | 1282296.9734
80 | 2688039.1634 | 1282405.8988
81 | 2688089.6314 | 1282338.0597
82 | 2688101.0778 | 1282132.2278
83 | 2688293.7542 | 1282044.2455
84 | 2688268.9494 | 1282055.0351
85 | 2688097.7011 | 1282085.9094
86 | 2688055.1434 | 1282068.3312
87 | 2688247.7357 | 1282064.2627
88 | 2688187.2117 | 1282126.6373
89 | 2688202.0596 | 1282316.5963
90 | 2688209.0363 | 1282311.3868
91 | 2688191.27 | 1282324.6527
92 | 2688223.1429 | 1282300.8535
93 | 2688179.3258 | 1282319.6323
94 | 2688243.3795 | 1282289.8914
95 | 2688166.6842 | 1282314.3172
96 | 2688254.9848 | 1282285.136
97 | 2688222.7503 | 1282278.821
98 | 2688161.9466 | 1282312.325
99 | 2688160.0546 | 1282311.5294
100 | 2688142.8389 | 1282304.2902
101 | 2688139.2524 | 1282302.782
102 | 2688115.5169 | 1282292.8012
103 | 2688094.1279 | 1282346.9585
104 | 2688097.5696 | 1282360.095
105 | 2688098.2703 | 1282362.7693
106 | 2688101.9798 | 1282376.9279
107 | 2688041.2962 | 1282429.8094
108 | 2688127.2387 | 1282239.2997
109 | 2688139.9173 | 1282244.5459
110 | 2688147.1137 | 1282247.5237
111 | 2688156.226 | 1282251.2942
112 | 2688172.9366 | 1282258.2088
113 | 2688165.9461 | 1282199.9668
114 | 2688174.2714 | 1282258.7611
115 | 2688189.6578 | 1282265.1278
116 | 2688205.9724 | 1282271.8786
117 | 2688213.9256 | 1282275.1695
118 | 2688289.6515 | 1282270.9308
119 | 2688311.8161 | 1282265.5244
120 | 2688218.367 | 1282215.3153
121 | 2688226.9725 | 1282217.8361
122 | 2688217.0884 | 1282214.9408
123 | 2688234.3863 | 1282220.0078
124 | 2688199.8857 | 1282209.9022
125 | 2688189.3623 | 1282206.8216
126 | 2688182.9808 | 1282204.9535
127 | 2688336.3217 | 1282260.9835
128 | 2688362.465 | 1282257.3871
129 | 2688263.0124 | 1282179.9018
130 | 2688286.2151 | 1282183.6201
131 | 2688258.8057 | 1282151.9259
132 | 2688248.4601 | 1282148.2907
133 | 2688263.5845 | 1282153.5421
134 | 2688229.3515 | 1282141.3729
135 | 2688266.9946 | 1282154.6953
136 | 2688221.0642 | 1282138.3727
137 | 2688278.0119 | 1282158.4165
138 | 2688211.4554 | 1282135.0161
139 | 2688203.1668 | 1282132.1515
140 | 2688220.7507 | 1282138.2592
141 | 2688201.225 | 1282131.4804
142 | 2688187.5643 | 1282126.7592
143 | 2688255.0337 | 1282082.7404
144 | 2688266.6487 | 1282093.8964
145 | 2688283.0756 | 1282101.4941
146 | 2688307.2381 | 1282111.45
147 | 2688292.6024 | 1282163.5549
148 | 2688312.1006 | 1282170.4621
149 | 2688336.9686 | 1282179.2661
150 | 2688305.8033 | 1282168.2313
151 | 2688051.86 | 1282049.1999
152 | 2688042.2515 | 1282061.1547
153 | 2688061.5817 | 1282059.6145
154 | 2688116.7229 | 1282179.7358

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1