## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2937-26_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2937-26_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2937-26_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2937-26_0_3_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_2937-26_0_3_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_2937-26_0_3_node_3 | 0.4 | n |  | TRUE
6 | bus_LV_2937-26_0_3_node_11 | 0.4 | n |  | TRUE
7 | bus_LV_2937-26_0_3_node_74 | 0.4 | n |  | TRUE
8 | bus_LV_2937-26_0_3_node_8 | 0.4 | n |  | TRUE
9 | bus_LV_2937-26_0_3_node_22 | 0.4 | n |  | TRUE
10 | bus_LV_2937-26_0_3_node_10 | 0.4 | n |  | TRUE
11 | bus_LV_2937-26_0_3_node_6 | 0.4 | n |  | TRUE
12 | bus_LV_2937-26_0_3_node_21 | 0.4 | n |  | TRUE
13 | bus_LV_2937-26_0_3_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_2937-26_0_3_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_2937-26_0_3_node_13 | 0.4 | n |  | TRUE
16 | bus_LV_2937-26_0_3_node_75 | 0.4 | n |  | TRUE
17 | bus_LV_2937-26_0_3_node_18 | 0.4 | n |  | TRUE
18 | bus_LV_2937-26_0_3_node_14 | 0.4 | n |  | TRUE
19 | bus_LV_2937-26_0_3_node_15 | 0.4 | n |  | TRUE
20 | bus_LV_2937-26_0_3_node_19 | 0.4 | n |  | TRUE
21 | bus_LV_2937-26_0_3_node_17 | 0.4 | n |  | TRUE
22 | bus_LV_2937-26_0_3_node_31 | 0.4 | n |  | TRUE
23 | bus_LV_2937-26_0_3_node_29 | 0.4 | n |  | TRUE
24 | bus_LV_2937-26_0_3_node_20 | 0.4 | n |  | TRUE
25 | bus_LV_2937-26_0_3_node_23 | 0.4 | n |  | TRUE
26 | bus_LV_2937-26_0_3_node_24 | 0.4 | n |  | TRUE
27 | bus_LV_2937-26_0_3_node_25 | 0.4 | n |  | TRUE
28 | bus_LV_2937-26_0_3_node_26 | 0.4 | n |  | TRUE
29 | bus_LV_2937-26_0_3_node_27 | 0.4 | n |  | TRUE
30 | bus_LV_2937-26_0_3_node_28 | 0.4 | n |  | TRUE
31 | bus_LV_2937-26_0_3_node_35 | 0.4 | n |  | TRUE
32 | bus_LV_2937-26_0_3_node_42 | 0.4 | n |  | TRUE
33 | bus_LV_2937-26_0_3_node_43 | 0.4 | n |  | TRUE
34 | bus_LV_2937-26_0_3_node_72 | 0.4 | n |  | TRUE
35 | bus_LV_2937-26_0_3_node_33 | 0.4 | n |  | TRUE
36 | bus_LV_2937-26_0_3_node_41 | 0.4 | n |  | TRUE
37 | bus_LV_2937-26_0_3_node_30 | 0.4 | n |  | TRUE
38 | bus_LV_2937-26_0_3_node_44 | 0.4 | n |  | TRUE
39 | bus_LV_2937-26_0_3_node_49 | 0.4 | n |  | TRUE
40 | bus_LV_2937-26_0_3_node_47 | 0.4 | n |  | TRUE
41 | bus_LV_2937-26_0_3_node_32 | 0.4 | n |  | TRUE
42 | bus_LV_2937-26_0_3_node_34 | 0.4 | n |  | TRUE
43 | bus_LV_2937-26_0_3_node_36 | 0.4 | n |  | TRUE
44 | bus_LV_2937-26_0_3_node_73 | 0.4 | n |  | TRUE
45 | bus_LV_2937-26_0_3_node_62 | 0.4 | n |  | TRUE
46 | bus_LV_2937-26_0_3_node_37 | 0.4 | n |  | TRUE
47 | bus_LV_2937-26_0_3_node_38 | 0.4 | n |  | TRUE
48 | bus_LV_2937-26_0_3_node_39 | 0.4 | n |  | TRUE
49 | bus_LV_2937-26_0_3_node_40 | 0.4 | n |  | TRUE
50 | bus_LV_2937-26_0_3_node_45 | 0.4 | n |  | TRUE
51 | bus_LV_2937-26_0_3_node_46 | 0.4 | n |  | TRUE
52 | bus_LV_2937-26_0_3_node_48 | 0.4 | n |  | TRUE
53 | bus_LV_2937-26_0_3_node_50 | 0.4 | n |  | TRUE
54 | bus_LV_2937-26_0_3_node_51 | 0.4 | n |  | TRUE
55 | bus_LV_2937-26_0_3_node_53 | 0.4 | n |  | TRUE
56 | bus_LV_2937-26_0_3_node_52 | 0.4 | n |  | TRUE
57 | bus_LV_2937-26_0_3_node_54 | 0.4 | n |  | TRUE
58 | bus_LV_2937-26_0_3_node_55 | 0.4 | n |  | TRUE
59 | bus_LV_2937-26_0_3_node_60 | 0.4 | n |  | TRUE
60 | bus_LV_2937-26_0_3_node_57 | 0.4 | n |  | TRUE
61 | bus_LV_2937-26_0_3_node_59 | 0.4 | n |  | TRUE
62 | bus_LV_2937-26_0_3_node_56 | 0.4 | n |  | TRUE
63 | bus_LV_2937-26_0_3_node_58 | 0.4 | n |  | TRUE
64 | bus_LV_2937-26_0_3_node_63 | 0.4 | n |  | TRUE
65 | bus_LV_2937-26_0_3_node_61 | 0.4 | n |  | TRUE
66 | bus_LV_2937-26_0_3_node_70 | 0.4 | n |  | TRUE
67 | bus_LV_2937-26_0_3_node_64 | 0.4 | n |  | TRUE
68 | bus_LV_2937-26_0_3_node_67 | 0.4 | n |  | TRUE
69 | bus_LV_2937-26_0_3_node_66 | 0.4 | n |  | TRUE
70 | bus_LV_2937-26_0_3_node_68 | 0.4 | n |  | TRUE
71 | bus_LV_2937-26_0_3_node_69 | 0.4 | n |  | TRUE
72 | bus_MV_400_1_node_152 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2937-26_0_3_load_0 | 0 | 0.0010654 | 0.00026701 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2937-26_0_3_load_1 | 1 | 0.0013792 | 0.00034565 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2937-26_0_3_load_5 | 4 | 0.0014926 | 0.00037407 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2937-26_0_3_load_3 | 5 | 0.0008894 | 0.0002229 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2937-26_0_3_load_11 | 6 | 0.00055116 | 0.00013813 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2937-26_0_3_load_74 | 7 | 0.0040784 | 0.0010221 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2937-26_0_3_load_6 | 11 | 0.0009055 | 0.00022694 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2937-26_0_3_load_7 | 13 | 0.0038195 | 0.00095725 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2937-26_0_3_load_9 | 14 | 0.0096567 | 0.0024202 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2937-26_0_3_load_13 | 15 | 0.0041891 | 0.0010499 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2937-26_0_3_load_75 | 16 | 0.002345 | 0.00058771 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2937-26_0_3_load_14 | 18 | 0.0025628 | 0.00064231 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2937-26_0_3_load_15 | 19 | 0.0035279 | 0.00088417 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2937-26_0_3_load_17 | 21 | 0.0016048 | 0.0004022 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2937-26_0_3_load_31 | 22 | 0.0014414 | 0.00036124 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2937-26_0_3_load_20 | 24 | 0.049417 | 0.012385 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2937-26_0_3_load_23 | 25 | 0.0013996 | 0.00035078 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2937-26_0_3_load_24 | 26 | 0.0023364 | 0.00058557 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2937-26_0_3_load_27 | 29 | 0.0014667 | 0.00036758 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2937-26_0_3_load_28 | 30 | 0.0022244 | 0.00055749 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2937-26_0_3_load_42 | 32 | 0.00159 | 0.0003985 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2937-26_0_3_load_43 | 33 | 0.0015122 | 0.00037899 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2937-26_0_3_load_72 | 34 | 0.030408 | 0.007621 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2937-26_0_3_load_33 | 35 | 0.0046714 | 0.0011708 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2937-26_0_3_load_41 | 36 | 0.014947 | 0.003746 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2937-26_0_3_load_30 | 37 | 0.0014337 | 0.00035933 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2937-26_0_3_load_44 | 38 | 0.0031617 | 0.0007924 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2937-26_0_3_load_49 | 39 | 0.0012204 | 0.00030587 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2937-26_0_3_load_47 | 40 | 0.0021439 | 0.00053731 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2937-26_0_3_load_32 | 41 | 0.024771 | 0.0062082 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2937-26_0_3_load_73 | 44 | 0.010708 | 0.0026836 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2937-26_0_3_load_37 | 46 | 0.0070703 | 0.001772 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2937-26_0_3_load_38 | 47 | 0.0026085 | 0.00065376 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2937-26_0_3_load_39 | 48 | 0.002937 | 0.00073608 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2937-26_0_3_load_40 | 49 | 0.0025684 | 0.0006437 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2937-26_0_3_load_45 | 50 | 0.0032069 | 0.00080373 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2937-26_0_3_load_46 | 51 | 0.0013709 | 0.00034358 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2937-26_0_3_load_48 | 52 | 0.003695 | 0.00092607 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2937-26_0_3_load_50 | 53 | 0.0026361 | 0.00066067 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2937-26_0_3_load_51 | 54 | 0.0021457 | 0.00053777 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2937-26_0_3_load_52 | 56 | 0.0028654 | 0.00071815 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2937-26_0_3_load_54 | 57 | 0.010214 | 0.0025598 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2937-26_0_3_load_55 | 58 | 0.0016416 | 0.00041143 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2937-26_0_3_load_56 | 62 | 0.010207 | 0.0025582 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2937-26_0_3_load_63 | 64 | 0.018762 | 0.0047022 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2937-26_0_3_load_70 | 66 | 0.0022418 | 0.00056184 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2937-26_0_3_load_64 | 67 | 0.019563 | 0.0049029 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2937-26_0_3_load_67 | 68 | 0.0019587 | 0.00049089 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2937-26_0_3_load_66 | 69 | 0.0045645 | 0.001144 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 36 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2937-26_0_3_line_0 |  | 0 | 1 | 0.0088838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2937-26_0_3_line_1 |  | 0 | 2 | 0.022771 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2937-26_0_3_line_2 |  | 2 | 3 | 0.015461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2937-26_0_3_line_3 |  | 2 | 4 | 0.04629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2937-26_0_3_line_4 |  | 3 | 7 | 0.014678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2937-26_0_3_line_5 |  | 3 | 8 | 0.013364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2937-26_0_3_line_6 |  | 4 | 9 | 0.029779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2937-26_0_3_line_7 |  | 5 | 6 | 0.011444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2937-26_0_3_line_8 |  | 6 | 9 | 0.045461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2937-26_0_3_line_9 |  | 8 | 10 | 0.020094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2937-26_0_3_line_10 |  | 8 | 11 | 0.017441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2937-26_0_3_line_11 |  | 9 | 12 | 0.016342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2937-26_0_3_line_12 |  | 10 | 16 | 0.053711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2937-26_0_3_line_13 |  | 10 | 17 | 0.012594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2937-26_0_3_line_14 |  | 11 | 13 | 0.0007753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2937-26_0_3_line_15 |  | 12 | 24 | 0.035138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2937-26_0_3_line_16 |  | 13 | 14 | 0.024346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2937-26_0_3_line_17 |  | 14 | 15 | 0.084326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2937-26_0_3_line_18 |  | 15 | 18 | 0.0013797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2937-26_0_3_line_19 |  | 17 | 20 | 0.10756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
20 | LV_2937-26_0_3_line_20 |  | 17 | 21 | 0.09299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2937-26_0_3_line_21 |  | 18 | 19 | 0.047748 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2937-26_0_3_line_22 |  | 20 | 22 | 0.065837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
23 | LV_2937-26_0_3_line_23 |  | 22 | 23 | 0.012542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
24 | LV_2937-26_0_3_line_24 |  | 23 | 37 | 0.016214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2937-26_0_3_line_25 |  | 23 | 29 | 0.036792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
26 | LV_2937-26_0_3_line_26 |  | 25 | 26 | 0.0060816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
27 | LV_2937-26_0_3_line_27 |  | 25 | 27 | 0.0092523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
28 | LV_2937-26_0_3_line_28 |  | 26 | 28 | 0.042262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
29 | LV_2937-26_0_3_line_29 |  | 27 | 29 | 0.016053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
30 | LV_2937-26_0_3_line_30 |  | 27 | 30 | 0.020444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2937-26_0_3_line_31 |  | 28 | 31 | 0.012816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
32 | LV_2937-26_0_3_line_32 |  | 28 | 32 | 0.014126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
33 | LV_2937-26_0_3_line_33 |  | 30 | 33 | 0.014549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2937-26_0_3_line_34 |  | 31 | 34 | 0.034501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2937-26_0_3_line_35 |  | 31 | 35 | 0.036316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
36 | LV_2937-26_0_3_line_36 |  | 32 | 36 | 0.012201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
37 | LV_2937-26_0_3_line_37 |  | 33 | 38 | 0.014023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2937-26_0_3_line_38 |  | 35 | 41 | 0.011016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
39 | LV_2937-26_0_3_line_39 |  | 36 | 49 | 0.0036431 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2937-26_0_3_line_40 |  | 37 | 39 | 0.015907 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2937-26_0_3_line_41 |  | 38 | 50 | 0.0078215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2937-26_0_3_line_42 |  | 39 | 40 | 0.0043859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2937-26_0_3_line_43 |  | 40 | 51 | 0.0027909 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2937-26_0_3_line_44 |  | 41 | 42 | 0.088385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
45 | LV_2937-26_0_3_line_45 |  | 42 | 43 | 0.024013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
46 | LV_2937-26_0_3_line_46 |  | 43 | 44 | 0.1005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
47 | LV_2937-26_0_3_line_47 |  | 44 | 45 | 0.029031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2937-26_0_3_line_48 |  | 45 | 63 | 0.032766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2937-26_0_3_line_49 |  | 45 | 65 | 0.035739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2937-26_0_3_line_50 |  | 46 | 47 | 0.0057144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_2937-26_0_3_line_51 |  | 46 | 48 | 0.0061656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2937-26_0_3_line_52 |  | 47 | 49 | 0.021208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2937-26_0_3_line_53 |  | 51 | 52 | 0.012636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2937-26_0_3_line_54 |  | 53 | 54 | 0.011792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2937-26_0_3_line_55 |  | 54 | 55 | 0.034992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_2937-26_0_3_line_56 |  | 55 | 57 | 0.04976 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2937-26_0_3_line_57 |  | 55 | 58 | 0.028816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_2937-26_0_3_line_58 |  | 55 | 56 | 0.043642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_2937-26_0_3_line_59 |  | 57 | 59 | 0.023509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_2937-26_0_3_line_60 |  | 59 | 60 | 0.018574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_2937-26_0_3_line_61 |  | 59 | 61 | 0.023547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_2937-26_0_3_line_62 |  | 60 | 62 | 0.031372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_2937-26_0_3_line_63 |  | 61 | 64 | 0.038968 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_2937-26_0_3_line_64 |  | 62 | 63 | 0.0033168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_2937-26_0_3_line_65 |  | 64 | 67 | 0.079822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_2937-26_0_3_line_66 |  | 64 | 68 | 0.10468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_2937-26_0_3_line_67 |  | 65 | 66 | 0.022065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_2937-26_0_3_line_68 |  | 68 | 71 | 0.027642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_2937-26_0_3_line_69 |  | 69 | 70 | 0.027698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_2937-26_0_3_line_70 |  | 70 | 71 | 0.032261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2937-26_0_3_trafo_41 | 0.63 MVA 20/0.4 kV | 72 | 36 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2687149.9565 | 1281348.0606 | 2687156.875 | 1281342.4877
1 | 2687134.4893 | 1281364.1182 | 2687137.1655 | 1281358.3639 | 2687149.9565 | 1281348.0606
2 | 2687134.4893 | 1281364.1182 | 2687119.2964 | 1281361.0133
3 | 2687134.4893 | 1281364.1182 | 2687144.6863 | 1281368.8396 | 2687149.7836 | 1281371.5283 | 2687162.8148 | 1281380.6287 | 2687172.6217 | 1281389.7532
4 | 2687119.117 | 1281375.6898 | 2687119.2199 | 1281368.7298 | 2687119.2964 | 1281361.0133
5 | 2687105.9074 | 1281360.3594 | 2687119.2964 | 1281361.0133
6 | 2687194.4191 | 1281410.0433 | 2687182.8547 | 1281399.2742 | 2687172.6217 | 1281389.7532
7 | 2687210.3427 | 1281358.19 | 2687205.2675 | 1281368.447
8 | 2687194.4191 | 1281410.0433 | 2687190.8637 | 1281397.5578 | 2687205.2675 | 1281368.447
9 | 2687105.9074 | 1281360.3594 | 2687088.2035 | 1281360.9873 | 2687085.7626 | 1281360.9846
10 | 2687105.9074 | 1281360.3594 | 2687106.4944 | 1281342.9286
11 | 2687206.3068 | 1281421.2953 | 2687194.4191 | 1281410.0433
12 | 2687085.5846 | 1281414.6945 | 2687085.7626 | 1281360.9846
13 | 2687073.1303 | 1281360.9647 | 2687085.7626 | 1281360.9846
14 | 2687106.5205 | 1281342.1537 | 2687106.4944 | 1281342.9286
15 | 2687206.3068 | 1281421.2953 | 2687200.3395 | 1281429.1805 | 2687200.1446 | 1281436.7618 | 2687199.6893 | 1281454.4215
16 | 2687107.3399 | 1281317.822 | 2687106.5205 | 1281342.1537
17 | 2687107.3399 | 1281317.822 | 2687097.863 | 1281234.0304
18 | 2687096.8032 | 1281233.147 | 2687097.863 | 1281234.0304
19 | 2686965.3604 | 1281361.6193 | 2686981.0512 | 1281363.052 | 2687023.1682 | 1281363.1624 | 2687073.1303 | 1281360.9647
20 | 2687073.1303 | 1281360.9647 | 2687073.2263 | 1281346.8429 | 2687071.9832 | 1281341.52 | 2687058.1782 | 1281332.4196 | 2687018.8013 | 1281305.4153 | 2687011.8626 | 1281299.4969
21 | 2687096.8032 | 1281233.147 | 2687060.1265 | 1281202.5745
22 | 2686965.3604 | 1281361.6193 | 2686974.5924 | 1281375.2449 | 2687011.0233 | 1281408.5769
23 | 2687020.277 | 1281417.0435 | 2687011.0233 | 1281408.5769
24 | 2687020.277 | 1281417.0435 | 2687009.2474 | 1281428.9283
25 | 2687020.277 | 1281417.0435 | 2687048.8822 | 1281440.1822
26 | 2687068.1905 | 1281456.523 | 2687072.678 | 1281460.6277
27 | 2687061.3635 | 1281450.2783 | 2687068.1905 | 1281456.523
28 | 2687103.9828 | 1281489.0186 | 2687085.848 | 1281472.5811 | 2687082.9641 | 1281470.0364 | 2687072.678 | 1281460.6277
29 | 2687061.3635 | 1281450.2783 | 2687048.8822 | 1281440.1822
30 | 2687061.3635 | 1281450.2783 | 2687047.5555 | 1281465.3541
31 | 2687103.9828 | 1281489.0186 | 2687113.5902 | 1281497.5344
32 | 2687103.9828 | 1281489.0186 | 2687094.4693 | 1281499.4604
33 | 2687037.729 | 1281476.0829 | 2687047.5555 | 1281465.3541
34 | 2687116.3184 | 1281463.8793 | 2687116.6331 | 1281473.5812 | 2687116.2027 | 1281488.4653 | 2687116.0325 | 1281494.3901 | 2687113.5902 | 1281497.5344
35 | 2687113.5902 | 1281497.5344 | 2687140.7705 | 1281521.6197
36 | 2687086.2523 | 1281508.4792 | 2687094.4693 | 1281499.4604
37 | 2687037.729 | 1281476.0829 | 2687028.2575 | 1281486.4241
38 | 2687149.0155 | 1281528.9259 | 2687140.7705 | 1281521.6197
39 | 2687086.2523 | 1281508.4792 | 2687083.7987 | 1281511.1722
40 | 2687009.2474 | 1281428.9283 | 2686998.4268 | 1281440.5878
41 | 2687022.9748 | 1281492.1919 | 2687028.2575 | 1281486.4241
42 | 2686995.4434 | 1281443.8026 | 2686998.4268 | 1281440.5878
43 | 2686993.5449 | 1281445.8483 | 2686995.4434 | 1281443.8026
44 | 2687215.1639 | 1281587.5461 | 2687193.7848 | 1281568.6027 | 2687188.0695 | 1281563.5361 | 2687169.3813 | 1281546.9678 | 2687154.0733 | 1281533.4077 | 2687149.0155 | 1281528.9259
45 | 2687232.8188 | 1281603.8768 | 2687222.1395 | 1281593.7213 | 2687215.1639 | 1281587.5461
46 | 2687232.8188 | 1281603.8768 | 2687174.4445 | 1281605.7596 | 2687136.73 | 1281611.2402 | 2687132.8313 | 1281612.0392
47 | 2687104.391 | 1281617.868 | 2687132.8313 | 1281612.0392
48 | 2687104.391 | 1281617.868 | 2687071.863 | 1281622.5472
49 | 2687104.391 | 1281617.868 | 2687104.178 | 1281653.6065
50 | 2687065.6666 | 1281531.0736 | 2687069.5152 | 1281526.8495
51 | 2687061.5141 | 1281535.6312 | 2687065.6666 | 1281531.0736
52 | 2687069.5152 | 1281526.8495 | 2687083.7987 | 1281511.1722
53 | 2686984.9494 | 1281455.1103 | 2686993.5449 | 1281445.8483
54 | 2686974.4469 | 1281525.0584 | 2686978.2758 | 1281526.6285 | 2686985.7001 | 1281528.4865
55 | 2687018.3674 | 1281540.2316 | 2687006.5151 | 1281533.6956 | 2686985.7001 | 1281528.4865
56 | 2687018.3674 | 1281540.2316 | 2687026.816 | 1281551.4436 | 2687029.9454 | 1281565.335 | 2687028.6533 | 1281586.7778
57 | 2687018.3674 | 1281540.2316 | 2687000.3135 | 1281520.8598 | 2686998.7247 | 1281519.1479
58 | 2687018.3674 | 1281540.2316 | 2687000.3135 | 1281520.8598 | 2686989.535 | 1281509.2464 | 2686988.4509 | 1281508.4977
59 | 2687027.2392 | 1281610.2446 | 2687028.6533 | 1281586.7778
60 | 2687037.2833 | 1281625.2945 | 2687027.9724 | 1281614.5035 | 2687027.2392 | 1281610.2446
61 | 2687012.0421 | 1281625.2664 | 2687027.9724 | 1281614.5035 | 2687027.2392 | 1281610.2446
62 | 2687037.2833 | 1281625.2945 | 2687068.5566 | 1281622.8099
63 | 2687012.0421 | 1281625.2664 | 2686973.0976 | 1281623.904
64 | 2687071.863 | 1281622.5472 | 2687068.5566 | 1281622.8099
65 | 2686973.0976 | 1281623.904 | 2686933.3991 | 1281622.5152 | 2686900.5166 | 1281619.161 | 2686893.563 | 1281618.0208
66 | 2686973.0976 | 1281623.904 | 2686967.1651 | 1281728.4197
67 | 2687104.178 | 1281653.6065 | 2687115.5961 | 1281661.0371 | 2687121.794 | 1281666.7695
68 | 2686955.6583 | 1281752.321 | 2686956.2889 | 1281743.6896 | 2686961.5728 | 1281733.7257 | 2686967.1651 | 1281728.4197
69 | 2686973.0528 | 1281768.5025 | 2686976.8194 | 1281758.0492 | 2686985.3348 | 1281747.4324 | 2686987.1227 | 1281745.0521
70 | 2686955.6583 | 1281752.321 | 2686952.5951 | 1281762.9516 | 2686973.0528 | 1281768.5025

## bus_geodata
| x | y | coords
0 | 2687149.9565 | 1281348.0606
1 | 2687156.875 | 1281342.4877
2 | 2687134.4893 | 1281364.1182
3 | 2687119.2964 | 1281361.0133
4 | 2687172.6217 | 1281389.7532
5 | 2687210.3427 | 1281358.19
6 | 2687205.2675 | 1281368.447
7 | 2687119.117 | 1281375.6898
8 | 2687105.9074 | 1281360.3594
9 | 2687194.4191 | 1281410.0433
10 | 2687085.7626 | 1281360.9846
11 | 2687106.4944 | 1281342.9286
12 | 2687206.3068 | 1281421.2953
13 | 2687106.5205 | 1281342.1537
14 | 2687107.3399 | 1281317.822
15 | 2687097.863 | 1281234.0304
16 | 2687085.5846 | 1281414.6945
17 | 2687073.1303 | 1281360.9647
18 | 2687096.8032 | 1281233.147
19 | 2687060.1265 | 1281202.5745
20 | 2686965.3604 | 1281361.6193
21 | 2687011.8626 | 1281299.4969
22 | 2687011.0233 | 1281408.5769
23 | 2687020.277 | 1281417.0435
24 | 2687199.6893 | 1281454.4215
25 | 2687068.1905 | 1281456.523
26 | 2687072.678 | 1281460.6277
27 | 2687061.3635 | 1281450.2783
28 | 2687103.9828 | 1281489.0186
29 | 2687048.8822 | 1281440.1822
30 | 2687047.5555 | 1281465.3541
31 | 2687113.5902 | 1281497.5344
32 | 2687094.4693 | 1281499.4604
33 | 2687037.729 | 1281476.0829
34 | 2687116.3184 | 1281463.8793
35 | 2687140.7705 | 1281521.6197
36 | 2687086.2523 | 1281508.4792
37 | 2687009.2474 | 1281428.9283
38 | 2687028.2575 | 1281486.4241
39 | 2686998.4268 | 1281440.5878
40 | 2686995.4434 | 1281443.8026
41 | 2687149.0155 | 1281528.9259
42 | 2687215.1639 | 1281587.5461
43 | 2687232.8188 | 1281603.8768
44 | 2687132.8313 | 1281612.0392
45 | 2687104.391 | 1281617.868
46 | 2687065.6666 | 1281531.0736
47 | 2687069.5152 | 1281526.8495
48 | 2687061.5141 | 1281535.6312
49 | 2687083.7987 | 1281511.1722
50 | 2687022.9748 | 1281492.1919
51 | 2686993.5449 | 1281445.8483
52 | 2686984.9494 | 1281455.1103
53 | 2686974.4469 | 1281525.0584
54 | 2686985.7001 | 1281528.4865
55 | 2687018.3674 | 1281540.2316
56 | 2686988.4509 | 1281508.4977
57 | 2687028.6533 | 1281586.7778
58 | 2686998.7247 | 1281519.1479
59 | 2687027.2392 | 1281610.2446
60 | 2687037.2833 | 1281625.2945
61 | 2687012.0421 | 1281625.2664
62 | 2687068.5566 | 1281622.8099
63 | 2687071.863 | 1281622.5472
64 | 2686973.0976 | 1281623.904
65 | 2687104.178 | 1281653.6065
66 | 2687121.794 | 1281666.7695
67 | 2686893.563 | 1281618.0208
68 | 2686967.1651 | 1281728.4197
69 | 2686987.1227 | 1281745.0521
70 | 2686973.0528 | 1281768.5025
71 | 2686955.6583 | 1281752.321
72 | 2687103.9828 | 1281489.0186

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1