## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2937-4_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2937-4_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2937-4_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2937-4_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2937-4_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2937-4_0_3_node_80 | 0.4 | n |  | TRUE
6 | bus_LV_2937-4_0_3_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_2937-4_0_3_node_96 | 0.4 | n |  | TRUE
8 | bus_LV_2937-4_0_3_node_85 | 0.4 | n |  | TRUE
9 | bus_LV_2937-4_0_3_node_84 | 0.4 | n |  | TRUE
10 | bus_LV_2937-4_0_3_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_2937-4_0_3_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_2937-4_0_3_node_6 | 0.4 | n |  | TRUE
13 | bus_LV_2937-4_0_3_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_2937-4_0_3_node_205 | 0.4 | n |  | TRUE
15 | bus_LV_2937-4_0_3_node_12 | 0.4 | n |  | TRUE
16 | bus_LV_2937-4_0_3_node_14 | 0.4 | n |  | TRUE
17 | bus_LV_2937-4_0_3_node_13 | 0.4 | n |  | TRUE
18 | bus_LV_2937-4_0_3_node_10 | 0.4 | n |  | TRUE
19 | bus_LV_2937-4_0_3_node_16 | 0.4 | n |  | TRUE
20 | bus_LV_2937-4_0_3_node_18 | 0.4 | n |  | TRUE
21 | bus_LV_2937-4_0_3_node_15 | 0.4 | n |  | TRUE
22 | bus_LV_2937-4_0_3_node_17 | 0.4 | n |  | TRUE
23 | bus_LV_2937-4_0_3_node_201 | 0.4 | n |  | TRUE
24 | bus_LV_2937-4_0_3_node_11 | 0.4 | n |  | TRUE
25 | bus_LV_2937-4_0_3_node_182 | 0.4 | n |  | TRUE
26 | bus_LV_2937-4_0_3_node_86 | 0.4 | n |  | TRUE
27 | bus_LV_2937-4_0_3_node_87 | 0.4 | n |  | TRUE
28 | bus_LV_2937-4_0_3_node_88 | 0.4 | n |  | TRUE
29 | bus_LV_2937-4_0_3_node_113 | 0.4 | n |  | TRUE
30 | bus_LV_2937-4_0_3_node_177 | 0.4 | n |  | TRUE
31 | bus_LV_2937-4_0_3_node_89 | 0.4 | n |  | TRUE
32 | bus_LV_2937-4_0_3_node_178 | 0.4 | n |  | TRUE
33 | bus_LV_2937-4_0_3_node_179 | 0.4 | n |  | TRUE
34 | bus_LV_2937-4_0_3_node_180 | 0.4 | n |  | TRUE
35 | bus_LV_2937-4_0_3_node_191 | 0.4 | n |  | TRUE
36 | bus_LV_2937-4_0_3_node_187 | 0.4 | n |  | TRUE
37 | bus_LV_2937-4_0_3_node_194 | 0.4 | n |  | TRUE
38 | bus_LV_2937-4_0_3_node_185 | 0.4 | n |  | TRUE
39 | bus_LV_2937-4_0_3_node_25 | 0.4 | n |  | TRUE
40 | bus_LV_2937-4_0_3_node_71 | 0.4 | n |  | TRUE
41 | bus_LV_2937-4_0_3_node_91 | 0.4 | n |  | TRUE
42 | bus_LV_2937-4_0_3_node_70 | 0.4 | n |  | TRUE
43 | bus_LV_2937-4_0_3_node_51 | 0.4 | n |  | TRUE
44 | bus_LV_2937-4_0_3_node_48 | 0.4 | n |  | TRUE
45 | bus_LV_2937-4_0_3_node_49 | 0.4 | n |  | TRUE
46 | bus_LV_2937-4_0_3_node_50 | 0.4 | n |  | TRUE
47 | bus_LV_2937-4_0_3_node_79 | 0.4 | n |  | TRUE
48 | bus_LV_2937-4_0_3_node_98 | 0.4 | n |  | TRUE
49 | bus_LV_2937-4_0_3_node_69 | 0.4 | n |  | TRUE
50 | bus_LV_2937-4_0_3_node_115 | 0.4 | n |  | TRUE
51 | bus_LV_2937-4_0_3_node_97 | 0.4 | n |  | TRUE
52 | bus_LV_2937-4_0_3_node_112 | 0.4 | n |  | TRUE
53 | bus_LV_2937-4_0_3_node_175 | 0.4 | n |  | TRUE
54 | bus_LV_2937-4_0_3_node_171 | 0.4 | n |  | TRUE
55 | bus_LV_2937-4_0_3_node_176 | 0.4 | n |  | TRUE
56 | bus_LV_2937-4_0_3_node_114 | 0.4 | n |  | TRUE
57 | bus_LV_2937-4_0_3_node_117 | 0.4 | n |  | TRUE
58 | bus_LV_2937-4_0_3_node_129 | 0.4 | n |  | TRUE
59 | bus_LV_2937-4_0_3_node_130 | 0.4 | n |  | TRUE
60 | bus_LV_2937-4_0_3_node_131 | 0.4 | n |  | TRUE
61 | bus_LV_2937-4_0_3_node_132 | 0.4 | n |  | TRUE
62 | bus_LV_2937-4_0_3_node_172 | 0.4 | n |  | TRUE
63 | bus_LV_2937-4_0_3_node_173 | 0.4 | n |  | TRUE
64 | bus_LV_2937-4_0_3_node_157 | 0.4 | n |  | TRUE
65 | bus_LV_2937-4_0_3_node_200 | 0.4 | n |  | TRUE
66 | bus_LV_2937-4_0_3_node_155 | 0.4 | n |  | TRUE
67 | bus_LV_2937-4_0_3_node_153 | 0.4 | n |  | TRUE
68 | bus_LV_2937-4_0_3_node_150 | 0.4 | n |  | TRUE
69 | bus_LV_2937-4_0_3_node_161 | 0.4 | n |  | TRUE
70 | bus_LV_2937-4_0_3_node_162 | 0.4 | n |  | TRUE
71 | bus_LV_2937-4_0_3_node_152 | 0.4 | n |  | TRUE
72 | bus_LV_2937-4_0_3_node_154 | 0.4 | n |  | TRUE
73 | bus_LV_2937-4_0_3_node_156 | 0.4 | n |  | TRUE
74 | bus_LV_2937-4_0_3_node_158 | 0.4 | n |  | TRUE
75 | bus_LV_2937-4_0_3_node_159 | 0.4 | n |  | TRUE
76 | bus_LV_2937-4_0_3_node_199 | 0.4 | n |  | TRUE
77 | bus_LV_2937-4_0_3_node_160 | 0.4 | n |  | TRUE
78 | bus_LV_2937-4_0_3_node_198 | 0.4 | n |  | TRUE
79 | bus_LV_2937-4_0_3_node_190 | 0.4 | n |  | TRUE
80 | bus_LV_2937-4_0_3_node_163 | 0.4 | n |  | TRUE
81 | bus_LV_2937-4_0_3_node_164 | 0.4 | n |  | TRUE
82 | bus_LV_2937-4_0_3_node_165 | 0.4 | n |  | TRUE
83 | bus_LV_2937-4_0_3_node_166 | 0.4 | n |  | TRUE
84 | bus_LV_2937-4_0_3_node_167 | 0.4 | n |  | TRUE
85 | bus_LV_2937-4_0_3_node_168 | 0.4 | n |  | TRUE
86 | bus_LV_2937-4_0_3_node_169 | 0.4 | n |  | TRUE
87 | bus_LV_2937-4_0_3_node_170 | 0.4 | n |  | TRUE
88 | bus_LV_2937-4_0_3_node_181 | 0.4 | n |  | TRUE
89 | bus_LV_2937-4_0_3_node_183 | 0.4 | n |  | TRUE
90 | bus_LV_2937-4_0_3_node_184 | 0.4 | n |  | TRUE
91 | bus_LV_2937-4_0_3_node_186 | 0.4 | n |  | TRUE
92 | bus_LV_2937-4_0_3_node_188 | 0.4 | n |  | TRUE
93 | bus_LV_2937-4_0_3_node_189 | 0.4 | n |  | TRUE
94 | bus_LV_2937-4_0_3_node_192 | 0.4 | n |  | TRUE
95 | bus_LV_2937-4_0_3_node_193 | 0.4 | n |  | TRUE
96 | bus_LV_2937-4_0_3_node_195 | 0.4 | n |  | TRUE
97 | bus_LV_2937-4_0_3_node_196 | 0.4 | n |  | TRUE
98 | bus_LV_2937-4_0_3_node_197 | 0.4 | n |  | TRUE
99 | bus_MV_400_1_node_195 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2937-4_0_3_load_0 | 0 | 0.016509 | 0.0041375 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2937-4_0_3_load_4 | 4 | 0.01397 | 0.0035013 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2937-4_0_3_load_96 | 7 | 0.0035696 | 0.00089462 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2937-4_0_3_load_85 | 8 | 0.021282 | 0.0053338 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2937-4_0_3_load_84 | 9 | 0.013029 | 0.0032655 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2937-4_0_3_load_9 | 13 | 0.0078013 | 0.0019552 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2937-4_0_3_load_205 | 14 | 0.01197 | 0.003 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2937-4_0_3_load_13 | 17 | 0.013442 | 0.0033688 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2937-4_0_3_load_15 | 21 | 0.030685 | 0.0076905 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2937-4_0_3_load_201 | 23 | 0.0013117 | 0.00032874 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2937-4_0_3_load_182 | 25 | 0.00084911 | 0.00021281 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2937-4_0_3_load_177 | 30 | 0.0037178 | 0.00093177 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2937-4_0_3_load_179 | 33 | 0.00093685 | 0.0002348 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2937-4_0_3_load_191 | 35 | 0.001451 | 0.00036366 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2937-4_0_3_load_187 | 36 | 0.0012322 | 0.00030883 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2937-4_0_3_load_194 | 37 | 0.0015872 | 0.00039779 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2937-4_0_3_load_91 | 41 | 0.0064198 | 0.001609 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2937-4_0_3_load_70 | 42 | 0.0030074 | 0.00075373 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2937-4_0_3_load_48 | 44 | 0.0054741 | 0.0013719 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2937-4_0_3_load_79 | 47 | 0.027939 | 0.0070021 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2937-4_0_3_load_98 | 48 | 0.0027589 | 0.00069145 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2937-4_0_3_load_69 | 49 | 0.0029994 | 0.00075173 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2937-4_0_3_load_115 | 50 | 0.0080839 | 0.002026 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2937-4_0_3_load_97 | 51 | 0.0013919 | 0.00034884 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2937-4_0_3_load_112 | 52 | 0.0043102 | 0.0010802 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2937-4_0_3_load_171 | 54 | 0.0018614 | 0.0004665 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2937-4_0_3_load_176 | 55 | 0.0051831 | 0.001299 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2937-4_0_3_load_117 | 57 | 0.0012881 | 0.00032283 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2937-4_0_3_load_129 | 58 | 0.0019312 | 0.000484 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2937-4_0_3_load_130 | 59 | 0.0020598 | 0.00051624 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2937-4_0_3_load_131 | 60 | 0.0022874 | 0.00057329 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2937-4_0_3_load_132 | 61 | 0.0019838 | 0.00049719 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2937-4_0_3_load_172 | 62 | 0.0029413 | 0.00073716 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2937-4_0_3_load_173 | 63 | 0.0030526 | 0.00076506 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2937-4_0_3_load_157 | 64 | 0.0017925 | 0.00044925 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2937-4_0_3_load_200 | 65 | 0.0016267 | 0.00040768 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2937-4_0_3_load_155 | 66 | 0.0038309 | 0.00096011 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2937-4_0_3_load_153 | 67 | 0.0031334 | 0.0007853 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2937-4_0_3_load_150 | 68 | 0.0038846 | 0.00097358 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2937-4_0_3_load_161 | 69 | 0.001727 | 0.00043282 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2937-4_0_3_load_162 | 70 | 0.0041638 | 0.0010435 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2937-4_0_3_load_152 | 71 | 0.001573 | 0.00039423 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2937-4_0_3_load_154 | 72 | 0.0037545 | 0.00094097 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2937-4_0_3_load_156 | 73 | 0.0016041 | 0.00040204 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2937-4_0_3_load_158 | 74 | 0.0033866 | 0.00084876 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2937-4_0_3_load_159 | 75 | 0.0018815 | 0.00047155 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2937-4_0_3_load_199 | 76 | 0.0022757 | 0.00057035 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2937-4_0_3_load_160 | 77 | 0.0015683 | 0.00039305 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2937-4_0_3_load_198 | 78 | 0.0015795 | 0.00039586 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2937-4_0_3_load_190 | 79 | 0.0018716 | 0.00046908 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2937-4_0_3_load_163 | 80 | 0.0023768 | 0.00059568 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2937-4_0_3_load_164 | 81 | 0.0018086 | 0.00045329 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2937-4_0_3_load_165 | 82 | 0.0021219 | 0.00053179 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2937-4_0_3_load_166 | 83 | 0.001819 | 0.00045589 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2937-4_0_3_load_167 | 84 | 0.0018432 | 0.00046195 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2937-4_0_3_load_168 | 85 | 0.0018815 | 0.00047155 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_2937-4_0_3_load_169 | 86 | 0.0018811 | 0.00047144 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_2937-4_0_3_load_170 | 87 | 0.0028773 | 0.00072111 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_2937-4_0_3_load_181 | 88 | 0.0023362 | 0.00058551 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_2937-4_0_3_load_183 | 89 | 0.0017558 | 0.00044005 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_2937-4_0_3_load_184 | 90 | 0.0031337 | 0.00078538 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_2937-4_0_3_load_186 | 91 | 0.0019396 | 0.0004861 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_2937-4_0_3_load_188 | 92 | 0.00228 | 0.00057143 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_2937-4_0_3_load_189 | 93 | 0.0017847 | 0.00044729 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_2937-4_0_3_load_192 | 94 | 0.0011945 | 0.00029936 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_2937-4_0_3_load_193 | 95 | 0.0018937 | 0.00047461 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_2937-4_0_3_load_195 | 96 | 0.0020993 | 0.00052613 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_2937-4_0_3_load_196 | 97 | 0.0024434 | 0.00061238 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_2937-4_0_3_load_197 | 98 | 0.0013963 | 0.00034994 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 31 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2937-4_0_3_line_0 |  | 0 | 1 | 0.00085213 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2937-4_0_3_line_1 |  | 1 | 2 | 0.027271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2937-4_0_3_line_2 |  | 2 | 3 | 0.10776 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2937-4_0_3_line_3 |  | 2 | 4 | 0.07955 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
4 | LV_2937-4_0_3_line_4 |  | 3 | 5 | 0.016563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2937-4_0_3_line_5 |  | 4 | 6 | 0.0073511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
6 | LV_2937-4_0_3_line_6 |  | 5 | 7 | 0.032973 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2937-4_0_3_line_7 |  | 6 | 10 | 0.057201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
8 | LV_2937-4_0_3_line_8 |  | 6 | 11 | 0.040615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2937-4_0_3_line_9 |  | 7 | 51 | 0.010754 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2937-4_0_3_line_10 |  | 8 | 9 | 0.039987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2937-4_0_3_line_11 |  | 9 | 26 | 0.012023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2937-4_0_3_line_12 |  | 10 | 12 | 0.038382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
13 | LV_2937-4_0_3_line_13 |  | 11 | 14 | 0.035126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2937-4_0_3_line_14 |  | 12 | 13 | 0.0089522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
15 | LV_2937-4_0_3_line_15 |  | 13 | 18 | 0.02805 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
16 | LV_2937-4_0_3_line_16 |  | 15 | 16 | 0.02595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
17 | LV_2937-4_0_3_line_17 |  | 15 | 17 | 0.034362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
18 | LV_2937-4_0_3_line_18 |  | 16 | 25 | 0.016456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
19 | LV_2937-4_0_3_line_19 |  | 17 | 24 | 0.030758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
20 | LV_2937-4_0_3_line_20 |  | 18 | 24 | 0.004392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
21 | LV_2937-4_0_3_line_21 |  | 19 | 20 | 0.024683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2937-4_0_3_line_22 |  | 19 | 21 | 0.029531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2937-4_0_3_line_23 |  | 20 | 35 | 0.018573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2937-4_0_3_line_24 |  | 20 | 36 | 0.031532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2937-4_0_3_line_25 |  | 20 | 22 | 0.03921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2937-4_0_3_line_26 |  | 22 | 23 | 0.01095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2937-4_0_3_line_27 |  | 25 | 34 | 0.012942 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
28 | LV_2937-4_0_3_line_28 |  | 26 | 27 | 0.012048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2937-4_0_3_line_29 |  | 27 | 50 | 0.017724 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2937-4_0_3_line_30 |  | 27 | 49 | 0.027746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2937-4_0_3_line_31 |  | 28 | 29 | 0.013515 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2937-4_0_3_line_32 |  | 28 | 30 | 0.0058402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2937-4_0_3_line_33 |  | 29 | 52 | 0.032358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2937-4_0_3_line_34 |  | 29 | 50 | 0.0025303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2937-4_0_3_line_35 |  | 30 | 53 | 0.014552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2937-4_0_3_line_36 |  | 31 | 32 | 0.00533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2937-4_0_3_line_37 |  | 31 | 33 | 0.017206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
38 | LV_2937-4_0_3_line_38 |  | 32 | 54 | 0.031111 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2937-4_0_3_line_39 |  | 32 | 55 | 0.029167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2937-4_0_3_line_40 |  | 33 | 34 | 0.007704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
41 | LV_2937-4_0_3_line_41 |  | 34 | 88 | 0.020472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2937-4_0_3_line_42 |  | 35 | 37 | 0.030533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2937-4_0_3_line_43 |  | 36 | 38 | 0.0059282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2937-4_0_3_line_44 |  | 37 | 94 | 0.0055763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2937-4_0_3_line_45 |  | 38 | 89 | 0.032517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2937-4_0_3_line_46 |  | 38 | 88 | 0.023396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2937-4_0_3_line_47 |  | 39 | 40 | 0.004884 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2937-4_0_3_line_48 |  | 39 | 41 | 0.028358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2937-4_0_3_line_49 |  | 40 | 42 | 0.032313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2937-4_0_3_line_50 |  | 41 | 43 | 0.032451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_2937-4_0_3_line_51 |  | 43 | 45 | 0.014759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2937-4_0_3_line_52 |  | 44 | 45 | 0.045757 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2937-4_0_3_line_53 |  | 45 | 46 | 0.006424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2937-4_0_3_line_54 |  | 46 | 47 | 0.0072405 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2937-4_0_3_line_55 |  | 47 | 48 | 0.03328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_2937-4_0_3_line_56 |  | 48 | 51 | 0.010073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2937-4_0_3_line_57 |  | 52 | 56 | 0.0034676 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_2937-4_0_3_line_58 |  | 53 | 55 | 0.026977 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_2937-4_0_3_line_59 |  | 53 | 63 | 0.037976 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_2937-4_0_3_line_60 |  | 54 | 87 | 0.023104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_2937-4_0_3_line_61 |  | 56 | 57 | 0.0073929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_2937-4_0_3_line_62 |  | 58 | 59 | 0.010597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_2937-4_0_3_line_63 |  | 58 | 60 | 0.012349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_2937-4_0_3_line_64 |  | 59 | 61 | 0.025139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_2937-4_0_3_line_65 |  | 61 | 62 | 0.0027882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_2937-4_0_3_line_66 |  | 62 | 63 | 0.019683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_2937-4_0_3_line_67 |  | 64 | 65 | 0.024254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_2937-4_0_3_line_68 |  | 65 | 76 | 0.00031967 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_2937-4_0_3_line_69 |  | 66 | 67 | 0.011025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_2937-4_0_3_line_70 |  | 67 | 71 | 0.00046032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_2937-4_0_3_line_71 |  | 68 | 69 | 0.0089671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_2937-4_0_3_line_72 |  | 69 | 70 | 0.01094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_2937-4_0_3_line_73 |  | 70 | 80 | 0.011188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_2937-4_0_3_line_74 |  | 71 | 72 | 0.015423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_2937-4_0_3_line_75 |  | 72 | 73 | 0.011539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_2937-4_0_3_line_76 |  | 73 | 74 | 0.0078564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_2937-4_0_3_line_77 |  | 74 | 75 | 0.018165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_2937-4_0_3_line_78 |  | 75 | 77 | 0.0061387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_2937-4_0_3_line_79 |  | 76 | 98 | 0.025534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_2937-4_0_3_line_80 |  | 77 | 78 | 0.018931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_2937-4_0_3_line_81 |  | 78 | 79 | 0.0062475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_2937-4_0_3_line_82 |  | 79 | 93 | 0.019241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_2937-4_0_3_line_83 |  | 80 | 81 | 0.011009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_2937-4_0_3_line_84 |  | 81 | 82 | 0.0097727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_2937-4_0_3_line_85 |  | 82 | 83 | 0.0082838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_2937-4_0_3_line_86 |  | 83 | 84 | 0.016036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_2937-4_0_3_line_87 |  | 84 | 85 | 0.0034725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_2937-4_0_3_line_88 |  | 85 | 86 | 0.01619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_2937-4_0_3_line_89 |  | 86 | 87 | 0.0067073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_2937-4_0_3_line_90 |  | 89 | 90 | 0.01172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_2937-4_0_3_line_91 |  | 90 | 91 | 0.0089081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_2937-4_0_3_line_92 |  | 91 | 92 | 0.016427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_2937-4_0_3_line_93 |  | 92 | 93 | 0.0043717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_2937-4_0_3_line_94 |  | 94 | 95 | 0.022808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_2937-4_0_3_line_95 |  | 95 | 96 | 0.0090503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_2937-4_0_3_line_96 |  | 96 | 97 | 0.029008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_2937-4_0_3_line_97 |  | 97 | 98 | 0.0005831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2937-4_0_3_trafo_89 | 0.63 MVA 20/0.4 kV | 99 | 31 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2687659.4586 | 1281848.766 | 2687660.2702 | 1281849.0259
1 | 2687660.2702 | 1281849.0259 | 2687675.9748 | 1281854.4752 | 2687679.7054 | 1281856.1098 | 2687686.0639 | 1281857.7836
2 | 2687686.0639 | 1281857.7836 | 2687698.4888 | 1281844.4236 | 2687706.0539 | 1281839.7098 | 2687709.9248 | 1281828.3911 | 2687734.1532 | 1281777.8638 | 2687737.7612 | 1281770.0775 | 2687739.4527 | 1281766.4328
3 | 2687686.0639 | 1281857.7836 | 2687676.0942 | 1281870.1682 | 2687662.8391 | 1281879.2678 | 2687654.3918 | 1281880.699 | 2687615.4137 | 1281882.1684
4 | 2687739.4527 | 1281766.4328 | 2687754.4491 | 1281773.5621
5 | 2687608.0677 | 1281882.4453 | 2687615.4137 | 1281882.1684
6 | 2687754.4491 | 1281773.5621 | 2687756.1353 | 1281769.7617 | 2687761.0344 | 1281759.0032 | 2687750.4977 | 1281745.6701
7 | 2687554.3408 | 1281866.3891 | 2687555.6851 | 1281866.8873 | 2687564.8503 | 1281874.2519 | 2687571.4256 | 1281874.9835 | 2687608.0677 | 1281882.4453
8 | 2687608.0677 | 1281882.4453 | 2687639.864 | 1281895.5958 | 2687635.5619 | 1281900.069
9 | 2687750.4977 | 1281745.6701 | 2687743.8301 | 1281737.233
10 | 2687612.894 | 1281689.2153 | 2687646.0824 | 1281711.5205
11 | 2687602.9151 | 1281682.5086 | 2687612.894 | 1281689.2153
12 | 2687554.3408 | 1281866.3891 | 2687555.6851 | 1281866.8873 | 2687556.4782 | 1281865.0641 | 2687558.8221 | 1281859.9612 | 2687561.5049 | 1281856.8095 | 2687565.6812 | 1281855.2368 | 2687570.2674 | 1281855.8944 | 2687570.9742 | 1281853.8142 | 2687579.992 | 1281856.4504 | 2687581.5644 | 1281852.2146
13 | 2687635.5619 | 1281900.069 | 2687618.9105 | 1281917.3808 | 2687612.0801 | 1281926.1377
14 | 2687581.5644 | 1281852.2146 | 2687584.896 | 1281853.4095 | 2687586.6573 | 1281848.2914
15 | 2687600.347 | 1281830.9754 | 2687598.9764 | 1281835.2698 | 2687591.9052 | 1281833.0407 | 2687586.6573 | 1281848.2914
16 | 2687542.6939 | 1281809.2227 | 2687539.0576 | 1281802.7521 | 2687539.6923 | 1281792.8864 | 2687542.2633 | 1281784.6286
17 | 2687542.6939 | 1281809.2227 | 2687543.4965 | 1281806.7548 | 2687573.6877 | 1281816.6347
18 | 2687542.2633 | 1281784.6286 | 2687526.6366 | 1281779.47
19 | 2687601.7232 | 1281826.8034 | 2687602.0219 | 1281825.9071 | 2687573.6877 | 1281816.6347
20 | 2687600.347 | 1281830.9754 | 2687601.3848 | 1281827.8437 | 2687601.7232 | 1281826.8034
21 | 2687474.1946 | 1281830.5577 | 2687477.1808 | 1281837.8194 | 2687492.9623 | 1281843.6697
22 | 2687492.9623 | 1281843.6697 | 2687493.4896 | 1281842.0427 | 2687499.3565 | 1281843.9537 | 2687500.1511 | 1281841.5189 | 2687518.3042 | 1281847.4241
23 | 2687474.1946 | 1281830.5577 | 2687462.5527 | 1281833.6988 | 2687456.0393 | 1281833.5672
24 | 2687474.1946 | 1281830.5577 | 2687481.5687 | 1281823.5167 | 2687489.9934 | 1281808.4399 | 2687490.7858 | 1281804.4526
25 | 2687462.0909 | 1281865.308 | 2687477.1808 | 1281837.8194 | 2687474.1946 | 1281830.5577
26 | 2687462.0909 | 1281865.308 | 2687451.203 | 1281864.148
27 | 2687521.065 | 1281767.7884 | 2687526.6366 | 1281779.47
28 | 2687602.9151 | 1281682.5086 | 2687592.9146 | 1281675.7432
29 | 2687592.9146 | 1281675.7432 | 2687577.6372 | 1281666.7578
30 | 2687592.9146 | 1281675.7432 | 2687609.1881 | 1281653.2711
31 | 2687568.3978 | 1281677.0134 | 2687575.4561 | 1281665.4751
32 | 2687568.3978 | 1281677.0134 | 2687565.3854 | 1281682.0168
33 | 2687575.4561 | 1281665.4751 | 2687556.7099 | 1281651.8962 | 2687549.2333 | 1281646.5176
34 | 2687575.4561 | 1281665.4751 | 2687577.6372 | 1281666.7578
35 | 2687557.8794 | 1281694.4833 | 2687565.3854 | 1281682.0168
36 | 2687529.1904 | 1281742.543 | 2687533.2162 | 1281746.0502
37 | 2687533.2162 | 1281746.0502 | 2687524.9584 | 1281761.1446
38 | 2687529.1904 | 1281742.543 | 2687524.5519 | 1281741.3509 | 2687502.3812 | 1281727.1635
39 | 2687529.1904 | 1281742.543 | 2687531.9768 | 1281740.0044 | 2687544.5374 | 1281717.9304
40 | 2687521.065 | 1281767.7884 | 2687523.0958 | 1281764.5491 | 2687524.9584 | 1281761.1446
41 | 2687521.065 | 1281767.7884 | 2687514.4749 | 1281771.0823 | 2687507.8275 | 1281782.3759
42 | 2687456.0393 | 1281833.5672 | 2687448.0479 | 1281833.4057 | 2687429.5867 | 1281820.4733
43 | 2687491.9413 | 1281798.6382 | 2687490.7858 | 1281804.4526
44 | 2687425.0195 | 1281817.2739 | 2687429.5867 | 1281820.4733
45 | 2687491.9413 | 1281798.6382 | 2687490.2382 | 1281791.9516 | 2687485.1686 | 1281785.4041 | 2687471.1905 | 1281775.1499
46 | 2687491.9413 | 1281798.6382 | 2687501.9707 | 1281792.326 | 2687507.8275 | 1281782.3759
47 | 2687787.8664 | 1281675.4199 | 2687784.9205 | 1281671.5172
48 | 2687784.9205 | 1281671.5172 | 2687762.0667 | 1281688.3063
49 | 2687787.8664 | 1281675.4199 | 2687788.4844 | 1281676.2854 | 2687799.1947 | 1281690.3347 | 2687807.6457 | 1281700.9695
50 | 2687735.9142 | 1281707.5186 | 2687762.0667 | 1281688.3063
51 | 2687735.9142 | 1281707.5186 | 2687726.7898 | 1281695.8951
52 | 2687726.7898 | 1281695.8951 | 2687698.5356 | 1281659.9034
53 | 2687721.6479 | 1281699.7664 | 2687726.7898 | 1281695.8951
54 | 2687721.6479 | 1281699.7664 | 2687715.8604 | 1281704.1173
55 | 2687715.8604 | 1281704.1173 | 2687715.8604 | 1281704.1173 | 2687737.5403 | 1281729.3668
56 | 2687743.8301 | 1281737.233 | 2687738.4642 | 1281730.4429 | 2687737.5403 | 1281729.3668
57 | 2687546.4184 | 1281644.4926 | 2687549.2333 | 1281646.5176
58 | 2687557.8794 | 1281694.4833 | 2687544.5374 | 1281717.9304
59 | 2687557.8794 | 1281694.4833 | 2687550.5848 | 1281690.5939 | 2687525.7372 | 1281674.3087
60 | 2687483.59 | 1281713.8354 | 2687488.4713 | 1281718.2623 | 2687502.3812 | 1281727.1635
61 | 2687546.4184 | 1281644.4926 | 2687539.6235 | 1281647.4053
62 | 2687476.9793 | 1281642.5418 | 2687477.8071 | 1281642.8951 | 2687485.9169 | 1281648.2104
63 | 2687476.9793 | 1281642.5418 | 2687465.6221 | 1281637.694
64 | 2687506.9425 | 1281661.9906 | 2687485.9169 | 1281648.2104
65 | 2687506.9425 | 1281661.9906 | 2687509.2745 | 1281663.519
66 | 2687509.2745 | 1281663.519 | 2687525.7372 | 1281674.3087
67 | 2687355.0289 | 1281765.3379 | 2687337.4909 | 1281748.5846
68 | 2687355.0289 | 1281765.3379 | 2687355.26 | 1281765.5587
69 | 2687355.5143 | 1281688.6975 | 2687345.659 | 1281683.7559
70 | 2687355.5143 | 1281688.6975 | 2687355.9258 | 1281688.9038
71 | 2687408.5482 | 1281658.4601 | 2687407.6652 | 1281657.9012 | 2687405.4499 | 1281650.2951 | 2687405.4499 | 1281650.2951
72 | 2687408.5482 | 1281658.4601 | 2687417.7915 | 1281664.3113
73 | 2687427.2447 | 1281670.2954 | 2687417.7915 | 1281664.3113
74 | 2687369.7126 | 1281695.8178 | 2687361.7113 | 1281691.8047 | 2687355.9258 | 1281688.9038
75 | 2687380.0269 | 1281700.991 | 2687369.7126 | 1281695.8178
76 | 2687380.0269 | 1281700.991 | 2687387.0495 | 1281704.5132
77 | 2687399.9805 | 1281717.2707 | 2687387.0495 | 1281704.5132 | 2687387.0495 | 1281704.5132
78 | 2687404.3505 | 1281721.5821 | 2687399.9805 | 1281717.2707
79 | 2687355.26 | 1281765.5587 | 2687366.4372 | 1281776.2358 | 2687374.6906 | 1281782.0175
80 | 2687404.3505 | 1281721.5821 | 2687417.8267 | 1281734.8774
81 | 2687422.2741 | 1281739.2651 | 2687417.8267 | 1281734.8774
82 | 2687437.7882 | 1281750.6461 | 2687422.2741 | 1281739.2651 | 2687422.2741 | 1281739.2651
83 | 2687427.2447 | 1281670.2954 | 2687436.5462 | 1281676.1835
84 | 2687444.8035 | 1281681.4106 | 2687436.5462 | 1281676.1835
85 | 2687444.8035 | 1281681.4106 | 2687451.8028 | 1281685.8413
86 | 2687451.8028 | 1281685.8413 | 2687454.8509 | 1281687.7708 | 2687464.0569 | 1281696.1201
87 | 2687466.6291 | 1281698.4529 | 2687464.0569 | 1281696.1201
88 | 2687466.6291 | 1281698.4529 | 2687478.6217 | 1281709.3294
89 | 2687483.59 | 1281713.8354 | 2687478.6217 | 1281709.3294
90 | 2687471.1905 | 1281775.1499 | 2687461.7406 | 1281768.2175
91 | 2687454.5579 | 1281762.9483 | 2687461.7406 | 1281768.2175
92 | 2687454.5579 | 1281762.9483 | 2687441.3131 | 1281753.232
93 | 2687441.3131 | 1281753.232 | 2687437.7882 | 1281750.6461
94 | 2687425.0195 | 1281817.2739 | 2687406.339 | 1281804.1878
95 | 2687398.9265 | 1281798.9952 | 2687406.339 | 1281804.1878
96 | 2687398.9265 | 1281798.9952 | 2687375.1682 | 1281782.3521
97 | 2687374.6906 | 1281782.0175 | 2687375.1682 | 1281782.3521

## bus_geodata
| x | y | coords
0 | 2687659.4586 | 1281848.766
1 | 2687660.2702 | 1281849.0259
2 | 2687686.0639 | 1281857.7836
3 | 2687739.4527 | 1281766.4328
4 | 2687615.4137 | 1281882.1684
5 | 2687754.4491 | 1281773.5621
6 | 2687608.0677 | 1281882.4453
7 | 2687750.4977 | 1281745.6701
8 | 2687646.0824 | 1281711.5205
9 | 2687612.894 | 1281689.2153
10 | 2687554.3408 | 1281866.3891
11 | 2687635.5619 | 1281900.069
12 | 2687581.5644 | 1281852.2146
13 | 2687586.6573 | 1281848.2914
14 | 2687612.0801 | 1281926.1377
15 | 2687542.6939 | 1281809.2227
16 | 2687542.2633 | 1281784.6286
17 | 2687573.6877 | 1281816.6347
18 | 2687600.347 | 1281830.9754
19 | 2687492.9623 | 1281843.6696
20 | 2687474.1946 | 1281830.5577
21 | 2687518.3042 | 1281847.4241
22 | 2687462.0909 | 1281865.308
23 | 2687451.203 | 1281864.148
24 | 2687601.7232 | 1281826.8034
25 | 2687526.6366 | 1281779.47
26 | 2687602.9151 | 1281682.5086
27 | 2687592.9146 | 1281675.7432
28 | 2687568.3978 | 1281677.0134
29 | 2687575.4561 | 1281665.4751
30 | 2687565.3854 | 1281682.0168
31 | 2687533.2162 | 1281746.0502
32 | 2687529.1904 | 1281742.543
33 | 2687524.9584 | 1281761.1446
34 | 2687521.065 | 1281767.7884
35 | 2687456.0393 | 1281833.5672
36 | 2687490.7858 | 1281804.4526
37 | 2687429.5867 | 1281820.4733
38 | 2687491.9413 | 1281798.6382
39 | 2687784.9205 | 1281671.5172
40 | 2687787.8664 | 1281675.4199
41 | 2687762.0667 | 1281688.3063
42 | 2687807.6457 | 1281700.9695
43 | 2687735.9142 | 1281707.5186
44 | 2687698.5356 | 1281659.9034
45 | 2687726.7898 | 1281695.8951
46 | 2687721.6479 | 1281699.7664
47 | 2687715.8604 | 1281704.1173
48 | 2687737.5403 | 1281729.3668
49 | 2687609.1881 | 1281653.2711
50 | 2687577.6372 | 1281666.7578
51 | 2687743.8301 | 1281737.233
52 | 2687549.2333 | 1281646.5176
53 | 2687557.8794 | 1281694.4833
54 | 2687502.3812 | 1281727.1635
55 | 2687544.5374 | 1281717.9304
56 | 2687546.4184 | 1281644.4926
57 | 2687539.6235 | 1281647.4053
58 | 2687476.9793 | 1281642.5418
59 | 2687485.9169 | 1281648.2104
60 | 2687465.6221 | 1281637.694
61 | 2687506.9425 | 1281661.9906
62 | 2687509.2745 | 1281663.519
63 | 2687525.7372 | 1281674.3087
64 | 2687337.4909 | 1281748.5846
65 | 2687355.0289 | 1281765.3379
66 | 2687345.659 | 1281683.7559
67 | 2687355.5143 | 1281688.6975
68 | 2687405.4499 | 1281650.2951
69 | 2687408.5482 | 1281658.4601
70 | 2687417.7915 | 1281664.3113
71 | 2687355.9258 | 1281688.9038
72 | 2687369.7126 | 1281695.8178
73 | 2687380.0269 | 1281700.991
74 | 2687387.0495 | 1281704.5132
75 | 2687399.9805 | 1281717.2707
76 | 2687355.26 | 1281765.5587
77 | 2687404.3505 | 1281721.5821
78 | 2687417.8267 | 1281734.8774
79 | 2687422.2741 | 1281739.2651
80 | 2687427.2447 | 1281670.2954
81 | 2687436.5462 | 1281676.1835
82 | 2687444.8035 | 1281681.4106
83 | 2687451.8028 | 1281685.8413
84 | 2687464.0569 | 1281696.1201
85 | 2687466.6291 | 1281698.4529
86 | 2687478.6217 | 1281709.3294
87 | 2687483.59 | 1281713.8354
88 | 2687507.8275 | 1281782.3759
89 | 2687471.1905 | 1281775.1499
90 | 2687461.7406 | 1281768.2174
91 | 2687454.5579 | 1281762.9483
92 | 2687441.3131 | 1281753.232
93 | 2687437.7882 | 1281750.6461
94 | 2687425.0195 | 1281817.2739
95 | 2687406.339 | 1281804.1878
96 | 2687398.9264 | 1281798.9952
97 | 2687375.1682 | 1281782.3521
98 | 2687374.6906 | 1281782.0175
99 | 2687529.1904 | 1281742.543

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1