## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2939-10_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2939-10_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2939-10_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2939-10_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2939-10_0_4_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_2939-10_0_4_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_2939-10_0_4_node_7 | 0.4 | n |  | TRUE
7 | bus_LV_2939-10_0_4_node_8 | 0.4 | n |  | TRUE
8 | bus_LV_2939-10_0_4_node_9 | 0.4 | n |  | TRUE
9 | bus_LV_2939-10_0_4_node_10 | 0.4 | n |  | TRUE
10 | bus_LV_2939-10_0_4_node_11 | 0.4 | n |  | TRUE
11 | bus_LV_2939-10_0_4_node_72 | 0.4 | n |  | TRUE
12 | bus_LV_2939-10_0_4_node_73 | 0.4 | n |  | TRUE
13 | bus_LV_2939-10_0_4_node_70 | 0.4 | n |  | TRUE
14 | bus_LV_2939-10_0_4_node_13 | 0.4 | n |  | TRUE
15 | bus_LV_2939-10_0_4_node_76 | 0.4 | n |  | TRUE
16 | bus_LV_2939-10_0_4_node_83 | 0.4 | n |  | TRUE
17 | bus_LV_2939-10_0_4_node_69 | 0.4 | n |  | TRUE
18 | bus_LV_2939-10_0_4_node_14 | 0.4 | n |  | TRUE
19 | bus_LV_2939-10_0_4_node_15 | 0.4 | n |  | TRUE
20 | bus_LV_2939-10_0_4_node_16 | 0.4 | n |  | TRUE
21 | bus_LV_2939-10_0_4_node_17 | 0.4 | n |  | TRUE
22 | bus_LV_2939-10_0_4_node_18 | 0.4 | n |  | TRUE
23 | bus_LV_2939-10_0_4_node_19 | 0.4 | n |  | TRUE
24 | bus_LV_2939-10_0_4_node_20 | 0.4 | n |  | TRUE
25 | bus_LV_2939-10_0_4_node_22 | 0.4 | n |  | TRUE
26 | bus_LV_2939-10_0_4_node_23 | 0.4 | n |  | TRUE
27 | bus_LV_2939-10_0_4_node_24 | 0.4 | n |  | TRUE
28 | bus_LV_2939-10_0_4_node_25 | 0.4 | n |  | TRUE
29 | bus_LV_2939-10_0_4_node_26 | 0.4 | n |  | TRUE
30 | bus_LV_2939-10_0_4_node_97 | 0.4 | n |  | TRUE
31 | bus_LV_2939-10_0_4_node_105 | 0.4 | n |  | TRUE
32 | bus_LV_2939-10_0_4_node_87 | 0.4 | n |  | TRUE
33 | bus_LV_2939-10_0_4_node_95 | 0.4 | n |  | TRUE
34 | bus_LV_2939-10_0_4_node_86 | 0.4 | n |  | TRUE
35 | bus_LV_2939-10_0_4_node_88 | 0.4 | n |  | TRUE
36 | bus_LV_2939-10_0_4_node_27 | 0.4 | n |  | TRUE
37 | bus_LV_2939-10_0_4_node_28 | 0.4 | n |  | TRUE
38 | bus_LV_2939-10_0_4_node_29 | 0.4 | n |  | TRUE
39 | bus_LV_2939-10_0_4_node_30 | 0.4 | n |  | TRUE
40 | bus_LV_2939-10_0_4_node_31 | 0.4 | n |  | TRUE
41 | bus_LV_2939-10_0_4_node_40 | 0.4 | n |  | TRUE
42 | bus_LV_2939-10_0_4_node_62 | 0.4 | n |  | TRUE
43 | bus_LV_2939-10_0_4_node_41 | 0.4 | n |  | TRUE
44 | bus_LV_2939-10_0_4_node_52 | 0.4 | n |  | TRUE
45 | bus_LV_2939-10_0_4_node_37 | 0.4 | n |  | TRUE
46 | bus_LV_2939-10_0_4_node_35 | 0.4 | n |  | TRUE
47 | bus_LV_2939-10_0_4_node_33 | 0.4 | n |  | TRUE
48 | bus_LV_2939-10_0_4_node_34 | 0.4 | n |  | TRUE
49 | bus_LV_2939-10_0_4_node_36 | 0.4 | n |  | TRUE
50 | bus_LV_2939-10_0_4_node_38 | 0.4 | n |  | TRUE
51 | bus_LV_2939-10_0_4_node_39 | 0.4 | n |  | TRUE
52 | bus_LV_2939-10_0_4_node_63 | 0.4 | n |  | TRUE
53 | bus_LV_2939-10_0_4_node_64 | 0.4 | n |  | TRUE
54 | bus_LV_2939-10_0_4_node_42 | 0.4 | n |  | TRUE
55 | bus_LV_2939-10_0_4_node_43 | 0.4 | n |  | TRUE
56 | bus_LV_2939-10_0_4_node_48 | 0.4 | n |  | TRUE
57 | bus_LV_2939-10_0_4_node_44 | 0.4 | n |  | TRUE
58 | bus_LV_2939-10_0_4_node_67 | 0.4 | n |  | TRUE
59 | bus_LV_2939-10_0_4_node_45 | 0.4 | n |  | TRUE
60 | bus_LV_2939-10_0_4_node_46 | 0.4 | n |  | TRUE
61 | bus_LV_2939-10_0_4_node_47 | 0.4 | n |  | TRUE
62 | bus_LV_2939-10_0_4_node_84 | 0.4 | n |  | TRUE
63 | bus_LV_2939-10_0_4_node_65 | 0.4 | n |  | TRUE
64 | bus_LV_2939-10_0_4_node_49 | 0.4 | n |  | TRUE
65 | bus_LV_2939-10_0_4_node_50 | 0.4 | n |  | TRUE
66 | bus_LV_2939-10_0_4_node_51 | 0.4 | n |  | TRUE
67 | bus_LV_2939-10_0_4_node_53 | 0.4 | n |  | TRUE
68 | bus_LV_2939-10_0_4_node_54 | 0.4 | n |  | TRUE
69 | bus_LV_2939-10_0_4_node_55 | 0.4 | n |  | TRUE
70 | bus_LV_2939-10_0_4_node_61 | 0.4 | n |  | TRUE
71 | bus_LV_2939-10_0_4_node_56 | 0.4 | n |  | TRUE
72 | bus_LV_2939-10_0_4_node_57 | 0.4 | n |  | TRUE
73 | bus_LV_2939-10_0_4_node_58 | 0.4 | n |  | TRUE
74 | bus_LV_2939-10_0_4_node_59 | 0.4 | n |  | TRUE
75 | bus_LV_2939-10_0_4_node_66 | 0.4 | n |  | TRUE
76 | bus_LV_2939-10_0_4_node_68 | 0.4 | n |  | TRUE
77 | bus_LV_2939-10_0_4_node_71 | 0.4 | n |  | TRUE
78 | bus_LV_2939-10_0_4_node_85 | 0.4 | n |  | TRUE
79 | bus_LV_2939-10_0_4_node_74 | 0.4 | n |  | TRUE
80 | bus_LV_2939-10_0_4_node_75 | 0.4 | n |  | TRUE
81 | bus_LV_2939-10_0_4_node_77 | 0.4 | n |  | TRUE
82 | bus_LV_2939-10_0_4_node_78 | 0.4 | n |  | TRUE
83 | bus_LV_2939-10_0_4_node_79 | 0.4 | n |  | TRUE
84 | bus_LV_2939-10_0_4_node_80 | 0.4 | n |  | TRUE
85 | bus_LV_2939-10_0_4_node_81 | 0.4 | n |  | TRUE
86 | bus_LV_2939-10_0_4_node_106 | 0.4 | n |  | TRUE
87 | bus_LV_2939-10_0_4_node_104 | 0.4 | n |  | TRUE
88 | bus_LV_2939-10_0_4_node_89 | 0.4 | n |  | TRUE
89 | bus_LV_2939-10_0_4_node_90 | 0.4 | n |  | TRUE
90 | bus_LV_2939-10_0_4_node_91 | 0.4 | n |  | TRUE
91 | bus_LV_2939-10_0_4_node_92 | 0.4 | n |  | TRUE
92 | bus_LV_2939-10_0_4_node_94 | 0.4 | n |  | TRUE
93 | bus_LV_2939-10_0_4_node_96 | 0.4 | n |  | TRUE
94 | bus_LV_2939-10_0_4_node_98 | 0.4 | n |  | TRUE
95 | bus_LV_2939-10_0_4_node_99 | 0.4 | n |  | TRUE
96 | bus_LV_2939-10_0_4_node_103 | 0.4 | n |  | TRUE
97 | bus_LV_2939-10_0_4_node_108 | 0.4 | n |  | TRUE
98 | bus_LV_2939-10_0_4_node_101 | 0.4 | n |  | TRUE
99 | bus_LV_2939-10_0_4_node_107 | 0.4 | n |  | TRUE
100 | bus_LV_2939-10_0_4_node_100 | 0.4 | n |  | TRUE
101 | bus_LV_2939-10_0_4_node_102 | 0.4 | n |  | TRUE
102 | bus_MV_579_0_node_0 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2939-10_0_4_load_0 | 0 | 0.0013005 | 0.00032594 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2939-10_0_4_load_1 | 1 | 0.0012928 | 0.000324 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2939-10_0_4_load_2 | 2 | 0.0022144 | 0.00055499 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2939-10_0_4_load_3 | 3 | 0.0012801 | 0.00032082 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2939-10_0_4_load_5 | 4 | 0.0012827 | 0.00032148 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2939-10_0_4_load_6 | 5 | 0.0012931 | 0.00032407 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2939-10_0_4_load_7 | 6 | 0.0012987 | 0.0003255 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2939-10_0_4_load_10 | 9 | 0.0013076 | 0.00032771 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2939-10_0_4_load_11 | 10 | 0.0012998 | 0.00032575 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2939-10_0_4_load_72 | 11 | 0.0028956 | 0.00072571 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2939-10_0_4_load_73 | 12 | 0.0024636 | 0.00061744 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2939-10_0_4_load_70 | 13 | 0.0025476 | 0.00063849 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2939-10_0_4_load_13 | 14 | 0.0012829 | 0.00032153 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2939-10_0_4_load_76 | 15 | 0.0029288 | 0.00073402 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2939-10_0_4_load_83 | 16 | 0.0026518 | 0.0006646 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2939-10_0_4_load_14 | 18 | 0.001276 | 0.00031978 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2939-10_0_4_load_15 | 19 | 0.0013096 | 0.00032822 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2939-10_0_4_load_16 | 20 | 0.0020719 | 0.00051928 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2939-10_0_4_load_17 | 21 | 0.002054 | 0.00051478 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2939-10_0_4_load_18 | 22 | 0.002033 | 0.00050953 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2939-10_0_4_load_19 | 23 | 0.0020336 | 0.00050967 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2939-10_0_4_load_20 | 24 | 0.0020478 | 0.00051322 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2939-10_0_4_load_22 | 25 | 0.0061853 | 0.0015502 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2939-10_0_4_load_26 | 29 | 0.0021034 | 0.00052717 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2939-10_0_4_load_105 | 31 | 0.0017207 | 0.00043125 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2939-10_0_4_load_87 | 32 | 0.0017718 | 0.00044405 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2939-10_0_4_load_95 | 33 | 0.015919 | 0.0039896 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2939-10_0_4_load_27 | 36 | 0.031304 | 0.0078454 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2939-10_0_4_load_28 | 37 | 0.0078388 | 0.0019646 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2939-10_0_4_load_30 | 39 | 0.0008423 | 0.0002111 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2939-10_0_4_load_31 | 40 | 0.0063645 | 0.0015951 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2939-10_0_4_load_40 | 41 | 0.0075988 | 0.0019044 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2939-10_0_4_load_41 | 43 | 0.0077818 | 0.0019503 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2939-10_0_4_load_37 | 45 | 0.016914 | 0.0042391 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2939-10_0_4_load_35 | 46 | 0.021857 | 0.0054778 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2939-10_0_4_load_33 | 47 | 0.018404 | 0.0046124 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2939-10_0_4_load_34 | 48 | 0.018883 | 0.0047326 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2939-10_0_4_load_36 | 49 | 0.00088724 | 0.00022236 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2939-10_0_4_load_38 | 50 | 0.008436 | 0.0021142 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2939-10_0_4_load_39 | 51 | 0.007349 | 0.0018418 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2939-10_0_4_load_63 | 52 | 0.0081255 | 0.0020364 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2939-10_0_4_load_42 | 54 | 0.0075832 | 0.0019005 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2939-10_0_4_load_48 | 56 | 0.0046219 | 0.0011584 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2939-10_0_4_load_44 | 57 | 0.017609 | 0.0044132 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2939-10_0_4_load_67 | 58 | 0.0044619 | 0.0011183 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2939-10_0_4_load_46 | 60 | 0.003463 | 0.0008679 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2939-10_0_4_load_47 | 61 | 0.0029496 | 0.00073923 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2939-10_0_4_load_84 | 62 | 0.0031438 | 0.00078791 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2939-10_0_4_load_65 | 63 | 0.0073704 | 0.0018472 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2939-10_0_4_load_49 | 64 | 0.0050924 | 0.0012763 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2939-10_0_4_load_50 | 65 | 0.0027792 | 0.00069653 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2939-10_0_4_load_53 | 67 | 0.0035192 | 0.000882 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2939-10_0_4_load_54 | 68 | 0.002823 | 0.00070751 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2939-10_0_4_load_55 | 69 | 0.0048987 | 0.0012277 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2939-10_0_4_load_61 | 70 | 0.0053214 | 0.0013337 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2939-10_0_4_load_56 | 71 | 0.0072402 | 0.0018146 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_2939-10_0_4_load_57 | 72 | 0.0049742 | 0.0012467 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_2939-10_0_4_load_59 | 74 | 0.0051332 | 0.0012865 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_2939-10_0_4_load_66 | 75 | 0.002753 | 0.00068996 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_2939-10_0_4_load_68 | 76 | 0.0029271 | 0.00073361 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_2939-10_0_4_load_71 | 77 | 0.0072633 | 0.0018203 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_2939-10_0_4_load_74 | 79 | 0.0026895 | 0.00067404 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_2939-10_0_4_load_75 | 80 | 0.0019225 | 0.00048182 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_2939-10_0_4_load_77 | 81 | 0.0014923 | 0.000374 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_2939-10_0_4_load_78 | 82 | 0.0015888 | 0.00039819 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_2939-10_0_4_load_79 | 83 | 0.0014569 | 0.00036514 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_2939-10_0_4_load_80 | 84 | 0.0013176 | 0.00033021 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_2939-10_0_4_load_81 | 85 | 0.0016539 | 0.00041452 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_2939-10_0_4_load_106 | 86 | 0.012302 | 0.0030832 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_2939-10_0_4_load_90 | 89 | 0.013022 | 0.0032637 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_2939-10_0_4_load_91 | 90 | 0.010274 | 0.0025748 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_2939-10_0_4_load_92 | 91 | 0.0048198 | 0.001208 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_2939-10_0_4_load_94 | 92 | 0.015877 | 0.0039791 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_2939-10_0_4_load_99 | 95 | 0.008448 | 0.0021173 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_2939-10_0_4_load_103 | 96 | 0.0035225 | 0.00088282 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_2939-10_0_4_load_108 | 97 | 0.0045193 | 0.0011326 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_2939-10_0_4_load_101 | 98 | 0.0021202 | 0.00053137 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_2939-10_0_4_load_107 | 99 | 0.0107 | 0.0026817 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_2939-10_0_4_load_100 | 100 | 0.0039427 | 0.00098815 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 50 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2939-10_0_4_line_0 |  | 0 | 1 | 0.0020778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2939-10_0_4_line_1 |  | 0 | 2 | 0.013939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2939-10_0_4_line_2 |  | 1 | 3 | 0.016623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2939-10_0_4_line_3 |  | 3 | 4 | 0.00068116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2939-10_0_4_line_4 |  | 4 | 5 | 0.016377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2939-10_0_4_line_5 |  | 5 | 6 | 0.0030037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2939-10_0_4_line_6 |  | 6 | 7 | 0.013578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2939-10_0_4_line_7 |  | 7 | 8 | 0.072277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2939-10_0_4_line_8 |  | 7 | 9 | 0.03656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2939-10_0_4_line_9 |  | 7 | 10 | 0.013967 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2939-10_0_4_line_10 |  | 8 | 11 | 0.016458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2939-10_0_4_line_11 |  | 8 | 12 | 0.020606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2939-10_0_4_line_12 |  | 8 | 13 | 0.025876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2939-10_0_4_line_13 |  | 10 | 14 | 4.1713e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2939-10_0_4_line_14 |  | 11 | 15 | 0.023929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2939-10_0_4_line_15 |  | 12 | 16 | 0.024374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2939-10_0_4_line_16 |  | 13 | 17 | 0.024364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2939-10_0_4_line_17 |  | 14 | 18 | 0.018349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2939-10_0_4_line_18 |  | 15 | 79 | 0.00092224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2939-10_0_4_line_19 |  | 16 | 62 | 0.025233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2939-10_0_4_line_20 |  | 17 | 77 | 0.037799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
21 | LV_2939-10_0_4_line_21 |  | 17 | 76 | 0.02738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
22 | LV_2939-10_0_4_line_22 |  | 18 | 19 | 0.000776 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2939-10_0_4_line_23 |  | 19 | 20 | 0.017254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2939-10_0_4_line_24 |  | 20 | 21 | 0.00028479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2939-10_0_4_line_25 |  | 21 | 22 | 0.016786 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2939-10_0_4_line_26 |  | 22 | 23 | 0.0015382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2939-10_0_4_line_27 |  | 23 | 24 | 0.016637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2939-10_0_4_line_28 |  | 25 | 26 | 0.012822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2939-10_0_4_line_29 |  | 25 | 27 | 0.039194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2939-10_0_4_line_30 |  | 26 | 28 | 0.042947 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2939-10_0_4_line_31 |  | 27 | 29 | 0.02325 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2939-10_0_4_line_32 |  | 28 | 30 | 0.039878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2939-10_0_4_line_33 |  | 28 | 31 | 0.01948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2939-10_0_4_line_34 |  | 29 | 32 | 0.0075407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2939-10_0_4_line_35 |  | 30 | 33 | 0.019817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2939-10_0_4_line_36 |  | 31 | 34 | 0.018806 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2939-10_0_4_line_37 |  | 32 | 35 | 0.018616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2939-10_0_4_line_38 |  | 33 | 92 | 2.1994e-06 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2939-10_0_4_line_39 |  | 34 | 78 | 0.047171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
40 | LV_2939-10_0_4_line_40 |  | 35 | 88 | 0.035823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2939-10_0_4_line_41 |  | 36 | 37 | 0.033223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2939-10_0_4_line_42 |  | 36 | 38 | 0.030097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2939-10_0_4_line_43 |  | 37 | 39 | 0.038751 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2939-10_0_4_line_44 |  | 38 | 40 | 0.026542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2939-10_0_4_line_45 |  | 39 | 41 | 0.014737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2939-10_0_4_line_46 |  | 40 | 42 | 0.034206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2939-10_0_4_line_47 |  | 41 | 43 | 0.0011181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2939-10_0_4_line_48 |  | 42 | 44 | 0.007815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2939-10_0_4_line_49 |  | 43 | 54 | 0.013894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2939-10_0_4_line_50 |  | 44 | 65 | 0.038668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_2939-10_0_4_line_51 |  | 45 | 46 | 0.0040334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2939-10_0_4_line_52 |  | 46 | 47 | 0.030566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2939-10_0_4_line_53 |  | 47 | 48 | 0.016633 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2939-10_0_4_line_54 |  | 48 | 49 | 0.016169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2939-10_0_4_line_55 |  | 49 | 50 | 0.057664 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_2939-10_0_4_line_56 |  | 50 | 51 | 0.014888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
57 | LV_2939-10_0_4_line_57 |  | 51 | 52 | 0.014899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
58 | LV_2939-10_0_4_line_58 |  | 52 | 53 | 0.023388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
59 | LV_2939-10_0_4_line_59 |  | 53 | 63 | 0.011143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
60 | LV_2939-10_0_4_line_60 |  | 53 | 75 | 0.01085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
61 | LV_2939-10_0_4_line_61 |  | 54 | 55 | 0.039559 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_2939-10_0_4_line_62 |  | 55 | 56 | 0.029111 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
63 | LV_2939-10_0_4_line_63 |  | 55 | 57 | 0.0083299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_2939-10_0_4_line_64 |  | 56 | 58 | 0.026551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
65 | LV_2939-10_0_4_line_65 |  | 58 | 63 | 0.015916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
66 | LV_2939-10_0_4_line_66 |  | 59 | 60 | 0.0052902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_2939-10_0_4_line_67 |  | 59 | 61 | 0.017529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_2939-10_0_4_line_68 |  | 60 | 62 | 0.025883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_2939-10_0_4_line_69 |  | 64 | 65 | 0.011582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_2939-10_0_4_line_70 |  | 64 | 66 | 0.0055398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_2939-10_0_4_line_71 |  | 66 | 67 | 0.019563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_2939-10_0_4_line_72 |  | 66 | 68 | 0.013182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_2939-10_0_4_line_73 |  | 67 | 69 | 0.008968 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_2939-10_0_4_line_74 |  | 68 | 70 | 0.031897 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_2939-10_0_4_line_75 |  | 69 | 71 | 0.030506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_2939-10_0_4_line_76 |  | 71 | 72 | 0.0050681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_2939-10_0_4_line_77 |  | 72 | 73 | 0.020811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_2939-10_0_4_line_78 |  | 73 | 74 | 0.01502 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_2939-10_0_4_line_79 |  | 75 | 76 | 0.014332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
80 | LV_2939-10_0_4_line_80 |  | 77 | 78 | 0.090615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
81 | LV_2939-10_0_4_line_81 |  | 79 | 80 | 0.023358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_2939-10_0_4_line_82 |  | 80 | 81 | 0.00046531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_2939-10_0_4_line_83 |  | 81 | 82 | 0.020753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_2939-10_0_4_line_84 |  | 82 | 83 | 0.0039225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_2939-10_0_4_line_85 |  | 83 | 84 | 0.017946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_2939-10_0_4_line_86 |  | 84 | 85 | 0.0059998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_2939-10_0_4_line_87 |  | 86 | 87 | 0.010324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_2939-10_0_4_line_88 |  | 87 | 99 | 0.023087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_2939-10_0_4_line_89 |  | 87 | 101 | 0.024625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_2939-10_0_4_line_90 |  | 88 | 89 | 0.0038915 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_2939-10_0_4_line_91 |  | 89 | 90 | 0.014055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_2939-10_0_4_line_92 |  | 90 | 91 | 0.01888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_2939-10_0_4_line_93 |  | 92 | 93 | 0.025584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_2939-10_0_4_line_94 |  | 93 | 94 | 0.000902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_2939-10_0_4_line_95 |  | 93 | 95 | 0.027607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_2939-10_0_4_line_96 |  | 94 | 96 | 0.030273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_2939-10_0_4_line_97 |  | 95 | 97 | 0.0022096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_2939-10_0_4_line_98 |  | 96 | 98 | 0.031826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_2939-10_0_4_line_99 |  | 97 | 99 | 0.016842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_2939-10_0_4_line_100 |  | 100 | 101 | 0.00221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2939-10_0_4_trafo_38 | 0.63 MVA 20/0.4 kV | 102 | 50 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3
0 | 2690906.3329 | 1284544.7781 | 2690908.3436 | 1284545.3016
1 | 2690906.3329 | 1284544.7781 | 2690895.5778 | 1284541.978 | 2690893.0098 | 1284540.7996
2 | 2690924.795 | 1284547.5053 | 2690911.0617 | 1284546.0092 | 2690908.3436 | 1284545.3016
3 | 2690925.4722 | 1284547.5791 | 2690924.795 | 1284547.5053
4 | 2690925.4722 | 1284547.5791 | 2690929.6167 | 1284548.0306 | 2690941.8027 | 1284548.7611
5 | 2690941.8027 | 1284548.7611 | 2690944.801 | 1284548.9408
6 | 2690958.3552 | 1284549.7533 | 2690944.801 | 1284548.9408
7 | 2690958.3552 | 1284549.7533 | 2690954.6628 | 1284612.8738 | 2690954.1255 | 1284621.9068
8 | 2690958.3552 | 1284549.7533 | 2690960.616 | 1284513.2629
9 | 2690958.3552 | 1284549.7533 | 2690972.2929 | 1284550.6502
10 | 2690954.1255 | 1284621.9068 | 2690970.5458 | 1284623.0247
11 | 2690954.1255 | 1284621.9068 | 2690933.7713 | 1284618.6949
12 | 2690954.1255 | 1284621.9068 | 2690951.9913 | 1284647.6941
13 | 2690972.2929 | 1284550.6502 | 2690972.3345 | 1284550.6528
14 | 2690994.4314 | 1284624.4103 | 2690987.7191 | 1284624.194 | 2690970.5458 | 1284623.0247
15 | 2690933.7713 | 1284618.6949 | 2690923.4238 | 1284617.0621 | 2690909.8995 | 1284613.8586
16 | 2690949.9817 | 1284671.9755 | 2690951.9913 | 1284647.6941
17 | 2690972.3345 | 1284550.6528 | 2690990.6458 | 1284551.8311
18 | 2690994.4314 | 1284624.4103 | 2690995.3531 | 1284624.44
19 | 2690909.8995 | 1284613.8586 | 2690898.0621 | 1284611.0545 | 2690885.7273 | 1284606.7397
20 | 2690949.9817 | 1284671.9755 | 2690979.2102 | 1284695.9432
21 | 2690949.9817 | 1284671.9755 | 2690935.4444 | 1284662.087 | 2690927.4551 | 1284656.4143
22 | 2690990.6458 | 1284551.8311 | 2690991.4202 | 1284551.8809
23 | 2690991.4202 | 1284551.8809 | 2691008.6384 | 1284552.9888
24 | 2691008.6384 | 1284552.9888 | 2691008.9226 | 1284553.0071
25 | 2691008.9226 | 1284553.0071 | 2691025.6742 | 1284554.085
26 | 2691027.2092 | 1284554.1838 | 2691025.6742 | 1284554.085
27 | 2691027.2092 | 1284554.1838 | 2691043.8118 | 1284555.2521
28 | 2691023.9324 | 1284846.4479 | 2691033.3412 | 1284855.1584
29 | 2691056.6086 | 1284885.6426 | 2691050.3808 | 1284870.9335 | 2691033.3412 | 1284855.1584
30 | 2690992.3626 | 1284817.2236 | 2691023.9324 | 1284846.4479
31 | 2691056.6086 | 1284885.6426 | 2691040.7229 | 1284902.6198
32 | 2690965.2569 | 1284835.2543 | 2690972.2048 | 1284840.7775 | 2690992.3626 | 1284817.2236
33 | 2690992.3626 | 1284817.2236 | 2691005.1953 | 1284802.5677
34 | 2691040.7229 | 1284902.6198 | 2691035.5708 | 1284908.1259
35 | 2690965.2569 | 1284835.2543 | 2690950.2148 | 1284822.352
36 | 2691017.8228 | 1284788.6362 | 2691012.0385 | 1284794.7522 | 2691005.1953 | 1284802.5677
37 | 2691022.8513 | 1284921.7194 | 2691035.5708 | 1284908.1259
38 | 2690950.2132 | 1284822.3505 | 2690950.2148 | 1284822.352
39 | 2691049.2783 | 1284753.4023 | 2691017.8228 | 1284788.6362
40 | 2691022.8513 | 1284921.7194 | 2690996.1814 | 1284918.3712 | 2690987.1639 | 1284917.5757
41 | 2690729.3986 | 1284725.1332 | 2690753.3693 | 1284702.1288
42 | 2690707.6838 | 1284745.9727 | 2690729.3986 | 1284725.1332
43 | 2690781.3281 | 1284675.2969 | 2690753.3693 | 1284702.1288
44 | 2690707.6838 | 1284745.9727 | 2690688.6651 | 1284727.459
45 | 2690781.3281 | 1284675.2969 | 2690791.9608 | 1284665.0928
46 | 2690664.1542 | 1284703.5991 | 2690688.6651 | 1284727.459
47 | 2690792.7675 | 1284664.3187 | 2690791.9608 | 1284665.0928
48 | 2690664.1542 | 1284703.5991 | 2690659.0208 | 1284697.6928
49 | 2690792.7675 | 1284664.3187 | 2690802.7921 | 1284654.6981
50 | 2690659.0208 | 1284697.6928 | 2690687.2416 | 1284671.2576
51 | 2690782.3072 | 1284791.7778 | 2690785.027 | 1284788.7995
52 | 2690805.6386 | 1284766.2286 | 2690785.027 | 1284788.7995
53 | 2690805.6386 | 1284766.2286 | 2690816.8549 | 1284753.9462
54 | 2690816.8549 | 1284753.9462 | 2690827.7583 | 1284742.0063
55 | 2690827.7583 | 1284742.0063 | 2690834.3067 | 1284734.8354 | 2690867.5526 | 1284700.2778
56 | 2690867.5526 | 1284700.2778 | 2690877.8744 | 1284689.5487
57 | 2690877.8744 | 1284689.5487 | 2690888.204 | 1284678.8115
58 | 2690903.6514 | 1284661.3292 | 2690900.1427 | 1284666.4017 | 2690888.204 | 1284678.8115
59 | 2690903.6514 | 1284661.3292 | 2690896.1692 | 1284653.0723
60 | 2690903.6514 | 1284661.3292 | 2690906.3145 | 1284658.5234 | 2690913.1995 | 1284657.3649
61 | 2690831.3341 | 1284627.3066 | 2690802.7921 | 1284654.6981
62 | 2690831.3341 | 1284627.3066 | 2690835.8498 | 1284629.4559 | 2690839.8704 | 1284628.1834 | 2690858.0408 | 1284636.2806
63 | 2690831.3341 | 1284627.3066 | 2690835.9438 | 1284622.8738 | 2690837.0983 | 1284621.3214
64 | 2690858.0408 | 1284636.2806 | 2690863.7046 | 1284638.8046 | 2690883.0905 | 1284644.9938
65 | 2690896.1692 | 1284653.0723 | 2690891.1928 | 1284647.5806 | 2690883.0905 | 1284644.9938
66 | 2690857.1543 | 1284594.3536 | 2690861.9477 | 1284596.5916
67 | 2690857.1543 | 1284594.3536 | 2690841.3465 | 1284586.7797
68 | 2690885.7273 | 1284606.7397 | 2690877.5749 | 1284603.8879 | 2690861.9477 | 1284596.5916
69 | 2690695.6942 | 1284663.3398 | 2690687.2416 | 1284671.2576
70 | 2690699.7372 | 1284659.5525 | 2690695.6942 | 1284663.3398
71 | 2690699.7372 | 1284659.5525 | 2690713.9162 | 1284646.0745
72 | 2690699.7372 | 1284659.5525 | 2690692.1463 | 1284648.776
73 | 2690720.4161 | 1284639.8958 | 2690713.9162 | 1284646.0745
74 | 2690692.1463 | 1284648.776 | 2690673.778 | 1284622.6989
75 | 2690720.4161 | 1284639.8958 | 2690742.5265 | 1284618.8784
76 | 2690746.1999 | 1284615.3867 | 2690742.5265 | 1284618.8784
77 | 2690761.2832 | 1284601.0489 | 2690746.1999 | 1284615.3867
78 | 2690761.2832 | 1284601.0489 | 2690772.4582 | 1284591.0123
79 | 2690913.1995 | 1284657.3649 | 2690918.6646 | 1284656.4454 | 2690927.4551 | 1284656.4143
80 | 2691049.2783 | 1284753.4023 | 2691045.6463 | 1284750.4214 | 2690979.2102 | 1284695.9432
81 | 2690995.3531 | 1284624.44 | 2691018.6988 | 1284625.1925
82 | 2691018.6988 | 1284625.1925 | 2691019.1638 | 1284625.2075
83 | 2691019.1638 | 1284625.2075 | 2691026.1705 | 1284625.4333 | 2691039.8747 | 1284624.4023
84 | 2691039.8747 | 1284624.4023 | 2691043.7862 | 1284624.1081
85 | 2691061.6495 | 1284622.4951 | 2691058.6663 | 1284622.9887 | 2691043.7862 | 1284624.1081
86 | 2691061.6495 | 1284622.4951 | 2691067.5689 | 1284621.5158
87 | 2690977.8203 | 1284753.2764 | 2690985.6322 | 1284760.0268
88 | 2690977.8203 | 1284753.2764 | 2690975.4283 | 1284756.0308 | 2690962.4343 | 1284770.4888
89 | 2690977.8203 | 1284753.2764 | 2690958.8325 | 1284737.5251
90 | 2690987.1639 | 1284917.5757 | 2690983.3002 | 1284917.1114
91 | 2690983.3002 | 1284917.1114 | 2690969.3456 | 1284915.4343
92 | 2690969.3456 | 1284915.4343 | 2690950.6001 | 1284913.1814
93 | 2690931.2452 | 1284805.192 | 2690942.2178 | 1284815.4925 | 2690950.2132 | 1284822.3505
94 | 2690930.5409 | 1284804.6251 | 2690931.2452 | 1284805.192
95 | 2690931.2452 | 1284805.192 | 2690949.6993 | 1284784.6587
96 | 2690930.5409 | 1284804.6251 | 2690907.4945 | 1284784.9956
97 | 2690951.1763 | 1284783.0153 | 2690949.6993 | 1284784.6587
98 | 2690907.4945 | 1284784.9956 | 2690907.2698 | 1284784.8042 | 2690883.2651 | 1284764.3605 | 2690883.2651 | 1284764.3605
99 | 2690951.1763 | 1284783.0153 | 2690962.4343 | 1284770.4888
100 | 2690958.8325 | 1284737.5251 | 2690957.0935 | 1284736.1612

## bus_geodata
| x | y | coords
0 | 2690906.3329 | 1284544.7781
1 | 2690908.3436 | 1284545.3016
2 | 2690893.0098 | 1284540.7996
3 | 2690924.795 | 1284547.5053
4 | 2690925.4722 | 1284547.5791
5 | 2690941.8027 | 1284548.7611
6 | 2690944.801 | 1284548.9408
7 | 2690958.3552 | 1284549.7533
8 | 2690954.1255 | 1284621.9068
9 | 2690960.616 | 1284513.2629
10 | 2690972.2929 | 1284550.6502
11 | 2690970.5458 | 1284623.0247
12 | 2690933.7713 | 1284618.6949
13 | 2690951.9913 | 1284647.6941
14 | 2690972.3345 | 1284550.6528
15 | 2690994.4314 | 1284624.4103
16 | 2690909.8995 | 1284613.8586
17 | 2690949.9817 | 1284671.9755
18 | 2690990.6458 | 1284551.8311
19 | 2690991.4202 | 1284551.8809
20 | 2691008.6384 | 1284552.9888
21 | 2691008.9226 | 1284553.0071
22 | 2691025.6742 | 1284554.085
23 | 2691027.2092 | 1284554.1838
24 | 2691043.8118 | 1284555.2521
25 | 2691033.3412 | 1284855.1584
26 | 2691023.9324 | 1284846.4479
27 | 2691056.6086 | 1284885.6426
28 | 2690992.3626 | 1284817.2236
29 | 2691040.7229 | 1284902.6198
30 | 2690965.2569 | 1284835.2543
31 | 2691005.1953 | 1284802.5677
32 | 2691035.5708 | 1284908.1259
33 | 2690950.2148 | 1284822.352
34 | 2691017.8228 | 1284788.6362
35 | 2691022.8513 | 1284921.7194
36 | 2690729.3986 | 1284725.1332
37 | 2690753.3693 | 1284702.1288
38 | 2690707.6838 | 1284745.9727
39 | 2690781.3281 | 1284675.2969
40 | 2690688.6651 | 1284727.459
41 | 2690791.9608 | 1284665.0928
42 | 2690664.1542 | 1284703.5991
43 | 2690792.7675 | 1284664.3187
44 | 2690659.0208 | 1284697.6928
45 | 2690782.3072 | 1284791.7778
46 | 2690785.027 | 1284788.7995
47 | 2690805.6386 | 1284766.2286
48 | 2690816.8549 | 1284753.9462
49 | 2690827.7583 | 1284742.0063
50 | 2690867.5526 | 1284700.2778
51 | 2690877.8744 | 1284689.5487
52 | 2690888.204 | 1284678.8115
53 | 2690903.6514 | 1284661.3292
54 | 2690802.7921 | 1284654.6981
55 | 2690831.3341 | 1284627.3066
56 | 2690858.0408 | 1284636.2806
57 | 2690837.0983 | 1284621.3214
58 | 2690883.0905 | 1284644.9938
59 | 2690857.1543 | 1284594.3536
60 | 2690861.9477 | 1284596.5916
61 | 2690841.3465 | 1284586.7797
62 | 2690885.7273 | 1284606.7397
63 | 2690896.1692 | 1284653.0723
64 | 2690695.6942 | 1284663.3398
65 | 2690687.2416 | 1284671.2576
66 | 2690699.7372 | 1284659.5525
67 | 2690713.9162 | 1284646.0745
68 | 2690692.1463 | 1284648.776
69 | 2690720.4161 | 1284639.8958
70 | 2690673.778 | 1284622.6989
71 | 2690742.5265 | 1284618.8784
72 | 2690746.1999 | 1284615.3867
73 | 2690761.2832 | 1284601.0489
74 | 2690772.4582 | 1284591.0123
75 | 2690913.1995 | 1284657.3649
76 | 2690927.4551 | 1284656.4143
77 | 2690979.2102 | 1284695.9432
78 | 2691049.2783 | 1284753.4023
79 | 2690995.3531 | 1284624.44
80 | 2691018.6988 | 1284625.1925
81 | 2691019.1638 | 1284625.2075
82 | 2691039.8747 | 1284624.4023
83 | 2691043.7862 | 1284624.1081
84 | 2691061.6495 | 1284622.4951
85 | 2691067.5689 | 1284621.5158
86 | 2690985.6322 | 1284760.0268
87 | 2690977.8203 | 1284753.2764
88 | 2690987.1639 | 1284917.5757
89 | 2690983.3002 | 1284917.1114
90 | 2690969.3456 | 1284915.4343
91 | 2690950.6001 | 1284913.1814
92 | 2690950.2132 | 1284822.3505
93 | 2690931.2452 | 1284805.192
94 | 2690930.5409 | 1284804.6251
95 | 2690949.6993 | 1284784.6587
96 | 2690907.4945 | 1284784.9956
97 | 2690951.1763 | 1284783.0153
98 | 2690883.2651 | 1284764.3605
99 | 2690962.4343 | 1284770.4888
100 | 2690957.0935 | 1284736.1612
101 | 2690958.8325 | 1284737.5251
102 | 2690903.6514 | 1284661.3292

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1