## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2939-16_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2939-16_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2939-16_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2939-16_0_5_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_2939-16_0_5_node_3 | 0.4 | n |  | TRUE
5 | bus_LV_2939-16_0_5_node_33 | 0.4 | n |  | TRUE
6 | bus_LV_2939-16_0_5_node_31 | 0.4 | n |  | TRUE
7 | bus_LV_2939-16_0_5_node_58 | 0.4 | n |  | TRUE
8 | bus_LV_2939-16_0_5_node_11 | 0.4 | n |  | TRUE
9 | bus_LV_2939-16_0_5_node_96 | 0.4 | n |  | TRUE
10 | bus_LV_2939-16_0_5_node_27 | 0.4 | n |  | TRUE
11 | bus_LV_2939-16_0_5_node_57 | 0.4 | n |  | TRUE
12 | bus_LV_2939-16_0_5_node_69 | 0.4 | n |  | TRUE
13 | bus_LV_2939-16_0_5_node_64 | 0.4 | n |  | TRUE
14 | bus_LV_2939-16_0_5_node_60 | 0.4 | n |  | TRUE
15 | bus_LV_2939-16_0_5_node_5 | 0.4 | n |  | TRUE
16 | bus_LV_2939-16_0_5_node_6 | 0.4 | n |  | TRUE
17 | bus_LV_2939-16_0_5_node_7 | 0.4 | n |  | TRUE
18 | bus_LV_2939-16_0_5_node_8 | 0.4 | n |  | TRUE
19 | bus_LV_2939-16_0_5_node_12 | 0.4 | n |  | TRUE
20 | bus_LV_2939-16_0_5_node_13 | 0.4 | n |  | TRUE
21 | bus_LV_2939-16_0_5_node_14 | 0.4 | n |  | TRUE
22 | bus_LV_2939-16_0_5_node_15 | 0.4 | n |  | TRUE
23 | bus_LV_2939-16_0_5_node_16 | 0.4 | n |  | TRUE
24 | bus_LV_2939-16_0_5_node_18 | 0.4 | n |  | TRUE
25 | bus_LV_2939-16_0_5_node_19 | 0.4 | n |  | TRUE
26 | bus_LV_2939-16_0_5_node_20 | 0.4 | n |  | TRUE
27 | bus_LV_2939-16_0_5_node_99 | 0.4 | n |  | TRUE
28 | bus_LV_2939-16_0_5_node_98 | 0.4 | n |  | TRUE
29 | bus_LV_2939-16_0_5_node_17 | 0.4 | n |  | TRUE
30 | bus_LV_2939-16_0_5_node_22 | 0.4 | n |  | TRUE
31 | bus_LV_2939-16_0_5_node_51 | 0.4 | n |  | TRUE
32 | bus_LV_2939-16_0_5_node_46 | 0.4 | n |  | TRUE
33 | bus_LV_2939-16_0_5_node_43 | 0.4 | n |  | TRUE
34 | bus_LV_2939-16_0_5_node_104 | 0.4 | n |  | TRUE
35 | bus_LV_2939-16_0_5_node_21 | 0.4 | n |  | TRUE
36 | bus_LV_2939-16_0_5_node_52 | 0.4 | n |  | TRUE
37 | bus_LV_2939-16_0_5_node_47 | 0.4 | n |  | TRUE
38 | bus_LV_2939-16_0_5_node_44 | 0.4 | n |  | TRUE
39 | bus_LV_2939-16_0_5_node_23 | 0.4 | n |  | TRUE
40 | bus_LV_2939-16_0_5_node_24 | 0.4 | n |  | TRUE
41 | bus_LV_2939-16_0_5_node_66 | 0.4 | n |  | TRUE
42 | bus_LV_2939-16_0_5_node_107 | 0.4 | n |  | TRUE
43 | bus_LV_2939-16_0_5_node_25 | 0.4 | n |  | TRUE
44 | bus_LV_2939-16_0_5_node_26 | 0.4 | n |  | TRUE
45 | bus_LV_2939-16_0_5_node_28 | 0.4 | n |  | TRUE
46 | bus_LV_2939-16_0_5_node_29 | 0.4 | n |  | TRUE
47 | bus_LV_2939-16_0_5_node_30 | 0.4 | n |  | TRUE
48 | bus_LV_2939-16_0_5_node_32 | 0.4 | n |  | TRUE
49 | bus_LV_2939-16_0_5_node_35 | 0.4 | n |  | TRUE
50 | bus_LV_2939-16_0_5_node_88 | 0.4 | n |  | TRUE
51 | bus_LV_2939-16_0_5_node_93 | 0.4 | n |  | TRUE
52 | bus_LV_2939-16_0_5_node_34 | 0.4 | n |  | TRUE
53 | bus_LV_2939-16_0_5_node_87 | 0.4 | n |  | TRUE
54 | bus_LV_2939-16_0_5_node_36 | 0.4 | n |  | TRUE
55 | bus_LV_2939-16_0_5_node_37 | 0.4 | n |  | TRUE
56 | bus_LV_2939-16_0_5_node_38 | 0.4 | n |  | TRUE
57 | bus_LV_2939-16_0_5_node_39 | 0.4 | n |  | TRUE
58 | bus_LV_2939-16_0_5_node_40 | 0.4 | n |  | TRUE
59 | bus_LV_2939-16_0_5_node_41 | 0.4 | n |  | TRUE
60 | bus_LV_2939-16_0_5_node_42 | 0.4 | n |  | TRUE
61 | bus_LV_2939-16_0_5_node_80 | 0.4 | n |  | TRUE
62 | bus_LV_2939-16_0_5_node_50 | 0.4 | n |  | TRUE
63 | bus_LV_2939-16_0_5_node_74 | 0.4 | n |  | TRUE
64 | bus_LV_2939-16_0_5_node_49 | 0.4 | n |  | TRUE
65 | bus_LV_2939-16_0_5_node_45 | 0.4 | n |  | TRUE
66 | bus_LV_2939-16_0_5_node_55 | 0.4 | n |  | TRUE
67 | bus_LV_2939-16_0_5_node_56 | 0.4 | n |  | TRUE
68 | bus_LV_2939-16_0_5_node_48 | 0.4 | n |  | TRUE
69 | bus_LV_2939-16_0_5_node_53 | 0.4 | n |  | TRUE
70 | bus_LV_2939-16_0_5_node_54 | 0.4 | n |  | TRUE
71 | bus_LV_2939-16_0_5_node_61 | 0.4 | n |  | TRUE
72 | bus_LV_2939-16_0_5_node_62 | 0.4 | n |  | TRUE
73 | bus_LV_2939-16_0_5_node_59 | 0.4 | n |  | TRUE
74 | bus_LV_2939-16_0_5_node_110 | 0.4 | n |  | TRUE
75 | bus_LV_2939-16_0_5_node_65 | 0.4 | n |  | TRUE
76 | bus_LV_2939-16_0_5_node_63 | 0.4 | n |  | TRUE
77 | bus_LV_2939-16_0_5_node_67 | 0.4 | n |  | TRUE
78 | bus_LV_2939-16_0_5_node_109 | 0.4 | n |  | TRUE
79 | bus_LV_2939-16_0_5_node_105 | 0.4 | n |  | TRUE
80 | bus_LV_2939-16_0_5_node_106 | 0.4 | n |  | TRUE
81 | bus_LV_2939-16_0_5_node_70 | 0.4 | n |  | TRUE
82 | bus_LV_2939-16_0_5_node_71 | 0.4 | n |  | TRUE
83 | bus_LV_2939-16_0_5_node_72 | 0.4 | n |  | TRUE
84 | bus_LV_2939-16_0_5_node_73 | 0.4 | n |  | TRUE
85 | bus_LV_2939-16_0_5_node_75 | 0.4 | n |  | TRUE
86 | bus_LV_2939-16_0_5_node_81 | 0.4 | n |  | TRUE
87 | bus_LV_2939-16_0_5_node_76 | 0.4 | n |  | TRUE
88 | bus_LV_2939-16_0_5_node_89 | 0.4 | n |  | TRUE
89 | bus_LV_2939-16_0_5_node_77 | 0.4 | n |  | TRUE
90 | bus_LV_2939-16_0_5_node_78 | 0.4 | n |  | TRUE
91 | bus_LV_2939-16_0_5_node_79 | 0.4 | n |  | TRUE
92 | bus_LV_2939-16_0_5_node_102 | 0.4 | n |  | TRUE
93 | bus_LV_2939-16_0_5_node_101 | 0.4 | n |  | TRUE
94 | bus_LV_2939-16_0_5_node_82 | 0.4 | n |  | TRUE
95 | bus_LV_2939-16_0_5_node_83 | 0.4 | n |  | TRUE
96 | bus_LV_2939-16_0_5_node_84 | 0.4 | n |  | TRUE
97 | bus_LV_2939-16_0_5_node_85 | 0.4 | n |  | TRUE
98 | bus_LV_2939-16_0_5_node_86 | 0.4 | n |  | TRUE
99 | bus_LV_2939-16_0_5_node_90 | 0.4 | n |  | TRUE
100 | bus_LV_2939-16_0_5_node_91 | 0.4 | n |  | TRUE
101 | bus_LV_2939-16_0_5_node_92 | 0.4 | n |  | TRUE
102 | bus_LV_2939-16_0_5_node_94 | 0.4 | n |  | TRUE
103 | bus_MV_401_0_node_75 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2939-16_0_5_load_0 | 0 | 0.01325 | 0.0033207 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2939-16_0_5_load_1 | 1 | 0.037381 | 0.0093686 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2939-16_0_5_load_2 | 2 | 0.026217 | 0.0065705 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2939-16_0_5_load_33 | 5 | 0.0023892 | 0.00059879 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2939-16_0_5_load_58 | 7 | 0.011596 | 0.0029063 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2939-16_0_5_load_96 | 9 | 0.015564 | 0.0039008 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2939-16_0_5_load_64 | 13 | 0.0075262 | 0.0018862 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2939-16_0_5_load_60 | 14 | 0.0035476 | 0.0008891 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2939-16_0_5_load_5 | 15 | 0.096721 | 0.024241 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2939-16_0_5_load_12 | 19 | 0.004595 | 0.0011516 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2939-16_0_5_load_13 | 20 | 0.0052609 | 0.0013185 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2939-16_0_5_load_19 | 25 | 0.0019006 | 0.00047633 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2939-16_0_5_load_20 | 26 | 0.00674 | 0.0016892 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2939-16_0_5_load_99 | 27 | 0.0023723 | 0.00059455 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2939-16_0_5_load_98 | 28 | 0.0060832 | 0.0015246 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2939-16_0_5_load_22 | 30 | 0.002855 | 0.00071553 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2939-16_0_5_load_51 | 31 | 0.011258 | 0.0028215 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2939-16_0_5_load_46 | 32 | 0.0023085 | 0.00057856 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2939-16_0_5_load_43 | 33 | 0.021007 | 0.0052649 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2939-16_0_5_load_104 | 34 | 0.0017506 | 0.00043875 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2939-16_0_5_load_21 | 35 | 0.0043153 | 0.0010815 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2939-16_0_5_load_52 | 36 | 0.010633 | 0.0026648 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2939-16_0_5_load_47 | 37 | 0.010618 | 0.0026611 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2939-16_0_5_load_44 | 38 | 0.001913 | 0.00047945 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2939-16_0_5_load_23 | 39 | 0.0013224 | 0.00033141 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2939-16_0_5_load_107 | 42 | 0.00095445 | 0.00023921 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2939-16_0_5_load_25 | 43 | 0.0019815 | 0.0004966 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2939-16_0_5_load_26 | 44 | 0.0084507 | 0.0021179 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2939-16_0_5_load_28 | 45 | 0.0084067 | 0.0021069 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2939-16_0_5_load_30 | 47 | 0.0050515 | 0.001266 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2939-16_0_5_load_32 | 48 | 0.0080902 | 0.0020276 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2939-16_0_5_load_35 | 49 | 0.0024529 | 0.00061475 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2939-16_0_5_load_88 | 50 | 0.0024303 | 0.00060909 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2939-16_0_5_load_93 | 51 | 0.004041 | 0.0010128 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2939-16_0_5_load_34 | 52 | 0.028983 | 0.0072638 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2939-16_0_5_load_87 | 53 | 0.0012436 | 0.00031168 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2939-16_0_5_load_36 | 54 | 0.022153 | 0.005552 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2939-16_0_5_load_37 | 55 | 0.035114 | 0.0088005 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2939-16_0_5_load_38 | 56 | 0.017376 | 0.0043549 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2939-16_0_5_load_40 | 58 | 0.043887 | 0.010999 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2939-16_0_5_load_41 | 59 | 0.0015083 | 0.00037801 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2939-16_0_5_load_42 | 60 | 0.0072487 | 0.0018167 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2939-16_0_5_load_50 | 62 | 0.0066549 | 0.0016679 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2939-16_0_5_load_49 | 64 | 0.0037077 | 0.00092925 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2939-16_0_5_load_45 | 65 | 0.0014024 | 0.00035146 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2939-16_0_5_load_55 | 66 | 0.0014387 | 0.00036057 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2939-16_0_5_load_56 | 67 | 0.0070575 | 0.0017688 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2939-16_0_5_load_48 | 68 | 0.0020923 | 0.00052439 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2939-16_0_5_load_53 | 69 | 0.0059894 | 0.0015011 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2939-16_0_5_load_54 | 70 | 0.0015708 | 0.00039369 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2939-16_0_5_load_61 | 71 | 0.001374 | 0.00034435 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2939-16_0_5_load_62 | 72 | 0.0020665 | 0.00051792 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2939-16_0_5_load_59 | 73 | 0.0014282 | 0.00035795 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2939-16_0_5_load_110 | 74 | 0.00078682 | 0.0001972 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2939-16_0_5_load_109 | 78 | 0.0026831 | 0.00067245 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2939-16_0_5_load_105 | 79 | 0.00094125 | 0.0002359 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_2939-16_0_5_load_70 | 81 | 0.0024117 | 0.00060444 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_2939-16_0_5_load_71 | 82 | 0.0012754 | 0.00031964 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_2939-16_0_5_load_72 | 83 | 0.0011029 | 0.00027643 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_2939-16_0_5_load_73 | 84 | 0.00094432 | 0.00023667 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_2939-16_0_5_load_75 | 85 | 0.00065412 | 0.00016394 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_2939-16_0_5_load_76 | 87 | 0.0010767 | 0.00026983 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_2939-16_0_5_load_89 | 88 | 0.0015902 | 0.00039853 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_2939-16_0_5_load_77 | 89 | 0.00078865 | 0.00019765 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_2939-16_0_5_load_78 | 90 | 0.0010378 | 0.0002601 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_2939-16_0_5_load_79 | 91 | 0.0017414 | 0.00043643 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_2939-16_0_5_load_102 | 92 | 0.00071126 | 0.00017826 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_2939-16_0_5_load_101 | 93 | 0.00083406 | 0.00020904 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_2939-16_0_5_load_82 | 94 | 0.0011235 | 0.00028158 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_2939-16_0_5_load_83 | 95 | 0.0012738 | 0.00031924 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_2939-16_0_5_load_84 | 96 | 0.000807 | 0.00020225 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_2939-16_0_5_load_85 | 97 | 0.0014365 | 0.00036002 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_2939-16_0_5_load_86 | 98 | 0.01184 | 0.0029675 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_2939-16_0_5_load_90 | 99 | 0.00076708 | 0.00019225 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_2939-16_0_5_load_92 | 101 | 0.0028 | 0.00070174 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_2939-16_0_5_load_94 | 102 | 0.0014287 | 0.00035807 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 54 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2939-16_0_5_line_0 |  | 0 | 1 | 0.060861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2939-16_0_5_line_1 |  | 0 | 2 | 0.01009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2939-16_0_5_line_2 |  | 2 | 3 | 0.027672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
3 | LV_2939-16_0_5_line_3 |  | 3 | 7 | 0.027934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
4 | LV_2939-16_0_5_line_4 |  | 4 | 5 | 0.061311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2939-16_0_5_line_5 |  | 4 | 6 | 0.077323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
6 | LV_2939-16_0_5_line_6 |  | 5 | 8 | 0.076492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2939-16_0_5_line_7 |  | 6 | 9 | 0.019858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2939-16_0_5_line_8 |  | 6 | 10 | 0.069021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
9 | LV_2939-16_0_5_line_9 |  | 7 | 14 | 0.020888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
10 | LV_2939-16_0_5_line_10 |  | 8 | 17 | 0.05041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2939-16_0_5_line_11 |  | 10 | 46 | 0.013395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
12 | LV_2939-16_0_5_line_12 |  | 10 | 47 | 0.01901 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2939-16_0_5_line_13 |  | 10 | 43 | 0.015862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2939-16_0_5_line_14 |  | 11 | 12 | 0.10009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2939-16_0_5_line_15 |  | 11 | 13 | 0.012153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2939-16_0_5_line_16 |  | 12 | 74 | 0.016262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2939-16_0_5_line_17 |  | 13 | 75 | 0.026285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2939-16_0_5_line_18 |  | 14 | 73 | 0.011003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
19 | LV_2939-16_0_5_line_19 |  | 15 | 16 | 0.0077708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2939-16_0_5_line_20 |  | 15 | 17 | 0.0094937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2939-16_0_5_line_21 |  | 16 | 18 | 0.017094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2939-16_0_5_line_22 |  | 18 | 19 | 0.016479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2939-16_0_5_line_23 |  | 20 | 21 | 0.034345 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2939-16_0_5_line_24 |  | 20 | 22 | 0.018808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2939-16_0_5_line_25 |  | 21 | 23 | 0.03517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2939-16_0_5_line_26 |  | 21 | 24 | 0.040455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2939-16_0_5_line_27 |  | 22 | 25 | 0.024884 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2939-16_0_5_line_28 |  | 22 | 26 | 0.009584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2939-16_0_5_line_29 |  | 23 | 27 | 0.021153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2939-16_0_5_line_30 |  | 23 | 28 | 0.018657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2939-16_0_5_line_31 |  | 24 | 32 | 0.015186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
32 | LV_2939-16_0_5_line_32 |  | 24 | 33 | 0.050151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
33 | LV_2939-16_0_5_line_33 |  | 24 | 29 | 0.033663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2939-16_0_5_line_34 |  | 25 | 34 | 0.00049349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2939-16_0_5_line_35 |  | 29 | 30 | 0.025842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2939-16_0_5_line_36 |  | 29 | 31 | 0.016574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2939-16_0_5_line_37 |  | 30 | 35 | 0.023839 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2939-16_0_5_line_38 |  | 31 | 36 | 0.015234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2939-16_0_5_line_39 |  | 32 | 37 | 0.0063555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
40 | LV_2939-16_0_5_line_40 |  | 33 | 38 | 0.036618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
41 | LV_2939-16_0_5_line_41 |  | 35 | 39 | 0.013144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2939-16_0_5_line_42 |  | 36 | 69 | 0.017433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2939-16_0_5_line_43 |  | 37 | 68 | 0.011252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
44 | LV_2939-16_0_5_line_44 |  | 38 | 65 | 0.010984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
45 | LV_2939-16_0_5_line_45 |  | 39 | 40 | 0.014831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2939-16_0_5_line_46 |  | 40 | 41 | 0.078326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2939-16_0_5_line_47 |  | 41 | 42 | 0.032054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2939-16_0_5_line_48 |  | 42 | 80 | 0.0058713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2939-16_0_5_line_49 |  | 43 | 44 | 0.016024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2939-16_0_5_line_50 |  | 44 | 45 | 0.016235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_2939-16_0_5_line_51 |  | 45 | 48 | 0.015883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2939-16_0_5_line_52 |  | 46 | 49 | 0.02599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
53 | LV_2939-16_0_5_line_53 |  | 46 | 50 | 0.021386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
54 | LV_2939-16_0_5_line_54 |  | 47 | 51 | 0.0044115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2939-16_0_5_line_55 |  | 49 | 52 | 0.040782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
56 | LV_2939-16_0_5_line_56 |  | 50 | 53 | 0.013272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
57 | LV_2939-16_0_5_line_57 |  | 52 | 54 | 0.0070676 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
58 | LV_2939-16_0_5_line_58 |  | 53 | 86 | 0.013109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
59 | LV_2939-16_0_5_line_59 |  | 55 | 56 | 0.0046811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_2939-16_0_5_line_60 |  | 55 | 57 | 0.026928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_2939-16_0_5_line_61 |  | 56 | 58 | 0.02037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_2939-16_0_5_line_62 |  | 57 | 59 | 0.036844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
63 | LV_2939-16_0_5_line_63 |  | 57 | 60 | 0.011875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
64 | LV_2939-16_0_5_line_64 |  | 59 | 61 | 0.05961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
65 | LV_2939-16_0_5_line_65 |  | 60 | 62 | 0.0022027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
66 | LV_2939-16_0_5_line_66 |  | 61 | 63 | 0.021302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
67 | LV_2939-16_0_5_line_67 |  | 62 | 64 | 0.03492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
68 | LV_2939-16_0_5_line_68 |  | 63 | 86 | 0.029654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
69 | LV_2939-16_0_5_line_69 |  | 63 | 83 | 0.011603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_2939-16_0_5_line_70 |  | 64 | 68 | 0.0013338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
71 | LV_2939-16_0_5_line_71 |  | 65 | 66 | 0.0050712 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
72 | LV_2939-16_0_5_line_72 |  | 66 | 67 | 0.014273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
73 | LV_2939-16_0_5_line_73 |  | 67 | 73 | 0.0067265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
74 | LV_2939-16_0_5_line_74 |  | 69 | 70 | 0.019775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_2939-16_0_5_line_75 |  | 70 | 71 | 0.022325 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_2939-16_0_5_line_76 |  | 71 | 72 | 0.023575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_2939-16_0_5_line_77 |  | 72 | 76 | 0.051529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_2939-16_0_5_line_78 |  | 75 | 76 | 0.013521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_2939-16_0_5_line_79 |  | 77 | 78 | 0.019089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_2939-16_0_5_line_80 |  | 77 | 79 | 0.02639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_2939-16_0_5_line_81 |  | 79 | 80 | 0.013348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_2939-16_0_5_line_82 |  | 81 | 82 | 0.038447 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_2939-16_0_5_line_83 |  | 81 | 83 | 0.055208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_2939-16_0_5_line_84 |  | 82 | 84 | 0.0018647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_2939-16_0_5_line_85 |  | 84 | 85 | 0.018778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_2939-16_0_5_line_86 |  | 85 | 87 | 0.00067514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_2939-16_0_5_line_87 |  | 86 | 88 | 0.021586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_2939-16_0_5_line_88 |  | 87 | 89 | 0.0028711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_2939-16_0_5_line_89 |  | 89 | 90 | 0.015935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_2939-16_0_5_line_90 |  | 90 | 91 | 0.0069681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_2939-16_0_5_line_91 |  | 91 | 94 | 0.0021431 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_2939-16_0_5_line_92 |  | 92 | 93 | 0.018696 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_2939-16_0_5_line_93 |  | 93 | 95 | 0.08688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_2939-16_0_5_line_94 |  | 94 | 95 | 0.00027153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_2939-16_0_5_line_95 |  | 95 | 96 | 0.0098153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_2939-16_0_5_line_96 |  | 96 | 97 | 0.023325 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_2939-16_0_5_line_97 |  | 97 | 98 | 0.0055312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_2939-16_0_5_line_98 |  | 98 | 99 | 0.01119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_2939-16_0_5_line_99 |  | 99 | 100 | 0.025807 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_2939-16_0_5_line_100 |  | 100 | 101 | 7.5592e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_2939-16_0_5_line_101 |  | 101 | 102 | 0.039608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2939-16_0_5_trafo_36 | 0.63 MVA 20/0.4 kV | 103 | 54 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11
0 | 2691974.0163 | 1286317.9424 | 2691978.4106 | 1286320.4448 | 2691995.7702 | 1286331.837 | 2691998.5634 | 1286333.66 | 2692007.0669 | 1286340.3098 | 2692022.8637 | 1286354.0092
1 | 2691974.0163 | 1286317.9424 | 2691967.8485 | 1286314.4302 | 2691965.1565 | 1286313.1229
2 | 2691940.1606 | 1286301.253 | 2691957.414 | 1286309.3628 | 2691965.1565 | 1286313.1229
3 | 2691940.1606 | 1286301.253 | 2691935.0385 | 1286310.6481 | 2691924.6553 | 1286324.4019
4 | 2692077.8854 | 1286426.6481 | 2692089.5904 | 1286422.4273 | 2692112.5614 | 1286413.2783 | 2692125.6654 | 1286405.0203 | 2692130.9373 | 1286398.1582
5 | 2692103.0546 | 1286499.5394 | 2692101.1629 | 1286489.512 | 2692093.9942 | 1286464.7113 | 2692077.8854 | 1286426.6481
6 | 2692164.0199 | 1286335.9813 | 2692167.2059 | 1286338.1108 | 2692168.7134 | 1286346.7976 | 2692164.3809 | 1286354.6257 | 2692130.9373 | 1286398.1582
7 | 2692103.0546 | 1286499.5394 | 2692122.8647 | 1286498.1654
8 | 2692038.3214 | 1286522.7483 | 2692053.3924 | 1286513.9315 | 2692070.3662 | 1286508.2028 | 2692091.005 | 1286502.2868 | 2692103.0546 | 1286499.5394
9 | 2691924.6553 | 1286324.4019 | 2691912.0701 | 1286341.0725
10 | 2692124.0524 | 1286305.2624 | 2692137.3164 | 1286315.5678 | 2692150.2465 | 1286325.6234 | 2692164.0199 | 1286335.9813
11 | 2692026.7342 | 1286529.5288 | 2692038.3214 | 1286522.7483
12 | 2692038.3214 | 1286522.7483 | 2692044.2539 | 1286540.8094
13 | 2692038.3214 | 1286522.7483 | 2692032.7934 | 1286512.5084 | 2692036.4846 | 1286510.452
14 | 2691845.8269 | 1286222.6234 | 2691843.3846 | 1286232.9388 | 2691843.5042 | 1286243.5501 | 2691846.4841 | 1286250.2469 | 2691851.6655 | 1286253.8753 | 2691858.8182 | 1286256.2222 | 2691864.9756 | 1286255.0172 | 2691871.6917 | 1286251.6745 | 2691876.9032 | 1286245.6838 | 2691872.8501 | 1286266.4056 | 2691877.7951 | 1286268.3511 | 2691874.3168 | 1286277.2492
15 | 2691874.3168 | 1286277.2492 | 2691862.8421 | 1286273.2457
16 | 2691845.8269 | 1286222.6234 | 2691848.1409 | 1286228.231 | 2691851.5871 | 1286231.4876 | 2691857.0414 | 1286231.5076
17 | 2691837.6058 | 1286266.1559 | 2691848.2907 | 1286268.1687 | 2691862.8421 | 1286273.2457
18 | 2691905.4409 | 1286349.8537 | 2691912.0701 | 1286341.0725
19 | 2692110.4252 | 1286294.6622 | 2692116.5588 | 1286299.4334
20 | 2692124.0524 | 1286305.2624 | 2692116.5588 | 1286299.4334
21 | 2692096.9016 | 1286284.1526 | 2692110.4252 | 1286294.6622
22 | 2692096.9016 | 1286284.1526 | 2692083.8896 | 1286274.0403
23 | 2691815.44 | 1286468.5672 | 2691803.5797 | 1286474.0983 | 2691785.4697 | 1286462.9647
24 | 2691769.4478 | 1286453.1147 | 2691785.4697 | 1286462.9647
25 | 2691815.44 | 1286468.5672 | 2691816.6049 | 1286482.8869 | 2691817.147 | 1286489.5012 | 2691817.1737 | 1286503.6697
26 | 2691815.44 | 1286468.5672 | 2691815.6449 | 1286460.719 | 2691816.6705 | 1286453.662 | 2691821.1469 | 1286441.8658 | 2691831.665 | 1286449.2585
27 | 2691769.4478 | 1286453.1147 | 2691757.5036 | 1286474.9451
28 | 2691774.0515 | 1286444.7012 | 2691769.4478 | 1286453.1147
29 | 2691817.1737 | 1286503.6697 | 2691804.6151 | 1286520.6917
30 | 2691817.1737 | 1286503.6697 | 2691817.489 | 1286522.3243
31 | 2691831.665 | 1286449.2585 | 2691841.5537 | 1286456.5858 | 2691843.8663 | 1286458.2994
32 | 2691831.665 | 1286449.2585 | 2691839.224 | 1286437.566 | 2691861.0519 | 1286408.6523
33 | 2691804.8469 | 1286428.9337 | 2691821.1469 | 1286441.8658 | 2691831.665 | 1286449.2585
34 | 2691757.2667 | 1286475.378 | 2691757.5036 | 1286474.9451
35 | 2691804.8469 | 1286428.9337 | 2691792.151 | 1286418.7491 | 2691784.6842 | 1286412.7702
36 | 2691804.8469 | 1286428.9337 | 2691809.0922 | 1286418.4795 | 2691810.754 | 1286413.4565
37 | 2691784.6842 | 1286412.7702 | 2691782.4343 | 1286410.9686 | 2691765.6511 | 1286398.4189
38 | 2691810.754 | 1286413.4565 | 2691810.754 | 1286413.4565 | 2691812.4342 | 1286407.2439 | 2691813.5834 | 1286398.5207 | 2691813.5834 | 1286398.5207
39 | 2691843.8663 | 1286458.2994 | 2691848.9727 | 1286462.0832
40 | 2691861.0519 | 1286408.6523 | 2691883.1149 | 1286379.4272
41 | 2691755.1243 | 1286390.5475 | 2691765.6511 | 1286398.4189
42 | 2691813.5834 | 1286398.5207 | 2691814.8847 | 1286381.1359
43 | 2691858.0133 | 1286468.7823 | 2691848.9727 | 1286462.0832
44 | 2691889.733 | 1286370.6607 | 2691883.1149 | 1286379.4272
45 | 2691743.2463 | 1286381.6657 | 2691755.1243 | 1286390.5475
46 | 2691756.1606 | 1286304.6654 | 2691756.6284 | 1286314.6148 | 2691743.2463 | 1286381.6657
47 | 2691756.1606 | 1286304.6654 | 2691752.8143 | 1286299.3308 | 2691738.5979 | 1286291.3468 | 2691731.1905 | 1286285.4761
48 | 2691726.5891 | 1286281.8292 | 2691731.1905 | 1286285.4761
49 | 2692036.4846 | 1286510.452 | 2692050.4824 | 1286502.6536
50 | 2692050.4824 | 1286502.6536 | 2692064.665 | 1286494.7523
51 | 2692064.665 | 1286494.7523 | 2692078.5398 | 1286487.0224
52 | 2692026.7342 | 1286529.5288 | 2692008.717 | 1286510.7975 | 2692008.717 | 1286510.7975
53 | 2692026.7342 | 1286529.5288 | 2692010.056 | 1286542.9155
54 | 2692044.2539 | 1286540.8094 | 2692045.6305 | 1286545.0006
55 | 2692014.8646 | 1286472.8943 | 2692007.2933 | 1286485.6975 | 2692004.8522 | 1286497.8479 | 2692008.717 | 1286510.7975
56 | 2691999.7055 | 1286551.2232 | 2692010.056 | 1286542.9155
57 | 2692018.4621 | 1286466.8108 | 2692014.8646 | 1286472.8943
58 | 2691989.4819 | 1286559.4291 | 2691999.7055 | 1286551.2232
59 | 2691913.26 | 1286480.6962 | 2691916.2252 | 1286477.0739
60 | 2691896.2027 | 1286501.5333 | 2691913.26 | 1286480.6962
61 | 2691929.1285 | 1286461.3113 | 2691916.2252 | 1286477.0739
62 | 2691896.2027 | 1286501.5333 | 2691911.6049 | 1286520.5125 | 2691918.4403 | 1286530.8605
63 | 2691896.2027 | 1286501.5333 | 2691887.2823 | 1286493.6946
64 | 2691945.2991 | 1286583.8721 | 2691941.5437 | 1286574.9612 | 2691928.8029 | 1286546.5484 | 2691918.4403 | 1286530.8605
65 | 2691887.2823 | 1286493.6946 | 2691885.6277 | 1286492.2407
66 | 2691965.3374 | 1286576.5006 | 2691956.4872 | 1286580.0545 | 2691945.2991 | 1286583.8721
67 | 2691859.0849 | 1286469.5764 | 2691863.8756 | 1286473.1262 | 2691885.6277 | 1286492.2407
68 | 2691989.4819 | 1286559.4291 | 2691977.0023 | 1286570.0214 | 2691965.3374 | 1286576.5006
69 | 2691965.3374 | 1286576.5006 | 2691970.7906 | 1286586.7419
70 | 2691858.0133 | 1286468.7823 | 2691859.0849 | 1286469.5764
71 | 2691889.733 | 1286370.6607 | 2691892.7885 | 1286366.6133
72 | 2691901.388 | 1286355.2222 | 2691892.7885 | 1286366.6133
73 | 2691901.388 | 1286355.2222 | 2691905.4409 | 1286349.8537
74 | 2691816.3609 | 1286361.4157 | 2691814.8847 | 1286381.1359
75 | 2691816.3609 | 1286361.4157 | 2691816.9676 | 1286353.3113 | 2691817.6689 | 1286343.9473 | 2691818.0602 | 1286339.1552
76 | 2691818.0602 | 1286339.1552 | 2691819.9786 | 1286315.6588
77 | 2691824.1718 | 1286264.3004 | 2691819.9786 | 1286315.6588
78 | 2691837.6058 | 1286266.1559 | 2691824.1718 | 1286264.3004
79 | 2691734.0563 | 1286242.7999 | 2691715.2895 | 1286239.3078
80 | 2691734.0563 | 1286242.7999 | 2691729.0974 | 1286268.7193
81 | 2691726.5891 | 1286281.8292 | 2691729.0974 | 1286268.7193
82 | 2692013.2024 | 1286614.2703 | 2692015.9311 | 1286614.313 | 2692027.4739 | 1286609.8893 | 2692047.1806 | 1286597.3525
83 | 2692013.2024 | 1286614.2703 | 2692001.1144 | 1286614.0813 | 2691985.2617 | 1286608.5956 | 2691977.2858 | 1286598.9403 | 2691970.7906 | 1286586.7419
84 | 2692047.1806 | 1286597.3525 | 2692048.7538 | 1286596.3517
85 | 2692048.7538 | 1286596.3517 | 2692064.5977 | 1286586.2723
86 | 2692065.1674 | 1286585.9099 | 2692064.5977 | 1286586.2723
87 | 2691989.4819 | 1286559.4291 | 2691973.4394 | 1286544.9861
88 | 2692065.1674 | 1286585.9099 | 2692067.5898 | 1286584.3688
89 | 2692067.5898 | 1286584.3688 | 2692081.0348 | 1286575.8155
90 | 2692081.0348 | 1286575.8155 | 2692086.9141 | 1286572.0753
91 | 2692088.7223 | 1286570.925 | 2692086.9141 | 1286572.0753
92 | 2692136.4134 | 1286643.5492 | 2692123.7651 | 1286652.5431 | 2692121.3228 | 1286654.5739
93 | 2692088.9514 | 1286570.7792 | 2692136.4134 | 1286643.5492
94 | 2692088.9514 | 1286570.7792 | 2692088.7223 | 1286570.925
95 | 2692088.9514 | 1286570.7792 | 2692097.2329 | 1286565.5108
96 | 2692097.2329 | 1286565.5108 | 2692116.913 | 1286552.9909
97 | 2692116.913 | 1286552.9909 | 2692121.5799 | 1286550.022
98 | 2692131.3366 | 1286544.5742 | 2692125.9535 | 1286547.2396 | 2692121.5799 | 1286550.022
99 | 2692154.7332 | 1286533.7111 | 2692145.0039 | 1286537.807 | 2692131.3366 | 1286544.5742
100 | 2692154.7332 | 1286533.7111 | 2692154.8008 | 1286533.6771
101 | 2692154.8008 | 1286533.6771 | 2692177.3866 | 1286522.2998 | 2692190.9655 | 1286520.1326 | 2692191.5331 | 1286520.1269

## bus_geodata
| x | y | coords
0 | 2691974.0163 | 1286317.9424
1 | 2692022.8637 | 1286354.0092
2 | 2691965.1565 | 1286313.1229
3 | 2691940.1606 | 1286301.253
4 | 2692077.8854 | 1286426.6481
5 | 2692130.9373 | 1286398.1582
6 | 2692103.0546 | 1286499.5394
7 | 2691924.6553 | 1286324.4019
8 | 2692164.0199 | 1286335.9813
9 | 2692122.8647 | 1286498.1654
10 | 2692038.3214 | 1286522.7483
11 | 2691874.3168 | 1286277.2492
12 | 2691845.8269 | 1286222.6234
13 | 2691862.8421 | 1286273.2457
14 | 2691912.0701 | 1286341.0725
15 | 2692116.5588 | 1286299.4334
16 | 2692110.4252 | 1286294.6622
17 | 2692124.0524 | 1286305.2624
18 | 2692096.9016 | 1286284.1526
19 | 2692083.8896 | 1286274.0403
20 | 2691785.4697 | 1286462.9647
21 | 2691815.44 | 1286468.5672
22 | 2691769.4478 | 1286453.1147
23 | 2691817.1737 | 1286503.6697
24 | 2691831.665 | 1286449.2585
25 | 2691757.5036 | 1286474.9451
26 | 2691774.0515 | 1286444.7012
27 | 2691804.6151 | 1286520.6917
28 | 2691817.489 | 1286522.3243
29 | 2691804.8469 | 1286428.9337
30 | 2691784.6842 | 1286412.7702
31 | 2691810.754 | 1286413.4565
32 | 2691843.8663 | 1286458.2994
33 | 2691861.0519 | 1286408.6523
34 | 2691757.2667 | 1286475.378
35 | 2691765.6511 | 1286398.4189
36 | 2691813.5834 | 1286398.5207
37 | 2691848.9727 | 1286462.0832
38 | 2691883.1149 | 1286379.4272
39 | 2691755.1243 | 1286390.5475
40 | 2691743.2463 | 1286381.6657
41 | 2691756.1606 | 1286304.6654
42 | 2691731.1905 | 1286285.4761
43 | 2692036.4846 | 1286510.452
44 | 2692050.4824 | 1286502.6536
45 | 2692064.665 | 1286494.7523
46 | 2692026.7342 | 1286529.5288
47 | 2692044.2539 | 1286540.8094
48 | 2692078.5398 | 1286487.0224
49 | 2692008.717 | 1286510.7975
50 | 2692010.056 | 1286542.9155
51 | 2692045.6305 | 1286545.0006
52 | 2692014.8646 | 1286472.8943
53 | 2691999.7055 | 1286551.2232
54 | 2692018.4621 | 1286466.8108
55 | 2691913.26 | 1286480.6962
56 | 2691916.2252 | 1286477.0739
57 | 2691896.2027 | 1286501.5333
58 | 2691929.1285 | 1286461.3113
59 | 2691918.4403 | 1286530.8605
60 | 2691887.2823 | 1286493.6946
61 | 2691945.2991 | 1286583.8721
62 | 2691885.6277 | 1286492.2407
63 | 2691965.3374 | 1286576.5006
64 | 2691859.0849 | 1286469.5764
65 | 2691889.733 | 1286370.6607
66 | 2691892.7885 | 1286366.6133
67 | 2691901.388 | 1286355.2222
68 | 2691858.0133 | 1286468.7823
69 | 2691814.8847 | 1286381.1359
70 | 2691816.3609 | 1286361.4157
71 | 2691818.0602 | 1286339.1552
72 | 2691819.9786 | 1286315.6588
73 | 2691905.4409 | 1286349.8537
74 | 2691857.0415 | 1286231.5076
75 | 2691837.6058 | 1286266.1559
76 | 2691824.1718 | 1286264.3004
77 | 2691734.0563 | 1286242.7999
78 | 2691715.2895 | 1286239.3078
79 | 2691729.0974 | 1286268.7193
80 | 2691726.5891 | 1286281.8292
81 | 2692013.2024 | 1286614.2703
82 | 2692047.1806 | 1286597.3525
83 | 2691970.7906 | 1286586.7419
84 | 2692048.7538 | 1286596.3517
85 | 2692064.5977 | 1286586.2723
86 | 2691989.4819 | 1286559.4291
87 | 2692065.1674 | 1286585.9099
88 | 2691973.4394 | 1286544.9861
89 | 2692067.5898 | 1286584.3688
90 | 2692081.0348 | 1286575.8155
91 | 2692086.9141 | 1286572.0753
92 | 2692121.3228 | 1286654.5739
93 | 2692136.4134 | 1286643.5492
94 | 2692088.7223 | 1286570.925
95 | 2692088.9514 | 1286570.7792
96 | 2692097.2329 | 1286565.5108
97 | 2692116.913 | 1286552.9909
98 | 2692121.5799 | 1286550.022
99 | 2692131.3366 | 1286544.5742
100 | 2692154.7332 | 1286533.7111
101 | 2692154.8008 | 1286533.6771
102 | 2692191.5331 | 1286520.1269
103 | 2692026.7342 | 1286529.5288

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1