## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2939-24_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2939-24_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2939-24_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2939-24_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2939-24_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2939-24_0_5_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_2939-24_0_5_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_2939-24_0_5_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_2939-24_0_5_node_81 | 0.4 | n |  | TRUE
9 | bus_LV_2939-24_0_5_node_80 | 0.4 | n |  | TRUE
10 | bus_LV_2939-24_0_5_node_9 | 0.4 | n |  | TRUE
11 | bus_LV_2939-24_0_5_node_163 | 0.4 | n |  | TRUE
12 | bus_LV_2939-24_0_5_node_77 | 0.4 | n |  | TRUE
13 | bus_LV_2939-24_0_5_node_52 | 0.4 | n |  | TRUE
14 | bus_LV_2939-24_0_5_node_51 | 0.4 | n |  | TRUE
15 | bus_LV_2939-24_0_5_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_2939-24_0_5_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_2939-24_0_5_node_12 | 0.4 | n |  | TRUE
18 | bus_LV_2939-24_0_5_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_2939-24_0_5_node_14 | 0.4 | n |  | TRUE
20 | bus_LV_2939-24_0_5_node_15 | 0.4 | n |  | TRUE
21 | bus_LV_2939-24_0_5_node_16 | 0.4 | n |  | TRUE
22 | bus_LV_2939-24_0_5_node_17 | 0.4 | n |  | TRUE
23 | bus_LV_2939-24_0_5_node_49 | 0.4 | n |  | TRUE
24 | bus_LV_2939-24_0_5_node_36 | 0.4 | n |  | TRUE
25 | bus_LV_2939-24_0_5_node_19 | 0.4 | n |  | TRUE
26 | bus_LV_2939-24_0_5_node_20 | 0.4 | n |  | TRUE
27 | bus_LV_2939-24_0_5_node_21 | 0.4 | n |  | TRUE
28 | bus_LV_2939-24_0_5_node_22 | 0.4 | n |  | TRUE
29 | bus_LV_2939-24_0_5_node_23 | 0.4 | n |  | TRUE
30 | bus_LV_2939-24_0_5_node_24 | 0.4 | n |  | TRUE
31 | bus_LV_2939-24_0_5_node_25 | 0.4 | n |  | TRUE
32 | bus_LV_2939-24_0_5_node_53 | 0.4 | n |  | TRUE
33 | bus_LV_2939-24_0_5_node_171 | 0.4 | n |  | TRUE
34 | bus_LV_2939-24_0_5_node_26 | 0.4 | n |  | TRUE
35 | bus_LV_2939-24_0_5_node_27 | 0.4 | n |  | TRUE
36 | bus_LV_2939-24_0_5_node_28 | 0.4 | n |  | TRUE
37 | bus_LV_2939-24_0_5_node_29 | 0.4 | n |  | TRUE
38 | bus_LV_2939-24_0_5_node_45 | 0.4 | n |  | TRUE
39 | bus_LV_2939-24_0_5_node_46 | 0.4 | n |  | TRUE
40 | bus_LV_2939-24_0_5_node_37 | 0.4 | n |  | TRUE
41 | bus_LV_2939-24_0_5_node_30 | 0.4 | n |  | TRUE
42 | bus_LV_2939-24_0_5_node_31 | 0.4 | n |  | TRUE
43 | bus_LV_2939-24_0_5_node_32 | 0.4 | n |  | TRUE
44 | bus_LV_2939-24_0_5_node_33 | 0.4 | n |  | TRUE
45 | bus_LV_2939-24_0_5_node_34 | 0.4 | n |  | TRUE
46 | bus_LV_2939-24_0_5_node_35 | 0.4 | n |  | TRUE
47 | bus_LV_2939-24_0_5_node_48 | 0.4 | n |  | TRUE
48 | bus_LV_2939-24_0_5_node_50 | 0.4 | n |  | TRUE
49 | bus_LV_2939-24_0_5_node_47 | 0.4 | n |  | TRUE
50 | bus_LV_2939-24_0_5_node_63 | 0.4 | n |  | TRUE
51 | bus_LV_2939-24_0_5_node_38 | 0.4 | n |  | TRUE
52 | bus_LV_2939-24_0_5_node_39 | 0.4 | n |  | TRUE
53 | bus_LV_2939-24_0_5_node_40 | 0.4 | n |  | TRUE
54 | bus_LV_2939-24_0_5_node_41 | 0.4 | n |  | TRUE
55 | bus_LV_2939-24_0_5_node_42 | 0.4 | n |  | TRUE
56 | bus_LV_2939-24_0_5_node_43 | 0.4 | n |  | TRUE
57 | bus_LV_2939-24_0_5_node_44 | 0.4 | n |  | TRUE
58 | bus_LV_2939-24_0_5_node_61 | 0.4 | n |  | TRUE
59 | bus_LV_2939-24_0_5_node_66 | 0.4 | n |  | TRUE
60 | bus_LV_2939-24_0_5_node_60 | 0.4 | n |  | TRUE
61 | bus_LV_2939-24_0_5_node_64 | 0.4 | n |  | TRUE
62 | bus_LV_2939-24_0_5_node_56 | 0.4 | n |  | TRUE
63 | bus_LV_2939-24_0_5_node_62 | 0.4 | n |  | TRUE
64 | bus_LV_2939-24_0_5_node_59 | 0.4 | n |  | TRUE
65 | bus_LV_2939-24_0_5_node_58 | 0.4 | n |  | TRUE
66 | bus_LV_2939-24_0_5_node_65 | 0.4 | n |  | TRUE
67 | bus_LV_2939-24_0_5_node_67 | 0.4 | n |  | TRUE
68 | bus_LV_2939-24_0_5_node_69 | 0.4 | n |  | TRUE
69 | bus_LV_2939-24_0_5_node_68 | 0.4 | n |  | TRUE
70 | bus_LV_2939-24_0_5_node_70 | 0.4 | n |  | TRUE
71 | bus_LV_2939-24_0_5_node_75 | 0.4 | n |  | TRUE
72 | bus_LV_2939-24_0_5_node_120 | 0.4 | n |  | TRUE
73 | bus_LV_2939-24_0_5_node_78 | 0.4 | n |  | TRUE
74 | bus_LV_2939-24_0_5_node_73 | 0.4 | n |  | TRUE
75 | bus_LV_2939-24_0_5_node_121 | 0.4 | n |  | TRUE
76 | bus_LV_2939-24_0_5_node_71 | 0.4 | n |  | TRUE
77 | bus_LV_2939-24_0_5_node_72 | 0.4 | n |  | TRUE
78 | bus_LV_2939-24_0_5_node_74 | 0.4 | n |  | TRUE
79 | bus_LV_2939-24_0_5_node_76 | 0.4 | n |  | TRUE
80 | bus_LV_2939-24_0_5_node_79 | 0.4 | n |  | TRUE
81 | bus_LV_2939-24_0_5_node_154 | 0.4 | n |  | TRUE
82 | bus_LV_2939-24_0_5_node_167 | 0.4 | n |  | TRUE
83 | bus_LV_2939-24_0_5_node_155 | 0.4 | n |  | TRUE
84 | bus_LV_2939-24_0_5_node_149 | 0.4 | n |  | TRUE
85 | bus_LV_2939-24_0_5_node_168 | 0.4 | n |  | TRUE
86 | bus_LV_2939-24_0_5_node_161 | 0.4 | n |  | TRUE
87 | bus_LV_2939-24_0_5_node_82 | 0.4 | n |  | TRUE
88 | bus_LV_2939-24_0_5_node_83 | 0.4 | n |  | TRUE
89 | bus_LV_2939-24_0_5_node_84 | 0.4 | n |  | TRUE
90 | bus_LV_2939-24_0_5_node_85 | 0.4 | n |  | TRUE
91 | bus_LV_2939-24_0_5_node_86 | 0.4 | n |  | TRUE
92 | bus_LV_2939-24_0_5_node_88 | 0.4 | n |  | TRUE
93 | bus_LV_2939-24_0_5_node_89 | 0.4 | n |  | TRUE
94 | bus_LV_2939-24_0_5_node_87 | 0.4 | n |  | TRUE
95 | bus_LV_2939-24_0_5_node_111 | 0.4 | n |  | TRUE
96 | bus_LV_2939-24_0_5_node_108 | 0.4 | n |  | TRUE
97 | bus_LV_2939-24_0_5_node_104 | 0.4 | n |  | TRUE
98 | bus_LV_2939-24_0_5_node_143 | 0.4 | n |  | TRUE
99 | bus_LV_2939-24_0_5_node_109 | 0.4 | n |  | TRUE
100 | bus_LV_2939-24_0_5_node_105 | 0.4 | n |  | TRUE
101 | bus_LV_2939-24_0_5_node_90 | 0.4 | n |  | TRUE
102 | bus_LV_2939-24_0_5_node_91 | 0.4 | n |  | TRUE
103 | bus_LV_2939-24_0_5_node_92 | 0.4 | n |  | TRUE
104 | bus_LV_2939-24_0_5_node_93 | 0.4 | n |  | TRUE
105 | bus_LV_2939-24_0_5_node_94 | 0.4 | n |  | TRUE
106 | bus_LV_2939-24_0_5_node_95 | 0.4 | n |  | TRUE
107 | bus_LV_2939-24_0_5_node_96 | 0.4 | n |  | TRUE
108 | bus_LV_2939-24_0_5_node_103 | 0.4 | n |  | TRUE
109 | bus_LV_2939-24_0_5_node_107 | 0.4 | n |  | TRUE
110 | bus_LV_2939-24_0_5_node_102 | 0.4 | n |  | TRUE
111 | bus_LV_2939-24_0_5_node_112 | 0.4 | n |  | TRUE
112 | bus_LV_2939-24_0_5_node_97 | 0.4 | n |  | TRUE
113 | bus_LV_2939-24_0_5_node_98 | 0.4 | n |  | TRUE
114 | bus_LV_2939-24_0_5_node_99 | 0.4 | n |  | TRUE
115 | bus_LV_2939-24_0_5_node_101 | 0.4 | n |  | TRUE
116 | bus_LV_2939-24_0_5_node_106 | 0.4 | n |  | TRUE
117 | bus_LV_2939-24_0_5_node_123 | 0.4 | n |  | TRUE
118 | bus_LV_2939-24_0_5_node_113 | 0.4 | n |  | TRUE
119 | bus_LV_2939-24_0_5_node_114 | 0.4 | n |  | TRUE
120 | bus_LV_2939-24_0_5_node_110 | 0.4 | n |  | TRUE
121 | bus_LV_2939-24_0_5_node_115 | 0.4 | n |  | TRUE
122 | bus_LV_2939-24_0_5_node_116 | 0.4 | n |  | TRUE
123 | bus_LV_2939-24_0_5_node_125 | 0.4 | n |  | TRUE
124 | bus_LV_2939-24_0_5_node_117 | 0.4 | n |  | TRUE
125 | bus_LV_2939-24_0_5_node_144 | 0.4 | n |  | TRUE
126 | bus_LV_2939-24_0_5_node_122 | 0.4 | n |  | TRUE
127 | bus_LV_2939-24_0_5_node_119 | 0.4 | n |  | TRUE
128 | bus_LV_2939-24_0_5_node_140 | 0.4 | n |  | TRUE
129 | bus_LV_2939-24_0_5_node_118 | 0.4 | n |  | TRUE
130 | bus_LV_2939-24_0_5_node_137 | 0.4 | n |  | TRUE
131 | bus_LV_2939-24_0_5_node_126 | 0.4 | n |  | TRUE
132 | bus_LV_2939-24_0_5_node_127 | 0.4 | n |  | TRUE
133 | bus_LV_2939-24_0_5_node_128 | 0.4 | n |  | TRUE
134 | bus_LV_2939-24_0_5_node_129 | 0.4 | n |  | TRUE
135 | bus_LV_2939-24_0_5_node_131 | 0.4 | n |  | TRUE
136 | bus_LV_2939-24_0_5_node_132 | 0.4 | n |  | TRUE
137 | bus_LV_2939-24_0_5_node_133 | 0.4 | n |  | TRUE
138 | bus_LV_2939-24_0_5_node_134 | 0.4 | n |  | TRUE
139 | bus_LV_2939-24_0_5_node_150 | 0.4 | n |  | TRUE
140 | bus_LV_2939-24_0_5_node_156 | 0.4 | n |  | TRUE
141 | bus_LV_2939-24_0_5_node_135 | 0.4 | n |  | TRUE
142 | bus_LV_2939-24_0_5_node_136 | 0.4 | n |  | TRUE
143 | bus_LV_2939-24_0_5_node_138 | 0.4 | n |  | TRUE
144 | bus_LV_2939-24_0_5_node_139 | 0.4 | n |  | TRUE
145 | bus_LV_2939-24_0_5_node_141 | 0.4 | n |  | TRUE
146 | bus_LV_2939-24_0_5_node_142 | 0.4 | n |  | TRUE
147 | bus_LV_2939-24_0_5_node_157 | 0.4 | n |  | TRUE
148 | bus_LV_2939-24_0_5_node_158 | 0.4 | n |  | TRUE
149 | bus_LV_2939-24_0_5_node_145 | 0.4 | n |  | TRUE
150 | bus_LV_2939-24_0_5_node_146 | 0.4 | n |  | TRUE
151 | bus_LV_2939-24_0_5_node_148 | 0.4 | n |  | TRUE
152 | bus_LV_2939-24_0_5_node_152 | 0.4 | n |  | TRUE
153 | bus_LV_2939-24_0_5_node_147 | 0.4 | n |  | TRUE
154 | bus_LV_2939-24_0_5_node_151 | 0.4 | n |  | TRUE
155 | bus_LV_2939-24_0_5_node_159 | 0.4 | n |  | TRUE
156 | bus_LV_2939-24_0_5_node_160 | 0.4 | n |  | TRUE
157 | bus_LV_2939-24_0_5_node_162 | 0.4 | n |  | TRUE
158 | bus_LV_2939-24_0_5_node_164 | 0.4 | n |  | TRUE
159 | bus_LV_2939-24_0_5_node_165 | 0.4 | n |  | TRUE
160 | bus_LV_2939-24_0_5_node_166 | 0.4 | n |  | TRUE
161 | bus_LV_2939-24_0_5_node_169 | 0.4 | n |  | TRUE
162 | bus_LV_2939-24_0_5_node_170 | 0.4 | n |  | TRUE
163 | bus_MV_391_0_node_96 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2939-24_0_5_load_0 | 0 | 0.014065 | 0.0035249 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2939-24_0_5_load_1 | 1 | 0.016464 | 0.0041262 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2939-24_0_5_load_2 | 2 | 0.008566 | 0.0021468 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2939-24_0_5_load_3 | 3 | 0.026251 | 0.0065792 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2939-24_0_5_load_6 | 6 | 0.014009 | 0.0035109 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2939-24_0_5_load_7 | 7 | 0.0064343 | 0.0016126 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2939-24_0_5_load_81 | 8 | 0.0063811 | 0.0015993 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2939-24_0_5_load_80 | 9 | 0.0090114 | 0.0022585 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2939-24_0_5_load_9 | 10 | 0.0094784 | 0.0023755 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2939-24_0_5_load_77 | 12 | 0.011773 | 0.0029507 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2939-24_0_5_load_52 | 13 | 0.0087954 | 0.0022043 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2939-24_0_5_load_51 | 14 | 0.0054518 | 0.0013664 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2939-24_0_5_load_10 | 15 | 0.00059285 | 0.00014858 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2939-24_0_5_load_11 | 16 | 0.00086584 | 0.000217 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2939-24_0_5_load_12 | 17 | 0.00047579 | 0.00011924 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2939-24_0_5_load_14 | 19 | 0.0044073 | 0.0011046 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2939-24_0_5_load_15 | 20 | 0.0013782 | 0.00034541 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2939-24_0_5_load_16 | 21 | 0.0025012 | 0.00062685 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2939-24_0_5_load_17 | 22 | 0.00088784 | 0.00022251 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2939-24_0_5_load_19 | 25 | 0.0015229 | 0.00038168 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2939-24_0_5_load_20 | 26 | 0.0014289 | 0.00035811 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2939-24_0_5_load_21 | 27 | 0.0026261 | 0.00065817 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2939-24_0_5_load_22 | 28 | 0.0047631 | 0.0011938 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2939-24_0_5_load_23 | 29 | 0.001919 | 0.00048096 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2939-24_0_5_load_24 | 30 | 0.0016737 | 0.00041947 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2939-24_0_5_load_25 | 31 | 0.0020572 | 0.00051559 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2939-24_0_5_load_53 | 32 | 0.0016315 | 0.00040889 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2939-24_0_5_load_171 | 33 | 0.0013639 | 0.00034182 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2939-24_0_5_load_26 | 34 | 0.0033891 | 0.00084938 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2939-24_0_5_load_27 | 35 | 0.0012712 | 0.00031858 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2939-24_0_5_load_28 | 36 | 0.0045183 | 0.0011324 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2939-24_0_5_load_29 | 37 | 0.0021599 | 0.00054132 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2939-24_0_5_load_46 | 39 | 0.0023904 | 0.0005991 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2939-24_0_5_load_37 | 40 | 0.00087914 | 0.00022033 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2939-24_0_5_load_30 | 41 | 0.0049268 | 0.0012348 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2939-24_0_5_load_31 | 42 | 0.0045399 | 0.0011378 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2939-24_0_5_load_32 | 43 | 0.0010445 | 0.00026178 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2939-24_0_5_load_33 | 44 | 0.0070557 | 0.0017683 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2939-24_0_5_load_35 | 46 | 0.0054117 | 0.0013563 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2939-24_0_5_load_48 | 47 | 0.00066 | 0.00016541 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2939-24_0_5_load_50 | 48 | 0.0022611 | 0.00056668 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2939-24_0_5_load_47 | 49 | 0.00077922 | 0.00019529 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2939-24_0_5_load_63 | 50 | 0.014745 | 0.0036954 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2939-24_0_5_load_38 | 51 | 0.0075718 | 0.0018977 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2939-24_0_5_load_39 | 52 | 0.0077029 | 0.0019305 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2939-24_0_5_load_40 | 53 | 0.005404 | 0.0013544 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2939-24_0_5_load_41 | 54 | 0.0075538 | 0.0018932 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2939-24_0_5_load_42 | 55 | 0.024875 | 0.0062343 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2939-24_0_5_load_43 | 56 | 0.0070787 | 0.0017741 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2939-24_0_5_load_44 | 57 | 0.0033136 | 0.00083046 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2939-24_0_5_load_61 | 58 | 0.00080067 | 0.00020067 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2939-24_0_5_load_60 | 60 | 0.00092682 | 0.00023228 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2939-24_0_5_load_64 | 61 | 0.0086767 | 0.0021746 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2939-24_0_5_load_62 | 63 | 0.0030104 | 0.00075448 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2939-24_0_5_load_59 | 64 | 0.0036478 | 0.00091421 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2939-24_0_5_load_58 | 65 | 0.0050181 | 0.0012576 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_2939-24_0_5_load_65 | 66 | 0.0054675 | 0.0013703 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_2939-24_0_5_load_67 | 67 | 0.0048801 | 0.0012231 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_2939-24_0_5_load_69 | 68 | 0.0032761 | 0.00082107 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_2939-24_0_5_load_68 | 69 | 0.0094853 | 0.0023772 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_2939-24_0_5_load_70 | 70 | 0.001703 | 0.0004268 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_2939-24_0_5_load_120 | 72 | 0.0087225 | 0.0021861 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_2939-24_0_5_load_78 | 73 | 0.0013219 | 0.00033131 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_2939-24_0_5_load_121 | 75 | 0.0031745 | 0.0007956 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_2939-24_0_5_load_71 | 76 | 0.0049221 | 0.0012336 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_2939-24_0_5_load_72 | 77 | 0.0019057 | 0.0004776 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_2939-24_0_5_load_74 | 78 | 0.0062432 | 0.0015647 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_2939-24_0_5_load_76 | 79 | 0.002027 | 0.00050802 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_2939-24_0_5_load_79 | 80 | 0.0024747 | 0.00062022 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_2939-24_0_5_load_167 | 82 | 0.0054412 | 0.0013637 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_2939-24_0_5_load_155 | 83 | 0.0072478 | 0.0018165 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_2939-24_0_5_load_149 | 84 | 0.0016913 | 0.00042389 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_2939-24_0_5_load_168 | 85 | 0.0022615 | 0.0005668 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_2939-24_0_5_load_161 | 86 | 0.0019681 | 0.00049324 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_2939-24_0_5_load_82 | 87 | 0.0052036 | 0.0013041 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_2939-24_0_5_load_83 | 88 | 0.0062249 | 0.0015601 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_2939-24_0_5_load_84 | 89 | 0.0018055 | 0.00045251 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_2939-24_0_5_load_85 | 90 | 0.0028788 | 0.00072151 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_2939-24_0_5_load_86 | 91 | 0.0024693 | 0.00061886 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_2939-24_0_5_load_88 | 92 | 0.0036496 | 0.00091469 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_2939-24_0_5_load_89 | 93 | 0.0040785 | 0.0010222 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_2939-24_0_5_load_87 | 94 | 0.0045838 | 0.0011488 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_2939-24_0_5_load_111 | 95 | 0.0015685 | 0.0003931 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_2939-24_0_5_load_108 | 96 | 0.0026137 | 0.00065506 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_2939-24_0_5_load_104 | 97 | 0.0036276 | 0.00090916 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_2939-24_0_5_load_109 | 99 | 0.003696 | 0.00092629 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_2939-24_0_5_load_105 | 100 | 0.0042045 | 0.0010537 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_2939-24_0_5_load_90 | 101 | 0.004141 | 0.0010378 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_2939-24_0_5_load_91 | 102 | 0.0040972 | 0.0010269 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_2939-24_0_5_load_92 | 103 | 0.0038039 | 0.00095335 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_2939-24_0_5_load_93 | 104 | 0.0016817 | 0.00042146 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_2939-24_0_5_load_94 | 105 | 0.0034034 | 0.00085296 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_2939-24_0_5_load_95 | 106 | 0.0030932 | 0.00077523 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_2939-24_0_5_load_96 | 107 | 0.00285 | 0.00071427 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_2939-24_0_5_load_103 | 108 | 0.0046707 | 0.0011706 | 0 | 0 |  | 1 | TRUE | wye
95 | LV_2939-24_0_5_load_107 | 109 | 0.0031979 | 0.00080146 | 0 | 0 |  | 1 | TRUE | wye
96 | LV_2939-24_0_5_load_102 | 110 | 0.0047129 | 0.0011812 | 0 | 0 |  | 1 | TRUE | wye
97 | LV_2939-24_0_5_load_97 | 112 | 0.0047196 | 0.0011828 | 0 | 0 |  | 1 | TRUE | wye
98 | LV_2939-24_0_5_load_98 | 113 | 0.0033652 | 0.00084339 | 0 | 0 |  | 1 | TRUE | wye
99 | LV_2939-24_0_5_load_99 | 114 | 0.0018902 | 0.00047373 | 0 | 0 |  | 1 | TRUE | wye
100 | LV_2939-24_0_5_load_101 | 115 | 0.0035478 | 0.00088916 | 0 | 0 |  | 1 | TRUE | wye
101 | LV_2939-24_0_5_load_106 | 116 | 0.0033878 | 0.00084907 | 0 | 0 |  | 1 | TRUE | wye
102 | LV_2939-24_0_5_load_123 | 117 | 0.0030948 | 0.00077564 | 0 | 0 |  | 1 | TRUE | wye
103 | LV_2939-24_0_5_load_113 | 118 | 0.0026939 | 0.00067516 | 0 | 0 |  | 1 | TRUE | wye
104 | LV_2939-24_0_5_load_115 | 121 | 0.0017714 | 0.00044395 | 0 | 0 |  | 1 | TRUE | wye
105 | LV_2939-24_0_5_load_116 | 122 | 0.0031013 | 0.00077725 | 0 | 0 |  | 1 | TRUE | wye
106 | LV_2939-24_0_5_load_125 | 123 | 0.0017017 | 0.00042648 | 0 | 0 |  | 1 | TRUE | wye
107 | LV_2939-24_0_5_load_117 | 124 | 0.0024337 | 0.00060995 | 0 | 0 |  | 1 | TRUE | wye
108 | LV_2939-24_0_5_load_122 | 126 | 0.0023354 | 0.0005853 | 0 | 0 |  | 1 | TRUE | wye
109 | LV_2939-24_0_5_load_119 | 127 | 0.0032713 | 0.00081986 | 0 | 0 |  | 1 | TRUE | wye
110 | LV_2939-24_0_5_load_140 | 128 | 0.0043109 | 0.0010804 | 0 | 0 |  | 1 | TRUE | wye
111 | LV_2939-24_0_5_load_118 | 129 | 0.0030936 | 0.00077532 | 0 | 0 |  | 1 | TRUE | wye
112 | LV_2939-24_0_5_load_126 | 131 | 0.0058155 | 0.0014575 | 0 | 0 |  | 1 | TRUE | wye
113 | LV_2939-24_0_5_load_127 | 132 | 0.00388 | 0.00097242 | 0 | 0 |  | 1 | TRUE | wye
114 | LV_2939-24_0_5_load_132 | 136 | 0.0028667 | 0.00071846 | 0 | 0 |  | 1 | TRUE | wye
115 | LV_2939-24_0_5_load_133 | 137 | 0.0021841 | 0.00054738 | 0 | 0 |  | 1 | TRUE | wye
116 | LV_2939-24_0_5_load_134 | 138 | 0.0044222 | 0.0011083 | 0 | 0 |  | 1 | TRUE | wye
117 | LV_2939-24_0_5_load_150 | 139 | 0.00283 | 0.00070927 | 0 | 0 |  | 1 | TRUE | wye
118 | LV_2939-24_0_5_load_156 | 140 | 0.0019877 | 0.00049817 | 0 | 0 |  | 1 | TRUE | wye
119 | LV_2939-24_0_5_load_135 | 141 | 0.0035713 | 0.00089504 | 0 | 0 |  | 1 | TRUE | wye
120 | LV_2939-24_0_5_load_136 | 142 | 0.0054953 | 0.0013773 | 0 | 0 |  | 1 | TRUE | wye
121 | LV_2939-24_0_5_load_138 | 143 | 0.0035971 | 0.00090152 | 0 | 0 |  | 1 | TRUE | wye
122 | LV_2939-24_0_5_load_139 | 144 | 0.0058412 | 0.0014639 | 0 | 0 |  | 1 | TRUE | wye
123 | LV_2939-24_0_5_load_141 | 145 | 0.0042341 | 0.0010612 | 0 | 0 |  | 1 | TRUE | wye
124 | LV_2939-24_0_5_load_142 | 146 | 0.0048658 | 0.0012195 | 0 | 0 |  | 1 | TRUE | wye
125 | LV_2939-24_0_5_load_157 | 147 | 0.0060321 | 0.0015118 | 0 | 0 |  | 1 | TRUE | wye
126 | LV_2939-24_0_5_load_158 | 148 | 0.0014244 | 0.00035699 | 0 | 0 |  | 1 | TRUE | wye
127 | LV_2939-24_0_5_load_145 | 149 | 0.0014979 | 0.00037542 | 0 | 0 |  | 1 | TRUE | wye
128 | LV_2939-24_0_5_load_146 | 150 | 0.0012728 | 0.00031899 | 0 | 0 |  | 1 | TRUE | wye
129 | LV_2939-24_0_5_load_147 | 153 | 0.0018242 | 0.00045718 | 0 | 0 |  | 1 | TRUE | wye
130 | LV_2939-24_0_5_load_151 | 154 | 0.0012522 | 0.00031382 | 0 | 0 |  | 1 | TRUE | wye
131 | LV_2939-24_0_5_load_159 | 155 | 0.0025479 | 0.00063855 | 0 | 0 |  | 1 | TRUE | wye
132 | LV_2939-24_0_5_load_160 | 156 | 0.0014263 | 0.00035747 | 0 | 0 |  | 1 | TRUE | wye
133 | LV_2939-24_0_5_load_162 | 157 | 0.0033024 | 0.00082765 | 0 | 0 |  | 1 | TRUE | wye
134 | LV_2939-24_0_5_load_164 | 158 | 0.0018108 | 0.00045383 | 0 | 0 |  | 1 | TRUE | wye
135 | LV_2939-24_0_5_load_165 | 159 | 0.00243 | 0.00060902 | 0 | 0 |  | 1 | TRUE | wye
136 | LV_2939-24_0_5_load_166 | 160 | 0.0029017 | 0.00072723 | 0 | 0 |  | 1 | TRUE | wye
137 | LV_2939-24_0_5_load_169 | 161 | 0.0055475 | 0.0013903 | 0 | 0 |  | 1 | TRUE | wye
138 | LV_2939-24_0_5_load_170 | 162 | 0.0024136 | 0.00060491 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 57 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2939-24_0_5_line_0 |  | 0 | 1 | 0.025328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
1 | LV_2939-24_0_5_line_1 |  | 0 | 2 | 0.019238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
2 | LV_2939-24_0_5_line_2 |  | 1 | 3 | 0.011569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
3 | LV_2939-24_0_5_line_3 |  | 2 | 4 | 0.033004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
4 | LV_2939-24_0_5_line_4 |  | 3 | 5 | 0.014717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
5 | LV_2939-24_0_5_line_5 |  | 4 | 6 | 0.023889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
6 | LV_2939-24_0_5_line_6 |  | 4 | 7 | 0.018949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2939-24_0_5_line_7 |  | 5 | 8 | 0.01405 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2939-24_0_5_line_8 |  | 5 | 9 | 0.022677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
9 | LV_2939-24_0_5_line_9 |  | 6 | 10 | 0.01855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
10 | LV_2939-24_0_5_line_10 |  | 8 | 11 | 0.015167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2939-24_0_5_line_11 |  | 9 | 12 | 0.015943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
12 | LV_2939-24_0_5_line_12 |  | 10 | 13 | 0.0055541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
13 | LV_2939-24_0_5_line_13 |  | 11 | 86 | 0.013218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2939-24_0_5_line_14 |  | 12 | 78 | 0.0070122 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
15 | LV_2939-24_0_5_line_15 |  | 13 | 14 | 0.026643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
16 | LV_2939-24_0_5_line_16 |  | 14 | 46 | 0.0047286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2939-24_0_5_line_17 |  | 15 | 16 | 0.0012415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2939-24_0_5_line_18 |  | 15 | 17 | 0.005222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2939-24_0_5_line_19 |  | 16 | 18 | 0.0090389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2939-24_0_5_line_20 |  | 17 | 19 | 0.012218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2939-24_0_5_line_21 |  | 18 | 20 | 0.006406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2939-24_0_5_line_22 |  | 18 | 21 | 0.025375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2939-24_0_5_line_23 |  | 20 | 22 | 7.5793e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2939-24_0_5_line_24 |  | 22 | 23 | 0.027508 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2939-24_0_5_line_25 |  | 23 | 24 | 0.004995 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2939-24_0_5_line_26 |  | 24 | 47 | 0.037088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2939-24_0_5_line_27 |  | 24 | 48 | 0.0093638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2939-24_0_5_line_28 |  | 25 | 26 | 0.0049637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2939-24_0_5_line_29 |  | 25 | 27 | 0.013688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2939-24_0_5_line_30 |  | 26 | 28 | 0.013941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2939-24_0_5_line_31 |  | 27 | 29 | 0.00012084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2939-24_0_5_line_32 |  | 28 | 30 | 0.0021437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2939-24_0_5_line_33 |  | 29 | 31 | 0.0055156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2939-24_0_5_line_34 |  | 30 | 32 | 0.023115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2939-24_0_5_line_35 |  | 30 | 33 | 0.093265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2939-24_0_5_line_36 |  | 31 | 34 | 0.0037372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2939-24_0_5_line_37 |  | 34 | 35 | 0.011964 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2939-24_0_5_line_38 |  | 35 | 36 | 0.00088556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2939-24_0_5_line_39 |  | 36 | 37 | 0.00024661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2939-24_0_5_line_40 |  | 37 | 38 | 0.0086621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2939-24_0_5_line_41 |  | 38 | 39 | 0.0035322 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2939-24_0_5_line_42 |  | 38 | 40 | 0.017385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2939-24_0_5_line_43 |  | 39 | 49 | 0.0059089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2939-24_0_5_line_44 |  | 40 | 45 | 0.0033936 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2939-24_0_5_line_45 |  | 41 | 42 | 0.020623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2939-24_0_5_line_46 |  | 41 | 43 | 0.013244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2939-24_0_5_line_47 |  | 42 | 44 | 0.0014597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2939-24_0_5_line_48 |  | 43 | 45 | 0.017624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2939-24_0_5_line_49 |  | 44 | 46 | 0.021922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2939-24_0_5_line_50 |  | 47 | 49 | 0.0079255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_2939-24_0_5_line_51 |  | 48 | 50 | 0.025766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2939-24_0_5_line_52 |  | 51 | 52 | 0.00025943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2939-24_0_5_line_53 |  | 51 | 53 | 0.024622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2939-24_0_5_line_54 |  | 52 | 54 | 0.033686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2939-24_0_5_line_55 |  | 53 | 55 | 0.0073033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_2939-24_0_5_line_56 |  | 54 | 56 | 0.0096164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2939-24_0_5_line_57 |  | 55 | 57 | 0.024487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_2939-24_0_5_line_58 |  | 56 | 58 | 0.013497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_2939-24_0_5_line_59 |  | 57 | 59 | 0.004585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
60 | LV_2939-24_0_5_line_60 |  | 58 | 60 | 0.0076772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_2939-24_0_5_line_61 |  | 59 | 61 | 0.0059868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
62 | LV_2939-24_0_5_line_62 |  | 60 | 65 | 0.0031794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_2939-24_0_5_line_63 |  | 61 | 66 | 0.016206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
64 | LV_2939-24_0_5_line_64 |  | 62 | 63 | 0.0090228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_2939-24_0_5_line_65 |  | 62 | 64 | 0.018587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_2939-24_0_5_line_66 |  | 64 | 65 | 0.014705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_2939-24_0_5_line_67 |  | 66 | 67 | 0.01281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
68 | LV_2939-24_0_5_line_68 |  | 67 | 68 | 0.0044034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
69 | LV_2939-24_0_5_line_69 |  | 68 | 71 | 0.021781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
70 | LV_2939-24_0_5_line_70 |  | 69 | 70 | 0.018946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_2939-24_0_5_line_71 |  | 70 | 72 | 0.013974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_2939-24_0_5_line_72 |  | 71 | 73 | 0.0053354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
73 | LV_2939-24_0_5_line_73 |  | 71 | 74 | 0.021389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
74 | LV_2939-24_0_5_line_74 |  | 72 | 75 | 0.017415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_2939-24_0_5_line_75 |  | 73 | 81 | 0.013422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
76 | LV_2939-24_0_5_line_76 |  | 74 | 79 | 0.02725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_2939-24_0_5_line_77 |  | 74 | 76 | 0.0093779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
78 | LV_2939-24_0_5_line_78 |  | 75 | 126 | 0.0010298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_2939-24_0_5_line_79 |  | 76 | 77 | 0.015998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
80 | LV_2939-24_0_5_line_80 |  | 77 | 78 | 0.035208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
81 | LV_2939-24_0_5_line_81 |  | 79 | 80 | 0.018581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_2939-24_0_5_line_82 |  | 80 | 82 | 0.011559 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_2939-24_0_5_line_83 |  | 81 | 83 | 0.014437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_2939-24_0_5_line_84 |  | 81 | 84 | 0.0082783 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
85 | LV_2939-24_0_5_line_85 |  | 82 | 85 | 0.011369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_2939-24_0_5_line_86 |  | 84 | 136 | 0.0094761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
87 | LV_2939-24_0_5_line_87 |  | 85 | 161 | 0.029282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_2939-24_0_5_line_88 |  | 86 | 157 | 0.027228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_2939-24_0_5_line_89 |  | 87 | 88 | 0.0023991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_2939-24_0_5_line_90 |  | 87 | 89 | 0.0025185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_2939-24_0_5_line_91 |  | 88 | 90 | 0.012435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_2939-24_0_5_line_92 |  | 89 | 91 | 0.0046512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_2939-24_0_5_line_93 |  | 90 | 92 | 0.010642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_2939-24_0_5_line_94 |  | 91 | 93 | 0.0074959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_2939-24_0_5_line_95 |  | 92 | 96 | 0.0056304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_2939-24_0_5_line_96 |  | 93 | 97 | 0.0036282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_2939-24_0_5_line_97 |  | 94 | 95 | 0.014026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_2939-24_0_5_line_98 |  | 95 | 98 | 0.010622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_2939-24_0_5_line_99 |  | 96 | 99 | 0.0085711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_2939-24_0_5_line_100 |  | 97 | 100 | 0.0069701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_2939-24_0_5_line_101 |  | 98 | 125 | 0.015806 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_2939-24_0_5_line_102 |  | 98 | 123 | 0.02628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_2939-24_0_5_line_103 |  | 99 | 120 | 0.0087109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_2939-24_0_5_line_104 |  | 100 | 116 | 0.0049788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_2939-24_0_5_line_105 |  | 101 | 102 | 0.0020604 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_2939-24_0_5_line_106 |  | 101 | 103 | 0.0034851 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_2939-24_0_5_line_107 |  | 102 | 104 | 0.011408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_2939-24_0_5_line_108 |  | 103 | 105 | 0.007768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_2939-24_0_5_line_109 |  | 104 | 106 | 0.0036036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
110 | LV_2939-24_0_5_line_110 |  | 105 | 107 | 0.0079878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
111 | LV_2939-24_0_5_line_111 |  | 106 | 108 | 0.013014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
112 | LV_2939-24_0_5_line_112 |  | 107 | 109 | 0.0012752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
113 | LV_2939-24_0_5_line_113 |  | 108 | 110 | 0.0074809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
114 | LV_2939-24_0_5_line_114 |  | 109 | 111 | 0.013898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
115 | LV_2939-24_0_5_line_115 |  | 110 | 115 | 0.0080351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
116 | LV_2939-24_0_5_line_116 |  | 111 | 118 | 0.010699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
117 | LV_2939-24_0_5_line_117 |  | 111 | 119 | 0.01647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
118 | LV_2939-24_0_5_line_118 |  | 112 | 113 | 0.014782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
119 | LV_2939-24_0_5_line_119 |  | 112 | 114 | 0.004346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
120 | LV_2939-24_0_5_line_120 |  | 114 | 115 | 0.010353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
121 | LV_2939-24_0_5_line_121 |  | 116 | 117 | 0.013305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
122 | LV_2939-24_0_5_line_122 |  | 118 | 126 | 0.0030832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
123 | LV_2939-24_0_5_line_123 |  | 119 | 127 | 0.0056071 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
124 | LV_2939-24_0_5_line_124 |  | 119 | 128 | 0.0086281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
125 | LV_2939-24_0_5_line_125 |  | 120 | 121 | 0.0072832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
126 | LV_2939-24_0_5_line_126 |  | 120 | 122 | 0.0056503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
127 | LV_2939-24_0_5_line_127 |  | 121 | 123 | 0.027343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
128 | LV_2939-24_0_5_line_128 |  | 122 | 124 | 4.3904e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
129 | LV_2939-24_0_5_line_129 |  | 124 | 129 | 0.012436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
130 | LV_2939-24_0_5_line_130 |  | 125 | 149 | 0.0046744 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
131 | LV_2939-24_0_5_line_131 |  | 125 | 150 | 0.028493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
132 | LV_2939-24_0_5_line_132 |  | 127 | 129 | 0.0095091 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
133 | LV_2939-24_0_5_line_133 |  | 128 | 130 | 0.018372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
134 | LV_2939-24_0_5_line_134 |  | 130 | 144 | 0.014895 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
135 | LV_2939-24_0_5_line_135 |  | 130 | 141 | 0.012744 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
136 | LV_2939-24_0_5_line_136 |  | 131 | 132 | 0.0039421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
137 | LV_2939-24_0_5_line_137 |  | 131 | 133 | 0.011062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
138 | LV_2939-24_0_5_line_138 |  | 132 | 134 | 0.0096385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
139 | LV_2939-24_0_5_line_139 |  | 133 | 135 | 0.040043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
140 | LV_2939-24_0_5_line_140 |  | 134 | 136 | 0.015284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
141 | LV_2939-24_0_5_line_141 |  | 134 | 137 | 0.011302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
142 | LV_2939-24_0_5_line_142 |  | 135 | 138 | 0.011032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
143 | LV_2939-24_0_5_line_143 |  | 137 | 139 | 0.003575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
144 | LV_2939-24_0_5_line_144 |  | 139 | 140 | 0.0046346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
145 | LV_2939-24_0_5_line_145 |  | 140 | 145 | 0.01139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
146 | LV_2939-24_0_5_line_146 |  | 141 | 142 | 0.009438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
147 | LV_2939-24_0_5_line_147 |  | 142 | 143 | 0.010207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
148 | LV_2939-24_0_5_line_148 |  | 143 | 145 | 0.0041712 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
149 | LV_2939-24_0_5_line_149 |  | 144 | 146 | 0.0065677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
150 | LV_2939-24_0_5_line_150 |  | 146 | 147 | 0.0065347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
151 | LV_2939-24_0_5_line_151 |  | 147 | 148 | 0.019133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
152 | LV_2939-24_0_5_line_152 |  | 148 | 155 | 0.013751 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
153 | LV_2939-24_0_5_line_153 |  | 149 | 151 | 0.0053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
154 | LV_2939-24_0_5_line_154 |  | 150 | 152 | 0.036267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
155 | LV_2939-24_0_5_line_155 |  | 151 | 153 | 0.017676 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
156 | LV_2939-24_0_5_line_156 |  | 152 | 154 | 0.017044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
157 | LV_2939-24_0_5_line_157 |  | 155 | 156 | 0.00049685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
158 | LV_2939-24_0_5_line_158 |  | 157 | 158 | 0.023625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
159 | LV_2939-24_0_5_line_159 |  | 158 | 159 | 0.0062358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
160 | LV_2939-24_0_5_line_160 |  | 159 | 160 | 0.020811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
161 | LV_2939-24_0_5_line_161 |  | 161 | 162 | 0.029168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2939-24_0_5_trafo_44 | 0.63 MVA 20/0.4 kV | 163 | 57 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2691188.95 | 1283771.2402 | 2691166.8654 | 1283758.8392
1 | 2691188.95 | 1283771.2402 | 2691205.7245 | 1283780.6594
2 | 2691162.9575 | 1283747.9508 | 2691166.8654 | 1283758.8392 | 2691166.8654 | 1283758.8392
3 | 2691194.5928 | 1283811.5586 | 2691198.5301 | 1283795.828 | 2691205.7245 | 1283780.6594 | 2691205.7245 | 1283780.6594
4 | 2691166.2639 | 1283733.6746 | 2691162.8278 | 1283747.5892 | 2691162.9575 | 1283747.9508
5 | 2691194.5928 | 1283811.5586 | 2691218.4367 | 1283810.0836
6 | 2691194.5928 | 1283811.5586 | 2691194.2409 | 1283830.5044
7 | 2691166.2639 | 1283733.6746 | 2691156.1331 | 1283726.1114 | 2691155.0444 | 1283725.2189
8 | 2691166.2639 | 1283733.6746 | 2691180.8959 | 1283716.3502
9 | 2691218.4367 | 1283810.0836 | 2691232.5496 | 1283809.2106 | 2691236.9595 | 1283809.2224
10 | 2691143.3151 | 1283715.604 | 2691155.0444 | 1283725.2189
11 | 2691180.8959 | 1283716.3502 | 2691191.1831 | 1283704.1702
12 | 2691236.9595 | 1283809.2224 | 2691242.5135 | 1283809.2373
13 | 2691143.3151 | 1283715.604 | 2691150.9963 | 1283704.8473
14 | 2691195.7077 | 1283698.8131 | 2691191.1831 | 1283704.1702
15 | 2691269.1562 | 1283809.3087 | 2691242.5135 | 1283809.2373
16 | 2691273.8848 | 1283809.3214 | 2691269.1562 | 1283809.3087
17 | 2691330.9096 | 1283888.2731 | 2691330.9667 | 1283887.0329
18 | 2691330.6694 | 1283893.4895 | 2691330.9096 | 1283888.2731
19 | 2691330.4761 | 1283878.0428 | 2691331.1488 | 1283883.0799 | 2691330.9667 | 1283887.0329
20 | 2691330.6694 | 1283893.4895 | 2691330.1074 | 1283905.6946
21 | 2691330.4761 | 1283878.0428 | 2691329.6361 | 1283871.6922
22 | 2691330.4761 | 1283878.0428 | 2691312.4149 | 1283883.7458 | 2691305.9827 | 1283883.9214
23 | 2691329.6361 | 1283871.6922 | 2691329.6262 | 1283871.617
24 | 2691320.8939 | 1283846.2666 | 2691327.6136 | 1283856.4018 | 2691329.6262 | 1283871.617
25 | 2691320.8939 | 1283846.2666 | 2691324.9852 | 1283843.383
26 | 2691324.9852 | 1283843.383 | 2691355.3004 | 1283822.0169
27 | 2691324.9852 | 1283843.383 | 2691316.7941 | 1283840.9874 | 2691316.008 | 1283841.2522
28 | 2691415.6755 | 1283793.7988 | 2691410.9446 | 1283795.301
29 | 2691397.8984 | 1283799.4435 | 2691410.9446 | 1283795.301
30 | 2691415.6755 | 1283793.7988 | 2691428.963 | 1283789.5797
31 | 2691397.8984 | 1283799.4435 | 2691397.7832 | 1283799.4801
32 | 2691428.963 | 1283789.5797 | 2691431.0062 | 1283788.9309
33 | 2691397.7832 | 1283799.4801 | 2691395.2332 | 1283800.2898 | 2691392.5777 | 1283801.297
34 | 2691452.6231 | 1283780.8133 | 2691440.6449 | 1283785.8704 | 2691431.0062 | 1283788.9309
35 | 2691431.0062 | 1283788.9309 | 2691471.409 | 1283872.9905
36 | 2691392.5777 | 1283801.297 | 2691389.0835 | 1283802.6223
37 | 2691378.1542 | 1283807.4341 | 2691382.6138 | 1283805.0761 | 2691389.0835 | 1283802.6223
38 | 2691378.1542 | 1283807.4341 | 2691377.3713 | 1283807.848
39 | 2691377.3713 | 1283807.848 | 2691377.1533 | 1283807.9633
40 | 2691369.4957 | 1283812.0121 | 2691377.1533 | 1283807.9633
41 | 2691369.4957 | 1283812.0121 | 2691366.6085 | 1283814.047
42 | 2691369.4957 | 1283812.0121 | 2691352.115 | 1283811.6122
43 | 2691366.6085 | 1283814.047 | 2691361.7787 | 1283817.4511
44 | 2691348.7223 | 1283811.5342 | 2691352.115 | 1283811.6122
45 | 2691297.2536 | 1283810.0405 | 2691317.8635 | 1283810.7869
46 | 2691331.1035 | 1283811.124 | 2691320.099 | 1283810.8678 | 2691317.8635 | 1283810.7869
47 | 2691295.7948 | 1283809.9877 | 2691297.2536 | 1283810.0405
48 | 2691348.7223 | 1283811.5342 | 2691331.1035 | 1283811.124
49 | 2691273.8848 | 1283809.3214 | 2691277.6753 | 1283809.3316 | 2691295.7948 | 1283809.9877
50 | 2691355.3004 | 1283822.0169 | 2691361.7787 | 1283817.4511
51 | 2691291.3381 | 1283848.6621 | 2691299.3557 | 1283846.2218 | 2691309.1265 | 1283843.5708 | 2691316.008 | 1283841.2522
52 | 2691354.9363 | 1283711.6658 | 2691354.6771 | 1283711.654
53 | 2691330.2786 | 1283708.7056 | 2691335.2623 | 1283709.8145 | 2691347.1838 | 1283711.3117 | 2691354.6771 | 1283711.654
54 | 2691354.9363 | 1283711.6658 | 2691363.4038 | 1283712.0526 | 2691388.6139 | 1283712.0202
55 | 2691323.1496 | 1283707.1194 | 2691330.2786 | 1283708.7056
56 | 2691388.6139 | 1283712.0202 | 2691398.2303 | 1283712.0078
57 | 2691300.3716 | 1283698.47 | 2691309.5529 | 1283703.2438 | 2691323.0669 | 1283707.101 | 2691323.1496 | 1283707.1194
58 | 2691411.7272 | 1283711.9915 | 2691411.7164 | 1283711.9905 | 2691398.2303 | 1283712.0078
59 | 2691296.3036 | 1283696.3548 | 2691300.3716 | 1283698.47
60 | 2691411.7272 | 1283711.9915 | 2691419.369 | 1283712.7281
61 | 2691296.3036 | 1283696.3548 | 2691293.186 | 1283694.0601 | 2691291.4534 | 1283692.8458
62 | 2691422.5338 | 1283713.0332 | 2691419.369 | 1283712.7281
63 | 2691291.4534 | 1283692.8458 | 2691285.0237 | 1283688.3398 | 2691280.0952 | 1283684.2043 | 2691278.7122 | 1283682.8711
64 | 2691455.1208 | 1283719.5482 | 2691462.9116 | 1283715.8214 | 2691463.2892 | 1283715.7391
65 | 2691455.1208 | 1283719.5482 | 2691437.0373 | 1283715.2497
66 | 2691422.5338 | 1283713.0332 | 2691431.2446 | 1283713.8728 | 2691437.0373 | 1283715.2497
67 | 2691278.7122 | 1283682.8711 | 2691274.5843 | 1283678.8921 | 2691270.0169 | 1283673.4871
68 | 2691267.4692 | 1283669.9144 | 2691268.5758 | 1283671.7817 | 2691270.0169 | 1283673.4871
69 | 2691257.0842 | 1283650.7744 | 2691264.8444 | 1283665.4851 | 2691267.4692 | 1283669.9144
70 | 2691330.8917 | 1283672.5473 | 2691327.8233 | 1283674.891 | 2691314.1792 | 1283681.3255
71 | 2691330.8917 | 1283672.5473 | 2691334.6156 | 1283669.7028 | 2691338 | 1283663.9947 | 2691339.252 | 1283661.6564
72 | 2691257.0842 | 1283650.7744 | 2691254.9406 | 1283645.8885
73 | 2691257.0842 | 1283650.7744 | 2691242.9083 | 1283656.193 | 2691236.6443 | 1283655.8735
74 | 2691339.252 | 1283661.6564 | 2691347.4722 | 1283646.303
75 | 2691249.4969 | 1283633.6197 | 2691252.2111 | 1283639.667 | 2691254.9406 | 1283645.8885
76 | 2691236.6443 | 1283655.8735 | 2691215.3785 | 1283638.8339
77 | 2691236.6443 | 1283655.8735 | 2691235.8271 | 1283659.6753 | 2691232.9245 | 1283664.3344
78 | 2691347.9583 | 1283645.3951 | 2691347.4722 | 1283646.303
79 | 2691219.9307 | 1283673.5331 | 2691222.9833 | 1283672.154 | 2691232.9245 | 1283664.3344
80 | 2691195.7077 | 1283698.8131 | 2691210.0708 | 1283681.8071 | 2691218.3185 | 1283674.2615 | 2691219.9307 | 1283673.5331
81 | 2691215.3785 | 1283638.8339 | 2691200.8779 | 1283627.215
82 | 2691200.8779 | 1283627.215 | 2691197.5265 | 1283624.5297 | 2691191.5199 | 1283620.4433
83 | 2691249.4969 | 1283633.6197 | 2691243.578 | 1283620.452
84 | 2691249.4969 | 1283633.6197 | 2691255.8298 | 1283628.2882
85 | 2691182.1198 | 1283614.0483 | 2691191.5199 | 1283620.4433
86 | 2691263.079 | 1283622.1852 | 2691255.8298 | 1283628.2882
87 | 2691182.1198 | 1283614.0483 | 2691166.1963 | 1283603.2153 | 2691157.5502 | 1283598.146
88 | 2691150.9963 | 1283704.8473 | 2691162.3465 | 1283688.9528 | 2691161.3373 | 1283681.8866 | 2691160.9037 | 1283681.5332
89 | 2691447.7077 | 1283614.719 | 2691445.3135 | 1283614.8725
90 | 2691447.7077 | 1283614.719 | 2691450.221 | 1283614.5578
91 | 2691432.9044 | 1283615.6684 | 2691445.3135 | 1283614.8725
92 | 2691454.8626 | 1283614.2601 | 2691450.221 | 1283614.5578
93 | 2691432.9044 | 1283615.6684 | 2691422.2992 | 1283616.5548
94 | 2691454.8626 | 1283614.2601 | 2691458.5915 | 1283614.021 | 2691462.3256 | 1283613.5858
95 | 2691422.2992 | 1283616.5548 | 2691416.6884 | 1283617.0238
96 | 2691462.3256 | 1283613.5858 | 2691465.9294 | 1283613.1658
97 | 2691420.3849 | 1283575.4679 | 2691425.5495 | 1283588.5089
98 | 2691416.4739 | 1283565.592 | 2691420.3849 | 1283575.4679
99 | 2691416.6884 | 1283617.0238 | 2691408.1471 | 1283617.7377
100 | 2691472.8526 | 1283612.359 | 2691465.9294 | 1283613.1658
101 | 2691416.4739 | 1283565.592 | 2691411.353 | 1283550.6329
102 | 2691416.4739 | 1283565.592 | 2691410.3599 | 1283568.1773 | 2691408.4035 | 1283571.3608 | 2691402.6976 | 1283586.207
103 | 2691399.4665 | 1283618.4633 | 2691408.1471 | 1283617.7377
104 | 2691472.8526 | 1283612.359 | 2691477.798 | 1283611.7826
105 | 2691385.184 | 1283650.0226 | 2691386.5876 | 1283651.5309
106 | 2691385.184 | 1283650.0226 | 2691383.6638 | 1283648.3889 | 2691382.5919 | 1283647.739
107 | 2691394.3591 | 1283659.8821 | 2691386.5876 | 1283651.5309
108 | 2691382.5919 | 1283647.739 | 2691375.9493 | 1283643.7118
109 | 2691394.3591 | 1283659.8821 | 2691396.814 | 1283662.5202
110 | 2691369.1189 | 1283639.5706 | 2691375.9493 | 1283643.7118
111 | 2691396.814 | 1283662.5202 | 2691399.2673 | 1283665.1566 | 2691408.33 | 1283667.7
112 | 2691368.0285 | 1283638.9095 | 2691369.1189 | 1283639.5706
113 | 2691408.33 | 1283667.7 | 2691414.1578 | 1283669.3356 | 2691415.5747 | 1283669.513
114 | 2691355.2716 | 1283633.736 | 2691362.957 | 1283635.8347 | 2691368.0285 | 1283638.9095
115 | 2691415.5747 | 1283669.513 | 2691423.5475 | 1283670.5116
116 | 2691355.2716 | 1283633.736 | 2691350.3475 | 1283640.9326 | 2691349.4136 | 1283642.677
117 | 2691366.3622 | 1283621.5306 | 2691355.2716 | 1283633.736
118 | 2691437.8567 | 1283673.4077 | 2691451.5872 | 1283678.8821
119 | 2691433.8198 | 1283671.7982 | 2691433.8198 | 1283671.7982 | 2691437.8567 | 1283673.4077
120 | 2691433.8198 | 1283671.7982 | 2691423.5475 | 1283670.5116
121 | 2691491.0025 | 1283610.1602 | 2691488.8199 | 1283610.4981 | 2691477.798 | 1283611.7826
122 | 2691347.9583 | 1283645.3951 | 2691349.4136 | 1283642.677
123 | 2691366.3622 | 1283621.5306 | 2691371.9454 | 1283621.0133
124 | 2691366.3622 | 1283621.5306 | 2691357.7564 | 1283620.9102
125 | 2691399.4665 | 1283618.4633 | 2691398.6183 | 1283611.2297
126 | 2691399.4665 | 1283618.4633 | 2691393.8402 | 1283618.9846
127 | 2691402.6976 | 1283586.207 | 2691401.2996 | 1283589.8446 | 2691403.9455 | 1283597.381 | 2691398.147 | 1283607.2108 | 2691398.6183 | 1283611.2297
128 | 2691393.8402 | 1283618.9846 | 2691393.7965 | 1283618.9887
129 | 2691393.7965 | 1283618.9887 | 2691381.4139 | 1283620.136
130 | 2691411.353 | 1283550.6329 | 2691407.7219 | 1283547.6893
131 | 2691411.353 | 1283550.6329 | 2691425.9832 | 1283552.2501 | 2691439.0892 | 1283550.9745 | 2691439.673 | 1283550.8123
132 | 2691371.9454 | 1283621.0133 | 2691381.4139 | 1283620.136
133 | 2691339.432 | 1283619.5893 | 2691357.7564 | 1283620.9102
134 | 2691339.432 | 1283619.5893 | 2691331.6345 | 1283612.1286 | 2691329.6123 | 1283608.558
135 | 2691339.432 | 1283619.5893 | 2691326.747 | 1283618.36
136 | 2691262.2256 | 1283602.513 | 2691265.3568 | 1283604.908
137 | 2691253.439 | 1283595.7922 | 2691262.2256 | 1283602.513
138 | 2691273.0125 | 1283610.7638 | 2691265.3568 | 1283604.908
139 | 2691221.6493 | 1283571.668 | 2691233.4782 | 1283578.1901 | 2691253.439 | 1283595.7922
140 | 2691273.0125 | 1283610.7638 | 2691268.2786 | 1283617.8078 | 2691263.079 | 1283622.1852
141 | 2691273.0125 | 1283610.7638 | 2691282.3273 | 1283614.7894 | 2691283.4802 | 1283614.8572
142 | 2691221.6493 | 1283571.668 | 2691226.1722 | 1283581.7298
143 | 2691287.0491 | 1283615.067 | 2691283.4802 | 1283614.8572
144 | 2691291.6757 | 1283615.3391 | 2691287.0491 | 1283615.067
145 | 2691291.6757 | 1283615.3391 | 2691301.5897 | 1283615.922 | 2691303.042 | 1283616.0628
146 | 2691326.747 | 1283618.36 | 2691317.3531 | 1283617.4496
147 | 2691307.1938 | 1283616.4651 | 2691317.3531 | 1283617.4496
148 | 2691307.1938 | 1283616.4651 | 2691303.042 | 1283616.0628
149 | 2691329.6123 | 1283608.558 | 2691326.3758 | 1283602.8431
150 | 2691326.3758 | 1283602.8431 | 2691323.1555 | 1283597.157
151 | 2691313.7268 | 1283580.5083 | 2691323.1555 | 1283597.157
152 | 2691313.7268 | 1283580.5083 | 2691306.9504 | 1283568.5432
153 | 2691403.6048 | 1283544.3517 | 2691407.7219 | 1283547.6893
154 | 2691474.548 | 1283540.8714 | 2691467.7804 | 1283543.0016 | 2691439.673 | 1283550.8123
155 | 2691403.6048 | 1283544.3517 | 2691386.2697 | 1283540.8952
156 | 2691474.548 | 1283540.8714 | 2691485.9603 | 1283553.5312
157 | 2691306.7056 | 1283568.1108 | 2691306.9504 | 1283568.5432
158 | 2691142.5903 | 1283666.6085 | 2691160.9037 | 1283681.5332
159 | 2691142.5903 | 1283666.6085 | 2691138.4275 | 1283663.216 | 2691137.7059 | 1283662.7376
160 | 2691137.7059 | 1283662.7376 | 2691120.3601 | 1283651.2382
161 | 2691157.5502 | 1283598.146 | 2691132.3878 | 1283583.3929

## bus_geodata
| x | y | coords
0 | 2691188.95 | 1283771.2402
1 | 2691166.8654 | 1283758.8392
2 | 2691205.7245 | 1283780.6594
3 | 2691162.9575 | 1283747.9508
4 | 2691194.5928 | 1283811.5586
5 | 2691166.2639 | 1283733.6746
6 | 2691218.4367 | 1283810.0836
7 | 2691194.2409 | 1283830.5044
8 | 2691155.0444 | 1283725.2189
9 | 2691180.8959 | 1283716.3502
10 | 2691236.9595 | 1283809.2224
11 | 2691143.3151 | 1283715.604
12 | 2691191.1831 | 1283704.1702
13 | 2691242.5135 | 1283809.2373
14 | 2691269.1562 | 1283809.3087
15 | 2691330.9096 | 1283888.2731
16 | 2691330.9667 | 1283887.0329
17 | 2691330.6694 | 1283893.4895
18 | 2691330.4761 | 1283878.0428
19 | 2691330.1074 | 1283905.6946
20 | 2691329.6361 | 1283871.6922
21 | 2691305.9827 | 1283883.9214
22 | 2691329.6262 | 1283871.617
23 | 2691320.8939 | 1283846.2666
24 | 2691324.9852 | 1283843.383
25 | 2691410.9446 | 1283795.301
26 | 2691415.6755 | 1283793.7988
27 | 2691397.8984 | 1283799.4435
28 | 2691428.963 | 1283789.5797
29 | 2691397.7832 | 1283799.4801
30 | 2691431.0062 | 1283788.9309
31 | 2691392.5777 | 1283801.297
32 | 2691452.6231 | 1283780.8133
33 | 2691471.409 | 1283872.9905
34 | 2691389.0835 | 1283802.6223
35 | 2691378.1542 | 1283807.4341
36 | 2691377.3713 | 1283807.848
37 | 2691377.1533 | 1283807.9633
38 | 2691369.4957 | 1283812.0121
39 | 2691366.6085 | 1283814.047
40 | 2691352.115 | 1283811.6122
41 | 2691317.8635 | 1283810.7869
42 | 2691297.2536 | 1283810.0405
43 | 2691331.1035 | 1283811.124
44 | 2691295.7948 | 1283809.9877
45 | 2691348.7223 | 1283811.5342
46 | 2691273.8848 | 1283809.3214
47 | 2691355.3004 | 1283822.0169
48 | 2691316.008 | 1283841.2522
49 | 2691361.7787 | 1283817.4511
50 | 2691291.3381 | 1283848.6621
51 | 2691354.6771 | 1283711.654
52 | 2691354.9363 | 1283711.6658
53 | 2691330.2786 | 1283708.7056
54 | 2691388.6139 | 1283712.0202
55 | 2691323.1496 | 1283707.1194
56 | 2691398.2303 | 1283712.0078
57 | 2691300.3716 | 1283698.47
58 | 2691411.7272 | 1283711.9915
59 | 2691296.3036 | 1283696.3548
60 | 2691419.369 | 1283712.7281
61 | 2691291.4534 | 1283692.8458
62 | 2691455.1208 | 1283719.5482
63 | 2691463.2892 | 1283715.7391
64 | 2691437.0373 | 1283715.2497
65 | 2691422.5338 | 1283713.0332
66 | 2691278.7122 | 1283682.8711
67 | 2691270.0169 | 1283673.4871
68 | 2691267.4692 | 1283669.9144
69 | 2691314.1792 | 1283681.3255
70 | 2691330.8917 | 1283672.5473
71 | 2691257.0842 | 1283650.7743
72 | 2691339.252 | 1283661.6564
73 | 2691254.9406 | 1283645.8885
74 | 2691236.6443 | 1283655.8735
75 | 2691347.4722 | 1283646.303
76 | 2691232.9245 | 1283664.3344
77 | 2691219.9307 | 1283673.5331
78 | 2691195.7077 | 1283698.8131
79 | 2691215.3785 | 1283638.8339
80 | 2691200.8779 | 1283627.215
81 | 2691249.4969 | 1283633.6197
82 | 2691191.5199 | 1283620.4433
83 | 2691243.578 | 1283620.452
84 | 2691255.8298 | 1283628.2882
85 | 2691182.1198 | 1283614.0483
86 | 2691150.9963 | 1283704.8473
87 | 2691447.7077 | 1283614.719
88 | 2691445.3135 | 1283614.8725
89 | 2691450.221 | 1283614.5578
90 | 2691432.9044 | 1283615.6684
91 | 2691454.8626 | 1283614.2601
92 | 2691422.2992 | 1283616.5548
93 | 2691462.3256 | 1283613.5858
94 | 2691425.5495 | 1283588.5089
95 | 2691420.3849 | 1283575.4679
96 | 2691416.6884 | 1283617.0238
97 | 2691465.9294 | 1283613.1658
98 | 2691416.4739 | 1283565.592
99 | 2691408.1471 | 1283617.7377
100 | 2691472.8526 | 1283612.359
101 | 2691385.184 | 1283650.0226
102 | 2691386.5876 | 1283651.5309
103 | 2691382.5919 | 1283647.739
104 | 2691394.3591 | 1283659.8821
105 | 2691375.9493 | 1283643.7118
106 | 2691396.814 | 1283662.5202
107 | 2691369.1189 | 1283639.5706
108 | 2691408.33 | 1283667.7
109 | 2691368.0285 | 1283638.9095
110 | 2691415.5747 | 1283669.513
111 | 2691355.2716 | 1283633.736
112 | 2691437.8567 | 1283673.4077
113 | 2691451.5872 | 1283678.8821
114 | 2691433.8198 | 1283671.7982
115 | 2691423.5475 | 1283670.5116
116 | 2691477.798 | 1283611.7826
117 | 2691491.0025 | 1283610.1602
118 | 2691349.4136 | 1283642.677
119 | 2691366.3622 | 1283621.5306
120 | 2691399.4665 | 1283618.4633
121 | 2691398.6183 | 1283611.2297
122 | 2691393.8402 | 1283618.9846
123 | 2691402.6976 | 1283586.207
124 | 2691393.7965 | 1283618.9887
125 | 2691411.353 | 1283550.6329
126 | 2691347.9583 | 1283645.3951
127 | 2691371.9454 | 1283621.0133
128 | 2691357.7564 | 1283620.9102
129 | 2691381.4139 | 1283620.136
130 | 2691339.432 | 1283619.5893
131 | 2691262.2256 | 1283602.513
132 | 2691265.3568 | 1283604.908
133 | 2691253.439 | 1283595.7922
134 | 2691273.0125 | 1283610.7638
135 | 2691221.6493 | 1283571.668
136 | 2691263.079 | 1283622.1852
137 | 2691283.4802 | 1283614.8572
138 | 2691226.1722 | 1283581.7298
139 | 2691287.0491 | 1283615.067
140 | 2691291.6757 | 1283615.3391
141 | 2691326.747 | 1283618.36
142 | 2691317.3531 | 1283617.4496
143 | 2691307.1938 | 1283616.4651
144 | 2691329.6123 | 1283608.558
145 | 2691303.042 | 1283616.0628
146 | 2691326.3758 | 1283602.8431
147 | 2691323.1555 | 1283597.157
148 | 2691313.7268 | 1283580.5083
149 | 2691407.7219 | 1283547.6893
150 | 2691439.673 | 1283550.8123
151 | 2691403.6048 | 1283544.3517
152 | 2691474.548 | 1283540.8714
153 | 2691386.2697 | 1283540.8952
154 | 2691485.9603 | 1283553.5312
155 | 2691306.9504 | 1283568.5432
156 | 2691306.7056 | 1283568.1108
157 | 2691160.9037 | 1283681.5332
158 | 2691142.5903 | 1283666.6085
159 | 2691137.7059 | 1283662.7376
160 | 2691120.3601 | 1283651.2382
161 | 2691157.5502 | 1283598.146
162 | 2691132.3878 | 1283583.3929
163 | 2691296.3036 | 1283696.3548

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1