## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2939-34_1_3_node_14 | 0.4 | n |  | TRUE
1 | bus_LV_2939-34_1_3_node_15 | 0.4 | n |  | TRUE
2 | bus_LV_2939-34_1_3_node_17 | 0.4 | n |  | TRUE
3 | bus_LV_2939-34_1_3_node_18 | 0.4 | n |  | TRUE
4 | bus_LV_2939-34_1_3_node_70 | 0.4 | n |  | TRUE
5 | bus_LV_2939-34_1_3_node_19 | 0.4 | n |  | TRUE
6 | bus_LV_2939-34_1_3_node_79 | 0.4 | n |  | TRUE
7 | bus_LV_2939-34_1_3_node_76 | 0.4 | n |  | TRUE
8 | bus_LV_2939-34_1_3_node_80 | 0.4 | n |  | TRUE
9 | bus_LV_2939-34_1_3_node_21 | 0.4 | n |  | TRUE
10 | bus_LV_2939-34_1_3_node_22 | 0.4 | n |  | TRUE
11 | bus_LV_2939-34_1_3_node_24 | 0.4 | n |  | TRUE
12 | bus_LV_2939-34_1_3_node_39 | 0.4 | n |  | TRUE
13 | bus_LV_2939-34_1_3_node_53 | 0.4 | n |  | TRUE
14 | bus_LV_2939-34_1_3_node_26 | 0.4 | n |  | TRUE
15 | bus_LV_2939-34_1_3_node_34 | 0.4 | n |  | TRUE
16 | bus_LV_2939-34_1_3_node_37 | 0.4 | n |  | TRUE
17 | bus_LV_2939-34_1_3_node_33 | 0.4 | n |  | TRUE
18 | bus_LV_2939-34_1_3_node_27 | 0.4 | n |  | TRUE
19 | bus_LV_2939-34_1_3_node_28 | 0.4 | n |  | TRUE
20 | bus_LV_2939-34_1_3_node_29 | 0.4 | n |  | TRUE
21 | bus_LV_2939-34_1_3_node_30 | 0.4 | n |  | TRUE
22 | bus_LV_2939-34_1_3_node_31 | 0.4 | n |  | TRUE
23 | bus_LV_2939-34_1_3_node_32 | 0.4 | n |  | TRUE
24 | bus_LV_2939-34_1_3_node_60 | 0.4 | n |  | TRUE
25 | bus_LV_2939-34_1_3_node_63 | 0.4 | n |  | TRUE
26 | bus_LV_2939-34_1_3_node_69 | 0.4 | n |  | TRUE
27 | bus_LV_2939-34_1_3_node_36 | 0.4 | n |  | TRUE
28 | bus_LV_2939-34_1_3_node_61 | 0.4 | n |  | TRUE
29 | bus_LV_2939-34_1_3_node_45 | 0.4 | n |  | TRUE
30 | bus_LV_2939-34_1_3_node_35 | 0.4 | n |  | TRUE
31 | bus_LV_2939-34_1_3_node_40 | 0.4 | n |  | TRUE
32 | bus_LV_2939-34_1_3_node_38 | 0.4 | n |  | TRUE
33 | bus_LV_2939-34_1_3_node_41 | 0.4 | n |  | TRUE
34 | bus_LV_2939-34_1_3_node_42 | 0.4 | n |  | TRUE
35 | bus_LV_2939-34_1_3_node_43 | 0.4 | n |  | TRUE
36 | bus_LV_2939-34_1_3_node_44 | 0.4 | n |  | TRUE
37 | bus_LV_2939-34_1_3_node_54 | 0.4 | n |  | TRUE
38 | bus_LV_2939-34_1_3_node_68 | 0.4 | n |  | TRUE
39 | bus_LV_2939-34_1_3_node_46 | 0.4 | n |  | TRUE
40 | bus_LV_2939-34_1_3_node_47 | 0.4 | n |  | TRUE
41 | bus_LV_2939-34_1_3_node_48 | 0.4 | n |  | TRUE
42 | bus_LV_2939-34_1_3_node_49 | 0.4 | n |  | TRUE
43 | bus_LV_2939-34_1_3_node_50 | 0.4 | n |  | TRUE
44 | bus_LV_2939-34_1_3_node_51 | 0.4 | n |  | TRUE
45 | bus_LV_2939-34_1_3_node_52 | 0.4 | n |  | TRUE
46 | bus_LV_2939-34_1_3_node_71 | 0.4 | n |  | TRUE
47 | bus_LV_2939-34_1_3_node_73 | 0.4 | n |  | TRUE
48 | bus_LV_2939-34_1_3_node_62 | 0.4 | n |  | TRUE
49 | bus_LV_2939-34_1_3_node_89 | 0.4 | n |  | TRUE
50 | bus_LV_2939-34_1_3_node_72 | 0.4 | n |  | TRUE
51 | bus_LV_2939-34_1_3_node_87 | 0.4 | n |  | TRUE
52 | bus_LV_2939-34_1_3_node_66 | 0.4 | n |  | TRUE
53 | bus_LV_2939-34_1_3_node_56 | 0.4 | n |  | TRUE
54 | bus_LV_2939-34_1_3_node_58 | 0.4 | n |  | TRUE
55 | bus_LV_2939-34_1_3_node_120 | 0.4 | n |  | TRUE
56 | bus_LV_2939-34_1_3_node_67 | 0.4 | n |  | TRUE
57 | bus_LV_2939-34_1_3_node_65 | 0.4 | n |  | TRUE
58 | bus_LV_2939-34_1_3_node_64 | 0.4 | n |  | TRUE
59 | bus_LV_2939-34_1_3_node_77 | 0.4 | n |  | TRUE
60 | bus_LV_2939-34_1_3_node_74 | 0.4 | n |  | TRUE
61 | bus_LV_2939-34_1_3_node_75 | 0.4 | n |  | TRUE
62 | bus_LV_2939-34_1_3_node_78 | 0.4 | n |  | TRUE
63 | bus_LV_2939-34_1_3_node_86 | 0.4 | n |  | TRUE
64 | bus_LV_2939-34_1_3_node_88 | 0.4 | n |  | TRUE
65 | bus_LV_2939-34_1_3_node_90 | 0.4 | n |  | TRUE
66 | bus_LV_2939-34_1_3_node_100 | 0.4 | n |  | TRUE
67 | bus_LV_2939-34_1_3_node_101 | 0.4 | n |  | TRUE
68 | bus_LV_2939-34_1_3_node_102 | 0.4 | n |  | TRUE
69 | bus_LV_2939-34_1_3_node_103 | 0.4 | n |  | TRUE
70 | bus_MV_391_0_node_109 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2939-34_1_3_load_14 | 0 | 0.010645 | 0.0026679 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2939-34_1_3_load_18 | 3 | 0.017799 | 0.0044608 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2939-34_1_3_load_70 | 4 | 0.0067533 | 0.0016925 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2939-34_1_3_load_19 | 5 | 0.0013759 | 0.00034483 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2939-34_1_3_load_79 | 6 | 0.017801 | 0.0044613 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2939-34_1_3_load_76 | 7 | 0.0072275 | 0.0018114 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2939-34_1_3_load_80 | 8 | 0.0029358 | 0.00073579 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2939-34_1_3_load_21 | 9 | 0.0036915 | 0.00092517 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2939-34_1_3_load_39 | 12 | 0.0020485 | 0.0005134 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2939-34_1_3_load_53 | 13 | 0.0040845 | 0.0010237 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2939-34_1_3_load_26 | 14 | 0.0022858 | 0.00057287 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2939-34_1_3_load_34 | 15 | 0.0039387 | 0.00098714 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2939-34_1_3_load_37 | 16 | 0.0020392 | 0.00051108 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2939-34_1_3_load_33 | 17 | 0.0042548 | 0.0010664 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2939-34_1_3_load_27 | 18 | 0.0030938 | 0.00077538 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2939-34_1_3_load_28 | 19 | 0.004135 | 0.0010363 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2939-34_1_3_load_30 | 21 | 0.0018682 | 0.00046821 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2939-34_1_3_load_31 | 22 | 0.0019162 | 0.00048023 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2939-34_1_3_load_32 | 23 | 0.0047278 | 0.0011849 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2939-34_1_3_load_60 | 24 | 0.0021603 | 0.00054141 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2939-34_1_3_load_63 | 25 | 0.0019174 | 0.00048054 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2939-34_1_3_load_69 | 26 | 0.0030739 | 0.0007704 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2939-34_1_3_load_61 | 28 | 0.0077047 | 0.001931 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2939-34_1_3_load_45 | 29 | 0.0029299 | 0.0007343 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2939-34_1_3_load_35 | 30 | 0.0072238 | 0.0018105 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2939-34_1_3_load_40 | 31 | 0.0025357 | 0.00063551 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2939-34_1_3_load_38 | 32 | 0.0020284 | 0.00050838 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2939-34_1_3_load_41 | 33 | 0.003993 | 0.0010008 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2939-34_1_3_load_42 | 34 | 0.0042895 | 0.0010751 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2939-34_1_3_load_43 | 35 | 0.0029343 | 0.00073541 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2939-34_1_3_load_44 | 36 | 0.0025053 | 0.00062789 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2939-34_1_3_load_54 | 37 | 0.0097088 | 0.0024332 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2939-34_1_3_load_68 | 38 | 0.0057651 | 0.0014449 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2939-34_1_3_load_46 | 39 | 0.0067143 | 0.0016828 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2939-34_1_3_load_49 | 42 | 0.0037538 | 0.0009408 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2939-34_1_3_load_51 | 44 | 0.0055635 | 0.0013943 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2939-34_1_3_load_52 | 45 | 0.0031656 | 0.00079337 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2939-34_1_3_load_71 | 46 | 0.002355 | 0.00059021 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2939-34_1_3_load_73 | 47 | 0.0036537 | 0.00091571 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2939-34_1_3_load_62 | 48 | 0.0018592 | 0.00046596 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2939-34_1_3_load_89 | 49 | 0.0043555 | 0.0010916 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2939-34_1_3_load_72 | 50 | 0.0025612 | 0.00064189 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2939-34_1_3_load_87 | 51 | 0.0031163 | 0.00078101 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2939-34_1_3_load_66 | 52 | 0.0016774 | 0.0004204 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2939-34_1_3_load_56 | 53 | 0.0027653 | 0.00069304 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2939-34_1_3_load_58 | 54 | 0.0027643 | 0.00069281 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2939-34_1_3_load_120 | 55 | 0.0034569 | 0.00086639 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2939-34_1_3_load_67 | 56 | 0.0026767 | 0.00067084 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2939-34_1_3_load_65 | 57 | 0.0032128 | 0.00080519 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2939-34_1_3_load_64 | 58 | 0.0034282 | 0.00085918 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2939-34_1_3_load_77 | 59 | 0.0079363 | 0.001989 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2939-34_1_3_load_74 | 60 | 0.003431 | 0.00085988 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2939-34_1_3_load_75 | 61 | 0.0025594 | 0.00064144 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2939-34_1_3_load_78 | 62 | 0.0056237 | 0.0014094 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2939-34_1_3_load_86 | 63 | 0.0018592 | 0.00046596 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2939-34_1_3_load_88 | 64 | 0.0039204 | 0.00098255 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_2939-34_1_3_load_90 | 65 | 0.0028557 | 0.00071572 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_2939-34_1_3_load_100 | 66 | 0.0045212 | 0.0011331 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_2939-34_1_3_load_101 | 67 | 0.0032965 | 0.00082619 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_2939-34_1_3_load_102 | 68 | 0.0027418 | 0.00068715 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_2939-34_1_3_load_103 | 69 | 0.012087 | 0.0030293 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 28 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2939-34_1_3_line_0 |  | 0 | 1 | 0.025082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2939-34_1_3_line_1 |  | 1 | 2 | 0.037042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2939-34_1_3_line_2 |  | 1 | 3 | 0.016745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2939-34_1_3_line_3 |  | 2 | 4 | 0.0034003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2939-34_1_3_line_4 |  | 2 | 5 | 0.0031824 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2939-34_1_3_line_5 |  | 3 | 6 | 0.05649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2939-34_1_3_line_6 |  | 4 | 7 | 0.023255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2939-34_1_3_line_7 |  | 6 | 8 | 0.0039579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2939-34_1_3_line_8 |  | 7 | 59 | 0.013158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2939-34_1_3_line_9 |  | 9 | 10 | 0.015697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2939-34_1_3_line_10 |  | 10 | 11 | 0.007292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2939-34_1_3_line_11 |  | 11 | 12 | 0.02355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2939-34_1_3_line_12 |  | 11 | 13 | 0.050794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2939-34_1_3_line_13 |  | 12 | 16 | 0.001716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2939-34_1_3_line_14 |  | 14 | 15 | 0.0022627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2939-34_1_3_line_15 |  | 15 | 17 | 0.018598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2939-34_1_3_line_16 |  | 16 | 32 | 0.014597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2939-34_1_3_line_17 |  | 17 | 30 | 0.0037397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2939-34_1_3_line_18 |  | 18 | 19 | 0.0033443 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2939-34_1_3_line_19 |  | 18 | 20 | 0.040648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2939-34_1_3_line_20 |  | 19 | 21 | 0.01207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2939-34_1_3_line_21 |  | 20 | 22 | 0.002537 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2939-34_1_3_line_22 |  | 20 | 23 | 0.0021592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2939-34_1_3_line_23 |  | 21 | 24 | 0.0038623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2939-34_1_3_line_24 |  | 22 | 25 | 0.00026374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2939-34_1_3_line_25 |  | 23 | 26 | 0.012813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2939-34_1_3_line_26 |  | 24 | 27 | 0.012315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2939-34_1_3_line_27 |  | 25 | 28 | 0.015162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2939-34_1_3_line_28 |  | 26 | 29 | 0.0015554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2939-34_1_3_line_29 |  | 27 | 31 | 0.0068131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2939-34_1_3_line_30 |  | 27 | 30 | 0.020465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2939-34_1_3_line_31 |  | 28 | 48 | 0.006504 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
32 | LV_2939-34_1_3_line_32 |  | 29 | 35 | 0.0013589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2939-34_1_3_line_33 |  | 31 | 32 | 0.0088936 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2939-34_1_3_line_34 |  | 33 | 34 | 0.0023527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2939-34_1_3_line_35 |  | 33 | 35 | 0.025656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2939-34_1_3_line_36 |  | 34 | 36 | 0.00083853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2939-34_1_3_line_37 |  | 36 | 37 | 0.0010774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2939-34_1_3_line_38 |  | 37 | 38 | 0.025657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2939-34_1_3_line_39 |  | 38 | 52 | 0.00010436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2939-34_1_3_line_40 |  | 39 | 40 | 0.021866 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2939-34_1_3_line_41 |  | 39 | 41 | 0.00054978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2939-34_1_3_line_42 |  | 40 | 42 | 0.015322 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2939-34_1_3_line_43 |  | 40 | 43 | 0.042307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2939-34_1_3_line_44 |  | 41 | 44 | 0.021301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
45 | LV_2939-34_1_3_line_45 |  | 41 | 45 | 0.018114 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2939-34_1_3_line_46 |  | 42 | 46 | 0.018986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2939-34_1_3_line_47 |  | 43 | 47 | 0.079378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2939-34_1_3_line_48 |  | 44 | 48 | 0.0094401 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
49 | LV_2939-34_1_3_line_49 |  | 45 | 49 | 0.019292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2939-34_1_3_line_50 |  | 46 | 50 | 0.017979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_2939-34_1_3_line_51 |  | 49 | 51 | 0.00025509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2939-34_1_3_line_52 |  | 50 | 60 | 0.017036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2939-34_1_3_line_53 |  | 51 | 63 | 0.0077204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2939-34_1_3_line_54 |  | 52 | 58 | 0.0038991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2939-34_1_3_line_55 |  | 53 | 54 | 0.017288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_2939-34_1_3_line_56 |  | 53 | 55 | 0.054654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2939-34_1_3_line_57 |  | 54 | 56 | 0.0018531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_2939-34_1_3_line_58 |  | 56 | 57 | 0.021778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_2939-34_1_3_line_59 |  | 57 | 58 | 0.0006742 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_2939-34_1_3_line_60 |  | 59 | 62 | 0.017879 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_2939-34_1_3_line_61 |  | 60 | 61 | 0.019868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_2939-34_1_3_line_62 |  | 61 | 62 | 0.0073594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_2939-34_1_3_line_63 |  | 63 | 64 | 0.015588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_2939-34_1_3_line_64 |  | 64 | 65 | 0.00025566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_2939-34_1_3_line_65 |  | 65 | 66 | 0.0033274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_2939-34_1_3_line_66 |  | 66 | 67 | 0.00069972 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_2939-34_1_3_line_67 |  | 67 | 68 | 0.0068631 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_2939-34_1_3_line_68 |  | 68 | 69 | 0.0044847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2939-34_1_3_trafo_61 | 0.63 MVA 20/0.4 kV | 70 | 28 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2690699.1452 | 1283997.1425 | 2690699.313 | 1284005.7415 | 2690697.9399 | 1284013.4938 | 2690693.1605 | 1284020.6535
1 | 2690699.1452 | 1283997.1425 | 2690697.5443 | 1283997.2624 | 2690684.0654 | 1283999.4347 | 2690678.8067 | 1284001.1331 | 2690670.7122 | 1284006.6022 | 2690664.1262 | 1284006.7455
2 | 2690699.1452 | 1283997.1425 | 2690715.846 | 1283995.9203
3 | 2690664.1262 | 1284006.7455 | 2690663.9086 | 1284003.3521
4 | 2690664.1262 | 1284006.7455 | 2690664.3939 | 1284009.9166
5 | 2690715.846 | 1283995.9203 | 2690737.9338 | 1283994.3037 | 2690752.4065 | 1283991.4685 | 2690756.1714 | 1283990.737 | 2690771.1926 | 1283985.9677
6 | 2690663.9086 | 1284003.3521 | 2690662.4209 | 1283980.1449
7 | 2690771.1926 | 1283985.9677 | 2690774.9649 | 1283984.77
8 | 2690661.5791 | 1283967.0139 | 2690662.4209 | 1283980.1449
9 | 2690719.7499 | 1283710.7544 | 2690704.1043 | 1283712.0183
10 | 2690719.7499 | 1283710.7544 | 2690720.5241 | 1283718.0059
11 | 2690720.5241 | 1283718.0059 | 2690723.3333 | 1283738.3892 | 2690723.569 | 1283741.3542
12 | 2690720.5241 | 1283718.0059 | 2690771.3166 | 1283717.5654
13 | 2690723.705 | 1283743.0649 | 2690723.569 | 1283741.3542
14 | 2690681.5609 | 1283780.1027 | 2690683.7974 | 1283779.7598
15 | 2690683.7974 | 1283779.7598 | 2690702.1811 | 1283776.9414
16 | 2690723.705 | 1283743.0649 | 2690724.8619 | 1283757.6161
17 | 2690705.8776 | 1283776.3747 | 2690702.1811 | 1283776.9414
18 | 2690728.3336 | 1283801.3598 | 2690728.4579 | 1283804.7018
19 | 2690729.8015 | 1283845.3264 | 2690729.6858 | 1283837.7291 | 2690728.4579 | 1283804.7018
20 | 2690728.3336 | 1283801.3598 | 2690727.8852 | 1283789.2983
21 | 2690729.8015 | 1283845.3264 | 2690727.2805 | 1283845.6112
22 | 2690729.8015 | 1283845.3264 | 2690731.9528 | 1283845.1432
23 | 2690727.7417 | 1283785.4387 | 2690727.8852 | 1283789.2983
24 | 2690727.0184 | 1283845.6408 | 2690727.2805 | 1283845.6112
25 | 2690731.9528 | 1283845.1432 | 2690744.7199 | 1283844.0562
26 | 2690726.1067 | 1283773.2734 | 2690727.552 | 1283780.3351 | 2690727.7417 | 1283785.4387
27 | 2690711.952 | 1283847.3365 | 2690713.6022 | 1283847.1564 | 2690727.0184 | 1283845.6408
28 | 2690746.2697 | 1283843.9243 | 2690744.7199 | 1283844.0562
29 | 2690726.1067 | 1283773.2734 | 2690725.5667 | 1283766.4817
30 | 2690726.1067 | 1283773.2734 | 2690705.8776 | 1283776.3747
31 | 2690711.952 | 1283847.3365 | 2690705.4864 | 1283848.0419
32 | 2690746.2697 | 1283843.9243 | 2690747.6237 | 1283843.809
33 | 2690725.5667 | 1283766.4817 | 2690724.8619 | 1283757.6161
34 | 2690775.532 | 1283841.4357 | 2690773.1877 | 1283841.6348
35 | 2690747.6237 | 1283843.809 | 2690761.7651 | 1283842.605 | 2690773.1877 | 1283841.6348
36 | 2690776.3675 | 1283841.3647 | 2690775.532 | 1283841.4357
37 | 2690777.441 | 1283841.2735 | 2690776.3675 | 1283841.3647
38 | 2690777.441 | 1283841.2735 | 2690789.2483 | 1283840.2707 | 2690802.9802 | 1283838.8303
39 | 2690803.084 | 1283838.8194 | 2690802.9802 | 1283838.8303
40 | 2690652.5674 | 1283852.9669 | 2690674.3781 | 1283851.4151
41 | 2690674.9265 | 1283851.3761 | 2690674.3781 | 1283851.4151
42 | 2690652.5674 | 1283852.9669 | 2690653.3085 | 1283868.271
43 | 2690610.3795 | 1283856.1321 | 2690620.2259 | 1283855.3717 | 2690652.5674 | 1283852.9669
44 | 2690674.9265 | 1283851.3761 | 2690696.102 | 1283849.0658
45 | 2690674.9265 | 1283851.3761 | 2690675.8864 | 1283869.4647
46 | 2690653.3085 | 1283868.271 | 2690653.5073 | 1283872.3761 | 2690654.998 | 1283887.1773
47 | 2690610.3795 | 1283856.1321 | 2690609.9907 | 1283876.0323 | 2690608.2392 | 1283935.4806
48 | 2690705.4864 | 1283848.0419 | 2690696.102 | 1283849.0658
49 | 2690675.8864 | 1283869.4647 | 2690676.7362 | 1283885.4781 | 2690677.1304 | 1283888.7103
50 | 2690656.7997 | 1283905.0658 | 2690654.998 | 1283887.1773
51 | 2690677.1613 | 1283888.9636 | 2690677.1304 | 1283888.7103
52 | 2690656.7997 | 1283905.0658 | 2690658.5068 | 1283922.0161
53 | 2690678.096 | 1283896.6272 | 2690677.1613 | 1283888.9636
54 | 2690806.9618 | 1283838.4127 | 2690803.084 | 1283838.8194
55 | 2690848.4876 | 1283836.7686 | 2690831.2017 | 1283837.0112
56 | 2690848.4876 | 1283836.7686 | 2690845.8121 | 1283782.1804
57 | 2690829.3489 | 1283837.0372 | 2690831.2017 | 1283837.0112
58 | 2690829.3489 | 1283837.0372 | 2690818.6425 | 1283837.1875 | 2690807.6323 | 1283838.3423
59 | 2690807.6323 | 1283838.3423 | 2690806.9618 | 1283838.4127
60 | 2690661.5791 | 1283967.0139 | 2690660.4353 | 1283949.1719
61 | 2690659.9645 | 1283941.8275 | 2690659.023 | 1283927.142 | 2690658.5068 | 1283922.0161
62 | 2690659.9645 | 1283941.8275 | 2690660.4353 | 1283949.1719
63 | 2690678.096 | 1283896.6272 | 2690679.9832 | 1283912.1006
64 | 2690680.0142 | 1283912.3543 | 2690679.9832 | 1283912.1006
65 | 2690680.0142 | 1283912.3543 | 2690680.417 | 1283915.6572
66 | 2690680.5017 | 1283916.3518 | 2690680.417 | 1283915.6572
67 | 2690680.5017 | 1283916.3518 | 2690681.3326 | 1283923.1645
68 | 2690681.8756 | 1283927.6162 | 2690681.3326 | 1283923.1645

## bus_geodata
| x | y | coords
0 | 2690693.1605 | 1284020.6535
1 | 2690699.1452 | 1283997.1425
2 | 2690664.1262 | 1284006.7455
3 | 2690715.846 | 1283995.9203
4 | 2690663.9086 | 1284003.3521
5 | 2690664.3939 | 1284009.9166
6 | 2690771.1926 | 1283985.9677
7 | 2690662.4209 | 1283980.1449
8 | 2690774.9649 | 1283984.77
9 | 2690704.1043 | 1283712.0183
10 | 2690719.7499 | 1283710.7544
11 | 2690720.5241 | 1283718.0059
12 | 2690723.569 | 1283741.3542
13 | 2690771.3166 | 1283717.5654
14 | 2690681.5609 | 1283780.1027
15 | 2690683.7975 | 1283779.7598
16 | 2690723.705 | 1283743.0649
17 | 2690702.1811 | 1283776.9414
18 | 2690728.4579 | 1283804.7018
19 | 2690728.3336 | 1283801.3598
20 | 2690729.8015 | 1283845.3264
21 | 2690727.8852 | 1283789.2983
22 | 2690727.2805 | 1283845.6112
23 | 2690731.9528 | 1283845.1432
24 | 2690727.7417 | 1283785.4387
25 | 2690727.0184 | 1283845.6408
26 | 2690744.7199 | 1283844.0562
27 | 2690726.1067 | 1283773.2734
28 | 2690711.952 | 1283847.3365
29 | 2690746.2697 | 1283843.9243
30 | 2690705.8776 | 1283776.3747
31 | 2690725.5667 | 1283766.4817
32 | 2690724.8619 | 1283757.6161
33 | 2690773.1877 | 1283841.6348
34 | 2690775.532 | 1283841.4357
35 | 2690747.6237 | 1283843.809
36 | 2690776.3675 | 1283841.3647
37 | 2690777.441 | 1283841.2735
38 | 2690802.9802 | 1283838.8303
39 | 2690674.3781 | 1283851.4151
40 | 2690652.5674 | 1283852.9669
41 | 2690674.9265 | 1283851.3761
42 | 2690653.3085 | 1283868.271
43 | 2690610.3795 | 1283856.1321
44 | 2690696.102 | 1283849.0658
45 | 2690675.8864 | 1283869.4647
46 | 2690654.998 | 1283887.1773
47 | 2690608.2392 | 1283935.4806
48 | 2690705.4864 | 1283848.0419
49 | 2690677.1304 | 1283888.7103
50 | 2690656.7997 | 1283905.0658
51 | 2690677.1613 | 1283888.9636
52 | 2690803.084 | 1283838.8194
53 | 2690848.4876 | 1283836.7686
54 | 2690831.2017 | 1283837.0112
55 | 2690845.8121 | 1283782.1804
56 | 2690829.3489 | 1283837.0372
57 | 2690807.6323 | 1283838.3423
58 | 2690806.9618 | 1283838.4127
59 | 2690661.5791 | 1283967.0139
60 | 2690658.5068 | 1283922.0161
61 | 2690659.9645 | 1283941.8275
62 | 2690660.4353 | 1283949.1719
63 | 2690678.096 | 1283896.6272
64 | 2690679.9832 | 1283912.1006
65 | 2690680.0142 | 1283912.3543
66 | 2690680.417 | 1283915.6572
67 | 2690680.5017 | 1283916.3518
68 | 2690681.3326 | 1283923.1645
69 | 2690681.8756 | 1283927.6162
70 | 2690729.8015 | 1283845.3264

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1