## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2939-35_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2939-35_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2939-35_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2939-35_0_4_node_157 | 0.4 | n |  | TRUE
4 | bus_LV_2939-35_0_4_node_163 | 0.4 | n |  | TRUE
5 | bus_LV_2939-35_0_4_node_155 | 0.4 | n |  | TRUE
6 | bus_LV_2939-35_0_4_node_150 | 0.4 | n |  | TRUE
7 | bus_LV_2939-35_0_4_node_151 | 0.4 | n |  | TRUE
8 | bus_LV_2939-35_0_4_node_166 | 0.4 | n |  | TRUE
9 | bus_LV_2939-35_0_4_node_152 | 0.4 | n |  | TRUE
10 | bus_LV_2939-35_0_4_node_3 | 0.4 | n |  | TRUE
11 | bus_LV_2939-35_0_4_node_149 | 0.4 | n |  | TRUE
12 | bus_LV_2939-35_0_4_node_69 | 0.4 | n |  | TRUE
13 | bus_LV_2939-35_0_4_node_67 | 0.4 | n |  | TRUE
14 | bus_LV_2939-35_0_4_node_4 | 0.4 | n |  | TRUE
15 | bus_LV_2939-35_0_4_node_6 | 0.4 | n |  | TRUE
16 | bus_LV_2939-35_0_4_node_7 | 0.4 | n |  | TRUE
17 | bus_LV_2939-35_0_4_node_15 | 0.4 | n |  | TRUE
18 | bus_LV_2939-35_0_4_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_2939-35_0_4_node_13 | 0.4 | n |  | TRUE
20 | bus_LV_2939-35_0_4_node_8 | 0.4 | n |  | TRUE
21 | bus_LV_2939-35_0_4_node_9 | 0.4 | n |  | TRUE
22 | bus_LV_2939-35_0_4_node_10 | 0.4 | n |  | TRUE
23 | bus_LV_2939-35_0_4_node_11 | 0.4 | n |  | TRUE
24 | bus_LV_2939-35_0_4_node_14 | 0.4 | n |  | TRUE
25 | bus_LV_2939-35_0_4_node_16 | 0.4 | n |  | TRUE
26 | bus_LV_2939-35_0_4_node_18 | 0.4 | n |  | TRUE
27 | bus_LV_2939-35_0_4_node_19 | 0.4 | n |  | TRUE
28 | bus_LV_2939-35_0_4_node_34 | 0.4 | n |  | TRUE
29 | bus_LV_2939-35_0_4_node_35 | 0.4 | n |  | TRUE
30 | bus_LV_2939-35_0_4_node_20 | 0.4 | n |  | TRUE
31 | bus_LV_2939-35_0_4_node_21 | 0.4 | n |  | TRUE
32 | bus_LV_2939-35_0_4_node_22 | 0.4 | n |  | TRUE
33 | bus_LV_2939-35_0_4_node_23 | 0.4 | n |  | TRUE
34 | bus_LV_2939-35_0_4_node_24 | 0.4 | n |  | TRUE
35 | bus_LV_2939-35_0_4_node_25 | 0.4 | n |  | TRUE
36 | bus_LV_2939-35_0_4_node_39 | 0.4 | n |  | TRUE
37 | bus_LV_2939-35_0_4_node_26 | 0.4 | n |  | TRUE
38 | bus_LV_2939-35_0_4_node_159 | 0.4 | n |  | TRUE
39 | bus_LV_2939-35_0_4_node_46 | 0.4 | n |  | TRUE
40 | bus_LV_2939-35_0_4_node_27 | 0.4 | n |  | TRUE
41 | bus_LV_2939-35_0_4_node_160 | 0.4 | n |  | TRUE
42 | bus_LV_2939-35_0_4_node_28 | 0.4 | n |  | TRUE
43 | bus_LV_2939-35_0_4_node_29 | 0.4 | n |  | TRUE
44 | bus_LV_2939-35_0_4_node_30 | 0.4 | n |  | TRUE
45 | bus_LV_2939-35_0_4_node_158 | 0.4 | n |  | TRUE
46 | bus_LV_2939-35_0_4_node_31 | 0.4 | n |  | TRUE
47 | bus_LV_2939-35_0_4_node_32 | 0.4 | n |  | TRUE
48 | bus_LV_2939-35_0_4_node_33 | 0.4 | n |  | TRUE
49 | bus_LV_2939-35_0_4_node_36 | 0.4 | n |  | TRUE
50 | bus_LV_2939-35_0_4_node_37 | 0.4 | n |  | TRUE
51 | bus_LV_2939-35_0_4_node_40 | 0.4 | n |  | TRUE
52 | bus_LV_2939-35_0_4_node_41 | 0.4 | n |  | TRUE
53 | bus_LV_2939-35_0_4_node_38 | 0.4 | n |  | TRUE
54 | bus_LV_2939-35_0_4_node_51 | 0.4 | n |  | TRUE
55 | bus_LV_2939-35_0_4_node_50 | 0.4 | n |  | TRUE
56 | bus_LV_2939-35_0_4_node_55 | 0.4 | n |  | TRUE
57 | bus_LV_2939-35_0_4_node_52 | 0.4 | n |  | TRUE
58 | bus_LV_2939-35_0_4_node_47 | 0.4 | n |  | TRUE
59 | bus_LV_2939-35_0_4_node_42 | 0.4 | n |  | TRUE
60 | bus_LV_2939-35_0_4_node_43 | 0.4 | n |  | TRUE
61 | bus_LV_2939-35_0_4_node_44 | 0.4 | n |  | TRUE
62 | bus_LV_2939-35_0_4_node_45 | 0.4 | n |  | TRUE
63 | bus_LV_2939-35_0_4_node_48 | 0.4 | n |  | TRUE
64 | bus_LV_2939-35_0_4_node_49 | 0.4 | n |  | TRUE
65 | bus_LV_2939-35_0_4_node_56 | 0.4 | n |  | TRUE
66 | bus_LV_2939-35_0_4_node_57 | 0.4 | n |  | TRUE
67 | bus_LV_2939-35_0_4_node_62 | 0.4 | n |  | TRUE
68 | bus_LV_2939-35_0_4_node_53 | 0.4 | n |  | TRUE
69 | bus_LV_2939-35_0_4_node_54 | 0.4 | n |  | TRUE
70 | bus_LV_2939-35_0_4_node_63 | 0.4 | n |  | TRUE
71 | bus_LV_2939-35_0_4_node_61 | 0.4 | n |  | TRUE
72 | bus_LV_2939-35_0_4_node_65 | 0.4 | n |  | TRUE
73 | bus_LV_2939-35_0_4_node_59 | 0.4 | n |  | TRUE
74 | bus_LV_2939-35_0_4_node_58 | 0.4 | n |  | TRUE
75 | bus_LV_2939-35_0_4_node_60 | 0.4 | n |  | TRUE
76 | bus_LV_2939-35_0_4_node_70 | 0.4 | n |  | TRUE
77 | bus_LV_2939-35_0_4_node_64 | 0.4 | n |  | TRUE
78 | bus_LV_2939-35_0_4_node_72 | 0.4 | n |  | TRUE
79 | bus_LV_2939-35_0_4_node_73 | 0.4 | n |  | TRUE
80 | bus_LV_2939-35_0_4_node_68 | 0.4 | n |  | TRUE
81 | bus_LV_2939-35_0_4_node_66 | 0.4 | n |  | TRUE
82 | bus_LV_2939-35_0_4_node_71 | 0.4 | n |  | TRUE
83 | bus_LV_2939-35_0_4_node_80 | 0.4 | n |  | TRUE
84 | bus_LV_2939-35_0_4_node_82 | 0.4 | n |  | TRUE
85 | bus_LV_2939-35_0_4_node_79 | 0.4 | n |  | TRUE
86 | bus_LV_2939-35_0_4_node_74 | 0.4 | n |  | TRUE
87 | bus_LV_2939-35_0_4_node_75 | 0.4 | n |  | TRUE
88 | bus_LV_2939-35_0_4_node_76 | 0.4 | n |  | TRUE
89 | bus_LV_2939-35_0_4_node_77 | 0.4 | n |  | TRUE
90 | bus_LV_2939-35_0_4_node_78 | 0.4 | n |  | TRUE
91 | bus_LV_2939-35_0_4_node_90 | 0.4 | n |  | TRUE
92 | bus_LV_2939-35_0_4_node_96 | 0.4 | n |  | TRUE
93 | bus_LV_2939-35_0_4_node_93 | 0.4 | n |  | TRUE
94 | bus_LV_2939-35_0_4_node_81 | 0.4 | n |  | TRUE
95 | bus_LV_2939-35_0_4_node_85 | 0.4 | n |  | TRUE
96 | bus_LV_2939-35_0_4_node_83 | 0.4 | n |  | TRUE
97 | bus_LV_2939-35_0_4_node_84 | 0.4 | n |  | TRUE
98 | bus_LV_2939-35_0_4_node_86 | 0.4 | n |  | TRUE
99 | bus_LV_2939-35_0_4_node_87 | 0.4 | n |  | TRUE
100 | bus_LV_2939-35_0_4_node_88 | 0.4 | n |  | TRUE
101 | bus_LV_2939-35_0_4_node_89 | 0.4 | n |  | TRUE
102 | bus_LV_2939-35_0_4_node_97 | 0.4 | n |  | TRUE
103 | bus_LV_2939-35_0_4_node_95 | 0.4 | n |  | TRUE
104 | bus_LV_2939-35_0_4_node_91 | 0.4 | n |  | TRUE
105 | bus_LV_2939-35_0_4_node_92 | 0.4 | n |  | TRUE
106 | bus_LV_2939-35_0_4_node_94 | 0.4 | n |  | TRUE
107 | bus_LV_2939-35_0_4_node_109 | 0.4 | n |  | TRUE
108 | bus_LV_2939-35_0_4_node_156 | 0.4 | n |  | TRUE
109 | bus_LV_2939-35_0_4_node_108 | 0.4 | n |  | TRUE
110 | bus_LV_2939-35_0_4_node_98 | 0.4 | n |  | TRUE
111 | bus_LV_2939-35_0_4_node_99 | 0.4 | n |  | TRUE
112 | bus_LV_2939-35_0_4_node_113 | 0.4 | n |  | TRUE
113 | bus_LV_2939-35_0_4_node_100 | 0.4 | n |  | TRUE
114 | bus_LV_2939-35_0_4_node_101 | 0.4 | n |  | TRUE
115 | bus_LV_2939-35_0_4_node_111 | 0.4 | n |  | TRUE
116 | bus_LV_2939-35_0_4_node_102 | 0.4 | n |  | TRUE
117 | bus_LV_2939-35_0_4_node_103 | 0.4 | n |  | TRUE
118 | bus_LV_2939-35_0_4_node_104 | 0.4 | n |  | TRUE
119 | bus_LV_2939-35_0_4_node_105 | 0.4 | n |  | TRUE
120 | bus_LV_2939-35_0_4_node_127 | 0.4 | n |  | TRUE
121 | bus_LV_2939-35_0_4_node_125 | 0.4 | n |  | TRUE
122 | bus_LV_2939-35_0_4_node_106 | 0.4 | n |  | TRUE
123 | bus_LV_2939-35_0_4_node_107 | 0.4 | n |  | TRUE
124 | bus_LV_2939-35_0_4_node_110 | 0.4 | n |  | TRUE
125 | bus_LV_2939-35_0_4_node_138 | 0.4 | n |  | TRUE
126 | bus_LV_2939-35_0_4_node_153 | 0.4 | n |  | TRUE
127 | bus_LV_2939-35_0_4_node_137 | 0.4 | n |  | TRUE
128 | bus_LV_2939-35_0_4_node_112 | 0.4 | n |  | TRUE
129 | bus_LV_2939-35_0_4_node_114 | 0.4 | n |  | TRUE
130 | bus_LV_2939-35_0_4_node_115 | 0.4 | n |  | TRUE
131 | bus_LV_2939-35_0_4_node_116 | 0.4 | n |  | TRUE
132 | bus_LV_2939-35_0_4_node_117 | 0.4 | n |  | TRUE
133 | bus_LV_2939-35_0_4_node_118 | 0.4 | n |  | TRUE
134 | bus_LV_2939-35_0_4_node_133 | 0.4 | n |  | TRUE
135 | bus_LV_2939-35_0_4_node_134 | 0.4 | n |  | TRUE
136 | bus_LV_2939-35_0_4_node_119 | 0.4 | n |  | TRUE
137 | bus_LV_2939-35_0_4_node_120 | 0.4 | n |  | TRUE
138 | bus_LV_2939-35_0_4_node_121 | 0.4 | n |  | TRUE
139 | bus_LV_2939-35_0_4_node_122 | 0.4 | n |  | TRUE
140 | bus_LV_2939-35_0_4_node_123 | 0.4 | n |  | TRUE
141 | bus_LV_2939-35_0_4_node_124 | 0.4 | n |  | TRUE
142 | bus_LV_2939-35_0_4_node_126 | 0.4 | n |  | TRUE
143 | bus_LV_2939-35_0_4_node_128 | 0.4 | n |  | TRUE
144 | bus_LV_2939-35_0_4_node_139 | 0.4 | n |  | TRUE
145 | bus_LV_2939-35_0_4_node_129 | 0.4 | n |  | TRUE
146 | bus_LV_2939-35_0_4_node_140 | 0.4 | n |  | TRUE
147 | bus_LV_2939-35_0_4_node_130 | 0.4 | n |  | TRUE
148 | bus_LV_2939-35_0_4_node_131 | 0.4 | n |  | TRUE
149 | bus_LV_2939-35_0_4_node_132 | 0.4 | n |  | TRUE
150 | bus_LV_2939-35_0_4_node_135 | 0.4 | n |  | TRUE
151 | bus_LV_2939-35_0_4_node_161 | 0.4 | n |  | TRUE
152 | bus_LV_2939-35_0_4_node_136 | 0.4 | n |  | TRUE
153 | bus_LV_2939-35_0_4_node_162 | 0.4 | n |  | TRUE
154 | bus_LV_2939-35_0_4_node_141 | 0.4 | n |  | TRUE
155 | bus_LV_2939-35_0_4_node_142 | 0.4 | n |  | TRUE
156 | bus_LV_2939-35_0_4_node_143 | 0.4 | n |  | TRUE
157 | bus_LV_2939-35_0_4_node_144 | 0.4 | n |  | TRUE
158 | bus_LV_2939-35_0_4_node_145 | 0.4 | n |  | TRUE
159 | bus_LV_2939-35_0_4_node_146 | 0.4 | n |  | TRUE
160 | bus_LV_2939-35_0_4_node_164 | 0.4 | n |  | TRUE
161 | bus_MV_400_1_node_214 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2939-35_0_4_load_0 | 0 | 0.0028302 | 0.00070932 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2939-35_0_4_load_1 | 1 | 0.00024927 | 6.2472e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2939-35_0_4_load_163 | 4 | 0.00046704 | 0.00011705 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2939-35_0_4_load_155 | 5 | 0.00059868 | 0.00015004 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2939-35_0_4_load_150 | 6 | 0.0010551 | 0.00026442 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2939-35_0_4_load_166 | 8 | 0.0010571 | 0.00026494 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2939-35_0_4_load_3 | 10 | 0.002355 | 0.00059021 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2939-35_0_4_load_149 | 11 | 0.0010455 | 0.00026203 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2939-35_0_4_load_69 | 12 | 0.0033328 | 0.00083529 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2939-35_0_4_load_67 | 13 | 0.0016587 | 0.00041571 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2939-35_0_4_load_4 | 14 | 0.00060536 | 0.00015172 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2939-35_0_4_load_6 | 15 | 0.0040177 | 0.0010069 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2939-35_0_4_load_13 | 19 | 0.00023061 | 5.7797e-05 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2939-35_0_4_load_9 | 21 | 0.0004466 | 0.00011193 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2939-35_0_4_load_11 | 23 | 0.00082207 | 0.00020603 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2939-35_0_4_load_14 | 24 | 0.00040332 | 0.00010108 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2939-35_0_4_load_16 | 25 | 0.001628 | 0.00040801 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2939-35_0_4_load_18 | 26 | 0.00093337 | 0.00023392 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2939-35_0_4_load_19 | 27 | 0.0020531 | 0.00051457 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2939-35_0_4_load_34 | 28 | 0.0012686 | 0.00031795 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2939-35_0_4_load_35 | 29 | 0.00093865 | 0.00023525 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2939-35_0_4_load_20 | 30 | 0.00026254 | 6.5798e-05 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2939-35_0_4_load_21 | 31 | 0.0013831 | 0.00034663 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2939-35_0_4_load_23 | 33 | 0.0017126 | 0.00042923 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2939-35_0_4_load_24 | 34 | 0.00028822 | 7.2234e-05 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2939-35_0_4_load_25 | 35 | 0.00026451 | 6.6292e-05 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2939-35_0_4_load_39 | 36 | 0.0021024 | 0.0005269 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2939-35_0_4_load_26 | 37 | 0.0013821 | 0.00034638 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2939-35_0_4_load_159 | 38 | 0.00029567 | 7.4102e-05 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2939-35_0_4_load_46 | 39 | 0.0012287 | 0.00030794 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2939-35_0_4_load_27 | 40 | 0.00017003 | 4.2613e-05 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2939-35_0_4_load_160 | 41 | 0.00014593 | 3.6573e-05 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2939-35_0_4_load_28 | 42 | 0.0003668 | 9.193e-05 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2939-35_0_4_load_29 | 43 | 0.0001674 | 4.1954e-05 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2939-35_0_4_load_30 | 44 | 0.00061189 | 0.00015335 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2939-35_0_4_load_158 | 45 | 0.0002307 | 5.782e-05 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2939-35_0_4_load_31 | 46 | 0.00055011 | 0.00013787 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2939-35_0_4_load_32 | 47 | 0.0003326 | 8.3358e-05 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2939-35_0_4_load_33 | 48 | 0.0015092 | 0.00037824 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2939-35_0_4_load_36 | 49 | 0.0014835 | 0.0003718 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2939-35_0_4_load_37 | 50 | 0.0010955 | 0.00027455 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2939-35_0_4_load_40 | 51 | 0.0010177 | 0.00025506 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2939-35_0_4_load_41 | 52 | 0.0014044 | 0.00035198 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2939-35_0_4_load_50 | 55 | 0.0012582 | 0.00031534 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2939-35_0_4_load_55 | 56 | 0.0018924 | 0.00047429 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2939-35_0_4_load_52 | 57 | 0.0018752 | 0.00046998 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2939-35_0_4_load_42 | 59 | 0.0028225 | 0.00070738 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2939-35_0_4_load_44 | 61 | 0.00093078 | 0.00023327 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2939-35_0_4_load_45 | 62 | 0.0019737 | 0.00049466 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2939-35_0_4_load_48 | 63 | 0.0014002 | 0.00035092 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2939-35_0_4_load_49 | 64 | 0.0014631 | 0.00036668 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2939-35_0_4_load_56 | 65 | 0.0011246 | 0.00028186 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2939-35_0_4_load_57 | 66 | 0.0011623 | 0.0002913 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2939-35_0_4_load_62 | 67 | 0.0011605 | 0.00029085 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2939-35_0_4_load_53 | 68 | 0.0013464 | 0.00033744 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2939-35_0_4_load_54 | 69 | 0.0019426 | 0.00048686 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_2939-35_0_4_load_63 | 70 | 0.0018666 | 0.0004678 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_2939-35_0_4_load_65 | 72 | 0.0014127 | 0.00035406 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_2939-35_0_4_load_59 | 73 | 0.0020416 | 0.00051166 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_2939-35_0_4_load_58 | 74 | 0.0020758 | 0.00052024 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_2939-35_0_4_load_60 | 75 | 0.0048407 | 0.0012132 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_2939-35_0_4_load_70 | 76 | 0.00080107 | 0.00020077 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_2939-35_0_4_load_64 | 77 | 0.0058915 | 0.0014765 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_2939-35_0_4_load_72 | 78 | 0.0011745 | 0.00029436 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_2939-35_0_4_load_73 | 79 | 0.0029972 | 0.00075116 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_2939-35_0_4_load_66 | 81 | 0.0012155 | 0.00030463 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_2939-35_0_4_load_71 | 82 | 0.0014022 | 0.00035143 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_2939-35_0_4_load_82 | 84 | 0.0022189 | 0.00055611 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_2939-35_0_4_load_79 | 85 | 0.0015033 | 0.00037677 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_2939-35_0_4_load_74 | 86 | 0.0015668 | 0.00039267 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_2939-35_0_4_load_75 | 87 | 0.001138 | 0.00028522 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_2939-35_0_4_load_76 | 88 | 0.0017109 | 0.0004288 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_2939-35_0_4_load_77 | 89 | 0.00089334 | 0.00022389 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_2939-35_0_4_load_78 | 90 | 0.003107 | 0.00077869 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_2939-35_0_4_load_96 | 92 | 0.0014003 | 0.00035094 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_2939-35_0_4_load_81 | 94 | 0.00064111 | 0.00016068 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_2939-35_0_4_load_85 | 95 | 0.001085 | 0.00027193 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_2939-35_0_4_load_83 | 96 | 0.00076064 | 0.00019063 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_2939-35_0_4_load_84 | 97 | 0.00096203 | 0.00024111 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_2939-35_0_4_load_86 | 98 | 0.0011655 | 0.0002921 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_2939-35_0_4_load_87 | 99 | 0.0009906 | 0.00024827 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_2939-35_0_4_load_88 | 100 | 0.00039686 | 9.9462e-05 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_2939-35_0_4_load_89 | 101 | 0.00077775 | 0.00019492 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_2939-35_0_4_load_95 | 103 | 0.0030901 | 0.00077445 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_2939-35_0_4_load_91 | 104 | 0.00093291 | 0.00023381 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_2939-35_0_4_load_92 | 105 | 0.00089305 | 0.00022382 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_2939-35_0_4_load_156 | 108 | 0.0011906 | 0.00029839 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_2939-35_0_4_load_108 | 109 | 0.00065478 | 0.0001641 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_2939-35_0_4_load_99 | 111 | 0.0010971 | 0.00027497 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_2939-35_0_4_load_113 | 112 | 0.001838 | 0.00046065 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_2939-35_0_4_load_101 | 114 | 0.0008182 | 0.00020506 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_2939-35_0_4_load_111 | 115 | 0.000518 | 0.00012982 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_2939-35_0_4_load_102 | 116 | 0.00076272 | 0.00019116 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_2939-35_0_4_load_103 | 117 | 0.00037205 | 9.3244e-05 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_2939-35_0_4_load_104 | 118 | 0.00084534 | 0.00021186 | 0 | 0 |  | 1 | TRUE | wye
95 | LV_2939-35_0_4_load_105 | 119 | 0.001725 | 0.00043233 | 0 | 0 |  | 1 | TRUE | wye
96 | LV_2939-35_0_4_load_127 | 120 | 0.0063311 | 0.0015867 | 0 | 0 |  | 1 | TRUE | wye
97 | LV_2939-35_0_4_load_125 | 121 | 0.0053174 | 0.0013327 | 0 | 0 |  | 1 | TRUE | wye
98 | LV_2939-35_0_4_load_106 | 122 | 0.00043665 | 0.00010944 | 0 | 0 |  | 1 | TRUE | wye
99 | LV_2939-35_0_4_load_110 | 124 | 0.0019514 | 0.00048907 | 0 | 0 |  | 1 | TRUE | wye
100 | LV_2939-35_0_4_load_138 | 125 | 0.0004863 | 0.00012188 | 0 | 0 |  | 1 | TRUE | wye
101 | LV_2939-35_0_4_load_153 | 126 | 0.0025012 | 0.00062685 | 0 | 0 |  | 1 | TRUE | wye
102 | LV_2939-35_0_4_load_137 | 127 | 0.0003599 | 9.0199e-05 | 0 | 0 |  | 1 | TRUE | wye
103 | LV_2939-35_0_4_load_112 | 128 | 0.00027443 | 6.878e-05 | 0 | 0 |  | 1 | TRUE | wye
104 | LV_2939-35_0_4_load_114 | 129 | 0.00079794 | 0.00019998 | 0 | 0 |  | 1 | TRUE | wye
105 | LV_2939-35_0_4_load_115 | 130 | 0.00056817 | 0.0001424 | 0 | 0 |  | 1 | TRUE | wye
106 | LV_2939-35_0_4_load_116 | 131 | 0.0016233 | 0.00040684 | 0 | 0 |  | 1 | TRUE | wye
107 | LV_2939-35_0_4_load_117 | 132 | 0.00052154 | 0.00013071 | 0 | 0 |  | 1 | TRUE | wye
108 | LV_2939-35_0_4_load_118 | 133 | 0.00053124 | 0.00013314 | 0 | 0 |  | 1 | TRUE | wye
109 | LV_2939-35_0_4_load_133 | 134 | 0.00049358 | 0.0001237 | 0 | 0 |  | 1 | TRUE | wye
110 | LV_2939-35_0_4_load_134 | 135 | 0.0002967 | 7.4359e-05 | 0 | 0 |  | 1 | TRUE | wye
111 | LV_2939-35_0_4_load_119 | 136 | 0.0022371 | 0.00056066 | 0 | 0 |  | 1 | TRUE | wye
112 | LV_2939-35_0_4_load_120 | 137 | 0.0014352 | 0.00035971 | 0 | 0 |  | 1 | TRUE | wye
113 | LV_2939-35_0_4_load_121 | 138 | 0.00078159 | 0.00019589 | 0 | 0 |  | 1 | TRUE | wye
114 | LV_2939-35_0_4_load_122 | 139 | 0.0036385 | 0.0009119 | 0 | 0 |  | 1 | TRUE | wye
115 | LV_2939-35_0_4_load_124 | 141 | 0.00037418 | 9.3777e-05 | 0 | 0 |  | 1 | TRUE | wye
116 | LV_2939-35_0_4_load_126 | 142 | 0.0023783 | 0.00059606 | 0 | 0 |  | 1 | TRUE | wye
117 | LV_2939-35_0_4_load_128 | 143 | 0.0018191 | 0.00045591 | 0 | 0 |  | 1 | TRUE | wye
118 | LV_2939-35_0_4_load_139 | 144 | 0.0014224 | 0.00035648 | 0 | 0 |  | 1 | TRUE | wye
119 | LV_2939-35_0_4_load_129 | 145 | 0.0014821 | 0.00037144 | 0 | 0 |  | 1 | TRUE | wye
120 | LV_2939-35_0_4_load_140 | 146 | 0.0026318 | 0.00065958 | 0 | 0 |  | 1 | TRUE | wye
121 | LV_2939-35_0_4_load_130 | 147 | 0.00055832 | 0.00013993 | 0 | 0 |  | 1 | TRUE | wye
122 | LV_2939-35_0_4_load_131 | 148 | 0.00038456 | 9.6379e-05 | 0 | 0 |  | 1 | TRUE | wye
123 | LV_2939-35_0_4_load_132 | 149 | 0.00047409 | 0.00011882 | 0 | 0 |  | 1 | TRUE | wye
124 | LV_2939-35_0_4_load_135 | 150 | 0.00055095 | 0.00013808 | 0 | 0 |  | 1 | TRUE | wye
125 | LV_2939-35_0_4_load_161 | 151 | 0.00024342 | 6.1007e-05 | 0 | 0 |  | 1 | TRUE | wye
126 | LV_2939-35_0_4_load_136 | 152 | 0.00057496 | 0.0001441 | 0 | 0 |  | 1 | TRUE | wye
127 | LV_2939-35_0_4_load_162 | 153 | 0.0002835 | 7.1051e-05 | 0 | 0 |  | 1 | TRUE | wye
128 | LV_2939-35_0_4_load_141 | 154 | 0.0025319 | 0.00063454 | 0 | 0 |  | 1 | TRUE | wye
129 | LV_2939-35_0_4_load_142 | 155 | 0.0023653 | 0.00059279 | 0 | 0 |  | 1 | TRUE | wye
130 | LV_2939-35_0_4_load_143 | 156 | 0.00094685 | 0.0002373 | 0 | 0 |  | 1 | TRUE | wye
131 | LV_2939-35_0_4_load_144 | 157 | 0.00055301 | 0.0001386 | 0 | 0 |  | 1 | TRUE | wye
132 | LV_2939-35_0_4_load_145 | 158 | 0.0020937 | 0.00052472 | 0 | 0 |  | 1 | TRUE | wye
133 | LV_2939-35_0_4_load_146 | 159 | 0.0017999 | 0.00045109 | 0 | 0 |  | 1 | TRUE | wye
134 | LV_2939-35_0_4_load_164 | 160 | 0.00076195 | 0.00019096 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 80 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2939-35_0_4_line_0 |  | 0 | 1 | 0.080264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2939-35_0_4_line_1 |  | 1 | 2 | 0.096812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2939-35_0_4_line_2 |  | 2 | 3 | 0.014163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2939-35_0_4_line_3 |  | 3 | 4 | 0.18063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2939-35_0_4_line_4 |  | 3 | 5 | 0.14816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2939-35_0_4_line_5 |  | 4 | 9 | 0.12391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2939-35_0_4_line_6 |  | 5 | 108 | 0.069968 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2939-35_0_4_line_7 |  | 6 | 7 | 0.13293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2939-35_0_4_line_8 |  | 6 | 8 | 0.26491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2939-35_0_4_line_9 |  | 7 | 9 | 0.10077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2939-35_0_4_line_10 |  | 9 | 160 | 0.061382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2939-35_0_4_line_11 |  | 10 | 11 | 0.17415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2939-35_0_4_line_12 |  | 10 | 12 | 0.17243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2939-35_0_4_line_13 |  | 12 | 13 | 0.018699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2939-35_0_4_line_14 |  | 13 | 81 | 0.004868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2939-35_0_4_line_15 |  | 14 | 15 | 0.3415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2939-35_0_4_line_16 |  | 15 | 16 | 0.047879 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2939-35_0_4_line_17 |  | 16 | 20 | 0.039927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2939-35_0_4_line_18 |  | 17 | 18 | 0.16345 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2939-35_0_4_line_19 |  | 17 | 19 | 0.092692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2939-35_0_4_line_20 |  | 18 | 23 | 0.065188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2939-35_0_4_line_21 |  | 19 | 24 | 0.026899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2939-35_0_4_line_22 |  | 20 | 21 | 0.044944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2939-35_0_4_line_23 |  | 21 | 22 | 0.015347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2939-35_0_4_line_24 |  | 22 | 23 | 0.099563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2939-35_0_4_line_25 |  | 24 | 25 | 0.025245 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2939-35_0_4_line_26 |  | 25 | 26 | 0.053827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2939-35_0_4_line_27 |  | 26 | 27 | 0.017683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2939-35_0_4_line_28 |  | 27 | 28 | 0.0024584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2939-35_0_4_line_29 |  | 28 | 29 | 0.025728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2939-35_0_4_line_30 |  | 29 | 51 | 0.01276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2939-35_0_4_line_31 |  | 30 | 31 | 0.065116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2939-35_0_4_line_32 |  | 30 | 32 | 0.031036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2939-35_0_4_line_33 |  | 31 | 33 | 0.011556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2939-35_0_4_line_34 |  | 32 | 34 | 0.018672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2939-35_0_4_line_35 |  | 32 | 35 | 0.0373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2939-35_0_4_line_36 |  | 33 | 36 | 0.015902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2939-35_0_4_line_37 |  | 34 | 37 | 0.0048007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2939-35_0_4_line_38 |  | 35 | 38 | 0.0022096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2939-35_0_4_line_39 |  | 36 | 39 | 0.0053757 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2939-35_0_4_line_40 |  | 37 | 40 | 0.0024887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2939-35_0_4_line_41 |  | 38 | 41 | 0.0023364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2939-35_0_4_line_42 |  | 39 | 58 | 0.017758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2939-35_0_4_line_43 |  | 42 | 43 | 0.003903 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2939-35_0_4_line_44 |  | 42 | 44 | 0.045356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2939-35_0_4_line_45 |  | 42 | 45 | 0.042056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2939-35_0_4_line_46 |  | 43 | 46 | 0.025951 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2939-35_0_4_line_47 |  | 46 | 47 | 0.0098987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2939-35_0_4_line_48 |  | 47 | 48 | 0.018947 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2939-35_0_4_line_49 |  | 48 | 49 | 0.0004637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2939-35_0_4_line_50 |  | 49 | 50 | 0.034322 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_2939-35_0_4_line_51 |  | 50 | 53 | 0.028304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2939-35_0_4_line_52 |  | 51 | 52 | 0.0058157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2939-35_0_4_line_53 |  | 52 | 59 | 0.0023117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2939-35_0_4_line_54 |  | 53 | 54 | 0.029009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
55 | LV_2939-35_0_4_line_55 |  | 53 | 55 | 0.016866 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
56 | LV_2939-35_0_4_line_56 |  | 54 | 56 | 0.012306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
57 | LV_2939-35_0_4_line_57 |  | 54 | 57 | 0.036445 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_2939-35_0_4_line_58 |  | 55 | 58 | 0.021619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
59 | LV_2939-35_0_4_line_59 |  | 56 | 67 | 0.017504 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
60 | LV_2939-35_0_4_line_60 |  | 57 | 68 | 0.0092957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_2939-35_0_4_line_61 |  | 58 | 62 | 0.0089956 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
62 | LV_2939-35_0_4_line_62 |  | 59 | 60 | 0.019441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_2939-35_0_4_line_63 |  | 60 | 61 | 0.016909 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
64 | LV_2939-35_0_4_line_64 |  | 60 | 62 | 0.022451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
65 | LV_2939-35_0_4_line_65 |  | 61 | 63 | 0.02603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
66 | LV_2939-35_0_4_line_66 |  | 63 | 64 | 0.00098742 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
67 | LV_2939-35_0_4_line_67 |  | 64 | 65 | 0.015214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
68 | LV_2939-35_0_4_line_68 |  | 65 | 66 | 0.016877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
69 | LV_2939-35_0_4_line_69 |  | 66 | 71 | 0.011078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
70 | LV_2939-35_0_4_line_70 |  | 67 | 70 | 0.022127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
71 | LV_2939-35_0_4_line_71 |  | 68 | 69 | 0.014704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_2939-35_0_4_line_72 |  | 70 | 77 | 0.021976 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
73 | LV_2939-35_0_4_line_73 |  | 71 | 72 | 0.029086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
74 | LV_2939-35_0_4_line_74 |  | 71 | 73 | 0.015444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_2939-35_0_4_line_75 |  | 72 | 76 | 0.020051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
76 | LV_2939-35_0_4_line_76 |  | 73 | 74 | 0.0039657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_2939-35_0_4_line_77 |  | 74 | 75 | 0.017788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_2939-35_0_4_line_78 |  | 76 | 80 | 0.0056281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
79 | LV_2939-35_0_4_line_79 |  | 77 | 78 | 0.019013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
80 | LV_2939-35_0_4_line_80 |  | 78 | 79 | 0.00042892 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
81 | LV_2939-35_0_4_line_81 |  | 79 | 86 | 0.018253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
82 | LV_2939-35_0_4_line_82 |  | 80 | 82 | 0.018291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_2939-35_0_4_line_83 |  | 80 | 81 | 0.015133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_2939-35_0_4_line_84 |  | 82 | 83 | 0.029073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_2939-35_0_4_line_85 |  | 83 | 84 | 0.003963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_2939-35_0_4_line_86 |  | 83 | 85 | 0.014311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_2939-35_0_4_line_87 |  | 84 | 95 | 0.0071222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_2939-35_0_4_line_88 |  | 85 | 94 | 0.020151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_2939-35_0_4_line_89 |  | 86 | 87 | 0.0019443 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
90 | LV_2939-35_0_4_line_90 |  | 87 | 88 | 0.018128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
91 | LV_2939-35_0_4_line_91 |  | 88 | 89 | 0.0084851 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
92 | LV_2939-35_0_4_line_92 |  | 89 | 90 | 0.071458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
93 | LV_2939-35_0_4_line_93 |  | 90 | 91 | 0.0069036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
94 | LV_2939-35_0_4_line_94 |  | 91 | 92 | 0.028845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
95 | LV_2939-35_0_4_line_95 |  | 91 | 93 | 0.017035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_2939-35_0_4_line_96 |  | 92 | 102 | 0.029937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
97 | LV_2939-35_0_4_line_97 |  | 93 | 103 | 0.018677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_2939-35_0_4_line_98 |  | 93 | 104 | 0.072532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_2939-35_0_4_line_99 |  | 95 | 96 | 0.0084277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_2939-35_0_4_line_100 |  | 96 | 97 | 0.013447 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_2939-35_0_4_line_101 |  | 97 | 98 | 0.026775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_2939-35_0_4_line_102 |  | 98 | 99 | 0.0023267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_2939-35_0_4_line_103 |  | 99 | 100 | 0.015305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_2939-35_0_4_line_104 |  | 100 | 101 | 0.0098187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_2939-35_0_4_line_105 |  | 102 | 110 | 0.013499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_2939-35_0_4_line_106 |  | 102 | 111 | 0.0075121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
107 | LV_2939-35_0_4_line_107 |  | 104 | 105 | 0.021347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_2939-35_0_4_line_108 |  | 105 | 106 | 0.15695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_2939-35_0_4_line_109 |  | 106 | 107 | 0.021212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
110 | LV_2939-35_0_4_line_110 |  | 107 | 108 | 0.010978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
111 | LV_2939-35_0_4_line_111 |  | 107 | 109 | 0.024534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
112 | LV_2939-35_0_4_line_112 |  | 110 | 112 | 0.0051956 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
113 | LV_2939-35_0_4_line_113 |  | 111 | 113 | 0.013803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
114 | LV_2939-35_0_4_line_114 |  | 112 | 115 | 0.044991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
115 | LV_2939-35_0_4_line_115 |  | 113 | 114 | 0.0068437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
116 | LV_2939-35_0_4_line_116 |  | 114 | 116 | 0.002426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
117 | LV_2939-35_0_4_line_117 |  | 115 | 128 | 0.0080392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
118 | LV_2939-35_0_4_line_118 |  | 116 | 117 | 0.016901 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
119 | LV_2939-35_0_4_line_119 |  | 117 | 118 | 0.0014657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
120 | LV_2939-35_0_4_line_120 |  | 118 | 119 | 0.02461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
121 | LV_2939-35_0_4_line_121 |  | 119 | 120 | 0.00675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
122 | LV_2939-35_0_4_line_122 |  | 120 | 121 | 0.028249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
123 | LV_2939-35_0_4_line_123 |  | 121 | 140 | 0.0072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
124 | LV_2939-35_0_4_line_124 |  | 122 | 123 | 0.046586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
125 | LV_2939-35_0_4_line_125 |  | 123 | 124 | 0.076168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
126 | LV_2939-35_0_4_line_126 |  | 124 | 125 | 0.015168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
127 | LV_2939-35_0_4_line_127 |  | 124 | 126 | 0.2111 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
128 | LV_2939-35_0_4_line_128 |  | 125 | 127 | 0.014031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
129 | LV_2939-35_0_4_line_129 |  | 127 | 152 | 0.0070013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
130 | LV_2939-35_0_4_line_130 |  | 128 | 129 | 0.00051731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
131 | LV_2939-35_0_4_line_131 |  | 129 | 130 | 0.025011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
132 | LV_2939-35_0_4_line_132 |  | 130 | 131 | 0.0013961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
133 | LV_2939-35_0_4_line_133 |  | 131 | 132 | 0.018316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
134 | LV_2939-35_0_4_line_134 |  | 132 | 133 | 0.057795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
135 | LV_2939-35_0_4_line_135 |  | 133 | 134 | 0.012649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
136 | LV_2939-35_0_4_line_136 |  | 134 | 135 | 0.017687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
137 | LV_2939-35_0_4_line_137 |  | 135 | 152 | 0.0010345 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
138 | LV_2939-35_0_4_line_138 |  | 136 | 137 | 0.02521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
139 | LV_2939-35_0_4_line_139 |  | 136 | 138 | 0.051096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
140 | LV_2939-35_0_4_line_140 |  | 137 | 139 | 0.011664 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
141 | LV_2939-35_0_4_line_141 |  | 138 | 140 | 0.052493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
142 | LV_2939-35_0_4_line_142 |  | 139 | 141 | 0.017357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
143 | LV_2939-35_0_4_line_143 |  | 140 | 142 | 0.0066653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
144 | LV_2939-35_0_4_line_144 |  | 141 | 143 | 0.0090776 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
145 | LV_2939-35_0_4_line_145 |  | 142 | 144 | 0.013446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
146 | LV_2939-35_0_4_line_146 |  | 143 | 145 | 0.026929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
147 | LV_2939-35_0_4_line_147 |  | 144 | 146 | 0.0018714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
148 | LV_2939-35_0_4_line_148 |  | 145 | 147 | 0.010674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
149 | LV_2939-35_0_4_line_149 |  | 146 | 154 | 0.022007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
150 | LV_2939-35_0_4_line_150 |  | 147 | 148 | 0.017694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
151 | LV_2939-35_0_4_line_151 |  | 148 | 149 | 0.023026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
152 | LV_2939-35_0_4_line_152 |  | 149 | 150 | 0.048363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
153 | LV_2939-35_0_4_line_153 |  | 150 | 151 | 0.072052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
154 | LV_2939-35_0_4_line_154 |  | 151 | 153 | 0.015067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
155 | LV_2939-35_0_4_line_155 |  | 154 | 155 | 0.0053399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
156 | LV_2939-35_0_4_line_156 |  | 155 | 156 | 0.011005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
157 | LV_2939-35_0_4_line_157 |  | 156 | 157 | 0.0028327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
158 | LV_2939-35_0_4_line_158 |  | 157 | 158 | 0.010285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
159 | LV_2939-35_0_4_line_159 |  | 158 | 159 | 0.019645 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2939-35_0_4_trafo_68 | 0.63 MVA 20/0.4 kV | 161 | 80 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2686497.313 | 1287624.616 | 2686538.514 | 1287620.1343 | 2686571.646 | 1287599.9043
1 | 2686651.9246 | 1287547.0486 | 2686647.8551 | 1287553.3721 | 2686571.646 | 1287599.9043
2 | 2686651.9246 | 1287547.0486 | 2686637.9715 | 1287544.3855
3 | 2686637.9715 | 1287544.3855 | 2686614.2531 | 1287365.3216
4 | 2686637.9715 | 1287544.3855 | 2686581.5592 | 1287535.237 | 2686532.2556 | 1287521.2336 | 2686493.5227 | 1287512.2885
5 | 2686689.1024 | 1287276.8926 | 2686627.3251 | 1287316.5407 | 2686614.2531 | 1287365.3216
6 | 2686493.5227 | 1287512.2885 | 2686485.0967 | 1287510.3426 | 2686451.4618 | 1287502.2196 | 2686433.7582 | 1287501.0254 | 2686424.8348 | 1287501.9849
7 | 2686788.0945 | 1287284.6124 | 2686920.9432 | 1287289.2927
8 | 2686920.9432 | 1287289.2927 | 2687039.1909 | 1287526.351
9 | 2686788.0945 | 1287284.6124 | 2686726.6557 | 1287285.4639 | 2686700.0523 | 1287275.1522 | 2686689.1024 | 1287276.8926
10 | 2686689.1024 | 1287276.8926 | 2686673.41 | 1287304.1522 | 2686658.829 | 1287330.3384
11 | 2686069.5069 | 1287367.7707 | 2685962.5512 | 1287230.3372
12 | 2686214.8857 | 1287460.4826 | 2686069.5069 | 1287367.7707
13 | 2686214.8857 | 1287460.4826 | 2686230.4155 | 1287470.8981
14 | 2686234.4584 | 1287473.6096 | 2686230.4155 | 1287470.8981
15 | 2686472.1692 | 1286743.2583 | 2686748.6684 | 1286542.8367
16 | 2686456.7892 | 1286788.5856 | 2686460.2638 | 1286776.8041 | 2686472.1692 | 1286743.2583
17 | 2686445.6385 | 1286826.9332 | 2686456.7892 | 1286788.5856
18 | 2686339.8152 | 1287086.4078 | 2686482.5984 | 1287006.8549
19 | 2686339.8152 | 1287086.4078 | 2686330.3817 | 1287105.9866 | 2686304.6385 | 1287172.1113
20 | 2686482.5984 | 1287006.8549 | 2686500.3976 | 1286944.1438
21 | 2686294.8797 | 1287197.178 | 2686304.6385 | 1287172.1113
22 | 2686445.6385 | 1286826.9332 | 2686432.5182 | 1286863.506 | 2686429.6217 | 1286868.8623
23 | 2686422.3218 | 1286882.3617 | 2686429.6217 | 1286868.8623
24 | 2686422.3218 | 1286882.3617 | 2686500.3976 | 1286944.1438
25 | 2686294.8797 | 1287197.178 | 2686291.0004 | 1287207.1424 | 2686286.0738 | 1287220.8352
26 | 2686272.0618 | 1287272.6737 | 2686278.4389 | 1287242.0556 | 2686286.0738 | 1287220.8352
27 | 2686268.4561 | 1287289.9851 | 2686272.0618 | 1287272.6737
28 | 2686268.4561 | 1287289.9851 | 2686267.9549 | 1287292.3918
29 | 2686267.9549 | 1287292.3918 | 2686264.4036 | 1287309.4422 | 2686263.2697 | 1287317.6766
30 | 2686263.2697 | 1287317.6766 | 2686262.2625 | 1287324.9911 | 2686264.379 | 1287329.9333
31 | 2686327.6336 | 1287312.3655 | 2686338.5119 | 1287276.5325 | 2686349.5037 | 1287251.1418
32 | 2686361.8335 | 1287222.6606 | 2686349.5037 | 1287251.1418
33 | 2686324.2766 | 1287323.4234 | 2686327.6336 | 1287312.3655
34 | 2686361.8335 | 1287222.6606 | 2686369.2513 | 1287205.525
35 | 2686361.8335 | 1287222.6606 | 2686358.0925 | 1287220.9265 | 2686353.2623 | 1287218.7649 | 2686327.4829 | 1287208.1364
36 | 2686324.2766 | 1287323.4234 | 2686319.6571 | 1287338.64
37 | 2686371.1585 | 1287201.1193 | 2686369.2513 | 1287205.525
38 | 2686325.4402 | 1287207.2942 | 2686327.4829 | 1287208.1364
39 | 2686319.6571 | 1287338.64 | 2686318.0955 | 1287343.7839
40 | 2686372.1471 | 1287198.8354 | 2686371.1585 | 1287201.1193
41 | 2686325.4402 | 1287207.2942 | 2686323.2801 | 1287206.4036
42 | 2686312.9371 | 1287360.7757 | 2686318.0955 | 1287343.7839
43 | 2686387.4783 | 1287258.1322 | 2686385.8328 | 1287261.6714
44 | 2686387.4783 | 1287258.1322 | 2686391.7601 | 1287248.9223 | 2686407.2688 | 1287217.3231
45 | 2686387.4783 | 1287258.1322 | 2686428.8959 | 1287265.4335
46 | 2686385.8328 | 1287261.6714 | 2686384.1908 | 1287265.2033 | 2686377.6943 | 1287281.489 | 2686376.158 | 1287285.7428
47 | 2686376.158 | 1287285.7428 | 2686372.7956 | 1287295.0529
48 | 2686366.8074 | 1287313.0193 | 2686368.857 | 1287305.9586 | 2686372.7956 | 1287295.0529
49 | 2686366.6781 | 1287313.4646 | 2686366.8074 | 1287313.0193
50 | 2686366.6781 | 1287313.4646 | 2686357.1102 | 1287346.4257
51 | 2686349.2199 | 1287373.6076 | 2686357.1102 | 1287346.4257
52 | 2686264.379 | 1287329.9333 | 2686265.9623 | 1287333.6306 | 2686267.2142 | 1287334.9151
53 | 2686268.8276 | 1287336.5705 | 2686267.2142 | 1287334.9151
54 | 2686341.076 | 1287401.457 | 2686346.6621 | 1287382.2554 | 2686349.2199 | 1287373.6076
55 | 2686349.2199 | 1287373.6076 | 2686333.3192 | 1287367.9841
56 | 2686341.076 | 1287401.457 | 2686340.0402 | 1287405.0672 | 2686337.2482 | 1287413.149
57 | 2686341.076 | 1287401.457 | 2686353.8912 | 1287401.4226 | 2686362.3945 | 1287387.9466 | 2686369.8359 | 1287385.9873
58 | 2686312.9371 | 1287360.7757 | 2686333.3192 | 1287367.9841
59 | 2686337.2482 | 1287413.149 | 2686331.5327 | 1287429.6933
60 | 2686369.8359 | 1287385.9873 | 2686369.8359 | 1287385.9873 | 2686378.8829 | 1287388.123
61 | 2686312.9371 | 1287360.7757 | 2686304.6746 | 1287357.2188
62 | 2686284.0536 | 1287348.3418 | 2686275.7045 | 1287343.6265 | 2686268.8276 | 1287336.5705
63 | 2686284.0536 | 1287348.3418 | 2686282.107 | 1287365.1382
64 | 2686284.0536 | 1287348.3418 | 2686304.6746 | 1287357.2188
65 | 2686282.107 | 1287365.1382 | 2686279.1104 | 1287390.995
66 | 2686278.9967 | 1287391.9759 | 2686279.1104 | 1287390.995
67 | 2686278.9967 | 1287391.9759 | 2686277.4313 | 1287405.4836 | 2686277.2462 | 1287407.0888
68 | 2686277.2462 | 1287407.0888 | 2686275.3134 | 1287423.8543
69 | 2686274.0446 | 1287434.8597 | 2686275.3134 | 1287423.8543
70 | 2686323.7656 | 1287450.3933 | 2686326.5085 | 1287444.2364 | 2686331.5327 | 1287429.6933
71 | 2686393.1936 | 1287391.5013 | 2686378.8829 | 1287388.123
72 | 2686323.7656 | 1287450.3933 | 2686314.8227 | 1287470.4676
73 | 2686274.0446 | 1287434.8597 | 2686266.7562 | 1287453.5137 | 2686261.7974 | 1287461.0949
74 | 2686274.0446 | 1287434.8597 | 2686259.4206 | 1287429.8942
75 | 2686261.7974 | 1287461.0949 | 2686251.0999 | 1287477.4498 | 2686250.7627 | 1287477.8297
76 | 2686255.6654 | 1287428.6191 | 2686259.4206 | 1287429.8942
77 | 2686238.8221 | 1287422.9001 | 2686255.6654 | 1287428.6191
78 | 2686247.0263 | 1287482.0386 | 2686250.7627 | 1287477.8297
79 | 2686314.8227 | 1287470.4676 | 2686307.0856 | 1287487.835
80 | 2686307.0856 | 1287487.835 | 2686306.9111 | 1287488.2268
81 | 2686299.2471 | 1287504.7859 | 2686301.2483 | 1287500.9381 | 2686306.9111 | 1287488.2268
82 | 2686247.0263 | 1287482.0386 | 2686234.8843 | 1287495.7185
83 | 2686247.0263 | 1287482.0386 | 2686234.4584 | 1287473.6096
84 | 2686213.9913 | 1287515.9068 | 2686231.3191 | 1287499.7352 | 2686234.8843 | 1287495.7185
85 | 2686213.9913 | 1287515.9068 | 2686213.2077 | 1287516.6405 | 2686210.6916 | 1287518.0615
86 | 2686213.9913 | 1287515.9068 | 2686203.5542 | 1287506.116
87 | 2686210.6916 | 1287518.0615 | 2686204.4901 | 1287521.5639
88 | 2686188.8577 | 1287492.3296 | 2686203.5542 | 1287506.116
89 | 2686299.2471 | 1287504.7859 | 2686298.35 | 1287506.5108
90 | 2686298.35 | 1287506.5108 | 2686292.6094 | 1287517.5483 | 2686289.8232 | 1287522.5063
91 | 2686289.8232 | 1287522.5063 | 2686285.6663 | 1287529.9034
92 | 2686285.6663 | 1287529.9034 | 2686283.4729 | 1287533.8065 | 2686273.0265 | 1287548.3328 | 2686261.8375 | 1287561.3137 | 2686243.2018 | 1287578.1666 | 2686238.0197 | 1287582.6074
93 | 2686232.7775 | 1287587.0996 | 2686238.0197 | 1287582.6074
94 | 2686232.7775 | 1287587.0996 | 2686220.0783 | 1287595.1207 | 2686207.34 | 1287600.4916
95 | 2686223.4983 | 1287600.8314 | 2686230.4775 | 1287594.0498 | 2686232.7775 | 1287587.0996
96 | 2686178.9163 | 1287609.6978 | 2686197.6726 | 1287604.5678 | 2686207.34 | 1287600.4916
97 | 2686223.4983 | 1287600.8314 | 2686206.3432 | 1287608.217
98 | 2686223.4983 | 1287600.8314 | 2686229.9732 | 1287600.3034 | 2686235.9101 | 1287598.0884 | 2686261.7286 | 1287583.0755 | 2686286.7282 | 1287566.7958
99 | 2686197.1519 | 1287525.7084 | 2686204.4901 | 1287521.5639
100 | 2686197.1519 | 1287525.7084 | 2686194.5521 | 1287527.1767 | 2686184.5482 | 1287530.2347
101 | 2686184.5482 | 1287530.2347 | 2686174.6939 | 1287533.247 | 2686158.333 | 1287535.1431
102 | 2686156.0218 | 1287535.4109 | 2686158.333 | 1287535.1431
103 | 2686140.775 | 1287536.1184 | 2686147.8567 | 1287536.3572 | 2686156.0218 | 1287535.4109
104 | 2686130.9618 | 1287535.7874 | 2686140.775 | 1287536.1184
105 | 2686178.9163 | 1287609.6978 | 2686176.0448 | 1287622.8896
106 | 2686178.9163 | 1287609.6978 | 2686171.5189 | 1287611.0057
107 | 2686304.2124 | 1287554.6165 | 2686300.8602 | 1287557.5931 | 2686286.7282 | 1287566.7958
108 | 2686433.2784 | 1287494.357 | 2686415.6991 | 1287485.7137 | 2686393.9028 | 1287483.2363 | 2686372.7194 | 1287493.1899 | 2686337.933 | 1287524.6742 | 2686304.2124 | 1287554.6165
109 | 2686413.92 | 1287503.1585 | 2686433.2784 | 1287494.357
110 | 2686413.92 | 1287503.1585 | 2686424.8348 | 1287501.9849
111 | 2686413.92 | 1287503.1585 | 2686392.8419 | 1287515.7133
112 | 2686176.0448 | 1287622.8896 | 2686180.3646 | 1287625.7763
113 | 2686157.9298 | 1287613.4274 | 2686168.867 | 1287611.4746 | 2686171.5189 | 1287611.0057
114 | 2686180.3646 | 1287625.7763 | 2686201.2093 | 1287639.7058 | 2686214.9404 | 1287654.1381
115 | 2686157.9298 | 1287613.4274 | 2686151.1339 | 1287614.2347
116 | 2686151.1339 | 1287614.2347 | 2686148.7248 | 1287614.5208
117 | 2686214.9404 | 1287654.1381 | 2686218.9568 | 1287658.3596 | 2686220.1462 | 1287660.225
118 | 2686148.7248 | 1287614.5208 | 2686131.9419 | 1287616.5143
119 | 2686131.9419 | 1287616.5143 | 2686130.4865 | 1287616.6872
120 | 2686130.4865 | 1287616.6872 | 2686106.0488 | 1287619.59
121 | 2686106.0488 | 1287619.59 | 2686099.3459 | 1287620.3861
122 | 2686099.3459 | 1287620.3861 | 2686084.7437 | 1287622.1206 | 2686071.3244 | 1287623.9574
123 | 2686064.1909 | 1287624.9339 | 2686071.3244 | 1287623.9574
124 | 2686291.7065 | 1287690.6754 | 2686287.8746 | 1287683.9022 | 2686284.1691 | 1287665.9433 | 2686288.4353 | 1287645.9263
125 | 2686291.7065 | 1287690.6754 | 2686298.6247 | 1287701.8643 | 2686306.1198 | 1287716.1755 | 2686314.0299 | 1287724.6878 | 2686331.0632 | 1287734.2013 | 2686334.6184 | 1287737.8454 | 2686335.3854 | 1287743.3504 | 2686333.8365 | 1287748.1875 | 2686333.8365 | 1287748.1875
126 | 2686333.8365 | 1287748.1875 | 2686325.9255 | 1287752.5198 | 2686319.8913 | 1287753.6997
127 | 2686333.8365 | 1287748.1875 | 2686497.9262 | 1287880.9958
128 | 2686319.8913 | 1287753.6997 | 2686306.1215 | 1287756.3921
129 | 2686299.2503 | 1287757.7356 | 2686306.1215 | 1287756.3921
130 | 2686220.1462 | 1287660.225 | 2686220.4243 | 1287660.6611
131 | 2686220.4243 | 1287660.6611 | 2686233.8705 | 1287681.75
132 | 2686234.6211 | 1287682.9273 | 2686233.8705 | 1287681.75
133 | 2686234.6211 | 1287682.9273 | 2686244.4678 | 1287698.3708
134 | 2686272.5217 | 1287748.8022 | 2686258.5448 | 1287720.4491 | 2686244.4678 | 1287698.3708
135 | 2686272.5217 | 1287748.8022 | 2686274.3985 | 1287752.6094 | 2686280.6785 | 1287758.1952
136 | 2686280.6785 | 1287758.1952 | 2686280.6785 | 1287758.1952 | 2686292.7528 | 1287759.0061 | 2686298.235 | 1287757.9341
137 | 2686299.2503 | 1287757.7356 | 2686298.235 | 1287757.9341
138 | 2686153.5234 | 1287673.7724 | 2686169.6637 | 1287693.1384
139 | 2686153.5234 | 1287673.7724 | 2686145.5281 | 1287664.1793 | 2686133.7149 | 1287654.7428 | 2686123.9472 | 1287649.0728 | 2686112.4872 | 1287644.9043
140 | 2686169.6637 | 1287693.1384 | 2686177.1314 | 1287702.0986
141 | 2686064.1909 | 1287624.9339 | 2686071.8649 | 1287630.1283 | 2686112.4872 | 1287644.9043
142 | 2686177.1314 | 1287702.0986 | 2686188.244 | 1287715.4321
143 | 2686064.1909 | 1287624.9339 | 2686057.5447 | 1287625.4385
144 | 2686194.0558 | 1287722.4053 | 2686188.244 | 1287715.4321
145 | 2686057.5447 | 1287625.4385 | 2686053.0148 | 1287625.7824 | 2686044.1917 | 1287626.9718
146 | 2686194.0558 | 1287722.4053 | 2686198.2513 | 1287727.4393 | 2686208.0006 | 1287745.3318
147 | 2686044.1917 | 1287626.9718 | 2686042.3371 | 1287627.2218
148 | 2686208.0006 | 1287745.3318 | 2686210.5106 | 1287749.9384 | 2686212.1255 | 1287755.1209
149 | 2686042.3371 | 1287627.2218 | 2686020.5272 | 1287630.1616
150 | 2686212.1255 | 1287755.1209 | 2686217.3894 | 1287772.0139
151 | 2686218.7073 | 1287795.0024 | 2686217.3894 | 1287772.0139 | 2686217.3894 | 1287772.0139
152 | 2686222.239 | 1287843.222 | 2686220.634 | 1287828.6109 | 2686218.7073 | 1287795.0024
153 | 2686222.239 | 1287843.222 | 2686224.043 | 1287859.6436 | 2686229.2161 | 1287879.3254 | 2686235.6027 | 1287896.5784 | 2686243.3908 | 1287910.8494 | 2686243.6892 | 1287911.2833
154 | 2686243.6892 | 1287911.2833 | 2686252.226 | 1287923.699
155 | 2686015.2352 | 1287630.875 | 2686020.5272 | 1287630.1616
156 | 2686015.2352 | 1287630.875 | 2686004.3289 | 1287632.3451
157 | 2686001.5215 | 1287632.7235 | 2686004.3289 | 1287632.3451
158 | 2685991.3291 | 1287634.0974 | 2686001.5215 | 1287632.7235
159 | 2685991.3291 | 1287634.0974 | 2685971.8602 | 1287636.7217

## bus_geodata
| x | y | coords
0 | 2686497.313 | 1287624.616
1 | 2686571.646 | 1287599.9043
2 | 2686651.9246 | 1287547.0486
3 | 2686637.9715 | 1287544.3855
4 | 2686614.2531 | 1287365.3216
5 | 2686493.5227 | 1287512.2885
6 | 2686920.9432 | 1287289.2927
7 | 2686788.0945 | 1287284.6124
8 | 2687039.1909 | 1287526.351
9 | 2686689.1024 | 1287276.8926
10 | 2686069.5069 | 1287367.7707
11 | 2685962.5512 | 1287230.3372
12 | 2686214.8857 | 1287460.4826
13 | 2686230.4155 | 1287470.8981
14 | 2686748.6684 | 1286542.8367
15 | 2686472.1692 | 1286743.2583
16 | 2686456.7892 | 1286788.5856
17 | 2686339.8152 | 1287086.4078
18 | 2686482.5984 | 1287006.8549
19 | 2686304.6385 | 1287172.1113
20 | 2686445.6385 | 1286826.9332
21 | 2686429.6217 | 1286868.8623
22 | 2686422.3218 | 1286882.3617
23 | 2686500.3976 | 1286944.1438
24 | 2686294.8797 | 1287197.178
25 | 2686286.0738 | 1287220.8352
26 | 2686272.0618 | 1287272.6737
27 | 2686268.4561 | 1287289.9851
28 | 2686267.9549 | 1287292.3918
29 | 2686263.2697 | 1287317.6766
30 | 2686349.5037 | 1287251.1418
31 | 2686327.6336 | 1287312.3655
32 | 2686361.8335 | 1287222.6606
33 | 2686324.2766 | 1287323.4234
34 | 2686369.2513 | 1287205.525
35 | 2686327.4829 | 1287208.1364
36 | 2686319.6571 | 1287338.64
37 | 2686371.1585 | 1287201.1193
38 | 2686325.4402 | 1287207.2942
39 | 2686318.0955 | 1287343.7839
40 | 2686372.1471 | 1287198.8354
41 | 2686323.2801 | 1287206.4036
42 | 2686387.4783 | 1287258.1322
43 | 2686385.8328 | 1287261.6714
44 | 2686407.2688 | 1287217.3231
45 | 2686428.8959 | 1287265.4335
46 | 2686376.158 | 1287285.7428
47 | 2686372.7956 | 1287295.0529
48 | 2686366.8074 | 1287313.0193
49 | 2686366.6781 | 1287313.4646
50 | 2686357.1102 | 1287346.4257
51 | 2686264.379 | 1287329.9333
52 | 2686267.2142 | 1287334.9151
53 | 2686349.2199 | 1287373.6076
54 | 2686341.076 | 1287401.457
55 | 2686333.3192 | 1287367.9841
56 | 2686337.2482 | 1287413.149
57 | 2686369.8359 | 1287385.9873
58 | 2686312.9371 | 1287360.7757
59 | 2686268.8276 | 1287336.5705
60 | 2686284.0536 | 1287348.3418
61 | 2686282.107 | 1287365.1382
62 | 2686304.6746 | 1287357.2188
63 | 2686279.1104 | 1287390.995
64 | 2686278.9967 | 1287391.9759
65 | 2686277.2462 | 1287407.0888
66 | 2686275.3134 | 1287423.8543
67 | 2686331.5327 | 1287429.6933
68 | 2686378.8829 | 1287388.123
69 | 2686393.1936 | 1287391.5013
70 | 2686323.7656 | 1287450.3933
71 | 2686274.0446 | 1287434.8597
72 | 2686261.7974 | 1287461.0949
73 | 2686259.4206 | 1287429.8942
74 | 2686255.6654 | 1287428.6191
75 | 2686238.8221 | 1287422.9001
76 | 2686250.7627 | 1287477.8297
77 | 2686314.8227 | 1287470.4676
78 | 2686307.0856 | 1287487.835
79 | 2686306.9111 | 1287488.2268
80 | 2686247.0263 | 1287482.0386
81 | 2686234.4584 | 1287473.6096
82 | 2686234.8843 | 1287495.7185
83 | 2686213.9913 | 1287515.9068
84 | 2686210.6916 | 1287518.0615
85 | 2686203.5542 | 1287506.116
86 | 2686299.2471 | 1287504.7859
87 | 2686298.35 | 1287506.5108
88 | 2686289.8232 | 1287522.5063
89 | 2686285.6663 | 1287529.9034
90 | 2686238.0197 | 1287582.6074
91 | 2686232.7775 | 1287587.0996
92 | 2686207.34 | 1287600.4916
93 | 2686223.4983 | 1287600.8314
94 | 2686188.8577 | 1287492.3296
95 | 2686204.4901 | 1287521.5639
96 | 2686197.1519 | 1287525.7084
97 | 2686184.5482 | 1287530.2347
98 | 2686158.333 | 1287535.1431
99 | 2686156.0218 | 1287535.4109
100 | 2686140.775 | 1287536.1184
101 | 2686130.9618 | 1287535.7874
102 | 2686178.9163 | 1287609.6978
103 | 2686206.3432 | 1287608.217
104 | 2686286.7282 | 1287566.7958
105 | 2686304.2124 | 1287554.6165
106 | 2686433.2784 | 1287494.357
107 | 2686413.92 | 1287503.1585
108 | 2686424.8348 | 1287501.9849
109 | 2686392.8419 | 1287515.7133
110 | 2686176.0448 | 1287622.8896
111 | 2686171.5189 | 1287611.0057
112 | 2686180.3646 | 1287625.7763
113 | 2686157.9298 | 1287613.4274
114 | 2686151.1339 | 1287614.2347
115 | 2686214.9404 | 1287654.1381
116 | 2686148.7248 | 1287614.5208
117 | 2686131.9419 | 1287616.5143
118 | 2686130.4865 | 1287616.6872
119 | 2686106.0488 | 1287619.59
120 | 2686099.3459 | 1287620.3861
121 | 2686071.3244 | 1287623.9574
122 | 2686288.4353 | 1287645.9263
123 | 2686291.7065 | 1287690.6754
124 | 2686333.8365 | 1287748.1875
125 | 2686319.8913 | 1287753.6997
126 | 2686497.9262 | 1287880.9958
127 | 2686306.1215 | 1287756.3921
128 | 2686220.1462 | 1287660.225
129 | 2686220.4243 | 1287660.6611
130 | 2686233.8705 | 1287681.75
131 | 2686234.6211 | 1287682.9273
132 | 2686244.4678 | 1287698.3708
133 | 2686272.5217 | 1287748.8022
134 | 2686280.6785 | 1287758.1952
135 | 2686298.235 | 1287757.9341
136 | 2686153.5234 | 1287673.7724
137 | 2686169.6637 | 1287693.1384
138 | 2686112.4872 | 1287644.9043
139 | 2686177.1314 | 1287702.0986
140 | 2686064.1909 | 1287624.9339
141 | 2686188.244 | 1287715.4321
142 | 2686057.5447 | 1287625.4385
143 | 2686194.0558 | 1287722.4053
144 | 2686044.1917 | 1287626.9718
145 | 2686208.0006 | 1287745.3318
146 | 2686042.3371 | 1287627.2218
147 | 2686212.1255 | 1287755.1209
148 | 2686217.3894 | 1287772.0139
149 | 2686218.7073 | 1287795.0024
150 | 2686222.239 | 1287843.222
151 | 2686243.6892 | 1287911.2833
152 | 2686299.2503 | 1287757.7356
153 | 2686252.226 | 1287923.699
154 | 2686020.5272 | 1287630.1616
155 | 2686015.2352 | 1287630.875
156 | 2686004.3288 | 1287632.3451
157 | 2686001.5215 | 1287632.7235
158 | 2685991.3291 | 1287634.0974
159 | 2685971.8602 | 1287636.7217
160 | 2686658.829 | 1287330.3384
161 | 2686214.8857 | 1287460.4826

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1