## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2939-38_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2939-38_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2939-38_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2939-38_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2939-38_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2939-38_0_3_node_27 | 0.4 | n |  | TRUE
6 | bus_LV_2939-38_0_3_node_17 | 0.4 | n |  | TRUE
7 | bus_LV_2939-38_0_3_node_15 | 0.4 | n |  | TRUE
8 | bus_LV_2939-38_0_3_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_2939-38_0_3_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_2939-38_0_3_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_2939-38_0_3_node_19 | 0.4 | n |  | TRUE
12 | bus_LV_2939-38_0_3_node_20 | 0.4 | n |  | TRUE
13 | bus_LV_2939-38_0_3_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_2939-38_0_3_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_2939-38_0_3_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_2939-38_0_3_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_2939-38_0_3_node_12 | 0.4 | n |  | TRUE
18 | bus_LV_2939-38_0_3_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_2939-38_0_3_node_47 | 0.4 | n |  | TRUE
20 | bus_LV_2939-38_0_3_node_60 | 0.4 | n |  | TRUE
21 | bus_LV_2939-38_0_3_node_31 | 0.4 | n |  | TRUE
22 | bus_LV_2939-38_0_3_node_61 | 0.4 | n |  | TRUE
23 | bus_LV_2939-38_0_3_node_14 | 0.4 | n |  | TRUE
24 | bus_LV_2939-38_0_3_node_16 | 0.4 | n |  | TRUE
25 | bus_LV_2939-38_0_3_node_18 | 0.4 | n |  | TRUE
26 | bus_LV_2939-38_0_3_node_35 | 0.4 | n |  | TRUE
27 | bus_LV_2939-38_0_3_node_36 | 0.4 | n |  | TRUE
28 | bus_LV_2939-38_0_3_node_62 | 0.4 | n |  | TRUE
29 | bus_LV_2939-38_0_3_node_22 | 0.4 | n |  | TRUE
30 | bus_LV_2939-38_0_3_node_23 | 0.4 | n |  | TRUE
31 | bus_LV_2939-38_0_3_node_24 | 0.4 | n |  | TRUE
32 | bus_LV_2939-38_0_3_node_25 | 0.4 | n |  | TRUE
33 | bus_LV_2939-38_0_3_node_26 | 0.4 | n |  | TRUE
34 | bus_LV_2939-38_0_3_node_32 | 0.4 | n |  | TRUE
35 | bus_LV_2939-38_0_3_node_29 | 0.4 | n |  | TRUE
36 | bus_LV_2939-38_0_3_node_30 | 0.4 | n |  | TRUE
37 | bus_LV_2939-38_0_3_node_34 | 0.4 | n |  | TRUE
38 | bus_LV_2939-38_0_3_node_44 | 0.4 | n |  | TRUE
39 | bus_LV_2939-38_0_3_node_45 | 0.4 | n |  | TRUE
40 | bus_LV_2939-38_0_3_node_37 | 0.4 | n |  | TRUE
41 | bus_LV_2939-38_0_3_node_38 | 0.4 | n |  | TRUE
42 | bus_LV_2939-38_0_3_node_39 | 0.4 | n |  | TRUE
43 | bus_LV_2939-38_0_3_node_76 | 0.4 | n |  | TRUE
44 | bus_LV_2939-38_0_3_node_77 | 0.4 | n |  | TRUE
45 | bus_LV_2939-38_0_3_node_42 | 0.4 | n |  | TRUE
46 | bus_LV_2939-38_0_3_node_43 | 0.4 | n |  | TRUE
47 | bus_LV_2939-38_0_3_node_40 | 0.4 | n |  | TRUE
48 | bus_LV_2939-38_0_3_node_67 | 0.4 | n |  | TRUE
49 | bus_LV_2939-38_0_3_node_68 | 0.4 | n |  | TRUE
50 | bus_LV_2939-38_0_3_node_49 | 0.4 | n |  | TRUE
51 | bus_LV_2939-38_0_3_node_48 | 0.4 | n |  | TRUE
52 | bus_LV_2939-38_0_3_node_74 | 0.4 | n |  | TRUE
53 | bus_LV_2939-38_0_3_node_66 | 0.4 | n |  | TRUE
54 | bus_LV_2939-38_0_3_node_50 | 0.4 | n |  | TRUE
55 | bus_LV_2939-38_0_3_node_51 | 0.4 | n |  | TRUE
56 | bus_LV_2939-38_0_3_node_52 | 0.4 | n |  | TRUE
57 | bus_LV_2939-38_0_3_node_58 | 0.4 | n |  | TRUE
58 | bus_LV_2939-38_0_3_node_64 | 0.4 | n |  | TRUE
59 | bus_LV_2939-38_0_3_node_59 | 0.4 | n |  | TRUE
60 | bus_LV_2939-38_0_3_node_65 | 0.4 | n |  | TRUE
61 | bus_LV_2939-38_0_3_node_53 | 0.4 | n |  | TRUE
62 | bus_LV_2939-38_0_3_node_54 | 0.4 | n |  | TRUE
63 | bus_LV_2939-38_0_3_node_55 | 0.4 | n |  | TRUE
64 | bus_LV_2939-38_0_3_node_56 | 0.4 | n |  | TRUE
65 | bus_LV_2939-38_0_3_node_57 | 0.4 | n |  | TRUE
66 | bus_LV_2939-38_0_3_node_63 | 0.4 | n |  | TRUE
67 | bus_LV_2939-38_0_3_node_72 | 0.4 | n |  | TRUE
68 | bus_LV_2939-38_0_3_node_73 | 0.4 | n |  | TRUE
69 | bus_LV_2939-38_0_3_node_69 | 0.4 | n |  | TRUE
70 | bus_LV_2939-38_0_3_node_70 | 0.4 | n |  | TRUE
71 | bus_LV_2939-38_0_3_node_71 | 0.4 | n |  | TRUE
72 | bus_LV_2939-38_0_3_node_75 | 0.4 | n |  | TRUE
73 | bus_MV_391_0_node_111 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2939-38_0_3_load_0 | 0 | 0.0015488 | 0.00038817 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2939-38_0_3_load_1 | 1 | 0.0016558 | 0.00041497 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2939-38_0_3_load_2 | 2 | 0.0070671 | 0.0017712 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2939-38_0_3_load_3 | 3 | 0.0016367 | 0.00041021 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2939-38_0_3_load_4 | 4 | 0.0032435 | 0.00081289 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2939-38_0_3_load_27 | 5 | 0.0017102 | 0.00042863 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2939-38_0_3_load_17 | 6 | 0.00099203 | 0.00024863 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2939-38_0_3_load_15 | 7 | 0.00098228 | 0.00024618 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2939-38_0_3_load_5 | 8 | 0.0020743 | 0.00051988 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2939-38_0_3_load_6 | 9 | 0.01574 | 0.0039447 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2939-38_0_3_load_7 | 10 | 0.0038047 | 0.00095355 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2939-38_0_3_load_19 | 11 | 0.004714 | 0.0011814 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2939-38_0_3_load_20 | 12 | 0.0043476 | 0.0010896 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2939-38_0_3_load_8 | 13 | 0.0014581 | 0.00036542 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2939-38_0_3_load_9 | 14 | 0.0033414 | 0.00083744 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2939-38_0_3_load_11 | 16 | 0.0018586 | 0.00046582 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2939-38_0_3_load_12 | 17 | 0.00091365 | 0.00022898 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2939-38_0_3_load_13 | 18 | 0.0035188 | 0.00088191 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2939-38_0_3_load_47 | 19 | 0.0010808 | 0.00027088 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2939-38_0_3_load_60 | 20 | 0.0011201 | 0.00028071 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2939-38_0_3_load_31 | 21 | 0.0018684 | 0.00046827 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2939-38_0_3_load_14 | 23 | 0.00082767 | 0.00020743 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2939-38_0_3_load_16 | 24 | 0.0010126 | 0.00025377 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2939-38_0_3_load_18 | 25 | 0.0031315 | 0.00078482 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2939-38_0_3_load_35 | 26 | 0.0010691 | 0.00026795 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2939-38_0_3_load_22 | 29 | 0.0012709 | 0.00031852 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2939-38_0_3_load_23 | 30 | 0.0031926 | 0.00080014 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2939-38_0_3_load_24 | 31 | 0.001141 | 0.00028596 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2939-38_0_3_load_25 | 32 | 0.0011442 | 0.00028676 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2939-38_0_3_load_26 | 33 | 0.001172 | 0.00029374 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2939-38_0_3_load_32 | 34 | 0.0011932 | 0.00029904 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2939-38_0_3_load_29 | 35 | 0.0016629 | 0.00041677 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2939-38_0_3_load_30 | 36 | 0.0014837 | 0.00037185 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2939-38_0_3_load_34 | 37 | 0.0025451 | 0.00063786 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2939-38_0_3_load_45 | 39 | 0.0034143 | 0.00085569 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2939-38_0_3_load_38 | 41 | 0.0013527 | 0.00033902 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2939-38_0_3_load_39 | 42 | 0.00095391 | 0.00023907 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2939-38_0_3_load_76 | 43 | 0.0037608 | 0.00094254 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2939-38_0_3_load_77 | 44 | 0.0065881 | 0.0016511 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2939-38_0_3_load_40 | 47 | 0.0036426 | 0.00091291 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2939-38_0_3_load_67 | 48 | 0.0032722 | 0.0008201 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2939-38_0_3_load_68 | 49 | 0.02551 | 0.0063933 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2939-38_0_3_load_49 | 50 | 0.001693 | 0.00042431 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2939-38_0_3_load_48 | 51 | 0.0016789 | 0.00042076 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2939-38_0_3_load_74 | 52 | 0.0020598 | 0.00051625 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2939-38_0_3_load_66 | 53 | 0.009916 | 0.0024852 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2939-38_0_3_load_51 | 55 | 0.0015111 | 0.00037872 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2939-38_0_3_load_52 | 56 | 0.0029206 | 0.00073197 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2939-38_0_3_load_58 | 57 | 0.0022142 | 0.00055493 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2939-38_0_3_load_64 | 58 | 0.010619 | 0.0026613 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2939-38_0_3_load_59 | 59 | 0.0044343 | 0.0011113 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2939-38_0_3_load_53 | 61 | 0.0027394 | 0.00068656 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2939-38_0_3_load_54 | 62 | 0.0044343 | 0.0011113 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2939-38_0_3_load_55 | 63 | 0.0044343 | 0.0011113 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2939-38_0_3_load_56 | 64 | 0.003315 | 0.00083082 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2939-38_0_3_load_57 | 65 | 0.0022746 | 0.00057007 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_2939-38_0_3_load_63 | 66 | 0.0078322 | 0.0019629 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_2939-38_0_3_load_73 | 68 | 0.055757 | 0.013974 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_2939-38_0_3_load_69 | 69 | 0.014345 | 0.0035952 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_2939-38_0_3_load_70 | 70 | 0.0061945 | 0.0015525 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 11 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2939-38_0_3_line_0 |  | 0 | 1 | 0.0073685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2939-38_0_3_line_1 |  | 0 | 2 | 0.0093649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2939-38_0_3_line_2 |  | 1 | 3 | 0.007572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2939-38_0_3_line_3 |  | 2 | 4 | 0.012754 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2939-38_0_3_line_4 |  | 3 | 5 | 0.0076959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2939-38_0_3_line_5 |  | 4 | 6 | 0.015743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2939-38_0_3_line_6 |  | 6 | 7 | 0.0020385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2939-38_0_3_line_7 |  | 7 | 23 | 0.0026459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2939-38_0_3_line_8 |  | 8 | 9 | 0.039453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2939-38_0_3_line_9 |  | 9 | 10 | 0.058639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2939-38_0_3_line_10 |  | 10 | 11 | 0.061705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2939-38_0_3_line_11 |  | 11 | 12 | 0.021366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
12 | LV_2939-38_0_3_line_12 |  | 12 | 22 | 0.021502 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
13 | LV_2939-38_0_3_line_13 |  | 13 | 14 | 0.032112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2939-38_0_3_line_14 |  | 13 | 15 | 0.034309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2939-38_0_3_line_15 |  | 14 | 16 | 0.0091624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2939-38_0_3_line_16 |  | 15 | 17 | 0.011335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2939-38_0_3_line_17 |  | 15 | 18 | 0.014308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2939-38_0_3_line_18 |  | 17 | 19 | 0.0073865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2939-38_0_3_line_19 |  | 18 | 20 | 0.0034901 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2939-38_0_3_line_20 |  | 19 | 21 | 0.010141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2939-38_0_3_line_21 |  | 20 | 22 | 0.031873 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2939-38_0_3_line_22 |  | 21 | 36 | 0.0081418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2939-38_0_3_line_23 |  | 22 | 28 | 0.019869 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
24 | LV_2939-38_0_3_line_24 |  | 23 | 24 | 0.0017715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2939-38_0_3_line_25 |  | 24 | 25 | 0.0015754 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2939-38_0_3_line_26 |  | 25 | 26 | 0.052097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2939-38_0_3_line_27 |  | 26 | 27 | 0.0061345 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2939-38_0_3_line_28 |  | 27 | 40 | 0.014134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2939-38_0_3_line_29 |  | 27 | 41 | 0.025989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2939-38_0_3_line_30 |  | 27 | 42 | 0.018525 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2939-38_0_3_line_31 |  | 28 | 66 | 0.04067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
32 | LV_2939-38_0_3_line_32 |  | 28 | 64 | 0.023914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2939-38_0_3_line_33 |  | 29 | 30 | 0.011889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2939-38_0_3_line_34 |  | 29 | 31 | 0.0034816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2939-38_0_3_line_35 |  | 30 | 32 | 0.0014245 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2939-38_0_3_line_36 |  | 31 | 33 | 0.0078844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2939-38_0_3_line_37 |  | 32 | 34 | 0.010482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2939-38_0_3_line_38 |  | 33 | 35 | 0.0069112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2939-38_0_3_line_39 |  | 35 | 36 | 0.0062097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2939-38_0_3_line_40 |  | 37 | 38 | 0.031854 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2939-38_0_3_line_41 |  | 38 | 39 | 0.023196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2939-38_0_3_line_42 |  | 39 | 50 | 0.018342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2939-38_0_3_line_43 |  | 40 | 43 | 0.026338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2939-38_0_3_line_44 |  | 40 | 44 | 0.064539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2939-38_0_3_line_45 |  | 42 | 45 | 0.026859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2939-38_0_3_line_46 |  | 45 | 46 | 0.017286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2939-38_0_3_line_47 |  | 45 | 47 | 0.062059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2939-38_0_3_line_48 |  | 46 | 48 | 0.0069568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2939-38_0_3_line_49 |  | 48 | 49 | 0.030831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
50 | LV_2939-38_0_3_line_50 |  | 49 | 69 | 0.042365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
51 | LV_2939-38_0_3_line_51 |  | 50 | 51 | 0.0077894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2939-38_0_3_line_52 |  | 51 | 54 | 0.0022046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2939-38_0_3_line_53 |  | 52 | 53 | 0.018654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2939-38_0_3_line_54 |  | 53 | 60 | 0.050242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2939-38_0_3_line_55 |  | 54 | 55 | 0.0056978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_2939-38_0_3_line_56 |  | 54 | 56 | 0.014849 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2939-38_0_3_line_57 |  | 55 | 57 | 0.0075555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_2939-38_0_3_line_58 |  | 56 | 58 | 0.016002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_2939-38_0_3_line_59 |  | 57 | 59 | 0.0090134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_2939-38_0_3_line_60 |  | 58 | 60 | 0.025775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_2939-38_0_3_line_61 |  | 59 | 65 | 0.0091481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_2939-38_0_3_line_62 |  | 61 | 62 | 0.0076376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_2939-38_0_3_line_63 |  | 61 | 63 | 0.0086744 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_2939-38_0_3_line_64 |  | 62 | 64 | 0.014552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_2939-38_0_3_line_65 |  | 63 | 65 | 0.007827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_2939-38_0_3_line_66 |  | 66 | 67 | 0.063085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
67 | LV_2939-38_0_3_line_67 |  | 67 | 68 | 0.052579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
68 | LV_2939-38_0_3_line_68 |  | 68 | 72 | 0.06641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
69 | LV_2939-38_0_3_line_69 |  | 69 | 70 | 0.041054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
70 | LV_2939-38_0_3_line_70 |  | 70 | 71 | 0.020126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
71 | LV_2939-38_0_3_line_71 |  | 71 | 72 | 0.00535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2939-38_0_3_trafo_19 | 0.63 MVA 20/0.4 kV | 73 | 11 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2691060.2183 | 1283162.2727 | 2691066.1018 | 1283157.8366
1 | 2691060.2183 | 1283162.2727 | 2691052.7407 | 1283167.9107
2 | 2691066.1018 | 1283157.8366 | 2691072.1478 | 1283153.278
3 | 2691042.5798 | 1283175.6161 | 2691042.8048 | 1283175.4022 | 2691052.7407 | 1283167.9107
4 | 2691078.2927 | 1283148.6448 | 2691072.1478 | 1283153.278
5 | 2691042.5798 | 1283175.6161 | 2691031.1687 | 1283186.4614
6 | 2691029.6911 | 1283187.8657 | 2691031.1687 | 1283186.4614
7 | 2691027.7733 | 1283189.6885 | 2691029.6911 | 1283187.8657
8 | 2691041.7833 | 1283295.508 | 2691050.1608 | 1283284.8222 | 2691052.0698 | 1283280.3255 | 2691052.0332 | 1283274.9203 | 2691049.2708 | 1283270.0289 | 2691044.3318 | 1283266.0492 | 2691040.877 | 1283264.9567
9 | 2690989.7895 | 1283291.0413 | 2690995.2708 | 1283287.11 | 2691031.1133 | 1283265.3444 | 2691038.5637 | 1283264.2252 | 2691040.877 | 1283264.9567
10 | 2690989.7895 | 1283291.0413 | 2690959.1923 | 1283312.9868 | 2690947.8307 | 1283326.2341 | 2690945.0528 | 1283332.2198
11 | 2690945.0528 | 1283332.2198 | 2690942.8601 | 1283336.9445 | 2690941.5989 | 1283345.6882 | 2690941.5715 | 1283353.0108
12 | 2690937.9628 | 1283373.5453 | 2690941.5174 | 1283367.4949 | 2690941.5715 | 1283353.0108
13 | 2691019.0827 | 1283353.677 | 2691051.095 | 1283351.1499
14 | 2690985.231 | 1283358.6395 | 2691000.0829 | 1283355.1768 | 2691019.0827 | 1283353.677
15 | 2691059.7823 | 1283354.0621 | 2691051.095 | 1283351.1499 | 2691051.095 | 1283351.1499
16 | 2690985.231 | 1283358.6395 | 2690995.5435 | 1283363.3439
17 | 2690985.231 | 1283358.6395 | 2690971.9358 | 1283362.4265 | 2690971.493 | 1283362.6215
18 | 2691002.2638 | 1283366.4097 | 2690995.5435 | 1283363.3439
19 | 2690968.2991 | 1283364.0283 | 2690971.493 | 1283362.6215
20 | 2691002.2638 | 1283366.4097 | 2691011.4898 | 1283370.6184
21 | 2690937.9628 | 1283373.5453 | 2690959.886 | 1283367.734 | 2690968.2991 | 1283364.0283
22 | 2691018.8972 | 1283373.9976 | 2691011.4898 | 1283370.6184
23 | 2690920.8456 | 1283382.7115 | 2690925.9629 | 1283377.5637 | 2690937.9628 | 1283373.5453
24 | 2691026.4892 | 1283190.9089 | 2691027.7733 | 1283189.6885
25 | 2691025.3473 | 1283191.9942 | 2691026.4892 | 1283190.9089
26 | 2690987.8324 | 1283227.1413 | 2690991.9881 | 1283225.4945 | 2690999.091 | 1283221.1115 | 2691008.0284 | 1283212.6866 | 2691023.8533 | 1283193.4141 | 2691025.3473 | 1283191.9942
27 | 2690982.1295 | 1283229.4013 | 2690987.8324 | 1283227.1413
28 | 2690982.1295 | 1283229.4013 | 2690979.0308 | 1283232.6563 | 2690978.7512 | 1283235.688 | 2690978.1466 | 1283242.2622
29 | 2690982.1295 | 1283229.4013 | 2690984.5236 | 1283233.8421 | 2690998.228 | 1283249.6796
30 | 2690982.1295 | 1283229.4013 | 2690964.6832 | 1283223.1718
31 | 2690920.8456 | 1283382.7115 | 2690906.4923 | 1283372.3588 | 2690897.2583 | 1283367.9237 | 2690885.629 | 1283364.4747 | 2690885.0357 | 1283364.3942
32 | 2690920.8456 | 1283382.7115 | 2690939.7285 | 1283397.3845
33 | 2691051.9921 | 1283389.0951 | 2691041.1755 | 1283384.1607
34 | 2691038.0079 | 1283382.7157 | 2691041.1755 | 1283384.1607
35 | 2691053.2881 | 1283389.6864 | 2691051.9921 | 1283389.0951
36 | 2691038.0079 | 1283382.7157 | 2691030.8346 | 1283379.4433
37 | 2691062.8243 | 1283394.0367 | 2691053.2881 | 1283389.6864
38 | 2691024.5468 | 1283376.5749 | 2691030.8346 | 1283379.4433
39 | 2691024.5468 | 1283376.5749 | 2691018.8972 | 1283373.9976
40 | 2691047.6694 | 1283451.8069 | 2691052.8676 | 1283447.7504 | 2691073.2593 | 1283432.8425
41 | 2691047.6694 | 1283451.8069 | 2691025.66 | 1283444.4829
42 | 2691025.66 | 1283444.4829 | 2691023.2067 | 1283443.6665 | 2691008.7211 | 1283437.4682
43 | 2690978.1466 | 1283242.2622 | 2690978.3925 | 1283245.7913 | 2690978.3135 | 1283248.9595 | 2690976.0676 | 1283255.3415 | 2690971.736 | 1283260.1566 | 2690967.1174 | 1283264.6003
44 | 2690978.1466 | 1283242.2622 | 2690971.5688 | 1283242.3051 | 2690965.5671 | 1283238.0977 | 2690959.2001 | 1283236.6427 | 2690941.2251 | 1283248.3311 | 2690932.723 | 1283252.4035 | 2690920.6506 | 1283258.1889
45 | 2690939.3879 | 1283214.1396 | 2690964.6832 | 1283223.1718
46 | 2690939.3879 | 1283214.1396 | 2690924.2635 | 1283222.5915
47 | 2690939.3879 | 1283214.1396 | 2690979.3111 | 1283192.6369 | 2690993.6282 | 1283184.0132
48 | 2690924.2635 | 1283222.5915 | 2690918.0556 | 1283225.7315
49 | 2690918.0556 | 1283225.7315 | 2690890.5443 | 1283239.6474
50 | 2690852.7342 | 1283258.7573 | 2690853.1764 | 1283258.5489 | 2690890.5443 | 1283239.6474
51 | 2691001.5597 | 1283434.4039 | 2691008.7211 | 1283437.4682
52 | 2690999.5329 | 1283433.5366 | 2691001.5597 | 1283434.4039
53 | 2691020.4616 | 1283505.5787 | 2691038.0359 | 1283511.8324
54 | 2690974.9223 | 1283484.5345 | 2691007.8813 | 1283501.1021 | 2691020.4616 | 1283505.5787
55 | 2690999.5329 | 1283433.5366 | 2690994.4126 | 1283431.0372
56 | 2690999.5329 | 1283433.5366 | 2690993.0794 | 1283446.9095
57 | 2690994.4126 | 1283431.0372 | 2690987.6229 | 1283427.7227
58 | 2690986.1245 | 1283461.3214 | 2690993.0794 | 1283446.9095
59 | 2690987.6229 | 1283427.7227 | 2690979.5229 | 1283423.7688
60 | 2690974.9223 | 1283484.5345 | 2690986.1245 | 1283461.3214
61 | 2690971.6287 | 1283419.1528 | 2690978.571 | 1283423.3041 | 2690979.5229 | 1283423.7688
62 | 2690957.4662 | 1283410.6839 | 2690954.7653 | 1283409.0688 | 2690951.2194 | 1283406.3135
63 | 2690957.4662 | 1283410.6839 | 2690964.9111 | 1283415.1358
64 | 2690939.7285 | 1283397.3845 | 2690951.2194 | 1283406.3135
65 | 2690971.6287 | 1283419.1528 | 2690964.9111 | 1283415.1358
66 | 2690824.737 | 1283377.2362 | 2690840.6842 | 1283369.4418 | 2690848.9505 | 1283366.5222 | 2690859.7214 | 1283363.8081 | 2690873.2366 | 1283362.7933 | 2690885.0357 | 1283364.3942
67 | 2690824.737 | 1283377.2362 | 2690823.8287 | 1283373.3299 | 2690838.1823 | 1283349.1078 | 2690842.5302 | 1283341.7573 | 2690842.9298 | 1283336.7813 | 2690839.1215 | 1283331.051
68 | 2690792.5062 | 1283287.0501 | 2690802.7043 | 1283306.4018 | 2690809.9823 | 1283314.9991 | 2690819.3602 | 1283320.3372 | 2690832.2586 | 1283327.1863 | 2690839.1215 | 1283331.051
69 | 2690852.7342 | 1283258.7573 | 2690815.5964 | 1283276.2562
70 | 2690797.3907 | 1283284.8345 | 2690815.5964 | 1283276.2562
71 | 2690797.3907 | 1283284.8345 | 2690792.5062 | 1283287.0501

## bus_geodata
| x | y | coords
0 | 2691060.2183 | 1283162.2727
1 | 2691066.1018 | 1283157.8366
2 | 2691052.7407 | 1283167.9107
3 | 2691072.1478 | 1283153.278
4 | 2691042.5798 | 1283175.6161
5 | 2691078.2927 | 1283148.6448
6 | 2691031.1687 | 1283186.4614
7 | 2691029.6911 | 1283187.8657
8 | 2691041.7833 | 1283295.508
9 | 2691040.877 | 1283264.9567
10 | 2690989.7895 | 1283291.0413
11 | 2690945.0528 | 1283332.2198
12 | 2690941.5715 | 1283353.0108
13 | 2691019.0827 | 1283353.677
14 | 2691051.095 | 1283351.1499
15 | 2690985.231 | 1283358.6395
16 | 2691059.7823 | 1283354.0621
17 | 2690995.5435 | 1283363.3439
18 | 2690971.493 | 1283362.6215
19 | 2691002.2638 | 1283366.4097
20 | 2690968.2991 | 1283364.0283
21 | 2691011.4898 | 1283370.6184
22 | 2690937.9628 | 1283373.5453
23 | 2691027.7733 | 1283189.6885
24 | 2691026.4892 | 1283190.9089
25 | 2691025.3473 | 1283191.9942
26 | 2690987.8324 | 1283227.1413
27 | 2690982.1295 | 1283229.4013
28 | 2690920.8456 | 1283382.7115
29 | 2691041.1755 | 1283384.1607
30 | 2691051.9921 | 1283389.0951
31 | 2691038.0079 | 1283382.7157
32 | 2691053.2881 | 1283389.6864
33 | 2691030.8346 | 1283379.4433
34 | 2691062.8243 | 1283394.0367
35 | 2691024.5468 | 1283376.5749
36 | 2691018.8972 | 1283373.9976
37 | 2691073.2593 | 1283432.8425
38 | 2691047.6694 | 1283451.8069
39 | 2691025.66 | 1283444.4829
40 | 2690978.1466 | 1283242.2622
41 | 2690998.228 | 1283249.6796
42 | 2690964.6832 | 1283223.1718
43 | 2690967.1174 | 1283264.6003
44 | 2690920.6506 | 1283258.1889
45 | 2690939.3879 | 1283214.1396
46 | 2690924.2635 | 1283222.5915
47 | 2690993.6282 | 1283184.0132
48 | 2690918.0556 | 1283225.7315
49 | 2690890.5443 | 1283239.6474
50 | 2691008.7211 | 1283437.4682
51 | 2691001.5597 | 1283434.4039
52 | 2691038.0359 | 1283511.8324
53 | 2691020.4616 | 1283505.5787
54 | 2690999.5329 | 1283433.5366
55 | 2690994.4126 | 1283431.0372
56 | 2690993.0794 | 1283446.9095
57 | 2690987.6229 | 1283427.7227
58 | 2690986.1245 | 1283461.3214
59 | 2690979.5229 | 1283423.7688
60 | 2690974.9223 | 1283484.5345
61 | 2690957.4662 | 1283410.6839
62 | 2690951.2194 | 1283406.3135
63 | 2690964.9111 | 1283415.1358
64 | 2690939.7285 | 1283397.3845
65 | 2690971.6287 | 1283419.1528
66 | 2690885.0357 | 1283364.3942
67 | 2690824.737 | 1283377.2362
68 | 2690839.1215 | 1283331.051
69 | 2690852.7342 | 1283258.7573
70 | 2690815.5964 | 1283276.2562
71 | 2690797.3907 | 1283284.8345
72 | 2690792.5062 | 1283287.0501
73 | 2690937.9628 | 1283373.5453

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1