## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2939-39_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2939-39_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2939-39_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2939-39_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2939-39_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2939-39_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_2939-39_0_4_node_63 | 0.4 | n |  | TRUE
7 | bus_LV_2939-39_0_4_node_67 | 0.4 | n |  | TRUE
8 | bus_LV_2939-39_0_4_node_94 | 0.4 | n |  | TRUE
9 | bus_LV_2939-39_0_4_node_64 | 0.4 | n |  | TRUE
10 | bus_LV_2939-39_0_4_node_66 | 0.4 | n |  | TRUE
11 | bus_LV_2939-39_0_4_node_91 | 0.4 | n |  | TRUE
12 | bus_LV_2939-39_0_4_node_61 | 0.4 | n |  | TRUE
13 | bus_LV_2939-39_0_4_node_62 | 0.4 | n |  | TRUE
14 | bus_LV_2939-39_0_4_node_60 | 0.4 | n |  | TRUE
15 | bus_LV_2939-39_0_4_node_6 | 0.4 | n |  | TRUE
16 | bus_LV_2939-39_0_4_node_7 | 0.4 | n |  | TRUE
17 | bus_LV_2939-39_0_4_node_8 | 0.4 | n |  | TRUE
18 | bus_LV_2939-39_0_4_node_9 | 0.4 | n |  | TRUE
19 | bus_LV_2939-39_0_4_node_10 | 0.4 | n |  | TRUE
20 | bus_LV_2939-39_0_4_node_19 | 0.4 | n |  | TRUE
21 | bus_LV_2939-39_0_4_node_33 | 0.4 | n |  | TRUE
22 | bus_LV_2939-39_0_4_node_34 | 0.4 | n |  | TRUE
23 | bus_LV_2939-39_0_4_node_36 | 0.4 | n |  | TRUE
24 | bus_LV_2939-39_0_4_node_17 | 0.4 | n |  | TRUE
25 | bus_LV_2939-39_0_4_node_44 | 0.4 | n |  | TRUE
26 | bus_LV_2939-39_0_4_node_49 | 0.4 | n |  | TRUE
27 | bus_LV_2939-39_0_4_node_11 | 0.4 | n |  | TRUE
28 | bus_LV_2939-39_0_4_node_12 | 0.4 | n |  | TRUE
29 | bus_LV_2939-39_0_4_node_13 | 0.4 | n |  | TRUE
30 | bus_LV_2939-39_0_4_node_14 | 0.4 | n |  | TRUE
31 | bus_LV_2939-39_0_4_node_15 | 0.4 | n |  | TRUE
32 | bus_LV_2939-39_0_4_node_48 | 0.4 | n |  | TRUE
33 | bus_LV_2939-39_0_4_node_39 | 0.4 | n |  | TRUE
34 | bus_LV_2939-39_0_4_node_47 | 0.4 | n |  | TRUE
35 | bus_LV_2939-39_0_4_node_65 | 0.4 | n |  | TRUE
36 | bus_LV_2939-39_0_4_node_40 | 0.4 | n |  | TRUE
37 | bus_LV_2939-39_0_4_node_37 | 0.4 | n |  | TRUE
38 | bus_LV_2939-39_0_4_node_16 | 0.4 | n |  | TRUE
39 | bus_LV_2939-39_0_4_node_18 | 0.4 | n |  | TRUE
40 | bus_LV_2939-39_0_4_node_20 | 0.4 | n |  | TRUE
41 | bus_LV_2939-39_0_4_node_21 | 0.4 | n |  | TRUE
42 | bus_LV_2939-39_0_4_node_35 | 0.4 | n |  | TRUE
43 | bus_LV_2939-39_0_4_node_26 | 0.4 | n |  | TRUE
44 | bus_LV_2939-39_0_4_node_22 | 0.4 | n |  | TRUE
45 | bus_LV_2939-39_0_4_node_23 | 0.4 | n |  | TRUE
46 | bus_LV_2939-39_0_4_node_24 | 0.4 | n |  | TRUE
47 | bus_LV_2939-39_0_4_node_25 | 0.4 | n |  | TRUE
48 | bus_LV_2939-39_0_4_node_27 | 0.4 | n |  | TRUE
49 | bus_LV_2939-39_0_4_node_56 | 0.4 | n |  | TRUE
50 | bus_LV_2939-39_0_4_node_51 | 0.4 | n |  | TRUE
51 | bus_LV_2939-39_0_4_node_57 | 0.4 | n |  | TRUE
52 | bus_LV_2939-39_0_4_node_31 | 0.4 | n |  | TRUE
53 | bus_LV_2939-39_0_4_node_50 | 0.4 | n |  | TRUE
54 | bus_LV_2939-39_0_4_node_28 | 0.4 | n |  | TRUE
55 | bus_LV_2939-39_0_4_node_29 | 0.4 | n |  | TRUE
56 | bus_LV_2939-39_0_4_node_30 | 0.4 | n |  | TRUE
57 | bus_LV_2939-39_0_4_node_32 | 0.4 | n |  | TRUE
58 | bus_LV_2939-39_0_4_node_108 | 0.4 | n |  | TRUE
59 | bus_LV_2939-39_0_4_node_106 | 0.4 | n |  | TRUE
60 | bus_LV_2939-39_0_4_node_45 | 0.4 | n |  | TRUE
61 | bus_LV_2939-39_0_4_node_41 | 0.4 | n |  | TRUE
62 | bus_LV_2939-39_0_4_node_42 | 0.4 | n |  | TRUE
63 | bus_LV_2939-39_0_4_node_43 | 0.4 | n |  | TRUE
64 | bus_LV_2939-39_0_4_node_52 | 0.4 | n |  | TRUE
65 | bus_LV_2939-39_0_4_node_53 | 0.4 | n |  | TRUE
66 | bus_LV_2939-39_0_4_node_46 | 0.4 | n |  | TRUE
67 | bus_LV_2939-39_0_4_node_68 | 0.4 | n |  | TRUE
68 | bus_LV_2939-39_0_4_node_72 | 0.4 | n |  | TRUE
69 | bus_LV_2939-39_0_4_node_69 | 0.4 | n |  | TRUE
70 | bus_LV_2939-39_0_4_node_54 | 0.4 | n |  | TRUE
71 | bus_LV_2939-39_0_4_node_58 | 0.4 | n |  | TRUE
72 | bus_LV_2939-39_0_4_node_59 | 0.4 | n |  | TRUE
73 | bus_LV_2939-39_0_4_node_80 | 0.4 | n |  | TRUE
74 | bus_LV_2939-39_0_4_node_79 | 0.4 | n |  | TRUE
75 | bus_LV_2939-39_0_4_node_73 | 0.4 | n |  | TRUE
76 | bus_LV_2939-39_0_4_node_74 | 0.4 | n |  | TRUE
77 | bus_LV_2939-39_0_4_node_101 | 0.4 | n |  | TRUE
78 | bus_LV_2939-39_0_4_node_99 | 0.4 | n |  | TRUE
79 | bus_LV_2939-39_0_4_node_76 | 0.4 | n |  | TRUE
80 | bus_LV_2939-39_0_4_node_70 | 0.4 | n |  | TRUE
81 | bus_LV_2939-39_0_4_node_71 | 0.4 | n |  | TRUE
82 | bus_LV_2939-39_0_4_node_77 | 0.4 | n |  | TRUE
83 | bus_LV_2939-39_0_4_node_78 | 0.4 | n |  | TRUE
84 | bus_LV_2939-39_0_4_node_82 | 0.4 | n |  | TRUE
85 | bus_LV_2939-39_0_4_node_83 | 0.4 | n |  | TRUE
86 | bus_LV_2939-39_0_4_node_84 | 0.4 | n |  | TRUE
87 | bus_LV_2939-39_0_4_node_85 | 0.4 | n |  | TRUE
88 | bus_LV_2939-39_0_4_node_86 | 0.4 | n |  | TRUE
89 | bus_LV_2939-39_0_4_node_87 | 0.4 | n |  | TRUE
90 | bus_LV_2939-39_0_4_node_88 | 0.4 | n |  | TRUE
91 | bus_LV_2939-39_0_4_node_89 | 0.4 | n |  | TRUE
92 | bus_LV_2939-39_0_4_node_90 | 0.4 | n |  | TRUE
93 | bus_LV_2939-39_0_4_node_95 | 0.4 | n |  | TRUE
94 | bus_LV_2939-39_0_4_node_96 | 0.4 | n |  | TRUE
95 | bus_LV_2939-39_0_4_node_97 | 0.4 | n |  | TRUE
96 | bus_LV_2939-39_0_4_node_103 | 0.4 | n |  | TRUE
97 | bus_LV_2939-39_0_4_node_102 | 0.4 | n |  | TRUE
98 | bus_LV_2939-39_0_4_node_110 | 0.4 | n |  | TRUE
99 | bus_LV_2939-39_0_4_node_109 | 0.4 | n |  | TRUE
100 | bus_LV_2939-39_0_4_node_100 | 0.4 | n |  | TRUE
101 | bus_LV_2939-39_0_4_node_104 | 0.4 | n |  | TRUE
102 | bus_LV_2939-39_0_4_node_105 | 0.4 | n |  | TRUE
103 | bus_LV_2939-39_0_4_node_107 | 0.4 | n |  | TRUE
104 | bus_MV_391_0_node_112 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2939-39_0_4_load_0 | 0 | 0.0046535 | 0.0011663 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2939-39_0_4_load_1 | 1 | 0.003783 | 0.00094811 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2939-39_0_4_load_3 | 3 | 0.002413 | 0.00060475 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2939-39_0_4_load_5 | 5 | 0.0026588 | 0.00066637 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2939-39_0_4_load_63 | 6 | 0.002975 | 0.00074562 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2939-39_0_4_load_94 | 8 | 0.0025113 | 0.00062939 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2939-39_0_4_load_64 | 9 | 0.0029058 | 0.00072826 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2939-39_0_4_load_66 | 10 | 0.0055314 | 0.0013863 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2939-39_0_4_load_91 | 11 | 0.0040792 | 0.0010223 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2939-39_0_4_load_62 | 13 | 0.0017377 | 0.00043551 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2939-39_0_4_load_60 | 14 | 0.0023432 | 0.00058725 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2939-39_0_4_load_6 | 15 | 0.0041785 | 0.0010472 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2939-39_0_4_load_7 | 16 | 0.0056069 | 0.0014052 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2939-39_0_4_load_8 | 17 | 0.0063336 | 0.0015873 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2939-39_0_4_load_9 | 18 | 0.0069354 | 0.0017382 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2939-39_0_4_load_33 | 21 | 0.0052338 | 0.0013117 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2939-39_0_4_load_34 | 22 | 0.0036615 | 0.00091767 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2939-39_0_4_load_36 | 23 | 0.0078089 | 0.0019571 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2939-39_0_4_load_17 | 24 | 0.0021457 | 0.00053777 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2939-39_0_4_load_44 | 25 | 0.0041812 | 0.0010479 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2939-39_0_4_load_49 | 26 | 0.0040132 | 0.0010058 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2939-39_0_4_load_11 | 27 | 0.0030586 | 0.00076655 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2939-39_0_4_load_12 | 28 | 0.0015945 | 0.00039963 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2939-39_0_4_load_13 | 29 | 0.0056601 | 0.0014186 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2939-39_0_4_load_15 | 31 | 0.0054335 | 0.0013618 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2939-39_0_4_load_48 | 32 | 0.0055283 | 0.0013855 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2939-39_0_4_load_65 | 35 | 0.005743 | 0.0014393 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2939-39_0_4_load_40 | 36 | 0.0068377 | 0.0017137 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2939-39_0_4_load_37 | 37 | 0.0048093 | 0.0012053 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2939-39_0_4_load_16 | 38 | 0.003626 | 0.00090875 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2939-39_0_4_load_20 | 40 | 0.0039235 | 0.00098331 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2939-39_0_4_load_21 | 41 | 0.0032265 | 0.00080863 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2939-39_0_4_load_35 | 42 | 0.0047337 | 0.0011864 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2939-39_0_4_load_26 | 43 | 0.0043288 | 0.0010849 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2939-39_0_4_load_22 | 44 | 0.0049604 | 0.0012432 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2939-39_0_4_load_23 | 45 | 0.004583 | 0.0011486 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2939-39_0_4_load_25 | 47 | 0.0034997 | 0.00087711 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2939-39_0_4_load_27 | 48 | 0.007035 | 0.0017631 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2939-39_0_4_load_51 | 50 | 0.004097 | 0.0010268 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2939-39_0_4_load_57 | 51 | 0.0024486 | 0.00061368 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2939-39_0_4_load_50 | 53 | 0.0025474 | 0.00063844 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2939-39_0_4_load_28 | 54 | 0.0040304 | 0.0010101 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2939-39_0_4_load_29 | 55 | 0.0027936 | 0.00070014 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2939-39_0_4_load_30 | 56 | 0.0028031 | 0.00070253 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2939-39_0_4_load_32 | 57 | 0.0047569 | 0.0011922 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2939-39_0_4_load_108 | 58 | 0.0040611 | 0.0010178 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2939-39_0_4_load_106 | 59 | 0.0035848 | 0.00089844 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2939-39_0_4_load_45 | 60 | 0.0042436 | 0.0010635 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2939-39_0_4_load_41 | 61 | 0.0020387 | 0.00051094 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2939-39_0_4_load_43 | 63 | 0.0024122 | 0.00060455 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2939-39_0_4_load_52 | 64 | 0.0047987 | 0.0012027 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2939-39_0_4_load_53 | 65 | 0.015595 | 0.0039085 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2939-39_0_4_load_46 | 66 | 0.0048976 | 0.0012275 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2939-39_0_4_load_72 | 68 | 0.0048634 | 0.0012189 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2939-39_0_4_load_69 | 69 | 0.0038812 | 0.00097271 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2939-39_0_4_load_54 | 70 | 0.0056069 | 0.0014052 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_2939-39_0_4_load_58 | 71 | 0.0028399 | 0.00071175 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_2939-39_0_4_load_59 | 72 | 0.0017548 | 0.0004398 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_2939-39_0_4_load_80 | 73 | 0.0035324 | 0.0008853 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_2939-39_0_4_load_79 | 74 | 0.0028559 | 0.00071576 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_2939-39_0_4_load_73 | 75 | 0.0016171 | 0.00040529 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_2939-39_0_4_load_101 | 77 | 0.0046544 | 0.0011665 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_2939-39_0_4_load_99 | 78 | 0.005737 | 0.0014378 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_2939-39_0_4_load_76 | 79 | 0.0026786 | 0.00067132 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_2939-39_0_4_load_70 | 80 | 0.0044886 | 0.001125 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_2939-39_0_4_load_77 | 82 | 0.0048794 | 0.0012229 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_2939-39_0_4_load_78 | 83 | 0.0036259 | 0.00090873 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_2939-39_0_4_load_82 | 84 | 0.00198 | 0.00049624 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_2939-39_0_4_load_83 | 85 | 0.0031195 | 0.00078183 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_2939-39_0_4_load_84 | 86 | 0.0031206 | 0.00078209 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_2939-39_0_4_load_85 | 87 | 0.0020791 | 0.00052107 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_2939-39_0_4_load_86 | 88 | 0.0035884 | 0.00089933 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_2939-39_0_4_load_87 | 89 | 0.0031189 | 0.00078168 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_2939-39_0_4_load_88 | 90 | 0.0031206 | 0.0007821 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_2939-39_0_4_load_89 | 91 | 0.0033786 | 0.00084675 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_2939-39_0_4_load_90 | 92 | 0.004356 | 0.0010917 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_2939-39_0_4_load_95 | 93 | 0.0060249 | 0.00151 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_2939-39_0_4_load_96 | 94 | 0.0057042 | 0.0014296 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_2939-39_0_4_load_97 | 95 | 0.0032609 | 0.00081725 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_2939-39_0_4_load_103 | 96 | 0.005833 | 0.0014619 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_2939-39_0_4_load_102 | 97 | 0.0053956 | 0.0013523 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_2939-39_0_4_load_110 | 98 | 0.003786 | 0.00094887 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_2939-39_0_4_load_109 | 99 | 0.003786 | 0.00094887 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_2939-39_0_4_load_100 | 100 | 0.0046531 | 0.0011662 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_2939-39_0_4_load_104 | 101 | 0.0037357 | 0.00093624 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_2939-39_0_4_load_105 | 102 | 0.0024678 | 0.00061849 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_2939-39_0_4_load_107 | 103 | 0.0023717 | 0.00059441 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 40 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2939-39_0_4_line_0 |  | 0 | 1 | 0.013523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2939-39_0_4_line_1 |  | 0 | 2 | 0.0093347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2939-39_0_4_line_2 |  | 1 | 3 | 0.0070716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2939-39_0_4_line_3 |  | 2 | 4 | 0.026828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2939-39_0_4_line_4 |  | 2 | 5 | 0.0036593 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2939-39_0_4_line_5 |  | 3 | 6 | 0.010332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2939-39_0_4_line_6 |  | 4 | 7 | 0.029915 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2939-39_0_4_line_7 |  | 4 | 8 | 0.014055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2939-39_0_4_line_8 |  | 6 | 9 | 0.0070047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2939-39_0_4_line_9 |  | 7 | 10 | 0.031631 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2939-39_0_4_line_10 |  | 8 | 11 | 0.00032038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2939-39_0_4_line_11 |  | 9 | 34 | 0.01828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2939-39_0_4_line_12 |  | 11 | 92 | 0.015352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2939-39_0_4_line_13 |  | 12 | 13 | 0.019576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2939-39_0_4_line_14 |  | 12 | 14 | 0.0038949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2939-39_0_4_line_15 |  | 13 | 77 | 0.013171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2939-39_0_4_line_16 |  | 14 | 57 | 0.010972 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2939-39_0_4_line_17 |  | 15 | 16 | 0.030672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2939-39_0_4_line_18 |  | 15 | 17 | 0.0013205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2939-39_0_4_line_19 |  | 16 | 18 | 0.0058315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2939-39_0_4_line_20 |  | 17 | 19 | 0.011758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2939-39_0_4_line_21 |  | 18 | 20 | 0.0034106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2939-39_0_4_line_22 |  | 19 | 21 | 0.026127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2939-39_0_4_line_23 |  | 19 | 22 | 0.030817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
24 | LV_2939-39_0_4_line_24 |  | 20 | 23 | 0.021897 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2939-39_0_4_line_25 |  | 20 | 24 | 0.017149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2939-39_0_4_line_26 |  | 21 | 25 | 0.011054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2939-39_0_4_line_27 |  | 22 | 26 | 0.0015758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
28 | LV_2939-39_0_4_line_28 |  | 23 | 36 | 0.010992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2939-39_0_4_line_29 |  | 24 | 38 | 0.016453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2939-39_0_4_line_30 |  | 25 | 60 | 0.0030515 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2939-39_0_4_line_31 |  | 26 | 53 | 0.013622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
32 | LV_2939-39_0_4_line_32 |  | 27 | 28 | 0.0092757 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2939-39_0_4_line_33 |  | 27 | 29 | 0.0081167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2939-39_0_4_line_34 |  | 28 | 30 | 0.010442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2939-39_0_4_line_35 |  | 29 | 31 | 0.024106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2939-39_0_4_line_36 |  | 30 | 32 | 0.012925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2939-39_0_4_line_37 |  | 31 | 33 | 0.013657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2939-39_0_4_line_38 |  | 33 | 36 | 0.01168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2939-39_0_4_line_39 |  | 33 | 37 | 0.02209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2939-39_0_4_line_40 |  | 34 | 35 | 0.0017628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2939-39_0_4_line_41 |  | 35 | 41 | 0.011298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2939-39_0_4_line_42 |  | 39 | 40 | 0.013171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2939-39_0_4_line_43 |  | 39 | 41 | 0.0075377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2939-39_0_4_line_44 |  | 40 | 42 | 0.0016368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
45 | LV_2939-39_0_4_line_45 |  | 42 | 43 | 0.021977 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
46 | LV_2939-39_0_4_line_46 |  | 43 | 46 | 0.025801 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
47 | LV_2939-39_0_4_line_47 |  | 44 | 45 | 0.0022713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2939-39_0_4_line_48 |  | 44 | 46 | 0.014557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2939-39_0_4_line_49 |  | 45 | 47 | 0.02114 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2939-39_0_4_line_50 |  | 46 | 48 | 0.0040738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
51 | LV_2939-39_0_4_line_51 |  | 47 | 49 | 0.014975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2939-39_0_4_line_52 |  | 48 | 50 | 0.012085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
53 | LV_2939-39_0_4_line_53 |  | 49 | 51 | 0.0025554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2939-39_0_4_line_54 |  | 49 | 52 | 0.009846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2939-39_0_4_line_55 |  | 50 | 53 | 0.0086559 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
56 | LV_2939-39_0_4_line_56 |  | 51 | 73 | 0.011145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2939-39_0_4_line_57 |  | 52 | 58 | 0.03865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_2939-39_0_4_line_58 |  | 52 | 55 | 0.018523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_2939-39_0_4_line_59 |  | 54 | 55 | 0.00077153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_2939-39_0_4_line_60 |  | 54 | 56 | 0.01706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_2939-39_0_4_line_61 |  | 56 | 57 | 0.0087561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_2939-39_0_4_line_62 |  | 58 | 59 | 0.0044737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_2939-39_0_4_line_63 |  | 59 | 101 | 0.013184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_2939-39_0_4_line_64 |  | 60 | 66 | 0.01397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_2939-39_0_4_line_65 |  | 61 | 62 | 0.012341 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_2939-39_0_4_line_66 |  | 62 | 63 | 0.029702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_2939-39_0_4_line_67 |  | 63 | 64 | 0.011988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_2939-39_0_4_line_68 |  | 64 | 65 | 0.033142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_2939-39_0_4_line_69 |  | 65 | 70 | 0.025935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_2939-39_0_4_line_70 |  | 66 | 67 | 0.0079076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_2939-39_0_4_line_71 |  | 67 | 68 | 0.032405 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_2939-39_0_4_line_72 |  | 67 | 69 | 0.012807 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_2939-39_0_4_line_73 |  | 68 | 79 | 0.0029103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_2939-39_0_4_line_74 |  | 69 | 80 | 0.0099851 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_2939-39_0_4_line_75 |  | 70 | 71 | 0.088834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_2939-39_0_4_line_76 |  | 71 | 72 | 0.025124 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_2939-39_0_4_line_77 |  | 72 | 75 | 0.012595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_2939-39_0_4_line_78 |  | 73 | 74 | 0.012734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_2939-39_0_4_line_79 |  | 75 | 76 | 0.0364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_2939-39_0_4_line_80 |  | 76 | 81 | 0.051555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_2939-39_0_4_line_81 |  | 77 | 78 | 0.010096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_2939-39_0_4_line_82 |  | 78 | 100 | 0.013867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_2939-39_0_4_line_83 |  | 79 | 82 | 0.020168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_2939-39_0_4_line_84 |  | 80 | 81 | 0.045378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_2939-39_0_4_line_85 |  | 82 | 83 | 0.0088671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_2939-39_0_4_line_86 |  | 84 | 85 | 0.01241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_2939-39_0_4_line_87 |  | 84 | 86 | 0.0046671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_2939-39_0_4_line_88 |  | 85 | 87 | 0.0034736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_2939-39_0_4_line_89 |  | 86 | 88 | 0.016337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_2939-39_0_4_line_90 |  | 88 | 89 | 0.0011281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_2939-39_0_4_line_91 |  | 89 | 90 | 0.016386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_2939-39_0_4_line_92 |  | 90 | 91 | 0.0042317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_2939-39_0_4_line_93 |  | 91 | 92 | 0.015195 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_2939-39_0_4_line_94 |  | 93 | 94 | 0.0056101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_2939-39_0_4_line_95 |  | 94 | 95 | 0.015359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_2939-39_0_4_line_96 |  | 95 | 96 | 0.011541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_2939-39_0_4_line_97 |  | 96 | 97 | 0.011001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_2939-39_0_4_line_98 |  | 97 | 100 | 0.013397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_2939-39_0_4_line_99 |  | 98 | 99 | 0.024533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_2939-39_0_4_line_100 |  | 99 | 103 | 0.019964 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_2939-39_0_4_line_101 |  | 101 | 102 | 0.003714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_2939-39_0_4_line_102 |  | 102 | 103 | 0.018643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2939-39_0_4_trafo_20 | 0.63 MVA 20/0.4 kV | 104 | 40 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2690519.9298 | 1283867.8654 | 2690521.7017 | 1283854.4592
1 | 2690518.7066 | 1283877.1196 | 2690519.9298 | 1283867.8654
2 | 2690521.7017 | 1283854.4592 | 2690522.6284 | 1283847.4485
3 | 2690518.7066 | 1283877.1196 | 2690493.3008 | 1283885.9594
4 | 2690518.7066 | 1283877.1196 | 2690522.2137 | 1283876.0756
5 | 2690523.9822 | 1283837.2059 | 2690522.6284 | 1283847.4485
6 | 2690464.6584 | 1283894.872 | 2690493.3008 | 1283885.9594
7 | 2690493.3008 | 1283885.9594 | 2690497.3167 | 1283899.429
8 | 2690523.9822 | 1283837.2059 | 2690524.9001 | 1283830.2616
9 | 2690464.6584 | 1283894.872 | 2690471.8079 | 1283864.0595
10 | 2690497.3167 | 1283899.429 | 2690497.4082 | 1283899.736
11 | 2690527.2954 | 1283812.1393 | 2690524.9001 | 1283830.2616
12 | 2690497.4082 | 1283899.736 | 2690500.7187 | 1283910.8394 | 2690500.6199 | 1283914.6034
13 | 2690551.5667 | 1283867.338 | 2690551.0811 | 1283886.9084
14 | 2690551.5667 | 1283867.338 | 2690555.337 | 1283866.3609
15 | 2690551.0811 | 1283886.9084 | 2690550.7545 | 1283900.0751
16 | 2690555.337 | 1283866.3609 | 2690565.9579 | 1283863.6082
17 | 2690579.6473 | 1283736.7088 | 2690549.3084 | 1283741.2178
18 | 2690579.6473 | 1283736.7088 | 2690580.9535 | 1283736.5147
19 | 2690549.3084 | 1283741.2178 | 2690543.5402 | 1283742.075
20 | 2690592.5842 | 1283734.7861 | 2690580.9535 | 1283736.5147
21 | 2690540.1666 | 1283742.5764 | 2690543.5402 | 1283742.075
22 | 2690592.5842 | 1283734.7861 | 2690598.74 | 1283733.3462 | 2690617.6644 | 1283727.5056
23 | 2690592.5842 | 1283734.7861 | 2690600.1699 | 1283764.6548
24 | 2690540.1666 | 1283742.5764 | 2690518.9033 | 1283747.8062
25 | 2690540.1666 | 1283742.5764 | 2690542.0916 | 1283759.6168
26 | 2690628.2264 | 1283724.2458 | 2690617.6644 | 1283727.5056
27 | 2690600.5578 | 1283766.1822 | 2690600.1699 | 1283764.6548
28 | 2690508.2289 | 1283750.4315 | 2690518.9033 | 1283747.8062
29 | 2690542.0916 | 1283759.6168 | 2690543.9384 | 1283775.9656
30 | 2690628.2264 | 1283724.2458 | 2690631.1422 | 1283723.3459
31 | 2690600.5578 | 1283766.1822 | 2690603.9108 | 1283779.3847
32 | 2690484.931 | 1283807.0647 | 2690486.9417 | 1283798.0095
33 | 2690488.7012 | 1283790.0858 | 2690486.9417 | 1283798.0095
34 | 2690482.6674 | 1283817.2585 | 2690484.931 | 1283807.0647
35 | 2690488.7012 | 1283790.0858 | 2690493.9266 | 1283766.5533
36 | 2690482.6674 | 1283817.2585 | 2690479.746 | 1283829.8488
37 | 2690496.8871 | 1283753.2211 | 2690493.9266 | 1283766.5533
38 | 2690496.8871 | 1283753.2211 | 2690508.2289 | 1283750.4315
39 | 2690496.8871 | 1283753.2211 | 2690475.3667 | 1283748.2386
40 | 2690527.2954 | 1283812.1393 | 2690529.0478 | 1283811.9483
41 | 2690540.2793 | 1283810.7242 | 2690529.0478 | 1283811.9483
42 | 2690547.7726 | 1283809.9075 | 2690560.8834 | 1283808.651
43 | 2690547.7726 | 1283809.9075 | 2690540.2793 | 1283810.7242
44 | 2690560.8834 | 1283808.651 | 2690562.5128 | 1283808.4949
45 | 2690562.5128 | 1283808.4949 | 2690584.39 | 1283806.3983
46 | 2690610.0191 | 1283803.4362 | 2690588.4706 | 1283806.0072 | 2690584.39 | 1283806.3983
47 | 2690613.2715 | 1283817.6205 | 2690613.683 | 1283819.8542
48 | 2690610.0191 | 1283803.4362 | 2690612.6182 | 1283814.0743 | 2690613.2715 | 1283817.6205
49 | 2690617.5129 | 1283840.6447 | 2690613.683 | 1283819.8542
50 | 2690610.0191 | 1283803.4362 | 2690609.0163 | 1283799.4877
51 | 2690620.2259 | 1283855.3717 | 2690617.5129 | 1283840.6447
52 | 2690606.0415 | 1283787.7743 | 2690609.0163 | 1283799.4877
53 | 2690620.2259 | 1283855.3717 | 2690622.7743 | 1283855.1822
54 | 2690620.2259 | 1283855.3717 | 2690610.3795 | 1283856.1321
55 | 2690606.0415 | 1283787.7743 | 2690603.9108 | 1283779.3847
56 | 2690633.8882 | 1283854.3558 | 2690622.7743 | 1283855.1822
57 | 2690610.3795 | 1283856.1321 | 2690609.9907 | 1283876.0323 | 2690609.4386 | 1283894.7701
58 | 2690610.3795 | 1283856.1321 | 2690592.0232 | 1283858.6084
59 | 2690591.2586 | 1283858.7116 | 2690592.0232 | 1283858.6084
60 | 2690574.4339 | 1283861.4114 | 2690577.895 | 1283860.5144 | 2690591.2586 | 1283858.7116
61 | 2690574.4339 | 1283861.4114 | 2690565.9579 | 1283863.6082
62 | 2690609.4386 | 1283894.7701 | 2690609.3069 | 1283899.2419
63 | 2690608.9186 | 1283912.4198 | 2690609.3069 | 1283899.2419
64 | 2690631.1422 | 1283723.3459 | 2690644.4908 | 1283719.2261
65 | 2690463.3323 | 1283674.2706 | 2690467.3212 | 1283685.949
66 | 2690463.3323 | 1283674.2706 | 2690491.6426 | 1283665.2851
67 | 2690503.069 | 1283661.6585 | 2690503.069 | 1283661.6585 | 2690491.6426 | 1283665.2851
68 | 2690534.5574 | 1283651.3219 | 2690503.069 | 1283661.6585
69 | 2690534.5574 | 1283651.3219 | 2690542.3445 | 1283648.7726 | 2690559.5809 | 1283644.5704
70 | 2690652.3712 | 1283719.8812 | 2690644.4908 | 1283719.2261
71 | 2690652.3712 | 1283719.8812 | 2690660.8231 | 1283751.1646
72 | 2690652.3712 | 1283719.8812 | 2690664.737 | 1283716.5488
73 | 2690661.5822 | 1283753.9741 | 2690660.8231 | 1283751.1646
74 | 2690664.737 | 1283716.5488 | 2690667.2831 | 1283715.8627 | 2690674.5751 | 1283714.9561
75 | 2690559.5809 | 1283644.5704 | 2690584.5232 | 1283638.4895 | 2690609.0779 | 1283637.2214 | 2690637.9693 | 1283640.0347 | 2690647.2593 | 1283642.2281
76 | 2690647.2593 | 1283642.2281 | 2690671.7109 | 1283648.0012
77 | 2690671.7109 | 1283648.0012 | 2690683.9685 | 1283650.8953
78 | 2690646.5875 | 1283853.4115 | 2690633.8882 | 1283854.3558
79 | 2690719.3945 | 1283659.2596 | 2690683.9685 | 1283650.8953
80 | 2690719.7499 | 1283710.7544 | 2690720.7896 | 1283683.7135 | 2690719.3945 | 1283659.2596
81 | 2690550.5041 | 1283910.1681 | 2690550.7545 | 1283900.0751
82 | 2690550.5041 | 1283910.1681 | 2690550.1601 | 1283924.0313
83 | 2690661.5822 | 1283753.9741 | 2690666.8425 | 1283773.4444
84 | 2690719.7499 | 1283710.7544 | 2690687.2616 | 1283713.3789 | 2690674.5751 | 1283714.9561
85 | 2690669.1553 | 1283782.0046 | 2690669.1553 | 1283782.0046 | 2690666.8425 | 1283773.4444
86 | 2690499.0994 | 1283972.5282 | 2690498.7738 | 1283984.9335
87 | 2690499.0994 | 1283972.5282 | 2690499.2219 | 1283967.8627
88 | 2690498.6827 | 1283988.406 | 2690498.7738 | 1283984.9335
89 | 2690499.6506 | 1283951.5315 | 2690499.2219 | 1283967.8627
90 | 2690499.6506 | 1283951.5315 | 2690499.6802 | 1283950.4038
91 | 2690499.6802 | 1283950.4038 | 2690500.1101 | 1283934.0234
92 | 2690500.2212 | 1283929.7931 | 2690500.1101 | 1283934.0234
93 | 2690500.2212 | 1283929.7931 | 2690500.6199 | 1283914.6034
94 | 2690548.7486 | 1283980.9228 | 2690548.8878 | 1283975.3144
95 | 2690549.2687 | 1283959.9598 | 2690548.8878 | 1283975.3144
96 | 2690549.2687 | 1283959.9598 | 2690549.555 | 1283948.4221
97 | 2690549.8278 | 1283937.4243 | 2690549.555 | 1283948.4221
98 | 2690549.8278 | 1283937.4243 | 2690550.1601 | 1283924.0313
99 | 2690606.9498 | 1283979.2435 | 2690607.6723 | 1283954.7215
100 | 2690608.2602 | 1283934.7667 | 2690607.6723 | 1283954.7215
101 | 2690608.9186 | 1283912.4198 | 2690608.8092 | 1283916.1322
102 | 2690608.8092 | 1283916.1322 | 2690608.2602 | 1283934.7667

## bus_geodata
| x | y | coords
0 | 2690519.9298 | 1283867.8654
1 | 2690521.7017 | 1283854.4592
2 | 2690518.7066 | 1283877.1196
3 | 2690522.6284 | 1283847.4485
4 | 2690493.3008 | 1283885.9594
5 | 2690522.2137 | 1283876.0756
6 | 2690523.9822 | 1283837.2059
7 | 2690464.6584 | 1283894.872
8 | 2690497.3167 | 1283899.429
9 | 2690524.9001 | 1283830.2616
10 | 2690471.8079 | 1283864.0595
11 | 2690497.4082 | 1283899.736
12 | 2690551.5667 | 1283867.338
13 | 2690551.0811 | 1283886.9084
14 | 2690555.337 | 1283866.3609
15 | 2690579.6473 | 1283736.7088
16 | 2690549.3084 | 1283741.2178
17 | 2690580.9535 | 1283736.5147
18 | 2690543.5402 | 1283742.075
19 | 2690592.5842 | 1283734.7861
20 | 2690540.1666 | 1283742.5764
21 | 2690617.6644 | 1283727.5056
22 | 2690600.1699 | 1283764.6548
23 | 2690518.9033 | 1283747.8062
24 | 2690542.0916 | 1283759.6168
25 | 2690628.2264 | 1283724.2458
26 | 2690600.5578 | 1283766.1822
27 | 2690486.9417 | 1283798.0095
28 | 2690484.931 | 1283807.0647
29 | 2690488.7012 | 1283790.0858
30 | 2690482.6674 | 1283817.2585
31 | 2690493.9266 | 1283766.5533
32 | 2690479.746 | 1283829.8488
33 | 2690496.8871 | 1283753.2211
34 | 2690527.2954 | 1283812.1393
35 | 2690529.0478 | 1283811.9483
36 | 2690508.2289 | 1283750.4315
37 | 2690475.3667 | 1283748.2386
38 | 2690543.9384 | 1283775.9656
39 | 2690547.7726 | 1283809.9075
40 | 2690560.8834 | 1283808.651
41 | 2690540.2793 | 1283810.7242
42 | 2690562.5128 | 1283808.4949
43 | 2690584.39 | 1283806.3983
44 | 2690613.2715 | 1283817.6205
45 | 2690613.683 | 1283819.8542
46 | 2690610.0191 | 1283803.4362
47 | 2690617.5129 | 1283840.6447
48 | 2690609.0163 | 1283799.4877
49 | 2690620.2259 | 1283855.3717
50 | 2690606.0415 | 1283787.7743
51 | 2690622.7743 | 1283855.1822
52 | 2690610.3795 | 1283856.1321
53 | 2690603.9108 | 1283779.3847
54 | 2690591.2586 | 1283858.7116
55 | 2690592.0232 | 1283858.6084
56 | 2690574.4339 | 1283861.4114
57 | 2690565.9579 | 1283863.6082
58 | 2690609.4386 | 1283894.7701
59 | 2690609.3069 | 1283899.2419
60 | 2690631.1422 | 1283723.3459
61 | 2690467.3212 | 1283685.949
62 | 2690463.3323 | 1283674.2706
63 | 2690491.6426 | 1283665.2851
64 | 2690503.069 | 1283661.6585
65 | 2690534.5574 | 1283651.3219
66 | 2690644.4908 | 1283719.2261
67 | 2690652.3712 | 1283719.8812
68 | 2690660.8231 | 1283751.1646
69 | 2690664.737 | 1283716.5488
70 | 2690559.5809 | 1283644.5704
71 | 2690647.2593 | 1283642.2281
72 | 2690671.7109 | 1283648.0012
73 | 2690633.8882 | 1283854.3558
74 | 2690646.5875 | 1283853.4115
75 | 2690683.9685 | 1283650.8953
76 | 2690719.3945 | 1283659.2596
77 | 2690550.7545 | 1283900.0751
78 | 2690550.5041 | 1283910.1681
79 | 2690661.5822 | 1283753.9741
80 | 2690674.5751 | 1283714.9561
81 | 2690719.7499 | 1283710.7544
82 | 2690666.8425 | 1283773.4444
83 | 2690669.1553 | 1283782.0046
84 | 2690499.0994 | 1283972.5282
85 | 2690498.7738 | 1283984.9335
86 | 2690499.2219 | 1283967.8627
87 | 2690498.6827 | 1283988.406
88 | 2690499.6506 | 1283951.5315
89 | 2690499.6802 | 1283950.4038
90 | 2690500.1101 | 1283934.0234
91 | 2690500.2212 | 1283929.7931
92 | 2690500.6199 | 1283914.6034
93 | 2690548.7486 | 1283980.9228
94 | 2690548.8878 | 1283975.3144
95 | 2690549.2687 | 1283959.9598
96 | 2690549.555 | 1283948.4221
97 | 2690549.8278 | 1283937.4243
98 | 2690606.9498 | 1283979.2435
99 | 2690607.6723 | 1283954.7215
100 | 2690550.1601 | 1283924.0313
101 | 2690608.9186 | 1283912.4198
102 | 2690608.8092 | 1283916.1322
103 | 2690608.2602 | 1283934.7667
104 | 2690547.7726 | 1283809.9075

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1