## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2939-3_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2939-3_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2939-3_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2939-3_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2939-3_0_2_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2939-3_0_2_node_84 | 0.4 | n |  | TRUE
6 | bus_LV_2939-3_0_2_node_85 | 0.4 | n |  | TRUE
7 | bus_LV_2939-3_0_2_node_12 | 0.4 | n |  | TRUE
8 | bus_LV_2939-3_0_2_node_11 | 0.4 | n |  | TRUE
9 | bus_LV_2939-3_0_2_node_13 | 0.4 | n |  | TRUE
10 | bus_LV_2939-3_0_2_node_14 | 0.4 | n |  | TRUE
11 | bus_LV_2939-3_0_2_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_2939-3_0_2_node_5 | 0.4 | n |  | TRUE
13 | bus_LV_2939-3_0_2_node_6 | 0.4 | n |  | TRUE
14 | bus_LV_2939-3_0_2_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_2939-3_0_2_node_33 | 0.4 | n |  | TRUE
16 | bus_LV_2939-3_0_2_node_25 | 0.4 | n |  | TRUE
17 | bus_LV_2939-3_0_2_node_34 | 0.4 | n |  | TRUE
18 | bus_LV_2939-3_0_2_node_24 | 0.4 | n |  | TRUE
19 | bus_LV_2939-3_0_2_node_10 | 0.4 | n |  | TRUE
20 | bus_LV_2939-3_0_2_node_82 | 0.4 | n |  | TRUE
21 | bus_LV_2939-3_0_2_node_15 | 0.4 | n |  | TRUE
22 | bus_LV_2939-3_0_2_node_16 | 0.4 | n |  | TRUE
23 | bus_LV_2939-3_0_2_node_17 | 0.4 | n |  | TRUE
24 | bus_LV_2939-3_0_2_node_18 | 0.4 | n |  | TRUE
25 | bus_LV_2939-3_0_2_node_19 | 0.4 | n |  | TRUE
26 | bus_LV_2939-3_0_2_node_68 | 0.4 | n |  | TRUE
27 | bus_LV_2939-3_0_2_node_39 | 0.4 | n |  | TRUE
28 | bus_LV_2939-3_0_2_node_64 | 0.4 | n |  | TRUE
29 | bus_LV_2939-3_0_2_node_20 | 0.4 | n |  | TRUE
30 | bus_LV_2939-3_0_2_node_21 | 0.4 | n |  | TRUE
31 | bus_LV_2939-3_0_2_node_22 | 0.4 | n |  | TRUE
32 | bus_LV_2939-3_0_2_node_23 | 0.4 | n |  | TRUE
33 | bus_LV_2939-3_0_2_node_49 | 0.4 | n |  | TRUE
34 | bus_LV_2939-3_0_2_node_50 | 0.4 | n |  | TRUE
35 | bus_LV_2939-3_0_2_node_48 | 0.4 | n |  | TRUE
36 | bus_LV_2939-3_0_2_node_51 | 0.4 | n |  | TRUE
37 | bus_LV_2939-3_0_2_node_26 | 0.4 | n |  | TRUE
38 | bus_LV_2939-3_0_2_node_28 | 0.4 | n |  | TRUE
39 | bus_LV_2939-3_0_2_node_27 | 0.4 | n |  | TRUE
40 | bus_LV_2939-3_0_2_node_36 | 0.4 | n |  | TRUE
41 | bus_LV_2939-3_0_2_node_29 | 0.4 | n |  | TRUE
42 | bus_LV_2939-3_0_2_node_87 | 0.4 | n |  | TRUE
43 | bus_LV_2939-3_0_2_node_30 | 0.4 | n |  | TRUE
44 | bus_LV_2939-3_0_2_node_37 | 0.4 | n |  | TRUE
45 | bus_LV_2939-3_0_2_node_31 | 0.4 | n |  | TRUE
46 | bus_LV_2939-3_0_2_node_32 | 0.4 | n |  | TRUE
47 | bus_LV_2939-3_0_2_node_35 | 0.4 | n |  | TRUE
48 | bus_LV_2939-3_0_2_node_80 | 0.4 | n |  | TRUE
49 | bus_LV_2939-3_0_2_node_79 | 0.4 | n |  | TRUE
50 | bus_LV_2939-3_0_2_node_38 | 0.4 | n |  | TRUE
51 | bus_LV_2939-3_0_2_node_40 | 0.4 | n |  | TRUE
52 | bus_LV_2939-3_0_2_node_41 | 0.4 | n |  | TRUE
53 | bus_LV_2939-3_0_2_node_42 | 0.4 | n |  | TRUE
54 | bus_LV_2939-3_0_2_node_43 | 0.4 | n |  | TRUE
55 | bus_LV_2939-3_0_2_node_44 | 0.4 | n |  | TRUE
56 | bus_LV_2939-3_0_2_node_45 | 0.4 | n |  | TRUE
57 | bus_LV_2939-3_0_2_node_46 | 0.4 | n |  | TRUE
58 | bus_LV_2939-3_0_2_node_47 | 0.4 | n |  | TRUE
59 | bus_LV_2939-3_0_2_node_52 | 0.4 | n |  | TRUE
60 | bus_LV_2939-3_0_2_node_53 | 0.4 | n |  | TRUE
61 | bus_LV_2939-3_0_2_node_54 | 0.4 | n |  | TRUE
62 | bus_LV_2939-3_0_2_node_55 | 0.4 | n |  | TRUE
63 | bus_LV_2939-3_0_2_node_56 | 0.4 | n |  | TRUE
64 | bus_LV_2939-3_0_2_node_57 | 0.4 | n |  | TRUE
65 | bus_LV_2939-3_0_2_node_58 | 0.4 | n |  | TRUE
66 | bus_LV_2939-3_0_2_node_59 | 0.4 | n |  | TRUE
67 | bus_LV_2939-3_0_2_node_60 | 0.4 | n |  | TRUE
68 | bus_LV_2939-3_0_2_node_61 | 0.4 | n |  | TRUE
69 | bus_LV_2939-3_0_2_node_62 | 0.4 | n |  | TRUE
70 | bus_LV_2939-3_0_2_node_63 | 0.4 | n |  | TRUE
71 | bus_LV_2939-3_0_2_node_69 | 0.4 | n |  | TRUE
72 | bus_LV_2939-3_0_2_node_65 | 0.4 | n |  | TRUE
73 | bus_LV_2939-3_0_2_node_66 | 0.4 | n |  | TRUE
74 | bus_LV_2939-3_0_2_node_67 | 0.4 | n |  | TRUE
75 | bus_LV_2939-3_0_2_node_81 | 0.4 | n |  | TRUE
76 | bus_LV_2939-3_0_2_node_70 | 0.4 | n |  | TRUE
77 | bus_LV_2939-3_0_2_node_71 | 0.4 | n |  | TRUE
78 | bus_LV_2939-3_0_2_node_72 | 0.4 | n |  | TRUE
79 | bus_LV_2939-3_0_2_node_73 | 0.4 | n |  | TRUE
80 | bus_LV_2939-3_0_2_node_74 | 0.4 | n |  | TRUE
81 | bus_LV_2939-3_0_2_node_75 | 0.4 | n |  | TRUE
82 | bus_LV_2939-3_0_2_node_76 | 0.4 | n |  | TRUE
83 | bus_LV_2939-3_0_2_node_78 | 0.4 | n |  | TRUE
84 | bus_MV_579_0_node_39 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2939-3_0_2_load_0 | 0 | 0.0042826 | 0.0010733 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2939-3_0_2_load_3 | 3 | 0.00076378 | 0.00019142 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2939-3_0_2_load_4 | 4 | 0.0020147 | 0.00050492 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2939-3_0_2_load_84 | 5 | 0.00053424 | 0.00013389 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2939-3_0_2_load_13 | 9 | 0.00047748 | 0.00011967 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2939-3_0_2_load_14 | 10 | 0.0002805 | 7.03e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2939-3_0_2_load_9 | 11 | 0.00052914 | 0.00013262 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2939-3_0_2_load_5 | 12 | 0.0015444 | 0.00038706 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2939-3_0_2_load_33 | 15 | 0.0015078 | 0.00037789 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2939-3_0_2_load_25 | 16 | 0.0016916 | 0.00042395 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2939-3_0_2_load_34 | 17 | 0.00093898 | 0.00023533 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2939-3_0_2_load_24 | 18 | 0.0015555 | 0.00038984 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2939-3_0_2_load_10 | 19 | 0.00087168 | 0.00021846 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2939-3_0_2_load_82 | 20 | 0.00037724 | 9.4545e-05 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2939-3_0_2_load_15 | 21 | 0.0018162 | 0.00045519 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2939-3_0_2_load_16 | 22 | 0.0014559 | 0.00036489 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2939-3_0_2_load_17 | 23 | 0.00060314 | 0.00015116 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2939-3_0_2_load_18 | 24 | 0.00077561 | 0.00019439 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2939-3_0_2_load_19 | 25 | 0.00070934 | 0.00017778 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2939-3_0_2_load_68 | 26 | 0.0012935 | 0.00032418 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2939-3_0_2_load_39 | 27 | 0.0010431 | 0.00026144 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2939-3_0_2_load_20 | 29 | 0.0010862 | 0.00027223 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2939-3_0_2_load_22 | 31 | 0.0014754 | 0.00036978 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2939-3_0_2_load_23 | 32 | 0.0024028 | 0.00060221 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2939-3_0_2_load_49 | 33 | 0.0014169 | 0.00035511 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2939-3_0_2_load_50 | 34 | 0.0022564 | 0.00056552 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2939-3_0_2_load_48 | 35 | 0.0011841 | 0.00029677 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2939-3_0_2_load_51 | 36 | 0.0014527 | 0.00036408 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2939-3_0_2_load_36 | 40 | 0.0019259 | 0.00048268 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2939-3_0_2_load_87 | 42 | 0.00081218 | 0.00020355 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2939-3_0_2_load_30 | 43 | 0.002208 | 0.00055339 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2939-3_0_2_load_37 | 44 | 0.0028412 | 0.00071207 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2939-3_0_2_load_31 | 45 | 0.0029307 | 0.00073451 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2939-3_0_2_load_35 | 47 | 0.00097632 | 0.00024469 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2939-3_0_2_load_80 | 48 | 0.0016693 | 0.00041837 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2939-3_0_2_load_79 | 49 | 0.0015297 | 0.00038338 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2939-3_0_2_load_38 | 50 | 0.0015369 | 0.00038518 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2939-3_0_2_load_40 | 51 | 0.0017666 | 0.00044275 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2939-3_0_2_load_41 | 52 | 0.0018108 | 0.00045382 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2939-3_0_2_load_42 | 53 | 0.0020977 | 0.00052574 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2939-3_0_2_load_43 | 54 | 0.00096728 | 0.00024242 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2939-3_0_2_load_44 | 55 | 0.0010595 | 0.00026554 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2939-3_0_2_load_45 | 56 | 0.0010623 | 0.00026625 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2939-3_0_2_load_46 | 57 | 0.0009566 | 0.00023975 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2939-3_0_2_load_47 | 58 | 0.0010591 | 0.00026543 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2939-3_0_2_load_52 | 59 | 0.0016216 | 0.00040642 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2939-3_0_2_load_53 | 60 | 0.0015837 | 0.00039692 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2939-3_0_2_load_54 | 61 | 0.0010524 | 0.00026375 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2939-3_0_2_load_55 | 62 | 0.0018289 | 0.00045835 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2939-3_0_2_load_56 | 63 | 0.0012113 | 0.00030359 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2939-3_0_2_load_57 | 64 | 0.0018978 | 0.00047564 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2939-3_0_2_load_58 | 65 | 0.00099335 | 0.00024896 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2939-3_0_2_load_59 | 66 | 0.00062458 | 0.00015653 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2939-3_0_2_load_60 | 67 | 0.00074349 | 0.00018634 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2939-3_0_2_load_61 | 68 | 0.00048557 | 0.00012169 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2939-3_0_2_load_63 | 70 | 0.00054772 | 0.00013727 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_2939-3_0_2_load_69 | 71 | 0.00046118 | 0.00011558 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_2939-3_0_2_load_66 | 73 | 0.00035298 | 8.8465e-05 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_2939-3_0_2_load_67 | 74 | 0.0015965 | 0.00040013 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_2939-3_0_2_load_81 | 75 | 0.00054266 | 0.000136 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_2939-3_0_2_load_70 | 76 | 0.0017132 | 0.00042938 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_2939-3_0_2_load_71 | 77 | 0.0024248 | 0.00060772 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_2939-3_0_2_load_72 | 78 | 0.0023955 | 0.00060036 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_2939-3_0_2_load_73 | 79 | 0.0014669 | 0.00036764 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_2939-3_0_2_load_74 | 80 | 0.0015888 | 0.00039818 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_2939-3_0_2_load_75 | 81 | 0.0024995 | 0.00062644 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_2939-3_0_2_load_76 | 82 | 0.0016156 | 0.0004049 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_2939-3_0_2_load_78 | 83 | 0.0016188 | 0.0004057 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 59 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2939-3_0_2_line_0 |  | 0 | 1 | 0.061547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2939-3_0_2_line_1 |  | 0 | 2 | 0.014025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2939-3_0_2_line_2 |  | 1 | 3 | 0.032343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2939-3_0_2_line_3 |  | 2 | 4 | 0.020004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2939-3_0_2_line_4 |  | 4 | 8 | 0.032174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2939-3_0_2_line_5 |  | 5 | 6 | 0.089002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2939-3_0_2_line_6 |  | 5 | 7 | 0.38408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2939-3_0_2_line_7 |  | 6 | 46 | 0.12687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2939-3_0_2_line_8 |  | 7 | 20 | 0.74598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2939-3_0_2_line_9 |  | 7 | 19 | 0.15593 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2939-3_0_2_line_10 |  | 8 | 9 | 0.0068272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2939-3_0_2_line_11 |  | 8 | 10 | 0.052882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2939-3_0_2_line_12 |  | 8 | 11 | 0.030808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2939-3_0_2_line_13 |  | 11 | 19 | 0.0046979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2939-3_0_2_line_14 |  | 12 | 13 | 0.016612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2939-3_0_2_line_15 |  | 13 | 14 | 0.21041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2939-3_0_2_line_16 |  | 14 | 15 | 0.014273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2939-3_0_2_line_17 |  | 14 | 16 | 0.012808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2939-3_0_2_line_18 |  | 15 | 17 | 0.094592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2939-3_0_2_line_19 |  | 16 | 18 | 0.02296 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2939-3_0_2_line_20 |  | 17 | 47 | 0.023474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2939-3_0_2_line_21 |  | 18 | 37 | 0.018491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2939-3_0_2_line_22 |  | 21 | 22 | 0.052761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2939-3_0_2_line_23 |  | 21 | 23 | 0.087229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2939-3_0_2_line_24 |  | 22 | 24 | 0.019317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2939-3_0_2_line_25 |  | 23 | 25 | 0.012542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2939-3_0_2_line_26 |  | 24 | 26 | 0.028609 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2939-3_0_2_line_27 |  | 25 | 27 | 0.022279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2939-3_0_2_line_28 |  | 26 | 28 | 0.051509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2939-3_0_2_line_29 |  | 28 | 71 | 0.02495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2939-3_0_2_line_30 |  | 28 | 69 | 0.018992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2939-3_0_2_line_31 |  | 29 | 30 | 0.05245 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2939-3_0_2_line_32 |  | 30 | 31 | 0.017002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2939-3_0_2_line_33 |  | 30 | 32 | 0.015903 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2939-3_0_2_line_34 |  | 31 | 33 | 0.0034858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2939-3_0_2_line_35 |  | 32 | 34 | 0.0050954 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2939-3_0_2_line_36 |  | 33 | 35 | 0.022982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2939-3_0_2_line_37 |  | 34 | 36 | 0.022818 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2939-3_0_2_line_38 |  | 35 | 58 | 0.001705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2939-3_0_2_line_39 |  | 36 | 59 | 0.0051014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2939-3_0_2_line_40 |  | 37 | 38 | 0.046811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2939-3_0_2_line_41 |  | 38 | 41 | 0.066242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2939-3_0_2_line_42 |  | 38 | 42 | 0.072131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2939-3_0_2_line_43 |  | 38 | 39 | 0.082434 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2939-3_0_2_line_44 |  | 39 | 40 | 0.014122 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2939-3_0_2_line_45 |  | 40 | 44 | 0.016976 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2939-3_0_2_line_46 |  | 41 | 43 | 0.061028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2939-3_0_2_line_47 |  | 43 | 45 | 0.088903 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2939-3_0_2_line_48 |  | 44 | 50 | 0.020874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2939-3_0_2_line_49 |  | 45 | 46 | 0.24956 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2939-3_0_2_line_50 |  | 47 | 48 | 0.031053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_2939-3_0_2_line_51 |  | 48 | 49 | 0.026704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2939-3_0_2_line_52 |  | 49 | 83 | 0.028718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2939-3_0_2_line_53 |  | 50 | 51 | 0.0044929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2939-3_0_2_line_54 |  | 51 | 52 | 0.020667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2939-3_0_2_line_55 |  | 52 | 53 | 0.0010741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_2939-3_0_2_line_56 |  | 53 | 54 | 0.020834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2939-3_0_2_line_57 |  | 54 | 55 | 0.0027269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_2939-3_0_2_line_58 |  | 55 | 56 | 0.020718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_2939-3_0_2_line_59 |  | 56 | 57 | 0.00090591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_2939-3_0_2_line_60 |  | 57 | 58 | 0.020984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_2939-3_0_2_line_61 |  | 59 | 60 | 0.017418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_2939-3_0_2_line_62 |  | 60 | 61 | 0.0018863 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_2939-3_0_2_line_63 |  | 61 | 62 | 0.018093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_2939-3_0_2_line_64 |  | 62 | 63 | 0.00085441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_2939-3_0_2_line_65 |  | 63 | 64 | 0.019896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_2939-3_0_2_line_66 |  | 64 | 65 | 0.0034417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_2939-3_0_2_line_67 |  | 65 | 66 | 0.019741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_2939-3_0_2_line_68 |  | 66 | 67 | 0.015703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_2939-3_0_2_line_69 |  | 67 | 68 | 0.0022142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_2939-3_0_2_line_70 |  | 68 | 69 | 0.016554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_2939-3_0_2_line_71 |  | 69 | 70 | 0.026359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_2939-3_0_2_line_72 |  | 71 | 73 | 0.016011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_2939-3_0_2_line_73 |  | 72 | 73 | 0.0070011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_2939-3_0_2_line_74 |  | 72 | 74 | 0.018995 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_2939-3_0_2_line_75 |  | 74 | 75 | 0.111 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_2939-3_0_2_line_76 |  | 76 | 77 | 0.0062368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_2939-3_0_2_line_77 |  | 76 | 78 | 0.018533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_2939-3_0_2_line_78 |  | 77 | 79 | 0.073252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_2939-3_0_2_line_79 |  | 78 | 80 | 0.0068175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_2939-3_0_2_line_80 |  | 80 | 81 | 0.018046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_2939-3_0_2_line_81 |  | 81 | 82 | 0.0094036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_2939-3_0_2_line_82 |  | 82 | 83 | 0.022092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2939-3_0_2_trafo_52 | 0.63 MVA 20/0.4 kV | 84 | 59 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14
0 | 2687696.2646 | 1285812.2415 | 2687680.8245 | 1285838.6236 | 2687673.1705 | 1285844.6149 | 2687652.7953 | 1285838.551
1 | 2687638.8254 | 1285839.7887 | 2687652.7953 | 1285838.551
2 | 2687696.2646 | 1285812.2415 | 2687667.8629 | 1285796.7685
3 | 2687638.8254 | 1285839.7887 | 2687619.2306 | 1285843.8119
4 | 2687592.199 | 1285852.3508 | 2687609.0077 | 1285855.003 | 2687619.2306 | 1285843.8119
5 | 2688032.8285 | 1286095.6298 | 2688004.6658 | 1286113.091 | 2687962.4834 | 1286149.719
6 | 2687962.4834 | 1286149.719 | 2687595.4229 | 1286036.6594
7 | 2688032.8285 | 1286095.6298 | 2688041.0507 | 1286092.2941 | 2688088.0132 | 1286073.2683 | 2688104.0675 | 1286070.1167 | 2688155.0282 | 1286069.7786
8 | 2687595.4229 | 1286036.6594 | 2687364.4687 | 1286745.9843
9 | 2687595.4229 | 1286036.6594 | 2687606.642 | 1285911.0945 | 2687607.3829 | 1285881.2367
10 | 2687592.199 | 1285852.3508 | 2687585.6232 | 1285850.5152
11 | 2687592.199 | 1285852.3508 | 2687585.9801 | 1285835.5326 | 2687580.4877 | 1285814.2658 | 2687578.456 | 1285801.4393
12 | 2687592.199 | 1285852.3508 | 2687607.7294 | 1285867.2725 | 2687607.4994 | 1285876.5402
13 | 2687607.4994 | 1285876.5402 | 2687607.3829 | 1285881.2367
14 | 2688632.8008 | 1286266.8186 | 2688649.4112 | 1286266.5906
15 | 2688591.6307 | 1286067.9588 | 2688590.8775 | 1286079.6132 | 2688583.9257 | 1286145.1216 | 2688586.906 | 1286162.5038 | 2688611.8135 | 1286236.2651 | 2688621.0588 | 1286246.2351 | 2688627.4152 | 1286259.1754 | 2688632.8008 | 1286266.8186
16 | 2688591.6307 | 1286067.9588 | 2688584.2346 | 1286080.1666
17 | 2688591.6307 | 1286067.9588 | 2688594.4638 | 1286055.4685
18 | 2688542.2535 | 1286164.0886 | 2688549.5205 | 1286137.4644 | 2688584.2346 | 1286080.1666
19 | 2688598.5064 | 1286032.9538 | 2688598.4308 | 1286037.9793 | 2688594.4638 | 1286055.4685
20 | 2688536.0726 | 1286186.7339 | 2688542.2535 | 1286164.0886
21 | 2688597.4555 | 1286014.5219 | 2688598.6111 | 1286025.9937 | 2688598.5064 | 1286032.9538
22 | 2688413.4795 | 1286240.4392 | 2688411.4502 | 1286241.1483 | 2688387.1281 | 1286247.6891 | 2688366.6437 | 1286251.5297 | 2688362.0838 | 1286251.9992
23 | 2688413.4795 | 1286240.4392 | 2688428.3862 | 1286235.2306 | 2688442.2607 | 1286229.8008 | 2688456.0415 | 1286223.1129 | 2688470.2467 | 1286212.6615 | 2688482.0523 | 1286199.594 | 2688485.5164 | 1286194.7252
24 | 2688342.8353 | 1286253.5043 | 2688349.9585 | 1286253.2476 | 2688362.0838 | 1286251.9992
25 | 2688492.5234 | 1286184.3274 | 2688489.0823 | 1286189.7132 | 2688485.5164 | 1286194.7252
26 | 2688314.2926 | 1286251.8272 | 2688339.4993 | 1286253.6245 | 2688342.8353 | 1286253.5043
27 | 2688504.5185 | 1286165.5532 | 2688492.5234 | 1286184.3274
28 | 2688263.1483 | 1286245.7845 | 2688285.0025 | 1286248.1695 | 2688309.6717 | 1286251.4977 | 2688314.2926 | 1286251.8272
29 | 2688263.1483 | 1286245.7845 | 2688238.3316 | 1286243.2069
30 | 2688263.1483 | 1286245.7845 | 2688266.1086 | 1286227.0235
31 | 2688408.3144 | 1286157.1278 | 2688432.1096 | 1286203.8701
32 | 2688408.3144 | 1286157.1278 | 2688414.1665 | 1286154.2242 | 2688423.2875 | 1286149.0846
33 | 2688408.3144 | 1286157.1278 | 2688393.8856 | 1286163.8149
34 | 2688426.3243 | 1286147.3734 | 2688423.2875 | 1286149.0846
35 | 2688393.8856 | 1286163.8149 | 2688389.2626 | 1286165.9575
36 | 2688445.8622 | 1286135.3073 | 2688436.3118 | 1286141.7456 | 2688426.3243 | 1286147.3734
37 | 2688368.1675 | 1286174.6006 | 2688379.4241 | 1286170.5172 | 2688389.2626 | 1286165.9575
38 | 2688445.8622 | 1286135.3073 | 2688447.2759 | 1286134.3542
39 | 2688368.1675 | 1286174.6006 | 2688363.3719 | 1286176.3403
40 | 2688574.3157 | 1285983.8027 | 2688582.5493 | 1285985.7281 | 2688579.911 | 1285995.9863 | 2688594.888 | 1286004.1075 | 2688597.4555 | 1286014.5219
41 | 2688534.2224 | 1285955.0972 | 2688532.0026 | 1285956.9877 | 2688530.5688 | 1285959.5129 | 2688530.0829 | 1285962.3747 | 2688530.6179 | 1285965.2297 | 2688532.0887 | 1285967.7318 | 2688534.3348 | 1285969.5782 | 2688537.082 | 1285970.5426 | 2688539.9867 | 1285970.5195 | 2688542.7186 | 1285969.5042 | 2688544.9308 | 1285967.6246 | 2688546.3646 | 1285965.0995 | 2688551.0158 | 1285971.197 | 2688564.2864 | 1285977.0238 | 2688574.3157 | 1285983.8027
42 | 2688574.3157 | 1285983.8027 | 2688529.3919 | 1286013.32 | 2688513.857 | 1286023.1395
43 | 2688564.1811 | 1286057.3591 | 2688568.9908 | 1286041.9401 | 2688572.5192 | 1286026.8911 | 2688573.7137 | 1286022.3162 | 2688579.911 | 1285995.9863 | 2688582.5493 | 1285985.7281 | 2688574.3157 | 1285983.8027
44 | 2688564.1811 | 1286057.3591 | 2688559.389 | 1286056.1415 | 2688554.3506 | 1286055.8322 | 2688550.3187 | 1286056.7247
45 | 2688550.3187 | 1286056.7247 | 2688545.2247 | 1286057.8524 | 2688535.0443 | 1286062.6258 | 2688534.5988 | 1286062.8843
46 | 2688534.2224 | 1285955.0972 | 2688527.0714 | 1285958.0257 | 2688494.2592 | 1285979.6183 | 2688481.7108 | 1285985.8743
47 | 2688398.5014 | 1286015.0134 | 2688408.554 | 1286012.7496 | 2688436.97 | 1286007.5159 | 2688456.4301 | 1285998.4779 | 2688481.7108 | 1285985.8743
48 | 2688534.5988 | 1286062.8843 | 2688522.9768 | 1286069.6284 | 2688517.0053 | 1286074.061
49 | 2688155.0282 | 1286069.7786 | 2688196.3137 | 1286060.544 | 2688398.5014 | 1286015.0134
50 | 2688523.3454 | 1286214.7637 | 2688527.9472 | 1286208.6914 | 2688534.8833 | 1286191.0913 | 2688536.0726 | 1286186.7339
51 | 2688504.7653 | 1286233.6188 | 2688515.123 | 1286225.6135 | 2688523.3454 | 1286214.7637
52 | 2688478.8946 | 1286245.6755 | 2688482.7433 | 1286244.4881 | 2688500.6137 | 1286236.8276 | 2688504.7653 | 1286233.6188
53 | 2688513.3977 | 1286076.739 | 2688517.0053 | 1286074.061
54 | 2688513.3977 | 1286076.739 | 2688509.4528 | 1286079.6673 | 2688498.2331 | 1286090.7263
55 | 2688498.2331 | 1286090.7263 | 2688497.4681 | 1286091.4803
56 | 2688482.6307 | 1286106.1052 | 2688497.4681 | 1286091.4803
57 | 2688482.6307 | 1286106.1052 | 2688480.6886 | 1286108.0194
58 | 2688480.6886 | 1286108.0194 | 2688477.0028 | 1286111.6524 | 2688465.0638 | 1286121.604 | 2688465.0638 | 1286121.604
59 | 2688465.0638 | 1286121.604 | 2688464.3346 | 1286122.1416
60 | 2688464.3346 | 1286122.1416 | 2688453.0132 | 1286130.4865 | 2688447.2759 | 1286134.3542
61 | 2688363.3719 | 1286176.3403 | 2688351.9586 | 1286180.4806 | 2688346.8951 | 1286181.9643
62 | 2688345.0848 | 1286182.4947 | 2688346.8951 | 1286181.9643
63 | 2688345.0848 | 1286182.4947 | 2688327.7219 | 1286187.5822
64 | 2688326.902 | 1286187.8224 | 2688327.7219 | 1286187.5822
65 | 2688326.902 | 1286187.8224 | 2688307.8088 | 1286193.4169
66 | 2688307.8088 | 1286193.4169 | 2688304.506 | 1286194.3846
67 | 2688304.506 | 1286194.3846 | 2688287.1135 | 1286199.4808 | 2688285.6854 | 1286200.2397
68 | 2688273.6718 | 1286209.8967 | 2688276.3209 | 1286206.0804 | 2688281.4552 | 1286202.4875 | 2688285.6854 | 1286200.2397
69 | 2688273.6718 | 1286209.8967 | 2688272.4091 | 1286211.7156
70 | 2688266.1086 | 1286227.0235 | 2688272.4091 | 1286211.7156
71 | 2688266.1086 | 1286227.0235 | 2688247.3724 | 1286227.3876 | 2688240.0171 | 1286229.3749
72 | 2688238.3316 | 1286243.2069 | 2688232.6159 | 1286242.6133 | 2688222.3528 | 1286242.449
73 | 2688215.3527 | 1286242.3323 | 2688221.6697 | 1286242.4381 | 2688222.3528 | 1286242.449
74 | 2688215.3527 | 1286242.3323 | 2688202.9414 | 1286243.7811 | 2688196.5779 | 1286245.1013
75 | 2688196.5779 | 1286245.1013 | 2688192.493 | 1286245.9488 | 2688184.9127 | 1286247.5145 | 2688172.8898 | 1286251.5937 | 2688162.108 | 1286255.9806 | 2688120.1524 | 1286276.482 | 2688096.0082 | 1286290.7621
76 | 2688409.319 | 1286273.2321 | 2688403.5453 | 1286275.5906
77 | 2688409.319 | 1286273.2321 | 2688426.4758 | 1286266.2236
78 | 2688403.5453 | 1286275.5906 | 2688377.2803 | 1286286.3197 | 2688362.9341 | 1286289.6963 | 2688349.1509 | 1286290.557 | 2688332.877 | 1286289.177
79 | 2688432.787 | 1286263.6455 | 2688426.4758 | 1286266.2236
80 | 2688432.787 | 1286263.6455 | 2688438.5155 | 1286261.3055 | 2688449.4113 | 1286256.6254
81 | 2688449.4113 | 1286256.6254 | 2688458.0516 | 1286252.9142
82 | 2688458.0516 | 1286252.9142 | 2688464.7321 | 1286250.0448 | 2688478.8946 | 1286245.6755

## bus_geodata
| x | y | coords
0 | 2687652.7953 | 1285838.551
1 | 2687696.2646 | 1285812.2415
2 | 2687638.8254 | 1285839.7887
3 | 2687667.8629 | 1285796.7685
4 | 2687619.2306 | 1285843.8119
5 | 2687962.4834 | 1286149.719
6 | 2688032.8285 | 1286095.6298
7 | 2687595.4229 | 1286036.6594
8 | 2687592.199 | 1285852.3508
9 | 2687585.6232 | 1285850.5152
10 | 2687578.456 | 1285801.4393
11 | 2687607.4994 | 1285876.5402
12 | 2688649.4112 | 1286266.5906
13 | 2688632.8008 | 1286266.8186
14 | 2688591.6307 | 1286067.9588
15 | 2688584.2346 | 1286080.1666
16 | 2688594.4638 | 1286055.4685
17 | 2688542.2535 | 1286164.0886
18 | 2688598.5064 | 1286032.9538
19 | 2687607.3829 | 1285881.2367
20 | 2687364.4687 | 1286745.9843
21 | 2688413.4795 | 1286240.4392
22 | 2688362.0838 | 1286251.9992
23 | 2688485.5164 | 1286194.7252
24 | 2688342.8353 | 1286253.5043
25 | 2688492.5234 | 1286184.3274
26 | 2688314.2926 | 1286251.8272
27 | 2688504.5185 | 1286165.5532
28 | 2688263.1483 | 1286245.7845
29 | 2688432.1096 | 1286203.8701
30 | 2688408.3144 | 1286157.1278
31 | 2688423.2875 | 1286149.0846
32 | 2688393.8856 | 1286163.8149
33 | 2688426.3243 | 1286147.3734
34 | 2688389.2626 | 1286165.9575
35 | 2688445.8622 | 1286135.3073
36 | 2688368.1675 | 1286174.6006
37 | 2688597.4555 | 1286014.5219
38 | 2688574.3157 | 1285983.8027
39 | 2688564.1811 | 1286057.3591
40 | 2688550.3187 | 1286056.7247
41 | 2688534.2224 | 1285955.0972
42 | 2688513.857 | 1286023.1395
43 | 2688481.7108 | 1285985.8743
44 | 2688534.5988 | 1286062.8843
45 | 2688398.5014 | 1286015.0134
46 | 2688155.0282 | 1286069.7786
47 | 2688536.0726 | 1286186.7339
48 | 2688523.3454 | 1286214.7637
49 | 2688504.7653 | 1286233.6188
50 | 2688517.0053 | 1286074.061
51 | 2688513.3977 | 1286076.739
52 | 2688498.2331 | 1286090.7263
53 | 2688497.4681 | 1286091.4803
54 | 2688482.6307 | 1286106.1052
55 | 2688480.6886 | 1286108.0194
56 | 2688465.0638 | 1286121.604
57 | 2688464.3346 | 1286122.1416
58 | 2688447.2759 | 1286134.3542
59 | 2688363.3719 | 1286176.3403
60 | 2688346.8951 | 1286181.9643
61 | 2688345.0848 | 1286182.4947
62 | 2688327.7219 | 1286187.5822
63 | 2688326.902 | 1286187.8224
64 | 2688307.8088 | 1286193.4169
65 | 2688304.506 | 1286194.3846
66 | 2688285.6854 | 1286200.2397
67 | 2688273.6718 | 1286209.8967
68 | 2688272.4091 | 1286211.7156
69 | 2688266.1086 | 1286227.0235
70 | 2688240.0171 | 1286229.3749
71 | 2688238.3316 | 1286243.2069
72 | 2688215.3527 | 1286242.3323
73 | 2688222.3528 | 1286242.449
74 | 2688196.5779 | 1286245.1013
75 | 2688096.0082 | 1286290.7621
76 | 2688409.319 | 1286273.2321
77 | 2688403.5453 | 1286275.5906
78 | 2688426.4758 | 1286266.2236
79 | 2688332.877 | 1286289.177
80 | 2688432.787 | 1286263.6455
81 | 2688449.4113 | 1286256.6254
82 | 2688458.0516 | 1286252.9142
83 | 2688478.8946 | 1286245.6755
84 | 2688408.3144 | 1286157.1278

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1