## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2939-40_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2939-40_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2939-40_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2939-40_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2939-40_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2939-40_0_3_node_53 | 0.4 | n |  | TRUE
6 | bus_LV_2939-40_0_3_node_45 | 0.4 | n |  | TRUE
7 | bus_LV_2939-40_0_3_node_37 | 0.4 | n |  | TRUE
8 | bus_LV_2939-40_0_3_node_60 | 0.4 | n |  | TRUE
9 | bus_LV_2939-40_0_3_node_44 | 0.4 | n |  | TRUE
10 | bus_LV_2939-40_0_3_node_35 | 0.4 | n |  | TRUE
11 | bus_LV_2939-40_0_3_node_36 | 0.4 | n |  | TRUE
12 | bus_LV_2939-40_0_3_node_5 | 0.4 | n |  | TRUE
13 | bus_LV_2939-40_0_3_node_6 | 0.4 | n |  | TRUE
14 | bus_LV_2939-40_0_3_node_7 | 0.4 | n |  | TRUE
15 | bus_LV_2939-40_0_3_node_8 | 0.4 | n |  | TRUE
16 | bus_LV_2939-40_0_3_node_9 | 0.4 | n |  | TRUE
17 | bus_LV_2939-40_0_3_node_43 | 0.4 | n |  | TRUE
18 | bus_LV_2939-40_0_3_node_28 | 0.4 | n |  | TRUE
19 | bus_LV_2939-40_0_3_node_42 | 0.4 | n |  | TRUE
20 | bus_LV_2939-40_0_3_node_26 | 0.4 | n |  | TRUE
21 | bus_LV_2939-40_0_3_node_10 | 0.4 | n |  | TRUE
22 | bus_LV_2939-40_0_3_node_11 | 0.4 | n |  | TRUE
23 | bus_LV_2939-40_0_3_node_12 | 0.4 | n |  | TRUE
24 | bus_LV_2939-40_0_3_node_13 | 0.4 | n |  | TRUE
25 | bus_LV_2939-40_0_3_node_17 | 0.4 | n |  | TRUE
26 | bus_LV_2939-40_0_3_node_59 | 0.4 | n |  | TRUE
27 | bus_LV_2939-40_0_3_node_15 | 0.4 | n |  | TRUE
28 | bus_LV_2939-40_0_3_node_16 | 0.4 | n |  | TRUE
29 | bus_LV_2939-40_0_3_node_93 | 0.4 | n |  | TRUE
30 | bus_LV_2939-40_0_3_node_91 | 0.4 | n |  | TRUE
31 | bus_LV_2939-40_0_3_node_39 | 0.4 | n |  | TRUE
32 | bus_LV_2939-40_0_3_node_70 | 0.4 | n |  | TRUE
33 | bus_LV_2939-40_0_3_node_38 | 0.4 | n |  | TRUE
34 | bus_LV_2939-40_0_3_node_85 | 0.4 | n |  | TRUE
35 | bus_LV_2939-40_0_3_node_92 | 0.4 | n |  | TRUE
36 | bus_LV_2939-40_0_3_node_62 | 0.4 | n |  | TRUE
37 | bus_LV_2939-40_0_3_node_63 | 0.4 | n |  | TRUE
38 | bus_LV_2939-40_0_3_node_64 | 0.4 | n |  | TRUE
39 | bus_LV_2939-40_0_3_node_69 | 0.4 | n |  | TRUE
40 | bus_LV_2939-40_0_3_node_68 | 0.4 | n |  | TRUE
41 | bus_LV_2939-40_0_3_node_95 | 0.4 | n |  | TRUE
42 | bus_LV_2939-40_0_3_node_94 | 0.4 | n |  | TRUE
43 | bus_LV_2939-40_0_3_node_20 | 0.4 | n |  | TRUE
44 | bus_LV_2939-40_0_3_node_21 | 0.4 | n |  | TRUE
45 | bus_LV_2939-40_0_3_node_23 | 0.4 | n |  | TRUE
46 | bus_LV_2939-40_0_3_node_66 | 0.4 | n |  | TRUE
47 | bus_LV_2939-40_0_3_node_78 | 0.4 | n |  | TRUE
48 | bus_LV_2939-40_0_3_node_90 | 0.4 | n |  | TRUE
49 | bus_LV_2939-40_0_3_node_71 | 0.4 | n |  | TRUE
50 | bus_LV_2939-40_0_3_node_72 | 0.4 | n |  | TRUE
51 | bus_LV_2939-40_0_3_node_27 | 0.4 | n |  | TRUE
52 | bus_LV_2939-40_0_3_node_29 | 0.4 | n |  | TRUE
53 | bus_LV_2939-40_0_3_node_50 | 0.4 | n |  | TRUE
54 | bus_LV_2939-40_0_3_node_55 | 0.4 | n |  | TRUE
55 | bus_LV_2939-40_0_3_node_30 | 0.4 | n |  | TRUE
56 | bus_LV_2939-40_0_3_node_31 | 0.4 | n |  | TRUE
57 | bus_LV_2939-40_0_3_node_32 | 0.4 | n |  | TRUE
58 | bus_LV_2939-40_0_3_node_33 | 0.4 | n |  | TRUE
59 | bus_LV_2939-40_0_3_node_34 | 0.4 | n |  | TRUE
60 | bus_LV_2939-40_0_3_node_46 | 0.4 | n |  | TRUE
61 | bus_LV_2939-40_0_3_node_40 | 0.4 | n |  | TRUE
62 | bus_LV_2939-40_0_3_node_47 | 0.4 | n |  | TRUE
63 | bus_LV_2939-40_0_3_node_41 | 0.4 | n |  | TRUE
64 | bus_LV_2939-40_0_3_node_51 | 0.4 | n |  | TRUE
65 | bus_LV_2939-40_0_3_node_52 | 0.4 | n |  | TRUE
66 | bus_LV_2939-40_0_3_node_48 | 0.4 | n |  | TRUE
67 | bus_LV_2939-40_0_3_node_54 | 0.4 | n |  | TRUE
68 | bus_LV_2939-40_0_3_node_65 | 0.4 | n |  | TRUE
69 | bus_LV_2939-40_0_3_node_61 | 0.4 | n |  | TRUE
70 | bus_LV_2939-40_0_3_node_56 | 0.4 | n |  | TRUE
71 | bus_LV_2939-40_0_3_node_57 | 0.4 | n |  | TRUE
72 | bus_LV_2939-40_0_3_node_58 | 0.4 | n |  | TRUE
73 | bus_LV_2939-40_0_3_node_84 | 0.4 | n |  | TRUE
74 | bus_LV_2939-40_0_3_node_83 | 0.4 | n |  | TRUE
75 | bus_LV_2939-40_0_3_node_89 | 0.4 | n |  | TRUE
76 | bus_LV_2939-40_0_3_node_75 | 0.4 | n |  | TRUE
77 | bus_LV_2939-40_0_3_node_76 | 0.4 | n |  | TRUE
78 | bus_LV_2939-40_0_3_node_73 | 0.4 | n |  | TRUE
79 | bus_LV_2939-40_0_3_node_74 | 0.4 | n |  | TRUE
80 | bus_LV_2939-40_0_3_node_86 | 0.4 | n |  | TRUE
81 | bus_LV_2939-40_0_3_node_87 | 0.4 | n |  | TRUE
82 | bus_LV_2939-40_0_3_node_77 | 0.4 | n |  | TRUE
83 | bus_LV_2939-40_0_3_node_79 | 0.4 | n |  | TRUE
84 | bus_LV_2939-40_0_3_node_80 | 0.4 | n |  | TRUE
85 | bus_LV_2939-40_0_3_node_81 | 0.4 | n |  | TRUE
86 | bus_LV_2939-40_0_3_node_82 | 0.4 | n |  | TRUE
87 | bus_LV_2939-40_0_3_node_88 | 0.4 | n |  | TRUE
88 | bus_MV_391_0_node_115 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2939-40_0_3_load_0 | 0 | 0.0051861 | 0.0012998 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2939-40_0_3_load_1 | 1 | 0.0036061 | 0.00090378 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2939-40_0_3_load_2 | 2 | 0.0023008 | 0.00057664 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2939-40_0_3_load_53 | 5 | 0.0022919 | 0.0005744 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2939-40_0_3_load_45 | 6 | 0.0029645 | 0.00074297 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2939-40_0_3_load_37 | 7 | 0.061635 | 0.015447 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2939-40_0_3_load_60 | 8 | 0.0023609 | 0.00059169 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2939-40_0_3_load_44 | 9 | 0.0025511 | 0.00063937 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2939-40_0_3_load_35 | 10 | 0.0042009 | 0.0010528 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2939-40_0_3_load_5 | 12 | 0.0043946 | 0.0011014 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2939-40_0_3_load_6 | 13 | 0.0041898 | 0.0010501 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2939-40_0_3_load_7 | 14 | 0.003968 | 0.00099447 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2939-40_0_3_load_8 | 15 | 0.0049576 | 0.0012425 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2939-40_0_3_load_9 | 16 | 0.0031845 | 0.00079811 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2939-40_0_3_load_28 | 18 | 0.0036613 | 0.00091762 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2939-40_0_3_load_42 | 19 | 0.003395 | 0.00085087 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2939-40_0_3_load_26 | 20 | 0.0033552 | 0.00084089 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2939-40_0_3_load_10 | 21 | 0.03018 | 0.0075638 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2939-40_0_3_load_17 | 25 | 0.0062772 | 0.0015732 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2939-40_0_3_load_59 | 26 | 0.021326 | 0.0053447 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2939-40_0_3_load_93 | 29 | 0.0018214 | 0.00045649 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2939-40_0_3_load_91 | 30 | 0.0038549 | 0.00096613 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2939-40_0_3_load_70 | 32 | 0.014081 | 0.003529 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2939-40_0_3_load_85 | 34 | 0.012337 | 0.0030919 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2939-40_0_3_load_92 | 35 | 0.0024539 | 0.00061501 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2939-40_0_3_load_62 | 36 | 0.0053073 | 0.0013301 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2939-40_0_3_load_69 | 39 | 0.0012633 | 0.0003166 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2939-40_0_3_load_68 | 40 | 0.0018392 | 0.00046094 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2939-40_0_3_load_95 | 41 | 0.0012467 | 0.00031245 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2939-40_0_3_load_94 | 42 | 0.0012621 | 0.00031631 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2939-40_0_3_load_20 | 43 | 0.0045066 | 0.0011294 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2939-40_0_3_load_21 | 44 | 0.0047879 | 0.0012 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2939-40_0_3_load_78 | 47 | 0.0012272 | 0.00030757 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2939-40_0_3_load_90 | 48 | 0.0028339 | 0.00071025 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2939-40_0_3_load_71 | 49 | 0.0021688 | 0.00054355 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2939-40_0_3_load_72 | 50 | 0.0029122 | 0.00072986 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2939-40_0_3_load_27 | 51 | 0.0030597 | 0.00076684 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2939-40_0_3_load_29 | 52 | 0.0096116 | 0.0024089 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2939-40_0_3_load_50 | 53 | 0.0026986 | 0.00067634 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2939-40_0_3_load_55 | 54 | 0.0034333 | 0.00086046 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2939-40_0_3_load_30 | 55 | 0.0023503 | 0.00058903 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2939-40_0_3_load_31 | 56 | 0.0026874 | 0.00067352 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2939-40_0_3_load_32 | 57 | 0.0037619 | 0.00094281 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2939-40_0_3_load_34 | 59 | 0.0027532 | 0.00069002 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2939-40_0_3_load_46 | 60 | 0.0030493 | 0.00076424 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2939-40_0_3_load_40 | 61 | 0.0037606 | 0.00094249 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2939-40_0_3_load_47 | 62 | 0.0027987 | 0.00070143 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2939-40_0_3_load_41 | 63 | 0.0049626 | 0.0012437 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2939-40_0_3_load_51 | 64 | 0.0030393 | 0.00076171 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2939-40_0_3_load_48 | 66 | 0.0035393 | 0.00088703 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2939-40_0_3_load_54 | 67 | 0.0056851 | 0.0014248 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2939-40_0_3_load_65 | 68 | 0.0017375 | 0.00043546 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2939-40_0_3_load_61 | 69 | 0.0026112 | 0.00065442 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2939-40_0_3_load_57 | 71 | 0.0033466 | 0.00083874 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2939-40_0_3_load_58 | 72 | 0.0055677 | 0.0013954 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2939-40_0_3_load_83 | 74 | 0.0028605 | 0.0007169 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_2939-40_0_3_load_89 | 75 | 0.0024921 | 0.00062459 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_2939-40_0_3_load_75 | 76 | 0.0028408 | 0.00071198 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_2939-40_0_3_load_76 | 77 | 0.0023996 | 0.00060139 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_2939-40_0_3_load_73 | 78 | 0.0032664 | 0.00081863 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_2939-40_0_3_load_74 | 79 | 0.0024396 | 0.00061143 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_2939-40_0_3_load_86 | 80 | 0.0029404 | 0.00073693 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_2939-40_0_3_load_87 | 81 | 0.0015035 | 0.00037681 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_2939-40_0_3_load_77 | 82 | 0.0031358 | 0.00078591 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_2939-40_0_3_load_79 | 83 | 0.0027828 | 0.00069743 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_2939-40_0_3_load_80 | 84 | 0.0029928 | 0.00075007 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_2939-40_0_3_load_81 | 85 | 0.0026524 | 0.00066475 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_2939-40_0_3_load_82 | 86 | 0.0014717 | 0.00036884 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_2939-40_0_3_load_88 | 87 | 0.0034883 | 0.00087425 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 7 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2939-40_0_3_line_0 |  | 0 | 1 | 0.0069796 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
1 | LV_2939-40_0_3_line_1 |  | 0 | 2 | 0.0079402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
2 | LV_2939-40_0_3_line_2 |  | 1 | 3 | 0.014935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
3 | LV_2939-40_0_3_line_3 |  | 2 | 4 | 0.026265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
4 | LV_2939-40_0_3_line_4 |  | 3 | 5 | 0.0099616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2939-40_0_3_line_5 |  | 3 | 6 | 0.021099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
6 | LV_2939-40_0_3_line_6 |  | 4 | 7 | 0.012377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
7 | LV_2939-40_0_3_line_7 |  | 5 | 8 | 0.026601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2939-40_0_3_line_8 |  | 6 | 9 | 0.0082395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
9 | LV_2939-40_0_3_line_9 |  | 8 | 69 | 0.0097101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2939-40_0_3_line_10 |  | 9 | 17 | 0.0046781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
11 | LV_2939-40_0_3_line_11 |  | 10 | 11 | 0.012714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2939-40_0_3_line_12 |  | 11 | 33 | 0.024729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2939-40_0_3_line_13 |  | 11 | 24 | 0.051483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2939-40_0_3_line_14 |  | 11 | 31 | 0.039186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2939-40_0_3_line_15 |  | 12 | 13 | 0.013366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2939-40_0_3_line_16 |  | 12 | 14 | 0.009318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2939-40_0_3_line_17 |  | 13 | 15 | 0.0074383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2939-40_0_3_line_18 |  | 14 | 16 | 0.011261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2939-40_0_3_line_19 |  | 15 | 17 | 0.019575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2939-40_0_3_line_20 |  | 16 | 18 | 0.0103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2939-40_0_3_line_21 |  | 17 | 19 | 0.022597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2939-40_0_3_line_22 |  | 18 | 20 | 0.011498 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2939-40_0_3_line_23 |  | 20 | 51 | 0.010291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2939-40_0_3_line_24 |  | 21 | 22 | 0.045615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2939-40_0_3_line_25 |  | 22 | 23 | 0.042322 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2939-40_0_3_line_26 |  | 22 | 24 | 0.045686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2939-40_0_3_line_27 |  | 23 | 25 | 0.015625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2939-40_0_3_line_28 |  | 24 | 26 | 0.016849 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2939-40_0_3_line_29 |  | 27 | 28 | 0.004275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2939-40_0_3_line_30 |  | 27 | 29 | 0.028483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2939-40_0_3_line_31 |  | 28 | 30 | 0.025031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2939-40_0_3_line_32 |  | 29 | 34 | 0.053101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2939-40_0_3_line_33 |  | 30 | 35 | 0.032113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2939-40_0_3_line_34 |  | 31 | 32 | 0.010412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2939-40_0_3_line_35 |  | 33 | 36 | 0.012732 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2939-40_0_3_line_36 |  | 34 | 73 | 0.0017421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2939-40_0_3_line_37 |  | 36 | 37 | 0.0069864 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2939-40_0_3_line_38 |  | 37 | 38 | 0.012941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2939-40_0_3_line_39 |  | 38 | 39 | 0.032593 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2939-40_0_3_line_40 |  | 38 | 40 | 0.020897 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2939-40_0_3_line_41 |  | 39 | 42 | 0.0084678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2939-40_0_3_line_42 |  | 40 | 68 | 0.0087595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2939-40_0_3_line_43 |  | 41 | 42 | 0.014419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2939-40_0_3_line_44 |  | 43 | 44 | 0.022876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2939-40_0_3_line_45 |  | 44 | 45 | 0.037999 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2939-40_0_3_line_46 |  | 45 | 46 | 0.015687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2939-40_0_3_line_47 |  | 46 | 47 | 0.00085891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2939-40_0_3_line_48 |  | 46 | 48 | 0.013714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2939-40_0_3_line_49 |  | 47 | 71 | 0.019956 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2939-40_0_3_line_50 |  | 48 | 75 | 0.023229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_2939-40_0_3_line_51 |  | 49 | 50 | 0.015549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2939-40_0_3_line_52 |  | 50 | 78 | 0.0063159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2939-40_0_3_line_53 |  | 51 | 52 | 0.019084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2939-40_0_3_line_54 |  | 52 | 53 | 0.0022624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2939-40_0_3_line_55 |  | 53 | 54 | 0.020606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_2939-40_0_3_line_56 |  | 54 | 67 | 0.00973 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2939-40_0_3_line_57 |  | 55 | 56 | 0.019548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_2939-40_0_3_line_58 |  | 55 | 57 | 0.0011734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_2939-40_0_3_line_59 |  | 56 | 58 | 0.022608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_2939-40_0_3_line_60 |  | 57 | 59 | 0.018646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_2939-40_0_3_line_61 |  | 58 | 60 | 0.01461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_2939-40_0_3_line_62 |  | 59 | 61 | 0.00070706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_2939-40_0_3_line_63 |  | 60 | 62 | 0.031631 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_2939-40_0_3_line_64 |  | 61 | 63 | 0.012584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_2939-40_0_3_line_65 |  | 62 | 66 | 0.003102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_2939-40_0_3_line_66 |  | 63 | 64 | 0.0098816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_2939-40_0_3_line_67 |  | 64 | 65 | 0.010032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_2939-40_0_3_line_68 |  | 65 | 68 | 0.0069353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_2939-40_0_3_line_69 |  | 65 | 69 | 0.011922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_2939-40_0_3_line_70 |  | 67 | 70 | 0.016286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_2939-40_0_3_line_71 |  | 70 | 71 | 0.016179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_2939-40_0_3_line_72 |  | 70 | 72 | 0.0076966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_2939-40_0_3_line_73 |  | 72 | 73 | 0.019132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_2939-40_0_3_line_74 |  | 73 | 74 | 0.020332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_2939-40_0_3_line_75 |  | 74 | 86 | 0.0023686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_2939-40_0_3_line_76 |  | 75 | 87 | 0.0061805 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_2939-40_0_3_line_77 |  | 76 | 77 | 0.016124 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_2939-40_0_3_line_78 |  | 77 | 82 | 0.0040527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_2939-40_0_3_line_79 |  | 78 | 79 | 0.0095509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_2939-40_0_3_line_80 |  | 79 | 80 | 0.012612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_2939-40_0_3_line_81 |  | 80 | 81 | 0.0008495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_2939-40_0_3_line_82 |  | 81 | 87 | 0.013514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_2939-40_0_3_line_83 |  | 82 | 83 | 0.021651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_2939-40_0_3_line_84 |  | 83 | 84 | 0.00020825 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_2939-40_0_3_line_85 |  | 84 | 85 | 0.017411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_2939-40_0_3_line_86 |  | 85 | 86 | 0.0095898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2939-40_0_3_trafo_37 | 0.63 MVA 20/0.4 kV | 88 | 7 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2690396.8321 | 1283764.2381 | 2690400.1431 | 1283760.1759 | 2690401.4842 | 1283759.0688
1 | 2690396.8321 | 1283764.2381 | 2690393.8765 | 1283767.8643 | 2690391.9551 | 1283770.5004
2 | 2690413.9242 | 1283751.0683 | 2690408.1577 | 1283753.5598 | 2690401.4842 | 1283759.0688
3 | 2690377.2869 | 1283792.1866 | 2690378.9909 | 1283788.2871 | 2690391.9551 | 1283770.5004
4 | 2690413.9242 | 1283751.0683 | 2690412.7678 | 1283745.2121 | 2690409.3148 | 1283743.2082
5 | 2690413.9242 | 1283751.0683 | 2690428.9389 | 1283755.4913 | 2690433.5718 | 1283752.6284
6 | 2690377.2869 | 1283792.1866 | 2690372.3324 | 1283803.5285
7 | 2690409.3148 | 1283743.2082 | 2690386.3079 | 1283729.8562
8 | 2690440.581 | 1283748.297 | 2690433.5718 | 1283752.6284
9 | 2690380.9292 | 1283722.2082 | 2690383.8733 | 1283728.4432 | 2690386.3079 | 1283729.8562
10 | 2690445.2452 | 1283748.6578 | 2690440.581 | 1283748.297
11 | 2690331.5739 | 1283780.4312 | 2690343.8874 | 1283783.5977
12 | 2690331.5739 | 1283780.4312 | 2690335.4209 | 1283767.9905 | 2690337.3405 | 1283761.7811 | 2690338.1627 | 1283756.6337
13 | 2690312.4326 | 1283828.224 | 2690327.7721 | 1283789.9257 | 2690331.5739 | 1283780.4312
14 | 2690331.5739 | 1283780.4312 | 2690327.7721 | 1283789.9257 | 2690307.2137 | 1283782.7711 | 2690300.4572 | 1283780.3099
15 | 2690439.6149 | 1283787.5803 | 2690442.5524 | 1283774.5408
16 | 2690439.6149 | 1283787.5803 | 2690437.5672 | 1283796.6705
17 | 2690442.5524 | 1283774.5408 | 2690444.187 | 1283767.2843
18 | 2690435.0923 | 1283807.6567 | 2690437.5672 | 1283796.6705
19 | 2690445.2452 | 1283748.6578 | 2690447.481 | 1283752.6622 | 2690444.187 | 1283767.2843
20 | 2690432.8287 | 1283817.7051 | 2690435.0923 | 1283807.6567
21 | 2690445.2452 | 1283748.6578 | 2690452.1286 | 1283742.8584 | 2690465.3747 | 1283745.9252
22 | 2690432.8287 | 1283817.7051 | 2690430.3019 | 1283828.9216
23 | 2690428.0404 | 1283838.9606 | 2690430.3019 | 1283828.9216
24 | 2690304.3225 | 1283868.5014 | 2690309.6449 | 1283869.0168 | 2690315.8751 | 1283868.5896 | 2690318.8913 | 1283869.1919 | 2690321.397 | 1283870.7762 | 2690322.6595 | 1283873.142 | 2690322.6718 | 1283876.256 | 2690314.9152 | 1283897.0432
25 | 2690304.3225 | 1283868.5014 | 2690303.3562 | 1283871.3002 | 2690302.7814 | 1283877.4523 | 2690300.4208 | 1283884.033 | 2690294.8814 | 1283891.31 | 2690292.5023 | 1283899.0914 | 2690291.533 | 1283907.9621
26 | 2690304.3225 | 1283868.5014 | 2690310.9352 | 1283856.837 | 2690313.8945 | 1283850.8772 | 2690316.5554 | 1283844.3011 | 2690316.3634 | 1283837.2365 | 2690311.0473 | 1283831.9059 | 2690312.4326 | 1283828.224
27 | 2690291.533 | 1283907.9621 | 2690295.5548 | 1283908.5909 | 2690298.669 | 1283909.6618 | 2690300.7885 | 1283912.4411 | 2690301.9058 | 1283916.9288 | 2690301.9206 | 1283917.0688
28 | 2690312.4326 | 1283828.224 | 2690328.6024 | 1283832.96
29 | 2690313.4076 | 1283946.2639 | 2690314.1839 | 1283950.4684
30 | 2690313.4076 | 1283946.2639 | 2690321.1802 | 1283942.6688 | 2690328.7538 | 1283937.8584 | 2690337.6409 | 1283931.4658
31 | 2690314.1839 | 1283950.4684 | 2690317.046 | 1283966.0147 | 2690319.6276 | 1283974.8692
32 | 2690384.7887 | 1283909.0691 | 2690369.1291 | 1283911.8658 | 2690354.4269 | 1283919.3914 | 2690337.6409 | 1283931.4658
33 | 2690319.6276 | 1283974.8692 | 2690322.6804 | 1283985.3401 | 2690327.0657 | 1283999.464 | 2690330.1636 | 1284005.0834
34 | 2690300.4572 | 1283780.3099 | 2690300.9925 | 1283770.365 | 2690300.5688 | 1283770.2056
35 | 2690338.1627 | 1283756.6337 | 2690339.9468 | 1283745.5514 | 2690340.0737 | 1283744.0499
36 | 2690386.5037 | 1283908.7628 | 2690384.7887 | 1283909.0691
37 | 2690340.6622 | 1283737.0883 | 2690340.0737 | 1283744.0499
38 | 2690341.7609 | 1283724.1939 | 2690341.0459 | 1283732.6348 | 2690340.6622 | 1283737.0883
39 | 2690341.7609 | 1283724.1939 | 2690339.7813 | 1283691.6612
40 | 2690341.7609 | 1283724.1939 | 2690348.5851 | 1283723.231 | 2690361.4365 | 1283717.665
41 | 2690339.2669 | 1283683.209 | 2690339.7813 | 1283691.6612
42 | 2690361.4365 | 1283717.665 | 2690369.4745 | 1283714.1837
43 | 2690338.3911 | 1283668.8163 | 2690339.2669 | 1283683.209
44 | 2690473.2472 | 1283857.8567 | 2690478.4179 | 1283835.5727
45 | 2690464.6584 | 1283894.872 | 2690473.2472 | 1283857.8567
46 | 2690464.6584 | 1283894.872 | 2690461.1512 | 1283895.9302 | 2690449.6036 | 1283899.4338
47 | 2690448.7675 | 1283899.6303 | 2690449.6036 | 1283899.4338
48 | 2690449.6036 | 1283899.4338 | 2690449.3188 | 1283913.145
49 | 2690429.1326 | 1283903.0731 | 2690441.0745 | 1283901.438 | 2690448.7675 | 1283899.6303
50 | 2690449.3188 | 1283913.145 | 2690448.8365 | 1283936.3688
51 | 2690447.4955 | 1284000.9269 | 2690447.8184 | 1283985.3808
52 | 2690447.8184 | 1283985.3808 | 2690447.9496 | 1283979.0663
53 | 2690428.0404 | 1283838.9606 | 2690423.8465 | 1283857.5781
54 | 2690423.3493 | 1283859.7852 | 2690423.8465 | 1283857.5781
55 | 2690418.8207 | 1283879.8878 | 2690423.3493 | 1283859.7852
56 | 2690416.6824 | 1283889.3799 | 2690418.8207 | 1283879.8878
57 | 2690442.1125 | 1283682.0707 | 2690423.765 | 1283688.8151
58 | 2690422.6636 | 1283689.2199 | 2690423.765 | 1283688.8151
59 | 2690463.3323 | 1283674.2706 | 2690442.1125 | 1283682.0707
60 | 2690422.6636 | 1283689.2199 | 2690417.2456 | 1283691.2115 | 2690405.6774 | 1283696.8594
61 | 2690463.3323 | 1283674.2706 | 2690468.0546 | 1283688.0964
62 | 2690405.042 | 1283697.1696 | 2690405.6774 | 1283696.8594
63 | 2690468.0546 | 1283688.0964 | 2690468.1244 | 1283688.3008 | 2690471.5461 | 1283698.1952 | 2690464.3246 | 1283704.4899 | 2690460.209 | 1283707.5183 | 2690462.4575 | 1283713.3568
64 | 2690393.7337 | 1283702.6906 | 2690405.042 | 1283697.1696
65 | 2690463.5723 | 1283716.2515 | 2690462.4575 | 1283713.3568
66 | 2690393.7337 | 1283702.6906 | 2690384.8539 | 1283707.0259
67 | 2690375.8386 | 1283711.4274 | 2690384.8539 | 1283707.0259
68 | 2690375.8386 | 1283711.4274 | 2690369.4745 | 1283714.1837
69 | 2690375.8386 | 1283711.4274 | 2690380.9292 | 1283722.2082
70 | 2690413.1033 | 1283905.2678 | 2690416.6824 | 1283889.3799
71 | 2690413.1033 | 1283905.2678 | 2690429.1326 | 1283903.0731
72 | 2690413.1033 | 1283905.2678 | 2690405.4723 | 1283906.2704
73 | 2690386.5037 | 1283908.7628 | 2690405.4723 | 1283906.2704
74 | 2690386.5037 | 1283908.7628 | 2690387.0029 | 1283929.089
75 | 2690387.0611 | 1283931.4569 | 2690387.0029 | 1283929.089
76 | 2690448.7081 | 1283942.548 | 2690448.8365 | 1283936.3688
77 | 2690388.9854 | 1284000.4646 | 2690388.4257 | 1283987.0161 | 2690388.3603 | 1283984.3532
78 | 2690388.2608 | 1283980.3017 | 2690388.3603 | 1283984.3532
79 | 2690448.1479 | 1283969.5174 | 2690447.9496 | 1283979.0663
80 | 2690448.1479 | 1283969.5174 | 2690448.4098 | 1283956.9083
81 | 2690448.4098 | 1283956.9083 | 2690448.4275 | 1283956.059
82 | 2690448.7081 | 1283942.548 | 2690448.4275 | 1283956.059
83 | 2690388.2608 | 1283980.3017 | 2690387.7292 | 1283958.6575
84 | 2690387.724 | 1283958.4493 | 2690387.7292 | 1283958.6575
85 | 2690387.2965 | 1283941.0439 | 2690387.724 | 1283958.4493
86 | 2690387.2965 | 1283941.0439 | 2690387.0611 | 1283931.4569

## bus_geodata
| x | y | coords
0 | 2690396.8321 | 1283764.2381
1 | 2690401.4842 | 1283759.0688
2 | 2690391.9551 | 1283770.5004
3 | 2690413.9242 | 1283751.0683
4 | 2690377.2869 | 1283792.1866
5 | 2690409.3148 | 1283743.2082
6 | 2690433.5718 | 1283752.6284
7 | 2690372.3324 | 1283803.5285
8 | 2690386.3079 | 1283729.8562
9 | 2690440.581 | 1283748.297
10 | 2690343.8874 | 1283783.5977
11 | 2690331.5739 | 1283780.4312
12 | 2690439.6149 | 1283787.5803
13 | 2690442.5524 | 1283774.5408
14 | 2690437.5672 | 1283796.6705
15 | 2690444.187 | 1283767.2843
16 | 2690435.0923 | 1283807.6567
17 | 2690445.2452 | 1283748.6578
18 | 2690432.8287 | 1283817.7051
19 | 2690465.3747 | 1283745.9252
20 | 2690430.3019 | 1283828.9216
21 | 2690314.9152 | 1283897.0432
22 | 2690304.3225 | 1283868.5014
23 | 2690291.533 | 1283907.9621
24 | 2690312.4326 | 1283828.224
25 | 2690301.9206 | 1283917.0688
26 | 2690328.6024 | 1283832.96
27 | 2690313.4076 | 1283946.2639
28 | 2690314.1839 | 1283950.4684
29 | 2690337.6409 | 1283931.4658
30 | 2690319.6276 | 1283974.8692
31 | 2690300.4571 | 1283780.3099
32 | 2690300.5688 | 1283770.2056
33 | 2690338.1627 | 1283756.6337
34 | 2690384.7887 | 1283909.0691
35 | 2690330.1636 | 1284005.0834
36 | 2690340.0737 | 1283744.0499
37 | 2690340.6622 | 1283737.0883
38 | 2690341.7609 | 1283724.1939
39 | 2690339.7813 | 1283691.6612
40 | 2690361.4365 | 1283717.665
41 | 2690338.3911 | 1283668.8163
42 | 2690339.2669 | 1283683.209
43 | 2690478.4179 | 1283835.5727
44 | 2690473.2472 | 1283857.8567
45 | 2690464.6584 | 1283894.872
46 | 2690449.6036 | 1283899.4338
47 | 2690448.7675 | 1283899.6303
48 | 2690449.3188 | 1283913.145
49 | 2690447.4955 | 1284000.9269
50 | 2690447.8184 | 1283985.3808
51 | 2690428.0404 | 1283838.9606
52 | 2690423.8465 | 1283857.5781
53 | 2690423.3493 | 1283859.7852
54 | 2690418.8207 | 1283879.8878
55 | 2690423.765 | 1283688.8151
56 | 2690442.1125 | 1283682.0707
57 | 2690422.6636 | 1283689.2199
58 | 2690463.3323 | 1283674.2706
59 | 2690405.6774 | 1283696.8594
60 | 2690468.0546 | 1283688.0964
61 | 2690405.042 | 1283697.1696
62 | 2690462.4575 | 1283713.3568
63 | 2690393.7337 | 1283702.6906
64 | 2690384.8539 | 1283707.0259
65 | 2690375.8386 | 1283711.4274
66 | 2690463.5723 | 1283716.2515
67 | 2690416.6824 | 1283889.3799
68 | 2690369.4745 | 1283714.1837
69 | 2690380.9292 | 1283722.2082
70 | 2690413.1033 | 1283905.2678
71 | 2690429.1326 | 1283903.0731
72 | 2690405.4723 | 1283906.2704
73 | 2690386.5037 | 1283908.7628
74 | 2690387.0029 | 1283929.089
75 | 2690448.8365 | 1283936.3688
76 | 2690388.9854 | 1284000.4646
77 | 2690388.3603 | 1283984.3532
78 | 2690447.9496 | 1283979.0663
79 | 2690448.1479 | 1283969.5174
80 | 2690448.4098 | 1283956.9083
81 | 2690448.4275 | 1283956.059
82 | 2690388.2608 | 1283980.3017
83 | 2690387.7292 | 1283958.6575
84 | 2690387.724 | 1283958.4493
85 | 2690387.2965 | 1283941.0439
86 | 2690387.0611 | 1283931.4569
87 | 2690448.7081 | 1283942.548
88 | 2690377.2869 | 1283792.1866

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1