## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2939-47_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2939-47_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2939-47_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2939-47_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2939-47_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2939-47_0_5_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_2939-47_0_5_node_17 | 0.4 | n |  | TRUE
7 | bus_LV_2939-47_0_5_node_11 | 0.4 | n |  | TRUE
8 | bus_LV_2939-47_0_5_node_12 | 0.4 | n |  | TRUE
9 | bus_LV_2939-47_0_5_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_2939-47_0_5_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_2939-47_0_5_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_2939-47_0_5_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_2939-47_0_5_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_2939-47_0_5_node_16 | 0.4 | n |  | TRUE
15 | bus_LV_2939-47_0_5_node_48 | 0.4 | n |  | TRUE
16 | bus_LV_2939-47_0_5_node_14 | 0.4 | n |  | TRUE
17 | bus_LV_2939-47_0_5_node_53 | 0.4 | n |  | TRUE
18 | bus_LV_2939-47_0_5_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_2939-47_0_5_node_15 | 0.4 | n |  | TRUE
20 | bus_LV_2939-47_0_5_node_30 | 0.4 | n |  | TRUE
21 | bus_LV_2939-47_0_5_node_27 | 0.4 | n |  | TRUE
22 | bus_LV_2939-47_0_5_node_18 | 0.4 | n |  | TRUE
23 | bus_LV_2939-47_0_5_node_19 | 0.4 | n |  | TRUE
24 | bus_LV_2939-47_0_5_node_20 | 0.4 | n |  | TRUE
25 | bus_LV_2939-47_0_5_node_21 | 0.4 | n |  | TRUE
26 | bus_LV_2939-47_0_5_node_22 | 0.4 | n |  | TRUE
27 | bus_LV_2939-47_0_5_node_23 | 0.4 | n |  | TRUE
28 | bus_LV_2939-47_0_5_node_24 | 0.4 | n |  | TRUE
29 | bus_LV_2939-47_0_5_node_40 | 0.4 | n |  | TRUE
30 | bus_LV_2939-47_0_5_node_31 | 0.4 | n |  | TRUE
31 | bus_LV_2939-47_0_5_node_34 | 0.4 | n |  | TRUE
32 | bus_LV_2939-47_0_5_node_29 | 0.4 | n |  | TRUE
33 | bus_LV_2939-47_0_5_node_32 | 0.4 | n |  | TRUE
34 | bus_LV_2939-47_0_5_node_25 | 0.4 | n |  | TRUE
35 | bus_LV_2939-47_0_5_node_26 | 0.4 | n |  | TRUE
36 | bus_LV_2939-47_0_5_node_28 | 0.4 | n |  | TRUE
37 | bus_LV_2939-47_0_5_node_38 | 0.4 | n |  | TRUE
38 | bus_LV_2939-47_0_5_node_36 | 0.4 | n |  | TRUE
39 | bus_LV_2939-47_0_5_node_33 | 0.4 | n |  | TRUE
40 | bus_LV_2939-47_0_5_node_35 | 0.4 | n |  | TRUE
41 | bus_LV_2939-47_0_5_node_49 | 0.4 | n |  | TRUE
42 | bus_LV_2939-47_0_5_node_50 | 0.4 | n |  | TRUE
43 | bus_LV_2939-47_0_5_node_37 | 0.4 | n |  | TRUE
44 | bus_LV_2939-47_0_5_node_47 | 0.4 | n |  | TRUE
45 | bus_LV_2939-47_0_5_node_54 | 0.4 | n |  | TRUE
46 | bus_LV_2939-47_0_5_node_43 | 0.4 | n |  | TRUE
47 | bus_LV_2939-47_0_5_node_46 | 0.4 | n |  | TRUE
48 | bus_LV_2939-47_0_5_node_56 | 0.4 | n |  | TRUE
49 | bus_LV_2939-47_0_5_node_45 | 0.4 | n |  | TRUE
50 | bus_LV_2939-47_0_5_node_116 | 0.4 | n |  | TRUE
51 | bus_LV_2939-47_0_5_node_80 | 0.4 | n |  | TRUE
52 | bus_LV_2939-47_0_5_node_57 | 0.4 | n |  | TRUE
53 | bus_LV_2939-47_0_5_node_68 | 0.4 | n |  | TRUE
54 | bus_LV_2939-47_0_5_node_70 | 0.4 | n |  | TRUE
55 | bus_LV_2939-47_0_5_node_73 | 0.4 | n |  | TRUE
56 | bus_LV_2939-47_0_5_node_81 | 0.4 | n |  | TRUE
57 | bus_LV_2939-47_0_5_node_72 | 0.4 | n |  | TRUE
58 | bus_LV_2939-47_0_5_node_71 | 0.4 | n |  | TRUE
59 | bus_LV_2939-47_0_5_node_79 | 0.4 | n |  | TRUE
60 | bus_LV_2939-47_0_5_node_51 | 0.4 | n |  | TRUE
61 | bus_LV_2939-47_0_5_node_52 | 0.4 | n |  | TRUE
62 | bus_LV_2939-47_0_5_node_76 | 0.4 | n |  | TRUE
63 | bus_LV_2939-47_0_5_node_78 | 0.4 | n |  | TRUE
64 | bus_LV_2939-47_0_5_node_74 | 0.4 | n |  | TRUE
65 | bus_LV_2939-47_0_5_node_67 | 0.4 | n |  | TRUE
66 | bus_LV_2939-47_0_5_node_58 | 0.4 | n |  | TRUE
67 | bus_LV_2939-47_0_5_node_59 | 0.4 | n |  | TRUE
68 | bus_LV_2939-47_0_5_node_60 | 0.4 | n |  | TRUE
69 | bus_LV_2939-47_0_5_node_61 | 0.4 | n |  | TRUE
70 | bus_LV_2939-47_0_5_node_62 | 0.4 | n |  | TRUE
71 | bus_LV_2939-47_0_5_node_63 | 0.4 | n |  | TRUE
72 | bus_LV_2939-47_0_5_node_64 | 0.4 | n |  | TRUE
73 | bus_LV_2939-47_0_5_node_114 | 0.4 | n |  | TRUE
74 | bus_LV_2939-47_0_5_node_65 | 0.4 | n |  | TRUE
75 | bus_LV_2939-47_0_5_node_113 | 0.4 | n |  | TRUE
76 | bus_LV_2939-47_0_5_node_66 | 0.4 | n |  | TRUE
77 | bus_LV_2939-47_0_5_node_69 | 0.4 | n |  | TRUE
78 | bus_LV_2939-47_0_5_node_75 | 0.4 | n |  | TRUE
79 | bus_LV_2939-47_0_5_node_77 | 0.4 | n |  | TRUE
80 | bus_LV_2939-47_0_5_node_82 | 0.4 | n |  | TRUE
81 | bus_LV_2939-47_0_5_node_84 | 0.4 | n |  | TRUE
82 | bus_LV_2939-47_0_5_node_83 | 0.4 | n |  | TRUE
83 | bus_LV_2939-47_0_5_node_85 | 0.4 | n |  | TRUE
84 | bus_LV_2939-47_0_5_node_90 | 0.4 | n |  | TRUE
85 | bus_LV_2939-47_0_5_node_88 | 0.4 | n |  | TRUE
86 | bus_LV_2939-47_0_5_node_89 | 0.4 | n |  | TRUE
87 | bus_LV_2939-47_0_5_node_86 | 0.4 | n |  | TRUE
88 | bus_LV_2939-47_0_5_node_87 | 0.4 | n |  | TRUE
89 | bus_LV_2939-47_0_5_node_99 | 0.4 | n |  | TRUE
90 | bus_LV_2939-47_0_5_node_109 | 0.4 | n |  | TRUE
91 | bus_LV_2939-47_0_5_node_107 | 0.4 | n |  | TRUE
92 | bus_LV_2939-47_0_5_node_108 | 0.4 | n |  | TRUE
93 | bus_LV_2939-47_0_5_node_92 | 0.4 | n |  | TRUE
94 | bus_LV_2939-47_0_5_node_100 | 0.4 | n |  | TRUE
95 | bus_LV_2939-47_0_5_node_97 | 0.4 | n |  | TRUE
96 | bus_LV_2939-47_0_5_node_93 | 0.4 | n |  | TRUE
97 | bus_LV_2939-47_0_5_node_94 | 0.4 | n |  | TRUE
98 | bus_LV_2939-47_0_5_node_95 | 0.4 | n |  | TRUE
99 | bus_LV_2939-47_0_5_node_96 | 0.4 | n |  | TRUE
100 | bus_LV_2939-47_0_5_node_98 | 0.4 | n |  | TRUE
101 | bus_LV_2939-47_0_5_node_101 | 0.4 | n |  | TRUE
102 | bus_LV_2939-47_0_5_node_115 | 0.4 | n |  | TRUE
103 | bus_LV_2939-47_0_5_node_110 | 0.4 | n |  | TRUE
104 | bus_LV_2939-47_0_5_node_111 | 0.4 | n |  | TRUE
105 | bus_LV_2939-47_0_5_node_105 | 0.4 | n |  | TRUE
106 | bus_LV_2939-47_0_5_node_103 | 0.4 | n |  | TRUE
107 | bus_LV_2939-47_0_5_node_104 | 0.4 | n |  | TRUE
108 | bus_LV_2939-47_0_5_node_112 | 0.4 | n |  | TRUE
109 | bus_MV_554_0_node_62 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2939-47_0_5_load_0 | 0 | 0.0024089 | 0.00060374 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2939-47_0_5_load_1 | 1 | 0.0045466 | 0.0011395 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2939-47_0_5_load_3 | 3 | 0.0024401 | 0.00061155 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2939-47_0_5_load_5 | 5 | 0.0018452 | 0.00046246 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2939-47_0_5_load_17 | 6 | 0.0045563 | 0.0011419 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2939-47_0_5_load_11 | 7 | 0.0065364 | 0.0016382 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2939-47_0_5_load_12 | 8 | 0.0040536 | 0.0010159 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2939-47_0_5_load_6 | 9 | 0.0033788 | 0.00084682 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2939-47_0_5_load_7 | 10 | 0.0015492 | 0.00038826 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2939-47_0_5_load_8 | 11 | 0.0046658 | 0.0011694 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2939-47_0_5_load_9 | 12 | 0.0075651 | 0.001896 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2939-47_0_5_load_16 | 14 | 0.0032414 | 0.00081236 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2939-47_0_5_load_14 | 16 | 0.0027851 | 0.00069801 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2939-47_0_5_load_53 | 17 | 0.0059328 | 0.0014869 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2939-47_0_5_load_15 | 19 | 0.0026504 | 0.00066425 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2939-47_0_5_load_30 | 20 | 0.0034025 | 0.00085275 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2939-47_0_5_load_18 | 22 | 0.028056 | 0.0070314 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2939-47_0_5_load_19 | 23 | 0.0030741 | 0.00077044 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2939-47_0_5_load_21 | 25 | 0.0037297 | 0.00093476 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2939-47_0_5_load_22 | 26 | 0.011585 | 0.0029036 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2939-47_0_5_load_23 | 27 | 0.0058787 | 0.0014733 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2939-47_0_5_load_24 | 28 | 0.0060017 | 0.0015042 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2939-47_0_5_load_40 | 29 | 0.0051112 | 0.001281 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2939-47_0_5_load_31 | 30 | 0.0041252 | 0.0010339 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2939-47_0_5_load_34 | 31 | 0.011192 | 0.002805 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2939-47_0_5_load_29 | 32 | 0.0017422 | 0.00043664 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2939-47_0_5_load_32 | 33 | 0.0039419 | 0.00098793 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2939-47_0_5_load_25 | 34 | 0.0097543 | 0.0024447 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2939-47_0_5_load_26 | 35 | 0.0056823 | 0.0014241 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2939-47_0_5_load_28 | 36 | 0.0080878 | 0.002027 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2939-47_0_5_load_38 | 37 | 0.017981 | 0.0045065 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2939-47_0_5_load_36 | 38 | 0.0069029 | 0.00173 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2939-47_0_5_load_33 | 39 | 0.0021889 | 0.00054858 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2939-47_0_5_load_35 | 40 | 0.0026377 | 0.00066107 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2939-47_0_5_load_49 | 41 | 0.0083711 | 0.002098 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2939-47_0_5_load_37 | 43 | 0.004957 | 0.0012423 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2939-47_0_5_load_56 | 48 | 0.012383 | 0.0031034 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2939-47_0_5_load_116 | 50 | 0.0014959 | 0.0003749 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2939-47_0_5_load_80 | 51 | 0.010987 | 0.0027536 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2939-47_0_5_load_57 | 52 | 0.012047 | 0.0030192 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2939-47_0_5_load_68 | 53 | 0.011994 | 0.0030059 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2939-47_0_5_load_73 | 55 | 0.023792 | 0.0059628 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2939-47_0_5_load_81 | 56 | 0.044783 | 0.011224 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2939-47_0_5_load_71 | 58 | 0.0074605 | 0.0018698 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2939-47_0_5_load_79 | 59 | 0.0041028 | 0.0010283 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2939-47_0_5_load_51 | 60 | 0.0083779 | 0.0020997 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2939-47_0_5_load_78 | 63 | 0.015566 | 0.0039011 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2939-47_0_5_load_74 | 64 | 0.013516 | 0.0033875 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2939-47_0_5_load_67 | 65 | 0.01523 | 0.0038169 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2939-47_0_5_load_58 | 66 | 0.0039203 | 0.00098251 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2939-47_0_5_load_59 | 67 | 0.0066924 | 0.0016773 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2939-47_0_5_load_61 | 69 | 0.027009 | 0.0067691 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2939-47_0_5_load_62 | 70 | 0.0024919 | 0.00062452 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2939-47_0_5_load_64 | 72 | 0.0070851 | 0.0017757 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2939-47_0_5_load_114 | 73 | 0.0054436 | 0.0013643 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2939-47_0_5_load_65 | 74 | 0.018274 | 0.0045798 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_2939-47_0_5_load_113 | 75 | 0.0073183 | 0.0018341 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_2939-47_0_5_load_66 | 76 | 0.010774 | 0.0027003 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_2939-47_0_5_load_69 | 77 | 0.021473 | 0.0053816 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_2939-47_0_5_load_75 | 78 | 0.0067526 | 0.0016924 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_2939-47_0_5_load_77 | 79 | 0.0055164 | 0.0013825 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_2939-47_0_5_load_82 | 80 | 0.0028581 | 0.00071632 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_2939-47_0_5_load_84 | 81 | 0.0013439 | 0.00033681 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_2939-47_0_5_load_83 | 82 | 0.0025121 | 0.0006296 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_2939-47_0_5_load_85 | 83 | 0.00069783 | 0.00017489 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_2939-47_0_5_load_90 | 84 | 0.018687 | 0.0046835 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_2939-47_0_5_load_89 | 86 | 0.00094907 | 0.00023786 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_2939-47_0_5_load_86 | 87 | 0.0071292 | 0.0017867 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_2939-47_0_5_load_87 | 88 | 0.007987 | 0.0020017 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_2939-47_0_5_load_99 | 89 | 0.0036537 | 0.0009157 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_2939-47_0_5_load_107 | 91 | 0.00093013 | 0.00023311 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_2939-47_0_5_load_92 | 93 | 0.0014448 | 0.0003621 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_2939-47_0_5_load_100 | 94 | 0.00064058 | 0.00016054 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_2939-47_0_5_load_93 | 96 | 0.001942 | 0.00048671 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_2939-47_0_5_load_94 | 97 | 0.0014411 | 0.00036117 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_2939-47_0_5_load_96 | 99 | 0.0015076 | 0.00037784 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_2939-47_0_5_load_101 | 101 | 0.0022155 | 0.00055526 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_2939-47_0_5_load_115 | 102 | 0.0026535 | 0.00066503 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_2939-47_0_5_load_110 | 103 | 0.00050609 | 0.00012684 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_2939-47_0_5_load_111 | 104 | 0.0051438 | 0.0012892 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_2939-47_0_5_load_105 | 105 | 0.0028767 | 0.00072097 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_2939-47_0_5_load_103 | 106 | 0.0023857 | 0.0005979 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_2939-47_0_5_load_104 | 107 | 0.0016716 | 0.00041894 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_2939-47_0_5_load_112 | 108 | 0.0025637 | 0.00064254 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 78 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2939-47_0_5_line_0 |  | 0 | 1 | 0.027713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2939-47_0_5_line_1 |  | 0 | 2 | 0.07125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2939-47_0_5_line_2 |  | 1 | 3 | 0.028629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2939-47_0_5_line_3 |  | 2 | 4 | 0.03606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2939-47_0_5_line_4 |  | 3 | 5 | 0.0094567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2939-47_0_5_line_5 |  | 4 | 6 | 0.048742 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2939-47_0_5_line_6 |  | 5 | 7 | 0.0081421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2939-47_0_5_line_7 |  | 7 | 8 | 0.00216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2939-47_0_5_line_8 |  | 8 | 18 | 0.01099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2939-47_0_5_line_9 |  | 9 | 10 | 0.0045713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
10 | LV_2939-47_0_5_line_10 |  | 9 | 11 | 0.010793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
11 | LV_2939-47_0_5_line_11 |  | 10 | 12 | 0.0028303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
12 | LV_2939-47_0_5_line_12 |  | 11 | 13 | 0.0044876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
13 | LV_2939-47_0_5_line_13 |  | 12 | 14 | 0.0039841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
14 | LV_2939-47_0_5_line_14 |  | 13 | 15 | 0.033519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
15 | LV_2939-47_0_5_line_15 |  | 14 | 16 | 0.010009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
16 | LV_2939-47_0_5_line_16 |  | 15 | 17 | 0.032977 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2939-47_0_5_line_17 |  | 16 | 18 | 0.0063662 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
18 | LV_2939-47_0_5_line_18 |  | 17 | 44 | 0.050099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2939-47_0_5_line_19 |  | 18 | 19 | 0.003469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
20 | LV_2939-47_0_5_line_20 |  | 19 | 20 | 0.0095599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
21 | LV_2939-47_0_5_line_21 |  | 20 | 21 | 0.014503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
22 | LV_2939-47_0_5_line_22 |  | 21 | 32 | 0.0053825 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
23 | LV_2939-47_0_5_line_23 |  | 21 | 34 | 0.02049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2939-47_0_5_line_24 |  | 22 | 23 | 0.0024927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2939-47_0_5_line_25 |  | 22 | 24 | 0.039022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2939-47_0_5_line_26 |  | 23 | 25 | 0.013492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2939-47_0_5_line_27 |  | 24 | 26 | 0.022517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
28 | LV_2939-47_0_5_line_28 |  | 24 | 27 | 0.025972 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2939-47_0_5_line_29 |  | 24 | 28 | 0.0080846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
30 | LV_2939-47_0_5_line_30 |  | 25 | 29 | 0.00070977 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2939-47_0_5_line_31 |  | 26 | 30 | 0.025277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
32 | LV_2939-47_0_5_line_32 |  | 28 | 31 | 0.023173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
33 | LV_2939-47_0_5_line_33 |  | 30 | 32 | 0.013876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
34 | LV_2939-47_0_5_line_34 |  | 31 | 33 | 0.0097415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
35 | LV_2939-47_0_5_line_35 |  | 33 | 39 | 0.017207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
36 | LV_2939-47_0_5_line_36 |  | 34 | 35 | 0.0076576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2939-47_0_5_line_37 |  | 35 | 36 | 0.025076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2939-47_0_5_line_38 |  | 36 | 37 | 0.0025748 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2939-47_0_5_line_39 |  | 37 | 38 | 0.010604 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2939-47_0_5_line_40 |  | 38 | 43 | 0.010847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2939-47_0_5_line_41 |  | 39 | 40 | 0.0097999 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
42 | LV_2939-47_0_5_line_42 |  | 40 | 41 | 0.020002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
43 | LV_2939-47_0_5_line_43 |  | 41 | 42 | 0.020049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
44 | LV_2939-47_0_5_line_44 |  | 42 | 60 | 0.043055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2939-47_0_5_line_45 |  | 42 | 61 | 0.019596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
46 | LV_2939-47_0_5_line_46 |  | 44 | 45 | 0.061087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2939-47_0_5_line_47 |  | 45 | 53 | 0.035612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2939-47_0_5_line_48 |  | 46 | 47 | 0.006139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2939-47_0_5_line_49 |  | 46 | 48 | 0.027033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2939-47_0_5_line_50 |  | 47 | 51 | 0.011344 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_2939-47_0_5_line_51 |  | 47 | 49 | 0.0093657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2939-47_0_5_line_52 |  | 48 | 52 | 0.033945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2939-47_0_5_line_53 |  | 49 | 50 | 0.014437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2939-47_0_5_line_54 |  | 51 | 59 | 0.024399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2939-47_0_5_line_55 |  | 53 | 65 | 0.028342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_2939-47_0_5_line_56 |  | 54 | 55 | 0.056933 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2939-47_0_5_line_57 |  | 54 | 56 | 0.043342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_2939-47_0_5_line_58 |  | 55 | 57 | 0.049171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_2939-47_0_5_line_59 |  | 56 | 76 | 0.016198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_2939-47_0_5_line_60 |  | 57 | 58 | 0.026669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_2939-47_0_5_line_61 |  | 58 | 69 | 0.037701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_2939-47_0_5_line_62 |  | 59 | 79 | 0.026355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_2939-47_0_5_line_63 |  | 61 | 62 | 0.004661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
64 | LV_2939-47_0_5_line_64 |  | 62 | 63 | 0.031698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
65 | LV_2939-47_0_5_line_65 |  | 62 | 64 | 0.02841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
66 | LV_2939-47_0_5_line_66 |  | 63 | 71 | 0.022057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
67 | LV_2939-47_0_5_line_67 |  | 64 | 78 | 0.032145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
68 | LV_2939-47_0_5_line_68 |  | 65 | 77 | 0.041738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_2939-47_0_5_line_69 |  | 66 | 67 | 0.027019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
70 | LV_2939-47_0_5_line_70 |  | 66 | 68 | 0.012608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
71 | LV_2939-47_0_5_line_71 |  | 67 | 69 | 0.010464 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_2939-47_0_5_line_72 |  | 68 | 70 | 0.031188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_2939-47_0_5_line_73 |  | 68 | 71 | 0.019278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
74 | LV_2939-47_0_5_line_74 |  | 70 | 72 | 0.024708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_2939-47_0_5_line_75 |  | 71 | 73 | 0.016986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_2939-47_0_5_line_76 |  | 72 | 74 | 0.0052504 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_2939-47_0_5_line_77 |  | 73 | 75 | 0.050633 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_2939-47_0_5_line_78 |  | 75 | 90 | 0.023485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_2939-47_0_5_line_79 |  | 78 | 79 | 0.0016764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_2939-47_0_5_line_80 |  | 80 | 81 | 0.0066182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_2939-47_0_5_line_81 |  | 81 | 85 | 0.0053008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_2939-47_0_5_line_82 |  | 82 | 83 | 0.032943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_2939-47_0_5_line_83 |  | 82 | 84 | 0.013148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_2939-47_0_5_line_84 |  | 83 | 89 | 0.041556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_2939-47_0_5_line_85 |  | 83 | 90 | 0.011251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_2939-47_0_5_line_86 |  | 84 | 85 | 0.031499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_2939-47_0_5_line_87 |  | 85 | 86 | 0.027666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_2939-47_0_5_line_88 |  | 85 | 87 | 0.022189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_2939-47_0_5_line_89 |  | 85 | 88 | 0.050348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_2939-47_0_5_line_90 |  | 89 | 91 | 0.024555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_2939-47_0_5_line_91 |  | 90 | 92 | 0.017165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_2939-47_0_5_line_92 |  | 91 | 105 | 0.01151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_2939-47_0_5_line_93 |  | 91 | 104 | 0.0072474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_2939-47_0_5_line_94 |  | 92 | 103 | 0.018817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_2939-47_0_5_line_95 |  | 93 | 94 | 0.022526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_2939-47_0_5_line_96 |  | 94 | 95 | 0.0056177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_2939-47_0_5_line_97 |  | 95 | 101 | 0.014408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_2939-47_0_5_line_98 |  | 95 | 98 | 0.013048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_2939-47_0_5_line_99 |  | 96 | 97 | 0.0091398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_2939-47_0_5_line_100 |  | 96 | 98 | 0.018954 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_2939-47_0_5_line_101 |  | 97 | 99 | 0.013012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_2939-47_0_5_line_102 |  | 98 | 100 | 0.082652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_2939-47_0_5_line_103 |  | 100 | 102 | 0.014988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_2939-47_0_5_line_104 |  | 101 | 103 | 0.021322 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_2939-47_0_5_line_105 |  | 105 | 106 | 0.018595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_2939-47_0_5_line_106 |  | 106 | 107 | 0.028824 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_2939-47_0_5_line_107 |  | 106 | 108 | 0.023187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2939-47_0_5_trafo_75 | 0.63 MVA 20/0.4 kV | 109 | 78 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2689464.1089 | 1283675.435 | 2689464.6584 | 1283671.8818 | 2689469.0892 | 1283651.5314 | 2689469.272 | 1283648.2466
1 | 2689452.7027 | 1283745.7645 | 2689458.7806 | 1283709.8922 | 2689464.1089 | 1283675.435
2 | 2689469.272 | 1283648.2466 | 2689470.0599 | 1283634.0865 | 2689466.6951 | 1283620.0363
3 | 2689452.7027 | 1283745.7645 | 2689416.5374 | 1283746.3607
4 | 2689464.4926 | 1283610.8396 | 2689466.6951 | 1283620.0363
5 | 2689416.5374 | 1283746.3607 | 2689413.6753 | 1283702.4681 | 2689409.6315 | 1283699.965
6 | 2689464.4926 | 1283610.8396 | 2689462.5963 | 1283602.9215
7 | 2689462.0932 | 1283600.8208 | 2689462.5963 | 1283602.9215
8 | 2689459.5337 | 1283590.1331 | 2689462.0932 | 1283600.8208
9 | 2689486.2242 | 1283582.4981 | 2689481.8291 | 1283583.7553
10 | 2689496.6014 | 1283579.5296 | 2689486.2242 | 1283582.4981
11 | 2689479.1079 | 1283584.5337 | 2689481.8291 | 1283583.7553
12 | 2689500.9159 | 1283578.2954 | 2689496.6014 | 1283579.5296
13 | 2689479.1079 | 1283584.5337 | 2689475.2775 | 1283585.6295
14 | 2689500.9159 | 1283578.2954 | 2689505.1718 | 1283574.4122 | 2689507.944 | 1283566.8811 | 2689511.6698 | 1283554.894 | 2689513.764 | 1283548.0087
15 | 2689465.6544 | 1283588.3822 | 2689475.2775 | 1283585.6295
16 | 2689513.764 | 1283548.0087 | 2689511.928 | 1283543.3434 | 2689511.9792 | 1283534.5366 | 2689509.8672 | 1283515.4967
17 | 2689459.5337 | 1283590.1331 | 2689465.6544 | 1283588.3822
18 | 2689497.5412 | 1283467.3813 | 2689507.291 | 1283492.2731 | 2689509.8672 | 1283515.4967
19 | 2689459.5337 | 1283590.1331 | 2689456.1952 | 1283591.0758
20 | 2689446.9951 | 1283593.6739 | 2689456.1952 | 1283591.0758
21 | 2689433.0379 | 1283597.6153 | 2689446.9951 | 1283593.6739
22 | 2689433.0379 | 1283597.6153 | 2689430.8139 | 1283592.7137
23 | 2689433.0379 | 1283597.6153 | 2689413.2172 | 1283602.8075
24 | 2689442.3689 | 1283518.7599 | 2689440.2701 | 1283520.1047
25 | 2689405.8319 | 1283537.1501 | 2689419.3324 | 1283534.0856 | 2689434.7468 | 1283523.6437 | 2689440.2701 | 1283520.1047
26 | 2689453.729 | 1283511.481 | 2689442.3689 | 1283518.7599
27 | 2689405.8319 | 1283537.1501 | 2689405.6031 | 1283541.8396 | 2689406.675 | 1283546.4043 | 2689413.2546 | 1283557.7704
28 | 2689405.8319 | 1283537.1501 | 2689405.6796 | 1283523.447 | 2689405.446 | 1283511.1809
29 | 2689405.8319 | 1283537.1501 | 2689398.2232 | 1283539.8828
30 | 2689454.3266 | 1283511.0981 | 2689453.729 | 1283511.481
31 | 2689425.0804 | 1283580.0774 | 2689421.1385 | 1283571.3898 | 2689413.2546 | 1283557.7704
32 | 2689398.2232 | 1283539.8828 | 2689388.8091 | 1283543.2639 | 2689376.9619 | 1283549.0177
33 | 2689425.0804 | 1283580.0774 | 2689430.8139 | 1283592.7137
34 | 2689368.1992 | 1283553.2734 | 2689376.9619 | 1283549.0177
35 | 2689368.1992 | 1283553.2734 | 2689352.7208 | 1283560.7908
36 | 2689413.2172 | 1283602.8075 | 2689405.8095 | 1283604.748
37 | 2689405.8095 | 1283604.748 | 2689388.2566 | 1283609.3462 | 2689381.9086 | 1283612.1282
38 | 2689381.9086 | 1283612.1282 | 2689379.5504 | 1283613.1618
39 | 2689369.8378 | 1283617.4184 | 2689369.8378 | 1283617.4184 | 2689379.5504 | 1283613.1618
40 | 2689369.8378 | 1283617.4184 | 2689360.6899 | 1283623.2465
41 | 2689343.9056 | 1283565.072 | 2689352.7208 | 1283560.7908
42 | 2689343.9056 | 1283565.072 | 2689335.2747 | 1283569.2638 | 2689324.9335 | 1283568.1
43 | 2689305.0101 | 1283565.8578 | 2689324.9335 | 1283568.1
44 | 2689305.0101 | 1283565.8578 | 2689306.4614 | 1283577.0895 | 2689310.4242 | 1283589.0599 | 2689317.8398 | 1283606.6838
45 | 2689307.9827 | 1283546.575 | 2689305.5783 | 1283556.1135 | 2689305.0101 | 1283565.8578
46 | 2689493.4241 | 1283415.6851 | 2689504.2676 | 1283441.2385 | 2689502.3108 | 1283454.398 | 2689504.654 | 1283458.793 | 2689506.8654 | 1283462.9746 | 2689497.5412 | 1283467.3813
47 | 2689493.4241 | 1283415.6851 | 2689484.2915 | 1283406.9833 | 2689465.9584 | 1283393.0987
48 | 2689396.332 | 1283464.6098 | 2689392.2652 | 1283459.9997
49 | 2689396.332 | 1283464.6098 | 2689378.4401 | 1283480.4856 | 2689376.1102 | 1283482.5502
50 | 2689392.2652 | 1283459.9997 | 2689390.0368 | 1283462.8684 | 2689387.2253 | 1283466.073 | 2689384.6548 | 1283468.3716
51 | 2689393.2339 | 1283452.5635 | 2689395.5961 | 1283455.7131 | 2689392.2652 | 1283459.9997
52 | 2689376.1102 | 1283482.5502 | 2689375.1829 | 1283483.372 | 2689350.7657 | 1283505.1321
53 | 2689393.2339 | 1283452.5635 | 2689403.1437 | 1283442.0651
54 | 2689366.4674 | 1283484.6354 | 2689384.6548 | 1283468.3716
55 | 2689443.3644 | 1283375.9871 | 2689465.9584 | 1283393.0987
56 | 2689299.9932 | 1283327.2972 | 2689300.8235 | 1283335.4279 | 2689331.0236 | 1283373.7096
57 | 2689299.9932 | 1283327.2972 | 2689286.2162 | 1283339.6659 | 2689269.6146 | 1283358.1258
58 | 2689361.4781 | 1283412.3138 | 2689331.0236 | 1283373.7096
59 | 2689258.783 | 1283370.1698 | 2689269.6146 | 1283358.1258
60 | 2689361.4781 | 1283412.3138 | 2689348.6062 | 1283424.4069 | 2689339.9062 | 1283426.742
61 | 2689339.9062 | 1283426.742 | 2689330.3703 | 1283429.3014 | 2689309.707 | 1283447.94
62 | 2689366.4674 | 1283484.6354 | 2689352.3739 | 1283497.2383 | 2689346.8475 | 1283502.2313
63 | 2689303.3442 | 1283545.9931 | 2689307.9827 | 1283546.575
64 | 2689303.3442 | 1283545.9931 | 2689296.2127 | 1283535.5427 | 2689288.2054 | 1283518.2618
65 | 2689303.3442 | 1283545.9931 | 2689306.3349 | 1283539.3882 | 2689312.2199 | 1283533.5167 | 2689321.752 | 1283524.9047
66 | 2689278.932 | 1283498.2486 | 2689288.2054 | 1283518.2618
67 | 2689321.752 | 1283524.9047 | 2689345.6036 | 1283503.3551
68 | 2689443.3644 | 1283375.9871 | 2689410.0914 | 1283350.7878
69 | 2689281.8744 | 1283473.0453 | 2689301.9373 | 1283454.9484
70 | 2689271.7027 | 1283480.368 | 2689277.2386 | 1283477.2269 | 2689281.8744 | 1283473.0453
71 | 2689301.9373 | 1283454.9484 | 2689309.707 | 1283447.94
72 | 2689271.7027 | 1283480.368 | 2689260.2267 | 1283451.3682
73 | 2689278.932 | 1283498.2486 | 2689271.7027 | 1283480.368
74 | 2689251.1352 | 1283428.3941 | 2689260.2267 | 1283451.3682
75 | 2689278.932 | 1283498.2486 | 2689263.4412 | 1283505.2167
76 | 2689251.1352 | 1283428.3941 | 2689249.2032 | 1283423.5121
77 | 2689217.7314 | 1283526.9884 | 2689253.5325 | 1283509.6738 | 2689263.4412 | 1283505.2167
78 | 2689196.5891 | 1283537.2135 | 2689217.7314 | 1283526.9884
79 | 2689345.6036 | 1283503.3551 | 2689346.8475 | 1283502.2313
80 | 2689214.4746 | 1283588.4964 | 2689217.0385 | 1283594.5978
81 | 2689221.0817 | 1283598.0258 | 2689217.0385 | 1283594.5978
82 | 2689202.0248 | 1283558.8684 | 2689196.208 | 1283545.0257 | 2689189.6939 | 1283528.3237
83 | 2689211.435 | 1283568.0502 | 2689202.0248 | 1283558.8684
84 | 2689189.6939 | 1283528.3237 | 2689174.594 | 1283489.6084
85 | 2689196.5891 | 1283537.2135 | 2689189.6939 | 1283528.3237
86 | 2689221.0817 | 1283598.0258 | 2689213.0726 | 1283574.1283 | 2689211.435 | 1283568.0502
87 | 2689221.0817 | 1283598.0258 | 2689200.3404 | 1283616.3343
88 | 2689221.0817 | 1283598.0258 | 2689228.5325 | 1283618.9264
89 | 2689221.0817 | 1283598.0258 | 2689224.7569 | 1283594.7898 | 2689230.8924 | 1283593.1924 | 2689237.2488 | 1283593.3665 | 2689248.1786 | 1283604.8531 | 2689254.7579 | 1283616.574 | 2689257.2001 | 1283619.0181
90 | 2689167.6811 | 1283466.0471 | 2689174.594 | 1283489.6084
91 | 2689181.0997 | 1283544.7079 | 2689196.5891 | 1283537.2135
92 | 2689167.6811 | 1283466.0471 | 2689169.3003 | 1283454.6517
93 | 2689167.6811 | 1283466.0471 | 2689163.1145 | 1283460.4193
94 | 2689181.0997 | 1283544.7079 | 2689165.3729 | 1283555.0401
95 | 2689139.2174 | 1283578.004 | 2689146.0504 | 1283584.5901 | 2689155.1221 | 1283593.9507
96 | 2689135.1727 | 1283574.1054 | 2689139.2174 | 1283578.004
97 | 2689135.1727 | 1283574.1054 | 2689143.8057 | 1283569.2095 | 2689147.5531 | 1283566.7475
98 | 2689135.1727 | 1283574.1054 | 2689125.4473 | 1283565.373
99 | 2689107.2896 | 1283570.8103 | 2689098.5339 | 1283573.4323
100 | 2689125.4473 | 1283565.373 | 2689107.2896 | 1283570.8103
101 | 2689098.5339 | 1283573.4323 | 2689091.0863 | 1283575.6625 | 2689085.9335 | 1283576.5994
102 | 2689125.4473 | 1283565.373 | 2689097.7638 | 1283542.7015 | 2689086.9486 | 1283537.0109 | 2689073.3889 | 1283532.0906 | 2689063.0942 | 1283529.7107 | 2689053.5011 | 1283528.5982
103 | 2689053.5011 | 1283528.5982 | 2689038.5176 | 1283528.961
104 | 2689165.3729 | 1283555.0401 | 2689147.5531 | 1283566.7475
105 | 2689167.7555 | 1283436.2066 | 2689169.7056 | 1283451.7995 | 2689169.3003 | 1283454.6517
106 | 2689167.7555 | 1283436.2066 | 2689165.6271 | 1283419.1873 | 2689176.3941 | 1283414.6796 | 2689176.3941 | 1283414.6796
107 | 2689167.7555 | 1283436.2066 | 2689148.4487 | 1283423.3666

## bus_geodata
| x | y | coords
0 | 2689464.1089 | 1283675.435
1 | 2689469.272 | 1283648.2466
2 | 2689452.7027 | 1283745.7645
3 | 2689466.6951 | 1283620.0363
4 | 2689416.5374 | 1283746.3607
5 | 2689464.4926 | 1283610.8396
6 | 2689409.6315 | 1283699.965
7 | 2689462.5963 | 1283602.9215
8 | 2689462.0932 | 1283600.8208
9 | 2689486.2242 | 1283582.4981
10 | 2689481.8291 | 1283583.7553
11 | 2689496.6014 | 1283579.5296
12 | 2689479.1079 | 1283584.5337
13 | 2689500.9159 | 1283578.2954
14 | 2689475.2775 | 1283585.6295
15 | 2689513.764 | 1283548.0087
16 | 2689465.6544 | 1283588.3822
17 | 2689509.8672 | 1283515.4967
18 | 2689459.5337 | 1283590.1331
19 | 2689456.1952 | 1283591.0758
20 | 2689446.9951 | 1283593.6739
21 | 2689433.0379 | 1283597.6153
22 | 2689440.2701 | 1283520.1047
23 | 2689442.3689 | 1283518.7599
24 | 2689405.8319 | 1283537.1501
25 | 2689453.729 | 1283511.481
26 | 2689413.2546 | 1283557.7704
27 | 2689405.446 | 1283511.1809
28 | 2689398.2232 | 1283539.8828
29 | 2689454.3266 | 1283511.0981
30 | 2689425.0804 | 1283580.0774
31 | 2689376.9619 | 1283549.0177
32 | 2689430.8139 | 1283592.7137
33 | 2689368.1992 | 1283553.2734
34 | 2689413.2172 | 1283602.8075
35 | 2689405.8095 | 1283604.748
36 | 2689381.9086 | 1283612.1282
37 | 2689379.5504 | 1283613.1618
38 | 2689369.8378 | 1283617.4184
39 | 2689352.7208 | 1283560.7908
40 | 2689343.9056 | 1283565.072
41 | 2689324.9335 | 1283568.1
42 | 2689305.0101 | 1283565.8578
43 | 2689360.6899 | 1283623.2465
44 | 2689497.5412 | 1283467.3813
45 | 2689493.4241 | 1283415.6851
46 | 2689396.332 | 1283464.6098
47 | 2689392.2652 | 1283459.9997
48 | 2689376.1103 | 1283482.5502
49 | 2689393.2339 | 1283452.5635
50 | 2689403.1437 | 1283442.0651
51 | 2689384.6548 | 1283468.3716
52 | 2689350.7657 | 1283505.1321
53 | 2689465.9584 | 1283393.0987
54 | 2689299.9932 | 1283327.2972
55 | 2689331.0236 | 1283373.7096
56 | 2689269.6146 | 1283358.1258
57 | 2689361.4781 | 1283412.3138
58 | 2689339.9062 | 1283426.742
59 | 2689366.4674 | 1283484.6354
60 | 2689317.8398 | 1283606.6838
61 | 2689307.9827 | 1283546.575
62 | 2689303.3442 | 1283545.9931
63 | 2689288.2054 | 1283518.2618
64 | 2689321.752 | 1283524.9047
65 | 2689443.3644 | 1283375.9871
66 | 2689281.8744 | 1283473.0453
67 | 2689301.9373 | 1283454.9484
68 | 2689271.7027 | 1283480.368
69 | 2689309.707 | 1283447.94
70 | 2689260.2267 | 1283451.3682
71 | 2689278.932 | 1283498.2486
72 | 2689251.1352 | 1283428.3941
73 | 2689263.4412 | 1283505.2167
74 | 2689249.2032 | 1283423.5121
75 | 2689217.7314 | 1283526.9884
76 | 2689258.783 | 1283370.1698
77 | 2689410.0914 | 1283350.7878
78 | 2689345.6036 | 1283503.3551
79 | 2689346.8475 | 1283502.2313
80 | 2689214.4746 | 1283588.4964
81 | 2689217.0385 | 1283594.5978
82 | 2689202.0248 | 1283558.8684
83 | 2689189.6939 | 1283528.3237
84 | 2689211.435 | 1283568.0502
85 | 2689221.0817 | 1283598.0258
86 | 2689200.3404 | 1283616.3343
87 | 2689228.5325 | 1283618.9264
88 | 2689257.2001 | 1283619.0181
89 | 2689174.594 | 1283489.6084
90 | 2689196.5891 | 1283537.2135
91 | 2689167.6811 | 1283466.0471
92 | 2689181.0997 | 1283544.7079
93 | 2689155.1221 | 1283593.9507
94 | 2689139.2174 | 1283578.004
95 | 2689135.1727 | 1283574.1054
96 | 2689107.2896 | 1283570.8103
97 | 2689098.5339 | 1283573.4323
98 | 2689125.4473 | 1283565.373
99 | 2689085.9335 | 1283576.5994
100 | 2689053.5011 | 1283528.5982
101 | 2689147.5531 | 1283566.7475
102 | 2689038.5176 | 1283528.961
103 | 2689165.3729 | 1283555.0401
104 | 2689163.1145 | 1283460.4193
105 | 2689169.3003 | 1283454.6517
106 | 2689167.7555 | 1283436.2066
107 | 2689176.3941 | 1283414.6796
108 | 2689148.4487 | 1283423.3666
109 | 2689303.3442 | 1283545.9931

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1