## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2939-52_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2939-52_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2939-52_0_4_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_2939-52_0_4_node_2 | 0.4 | n |  | TRUE
4 | bus_LV_2939-52_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2939-52_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_2939-52_0_4_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_2939-52_0_4_node_8 | 0.4 | n |  | TRUE
8 | bus_LV_2939-52_0_4_node_9 | 0.4 | n |  | TRUE
9 | bus_LV_2939-52_0_4_node_10 | 0.4 | n |  | TRUE
10 | bus_LV_2939-52_0_4_node_14 | 0.4 | n |  | TRUE
11 | bus_LV_2939-52_0_4_node_11 | 0.4 | n |  | TRUE
12 | bus_LV_2939-52_0_4_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_2939-52_0_4_node_46 | 0.4 | n |  | TRUE
14 | bus_LV_2939-52_0_4_node_85 | 0.4 | n |  | TRUE
15 | bus_LV_2939-52_0_4_node_59 | 0.4 | n |  | TRUE
16 | bus_LV_2939-52_0_4_node_57 | 0.4 | n |  | TRUE
17 | bus_LV_2939-52_0_4_node_17 | 0.4 | n |  | TRUE
18 | bus_LV_2939-52_0_4_node_18 | 0.4 | n |  | TRUE
19 | bus_LV_2939-52_0_4_node_12 | 0.4 | n |  | TRUE
20 | bus_LV_2939-52_0_4_node_93 | 0.4 | n |  | TRUE
21 | bus_LV_2939-52_0_4_node_86 | 0.4 | n |  | TRUE
22 | bus_LV_2939-52_0_4_node_43 | 0.4 | n |  | TRUE
23 | bus_LV_2939-52_0_4_node_55 | 0.4 | n |  | TRUE
24 | bus_LV_2939-52_0_4_node_67 | 0.4 | n |  | TRUE
25 | bus_LV_2939-52_0_4_node_64 | 0.4 | n |  | TRUE
26 | bus_LV_2939-52_0_4_node_70 | 0.4 | n |  | TRUE
27 | bus_LV_2939-52_0_4_node_69 | 0.4 | n |  | TRUE
28 | bus_LV_2939-52_0_4_node_94 | 0.4 | n |  | TRUE
29 | bus_LV_2939-52_0_4_node_65 | 0.4 | n |  | TRUE
30 | bus_LV_2939-52_0_4_node_19 | 0.4 | n |  | TRUE
31 | bus_LV_2939-52_0_4_node_20 | 0.4 | n |  | TRUE
32 | bus_LV_2939-52_0_4_node_21 | 0.4 | n |  | TRUE
33 | bus_LV_2939-52_0_4_node_23 | 0.4 | n |  | TRUE
34 | bus_LV_2939-52_0_4_node_22 | 0.4 | n |  | TRUE
35 | bus_LV_2939-52_0_4_node_39 | 0.4 | n |  | TRUE
36 | bus_LV_2939-52_0_4_node_44 | 0.4 | n |  | TRUE
37 | bus_LV_2939-52_0_4_node_24 | 0.4 | n |  | TRUE
38 | bus_LV_2939-52_0_4_node_37 | 0.4 | n |  | TRUE
39 | bus_LV_2939-52_0_4_node_25 | 0.4 | n |  | TRUE
40 | bus_LV_2939-52_0_4_node_26 | 0.4 | n |  | TRUE
41 | bus_LV_2939-52_0_4_node_30 | 0.4 | n |  | TRUE
42 | bus_LV_2939-52_0_4_node_27 | 0.4 | n |  | TRUE
43 | bus_LV_2939-52_0_4_node_32 | 0.4 | n |  | TRUE
44 | bus_LV_2939-52_0_4_node_28 | 0.4 | n |  | TRUE
45 | bus_LV_2939-52_0_4_node_29 | 0.4 | n |  | TRUE
46 | bus_LV_2939-52_0_4_node_31 | 0.4 | n |  | TRUE
47 | bus_LV_2939-52_0_4_node_36 | 0.4 | n |  | TRUE
48 | bus_LV_2939-52_0_4_node_40 | 0.4 | n |  | TRUE
49 | bus_LV_2939-52_0_4_node_47 | 0.4 | n |  | TRUE
50 | bus_LV_2939-52_0_4_node_34 | 0.4 | n |  | TRUE
51 | bus_LV_2939-52_0_4_node_41 | 0.4 | n |  | TRUE
52 | bus_LV_2939-52_0_4_node_48 | 0.4 | n |  | TRUE
53 | bus_LV_2939-52_0_4_node_33 | 0.4 | n |  | TRUE
54 | bus_LV_2939-52_0_4_node_35 | 0.4 | n |  | TRUE
55 | bus_LV_2939-52_0_4_node_38 | 0.4 | n |  | TRUE
56 | bus_LV_2939-52_0_4_node_42 | 0.4 | n |  | TRUE
57 | bus_LV_2939-52_0_4_node_60 | 0.4 | n |  | TRUE
58 | bus_LV_2939-52_0_4_node_61 | 0.4 | n |  | TRUE
59 | bus_LV_2939-52_0_4_node_53 | 0.4 | n |  | TRUE
60 | bus_LV_2939-52_0_4_node_51 | 0.4 | n |  | TRUE
61 | bus_LV_2939-52_0_4_node_49 | 0.4 | n |  | TRUE
62 | bus_LV_2939-52_0_4_node_50 | 0.4 | n |  | TRUE
63 | bus_LV_2939-52_0_4_node_87 | 0.4 | n |  | TRUE
64 | bus_LV_2939-52_0_4_node_88 | 0.4 | n |  | TRUE
65 | bus_LV_2939-52_0_4_node_52 | 0.4 | n |  | TRUE
66 | bus_LV_2939-52_0_4_node_54 | 0.4 | n |  | TRUE
67 | bus_LV_2939-52_0_4_node_56 | 0.4 | n |  | TRUE
68 | bus_LV_2939-52_0_4_node_58 | 0.4 | n |  | TRUE
69 | bus_LV_2939-52_0_4_node_83 | 0.4 | n |  | TRUE
70 | bus_LV_2939-52_0_4_node_92 | 0.4 | n |  | TRUE
71 | bus_LV_2939-52_0_4_node_82 | 0.4 | n |  | TRUE
72 | bus_LV_2939-52_0_4_node_62 | 0.4 | n |  | TRUE
73 | bus_LV_2939-52_0_4_node_66 | 0.4 | n |  | TRUE
74 | bus_LV_2939-52_0_4_node_71 | 0.4 | n |  | TRUE
75 | bus_LV_2939-52_0_4_node_95 | 0.4 | n |  | TRUE
76 | bus_LV_2939-52_0_4_node_72 | 0.4 | n |  | TRUE
77 | bus_LV_2939-52_0_4_node_73 | 0.4 | n |  | TRUE
78 | bus_LV_2939-52_0_4_node_74 | 0.4 | n |  | TRUE
79 | bus_LV_2939-52_0_4_node_75 | 0.4 | n |  | TRUE
80 | bus_LV_2939-52_0_4_node_76 | 0.4 | n |  | TRUE
81 | bus_LV_2939-52_0_4_node_77 | 0.4 | n |  | TRUE
82 | bus_LV_2939-52_0_4_node_78 | 0.4 | n |  | TRUE
83 | bus_LV_2939-52_0_4_node_79 | 0.4 | n |  | TRUE
84 | bus_LV_2939-52_0_4_node_80 | 0.4 | n |  | TRUE
85 | bus_LV_2939-52_0_4_node_81 | 0.4 | n |  | TRUE
86 | bus_LV_2939-52_0_4_node_84 | 0.4 | n |  | TRUE
87 | bus_LV_2939-52_0_4_node_89 | 0.4 | n |  | TRUE
88 | bus_LV_2939-52_0_4_node_90 | 0.4 | n |  | TRUE
89 | bus_LV_2939-52_0_4_node_91 | 0.4 | n |  | TRUE
90 | bus_LV_2939-52_0_4_node_96 | 0.4 | n |  | TRUE
91 | bus_LV_2939-52_0_4_node_97 | 0.4 | n |  | TRUE
92 | bus_LV_2939-52_0_4_node_98 | 0.4 | n |  | TRUE
93 | bus_LV_2939-52_0_4_node_99 | 0.4 | n |  | TRUE
94 | bus_LV_2939-52_0_4_node_100 | 0.4 | n |  | TRUE
95 | bus_LV_2939-52_0_4_node_101 | 0.4 | n |  | TRUE
96 | bus_LV_2939-52_0_4_node_102 | 0.4 | n |  | TRUE
97 | bus_LV_2939-52_0_4_node_103 | 0.4 | n |  | TRUE
98 | bus_MV_554_1_node_152 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2939-52_0_4_load_0 | 0 | 0.0097085 | 0.0024332 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2939-52_0_4_load_1 | 1 | 0.0082464 | 0.0020668 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2939-52_0_4_load_5 | 5 | 0.0032058 | 0.00080345 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2939-52_0_4_load_8 | 7 | 0.0036532 | 0.00091559 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2939-52_0_4_load_9 | 8 | 0.0038149 | 0.0009561 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2939-52_0_4_load_10 | 9 | 0.025012 | 0.0062687 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2939-52_0_4_load_11 | 11 | 0.017794 | 0.0044597 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2939-52_0_4_load_85 | 14 | 0.0037903 | 0.00094994 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2939-52_0_4_load_59 | 15 | 0.0063438 | 0.0015899 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2939-52_0_4_load_57 | 16 | 0.0030415 | 0.00076228 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2939-52_0_4_load_17 | 17 | 0.0037272 | 0.00093413 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2939-52_0_4_load_18 | 18 | 0.0042029 | 0.0010534 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2939-52_0_4_load_12 | 19 | 0.012883 | 0.0032288 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2939-52_0_4_load_93 | 20 | 0.014087 | 0.0035305 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2939-52_0_4_load_86 | 21 | 0.0029978 | 0.00075133 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2939-52_0_4_load_67 | 24 | 0.019096 | 0.0047858 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2939-52_0_4_load_64 | 25 | 0.0046038 | 0.0011538 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2939-52_0_4_load_70 | 26 | 0.002103 | 0.00052707 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2939-52_0_4_load_94 | 28 | 0.0026618 | 0.0006671 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2939-52_0_4_load_65 | 29 | 0.0082958 | 0.0020791 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2939-52_0_4_load_19 | 30 | 0.004473 | 0.001121 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2939-52_0_4_load_21 | 32 | 0.0020553 | 0.00051512 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2939-52_0_4_load_23 | 33 | 0.0020554 | 0.00051513 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2939-52_0_4_load_39 | 35 | 0.0029792 | 0.00074665 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2939-52_0_4_load_44 | 36 | 0.0015748 | 0.00039468 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2939-52_0_4_load_24 | 37 | 0.0032239 | 0.00080798 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2939-52_0_4_load_37 | 38 | 0.0022063 | 0.00055295 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2939-52_0_4_load_25 | 39 | 0.0061249 | 0.001535 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2939-52_0_4_load_30 | 41 | 0.0043361 | 0.0010867 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2939-52_0_4_load_27 | 42 | 0.0093586 | 0.0023455 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2939-52_0_4_load_32 | 43 | 0.0014808 | 0.00037112 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2939-52_0_4_load_28 | 44 | 0.0055034 | 0.0013793 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2939-52_0_4_load_29 | 45 | 0.012001 | 0.0030077 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2939-52_0_4_load_36 | 47 | 0.0054992 | 0.0013782 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2939-52_0_4_load_40 | 48 | 0.00355 | 0.00088972 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2939-52_0_4_load_47 | 49 | 0.0054816 | 0.0013738 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2939-52_0_4_load_34 | 50 | 0.0023819 | 0.00059696 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2939-52_0_4_load_41 | 51 | 0.0015331 | 0.00038424 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2939-52_0_4_load_33 | 53 | 0.0054995 | 0.0013783 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2939-52_0_4_load_38 | 55 | 0.0062444 | 0.001565 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2939-52_0_4_load_42 | 56 | 0.0011948 | 0.00029945 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2939-52_0_4_load_60 | 57 | 0.0014596 | 0.0003658 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2939-52_0_4_load_61 | 58 | 0.0013651 | 0.00034212 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2939-52_0_4_load_51 | 60 | 0.0056602 | 0.0014186 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2939-52_0_4_load_49 | 61 | 0.0028375 | 0.00071113 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2939-52_0_4_load_50 | 62 | 0.0013713 | 0.00034367 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2939-52_0_4_load_87 | 63 | 0.0029775 | 0.00074624 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2939-52_0_4_load_88 | 64 | 0.0031085 | 0.00077907 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2939-52_0_4_load_52 | 65 | 0.0019192 | 0.00048101 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2939-52_0_4_load_54 | 66 | 0.0017964 | 0.00045023 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2939-52_0_4_load_56 | 67 | 0.0016113 | 0.00040383 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2939-52_0_4_load_58 | 68 | 0.0073688 | 0.0018468 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2939-52_0_4_load_83 | 69 | 0.0019438 | 0.00048717 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2939-52_0_4_load_92 | 70 | 0.012656 | 0.0031718 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2939-52_0_4_load_62 | 72 | 0.001962 | 0.00049173 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2939-52_0_4_load_66 | 73 | 0.0031734 | 0.00079534 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_2939-52_0_4_load_71 | 74 | 0.0014973 | 0.00037527 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_2939-52_0_4_load_95 | 75 | 0.0024768 | 0.00062074 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_2939-52_0_4_load_72 | 76 | 0.005577 | 0.0013977 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_2939-52_0_4_load_73 | 77 | 0.0013235 | 0.00033171 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_2939-52_0_4_load_74 | 78 | 0.001145 | 0.00028696 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_2939-52_0_4_load_75 | 79 | 0.004268 | 0.0010697 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_2939-52_0_4_load_76 | 80 | 0.0039586 | 0.00099212 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_2939-52_0_4_load_77 | 81 | 0.0040059 | 0.001004 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_2939-52_0_4_load_80 | 84 | 0.0073413 | 0.0018399 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_2939-52_0_4_load_81 | 85 | 0.0022477 | 0.00056333 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_2939-52_0_4_load_84 | 86 | 0.0080631 | 0.0020208 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_2939-52_0_4_load_89 | 87 | 0.0043334 | 0.0010861 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_2939-52_0_4_load_90 | 88 | 0.01473 | 0.0036916 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_2939-52_0_4_load_91 | 89 | 0.01484 | 0.0037193 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_2939-52_0_4_load_96 | 90 | 0.0023105 | 0.00057907 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_2939-52_0_4_load_97 | 91 | 0.0022325 | 0.00055952 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_2939-52_0_4_load_98 | 92 | 0.0020657 | 0.0005177 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_2939-52_0_4_load_99 | 93 | 0.001716 | 0.00043008 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_2939-52_0_4_load_100 | 94 | 0.0019564 | 0.00049032 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_2939-52_0_4_load_101 | 95 | 0.0018055 | 0.00045251 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_2939-52_0_4_load_102 | 96 | 0.0019919 | 0.00049922 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_2939-52_0_4_load_103 | 97 | 0.001451 | 0.00036365 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 3 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2939-52_0_4_line_0 |  | 0 | 1 | 0.028967 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2939-52_0_4_line_1 |  | 1 | 2 | 0.0072885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2939-52_0_4_line_2 |  | 2 | 6 | 0.036487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2939-52_0_4_line_3 |  | 3 | 4 | 0.010394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
4 | LV_2939-52_0_4_line_4 |  | 3 | 5 | 0.0047612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
5 | LV_2939-52_0_4_line_5 |  | 4 | 7 | 0.011436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2939-52_0_4_line_6 |  | 4 | 8 | 0.018374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2939-52_0_4_line_7 |  | 5 | 9 | 0.018875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
8 | LV_2939-52_0_4_line_8 |  | 6 | 10 | 0.038959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2939-52_0_4_line_9 |  | 6 | 11 | 0.020923 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2939-52_0_4_line_10 |  | 7 | 15 | 0.016105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2939-52_0_4_line_11 |  | 8 | 16 | 0.012446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2939-52_0_4_line_12 |  | 9 | 10 | 0.020984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2939-52_0_4_line_13 |  | 10 | 17 | 0.022948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2939-52_0_4_line_14 |  | 10 | 18 | 0.016484 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2939-52_0_4_line_15 |  | 11 | 19 | 0.042667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2939-52_0_4_line_16 |  | 12 | 13 | 0.062864 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2939-52_0_4_line_17 |  | 12 | 14 | 0.012666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2939-52_0_4_line_18 |  | 13 | 20 | 0.039715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2939-52_0_4_line_19 |  | 14 | 21 | 0.020157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2939-52_0_4_line_20 |  | 15 | 22 | 0.031984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2939-52_0_4_line_21 |  | 16 | 23 | 0.0032342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2939-52_0_4_line_22 |  | 17 | 24 | 0.0023278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2939-52_0_4_line_23 |  | 18 | 25 | 0.023351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2939-52_0_4_line_24 |  | 21 | 63 | 0.0013938 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2939-52_0_4_line_25 |  | 22 | 57 | 0.026391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2939-52_0_4_line_26 |  | 22 | 56 | 0.012906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2939-52_0_4_line_27 |  | 23 | 68 | 0.024965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2939-52_0_4_line_28 |  | 23 | 59 | 0.015822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2939-52_0_4_line_29 |  | 24 | 28 | 0.0074651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2939-52_0_4_line_30 |  | 25 | 29 | 0.025648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2939-52_0_4_line_31 |  | 26 | 27 | 0.0043421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2939-52_0_4_line_32 |  | 27 | 74 | 0.03014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2939-52_0_4_line_33 |  | 27 | 73 | 0.019564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2939-52_0_4_line_34 |  | 28 | 75 | 0.0082754 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2939-52_0_4_line_35 |  | 29 | 73 | 0.0076596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2939-52_0_4_line_36 |  | 30 | 31 | 0.0036225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2939-52_0_4_line_37 |  | 31 | 32 | 0.012482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2939-52_0_4_line_38 |  | 32 | 33 | 0.0094061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2939-52_0_4_line_39 |  | 33 | 37 | 0.011306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2939-52_0_4_line_40 |  | 34 | 35 | 0.051385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2939-52_0_4_line_41 |  | 34 | 36 | 0.027095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2939-52_0_4_line_42 |  | 35 | 38 | 0.040035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2939-52_0_4_line_43 |  | 37 | 39 | 0.011778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2939-52_0_4_line_44 |  | 38 | 54 | 0.0098782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2939-52_0_4_line_45 |  | 39 | 40 | 0.020661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2939-52_0_4_line_46 |  | 40 | 41 | 0.02376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2939-52_0_4_line_47 |  | 40 | 42 | 0.03207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2939-52_0_4_line_48 |  | 41 | 43 | 0.010258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2939-52_0_4_line_49 |  | 42 | 44 | 0.012742 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2939-52_0_4_line_50 |  | 43 | 49 | 0.014311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_2939-52_0_4_line_51 |  | 44 | 45 | 0.0083162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2939-52_0_4_line_52 |  | 45 | 46 | 0.032257 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2939-52_0_4_line_53 |  | 46 | 47 | 0.012999 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2939-52_0_4_line_54 |  | 46 | 48 | 0.0034266 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2939-52_0_4_line_55 |  | 47 | 50 | 0.020552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_2939-52_0_4_line_56 |  | 48 | 51 | 0.0066596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2939-52_0_4_line_57 |  | 49 | 52 | 0.0047595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_2939-52_0_4_line_58 |  | 50 | 53 | 0.0016752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_2939-52_0_4_line_59 |  | 51 | 56 | 0.023072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_2939-52_0_4_line_60 |  | 52 | 61 | 0.016735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_2939-52_0_4_line_61 |  | 52 | 62 | 0.036305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_2939-52_0_4_line_62 |  | 53 | 54 | 0.019893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_2939-52_0_4_line_63 |  | 54 | 55 | 0.020809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_2939-52_0_4_line_64 |  | 57 | 58 | 0.0089669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_2939-52_0_4_line_65 |  | 58 | 72 | 0.0098779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_2939-52_0_4_line_66 |  | 59 | 60 | 0.015799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_2939-52_0_4_line_67 |  | 60 | 65 | 0.0062619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_2939-52_0_4_line_68 |  | 61 | 63 | 0.01268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_2939-52_0_4_line_69 |  | 62 | 64 | 0.003145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_2939-52_0_4_line_70 |  | 65 | 66 | 0.013437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_2939-52_0_4_line_71 |  | 66 | 67 | 0.012238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_2939-52_0_4_line_72 |  | 67 | 69 | 0.015889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_2939-52_0_4_line_73 |  | 68 | 70 | 0.034318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_2939-52_0_4_line_74 |  | 70 | 71 | 0.014884 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_2939-52_0_4_line_75 |  | 71 | 87 | 0.011906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_2939-52_0_4_line_76 |  | 71 | 84 | 0.0085558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_2939-52_0_4_line_77 |  | 74 | 76 | 0.022693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_2939-52_0_4_line_78 |  | 75 | 90 | 0.013745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_2939-52_0_4_line_79 |  | 77 | 78 | 0.015085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_2939-52_0_4_line_80 |  | 77 | 79 | 0.0036981 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_2939-52_0_4_line_81 |  | 78 | 80 | 0.0062751 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_2939-52_0_4_line_82 |  | 79 | 81 | 0.021718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_2939-52_0_4_line_83 |  | 80 | 82 | 0.016838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_2939-52_0_4_line_84 |  | 81 | 83 | 0.010344 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_2939-52_0_4_line_85 |  | 82 | 84 | 0.028578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_2939-52_0_4_line_86 |  | 82 | 85 | 0.0068165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_2939-52_0_4_line_87 |  | 83 | 86 | 0.020446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_2939-52_0_4_line_88 |  | 87 | 88 | 0.014659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_2939-52_0_4_line_89 |  | 88 | 89 | 0.056382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_2939-52_0_4_line_90 |  | 90 | 91 | 0.0040259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_2939-52_0_4_line_91 |  | 91 | 92 | 0.0073142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_2939-52_0_4_line_92 |  | 92 | 93 | 0.0065287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_2939-52_0_4_line_93 |  | 93 | 94 | 0.00035989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_2939-52_0_4_line_94 |  | 94 | 95 | 0.016083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_2939-52_0_4_line_95 |  | 95 | 96 | 0.0019547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_2939-52_0_4_line_96 |  | 96 | 97 | 0.015071 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2939-52_0_4_trafo_2 | 0.63 MVA 20/0.4 kV | 98 | 3 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2688311.5185 | 1284353.5268 | 2688308.8843 | 1284343.902 | 2688312.3323 | 1284325.2295
1 | 2688313.6557 | 1284318.0622 | 2688312.3323 | 1284325.2295
2 | 2688313.6557 | 1284318.0622 | 2688338.9561 | 1284322.89 | 2688346.3214 | 1284330.8183
3 | 2688331.7962 | 1284387.3497 | 2688328.4036 | 1284391.3245 | 2688325.963 | 1284395.8919
4 | 2688331.7962 | 1284387.3497 | 2688335.359 | 1284384.1913
5 | 2688325.963 | 1284395.8919 | 2688318.4235 | 1284396.0791 | 2688315.0552 | 1284398.0329
6 | 2688325.963 | 1284395.8919 | 2688323.0731 | 1284404.8897 | 2688322.4762 | 1284413.1546 | 2688322.5865 | 1284413.7824
7 | 2688350.8717 | 1284373.502 | 2688344.8677 | 1284377.1812 | 2688337.9889 | 1284381.86 | 2688335.359 | 1284384.1913
8 | 2688368.7635 | 1284362.5379 | 2688365.4911 | 1284356.4947 | 2688353.214 | 1284338.2281 | 2688346.3214 | 1284330.8183
9 | 2688346.3214 | 1284330.8183 | 2688363.1725 | 1284318.4158 | 2688363.1725 | 1284318.4158
10 | 2688301.1244 | 1284406.1135 | 2688315.0552 | 1284398.0329
11 | 2688322.5865 | 1284413.7824 | 2688323.9078 | 1284421.3054 | 2688325.5318 | 1284425.8308
12 | 2688368.7635 | 1284362.5379 | 2688350.8717 | 1284373.502
13 | 2688368.7635 | 1284362.5379 | 2688386.563 | 1284377.0222
14 | 2688368.7635 | 1284362.5379 | 2688376.9883 | 1284357.7014 | 2688382.7864 | 1284353.8821
15 | 2688363.1725 | 1284318.4158 | 2688366.9608 | 1284318.5838 | 2688394.5301 | 1284298.78 | 2688395.9298 | 1284294.0525
16 | 2688278.588 | 1284216.1596 | 2688275.4241 | 1284228.4117 | 2688289.9271 | 1284238.4376 | 2688294.8695 | 1284251.2672 | 2688308.083 | 1284255.669 | 2688310.8373 | 1284259.7249
17 | 2688310.8373 | 1284259.7249 | 2688298.1782 | 1284259.2938
18 | 2688278.588 | 1284216.1596 | 2688318.2556 | 1284218.0931
19 | 2688298.1782 | 1284259.2938 | 2688278.0329 | 1284258.6079
20 | 2688273.458 | 1284422.1614 | 2688301.1244 | 1284406.1135
21 | 2688326.6243 | 1284428.8749 | 2688325.5318 | 1284425.8308
22 | 2688388.3686 | 1284378.4914 | 2688386.563 | 1284377.0222
23 | 2688382.7864 | 1284353.8821 | 2688402.2864 | 1284341.037
24 | 2688276.6399 | 1284258.5604 | 2688278.0329 | 1284258.6079
25 | 2688273.458 | 1284422.1614 | 2688266.3744 | 1284426.4924 | 2688252.5313 | 1284438.1353
26 | 2688273.458 | 1284422.1614 | 2688265.5622 | 1284422.588 | 2688261.2822 | 1284420.0059
27 | 2688326.6243 | 1284428.8749 | 2688331.2561 | 1284434.8606 | 2688334.2307 | 1284437.7299 | 2688339.2475 | 1284441.5751 | 2688345.0346 | 1284445.4105
28 | 2688312.1009 | 1284435.2517 | 2688326.6243 | 1284428.8749
29 | 2688388.3686 | 1284378.4914 | 2688394.1588 | 1284383.2032
30 | 2688402.2864 | 1284341.037 | 2688415.2 | 1284332.5305 | 2688423.105 | 1284326.1096
31 | 2688441.554 | 1284306.1808 | 2688444.2869 | 1284302.8066
32 | 2688441.554 | 1284306.1808 | 2688465.0935 | 1284325.0044
33 | 2688441.554 | 1284306.1808 | 2688432.3466 | 1284317.4524 | 2688428.7352 | 1284320.9238
34 | 2688394.1588 | 1284383.2032 | 2688400.5775 | 1284388.4264
35 | 2688428.7352 | 1284320.9238 | 2688424.6233 | 1284324.8763 | 2688423.105 | 1284326.1096
36 | 2688174.7338 | 1284306.6723 | 2688174.4804 | 1284303.0587
37 | 2688174.7338 | 1284306.6723 | 2688187.2024 | 1284307.2419
38 | 2688187.2024 | 1284307.2419 | 2688196.5987 | 1284307.6711
39 | 2688207.8934 | 1284308.187 | 2688196.5987 | 1284307.6711
40 | 2688135.3153 | 1284368.9034 | 2688141.3605 | 1284369.2496 | 2688142.6497 | 1284370.381 | 2688142.9186 | 1284372.4757 | 2688143.5596 | 1284374.7873 | 2688147.3044 | 1284378.8691 | 2688152.3844 | 1284381.514 | 2688167.7632 | 1284381.6664 | 2688168.634 | 1284369.2395
41 | 2688135.3153 | 1284368.9034 | 2688129.4406 | 1284342.4528
42 | 2688190.5944 | 1284389.9596 | 2688186.6168 | 1284386.8863 | 2688182.1777 | 1284387.0645 | 2688176.6002 | 1284385.5687 | 2688175.344 | 1284384.2376 | 2688171.3282 | 1284368.1747 | 2688170.3522 | 1284366.1806 | 2688168.8133 | 1284366.6802 | 2688168.634 | 1284369.2395
43 | 2688207.8934 | 1284308.187 | 2688219.6589 | 1284308.7245
44 | 2688194.3345 | 1284380.8188 | 2688191.9854 | 1284386.7999 | 2688190.5944 | 1284389.9596
45 | 2688240.298 | 1284309.6673 | 2688219.6589 | 1284308.7245
46 | 2688240.298 | 1284309.6673 | 2688240.5608 | 1284305.1562 | 2688242.1612 | 1284285.9817
47 | 2688240.298 | 1284309.6673 | 2688239.3355 | 1284326.3117 | 2688239.4593 | 1284334.5763 | 2688239.7183 | 1284341.7037
48 | 2688243.0145 | 1284275.7594 | 2688242.1612 | 1284285.9817
49 | 2688240.1811 | 1284354.4378 | 2688239.7183 | 1284341.7037
50 | 2688243.0145 | 1284275.7594 | 2688244.0558 | 1284263.2833 | 2688244.9271 | 1284261.7181
51 | 2688240.1811 | 1284354.4378 | 2688240.4831 | 1284362.7485
52 | 2688241.6544 | 1284394.9838 | 2688240.4831 | 1284362.7485
53 | 2688241.6544 | 1284394.9838 | 2688236.6286 | 1284395.7425 | 2688228.7303 | 1284395.2099
54 | 2688241.6544 | 1284394.9838 | 2688242.8434 | 1284398.1975
55 | 2688228.7303 | 1284395.2099 | 2688219.4557 | 1284394.5845 | 2688208.4461 | 1284392.2386
56 | 2688245.1543 | 1284404.4432 | 2688242.8434 | 1284398.1975
57 | 2688247.2419 | 1284257.5594 | 2688244.9271 | 1284261.7181
58 | 2688208.4461 | 1284392.2386 | 2688206.8077 | 1284391.8895
59 | 2688261.2822 | 1284420.0059 | 2688251.725 | 1284414.2402 | 2688246.2139 | 1284407.3072 | 2688245.1543 | 1284404.4432
60 | 2688247.2419 | 1284257.5594 | 2688263.9673 | 1284258.1289
61 | 2688247.2419 | 1284257.5594 | 2688245.8343 | 1284244.2935 | 2688238.2778 | 1284240.5882 | 2688227.4279 | 1284239.7584 | 2688224.0015 | 1284241.0661
62 | 2688194.3345 | 1284380.8188 | 2688195.2488 | 1284381.4219 | 2688196.6632 | 1284389.728 | 2688206.8077 | 1284391.8895
63 | 2688194.3345 | 1284380.8188 | 2688194.538 | 1284360.0107
64 | 2688252.5313 | 1284438.1353 | 2688245.6689 | 1284443.907
65 | 2688245.6689 | 1284443.907 | 2688240.7695 | 1284448.0277 | 2688238.1617 | 1284450.3259
66 | 2688312.1009 | 1284435.2517 | 2688302.6962 | 1284447.9472
67 | 2688302.6962 | 1284447.9472 | 2688298.9688 | 1284452.9789
68 | 2688276.6399 | 1284258.5604 | 2688263.9673 | 1284258.1289
69 | 2688221.0632 | 1284242.1875 | 2688224.0015 | 1284241.0661
70 | 2688290.9706 | 1284463.7757 | 2688298.9688 | 1284452.9789
71 | 2688290.9706 | 1284463.7757 | 2688283.6862 | 1284473.6091
72 | 2688274.2282 | 1284486.3765 | 2688283.6862 | 1284473.6091
73 | 2688345.0346 | 1284445.4105 | 2688353.875 | 1284451.2694 | 2688373.4073 | 1284464.7136
74 | 2688385.6288 | 1284473.209 | 2688380.6818 | 1284469.7207 | 2688373.4073 | 1284464.7136
75 | 2688385.6288 | 1284473.209 | 2688378.1521 | 1284482.4749
76 | 2688385.6288 | 1284473.209 | 2688392.6199 | 1284478.1413
77 | 2688482.817 | 1284339.1771 | 2688465.0935 | 1284325.0044
78 | 2688411.2389 | 1284397.1021 | 2688400.5775 | 1284388.4264
79 | 2688390.6406 | 1284523.2071 | 2688400.6444 | 1284511.916
80 | 2688390.6406 | 1284523.2071 | 2688388.1883 | 1284525.9751
81 | 2688404.8057 | 1284507.2191 | 2688400.6444 | 1284511.916
82 | 2688373.7858 | 1284542.231 | 2688388.1883 | 1284525.9751
83 | 2688415.9717 | 1284494.6161 | 2688404.8057 | 1284507.2191
84 | 2688366.9266 | 1284549.973 | 2688373.7858 | 1284542.231
85 | 2688415.9717 | 1284494.6161 | 2688392.6199 | 1284478.1413
86 | 2688415.9717 | 1284494.6161 | 2688421.4677 | 1284498.5353 | 2688421.5195 | 1284498.5766
87 | 2688366.9266 | 1284549.973 | 2688381.641 | 1284564.1688
88 | 2688378.1521 | 1284482.4749 | 2688372.6488 | 1284489.295 | 2688368.7287 | 1284493.6979
89 | 2688323.4514 | 1284516.7925 | 2688330.7169 | 1284521.8503 | 2688362.8681 | 1284500.2802 | 2688368.7287 | 1284493.6979
90 | 2688411.2389 | 1284397.1021 | 2688414.3616 | 1284399.6432
91 | 2688414.3616 | 1284399.6432 | 2688420.0348 | 1284404.2597
92 | 2688425.0987 | 1284408.3805 | 2688420.0348 | 1284404.2597
93 | 2688425.0987 | 1284408.3805 | 2688425.3778 | 1284408.6076
94 | 2688437.8522 | 1284418.7586 | 2688425.3778 | 1284408.6076
95 | 2688437.8522 | 1284418.7586 | 2688439.3684 | 1284419.9924
96 | 2688451.0582 | 1284429.505 | 2688439.3684 | 1284419.9924

## bus_geodata
| x | y | coords
0 | 2688311.5185 | 1284353.5268
1 | 2688312.3323 | 1284325.2295
2 | 2688313.6557 | 1284318.0622
3 | 2688331.7962 | 1284387.3497
4 | 2688325.963 | 1284395.8919
5 | 2688335.359 | 1284384.1913
6 | 2688346.3214 | 1284330.8183
7 | 2688315.0552 | 1284398.0329
8 | 2688322.5865 | 1284413.7824
9 | 2688350.8717 | 1284373.502
10 | 2688368.7635 | 1284362.5379
11 | 2688363.1725 | 1284318.4158
12 | 2688310.8373 | 1284259.7249
13 | 2688278.588 | 1284216.1596
14 | 2688298.1782 | 1284259.2938
15 | 2688301.1244 | 1284406.1135
16 | 2688325.5318 | 1284425.8308
17 | 2688386.563 | 1284377.0222
18 | 2688382.7864 | 1284353.8821
19 | 2688395.9298 | 1284294.0525
20 | 2688318.2556 | 1284218.0931
21 | 2688278.0329 | 1284258.6079
22 | 2688273.458 | 1284422.1614
23 | 2688326.6243 | 1284428.8749
24 | 2688388.3686 | 1284378.4914
25 | 2688402.2864 | 1284341.037
26 | 2688444.2869 | 1284302.8066
27 | 2688441.554 | 1284306.1808
28 | 2688394.1588 | 1284383.2032
29 | 2688423.105 | 1284326.1096
30 | 2688174.4804 | 1284303.0587
31 | 2688174.7338 | 1284306.6723
32 | 2688187.2024 | 1284307.2419
33 | 2688196.5987 | 1284307.6711
34 | 2688135.3153 | 1284368.9034
35 | 2688168.634 | 1284369.2395
36 | 2688129.4406 | 1284342.4528
37 | 2688207.8934 | 1284308.187
38 | 2688190.5944 | 1284389.9596
39 | 2688219.6589 | 1284308.7245
40 | 2688240.298 | 1284309.6673
41 | 2688242.1612 | 1284285.9817
42 | 2688239.7183 | 1284341.7037
43 | 2688243.0145 | 1284275.7594
44 | 2688240.1811 | 1284354.4378
45 | 2688240.4831 | 1284362.7485
46 | 2688241.6544 | 1284394.9838
47 | 2688228.7303 | 1284395.2099
48 | 2688242.8434 | 1284398.1975
49 | 2688244.9271 | 1284261.7181
50 | 2688208.4461 | 1284392.2386
51 | 2688245.1543 | 1284404.4432
52 | 2688247.2419 | 1284257.5594
53 | 2688206.8077 | 1284391.8895
54 | 2688194.3345 | 1284380.8188
55 | 2688194.538 | 1284360.0107
56 | 2688261.2822 | 1284420.0059
57 | 2688252.5313 | 1284438.1353
58 | 2688245.6689 | 1284443.907
59 | 2688312.1009 | 1284435.2517
60 | 2688302.6962 | 1284447.9472
61 | 2688263.9673 | 1284258.1289
62 | 2688224.0015 | 1284241.0661
63 | 2688276.6399 | 1284258.5604
64 | 2688221.0632 | 1284242.1875
65 | 2688298.9688 | 1284452.9789
66 | 2688290.9706 | 1284463.7757
67 | 2688283.6862 | 1284473.6091
68 | 2688345.0346 | 1284445.4105
69 | 2688274.2282 | 1284486.3766
70 | 2688373.4073 | 1284464.7136
71 | 2688385.6288 | 1284473.209
72 | 2688238.1617 | 1284450.3259
73 | 2688428.7352 | 1284320.9238
74 | 2688465.0935 | 1284325.0044
75 | 2688400.5775 | 1284388.4264
76 | 2688482.817 | 1284339.1771
77 | 2688390.6406 | 1284523.2071
78 | 2688400.6444 | 1284511.916
79 | 2688388.1883 | 1284525.9751
80 | 2688404.8057 | 1284507.2191
81 | 2688373.7858 | 1284542.231
82 | 2688415.9717 | 1284494.6161
83 | 2688366.9266 | 1284549.973
84 | 2688392.6199 | 1284478.1413
85 | 2688421.5195 | 1284498.5766
86 | 2688381.641 | 1284564.1688
87 | 2688378.1521 | 1284482.4749
88 | 2688368.7287 | 1284493.6979
89 | 2688323.4514 | 1284516.7925
90 | 2688411.2389 | 1284397.1021
91 | 2688414.3616 | 1284399.6432
92 | 2688420.0348 | 1284404.2597
93 | 2688425.0987 | 1284408.3805
94 | 2688425.3778 | 1284408.6076
95 | 2688437.8522 | 1284418.7586
96 | 2688439.3684 | 1284419.9924
97 | 2688451.0582 | 1284429.505
98 | 2688325.963 | 1284395.8919

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1