## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2939-53_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2939-53_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2939-53_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2939-53_0_5_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_2939-53_0_5_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_2939-53_0_5_node_8 | 0.4 | n |  | TRUE
6 | bus_LV_2939-53_0_5_node_9 | 0.4 | n |  | TRUE
7 | bus_LV_2939-53_0_5_node_104 | 0.4 | n |  | TRUE
8 | bus_LV_2939-53_0_5_node_100 | 0.4 | n |  | TRUE
9 | bus_LV_2939-53_0_5_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_2939-53_0_5_node_96 | 0.4 | n |  | TRUE
11 | bus_LV_2939-53_0_5_node_112 | 0.4 | n |  | TRUE
12 | bus_LV_2939-53_0_5_node_10 | 0.4 | n |  | TRUE
13 | bus_LV_2939-53_0_5_node_101 | 0.4 | n |  | TRUE
14 | bus_LV_2939-53_0_5_node_95 | 0.4 | n |  | TRUE
15 | bus_LV_2939-53_0_5_node_12 | 0.4 | n |  | TRUE
16 | bus_LV_2939-53_0_5_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_2939-53_0_5_node_41 | 0.4 | n |  | TRUE
18 | bus_LV_2939-53_0_5_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_2939-53_0_5_node_14 | 0.4 | n |  | TRUE
20 | bus_LV_2939-53_0_5_node_122 | 0.4 | n |  | TRUE
21 | bus_LV_2939-53_0_5_node_113 | 0.4 | n |  | TRUE
22 | bus_LV_2939-53_0_5_node_114 | 0.4 | n |  | TRUE
23 | bus_LV_2939-53_0_5_node_120 | 0.4 | n |  | TRUE
24 | bus_LV_2939-53_0_5_node_15 | 0.4 | n |  | TRUE
25 | bus_LV_2939-53_0_5_node_16 | 0.4 | n |  | TRUE
26 | bus_LV_2939-53_0_5_node_17 | 0.4 | n |  | TRUE
27 | bus_LV_2939-53_0_5_node_18 | 0.4 | n |  | TRUE
28 | bus_LV_2939-53_0_5_node_19 | 0.4 | n |  | TRUE
29 | bus_LV_2939-53_0_5_node_20 | 0.4 | n |  | TRUE
30 | bus_LV_2939-53_0_5_node_21 | 0.4 | n |  | TRUE
31 | bus_LV_2939-53_0_5_node_23 | 0.4 | n |  | TRUE
32 | bus_LV_2939-53_0_5_node_80 | 0.4 | n |  | TRUE
33 | bus_LV_2939-53_0_5_node_39 | 0.4 | n |  | TRUE
34 | bus_LV_2939-53_0_5_node_22 | 0.4 | n |  | TRUE
35 | bus_LV_2939-53_0_5_node_46 | 0.4 | n |  | TRUE
36 | bus_LV_2939-53_0_5_node_129 | 0.4 | n |  | TRUE
37 | bus_LV_2939-53_0_5_node_42 | 0.4 | n |  | TRUE
38 | bus_LV_2939-53_0_5_node_38 | 0.4 | n |  | TRUE
39 | bus_LV_2939-53_0_5_node_35 | 0.4 | n |  | TRUE
40 | bus_LV_2939-53_0_5_node_48 | 0.4 | n |  | TRUE
41 | bus_LV_2939-53_0_5_node_24 | 0.4 | n |  | TRUE
42 | bus_LV_2939-53_0_5_node_25 | 0.4 | n |  | TRUE
43 | bus_LV_2939-53_0_5_node_26 | 0.4 | n |  | TRUE
44 | bus_LV_2939-53_0_5_node_27 | 0.4 | n |  | TRUE
45 | bus_LV_2939-53_0_5_node_28 | 0.4 | n |  | TRUE
46 | bus_LV_2939-53_0_5_node_30 | 0.4 | n |  | TRUE
47 | bus_LV_2939-53_0_5_node_31 | 0.4 | n |  | TRUE
48 | bus_LV_2939-53_0_5_node_32 | 0.4 | n |  | TRUE
49 | bus_LV_2939-53_0_5_node_29 | 0.4 | n |  | TRUE
50 | bus_LV_2939-53_0_5_node_63 | 0.4 | n |  | TRUE
51 | bus_LV_2939-53_0_5_node_62 | 0.4 | n |  | TRUE
52 | bus_LV_2939-53_0_5_node_89 | 0.4 | n |  | TRUE
53 | bus_LV_2939-53_0_5_node_45 | 0.4 | n |  | TRUE
54 | bus_LV_2939-53_0_5_node_33 | 0.4 | n |  | TRUE
55 | bus_LV_2939-53_0_5_node_85 | 0.4 | n |  | TRUE
56 | bus_LV_2939-53_0_5_node_60 | 0.4 | n |  | TRUE
57 | bus_LV_2939-53_0_5_node_37 | 0.4 | n |  | TRUE
58 | bus_LV_2939-53_0_5_node_40 | 0.4 | n |  | TRUE
59 | bus_LV_2939-53_0_5_node_36 | 0.4 | n |  | TRUE
60 | bus_LV_2939-53_0_5_node_43 | 0.4 | n |  | TRUE
61 | bus_LV_2939-53_0_5_node_44 | 0.4 | n |  | TRUE
62 | bus_LV_2939-53_0_5_node_49 | 0.4 | n |  | TRUE
63 | bus_LV_2939-53_0_5_node_128 | 0.4 | n |  | TRUE
64 | bus_LV_2939-53_0_5_node_50 | 0.4 | n |  | TRUE
65 | bus_LV_2939-53_0_5_node_51 | 0.4 | n |  | TRUE
66 | bus_LV_2939-53_0_5_node_81 | 0.4 | n |  | TRUE
67 | bus_LV_2939-53_0_5_node_126 | 0.4 | n |  | TRUE
68 | bus_LV_2939-53_0_5_node_52 | 0.4 | n |  | TRUE
69 | bus_LV_2939-53_0_5_node_82 | 0.4 | n |  | TRUE
70 | bus_LV_2939-53_0_5_node_83 | 0.4 | n |  | TRUE
71 | bus_LV_2939-53_0_5_node_53 | 0.4 | n |  | TRUE
72 | bus_LV_2939-53_0_5_node_54 | 0.4 | n |  | TRUE
73 | bus_LV_2939-53_0_5_node_64 | 0.4 | n |  | TRUE
74 | bus_LV_2939-53_0_5_node_65 | 0.4 | n |  | TRUE
75 | bus_LV_2939-53_0_5_node_55 | 0.4 | n |  | TRUE
76 | bus_LV_2939-53_0_5_node_56 | 0.4 | n |  | TRUE
77 | bus_LV_2939-53_0_5_node_57 | 0.4 | n |  | TRUE
78 | bus_LV_2939-53_0_5_node_58 | 0.4 | n |  | TRUE
79 | bus_LV_2939-53_0_5_node_59 | 0.4 | n |  | TRUE
80 | bus_LV_2939-53_0_5_node_61 | 0.4 | n |  | TRUE
81 | bus_LV_2939-53_0_5_node_73 | 0.4 | n |  | TRUE
82 | bus_LV_2939-53_0_5_node_70 | 0.4 | n |  | TRUE
83 | bus_LV_2939-53_0_5_node_86 | 0.4 | n |  | TRUE
84 | bus_LV_2939-53_0_5_node_74 | 0.4 | n |  | TRUE
85 | bus_LV_2939-53_0_5_node_75 | 0.4 | n |  | TRUE
86 | bus_LV_2939-53_0_5_node_66 | 0.4 | n |  | TRUE
87 | bus_LV_2939-53_0_5_node_67 | 0.4 | n |  | TRUE
88 | bus_LV_2939-53_0_5_node_68 | 0.4 | n |  | TRUE
89 | bus_LV_2939-53_0_5_node_69 | 0.4 | n |  | TRUE
90 | bus_LV_2939-53_0_5_node_71 | 0.4 | n |  | TRUE
91 | bus_LV_2939-53_0_5_node_76 | 0.4 | n |  | TRUE
92 | bus_LV_2939-53_0_5_node_78 | 0.4 | n |  | TRUE
93 | bus_LV_2939-53_0_5_node_90 | 0.4 | n |  | TRUE
94 | bus_LV_2939-53_0_5_node_91 | 0.4 | n |  | TRUE
95 | bus_LV_2939-53_0_5_node_110 | 0.4 | n |  | TRUE
96 | bus_LV_2939-53_0_5_node_109 | 0.4 | n |  | TRUE
97 | bus_LV_2939-53_0_5_node_127 | 0.4 | n |  | TRUE
98 | bus_LV_2939-53_0_5_node_87 | 0.4 | n |  | TRUE
99 | bus_LV_2939-53_0_5_node_88 | 0.4 | n |  | TRUE
100 | bus_LV_2939-53_0_5_node_93 | 0.4 | n |  | TRUE
101 | bus_LV_2939-53_0_5_node_92 | 0.4 | n |  | TRUE
102 | bus_LV_2939-53_0_5_node_94 | 0.4 | n |  | TRUE
103 | bus_LV_2939-53_0_5_node_99 | 0.4 | n |  | TRUE
104 | bus_LV_2939-53_0_5_node_98 | 0.4 | n |  | TRUE
105 | bus_LV_2939-53_0_5_node_97 | 0.4 | n |  | TRUE
106 | bus_LV_2939-53_0_5_node_102 | 0.4 | n |  | TRUE
107 | bus_LV_2939-53_0_5_node_103 | 0.4 | n |  | TRUE
108 | bus_LV_2939-53_0_5_node_105 | 0.4 | n |  | TRUE
109 | bus_LV_2939-53_0_5_node_106 | 0.4 | n |  | TRUE
110 | bus_LV_2939-53_0_5_node_107 | 0.4 | n |  | TRUE
111 | bus_LV_2939-53_0_5_node_117 | 0.4 | n |  | TRUE
112 | bus_LV_2939-53_0_5_node_108 | 0.4 | n |  | TRUE
113 | bus_LV_2939-53_0_5_node_116 | 0.4 | n |  | TRUE
114 | bus_LV_2939-53_0_5_node_115 | 0.4 | n |  | TRUE
115 | bus_LV_2939-53_0_5_node_118 | 0.4 | n |  | TRUE
116 | bus_LV_2939-53_0_5_node_119 | 0.4 | n |  | TRUE
117 | bus_LV_2939-53_0_5_node_121 | 0.4 | n |  | TRUE
118 | bus_LV_2939-53_0_5_node_123 | 0.4 | n |  | TRUE
119 | bus_LV_2939-53_0_5_node_124 | 0.4 | n |  | TRUE
120 | bus_MV_554_1_node_74 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2939-53_0_5_load_0 | 0 | 0.0063015 | 0.0015793 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2939-53_0_5_load_1 | 1 | 0.002587 | 0.00064837 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2939-53_0_5_load_9 | 6 | 0.0067317 | 0.0016871 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2939-53_0_5_load_104 | 7 | 0.0032445 | 0.00081315 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2939-53_0_5_load_100 | 8 | 0.01409 | 0.0035313 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2939-53_0_5_load_96 | 10 | 0.004725 | 0.0011842 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2939-53_0_5_load_112 | 11 | 0.0025495 | 0.00063896 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2939-53_0_5_load_10 | 12 | 0.0022589 | 0.00056613 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2939-53_0_5_load_95 | 14 | 0.01399 | 0.0035063 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2939-53_0_5_load_12 | 15 | 0.0072261 | 0.001811 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2939-53_0_5_load_13 | 18 | 0.0048161 | 0.001207 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2939-53_0_5_load_122 | 20 | 0.0069231 | 0.0017351 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2939-53_0_5_load_114 | 22 | 0.0023572 | 0.00059076 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2939-53_0_5_load_120 | 23 | 0.0045876 | 0.0011498 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2939-53_0_5_load_15 | 24 | 0.0097056 | 0.0024324 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2939-53_0_5_load_16 | 25 | 0.013025 | 0.0032644 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2939-53_0_5_load_17 | 26 | 0.0025578 | 0.00064105 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2939-53_0_5_load_19 | 28 | 0.0092749 | 0.0023245 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2939-53_0_5_load_20 | 29 | 0.0056677 | 0.0014205 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2939-53_0_5_load_80 | 32 | 0.0048144 | 0.0012066 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2939-53_0_5_load_46 | 35 | 0.048095 | 0.012054 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2939-53_0_5_load_129 | 36 | 0.0016751 | 0.00041983 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2939-53_0_5_load_42 | 37 | 0.0086204 | 0.0021605 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2939-53_0_5_load_38 | 38 | 0.0094414 | 0.0023662 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2939-53_0_5_load_48 | 40 | 0.048111 | 0.012058 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2939-53_0_5_load_24 | 41 | 0.006262 | 0.0015694 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2939-53_0_5_load_25 | 42 | 0.0027397 | 0.00068664 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2939-53_0_5_load_27 | 44 | 0.010257 | 0.0025706 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2939-53_0_5_load_28 | 45 | 0.0092308 | 0.0023135 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2939-53_0_5_load_31 | 47 | 0.0083766 | 0.0020994 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2939-53_0_5_load_62 | 51 | 0.0013533 | 0.00033916 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2939-53_0_5_load_89 | 52 | 0.001815 | 0.00045489 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2939-53_0_5_load_45 | 53 | 0.0026581 | 0.00066618 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2939-53_0_5_load_33 | 54 | 0.017712 | 0.0044391 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2939-53_0_5_load_85 | 55 | 0.001734 | 0.00043458 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2939-53_0_5_load_60 | 56 | 0.002765 | 0.00069296 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2939-53_0_5_load_37 | 57 | 0.0017486 | 0.00043824 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2939-53_0_5_load_36 | 59 | 0.0020843 | 0.00052237 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2939-53_0_5_load_43 | 60 | 0.0017596 | 0.00044099 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2939-53_0_5_load_44 | 61 | 0.0030755 | 0.0007708 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2939-53_0_5_load_49 | 62 | 0.0023653 | 0.0005928 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2939-53_0_5_load_128 | 63 | 0.0035638 | 0.00089316 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2939-53_0_5_load_51 | 65 | 0.048111 | 0.012058 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2939-53_0_5_load_81 | 66 | 0.0046004 | 0.001153 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2939-53_0_5_load_52 | 68 | 0.0026285 | 0.00065877 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2939-53_0_5_load_83 | 70 | 0.0044824 | 0.0011234 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2939-53_0_5_load_53 | 71 | 0.0048668 | 0.0012197 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2939-53_0_5_load_54 | 72 | 0.0023228 | 0.00058216 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2939-53_0_5_load_64 | 73 | 0.0025006 | 0.00062672 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2939-53_0_5_load_65 | 74 | 0.0023947 | 0.00060016 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2939-53_0_5_load_55 | 75 | 0.0024937 | 0.00062498 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2939-53_0_5_load_56 | 76 | 0.0025448 | 0.00063778 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2939-53_0_5_load_57 | 77 | 0.010947 | 0.0027435 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2939-53_0_5_load_58 | 78 | 0.0026827 | 0.00067235 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2939-53_0_5_load_59 | 79 | 0.0026357 | 0.00066057 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2939-53_0_5_load_61 | 80 | 0.0025932 | 0.00064991 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_2939-53_0_5_load_73 | 81 | 0.0024504 | 0.00061413 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_2939-53_0_5_load_70 | 82 | 0.0049336 | 0.0012365 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_2939-53_0_5_load_86 | 83 | 0.0015927 | 0.00039918 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_2939-53_0_5_load_74 | 84 | 0.0026136 | 0.00065503 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_2939-53_0_5_load_75 | 85 | 0.0014966 | 0.00037508 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_2939-53_0_5_load_66 | 86 | 0.0028365 | 0.0007109 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_2939-53_0_5_load_67 | 87 | 0.0014785 | 0.00037055 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_2939-53_0_5_load_68 | 88 | 0.0024308 | 0.00060921 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_2939-53_0_5_load_76 | 91 | 0.0013881 | 0.00034788 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_2939-53_0_5_load_78 | 92 | 0.001436 | 0.0003599 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_2939-53_0_5_load_90 | 93 | 0.0085477 | 0.0021423 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_2939-53_0_5_load_110 | 95 | 0.0094839 | 0.0023769 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_2939-53_0_5_load_109 | 96 | 0.0014274 | 0.00035775 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_2939-53_0_5_load_127 | 97 | 0.0074073 | 0.0018565 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_2939-53_0_5_load_87 | 98 | 0.0017768 | 0.0004453 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_2939-53_0_5_load_88 | 99 | 0.0016229 | 0.00040674 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_2939-53_0_5_load_93 | 100 | 0.0023852 | 0.00059779 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_2939-53_0_5_load_92 | 101 | 0.0065187 | 0.0016337 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_2939-53_0_5_load_94 | 102 | 0.010802 | 0.0027073 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_2939-53_0_5_load_99 | 103 | 0.0083265 | 0.0020868 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_2939-53_0_5_load_98 | 104 | 0.013993 | 0.0035069 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_2939-53_0_5_load_97 | 105 | 0.00869 | 0.0021779 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_2939-53_0_5_load_102 | 106 | 0.0045743 | 0.0011464 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_2939-53_0_5_load_103 | 107 | 0.0046939 | 0.0011764 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_2939-53_0_5_load_105 | 108 | 0.0011768 | 0.00029494 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_2939-53_0_5_load_106 | 109 | 0.0045743 | 0.0011464 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_2939-53_0_5_load_107 | 110 | 0.0094822 | 0.0023765 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_2939-53_0_5_load_108 | 112 | 0.0044449 | 0.001114 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_2939-53_0_5_load_116 | 113 | 0.0021792 | 0.00054617 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_2939-53_0_5_load_115 | 114 | 0.00094327 | 0.00023641 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_2939-53_0_5_load_118 | 115 | 0.0031627 | 0.00079265 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_2939-53_0_5_load_119 | 116 | 0.0018767 | 0.00047035 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_2939-53_0_5_load_121 | 117 | 0.0045854 | 0.0011492 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_2939-53_0_5_load_123 | 118 | 0.0017539 | 0.00043957 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_2939-53_0_5_load_124 | 119 | 0.0053703 | 0.0013459 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 45 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2939-53_0_5_line_0 |  | 0 | 1 | 0.0023558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2939-53_0_5_line_1 |  | 0 | 2 | 0.016597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2939-53_0_5_line_2 |  | 2 | 3 | 0.035842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2939-53_0_5_line_3 |  | 2 | 4 | 0.037273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2939-53_0_5_line_4 |  | 3 | 5 | 0.019641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2939-53_0_5_line_5 |  | 3 | 6 | 0.020883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2939-53_0_5_line_6 |  | 4 | 7 | 0.014623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2939-53_0_5_line_7 |  | 4 | 8 | 0.033171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2939-53_0_5_line_8 |  | 5 | 11 | 0.025948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2939-53_0_5_line_9 |  | 5 | 9 | 0.009206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2939-53_0_5_line_10 |  | 6 | 12 | 0.0041741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2939-53_0_5_line_11 |  | 8 | 13 | 0.0090201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2939-53_0_5_line_12 |  | 9 | 10 | 0.026512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2939-53_0_5_line_13 |  | 10 | 14 | 0.006464 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2939-53_0_5_line_14 |  | 11 | 17 | 0.021955 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2939-53_0_5_line_15 |  | 12 | 16 | 0.019695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2939-53_0_5_line_16 |  | 13 | 106 | 0.015867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2939-53_0_5_line_17 |  | 13 | 107 | 0.027331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2939-53_0_5_line_18 |  | 15 | 16 | 0.020936 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2939-53_0_5_line_19 |  | 16 | 18 | 0.017805 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2939-53_0_5_line_20 |  | 17 | 21 | 0.008089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2939-53_0_5_line_21 |  | 18 | 19 | 0.021461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2939-53_0_5_line_22 |  | 19 | 20 | 0.023754 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2939-53_0_5_line_23 |  | 20 | 23 | 0.022343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2939-53_0_5_line_24 |  | 21 | 22 | 0.0042625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2939-53_0_5_line_25 |  | 22 | 34 | 0.0084926 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2939-53_0_5_line_26 |  | 23 | 115 | 0.0013422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2939-53_0_5_line_27 |  | 24 | 25 | 0.032547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2939-53_0_5_line_28 |  | 24 | 26 | 0.0076633 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2939-53_0_5_line_29 |  | 25 | 27 | 0.035493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
30 | LV_2939-53_0_5_line_30 |  | 26 | 28 | 0.04145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2939-53_0_5_line_31 |  | 27 | 29 | 0.01434 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2939-53_0_5_line_32 |  | 27 | 30 | 0.026978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
33 | LV_2939-53_0_5_line_33 |  | 28 | 31 | 0.020781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2939-53_0_5_line_34 |  | 29 | 32 | 0.013337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2939-53_0_5_line_35 |  | 30 | 33 | 0.010142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
36 | LV_2939-53_0_5_line_36 |  | 31 | 35 | 0.049185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2939-53_0_5_line_37 |  | 32 | 36 | 0.011819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2939-53_0_5_line_38 |  | 33 | 37 | 0.011289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
39 | LV_2939-53_0_5_line_39 |  | 33 | 34 | 0.009788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2939-53_0_5_line_40 |  | 35 | 40 | 0.03503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2939-53_0_5_line_41 |  | 36 | 97 | 0.0018535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2939-53_0_5_line_42 |  | 37 | 61 | 0.017339 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
43 | LV_2939-53_0_5_line_43 |  | 38 | 39 | 0.016407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2939-53_0_5_line_44 |  | 39 | 58 | 0.004592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
45 | LV_2939-53_0_5_line_45 |  | 39 | 54 | 0.016622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
46 | LV_2939-53_0_5_line_46 |  | 41 | 42 | 0.033604 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2939-53_0_5_line_47 |  | 41 | 43 | 0.020627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2939-53_0_5_line_48 |  | 42 | 44 | 0.0014754 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2939-53_0_5_line_49 |  | 43 | 45 | 0.016413 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
50 | LV_2939-53_0_5_line_50 |  | 43 | 46 | 0.0080492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
51 | LV_2939-53_0_5_line_51 |  | 44 | 47 | 0.0043092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2939-53_0_5_line_52 |  | 45 | 48 | 0.016284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
53 | LV_2939-53_0_5_line_53 |  | 46 | 52 | 0.0043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2939-53_0_5_line_54 |  | 46 | 50 | 0.018686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
55 | LV_2939-53_0_5_line_55 |  | 47 | 53 | 0.0012988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_2939-53_0_5_line_56 |  | 48 | 54 | 0.017365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
57 | LV_2939-53_0_5_line_57 |  | 49 | 50 | 0.014294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_2939-53_0_5_line_58 |  | 49 | 51 | 0.006243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_2939-53_0_5_line_59 |  | 50 | 55 | 0.019742 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_2939-53_0_5_line_60 |  | 51 | 56 | 0.0059508 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_2939-53_0_5_line_61 |  | 52 | 57 | 0.006727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_2939-53_0_5_line_62 |  | 55 | 83 | 0.0087025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_2939-53_0_5_line_63 |  | 56 | 78 | 0.0018265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_2939-53_0_5_line_64 |  | 58 | 60 | 0.0039215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_2939-53_0_5_line_65 |  | 58 | 61 | 0.013455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
66 | LV_2939-53_0_5_line_66 |  | 59 | 60 | 0.0070426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_2939-53_0_5_line_67 |  | 62 | 63 | 0.020371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_2939-53_0_5_line_68 |  | 63 | 67 | 0.015975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_2939-53_0_5_line_69 |  | 64 | 65 | 0.028927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_2939-53_0_5_line_70 |  | 64 | 66 | 0.043212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_2939-53_0_5_line_71 |  | 65 | 68 | 0.021642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_2939-53_0_5_line_72 |  | 66 | 69 | 0.079085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_2939-53_0_5_line_73 |  | 67 | 97 | 0.028448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_2939-53_0_5_line_74 |  | 67 | 119 | 0.0021533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_2939-53_0_5_line_75 |  | 68 | 71 | 0.0033585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_2939-53_0_5_line_76 |  | 69 | 70 | 0.064973 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_2939-53_0_5_line_77 |  | 71 | 72 | 0.0066722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_2939-53_0_5_line_78 |  | 72 | 73 | 0.0065617 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_2939-53_0_5_line_79 |  | 73 | 74 | 0.004834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_2939-53_0_5_line_80 |  | 74 | 84 | 0.0065207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_2939-53_0_5_line_81 |  | 75 | 76 | 0.0017001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_2939-53_0_5_line_82 |  | 75 | 77 | 0.014743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_2939-53_0_5_line_83 |  | 76 | 78 | 0.0013137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_2939-53_0_5_line_84 |  | 77 | 79 | 0.002502 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_2939-53_0_5_line_85 |  | 79 | 80 | 0.0067432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_2939-53_0_5_line_86 |  | 80 | 81 | 0.0065906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_2939-53_0_5_line_87 |  | 81 | 82 | 0.0035822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_2939-53_0_5_line_88 |  | 82 | 88 | 0.0027426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_2939-53_0_5_line_89 |  | 83 | 98 | 0.0068957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_2939-53_0_5_line_90 |  | 84 | 85 | 0.024533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_2939-53_0_5_line_91 |  | 85 | 91 | 0.0061918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_2939-53_0_5_line_92 |  | 86 | 87 | 0.022131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_2939-53_0_5_line_93 |  | 86 | 88 | 0.0067378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_2939-53_0_5_line_94 |  | 87 | 89 | 0.0061754 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_2939-53_0_5_line_95 |  | 89 | 90 | 0.009563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_2939-53_0_5_line_96 |  | 90 | 91 | 0.031532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_2939-53_0_5_line_97 |  | 92 | 93 | 0.0041727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_2939-53_0_5_line_98 |  | 93 | 94 | 0.017163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_2939-53_0_5_line_99 |  | 94 | 101 | 0.015461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_2939-53_0_5_line_100 |  | 94 | 100 | 0.019793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_2939-53_0_5_line_101 |  | 95 | 96 | 0.013827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_2939-53_0_5_line_102 |  | 96 | 112 | 0.023759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_2939-53_0_5_line_103 |  | 98 | 99 | 0.0091445 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_2939-53_0_5_line_104 |  | 99 | 100 | 0.0070613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_2939-53_0_5_line_105 |  | 101 | 102 | 0.01026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_2939-53_0_5_line_106 |  | 102 | 103 | 0.023741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_2939-53_0_5_line_107 |  | 103 | 104 | 0.016952 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_2939-53_0_5_line_108 |  | 104 | 105 | 0.016143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_2939-53_0_5_line_109 |  | 106 | 108 | 0.023189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
110 | LV_2939-53_0_5_line_110 |  | 107 | 109 | 0.025176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
111 | LV_2939-53_0_5_line_111 |  | 108 | 110 | 0.00423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
112 | LV_2939-53_0_5_line_112 |  | 109 | 111 | 0.023708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
113 | LV_2939-53_0_5_line_113 |  | 110 | 112 | 0.0057308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
114 | LV_2939-53_0_5_line_114 |  | 111 | 113 | 0.014263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
115 | LV_2939-53_0_5_line_115 |  | 113 | 114 | 0.023537 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
116 | LV_2939-53_0_5_line_116 |  | 115 | 116 | 0.011143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
117 | LV_2939-53_0_5_line_117 |  | 116 | 117 | 0.014254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
118 | LV_2939-53_0_5_line_118 |  | 117 | 118 | 0.012195 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2939-53_0_5_trafo_28 | 0.63 MVA 20/0.4 kV | 120 | 45 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2688414.5931 | 1284261.3106 | 2688415.5054 | 1284263.4826
1 | 2688408.0985 | 1284246.0378 | 2688410.0074 | 1284250.3924 | 2688414.5931 | 1284261.3106
2 | 2688442.6367 | 1284236.0918 | 2688408.0985 | 1284246.0378
3 | 2688396.8558 | 1284221.8593 | 2688406.2178 | 1284222.3001 | 2688404.9922 | 1284246.9364 | 2688408.0985 | 1284246.0378
4 | 2688460.1286 | 1284227.5357 | 2688451.982 | 1284233.1406 | 2688442.6367 | 1284236.0918
5 | 2688442.6367 | 1284236.0918 | 2688445.4145 | 1284241.0711 | 2688454.6657 | 1284253.1077
6 | 2688396.8577 | 1284207.2355 | 2688396.8616 | 1284217.4778 | 2688396.8558 | 1284221.8593
7 | 2688396.8558 | 1284221.8593 | 2688363.7221 | 1284220.2954
8 | 2688460.1286 | 1284227.5357 | 2688466.4194 | 1284226.5293 | 2688471.972 | 1284225.2004 | 2688484.7927 | 1284219.9134
9 | 2688460.1286 | 1284227.5357 | 2688450.9561 | 1284226.4749
10 | 2688457.2094 | 1284256.4172 | 2688454.6657 | 1284253.1077
11 | 2688354.7121 | 1284219.8701 | 2688363.7221 | 1284220.2954
12 | 2688450.9561 | 1284226.4749 | 2688448.2659 | 1284200.0994
13 | 2688447.6099 | 1284193.6687 | 2688448.2659 | 1284200.0994
14 | 2688505.4527 | 1284213.7042 | 2688502.5633 | 1284213.1603 | 2688499.764 | 1284214.108 | 2688489.8213 | 1284217.8397 | 2688484.7927 | 1284219.9134
15 | 2688469.2115 | 1284272.0329 | 2688457.2094 | 1284256.4172
16 | 2688354.7121 | 1284219.8701 | 2688354.625 | 1284204.003
17 | 2688354.7121 | 1284219.8701 | 2688327.4139 | 1284218.5395
18 | 2688469.2115 | 1284272.0329 | 2688456.0347 | 1284288.302
19 | 2688469.2115 | 1284272.0329 | 2688474.9818 | 1284264.702 | 2688480.2283 | 1284258.0452
20 | 2688512.1324 | 1284218.2974 | 2688505.4527 | 1284213.7042
21 | 2688493.5166 | 1284241.1932 | 2688489.1011 | 1284246.7874 | 2688480.2283 | 1284258.0452
22 | 2688493.5166 | 1284241.1932 | 2688511.7554 | 1284256.4122
23 | 2688528.9103 | 1284270.7267 | 2688511.7554 | 1284256.4122
24 | 2688512.1324 | 1284218.2974 | 2688515.2492 | 1284215.3897
25 | 2688521.4591 | 1284209.5965 | 2688515.2492 | 1284215.3897
26 | 2688529.9409 | 1284271.5866 | 2688528.9103 | 1284270.7267
27 | 2688607.7674 | 1284157.7087 | 2688579.4967 | 1284173.8359
28 | 2688607.7674 | 1284157.7087 | 2688614.4238 | 1284153.9115
29 | 2688548.6671 | 1284191.4228 | 2688579.4967 | 1284173.8359
30 | 2688614.4238 | 1284153.9115 | 2688650.4277 | 1284133.3729
31 | 2688548.6671 | 1284191.4228 | 2688559.2986 | 1284201.0464
32 | 2688525.6717 | 1284194.5356 | 2688532.2162 | 1284197.1362 | 2688535.3354 | 1284199.8743 | 2688548.6671 | 1284191.4228
33 | 2688668.4782 | 1284123.0758 | 2688650.4277 | 1284133.3729
34 | 2688559.2986 | 1284201.0464 | 2688569.1863 | 1284209.9967
35 | 2688517.5402 | 1284200.6299 | 2688525.6717 | 1284194.5356
36 | 2688668.4782 | 1284123.0758 | 2688653.7773 | 1284076.1393
37 | 2688569.1863 | 1284209.9967 | 2688577.9482 | 1284217.928
38 | 2688517.5402 | 1284200.6299 | 2688516.3652 | 1284189.4025
39 | 2688521.4591 | 1284209.5965 | 2688519.0927 | 1284203.7226 | 2688517.5402 | 1284200.6299
40 | 2688643.3072 | 1284042.7106 | 2688653.7773 | 1284076.1393
41 | 2688579.3223 | 1284219.1718 | 2688577.9482 | 1284217.928
42 | 2688514.9892 | 1284172.1184 | 2688516.3652 | 1284189.4025
43 | 2688518.5096 | 1284159.1084 | 2688523.7637 | 1284163.658 | 2688524.347 | 1284173.0974
44 | 2688513.9214 | 1284158.7059 | 2688518.5096 | 1284159.1084
45 | 2688518.5096 | 1284159.1084 | 2688517.3246 | 1284142.529
46 | 2688568.3901 | 1284078.1861 | 2688541.4595 | 1284087.1352 | 2688536.4803 | 1284088.7191
47 | 2688516.8237 | 1284094.9719 | 2688536.4803 | 1284088.7191
48 | 2688568.3901 | 1284078.1861 | 2688569.7902 | 1284077.7208
49 | 2688516.8237 | 1284094.9719 | 2688518.3146 | 1284101.1664 | 2688519.3435 | 1284111.155
50 | 2688509.0102 | 1284096.8785 | 2688514.3848 | 1284095.4135 | 2688516.8237 | 1284094.9719
51 | 2688573.8794 | 1284076.3619 | 2688569.7902 | 1284077.7208
52 | 2688514.9071 | 1284125.5919 | 2688520.1423 | 1284118.9092 | 2688519.3435 | 1284111.155
53 | 2688509.0102 | 1284096.8785 | 2688509.3509 | 1284101.165
54 | 2688507.5261 | 1284078.2512 | 2688509.0102 | 1284096.8785
55 | 2688575.1119 | 1284075.9524 | 2688573.8794 | 1284076.3619
56 | 2688514.9071 | 1284125.5919 | 2688516.2705 | 1284127.781 | 2688517.3246 | 1284142.529
57 | 2688507.5261 | 1284078.2512 | 2688506.5392 | 1284063.9906
58 | 2688506.5392 | 1284063.9906 | 2688506.1077 | 1284057.7626
59 | 2688507.5261 | 1284078.2512 | 2688487.8526 | 1284079.8944
60 | 2688505.6964 | 1284051.826 | 2688506.1077 | 1284057.7626
61 | 2688509.8837 | 1284107.8708 | 2688509.3509 | 1284101.165
62 | 2688487.8526 | 1284079.8944 | 2688479.1803 | 1284080.6188
63 | 2688505.6964 | 1284051.826 | 2688505.5701 | 1284050.0038
64 | 2688513.9214 | 1284158.7059 | 2688513.611 | 1284154.7967
65 | 2688513.9214 | 1284158.7059 | 2688514.9892 | 1284172.1184
66 | 2688513.611 | 1284154.7967 | 2688513.0535 | 1284147.7763
67 | 2688612.1586 | 1284227.4355 | 2688627.1364 | 1284213.6278
68 | 2688600.4132 | 1284238.2633 | 2688612.1586 | 1284227.4355
69 | 2688631.1159 | 1283990.3877 | 2688602.7331 | 1283995.9709
70 | 2688631.1159 | 1283990.3877 | 2688627.2855 | 1283947.3461
71 | 2688602.7331 | 1283995.9709 | 2688591.5712 | 1283998.1666 | 2688581.4675 | 1283996.3471
72 | 2688700.4254 | 1283940.8318 | 2688693.0949 | 1283945.5478 | 2688683.9788 | 1283950.6817 | 2688677.2566 | 1283952.3932 | 2688646.3311 | 1283956.0979 | 2688638.5596 | 1283955.2024 | 2688632.9489 | 1283952.8938 | 2688627.4827 | 1283947.4736 | 2688627.2855 | 1283947.3461
73 | 2688600.4132 | 1284238.2633 | 2688579.3223 | 1284219.1718
74 | 2688600.4132 | 1284238.2633 | 2688601.9261 | 1284239.7956
75 | 2688581.4675 | 1283996.3471 | 2688578.1622 | 1283995.7518 | 2688578.1622 | 1283995.7518
76 | 2688700.4254 | 1283940.8318 | 2688660.3796 | 1283916.5415 | 2688650.4962 | 1283901.3353
77 | 2688578.1622 | 1283995.7518 | 2688572.0677 | 1283993.0362
78 | 2688566.0741 | 1283990.3655 | 2688566.0741 | 1283990.3655 | 2688572.0677 | 1283993.0362
79 | 2688566.0741 | 1283990.3655 | 2688562.0038 | 1283987.7578
80 | 2688556.5133 | 1283984.2402 | 2688562.0038 | 1283987.7578
81 | 2688505.3618 | 1284046.9972 | 2688505.4793 | 1284048.6932
82 | 2688505.3618 | 1284046.9972 | 2688504.3428 | 1284032.2893
83 | 2688505.5701 | 1284050.0038 | 2688505.4793 | 1284048.6932
84 | 2688504.1698 | 1284029.7932 | 2688504.3428 | 1284032.2893
85 | 2688504.1698 | 1284029.7932 | 2688503.7037 | 1284023.0662
86 | 2688503.2482 | 1284016.4914 | 2688503.7037 | 1284023.0662
87 | 2688503.2482 | 1284016.4914 | 2688503.0006 | 1284012.9177
88 | 2688502.811 | 1284010.1817 | 2688503.0006 | 1284012.9177
89 | 2688479.1803 | 1284080.6188 | 2688472.3086 | 1284081.1928
90 | 2688556.5133 | 1283984.2402 | 2688535.8564 | 1283971.0059
91 | 2688535.8564 | 1283971.0059 | 2688530.6428 | 1283967.6658
92 | 2688502.3453 | 1284003.4601 | 2688500.8155 | 1283981.3819
93 | 2688502.3453 | 1284003.4601 | 2688502.811 | 1284010.1817
94 | 2688500.3887 | 1283975.2213 | 2688500.8155 | 1283981.3819
95 | 2688500.5849 | 1283965.6604 | 2688500.3887 | 1283975.2213
96 | 2688500.5849 | 1283965.6604 | 2688510.3797 | 1283963.3055 | 2688518.4408 | 1283962.4146 | 2688527.662 | 1283965.756 | 2688530.6428 | 1283967.6658
97 | 2688435.0709 | 1284067.0804 | 2688434.7392 | 1284062.9209
98 | 2688436.4351 | 1284084.1892 | 2688435.0709 | 1284067.0804
99 | 2688436.4351 | 1284084.1892 | 2688437.9649 | 1284099.5745
100 | 2688436.4351 | 1284084.1892 | 2688456.159 | 1284082.5417
101 | 2688354.2311 | 1284133.2678 | 2688354.3087 | 1284147.0944
102 | 2688354.3087 | 1284147.0944 | 2688354.3193 | 1284148.9805 | 2688354.4412 | 1284170.8534
103 | 2688472.3086 | 1284081.1928 | 2688463.1958 | 1284081.954
104 | 2688463.1958 | 1284081.954 | 2688456.159 | 1284082.5417
105 | 2688438.9802 | 1284109.7844 | 2688437.9649 | 1284099.5745
106 | 2688438.9802 | 1284109.7844 | 2688440.4983 | 1284125.0523 | 2688441.3723 | 1284133.4043
107 | 2688443.1366 | 1284150.2646 | 2688441.3723 | 1284133.4043
108 | 2688443.1366 | 1284150.2646 | 2688444.8167 | 1284166.3198
109 | 2688354.4967 | 1284180.8141 | 2688354.5674 | 1284193.4895 | 2688354.625 | 1284204.003
110 | 2688302.2683 | 1284217.3138 | 2688327.4139 | 1284218.5395
111 | 2688354.4732 | 1284176.5841 | 2688354.4967 | 1284180.8141
112 | 2688278.588 | 1284216.1596 | 2688302.2683 | 1284217.3138
113 | 2688354.4732 | 1284176.5841 | 2688354.4412 | 1284170.8534
114 | 2688278.588 | 1284216.1596 | 2688279.2019 | 1284201.9102
115 | 2688280.2152 | 1284178.3948 | 2688279.2019 | 1284201.9102
116 | 2688529.9409 | 1284271.5866 | 2688538.4964 | 1284278.7256
117 | 2688538.4964 | 1284278.7256 | 2688549.4406 | 1284287.8576
118 | 2688549.4406 | 1284287.8576 | 2688558.8042 | 1284295.6709

## bus_geodata
| x | y | coords
0 | 2688414.5931 | 1284261.3106
1 | 2688415.5054 | 1284263.4826
2 | 2688408.0985 | 1284246.0378
3 | 2688442.6367 | 1284236.0918
4 | 2688396.8558 | 1284221.8593
5 | 2688460.1286 | 1284227.5357
6 | 2688454.6657 | 1284253.1077
7 | 2688396.8577 | 1284207.2355
8 | 2688363.7221 | 1284220.2954
9 | 2688450.9561 | 1284226.4749
10 | 2688448.2659 | 1284200.0994
11 | 2688484.7927 | 1284219.9134
12 | 2688457.2094 | 1284256.4172
13 | 2688354.7121 | 1284219.8701
14 | 2688447.6099 | 1284193.6687
15 | 2688456.0347 | 1284288.302
16 | 2688469.2115 | 1284272.0329
17 | 2688505.4527 | 1284213.7042
18 | 2688480.2283 | 1284258.0452
19 | 2688493.5166 | 1284241.1932
20 | 2688511.7554 | 1284256.4122
21 | 2688512.1324 | 1284218.2974
22 | 2688515.2492 | 1284215.3897
23 | 2688528.9103 | 1284270.7267
24 | 2688607.7674 | 1284157.7087
25 | 2688579.4967 | 1284173.8359
26 | 2688614.4238 | 1284153.9115
27 | 2688548.6671 | 1284191.4228
28 | 2688650.4277 | 1284133.3729
29 | 2688559.2986 | 1284201.0464
30 | 2688525.6717 | 1284194.5356
31 | 2688668.4782 | 1284123.0758
32 | 2688569.1863 | 1284209.9967
33 | 2688517.5402 | 1284200.6299
34 | 2688521.4591 | 1284209.5965
35 | 2688653.7773 | 1284076.1393
36 | 2688577.9482 | 1284217.928
37 | 2688516.3652 | 1284189.4025
38 | 2688524.347 | 1284173.0974
39 | 2688518.5096 | 1284159.1084
40 | 2688643.3072 | 1284042.7106
41 | 2688536.4803 | 1284088.7191
42 | 2688568.3901 | 1284078.1861
43 | 2688516.8237 | 1284094.9719
44 | 2688569.7902 | 1284077.7208
45 | 2688519.3435 | 1284111.155
46 | 2688509.0102 | 1284096.8785
47 | 2688573.8794 | 1284076.3619
48 | 2688514.9071 | 1284125.5919
49 | 2688506.5392 | 1284063.9906
50 | 2688507.5261 | 1284078.2512
51 | 2688506.1077 | 1284057.7626
52 | 2688509.3509 | 1284101.165
53 | 2688575.1119 | 1284075.9524
54 | 2688517.3246 | 1284142.529
55 | 2688487.8526 | 1284079.8944
56 | 2688505.6964 | 1284051.826
57 | 2688509.8837 | 1284107.8708
58 | 2688513.9214 | 1284158.7059
59 | 2688513.0535 | 1284147.7763
60 | 2688513.611 | 1284154.7967
61 | 2688514.9892 | 1284172.1185
62 | 2688627.1364 | 1284213.6278
63 | 2688612.1586 | 1284227.4355
64 | 2688631.1159 | 1283990.3877
65 | 2688602.7331 | 1283995.9709
66 | 2688627.2855 | 1283947.3461
67 | 2688600.4132 | 1284238.2633
68 | 2688581.4675 | 1283996.3471
69 | 2688700.4254 | 1283940.8318
70 | 2688650.4962 | 1283901.3353
71 | 2688578.1622 | 1283995.7519
72 | 2688572.0677 | 1283993.0362
73 | 2688566.0741 | 1283990.3655
74 | 2688562.0038 | 1283987.7578
75 | 2688505.3618 | 1284046.9972
76 | 2688505.4793 | 1284048.6932
77 | 2688504.3428 | 1284032.2893
78 | 2688505.5701 | 1284050.0038
79 | 2688504.1698 | 1284029.7932
80 | 2688503.7037 | 1284023.0662
81 | 2688503.2482 | 1284016.4914
82 | 2688503.0006 | 1284012.9177
83 | 2688479.1803 | 1284080.6188
84 | 2688556.5133 | 1283984.2402
85 | 2688535.8564 | 1283971.0059
86 | 2688502.3453 | 1284003.4601
87 | 2688500.8155 | 1283981.3819
88 | 2688502.811 | 1284010.1817
89 | 2688500.3887 | 1283975.2213
90 | 2688500.5849 | 1283965.6604
91 | 2688530.6428 | 1283967.6658
92 | 2688434.7392 | 1284062.9209
93 | 2688435.0709 | 1284067.0804
94 | 2688436.4351 | 1284084.1892
95 | 2688354.2311 | 1284133.2678
96 | 2688354.3087 | 1284147.0944
97 | 2688579.3223 | 1284219.1718
98 | 2688472.3086 | 1284081.1928
99 | 2688463.1958 | 1284081.954
100 | 2688456.159 | 1284082.5417
101 | 2688437.9649 | 1284099.5745
102 | 2688438.9802 | 1284109.7844
103 | 2688441.3723 | 1284133.4043
104 | 2688443.1366 | 1284150.2646
105 | 2688444.8167 | 1284166.3198
106 | 2688354.625 | 1284204.003
107 | 2688327.4139 | 1284218.5395
108 | 2688354.4967 | 1284180.8141
109 | 2688302.2683 | 1284217.3138
110 | 2688354.4732 | 1284176.5841
111 | 2688278.588 | 1284216.1596
112 | 2688354.4412 | 1284170.8534
113 | 2688279.2019 | 1284201.9102
114 | 2688280.2152 | 1284178.3948
115 | 2688529.9409 | 1284271.5866
116 | 2688538.4964 | 1284278.7256
117 | 2688549.4406 | 1284287.8576
118 | 2688558.8042 | 1284295.6709
119 | 2688601.9261 | 1284239.7956
120 | 2688514.9071 | 1284125.5919

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1