## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2939-54_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2939-54_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2939-54_0_4_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_2939-54_0_4_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_2939-54_0_4_node_7 | 0.4 | n |  | TRUE
5 | bus_LV_2939-54_0_4_node_8 | 0.4 | n |  | TRUE
6 | bus_LV_2939-54_0_4_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_2939-54_0_4_node_9 | 0.4 | n |  | TRUE
8 | bus_LV_2939-54_0_4_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_2939-54_0_4_node_19 | 0.4 | n |  | TRUE
10 | bus_LV_2939-54_0_4_node_22 | 0.4 | n |  | TRUE
11 | bus_LV_2939-54_0_4_node_21 | 0.4 | n |  | TRUE
12 | bus_LV_2939-54_0_4_node_10 | 0.4 | n |  | TRUE
13 | bus_LV_2939-54_0_4_node_11 | 0.4 | n |  | TRUE
14 | bus_LV_2939-54_0_4_node_12 | 0.4 | n |  | TRUE
15 | bus_LV_2939-54_0_4_node_13 | 0.4 | n |  | TRUE
16 | bus_LV_2939-54_0_4_node_14 | 0.4 | n |  | TRUE
17 | bus_LV_2939-54_0_4_node_18 | 0.4 | n |  | TRUE
18 | bus_LV_2939-54_0_4_node_15 | 0.4 | n |  | TRUE
19 | bus_LV_2939-54_0_4_node_29 | 0.4 | n |  | TRUE
20 | bus_LV_2939-54_0_4_node_16 | 0.4 | n |  | TRUE
21 | bus_LV_2939-54_0_4_node_17 | 0.4 | n |  | TRUE
22 | bus_LV_2939-54_0_4_node_28 | 0.4 | n |  | TRUE
23 | bus_LV_2939-54_0_4_node_32 | 0.4 | n |  | TRUE
24 | bus_LV_2939-54_0_4_node_34 | 0.4 | n |  | TRUE
25 | bus_LV_2939-54_0_4_node_36 | 0.4 | n |  | TRUE
26 | bus_LV_2939-54_0_4_node_23 | 0.4 | n |  | TRUE
27 | bus_LV_2939-54_0_4_node_24 | 0.4 | n |  | TRUE
28 | bus_LV_2939-54_0_4_node_25 | 0.4 | n |  | TRUE
29 | bus_LV_2939-54_0_4_node_26 | 0.4 | n |  | TRUE
30 | bus_LV_2939-54_0_4_node_27 | 0.4 | n |  | TRUE
31 | bus_LV_2939-54_0_4_node_30 | 0.4 | n |  | TRUE
32 | bus_LV_2939-54_0_4_node_31 | 0.4 | n |  | TRUE
33 | bus_LV_2939-54_0_4_node_33 | 0.4 | n |  | TRUE
34 | bus_LV_2939-54_0_4_node_37 | 0.4 | n |  | TRUE
35 | bus_LV_2939-54_0_4_node_38 | 0.4 | n |  | TRUE
36 | bus_LV_2939-54_0_4_node_40 | 0.4 | n |  | TRUE
37 | bus_LV_2939-54_0_4_node_66 | 0.4 | n |  | TRUE
38 | bus_LV_2939-54_0_4_node_41 | 0.4 | n |  | TRUE
39 | bus_LV_2939-54_0_4_node_64 | 0.4 | n |  | TRUE
40 | bus_LV_2939-54_0_4_node_46 | 0.4 | n |  | TRUE
41 | bus_LV_2939-54_0_4_node_45 | 0.4 | n |  | TRUE
42 | bus_LV_2939-54_0_4_node_44 | 0.4 | n |  | TRUE
43 | bus_LV_2939-54_0_4_node_42 | 0.4 | n |  | TRUE
44 | bus_LV_2939-54_0_4_node_43 | 0.4 | n |  | TRUE
45 | bus_LV_2939-54_0_4_node_47 | 0.4 | n |  | TRUE
46 | bus_LV_2939-54_0_4_node_48 | 0.4 | n |  | TRUE
47 | bus_LV_2939-54_0_4_node_49 | 0.4 | n |  | TRUE
48 | bus_LV_2939-54_0_4_node_50 | 0.4 | n |  | TRUE
49 | bus_LV_2939-54_0_4_node_51 | 0.4 | n |  | TRUE
50 | bus_LV_2939-54_0_4_node_67 | 0.4 | n |  | TRUE
51 | bus_LV_2939-54_0_4_node_62 | 0.4 | n |  | TRUE
52 | bus_LV_2939-54_0_4_node_53 | 0.4 | n |  | TRUE
53 | bus_LV_2939-54_0_4_node_54 | 0.4 | n |  | TRUE
54 | bus_LV_2939-54_0_4_node_55 | 0.4 | n |  | TRUE
55 | bus_LV_2939-54_0_4_node_56 | 0.4 | n |  | TRUE
56 | bus_LV_2939-54_0_4_node_57 | 0.4 | n |  | TRUE
57 | bus_LV_2939-54_0_4_node_63 | 0.4 | n |  | TRUE
58 | bus_LV_2939-54_0_4_node_61 | 0.4 | n |  | TRUE
59 | bus_LV_2939-54_0_4_node_65 | 0.4 | n |  | TRUE
60 | bus_LV_2939-54_0_4_node_59 | 0.4 | n |  | TRUE
61 | bus_LV_2939-54_0_4_node_58 | 0.4 | n |  | TRUE
62 | bus_LV_2939-54_0_4_node_60 | 0.4 | n |  | TRUE
63 | bus_MV_554_1_node_79 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2939-54_0_4_load_0 | 0 | 0.0013871 | 0.00034764 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2939-54_0_4_load_3 | 2 | 0.001581 | 0.00039624 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2939-54_0_4_load_4 | 3 | 0.0027468 | 0.00068842 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2939-54_0_4_load_7 | 4 | 0.0016796 | 0.00042094 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2939-54_0_4_load_8 | 5 | 0.0017729 | 0.00044434 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2939-54_0_4_load_6 | 6 | 0.0024581 | 0.00061605 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2939-54_0_4_load_5 | 8 | 0.001321 | 0.00033106 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2939-54_0_4_load_21 | 11 | 0.0042941 | 0.0010762 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2939-54_0_4_load_10 | 12 | 0.0045309 | 0.0011355 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2939-54_0_4_load_11 | 13 | 0.004294 | 0.0010762 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2939-54_0_4_load_12 | 14 | 0.0043636 | 0.0010936 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2939-54_0_4_load_13 | 15 | 0.0014503 | 0.00036349 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2939-54_0_4_load_14 | 16 | 0.0042945 | 0.0010763 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2939-54_0_4_load_18 | 17 | 0.0029546 | 0.00074049 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2939-54_0_4_load_15 | 18 | 0.0051291 | 0.0012855 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2939-54_0_4_load_29 | 19 | 0.0014718 | 0.00036886 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2939-54_0_4_load_16 | 20 | 0.0029256 | 0.00073322 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2939-54_0_4_load_17 | 21 | 0.0035273 | 0.00088403 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2939-54_0_4_load_28 | 22 | 0.0019722 | 0.00049429 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2939-54_0_4_load_32 | 23 | 0.002454 | 0.00061504 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2939-54_0_4_load_34 | 24 | 0.07327 | 0.018363 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2939-54_0_4_load_23 | 26 | 0.0015147 | 0.00037963 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2939-54_0_4_load_24 | 27 | 0.0024908 | 0.00062426 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2939-54_0_4_load_25 | 28 | 0.0034018 | 0.00085257 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2939-54_0_4_load_26 | 29 | 0.0014962 | 0.00037498 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2939-54_0_4_load_27 | 30 | 0.001944 | 0.00048721 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2939-54_0_4_load_30 | 31 | 0.0018366 | 0.00046029 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2939-54_0_4_load_31 | 32 | 0.0026677 | 0.00066858 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2939-54_0_4_load_33 | 33 | 0.0019703 | 0.00049382 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2939-54_0_4_load_37 | 34 | 0.0056966 | 0.0014277 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2939-54_0_4_load_38 | 35 | 0.082689 | 0.020724 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2939-54_0_4_load_40 | 36 | 0.0073866 | 0.0018512 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2939-54_0_4_load_66 | 37 | 0.017809 | 0.0044632 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2939-54_0_4_load_41 | 38 | 0.0048897 | 0.0012255 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2939-54_0_4_load_64 | 39 | 0.043961 | 0.011018 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2939-54_0_4_load_46 | 40 | 0.00531 | 0.0013308 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2939-54_0_4_load_45 | 41 | 0.0045777 | 0.0011473 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2939-54_0_4_load_44 | 42 | 0.0051846 | 0.0012994 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2939-54_0_4_load_42 | 43 | 0.008665 | 0.0021717 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2939-54_0_4_load_43 | 44 | 0.0053615 | 0.0013437 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2939-54_0_4_load_47 | 45 | 0.0011004 | 0.00027578 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2939-54_0_4_load_48 | 46 | 0.0021866 | 0.00054802 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2939-54_0_4_load_49 | 47 | 0.0045854 | 0.0011492 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2939-54_0_4_load_50 | 48 | 0.0020749 | 0.00052003 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2939-54_0_4_load_51 | 49 | 0.0022875 | 0.00057331 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2939-54_0_4_load_67 | 50 | 0.0013016 | 0.00032622 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2939-54_0_4_load_62 | 51 | 0.001057 | 0.0002649 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2939-54_0_4_load_53 | 52 | 0.0029293 | 0.00073415 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2939-54_0_4_load_54 | 53 | 0.0032876 | 0.00082394 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2939-54_0_4_load_55 | 54 | 0.0032757 | 0.00082097 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2939-54_0_4_load_56 | 55 | 0.0027264 | 0.00068331 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2939-54_0_4_load_57 | 56 | 0.0034738 | 0.00087062 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2939-54_0_4_load_61 | 58 | 0.0026774 | 0.00067101 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2939-54_0_4_load_65 | 59 | 0.0051993 | 0.0013031 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2939-54_0_4_load_59 | 60 | 0.00099908 | 0.00025039 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2939-54_0_4_load_58 | 61 | 0.0023218 | 0.00058189 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_2939-54_0_4_load_60 | 62 | 0.0034953 | 0.000876 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 34 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2939-54_0_4_line_0 |  | 0 | 1 | 0.013057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2939-54_0_4_line_1 |  | 1 | 2 | 0.015931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2939-54_0_4_line_2 |  | 1 | 3 | 0.014932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2939-54_0_4_line_3 |  | 2 | 4 | 0.01312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2939-54_0_4_line_4 |  | 3 | 5 | 0.0038812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2939-54_0_4_line_5 |  | 4 | 6 | 0.017645 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2939-54_0_4_line_6 |  | 5 | 7 | 0.062638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2939-54_0_4_line_7 |  | 6 | 8 | 4.1465e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2939-54_0_4_line_8 |  | 7 | 9 | 0.036726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2939-54_0_4_line_9 |  | 9 | 10 | 0.067364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2939-54_0_4_line_10 |  | 9 | 11 | 0.066668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2939-54_0_4_line_11 |  | 10 | 24 | 0.070409 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2939-54_0_4_line_12 |  | 10 | 22 | 0.024237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2939-54_0_4_line_13 |  | 12 | 13 | 0.0051054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2939-54_0_4_line_14 |  | 12 | 14 | 0.0027582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2939-54_0_4_line_15 |  | 13 | 15 | 0.0078485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2939-54_0_4_line_16 |  | 14 | 16 | 0.020144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2939-54_0_4_line_17 |  | 15 | 17 | 0.0077012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2939-54_0_4_line_18 |  | 16 | 18 | 0.0035787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2939-54_0_4_line_19 |  | 17 | 19 | 0.019351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2939-54_0_4_line_20 |  | 18 | 20 | 0.0061298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2939-54_0_4_line_21 |  | 19 | 23 | 0.0012193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2939-54_0_4_line_22 |  | 20 | 21 | 0.015388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2939-54_0_4_line_23 |  | 21 | 22 | 0.00082479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2939-54_0_4_line_24 |  | 23 | 33 | 0.0013419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2939-54_0_4_line_25 |  | 24 | 25 | 0.024067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
26 | LV_2939-54_0_4_line_26 |  | 25 | 34 | 0.051131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
27 | LV_2939-54_0_4_line_27 |  | 25 | 35 | 0.022829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
28 | LV_2939-54_0_4_line_28 |  | 26 | 27 | 0.0032165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2939-54_0_4_line_29 |  | 26 | 28 | 0.0054479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2939-54_0_4_line_30 |  | 27 | 29 | 0.024318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2939-54_0_4_line_31 |  | 28 | 30 | 0.014276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2939-54_0_4_line_32 |  | 29 | 31 | 0.00060993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2939-54_0_4_line_33 |  | 31 | 32 | 0.021192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2939-54_0_4_line_34 |  | 32 | 33 | 0.0015372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2939-54_0_4_line_35 |  | 34 | 36 | 0.0082174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2939-54_0_4_line_36 |  | 35 | 37 | 0.027771 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2939-54_0_4_line_37 |  | 36 | 38 | 0.027057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2939-54_0_4_line_38 |  | 37 | 39 | 0.011479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2939-54_0_4_line_39 |  | 38 | 42 | 0.015489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2939-54_0_4_line_40 |  | 39 | 57 | 0.016084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2939-54_0_4_line_41 |  | 40 | 41 | 0.026583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2939-54_0_4_line_42 |  | 41 | 44 | 0.016064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2939-54_0_4_line_43 |  | 42 | 43 | 0.020147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2939-54_0_4_line_44 |  | 43 | 44 | 0.019994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2939-54_0_4_line_45 |  | 45 | 46 | 0.0054554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2939-54_0_4_line_46 |  | 45 | 47 | 0.0043295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2939-54_0_4_line_47 |  | 46 | 48 | 0.021203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2939-54_0_4_line_48 |  | 47 | 49 | 0.012405 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2939-54_0_4_line_49 |  | 49 | 50 | 0.0011325 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2939-54_0_4_line_50 |  | 50 | 51 | 0.012311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_2939-54_0_4_line_51 |  | 51 | 62 | 0.0012028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2939-54_0_4_line_52 |  | 52 | 53 | 0.011958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2939-54_0_4_line_53 |  | 52 | 54 | 0.0095047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2939-54_0_4_line_54 |  | 53 | 55 | 0.0098338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2939-54_0_4_line_55 |  | 54 | 56 | 0.01397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_2939-54_0_4_line_56 |  | 55 | 57 | 0.036836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2939-54_0_4_line_57 |  | 56 | 58 | 0.0081475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_2939-54_0_4_line_58 |  | 57 | 59 | 0.017054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_2939-54_0_4_line_59 |  | 58 | 60 | 0.0057445 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_2939-54_0_4_line_60 |  | 60 | 61 | 0.010383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_2939-54_0_4_line_61 |  | 61 | 62 | 0.010451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2939-54_0_4_trafo_37 | 0.63 MVA 20/0.4 kV | 63 | 34 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2688472.5314 | 1284539.2147 | 2688467.9215 | 1284543.7717 | 2688464.1132 | 1284549.1313
1 | 2688472.5314 | 1284539.2147 | 2688460.0709 | 1284529.2882
2 | 2688472.5314 | 1284539.2147 | 2688484.0963 | 1284548.6608
3 | 2688449.8091 | 1284521.1132 | 2688460.0709 | 1284529.2882
4 | 2688484.0963 | 1284548.6608 | 2688487.1022 | 1284551.116
5 | 2688436.0081 | 1284510.1188 | 2688449.8091 | 1284521.1132
6 | 2688535.6142 | 1284590.7401 | 2688487.1022 | 1284551.116
7 | 2688436.0081 | 1284510.1188 | 2688435.9757 | 1284510.093
8 | 2688535.6142 | 1284590.7401 | 2688548.0602 | 1284600.202 | 2688562.3918 | 1284609.5588 | 2688564.1047 | 1284605.9703
9 | 2688593.2058 | 1284545.1771 | 2688569.5372 | 1284594.631 | 2688564.1047 | 1284605.9703
10 | 2688564.1047 | 1284605.9703 | 2688558.8282 | 1284602.9439 | 2688553.2712 | 1284599.1016 | 2688548.0025 | 1284595.0522 | 2688511.3065 | 1284565.3923
11 | 2688593.2058 | 1284545.1771 | 2688623.3542 | 1284481.5494
12 | 2688593.2058 | 1284545.1771 | 2688574.4067 | 1284529.8794
13 | 2688536.5374 | 1284499.0634 | 2688532.5775 | 1284495.841
14 | 2688538.6768 | 1284500.8043 | 2688536.5374 | 1284499.0634
15 | 2688526.4899 | 1284490.8872 | 2688532.5775 | 1284495.841
16 | 2688554.3013 | 1284513.5186 | 2688538.6768 | 1284500.8043
17 | 2688526.4899 | 1284490.8872 | 2688520.5165 | 1284486.0264
18 | 2688554.3013 | 1284513.5186 | 2688557.077 | 1284515.7774
19 | 2688505.5074 | 1284473.8128 | 2688520.5165 | 1284486.0264
20 | 2688561.8316 | 1284519.6464 | 2688557.077 | 1284515.7774
21 | 2688505.5074 | 1284473.8128 | 2688504.5617 | 1284473.0432
22 | 2688561.8316 | 1284519.6464 | 2688573.767 | 1284529.3588
23 | 2688573.767 | 1284529.3588 | 2688574.4067 | 1284529.8794
24 | 2688504.5617 | 1284473.0432 | 2688503.5209 | 1284472.1963
25 | 2688633.6596 | 1284459.8 | 2688623.3542 | 1284481.5494
26 | 2688633.6596 | 1284459.8 | 2688593.7266 | 1284427.8672
27 | 2688633.6596 | 1284459.8 | 2688638.2174 | 1284453.73 | 2688647.3709 | 1284441.5468
28 | 2688464.0611 | 1284440.086 | 2688466.5559 | 1284442.1162
29 | 2688464.0611 | 1284440.086 | 2688459.8354 | 1284436.6474
30 | 2688485.4181 | 1284457.4652 | 2688466.5559 | 1284442.1162
31 | 2688459.8354 | 1284436.6474 | 2688448.7624 | 1284427.6367
32 | 2688485.4181 | 1284457.4652 | 2688485.8912 | 1284457.8501
33 | 2688485.8912 | 1284457.8501 | 2688502.3286 | 1284471.226
34 | 2688503.5209 | 1284472.1963 | 2688502.3286 | 1284471.226
35 | 2688593.7266 | 1284427.8672 | 2688587.3089 | 1284422.7351
36 | 2688647.3709 | 1284441.5468 | 2688664.0523 | 1284419.3438
37 | 2688566.1774 | 1284405.8372 | 2688587.3089 | 1284422.7351
38 | 2688664.0523 | 1284419.3438 | 2688670.9476 | 1284410.1662
39 | 2688566.1774 | 1284405.8372 | 2688554.0808 | 1284396.164
40 | 2688680.6086 | 1284397.3075 | 2688670.9476 | 1284410.1662
41 | 2688510.1841 | 1284361.0615 | 2688489.423 | 1284344.4597
42 | 2688510.1841 | 1284361.0615 | 2688522.7304 | 1284371.0943
43 | 2688538.3457 | 1284383.5813 | 2688554.0808 | 1284396.164
44 | 2688538.3457 | 1284383.5813 | 2688522.7304 | 1284371.0943
45 | 2688566.812 | 1284302.3528 | 2688562.6233 | 1284298.8576
46 | 2688566.812 | 1284302.3528 | 2688570.1363 | 1284305.1266
47 | 2688546.3435 | 1284285.2734 | 2688562.6233 | 1284298.8576
48 | 2688579.6611 | 1284313.0744 | 2688570.1363 | 1284305.1266
49 | 2688579.6611 | 1284313.0744 | 2688580.5306 | 1284313.7999
50 | 2688589.9828 | 1284321.6871 | 2688580.5306 | 1284313.7999
51 | 2688589.9828 | 1284321.6871 | 2688590.9063 | 1284322.4577
52 | 2688635.5935 | 1284359.7458 | 2688644.775 | 1284367.4071
53 | 2688635.5935 | 1284359.7458 | 2688628.2957 | 1284353.6563
54 | 2688652.3255 | 1284373.7074 | 2688644.775 | 1284367.4071
55 | 2688617.5694 | 1284344.706 | 2688628.2957 | 1284353.6563
56 | 2688680.6086 | 1284397.3075 | 2688652.3255 | 1284373.7074
57 | 2688617.5694 | 1284344.706 | 2688611.3137 | 1284339.4861
58 | 2688680.6086 | 1284397.3075 | 2688692.7722 | 1284385.3535
59 | 2688606.903 | 1284335.8058 | 2688611.3137 | 1284339.4861
60 | 2688598.9307 | 1284329.1534 | 2688606.903 | 1284335.8058
61 | 2688598.9307 | 1284329.1534 | 2688590.9063 | 1284322.4577

## bus_geodata
| x | y | coords
0 | 2688464.1132 | 1284549.1313
1 | 2688472.5314 | 1284539.2147
2 | 2688460.0709 | 1284529.2882
3 | 2688484.0963 | 1284548.6608
4 | 2688449.8091 | 1284521.1132
5 | 2688487.1022 | 1284551.116
6 | 2688436.0081 | 1284510.1188
7 | 2688535.6142 | 1284590.7401
8 | 2688435.9757 | 1284510.093
9 | 2688564.1047 | 1284605.9703
10 | 2688593.2058 | 1284545.1771
11 | 2688511.3065 | 1284565.3923
12 | 2688536.5374 | 1284499.0634
13 | 2688532.5775 | 1284495.841
14 | 2688538.6768 | 1284500.8043
15 | 2688526.4899 | 1284490.8872
16 | 2688554.3013 | 1284513.5186
17 | 2688520.5165 | 1284486.0264
18 | 2688557.077 | 1284515.7774
19 | 2688505.5074 | 1284473.8128
20 | 2688561.8316 | 1284519.6464
21 | 2688573.767 | 1284529.3588
22 | 2688574.4067 | 1284529.8794
23 | 2688504.5617 | 1284473.0432
24 | 2688623.3542 | 1284481.5494
25 | 2688633.6596 | 1284459.8
26 | 2688464.0611 | 1284440.086
27 | 2688466.5559 | 1284442.1162
28 | 2688459.8354 | 1284436.6474
29 | 2688485.4181 | 1284457.4652
30 | 2688448.7624 | 1284427.6367
31 | 2688485.8912 | 1284457.8501
32 | 2688502.3286 | 1284471.226
33 | 2688503.5209 | 1284472.1963
34 | 2688593.7266 | 1284427.8672
35 | 2688647.3709 | 1284441.5468
36 | 2688587.3089 | 1284422.7351
37 | 2688664.0523 | 1284419.3438
38 | 2688566.1774 | 1284405.8372
39 | 2688670.9476 | 1284410.1662
40 | 2688489.423 | 1284344.4597
41 | 2688510.1841 | 1284361.0615
42 | 2688554.0808 | 1284396.164
43 | 2688538.3457 | 1284383.5813
44 | 2688522.7304 | 1284371.0943
45 | 2688566.812 | 1284302.3528
46 | 2688562.6233 | 1284298.8576
47 | 2688570.1363 | 1284305.1266
48 | 2688546.3435 | 1284285.2734
49 | 2688579.6611 | 1284313.0744
50 | 2688580.5306 | 1284313.7999
51 | 2688589.9828 | 1284321.6871
52 | 2688635.5935 | 1284359.7458
53 | 2688644.775 | 1284367.4071
54 | 2688628.2957 | 1284353.6563
55 | 2688652.3255 | 1284373.7074
56 | 2688617.5694 | 1284344.706
57 | 2688680.6086 | 1284397.3075
58 | 2688611.3137 | 1284339.4861
59 | 2688692.7722 | 1284385.3535
60 | 2688606.903 | 1284335.8058
61 | 2688598.9307 | 1284329.1534
62 | 2688590.9063 | 1284322.4577
63 | 2688633.6596 | 1284459.8

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1