## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2939-64_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2939-64_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2939-64_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2939-64_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2939-64_0_4_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_2939-64_0_4_node_12 | 0.4 | n |  | TRUE
6 | bus_LV_2939-64_0_4_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_2939-64_0_4_node_8 | 0.4 | n |  | TRUE
8 | bus_LV_2939-64_0_4_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_2939-64_0_4_node_119 | 0.4 | n |  | TRUE
10 | bus_LV_2939-64_0_4_node_35 | 0.4 | n |  | TRUE
11 | bus_LV_2939-64_0_4_node_14 | 0.4 | n |  | TRUE
12 | bus_LV_2939-64_0_4_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_2939-64_0_4_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_2939-64_0_4_node_30 | 0.4 | n |  | TRUE
15 | bus_LV_2939-64_0_4_node_7 | 0.4 | n |  | TRUE
16 | bus_LV_2939-64_0_4_node_19 | 0.4 | n |  | TRUE
17 | bus_LV_2939-64_0_4_node_118 | 0.4 | n |  | TRUE
18 | bus_LV_2939-64_0_4_node_15 | 0.4 | n |  | TRUE
19 | bus_LV_2939-64_0_4_node_34 | 0.4 | n |  | TRUE
20 | bus_LV_2939-64_0_4_node_11 | 0.4 | n |  | TRUE
21 | bus_LV_2939-64_0_4_node_29 | 0.4 | n |  | TRUE
22 | bus_LV_2939-64_0_4_node_31 | 0.4 | n |  | TRUE
23 | bus_LV_2939-64_0_4_node_28 | 0.4 | n |  | TRUE
24 | bus_LV_2939-64_0_4_node_32 | 0.4 | n |  | TRUE
25 | bus_LV_2939-64_0_4_node_16 | 0.4 | n |  | TRUE
26 | bus_LV_2939-64_0_4_node_17 | 0.4 | n |  | TRUE
27 | bus_LV_2939-64_0_4_node_112 | 0.4 | n |  | TRUE
28 | bus_LV_2939-64_0_4_node_20 | 0.4 | n |  | TRUE
29 | bus_LV_2939-64_0_4_node_114 | 0.4 | n |  | TRUE
30 | bus_LV_2939-64_0_4_node_113 | 0.4 | n |  | TRUE
31 | bus_LV_2939-64_0_4_node_111 | 0.4 | n |  | TRUE
32 | bus_LV_2939-64_0_4_node_27 | 0.4 | n |  | TRUE
33 | bus_LV_2939-64_0_4_node_24 | 0.4 | n |  | TRUE
34 | bus_LV_2939-64_0_4_node_22 | 0.4 | n |  | TRUE
35 | bus_LV_2939-64_0_4_node_23 | 0.4 | n |  | TRUE
36 | bus_LV_2939-64_0_4_node_25 | 0.4 | n |  | TRUE
37 | bus_LV_2939-64_0_4_node_26 | 0.4 | n |  | TRUE
38 | bus_LV_2939-64_0_4_node_33 | 0.4 | n |  | TRUE
39 | bus_LV_2939-64_0_4_node_70 | 0.4 | n |  | TRUE
40 | bus_LV_2939-64_0_4_node_59 | 0.4 | n |  | TRUE
41 | bus_LV_2939-64_0_4_node_115 | 0.4 | n |  | TRUE
42 | bus_LV_2939-64_0_4_node_69 | 0.4 | n |  | TRUE
43 | bus_LV_2939-64_0_4_node_57 | 0.4 | n |  | TRUE
44 | bus_LV_2939-64_0_4_node_36 | 0.4 | n |  | TRUE
45 | bus_LV_2939-64_0_4_node_37 | 0.4 | n |  | TRUE
46 | bus_LV_2939-64_0_4_node_38 | 0.4 | n |  | TRUE
47 | bus_LV_2939-64_0_4_node_39 | 0.4 | n |  | TRUE
48 | bus_LV_2939-64_0_4_node_40 | 0.4 | n |  | TRUE
49 | bus_LV_2939-64_0_4_node_41 | 0.4 | n |  | TRUE
50 | bus_LV_2939-64_0_4_node_53 | 0.4 | n |  | TRUE
51 | bus_LV_2939-64_0_4_node_46 | 0.4 | n |  | TRUE
52 | bus_LV_2939-64_0_4_node_49 | 0.4 | n |  | TRUE
53 | bus_LV_2939-64_0_4_node_54 | 0.4 | n |  | TRUE
54 | bus_LV_2939-64_0_4_node_58 | 0.4 | n |  | TRUE
55 | bus_LV_2939-64_0_4_node_47 | 0.4 | n |  | TRUE
56 | bus_LV_2939-64_0_4_node_50 | 0.4 | n |  | TRUE
57 | bus_LV_2939-64_0_4_node_42 | 0.4 | n |  | TRUE
58 | bus_LV_2939-64_0_4_node_43 | 0.4 | n |  | TRUE
59 | bus_LV_2939-64_0_4_node_44 | 0.4 | n |  | TRUE
60 | bus_LV_2939-64_0_4_node_45 | 0.4 | n |  | TRUE
61 | bus_LV_2939-64_0_4_node_65 | 0.4 | n |  | TRUE
62 | bus_LV_2939-64_0_4_node_67 | 0.4 | n |  | TRUE
63 | bus_LV_2939-64_0_4_node_63 | 0.4 | n |  | TRUE
64 | bus_LV_2939-64_0_4_node_48 | 0.4 | n |  | TRUE
65 | bus_LV_2939-64_0_4_node_51 | 0.4 | n |  | TRUE
66 | bus_LV_2939-64_0_4_node_60 | 0.4 | n |  | TRUE
67 | bus_LV_2939-64_0_4_node_61 | 0.4 | n |  | TRUE
68 | bus_LV_2939-64_0_4_node_56 | 0.4 | n |  | TRUE
69 | bus_LV_2939-64_0_4_node_55 | 0.4 | n |  | TRUE
70 | bus_LV_2939-64_0_4_node_95 | 0.4 | n |  | TRUE
71 | bus_LV_2939-64_0_4_node_117 | 0.4 | n |  | TRUE
72 | bus_LV_2939-64_0_4_node_105 | 0.4 | n |  | TRUE
73 | bus_LV_2939-64_0_4_node_80 | 0.4 | n |  | TRUE
74 | bus_LV_2939-64_0_4_node_82 | 0.4 | n |  | TRUE
75 | bus_LV_2939-64_0_4_node_78 | 0.4 | n |  | TRUE
76 | bus_LV_2939-64_0_4_node_104 | 0.4 | n |  | TRUE
77 | bus_LV_2939-64_0_4_node_62 | 0.4 | n |  | TRUE
78 | bus_LV_2939-64_0_4_node_64 | 0.4 | n |  | TRUE
79 | bus_LV_2939-64_0_4_node_66 | 0.4 | n |  | TRUE
80 | bus_LV_2939-64_0_4_node_71 | 0.4 | n |  | TRUE
81 | bus_LV_2939-64_0_4_node_72 | 0.4 | n |  | TRUE
82 | bus_LV_2939-64_0_4_node_116 | 0.4 | n |  | TRUE
83 | bus_LV_2939-64_0_4_node_73 | 0.4 | n |  | TRUE
84 | bus_LV_2939-64_0_4_node_74 | 0.4 | n |  | TRUE
85 | bus_LV_2939-64_0_4_node_75 | 0.4 | n |  | TRUE
86 | bus_LV_2939-64_0_4_node_76 | 0.4 | n |  | TRUE
87 | bus_LV_2939-64_0_4_node_77 | 0.4 | n |  | TRUE
88 | bus_LV_2939-64_0_4_node_83 | 0.4 | n |  | TRUE
89 | bus_LV_2939-64_0_4_node_84 | 0.4 | n |  | TRUE
90 | bus_LV_2939-64_0_4_node_85 | 0.4 | n |  | TRUE
91 | bus_LV_2939-64_0_4_node_93 | 0.4 | n |  | TRUE
92 | bus_LV_2939-64_0_4_node_79 | 0.4 | n |  | TRUE
93 | bus_LV_2939-64_0_4_node_81 | 0.4 | n |  | TRUE
94 | bus_LV_2939-64_0_4_node_91 | 0.4 | n |  | TRUE
95 | bus_LV_2939-64_0_4_node_86 | 0.4 | n |  | TRUE
96 | bus_LV_2939-64_0_4_node_87 | 0.4 | n |  | TRUE
97 | bus_LV_2939-64_0_4_node_88 | 0.4 | n |  | TRUE
98 | bus_LV_2939-64_0_4_node_89 | 0.4 | n |  | TRUE
99 | bus_LV_2939-64_0_4_node_90 | 0.4 | n |  | TRUE
100 | bus_LV_2939-64_0_4_node_96 | 0.4 | n |  | TRUE
101 | bus_LV_2939-64_0_4_node_97 | 0.4 | n |  | TRUE
102 | bus_LV_2939-64_0_4_node_98 | 0.4 | n |  | TRUE
103 | bus_LV_2939-64_0_4_node_100 | 0.4 | n |  | TRUE
104 | bus_LV_2939-64_0_4_node_101 | 0.4 | n |  | TRUE
105 | bus_LV_2939-64_0_4_node_106 | 0.4 | n |  | TRUE
106 | bus_LV_2939-64_0_4_node_108 | 0.4 | n |  | TRUE
107 | bus_LV_2939-64_0_4_node_102 | 0.4 | n |  | TRUE
108 | bus_LV_2939-64_0_4_node_107 | 0.4 | n |  | TRUE
109 | bus_LV_2939-64_0_4_node_103 | 0.4 | n |  | TRUE
110 | bus_LV_2939-64_0_4_node_109 | 0.4 | n |  | TRUE
111 | bus_MV_579_0_node_144 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2939-64_0_4_load_0 | 0 | 0.010689 | 0.002679 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2939-64_0_4_load_12 | 5 | 0.0044624 | 0.0011184 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2939-64_0_4_load_6 | 8 | 0.0022425 | 0.00056203 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2939-64_0_4_load_119 | 9 | 0.0033041 | 0.00082809 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2939-64_0_4_load_14 | 11 | 0.00022888 | 5.7364e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2939-64_0_4_load_9 | 12 | 0.0015166 | 0.0003801 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2939-64_0_4_load_118 | 17 | 0.014055 | 0.0035225 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2939-64_0_4_load_34 | 19 | 0.015536 | 0.0038938 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2939-64_0_4_load_11 | 20 | 0.0012939 | 0.00032427 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2939-64_0_4_load_31 | 22 | 0.078866 | 0.019766 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2939-64_0_4_load_32 | 24 | 0.067561 | 0.016932 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2939-64_0_4_load_112 | 27 | 0.010926 | 0.0027382 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2939-64_0_4_load_114 | 29 | 0.00060454 | 0.00015151 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2939-64_0_4_load_113 | 30 | 0.00054402 | 0.00013635 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2939-64_0_4_load_111 | 31 | 0.021093 | 0.0052864 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2939-64_0_4_load_27 | 32 | 0.00082874 | 0.0002077 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2939-64_0_4_load_22 | 34 | 0.001148 | 0.00028772 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2939-64_0_4_load_23 | 35 | 0.001136 | 0.00028471 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2939-64_0_4_load_25 | 36 | 0.0011696 | 0.00029312 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2939-64_0_4_load_33 | 38 | 0.0016029 | 0.00040172 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2939-64_0_4_load_59 | 40 | 0.0045557 | 0.0011418 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2939-64_0_4_load_115 | 41 | 0.0053773 | 0.0013477 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2939-64_0_4_load_69 | 42 | 0.014581 | 0.0036544 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2939-64_0_4_load_57 | 43 | 0.010405 | 0.0026078 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2939-64_0_4_load_36 | 44 | 0.0017198 | 0.00043103 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2939-64_0_4_load_37 | 45 | 0.0017664 | 0.00044269 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2939-64_0_4_load_40 | 48 | 0.0013358 | 0.00033479 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2939-64_0_4_load_41 | 49 | 0.0067895 | 0.0017016 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2939-64_0_4_load_53 | 50 | 0.002485 | 0.0006228 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2939-64_0_4_load_46 | 51 | 0.0014093 | 0.00035321 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2939-64_0_4_load_49 | 52 | 0.003145 | 0.00078822 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2939-64_0_4_load_54 | 53 | 0.0017669 | 0.00044283 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2939-64_0_4_load_47 | 55 | 0.0011702 | 0.00029328 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2939-64_0_4_load_42 | 57 | 0.0079129 | 0.0019831 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2939-64_0_4_load_43 | 58 | 0.0079128 | 0.0019831 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2939-64_0_4_load_44 | 59 | 0.0049289 | 0.0012353 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2939-64_0_4_load_45 | 60 | 0.0028274 | 0.0007086 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2939-64_0_4_load_63 | 63 | 0.0055298 | 0.0013859 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2939-64_0_4_load_48 | 64 | 0.0012467 | 0.00031245 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2939-64_0_4_load_51 | 65 | 0.005382 | 0.0013489 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2939-64_0_4_load_56 | 68 | 0.0042007 | 0.0010528 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2939-64_0_4_load_55 | 69 | 0.0042016 | 0.001053 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2939-64_0_4_load_95 | 70 | 0.00047076 | 0.00011798 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2939-64_0_4_load_117 | 71 | 0.011631 | 0.0029151 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2939-64_0_4_load_78 | 75 | 0.0011067 | 0.00027736 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2939-64_0_4_load_104 | 76 | 0.00055103 | 0.0001381 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2939-64_0_4_load_62 | 77 | 0.0016801 | 0.00042106 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2939-64_0_4_load_66 | 79 | 0.003383 | 0.00084787 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2939-64_0_4_load_71 | 80 | 0.0080449 | 0.0020163 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2939-64_0_4_load_72 | 81 | 0.0015242 | 0.00038199 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2939-64_0_4_load_116 | 82 | 0.013458 | 0.0033728 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2939-64_0_4_load_73 | 83 | 0.0022643 | 0.00056749 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2939-64_0_4_load_74 | 84 | 0.0010174 | 0.00025499 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2939-64_0_4_load_75 | 85 | 0.0010535 | 0.00026404 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2939-64_0_4_load_76 | 86 | 0.0011286 | 0.00028285 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2939-64_0_4_load_85 | 90 | 0.00060102 | 0.00015063 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_2939-64_0_4_load_93 | 91 | 0.0034964 | 0.00087629 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_2939-64_0_4_load_79 | 92 | 0.00049004 | 0.00012282 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_2939-64_0_4_load_81 | 93 | 0.00065849 | 0.00016503 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_2939-64_0_4_load_91 | 94 | 0.00069173 | 0.00017336 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_2939-64_0_4_load_88 | 97 | 0.00046176 | 0.00011573 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_2939-64_0_4_load_90 | 99 | 0.00083544 | 0.00020938 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_2939-64_0_4_load_96 | 100 | 0.00042303 | 0.00010602 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_2939-64_0_4_load_97 | 101 | 0.00090218 | 0.00022611 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_2939-64_0_4_load_101 | 104 | 0.0005728 | 0.00014356 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_2939-64_0_4_load_106 | 105 | 0.0046575 | 0.0011673 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_2939-64_0_4_load_108 | 106 | 0.0019542 | 0.00048976 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_2939-64_0_4_load_102 | 107 | 0.00063985 | 0.00016036 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_2939-64_0_4_load_107 | 108 | 0.002725 | 0.00068295 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_2939-64_0_4_load_103 | 109 | 0.00058229 | 0.00014593 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_2939-64_0_4_load_109 | 110 | 0.0021229 | 0.00053206 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 23 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2939-64_0_4_line_0 |  | 0 | 1 | 0.022503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2939-64_0_4_line_1 |  | 0 | 2 | 0.0063319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2939-64_0_4_line_2 |  | 1 | 3 | 0.0095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2939-64_0_4_line_3 |  | 2 | 4 | 0.03881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2939-64_0_4_line_4 |  | 3 | 5 | 0.040199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2939-64_0_4_line_5 |  | 4 | 9 | 0.012985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2939-64_0_4_line_6 |  | 4 | 10 | 0.032011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2939-64_0_4_line_7 |  | 6 | 7 | 0.010023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2939-64_0_4_line_8 |  | 6 | 8 | 0.08492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2939-64_0_4_line_9 |  | 7 | 11 | 0.051826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2939-64_0_4_line_10 |  | 8 | 15 | 0.022862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2939-64_0_4_line_11 |  | 10 | 19 | 0.018112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2939-64_0_4_line_12 |  | 10 | 16 | 0.058719 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2939-64_0_4_line_13 |  | 11 | 18 | 0.048206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2939-64_0_4_line_14 |  | 12 | 13 | 0.022733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2939-64_0_4_line_15 |  | 13 | 14 | 0.055869 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2939-64_0_4_line_16 |  | 14 | 24 | 0.013966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
17 | LV_2939-64_0_4_line_17 |  | 14 | 21 | 0.039207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
18 | LV_2939-64_0_4_line_18 |  | 15 | 20 | 0.043455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2939-64_0_4_line_19 |  | 16 | 17 | 0.017497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2939-64_0_4_line_20 |  | 16 | 18 | 0.081011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2939-64_0_4_line_21 |  | 18 | 25 | 0.024996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2939-64_0_4_line_22 |  | 18 | 26 | 0.06598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2939-64_0_4_line_23 |  | 21 | 22 | 0.034442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2939-64_0_4_line_24 |  | 21 | 23 | 0.068627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
25 | LV_2939-64_0_4_line_25 |  | 23 | 39 | 0.004338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2939-64_0_4_line_26 |  | 23 | 40 | 0.054274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2939-64_0_4_line_27 |  | 24 | 38 | 0.015016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
28 | LV_2939-64_0_4_line_28 |  | 25 | 27 | 0.028541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2939-64_0_4_line_29 |  | 26 | 28 | 0.021352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2939-64_0_4_line_30 |  | 26 | 29 | 0.0088753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2939-64_0_4_line_31 |  | 27 | 31 | 0.054311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2939-64_0_4_line_32 |  | 28 | 30 | 0.0091947 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2939-64_0_4_line_33 |  | 31 | 37 | 0.022698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2939-64_0_4_line_34 |  | 32 | 33 | 0.016735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2939-64_0_4_line_35 |  | 33 | 37 | 0.007015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
36 | LV_2939-64_0_4_line_36 |  | 33 | 34 | 0.019728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
37 | LV_2939-64_0_4_line_37 |  | 34 | 35 | 0.0088243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
38 | LV_2939-64_0_4_line_38 |  | 35 | 36 | 0.01197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
39 | LV_2939-64_0_4_line_39 |  | 36 | 38 | 0.029088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
40 | LV_2939-64_0_4_line_40 |  | 39 | 41 | 0.03148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2939-64_0_4_line_41 |  | 39 | 42 | 0.069648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2939-64_0_4_line_42 |  | 40 | 43 | 0.027268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2939-64_0_4_line_43 |  | 41 | 82 | 0.054557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2939-64_0_4_line_44 |  | 42 | 79 | 0.044453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2939-64_0_4_line_45 |  | 43 | 69 | 0.00919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2939-64_0_4_line_46 |  | 44 | 45 | 0.001068 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2939-64_0_4_line_47 |  | 44 | 46 | 0.013792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2939-64_0_4_line_48 |  | 45 | 47 | 0.016472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2939-64_0_4_line_49 |  | 46 | 48 | 0.016088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2939-64_0_4_line_50 |  | 46 | 49 | 0.012958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_2939-64_0_4_line_51 |  | 47 | 50 | 0.020436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2939-64_0_4_line_52 |  | 48 | 51 | 0.014542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2939-64_0_4_line_53 |  | 49 | 52 | 0.026273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2939-64_0_4_line_54 |  | 51 | 55 | 0.01715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2939-64_0_4_line_55 |  | 52 | 56 | 0.014235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_2939-64_0_4_line_56 |  | 53 | 54 | 0.022861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2939-64_0_4_line_57 |  | 54 | 66 | 0.069686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_2939-64_0_4_line_58 |  | 54 | 67 | 0.040202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_2939-64_0_4_line_59 |  | 54 | 68 | 0.028869 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_2939-64_0_4_line_60 |  | 55 | 64 | 0.00034932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_2939-64_0_4_line_61 |  | 56 | 65 | 0.052574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_2939-64_0_4_line_62 |  | 57 | 58 | 0.033002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_2939-64_0_4_line_63 |  | 57 | 59 | 0.028646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_2939-64_0_4_line_64 |  | 59 | 60 | 0.0012976 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_2939-64_0_4_line_65 |  | 60 | 61 | 0.056565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_2939-64_0_4_line_66 |  | 61 | 62 | 0.004856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_2939-64_0_4_line_67 |  | 61 | 63 | 0.012372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_2939-64_0_4_line_68 |  | 62 | 65 | 0.035318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_2939-64_0_4_line_69 |  | 63 | 77 | 0.0032215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_2939-64_0_4_line_70 |  | 66 | 70 | 0.0038986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_2939-64_0_4_line_71 |  | 67 | 71 | 0.018243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_2939-64_0_4_line_72 |  | 67 | 72 | 0.02497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_2939-64_0_4_line_73 |  | 68 | 69 | 0.036951 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_2939-64_0_4_line_74 |  | 70 | 74 | 0.04041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_2939-64_0_4_line_75 |  | 72 | 76 | 0.014578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_2939-64_0_4_line_76 |  | 73 | 74 | 0.00801 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_2939-64_0_4_line_77 |  | 73 | 75 | 0.025006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_2939-64_0_4_line_78 |  | 74 | 95 | 0.060125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_2939-64_0_4_line_79 |  | 75 | 92 | 0.0040328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_2939-64_0_4_line_80 |  | 76 | 109 | 0.018601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_2939-64_0_4_line_81 |  | 77 | 78 | 0.014522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_2939-64_0_4_line_82 |  | 78 | 79 | 0.04027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_2939-64_0_4_line_83 |  | 80 | 81 | 0.037577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_2939-64_0_4_line_84 |  | 81 | 83 | 0.013994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_2939-64_0_4_line_85 |  | 83 | 84 | 0.016446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_2939-64_0_4_line_86 |  | 84 | 85 | 0.013375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_2939-64_0_4_line_87 |  | 85 | 86 | 0.041775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_2939-64_0_4_line_88 |  | 86 | 87 | 0.024138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_2939-64_0_4_line_89 |  | 87 | 88 | 0.011513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_2939-64_0_4_line_90 |  | 88 | 89 | 0.025062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_2939-64_0_4_line_91 |  | 88 | 90 | 0.0067589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_2939-64_0_4_line_92 |  | 89 | 91 | 0.066296 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_2939-64_0_4_line_93 |  | 90 | 95 | 0.022767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_2939-64_0_4_line_94 |  | 92 | 93 | 0.015755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_2939-64_0_4_line_95 |  | 93 | 94 | 0.006319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_2939-64_0_4_line_96 |  | 95 | 96 | 0.026028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_2939-64_0_4_line_97 |  | 96 | 97 | 0.00076365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_2939-64_0_4_line_98 |  | 97 | 98 | 0.026466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_2939-64_0_4_line_99 |  | 98 | 99 | 0.003519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_2939-64_0_4_line_100 |  | 100 | 101 | 0.021525 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_2939-64_0_4_line_101 |  | 100 | 102 | 0.01396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_2939-64_0_4_line_102 |  | 102 | 103 | 0.015355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_2939-64_0_4_line_103 |  | 102 | 104 | 0.0029946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_2939-64_0_4_line_104 |  | 103 | 105 | 0.011285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_2939-64_0_4_line_105 |  | 103 | 106 | 0.013365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_2939-64_0_4_line_106 |  | 104 | 107 | 0.026273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_2939-64_0_4_line_107 |  | 106 | 108 | 0.020446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_2939-64_0_4_line_108 |  | 107 | 109 | 0.020101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_2939-64_0_4_line_109 |  | 108 | 110 | 0.020897 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2939-64_0_4_trafo_28 | 0.63 MVA 20/0.4 kV | 111 | 23 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2690008.2835 | 1285502.2665 | 2690014.9881 | 1285502.6026 | 2690030.6601 | 1285504.525
1 | 2690036.9449 | 1285505.2959 | 2690030.6601 | 1285504.525
2 | 2690006.6618 | 1285511.6277 | 2690008.2835 | 1285502.2665
3 | 2690075.6318 | 1285509.413 | 2690056.3869 | 1285508.0288 | 2690036.9449 | 1285505.2959
4 | 2690006.6618 | 1285511.6277 | 2689974.333 | 1285507.9308 | 2689968.4378 | 1285503.0402
5 | 2690075.6318 | 1285509.413 | 2690078.4912 | 1285510.402 | 2690086.4231 | 1285514.8939 | 2690086.8551 | 1285514.1332
6 | 2690075.6318 | 1285509.413 | 2690081.0796 | 1285516.3468 | 2690082.0736 | 1285517.6076 | 2690080.2884 | 1285539.1213
7 | 2690015.4075 | 1285390.7332 | 2690024.967 | 1285393.8375
8 | 2690015.4075 | 1285390.7332 | 2690001.9115 | 1285397.6887 | 2689987.5995 | 1285403.0304 | 2689977.1983 | 1285403.4386 | 2689960.7417 | 1285399.8175 | 2689935.9624 | 1285388.5984
9 | 2690024.967 | 1285393.8375 | 2690029.9784 | 1285395.4599 | 2690074.5224 | 1285409.0086
10 | 2689914.5265 | 1285381.4182 | 2689921.7728 | 1285382.1739 | 2689935.9624 | 1285388.5984
11 | 2690080.2884 | 1285539.1213 | 2690062.1783 | 1285538.8443
12 | 2690080.2884 | 1285539.1213 | 2690094.6083 | 1285533.7355 | 2690107.9813 | 1285525.9777 | 2690113.2758 | 1285517.9182 | 2690120.6176 | 1285501.138
13 | 2690120.6423 | 1285423.0366 | 2690074.5224 | 1285409.0086
14 | 2689949.1267 | 1285322.4613 | 2689963.5899 | 1285340.0002
15 | 2689949.1267 | 1285322.4613 | 2689942.6261 | 1285308.2719 | 2689966.9346 | 1285302.5046 | 2689971.3433 | 1285300.3478 | 2689975.4474 | 1285297.4968 | 2689977.7656 | 1285292.6502
16 | 2689977.7656 | 1285292.6502 | 2689989.3713 | 1285300.4186
17 | 2689977.7656 | 1285292.6502 | 2689978.5678 | 1285286.8129 | 2689982.0081 | 1285267.4819 | 2689976.8956 | 1285254.7927
18 | 2689914.5265 | 1285381.4182 | 2689921.6361 | 1285401.9336 | 2689927.8502 | 1285422.7693
19 | 2690120.6176 | 1285501.138 | 2690112.6098 | 1285494.7433 | 2690106.6087 | 1285490.6146
20 | 2690120.6176 | 1285501.138 | 2690122.5114 | 1285490.6801 | 2690123.5926 | 1285472.514 | 2690124.4922 | 1285461.3068 | 2690129.717 | 1285443.5823 | 2690127.1261 | 1285437.315 | 2690120.6423 | 1285423.0366
21 | 2690120.6423 | 1285423.0366 | 2690112.4477 | 1285399.4128
22 | 2690148.5639 | 1285475.3874 | 2690139.5694 | 1285446.6691 | 2690137.0609 | 1285428.1478 | 2690120.6423 | 1285423.0366
23 | 2689976.8956 | 1285254.7927 | 2689964.6069 | 1285222.6176
24 | 2689976.8956 | 1285254.7927 | 2689982.8935 | 1285257.6757 | 2689987.5698 | 1285257.6582 | 2689995.5743 | 1285249.5734 | 2690004.2378 | 1285246.4919 | 2690022.5922 | 1285243.8366 | 2690029.8399 | 1285240.0885 | 2690038.977 | 1285235.98
25 | 2690038.977 | 1285235.98 | 2690037.1609 | 1285232.0377
26 | 2690038.977 | 1285235.98 | 2690085.7667 | 1285208.477
27 | 2690001.8044 | 1285308.8389 | 2689991.7926 | 1285302.0393 | 2689989.3713 | 1285300.4186
28 | 2690112.4477 | 1285399.4128 | 2690101.0261 | 1285373.2566
29 | 2690148.5639 | 1285475.3874 | 2690153.6125 | 1285496.1384
30 | 2690148.5639 | 1285475.3874 | 2690155.7263 | 1285480.6287
31 | 2690079.2917 | 1285323.4837 | 2690101.0261 | 1285373.2566
32 | 2690153.6125 | 1285496.1384 | 2690160.9595 | 1285501.6669
33 | 2690070.2083 | 1285302.6824 | 2690079.2917 | 1285323.4837
34 | 2690064.5529 | 1285306.8551 | 2690068.1536 | 1285317.286 | 2690069.5174 | 1285322.8208
35 | 2690064.5529 | 1285306.8551 | 2690070.2083 | 1285302.6824
36 | 2690064.5529 | 1285306.8551 | 2690052.6312 | 1285317.8381 | 2690049.1392 | 1285318.2678
37 | 2690049.1392 | 1285318.2678 | 2690040.3809 | 1285319.3454
38 | 2690028.5211 | 1285318.2935 | 2690038.0806 | 1285319.6284 | 2690040.3809 | 1285319.3454
39 | 2690001.8044 | 1285308.8389 | 2690012.4139 | 1285316.0443 | 2690028.5211 | 1285318.2935
40 | 2690037.1609 | 1285232.0377 | 2690064.1076 | 1285215.7634
41 | 2690037.1609 | 1285232.0377 | 2690032.4901 | 1285221.8797 | 2690020.5976 | 1285194.6186 | 2690009.3135 | 1285168.2027
42 | 2690109.2745 | 1285194.659 | 2690085.7667 | 1285208.477
43 | 2690066.053 | 1285172.4826 | 2690078.5858 | 1285197.6184 | 2690079.8681 | 1285203.5766 | 2690077.4785 | 1285207.6881 | 2690064.1076 | 1285215.7634
44 | 2689991.8511 | 1285127.3235 | 2690009.3135 | 1285168.2027
45 | 2690117.1972 | 1285190.002 | 2690109.2745 | 1285194.659
46 | 2690120.0654 | 1285070.2729 | 2690120.9874 | 1285069.7339
47 | 2690107.4908 | 1285074.4748 | 2690112.4256 | 1285074.7394 | 2690120.0654 | 1285070.2729
48 | 2690135.2071 | 1285061.4206 | 2690120.9874 | 1285069.7339
49 | 2690107.4908 | 1285074.4748 | 2690113.3988 | 1285089.4388
50 | 2690107.4908 | 1285074.4748 | 2690105.3064 | 1285073.0179 | 2690102.5427 | 1285069.1945 | 2690099.5389 | 1285064.4511
51 | 2690135.2071 | 1285061.4206 | 2690127.8665 | 1285042.3479
52 | 2690118.7392 | 1285102.965 | 2690113.3988 | 1285089.4388
53 | 2690085.4825 | 1285042.2541 | 2690099.5389 | 1285064.4511
54 | 2690118.7392 | 1285102.965 | 2690125.0373 | 1285118.9169
55 | 2690077.8666 | 1285030.2277 | 2690085.4825 | 1285042.2541
56 | 2690174.8579 | 1285159.1238 | 2690165.9199 | 1285138.0821
57 | 2690174.8579 | 1285159.1238 | 2690179.5666 | 1285155.526 | 2690185.753 | 1285165.2181 | 2690199.3426 | 1285186.5003 | 2690223.5023 | 1285198.8253
58 | 2690174.8579 | 1285159.1238 | 2690178.5625 | 1285167.1764 | 2690184.134 | 1285179.2834 | 2690191.6664 | 1285195.6686
59 | 2690174.8579 | 1285159.1238 | 2690169.19 | 1285164.097 | 2690162.3505 | 1285166.1719 | 2690149.4448 | 1285172.0506
60 | 2690125.1656 | 1285119.2418 | 2690125.0373 | 1285118.9169
61 | 2690077.8666 | 1285030.2277 | 2690032.0639 | 1285056.0363
62 | 2690056.8405 | 1285128.5958 | 2690074.5962 | 1285156.4147
63 | 2690056.8405 | 1285128.5958 | 2690045.778 | 1285111.2637 | 2690042.0062 | 1285104.1126
64 | 2690041.4008 | 1285102.9649 | 2690042.0062 | 1285104.1126
65 | 2690002.5431 | 1285076.0057 | 2690019.2799 | 1285071.6687 | 2690027.0873 | 1285076.4922 | 2690031.503 | 1285084.1997 | 2690041.4008 | 1285102.9649
66 | 2690002.5431 | 1285076.0057 | 2690000.3956 | 1285071.6469
67 | 2690002.5431 | 1285076.0057 | 2689991.6517 | 1285081.8745
68 | 2690000.3956 | 1285071.6469 | 2690026.8902 | 1285058.9516 | 2690032.0639 | 1285056.0363
69 | 2689988.8157 | 1285083.4027 | 2689991.6517 | 1285081.8745
70 | 2690223.5023 | 1285198.8253 | 2690226.865 | 1285196.8529
71 | 2690191.6664 | 1285195.6686 | 2690178.5727 | 1285195.9128 | 2690173.8241 | 1285193.7939
72 | 2690202.8226 | 1285218.0256 | 2690191.6664 | 1285195.6686
73 | 2690117.1972 | 1285190.002 | 2690117.5475 | 1285189.7962 | 2690140.431 | 1285176.1564 | 2690149.4448 | 1285172.0506
74 | 2690262.5723 | 1285215.7718 | 2690226.865 | 1285196.8529
75 | 2690202.8226 | 1285218.0256 | 2690211.5349 | 1285220.1052 | 2690215.634 | 1285223.9509
76 | 2690262.5723 | 1285215.7718 | 2690257.2267 | 1285221.7507
77 | 2690257.2267 | 1285221.7507 | 2690275.9542 | 1285238.321
78 | 2690262.5723 | 1285215.7718 | 2690235.9455 | 1285187.6394 | 2690256.7025 | 1285193.2733
79 | 2690275.9542 | 1285238.321 | 2690278.9744 | 1285240.9934
80 | 2690215.634 | 1285223.9509 | 2690215.7525 | 1285224.0621 | 2690225.5251 | 1285239.6974
81 | 2689976.0319 | 1285090.2911 | 2689988.8157 | 1285083.4027
82 | 2689976.0319 | 1285090.2911 | 2689991.8511 | 1285127.3235
83 | 2690173.7532 | 1285040.9427 | 2690183.6271 | 1285063.4075 | 2690186.431 | 1285076.14
84 | 2690186.431 | 1285076.14 | 2690186.7921 | 1285077.7797 | 2690191.9966 | 1285088.9408
85 | 2690198.9469 | 1285103.8458 | 2690191.9966 | 1285088.9408
86 | 2690198.9469 | 1285103.8458 | 2690204.1168 | 1285114.9329 | 2690204.702 | 1285115.9136
87 | 2690204.702 | 1285115.9136 | 2690212.0055 | 1285128.1541 | 2690221.3754 | 1285141.209 | 2690227.5601 | 1285147.0866 | 2690229.9375 | 1285148.7814
88 | 2690252.0756 | 1285157.7491 | 2690245.3471 | 1285156.5005 | 2690239.5216 | 1285154.1204 | 2690232.7574 | 1285150.7917 | 2690229.9375 | 1285148.7814
89 | 2690249.1727 | 1285168.8922 | 2690252.0756 | 1285157.7491
90 | 2690249.1727 | 1285168.8922 | 2690258.871 | 1285177.1591 | 2690270.0585 | 1285172.0037
91 | 2690249.1727 | 1285168.8922 | 2690247.4146 | 1285175.4184
92 | 2690270.0585 | 1285172.0037 | 2690272.7407 | 1285177.216 | 2690277.0446 | 1285182.3976 | 2690281.2332 | 1285186.2874 | 2690283.0729 | 1285187.7057 | 2690300.6168 | 1285201.2086 | 2690320.0142 | 1285214.5108
93 | 2690256.7025 | 1285193.2733 | 2690245.5596 | 1285182.3042 | 2690247.4146 | 1285175.4184
94 | 2690290.7734 | 1285251.4332 | 2690278.9744 | 1285240.9934
95 | 2690290.7734 | 1285251.4332 | 2690295.5059 | 1285255.6206
96 | 2690256.7025 | 1285193.2733 | 2690264.182 | 1285182.7453 | 2690274.1541 | 1285191.2611
97 | 2690274.7692 | 1285191.7137 | 2690274.1541 | 1285191.2611
98 | 2690296.086 | 1285207.4001 | 2690274.7692 | 1285191.7137
99 | 2690296.086 | 1285207.4001 | 2690298.9228 | 1285209.4824
100 | 2690256.0174 | 1285295.1762 | 2690258.5634 | 1285300.0398 | 2690264.3531 | 1285314.9936
101 | 2690249.5432 | 1285282.8088 | 2690256.0174 | 1285295.1762
102 | 2690249.5432 | 1285282.8088 | 2690240.5698 | 1285286.5079 | 2690235.794 | 1285289.593
103 | 2690249.5432 | 1285282.8088 | 2690248.1245 | 1285280.1716
104 | 2690235.794 | 1285289.593 | 2690231.5706 | 1285281.1209 | 2690230.8165 | 1285279.4658
105 | 2690235.794 | 1285289.593 | 2690241.3767 | 1285301.7366
106 | 2690248.1245 | 1285280.1716 | 2690235.6776 | 1285257.0344
107 | 2690249.9169 | 1285320.3134 | 2690241.3767 | 1285301.7366
108 | 2690235.6776 | 1285257.0344 | 2690231.4522 | 1285249.18 | 2690225.5251 | 1285239.6974
109 | 2690249.9169 | 1285320.3134 | 2690252.2238 | 1285325.3315 | 2690258.8919 | 1285339.1846

## bus_geodata
| x | y | coords
0 | 2690030.6601 | 1285504.525
1 | 2690008.2835 | 1285502.2665
2 | 2690036.9449 | 1285505.2959
3 | 2690006.6618 | 1285511.6277
4 | 2690075.6318 | 1285509.413
5 | 2689968.4378 | 1285503.0402
6 | 2690015.4075 | 1285390.7332
7 | 2690024.967 | 1285393.8375
8 | 2689935.9624 | 1285388.5984
9 | 2690086.8551 | 1285514.1332
10 | 2690080.2884 | 1285539.1213
11 | 2690074.5224 | 1285409.0086
12 | 2689963.5899 | 1285340.0002
13 | 2689949.1267 | 1285322.4613
14 | 2689977.7656 | 1285292.6502
15 | 2689914.5265 | 1285381.4182
16 | 2690120.6176 | 1285501.138
17 | 2690106.6087 | 1285490.6146
18 | 2690120.6423 | 1285423.0366
19 | 2690062.1783 | 1285538.8443
20 | 2689927.8502 | 1285422.7693
21 | 2689976.8956 | 1285254.7927
22 | 2689964.6069 | 1285222.6176
23 | 2690038.977 | 1285235.98
24 | 2689989.3713 | 1285300.4186
25 | 2690112.4477 | 1285399.4128
26 | 2690148.5639 | 1285475.3874
27 | 2690101.0261 | 1285373.2566
28 | 2690153.6125 | 1285496.1384
29 | 2690155.7263 | 1285480.6287
30 | 2690160.9595 | 1285501.6669
31 | 2690079.2917 | 1285323.4837
32 | 2690069.5174 | 1285322.8208
33 | 2690064.5529 | 1285306.8551
34 | 2690049.1392 | 1285318.2678
35 | 2690040.3809 | 1285319.3454
36 | 2690028.5211 | 1285318.2935
37 | 2690070.2083 | 1285302.6824
38 | 2690001.8044 | 1285308.8389
39 | 2690037.1609 | 1285232.0377
40 | 2690085.7667 | 1285208.477
41 | 2690064.1076 | 1285215.7634
42 | 2690009.3135 | 1285168.2027
43 | 2690109.2745 | 1285194.659
44 | 2690120.0654 | 1285070.2729
45 | 2690120.9874 | 1285069.7339
46 | 2690107.4908 | 1285074.4748
47 | 2690135.2071 | 1285061.4206
48 | 2690113.3988 | 1285089.4388
49 | 2690099.5389 | 1285064.4511
50 | 2690127.8665 | 1285042.3479
51 | 2690118.7392 | 1285102.965
52 | 2690085.4825 | 1285042.2541
53 | 2690165.9199 | 1285138.0821
54 | 2690174.8579 | 1285159.1238
55 | 2690125.0373 | 1285118.9169
56 | 2690077.8666 | 1285030.2277
57 | 2690056.8405 | 1285128.5958
58 | 2690074.5962 | 1285156.4147
59 | 2690042.0062 | 1285104.1126
60 | 2690041.4008 | 1285102.9649
61 | 2690002.5431 | 1285076.0057
62 | 2690000.3956 | 1285071.6469
63 | 2689991.6517 | 1285081.8745
64 | 2690125.1656 | 1285119.2418
65 | 2690032.0639 | 1285056.0363
66 | 2690223.5023 | 1285198.8253
67 | 2690191.6664 | 1285195.6686
68 | 2690149.4448 | 1285172.0506
69 | 2690117.1972 | 1285190.002
70 | 2690226.865 | 1285196.8529
71 | 2690173.8241 | 1285193.7939
72 | 2690202.8226 | 1285218.0256
73 | 2690257.2267 | 1285221.7507
74 | 2690262.5723 | 1285215.7718
75 | 2690275.9542 | 1285238.321
76 | 2690215.634 | 1285223.9509
77 | 2689988.8157 | 1285083.4027
78 | 2689976.0319 | 1285090.2911
79 | 2689991.8511 | 1285127.3235
80 | 2690173.7532 | 1285040.9427
81 | 2690186.431 | 1285076.14
82 | 2690066.053 | 1285172.4826
83 | 2690191.9966 | 1285088.9408
84 | 2690198.9469 | 1285103.8458
85 | 2690204.702 | 1285115.9136
86 | 2690229.9375 | 1285148.7814
87 | 2690252.0756 | 1285157.7491
88 | 2690249.1727 | 1285168.8922
89 | 2690270.0585 | 1285172.0037
90 | 2690247.4146 | 1285175.4184
91 | 2690320.0142 | 1285214.5108
92 | 2690278.9744 | 1285240.9934
93 | 2690290.7734 | 1285251.4332
94 | 2690295.5059 | 1285255.6206
95 | 2690256.7025 | 1285193.2733
96 | 2690274.1541 | 1285191.2611
97 | 2690274.7692 | 1285191.7137
98 | 2690296.086 | 1285207.4001
99 | 2690298.9228 | 1285209.4824
100 | 2690256.0174 | 1285295.1762
101 | 2690264.3531 | 1285314.9936
102 | 2690249.5432 | 1285282.8088
103 | 2690235.794 | 1285289.593
104 | 2690248.1245 | 1285280.1716
105 | 2690230.8165 | 1285279.4658
106 | 2690241.3767 | 1285301.7366
107 | 2690235.6776 | 1285257.0344
108 | 2690249.9169 | 1285320.3134
109 | 2690225.5251 | 1285239.6974
110 | 2690258.8919 | 1285339.1846
111 | 2690037.1609 | 1285232.0377

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1