## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2939-66_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2939-66_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2939-66_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2939-66_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2939-66_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2939-66_0_6_node_36 | 0.4 | n |  | TRUE
6 | bus_LV_2939-66_0_6_node_32 | 0.4 | n |  | TRUE
7 | bus_LV_2939-66_0_6_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_2939-66_0_6_node_9 | 0.4 | n |  | TRUE
9 | bus_LV_2939-66_0_6_node_45 | 0.4 | n |  | TRUE
10 | bus_LV_2939-66_0_6_node_28 | 0.4 | n |  | TRUE
11 | bus_LV_2939-66_0_6_node_33 | 0.4 | n |  | TRUE
12 | bus_LV_2939-66_0_6_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_2939-66_0_6_node_37 | 0.4 | n |  | TRUE
14 | bus_LV_2939-66_0_6_node_6 | 0.4 | n |  | TRUE
15 | bus_LV_2939-66_0_6_node_8 | 0.4 | n |  | TRUE
16 | bus_LV_2939-66_0_6_node_38 | 0.4 | n |  | TRUE
17 | bus_LV_2939-66_0_6_node_106 | 0.4 | n |  | TRUE
18 | bus_LV_2939-66_0_6_node_35 | 0.4 | n |  | TRUE
19 | bus_LV_2939-66_0_6_node_11 | 0.4 | n |  | TRUE
20 | bus_LV_2939-66_0_6_node_12 | 0.4 | n |  | TRUE
21 | bus_LV_2939-66_0_6_node_13 | 0.4 | n |  | TRUE
22 | bus_LV_2939-66_0_6_node_14 | 0.4 | n |  | TRUE
23 | bus_LV_2939-66_0_6_node_15 | 0.4 | n |  | TRUE
24 | bus_LV_2939-66_0_6_node_16 | 0.4 | n |  | TRUE
25 | bus_LV_2939-66_0_6_node_39 | 0.4 | n |  | TRUE
26 | bus_LV_2939-66_0_6_node_46 | 0.4 | n |  | TRUE
27 | bus_LV_2939-66_0_6_node_40 | 0.4 | n |  | TRUE
28 | bus_LV_2939-66_0_6_node_41 | 0.4 | n |  | TRUE
29 | bus_LV_2939-66_0_6_node_21 | 0.4 | n |  | TRUE
30 | bus_LV_2939-66_0_6_node_47 | 0.4 | n |  | TRUE
31 | bus_LV_2939-66_0_6_node_17 | 0.4 | n |  | TRUE
32 | bus_LV_2939-66_0_6_node_18 | 0.4 | n |  | TRUE
33 | bus_LV_2939-66_0_6_node_19 | 0.4 | n |  | TRUE
34 | bus_LV_2939-66_0_6_node_20 | 0.4 | n |  | TRUE
35 | bus_LV_2939-66_0_6_node_22 | 0.4 | n |  | TRUE
36 | bus_LV_2939-66_0_6_node_23 | 0.4 | n |  | TRUE
37 | bus_LV_2939-66_0_6_node_24 | 0.4 | n |  | TRUE
38 | bus_LV_2939-66_0_6_node_43 | 0.4 | n |  | TRUE
39 | bus_LV_2939-66_0_6_node_42 | 0.4 | n |  | TRUE
40 | bus_LV_2939-66_0_6_node_48 | 0.4 | n |  | TRUE
41 | bus_LV_2939-66_0_6_node_94 | 0.4 | n |  | TRUE
42 | bus_LV_2939-66_0_6_node_44 | 0.4 | n |  | TRUE
43 | bus_LV_2939-66_0_6_node_25 | 0.4 | n |  | TRUE
44 | bus_LV_2939-66_0_6_node_26 | 0.4 | n |  | TRUE
45 | bus_LV_2939-66_0_6_node_27 | 0.4 | n |  | TRUE
46 | bus_LV_2939-66_0_6_node_29 | 0.4 | n |  | TRUE
47 | bus_LV_2939-66_0_6_node_30 | 0.4 | n |  | TRUE
48 | bus_LV_2939-66_0_6_node_31 | 0.4 | n |  | TRUE
49 | bus_LV_2939-66_0_6_node_34 | 0.4 | n |  | TRUE
50 | bus_LV_2939-66_0_6_node_107 | 0.4 | n |  | TRUE
51 | bus_LV_2939-66_0_6_node_55 | 0.4 | n |  | TRUE
52 | bus_LV_2939-66_0_6_node_56 | 0.4 | n |  | TRUE
53 | bus_LV_2939-66_0_6_node_49 | 0.4 | n |  | TRUE
54 | bus_LV_2939-66_0_6_node_105 | 0.4 | n |  | TRUE
55 | bus_LV_2939-66_0_6_node_88 | 0.4 | n |  | TRUE
56 | bus_LV_2939-66_0_6_node_96 | 0.4 | n |  | TRUE
57 | bus_LV_2939-66_0_6_node_65 | 0.4 | n |  | TRUE
58 | bus_LV_2939-66_0_6_node_66 | 0.4 | n |  | TRUE
59 | bus_LV_2939-66_0_6_node_50 | 0.4 | n |  | TRUE
60 | bus_LV_2939-66_0_6_node_51 | 0.4 | n |  | TRUE
61 | bus_LV_2939-66_0_6_node_52 | 0.4 | n |  | TRUE
62 | bus_LV_2939-66_0_6_node_53 | 0.4 | n |  | TRUE
63 | bus_LV_2939-66_0_6_node_54 | 0.4 | n |  | TRUE
64 | bus_LV_2939-66_0_6_node_58 | 0.4 | n |  | TRUE
65 | bus_LV_2939-66_0_6_node_67 | 0.4 | n |  | TRUE
66 | bus_LV_2939-66_0_6_node_101 | 0.4 | n |  | TRUE
67 | bus_LV_2939-66_0_6_node_74 | 0.4 | n |  | TRUE
68 | bus_LV_2939-66_0_6_node_72 | 0.4 | n |  | TRUE
69 | bus_LV_2939-66_0_6_node_102 | 0.4 | n |  | TRUE
70 | bus_LV_2939-66_0_6_node_57 | 0.4 | n |  | TRUE
71 | bus_LV_2939-66_0_6_node_86 | 0.4 | n |  | TRUE
72 | bus_LV_2939-66_0_6_node_91 | 0.4 | n |  | TRUE
73 | bus_LV_2939-66_0_6_node_84 | 0.4 | n |  | TRUE
74 | bus_LV_2939-66_0_6_node_73 | 0.4 | n |  | TRUE
75 | bus_LV_2939-66_0_6_node_59 | 0.4 | n |  | TRUE
76 | bus_LV_2939-66_0_6_node_60 | 0.4 | n |  | TRUE
77 | bus_LV_2939-66_0_6_node_61 | 0.4 | n |  | TRUE
78 | bus_LV_2939-66_0_6_node_63 | 0.4 | n |  | TRUE
79 | bus_LV_2939-66_0_6_node_69 | 0.4 | n |  | TRUE
80 | bus_LV_2939-66_0_6_node_70 | 0.4 | n |  | TRUE
81 | bus_LV_2939-66_0_6_node_103 | 0.4 | n |  | TRUE
82 | bus_LV_2939-66_0_6_node_71 | 0.4 | n |  | TRUE
83 | bus_LV_2939-66_0_6_node_80 | 0.4 | n |  | TRUE
84 | bus_LV_2939-66_0_6_node_87 | 0.4 | n |  | TRUE
85 | bus_LV_2939-66_0_6_node_85 | 0.4 | n |  | TRUE
86 | bus_LV_2939-66_0_6_node_75 | 0.4 | n |  | TRUE
87 | bus_LV_2939-66_0_6_node_76 | 0.4 | n |  | TRUE
88 | bus_LV_2939-66_0_6_node_77 | 0.4 | n |  | TRUE
89 | bus_LV_2939-66_0_6_node_78 | 0.4 | n |  | TRUE
90 | bus_LV_2939-66_0_6_node_79 | 0.4 | n |  | TRUE
91 | bus_LV_2939-66_0_6_node_95 | 0.4 | n |  | TRUE
92 | bus_LV_2939-66_0_6_node_82 | 0.4 | n |  | TRUE
93 | bus_LV_2939-66_0_6_node_93 | 0.4 | n |  | TRUE
94 | bus_LV_2939-66_0_6_node_83 | 0.4 | n |  | TRUE
95 | bus_LV_2939-66_0_6_node_81 | 0.4 | n |  | TRUE
96 | bus_LV_2939-66_0_6_node_97 | 0.4 | n |  | TRUE
97 | bus_LV_2939-66_0_6_node_98 | 0.4 | n |  | TRUE
98 | bus_LV_2939-66_0_6_node_89 | 0.4 | n |  | TRUE
99 | bus_LV_2939-66_0_6_node_90 | 0.4 | n |  | TRUE
100 | bus_LV_2939-66_0_6_node_121 | 0.4 | n |  | TRUE
101 | bus_LV_2939-66_0_6_node_99 | 0.4 | n |  | TRUE
102 | bus_LV_2939-66_0_6_node_92 | 0.4 | n |  | TRUE
103 | bus_LV_2939-66_0_6_node_120 | 0.4 | n |  | TRUE
104 | bus_LV_2939-66_0_6_node_100 | 0.4 | n |  | TRUE
105 | bus_LV_2939-66_0_6_node_112 | 0.4 | n |  | TRUE
106 | bus_LV_2939-66_0_6_node_104 | 0.4 | n |  | TRUE
107 | bus_LV_2939-66_0_6_node_108 | 0.4 | n |  | TRUE
108 | bus_LV_2939-66_0_6_node_109 | 0.4 | n |  | TRUE
109 | bus_LV_2939-66_0_6_node_111 | 0.4 | n |  | TRUE
110 | bus_LV_2939-66_0_6_node_123 | 0.4 | n |  | TRUE
111 | bus_LV_2939-66_0_6_node_119 | 0.4 | n |  | TRUE
112 | bus_LV_2939-66_0_6_node_113 | 0.4 | n |  | TRUE
113 | bus_LV_2939-66_0_6_node_114 | 0.4 | n |  | TRUE
114 | bus_LV_2939-66_0_6_node_117 | 0.4 | n |  | TRUE
115 | bus_LV_2939-66_0_6_node_115 | 0.4 | n |  | TRUE
116 | bus_LV_2939-66_0_6_node_116 | 0.4 | n |  | TRUE
117 | bus_LV_2939-66_0_6_node_118 | 0.4 | n |  | TRUE
118 | bus_LV_2939-66_0_6_node_122 | 0.4 | n |  | TRUE
119 | bus_MV_579_0_node_143 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2939-66_0_6_load_0 | 0 | 0.0011026 | 0.00027635 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2939-66_0_6_load_1 | 1 | 0.0011026 | 0.00027635 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2939-66_0_6_load_3 | 3 | 0.0020669 | 0.00051801 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2939-66_0_6_load_4 | 4 | 0.0054218 | 0.0013588 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2939-66_0_6_load_36 | 5 | 0.0011026 | 0.00027635 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2939-66_0_6_load_45 | 9 | 0.0045317 | 0.0011357 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2939-66_0_6_load_33 | 11 | 0.0083686 | 0.0020974 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2939-66_0_6_load_7 | 12 | 0.0023343 | 0.00058503 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2939-66_0_6_load_37 | 13 | 0.0019921 | 0.00049926 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2939-66_0_6_load_6 | 14 | 0.0023353 | 0.00058529 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2939-66_0_6_load_8 | 15 | 0.0023337 | 0.00058488 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2939-66_0_6_load_106 | 17 | 0.0011046 | 0.00027683 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2939-66_0_6_load_11 | 19 | 0.02187 | 0.0054812 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2939-66_0_6_load_12 | 20 | 0.019114 | 0.0047905 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2939-66_0_6_load_13 | 21 | 0.038516 | 0.0096531 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2939-66_0_6_load_14 | 22 | 0.019105 | 0.0047881 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2939-66_0_6_load_15 | 23 | 0.0033301 | 0.0008346 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2939-66_0_6_load_16 | 24 | 0.022493 | 0.0056373 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2939-66_0_6_load_46 | 26 | 0.032688 | 0.0081925 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2939-66_0_6_load_40 | 27 | 0.0056811 | 0.0014238 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2939-66_0_6_load_41 | 28 | 0.002927 | 0.00073357 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2939-66_0_6_load_21 | 29 | 0.0015507 | 0.00038863 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2939-66_0_6_load_17 | 31 | 0.0011626 | 0.00029136 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2939-66_0_6_load_18 | 32 | 0.0014693 | 0.00036823 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2939-66_0_6_load_19 | 33 | 0.0014693 | 0.00036823 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2939-66_0_6_load_20 | 34 | 0.0013312 | 0.00033364 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2939-66_0_6_load_22 | 35 | 0.0013547 | 0.00033953 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2939-66_0_6_load_23 | 36 | 0.0019766 | 0.00049537 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2939-66_0_6_load_42 | 39 | 0.022495 | 0.0056379 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2939-66_0_6_load_94 | 41 | 0.0020896 | 0.0005237 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2939-66_0_6_load_44 | 42 | 0.0017534 | 0.00043945 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2939-66_0_6_load_25 | 43 | 0.0060725 | 0.0015219 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2939-66_0_6_load_26 | 44 | 0.0024416 | 0.00061193 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2939-66_0_6_load_27 | 45 | 0.0030867 | 0.0007736 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2939-66_0_6_load_29 | 46 | 0.0060725 | 0.0015219 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2939-66_0_6_load_30 | 47 | 0.002425 | 0.00060776 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2939-66_0_6_load_31 | 48 | 0.006073 | 0.001522 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2939-66_0_6_load_34 | 49 | 0.0038653 | 0.00096875 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2939-66_0_6_load_107 | 50 | 0.0010772 | 0.00026998 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2939-66_0_6_load_55 | 51 | 0.01256 | 0.0031477 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2939-66_0_6_load_56 | 52 | 0.016839 | 0.0042203 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2939-66_0_6_load_49 | 53 | 0.0032247 | 0.00080819 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2939-66_0_6_load_105 | 54 | 0.0018975 | 0.00047555 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2939-66_0_6_load_88 | 55 | 0.0089631 | 0.0022464 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2939-66_0_6_load_96 | 56 | 0.030365 | 0.0076102 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2939-66_0_6_load_65 | 57 | 0.006673 | 0.0016724 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2939-66_0_6_load_66 | 58 | 0.001912 | 0.00047918 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2939-66_0_6_load_50 | 59 | 0.034361 | 0.0086116 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2939-66_0_6_load_51 | 60 | 0.0020785 | 0.00052091 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2939-66_0_6_load_52 | 61 | 0.0028961 | 0.00072584 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2939-66_0_6_load_53 | 62 | 0.0059835 | 0.0014996 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2939-66_0_6_load_67 | 65 | 0.0051043 | 0.0012792 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2939-66_0_6_load_101 | 66 | 0.0067025 | 0.0016798 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2939-66_0_6_load_74 | 67 | 0.0023326 | 0.00058461 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2939-66_0_6_load_72 | 68 | 0.001841 | 0.0004614 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2939-66_0_6_load_57 | 70 | 0.013412 | 0.0033613 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_2939-66_0_6_load_91 | 72 | 0.00287 | 0.00071928 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_2939-66_0_6_load_84 | 73 | 0.0044438 | 0.0011137 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_2939-66_0_6_load_73 | 74 | 0.0080914 | 0.0020279 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_2939-66_0_6_load_59 | 75 | 0.0046349 | 0.0011616 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_2939-66_0_6_load_60 | 76 | 0.003303 | 0.00082781 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_2939-66_0_6_load_63 | 78 | 0.0017745 | 0.00044472 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_2939-66_0_6_load_69 | 79 | 0.0032406 | 0.00081216 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_2939-66_0_6_load_70 | 80 | 0.001869 | 0.00046842 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_2939-66_0_6_load_103 | 81 | 0.0041844 | 0.0010487 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_2939-66_0_6_load_71 | 82 | 0.0015699 | 0.00039345 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_2939-66_0_6_load_80 | 83 | 0.0022492 | 0.0005637 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_2939-66_0_6_load_87 | 84 | 0.002239 | 0.00056114 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_2939-66_0_6_load_85 | 85 | 0.0090981 | 0.0022802 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_2939-66_0_6_load_75 | 86 | 0.0040525 | 0.0010156 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_2939-66_0_6_load_76 | 87 | 0.0020541 | 0.00051481 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_2939-66_0_6_load_77 | 88 | 0.0016223 | 0.00040659 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_2939-66_0_6_load_78 | 89 | 0.0035659 | 0.0008937 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_2939-66_0_6_load_79 | 90 | 0.0013592 | 0.00034066 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_2939-66_0_6_load_95 | 91 | 0.002927 | 0.00073358 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_2939-66_0_6_load_93 | 93 | 0.0026242 | 0.00065768 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_2939-66_0_6_load_83 | 94 | 0.004191 | 0.0010504 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_2939-66_0_6_load_81 | 95 | 0.012607 | 0.0031596 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_2939-66_0_6_load_90 | 99 | 0.0014545 | 0.00036453 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_2939-66_0_6_load_121 | 100 | 0.0023102 | 0.00057898 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_2939-66_0_6_load_99 | 101 | 0.0024237 | 0.00060743 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_2939-66_0_6_load_112 | 105 | 0.0017933 | 0.00044943 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_2939-66_0_6_load_104 | 106 | 0.0064239 | 0.00161 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_2939-66_0_6_load_108 | 107 | 0.0025504 | 0.0006392 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_2939-66_0_6_load_109 | 108 | 0.0047077 | 0.0011799 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_2939-66_0_6_load_111 | 109 | 0.0044099 | 0.0011052 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_2939-66_0_6_load_123 | 110 | 0.0025942 | 0.00065016 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_2939-66_0_6_load_113 | 112 | 0.0044427 | 0.0011134 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_2939-66_0_6_load_114 | 113 | 0.0044371 | 0.001112 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_2939-66_0_6_load_115 | 115 | 0.011645 | 0.0029185 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_2939-66_0_6_load_116 | 116 | 0.010565 | 0.0026477 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_2939-66_0_6_load_118 | 117 | 0.0026353 | 0.00066046 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_2939-66_0_6_load_122 | 118 | 0.0042868 | 0.0010744 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 30 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2939-66_0_6_line_0 |  | 0 | 1 | 0.007334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2939-66_0_6_line_1 |  | 0 | 2 | 0.016227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2939-66_0_6_line_2 |  | 1 | 3 | 0.0054607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2939-66_0_6_line_3 |  | 2 | 4 | 0.0039989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2939-66_0_6_line_4 |  | 3 | 5 | 0.0017809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2939-66_0_6_line_5 |  | 4 | 6 | 0.019655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2939-66_0_6_line_6 |  | 5 | 10 | 0.010697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2939-66_0_6_line_7 |  | 6 | 11 | 0.041019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2939-66_0_6_line_8 |  | 7 | 8 | 0.017487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2939-66_0_6_line_9 |  | 7 | 9 | 0.033924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2939-66_0_6_line_10 |  | 8 | 12 | 0.020893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2939-66_0_6_line_11 |  | 9 | 13 | 0.0087052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2939-66_0_6_line_12 |  | 10 | 13 | 0.014391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2939-66_0_6_line_13 |  | 10 | 44 | 0.027251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2939-66_0_6_line_14 |  | 12 | 14 | 0.039364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2939-66_0_6_line_15 |  | 14 | 15 | 0.040344 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2939-66_0_6_line_16 |  | 16 | 17 | 0.024391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2939-66_0_6_line_17 |  | 16 | 18 | 0.03405 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2939-66_0_6_line_18 |  | 17 | 50 | 0.031743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2939-66_0_6_line_19 |  | 18 | 42 | 0.013698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2939-66_0_6_line_20 |  | 18 | 49 | 0.018368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2939-66_0_6_line_21 |  | 19 | 20 | 0.022638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
22 | LV_2939-66_0_6_line_22 |  | 19 | 21 | 0.0029989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
23 | LV_2939-66_0_6_line_23 |  | 20 | 22 | 0.0095196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
24 | LV_2939-66_0_6_line_24 |  | 21 | 23 | 0.027605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
25 | LV_2939-66_0_6_line_25 |  | 22 | 24 | 0.010743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
26 | LV_2939-66_0_6_line_26 |  | 23 | 25 | 0.019141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
27 | LV_2939-66_0_6_line_27 |  | 24 | 26 | 0.0019373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
28 | LV_2939-66_0_6_line_28 |  | 25 | 27 | 0.052887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2939-66_0_6_line_29 |  | 25 | 28 | 0.02724 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2939-66_0_6_line_30 |  | 25 | 29 | 0.011147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
31 | LV_2939-66_0_6_line_31 |  | 26 | 30 | 0.014022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
32 | LV_2939-66_0_6_line_32 |  | 27 | 51 | 0.0018843 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2939-66_0_6_line_33 |  | 29 | 33 | 0.030233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
34 | LV_2939-66_0_6_line_34 |  | 30 | 40 | 0.018057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
35 | LV_2939-66_0_6_line_35 |  | 31 | 32 | 0.0069652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
36 | LV_2939-66_0_6_line_36 |  | 31 | 33 | 0.0017207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
37 | LV_2939-66_0_6_line_37 |  | 32 | 34 | 0.01122 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2939-66_0_6_line_38 |  | 34 | 35 | 0.020243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2939-66_0_6_line_39 |  | 35 | 36 | 0.03681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2939-66_0_6_line_40 |  | 36 | 37 | 0.025393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2939-66_0_6_line_41 |  | 37 | 38 | 0.029528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2939-66_0_6_line_42 |  | 38 | 41 | 0.010002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2939-66_0_6_line_43 |  | 38 | 42 | 0.0097199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2939-66_0_6_line_44 |  | 39 | 40 | 0.0071893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2939-66_0_6_line_45 |  | 40 | 53 | 0.016275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
46 | LV_2939-66_0_6_line_46 |  | 41 | 54 | 0.013297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2939-66_0_6_line_47 |  | 43 | 44 | 0.034425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2939-66_0_6_line_48 |  | 43 | 45 | 0.0068564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2939-66_0_6_line_49 |  | 45 | 46 | 0.033353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2939-66_0_6_line_50 |  | 46 | 47 | 0.00034494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_2939-66_0_6_line_51 |  | 47 | 48 | 0.039511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2939-66_0_6_line_52 |  | 48 | 49 | 0.0017382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2939-66_0_6_line_53 |  | 51 | 52 | 0.031831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2939-66_0_6_line_54 |  | 52 | 70 | 0.0059734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2939-66_0_6_line_55 |  | 53 | 57 | 0.0047395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
56 | LV_2939-66_0_6_line_56 |  | 54 | 84 | 0.0097929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2939-66_0_6_line_57 |  | 55 | 56 | 0.0089884 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_2939-66_0_6_line_58 |  | 56 | 96 | 0.016153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_2939-66_0_6_line_59 |  | 57 | 58 | 0.020999 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
60 | LV_2939-66_0_6_line_60 |  | 58 | 74 | 0.0098741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
61 | LV_2939-66_0_6_line_61 |  | 59 | 60 | 0.0049869 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_2939-66_0_6_line_62 |  | 59 | 61 | 0.019917 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_2939-66_0_6_line_63 |  | 60 | 62 | 0.023426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_2939-66_0_6_line_64 |  | 61 | 63 | 0.019168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_2939-66_0_6_line_65 |  | 62 | 64 | 0.018819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_2939-66_0_6_line_66 |  | 63 | 65 | 0.016371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_2939-66_0_6_line_67 |  | 63 | 66 | 0.023339 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_2939-66_0_6_line_68 |  | 64 | 67 | 0.029089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_2939-66_0_6_line_69 |  | 64 | 68 | 0.00635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
70 | LV_2939-66_0_6_line_70 |  | 66 | 69 | 0.0207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_2939-66_0_6_line_71 |  | 67 | 73 | 0.019819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_2939-66_0_6_line_72 |  | 68 | 74 | 0.010967 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
73 | LV_2939-66_0_6_line_73 |  | 69 | 81 | 0.040016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_2939-66_0_6_line_74 |  | 70 | 71 | 0.021737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_2939-66_0_6_line_75 |  | 71 | 72 | 0.06026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_2939-66_0_6_line_76 |  | 72 | 102 | 0.013231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_2939-66_0_6_line_77 |  | 73 | 85 | 0.014255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_2939-66_0_6_line_78 |  | 75 | 76 | 0.030426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_2939-66_0_6_line_79 |  | 75 | 77 | 0.014046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_2939-66_0_6_line_80 |  | 77 | 78 | 0.030712 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_2939-66_0_6_line_81 |  | 78 | 79 | 0.009143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_2939-66_0_6_line_82 |  | 79 | 80 | 0.01079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_2939-66_0_6_line_83 |  | 80 | 82 | 0.021925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_2939-66_0_6_line_84 |  | 82 | 83 | 0.00064784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_2939-66_0_6_line_85 |  | 83 | 84 | 0.01654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_2939-66_0_6_line_86 |  | 85 | 98 | 0.029005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_2939-66_0_6_line_87 |  | 85 | 99 | 0.0089567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_2939-66_0_6_line_88 |  | 86 | 87 | 0.0090535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_2939-66_0_6_line_89 |  | 86 | 88 | 0.013851 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_2939-66_0_6_line_90 |  | 87 | 89 | 0.013338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_2939-66_0_6_line_91 |  | 88 | 90 | 0.0079998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_2939-66_0_6_line_92 |  | 89 | 91 | 0.003389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_2939-66_0_6_line_93 |  | 90 | 92 | 0.0166 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_2939-66_0_6_line_94 |  | 91 | 93 | 0.017448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_2939-66_0_6_line_95 |  | 92 | 94 | 0.00013329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_2939-66_0_6_line_96 |  | 92 | 95 | 0.060068 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_2939-66_0_6_line_97 |  | 93 | 102 | 0.019508 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_2939-66_0_6_line_98 |  | 96 | 97 | 0.0113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_2939-66_0_6_line_99 |  | 97 | 104 | 0.012273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_2939-66_0_6_line_100 |  | 97 | 105 | 0.012122 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_2939-66_0_6_line_101 |  | 98 | 100 | 0.11418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_2939-66_0_6_line_102 |  | 99 | 101 | 0.017787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_2939-66_0_6_line_103 |  | 100 | 103 | 0.010916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_2939-66_0_6_line_104 |  | 101 | 104 | 0.027176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_2939-66_0_6_line_105 |  | 103 | 118 | 0.025497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_2939-66_0_6_line_106 |  | 103 | 117 | 0.052661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_2939-66_0_6_line_107 |  | 104 | 106 | 0.005711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_2939-66_0_6_line_108 |  | 107 | 108 | 0.0050324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_2939-66_0_6_line_109 |  | 108 | 109 | 0.017049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
110 | LV_2939-66_0_6_line_110 |  | 109 | 110 | 0.035872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
111 | LV_2939-66_0_6_line_111 |  | 110 | 111 | 0.062245 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
112 | LV_2939-66_0_6_line_112 |  | 111 | 114 | 0.015963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
113 | LV_2939-66_0_6_line_113 |  | 111 | 113 | 0.026838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
114 | LV_2939-66_0_6_line_114 |  | 112 | 113 | 0.018128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
115 | LV_2939-66_0_6_line_115 |  | 114 | 115 | 0.062086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
116 | LV_2939-66_0_6_line_116 |  | 115 | 116 | 0.050755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
117 | LV_2939-66_0_6_line_117 |  | 116 | 117 | 0.042518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2939-66_0_6_trafo_47 | 0.63 MVA 20/0.4 kV | 119 | 30 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2689794.4897 | 1284840.0219 | 2689798.1642 | 1284846.369
1 | 2689786.3595 | 1284825.9785 | 2689794.4897 | 1284840.0219
2 | 2689798.1642 | 1284846.369 | 2689800.9002 | 1284851.0949
3 | 2689786.3595 | 1284825.9785 | 2689784.131 | 1284822.658
4 | 2689801.7925 | 1284852.6361 | 2689800.9002 | 1284851.0949
5 | 2689773.1779 | 1284806.3383 | 2689784.131 | 1284822.658
6 | 2689807.1517 | 1284861.8933 | 2689801.7925 | 1284852.6361
7 | 2689773.1779 | 1284806.3383 | 2689796.5757 | 1284791.9933 | 2689797.856 | 1284778.4801
8 | 2689761.9897 | 1284896.7023 | 2689772.1659 | 1284907.1776 | 2689774.1989 | 1284909.2214
9 | 2689761.9897 | 1284896.7023 | 2689788.8586 | 1284875.9929
10 | 2689774.1989 | 1284909.2214 | 2689788.1811 | 1284924.7463
11 | 2689788.8586 | 1284875.9929 | 2689795.7535 | 1284870.6786
12 | 2689807.1517 | 1284861.8933 | 2689795.7535 | 1284870.6786
13 | 2689807.1517 | 1284861.8933 | 2689823.9094 | 1284883.3828
14 | 2689814.1561 | 1284954.3132 | 2689807.0003 | 1284945.6419 | 2689788.1811 | 1284924.7463
15 | 2689814.1561 | 1284954.3132 | 2689839.8344 | 1284985.4298
16 | 2689881.7926 | 1285012.8409 | 2689905.2673 | 1285014.5671 | 2689906.114 | 1285014.6693
17 | 2689881.7926 | 1285012.8409 | 2689906.678 | 1284989.5223
18 | 2689906.114 | 1285014.6693 | 2689923.0985 | 1285016.7189 | 2689931.5131 | 1285022.0964 | 2689935.1439 | 1285025.0007
19 | 2689906.678 | 1284989.5223 | 2689917.5014 | 1284981.1272
20 | 2689906.678 | 1284989.5223 | 2689895.3829 | 1284975.0378
21 | 2689914.0191 | 1284847.2039 | 2689927.5715 | 1284858.9937 | 2689931.0809 | 1284862.0818
22 | 2689914.0191 | 1284847.2039 | 2689911.7566 | 1284845.2357
23 | 2689938.2276 | 1284868.3705 | 2689931.0809 | 1284862.0818
24 | 2689911.7566 | 1284845.2357 | 2689903.1483 | 1284837.747 | 2689890.6031 | 1284827.5042
25 | 2689938.2276 | 1284868.3705 | 2689944.7029 | 1284874.0683 | 2689946.4388 | 1284875.2819
26 | 2689875.7767 | 1284815.3989 | 2689890.6031 | 1284827.5042
27 | 2689946.4388 | 1284875.2819 | 2689948.0265 | 1284876.3919
28 | 2689875.7767 | 1284815.3989 | 2689876.9183 | 1284808.9662 | 2689895.714 | 1284797.643 | 2689897.2763 | 1284790.6941 | 2689891.1158 | 1284774.5407
29 | 2689875.7767 | 1284815.3989 | 2689860.0287 | 1284802.1249 | 2689855.2418 | 1284797.5182
30 | 2689875.7767 | 1284815.3989 | 2689872.2867 | 1284822.7521 | 2689874.4714 | 1284824.8197
31 | 2689960.7175 | 1284882.1532 | 2689956.2288 | 1284880.6834 | 2689950.7038 | 1284878.2636 | 2689948.0265 | 1284876.3919
32 | 2689890.4444 | 1284772.7801 | 2689891.1158 | 1284774.5407
33 | 2689874.4714 | 1284824.8197 | 2689880.7663 | 1284830.7773 | 2689888.7247 | 1284850.8206
34 | 2689960.7175 | 1284882.1532 | 2689958.8234 | 1284894.1125 | 2689958.8076 | 1284900.0619
35 | 2689891.9301 | 1284858.8934 | 2689889.3597 | 1284852.4198
36 | 2689888.7247 | 1284850.8206 | 2689889.3597 | 1284852.4198
37 | 2689891.9301 | 1284858.8934 | 2689896.0707 | 1284869.3214
38 | 2689896.0707 | 1284869.3214 | 2689903.5412 | 1284888.1359
39 | 2689917.1255 | 1284922.3478 | 2689903.5412 | 1284888.1359
40 | 2689925.8947 | 1284946.1777 | 2689917.5865 | 1284923.5089 | 2689917.1255 | 1284922.3478
41 | 2689925.1817 | 1284975.1699 | 2689928.3206 | 1284960.8275 | 2689925.8947 | 1284946.1777
42 | 2689925.1817 | 1284975.1699 | 2689932.0208 | 1284982.4679
43 | 2689925.1817 | 1284975.1699 | 2689917.5014 | 1284981.1272
44 | 2689958.8076 | 1284900.0619 | 2689953.4651 | 1284904.8727
45 | 2689958.8076 | 1284900.0619 | 2689962.4643 | 1284907.3463 | 2689968.1528 | 1284913.1468
46 | 2689932.0208 | 1284982.4679 | 2689941.1134 | 1284992.1707
47 | 2689823.9094 | 1284883.3828 | 2689845.0788 | 1284910.5296
48 | 2689849.295 | 1284915.9364 | 2689845.0788 | 1284910.5296
49 | 2689849.295 | 1284915.9364 | 2689869.8053 | 1284942.238
50 | 2689869.8053 | 1284942.238 | 2689870.0174 | 1284942.51
51 | 2689870.0174 | 1284942.51 | 2689894.314 | 1284973.6671
52 | 2689895.3829 | 1284975.0378 | 2689894.314 | 1284973.6671
53 | 2689890.4444 | 1284772.7801 | 2689879.1018 | 1284743.0386
54 | 2689879.1018 | 1284743.0386 | 2689876.9733 | 1284737.4574
55 | 2689968.1528 | 1284913.1468 | 2689971.4712 | 1284916.5306
56 | 2689941.1134 | 1284992.1707 | 2689947.8097 | 1284999.3163
57 | 2690006.4383 | 1284860.9489 | 2689999.3673 | 1284866.4979
58 | 2690019.1781 | 1284851.0187 | 2690009.447 | 1284858.5878 | 2690006.4383 | 1284860.9489
59 | 2689986.1744 | 1284931.5234 | 2689971.4712 | 1284916.5306
60 | 2689993.088 | 1284938.5732 | 2689986.1744 | 1284931.5234
61 | 2690033.8378 | 1284988.5077 | 2690030.8155 | 1284984.5409
62 | 2690033.8378 | 1284988.5077 | 2690045.9082 | 1285004.3504
63 | 2690030.8155 | 1284984.5409 | 2690016.6182 | 1284965.9066
64 | 2690062.4954 | 1285006.6165 | 2690056.3661 | 1285008.8693 | 2690049.2598 | 1285008.7495 | 2690045.9082 | 1285004.3504
65 | 2690005.2131 | 1284950.9371 | 2690016.6182 | 1284965.9066
66 | 2690062.4954 | 1285006.6165 | 2690071.427 | 1285020.336
67 | 2690062.4954 | 1285006.6165 | 2690082.6676 | 1284994.8786
68 | 2690005.2131 | 1284950.9371 | 2690029.919 | 1284935.5812
69 | 2690005.2131 | 1284950.9371 | 2690000.767 | 1284946.4034
70 | 2690100.5592 | 1284984.4679 | 2690082.6676 | 1284994.8786
71 | 2690029.919 | 1284935.5812 | 2690046.7515 | 1284925.119
72 | 2690000.767 | 1284946.4034 | 2689993.088 | 1284938.5732
73 | 2690100.5592 | 1284984.4679 | 2690118 | 1285020.4833
74 | 2689878.4496 | 1284717.9879 | 2689876.6014 | 1284718.5825 | 2689873.8559 | 1284729.2833 | 2689876.9733 | 1284737.4574
75 | 2689878.4496 | 1284717.9879 | 2689935.5414 | 1284698.7074
76 | 2689948.0769 | 1284694.4741 | 2689935.5414 | 1284698.7074
77 | 2690058.8581 | 1284917.5942 | 2690046.7515 | 1284925.119
78 | 2690013.0626 | 1285065.5773 | 2690026.8902 | 1285058.9516 | 2690040.0394 | 1285051.5423
79 | 2690000.3956 | 1285071.6469 | 2690013.0626 | 1285065.5773
80 | 2690000.3956 | 1285071.6469 | 2689989.9791 | 1285054.3505 | 2689984.1598 | 1285045.5856
81 | 2689979.1026 | 1285037.9685 | 2689984.1598 | 1285045.5856
82 | 2689979.1026 | 1285037.9685 | 2689973.1344 | 1285028.9793
83 | 2689973.1344 | 1285028.9793 | 2689967.1243 | 1285019.927 | 2689959.5623 | 1285011.8576
84 | 2689959.1193 | 1285011.3848 | 2689959.5623 | 1285011.8576
85 | 2689959.1193 | 1285011.3848 | 2689947.8097 | 1284999.3163
86 | 2690074.4791 | 1284942.0654 | 2690058.8581 | 1284917.5942
87 | 2690058.8581 | 1284917.5942 | 2690054.2009 | 1284909.9435
88 | 2689971.895 | 1284752.5117 | 2689968.3927 | 1284744.1631
89 | 2689971.895 | 1284752.5117 | 2689977.2532 | 1284765.2844
90 | 2689963.3236 | 1284731.8262 | 2689967.1569 | 1284741.2173 | 2689968.3927 | 1284744.1631
91 | 2689977.2532 | 1284765.2844 | 2689980.3479 | 1284772.6614
92 | 2689963.3236 | 1284731.8262 | 2689962.0428 | 1284728.6885
93 | 2689986.7694 | 1284787.9686 | 2689980.3479 | 1284772.6614
94 | 2689955.4491 | 1284712.5349 | 2689962.0428 | 1284728.6885
95 | 2689986.7694 | 1284787.9686 | 2689986.8267 | 1284788.089
96 | 2689986.7694 | 1284787.9686 | 2689933.2946 | 1284815.3292
97 | 2689948.0769 | 1284694.4741 | 2689955.4491 | 1284712.5349
98 | 2690024.7927 | 1284860.8352 | 2690019.1781 | 1284851.0187
99 | 2690024.7927 | 1284860.8352 | 2690030.8216 | 1284871.5367
100 | 2690024.7927 | 1284860.8352 | 2690029.8559 | 1284857.6209 | 2690027.6841 | 1284851.8943
101 | 2690074.4791 | 1284942.0654 | 2690080.8191 | 1284939.7826 | 2690125.4968 | 1285004.8782 | 2690128.2235 | 1285003.274 | 2690129.0049 | 1284986.0598 | 2690136.174 | 1284982.3118
102 | 2690054.2009 | 1284909.9435 | 2690044.9522 | 1284894.7501
103 | 2690145.848 | 1284977.2542 | 2690136.174 | 1284982.3118
104 | 2690030.8216 | 1284871.5367 | 2690044.9522 | 1284894.7501
105 | 2690145.848 | 1284977.2542 | 2690156.0408 | 1285000.6257
106 | 2690145.848 | 1284977.2542 | 2690127.1218 | 1284942.8488 | 2690121.3807 | 1284930.6414
107 | 2690030.8216 | 1284871.5367 | 2690034.6028 | 1284867.2463
108 | 2689991.5281 | 1284672.1932 | 2689993.6101 | 1284674.841 | 2689994.3395 | 1284676.3367
109 | 2689994.3395 | 1284676.3367 | 2690001.8121 | 1284691.6606
110 | 2690001.8121 | 1284691.6606 | 2690017.5349 | 1284723.9029
111 | 2690045.3897 | 1284779.3454 | 2690040.7556 | 1284773.6362 | 2690026.6166 | 1284742.5264 | 2690017.5349 | 1284723.9029
112 | 2690057.6869 | 1284789.0306 | 2690054.5793 | 1284784.6126 | 2690045.3897 | 1284779.3454
113 | 2690045.3897 | 1284779.3454 | 2690037.7806 | 1284784.1111 | 2690035.0248 | 1284788.5951 | 2690035.1469 | 1284795.8255 | 2690036.5242 | 1284801.0112
114 | 2690041.1776 | 1284818.5314 | 2690036.5242 | 1284801.0112
115 | 2690057.6869 | 1284789.0306 | 2690066.755 | 1284809.5983 | 2690083.1377 | 1284845.6595
116 | 2690083.1377 | 1284845.6595 | 2690087.6395 | 1284855.5688 | 2690090.8251 | 1284865.6708 | 2690103.2857 | 1284892.1658
117 | 2690103.2857 | 1284892.1658 | 2690121.3807 | 1284930.6414

## bus_geodata
| x | y | coords
0 | 2689794.4897 | 1284840.0219
1 | 2689798.1642 | 1284846.369
2 | 2689786.3595 | 1284825.9785
3 | 2689800.9002 | 1284851.0949
4 | 2689784.131 | 1284822.658
5 | 2689801.7925 | 1284852.6361
6 | 2689773.1779 | 1284806.3383
7 | 2689761.9897 | 1284896.7023
8 | 2689774.1989 | 1284909.2214
9 | 2689788.8586 | 1284875.9929
10 | 2689807.1517 | 1284861.8933
11 | 2689797.856 | 1284778.4801
12 | 2689788.1811 | 1284924.7463
13 | 2689795.7535 | 1284870.6786
14 | 2689814.1561 | 1284954.3132
15 | 2689839.8344 | 1284985.4298
16 | 2689881.7926 | 1285012.8409
17 | 2689906.114 | 1285014.6693
18 | 2689906.678 | 1284989.5223
19 | 2689914.0191 | 1284847.2039
20 | 2689931.0809 | 1284862.0818
21 | 2689911.7566 | 1284845.2357
22 | 2689938.2276 | 1284868.3705
23 | 2689890.6031 | 1284827.5042
24 | 2689946.4388 | 1284875.2819
25 | 2689875.7767 | 1284815.3989
26 | 2689948.0265 | 1284876.3919
27 | 2689891.1158 | 1284774.5407
28 | 2689855.2418 | 1284797.5182
29 | 2689874.4714 | 1284824.8197
30 | 2689960.7175 | 1284882.1532
31 | 2689889.3597 | 1284852.4198
32 | 2689891.9301 | 1284858.8934
33 | 2689888.7247 | 1284850.8206
34 | 2689896.0707 | 1284869.3214
35 | 2689903.5412 | 1284888.1359
36 | 2689917.1255 | 1284922.3478
37 | 2689925.8947 | 1284946.1777
38 | 2689925.1817 | 1284975.1699
39 | 2689953.4651 | 1284904.8727
40 | 2689958.8076 | 1284900.0619
41 | 2689932.0208 | 1284982.4679
42 | 2689917.5014 | 1284981.1272
43 | 2689845.0788 | 1284910.5296
44 | 2689823.9094 | 1284883.3828
45 | 2689849.295 | 1284915.9364
46 | 2689869.8053 | 1284942.238
47 | 2689870.0174 | 1284942.51
48 | 2689894.314 | 1284973.6671
49 | 2689895.3829 | 1284975.0378
50 | 2689935.1439 | 1285025.0007
51 | 2689890.4444 | 1284772.7801
52 | 2689879.1018 | 1284743.0386
53 | 2689968.1528 | 1284913.1468
54 | 2689941.1134 | 1284992.1707
55 | 2689999.3673 | 1284866.4979
56 | 2690006.4383 | 1284860.9489
57 | 2689971.4712 | 1284916.5306
58 | 2689986.1744 | 1284931.5234
59 | 2690033.8378 | 1284988.5077
60 | 2690030.8155 | 1284984.5409
61 | 2690045.9082 | 1285004.3504
62 | 2690016.6182 | 1284965.9066
63 | 2690062.4954 | 1285006.6165
64 | 2690005.2131 | 1284950.9371
65 | 2690071.427 | 1285020.336
66 | 2690082.6676 | 1284994.8786
67 | 2690029.919 | 1284935.5812
68 | 2690000.767 | 1284946.4034
69 | 2690100.5592 | 1284984.4679
70 | 2689876.9733 | 1284737.4574
71 | 2689878.4496 | 1284717.9879
72 | 2689935.5414 | 1284698.7074
73 | 2690046.7515 | 1284925.119
74 | 2689993.088 | 1284938.5732
75 | 2690013.0626 | 1285065.5773
76 | 2690040.0394 | 1285051.5423
77 | 2690000.3956 | 1285071.6469
78 | 2689984.1598 | 1285045.5856
79 | 2689979.1026 | 1285037.9685
80 | 2689973.1344 | 1285028.9793
81 | 2690118 | 1285020.4833
82 | 2689959.5623 | 1285011.8576
83 | 2689959.1193 | 1285011.3848
84 | 2689947.8097 | 1284999.3163
85 | 2690058.8581 | 1284917.5942
86 | 2689971.895 | 1284752.5117
87 | 2689968.3927 | 1284744.1631
88 | 2689977.2532 | 1284765.2844
89 | 2689963.3236 | 1284731.8262
90 | 2689980.3479 | 1284772.6614
91 | 2689962.0428 | 1284728.6885
92 | 2689986.7694 | 1284787.9686
93 | 2689955.4491 | 1284712.5349
94 | 2689986.8267 | 1284788.089
95 | 2689933.2946 | 1284815.3292
96 | 2690019.1781 | 1284851.0187
97 | 2690024.7927 | 1284860.8352
98 | 2690074.4791 | 1284942.0654
99 | 2690054.2009 | 1284909.9435
100 | 2690136.174 | 1284982.3118
101 | 2690044.9522 | 1284894.7501
102 | 2689948.0769 | 1284694.4741
103 | 2690145.848 | 1284977.2542
104 | 2690030.8216 | 1284871.5367
105 | 2690027.6841 | 1284851.8943
106 | 2690034.6028 | 1284867.2463
107 | 2689991.5281 | 1284672.1932
108 | 2689994.3395 | 1284676.3367
109 | 2690001.8121 | 1284691.6606
110 | 2690017.5349 | 1284723.9029
111 | 2690045.3897 | 1284779.3454
112 | 2690041.1776 | 1284818.5314
113 | 2690036.5242 | 1284801.0112
114 | 2690057.6869 | 1284789.0306
115 | 2690083.1377 | 1284845.6595
116 | 2690103.2857 | 1284892.1658
117 | 2690121.3807 | 1284930.6414
118 | 2690156.0408 | 1285000.6257
119 | 2689958.8076 | 1284900.0619

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1