## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2939-67_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2939-67_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2939-67_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2939-67_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2939-67_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2939-67_0_6_node_45 | 0.4 | n |  | TRUE
6 | bus_LV_2939-67_0_6_node_47 | 0.4 | n |  | TRUE
7 | bus_LV_2939-67_0_6_node_48 | 0.4 | n |  | TRUE
8 | bus_LV_2939-67_0_6_node_43 | 0.4 | n |  | TRUE
9 | bus_LV_2939-67_0_6_node_8 | 0.4 | n |  | TRUE
10 | bus_LV_2939-67_0_6_node_5 | 0.4 | n |  | TRUE
11 | bus_LV_2939-67_0_6_node_10 | 0.4 | n |  | TRUE
12 | bus_LV_2939-67_0_6_node_6 | 0.4 | n |  | TRUE
13 | bus_LV_2939-67_0_6_node_11 | 0.4 | n |  | TRUE
14 | bus_LV_2939-67_0_6_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_2939-67_0_6_node_65 | 0.4 | n |  | TRUE
16 | bus_LV_2939-67_0_6_node_7 | 0.4 | n |  | TRUE
17 | bus_LV_2939-67_0_6_node_66 | 0.4 | n |  | TRUE
18 | bus_LV_2939-67_0_6_node_67 | 0.4 | n |  | TRUE
19 | bus_LV_2939-67_0_6_node_12 | 0.4 | n |  | TRUE
20 | bus_LV_2939-67_0_6_node_14 | 0.4 | n |  | TRUE
21 | bus_LV_2939-67_0_6_node_15 | 0.4 | n |  | TRUE
22 | bus_LV_2939-67_0_6_node_26 | 0.4 | n |  | TRUE
23 | bus_LV_2939-67_0_6_node_27 | 0.4 | n |  | TRUE
24 | bus_LV_2939-67_0_6_node_25 | 0.4 | n |  | TRUE
25 | bus_LV_2939-67_0_6_node_28 | 0.4 | n |  | TRUE
26 | bus_LV_2939-67_0_6_node_16 | 0.4 | n |  | TRUE
27 | bus_LV_2939-67_0_6_node_17 | 0.4 | n |  | TRUE
28 | bus_LV_2939-67_0_6_node_18 | 0.4 | n |  | TRUE
29 | bus_LV_2939-67_0_6_node_19 | 0.4 | n |  | TRUE
30 | bus_LV_2939-67_0_6_node_20 | 0.4 | n |  | TRUE
31 | bus_LV_2939-67_0_6_node_22 | 0.4 | n |  | TRUE
32 | bus_LV_2939-67_0_6_node_62 | 0.4 | n |  | TRUE
33 | bus_LV_2939-67_0_6_node_23 | 0.4 | n |  | TRUE
34 | bus_LV_2939-67_0_6_node_24 | 0.4 | n |  | TRUE
35 | bus_LV_2939-67_0_6_node_61 | 0.4 | n |  | TRUE
36 | bus_LV_2939-67_0_6_node_81 | 0.4 | n |  | TRUE
37 | bus_LV_2939-67_0_6_node_76 | 0.4 | n |  | TRUE
38 | bus_LV_2939-67_0_6_node_29 | 0.4 | n |  | TRUE
39 | bus_LV_2939-67_0_6_node_30 | 0.4 | n |  | TRUE
40 | bus_LV_2939-67_0_6_node_33 | 0.4 | n |  | TRUE
41 | bus_LV_2939-67_0_6_node_35 | 0.4 | n |  | TRUE
42 | bus_LV_2939-67_0_6_node_36 | 0.4 | n |  | TRUE
43 | bus_LV_2939-67_0_6_node_37 | 0.4 | n |  | TRUE
44 | bus_LV_2939-67_0_6_node_38 | 0.4 | n |  | TRUE
45 | bus_LV_2939-67_0_6_node_49 | 0.4 | n |  | TRUE
46 | bus_LV_2939-67_0_6_node_39 | 0.4 | n |  | TRUE
47 | bus_LV_2939-67_0_6_node_40 | 0.4 | n |  | TRUE
48 | bus_LV_2939-67_0_6_node_41 | 0.4 | n |  | TRUE
49 | bus_LV_2939-67_0_6_node_50 | 0.4 | n |  | TRUE
50 | bus_LV_2939-67_0_6_node_51 | 0.4 | n |  | TRUE
51 | bus_LV_2939-67_0_6_node_46 | 0.4 | n |  | TRUE
52 | bus_LV_2939-67_0_6_node_53 | 0.4 | n |  | TRUE
53 | bus_LV_2939-67_0_6_node_44 | 0.4 | n |  | TRUE
54 | bus_LV_2939-67_0_6_node_52 | 0.4 | n |  | TRUE
55 | bus_LV_2939-67_0_6_node_42 | 0.4 | n |  | TRUE
56 | bus_LV_2939-67_0_6_node_83 | 0.4 | n |  | TRUE
57 | bus_LV_2939-67_0_6_node_56 | 0.4 | n |  | TRUE
58 | bus_LV_2939-67_0_6_node_54 | 0.4 | n |  | TRUE
59 | bus_LV_2939-67_0_6_node_55 | 0.4 | n |  | TRUE
60 | bus_LV_2939-67_0_6_node_57 | 0.4 | n |  | TRUE
61 | bus_LV_2939-67_0_6_node_58 | 0.4 | n |  | TRUE
62 | bus_LV_2939-67_0_6_node_59 | 0.4 | n |  | TRUE
63 | bus_LV_2939-67_0_6_node_60 | 0.4 | n |  | TRUE
64 | bus_LV_2939-67_0_6_node_78 | 0.4 | n |  | TRUE
65 | bus_LV_2939-67_0_6_node_77 | 0.4 | n |  | TRUE
66 | bus_LV_2939-67_0_6_node_63 | 0.4 | n |  | TRUE
67 | bus_LV_2939-67_0_6_node_64 | 0.4 | n |  | TRUE
68 | bus_LV_2939-67_0_6_node_73 | 0.4 | n |  | TRUE
69 | bus_LV_2939-67_0_6_node_74 | 0.4 | n |  | TRUE
70 | bus_LV_2939-67_0_6_node_75 | 0.4 | n |  | TRUE
71 | bus_LV_2939-67_0_6_node_80 | 0.4 | n |  | TRUE
72 | bus_LV_2939-67_0_6_node_79 | 0.4 | n |  | TRUE
73 | bus_LV_2939-67_0_6_node_68 | 0.4 | n |  | TRUE
74 | bus_LV_2939-67_0_6_node_69 | 0.4 | n |  | TRUE
75 | bus_LV_2939-67_0_6_node_70 | 0.4 | n |  | TRUE
76 | bus_LV_2939-67_0_6_node_72 | 0.4 | n |  | TRUE
77 | bus_MV_579_0_node_42 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2939-67_0_6_load_0 | 0 | 0.0082292 | 0.0020624 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2939-67_0_6_load_1 | 1 | 0.0089011 | 0.0022308 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2939-67_0_6_load_3 | 3 | 0.0076831 | 0.0019256 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2939-67_0_6_load_47 | 6 | 0.010622 | 0.0026621 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2939-67_0_6_load_48 | 7 | 0.013806 | 0.00346 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2939-67_0_6_load_43 | 8 | 0.014827 | 0.0037161 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2939-67_0_6_load_5 | 10 | 0.0080975 | 0.0020294 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2939-67_0_6_load_6 | 12 | 0.0073047 | 0.0018307 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2939-67_0_6_load_11 | 13 | 0.0026175 | 0.000656 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2939-67_0_6_load_7 | 16 | 0.0070596 | 0.0017693 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2939-67_0_6_load_66 | 17 | 0.012263 | 0.0030734 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2939-67_0_6_load_12 | 19 | 0.0018466 | 0.00046281 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2939-67_0_6_load_15 | 21 | 0.0083595 | 0.0020951 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2939-67_0_6_load_26 | 22 | 0.0026264 | 0.00065824 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2939-67_0_6_load_27 | 23 | 0.0019379 | 0.00048569 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2939-67_0_6_load_25 | 24 | 0.001361 | 0.0003411 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2939-67_0_6_load_28 | 25 | 0.0066426 | 0.0016648 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2939-67_0_6_load_16 | 26 | 0.0026171 | 0.0006559 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2939-67_0_6_load_17 | 27 | 0.001521 | 0.0003812 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2939-67_0_6_load_19 | 29 | 0.001437 | 0.00036014 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2939-67_0_6_load_20 | 30 | 0.0060083 | 0.0015058 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2939-67_0_6_load_62 | 32 | 0.0069286 | 0.0017365 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2939-67_0_6_load_23 | 33 | 0.011776 | 0.0029513 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2939-67_0_6_load_24 | 34 | 0.0039582 | 0.00099201 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2939-67_0_6_load_61 | 35 | 0.0084539 | 0.0021188 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2939-67_0_6_load_81 | 36 | 0.042173 | 0.01057 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2939-67_0_6_load_29 | 38 | 0.0025016 | 0.00062696 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2939-67_0_6_load_30 | 39 | 0.0029921 | 0.00074989 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2939-67_0_6_load_33 | 40 | 0.0075952 | 0.0019035 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2939-67_0_6_load_35 | 41 | 0.0054805 | 0.0013735 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2939-67_0_6_load_37 | 43 | 0.032111 | 0.0080477 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2939-67_0_6_load_38 | 44 | 0.020825 | 0.0052192 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2939-67_0_6_load_41 | 48 | 0.0065795 | 0.001649 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2939-67_0_6_load_50 | 49 | 0.0094887 | 0.0023781 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2939-67_0_6_load_46 | 51 | 0.0034057 | 0.00085355 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2939-67_0_6_load_44 | 53 | 0.0040312 | 0.0010103 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2939-67_0_6_load_52 | 54 | 0.0092693 | 0.0023231 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2939-67_0_6_load_42 | 55 | 0.01272 | 0.0031878 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2939-67_0_6_load_83 | 56 | 0.018266 | 0.0045779 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2939-67_0_6_load_56 | 57 | 0.018266 | 0.004578 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2939-67_0_6_load_55 | 59 | 0.0085262 | 0.0021369 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2939-67_0_6_load_57 | 60 | 0.0036669 | 0.000919 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2939-67_0_6_load_58 | 61 | 0.018266 | 0.0045779 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2939-67_0_6_load_59 | 62 | 0.0015052 | 0.00037724 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2939-67_0_6_load_60 | 63 | 0.0042772 | 0.001072 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2939-67_0_6_load_78 | 64 | 0.0097331 | 0.0024393 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2939-67_0_6_load_77 | 65 | 0.0026406 | 0.0006618 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2939-67_0_6_load_63 | 66 | 0.0066207 | 0.0016593 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2939-67_0_6_load_73 | 68 | 0.0024146 | 0.00060515 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2939-67_0_6_load_74 | 69 | 0.0077638 | 0.0019458 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2939-67_0_6_load_80 | 71 | 0.0073591 | 0.0018444 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2939-67_0_6_load_79 | 72 | 0.0014223 | 0.00035647 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2939-67_0_6_load_68 | 73 | 0.012317 | 0.0030869 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2939-67_0_6_load_69 | 74 | 0.015108 | 0.0037865 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2939-67_0_6_load_72 | 76 | 0.017595 | 0.0044097 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 54 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2939-67_0_6_line_0 |  | 0 | 1 | 0.020436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2939-67_0_6_line_1 |  | 0 | 2 | 0.026977 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2939-67_0_6_line_2 |  | 1 | 3 | 0.0015789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2939-67_0_6_line_3 |  | 2 | 4 | 0.005425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2939-67_0_6_line_4 |  | 3 | 9 | 0.029658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2939-67_0_6_line_5 |  | 4 | 5 | 0.06578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2939-67_0_6_line_6 |  | 5 | 6 | 0.062137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2939-67_0_6_line_7 |  | 5 | 7 | 0.13418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2939-67_0_6_line_8 |  | 5 | 8 | 0.046481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
9 | LV_2939-67_0_6_line_9 |  | 6 | 15 | 0.029547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2939-67_0_6_line_10 |  | 8 | 55 | 0.016314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
11 | LV_2939-67_0_6_line_11 |  | 9 | 11 | 0.019411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2939-67_0_6_line_12 |  | 9 | 12 | 0.044241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2939-67_0_6_line_13 |  | 10 | 11 | 0.045991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2939-67_0_6_line_14 |  | 12 | 16 | 0.01715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2939-67_0_6_line_15 |  | 13 | 14 | 0.0036544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2939-67_0_6_line_16 |  | 14 | 16 | 0.035068 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2939-67_0_6_line_17 |  | 15 | 17 | 0.026461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2939-67_0_6_line_18 |  | 15 | 18 | 0.030637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2939-67_0_6_line_19 |  | 18 | 71 | 0.071263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2939-67_0_6_line_20 |  | 19 | 20 | 0.021578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2939-67_0_6_line_21 |  | 20 | 21 | 0.00936 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2939-67_0_6_line_22 |  | 21 | 22 | 0.064927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2939-67_0_6_line_23 |  | 22 | 23 | 0.0051003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2939-67_0_6_line_24 |  | 22 | 24 | 0.011897 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2939-67_0_6_line_25 |  | 23 | 25 | 0.020546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2939-67_0_6_line_26 |  | 24 | 33 | 0.0095393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2939-67_0_6_line_27 |  | 26 | 27 | 0.020248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2939-67_0_6_line_28 |  | 26 | 28 | 0.070162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2939-67_0_6_line_29 |  | 27 | 29 | 0.0049171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2939-67_0_6_line_30 |  | 28 | 30 | 0.03191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2939-67_0_6_line_31 |  | 29 | 31 | 0.037465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2939-67_0_6_line_32 |  | 30 | 32 | 0.0293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2939-67_0_6_line_33 |  | 31 | 33 | 0.026267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2939-67_0_6_line_34 |  | 31 | 34 | 0.019671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2939-67_0_6_line_35 |  | 32 | 35 | 0.017415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2939-67_0_6_line_36 |  | 34 | 38 | 0.025057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2939-67_0_6_line_37 |  | 35 | 66 | 0.001675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2939-67_0_6_line_38 |  | 36 | 37 | 0.029047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2939-67_0_6_line_39 |  | 37 | 70 | 0.088452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2939-67_0_6_line_40 |  | 38 | 39 | 0.021434 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2939-67_0_6_line_41 |  | 39 | 40 | 0.019506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2939-67_0_6_line_42 |  | 41 | 42 | 0.0070327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2939-67_0_6_line_43 |  | 42 | 43 | 0.035123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2939-67_0_6_line_44 |  | 42 | 44 | 0.069396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2939-67_0_6_line_45 |  | 44 | 45 | 0.043205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2939-67_0_6_line_46 |  | 45 | 49 | 0.02127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2939-67_0_6_line_47 |  | 45 | 50 | 0.024255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2939-67_0_6_line_48 |  | 46 | 47 | 0.00626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2939-67_0_6_line_49 |  | 46 | 48 | 0.005821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2939-67_0_6_line_50 |  | 47 | 51 | 0.054769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
51 | LV_2939-67_0_6_line_51 |  | 47 | 52 | 0.021596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
52 | LV_2939-67_0_6_line_52 |  | 50 | 56 | 0.033483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2939-67_0_6_line_53 |  | 51 | 53 | 0.0044617 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
54 | LV_2939-67_0_6_line_54 |  | 52 | 54 | 0.0020863 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
55 | LV_2939-67_0_6_line_55 |  | 53 | 55 | 0.0001028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
56 | LV_2939-67_0_6_line_56 |  | 54 | 58 | 0.025684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
57 | LV_2939-67_0_6_line_57 |  | 56 | 57 | 0.00038278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_2939-67_0_6_line_58 |  | 57 | 58 | 0.041099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_2939-67_0_6_line_59 |  | 58 | 59 | 0.016484 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
60 | LV_2939-67_0_6_line_60 |  | 59 | 60 | 0.0047845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
61 | LV_2939-67_0_6_line_61 |  | 60 | 61 | 0.015698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
62 | LV_2939-67_0_6_line_62 |  | 61 | 62 | 0.0075097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
63 | LV_2939-67_0_6_line_63 |  | 62 | 63 | 0.011489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
64 | LV_2939-67_0_6_line_64 |  | 63 | 64 | 0.026611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
65 | LV_2939-67_0_6_line_65 |  | 64 | 65 | 0.001248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
66 | LV_2939-67_0_6_line_66 |  | 65 | 69 | 0.0099639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_2939-67_0_6_line_67 |  | 66 | 67 | 0.0243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_2939-67_0_6_line_68 |  | 67 | 68 | 0.010738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_2939-67_0_6_line_69 |  | 67 | 69 | 0.018861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_2939-67_0_6_line_70 |  | 68 | 70 | 0.053078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_2939-67_0_6_line_71 |  | 71 | 72 | 0.020465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_2939-67_0_6_line_72 |  | 72 | 76 | 0.028111 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_2939-67_0_6_line_73 |  | 73 | 74 | 0.026798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_2939-67_0_6_line_74 |  | 73 | 75 | 0.025402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_2939-67_0_6_line_75 |  | 75 | 76 | 0.026087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2939-67_0_6_trafo_52 | 0.63 MVA 20/0.4 kV | 77 | 54 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2689640.9489 | 1285110.5591 | 2689660.3671 | 1285104.1912
1 | 2689623.2583 | 1285124.8123 | 2689623.3876 | 1285116.318 | 2689640.9489 | 1285110.5591
2 | 2689661.8674 | 1285103.6992 | 2689660.3671 | 1285104.1912
3 | 2689618.1413 | 1285126.6583 | 2689623.2583 | 1285124.8123
4 | 2689690.0491 | 1285094.4575 | 2689661.8674 | 1285103.6992
5 | 2689553.5522 | 1285139.1207 | 2689618.1413 | 1285126.6583
6 | 2689553.5522 | 1285139.1207 | 2689558.0618 | 1285152.5343 | 2689574.5821 | 1285192.4869 | 2689577.8078 | 1285195.9766
7 | 2689553.5522 | 1285139.1207 | 2689535.2033 | 1285087.6191 | 2689508.0055 | 1285012.9056
8 | 2689553.5522 | 1285139.1207 | 2689540.8474 | 1285147.8464 | 2689536.6345 | 1285149.4727 | 2689518.3899 | 1285151.8198 | 2689512.5183 | 1285157.4823
9 | 2689597.8642 | 1285217.674 | 2689577.8078 | 1285195.9766
10 | 2689500.7753 | 1285168.8074 | 2689512.5183 | 1285157.4823
11 | 2689690.0491 | 1285094.4575 | 2689694.7686 | 1285113.2902
12 | 2689690.0491 | 1285094.4575 | 2689669.8666 | 1285078.1584 | 2689651.6235 | 1285079.5809
13 | 2689694.7686 | 1285113.2902 | 2689668.8169 | 1285133.2794 | 2689657.8468 | 1285140.6802
14 | 2689651.6235 | 1285079.5809 | 2689634.5255 | 1285080.9142
15 | 2689614.4547 | 1285065.0929 | 2689614.6732 | 1285068.7408
16 | 2689614.4547 | 1285065.0929 | 2689619.5718 | 1285063.2469 | 2689623.9289 | 1285081.7404 | 2689634.5255 | 1285080.9142
17 | 2689597.8642 | 1285217.674 | 2689590.953 | 1285229.4125 | 2689599.9168 | 1285238.6458
18 | 2689597.8642 | 1285217.674 | 2689608.4172 | 1285228.5217 | 2689620.1889 | 1285238.6874
19 | 2689620.1889 | 1285238.6874 | 2689625.4746 | 1285253.8588 | 2689622.0921 | 1285271.9343 | 2689600.1605 | 1285300.5591 | 2689599.7002 | 1285301.1471
20 | 2689269.1515 | 1285191.6404 | 2689253.7112 | 1285206.7143
21 | 2689269.1515 | 1285191.6404 | 2689276.0657 | 1285197.9729
22 | 2689326.0894 | 1285156.5825 | 2689276.0657 | 1285197.9729
23 | 2689326.0894 | 1285156.5825 | 2689323.3018 | 1285152.3114
24 | 2689326.0894 | 1285156.5825 | 2689328.8759 | 1285160.8518 | 2689334.8161 | 1285164.1581
25 | 2689323.3018 | 1285152.3114 | 2689312.0723 | 1285135.1059
26 | 2689343.1512 | 1285168.7974 | 2689334.8161 | 1285164.1581
27 | 2689373.3245 | 1285231.8039 | 2689372.0601 | 1285211.5957
28 | 2689400.5929 | 1285294.812 | 2689388.0107 | 1285278.1955 | 2689380.9842 | 1285265.9226 | 2689376.586 | 1285253.5562 | 2689373.8834 | 1285240.7374 | 2689373.3245 | 1285231.8039
29 | 2689371.7531 | 1285206.6882 | 2689372.0601 | 1285211.5957
30 | 2689400.5929 | 1285294.812 | 2689414.4021 | 1285308.2221 | 2689418.5103 | 1285311.9989 | 2689423.3411 | 1285315.642 | 2689424.1636 | 1285316.2628
31 | 2689369.4136 | 1285169.2961 | 2689371.7531 | 1285206.6882
32 | 2689448.1756 | 1285333.0119 | 2689436.5123 | 1285325.5839 | 2689424.1636 | 1285316.2628
33 | 2689369.4136 | 1285169.2961 | 2689343.1512 | 1285168.7974
34 | 2689369.4136 | 1285169.2961 | 2689367.9076 | 1285154.7828 | 2689367.3848 | 1285149.7295
35 | 2689463.4668 | 1285341.3466 | 2689448.1756 | 1285333.0119 | 2689448.1756 | 1285333.0119
36 | 2689367.3848 | 1285149.7295 | 2689364.8059 | 1285124.8056
37 | 2689463.4668 | 1285341.3466 | 2689464.9376 | 1285342.1482
38 | 2689376.4073 | 1285382.0102 | 2689378.2772 | 1285378.4799 | 2689373.6723 | 1285357.4917 | 2689372.314 | 1285354.1963
39 | 2689376.4073 | 1285382.0102 | 2689388.7578 | 1285381.7418 | 2689396.728 | 1285382.2742 | 2689411.7478 | 1285383.1696 | 2689432.6039 | 1285389.6918 | 2689447.3961 | 1285395.6882 | 2689459.6281 | 1285405.1933
40 | 2689362.5999 | 1285103.4852 | 2689364.8059 | 1285124.8056
41 | 2689362.5999 | 1285103.4852 | 2689360.5924 | 1285084.0828
42 | 2689403.9543 | 1285119.4098 | 2689401.2995 | 1285112.8973
43 | 2689403.9543 | 1285119.4098 | 2689416.2953 | 1285152.2932
44 | 2689403.9543 | 1285119.4098 | 2689401.1912 | 1285159.514 | 2689402.0193 | 1285188.6989
45 | 2689403.2447 | 1285231.8861 | 2689402.0193 | 1285188.6989
46 | 2689403.2447 | 1285231.8861 | 2689418.094 | 1285230.6882 | 2689424.4384 | 1285230.0893
47 | 2689405.505 | 1285256.0304 | 2689403.3182 | 1285234.4562 | 2689403.2447 | 1285231.8861
48 | 2689458.0164 | 1285205.4943 | 2689457.0619 | 1285203.111 | 2689457.7026 | 1285199.4731
49 | 2689458.7054 | 1285193.7389 | 2689457.7026 | 1285199.4731
50 | 2689458.0164 | 1285205.4943 | 2689466.5792 | 1285205.5688 | 2689478.2391 | 1285196.9383 | 2689489.68 | 1285179.5079 | 2689497.4897 | 1285171.9761
51 | 2689458.0164 | 1285205.4943 | 2689463.5838 | 1285219.4465 | 2689466.7686 | 1285225.211
52 | 2689405.505 | 1285256.0304 | 2689438.862 | 1285253.1247
53 | 2689500.7013 | 1285168.8788 | 2689497.4897 | 1285171.9761
54 | 2689466.7686 | 1285225.211 | 2689467.7767 | 1285227.0376
55 | 2689500.7013 | 1285168.8788 | 2689500.7753 | 1285168.8074
56 | 2689480.187 | 1285249.5249 | 2689467.7767 | 1285227.0376
57 | 2689439.2433 | 1285253.0915 | 2689438.862 | 1285253.1247
58 | 2689480.187 | 1285249.5249 | 2689439.2433 | 1285253.0915
59 | 2689480.187 | 1285249.5249 | 2689488.1583 | 1285263.9539
60 | 2689488.1583 | 1285263.9539 | 2689490.4719 | 1285268.1418 | 2689490.4719 | 1285268.1418
61 | 2689495.3219 | 1285283.0722 | 2689490.4719 | 1285268.1418
62 | 2689495.3219 | 1285283.0722 | 2689497.6419 | 1285290.2144
63 | 2689498.8544 | 1285301.639 | 2689497.6419 | 1285290.2144 | 2689497.6419 | 1285290.2144
64 | 2689499.6004 | 1285328.1223 | 2689500.5241 | 1285317.3708 | 2689498.8544 | 1285301.639
65 | 2689499.6004 | 1285328.1223 | 2689499.4936 | 1285329.3657 | 2689499.4936 | 1285329.3657
66 | 2689494.946 | 1285338.2313 | 2689499.4936 | 1285329.3657
67 | 2689485.6969 | 1285354.656 | 2689482.562 | 1285352.0284 | 2689478.7549 | 1285349.6796 | 2689464.9376 | 1285342.1482
68 | 2689485.6969 | 1285354.656 | 2689488.3125 | 1285359.8447 | 2689489.1769 | 1285364.6954
69 | 2689485.6969 | 1285354.656 | 2689491.0937 | 1285345.7413 | 2689494.946 | 1285338.2313
70 | 2689459.6281 | 1285405.1933 | 2689480.7949 | 1285388.2999 | 2689486.3596 | 1285381.1782 | 2689489.4872 | 1285370.9501 | 2689489.1769 | 1285364.6954
71 | 2689599.7002 | 1285301.1471 | 2689587.0848 | 1285317.2619
72 | 2689569.7568 | 1285339.3966 | 2689587.0848 | 1285317.2619
73 | 2689538.5095 | 1285380.3154 | 2689522.5093 | 1285401.813
74 | 2689553.6762 | 1285359.9378 | 2689538.5095 | 1285380.3154
75 | 2689553.6762 | 1285359.9378 | 2689569.7568 | 1285339.3966

## bus_geodata
| x | y | coords
0 | 2689640.9489 | 1285110.5591
1 | 2689660.3671 | 1285104.1912
2 | 2689623.2583 | 1285124.8123
3 | 2689661.8674 | 1285103.6992
4 | 2689618.1413 | 1285126.6583
5 | 2689553.5522 | 1285139.1207
6 | 2689577.8078 | 1285195.9766
7 | 2689508.0055 | 1285012.9056
8 | 2689512.5183 | 1285157.4823
9 | 2689690.0491 | 1285094.4575
10 | 2689657.8468 | 1285140.6802
11 | 2689694.7686 | 1285113.2902
12 | 2689651.6235 | 1285079.5809
13 | 2689614.6732 | 1285068.7408
14 | 2689614.4547 | 1285065.0929
15 | 2689597.8642 | 1285217.674
16 | 2689634.5255 | 1285080.9142
17 | 2689599.9168 | 1285238.6458
18 | 2689620.1889 | 1285238.6874
19 | 2689253.7112 | 1285206.7143
20 | 2689269.1515 | 1285191.6404
21 | 2689276.0657 | 1285197.9729
22 | 2689326.0894 | 1285156.5825
23 | 2689323.3018 | 1285152.3114
24 | 2689334.8161 | 1285164.1581
25 | 2689312.0723 | 1285135.1059
26 | 2689373.3245 | 1285231.8039
27 | 2689372.0601 | 1285211.5957
28 | 2689400.5929 | 1285294.812
29 | 2689371.7531 | 1285206.6882
30 | 2689424.1636 | 1285316.2628
31 | 2689369.4136 | 1285169.2961
32 | 2689448.1756 | 1285333.0119
33 | 2689343.1512 | 1285168.7974
34 | 2689367.3848 | 1285149.7295
35 | 2689463.4668 | 1285341.3466
36 | 2689372.314 | 1285354.1963
37 | 2689376.4073 | 1285382.0102
38 | 2689364.8059 | 1285124.8056
39 | 2689362.5999 | 1285103.4852
40 | 2689360.5924 | 1285084.0828
41 | 2689401.2995 | 1285112.8973
42 | 2689403.9543 | 1285119.4098
43 | 2689416.2953 | 1285152.2932
44 | 2689402.0193 | 1285188.6989
45 | 2689403.2447 | 1285231.8861
46 | 2689457.7026 | 1285199.4731
47 | 2689458.0164 | 1285205.4943
48 | 2689458.7054 | 1285193.7389
49 | 2689424.4384 | 1285230.0893
50 | 2689405.505 | 1285256.0304
51 | 2689497.4897 | 1285171.9761
52 | 2689466.7686 | 1285225.211
53 | 2689500.7013 | 1285168.8788
54 | 2689467.7767 | 1285227.0376
55 | 2689500.7753 | 1285168.8074
56 | 2689438.862 | 1285253.1247
57 | 2689439.2433 | 1285253.0915
58 | 2689480.187 | 1285249.5249
59 | 2689488.1583 | 1285263.9539
60 | 2689490.4719 | 1285268.1418
61 | 2689495.3219 | 1285283.0722
62 | 2689497.6419 | 1285290.2144
63 | 2689498.8544 | 1285301.639
64 | 2689499.6004 | 1285328.1223
65 | 2689499.4936 | 1285329.3657
66 | 2689464.9376 | 1285342.1482
67 | 2689485.6969 | 1285354.656
68 | 2689489.1769 | 1285364.6954
69 | 2689494.946 | 1285338.2313
70 | 2689459.6281 | 1285405.1933
71 | 2689599.7002 | 1285301.1471
72 | 2689587.0848 | 1285317.2619
73 | 2689538.5095 | 1285380.3154
74 | 2689522.5093 | 1285401.813
75 | 2689553.6762 | 1285359.9378
76 | 2689569.7568 | 1285339.3966
77 | 2689466.7686 | 1285225.211

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1