## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2939-70_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2939-70_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2939-70_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2939-70_0_4_node_74 | 0.4 | n |  | TRUE
4 | bus_LV_2939-70_0_4_node_3 | 0.4 | n |  | TRUE
5 | bus_LV_2939-70_0_4_node_9 | 0.4 | n |  | TRUE
6 | bus_LV_2939-70_0_4_node_75 | 0.4 | n |  | TRUE
7 | bus_LV_2939-70_0_4_node_77 | 0.4 | n |  | TRUE
8 | bus_LV_2939-70_0_4_node_10 | 0.4 | n |  | TRUE
9 | bus_LV_2939-70_0_4_node_8 | 0.4 | n |  | TRUE
10 | bus_LV_2939-70_0_4_node_5 | 0.4 | n |  | TRUE
11 | bus_LV_2939-70_0_4_node_6 | 0.4 | n |  | TRUE
12 | bus_LV_2939-70_0_4_node_14 | 0.4 | n |  | TRUE
13 | bus_LV_2939-70_0_4_node_13 | 0.4 | n |  | TRUE
14 | bus_LV_2939-70_0_4_node_17 | 0.4 | n |  | TRUE
15 | bus_LV_2939-70_0_4_node_57 | 0.4 | n |  | TRUE
16 | bus_LV_2939-70_0_4_node_34 | 0.4 | n |  | TRUE
17 | bus_LV_2939-70_0_4_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_2939-70_0_4_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_2939-70_0_4_node_81 | 0.4 | n |  | TRUE
20 | bus_LV_2939-70_0_4_node_82 | 0.4 | n |  | TRUE
21 | bus_LV_2939-70_0_4_node_79 | 0.4 | n |  | TRUE
22 | bus_LV_2939-70_0_4_node_28 | 0.4 | n |  | TRUE
23 | bus_LV_2939-70_0_4_node_76 | 0.4 | n |  | TRUE
24 | bus_LV_2939-70_0_4_node_39 | 0.4 | n |  | TRUE
25 | bus_LV_2939-70_0_4_node_35 | 0.4 | n |  | TRUE
26 | bus_LV_2939-70_0_4_node_19 | 0.4 | n |  | TRUE
27 | bus_LV_2939-70_0_4_node_15 | 0.4 | n |  | TRUE
28 | bus_LV_2939-70_0_4_node_58 | 0.4 | n |  | TRUE
29 | bus_LV_2939-70_0_4_node_32 | 0.4 | n |  | TRUE
30 | bus_LV_2939-70_0_4_node_16 | 0.4 | n |  | TRUE
31 | bus_LV_2939-70_0_4_node_18 | 0.4 | n |  | TRUE
32 | bus_LV_2939-70_0_4_node_56 | 0.4 | n |  | TRUE
33 | bus_LV_2939-70_0_4_node_20 | 0.4 | n |  | TRUE
34 | bus_LV_2939-70_0_4_node_69 | 0.4 | n |  | TRUE
35 | bus_LV_2939-70_0_4_node_55 | 0.4 | n |  | TRUE
36 | bus_LV_2939-70_0_4_node_22 | 0.4 | n |  | TRUE
37 | bus_LV_2939-70_0_4_node_21 | 0.4 | n |  | TRUE
38 | bus_LV_2939-70_0_4_node_47 | 0.4 | n |  | TRUE
39 | bus_LV_2939-70_0_4_node_24 | 0.4 | n |  | TRUE
40 | bus_LV_2939-70_0_4_node_45 | 0.4 | n |  | TRUE
41 | bus_LV_2939-70_0_4_node_26 | 0.4 | n |  | TRUE
42 | bus_LV_2939-70_0_4_node_46 | 0.4 | n |  | TRUE
43 | bus_LV_2939-70_0_4_node_27 | 0.4 | n |  | TRUE
44 | bus_LV_2939-70_0_4_node_61 | 0.4 | n |  | TRUE
45 | bus_LV_2939-70_0_4_node_54 | 0.4 | n |  | TRUE
46 | bus_LV_2939-70_0_4_node_53 | 0.4 | n |  | TRUE
47 | bus_LV_2939-70_0_4_node_65 | 0.4 | n |  | TRUE
48 | bus_LV_2939-70_0_4_node_62 | 0.4 | n |  | TRUE
49 | bus_LV_2939-70_0_4_node_83 | 0.4 | n |  | TRUE
50 | bus_LV_2939-70_0_4_node_36 | 0.4 | n |  | TRUE
51 | bus_LV_2939-70_0_4_node_29 | 0.4 | n |  | TRUE
52 | bus_LV_2939-70_0_4_node_30 | 0.4 | n |  | TRUE
53 | bus_LV_2939-70_0_4_node_31 | 0.4 | n |  | TRUE
54 | bus_LV_2939-70_0_4_node_33 | 0.4 | n |  | TRUE
55 | bus_LV_2939-70_0_4_node_37 | 0.4 | n |  | TRUE
56 | bus_LV_2939-70_0_4_node_38 | 0.4 | n |  | TRUE
57 | bus_LV_2939-70_0_4_node_52 | 0.4 | n |  | TRUE
58 | bus_LV_2939-70_0_4_node_67 | 0.4 | n |  | TRUE
59 | bus_LV_2939-70_0_4_node_50 | 0.4 | n |  | TRUE
60 | bus_LV_2939-70_0_4_node_59 | 0.4 | n |  | TRUE
61 | bus_LV_2939-70_0_4_node_60 | 0.4 | n |  | TRUE
62 | bus_LV_2939-70_0_4_node_51 | 0.4 | n |  | TRUE
63 | bus_LV_2939-70_0_4_node_40 | 0.4 | n |  | TRUE
64 | bus_LV_2939-70_0_4_node_41 | 0.4 | n |  | TRUE
65 | bus_LV_2939-70_0_4_node_43 | 0.4 | n |  | TRUE
66 | bus_LV_2939-70_0_4_node_48 | 0.4 | n |  | TRUE
67 | bus_LV_2939-70_0_4_node_66 | 0.4 | n |  | TRUE
68 | bus_LV_2939-70_0_4_node_49 | 0.4 | n |  | TRUE
69 | bus_LV_2939-70_0_4_node_68 | 0.4 | n |  | TRUE
70 | bus_LV_2939-70_0_4_node_72 | 0.4 | n |  | TRUE
71 | bus_LV_2939-70_0_4_node_73 | 0.4 | n |  | TRUE
72 | bus_LV_2939-70_0_4_node_70 | 0.4 | n |  | TRUE
73 | bus_LV_2939-70_0_4_node_63 | 0.4 | n |  | TRUE
74 | bus_LV_2939-70_0_4_node_78 | 0.4 | n |  | TRUE
75 | bus_LV_2939-70_0_4_node_80 | 0.4 | n |  | TRUE
76 | bus_MV_579_0_node_52 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2939-70_0_4_load_0 | 0 | 0.0051923 | 0.0013013 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2939-70_0_4_load_1 | 1 | 0.0063875 | 0.0016009 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2939-70_0_4_load_2 | 2 | 0.0045648 | 0.001144 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2939-70_0_4_load_74 | 3 | 0.0016537 | 0.00041445 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2939-70_0_4_load_3 | 4 | 0.0061493 | 0.0015412 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2939-70_0_4_load_77 | 7 | 0.006037 | 0.001513 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2939-70_0_4_load_10 | 8 | 0.0055002 | 0.0013785 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2939-70_0_4_load_5 | 10 | 0.014384 | 0.0036049 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2939-70_0_4_load_6 | 11 | 0.0089055 | 0.0022319 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2939-70_0_4_load_14 | 12 | 0.013553 | 0.0033968 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2939-70_0_4_load_57 | 15 | 0.0067714 | 0.0016971 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2939-70_0_4_load_34 | 16 | 0.013839 | 0.0034683 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2939-70_0_4_load_11 | 17 | 0.0032761 | 0.00082106 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2939-70_0_4_load_12 | 18 | 0.015108 | 0.0037863 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2939-70_0_4_load_82 | 20 | 0.025594 | 0.0064144 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2939-70_0_4_load_79 | 21 | 0.043746 | 0.010964 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2939-70_0_4_load_76 | 23 | 0.0053683 | 0.0013454 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2939-70_0_4_load_39 | 24 | 0.00050182 | 0.00012577 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2939-70_0_4_load_35 | 25 | 0.0023777 | 0.0005959 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2939-70_0_4_load_19 | 26 | 0.0094911 | 0.0023787 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2939-70_0_4_load_15 | 27 | 0.0094873 | 0.0023778 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2939-70_0_4_load_58 | 28 | 0.0065672 | 0.0016459 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2939-70_0_4_load_32 | 29 | 0.018365 | 0.0046027 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2939-70_0_4_load_16 | 30 | 0.0018627 | 0.00046683 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2939-70_0_4_load_55 | 35 | 0.0010175 | 0.000255 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2939-70_0_4_load_22 | 36 | 0.011844 | 0.0029683 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2939-70_0_4_load_47 | 38 | 0.0084445 | 0.0021164 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2939-70_0_4_load_45 | 40 | 0.0044706 | 0.0011204 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2939-70_0_4_load_61 | 44 | 0.0051282 | 0.0012853 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2939-70_0_4_load_54 | 45 | 0.0012149 | 0.00030447 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2939-70_0_4_load_53 | 46 | 0.00096608 | 0.00024212 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2939-70_0_4_load_65 | 47 | 0.0038873 | 0.00097425 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2939-70_0_4_load_62 | 48 | 0.0010997 | 0.00027562 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2939-70_0_4_load_83 | 49 | 0.00099263 | 0.00024878 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2939-70_0_4_load_29 | 51 | 0.018099 | 0.0045361 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2939-70_0_4_load_30 | 52 | 0.0065883 | 0.0016512 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2939-70_0_4_load_31 | 53 | 0.014485 | 0.0036304 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2939-70_0_4_load_33 | 54 | 0.008864 | 0.0022215 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2939-70_0_4_load_37 | 55 | 0.0061656 | 0.0015452 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2939-70_0_4_load_38 | 56 | 0.0037872 | 0.00094915 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2939-70_0_4_load_67 | 58 | 0.002733 | 0.00068495 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2939-70_0_4_load_60 | 61 | 0.0015085 | 0.00037807 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2939-70_0_4_load_51 | 62 | 0.00048931 | 0.00012263 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2939-70_0_4_load_40 | 63 | 0.0019517 | 0.00048915 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2939-70_0_4_load_41 | 64 | 0.006075 | 0.0015225 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2939-70_0_4_load_43 | 65 | 0.0031115 | 0.00077982 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2939-70_0_4_load_48 | 66 | 0.012462 | 0.0031233 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2939-70_0_4_load_49 | 68 | 0.010987 | 0.0027535 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2939-70_0_4_load_68 | 69 | 0.017401 | 0.0043611 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2939-70_0_4_load_73 | 71 | 0.001414 | 0.00035437 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2939-70_0_4_load_63 | 73 | 0.00129 | 0.0003233 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2939-70_0_4_load_78 | 74 | 0.0095485 | 0.0023931 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2939-70_0_4_load_80 | 75 | 0.0034781 | 0.0008717 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 52 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2939-70_0_4_line_0 |  | 0 | 1 | 0.030524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2939-70_0_4_line_1 |  | 0 | 2 | 0.023324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2939-70_0_4_line_2 |  | 1 | 3 | 0.019448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2939-70_0_4_line_3 |  | 3 | 6 | 0.018886 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
4 | LV_2939-70_0_4_line_4 |  | 3 | 7 | 0.11375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
5 | LV_2939-70_0_4_line_5 |  | 4 | 5 | 0.014933 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
6 | LV_2939-70_0_4_line_6 |  | 4 | 6 | 0.018793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
7 | LV_2939-70_0_4_line_7 |  | 5 | 8 | 0.018589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2939-70_0_4_line_8 |  | 5 | 9 | 0.064986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
9 | LV_2939-70_0_4_line_9 |  | 7 | 74 | 0.0026622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2939-70_0_4_line_10 |  | 9 | 12 | 0.03035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
11 | LV_2939-70_0_4_line_11 |  | 9 | 11 | 0.028026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2939-70_0_4_line_12 |  | 10 | 11 | 0.051101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2939-70_0_4_line_13 |  | 12 | 16 | 0.022958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
14 | LV_2939-70_0_4_line_14 |  | 13 | 14 | 0.031381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2939-70_0_4_line_15 |  | 13 | 15 | 0.0079305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2939-70_0_4_line_16 |  | 14 | 26 | 0.026822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2939-70_0_4_line_17 |  | 14 | 27 | 0.024329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2939-70_0_4_line_18 |  | 15 | 28 | 0.034775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2939-70_0_4_line_19 |  | 16 | 29 | 0.022609 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
20 | LV_2939-70_0_4_line_20 |  | 17 | 18 | 0.010538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2939-70_0_4_line_21 |  | 18 | 22 | 0.059195 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2939-70_0_4_line_22 |  | 18 | 23 | 0.016406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2939-70_0_4_line_23 |  | 19 | 20 | 0.044059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2939-70_0_4_line_24 |  | 19 | 21 | 0.02235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2939-70_0_4_line_25 |  | 20 | 74 | 0.090116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2939-70_0_4_line_26 |  | 21 | 75 | 0.16873 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2939-70_0_4_line_27 |  | 22 | 24 | 0.017027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2939-70_0_4_line_28 |  | 22 | 25 | 0.025996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2939-70_0_4_line_29 |  | 24 | 49 | 0.017744 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2939-70_0_4_line_30 |  | 25 | 50 | 0.020502 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2939-70_0_4_line_31 |  | 26 | 33 | 0.02337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2939-70_0_4_line_32 |  | 27 | 30 | 0.027701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2939-70_0_4_line_33 |  | 28 | 37 | 0.0052807 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2939-70_0_4_line_34 |  | 29 | 52 | 0.0088986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
35 | LV_2939-70_0_4_line_35 |  | 30 | 31 | 0.011857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2939-70_0_4_line_36 |  | 31 | 32 | 0.060192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2939-70_0_4_line_37 |  | 32 | 34 | 0.018737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2939-70_0_4_line_38 |  | 32 | 35 | 0.01114 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2939-70_0_4_line_39 |  | 33 | 36 | 0.026367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2939-70_0_4_line_40 |  | 34 | 69 | 0.006249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2939-70_0_4_line_41 |  | 35 | 46 | 0.007269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2939-70_0_4_line_42 |  | 37 | 38 | 0.030778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2939-70_0_4_line_43 |  | 38 | 39 | 0.017641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
44 | LV_2939-70_0_4_line_44 |  | 39 | 40 | 0.01261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
45 | LV_2939-70_0_4_line_45 |  | 40 | 41 | 0.017595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
46 | LV_2939-70_0_4_line_46 |  | 41 | 42 | 0.004355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
47 | LV_2939-70_0_4_line_47 |  | 41 | 43 | 0.050128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2939-70_0_4_line_48 |  | 42 | 47 | 0.030014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
49 | LV_2939-70_0_4_line_49 |  | 43 | 44 | 0.026855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2939-70_0_4_line_50 |  | 44 | 48 | 0.020768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_2939-70_0_4_line_51 |  | 45 | 46 | 0.013986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2939-70_0_4_line_52 |  | 47 | 67 | 0.011302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
53 | LV_2939-70_0_4_line_53 |  | 48 | 73 | 0.017431 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2939-70_0_4_line_54 |  | 50 | 56 | 0.016926 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
55 | LV_2939-70_0_4_line_55 |  | 50 | 55 | 0.016387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
56 | LV_2939-70_0_4_line_56 |  | 51 | 52 | 0.033274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
57 | LV_2939-70_0_4_line_57 |  | 51 | 53 | 0.0054575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
58 | LV_2939-70_0_4_line_58 |  | 53 | 54 | 0.04277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
59 | LV_2939-70_0_4_line_59 |  | 54 | 55 | 0.033762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
60 | LV_2939-70_0_4_line_60 |  | 56 | 57 | 0.035145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
61 | LV_2939-70_0_4_line_61 |  | 57 | 58 | 0.028765 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
62 | LV_2939-70_0_4_line_62 |  | 57 | 59 | 0.00673 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_2939-70_0_4_line_63 |  | 58 | 67 | 0.011855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
64 | LV_2939-70_0_4_line_64 |  | 59 | 66 | 0.020714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_2939-70_0_4_line_65 |  | 59 | 65 | 0.022323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_2939-70_0_4_line_66 |  | 60 | 61 | 0.037073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_2939-70_0_4_line_67 |  | 60 | 62 | 0.016198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_2939-70_0_4_line_68 |  | 62 | 68 | 0.024032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_2939-70_0_4_line_69 |  | 63 | 64 | 0.013336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_2939-70_0_4_line_70 |  | 64 | 65 | 0.014189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_2939-70_0_4_line_71 |  | 66 | 68 | 0.0041671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_2939-70_0_4_line_72 |  | 69 | 72 | 0.02397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_2939-70_0_4_line_73 |  | 70 | 71 | 0.037503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_2939-70_0_4_line_74 |  | 70 | 72 | 0.020806 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2939-70_0_4_trafo_30 | 0.63 MVA 20/0.4 kV | 76 | 52 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2690355.9091 | 1285234.5817 | 2690366.7851 | 1285239.968 | 2690383.6188 | 1285247.3648
1 | 2690355.9091 | 1285234.5817 | 2690352.1626 | 1285232.7263 | 2690335.3239 | 1285223.62
2 | 2690383.6188 | 1285247.3648 | 2690394.5368 | 1285231.2709
3 | 2690410.1763 | 1285241.8574 | 2690394.5368 | 1285231.2709
4 | 2690394.5368 | 1285231.2709 | 2690453.0168 | 1285133.7081
5 | 2690427.1614 | 1285266.3061 | 2690413.4634 | 1285260.3604
6 | 2690413.4634 | 1285260.3604 | 2690410.1763 | 1285241.8574
7 | 2690427.1614 | 1285266.3061 | 2690444.159 | 1285273.8308
8 | 2690427.1614 | 1285266.3061 | 2690402.4975 | 1285326.4582
9 | 2690455.577 | 1285134.4378 | 2690453.0168 | 1285133.7081
10 | 2690402.4975 | 1285326.4582 | 2690430.7797 | 1285337.4686
11 | 2690402.4975 | 1285326.4582 | 2690380.5402 | 1285315.9344 | 2690377.3719 | 1285314.0688
12 | 2690334.3459 | 1285286.5842 | 2690352.1108 | 1285299.1948 | 2690377.3719 | 1285314.0688
13 | 2690430.7797 | 1285337.4686 | 2690434.2586 | 1285338.823 | 2690452.4945 | 1285344.9088
14 | 2690458.4123 | 1285401.293 | 2690441.1446 | 1285427.5287
15 | 2690458.4123 | 1285401.293 | 2690465.4755 | 1285404.899
16 | 2690441.1446 | 1285427.5287 | 2690463.7609 | 1285441.9491
17 | 2690441.1446 | 1285427.5287 | 2690421.495 | 1285413.1839
18 | 2690465.4755 | 1285404.899 | 2690496.4475 | 1285420.7116
19 | 2690473.9406 | 1285352.0658 | 2690452.4945 | 1285344.9088
20 | 2690570.3661 | 1285330.8587 | 2690579.896 | 1285335.3563
21 | 2690633.0012 | 1285361.5074 | 2690582.0651 | 1285336.38 | 2690579.896 | 1285335.3563
22 | 2690579.896 | 1285335.3563 | 2690591.4895 | 1285323.7486
23 | 2690580.7904 | 1285107.493 | 2690537.844 | 1285097.6546
24 | 2690580.7904 | 1285107.493 | 2690602.4079 | 1285113.1682
25 | 2690537.844 | 1285097.6546 | 2690455.577 | 1285134.4378
26 | 2690602.4079 | 1285113.1682 | 2690613.2794 | 1285116.0222 | 2690695.2698 | 1285151.8038 | 2690752.0255 | 1285178.779 | 2690756.37 | 1285181.6244
27 | 2690633.0012 | 1285361.5074 | 2690648.3111 | 1285368.9592
28 | 2690633.0012 | 1285361.5074 | 2690617.9923 | 1285382.7326
29 | 2690648.3111 | 1285368.9592 | 2690662.3722 | 1285358.1361
30 | 2690606.1552 | 1285399.4723 | 2690617.9923 | 1285382.7326
31 | 2690483.4657 | 1285454.5132 | 2690463.7609 | 1285441.9491
32 | 2690399.1217 | 1285396.8506 | 2690421.495 | 1285413.1839
33 | 2690501.1507 | 1285423.1128 | 2690496.4475 | 1285420.7116
34 | 2690473.9406 | 1285352.0658 | 2690482.3815 | 1285354.8828
35 | 2690389.5453 | 1285389.8595 | 2690399.1217 | 1285396.8506
36 | 2690389.5453 | 1285389.8595 | 2690366.9032 | 1285373.598 | 2690358.1474 | 1285374.8648 | 2690353.9678 | 1285378.2259 | 2690342.8039 | 1285392.6229
37 | 2690327.7244 | 1285381.4375 | 2690342.8039 | 1285392.6229
38 | 2690342.8039 | 1285392.6229 | 2690351.5898 | 1285399.4713
39 | 2690483.4657 | 1285454.5132 | 2690506.7176 | 1285466.945
40 | 2690327.7244 | 1285381.4375 | 2690323.0922 | 1285377.2431
41 | 2690357.3229 | 1285403.94 | 2690351.5898 | 1285399.4713
42 | 2690501.1507 | 1285423.1128 | 2690502.7592 | 1285423.9382 | 2690529.8728 | 1285434.1424
43 | 2690546.3834 | 1285440.3561 | 2690529.8728 | 1285434.1424
44 | 2690546.3834 | 1285440.3561 | 2690558.3919 | 1285444.2029
45 | 2690575.604 | 1285445.5875 | 2690565.3462 | 1285446.4306 | 2690558.3919 | 1285444.2029
46 | 2690575.604 | 1285445.5875 | 2690577.0883 | 1285443.7532 | 2690578.9461 | 1285443.0033
47 | 2690575.604 | 1285445.5875 | 2690577.1793 | 1285448.5699 | 2690580.8392 | 1285469.2332 | 2690585.1435 | 1285488.9945 | 2690579.6132 | 1285489.4098
48 | 2690578.9461 | 1285443.0033 | 2690586.3334 | 1285438.0014 | 2690607.1412 | 1285434.545
49 | 2690579.6132 | 1285489.4098 | 2690601.747 | 1285504.617
50 | 2690601.747 | 1285504.617 | 2690618.8641 | 1285516.3774
51 | 2690357.3229 | 1285403.94 | 2690368.3538 | 1285412.5382
52 | 2690615.8639 | 1285438.7005 | 2690614.4217 | 1285435.3643 | 2690611.2098 | 1285433.8691 | 2690607.1412 | 1285434.545
53 | 2690618.8641 | 1285516.3774 | 2690633.2308 | 1285526.2481
54 | 2690606.1552 | 1285399.4723 | 2690618.7426 | 1285410.7874
55 | 2690606.1552 | 1285399.4723 | 2690591.0899 | 1285393.0242
56 | 2690513.9447 | 1285365.4162 | 2690482.3815 | 1285354.8828
57 | 2690513.9447 | 1285365.4162 | 2690519.1215 | 1285367.1438
58 | 2690519.1215 | 1285367.1438 | 2690559.6922 | 1285380.6833
59 | 2690559.6922 | 1285380.6833 | 2690571.3339 | 1285384.5684 | 2690591.0899 | 1285393.0242
60 | 2690643.1498 | 1285436.0178 | 2690627.276 | 1285418.4582 | 2690618.7426 | 1285410.7874
61 | 2690643.1498 | 1285436.0178 | 2690640.0518 | 1285437.3713 | 2690631.2393 | 1285432.5649 | 2690629.455 | 1285432.9266 | 2690628.1406 | 1285444.2052 | 2690626.0453 | 1285444.7735
62 | 2690643.1498 | 1285436.0178 | 2690647.6737 | 1285441.014
63 | 2690615.8639 | 1285438.7005 | 2690626.0453 | 1285444.7735
64 | 2690647.6737 | 1285441.014 | 2690660.5242 | 1285424.7674
65 | 2690647.6737 | 1285441.014 | 2690661.2863 | 1285458.7056
66 | 2690688.0664 | 1285389.9462 | 2690704.9703 | 1285401.0495 | 2690708.7151 | 1285403.5093 | 2690718.7014 | 1285410.8069
67 | 2690688.0664 | 1285389.9462 | 2690678.0176 | 1285402.6507
68 | 2690678.0176 | 1285402.6507 | 2690663.1093 | 1285421.499
69 | 2690682.8201 | 1285475.85 | 2690672.3867 | 1285467.5433
70 | 2690661.2863 | 1285458.7056 | 2690661.2863 | 1285458.7056 | 2690672.3867 | 1285467.5433
71 | 2690660.5242 | 1285424.7674 | 2690663.1093 | 1285421.499
72 | 2690305.324 | 1285361.1542 | 2690323.0922 | 1285377.2431
73 | 2690285.7804 | 1285368.45 | 2690274.49 | 1285341.1753 | 2690271.6076 | 1285333.7305
74 | 2690285.7804 | 1285368.45 | 2690305.324 | 1285361.1542

## bus_geodata
| x | y | coords
0 | 2690355.9091 | 1285234.5817
1 | 2690383.6188 | 1285247.3648
2 | 2690335.3239 | 1285223.62
3 | 2690394.5368 | 1285231.2709
4 | 2690413.4634 | 1285260.3604
5 | 2690427.1614 | 1285266.3061
6 | 2690410.1763 | 1285241.8574
7 | 2690453.0168 | 1285133.7081
8 | 2690444.159 | 1285273.8308
9 | 2690402.4975 | 1285326.4582
10 | 2690334.3459 | 1285286.5842
11 | 2690377.3719 | 1285314.0688
12 | 2690430.7797 | 1285337.4686
13 | 2690458.4123 | 1285401.293
14 | 2690441.1446 | 1285427.5287
15 | 2690465.4755 | 1285404.8991
16 | 2690452.4945 | 1285344.9088
17 | 2690570.3661 | 1285330.8587
18 | 2690579.896 | 1285335.3563
19 | 2690580.7904 | 1285107.493
20 | 2690537.844 | 1285097.6546
21 | 2690602.4079 | 1285113.1682
22 | 2690633.0012 | 1285361.5074
23 | 2690591.4895 | 1285323.7486
24 | 2690648.3111 | 1285368.9592
25 | 2690617.9923 | 1285382.7326
26 | 2690463.7609 | 1285441.9491
27 | 2690421.495 | 1285413.1839
28 | 2690496.4475 | 1285420.7116
29 | 2690473.9406 | 1285352.0658
30 | 2690399.1217 | 1285396.8506
31 | 2690389.5453 | 1285389.8595
32 | 2690342.8039 | 1285392.6229
33 | 2690483.4657 | 1285454.5132
34 | 2690327.7244 | 1285381.4375
35 | 2690351.5898 | 1285399.4713
36 | 2690506.7176 | 1285466.945
37 | 2690501.1507 | 1285423.1128
38 | 2690529.8728 | 1285434.1424
39 | 2690546.3834 | 1285440.3561
40 | 2690558.3919 | 1285444.2029
41 | 2690575.604 | 1285445.5875
42 | 2690578.9461 | 1285443.0033
43 | 2690579.6132 | 1285489.4099
44 | 2690601.747 | 1285504.617
45 | 2690368.3538 | 1285412.5382
46 | 2690357.3229 | 1285403.94
47 | 2690607.1412 | 1285434.5449
48 | 2690618.8641 | 1285516.3774
49 | 2690662.3722 | 1285358.1361
50 | 2690606.1552 | 1285399.4723
51 | 2690513.9447 | 1285365.4162
52 | 2690482.3815 | 1285354.8828
53 | 2690519.1215 | 1285367.1438
54 | 2690559.6922 | 1285380.6833
55 | 2690591.0899 | 1285393.0242
56 | 2690618.7426 | 1285410.7874
57 | 2690643.1498 | 1285436.0178
58 | 2690626.0453 | 1285444.7735
59 | 2690647.6737 | 1285441.014
60 | 2690688.0664 | 1285389.9462
61 | 2690718.7014 | 1285410.8069
62 | 2690678.0176 | 1285402.6507
63 | 2690682.8201 | 1285475.85
64 | 2690672.3867 | 1285467.5433
65 | 2690661.2863 | 1285458.7056
66 | 2690660.5242 | 1285424.7674
67 | 2690615.8639 | 1285438.7005
68 | 2690663.1093 | 1285421.499
69 | 2690323.0922 | 1285377.2431
70 | 2690285.7804 | 1285368.45
71 | 2690271.6076 | 1285333.7305
72 | 2690305.324 | 1285361.1542
73 | 2690633.2308 | 1285526.2481
74 | 2690455.577 | 1285134.4378
75 | 2690756.37 | 1285181.6244
76 | 2690482.3815 | 1285354.8828

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1