## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2939-76_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2939-76_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2939-76_0_6_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_2939-76_0_6_node_2 | 0.4 | n |  | TRUE
4 | bus_LV_2939-76_0_6_node_93 | 0.4 | n |  | TRUE
5 | bus_LV_2939-76_0_6_node_81 | 0.4 | n |  | TRUE
6 | bus_LV_2939-76_0_6_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_2939-76_0_6_node_67 | 0.4 | n |  | TRUE
8 | bus_LV_2939-76_0_6_node_42 | 0.4 | n |  | TRUE
9 | bus_LV_2939-76_0_6_node_65 | 0.4 | n |  | TRUE
10 | bus_LV_2939-76_0_6_node_91 | 0.4 | n |  | TRUE
11 | bus_LV_2939-76_0_6_node_80 | 0.4 | n |  | TRUE
12 | bus_LV_2939-76_0_6_node_68 | 0.4 | n |  | TRUE
13 | bus_LV_2939-76_0_6_node_73 | 0.4 | n |  | TRUE
14 | bus_LV_2939-76_0_6_node_66 | 0.4 | n |  | TRUE
15 | bus_LV_2939-76_0_6_node_5 | 0.4 | n |  | TRUE
16 | bus_LV_2939-76_0_6_node_6 | 0.4 | n |  | TRUE
17 | bus_LV_2939-76_0_6_node_7 | 0.4 | n |  | TRUE
18 | bus_LV_2939-76_0_6_node_8 | 0.4 | n |  | TRUE
19 | bus_LV_2939-76_0_6_node_9 | 0.4 | n |  | TRUE
20 | bus_LV_2939-76_0_6_node_10 | 0.4 | n |  | TRUE
21 | bus_LV_2939-76_0_6_node_54 | 0.4 | n |  | TRUE
22 | bus_LV_2939-76_0_6_node_41 | 0.4 | n |  | TRUE
23 | bus_LV_2939-76_0_6_node_30 | 0.4 | n |  | TRUE
24 | bus_LV_2939-76_0_6_node_19 | 0.4 | n |  | TRUE
25 | bus_LV_2939-76_0_6_node_60 | 0.4 | n |  | TRUE
26 | bus_LV_2939-76_0_6_node_53 | 0.4 | n |  | TRUE
27 | bus_LV_2939-76_0_6_node_39 | 0.4 | n |  | TRUE
28 | bus_LV_2939-76_0_6_node_31 | 0.4 | n |  | TRUE
29 | bus_LV_2939-76_0_6_node_18 | 0.4 | n |  | TRUE
30 | bus_LV_2939-76_0_6_node_11 | 0.4 | n |  | TRUE
31 | bus_LV_2939-76_0_6_node_12 | 0.4 | n |  | TRUE
32 | bus_LV_2939-76_0_6_node_13 | 0.4 | n |  | TRUE
33 | bus_LV_2939-76_0_6_node_15 | 0.4 | n |  | TRUE
34 | bus_LV_2939-76_0_6_node_16 | 0.4 | n |  | TRUE
35 | bus_LV_2939-76_0_6_node_28 | 0.4 | n |  | TRUE
36 | bus_LV_2939-76_0_6_node_32 | 0.4 | n |  | TRUE
37 | bus_LV_2939-76_0_6_node_38 | 0.4 | n |  | TRUE
38 | bus_LV_2939-76_0_6_node_55 | 0.4 | n |  | TRUE
39 | bus_LV_2939-76_0_6_node_37 | 0.4 | n |  | TRUE
40 | bus_LV_2939-76_0_6_node_36 | 0.4 | n |  | TRUE
41 | bus_LV_2939-76_0_6_node_35 | 0.4 | n |  | TRUE
42 | bus_LV_2939-76_0_6_node_26 | 0.4 | n |  | TRUE
43 | bus_LV_2939-76_0_6_node_33 | 0.4 | n |  | TRUE
44 | bus_LV_2939-76_0_6_node_17 | 0.4 | n |  | TRUE
45 | bus_LV_2939-76_0_6_node_20 | 0.4 | n |  | TRUE
46 | bus_LV_2939-76_0_6_node_21 | 0.4 | n |  | TRUE
47 | bus_LV_2939-76_0_6_node_22 | 0.4 | n |  | TRUE
48 | bus_LV_2939-76_0_6_node_23 | 0.4 | n |  | TRUE
49 | bus_LV_2939-76_0_6_node_24 | 0.4 | n |  | TRUE
50 | bus_LV_2939-76_0_6_node_48 | 0.4 | n |  | TRUE
51 | bus_LV_2939-76_0_6_node_40 | 0.4 | n |  | TRUE
52 | bus_LV_2939-76_0_6_node_56 | 0.4 | n |  | TRUE
53 | bus_LV_2939-76_0_6_node_95 | 0.4 | n |  | TRUE
54 | bus_LV_2939-76_0_6_node_58 | 0.4 | n |  | TRUE
55 | bus_LV_2939-76_0_6_node_94 | 0.4 | n |  | TRUE
56 | bus_LV_2939-76_0_6_node_57 | 0.4 | n |  | TRUE
57 | bus_LV_2939-76_0_6_node_104 | 0.4 | n |  | TRUE
58 | bus_LV_2939-76_0_6_node_59 | 0.4 | n |  | TRUE
59 | bus_LV_2939-76_0_6_node_103 | 0.4 | n |  | TRUE
60 | bus_LV_2939-76_0_6_node_101 | 0.4 | n |  | TRUE
61 | bus_LV_2939-76_0_6_node_113 | 0.4 | n |  | TRUE
62 | bus_LV_2939-76_0_6_node_51 | 0.4 | n |  | TRUE
63 | bus_LV_2939-76_0_6_node_50 | 0.4 | n |  | TRUE
64 | bus_LV_2939-76_0_6_node_27 | 0.4 | n |  | TRUE
65 | bus_LV_2939-76_0_6_node_46 | 0.4 | n |  | TRUE
66 | bus_LV_2939-76_0_6_node_47 | 0.4 | n |  | TRUE
67 | bus_LV_2939-76_0_6_node_34 | 0.4 | n |  | TRUE
68 | bus_LV_2939-76_0_6_node_52 | 0.4 | n |  | TRUE
69 | bus_LV_2939-76_0_6_node_43 | 0.4 | n |  | TRUE
70 | bus_LV_2939-76_0_6_node_44 | 0.4 | n |  | TRUE
71 | bus_LV_2939-76_0_6_node_74 | 0.4 | n |  | TRUE
72 | bus_LV_2939-76_0_6_node_45 | 0.4 | n |  | TRUE
73 | bus_LV_2939-76_0_6_node_49 | 0.4 | n |  | TRUE
74 | bus_LV_2939-76_0_6_node_61 | 0.4 | n |  | TRUE
75 | bus_LV_2939-76_0_6_node_88 | 0.4 | n |  | TRUE
76 | bus_LV_2939-76_0_6_node_96 | 0.4 | n |  | TRUE
77 | bus_LV_2939-76_0_6_node_86 | 0.4 | n |  | TRUE
78 | bus_LV_2939-76_0_6_node_89 | 0.4 | n |  | TRUE
79 | bus_LV_2939-76_0_6_node_90 | 0.4 | n |  | TRUE
80 | bus_LV_2939-76_0_6_node_109 | 0.4 | n |  | TRUE
81 | bus_LV_2939-76_0_6_node_110 | 0.4 | n |  | TRUE
82 | bus_LV_2939-76_0_6_node_111 | 0.4 | n |  | TRUE
83 | bus_LV_2939-76_0_6_node_85 | 0.4 | n |  | TRUE
84 | bus_LV_2939-76_0_6_node_107 | 0.4 | n |  | TRUE
85 | bus_LV_2939-76_0_6_node_105 | 0.4 | n |  | TRUE
86 | bus_LV_2939-76_0_6_node_106 | 0.4 | n |  | TRUE
87 | bus_LV_2939-76_0_6_node_108 | 0.4 | n |  | TRUE
88 | bus_LV_2939-76_0_6_node_102 | 0.4 | n |  | TRUE
89 | bus_LV_2939-76_0_6_node_62 | 0.4 | n |  | TRUE
90 | bus_LV_2939-76_0_6_node_63 | 0.4 | n |  | TRUE
91 | bus_LV_2939-76_0_6_node_64 | 0.4 | n |  | TRUE
92 | bus_LV_2939-76_0_6_node_70 | 0.4 | n |  | TRUE
93 | bus_LV_2939-76_0_6_node_71 | 0.4 | n |  | TRUE
94 | bus_LV_2939-76_0_6_node_69 | 0.4 | n |  | TRUE
95 | bus_LV_2939-76_0_6_node_72 | 0.4 | n |  | TRUE
96 | bus_LV_2939-76_0_6_node_75 | 0.4 | n |  | TRUE
97 | bus_LV_2939-76_0_6_node_76 | 0.4 | n |  | TRUE
98 | bus_LV_2939-76_0_6_node_77 | 0.4 | n |  | TRUE
99 | bus_LV_2939-76_0_6_node_78 | 0.4 | n |  | TRUE
100 | bus_LV_2939-76_0_6_node_79 | 0.4 | n |  | TRUE
101 | bus_LV_2939-76_0_6_node_87 | 0.4 | n |  | TRUE
102 | bus_LV_2939-76_0_6_node_84 | 0.4 | n |  | TRUE
103 | bus_LV_2939-76_0_6_node_82 | 0.4 | n |  | TRUE
104 | bus_LV_2939-76_0_6_node_83 | 0.4 | n |  | TRUE
105 | bus_LV_2939-76_0_6_node_98 | 0.4 | n |  | TRUE
106 | bus_LV_2939-76_0_6_node_97 | 0.4 | n |  | TRUE
107 | bus_LV_2939-76_0_6_node_99 | 0.4 | n |  | TRUE
108 | bus_LV_2939-76_0_6_node_100 | 0.4 | n |  | TRUE
109 | bus_MV_579_0_node_71 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2939-76_0_6_load_0 | 0 | 0.0084996 | 0.0021302 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2939-76_0_6_load_93 | 4 | 0.0030659 | 0.00076839 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2939-76_0_6_load_81 | 5 | 0.00095521 | 0.0002394 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2939-76_0_6_load_67 | 7 | 0.0046117 | 0.0011558 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2939-76_0_6_load_65 | 9 | 0.0048145 | 0.0012066 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2939-76_0_6_load_91 | 10 | 0.0019882 | 0.00049829 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2939-76_0_6_load_68 | 12 | 0.0031374 | 0.0007863 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2939-76_0_6_load_73 | 13 | 0.015655 | 0.0039236 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2939-76_0_6_load_66 | 14 | 0.0037527 | 0.00094051 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2939-76_0_6_load_5 | 15 | 0.0013961 | 0.00034989 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2939-76_0_6_load_6 | 16 | 0.0042618 | 0.0010681 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2939-76_0_6_load_9 | 19 | 0.001184 | 0.00029675 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2939-76_0_6_load_10 | 20 | 0.0011615 | 0.0002911 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2939-76_0_6_load_41 | 22 | 0.0015389 | 0.0003857 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2939-76_0_6_load_30 | 23 | 0.0021285 | 0.00053345 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2939-76_0_6_load_19 | 24 | 0.0011804 | 0.00029583 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2939-76_0_6_load_60 | 25 | 0.0021884 | 0.00054846 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2939-76_0_6_load_31 | 28 | 0.0021199 | 0.00053129 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2939-76_0_6_load_18 | 29 | 0.0011753 | 0.00029457 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2939-76_0_6_load_11 | 30 | 0.0016928 | 0.00042426 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2939-76_0_6_load_12 | 31 | 0.0017099 | 0.00042855 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2939-76_0_6_load_15 | 33 | 0.0014471 | 0.00036268 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2939-76_0_6_load_16 | 34 | 0.0014591 | 0.00036569 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2939-76_0_6_load_28 | 35 | 0.0020229 | 0.00050698 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2939-76_0_6_load_32 | 36 | 0.0017407 | 0.00043625 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2939-76_0_6_load_55 | 38 | 0.0021909 | 0.0005491 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2939-76_0_6_load_37 | 39 | 0.0074253 | 0.001861 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2939-76_0_6_load_36 | 40 | 0.0016137 | 0.00040444 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2939-76_0_6_load_35 | 41 | 0.0016115 | 0.00040388 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2939-76_0_6_load_26 | 42 | 0.0014605 | 0.00036604 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2939-76_0_6_load_33 | 43 | 0.0016238 | 0.00040696 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2939-76_0_6_load_17 | 44 | 0.001161 | 0.00029097 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2939-76_0_6_load_20 | 45 | 0.0078887 | 0.0019771 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2939-76_0_6_load_21 | 46 | 0.0021239 | 0.00053231 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2939-76_0_6_load_23 | 48 | 0.0019389 | 0.00048592 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2939-76_0_6_load_24 | 49 | 0.0039725 | 0.0009956 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2939-76_0_6_load_48 | 50 | 0.0026432 | 0.00066245 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2939-76_0_6_load_40 | 51 | 0.0065711 | 0.0016469 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2939-76_0_6_load_95 | 53 | 0.0028506 | 0.00071442 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2939-76_0_6_load_94 | 55 | 0.0029981 | 0.0007514 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2939-76_0_6_load_103 | 59 | 0.0042022 | 0.0010532 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2939-76_0_6_load_101 | 60 | 0.011863 | 0.0029732 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2939-76_0_6_load_113 | 61 | 0.0012779 | 0.00032027 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2939-76_0_6_load_51 | 62 | 0.019586 | 0.0049088 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2939-76_0_6_load_50 | 63 | 0.010058 | 0.0025208 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2939-76_0_6_load_27 | 64 | 0.0059234 | 0.0014845 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2939-76_0_6_load_46 | 65 | 0.0011848 | 0.00029694 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2939-76_0_6_load_47 | 66 | 0.0016308 | 0.00040871 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2939-76_0_6_load_34 | 67 | 0.0017234 | 0.00043192 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2939-76_0_6_load_52 | 68 | 0.0019867 | 0.00049792 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2939-76_0_6_load_43 | 69 | 0.0048494 | 0.0012154 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2939-76_0_6_load_44 | 70 | 0.0058447 | 0.0014648 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2939-76_0_6_load_74 | 71 | 0.007162 | 0.001795 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2939-76_0_6_load_45 | 72 | 0.0059468 | 0.0014904 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2939-76_0_6_load_49 | 73 | 0.012243 | 0.0030685 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2939-76_0_6_load_61 | 74 | 0.0021896 | 0.00054877 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_2939-76_0_6_load_96 | 76 | 0.00054205 | 0.00013585 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_2939-76_0_6_load_110 | 81 | 0.050678 | 0.012701 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_2939-76_0_6_load_111 | 82 | 0.0034098 | 0.00085459 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_2939-76_0_6_load_85 | 83 | 0.0011883 | 0.00029781 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_2939-76_0_6_load_107 | 84 | 0.0011244 | 0.00028181 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_2939-76_0_6_load_106 | 86 | 0.0016978 | 0.00042551 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_2939-76_0_6_load_108 | 87 | 0.015918 | 0.0039893 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_2939-76_0_6_load_102 | 88 | 0.0032165 | 0.00080614 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_2939-76_0_6_load_62 | 89 | 0.0021906 | 0.00054901 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_2939-76_0_6_load_64 | 91 | 0.0021891 | 0.00054864 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_2939-76_0_6_load_70 | 92 | 0.0032545 | 0.00081564 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_2939-76_0_6_load_71 | 93 | 0.0032567 | 0.0008162 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_2939-76_0_6_load_69 | 94 | 0.0032552 | 0.00081582 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_2939-76_0_6_load_72 | 95 | 0.0032571 | 0.0008163 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_2939-76_0_6_load_75 | 96 | 0.0086754 | 0.0021743 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_2939-76_0_6_load_76 | 97 | 0.0057848 | 0.0014498 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_2939-76_0_6_load_78 | 99 | 0.0018646 | 0.00046732 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_2939-76_0_6_load_79 | 100 | 0.0028915 | 0.00072467 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_2939-76_0_6_load_82 | 103 | 0.013402 | 0.0033588 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_2939-76_0_6_load_83 | 104 | 0.012798 | 0.0032075 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_2939-76_0_6_load_98 | 105 | 0.00089853 | 0.00022519 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_2939-76_0_6_load_97 | 106 | 0.0020525 | 0.00051439 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_2939-76_0_6_load_99 | 107 | 0.00020193 | 5.0608e-05 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_2939-76_0_6_load_100 | 108 | 0.0021493 | 0.00053868 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 107 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2939-76_0_6_line_0 |  | 0 | 1 | 0.022035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2939-76_0_6_line_1 |  | 1 | 2 | 0.05631 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2939-76_0_6_line_2 |  | 2 | 6 | 0.032896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2939-76_0_6_line_3 |  | 2 | 7 | 0.018245 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
4 | LV_2939-76_0_6_line_4 |  | 2 | 3 | 0.022732 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
5 | LV_2939-76_0_6_line_5 |  | 3 | 4 | 0.018564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2939-76_0_6_line_6 |  | 3 | 5 | 0.077909 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
7 | LV_2939-76_0_6_line_7 |  | 5 | 10 | 0.059152 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2939-76_0_6_line_8 |  | 5 | 11 | 0.018954 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
9 | LV_2939-76_0_6_line_9 |  | 6 | 8 | 0.049996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2939-76_0_6_line_10 |  | 6 | 9 | 0.012368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2939-76_0_6_line_11 |  | 7 | 12 | 0.032061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
12 | LV_2939-76_0_6_line_12 |  | 8 | 13 | 0.027296 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2939-76_0_6_line_13 |  | 9 | 14 | 0.0055644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2939-76_0_6_line_14 |  | 11 | 99 | 3.2802e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
15 | LV_2939-76_0_6_line_15 |  | 12 | 94 | 0.010002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
16 | LV_2939-76_0_6_line_16 |  | 13 | 71 | 0.0051861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2939-76_0_6_line_17 |  | 15 | 16 | 0.0043862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2939-76_0_6_line_18 |  | 15 | 17 | 0.017912 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2939-76_0_6_line_19 |  | 16 | 18 | 0.025404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2939-76_0_6_line_20 |  | 17 | 19 | 0.014275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2939-76_0_6_line_21 |  | 17 | 20 | 0.0066408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2939-76_0_6_line_22 |  | 18 | 21 | 0.010449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
23 | LV_2939-76_0_6_line_23 |  | 18 | 22 | 0.058382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
24 | LV_2939-76_0_6_line_24 |  | 19 | 23 | 0.00035014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2939-76_0_6_line_25 |  | 20 | 24 | 0.012631 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2939-76_0_6_line_26 |  | 21 | 25 | 0.014001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
27 | LV_2939-76_0_6_line_27 |  | 21 | 26 | 0.019934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2939-76_0_6_line_28 |  | 22 | 27 | 0.029006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
29 | LV_2939-76_0_6_line_29 |  | 23 | 28 | 0.012243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2939-76_0_6_line_30 |  | 24 | 29 | 0.013486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2939-76_0_6_line_31 |  | 25 | 74 | 0.012184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
32 | LV_2939-76_0_6_line_32 |  | 26 | 38 | 0.0096711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2939-76_0_6_line_33 |  | 26 | 68 | 0.01657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2939-76_0_6_line_34 |  | 27 | 51 | 0.014836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
35 | LV_2939-76_0_6_line_35 |  | 27 | 48 | 0.0067866 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2939-76_0_6_line_36 |  | 28 | 65 | 0.010939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2939-76_0_6_line_37 |  | 29 | 44 | 0.011259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2939-76_0_6_line_38 |  | 30 | 31 | 0.00016039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2939-76_0_6_line_39 |  | 30 | 32 | 0.010328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2939-76_0_6_line_40 |  | 32 | 33 | 0.011625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2939-76_0_6_line_41 |  | 32 | 34 | 0.0063088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2939-76_0_6_line_42 |  | 33 | 35 | 0.019912 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2939-76_0_6_line_43 |  | 34 | 36 | 0.021175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2939-76_0_6_line_44 |  | 35 | 42 | 0.00048436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2939-76_0_6_line_45 |  | 36 | 43 | 0.00035491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2939-76_0_6_line_46 |  | 37 | 38 | 0.034225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2939-76_0_6_line_47 |  | 37 | 39 | 0.022572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2939-76_0_6_line_48 |  | 39 | 41 | 0.027934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2939-76_0_6_line_49 |  | 40 | 41 | 0.01536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2939-76_0_6_line_50 |  | 42 | 64 | 0.054309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_2939-76_0_6_line_51 |  | 43 | 67 | 0.020498 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2939-76_0_6_line_52 |  | 45 | 46 | 0.030422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2939-76_0_6_line_53 |  | 45 | 47 | 0.052887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2939-76_0_6_line_54 |  | 46 | 48 | 0.022939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2939-76_0_6_line_55 |  | 47 | 49 | 0.05664 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_2939-76_0_6_line_56 |  | 49 | 50 | 0.0021974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2939-76_0_6_line_57 |  | 51 | 69 | 0.014725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
58 | LV_2939-76_0_6_line_58 |  | 52 | 53 | 0.01578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_2939-76_0_6_line_59 |  | 52 | 54 | 0.075495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
60 | LV_2939-76_0_6_line_60 |  | 52 | 55 | 0.027038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
61 | LV_2939-76_0_6_line_61 |  | 54 | 60 | 0.014107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_2939-76_0_6_line_62 |  | 54 | 56 | 0.1072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
63 | LV_2939-76_0_6_line_63 |  | 55 | 75 | 0.052693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
64 | LV_2939-76_0_6_line_64 |  | 56 | 57 | 0.039388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_2939-76_0_6_line_65 |  | 56 | 58 | 0.036213 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_2939-76_0_6_line_66 |  | 56 | 59 | 0.072587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_2939-76_0_6_line_67 |  | 57 | 84 | 0.052743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_2939-76_0_6_line_68 |  | 57 | 85 | 0.03157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_2939-76_0_6_line_69 |  | 57 | 86 | 0.011808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_2939-76_0_6_line_70 |  | 58 | 61 | 0.011365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_2939-76_0_6_line_71 |  | 60 | 88 | 0.0084736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_2939-76_0_6_line_72 |  | 62 | 63 | 0.030257 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_2939-76_0_6_line_73 |  | 63 | 73 | 0.021514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
74 | LV_2939-76_0_6_line_74 |  | 65 | 66 | 0.010819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_2939-76_0_6_line_75 |  | 67 | 68 | 0.019938 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_2939-76_0_6_line_76 |  | 69 | 70 | 0.00038675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
77 | LV_2939-76_0_6_line_77 |  | 70 | 72 | 0.018398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
78 | LV_2939-76_0_6_line_78 |  | 72 | 73 | 0.013405 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
79 | LV_2939-76_0_6_line_79 |  | 74 | 89 | 0.0092383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
80 | LV_2939-76_0_6_line_80 |  | 75 | 76 | 0.010615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
81 | LV_2939-76_0_6_line_81 |  | 75 | 77 | 0.038209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
82 | LV_2939-76_0_6_line_82 |  | 76 | 105 | 0.0034881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
83 | LV_2939-76_0_6_line_83 |  | 77 | 83 | 0.024928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
84 | LV_2939-76_0_6_line_84 |  | 78 | 79 | 0.11715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_2939-76_0_6_line_85 |  | 78 | 80 | 0.079626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_2939-76_0_6_line_86 |  | 78 | 81 | 0.048251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_2939-76_0_6_line_87 |  | 79 | 82 | 0.0055406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_2939-76_0_6_line_88 |  | 80 | 87 | 0.054277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_2939-76_0_6_line_89 |  | 83 | 104 | 0.03699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
90 | LV_2939-76_0_6_line_90 |  | 85 | 87 | 0.074822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_2939-76_0_6_line_91 |  | 89 | 90 | 0.0001347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
92 | LV_2939-76_0_6_line_92 |  | 90 | 91 | 0.012685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
93 | LV_2939-76_0_6_line_93 |  | 91 | 92 | 0.012457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
94 | LV_2939-76_0_6_line_94 |  | 92 | 93 | 0.010331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
95 | LV_2939-76_0_6_line_95 |  | 93 | 95 | 0.013864 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
96 | LV_2939-76_0_6_line_96 |  | 94 | 95 | 0.0083239 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
97 | LV_2939-76_0_6_line_97 |  | 96 | 97 | 0.024979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_2939-76_0_6_line_98 |  | 96 | 98 | 0.017331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_2939-76_0_6_line_99 |  | 98 | 99 | 0.0049293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
100 | LV_2939-76_0_6_line_100 |  | 98 | 100 | 0.0031669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
101 | LV_2939-76_0_6_line_101 |  | 100 | 101 | 0.030605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
102 | LV_2939-76_0_6_line_102 |  | 101 | 102 | 0.037318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
103 | LV_2939-76_0_6_line_103 |  | 102 | 103 | 0.035205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
104 | LV_2939-76_0_6_line_104 |  | 103 | 104 | 0.037743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
105 | LV_2939-76_0_6_line_105 |  | 105 | 106 | 0.0021677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
106 | LV_2939-76_0_6_line_106 |  | 106 | 107 | 0.046671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
107 | LV_2939-76_0_6_line_107 |  | 107 | 108 | 0.0078163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2939-76_0_6_trafo_99 | 0.63 MVA 20/0.4 kV | 109 | 107 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2690934.5222 | 1285886.6365 | 2690941.2369 | 1285907.6231
1 | 2690884.0674 | 1285899.258 | 2690887.1935 | 1285900.4517 | 2690890.5405 | 1285900.4589 | 2690893.5746 | 1285899.3492 | 2690896.0458 | 1285897.2633 | 2690897.6503 | 1285894.4522 | 2690898.1872 | 1285891.2688 | 2690906.4838 | 1285891.0299 | 2690919.4723 | 1285889.2398 | 2690922.3753 | 1285888.8398 | 2690934.5222 | 1285886.6365
2 | 2690860.5918 | 1285883.2374 | 2690873.9983 | 1285886.9474 | 2690880.1786 | 1285888.1549 | 2690879.6125 | 1285891.2823 | 2690880.1272 | 1285894.4041 | 2690881.6755 | 1285897.1748 | 2690884.0674 | 1285899.258
3 | 2690884.0674 | 1285899.258 | 2690879.1279 | 1285904.6866 | 2690870.9891 | 1285911.9449
4 | 2690884.0674 | 1285899.258 | 2690887.1935 | 1285900.4517 | 2690890.5405 | 1285900.4589 | 2690891.0911 | 1285907.0843 | 2690893.6458 | 1285916.1206
5 | 2690893.6458 | 1285916.1206 | 2690887.7682 | 1285921.5569 | 2690884.1998 | 1285931.5107
6 | 2690893.6458 | 1285916.1206 | 2690896.3738 | 1285923.1689 | 2690911.7734 | 1285964.0091 | 2690920.2531 | 1285989.3311
7 | 2690920.2531 | 1285989.3311 | 2690971.0818 | 1285959.0754
8 | 2690926.2718 | 1286007.3042 | 2690920.2531 | 1285989.3311
9 | 2690815.107 | 1285862.6737 | 2690825.2225 | 1285868.0899 | 2690837.5874 | 1285874.1303 | 2690849.85 | 1285879.5018 | 2690860.5918 | 1285883.2374
10 | 2690860.5918 | 1285883.2374 | 2690856.9672 | 1285895.0625
11 | 2690870.9891 | 1285911.9449 | 2690847.0613 | 1285933.2839
12 | 2690815.107 | 1285862.6737 | 2690802.9341 | 1285887.1049
13 | 2690855.3365 | 1285900.3826 | 2690856.9672 | 1285895.0625
14 | 2690926.282 | 1286007.3354 | 2690926.2718 | 1286007.3042
15 | 2690837.4013 | 1285935.8752 | 2690847.0613 | 1285933.2839 | 2690847.0613 | 1285933.2839
16 | 2690802.9341 | 1285887.1049 | 2690800.6213 | 1285891.7467
17 | 2690715.6465 | 1285938.6777 | 2690719.7441 | 1285940.2423
18 | 2690698.2358 | 1285939.4966 | 2690704.777 | 1285937.2509 | 2690714.6074 | 1285938.2809 | 2690715.6465 | 1285938.6777
19 | 2690742.317 | 1285951.7862 | 2690725.7763 | 1285942.5455 | 2690719.7441 | 1285940.2423
20 | 2690698.2358 | 1285939.4966 | 2690688.13 | 1285949.5791
21 | 2690698.2358 | 1285939.4966 | 2690692.3783 | 1285936.3677
22 | 2690742.317 | 1285951.7862 | 2690749.5851 | 1285944.2581
23 | 2690742.317 | 1285951.7862 | 2690722.159 | 1285968.357 | 2690693.3735 | 1285979.8795 | 2690692.1077 | 1285980.0769
24 | 2690687.8821 | 1285949.8264 | 2690688.13 | 1285949.5791
25 | 2690692.3783 | 1285936.3677 | 2690681.2369 | 1285930.4163
26 | 2690749.5851 | 1285944.2581 | 2690760.7265 | 1285952.7372
27 | 2690760.4622 | 1285927.5332 | 2690749.5851 | 1285944.2581
28 | 2690663.4478 | 1285984.5453 | 2690692.1077 | 1285980.0769
29 | 2690687.8821 | 1285949.8264 | 2690685.5682 | 1285952.135 | 2690676.6196 | 1285952.809 | 2690676.6196 | 1285952.809
30 | 2690668.4962 | 1285926.2718 | 2690677.6991 | 1285928.5265 | 2690681.2369 | 1285930.4163
31 | 2690760.7265 | 1285952.7372 | 2690760.7265 | 1285952.7372 | 2690769.7702 | 1285954.1667 | 2690772.6854 | 1285953.3481
32 | 2690760.4622 | 1285927.5332 | 2690764.3997 | 1285918.6999
33 | 2690760.4622 | 1285927.5332 | 2690745.8508 | 1285919.7175
34 | 2690663.4478 | 1285984.5453 | 2690659.6547 | 1285998.8885
35 | 2690663.4478 | 1285984.5453 | 2690656.6617 | 1285984.6258
36 | 2690666.3469 | 1285949.0501 | 2690676.6196 | 1285952.809
37 | 2690668.4962 | 1285926.2718 | 2690666.3646 | 1285925.7496 | 2690657.331 | 1285926.4987
38 | 2690690.7309 | 1285878.3377 | 2690690.6531 | 1285878.478
39 | 2690685.648 | 1285887.5127 | 2690690.6531 | 1285878.478
40 | 2690685.648 | 1285887.5127 | 2690675.3974 | 1285882.0304
41 | 2690685.648 | 1285887.5127 | 2690691.2108 | 1285890.4888
42 | 2690657.8386 | 1285872.6395 | 2690675.3974 | 1285882.0304
43 | 2690691.2108 | 1285890.4888 | 2690707.4574 | 1285899.1809 | 2690709.8819 | 1285900.4778
44 | 2690657.4115 | 1285872.4111 | 2690657.8386 | 1285872.6395
45 | 2690710.1948 | 1285900.6452 | 2690709.8819 | 1285900.4778
46 | 2690778.3339 | 1285887.4399 | 2690764.3997 | 1285918.6999
47 | 2690778.3339 | 1285887.4399 | 2690758.6967 | 1285876.3106
48 | 2690758.6967 | 1285876.3106 | 2690734.3945 | 1285862.5373
49 | 2690721.031 | 1285854.9636 | 2690734.3945 | 1285862.5373
50 | 2690612.2595 | 1285860.0839 | 2690613.5138 | 1285859.0891 | 2690619.7425 | 1285852.7682 | 2690629.2321 | 1285853.526 | 2690636.3197 | 1285861.1306 | 2690657.4115 | 1285872.4111
51 | 2690728.2698 | 1285910.3134 | 2690710.1948 | 1285900.6452
52 | 2690633.7242 | 1285984.898 | 2690603.3045 | 1285985.2588
53 | 2690550.4213 | 1285985.8862 | 2690603.3045 | 1285985.2588
54 | 2690656.6617 | 1285984.6258 | 2690633.7242 | 1285984.898
55 | 2690550.4213 | 1285985.8862 | 2690561.4742 | 1285972.3219 | 2690580.6243 | 1285955.8685 | 2690594.2604 | 1285953.1976
56 | 2690596.4168 | 1285952.7752 | 2690594.2604 | 1285953.1976
57 | 2690650.6024 | 1286010.486 | 2690652.5821 | 1286008.3546 | 2690659.6547 | 1285998.8885 | 2690659.6547 | 1285998.8885
58 | 2690698.4648 | 1286129.2116 | 2690690.3649 | 1286115.6692
59 | 2690659.8333 | 1286156.3854 | 2690663.6634 | 1286161.56 | 2690668.0028 | 1286167.7767 | 2690672.6261 | 1286164.823 | 2690679.6748 | 1286160.3053 | 2690692.776 | 1286151.6437 | 2690706.0987 | 1286143.7085 | 2690702.9404 | 1286136.8205 | 2690698.4648 | 1286129.2116
60 | 2690698.4648 | 1286129.2116 | 2690722.5858 | 1286116.9946
61 | 2690659.8333 | 1286156.3854 | 2690651.9286 | 1286144.7012
62 | 2690593.1851 | 1286223.2413 | 2690604.549 | 1286214.3193 | 2690634.3566 | 1286190.9238 | 2690645.8268 | 1286182.9043 | 2690660.6205 | 1286172.5117 | 2690668.0028 | 1286167.7767 | 2690663.6634 | 1286161.56 | 2690659.8333 | 1286156.3854
63 | 2690769.5929 | 1286093.1863 | 2690722.5858 | 1286116.9946
64 | 2690563.7194 | 1286240.5369 | 2690567.9142 | 1286244.9386 | 2690593.1851 | 1286223.2413
65 | 2690593.1851 | 1286223.2413 | 2690604.549 | 1286214.3193 | 2690608.3768 | 1286219.6495 | 2690610.0809 | 1286222.0445 | 2690612.8337 | 1286226.0348 | 2690609.7295 | 1286228.7895 | 2690607.2946 | 1286230.9651
66 | 2690593.1851 | 1286223.2413 | 2690588.7986 | 1286217.6467 | 2690566.4237 | 1286192.0691 | 2690564.8945 | 1286188.0532 | 2690566.4258 | 1286183.6395 | 2690584.2689 | 1286169.8902
67 | 2690563.7194 | 1286240.5369 | 2690562.6457 | 1286240.0866 | 2690553.5113 | 1286235.3087 | 2690538.975 | 1286226.5443 | 2690535.8507 | 1286222.8041 | 2690535.7768 | 1286219.311 | 2690537.1315 | 1286215.6397 | 2690545.3011 | 1286206.8289
68 | 2690563.7194 | 1286240.5369 | 2690567.9142 | 1286244.9386 | 2690578.9914 | 1286254.6396 | 2690587.2908 | 1286261.4955
69 | 2690563.7194 | 1286240.5369 | 2690563.1258 | 1286236.6799 | 2690565.1471 | 1286230.1719 | 2690565.9632 | 1286229.4483
70 | 2690607.2946 | 1286230.9651 | 2690614.0893 | 1286240.0753
71 | 2690651.9286 | 1286144.7012 | 2690649.5314 | 1286141.1579 | 2690646.451 | 1286138.3094
72 | 2690612.5512 | 1286048.2691 | 2690600.8874 | 1286058.2479 | 2690589.5876 | 1286067.9708
73 | 2690628.6954 | 1286034.0711 | 2690626.949 | 1286035.9513 | 2690612.5512 | 1286048.2691
74 | 2690656.1867 | 1285945.3324 | 2690666.3469 | 1285949.0501
75 | 2690728.2698 | 1285910.3134 | 2690745.8508 | 1285919.7175
76 | 2690650.3392 | 1286010.7693 | 2690650.6024 | 1286010.486
77 | 2690637.8183 | 1286024.2494 | 2690650.3392 | 1286010.7693
78 | 2690628.6954 | 1286034.0711 | 2690637.8183 | 1286024.2494
79 | 2690772.6854 | 1285953.3481 | 2690781.5798 | 1285950.8507
80 | 2690769.5929 | 1286093.1863 | 2690764.9599 | 1286083.6362
81 | 2690769.5929 | 1286093.1863 | 2690773.4272 | 1286101.0078 | 2690776.1854 | 1286107.0779 | 2690793.5003 | 1286099.171 | 2690796.9614 | 1286097.6119
82 | 2690763.4374 | 1286080.4979 | 2690764.9599 | 1286083.6362
83 | 2690796.9614 | 1286097.6119 | 2690794.68 | 1286088.8579 | 2690808.1502 | 1286080.4447
84 | 2690808.6324 | 1286232.7663 | 2690787.8898 | 1286231.8236 | 2690770.1783 | 1286225.5674 | 2690752.6602 | 1286214.0652 | 2690722.0431 | 1286261.7246
85 | 2690693.5924 | 1286334.4061 | 2690696.7871 | 1286308.2434 | 2690698.9746 | 1286299.2358 | 2690702.4768 | 1286293.5402 | 2690722.0431 | 1286261.7246
86 | 2690722.0431 | 1286261.7246 | 2690720.3044 | 1286260.5968 | 2690681.5331 | 1286235.5112
87 | 2690808.6324 | 1286232.7663 | 2690814.166 | 1286233.0438
88 | 2690693.5924 | 1286334.4061 | 2690647.1125 | 1286306.378
89 | 2690839.959 | 1286061.7768 | 2690835.8794 | 1286063.1258 | 2690808.1502 | 1286080.4447
90 | 2690587.2908 | 1286261.4955 | 2690602.3146 | 1286273.1923 | 2690625.637 | 1286290.811 | 2690641.8878 | 1286303.2275 | 2690647.1125 | 1286306.378
91 | 2690781.7095 | 1285950.8143 | 2690781.5798 | 1285950.8507
92 | 2690781.7095 | 1285950.8143 | 2690793.9616 | 1285947.5277
93 | 2690793.9616 | 1285947.5277 | 2690805.9931 | 1285944.3003
94 | 2690805.9931 | 1285944.3003 | 2690815.9711 | 1285941.6238
95 | 2690815.9711 | 1285941.6238 | 2690829.3616 | 1285938.0318
96 | 2690829.3616 | 1285938.0318 | 2690837.4013 | 1285935.8752
97 | 2690910.4852 | 1286011.6517 | 2690885.5116 | 1286011.1195
98 | 2690927.8124 | 1286012.0211 | 2690910.4852 | 1286011.6517
99 | 2690927.8124 | 1286012.0211 | 2690926.282 | 1286007.3354
100 | 2690927.8124 | 1286012.0211 | 2690928.3879 | 1286015.1352
101 | 2690933.2039 | 1286045.3447 | 2690931.7116 | 1286033.122 | 2690928.3879 | 1286015.1352
102 | 2690903.8992 | 1286060.3502 | 2690912.2772 | 1286058.222 | 2690923.8853 | 1286056.8666 | 2690923.6736 | 1286054.0498 | 2690924.3091 | 1286051.2905 | 2690925.7351 | 1286048.8548 | 2690927.8284 | 1286046.9409 | 2690930.3911 | 1286045.735 | 2690933.2039 | 1286045.3447
103 | 2690903.8992 | 1286060.3502 | 2690898.122 | 1286048.5951 | 2690876.2604 | 1286051.8811
104 | 2690876.2604 | 1286051.8811 | 2690864.5735 | 1286053.6377 | 2690839.959 | 1286061.7768
105 | 2690762.4912 | 1286078.5476 | 2690763.4374 | 1286080.4979
106 | 2690762.4912 | 1286078.5476 | 2690755.7807 | 1286064.7151 | 2690750.9658 | 1286063.5399 | 2690728.4057 | 1286077.1369
107 | 2690721.7113 | 1286081.1716 | 2690728.4057 | 1286077.1369

## bus_geodata
| x | y | coords
0 | 2690941.2369 | 1285907.6231
1 | 2690934.5222 | 1285886.6365
2 | 2690884.0674 | 1285899.258
3 | 2690893.6458 | 1285916.1206
4 | 2690884.1998 | 1285931.5107
5 | 2690920.2531 | 1285989.3311
6 | 2690860.5918 | 1285883.2374
7 | 2690870.9891 | 1285911.9449
8 | 2690815.107 | 1285862.6737
9 | 2690856.9672 | 1285895.0625
10 | 2690971.0818 | 1285959.0754
11 | 2690926.2718 | 1286007.3042
12 | 2690847.0613 | 1285933.2839
13 | 2690802.9341 | 1285887.1049
14 | 2690855.3365 | 1285900.3826
15 | 2690715.6465 | 1285938.6777
16 | 2690719.7441 | 1285940.2423
17 | 2690698.2358 | 1285939.4966
18 | 2690742.317 | 1285951.7862
19 | 2690688.13 | 1285949.5791
20 | 2690692.3783 | 1285936.3677
21 | 2690749.5851 | 1285944.2581
22 | 2690692.1077 | 1285980.0769
23 | 2690687.8821 | 1285949.8264
24 | 2690681.2369 | 1285930.4163
25 | 2690760.7265 | 1285952.7372
26 | 2690760.4622 | 1285927.5332
27 | 2690663.4478 | 1285984.5453
28 | 2690676.6196 | 1285952.809
29 | 2690668.4963 | 1285926.2718
30 | 2690690.6531 | 1285878.478
31 | 2690690.7309 | 1285878.3377
32 | 2690685.648 | 1285887.5127
33 | 2690675.3974 | 1285882.0304
34 | 2690691.2108 | 1285890.4888
35 | 2690657.8386 | 1285872.6395
36 | 2690709.8819 | 1285900.4778
37 | 2690778.3339 | 1285887.4399
38 | 2690764.3997 | 1285918.6999
39 | 2690758.6967 | 1285876.3106
40 | 2690721.031 | 1285854.9636
41 | 2690734.3945 | 1285862.5373
42 | 2690657.4115 | 1285872.4111
43 | 2690710.1948 | 1285900.6452
44 | 2690657.331 | 1285926.4987
45 | 2690603.3045 | 1285985.2588
46 | 2690633.7242 | 1285984.898
47 | 2690550.4213 | 1285985.8862
48 | 2690656.6617 | 1285984.6258
49 | 2690594.2604 | 1285953.1976
50 | 2690596.4168 | 1285952.7752
51 | 2690659.6547 | 1285998.8885
52 | 2690698.4648 | 1286129.2116
53 | 2690690.3649 | 1286115.6692
54 | 2690659.8333 | 1286156.3854
55 | 2690722.5858 | 1286116.9946
56 | 2690593.1851 | 1286223.2413
57 | 2690563.7194 | 1286240.5369
58 | 2690607.2946 | 1286230.9651
59 | 2690584.2689 | 1286169.8902
60 | 2690651.9286 | 1286144.7012
61 | 2690614.0893 | 1286240.0753
62 | 2690589.5876 | 1286067.9708
63 | 2690612.5512 | 1286048.2691
64 | 2690612.2595 | 1285860.0839
65 | 2690666.3469 | 1285949.0501
66 | 2690656.1867 | 1285945.3324
67 | 2690728.2698 | 1285910.3134
68 | 2690745.8508 | 1285919.7175
69 | 2690650.6024 | 1286010.486
70 | 2690650.3392 | 1286010.7693
71 | 2690800.6213 | 1285891.7467
72 | 2690637.8183 | 1286024.2494
73 | 2690628.6954 | 1286034.0711
74 | 2690772.6854 | 1285953.3481
75 | 2690769.5929 | 1286093.1863
76 | 2690764.9599 | 1286083.6362
77 | 2690796.9614 | 1286097.6119
78 | 2690722.0431 | 1286261.7246
79 | 2690808.6324 | 1286232.7663
80 | 2690693.5924 | 1286334.4061
81 | 2690681.5331 | 1286235.5112
82 | 2690814.166 | 1286233.0438
83 | 2690808.1502 | 1286080.4447
84 | 2690545.3011 | 1286206.8289
85 | 2690587.2908 | 1286261.4955
86 | 2690565.9632 | 1286229.4483
87 | 2690647.1125 | 1286306.378
88 | 2690646.451 | 1286138.3094
89 | 2690781.5798 | 1285950.8507
90 | 2690781.7095 | 1285950.8143
91 | 2690793.9616 | 1285947.5277
92 | 2690805.9931 | 1285944.3003
93 | 2690815.9711 | 1285941.6238
94 | 2690837.4013 | 1285935.8752
95 | 2690829.3616 | 1285938.0318
96 | 2690910.4852 | 1286011.6517
97 | 2690885.5116 | 1286011.1195
98 | 2690927.8124 | 1286012.0211
99 | 2690926.282 | 1286007.3354
100 | 2690928.3879 | 1286015.1352
101 | 2690933.2039 | 1286045.3447
102 | 2690903.8992 | 1286060.3502
103 | 2690876.2604 | 1286051.8811
104 | 2690839.959 | 1286061.7768
105 | 2690763.4374 | 1286080.4979
106 | 2690762.4912 | 1286078.5476
107 | 2690728.4057 | 1286077.1369
108 | 2690721.7113 | 1286081.1716
109 | 2690721.7113 | 1286081.1716

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1