## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_295-15_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_295-15_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_295-15_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_295-15_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_295-15_0_4_node_12 | 0.4 | n |  | TRUE
5 | bus_LV_295-15_0_4_node_13 | 0.4 | n |  | TRUE
6 | bus_LV_295-15_0_4_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_295-15_0_4_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_295-15_0_4_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_295-15_0_4_node_8 | 0.4 | n |  | TRUE
10 | bus_LV_295-15_0_4_node_9 | 0.4 | n |  | TRUE
11 | bus_LV_295-15_0_4_node_10 | 0.4 | n |  | TRUE
12 | bus_LV_295-15_0_4_node_11 | 0.4 | n |  | TRUE
13 | bus_LV_295-15_0_4_node_51 | 0.4 | n |  | TRUE
14 | bus_LV_295-15_0_4_node_49 | 0.4 | n |  | TRUE
15 | bus_LV_295-15_0_4_node_64 | 0.4 | n |  | TRUE
16 | bus_LV_295-15_0_4_node_47 | 0.4 | n |  | TRUE
17 | bus_LV_295-15_0_4_node_65 | 0.4 | n |  | TRUE
18 | bus_LV_295-15_0_4_node_14 | 0.4 | n |  | TRUE
19 | bus_LV_295-15_0_4_node_15 | 0.4 | n |  | TRUE
20 | bus_LV_295-15_0_4_node_33 | 0.4 | n |  | TRUE
21 | bus_LV_295-15_0_4_node_20 | 0.4 | n |  | TRUE
22 | bus_LV_295-15_0_4_node_35 | 0.4 | n |  | TRUE
23 | bus_LV_295-15_0_4_node_16 | 0.4 | n |  | TRUE
24 | bus_LV_295-15_0_4_node_17 | 0.4 | n |  | TRUE
25 | bus_LV_295-15_0_4_node_18 | 0.4 | n |  | TRUE
26 | bus_LV_295-15_0_4_node_19 | 0.4 | n |  | TRUE
27 | bus_LV_295-15_0_4_node_21 | 0.4 | n |  | TRUE
28 | bus_LV_295-15_0_4_node_22 | 0.4 | n |  | TRUE
29 | bus_LV_295-15_0_4_node_31 | 0.4 | n |  | TRUE
30 | bus_LV_295-15_0_4_node_23 | 0.4 | n |  | TRUE
31 | bus_LV_295-15_0_4_node_29 | 0.4 | n |  | TRUE
32 | bus_LV_295-15_0_4_node_24 | 0.4 | n |  | TRUE
33 | bus_LV_295-15_0_4_node_37 | 0.4 | n |  | TRUE
34 | bus_LV_295-15_0_4_node_36 | 0.4 | n |  | TRUE
35 | bus_LV_295-15_0_4_node_38 | 0.4 | n |  | TRUE
36 | bus_LV_295-15_0_4_node_25 | 0.4 | n |  | TRUE
37 | bus_LV_295-15_0_4_node_26 | 0.4 | n |  | TRUE
38 | bus_LV_295-15_0_4_node_55 | 0.4 | n |  | TRUE
39 | bus_LV_295-15_0_4_node_53 | 0.4 | n |  | TRUE
40 | bus_LV_295-15_0_4_node_27 | 0.4 | n |  | TRUE
41 | bus_LV_295-15_0_4_node_28 | 0.4 | n |  | TRUE
42 | bus_LV_295-15_0_4_node_30 | 0.4 | n |  | TRUE
43 | bus_LV_295-15_0_4_node_32 | 0.4 | n |  | TRUE
44 | bus_LV_295-15_0_4_node_34 | 0.4 | n |  | TRUE
45 | bus_LV_295-15_0_4_node_39 | 0.4 | n |  | TRUE
46 | bus_LV_295-15_0_4_node_42 | 0.4 | n |  | TRUE
47 | bus_LV_295-15_0_4_node_43 | 0.4 | n |  | TRUE
48 | bus_LV_295-15_0_4_node_44 | 0.4 | n |  | TRUE
49 | bus_LV_295-15_0_4_node_45 | 0.4 | n |  | TRUE
50 | bus_LV_295-15_0_4_node_46 | 0.4 | n |  | TRUE
51 | bus_LV_295-15_0_4_node_57 | 0.4 | n |  | TRUE
52 | bus_LV_295-15_0_4_node_56 | 0.4 | n |  | TRUE
53 | bus_LV_295-15_0_4_node_66 | 0.4 | n |  | TRUE
54 | bus_LV_295-15_0_4_node_58 | 0.4 | n |  | TRUE
55 | bus_LV_295-15_0_4_node_59 | 0.4 | n |  | TRUE
56 | bus_LV_295-15_0_4_node_54 | 0.4 | n |  | TRUE
57 | bus_LV_295-15_0_4_node_60 | 0.4 | n |  | TRUE
58 | bus_LV_295-15_0_4_node_48 | 0.4 | n |  | TRUE
59 | bus_LV_295-15_0_4_node_67 | 0.4 | n |  | TRUE
60 | bus_LV_295-15_0_4_node_50 | 0.4 | n |  | TRUE
61 | bus_LV_295-15_0_4_node_68 | 0.4 | n |  | TRUE
62 | bus_LV_295-15_0_4_node_69 | 0.4 | n |  | TRUE
63 | bus_LV_295-15_0_4_node_52 | 0.4 | n |  | TRUE
64 | bus_LV_295-15_0_4_node_62 | 0.4 | n |  | TRUE
65 | bus_LV_295-15_0_4_node_61 | 0.4 | n |  | TRUE
66 | bus_MV_417_0_node_153 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_295-15_0_4_load_0 | 0 | 0.0060046 | 0.0015049 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_295-15_0_4_load_1 | 1 | 0.0029414 | 0.00073718 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_295-15_0_4_load_3 | 3 | 0.0041179 | 0.001032 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_295-15_0_4_load_12 | 4 | 0.0018296 | 0.00045853 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_295-15_0_4_load_13 | 5 | 0.0043798 | 0.0010977 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_295-15_0_4_load_4 | 6 | 0.0019771 | 0.00049552 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_295-15_0_4_load_5 | 7 | 0.001971 | 0.00049398 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_295-15_0_4_load_7 | 8 | 0.0026281 | 0.00065867 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_295-15_0_4_load_8 | 9 | 0.0012069 | 0.00030249 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_295-15_0_4_load_10 | 11 | 0.0056517 | 0.0014165 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_295-15_0_4_load_51 | 13 | 0.0042326 | 0.0010608 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_295-15_0_4_load_49 | 14 | 0.035158 | 0.0088114 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_295-15_0_4_load_64 | 15 | 0.0014096 | 0.00035327 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_295-15_0_4_load_47 | 16 | 0.013574 | 0.003402 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_295-15_0_4_load_65 | 17 | 0.0029206 | 0.00073196 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_295-15_0_4_load_14 | 18 | 0.00059975 | 0.00015031 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_295-15_0_4_load_33 | 20 | 0.0025671 | 0.00064338 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_295-15_0_4_load_20 | 21 | 0.0016878 | 0.00042299 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_295-15_0_4_load_35 | 22 | 0.0024809 | 0.00062177 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_295-15_0_4_load_16 | 23 | 0.0017088 | 0.00042827 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_295-15_0_4_load_17 | 24 | 0.00065845 | 0.00016502 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_295-15_0_4_load_19 | 26 | 0.00046346 | 0.00011615 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_295-15_0_4_load_21 | 27 | 0.001093 | 0.00027393 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_295-15_0_4_load_22 | 28 | 0.00087311 | 0.00021882 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_295-15_0_4_load_31 | 29 | 0.0011392 | 0.00028552 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_295-15_0_4_load_24 | 32 | 0.0013063 | 0.00032738 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_295-15_0_4_load_36 | 34 | 0.0040362 | 0.0010116 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_295-15_0_4_load_53 | 39 | 0.0025919 | 0.00064958 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_295-15_0_4_load_27 | 40 | 0.0073889 | 0.0018518 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_295-15_0_4_load_32 | 43 | 0.0040203 | 0.0010076 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_295-15_0_4_load_34 | 44 | 0.0040743 | 0.0010211 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_295-15_0_4_load_39 | 45 | 0.0021795 | 0.00054623 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_295-15_0_4_load_42 | 46 | 0.0010007 | 0.0002508 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_295-15_0_4_load_43 | 47 | 0.0018152 | 0.00045494 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_295-15_0_4_load_44 | 48 | 0.0017767 | 0.00044527 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_295-15_0_4_load_45 | 49 | 0.0019932 | 0.00049955 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_295-15_0_4_load_46 | 50 | 0.0026464 | 0.00066326 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_295-15_0_4_load_57 | 51 | 0.0014522 | 0.00036396 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_295-15_0_4_load_56 | 52 | 0.0022638 | 0.00056735 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_295-15_0_4_load_66 | 53 | 0.0018367 | 0.00046033 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_295-15_0_4_load_58 | 54 | 0.0019394 | 0.00048605 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_295-15_0_4_load_59 | 55 | 0.0015565 | 0.0003901 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_295-15_0_4_load_54 | 56 | 0.0017971 | 0.0004504 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_295-15_0_4_load_60 | 57 | 0.0015935 | 0.00039937 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_295-15_0_4_load_48 | 58 | 0.011544 | 0.0028932 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_295-15_0_4_load_67 | 59 | 0.014117 | 0.0035382 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_295-15_0_4_load_50 | 60 | 0.0032973 | 0.00082637 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_295-15_0_4_load_68 | 61 | 0.01354 | 0.0033934 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_295-15_0_4_load_69 | 62 | 0.011561 | 0.0028974 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_295-15_0_4_load_52 | 63 | 0.0025153 | 0.00063039 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_295-15_0_4_load_62 | 64 | 0.0015286 | 0.00038309 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_295-15_0_4_load_61 | 65 | 0.0021131 | 0.00052959 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 10 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_295-15_0_4_line_0 |  | 0 | 1 | 0.019567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_295-15_0_4_line_1 |  | 0 | 2 | 0.022382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_295-15_0_4_line_2 |  | 2 | 3 | 0.048362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_295-15_0_4_line_3 |  | 3 | 4 | 0.0021609 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_295-15_0_4_line_4 |  | 4 | 5 | 0.027057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_295-15_0_4_line_5 |  | 5 | 18 | 0.021766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_295-15_0_4_line_6 |  | 6 | 7 | 0.033424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_295-15_0_4_line_7 |  | 7 | 8 | 0.033399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_295-15_0_4_line_8 |  | 8 | 9 | 0.031606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_295-15_0_4_line_9 |  | 9 | 10 | 0.031186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_295-15_0_4_line_10 |  | 10 | 11 | 0.024765 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_295-15_0_4_line_11 |  | 10 | 12 | 0.059459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
12 | LV_295-15_0_4_line_12 |  | 11 | 13 | 0.050231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_295-15_0_4_line_13 |  | 12 | 14 | 0.021693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_295-15_0_4_line_14 |  | 12 | 15 | 0.02069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
15 | LV_295-15_0_4_line_15 |  | 14 | 16 | 0.060226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_295-15_0_4_line_16 |  | 15 | 17 | 0.011198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
17 | LV_295-15_0_4_line_17 |  | 16 | 58 | 0.0038441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_295-15_0_4_line_18 |  | 16 | 59 | 0.069585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_295-15_0_4_line_19 |  | 17 | 53 | 0.022475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
20 | LV_295-15_0_4_line_20 |  | 18 | 19 | 0.01898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_295-15_0_4_line_21 |  | 19 | 20 | 0.024111 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_295-15_0_4_line_22 |  | 19 | 21 | 0.0302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_295-15_0_4_line_23 |  | 20 | 22 | 0.0056475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_295-15_0_4_line_24 |  | 22 | 44 | 0.007899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_295-15_0_4_line_25 |  | 23 | 24 | 0.0094217 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_295-15_0_4_line_26 |  | 23 | 25 | 0.003214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_295-15_0_4_line_27 |  | 24 | 26 | 0.0054206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_295-15_0_4_line_28 |  | 25 | 27 | 0.014364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_295-15_0_4_line_29 |  | 26 | 28 | 0.016526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_295-15_0_4_line_30 |  | 27 | 29 | 0.023449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_295-15_0_4_line_31 |  | 28 | 30 | 0.026635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_295-15_0_4_line_32 |  | 29 | 31 | 0.0016544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_295-15_0_4_line_33 |  | 30 | 32 | 0.03716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_295-15_0_4_line_34 |  | 30 | 33 | 0.051479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_295-15_0_4_line_35 |  | 31 | 43 | 0.031346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_295-15_0_4_line_36 |  | 31 | 40 | 0.033002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_295-15_0_4_line_37 |  | 32 | 36 | 0.051298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_295-15_0_4_line_38 |  | 33 | 34 | 0.041989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_295-15_0_4_line_39 |  | 34 | 35 | 0.032161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_295-15_0_4_line_40 |  | 35 | 45 | 0.021198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_295-15_0_4_line_41 |  | 36 | 37 | 0.051755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_295-15_0_4_line_42 |  | 37 | 38 | 0.026654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_295-15_0_4_line_43 |  | 38 | 39 | 0.033295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
44 | LV_295-15_0_4_line_44 |  | 39 | 63 | 0.0081109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
45 | LV_295-15_0_4_line_45 |  | 40 | 41 | 0.0041842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_295-15_0_4_line_46 |  | 41 | 42 | 0.020367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_295-15_0_4_line_47 |  | 42 | 44 | 0.013406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_295-15_0_4_line_48 |  | 46 | 47 | 0.0041899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
49 | LV_295-15_0_4_line_49 |  | 46 | 48 | 0.00081582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
50 | LV_295-15_0_4_line_50 |  | 47 | 49 | 0.019385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
51 | LV_295-15_0_4_line_51 |  | 48 | 50 | 0.0046973 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
52 | LV_295-15_0_4_line_52 |  | 48 | 51 | 0.047902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_295-15_0_4_line_53 |  | 49 | 52 | 0.0054322 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
54 | LV_295-15_0_4_line_54 |  | 50 | 53 | 0.021627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
55 | LV_295-15_0_4_line_55 |  | 51 | 54 | 0.026603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_295-15_0_4_line_56 |  | 51 | 55 | 0.027627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_295-15_0_4_line_57 |  | 52 | 56 | 0.019241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
58 | LV_295-15_0_4_line_58 |  | 54 | 57 | 0.025529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_295-15_0_4_line_59 |  | 55 | 65 | 0.026466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_295-15_0_4_line_60 |  | 56 | 63 | 0.027535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
61 | LV_295-15_0_4_line_61 |  | 57 | 64 | 0.02575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_295-15_0_4_line_62 |  | 58 | 60 | 0.041622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_295-15_0_4_line_63 |  | 60 | 61 | 0.027271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_295-15_0_4_line_64 |  | 61 | 62 | 0.011792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_295-15_0_4_trafo_9 | 0.63 MVA 20/0.4 kV | 66 | 10 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2687390.2883 | 1234339.6839 | 2687377.6461 | 1234324.7492
1 | 2687404.7491 | 1234356.7668 | 2687390.2883 | 1234339.6839
2 | 2687404.7491 | 1234356.7668 | 2687429.8273 | 1234339.4567 | 2687444.1051 | 1234328.6785
3 | 2687445.8298 | 1234327.3766 | 2687444.1051 | 1234328.6785
4 | 2687445.8298 | 1234327.3766 | 2687467.4247 | 1234311.0748
5 | 2687484.7968 | 1234297.9608 | 2687467.4247 | 1234311.0748
6 | 2687340.8999 | 1234295.4719 | 2687345.2099 | 1234291.2449 | 2687361.6822 | 1234269.3653
7 | 2687382.0616 | 1234242.9076 | 2687372.5899 | 1234254.877 | 2687361.6822 | 1234269.3653
8 | 2687401.6743 | 1234218.1231 | 2687382.0616 | 1234242.9076
9 | 2687421.0263 | 1234193.6679 | 2687401.6743 | 1234218.1231
10 | 2687421.0263 | 1234193.6679 | 2687438.7297 | 1234176.35
11 | 2687412.2627 | 1234142.5248 | 2687404.2503 | 1234169.971 | 2687404.8069 | 1234178.9633 | 2687410.7528 | 1234184.4213 | 2687421.0263 | 1234193.6679
12 | 2687438.7297 | 1234176.35 | 2687462.1903 | 1234153.4004 | 2687475.0728 | 1234141.687
13 | 2687412.2627 | 1234142.5248 | 2687407.5773 | 1234141.9555 | 2687402.7302 | 1234142.5958 | 2687398.9955 | 1234144.8091 | 2687393.5022 | 1234150.2656
14 | 2687412.2627 | 1234142.5248 | 2687421.4785 | 1234124.0007
15 | 2687361.921 | 1234201.024 | 2687383.1642 | 1234173.6969 | 2687386.9249 | 1234165.5909 | 2687393.5022 | 1234150.2656
16 | 2687421.4785 | 1234124.0007 | 2687426.4663 | 1234113.9751
17 | 2687361.921 | 1234201.024 | 2687359.5617 | 1234204.0589
18 | 2687361.921 | 1234201.024 | 2687308.5388 | 1234156.3881
19 | 2687426.4663 | 1234113.9751 | 2687430.4013 | 1234106.0657 | 2687439.5944 | 1234095.9875
20 | 2687501.7323 | 1234289.546 | 2687487.4584 | 1234295.9515 | 2687484.7968 | 1234297.9608
21 | 2687501.7323 | 1234289.546 | 2687504.4465 | 1234313.5033
22 | 2687501.7323 | 1234289.546 | 2687529.2913 | 1234277.1945
23 | 2687504.4465 | 1234313.5033 | 2687504.7001 | 1234315.7417 | 2687507.018 | 1234318.222 | 2687507.018 | 1234318.222
24 | 2687514.8849 | 1234318.404 | 2687511.1072 | 1234318.6603 | 2687507.018 | 1234318.222
25 | 2687569.7643 | 1234255.732 | 2687562.3426 | 1234261.5362
26 | 2687559.8109 | 1234263.5161 | 2687562.3426 | 1234261.5362
27 | 2687574.0341 | 1234252.3928 | 2687569.7643 | 1234255.732
28 | 2687559.8109 | 1234263.5161 | 2687559.7391 | 1234277.8804
29 | 2687574.0341 | 1234252.3928 | 2687583.6453 | 1234244.8762 | 2687586.3548 | 1234241.5053
30 | 2687559.7391 | 1234277.8804 | 2687559.6789 | 1234289.933 | 2687560.3044 | 1234301.312
31 | 2687603.0413 | 1234220.7449 | 2687586.3548 | 1234241.5053
32 | 2687560.3952 | 1234302.9639 | 2687560.3044 | 1234301.312
33 | 2687603.0413 | 1234220.7449 | 2687584.8759 | 1234205.5775 | 2687575.7892 | 1234195.6004
34 | 2687603.0413 | 1234220.7449 | 2687652.1034 | 1234236.3349
35 | 2687560.3952 | 1234302.9639 | 2687561.5023 | 1234329.0322 | 2687562.9142 | 1234334.0932
36 | 2687560.3952 | 1234302.9639 | 2687547.1 | 1234305.1141 | 2687545.8962 | 1234307.1756 | 2687535.9098 | 1234309.2967 | 2687535.0709 | 1234313.3094 | 2687533.8581 | 1234315.8756
37 | 2687553.9894 | 1234150.0051 | 2687554.8463 | 1234155.0435 | 2687557.917 | 1234164.4955 | 2687560.3905 | 1234171.826 | 2687564.1228 | 1234180.0424 | 2687571.5628 | 1234190.9598 | 2687575.7892 | 1234195.6004
38 | 2687652.1034 | 1234236.3349 | 2687642.4847 | 1234277.2076
39 | 2687635.1174 | 1234308.5136 | 2687642.4847 | 1234277.2076
40 | 2687635.1174 | 1234308.5136 | 2687632.9577 | 1234320.457 | 2687631.3484 | 1234329.3734
41 | 2687553.9894 | 1234150.0051 | 2687551.6336 | 1234136.2272 | 2687550.8477 | 1234116.6128 | 2687548.2596 | 1234104.2103 | 2687545.2381 | 1234099.6403
42 | 2687545.2381 | 1234099.6403 | 2687551.07 | 1234086.6392 | 2687552.5083 | 1234074.3183
43 | 2687552.5083 | 1234074.3183 | 2687548.6142 | 1234072.4485 | 2687522.3167 | 1234074.7851 | 2687520.5885 | 1234072.8776
44 | 2687515.1426 | 1234066.867 | 2687520.5885 | 1234072.8776
45 | 2687532.0702 | 1234319.6586 | 2687533.8581 | 1234315.8756
46 | 2687516.1812 | 1234330.3545 | 2687528.6431 | 1234325.668 | 2687530.8886 | 1234323.2994 | 2687532.0702 | 1234319.6586
47 | 2687516.1812 | 1234330.3545 | 2687517.0626 | 1234327.054 | 2687517.3828 | 1234324.3345 | 2687517.4263 | 1234321.3775 | 2687515.6843 | 1234318.3497 | 2687514.8849 | 1234318.404
48 | 2687458.6339 | 1234076.6632 | 2687461.6452 | 1234073.7499
49 | 2687458.0475 | 1234077.2305 | 2687458.6339 | 1234076.6632
50 | 2687476.2218 | 1234061.0465 | 2687470.784 | 1234064.9083 | 2687461.6452 | 1234073.7499
51 | 2687454.6716 | 1234080.4966 | 2687458.0475 | 1234077.2305
52 | 2687458.0475 | 1234077.2305 | 2687423.3219 | 1234044.2352
53 | 2687480.6508 | 1234057.9011 | 2687476.2218 | 1234061.0465
54 | 2687454.6716 | 1234080.4966 | 2687446.6145 | 1234088.2915 | 2687439.5944 | 1234095.9875
55 | 2687423.3219 | 1234044.2352 | 2687430.5911 | 1234037.1083 | 2687442.2021 | 1234025.4941
56 | 2687423.3219 | 1234044.2352 | 2687403.5946 | 1234063.5761
57 | 2687496.3378 | 1234046.7604 | 2687480.6508 | 1234057.9011
58 | 2687460.2516 | 1234007.4397 | 2687442.2021 | 1234025.4941
59 | 2687384.696 | 1234082.1047 | 2687403.5946 | 1234063.5761
60 | 2687496.3378 | 1234046.7604 | 2687504.2439 | 1234054.8381 | 2687515.1426 | 1234066.867
61 | 2687479.9734 | 1233990.8913 | 2687467.5964 | 1234001.1828 | 2687461.1658 | 1234006.5253 | 2687460.2516 | 1234007.4397
62 | 2687359.5617 | 1234204.0589 | 2687338.1531 | 1234231.5987 | 2687332.2038 | 1234228.4313
63 | 2687316.0393 | 1234250.3954 | 2687332.2038 | 1234228.4313 | 2687332.2038 | 1234228.4313
64 | 2687316.0393 | 1234250.3954 | 2687309.0499 | 1234259.8924

## bus_geodata
| x | y | coords
0 | 2687390.2883 | 1234339.6839
1 | 2687377.6461 | 1234324.7492
2 | 2687404.7491 | 1234356.7668
3 | 2687444.1051 | 1234328.6785
4 | 2687445.8298 | 1234327.3766
5 | 2687467.4247 | 1234311.0748
6 | 2687340.8999 | 1234295.4719
7 | 2687361.6822 | 1234269.3653
8 | 2687382.0616 | 1234242.9076
9 | 2687401.6743 | 1234218.1231
10 | 2687421.0263 | 1234193.6679
11 | 2687438.7297 | 1234176.35
12 | 2687412.2627 | 1234142.5248
13 | 2687475.0728 | 1234141.687
14 | 2687393.5022 | 1234150.2656
15 | 2687421.4785 | 1234124.0007
16 | 2687361.921 | 1234201.024
17 | 2687426.4663 | 1234113.9751
18 | 2687484.7968 | 1234297.9608
19 | 2687501.7323 | 1234289.546
20 | 2687504.4465 | 1234313.5033
21 | 2687529.2913 | 1234277.1945
22 | 2687507.018 | 1234318.222
23 | 2687562.3426 | 1234261.5362
24 | 2687569.7643 | 1234255.732
25 | 2687559.8109 | 1234263.5161
26 | 2687574.0341 | 1234252.3928
27 | 2687559.7391 | 1234277.8804
28 | 2687586.3548 | 1234241.5053
29 | 2687560.3044 | 1234301.312
30 | 2687603.0413 | 1234220.7449
31 | 2687560.3952 | 1234302.9639
32 | 2687575.7892 | 1234195.6004
33 | 2687652.1034 | 1234236.3349
34 | 2687642.4847 | 1234277.2076
35 | 2687635.1174 | 1234308.5136
36 | 2687553.9894 | 1234150.0051
37 | 2687545.2381 | 1234099.6403
38 | 2687552.5083 | 1234074.3183
39 | 2687520.5885 | 1234072.8777
40 | 2687533.8581 | 1234315.8756
41 | 2687532.0702 | 1234319.6586
42 | 2687516.1812 | 1234330.3545
43 | 2687562.9142 | 1234334.0932
44 | 2687514.8849 | 1234318.404
45 | 2687631.3484 | 1234329.3734
46 | 2687458.6339 | 1234076.6632
47 | 2687461.6452 | 1234073.7499
48 | 2687458.0475 | 1234077.2305
49 | 2687476.2218 | 1234061.0465
50 | 2687454.6716 | 1234080.4966
51 | 2687423.3219 | 1234044.2352
52 | 2687480.6508 | 1234057.9011
53 | 2687439.5944 | 1234095.9875
54 | 2687442.2021 | 1234025.4941
55 | 2687403.5946 | 1234063.5761
56 | 2687496.3378 | 1234046.7604
57 | 2687460.2516 | 1234007.4397
58 | 2687359.5617 | 1234204.0589
59 | 2687308.5388 | 1234156.3881
60 | 2687332.2038 | 1234228.4313
61 | 2687316.0393 | 1234250.3954
62 | 2687309.0499 | 1234259.8924
63 | 2687515.1426 | 1234066.867
64 | 2687479.9734 | 1233990.8913
65 | 2687384.696 | 1234082.1047
66 | 2687412.2627 | 1234142.5248

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1