## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_295-17_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_295-17_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_295-17_0_5_node_6 | 0.4 | n |  | TRUE
3 | bus_LV_295-17_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_295-17_0_5_node_28 | 0.4 | n |  | TRUE
5 | bus_LV_295-17_0_5_node_158 | 0.4 | n |  | TRUE
6 | bus_LV_295-17_0_5_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_295-17_0_5_node_8 | 0.4 | n |  | TRUE
8 | bus_LV_295-17_0_5_node_156 | 0.4 | n |  | TRUE
9 | bus_LV_295-17_0_5_node_152 | 0.4 | n |  | TRUE
10 | bus_LV_295-17_0_5_node_161 | 0.4 | n |  | TRUE
11 | bus_LV_295-17_0_5_node_160 | 0.4 | n |  | TRUE
12 | bus_LV_295-17_0_5_node_10 | 0.4 | n |  | TRUE
13 | bus_LV_295-17_0_5_node_47 | 0.4 | n |  | TRUE
14 | bus_LV_295-17_0_5_node_20 | 0.4 | n |  | TRUE
15 | bus_LV_295-17_0_5_node_45 | 0.4 | n |  | TRUE
16 | bus_LV_295-17_0_5_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_295-17_0_5_node_14 | 0.4 | n |  | TRUE
18 | bus_LV_295-17_0_5_node_16 | 0.4 | n |  | TRUE
19 | bus_LV_295-17_0_5_node_33 | 0.4 | n |  | TRUE
20 | bus_LV_295-17_0_5_node_12 | 0.4 | n |  | TRUE
21 | bus_LV_295-17_0_5_node_51 | 0.4 | n |  | TRUE
22 | bus_LV_295-17_0_5_node_13 | 0.4 | n |  | TRUE
23 | bus_LV_295-17_0_5_node_48 | 0.4 | n |  | TRUE
24 | bus_LV_295-17_0_5_node_21 | 0.4 | n |  | TRUE
25 | bus_LV_295-17_0_5_node_43 | 0.4 | n |  | TRUE
26 | bus_LV_295-17_0_5_node_36 | 0.4 | n |  | TRUE
27 | bus_LV_295-17_0_5_node_15 | 0.4 | n |  | TRUE
28 | bus_LV_295-17_0_5_node_138 | 0.4 | n |  | TRUE
29 | bus_LV_295-17_0_5_node_135 | 0.4 | n |  | TRUE
30 | bus_LV_295-17_0_5_node_88 | 0.4 | n |  | TRUE
31 | bus_LV_295-17_0_5_node_155 | 0.4 | n |  | TRUE
32 | bus_LV_295-17_0_5_node_89 | 0.4 | n |  | TRUE
33 | bus_LV_295-17_0_5_node_23 | 0.4 | n |  | TRUE
34 | bus_LV_295-17_0_5_node_26 | 0.4 | n |  | TRUE
35 | bus_LV_295-17_0_5_node_149 | 0.4 | n |  | TRUE
36 | bus_LV_295-17_0_5_node_24 | 0.4 | n |  | TRUE
37 | bus_LV_295-17_0_5_node_126 | 0.4 | n |  | TRUE
38 | bus_LV_295-17_0_5_node_25 | 0.4 | n |  | TRUE
39 | bus_LV_295-17_0_5_node_27 | 0.4 | n |  | TRUE
40 | bus_LV_295-17_0_5_node_35 | 0.4 | n |  | TRUE
41 | bus_LV_295-17_0_5_node_31 | 0.4 | n |  | TRUE
42 | bus_LV_295-17_0_5_node_151 | 0.4 | n |  | TRUE
43 | bus_LV_295-17_0_5_node_37 | 0.4 | n |  | TRUE
44 | bus_LV_295-17_0_5_node_113 | 0.4 | n |  | TRUE
45 | bus_LV_295-17_0_5_node_111 | 0.4 | n |  | TRUE
46 | bus_LV_295-17_0_5_node_46 | 0.4 | n |  | TRUE
47 | bus_LV_295-17_0_5_node_40 | 0.4 | n |  | TRUE
48 | bus_LV_295-17_0_5_node_38 | 0.4 | n |  | TRUE
49 | bus_LV_295-17_0_5_node_154 | 0.4 | n |  | TRUE
50 | bus_LV_295-17_0_5_node_153 | 0.4 | n |  | TRUE
51 | bus_LV_295-17_0_5_node_44 | 0.4 | n |  | TRUE
52 | bus_LV_295-17_0_5_node_32 | 0.4 | n |  | TRUE
53 | bus_LV_295-17_0_5_node_93 | 0.4 | n |  | TRUE
54 | bus_LV_295-17_0_5_node_49 | 0.4 | n |  | TRUE
55 | bus_LV_295-17_0_5_node_41 | 0.4 | n |  | TRUE
56 | bus_LV_295-17_0_5_node_136 | 0.4 | n |  | TRUE
57 | bus_LV_295-17_0_5_node_139 | 0.4 | n |  | TRUE
58 | bus_LV_295-17_0_5_node_118 | 0.4 | n |  | TRUE
59 | bus_LV_295-17_0_5_node_119 | 0.4 | n |  | TRUE
60 | bus_LV_295-17_0_5_node_72 | 0.4 | n |  | TRUE
61 | bus_LV_295-17_0_5_node_108 | 0.4 | n |  | TRUE
62 | bus_LV_295-17_0_5_node_110 | 0.4 | n |  | TRUE
63 | bus_LV_295-17_0_5_node_92 | 0.4 | n |  | TRUE
64 | bus_LV_295-17_0_5_node_140 | 0.4 | n |  | TRUE
65 | bus_LV_295-17_0_5_node_34 | 0.4 | n |  | TRUE
66 | bus_LV_295-17_0_5_node_105 | 0.4 | n |  | TRUE
67 | bus_LV_295-17_0_5_node_109 | 0.4 | n |  | TRUE
68 | bus_LV_295-17_0_5_node_133 | 0.4 | n |  | TRUE
69 | bus_LV_295-17_0_5_node_106 | 0.4 | n |  | TRUE
70 | bus_LV_295-17_0_5_node_134 | 0.4 | n |  | TRUE
71 | bus_LV_295-17_0_5_node_107 | 0.4 | n |  | TRUE
72 | bus_LV_295-17_0_5_node_82 | 0.4 | n |  | TRUE
73 | bus_LV_295-17_0_5_node_131 | 0.4 | n |  | TRUE
74 | bus_LV_295-17_0_5_node_128 | 0.4 | n |  | TRUE
75 | bus_LV_295-17_0_5_node_137 | 0.4 | n |  | TRUE
76 | bus_LV_295-17_0_5_node_125 | 0.4 | n |  | TRUE
77 | bus_LV_295-17_0_5_node_30 | 0.4 | n |  | TRUE
78 | bus_LV_295-17_0_5_node_90 | 0.4 | n |  | TRUE
79 | bus_LV_295-17_0_5_node_91 | 0.4 | n |  | TRUE
80 | bus_LV_295-17_0_5_node_39 | 0.4 | n |  | TRUE
81 | bus_LV_295-17_0_5_node_42 | 0.4 | n |  | TRUE
82 | bus_LV_295-17_0_5_node_159 | 0.4 | n |  | TRUE
83 | bus_LV_295-17_0_5_node_50 | 0.4 | n |  | TRUE
84 | bus_LV_295-17_0_5_node_96 | 0.4 | n |  | TRUE
85 | bus_LV_295-17_0_5_node_55 | 0.4 | n |  | TRUE
86 | bus_LV_295-17_0_5_node_53 | 0.4 | n |  | TRUE
87 | bus_LV_295-17_0_5_node_71 | 0.4 | n |  | TRUE
88 | bus_LV_295-17_0_5_node_60 | 0.4 | n |  | TRUE
89 | bus_LV_295-17_0_5_node_54 | 0.4 | n |  | TRUE
90 | bus_LV_295-17_0_5_node_142 | 0.4 | n |  | TRUE
91 | bus_LV_295-17_0_5_node_141 | 0.4 | n |  | TRUE
92 | bus_LV_295-17_0_5_node_57 | 0.4 | n |  | TRUE
93 | bus_LV_295-17_0_5_node_56 | 0.4 | n |  | TRUE
94 | bus_LV_295-17_0_5_node_64 | 0.4 | n |  | TRUE
95 | bus_LV_295-17_0_5_node_58 | 0.4 | n |  | TRUE
96 | bus_LV_295-17_0_5_node_94 | 0.4 | n |  | TRUE
97 | bus_LV_295-17_0_5_node_166 | 0.4 | n |  | TRUE
98 | bus_LV_295-17_0_5_node_59 | 0.4 | n |  | TRUE
99 | bus_LV_295-17_0_5_node_162 | 0.4 | n |  | TRUE
100 | bus_LV_295-17_0_5_node_61 | 0.4 | n |  | TRUE
101 | bus_LV_295-17_0_5_node_165 | 0.4 | n |  | TRUE
102 | bus_LV_295-17_0_5_node_85 | 0.4 | n |  | TRUE
103 | bus_LV_295-17_0_5_node_62 | 0.4 | n |  | TRUE
104 | bus_LV_295-17_0_5_node_76 | 0.4 | n |  | TRUE
105 | bus_LV_295-17_0_5_node_75 | 0.4 | n |  | TRUE
106 | bus_LV_295-17_0_5_node_63 | 0.4 | n |  | TRUE
107 | bus_LV_295-17_0_5_node_104 | 0.4 | n |  | TRUE
108 | bus_LV_295-17_0_5_node_150 | 0.4 | n |  | TRUE
109 | bus_LV_295-17_0_5_node_74 | 0.4 | n |  | TRUE
110 | bus_LV_295-17_0_5_node_65 | 0.4 | n |  | TRUE
111 | bus_LV_295-17_0_5_node_95 | 0.4 | n |  | TRUE
112 | bus_LV_295-17_0_5_node_168 | 0.4 | n |  | TRUE
113 | bus_LV_295-17_0_5_node_147 | 0.4 | n |  | TRUE
114 | bus_LV_295-17_0_5_node_83 | 0.4 | n |  | TRUE
115 | bus_LV_295-17_0_5_node_84 | 0.4 | n |  | TRUE
116 | bus_LV_295-17_0_5_node_81 | 0.4 | n |  | TRUE
117 | bus_LV_295-17_0_5_node_102 | 0.4 | n |  | TRUE
118 | bus_LV_295-17_0_5_node_70 | 0.4 | n |  | TRUE
119 | bus_LV_295-17_0_5_node_66 | 0.4 | n |  | TRUE
120 | bus_LV_295-17_0_5_node_67 | 0.4 | n |  | TRUE
121 | bus_LV_295-17_0_5_node_157 | 0.4 | n |  | TRUE
122 | bus_LV_295-17_0_5_node_100 | 0.4 | n |  | TRUE
123 | bus_LV_295-17_0_5_node_98 | 0.4 | n |  | TRUE
124 | bus_LV_295-17_0_5_node_101 | 0.4 | n |  | TRUE
125 | bus_LV_295-17_0_5_node_77 | 0.4 | n |  | TRUE
126 | bus_LV_295-17_0_5_node_78 | 0.4 | n |  | TRUE
127 | bus_LV_295-17_0_5_node_79 | 0.4 | n |  | TRUE
128 | bus_LV_295-17_0_5_node_80 | 0.4 | n |  | TRUE
129 | bus_LV_295-17_0_5_node_86 | 0.4 | n |  | TRUE
130 | bus_LV_295-17_0_5_node_87 | 0.4 | n |  | TRUE
131 | bus_LV_295-17_0_5_node_167 | 0.4 | n |  | TRUE
132 | bus_LV_295-17_0_5_node_145 | 0.4 | n |  | TRUE
133 | bus_LV_295-17_0_5_node_148 | 0.4 | n |  | TRUE
134 | bus_LV_295-17_0_5_node_146 | 0.4 | n |  | TRUE
135 | bus_LV_295-17_0_5_node_144 | 0.4 | n |  | TRUE
136 | bus_LV_295-17_0_5_node_97 | 0.4 | n |  | TRUE
137 | bus_LV_295-17_0_5_node_99 | 0.4 | n |  | TRUE
138 | bus_LV_295-17_0_5_node_127 | 0.4 | n |  | TRUE
139 | bus_LV_295-17_0_5_node_114 | 0.4 | n |  | TRUE
140 | bus_LV_295-17_0_5_node_115 | 0.4 | n |  | TRUE
141 | bus_LV_295-17_0_5_node_116 | 0.4 | n |  | TRUE
142 | bus_LV_295-17_0_5_node_117 | 0.4 | n |  | TRUE
143 | bus_LV_295-17_0_5_node_123 | 0.4 | n |  | TRUE
144 | bus_LV_295-17_0_5_node_132 | 0.4 | n |  | TRUE
145 | bus_LV_295-17_0_5_node_120 | 0.4 | n |  | TRUE
146 | bus_LV_295-17_0_5_node_121 | 0.4 | n |  | TRUE
147 | bus_LV_295-17_0_5_node_122 | 0.4 | n |  | TRUE
148 | bus_LV_295-17_0_5_node_124 | 0.4 | n |  | TRUE
149 | bus_LV_295-17_0_5_node_130 | 0.4 | n |  | TRUE
150 | bus_LV_295-17_0_5_node_129 | 0.4 | n |  | TRUE
151 | bus_LV_295-17_0_5_node_163 | 0.4 | n |  | TRUE
152 | bus_LV_295-17_0_5_node_143 | 0.4 | n |  | TRUE
153 | bus_LV_295-17_0_5_node_164 | 0.4 | n |  | TRUE
154 | bus_MV_417_0_node_33 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_295-17_0_5_load_0 | 0 | 0.039502 | 0.0099002 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_295-17_0_5_load_158 | 5 | 0.0077074 | 0.0019317 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_295-17_0_5_load_156 | 8 | 0.0019644 | 0.00049232 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_295-17_0_5_load_152 | 9 | 0.037911 | 0.0095015 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_295-17_0_5_load_161 | 10 | 0.007044 | 0.0017654 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_295-17_0_5_load_160 | 11 | 0.006739 | 0.0016889 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_295-17_0_5_load_47 | 13 | 0.01093 | 0.0027394 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_295-17_0_5_load_45 | 15 | 0.0058439 | 0.0014646 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_295-17_0_5_load_33 | 19 | 0.011045 | 0.0027681 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_295-17_0_5_load_48 | 23 | 0.0037116 | 0.00093023 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_295-17_0_5_load_43 | 25 | 0.0024879 | 0.00062352 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_295-17_0_5_load_36 | 26 | 0.0013059 | 0.00032729 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_295-17_0_5_load_138 | 28 | 0.012899 | 0.0032329 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_295-17_0_5_load_135 | 29 | 0.0092543 | 0.0023193 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_295-17_0_5_load_88 | 30 | 0.020146 | 0.005049 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_295-17_0_5_load_155 | 31 | 0.013682 | 0.0034291 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_295-17_0_5_load_89 | 32 | 0.0018348 | 0.00045984 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_295-17_0_5_load_149 | 35 | 0.00020214 | 5.0662e-05 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_295-17_0_5_load_35 | 40 | 0.028897 | 0.0072423 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_295-17_0_5_load_31 | 41 | 0.014229 | 0.0035661 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_295-17_0_5_load_151 | 42 | 0.018991 | 0.0047596 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_295-17_0_5_load_113 | 44 | 0.003751 | 0.0009401 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_295-17_0_5_load_111 | 45 | 0.0042389 | 0.0010624 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_295-17_0_5_load_40 | 47 | 0.0096305 | 0.0024136 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_295-17_0_5_load_38 | 48 | 0.024368 | 0.0061073 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_295-17_0_5_load_154 | 49 | 0.012213 | 0.003061 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_295-17_0_5_load_153 | 50 | 0.0097974 | 0.0024554 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_295-17_0_5_load_44 | 51 | 0.0092402 | 0.0023158 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_295-17_0_5_load_93 | 53 | 0.0032858 | 0.0008235 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_295-17_0_5_load_49 | 54 | 0.0018609 | 0.00046637 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_295-17_0_5_load_139 | 57 | 0.0073041 | 0.0018306 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_295-17_0_5_load_118 | 58 | 0.0021618 | 0.00054179 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_295-17_0_5_load_119 | 59 | 0.0023971 | 0.00060077 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_295-17_0_5_load_110 | 62 | 0.0030643 | 0.00076798 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_295-17_0_5_load_140 | 64 | 0.00051493 | 0.00012905 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_295-17_0_5_load_133 | 68 | 0.002548 | 0.00063858 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_295-17_0_5_load_134 | 70 | 0.0019605 | 0.00049136 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_295-17_0_5_load_131 | 73 | 0.0016309 | 0.00040875 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_295-17_0_5_load_128 | 74 | 0.00097982 | 0.00024557 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_295-17_0_5_load_137 | 75 | 0.002316 | 0.00058044 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_295-17_0_5_load_125 | 76 | 0.0035815 | 0.00089761 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_295-17_0_5_load_30 | 77 | 0.00093786 | 0.00023505 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_295-17_0_5_load_90 | 78 | 0.00023536 | 5.8986e-05 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_295-17_0_5_load_91 | 79 | 0.0056017 | 0.0014039 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_295-17_0_5_load_39 | 80 | 0.0036811 | 0.00092256 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_295-17_0_5_load_159 | 82 | 0.0098692 | 0.0024734 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_295-17_0_5_load_50 | 83 | 0.0070613 | 0.0017697 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_295-17_0_5_load_96 | 84 | 0.0019995 | 0.00050112 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_295-17_0_5_load_60 | 88 | 0.001391 | 0.00034861 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_295-17_0_5_load_141 | 91 | 0.0074107 | 0.0018573 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_295-17_0_5_load_58 | 95 | 0.0025742 | 0.00064517 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_295-17_0_5_load_166 | 97 | 0.0027645 | 0.00069286 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_295-17_0_5_load_59 | 98 | 0.0027228 | 0.0006824 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_295-17_0_5_load_162 | 99 | 0.0028074 | 0.00070361 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_295-17_0_5_load_165 | 101 | 0.0077825 | 0.0019505 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_295-17_0_5_load_76 | 104 | 0.018686 | 0.0046831 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_295-17_0_5_load_75 | 105 | 0.0075106 | 0.0018823 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_295-17_0_5_load_104 | 107 | 0.0021942 | 0.00054992 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_295-17_0_5_load_150 | 108 | 0.0060964 | 0.0015279 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_295-17_0_5_load_74 | 109 | 0.0098829 | 0.0024769 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_295-17_0_5_load_65 | 110 | 0.0065604 | 0.0016442 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_295-17_0_5_load_95 | 111 | 0.0029956 | 0.00075077 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_295-17_0_5_load_168 | 112 | 0.0071895 | 0.0018019 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_295-17_0_5_load_81 | 116 | 0.0023101 | 0.00057896 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_295-17_0_5_load_102 | 117 | 0.0025022 | 0.00062712 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_295-17_0_5_load_157 | 121 | 0.0027209 | 0.00068191 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_295-17_0_5_load_100 | 122 | 0.0036601 | 0.00091732 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_295-17_0_5_load_98 | 123 | 0.003761 | 0.00094261 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_295-17_0_5_load_101 | 124 | 0.0030437 | 0.00076282 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_295-17_0_5_load_77 | 125 | 0.0026666 | 0.00066832 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_295-17_0_5_load_79 | 127 | 0.0021238 | 0.00053227 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_295-17_0_5_load_80 | 128 | 0.0033097 | 0.00082949 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_295-17_0_5_load_86 | 129 | 0.00075986 | 0.00019044 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_295-17_0_5_load_87 | 130 | 0.0010032 | 0.00025142 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_295-17_0_5_load_167 | 131 | 0.0065343 | 0.0016376 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_295-17_0_5_load_148 | 133 | 0.00098186 | 0.00024608 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_295-17_0_5_load_97 | 136 | 0.011099 | 0.0027818 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_295-17_0_5_load_99 | 137 | 0.0028557 | 0.00071571 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_295-17_0_5_load_127 | 138 | 0.0010728 | 0.00026887 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_295-17_0_5_load_114 | 139 | 0.0046394 | 0.0011628 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_295-17_0_5_load_115 | 140 | 0.002301 | 0.0005767 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_295-17_0_5_load_116 | 141 | 0.0035157 | 0.00088111 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_295-17_0_5_load_117 | 142 | 0.0021767 | 0.00054553 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_295-17_0_5_load_123 | 143 | 0.0024914 | 0.00062441 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_295-17_0_5_load_132 | 144 | 0.0010525 | 0.00026379 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_295-17_0_5_load_120 | 145 | 0.0022117 | 0.00055431 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_295-17_0_5_load_121 | 146 | 0.0025081 | 0.00062859 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_295-17_0_5_load_122 | 147 | 0.002802 | 0.00070224 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_295-17_0_5_load_124 | 148 | 0.0054397 | 0.0013633 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_295-17_0_5_load_130 | 149 | 0.001336 | 0.00033484 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_295-17_0_5_load_129 | 150 | 0.00098095 | 0.00024585 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_295-17_0_5_load_143 | 152 | 0.022734 | 0.0056976 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_295-17_0_5_load_164 | 153 | 0.0074595 | 0.0018695 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 30 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_295-17_0_5_line_0 |  | 0 | 1 | 0.027268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_295-17_0_5_line_1 |  | 1 | 2 | 0.032899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_295-17_0_5_line_2 |  | 2 | 4 | 0.055558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_295-17_0_5_line_3 |  | 2 | 9 | 0.039782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_295-17_0_5_line_4 |  | 3 | 4 | 0.006465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_295-17_0_5_line_5 |  | 3 | 5 | 0.012214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_295-17_0_5_line_6 |  | 4 | 11 | 0.022498 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_295-17_0_5_line_7 |  | 5 | 46 | 0.013588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_295-17_0_5_line_8 |  | 6 | 7 | 0.026728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_295-17_0_5_line_9 |  | 6 | 8 | 0.022515 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_295-17_0_5_line_10 |  | 7 | 10 | 0.011711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_295-17_0_5_line_11 |  | 7 | 11 | 0.01109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_295-17_0_5_line_12 |  | 10 | 49 | 0.0084436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_295-17_0_5_line_13 |  | 12 | 13 | 0.036149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
14 | LV_295-17_0_5_line_14 |  | 12 | 14 | 0.033274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
15 | LV_295-17_0_5_line_15 |  | 12 | 15 | 0.020479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_295-17_0_5_line_16 |  | 13 | 50 | 0.0075437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_295-17_0_5_line_17 |  | 14 | 31 | 0.0075462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_295-17_0_5_line_18 |  | 14 | 18 | 0.029188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
19 | LV_295-17_0_5_line_19 |  | 15 | 51 | 0.020042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_295-17_0_5_line_20 |  | 16 | 17 | 0.002101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_295-17_0_5_line_21 |  | 16 | 18 | 0.016997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
22 | LV_295-17_0_5_line_22 |  | 16 | 19 | 0.021254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
23 | LV_295-17_0_5_line_23 |  | 17 | 26 | 0.021064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_295-17_0_5_line_24 |  | 18 | 30 | 0.035539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
25 | LV_295-17_0_5_line_25 |  | 19 | 52 | 0.010002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
26 | LV_295-17_0_5_line_26 |  | 20 | 21 | 0.005535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_295-17_0_5_line_27 |  | 20 | 22 | 0.028517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_295-17_0_5_line_28 |  | 20 | 23 | 0.017806 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_295-17_0_5_line_29 |  | 21 | 53 | 0.014205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_295-17_0_5_line_30 |  | 22 | 24 | 0.032656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_295-17_0_5_line_31 |  | 22 | 25 | 0.015346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_295-17_0_5_line_32 |  | 23 | 54 | 0.011269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_295-17_0_5_line_33 |  | 24 | 32 | 0.0049957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_295-17_0_5_line_34 |  | 25 | 55 | 0.015013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_295-17_0_5_line_35 |  | 26 | 40 | 0.04557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_295-17_0_5_line_36 |  | 27 | 28 | 0.029614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_295-17_0_5_line_37 |  | 27 | 29 | 0.0058066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_295-17_0_5_line_38 |  | 28 | 36 | 0.01034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_295-17_0_5_line_39 |  | 29 | 56 | 0.010331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_295-17_0_5_line_40 |  | 33 | 34 | 0.050698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_295-17_0_5_line_41 |  | 33 | 35 | 0.013369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_295-17_0_5_line_42 |  | 34 | 41 | 0.0022935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_295-17_0_5_line_43 |  | 35 | 75 | 0.0024327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_295-17_0_5_line_44 |  | 36 | 37 | 0.01219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_295-17_0_5_line_45 |  | 37 | 76 | 0.018165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_295-17_0_5_line_46 |  | 37 | 57 | 0.0083564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_295-17_0_5_line_47 |  | 38 | 39 | 0.003053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_295-17_0_5_line_48 |  | 38 | 40 | 0.027554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_295-17_0_5_line_49 |  | 39 | 42 | 0.010959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_295-17_0_5_line_50 |  | 41 | 77 | 0.024178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_295-17_0_5_line_51 |  | 43 | 44 | 0.03487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_295-17_0_5_line_52 |  | 43 | 45 | 0.02198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_295-17_0_5_line_53 |  | 44 | 58 | 0.022245 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_295-17_0_5_line_54 |  | 46 | 82 | 0.005606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_295-17_0_5_line_55 |  | 47 | 48 | 0.024844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_295-17_0_5_line_56 |  | 48 | 80 | 0.024502 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_295-17_0_5_line_57 |  | 49 | 50 | 0.007174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_295-17_0_5_line_58 |  | 51 | 81 | 0.019159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_295-17_0_5_line_59 |  | 52 | 65 | 0.036408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
60 | LV_295-17_0_5_line_60 |  | 52 | 77 | 0.026466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
61 | LV_295-17_0_5_line_61 |  | 54 | 83 | 0.038598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_295-17_0_5_line_62 |  | 55 | 81 | 0.012174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_295-17_0_5_line_63 |  | 55 | 80 | 0.028009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_295-17_0_5_line_64 |  | 56 | 75 | 0.019128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_295-17_0_5_line_65 |  | 56 | 70 | 0.014394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_295-17_0_5_line_66 |  | 58 | 59 | 0.012795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_295-17_0_5_line_67 |  | 59 | 145 | 3.5887e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_295-17_0_5_line_68 |  | 60 | 61 | 0.046784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_295-17_0_5_line_69 |  | 60 | 62 | 0.02617 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_295-17_0_5_line_70 |  | 61 | 67 | 0.018781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_295-17_0_5_line_71 |  | 61 | 73 | 0.0039307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_295-17_0_5_line_72 |  | 62 | 124 | 0.012701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_295-17_0_5_line_73 |  | 63 | 64 | 0.011795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
74 | LV_295-17_0_5_line_74 |  | 63 | 65 | 0.012003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
75 | LV_295-17_0_5_line_75 |  | 64 | 71 | 0.021305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
76 | LV_295-17_0_5_line_76 |  | 65 | 78 | 0.014936 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_295-17_0_5_line_77 |  | 66 | 67 | 0.036972 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_295-17_0_5_line_78 |  | 66 | 68 | 0.017193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_295-17_0_5_line_79 |  | 67 | 74 | 0.021885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_295-17_0_5_line_80 |  | 68 | 69 | 0.0036793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_295-17_0_5_line_81 |  | 69 | 70 | 0.012475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_295-17_0_5_line_82 |  | 71 | 72 | 0.024005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
83 | LV_295-17_0_5_line_83 |  | 72 | 114 | 0.0153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_295-17_0_5_line_84 |  | 72 | 127 | 0.021161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
85 | LV_295-17_0_5_line_85 |  | 74 | 138 | 0.0033547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_295-17_0_5_line_86 |  | 76 | 148 | 0.01272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_295-17_0_5_line_87 |  | 78 | 79 | 0.062288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_295-17_0_5_line_88 |  | 84 | 85 | 0.032626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_295-17_0_5_line_89 |  | 85 | 92 | 0.024982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_295-17_0_5_line_90 |  | 86 | 87 | 0.003924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_295-17_0_5_line_91 |  | 86 | 88 | 0.079076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_295-17_0_5_line_92 |  | 87 | 97 | 0.021063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_295-17_0_5_line_93 |  | 88 | 98 | 0.014609 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_295-17_0_5_line_94 |  | 89 | 90 | 0.056556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_295-17_0_5_line_95 |  | 89 | 91 | 0.01771 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_295-17_0_5_line_96 |  | 90 | 99 | 0.0040039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_295-17_0_5_line_97 |  | 91 | 92 | 0.025081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_295-17_0_5_line_98 |  | 92 | 96 | 0.01605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_295-17_0_5_line_99 |  | 93 | 94 | 0.09312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_295-17_0_5_line_100 |  | 93 | 95 | 0.022057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_295-17_0_5_line_101 |  | 94 | 109 | 0.004636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_295-17_0_5_line_102 |  | 94 | 110 | 0.0051863 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_295-17_0_5_line_103 |  | 95 | 98 | 0.0015799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_295-17_0_5_line_104 |  | 96 | 111 | 0.032188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_295-17_0_5_line_105 |  | 99 | 151 | 0.013277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_295-17_0_5_line_106 |  | 100 | 101 | 0.016749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_295-17_0_5_line_107 |  | 100 | 102 | 0.034276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_295-17_0_5_line_108 |  | 100 | 103 | 0.056772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_295-17_0_5_line_109 |  | 102 | 112 | 0.023252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
110 | LV_295-17_0_5_line_110 |  | 102 | 113 | 0.030913 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
111 | LV_295-17_0_5_line_111 |  | 103 | 104 | 0.032756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
112 | LV_295-17_0_5_line_112 |  | 103 | 105 | 0.039892 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
113 | LV_295-17_0_5_line_113 |  | 105 | 118 | 0.019684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
114 | LV_295-17_0_5_line_114 |  | 106 | 107 | 0.014376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
115 | LV_295-17_0_5_line_115 |  | 106 | 108 | 0.043849 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
116 | LV_295-17_0_5_line_116 |  | 107 | 115 | 0.0247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
117 | LV_295-17_0_5_line_117 |  | 110 | 119 | 0.064844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
118 | LV_295-17_0_5_line_118 |  | 111 | 134 | 0.008572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
119 | LV_295-17_0_5_line_119 |  | 113 | 131 | 0.021369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
120 | LV_295-17_0_5_line_120 |  | 113 | 132 | 0.001968 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
121 | LV_295-17_0_5_line_121 |  | 114 | 115 | 0.032338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
122 | LV_295-17_0_5_line_122 |  | 114 | 116 | 0.018419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
123 | LV_295-17_0_5_line_123 |  | 115 | 117 | 0.011615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
124 | LV_295-17_0_5_line_124 |  | 118 | 119 | 0.020914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
125 | LV_295-17_0_5_line_125 |  | 119 | 120 | 0.029866 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
126 | LV_295-17_0_5_line_126 |  | 120 | 121 | 0.0076061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
127 | LV_295-17_0_5_line_127 |  | 122 | 123 | 0.024161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
128 | LV_295-17_0_5_line_128 |  | 123 | 136 | 0.0053321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
129 | LV_295-17_0_5_line_129 |  | 124 | 137 | 0.029723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
130 | LV_295-17_0_5_line_130 |  | 125 | 126 | 0.0033275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
131 | LV_295-17_0_5_line_131 |  | 125 | 127 | 0.033805 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
132 | LV_295-17_0_5_line_132 |  | 126 | 128 | 0.027154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
133 | LV_295-17_0_5_line_133 |  | 128 | 129 | 0.015509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
134 | LV_295-17_0_5_line_134 |  | 129 | 130 | 0.011859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
135 | LV_295-17_0_5_line_135 |  | 130 | 133 | 0.0086494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
136 | LV_295-17_0_5_line_136 |  | 132 | 152 | 0.0087673 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
137 | LV_295-17_0_5_line_137 |  | 133 | 134 | 0.0046794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
138 | LV_295-17_0_5_line_138 |  | 134 | 135 | 0.008644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
139 | LV_295-17_0_5_line_139 |  | 135 | 152 | 0.0029496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
140 | LV_295-17_0_5_line_140 |  | 136 | 137 | 0.025644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
141 | LV_295-17_0_5_line_141 |  | 138 | 150 | 0.0080521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
142 | LV_295-17_0_5_line_142 |  | 139 | 140 | 0.0034678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
143 | LV_295-17_0_5_line_143 |  | 140 | 141 | 0.012427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
144 | LV_295-17_0_5_line_144 |  | 141 | 142 | 0.0052171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
145 | LV_295-17_0_5_line_145 |  | 142 | 143 | 0.0071655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
146 | LV_295-17_0_5_line_146 |  | 143 | 144 | 0.01563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
147 | LV_295-17_0_5_line_147 |  | 144 | 149 | 0.0082174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
148 | LV_295-17_0_5_line_148 |  | 145 | 146 | 0.0033159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
149 | LV_295-17_0_5_line_149 |  | 146 | 147 | 0.0011296 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
150 | LV_295-17_0_5_line_150 |  | 147 | 148 | 0.0060095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
151 | LV_295-17_0_5_line_151 |  | 149 | 150 | 0.0053164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
152 | LV_295-17_0_5_line_152 |  | 151 | 153 | 0.005657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_295-17_0_5_trafo_88 | 0.63 MVA 20/0.4 kV | 154 | 30 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12
0 | 2687529.8441 | 1235163.55 | 2687523.5953 | 1235166.9048 | 2687504.4934 | 1235173.3976
1 | 2687529.8441 | 1235163.55 | 2687538.4508 | 1235166.6123 | 2687543.7256 | 1235162.576 | 2687548.5627 | 1235159.4784 | 2687550.866 | 1235170.6203
2 | 2687550.866 | 1235170.6203 | 2687548.5627 | 1235159.4784 | 2687552.7807 | 1235156.7831 | 2687554.6419 | 1235153.2524 | 2687556.5805 | 1235147.0321 | 2687558.9799 | 1235145.4997 | 2687560.3579 | 1235141.8841 | 2687561.5004 | 1235140.3776 | 2687563.8596 | 1235138.4888 | 2687560.0649 | 1235133.5182 | 2687558.1416 | 1235130.9992 | 2687556.0175 | 1235128.2326 | 2687553.515 | 1235124.9489
3 | 2687550.866 | 1235170.6203 | 2687589.945 | 1235163.1738
4 | 2687553.515 | 1235124.9489 | 2687551.0895 | 1235126.7144 | 2687547.7882 | 1235127.811
5 | 2687547.7882 | 1235127.811 | 2687541.3841 | 1235117.4106
6 | 2687553.515 | 1235124.9489 | 2687571.4857 | 1235111.4131
7 | 2687534.2599 | 1235105.8405 | 2687541.3841 | 1235117.4106
8 | 2687580.3439 | 1235104.7409 | 2687587.5377 | 1235099.9324 | 2687589.2143 | 1235102.2477 | 2687591.7089 | 1235105.5535 | 2687593.3423 | 1235107.7124 | 2687598.3835 | 1235114.3915
9 | 2687598.3835 | 1235114.3915 | 2687594.3106 | 1235117.5003 | 2687594.4904 | 1235119.6823 | 2687594.773 | 1235124.6456 | 2687596.3565 | 1235134.7527
10 | 2687580.3439 | 1235104.7409 | 2687574.5733 | 1235094.5505
11 | 2687580.3439 | 1235104.7409 | 2687571.4857 | 1235111.4131
12 | 2687574.5733 | 1235094.5505 | 2687571.8674 | 1235089.772 | 2687571.259 | 1235086.8832
13 | 2687564.3462 | 1235043.3725 | 2687572.4053 | 1235054.3213 | 2687578.4965 | 1235064.7407 | 2687580.168 | 1235070.4805 | 2687579.9124 | 1235074.98
14 | 2687564.3462 | 1235043.3725 | 2687579.1117 | 1235030.7255 | 2687583.9855 | 1235034.9003 | 2687586.559 | 1235037.4734 | 2687588.5479 | 1235040.6827
15 | 2687564.3462 | 1235043.3725 | 2687547.8908 | 1235055.5635
16 | 2687579.9124 | 1235074.98 | 2687579.9124 | 1235074.98 | 2687576.3093 | 1235080.1083 | 2687575.5466 | 1235081.1315
17 | 2687588.5479 | 1235040.6827 | 2687592.4198 | 1235047.1599
18 | 2687573.4216 | 1235019.2779 | 2687572.2485 | 1235026.4546 | 2687579.1117 | 1235030.7255 | 2687583.9855 | 1235034.9003 | 2687586.559 | 1235037.4734 | 2687588.5479 | 1235040.6827
19 | 2687531.6479 | 1235067.302 | 2687541.272 | 1235060.4669 | 2687547.8908 | 1235055.5635
20 | 2687584.4682 | 1235016.0272 | 2687586.4405 | 1235016.7679
21 | 2687573.4216 | 1235019.2779 | 2687574.5614 | 1235012.8234 | 2687579.2179 | 1235013.7705 | 2687582.0102 | 1235014.8568 | 2687584.4682 | 1235016.0272
22 | 2687584.4682 | 1235016.0272 | 2687582.1194 | 1235007.9646 | 2687575.0831 | 1234997.2045
23 | 2687586.4405 | 1235016.7679 | 2687588.5493 | 1235016.4655 | 2687590.4603 | 1235015.2038 | 2687604.3687 | 1235006.0618
24 | 2687573.4216 | 1235019.2779 | 2687568.7906 | 1235019.1762 | 2687562.6556 | 1235019.9308 | 2687538.6298 | 1235025.771
25 | 2687569.6089 | 1234988.8333 | 2687575.0831 | 1234997.2045
26 | 2687450.7249 | 1235047.1354 | 2687455.9822 | 1235048.914
27 | 2687455.9822 | 1235048.914 | 2687457.8125 | 1235049.5303 | 2687472.7045 | 1235060.6574 | 2687478.7499 | 1235065.9724
28 | 2687455.9822 | 1235048.914 | 2687450.3164 | 1235050.1982 | 2687438.6356 | 1235052.9331
29 | 2687450.7249 | 1235047.1354 | 2687439.6168 | 1235038.2815
30 | 2687487.8729 | 1235038.109 | 2687488.8375 | 1235040.9697 | 2687489.7771 | 1235046.5542 | 2687489.278 | 1235051.6616 | 2687478.9883 | 1235061.0947 | 2687478.7499 | 1235065.9724
31 | 2687478.7499 | 1235065.9724 | 2687486.4541 | 1235072.7573 | 2687490.7717 | 1235075.4343
32 | 2687438.6356 | 1235052.9331 | 2687427.9318 | 1235055.4393 | 2687427.664 | 1235055.5032
33 | 2687487.8729 | 1235038.109 | 2687483.0185 | 1235039.2886
34 | 2687504.0742 | 1235082.1235 | 2687498.6442 | 1235078.7077 | 2687493.6551 | 1235077.2221 | 2687490.7717 | 1235075.4343
35 | 2687643.8511 | 1234984.7988 | 2687626.5787 | 1234995.9559 | 2687618.3216 | 1234996.8904 | 2687604.3687 | 1235006.0618
36 | 2687619.0028 | 1234892.7483 | 2687648.5939 | 1234891.5944
37 | 2687619.0028 | 1234892.7483 | 2687613.1962 | 1234892.7549
38 | 2687658.9259 | 1234891.1915 | 2687648.5939 | 1234891.5944
39 | 2687602.8788 | 1234892.2658 | 2687612.0082 | 1234892.7563 | 2687613.1962 | 1234892.7549
40 | 2687578.5808 | 1234917.3589 | 2687585.5469 | 1234925.434 | 2687591.9798 | 1234933.2233 | 2687595.3488 | 1234937.2981 | 2687611.2398 | 1234956.1346
41 | 2687578.5808 | 1234917.3589 | 2687587.8843 | 1234907.7585
42 | 2687611.2398 | 1234956.1346 | 2687609.4455 | 1234957.5632
43 | 2687587.8843 | 1234907.7585 | 2687589.5773 | 1234906.0115
44 | 2687671.1429 | 1234890.7158 | 2687658.9259 | 1234891.1915
45 | 2687671.1429 | 1234890.7158 | 2687666.5601 | 1234876.0599 | 2687666.0796 | 1234873.2922
46 | 2687671.1429 | 1234890.7158 | 2687678.7781 | 1234894.1119
47 | 2687665.0783 | 1234971.3061 | 2687666.7131 | 1234973.8876
48 | 2687665.0783 | 1234971.3061 | 2687663.8654 | 1234969.3757 | 2687657.3 | 1234974.6715 | 2687644.8213 | 1234984.172 | 2687643.8511 | 1234984.7988
49 | 2687666.7131 | 1234973.8876 | 2687668.4451 | 1234970.911 | 2687669.4003 | 1234969.791 | 2687674.3564 | 1234966.3336
50 | 2687590.441 | 1234972.5091 | 2687605.1657 | 1234960.9708 | 2687609.4455 | 1234957.5632
51 | 2687688.7525 | 1234787.0015 | 2687687.8846 | 1234801.1766 | 2687687.3175 | 1234811.8981 | 2687686.2181 | 1234819.1982 | 2687685.4132 | 1234821.6174
52 | 2687688.7525 | 1234787.0015 | 2687682.2473 | 1234788.2064 | 2687671.5536 | 1234789.5719 | 2687667.8406 | 1234786.8834
53 | 2687676.0143 | 1234841.7305 | 2687680.2976 | 1234833.0986 | 2687682.5984 | 1234829.0296 | 2687684.2853 | 1234825.0072 | 2687685.4132 | 1234821.6174
54 | 2687533.365 | 1235100.3123 | 2687534.0823 | 1235104.0255 | 2687534.2599 | 1235105.8405
55 | 2687458.1745 | 1235107.3155 | 2687456.3084 | 1235109.0062 | 2687438.0205 | 1235119.2889 | 2687436.873 | 1235119.9917
56 | 2687458.1745 | 1235107.3155 | 2687459.4001 | 1235106.2052 | 2687476.8316 | 1235096.5104 | 2687479.6004 | 1235095.6419
57 | 2687575.5466 | 1235081.1315 | 2687571.259 | 1235086.8832 | 2687571.259 | 1235086.8832
58 | 2687514.7583 | 1235076.2321 | 2687521.9801 | 1235073.114 | 2687529.1244 | 1235069.0942 | 2687531.6479 | 1235067.302
59 | 2687547.8599 | 1234959.6698 | 2687555.6931 | 1234968.4915 | 2687569.6089 | 1234988.8333
60 | 2687569.6089 | 1234988.8333 | 2687590.441 | 1234972.5091
61 | 2687390.1493 | 1235064.5807 | 2687391.2631 | 1235064.3174 | 2687405.5458 | 1235060.7805 | 2687427.664 | 1235055.5032
62 | 2687504.0742 | 1235082.1235 | 2687514.7583 | 1235076.2321
63 | 2687504.0742 | 1235082.1235 | 2687481.7746 | 1235094.9599 | 2687479.6004 | 1235095.6419
64 | 2687602.8788 | 1234892.2658 | 2687600.8261 | 1234894.4037 | 2687589.5773 | 1234906.0115
65 | 2687602.8788 | 1234892.2658 | 2687597.0624 | 1234891.9465 | 2687588.9806 | 1234889.0984
66 | 2687676.0143 | 1234841.7305 | 2687673.3382 | 1234846.1052 | 2687666.9835 | 1234850.394
67 | 2687666.9835 | 1234850.394 | 2687666.9538 | 1234850.4141
68 | 2687504.7968 | 1234808.5833 | 2687520.2471 | 1234821.4088 | 2687530.1507 | 1234825.8801 | 2687545.3052 | 1234821.2778
69 | 2687504.7968 | 1234808.5833 | 2687495.6218 | 1234822.9918 | 2687488.6921 | 1234828.8718
70 | 2687545.3052 | 1234821.2778 | 2687544.0496 | 1234839.1832 | 2687544.2041 | 1234839.9972
71 | 2687545.3052 | 1234821.2778 | 2687545.8796 | 1234817.3893
72 | 2687479.4926 | 1234820.1142 | 2687488.6921 | 1234828.8718
73 | 2687539.8853 | 1234950.6792 | 2687530.9435 | 1234942.9876
74 | 2687547.8599 | 1234959.6698 | 2687539.8853 | 1234950.6792
75 | 2687514.792 | 1234929.0943 | 2687530.9435 | 1234942.9876
76 | 2687547.8599 | 1234959.6698 | 2687535.7832 | 1234968.4587
77 | 2687544.2041 | 1234839.9972 | 2687544.8843 | 1234843.6654 | 2687551.6488 | 1234860.8106 | 2687560.0302 | 1234873.0206
78 | 2687560.0302 | 1234873.0206 | 2687565.3695 | 1234876.435 | 2687574.2784 | 1234882.6368
79 | 2687544.2041 | 1234839.9972 | 2687553.9038 | 1234844.9436 | 2687564.8794 | 1234844.2651
80 | 2687577.2981 | 1234884.7389 | 2687574.2784 | 1234882.6368
81 | 2687577.2981 | 1234884.7389 | 2687580.367 | 1234886.0629 | 2687588.9806 | 1234889.0984
82 | 2687514.792 | 1234929.0943 | 2687496.0828 | 1234913.9858
83 | 2687484.1123 | 1234904.4138 | 2687496.0828 | 1234913.9858
84 | 2687483.673 | 1234931.1486 | 2687496.0828 | 1234913.9858
85 | 2687568.0282 | 1234843.1522 | 2687565.231 | 1234844.2433 | 2687564.8794 | 1234844.2651
86 | 2687665.3542 | 1234860.746 | 2687664.6694 | 1234865.1687 | 2687666.0796 | 1234873.2922
87 | 2687487.6115 | 1234970.557 | 2687500.3084 | 1234979.6282 | 2687508.0233 | 1234970.8021 | 2687519.5867 | 1234980.2458 | 2687535.7832 | 1234968.4587
88 | 2687360.6051 | 1235067.5022 | 2687392.4281 | 1235060.3103
89 | 2687360.6051 | 1235067.5022 | 2687362.47 | 1235062.6818 | 2687366.3417 | 1235052.6537 | 2687374.0644 | 1235047.9083
90 | 2687234.4462 | 1234949.3536 | 2687231.6279 | 1234952.092
91 | 2687231.6279 | 1234952.092 | 2687255.9538 | 1234976.5109 | 2687259.1601 | 1234977.2474 | 2687275.2137 | 1234963.9626 | 2687282.3739 | 1234961.4326 | 2687286.1604 | 1234961.8329 | 2687288.641 | 1234965.0717 | 2687291.5485 | 1234969.1392
92 | 2687234.4462 | 1234949.3536 | 2687240.7336 | 1234955.2278 | 2687243.7103 | 1234955.6163 | 2687248.0242 | 1234955.1571 | 2687250.3382 | 1234953.7678 | 2687252.298 | 1234952.2733
93 | 2687300.044 | 1234981.0242 | 2687291.5485 | 1234969.1392
94 | 2687354.5012 | 1235045.5746 | 2687342.9049 | 1235029.6039 | 2687338.4669 | 1235032.841 | 2687320.312 | 1235007.3115
95 | 2687354.5012 | 1235045.5746 | 2687368.9559 | 1235035.3427
96 | 2687320.312 | 1235007.3115 | 2687323.5474 | 1235004.9529
97 | 2687374.0644 | 1235047.9083 | 2687368.5576 | 1235038.3872 | 2687374.2522 | 1235034.6238 | 2687372.8592 | 1235032.5797 | 2687368.9559 | 1235035.3427
98 | 2687374.0644 | 1235047.9083 | 2687382.9787 | 1235042.4244 | 2687387.7375 | 1235039.5034
99 | 2687316.5386 | 1234997.2711 | 2687323.6196 | 1234991.8936 | 2687327.6384 | 1234990.9075 | 2687333.0868 | 1234985.8728 | 2687335.6645 | 1234981.9968 | 2687344.6946 | 1234973.2789 | 2687352.5185 | 1234966.2889 | 2687359.523 | 1234958.9088 | 2687349.6384 | 1234948.5228 | 2687343.1975 | 1234941.7677 | 2687335.1739 | 1234949.4775
100 | 2687316.5386 | 1234997.2711 | 2687308.0071 | 1234992.1644 | 2687300.9627 | 1234982.3095
101 | 2687331.8915 | 1234946.1936 | 2687335.1739 | 1234949.4775
102 | 2687335.1739 | 1234949.4775 | 2687331.4336 | 1234953.0703
103 | 2687300.9627 | 1234982.3095 | 2687300.044 | 1234981.0242
104 | 2687387.7375 | 1235039.5034 | 2687405.0642 | 1235012.3773
105 | 2687334.2762 | 1234997.1317 | 2687323.5474 | 1235004.9529
106 | 2687391.2342 | 1234921.226 | 2687396.3548 | 1234918.933 | 2687405.0422 | 1234911.9113
107 | 2687401.215 | 1234953.8738 | 2687400.9422 | 1234951.835 | 2687396.0583 | 1234932.9052 | 2687395.414 | 1234930.394 | 2687393.4216 | 1234925.8725 | 2687392.247 | 1234923.3868 | 2687391.2342 | 1234921.226
108 | 2687368.2362 | 1234922.8556 | 2687375.626 | 1234917.0713 | 2687375.6012 | 1234915.1584 | 2687376.6355 | 1234914.3175 | 2687380.5462 | 1234910.9059 | 2687393.0819 | 1234900.6051 | 2687387.3807 | 1234913.0301 | 2687391.2342 | 1234921.226
109 | 2687401.215 | 1234953.8738 | 2687407.9576 | 1234951.4379 | 2687420.0743 | 1234940.7974
110 | 2687403.0783 | 1234984.6565 | 2687402.8064 | 1234983.5851 | 2687401.8753 | 1234972.2744 | 2687401.4375 | 1234967.042 | 2687401.7395 | 1234957.8399 | 2687401.4735 | 1234955.8568 | 2687401.215 | 1234953.8738
111 | 2687368.2362 | 1234922.8556 | 2687371.3955 | 1234890.2566
112 | 2687368.2362 | 1234922.8556 | 2687366.8163 | 1234927.7827 | 2687360.1201 | 1234934.2667 | 2687345.8665 | 1234928.5976 | 2687339.3466 | 1234920.879
113 | 2687324.8894 | 1234907.5965 | 2687336.1943 | 1234917.1473 | 2687339.3466 | 1234920.879
114 | 2687416.3824 | 1234883.569 | 2687421.3704 | 1234885.1435 | 2687430.2568 | 1234887.3053
115 | 2687416.3824 | 1234883.569 | 2687395.086 | 1234871.9252 | 2687378.5763 | 1234861.4041
116 | 2687454.2567 | 1234893.1441 | 2687430.2568 | 1234887.3053
117 | 2687310.1973 | 1234922.4802 | 2687309.2781 | 1234928.8824 | 2687304.6753 | 1234933.5403 | 2687302.6757 | 1234936.7132 | 2687302.3498 | 1234939.8328 | 2687303.2801 | 1234942.971 | 2687316.625 | 1234959.9903 | 2687320.5015 | 1234961.9931 | 2687323.4984 | 1234962.0372 | 2687326.932 | 1234960.6978 | 2687329.5304 | 1234954.8985 | 2687331.4336 | 1234953.0703
118 | 2687410.4137 | 1235005.7128 | 2687406.6506 | 1235009.8937 | 2687405.0642 | 1235012.3773
119 | 2687403.0783 | 1234984.6565 | 2687410.0152 | 1234981.8677 | 2687420.5501 | 1234972.7494
120 | 2687403.5573 | 1234986.5649 | 2687403.0783 | 1234984.6565
121 | 2687454.2567 | 1234893.1441 | 2687456.8585 | 1234893.8051 | 2687473.6082 | 1234898.0658 | 2687479.4812 | 1234900.7097 | 2687484.1123 | 1234904.4138
122 | 2687484.1123 | 1234904.4138 | 2687479.503 | 1234910.0166 | 2687480.1233 | 1234910.5595 | 2687473.8113 | 1234918.7492
123 | 2687454.2567 | 1234893.1441 | 2687462.9466 | 1234885.4373
124 | 2687310.1973 | 1234922.4802 | 2687319.7342 | 1234912.7578 | 2687324.8894 | 1234907.5965
125 | 2687310.1973 | 1234922.4802 | 2687307.1739 | 1234919.6004 | 2687292.0547 | 1234940.3709
126 | 2687292.0547 | 1234940.3709 | 2687284.459 | 1234940.7675
127 | 2687428.3089 | 1234840.7479 | 2687409.0734 | 1234842.7101 | 2687404.2807 | 1234842.1496
128 | 2687433.5246 | 1234839.6838 | 2687429.6488 | 1234840.6112 | 2687428.3089 | 1234840.7479
129 | 2687479.4926 | 1234820.1142 | 2687475.2623 | 1234816.0872 | 2687469.4743 | 1234816.9137 | 2687455.9294 | 1234828.8222
130 | 2687461.0529 | 1234960.57 | 2687463.1807 | 1234958.0117
131 | 2687483.673 | 1234931.1486 | 2687471.3946 | 1234948.1356 | 2687463.1807 | 1234958.0117
132 | 2687461.0529 | 1234960.57 | 2687440.5449 | 1234978.3672
133 | 2687440.5449 | 1234978.3672 | 2687428.8319 | 1234988.532
134 | 2687428.8319 | 1234988.532 | 2687428.3966 | 1234988.9097 | 2687420.1526 | 1234996.6128
135 | 2687420.1526 | 1234996.6128 | 2687413.8327 | 1235002.518
136 | 2687403.5573 | 1234986.5649 | 2687404.3369 | 1234989.6564 | 2687406.0908 | 1234994.9526
137 | 2687410.4137 | 1235005.7128 | 2687413.8327 | 1235002.518
138 | 2687410.4137 | 1235005.7128 | 2687407.2088 | 1234997.6821
139 | 2687407.2088 | 1234997.6821 | 2687406.0908 | 1234994.9526
140 | 2687433.5246 | 1234839.6838 | 2687447.3336 | 1234836.3795 | 2687455.9294 | 1234828.8222
141 | 2687568.0282 | 1234843.1522 | 2687575.5297 | 1234840.2259
142 | 2687616.7448 | 1234800.9681 | 2687614.5982 | 1234803.6916
143 | 2687614.5982 | 1234803.6916 | 2687606.9059 | 1234813.4514
144 | 2687606.9059 | 1234813.4514 | 2687604.2413 | 1234816.832 | 2687603.5984 | 1234817.4797
145 | 2687598.55 | 1234822.5648 | 2687603.5984 | 1234817.4797
146 | 2687598.55 | 1234822.5648 | 2687594.352 | 1234826.7934 | 2687586.6411 | 1234832.6309
147 | 2687586.6411 | 1234832.6309 | 2687580.0894 | 1234837.5908
148 | 2687666.9538 | 1234850.4141 | 2687666.9538 | 1234850.4141 | 2687666.4464 | 1234853.691
149 | 2687666.4464 | 1234853.691 | 2687666.2736 | 1234854.8072
150 | 2687665.3542 | 1234860.746 | 2687666.2736 | 1234854.8072
151 | 2687575.5297 | 1234840.2259 | 2687577.7554 | 1234839.3577 | 2687580.0894 | 1234837.5908
152 | 2687337.7454 | 1235001.6081 | 2687334.2762 | 1234997.1317

## bus_geodata
| x | y | coords
0 | 2687504.4934 | 1235173.3976
1 | 2687529.8441 | 1235163.55
2 | 2687550.866 | 1235170.6203
3 | 2687547.7882 | 1235127.811
4 | 2687553.515 | 1235124.9489
5 | 2687541.3841 | 1235117.4106
6 | 2687598.3835 | 1235114.3915
7 | 2687580.3439 | 1235104.7409
8 | 2687596.3565 | 1235134.7527
9 | 2687589.945 | 1235163.1738
10 | 2687574.5733 | 1235094.5505
11 | 2687571.4857 | 1235111.4131
12 | 2687564.3462 | 1235043.3725
13 | 2687579.9124 | 1235074.98
14 | 2687588.5479 | 1235040.6827
15 | 2687547.8908 | 1235055.5635
16 | 2687584.4682 | 1235016.0272
17 | 2687586.4405 | 1235016.7679
18 | 2687573.4216 | 1235019.2779
19 | 2687575.0831 | 1234997.2045
20 | 2687455.9822 | 1235048.914
21 | 2687450.7249 | 1235047.1354
22 | 2687478.7499 | 1235065.9724
23 | 2687438.6356 | 1235052.9331
24 | 2687487.8729 | 1235038.109
25 | 2687490.7717 | 1235075.4343
26 | 2687604.3687 | 1235006.0618
27 | 2687619.0028 | 1234892.7483
28 | 2687648.5939 | 1234891.5944
29 | 2687613.1962 | 1234892.7549
30 | 2687538.6298 | 1235025.771
31 | 2687592.4198 | 1235047.1599
32 | 2687483.0185 | 1235039.2886
33 | 2687578.5808 | 1234917.3589
34 | 2687611.2398 | 1234956.1346
35 | 2687587.8843 | 1234907.7585
36 | 2687658.9259 | 1234891.1915
37 | 2687671.1429 | 1234890.7158
38 | 2687665.0783 | 1234971.3061
39 | 2687666.7131 | 1234973.8876
40 | 2687643.8511 | 1234984.7988
41 | 2687609.4455 | 1234957.5632
42 | 2687674.3564 | 1234966.3336
43 | 2687688.7525 | 1234787.0015
44 | 2687685.4132 | 1234821.6174
45 | 2687667.8406 | 1234786.8834
46 | 2687534.2599 | 1235105.8405
47 | 2687436.873 | 1235119.9917
48 | 2687458.1745 | 1235107.3155
49 | 2687571.259 | 1235086.8832
50 | 2687575.5466 | 1235081.1315
51 | 2687531.6479 | 1235067.302
52 | 2687569.6089 | 1234988.8333
53 | 2687439.6168 | 1235038.2815
54 | 2687427.664 | 1235055.5032
55 | 2687504.0742 | 1235082.1235
56 | 2687602.8788 | 1234892.2658
57 | 2687678.7781 | 1234894.1119
58 | 2687676.0143 | 1234841.7305
59 | 2687666.9835 | 1234850.394
60 | 2687504.7968 | 1234808.5833
61 | 2687545.3052 | 1234821.2778
62 | 2687488.6921 | 1234828.8718
63 | 2687539.8853 | 1234950.6792
64 | 2687530.9435 | 1234942.9876
65 | 2687547.8599 | 1234959.6698
66 | 2687560.0302 | 1234873.0206
67 | 2687544.2041 | 1234839.9972
68 | 2687574.2784 | 1234882.6368
69 | 2687577.2981 | 1234884.7389
70 | 2687588.9806 | 1234889.0984
71 | 2687514.792 | 1234929.0943
72 | 2687496.0828 | 1234913.9858
73 | 2687545.8796 | 1234817.3893
74 | 2687564.8794 | 1234844.2651
75 | 2687589.5773 | 1234906.0115
76 | 2687666.0796 | 1234873.2922
77 | 2687590.441 | 1234972.5091
78 | 2687535.7832 | 1234968.4587
79 | 2687487.6115 | 1234970.557
80 | 2687479.6004 | 1235095.6419
81 | 2687514.7583 | 1235076.2321
82 | 2687533.365 | 1235100.3123
83 | 2687390.1493 | 1235064.5807
84 | 2687392.4281 | 1235060.3103
85 | 2687360.6051 | 1235067.5022
86 | 2687231.6279 | 1234952.092
87 | 2687234.4462 | 1234949.3536
88 | 2687291.5485 | 1234969.1392
89 | 2687354.5012 | 1235045.5746
90 | 2687320.312 | 1235007.3115
91 | 2687368.9559 | 1235035.3427
92 | 2687374.0644 | 1235047.9083
93 | 2687316.5386 | 1234997.2711
94 | 2687335.1739 | 1234949.4775
95 | 2687300.9627 | 1234982.3095
96 | 2687387.7375 | 1235039.5034
97 | 2687252.298 | 1234952.2733
98 | 2687300.044 | 1234981.0242
99 | 2687323.5474 | 1235004.9529
100 | 2687391.2342 | 1234921.226
101 | 2687405.0422 | 1234911.9113
102 | 2687401.215 | 1234953.8738
103 | 2687368.2362 | 1234922.8556
104 | 2687371.3955 | 1234890.2566
105 | 2687339.3466 | 1234920.879
106 | 2687416.3824 | 1234883.569
107 | 2687430.2568 | 1234887.3053
108 | 2687378.5763 | 1234861.4041
109 | 2687331.8915 | 1234946.1936
110 | 2687331.4336 | 1234953.0703
111 | 2687405.0642 | 1235012.3773
112 | 2687420.0743 | 1234940.7974
113 | 2687403.0783 | 1234984.6565
114 | 2687484.1123 | 1234904.4138
115 | 2687454.2567 | 1234893.1441
116 | 2687473.8113 | 1234918.7492
117 | 2687462.9466 | 1234885.4373
118 | 2687324.8894 | 1234907.5965
119 | 2687310.1973 | 1234922.4802
120 | 2687292.0547 | 1234940.3709
121 | 2687284.459 | 1234940.7675
122 | 2687404.2807 | 1234842.1496
123 | 2687428.3089 | 1234840.7479
124 | 2687479.4926 | 1234820.1142
125 | 2687463.1807 | 1234958.0117
126 | 2687461.0529 | 1234960.57
127 | 2687483.673 | 1234931.1486
128 | 2687440.5449 | 1234978.3672
129 | 2687428.8319 | 1234988.532
130 | 2687420.1526 | 1234996.6128
131 | 2687420.5501 | 1234972.7494
132 | 2687403.5573 | 1234986.5649
133 | 2687413.8327 | 1235002.518
134 | 2687410.4137 | 1235005.7128
135 | 2687407.2088 | 1234997.6821
136 | 2687433.5246 | 1234839.6838
137 | 2687455.9294 | 1234828.8222
138 | 2687568.0282 | 1234843.1522
139 | 2687616.7448 | 1234800.9681
140 | 2687614.5982 | 1234803.6916
141 | 2687606.9059 | 1234813.4514
142 | 2687603.5984 | 1234817.4797
143 | 2687598.55 | 1234822.5648
144 | 2687586.6411 | 1234832.6309
145 | 2687666.9538 | 1234850.4141
146 | 2687666.4464 | 1234853.691
147 | 2687666.2736 | 1234854.8072
148 | 2687665.3542 | 1234860.746
149 | 2687580.0894 | 1234837.5908
150 | 2687575.5297 | 1234840.2259
151 | 2687334.2762 | 1234997.1317
152 | 2687406.0908 | 1234994.9526
153 | 2687337.7454 | 1235001.6081
154 | 2687573.4216 | 1235019.2779

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1